Artports

Structural Compliance Review

Made in Japan

Importer Covet International 2/21 Rose St, Altona VIC 3018

(Japanese designed & built Carports)

April 2017

Page 2 of 20

Document Control

| Version | Author | Approver | Registration | Date |
| --- | --- | --- | --- | --- |
| 1.0 | Priyan Wijeyeratne | Priyan Wijeyeratne | EC 19060, CPEng., MIE(Aust.) | 09/04/2017 |
| 1.1 | Priyan Wijeyeratne | Priyan Wijeyeratne | EC 19060, CPEng., MIE(Aust.) | 14/04/2017 |
| 1.2 | Priyan Wijeyeratne | Priyan Wijeyeratne | EC 19060, CPEng., MIE(Aust.) | 14/04/2017 |
| 1.2.1 | Priyan Wijeyeratne | Priyan Wijeyeratne | EC 19060, CPEng., MIE(Aust.) | 16/04/2017 |

WB Civil Structural Engineers

## ABN: 84119322436

9 Numering Court,

Melton VIC 3337

Website: www.wbcse.com.au Email: priyan@wbcse.com.au

Page 3 of 20

Contents

###### Summary	5

###### Artports Configurations	6

###### Artports	8

###### Background	8

###### Report Objective	8

###### Material Properties	8

###### Methodology	9

###### Loads Used	10

###### Space Gass and Tekla Tedds Analyses	11

###### Conclusion	11

###### Two Post Cantilever	11

###### Four Post Skillion Roof	12

###### 5.0 Recommendation	13

###### 6.0 APPENDICES	14

###### TWO POST CANTILEVER	14

###### FOUR POST SKILLION ROOF	14

###### WIND LOADING	14

Page 4 of 20

  - Summary

###### Artports is a product made in Japan using Aluminum, Steel and Polycarbonate. It is a light weight aesthetically superior mainly Aluminium Carport System that complies with the National Construction Code (NCC) and relevant Australian Standards. In addition, a 1507 design compliance certificate may be issued for the purpose of obtaining a Building Permit under the Victorian Building Regulations 2006 (Victorian Building Act 1993) for a particular site, on request. It is advised that appropriate enquires be made with relevant Building Control Agencies in other States and Territories for obtaining Building permits in those States and Territories, prior to installation.

A structural analysis and a design review was carried out using Tekla Tedds & Space Gass computer software popularly used by practicing Structural Engineers here in Australia. The results under standard loads were in compliance with allowable stresses specified in AS 1664.2:1997 Aluminium Structures and AS 4100:1998 Steel Structures.

The review process in this report followed the provisions as outlined in NCC part two (latest version) and relevant Australian Standards such as:

    - AS 1664.2:1997 Aluminium Structures*

    - AS 4100:1998 Steel Structures*

    - AS 1170:2002 Structural Design Actions*

    - AS 2870:2011 Residential Slabs and Footings*

    - AS 3600:2009 Concrete Structures*

NCC provides two methods for arriving at a determination that a structure complies with Australian Standards and is suitable for installation, the two methods namely are as follows:

    - Performance Solution (was known as Alternative Solution)

###### Deem-to-Satisfy Solution Extract from NCC;

“1.0.3 Performance Solutions

###### A Performance Solution must—

  - comply with the Performance Requirements; or

  - be at least equivalent to the Deemed-to-Satisfy Provisions, and be assessed according to one or more of the Assessment Methods.

- A Performance Solution will only comply with the NCC when the Assessment Methods used satisfactorily demonstrate compliance with the Performance Requirements”.

Performance Requirements considered for this review:

- NCC Classification – Class 10a (non-habitable out building)

- Comply with relevant Australian Standards*

- Importance Level 1 (NCC section 3.11.3)

Page 5 of 20

###### The two artports configurations (figures 1, 2, 3 & 4 - pages 5 & 6) reviewed in this report were:

- Two post Cantilever type

- Four post Skillion Roof type

The following sections of this report outlines in detail, how artports have satisfied its performance requirements.

  - Artports Configurations

Page 6 of 20

Page 7 of 20

  - Artports

  - Background

###### Artports (the product) is a Japanese designed and fabricated Carport System. It is made of extruded aluminum, steel and polycarbonate sheeting for roof cover, all made in Japan. The carport configurations considered in this report were; the two-post cantilever & four post Skillion roof styles (figures 1, 2, 3 & 4 – pages 5 & 6).

NCC classification for carports is Class 10a and NCC volume two refers to structures under this class.

  - Report Objective

###### Review and certify (in general) the structural performance of Japanese made Artports (type of carports) under Australian conditions and more importantly under NCC of Australia and relevant Australian Standards (AS).

  - Material Properties

    - Chemical Composition:

###### Aluminium parts

Aluminum Alloy: International code 6063 T5 (Japan uses this code) Aluminum – 97.5%

Silicon - minimum 0.2%, maximum 0.6% by weight Iron - maximum 0.35%

Copper - maximum 0.10% Manganese - maximum 0.10%

Magnesium - minimum 0.45%, maximum 0.9% Chromium - maximum 0.10%

Zinc - maximum 0.10% Titanium - maximum 0.10%

Other elements - no more than 0.05% each, 0.15% total

Steel for Knee bracket ( Joint between post & main Beam) Iron – 94.33%

Carbon – 0.15% to 0.3%

Manganese – 0.5% - 1.7%

Aluminium – 0.5%

Chromium - 0.8%

Columbium – 0.5%

Copper – 0.2%

Molybdenum – 0.08% - 0.25%

Nickel – 0.2% - 1.25%

Phosphorus – 0.04% – 0.05%

Page 8 of 20

###### Silicon – 0.04%

Vanadium – 0.03% - 0.08%

Polycarbonate (Roofing) Complex carbon polymer

    - Mechanical Properties:

###### Aluminum

Young’s Modulus - 6.2x104 MPa

Poisson’s Ratio – 0.36 Mass Density – 2.707 t/m3

Thermal Coefficient – 2.34x10-5 strain/C0

Steel

Young’s Modulus – 2x105 MPa

Poisson’s Ratio - 0.25 Mass Density – 7.85 t/m3

Thermal Coefficient – 1.17x10-5

Polycarbonate

Young’s Modulus – 2.4x103 MPa

Poisson’s Ratio - 0.37 Mass Density – 1.22 t/m3

Thermal Coefficient – 6.7x10-5

  - Methodology

###### Two computer software packages were used for analysis. Tekla Tedds was used to estimate resultant wind pressures and Space Gass for bending moments, shear forces, support reactions and deflections.

The Australians Standard, AS 1664.2:1997 Aluminum Structures and AS 4100:1998 were the basis for reviewing structural integrity, whilst AS 1170:2002 and AS 3600/AS 2870 were the standards for loads and footing design respectively. No footing check performed in this review, as it is not possible without particular site (Soil) data available.

The NCC was the governing code for carrying out a performance based assessment of suitability of the product for the proposed use as a Carport.

NCC classifies a carport to be a Class 10a out building, which is a non-habitable structure and it specifies no limit for deflection of a carport element under standard Loads.

Page 9 of 20

  - Loads Used

    - Self-weight

###### Applied as a ‘g’ force acceleration in downward direction along global ‘Y’ axis

    - Wind Actions

###### Regions: A1 to A5

      - Terrain Category: 3 (Tc 1 to 4 yield same result for Ultimate Wind Pressure)

      - Inverse of annual probability of wind speed exceedance (Service) - 25

      - Inverse of annual probability of wind speed exceedance (ultimate) – 100

    - Imposed Action

###### Note: This is not a mandatory requirement under any code or standard. It is applied purely to simulate a very low probable incident (example: a person hanging on to roof).

      - 2 x 0.5kg point loads to achieve the maximum deflection (Two Post Cantilever)

      - 2 x 0.5kg point load to achieve the maximum deflection (Four Post Skillion Roof)

    - Load Case Titles

| CASE | TITLE |
| --- | --- |
| 1 | SELF WEIGHT |
| 2 | WIND COLS MAJOR (S) |
| 3 | WIND COLS MAJOR (U) |
| 4 | WIND PL (S) |
| 5 | WIND PL (U) |
| 6 | IMPOSED P/ LOAD |
| 7 | WIND COLS MINOR (S) |
| 8 | WIND COLS MINOR (U) |
| 10 | COMB 1 (1) |
| 20 | COMB 2 (1+2+4+6) |
| 30 | COMB 3 (1+3+5+6) |
| 40 | COMB 4 (1+6) |
| 50 | COMB 5 (1+4+6+7) |
| 60 | COMB 6 (1+5+6+8) |
| 70 | COMB 7 (1+5+8) |

Page 10 of 20

    - Load Combinations

| LOAD CASE COMBINATIONS - AS1664.2:1997 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMB. CASE | (1) SELF WEIGHT | (2) WIND COLS MAJOR (S) | (3) WIND COLS MAJOR (U) | (4) WIND PL (S) | (5) WIND PL (U) | (6) IMPOSED P/ LOAD | (7) WIND COLS MINOR (S) | (8) WIND COLS MINOR (U) |
| 10 | 1 |  |  |  |  |  |  |  |
| 20 | 0.75 | 0.75 |  | 0.75 |  | 1 |  |  |
| 30 | 0.75 |  | 0.75 |  | 0.75 | 1 |  |  |
| 40 | 1 |  |  |  |  | 1 |  |  |
| 50 | 0.75 |  |  | 0.75 |  | 1 | 0.75 |  |
| 60 | 0.75 |  |  |  | 0.75 | 1 |  | 0.75 |
| 70 | 1 |  |  |  | 1 |  |  | 1 |

  - Space Gass and Tekla Tedds Analyses

    - Input

###### Appendices 6.1 & 6.3

    - Output

###### Appendices 7.1 to 7.2 (attached)

Appendix 7.3 (attached)

  - Conclusion

  - Two Post Cantilever

###### Deflection results for load all combinations, 10 Comb. 1 to 60 Comb. 6 indicates a deflection of

63.5 mm where the point loads are applied (Nodes 36 & 37). But, these point loads are very unlikely to occur in reality and no Australian code or standards mandates these point loads to be applied and tested for a structure such as a carport, which is not a habitable building.

However, 70 Comb. 7 without point loads indicates a maximum deflection of only 15.6mm, which is negligible given it is not a habitable building.

A point load of this magnitude can only be imposed by a load that is not likely in normal life of a Carport, excepting snow loads and cyclonic storms (or for example a human/animal hanging on to an edge of the carport roof).

Maximum Bending Moment, Shear, Axial Tension and Compression that were calculated for loads including point loads, were all within the allowable Stresses as stated in AS 1664.2:1995 and AS 4100:1998 (refer to appendices 7.1 to 7.2 attached).

The potential of overturning of the Carport due to wind action should be checked for a particular site (Soil) condition. So, this check has not been carried out in this exercise as it should be done

Page 11 of 20

###### when the site (Soil) condition is known, to yield accurate results. However, overturning stability can always be assured by utilizing a suitable RC Footing System.

Severe weather conditions such as heavy snow, cyclonic storms and earth quakes have not been considered as load data for this study, and further review is recommended should the demand arises to market the product in country where these extremes will be common. If further reviews indicate the need for greater strength then the product can easily and adequately be strengthened to withstand these extremes.

Corrosion resistance of Aluminum is generally better than that of steel. At the same time fire resistance is weaker than Steel. However, as this is not a habitable structure and not generally recommended to be attached to an existing habitable building, no compromise will be expected to general safety against fire hazards.

  - Four Post Skillion Roof

###### Deflection results for load all combinations, 10 Comb. 1 to 60 Comb. 6 indicates a deflection of

52.4 mm where the point loads are applied (Nodes 116 & 118). But, these point loads are very unlikely to occur in reality and no Australian code or standards mandates these point loads to be applied and tested for a structure such as a carport, which is not a habitable building.

However, 70 Comb. 7 without point loads indicates a maximum deflection of only 7.20mm, which is negligible given it is not a habitable building.

A point load of this magnitude can only be imposed by a load that is not likely in the normal life of a Carport, excepting snow loads and cyclonic storms (or for example a human/animal hanging on to an edge of the carport roof).

Maximum Bending Moment, Shear, Axial Tension and Compression that were calculated for loads including point loads, were all within the allowable Stresses as stated in AS 1664.2:1995 and AS 4100:1998 (refer to appendices 7.1 to 7.2 attached).

The potential of overturning of the Carport due to wind action should be checked for a particular site (Soil) condition. So, this check has not been carried out in this exercise as it should be done when the site (Soil) condition is known, to yield accurate results. However, overturning stability can always be assured by utilizing a suitable RC Footing System.

Severe weather conditions such as heavy snow, cyclonic storms and earth quakes have not been considered as load data for this study, and further review is recommended should the demand arises to market the product in country where heavy snow fall and cyclonic storms will be common. If further reviews indicate the need for greater strength then the product can easily and adequately be strengthened to withstand these extremes.

Corrosion resistance of Aluminum is generally better than that of steel. At the same time fire resistance is weaker than Steel. However, as this is not a habitable structure and not generally recommended to be attached to an existing habitable building, no compromise will be expected to general safety against fire hazards.

Page 12 of 20

5.0 Recommendation

###### Artports is an aesthetically superior product compared to any other similar product available in the market or built from scratch using locally available material such as timber and steel.

Aluminum as the main raw material for the product and the coating system used makes it a better-quality product in the market and at the same time its robust structural design makes it fully compliant with the NCC & relevant Australian Standards. Also, its light weight compared to a timber or steel carport, makes it a better choice for Urban Carports, mainly in built up areas where extreme weather is not common.

Page 13 of 20

6.0 APPENDICES

TWO POST CANTILEVER

Appendix 6.1 - Input Loads

Appendix 6.2 – Calculations Check for Allowable Stresses Appendix 7.1 – Structural Analysis

FOUR POST SKILLION ROOF

Appendix 6.3 - Input Loads

Appendix 6.4 – Calculations Check for Allowable Stresses Appendix 7.2 – Structural Analysis (attached)

WIND LOADING

Appendix 7.3 – Wind Analysis

Page 14 of 20

| AS 1664.2:1997 - ALLOWABLE STRESS FOR ALUMINIUM STRUCTURES |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ALLOY | THICKNESS | TENSILE (MPa) |  | COMPRESSION (MPa) | SHESR (MPa) | BEARING (MPa) |  |  |
| 6063 T5 | 0 < THICKNESS < 12mm | 152 | 110 | 110 | 90 | 62 | 317 | 179 |
| AS 4100:1998 - ULTIMATE TENSILE OR COMPRESSIVE STRESS FOR STEEL STRUCTURES |  |  |  |  |  |  |  |  |
| 0.9 X 250 MPa = 225 MPa – AS 4100:1998 |  |  |  |  |  |  |  |  |

Aluminium Member Check (worst case check) Comb. 60 - Member 52:

###### Allowable Axial Tensile Stress

Lesser of, F ty / n y     &   F tu    / k t * nu   (k t = 1 – table 3.4(B) & n – table 3.4(A))

Cross-Sectional Area = 251 mm2 Max.  Axial Tension = 2.0 kN

Max. Axial Tensile Stress = 2 * 1000 / 251 = 7.96 MPa << 110/1.95 = 56.40 MPa ------ Safe in Axial Tension

Allowable Bending Stress (in Tension)

Lesser of, F ty / n y     &   F tu     / k t * nu     (k t = 1 – table 3.4(B) & n – table 3.4(A))

###### Cross-Sectional Area = 251 m2 Max. Bending Tension = 0.21 kN

Max. Bending Tensile Stress = 0.24 * 1000 * 22.5 * 1000 / 125 = 43.2 MPa << 110/1.95 = 56.40 MPa ------- Safe in Tension due to Bending

###### Allowable Compression in Columns

Fc = F cy / K c * n y

## When k * L/r below Slenderness Limit S1 S1 = [Bc – (nu * Fcy)/ kc * ny] / Dc

Bc = Fcy [1 + (Fcy/15510)1/2] = 110 * [1+ (110/15510)1/2] = 110.26

S1 = {119.26 – [(1.95 * 110)/ (1.12 * 1.65)]} / [(119.26/10) * (119.26/70000)] = 157.34

(k*L)/r = (1 * 2.301) / 39 = 0.059 << S1

So, Use	Fc = F cy / K c * n y = 110/ (1 * 1.65) = 66.66 MPa as allowable stress.

Page 16 of 20

## Max. Axial Force in Columns = 1.23 kN

Max. Axial Stress in Columns = 1.23 * 1000 / 985 = 1.25 MPa << 66.66 MPa,

So, Column is safe.

Steel Member Check (worst case check) Comb 60: Members 5 & 6 and 120 & 121 Allowable Axial Tensile/Compressive Stress

###### Cross-Sectional Area = 1001.12 mm2 Max.  Axial Tension = 0.86 kN

Max. Axial Tensile Stress = 0.86 * 1000 / 1001.12 = 0.86 MPa << 225 MPa ------ Safe in Axial Tension

###### Cross-Sectional Area = 1463.12 mm2 Max.  Axial Compression = 1.20 kN

Max. Axial Compressive Stress = 1.20 * 1000 / 1463.12 = 0.82 MPa << 225 MPa ------ Safe in Axial Compression.

###### Allowable Bending Stress (in Tension)

Max. Bending Tensile Stress = 2.40 * 10002 * / (57.5 * 500.50) = 83.00 MPa << 225 MPa ------- Safe in Tension due to Bending

###### Aluminium Fastener/Crews Check (Roof – Plates 8 & 9))

Maximum Allowable Strength of 4mm dia. screw = 110 / 2.34 = 47 MPa

Maximum Tensile Force = (0.4 * 1000) / (22/7 * 22) – 31.80 MPa < 47 MPa --- Smallest screw is safe in Tension

###### Maximum Allowable Shear Strength 4mm dia. screw = 62 / 2.34 = 26.50 MPa

Maximum Shear Force = [(1.3 * 1000) / (22/7 * 22)] / 8 = 13.0 MPa < 26.50 MPa --- Smallest crew is safe in Shear

Page 17 of 20

Page 18 of 20

| AS 1664.2:1997 - ALLOWABLE STRESS FOR ALUMINIUM STRUCTURES |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ALLOY | THICKNESS | TENSILE (MPa) |  | COMPRESSION (MPa) | SHESR (MPa) | BEARING (MPa) |  |  |
| 6063 T5 | 0 < THICKNESS < 12mm | 152 | 110 | 110 | 90 | 62 | 317 | 179 |
| AS 4100:1998 - ULTIMATE STRESS FOR STEEL STRUCTURES |  |  |  |  |  |  |  |  |
| 0.9 X 250 MPa = 225 MPa |  |  |  |  |  |  |  |  |

Aluminium Member Check (worst case check) Comb. 60 - Member 37 & 38:

###### Allowable Axial Tensile Stress

Lesser of, F ty / n y     &   F tu     / k t * nu	 (k t  = 1 – table 3.4(B) & n – table 3.4(A))

###### Cross-Sectional Area = 375.34 mm2 Max.  Axial Tension = 1.8 kN

Max. Axial Tensile Stress = 1.8 * 1000 / 375.34 = 4.80 MPa   <<   110/1.95 = 56.40 MPa ------

Safe in Axial Tension

Allowable Bending Stress (in Tension)

Lesser of, F ty / n y     &   F tu     / k t * nu	 (k t  = 1 – table 3.4(B) & n – table 3.4(A))

###### Cross-Sectional Area = 375.34 m2 Max. Bending Tension = 0.16 kNm

Max. Bending Tensile Stress = 0.16 * 1000 * 25 x 1000 / 187.67= 21.31 MPa << 110/1.95 = 56.40 MPa ------- Safe in Tension due to Bending

###### Allowable Compression in Columns

Fc  = F cy  / K c * n y

## When k * L/r below Slenderness Limit S1 S1 = [Bc – (nu * Fcy)/ kc * ny] / Dc

Bc = Fcy [1 + (Fcy/15510)1/2] = 110 * [1+ (110/15510)1/2] = 110.26

S1 = {119.26 – [(1.95 * 110)/(1.12 * 1.65)]} / [(119.26/10) * (119.26/70000)] = 157.34 (k*L)/r = (1 * 2.656) / 33.6 = 0.79 << S1

So, Use	Fc = F cy / K c * n y = 110/ (1 * 1.65) = 66.66 MPa as allowable stress.

Page 19 of 20

## Max. Axial Force in Columns = 1.15 kN

Max. Axial Stress in Columns = 1.23 * 1000 / 999.89 = 1.23 MPa << 66.66 MPa, So, Column is safe.

### Steel Member Check (worst case check)

Comb 60:  Members 85 & 89 (578.4 mm2) and 217 & 218 (999.89 mm2)

###### Allowable Axial Tensile/Compressive Stress

Cross-Sectional Area = 578.4 mm2 Max.  Axial Tension =   1.90 kN

Max. Axial Tensile Stress = 1.90 * 1000 / 578.40 = 3.30 MPa << 225 MPa ------ Safe in Axial Tension

###### Cross-Sectional Area = 999.89 mm2 Max.  Axial Compression = 0.50 kN

Max. Axial Compressive Stress = 0.50 * 1000 / 999.89 = 0.50 MPa << 225 MPa ------ Safe in Axial Compression.

###### Allowable Bending Stress (in Tension)

Max. Bending Tensile Stress = 0.13 * 1000 * 57.5 x 1000 / 289.20 = 25.85 MPa << 225 MPa ------- Safe in Tension due to Bending

###### Aluminium Fastener/Screw Check not performed here as it will give similar safe results as per Two Post Cantilever carport above.

Page 20 of 20

TWO POST CANTILEVER

# Appendix 7.1

| ANALYSIS STATUS REPORT ---------------------- | Node | X Coord | Y Coord | Z Coord |
| --- | --- | --- | --- | --- |
| Job name ...... JAPANESE CARPORT 1 - 9-03-2017 | 66 | 3.976 | -1.841 | 0.000 |
| Location ...... C:\Users\Priyan\Desktop\WB CIVIL STRUCTURAL ENGINEERS\1 COV... | 67 | 1.076 | -0.460 | 0.000 |
|  | 68 | 1.076 | -0.920 | 0.000 |
| Length units ......................... m | 69 | 1.076 | -1.381 | 0.000 |
| Section property units ............... mm Material strength units .............. MPa Mass density units ................... T/m^3 | 70 | 1.076 | -1.841 | 0.000 |

Temperature units .................... Celsius

Force units .......................... kN

Moment units ......................... kNm

Mass units ........................... T

Acceleration units ................... g's

Translation units .................... mm

MEMBER DATA (deg,kNm/rad,m)

----------- (F=Fixed, R=Released) (*=Cable length)

Dir   Dir Dir Memb	Node A Node B

Memb  Angle  Node Axis Type Node A Node B  Sect Mat Fixity Fixity	Length

| Stress units ......................... MPa |  |  |  |  |  | 1 | 0.00 | Norm | 3 | 10 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 2 | 0.00 | Norm | 3 | 40 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| Nodes ................................ |  |  |  | 70 | ( 32765) | 3 | 0.00 | Norm | 4 | 14 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Members .............................. |  |  |  | 144 | ( 32765) | 4 | 0.00 | Norm | 2 | 34 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| Plates ............................... |  |  |  | 35 | ( 32765) | 5 | 0.00 | Norm | 6 | 18 | 6 | 2 FFFFFF FFFFFF | 0.600 |
| Restrained nodes ..................... |  |  |  | 4 | ( 32765) | 6 | 0.00 | Norm | 8 | 22 | 6 | 2 FFFFFF FFFFFF | 0.600 |
| Nodes with spring restraints ......... |  |  |  | 0 | ( 32765) | 7 | 0.00 | Norm | 7 | 35 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| Section properties ................... |  |  |  | 6 | ( 32765) | 8 | 0.00 | Norm | 8 | 45 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| Material properties .................. |  |  |  | 3 | ( 999) | 9 | 0.00 | Norm | 9 | 39 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| Constrained nodes .................... |  |  |  | 0 | ( 32765) | 10 | 0.00 | Norm | 6 | 41 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| Member offsets ....................... |  |  |  | 124 | ( 32765) | 11 | 0.00 | Norm | 10 | 11 | 1 | 1 FFFFFF FFFFFF | 0.600 |
|  |  |  |  |  |  | 12 | 0.00 | Norm | 11 | 12 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Node loads ........................... |  |  |  | 2 | ( 250000) | 13 | 0.00 | Norm | 12 | 13 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Prescribed node displacements ........ |  |  |  | 0 | ( 250000) | 14 | 0.00 | Norm | 13 | 2 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Member concentrated loads ............ |  |  |  | 0 | ( 250000) | 15 | 0.00 | Norm | 14 | 15 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Member distributed forces ............ |  |  |  | 40 | ( 250000) | 16 | 0.00 | Norm | 15 | 16 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Member distributed torsions .......... |  |  |  | 0 | ( 250000) | 17 | 0.00 | Norm | 16 | 17 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Thermal loads ........................ |  |  |  | 0 | ( 250000) | 18 | 0.00 | Norm | 17 | 5 | 1 | 1 FFFFFF FFFFFF | 0.600 |
| Member prestress loads ............... |  |  |  | 0 | ( 250000) | 19 | 0.00 | Norm | 18 | 19 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Plate pressure loads ................. |  |  |  | 70 | ( 250000) | 20 | 0.00 | Norm | 19 | 20 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Self weight load cases ............... |  |  |  | 1 | ( 10000) | 21 | 0.00 | Norm | 20 | 21 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Combination load cases ............... |  |  |  | 7 | ( 10000) | 22 | 0.00 | Norm | 21 | 7 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Load cases with titles ............... |  |  |  | 15 | ( 10000) | 23 | 0.00 | Norm | 22 | 23 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Lumped masses ........................ |  |  |  | 0 | ( 250000) | 24 | 0.00 | Norm | 23 | 24 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Spectral load cases .................. |  |  |  | 0 | ( 10000) | 25 | 0.00 | Norm | 24 | 25 | 2 | 1 FFFFFF FFFFFF | 0.600 |
|  |  |  |  |  |  | 26 | 0.00 | Norm | 25 | 9 | 2 | 1 FFFFFF FFFFFF | 0.600 |
| Static analysis ...................... |  |  |  | Y |  | 27 | 0.00 | Norm | 13 | 1 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| Dynamic analysis ..................... |  |  |  | N |  | 28 | 0.00 | Norm | 21 | 29 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| Response analysis .................... |  |  |  | N |  | 29 | 0.00 | Norm | 25 | 57 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| Buckling analysis .................... |  |  |  | N |  | 30 | 0.00 | Norm | 16 | 58 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| Ill-conditioned ...................... |  |  |  | N |  | 31 | 0.00 | Norm | 24 | 50 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| Non-linear convergence ............... |  |  |  | Y |  | 32 | 0.00 | Norm | 20 | 26 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| Frontwidth ........................... |  |  |  | 72 |  | 33 | 0.00 | Norm | 11 | 27 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| Total degrees of freedom ............. |  |  |  | 402 |  | 34 | 0.00 | Norm | 19 | 31 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| Static load cases .................... |  |  |  | 8 | ( 10000) | 35 | 0.00 | Norm | 23 | 59 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| Mass load cases ...................... |  |  |  | 1 | ( 10000) | 36 | 0.00 | Norm | 14 | 60 | 1 | 1 FFFFFF FFFFFF | 0.722 |
|  |  |  |  |  |  | 37 | 0.00 | Norm | 22 | 56 | 1 | 1 FFFFFF FFFFFF | 0.368 |
|  |  |  |  |  |  | 38 | 0.00 | Norm | 18 | 28 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| NODE COORDINATES (m) |  |  |  |  |  | 39 | 0.00 | Norm | 63 | 64 | 4 | 1 FFFFFF FFFFFF | 0.460 |
| ---------------- |  |  |  |  |  | 40 | 0.00 | Norm | 64 | 65 | 4 | 1 FFFFFF FFFFFF | 0.460 |
|  |  |  |  |  |  | 41 | 0.00 | Norm | 65 | 66 | 4 | 1 FFFFFF FFFFFF | 0.460 |
|  | X | Y | Z | 42 |  |  | 0.00 | Norm | 66 | 62 | 4 | 1 FFFFFF FFFFFF | 0.460 |
| Node | Coord | Coord | Coord | 43 |  |  | 0.00 | Norm | 67 | 68 | 4 | 1 FFFFFF FFFFFF | 0.460 |
|  |  |  |  | 44 |  |  | 0.00 | Norm | 68 | 69 | 4 | 1 FFFFFF FFFFFF | 0.460 |
| 1 | 0.722 | 0.209 | -2.391 | 45 |  |  | 0.00 | Norm | 69 | 70 | 4 | 1 FFFFFF FFFFFF | 0.460 |
| 2 | 0.000 | 0.261 | -2.989 | 46 |  |  | 0.00 | Norm | 70 | 61 | 4 | 1 FFFFFF FFFFFF | 0.460 |
| 3 | 0.000 | 0.000 | 0.000 | 47 |  |  | 0.00 | Norm | 45 | 60 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 4 | 5.051 | 0.000 | 0.000 | 48 |  |  | 0.00 | Norm | 34 | 7 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| 5 | 5.051 | 0.261 | -2.989 | 49 |  |  | 0.00 | Norm | 60 | 59 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 6 | 1.076 | 0.000 | 0.000 | 50 |  |  | 0.00 | Norm | 35 | 36 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 7 | 1.076 | 0.261 | -2.989 | 51 |  |  | 0.00 | Norm | 59 | 58 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 8 | 3.976 | 0.000 | 0.000 | 52 |  |  | 0.00 | Norm | 36 | 37 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 9 | 3.976 | 0.261 | -2.989 | 53 |  |  | 0.00 | Norm | 58 | 57 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 10 | 0.000 | 0.052 | -0.598 | 54 |  |  | 0.00 | Norm | 37 | 38 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 11 | 0.000 | 0.105 | -1.195 | 55 |  |  | 0.00 | Norm | 57 | 39 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 12 | 0.000 | 0.157 | -1.793 | 56 |  |  | 0.00 | Norm | 38 | 9 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| 13 | 0.000 | 0.209 | -2.391 | 57 |  |  | 0.00 | Norm | 44 | 56 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 14 | 5.051 | 0.052 | -0.598 | 58 |  |  | 0.00 | Norm | 39 | 5 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 15 | 5.051 | 0.105 | -1.195 | 59 |  |  | 0.00 | Norm | 56 | 53 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 16 | 5.051 | 0.157 | -1.793 | 60 |  |  | 0.00 | Norm | 40 | 6 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| 17 | 5.051 | 0.209 | -2.391 | 61 |  |  | 0.00 | Norm | 40 | 28 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 18 | 1.076 | 0.052 | -0.598 | 62 |  |  | 0.00 | Norm | 41 | 42 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 19 | 1.076 | 0.105 | -1.195 | 63 |  |  | 0.00 | Norm | 41 | 32 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 20 | 1.076 | 0.157 | -1.793 | 64 |  |  | 0.00 | Norm | 42 | 43 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 21 | 1.076 | 0.209 | -2.391 | 65 |  |  | 0.00 | Norm | 42 | 54 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 22 | 3.976 | 0.052 | -0.598 | 66 |  |  | 0.00 | Norm | 43 | 44 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 23 | 3.976 | 0.105 | -1.195 | 67 |  |  | 0.00 | Norm | 43 | 55 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 24 | 3.976 | 0.157 | -1.793 | 68 |  |  | 0.00 | Norm | 44 | 8 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| 25 | 3.976 | 0.209 | -2.391 | 69 |  |  | 0.00 | Norm | 44 | 56 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 26 | 0.722 | 0.157 | -1.793 | 70 |  |  | 0.00 | Norm | 45 | 4 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 27 | 0.722 | 0.105 | -1.195 | 71 |  |  | 0.00 | Norm | 45 | 60 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 28 | 0.722 | 0.052 | -0.598 | 72 |  |  | 0.00 | Norm | 1 | 21 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| 29 | 1.443 | 0.209 | -2.391 | 73 |  |  | 0.00 | Norm | 1 | 34 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 30 | 1.443 | 0.157 | -1.793 | 74 |  |  | 0.00 | Norm | 26 | 12 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 31 | 1.443 | 0.105 | -1.195 | 75 |  |  | 0.00 | Norm | 26 | 1 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 32 | 1.443 | 0.052 | -0.598 | 76 |  |  | 0.00 | Norm | 27 | 19 | 1 | 1 FFFFFF FFFFFF | 0.354 |
| 33 | 2.165 | 0.209 | -2.391 | 77 |  |  | 0.00 | Norm | 27 | 26 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 34 | 0.722 | 0.261 | -2.989 | 78 |  |  | 0.00 | Norm | 28 | 10 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 35 | 1.443 | 0.261 | -2.989 | 79 |  |  | 0.00 | Norm | 28 | 27 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 36 | 2.165 | 0.261 | -2.989 | 80 |  |  | 0.00 | Norm | 29 | 35 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 37 | 2.886 | 0.261 | -2.989 | 81 |  |  | 0.00 | Norm | 29 | 33 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 38 | 3.608 | 0.261 | -2.989 | 82 |  |  | 0.00 | Norm | 30 | 29 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 39 | 4.329 | 0.261 | -2.989 | 83 |  |  | 0.00 | Norm | 30 | 20 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| 40 | 0.722 | 0.000 | 0.000 | 84 |  |  | 0.00 | Norm | 31 | 30 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 41 | 1.443 | 0.000 | 0.000 | 85 |  |  | 0.00 | Norm | 31 | 51 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 42 | 2.165 | 0.000 | 0.000 | 86 |  |  | 0.00 | Norm | 32 | 31 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 43 | 2.886 | 0.000 | 0.000 | 87 |  |  | 0.00 | Norm | 32 | 18 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| 44 | 3.608 | 0.000 | 0.000 | 88 |  |  | 0.00 | Norm | 33 | 46 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 45 | 4.329 | 0.000 | 0.000 | 89 |  |  | 0.00 | Norm | 33 | 36 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 46 | 2.886 | 0.209 | -2.391 | 90 |  |  | 0.00 | Norm | 46 | 47 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 47 | 3.608 | 0.209 | -2.391 | 91 |  |  | 0.00 | Norm | 46 | 37 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 48 | 2.165 | 0.157 | -1.793 | 92 |  |  | 0.00 | Norm | 47 | 25 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| 49 | 2.886 | 0.157 | -1.793 | 93 |  |  | 0.00 | Norm | 47 | 38 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 50 | 3.608 | 0.157 | -1.793 | 94 |  |  | 0.00 | Norm | 48 | 30 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 51 | 2.165 | 0.105 | -1.195 | 95 |  |  | 0.00 | Norm | 48 | 33 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 52 | 2.886 | 0.105 | -1.195 | 96 |  |  | 0.00 | Norm | 49 | 48 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 53 | 3.608 | 0.105 | -1.195 | 97 |  |  | 0.00 | Norm | 49 | 46 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 54 | 2.165 | 0.052 | -0.598 | 98 |  |  | 0.00 | Norm | 50 | 49 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 55 | 2.886 | 0.052 | -0.598 | 99 |  |  | 0.00 | Norm | 50 | 47 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 56 | 3.608 | 0.052 | -0.598 | 100 |  |  | 0.00 | Norm | 51 | 52 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 57 | 4.329 | 0.209 | -2.391 | 101 |  |  | 0.00 | Norm | 51 | 48 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 58 | 4.329 | 0.157 | -1.793 | 102 |  |  | 0.00 | Norm | 52 | 53 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 59 | 4.329 | 0.105 | -1.195 | 103 |  |  | 0.00 | Norm | 52 | 49 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 60 | 4.329 | 0.052 | -0.598 | 104 |  |  | 0.00 | Norm | 53 | 23 | 1 | 1 FFFFFF FFFFFF | 0.368 |
| 61 | 1.076 | -2.301 | 0.000 | 105 |  |  | 0.00 | Norm | 53 | 50 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 62 | 3.976 | -2.301 | 0.000 | 106 |  |  | 0.00 | Norm | 54 | 32 | 1 | 1 FFFFFF FFFFFF | 0.722 |
| 63 | 3.976 | -0.460 | 0.000 | 107 |  |  | 0.00 | Norm | 54 | 51 | 3 | 1 FFFFFF FFFFFF | 0.600 |
| 64 | 3.976 | -0.920 | 0.000 |  |  |  |  |  |  |  |  |  |  |
| 65 | 3.976 | -1.381 | 0.000 |  |  |  |  |  |  |  |  |  |  |

Dir   Dir Dir Memb	Node A Node B

Memb  Angle  Node Axis Type Node A Node B  Sect Mat Fixity Fixity	Length

Sect Shape	Trans Mir Rotate	D   Bt/Bb Btw/Bbw   Tt/Tb  Tw/Rr

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.00 | 0.00 | 0.00 | 1.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 108 | 0.00 | Norm |  | 55 | 54 | 1 | 1 FFFFFF FFFFFF |  |  |  | 0.722 | 3 | Solid rect |  | No | No | 0.00 | 4.00 | 50.00 | 0.00 | 0.00 | 0.00 |
| 109 | 0.00 | Norm |  | 55 | 52 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  | 0.00 | 0.00 | 0.00 | 0.00 |
| 110 | 0.00 | Norm |  | 56 | 55 | 1 | 1 FFFFFF FFFFFF |  |  |  | 0.722 | 4 | Rect tube |  | No | No | 0.00 | 92.00 | 160.00 | 0.00 | 0.00 | 2.00 |
| 111 | 0.00 | Norm |  | 56 | 53 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  | 0.00 | 0.00 | 0.00 | 1.00 |
| 112 | 0.00 | Norm |  | 57 | 39 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 5 | Rect tube |  | No | No | 0.00 | 92.00 | 160.00 | 0.00 | 0.00 | 3.00 |
| 113 | 0.00 | Norm |  | 57 | 17 | 1 | 1 FFFFFF FFFFFF |  |  |  | 0.722 |  |  |  |  |  |  |  | 0.00 | 0.00 | 0.00 | 1.00 |
| 114 | 0.00 | Norm |  | 58 | 57 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 6 | Rect tube |  | No | No | 0.00 | 115.00 | 60.00 | 0.00 | 0.00 | 3.00 |
| 115 | 0.00 | Norm |  | 58 | 24 | 1 | 1 FFFFFF FFFFFF |  |  |  | 0.354 |  |  |  |  |  |  |  | 0.00 | 0.00 | 0.00 | 1.00 |
| 116 | 0.00 | Norm |  | 59 | 58 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  |  |  |  |  |
| 117 | 0.00 | Norm |  | 59 | 15 | 1 | 1 FFFFFF FFFFFF |  |  |  | 0.722 |  |  |  |  |  |  |  |  |  |  |  |
| 118 | 0.00 | Norm |  | 60 | 59 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | MATERIAL PROPERTIES (MPa,T/m^3,strain/degC) |  |  |  |  |  |  |  |  |  |  |
| 119 | 0.00 | Norm |  | 60 | 22 | 1 | 1 FFFFFF FFFFFF |  |  |  | 0.354 | ------------------- |  |  |  |  |  |  |  |  |  |  |
| 120 | 0.00 | Norm |  | 6 | 67 | 5 | 2 FFFFFF FFFFFF |  |  |  | 0.460 | Young's Poisson's Mass |  |  |  |  |  |  |  | Coeff of | Concrete |  |
| 121 | 0.00 | Norm |  | 8 | 63 | 5 | 2 FFFFFF FFFFFF |  |  |  | 0.460 | Matl Material Name Modulus Ratio Density |  |  |  |  |  |  |  | Expansion | Strength |  |
| 122 | 0.00 | Norm |  | 53 | 50 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  |  |  |  |  |
| 123 | 0.00 | Norm |  | 50 | 47 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 1 ALUMINIUM 6.2000E+04 0.36 2.7070E+00 |  |  |  |  |  |  |  | 2.340E-05 |  |  |
| 124 | 0.00 | Norm |  | 47 | 38 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 2 STEEL 2.0000E+05 0.25 7.8500E+00 |  |  |  |  |  |  |  | 1.170E-05 |  |  |
| 125 | 0.00 | Norm |  | 43 | 55 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 3 POLYCARBONATE 2.4000E+03 0.37 1.2200E+00 |  |  |  |  |  |  |  | 6.700E-05 |  |  |
| 126 | 0.00 | Norm |  | 55 | 52 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  |  |  |  |  |
| 127 | 0.00 | Norm |  | 52 | 49 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  |  |  |  |  |
| 128 | 0.00 | Norm |  | 49 | 46 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | MEMBER OFFSETS (m) |  |  |  |  |  |  |  |  |  |  |
| 129 | 0.00 | Norm |  | 46 | 37 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | -------------- |  |  |  |  |  |  |  |  |  |  |
| 130 | 0.00 | Norm |  | 42 | 54 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  |  |  |  |  |
| 131 | 0.00 | Norm |  | 54 | 51 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | Memb | Axes | Dxa | Dya |  | Dza |  | Dxb | Dyb | Dzb |  |
| 132 | 0.00 | Norm |  | 51 | 48 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 |  |  |  |  |  |  |  |  |  |  |  |
| 133 | 0.00 | Norm |  | 48 | 33 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 1 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 134 | 0.00 | Norm |  | 33 | 36 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 2 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 135 | 0.00 | Norm |  | 41 | 32 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 3 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 136 | 0.00 | Norm |  | 32 | 31 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 4 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 137 | 0.00 | Norm |  | 31 | 30 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 7 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 138 | 0.00 | Norm |  | 30 | 29 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 8 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 139 | 0.00 | Norm |  | 29 | 35 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 9 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 140 | 0.00 | Norm |  | 40 | 28 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 10 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 141 | 0.00 | Norm |  | 28 | 27 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 11 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 142 | 0.00 | Norm |  | 27 | 26 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 12 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 143 | 0.00 | Norm |  | 26 | 1 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 13 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 144 | 0.00 | Norm |  | 1 | 34 | 3 | 1 FFFFFF FFFFFF |  |  |  | 0.600 | 14 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 15 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 16 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| PLATE DATA (deg,mm,m) |  |  |  |  |  |  |  |  |  |  |  | 17 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| ---------- |  |  |  |  |  |  |  |  |  |  |  | 18 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 27 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| Dir Dir Dir |  |  |  |  |  |  |  |  |  |  |  | 28 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| Plate Angle Node Axis Type Node A Node B Node C Node D Thick Mat |  |  |  |  |  |  |  |  |  |  | Offset | 29 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 30 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 1 | 0.00 | Mind |  | 2 | 34 | 1 | 13 | 2.00 |  | 3 | -0.100 | 31 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 2 | 0.00 | Mind |  | 13 | 1 | 26 12 |  | 2.00 |  | 3 | -0.100 | 32 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 3 | 0.00 | Mind |  | 12 | 26 | 27 11 |  | 2.00 |  | 3 | -0.100 | 33 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 4 | 0.00 | Mind |  | 11 | 27 | 28 10 |  | 2.00 |  | 3 | -0.100 | 34 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 5 | 0.00 | Mind |  | 10 | 28 | 40 3 |  | 2.00 |  | 3 | -0.100 | 35 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 6 | 0.00 | Mind |  | 34 | 35 | 29 1 |  | 2.00 |  | 3 | -0.100 | 36 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 7 | 0.00 | Mind |  | 35 | 36 | 33 29 |  | 2.00 |  | 3 | -0.100 | 37 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 8 | 0.00 | Mind |  | 36 | 37 | 46 33 |  | 2.00 |  | 3 | -0.100 | 38 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 9 | 0.00 | Mind |  | 37 | 38 | 47 46 |  | 2.00 |  | 3 | -0.100 | 47 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 10 | 0.00 | Mind |  | 38 | 39 | 57 47 |  | 2.00 |  | 3 | -0.100 | 48 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 11 | 0.00 | Mind |  | 39 | 5 | 17 57 |  | 2.00 |  | 3 | -0.100 | 49 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 12 | 0.00 | Mind |  | 57 | 17 | 16 58 |  | 2.00 |  | 3 | -0.100 | 50 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 13 | 0.00 | Mind |  | 58 | 16 | 15 59 |  | 2.00 |  | 3 | -0.100 | 51 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 14 | 0.00 | Mind |  | 59 | 15 | 14 60 |  | 2.00 |  | 3 | -0.100 | 52 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 15 | 0.00 | Mind |  | 60 | 14 | 4 | 45 | 2.00 |  | 3 | -0.100 | 53 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 16 | 0.00 | Mind |  | 47 | 57 | 58 50 |  | 2.00 |  | 3 | -0.100 | 54 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 17 | 0.00 | Mind |  | 50 | 58 | 59 53 |  | 2.00 |  | 3 | -0.100 | 55 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 18 | 0.00 | Mind |  | 53 | 59 | 60 56 |  | 2.00 |  | 3 | -0.100 | 56 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 19 | 0.00 | Mind |  | 56 | 60 | 45 44 |  | 2.00 |  | 3 | -0.100 | 57 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 20 | 0.00 | Mind |  | 46 | 47 | 50 49 |  | 2.00 |  | 3 | -0.100 | 58 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 21 | 0.00 | Mind |  | 49 | 50 | 53 52 |  | 2.00 |  | 3 | -0.100 | 59 | G | 0.000 | 0.100 |  | 0.000 |  | 0.000 | 0.100 | 0.000 |  |
| 22 | 0.00 | Mind |  | 52 | 53 | 56 55 |  | 2.00 |  | 3 | -0.100 | 60 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 23 | 0.00 | Mind |  | 55 | 56 | 44 43 |  | 2.00 |  | 3 | -0.100 | 61 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 24 | 0.00 | Mind |  | 33 | 46 | 49 48 |  | 2.00 |  | 3 | -0.100 | 62 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 25 | 0.00 | Mind |  | 48 | 49 | 52 51 |  | 2.00 |  | 3 | -0.100 | 63 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 26 | 0.00 | Mind |  | 51 | 52 | 55 54 |  | 2.00 |  | 3 | -0.100 | 64 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 27 | 0.00 | Mind |  | 54 | 55 | 43 42 |  | 2.00 |  | 3 | -0.100 | 65 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 28 | 0.00 | Mind |  | 29 | 33 | 48 30 |  | 2.00 |  | 3 | -0.100 | 66 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 29 | 0.00 | Mind |  | 30 | 48 | 51 31 |  | 2.00 |  | 3 | -0.100 | 67 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 30 | 0.00 | Mind |  | 31 | 51 | 54 32 |  | 2.00 |  | 3 | -0.100 | 68 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 31 | 0.00 | Mind |  | 32 | 54 | 42 41 |  | 2.00 |  | 3 | -0.100 | 69 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 32 | 0.00 | Mind |  | 1 | 29 | 30 26 |  | 2.00 |  | 3 | -0.100 | 70 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 33 | 0.00 | Mind |  | 26 | 30 | 31 27 |  | 2.00 |  | 3 | -0.100 | 71 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 34 | 0.00 | Mind |  | 27 | 31 | 32 28 |  | 2.00 |  | 3 | -0.100 | 72 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 35 | 0.00 | Mind |  | 28 | 32 | 41 40 |  | 2.00 |  | 3 | -0.100 | 73 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 74 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 75 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| NODE RESTRAINTS (kN/m,kNm/rad) |  |  |  |  |  |  |  |  |  |  |  | 76 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| --------------- (F=Fixed, R=Released, S=Spring, *=General) |  |  |  |  |  |  |  |  |  |  |  | 77 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 78 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| Rest X Axial Y Axial Z Axial X Rotation Y Rotation Z Rotation |  |  |  |  |  |  |  |  |  |  |  | 79 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| Node Code Stiffness Stiffness Stiffness Stiffness Stiffness Stiffness |  |  |  |  |  |  |  |  |  |  |  | 80 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 81 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 6 RRRFFF |  |  |  |  |  |  |  |  |  |  |  | 82 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 8 RRRFFF |  |  |  |  |  |  |  |  |  |  |  | 83 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 61 FFFFFF |  |  |  |  |  |  |  |  |  |  |  | 84 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 62 FFFFFF |  |  |  |  |  |  |  |  |  |  |  | 85 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 86 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 87 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| SECTION PROPERTIES (mm,mm^2,mm^4,deg) |  |  |  |  |  |  |  |  |  |  |  | 88 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| ------------------ |  |  |  |  |  |  |  |  |  |  |  | 89 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 90 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| Sect | Name |  | Mark |  | Shape |  |  | Source |  |  |  | 91 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 92 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 1 | Section 1 |  | S1 |  | Rect tube |  |  | User |  |  |  | 93 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 2 | SECTION 2 |  | S2 |  | Rect tube |  |  | User |  |  |  | 94 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 3 | SECTION 3 |  | S3 |  | Solid rect |  |  | User |  |  |  | 95 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 4 | SECTION 4 |  | S4 |  | Rect tube |  |  | User |  |  |  | 96 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 5 | SECTION 5 |  | S5 |  | Rect tube |  |  | User |  |  |  | 97 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 6 | Section 6 |  | S6 |  | Rect tube |  |  | User |  |  |  | 98 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 99 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  | Area of | Torsion |  | Y-Axis | Z-Axis Y-Axis |  |  | Z-Axis |  |  | Princ | 100 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| Sect Section Constant Mom of In Mom of In |  |  |  |  |  |  | Shr Area |  | Shr Area |  | Angle | 101 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 102 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 1 2.5117E+02 7.4829E+04 3.6523E+04 6.8843E+04 |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 103 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 2 9.6510E+02 1.5639E+06 7.0943E+05 1.7196E+06 |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 104 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 3 2.0000E+02 1.0129E+03 4.1667E+04 2.6667E+02 |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 105 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 4 9.8513E+02 3.2614E+06 3.5189E+06 1.5091E+06 |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 106 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 5 1.4631E+03 4.7621E+06 5.1472E+06 2.1934E+06 |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 107 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 6 1.0011E+03 1.4469E+06 6.2867E+05 1.7353E+06 |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 108 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 109 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| Sect Shape Trans Mir Rotate D Bt/Bb Btw/Bbw |  |  |  |  |  |  |  |  | Tt/Tb |  | Tw/Rr | 110 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 111 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
| 1 Rect tube No No 0.00 45.00 |  |  |  |  |  |  | 30.00 0.00 |  | 0.00 |  | 1.80 | 112 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  | 0.00 0.00 |  | 0.00 |  | 1.00 | 113 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |
| 2 Rect tube No No 0.00 115.00 |  |  |  |  |  |  | 65.00 0.00 |  | 0.00 |  | 2.80 | 114 | G | 0.000 | 0.085 |  | 0.000 |  | 0.000 | 0.085 | 0.000 |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 115 | G | 0.000 | 0.075 |  | 0.000 |  | 0.000 | 0.075 | 0.000 |  |

| Memb | Axes | Dxa | Dya | Dza | Dxb | Dyb | Dzb | Load Case | Memb | Sub Load | Axes Sys | Start Position | Finish Position | X Start/ Finish | Y Start/ Finish | Z Start/ Finish |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 116 | G | 0.000 | 0.085 | 0.000 | 0.000 | 0.085 | 0.000 |  |  |  |  |  |  |  |  |  |
| 117 | G | 0.000 | 0.075 | 0.000 | 0.000 | 0.075 | 0.000 |  | 45 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |
| 118 | G | 0.000 | 0.085 | 0.000 | 0.000 | 0.085 | 0.000 |  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |
| 119 | G | 0.000 | 0.075 | 0.000 | 0.000 | 0.075 | 0.000 |  |  |  |  |  |  |  |  |  |
| 122 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 46 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |
| 123 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |
| 124 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 125 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 120 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |
| 126 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |
| 127 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 128 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 121 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |
| 129 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |
| 130 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 131 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 | 8 | 39 | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| 132 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
| 133 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 134 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 40 | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| 135 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
| 136 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 137 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 41 | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| 138 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
| 139 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 140 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 42 | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| 141 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
| 142 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  |  |  |  |
| 143 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  | 43 | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| 144 | G | 0.000 | 0.100 | 0.000 | 0.000 | 0.100 | 0.000 |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 44 | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| NODE LOADS (kN,kNm) ---------- |  |  |  |  |  |  |  | 45 |  | 1 | GI | 0.000% | 100.000% | -0.008 -0.008 | 0.000 0.000 | 0.000 0.000 |
| Load X-Axis |  |  | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
| Case Node Force |  |  | Force | Force | Moment | Moment | Moment | 46 |  | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| 6 36 0.000 |  |  | -0.500 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |
| 37 0.000 |  |  | -0.500 | 0.000 | 0.000 | 0.000 | 0.000 | 120 |  | 1 | GI | 0.000% | 100.000% | -0.008 | 0.000 | 0.000 |
| MEMBER DISTRIBUTED FORCES |  |  | (m,kN/m) |  |  |  |  |  |  |  |  |  |  | -0.008 | 0.000 | 0.000 |

-------------------------

Load	Sub Axes		Start		Finish   X Start/   Y Start/ Z Start/ Case  Memb Load Sys	Position	Position	Finish	Finish	Finish

2	39	1  GI	0.000%	100.000%	0.000	0.000	-0.003

0.000	0.000	-0.003

40	1  GI	0.000%	100.000%	0.000	0.000	-0.003

0.000	0.000	-0.003

121	1  GI	0.000%	100.000%	-0.008	0.000	0.000

-0.008	0.000	0.000

PLATE PRESSURE LOADS (kPa)

--------------------

Load	Axes	X	Y	Z Case Plate System   Pressure   Pressure Pressure

|  |  |  |  |  |  |  |  |  | 4 | 1 G-Incl | 0.000 | -0.030 | 0.000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 41 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 2 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 3 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 4 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 42 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 5 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 6 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 7 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 43 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 8 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 9 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 10 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 44 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 11 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 12 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 13 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 45 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 14 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 15 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 16 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 46 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 17 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 18 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 19 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 120 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 20 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 21 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 22 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 121 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |  | 23 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 24 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 25 G-Incl | 0.000 | -0.030 | 0.000 |
| 3 | 39 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 26 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 27 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 28 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 40 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 29 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 30 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 31 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 41 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 32 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 33 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 34 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 42 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 35 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 5 | 1 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 43 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 2 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 3 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 4 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 44 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 5 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 6 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 7 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 45 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 8 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 9 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 10 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 46 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 11 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 12 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 13 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 120 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 14 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 15 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 16 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 121 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.005 |  | 17 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 18 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 19 G-Incl | 0.000 | -0.050 | 0.000 |
| 7 | 39 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |  | 20 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |  | 21 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 22 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 40 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |  | 23 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |  | 24 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 25 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 41 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |  | 26 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |  | 27 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 28 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 42 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |  | 29 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |  | 30 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 31 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 43 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |  | 32 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |  | 33 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 34 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 44 | 1 | GI | 0.000% | 100.000% | -0.005 | 0.000 | 0.000 |  | 35 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  | -0.005 | 0.000 | 0.000 |  |  |  |  |  |

SELF WEIGHT (g's)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis Node   Transl'n   Transl'n   Transl'n   Rotation   Rotation Rotation

| ----------- |  |  |  | 38 |  |  |  | 0.064 | -8.172 | -0.625 | -0.003 | 0.000 | 0.001 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Load X-Axis Y-Axis Z-Axis |  |  |  | 39 |  |  |  | -0.012 | -7.930 | -0.602 | -0.003 | 0.000 | 0.000 |
| Case Accel'n Accel'n Accel'n |  |  |  | 40 |  |  |  | 0.019 | -0.066 | -0.101 | -0.001 | 0.000 | 0.000 |
|  |  |  |  | 41 |  |  |  | -0.044 | -0.138 | -0.133 | -0.001 | 0.000 | -0.001 |
| 1 0.000 -1.000 0.000 |  |  |  | 42 |  |  |  | -0.031 | -0.582 | -0.131 | -0.001 | 0.000 | 0.000 |
|  |  |  |  | 43 |  |  |  | 0.031 | -0.582 | -0.131 | -0.001 | 0.000 | 0.000 |
|  |  |  |  | 44 |  |  |  | 0.044 | -0.138 | -0.132 | -0.001 | 0.000 | 0.001 |
| COMBINATION LOAD CASES |  |  |  | 45 |  |  |  | -0.020 | -0.069 | -0.125 | -0.001 | 0.000 | 0.000 |
| ---------------------- |  |  |  | 46 |  |  |  | 0.050 | -6.662 | -0.504 | -0.003 | 0.000 | 0.001 |
|  |  |  |  | 47 |  |  |  | 0.081 | -5.917 | -0.426 | -0.003 | 0.000 | 0.001 |
| Load case 10: COMB 1 (1) |  |  |  | 48 |  |  |  | -0.050 | -4.386 | -0.327 | -0.003 | 0.000 | -0.001 |
|  |  |  |  | 49 |  |  |  | 0.050 | -4.388 | -0.327 | -0.003 | 0.000 | 0.001 |
| 1.000 * Load case 1: SELF WEIGHT |  |  |  | 50 |  |  |  | 0.076 | -3.661 | -0.252 | -0.003 | 0.000 | 0.001 |
|  |  |  |  | 51 |  |  |  | -0.048 | -2.416 | -0.205 | -0.002 | 0.000 | -0.001 |
| Load case 20: COMB 2 (1+2+4+6) |  |  |  | 52 |  |  |  | 0.048 | -2.417 | -0.205 | -0.002 | 0.000 | 0.001 |
|  |  |  |  | 53 |  |  |  | 0.070 | -1.712 | -0.139 | -0.002 | 0.000 | 0.001 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  | 54 |  |  |  | -0.047 | -1.204 | -0.159 | -0.002 | 0.000 | -0.001 |
| 0.750 * Load case 2: WIND COLS MAJOR (S) |  |  |  | 55 |  |  |  | 0.047 | -1.204 | -0.158 | -0.002 | 0.000 | 0.001 |
| 0.750 * Load case 4: WIND PL (S) |  |  |  | 56 |  |  |  | 0.066 | -0.525 | -0.121 | -0.002 | 0.000 | 0.001 |
| 1.000 * Load case 6: IMPOSED P/ LOAD |  |  |  | 57 |  |  |  | -0.033 | -5.694 | -0.406 | -0.003 | 0.000 | 0.000 |
|  |  |  |  | 58 |  |  |  | -0.054 | -3.527 | -0.240 | -0.003 | 0.000 | -0.001 |
| Load case 30: COMB 3 (1+3+5+6) |  |  |  | 59 |  |  |  | -0.074 | -1.668 | -0.135 | -0.002 | 0.000 | -0.001 |
|  |  |  |  | 60 |  |  |  | -0.068 | -0.499 | -0.117 | -0.002 | 0.000 | -0.001 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  | 61 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 3: WIND COLS MAJOR (U) |  |  |  | 62 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 5: WIND PL (U) |  |  |  | 63 |  |  |  | 0.001 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 6: IMPOSED P/ LOAD |  |  |  | 64 |  |  |  | 0.000 | -0.013 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  | 65 |  |  |  | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 40: COMB 4 (1+6) |  |  |  | 66 |  |  |  | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  | 67 |  |  |  | -0.001 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 1: SELF WEIGHT |  |  |  | 68 |  |  |  | 0.000 | -0.013 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 6: IMPOSED P/ LOAD |  |  |  | 69 |  |  |  | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 50: COMB 5 (1+4+6+7) |  |  |  | 70 |  |  |  | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  | Load case 2 (Linear): WIND COLS MAJOR (S) |  |  |  |  |  |  |  |  |  |
| 0.750 * Load case 1: SELF WEIGHT 0.750 * Load case 4: WIND PL (S) |  |  |  |  |  |  |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 1.000 * Load case 6: IMPOSED P/ LOAD 0.750 * Load case 7: WIND COLS MINOR (S) |  |  |  |  |  |  | Node 1 | Transl'n 0.000 | Transl'n 0.000 | Transl'n -0.011 | Rotation 0.000 | Rotation 0.000 | Rotation 0.000 |
| Load case 60: COMB 6 (1+5+6+8) |  |  |  |  |  |  | 2 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 3 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  |  |  |  | 4 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 5: WIND PL (U) |  |  |  |  |  |  | 5 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 6: IMPOSED P/ LOAD |  |  |  |  |  |  | 6 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 8: WIND COLS MINOR (U) |  |  |  |  |  |  | 7 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 8 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| Load case 70: COMB 7 (1+5+8) |  |  |  |  |  |  | 9 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 10 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 1: SELF WEIGHT |  |  |  |  |  |  | 11 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 5: WIND PL (U) |  |  |  |  |  |  | 12 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 1.000 * Load case 8: WIND COLS MINOR (U) |  |  |  |  |  |  | 13 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 14 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 15 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| LOAD CASE TITLES |  |  |  |  |  |  | 16 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| ---------------- |  |  |  |  |  |  | 17 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 18 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| Load |  |  |  |  |  |  | 19 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| Case Title |  |  |  |  |  |  | 20 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 21 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 1 SELF WEIGHT |  |  |  |  |  |  | 22 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 2 WIND COLS MAJOR (S) |  |  |  |  |  |  | 23 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 3 WIND COLS MAJOR (U) |  |  |  |  |  |  | 24 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 4 WIND PL (S) |  |  |  |  |  |  | 25 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 5 WIND PL (U) |  |  |  |  |  |  | 26 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 6 IMPOSED P/ LOAD |  |  |  |  |  |  | 27 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 7 WIND COLS MINOR (S) |  |  |  |  |  |  | 28 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 8 WIND COLS MINOR (U) |  |  |  |  |  |  | 29 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 10 COMB 1 (1) |  |  |  |  |  |  | 30 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 20 COMB 2 (1+2+4+6) |  |  |  |  |  |  | 31 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 30 COMB 3 (1+3+5+6) |  |  |  |  |  |  | 32 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 40 COMB 4 (1+6) |  |  |  |  |  |  | 33 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 50 COMB 5 (1+4+6+7) |  |  |  |  |  |  | 34 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 60 COMB 6 (1+5+6+8) |  |  |  |  |  |  | 35 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 70 COMB 7 (1+5+8) |  |  |  |  |  |  | 36 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 37 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 38 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| NODE DISPLACEMENTS (mm,rad) |  |  |  |  |  |  | 39 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| ------------------ |  |  |  |  |  |  | 40 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 41 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  |  | 42 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 43 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| X-Axis Y-Axis Z-Axis |  |  |  | X-Axis | Y-Axis | Z-Axis | 44 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| Node Transl'n Transl'n Transl'n |  |  |  | Rotation | Rotation | Rotation | 45 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 46 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 1 0.032 -5.675 -0.418 |  |  |  | -0.003 | 0.000 | 0.000 | 47 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 2 0.030 -8.118 -0.635 |  |  |  | -0.003 | 0.000 | 0.000 | 48 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 3 0.038 -0.343 -0.090 |  |  |  | -0.002 | 0.000 | 0.000 | 49 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 4 -0.039 -0.361 -0.095 |  |  |  | -0.002 | 0.000 | -0.001 | 50 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 5 -0.031 -8.165 -0.635 |  |  |  | -0.003 | 0.000 | 0.000 | 51 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 6 -0.001 -0.018 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 52 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 7 -0.024 -7.913 -0.681 |  |  |  | -0.004 | 0.000 | 0.000 | 53 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 8 0.001 -0.018 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 54 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 9 0.024 -7.937 -0.682 |  |  |  | -0.004 | 0.000 | 0.000 | 55 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 10 0.096 -1.341 -0.158 |  |  |  | -0.002 | 0.000 | 0.001 | 56 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 11 0.109 -2.606 -0.222 |  |  |  | -0.002 | 0.000 | 0.001 | 57 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 12 0.086 -4.241 -0.321 |  |  |  | -0.003 | 0.000 | 0.001 | 58 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 13 0.055 -6.137 -0.464 |  |  |  | -0.003 | 0.000 | 0.001 | 59 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 14 -0.096 -1.336 -0.159 |  |  |  | -0.002 | 0.000 | -0.001 | 60 | 0.000 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 |
| 15 -0.108 -2.599 -0.220 |  |  |  | -0.002 | 0.000 | -0.001 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 -0.085 -4.248 -0.318 |  |  |  | -0.003 | 0.000 | -0.001 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 -0.056 -6.164 -0.463 |  |  |  | -0.003 | 0.000 | -0.001 | 63 | 0.000 | 0.000 | -0.010 | 0.000 | 0.000 | 0.000 |
| 18 0.000 -0.330 -0.027 |  |  |  | -0.001 | 0.000 | 0.000 | 64 | 0.000 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 |
| 19 -0.005 -1.487 -0.125 |  |  |  | -0.003 | 0.000 | 0.000 | 65 | 0.000 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 |
| 20 -0.014 -3.399 -0.289 |  |  |  | -0.004 | 0.000 | 0.000 | 66 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 21 -0.021 -5.622 -0.482 |  |  |  | -0.004 | 0.000 | 0.000 | 67 | 0.000 | 0.000 | -0.010 | 0.000 | 0.000 | 0.000 |
| 22 0.001 -0.330 -0.026 |  |  |  | -0.001 | 0.000 | 0.000 | 68 | 0.000 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 |
| 23 0.005 -1.489 -0.124 |  |  |  | -0.003 | 0.000 | 0.000 | 69 | 0.000 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 |
| 24 0.014 -3.407 -0.289 |  |  |  | -0.004 | 0.000 | 0.000 | 70 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 25 0.021 -5.637 -0.482 |  |  |  | -0.004 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 26 | 0.055 | -3.519 | -0.254 | -0.003 | 0.000 | 0.001 | Load case 3 (Linear): WIND COLS MAJOR (U) |  |  |  |  |  |  |
| 27 | 0.075 | -1.667 | -0.141 | -0.002 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 28 | 0.069 | -0.501 | -0.103 | -0.002 | 0.000 | 0.001 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 29 | -0.081 | -5.905 | -0.426 | -0.003 | 0.000 | -0.001 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 30 | -0.076 | -3.655 | -0.252 | -0.003 | 0.000 | -0.001 |  |  |  |  |  |  |  |
| 31 | -0.070 | -1.710 | -0.139 | -0.002 | 0.000 | -0.001 | 1 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |
| 32 | -0.066 | -0.524 | -0.121 | -0.002 | 0.000 | -0.001 | 2 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |
| 33 | -0.051 | -6.658 | -0.503 | -0.003 | 0.000 | -0.001 | 3 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |
| 34 | 0.011 | -7.900 | -0.609 | -0.003 | 0.000 | 0.000 | 4 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |
| 35 | -0.065 | -8.153 | -0.625 | -0.003 | 0.000 | -0.001 | 5 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |
| 36 | -0.038 | -8.728 | -0.687 | -0.003 | 0.000 | 0.000 | 6 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |
| 37 | 0.037 | -8.735 | -0.688 | -0.003 | 0.000 | 0.000 |  |  |  |  |  |  |  |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 52 | 0.030 | -1.292 | -0.110 | -0.001 | 0.000 | 0.000 |
| 8 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 53 | 0.045 | -0.851 | -0.069 | -0.001 | 0.000 | 0.001 |
| 9 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 54 | -0.029 | -0.694 | -0.082 | -0.001 | 0.000 | 0.000 |
| 10 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 55 | 0.029 | -0.694 | -0.082 | -0.001 | 0.000 | 0.000 |
| 11 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 56 | 0.041 | -0.279 | -0.058 | -0.001 | 0.000 | 0.001 |
| 12 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 57 | -0.012 | -2.652 | -0.192 | -0.002 | 0.000 | 0.000 |
| 13 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 58 | -0.024 | -1.647 | -0.113 | -0.001 | 0.000 | 0.000 |
| 14 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 59 | -0.035 | -0.782 | -0.064 | -0.001 | 0.000 | 0.000 |
| 15 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 60 | -0.034 | -0.238 | -0.055 | -0.001 | 0.000 | 0.000 |
| 16 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 63 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 64 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 65 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 66 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 67 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 68 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 69 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 70 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 27 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | Load case 5 (Linear): WIND PL (U) |  |  |  |  |  |  |
| 28 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 29 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 30 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 31 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 32 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 1 | 0.020 | -4.407 | -0.329 | -0.002 | 0.000 | 0.000 |
| 33 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 2 | 0.015 | -6.209 | -0.495 | -0.002 | 0.000 | 0.000 |
| 34 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 3 | 0.031 | -0.288 | -0.069 | -0.001 | 0.000 | 0.000 |
| 35 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 4 | -0.032 | -0.301 | -0.073 | -0.001 | 0.000 | 0.000 |
| 36 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 5 | -0.016 | -6.244 | -0.495 | -0.002 | 0.000 | 0.000 |
| 37 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 6 | -0.001 | -0.012 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 7 | -0.029 | -6.168 | -0.531 | -0.003 | 0.000 | 0.000 |
| 39 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 8 | 0.001 | -0.012 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 9 | 0.029 | -6.186 | -0.532 | -0.003 | 0.000 | 0.000 |
| 41 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 10 | 0.076 | -1.080 | -0.126 | -0.001 | 0.000 | 0.001 |
| 42 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 11 | 0.086 | -2.058 | -0.178 | -0.002 | 0.000 | 0.001 |
| 43 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 12 | 0.065 | -3.303 | -0.255 | -0.002 | 0.000 | 0.001 |
| 44 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 13 | 0.038 | -4.733 | -0.366 | -0.002 | 0.000 | 0.000 |
| 45 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 14 | -0.076 | -1.077 | -0.127 | -0.001 | 0.000 | -0.001 |
| 46 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 15 | -0.086 | -2.052 | -0.177 | -0.002 | 0.000 | -0.001 |
| 47 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 16 | -0.065 | -3.308 | -0.253 | -0.002 | 0.000 | -0.001 |
| 48 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 17 | -0.038 | -4.753 | -0.365 | -0.002 | 0.000 | 0.000 |
| 49 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 18 | -0.003 | -0.257 | -0.021 | -0.001 | 0.000 | 0.000 |
| 50 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 19 | -0.011 | -1.168 | -0.098 | -0.002 | 0.000 | 0.000 |
| 51 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 20 | -0.021 | -2.665 | -0.227 | -0.003 | 0.000 | 0.000 |
| 52 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 21 | -0.028 | -4.394 | -0.377 | -0.003 | 0.000 | 0.000 |
| 53 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 22 | 0.003 | -0.257 | -0.021 | -0.001 | 0.000 | 0.000 |
| 54 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 23 | 0.011 | -1.170 | -0.098 | -0.002 | 0.000 | 0.000 |
| 55 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 24 | 0.021 | -2.671 | -0.227 | -0.003 | 0.000 | 0.000 |
| 56 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 25 | 0.028 | -4.405 | -0.377 | -0.003 | 0.000 | 0.000 |
| 57 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 26 | 0.041 | -2.739 | -0.200 | -0.002 | 0.000 | 0.001 |
| 58 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 27 | 0.060 | -1.302 | -0.111 | -0.002 | 0.000 | 0.001 |
| 59 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 28 | 0.057 | -0.398 | -0.080 | -0.001 | 0.000 | 0.001 |
| 60 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 29 | -0.086 | -4.704 | -0.347 | -0.003 | 0.000 | -0.001 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.082 | -2.950 | -0.208 | -0.002 | 0.000 | -0.001 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.075 | -1.416 | -0.116 | -0.002 | 0.000 | -0.001 |
| 63 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 32 | -0.068 | -0.464 | -0.096 | -0.001 | 0.000 | -0.001 |
| 64 | 0.000 | 0.000 | -0.015 | 0.000 | 0.000 | 0.000 | 33 | -0.053 | -5.488 | -0.430 | -0.002 | 0.000 | -0.001 |
| 65 | 0.000 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 34 | -0.001 | -6.115 | -0.478 | -0.003 | 0.000 | 0.000 |
| 66 | 0.000 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 35 | -0.060 | -6.406 | -0.503 | -0.002 | 0.000 | -0.001 |
| 67 | 0.000 | 0.000 | -0.019 | 0.000 | 0.000 | 0.000 | 36 | -0.034 | -6.926 | -0.567 | -0.002 | 0.000 | 0.000 |
| 68 | 0.000 | 0.000 | -0.015 | 0.000 | 0.000 | 0.000 | 37 | 0.033 | -6.931 | -0.567 | -0.002 | 0.000 | 0.000 |
| 69 | 0.000 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 38 | 0.060 | -6.420 | -0.503 | -0.002 | 0.000 | 0.001 |
| 70 | 0.000 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 39 | -0.001 | -6.137 | -0.474 | -0.003 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 40 | 0.016 | -0.054 | -0.075 | -0.001 | 0.000 | 0.000 |
| Load case 4 (Linear): WIND PL (S) 41 |  |  |  |  |  |  |  | -0.037 | -0.114 | -0.096 | -0.001 | 0.000 | 0.000 |
| 42 |  |  |  |  |  |  |  | -0.026 | -0.488 | -0.090 | -0.001 | 0.000 | 0.000 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 43 | 0.026 | -0.488 | -0.090 | -0.001 | 0.000 | 0.000 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 44 | 0.037 | -0.114 | -0.095 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 45 | -0.017 | -0.056 | -0.092 | -0.001 | 0.000 | 0.000 |
| 1 | 0.012 | -2.644 | -0.197 | -0.001 | 0.000 | 0.000 | 46 | 0.052 | -5.491 | -0.430 | -0.002 | 0.000 | 0.001 |
| 2 | 0.009 | -3.725 | -0.297 | -0.001 | 0.000 | 0.000 | 47 | 0.086 | -4.713 | -0.347 | -0.003 | 0.000 | 0.001 |
| 3 | 0.019 | -0.173 | -0.041 | -0.001 | 0.000 | 0.000 | 48 | -0.052 | -3.719 | -0.287 | -0.002 | 0.000 | -0.001 |
| 4 | -0.019 | -0.180 | -0.044 | -0.001 | 0.000 | 0.000 | 49 | 0.052 | -3.721 | -0.287 | -0.002 | 0.000 | 0.001 |
| 5 | -0.010 | -3.746 | -0.297 | -0.001 | 0.000 | 0.000 | 50 | 0.082 | -2.955 | -0.207 | -0.002 | 0.000 | 0.001 |
| 6 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | -0.050 | -2.153 | -0.184 | -0.002 | 0.000 | -0.001 |
| 7 | -0.018 | -3.701 | -0.319 | -0.002 | 0.000 | 0.000 | 52 | 0.050 | -2.154 | -0.184 | -0.002 | 0.000 | 0.001 |
| 8 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 0.075 | -1.418 | -0.115 | -0.002 | 0.000 | 0.001 |
| 9 | 0.017 | -3.711 | -0.319 | -0.002 | 0.000 | 0.000 | 54 | -0.048 | -1.156 | -0.137 | -0.001 | 0.000 | -0.001 |
| 10 | 0.046 | -0.648 | -0.076 | -0.001 | 0.000 | 0.001 | 55 | 0.048 | -1.156 | -0.137 | -0.001 | 0.000 | 0.001 |
| 11 | 0.052 | -1.235 | -0.107 | -0.001 | 0.000 | 0.001 | 56 | 0.069 | -0.464 | -0.096 | -0.001 | 0.000 | 0.001 |
| 12 | 0.039 | -1.982 | -0.153 | -0.001 | 0.000 | 0.000 | 57 | -0.021 | -4.421 | -0.319 | -0.003 | 0.000 | 0.000 |
| 13 | 0.023 | -2.840 | -0.219 | -0.001 | 0.000 | 0.000 | 58 | -0.041 | -2.745 | -0.189 | -0.002 | 0.000 | -0.001 |
| 14 | -0.045 | -0.646 | -0.076 | -0.001 | 0.000 | -0.001 | 59 | -0.059 | -1.303 | -0.106 | -0.002 | 0.000 | -0.001 |
| 15 | -0.051 | -1.231 | -0.106 | -0.001 | 0.000 | -0.001 | 60 | -0.056 | -0.397 | -0.091 | -0.001 | 0.000 | -0.001 |
| 16 | -0.039 | -1.985 | -0.152 | -0.001 | 0.000 | 0.000 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | -0.023 | -2.852 | -0.219 | -0.001 | 0.000 | 0.000 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.002 | -0.154 | -0.013 | 0.000 | 0.000 | 0.000 | 63 | 0.001 | -0.011 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | -0.006 | -0.701 | -0.059 | -0.001 | 0.000 | 0.000 | 64 | 0.001 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | -0.012 | -1.599 | -0.136 | -0.002 | 0.000 | 0.000 | 65 | 0.000 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | -0.017 | -2.636 | -0.226 | -0.002 | 0.000 | 0.000 | 66 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.002 | -0.154 | -0.012 | 0.000 | 0.000 | 0.000 | 67 | -0.001 | -0.011 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 0.007 | -0.702 | -0.059 | -0.001 | 0.000 | 0.000 | 68 | -0.001 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 0.012 | -1.602 | -0.136 | -0.002 | 0.000 | 0.000 | 69 | 0.000 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 0.017 | -2.643 | -0.226 | -0.002 | 0.000 | 0.000 | 70 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 0.025 | -1.644 | -0.120 | -0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 27 | 0.036 | -0.781 | -0.066 | -0.001 | 0.000 | 0.000 | Load case 6 (Linear): IMPOSED P/ LOAD |  |  |  |  |  |  |
| 28 | 0.034 | -0.239 | -0.048 | -0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 29 | -0.052 | -2.822 | -0.208 | -0.002 | 0.000 | -0.001 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 30 | -0.049 | -1.770 | -0.125 | -0.001 | 0.000 | -0.001 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 31 | -0.045 | -0.850 | -0.069 | -0.001 | 0.000 | -0.001 |  |  |  |  |  |  |  |
| 32 | -0.041 | -0.278 | -0.058 | -0.001 | 0.000 | -0.001 | 1 | -0.781 | -12.595 | -0.953 | -0.010 | 0.001 | -0.010 |
| 33 | -0.032 | -3.293 | -0.258 | -0.001 | 0.000 | 0.000 | 2 | -1.033 | -9.317 | -1.016 | -0.007 | 0.001 | -0.013 |
| 34 | 0.000 | -3.669 | -0.287 | -0.002 | 0.000 | 0.000 | 3 | -0.200 | 1.737 | -0.529 | -0.001 | 0.000 | -0.002 |
| 35 | -0.036 | -3.844 | -0.302 | -0.001 | 0.000 | 0.000 | 4 | 0.195 | 1.675 | -0.547 | -0.001 | 0.000 | 0.002 |
| 36 | -0.020 | -4.156 | -0.340 | -0.001 | 0.000 | 0.000 | 5 | 1.030 | -9.445 | -1.016 | -0.007 | -0.001 | 0.013 |
| 37 | 0.020 | -4.159 | -0.340 | -0.001 | 0.000 | 0.000 | 6 | -0.019 | -0.016 | -0.002 | 0.000 | 0.000 | 0.000 |
| 38 | 0.036 | -3.852 | -0.302 | -0.001 | 0.000 | 0.000 | 7 | -1.144 | -24.082 | -2.073 | -0.013 | 0.002 | -0.014 |
| 39 | 0.000 | -3.682 | -0.285 | -0.002 | 0.000 | 0.000 | 8 | 0.019 | -0.016 | 0.002 | 0.000 | 0.000 | 0.000 |
| 40 | 0.009 | -0.032 | -0.045 | -0.001 | 0.000 | 0.000 | 9 | 1.143 | -24.148 | -2.075 | -0.013 | -0.002 | 0.014 |
| 41 | -0.022 | -0.068 | -0.057 | -0.001 | 0.000 | 0.000 | 10 | -0.175 | 1.182 | -0.541 | -0.001 | 0.000 | -0.002 |
| 42 | -0.016 | -0.293 | -0.054 | -0.001 | 0.000 | 0.000 | 11 | -0.272 | 0.052 | -0.526 | -0.003 | 0.000 | -0.004 |
| 43 | 0.016 | -0.293 | -0.054 | -0.001 | 0.000 | 0.000 | 12 | -0.503 | -2.133 | -0.570 | -0.005 | 0.001 | -0.007 |
| 44 | 0.022 | -0.068 | -0.057 | -0.001 | 0.000 | 0.000 | 13 | -0.754 | -5.366 | -0.733 | -0.006 | 0.001 | -0.010 |
| 45 | -0.010 | -0.034 | -0.055 | -0.001 | 0.000 | 0.000 | 14 | 0.175 | 1.186 | -0.547 | -0.001 | 0.000 | 0.002 |
| 46 | 0.031 | -3.295 | -0.258 | -0.001 | 0.000 | 0.000 | 15 | 0.274 | 0.070 | -0.522 | -0.003 | 0.000 | 0.004 |
| 47 | 0.052 | -2.828 | -0.208 | -0.002 | 0.000 | 0.001 | 16 | 0.504 | -2.143 | -0.564 | -0.005 | -0.001 | 0.007 |
| 48 | -0.031 | -2.231 | -0.172 | -0.001 | 0.000 | 0.000 | 17 | 0.752 | -5.428 | -0.729 | -0.006 | -0.001 | 0.010 |
| 49 | 0.031 | -2.232 | -0.172 | -0.001 | 0.000 | 0.000 | 18 | -0.071 | -0.702 | -0.060 | -0.002 | 0.000 | -0.001 |
| 50 | 0.049 | -1.773 | -0.124 | -0.001 | 0.000 | 0.001 | 19 | -0.276 | -3.644 | -0.307 | -0.007 | 0.001 | -0.004 |
| 51 | -0.030 | -1.292 | -0.110 | -0.001 | 0.000 | 0.000 | 20 | -0.524 | -9.144 | -0.778 | -0.011 | 0.001 | -0.007 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 21 | -0.801 | -16.244 | -1.391 | -0.013 | 0.001 | -0.010 | 66 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.072 | -0.702 | -0.057 | -0.002 | 0.000 | 0.001 | 67 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 0.277 | -3.649 | -0.304 | -0.007 | -0.001 | 0.004 | 68 | -0.035 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 0.524 | -9.163 | -0.776 | -0.011 | -0.001 | 0.007 | 69 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 0.800 | -16.284 | -1.391 | -0.013 | -0.001 | 0.010 | 70 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | -0.495 | -6.804 | -0.585 | -0.008 | 0.001 | -0.006 |  |  |  |  |  |  |  |
| 27 | -0.251 | -2.406 | -0.387 | -0.006 | 0.000 | -0.003 Load case 8 (Linear): WIND COLS MINOR (U) |  |  |  |  |  |  |  |
| 28 | -0.120 | -0.239 | -0.397 | -0.003 | 0.000 | -0.002 |  |  |  |  |  |  |  |
| 29 | -0.678 | -19.841 | -1.196 | -0.013 | 0.000 | -0.009 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 30 | -0.384 | -11.332 | -0.664 | -0.010 | 0.000 | -0.005 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 31 | -0.202 | -4.814 | -0.355 | -0.007 | 0.000 | -0.003 |  |  |  |  |  |  |  |
| 32 | -0.062 | -1.006 | -0.310 | -0.004 | 0.000 | -0.001 | 1 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | -0.260 | -24.439 | -1.232 | -0.015 | 0.000 | -0.003 | 2 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | -1.123 | -19.074 | -1.471 | -0.010 | 0.002 | -0.014 | 3 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | -2.158 | -32.253 | -2.184 | -0.014 | 0.001 | -0.028 | 4 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | -1.321 | -51.759 | -3.412 | -0.017 | 0.001 | -0.017 | 5 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 1.318 | -51.777 | -3.413 | -0.017 | -0.001 | 0.017 | 6 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 2.155 | -32.306 | -2.185 | -0.014 | -0.001 | 0.028 | 7 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 1.119 | -19.158 | -1.432 | -0.011 | -0.002 | 0.014 | 8 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | -0.126 | 0.267 | -0.464 | -0.002 | -0.001 | -0.001 | 9 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | -0.001 | 0.042 | -0.370 | -0.003 | 0.001 | 0.000 | 10 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 0.006 | 0.167 | -0.120 | -0.004 | 0.000 | 0.000 | 11 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | -0.006 | 0.169 | -0.119 | -0.004 | 0.000 | 0.000 | 12 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 0.000 | 0.043 | -0.368 | -0.003 | -0.001 | 0.000 | 13 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 0.120 | 0.256 | -0.536 | -0.001 | 0.001 | 0.001 | 14 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 0.258 | -24.452 | -1.233 | -0.015 | 0.000 | 0.003 | 15 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 0.676 | -19.874 | -1.196 | -0.013 | 0.000 | 0.009 | 16 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | -0.130 | -13.747 | -0.614 | -0.012 | 0.000 | -0.002 | 17 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 0.128 | -13.754 | -0.614 | -0.012 | 0.000 | 0.002 | 18 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 0.384 | -11.349 | -0.663 | -0.010 | 0.000 | 0.005 | 19 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | -0.068 | -6.111 | -0.250 | -0.008 | 0.000 | -0.001 | 20 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 0.068 | -6.114 | -0.249 | -0.009 | 0.000 | 0.001 | 21 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 0.202 | -4.820 | -0.353 | -0.008 | 0.000 | 0.003 | 22 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | -0.026 | -1.441 | -0.112 | -0.006 | 0.000 | 0.000 | 23 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 0.026 | -1.443 | -0.112 | -0.006 | 0.000 | 0.000 | 24 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 0.063 | -1.007 | -0.308 | -0.004 | 0.000 | 0.001 | 25 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 0.781 | -12.642 | -0.909 | -0.010 | -0.001 | 0.010 | 26 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 0.497 | -6.822 | -0.553 | -0.008 | -0.001 | 0.006 | 27 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 0.253 | -2.405 | -0.384 | -0.006 | 0.000 | 0.003 | 28 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 0.121 | -0.235 | -0.446 | -0.003 | 0.000 | 0.002 | 29 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 0.018 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 | 32 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 0.015 | -0.011 | 0.001 | 0.000 | 0.000 | 0.000 | 33 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 0.008 | -0.008 | 0.001 | 0.000 | 0.000 | 0.000 | 34 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 0.003 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | -0.018 | -0.015 | -0.002 | 0.000 | 0.000 | 0.000 | 36 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | -0.015 | -0.011 | -0.001 | 0.000 | 0.000 | 0.000 | 37 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | -0.008 | -0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 38 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | -0.003 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 40 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 7 (Linear): WIND COLS MINOR (S) 41 |  |  |  |  |  |  |  | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 |  |  |  |  |  |  |  | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 43 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 44 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 45 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.069 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.058 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.035 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.012 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.069 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.058 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.035 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.012 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 27 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 10 (Linear): COMB 1 (1) |  |  |  |  |  |  |
| 28 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 29 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 30 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 31 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 32 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 0.032 | -5.675 | -0.418 | -0.003 | 0.000 | 0.000 |
| 33 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 0.030 | -8.118 | -0.635 | -0.003 | 0.000 | 0.000 |
| 34 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 0.038 | -0.343 | -0.090 | -0.002 | 0.000 | 0.000 |
| 35 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.039 | -0.361 | -0.095 | -0.002 | 0.000 | -0.001 |
| 36 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.031 | -8.165 | -0.635 | -0.003 | 0.000 | 0.000 |
| 37 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.001 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | -0.024 | -7.913 | -0.681 | -0.004 | 0.000 | 0.000 |
| 39 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.001 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.024 | -7.937 | -0.682 | -0.004 | 0.000 | 0.000 |
| 41 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 0.096 | -1.341 | -0.158 | -0.002 | 0.000 | 0.001 |
| 42 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 0.109 | -2.606 | -0.222 | -0.002 | 0.000 | 0.001 |
| 43 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.086 | -4.241 | -0.321 | -0.003 | 0.000 | 0.001 |
| 44 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 0.055 | -6.137 | -0.464 | -0.003 | 0.000 | 0.001 |
| 45 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | -0.096 | -1.336 | -0.159 | -0.002 | 0.000 | -0.001 |
| 46 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | -0.108 | -2.599 | -0.220 | -0.002 | 0.000 | -0.001 |
| 47 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | -0.085 | -4.248 | -0.318 | -0.003 | 0.000 | -0.001 |
| 48 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | -0.056 | -6.164 | -0.463 | -0.003 | 0.000 | -0.001 |
| 49 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 0.000 | -0.330 | -0.027 | -0.001 | 0.000 | 0.000 |
| 50 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | -0.005 | -1.487 | -0.125 | -0.003 | 0.000 | 0.000 |
| 51 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | -0.014 | -3.399 | -0.289 | -0.004 | 0.000 | 0.000 |
| 52 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | -0.021 | -5.622 | -0.482 | -0.004 | 0.000 | 0.000 |
| 53 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.001 | -0.330 | -0.026 | -0.001 | 0.000 | 0.000 |
| 54 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.005 | -1.489 | -0.124 | -0.003 | 0.000 | 0.000 |
| 55 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 0.014 | -3.407 | -0.289 | -0.004 | 0.000 | 0.000 |
| 56 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 0.021 | -5.637 | -0.482 | -0.004 | 0.000 | 0.000 |
| 57 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.055 | -3.519 | -0.254 | -0.003 | 0.000 | 0.001 |
| 58 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 0.075 | -1.667 | -0.141 | -0.002 | 0.000 | 0.001 |
| 59 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 0.069 | -0.501 | -0.103 | -0.002 | 0.000 | 0.001 |
| 60 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | -0.081 | -5.905 | -0.426 | -0.003 | 0.000 | -0.001 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.076 | -3.655 | -0.252 | -0.003 | 0.000 | -0.001 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.070 | -1.710 | -0.139 | -0.002 | 0.000 | -0.001 |
| 63 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | -0.066 | -0.524 | -0.121 | -0.002 | 0.000 | -0.001 |
| 64 | -0.035 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | -0.051 | -6.658 | -0.503 | -0.003 | 0.000 | -0.001 |
| 65 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 0.011 | -7.900 | -0.609 | -0.003 | 0.000 | 0.000 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | -0.065 | -8.153 | -0.625 | -0.003 | 0.000 | -0.001 | 4 | 0.141 | 1.179 | -0.687 | -0.003 | 0.000 | 0.002 |
| 36 | -0.038 | -8.728 | -0.687 | -0.003 | 0.000 | 0.000 | 5 | 0.994 | -20.252 | -1.878 | -0.012 | -0.001 | 0.012 |
| 37 | 0.037 | -8.735 | -0.688 | -0.003 | 0.000 | 0.000 | 6 | -0.020 | -0.039 | -0.017 | 0.000 | 0.000 | 0.000 |
| 38 | 0.064 | -8.172 | -0.625 | -0.003 | 0.000 | 0.001 | 7 | -1.184 | -34.643 | -2.996 | -0.018 | 0.002 | -0.015 |
| 39 | -0.012 | -7.930 | -0.602 | -0.003 | 0.000 | 0.000 | 8 | 0.020 | -0.039 | -0.012 | 0.000 | 0.000 | 0.000 |
| 40 | 0.019 | -0.066 | -0.101 | -0.001 | 0.000 | 0.000 | 9 | 1.182 | -34.740 | -2.999 | -0.018 | -0.002 | 0.015 |
| 41 | -0.044 | -0.138 | -0.133 | -0.001 | 0.000 | -0.001 | 10 | -0.046 | -0.634 | -0.768 | -0.004 | 0.000 | -0.001 |
| 42 | -0.031 | -0.582 | -0.131 | -0.001 | 0.000 | 0.000 | 11 | -0.125 | -3.446 | -0.840 | -0.006 | 0.000 | -0.002 |
| 43 | 0.031 | -0.582 | -0.131 | -0.001 | 0.000 | 0.000 | 12 | -0.389 | -7.791 | -1.017 | -0.009 | 0.000 | -0.005 |
| 44 | 0.044 | -0.138 | -0.132 | -0.001 | 0.000 | 0.001 | 13 | -0.684 | -13.519 | -1.370 | -0.011 | 0.001 | -0.009 |
| 45 | -0.020 | -0.069 | -0.125 | -0.001 | 0.000 | 0.000 | 14 | 0.046 | -0.623 | -0.775 | -0.004 | 0.000 | 0.001 |
| 46 | 0.050 | -6.662 | -0.504 | -0.003 | 0.000 | 0.001 | 15 | 0.128 | -3.419 | -0.834 | -0.006 | 0.000 | 0.002 |
| 47 | 0.081 | -5.917 | -0.426 | -0.003 | 0.000 | 0.001 | 16 | 0.391 | -7.810 | -1.007 | -0.009 | 0.000 | 0.005 |
| 48 | -0.050 | -4.386 | -0.327 | -0.003 | 0.000 | -0.001 | 17 | 0.681 | -13.616 | -1.364 | -0.011 | -0.001 | 0.009 |
| 49 | 0.050 | -4.388 | -0.327 | -0.003 | 0.000 | 0.001 | 18 | -0.074 | -1.142 | -0.110 | -0.003 | 0.000 | -0.001 |
| 50 | 0.076 | -3.661 | -0.252 | -0.003 | 0.000 | 0.001 | 19 | -0.288 | -5.635 | -0.489 | -0.011 | 0.001 | -0.004 |
| 51 | -0.048 | -2.416 | -0.205 | -0.002 | 0.000 | -0.001 | 20 | -0.550 | -13.692 | -1.179 | -0.016 | 0.001 | -0.007 |
| 52 | 0.048 | -2.417 | -0.205 | -0.002 | 0.000 | 0.001 | 21 | -0.838 | -23.756 | -2.049 | -0.018 | 0.001 | -0.011 |
| 53 | 0.070 | -1.712 | -0.139 | -0.002 | 0.000 | 0.001 | 22 | 0.074 | -1.143 | -0.106 | -0.004 | 0.000 | 0.001 |
| 54 | -0.047 | -1.204 | -0.159 | -0.002 | 0.000 | -0.001 | 23 | 0.289 | -5.643 | -0.485 | -0.011 | -0.001 | 0.004 |
| 55 | 0.047 | -1.204 | -0.158 | -0.002 | 0.000 | 0.001 | 24 | 0.549 | -13.721 | -1.177 | -0.016 | -0.001 | 0.007 |
| 56 | 0.066 | -0.525 | -0.121 | -0.002 | 0.000 | 0.001 | 25 | 0.837 | -23.816 | -2.049 | -0.018 | -0.001 | 0.011 |
| 57 | -0.033 | -5.694 | -0.406 | -0.003 | 0.000 | 0.000 | 26 | -0.424 | -11.498 | -0.940 | -0.012 | 0.001 | -0.006 |
| 58 | -0.054 | -3.527 | -0.240 | -0.003 | 0.000 | -0.001 | 27 | -0.149 | -4.633 | -0.590 | -0.009 | 0.000 | -0.002 |
| 59 | -0.074 | -1.668 | -0.135 | -0.002 | 0.000 | -0.001 | 28 | -0.025 | -0.914 | -0.548 | -0.006 | 0.000 | 0.000 |
| 60 | -0.068 | -0.499 | -0.117 | -0.002 | 0.000 | -0.001 | 29 | -0.803 | -27.797 | -1.790 | -0.017 | 0.000 | -0.010 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.503 | -16.286 | -1.023 | -0.015 | 0.000 | -0.006 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.310 | -7.159 | -0.561 | -0.011 | 0.000 | -0.004 |
| 63 | 0.001 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | -0.163 | -1.747 | -0.487 | -0.006 | 0.000 | -0.002 |
| 64 | 0.000 | -0.013 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | -0.338 | -33.549 | -1.947 | -0.019 | 0.000 | -0.004 |
| 65 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | -1.115 | -29.585 | -2.300 | -0.015 | 0.002 | -0.014 |
| 66 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | -2.252 | -43.172 | -3.044 | -0.018 | 0.001 | -0.029 |
| 67 | -0.001 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 | 36 | -1.375 | -63.500 | -4.367 | -0.021 | 0.001 | -0.018 |
| 68 | 0.000 | -0.013 | 0.000 | 0.000 | 0.000 | 0.000 | 37 | 1.371 | -63.526 | -4.368 | -0.021 | -0.001 | 0.018 |
| 69 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 | 38 | 2.248 | -43.250 | -3.045 | -0.018 | -0.001 | 0.029 |
| 70 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | 1.109 | -29.708 | -2.254 | -0.015 | -0.002 | 0.014 |
|  |  |  |  |  |  |  | 40 | -0.100 | 0.178 | -0.610 | -0.004 | -0.001 | -0.001 |
| Load case 20 (Linear): COMB 2 (1+2+4+6) 41 |  |  |  |  |  |  |  | -0.061 | -0.147 | -0.555 | -0.004 | 0.001 | -0.001 |
| 42 |  |  |  |  |  |  |  | -0.037 | -0.636 | -0.300 | -0.006 | 0.000 | 0.000 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 43 | 0.038 | -0.634 | -0.299 | -0.006 | 0.000 | 0.000 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 44 | 0.061 | -0.145 | -0.553 | -0.004 | -0.001 | 0.001 |
|  |  |  |  |  |  |  | 45 | 0.093 | 0.162 | -0.713 | -0.003 | 0.001 | 0.001 |
| 1 | -0.748 | -18.835 | -1.423 | -0.013 | 0.001 | -0.010 | 46 | 0.335 | -33.567 | -1.947 | -0.019 | 0.000 | 0.004 |
| 2 | -1.004 | -18.200 | -1.723 | -0.011 | 0.001 | -0.013 | 47 | 0.802 | -27.846 | -1.790 | -0.017 | 0.000 | 0.010 |
| 3 | -0.157 | 1.350 | -0.635 | -0.003 | 0.000 | -0.002 | 48 | -0.206 | -19.825 | -1.089 | -0.016 | 0.000 | -0.003 |
| 4 | 0.151 | 1.270 | -0.659 | -0.002 | 0.000 | 0.002 | 49 | 0.204 | -19.836 | -1.089 | -0.016 | 0.000 | 0.003 |
| 5 | 0.999 | -18.379 | -1.723 | -0.011 | -0.001 | 0.012 | 50 | 0.503 | -16.311 | -1.022 | -0.015 | 0.000 | 0.006 |
| 6 | -0.020 | -0.035 | -0.010 | 0.000 | 0.000 | 0.000 | 51 | -0.142 | -9.537 | -0.556 | -0.012 | 0.000 | -0.002 |
| 7 | -1.175 | -32.793 | -2.831 | -0.017 | 0.002 | -0.015 | 52 | 0.142 | -9.542 | -0.555 | -0.012 | 0.000 | 0.002 |
| 8 | 0.020 | -0.035 | -0.006 | 0.000 | 0.000 | 0.000 | 53 | 0.311 | -7.167 | -0.558 | -0.011 | 0.000 | 0.004 |
| 9 | 1.173 | -32.884 | -2.833 | -0.018 | -0.002 | 0.015 | 54 | -0.097 | -3.211 | -0.348 | -0.008 | 0.000 | -0.001 |
| 10 | -0.069 | -0.310 | -0.724 | -0.003 | 0.000 | -0.001 | 55 | 0.097 | -3.213 | -0.348 | -0.008 | 0.000 | 0.001 |
| 11 | -0.151 | -2.828 | -0.780 | -0.005 | 0.000 | -0.002 | 56 | 0.164 | -1.748 | -0.485 | -0.006 | 0.000 | 0.002 |
| 12 | -0.409 | -6.800 | -0.934 | -0.008 | 0.000 | -0.005 | 57 | 0.741 | -20.228 | -1.467 | -0.015 | -0.001 | 0.010 |
| 13 | -0.695 | -12.099 | -1.254 | -0.010 | 0.001 | -0.009 | 58 | 0.426 | -11.526 | -0.889 | -0.012 | -0.001 | 0.006 |
| 14 | 0.069 | -0.300 | -0.731 | -0.003 | 0.000 | 0.001 | 59 | 0.154 | -4.633 | -0.579 | -0.009 | 0.000 | 0.002 |
| 15 | 0.154 | -2.803 | -0.775 | -0.005 | 0.000 | 0.002 | 60 | 0.028 | -0.908 | -0.617 | -0.005 | 0.000 | 0.000 |
| 16 | 0.410 | -6.818 | -0.925 | -0.008 | 0.000 | 0.005 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 0.693 | -12.190 | -1.248 | -0.010 | -0.001 | 0.009 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.073 | -1.065 | -0.098 | -0.003 | 0.000 | -0.001 | 63 | 0.019 | -0.037 | -0.012 | 0.000 | 0.000 | 0.000 |
| 19 | -0.285 | -5.285 | -0.453 | -0.010 | 0.001 | -0.004 | 64 | 0.015 | -0.028 | -0.010 | 0.000 | 0.000 | 0.000 |
| 20 | -0.543 | -12.893 | -1.105 | -0.015 | 0.001 | -0.007 | 65 | 0.009 | -0.019 | -0.006 | 0.000 | 0.000 | 0.000 |
| 21 | -0.829 | -22.438 | -1.930 | -0.017 | 0.001 | -0.011 | 66 | 0.003 | -0.009 | -0.002 | 0.000 | 0.000 | 0.000 |
| 22 | 0.073 | -1.066 | -0.093 | -0.003 | 0.000 | 0.001 | 67 | -0.019 | -0.037 | -0.016 | 0.000 | 0.000 | 0.000 |
| 23 | 0.285 | -5.292 | -0.449 | -0.010 | -0.001 | 0.004 | 68 | -0.015 | -0.028 | -0.013 | 0.000 | 0.000 | 0.000 |
| 24 | 0.543 | -12.920 | -1.102 | -0.015 | -0.001 | 0.007 | 69 | -0.009 | -0.019 | -0.008 | 0.000 | 0.000 | 0.000 |
| 25 | 0.828 | -22.495 | -1.929 | -0.017 | -0.001 | 0.011 | 70 | -0.003 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
| 26 | -0.436 | -10.676 | -0.873 | -0.011 | 0.001 | -0.006 |  |  |  |  |  |  |  |
| 27 | -0.167 | -4.243 | -0.550 | -0.008 | 0.000 | -0.002 Load case 40 (Linear): COMB 4 (1+6) |  |  |  |  |  |  |  |
| 28 | -0.042 | -0.794 | -0.518 | -0.005 | 0.000 | -0.001 |  |  |  |  |  |  |  |
| 29 | -0.777 | -26.386 | -1.680 | -0.017 | 0.000 | -0.010 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 30 | -0.478 | -15.401 | -0.955 | -0.014 | 0.000 | -0.006 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 31 | -0.288 | -6.734 | -0.519 | -0.010 | 0.000 | -0.004 |  |  |  |  |  |  |  |
| 32 | -0.143 | -1.608 | -0.452 | -0.006 | 0.000 | -0.002 | 1 | -0.749 | -18.271 | -1.371 | -0.013 | 0.001 | -0.010 |
| 33 | -0.322 | -31.902 | -1.812 | -0.019 | 0.000 | -0.004 | 2 | -1.004 | -17.436 | -1.651 | -0.010 | 0.001 | -0.013 |
| 34 | -1.115 | -27.751 | -2.151 | -0.014 | 0.002 | -0.014 | 3 | -0.162 | 1.394 | -0.619 | -0.002 | 0.000 | -0.002 |
| 35 | -2.234 | -41.251 | -2.886 | -0.018 | 0.001 | -0.029 | 4 | 0.156 | 1.315 | -0.642 | -0.002 | 0.000 | 0.002 |
| 36 | -1.365 | -61.422 | -4.191 | -0.021 | 0.001 | -0.018 | 5 | 0.999 | -17.611 | -1.651 | -0.010 | -0.001 | 0.012 |
| 37 | 1.361 | -61.447 | -4.192 | -0.021 | -0.001 | 0.018 | 6 | -0.020 | -0.034 | -0.002 | 0.000 | 0.000 | 0.000 |
| 38 | 2.230 | -41.324 | -2.888 | -0.018 | -0.001 | 0.029 | 7 | -1.168 | -31.995 | -2.754 | -0.017 | 0.002 | -0.015 |
| 39 | 1.110 | -27.867 | -2.105 | -0.014 | -0.002 | 0.014 | 8 | 0.020 | -0.034 | 0.002 | 0.000 | 0.000 | 0.000 |
| 40 | -0.104 | 0.194 | -0.581 | -0.003 | -0.001 | -0.001 | 9 | 1.166 | -32.085 | -2.756 | -0.017 | -0.002 | 0.015 |
| 41 | -0.050 | -0.113 | -0.520 | -0.004 | 0.001 | 0.000 | 10 | -0.079 | -0.159 | -0.699 | -0.003 | 0.000 | -0.001 |
| 42 | -0.029 | -0.489 | -0.267 | -0.006 | 0.000 | 0.000 | 11 | -0.163 | -2.554 | -0.748 | -0.005 | 0.000 | -0.002 |
| 43 | 0.030 | -0.487 | -0.266 | -0.006 | 0.000 | 0.000 | 12 | -0.417 | -6.374 | -0.891 | -0.008 | 0.000 | -0.006 |
| 44 | 0.050 | -0.111 | -0.518 | -0.004 | -0.001 | 0.000 | 13 | -0.698 | -11.504 | -1.197 | -0.010 | 0.001 | -0.009 |
| 45 | 0.098 | 0.178 | -0.679 | -0.003 | 0.001 | 0.001 | 14 | 0.079 | -0.150 | -0.706 | -0.003 | 0.000 | 0.001 |
| 46 | 0.319 | -31.919 | -1.812 | -0.019 | 0.000 | 0.004 | 15 | 0.166 | -2.529 | -0.742 | -0.005 | 0.000 | 0.002 |
| 47 | 0.776 | -26.432 | -1.679 | -0.017 | 0.000 | 0.010 | 16 | 0.418 | -6.391 | -0.882 | -0.008 | 0.000 | 0.006 |
| 48 | -0.190 | -18.710 | -0.997 | -0.015 | 0.000 | -0.002 | 17 | 0.696 | -11.592 | -1.192 | -0.010 | -0.001 | 0.009 |
| 49 | 0.189 | -18.720 | -0.996 | -0.015 | 0.000 | 0.002 | 18 | -0.072 | -1.032 | -0.087 | -0.003 | 0.000 | -0.001 |
| 50 | 0.478 | -15.424 | -0.953 | -0.014 | 0.000 | 0.006 | 19 | -0.281 | -5.131 | -0.432 | -0.010 | 0.001 | -0.004 |
| 51 | -0.127 | -8.891 | -0.494 | -0.011 | 0.000 | -0.002 | 20 | -0.537 | -12.544 | -1.067 | -0.014 | 0.001 | -0.007 |
| 52 | 0.127 | -8.896 | -0.494 | -0.011 | 0.000 | 0.002 | 21 | -0.822 | -21.866 | -1.873 | -0.017 | 0.001 | -0.011 |
| 53 | 0.289 | -6.742 | -0.517 | -0.010 | 0.000 | 0.004 | 22 | 0.072 | -1.032 | -0.083 | -0.003 | 0.000 | 0.001 |
| 54 | -0.083 | -2.865 | -0.301 | -0.008 | 0.000 | -0.001 | 23 | 0.282 | -5.138 | -0.428 | -0.010 | -0.001 | 0.004 |
| 55 | 0.083 | -2.866 | -0.300 | -0.008 | 0.000 | 0.001 | 24 | 0.537 | -12.570 | -1.064 | -0.014 | -0.001 | 0.007 |
| 56 | 0.143 | -1.609 | -0.450 | -0.006 | 0.000 | 0.002 | 25 | 0.821 | -21.922 | -1.872 | -0.017 | -0.001 | 0.011 |
| 57 | 0.747 | -18.902 | -1.365 | -0.014 | -0.001 | 0.010 | 26 | -0.441 | -10.323 | -0.839 | -0.011 | 0.001 | -0.006 |
| 58 | 0.438 | -10.703 | -0.826 | -0.012 | -0.001 | 0.006 | 27 | -0.175 | -4.073 | -0.528 | -0.008 | 0.000 | -0.002 |
| 59 | 0.171 | -4.242 | -0.540 | -0.009 | 0.000 | 0.002 | 28 | -0.051 | -0.740 | -0.500 | -0.005 | 0.000 | -0.001 |
| 60 | 0.045 | -0.788 | -0.583 | -0.005 | 0.000 | 0.001 | 29 | -0.759 | -25.746 | -1.622 | -0.016 | 0.000 | -0.010 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.461 | -14.987 | -0.916 | -0.014 | 0.000 | -0.006 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.272 | -6.524 | -0.494 | -0.010 | 0.000 | -0.004 |
| 63 | 0.019 | -0.033 | -0.006 | 0.000 | 0.000 | 0.000 | 32 | -0.128 | -1.530 | -0.431 | -0.006 | 0.000 | -0.002 |
| 64 | 0.015 | -0.025 | -0.005 | 0.000 | 0.000 | 0.000 | 33 | -0.311 | -31.097 | -1.736 | -0.018 | 0.000 | -0.004 |
| 65 | 0.009 | -0.017 | -0.003 | 0.000 | 0.000 | 0.000 | 34 | -1.112 | -26.974 | -2.080 | -0.014 | 0.002 | -0.014 |
| 66 | 0.003 | -0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 35 | -2.223 | -40.406 | -2.809 | -0.017 | 0.001 | -0.029 |
| 67 | -0.019 | -0.033 | -0.010 | 0.000 | 0.000 | 0.000 | 36 | -1.359 | -60.487 | -4.100 | -0.021 | 0.001 | -0.018 |
| 68 | -0.015 | -0.025 | -0.008 | 0.000 | 0.000 | 0.000 | 37 | 1.355 | -60.512 | -4.100 | -0.021 | -0.001 | 0.017 |
| 69 | -0.009 | -0.017 | -0.005 | 0.000 | 0.000 | 0.000 | 38 | 2.219 | -40.477 | -2.810 | -0.017 | -0.001 | 0.028 |
| 70 | -0.003 | -0.008 | -0.002 | 0.000 | 0.000 | 0.000 | 39 | 1.107 | -27.088 | -2.035 | -0.014 | -0.002 | 0.014 |
|  |  |  |  |  |  |  | 40 | -0.107 | 0.202 | -0.565 | -0.003 | -0.001 | -0.001 |
| Load case 30 (Linear): COMB 3 (1+3+5+6) 41 |  |  |  |  |  |  |  | -0.044 | -0.096 | -0.502 | -0.004 | 0.001 | 0.000 |
| 42 |  |  |  |  |  |  |  | -0.025 | -0.415 | -0.251 | -0.006 | 0.000 | 0.000 |
| X-Axis |  | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 43 | 0.026 | -0.413 | -0.250 | -0.006 | 0.000 | 0.000 |
| Node Transl'n |  | Transl'n | Transl'n | Rotation | Rotation | Rotation | 44 | 0.044 | -0.094 | -0.501 | -0.004 | -0.001 | 0.000 |
|  |  |  |  |  |  |  | 45 | 0.100 | 0.187 | -0.660 | -0.003 | 0.001 | 0.001 |
| 1 -0.742 |  | -20.157 | -1.528 | -0.014 | 0.001 | -0.010 | 46 | 0.308 | -31.114 | -1.736 | -0.018 | 0.000 | 0.004 |
| 2 -1.000 |  | -20.063 | -1.878 | -0.011 | 0.001 | -0.013 | 47 | 0.757 | -25.791 | -1.622 | -0.016 | 0.000 | 0.010 |
| 3 -0.148 |  | 1.264 | -0.662 | -0.003 | 0.000 | -0.002 | 48 | -0.180 | -18.133 | -0.942 | -0.015 | 0.000 | -0.002 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 49 | 0.178 | -18.143 | -0.941 | -0.015 | 0.000 | 0.002 | 18 | -0.127 | -1.142 | -0.096 | -0.003 | 0.000 | -0.001 |
| 50 | 0.460 | -15.010 | -0.915 | -0.014 | 0.000 | 0.006 | 19 | -0.341 | -5.635 | -0.475 | -0.011 | 0.001 | -0.004 |
| 51 | -0.117 | -8.526 | -0.455 | -0.011 | 0.000 | -0.002 | 20 | -0.603 | -13.692 | -1.165 | -0.016 | 0.001 | -0.007 |
| 52 | 0.116 | -8.531 | -0.454 | -0.011 | 0.000 | 0.001 | 21 | -0.891 | -23.756 | -2.035 | -0.018 | 0.001 | -0.011 |
| 53 | 0.272 | -6.532 | -0.492 | -0.010 | 0.000 | 0.004 | 22 | 0.021 | -1.143 | -0.092 | -0.004 | 0.000 | 0.001 |
| 54 | -0.073 | -2.645 | -0.271 | -0.007 | 0.000 | -0.001 | 23 | 0.235 | -5.643 | -0.470 | -0.011 | -0.001 | 0.004 |
| 55 | 0.073 | -2.647 | -0.270 | -0.007 | 0.000 | 0.001 | 24 | 0.496 | -13.721 | -1.162 | -0.016 | -0.001 | 0.007 |
| 56 | 0.129 | -1.531 | -0.429 | -0.006 | 0.000 | 0.002 | 25 | 0.783 | -23.816 | -2.034 | -0.018 | -0.001 | 0.011 |
| 57 | 0.748 | -18.336 | -1.315 | -0.014 | -0.001 | 0.010 | 26 | -0.477 | -11.498 | -0.925 | -0.012 | 0.001 | -0.006 |
| 58 | 0.443 | -10.349 | -0.793 | -0.011 | -0.001 | 0.006 | 27 | -0.203 | -4.633 | -0.575 | -0.009 | 0.000 | -0.002 |
| 59 | 0.179 | -4.073 | -0.518 | -0.008 | 0.000 | 0.002 | 28 | -0.079 | -0.914 | -0.534 | -0.006 | 0.000 | 0.000 |
| 60 | 0.053 | -0.735 | -0.564 | -0.005 | 0.000 | 0.001 | 29 | -0.857 | -27.797 | -1.776 | -0.017 | 0.000 | -0.010 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.556 | -16.286 | -1.009 | -0.015 | 0.000 | -0.006 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.364 | -7.159 | -0.546 | -0.011 | 0.000 | -0.004 |
| 63 | 0.019 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 | 32 | -0.216 | -1.747 | -0.473 | -0.006 | 0.000 | -0.002 |
| 64 | 0.015 | -0.025 | 0.002 | 0.000 | 0.000 | 0.000 | 33 | -0.391 | -33.549 | -1.933 | -0.019 | 0.000 | -0.004 |
| 65 | 0.009 | -0.016 | 0.001 | 0.000 | 0.000 | 0.000 | 34 | -1.169 | -29.585 | -2.286 | -0.015 | 0.002 | -0.014 |
| 66 | 0.003 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | -2.305 | -43.172 | -3.029 | -0.018 | 0.001 | -0.029 |
| 67 | -0.019 | -0.033 | -0.002 | 0.000 | 0.000 | 0.000 | 36 | -1.428 | -63.500 | -4.353 | -0.021 | 0.001 | -0.018 |
| 68 | -0.015 | -0.025 | -0.002 | 0.000 | 0.000 | 0.000 | 37 | 1.317 | -63.526 | -4.354 | -0.021 | -0.001 | 0.018 |
| 69 | -0.009 | -0.016 | -0.001 | 0.000 | 0.000 | 0.000 | 38 | 2.195 | -43.250 | -3.031 | -0.018 | -0.001 | 0.029 |
| 70 | -0.003 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | 1.056 | -29.708 | -2.240 | -0.015 | -0.002 | 0.014 |
|  |  |  |  |  |  |  | 40 | -0.153 | 0.178 | -0.596 | -0.004 | -0.001 | -0.001 |
| Load case 50 (Linear): COMB 5 (1+4+6+7) 41 |  |  |  |  |  |  |  | -0.114 | -0.147 | -0.541 | -0.004 | 0.001 | -0.001 |
| 42 |  |  |  |  |  |  |  | -0.090 | -0.636 | -0.286 | -0.006 | 0.000 | 0.000 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 43 | -0.016 | -0.634 | -0.285 | -0.006 | 0.000 | 0.000 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 44 | 0.007 | -0.145 | -0.539 | -0.004 | -0.001 | 0.001 |
|  |  |  |  |  |  |  | 45 | 0.039 | 0.162 | -0.698 | -0.003 | 0.001 | 0.001 |
| 1 | -0.780 | -18.835 | -1.415 | -0.013 | 0.001 | -0.010 | 46 | 0.281 | -33.567 | -1.933 | -0.019 | 0.000 | 0.004 |
| 2 | -1.036 | -18.200 | -1.715 | -0.011 | 0.001 | -0.013 | 47 | 0.748 | -27.846 | -1.776 | -0.017 | 0.000 | 0.010 |
| 3 | -0.189 | 1.350 | -0.627 | -0.003 | 0.000 | -0.002 | 48 | -0.259 | -19.825 | -1.075 | -0.016 | 0.000 | -0.003 |
| 4 | 0.119 | 1.270 | -0.651 | -0.002 | 0.000 | 0.002 | 49 | 0.151 | -19.836 | -1.075 | -0.016 | 0.000 | 0.003 |
| 5 | 0.967 | -18.379 | -1.715 | -0.011 | -0.001 | 0.012 | 50 | 0.450 | -16.311 | -1.008 | -0.015 | 0.000 | 0.006 |
| 6 | -0.052 | -0.035 | -0.002 | 0.000 | 0.000 | 0.000 | 51 | -0.196 | -9.537 | -0.541 | -0.012 | 0.000 | -0.002 |
| 7 | -1.207 | -32.793 | -2.823 | -0.017 | 0.002 | -0.015 | 52 | 0.088 | -9.542 | -0.541 | -0.012 | 0.000 | 0.002 |
| 8 | -0.012 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 | 53 | 0.258 | -7.167 | -0.544 | -0.011 | 0.000 | 0.004 |
| 9 | 1.141 | -32.884 | -2.825 | -0.018 | -0.002 | 0.015 | 54 | -0.151 | -3.211 | -0.334 | -0.008 | 0.000 | -0.001 |
| 10 | -0.101 | -0.310 | -0.716 | -0.003 | 0.000 | -0.001 | 55 | 0.044 | -3.213 | -0.333 | -0.008 | 0.000 | 0.001 |
| 11 | -0.183 | -2.828 | -0.772 | -0.005 | 0.000 | -0.002 | 56 | 0.111 | -1.748 | -0.471 | -0.006 | 0.000 | 0.002 |
| 12 | -0.441 | -6.800 | -0.926 | -0.008 | 0.000 | -0.005 | 57 | 0.687 | -20.228 | -1.453 | -0.015 | -0.001 | 0.010 |
| 13 | -0.727 | -12.099 | -1.246 | -0.010 | 0.001 | -0.009 | 58 | 0.373 | -11.526 | -0.875 | -0.012 | -0.001 | 0.006 |
| 14 | 0.037 | -0.300 | -0.723 | -0.003 | 0.000 | 0.001 | 59 | 0.100 | -4.633 | -0.564 | -0.009 | 0.000 | 0.002 |
| 15 | 0.122 | -2.803 | -0.767 | -0.005 | 0.000 | 0.002 | 60 | -0.025 | -0.908 | -0.603 | -0.005 | 0.000 | 0.000 |
| 16 | 0.378 | -6.818 | -0.917 | -0.008 | 0.000 | 0.005 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 0.661 | -12.190 | -1.240 | -0.010 | -0.001 | 0.009 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.105 | -1.065 | -0.090 | -0.003 | 0.000 | -0.001 | 63 | -0.033 | -0.037 | 0.002 | 0.000 | 0.000 | 0.000 |
| 19 | -0.317 | -5.285 | -0.445 | -0.010 | 0.001 | -0.004 | 64 | -0.028 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
| 20 | -0.575 | -12.893 | -1.097 | -0.015 | 0.001 | -0.007 | 65 | -0.018 | -0.019 | 0.001 | 0.000 | 0.000 | 0.000 |
| 21 | -0.861 | -22.438 | -1.922 | -0.017 | 0.001 | -0.011 | 66 | -0.006 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.041 | -1.066 | -0.086 | -0.003 | 0.000 | 0.001 | 67 | -0.071 | -0.037 | -0.002 | 0.000 | 0.000 | 0.000 |
| 23 | 0.253 | -5.292 | -0.441 | -0.010 | -0.001 | 0.004 | 68 | -0.059 | -0.028 | -0.002 | 0.000 | 0.000 | 0.000 |
| 24 | 0.511 | -12.920 | -1.094 | -0.015 | -0.001 | 0.007 | 69 | -0.035 | -0.019 | -0.001 | 0.000 | 0.000 | 0.000 |
| 25 | 0.796 | -22.495 | -1.921 | -0.017 | -0.001 | 0.011 | 70 | -0.011 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | -0.468 | -10.676 | -0.865 | -0.011 | 0.001 | -0.006 |  |  |  |  |  |  |  |
| 27 | -0.199 | -4.243 | -0.542 | -0.008 | 0.000 | -0.002 Load case 70 (Linear): COMB 7 (1+5+8) |  |  |  |  |  |  |  |
| 28 | -0.074 | -0.794 | -0.510 | -0.005 | 0.000 | -0.001 |  |  |  |  |  |  |  |
| 29 | -0.809 | -26.386 | -1.672 | -0.017 | 0.000 | -0.010 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 30 | -0.510 | -15.401 | -0.947 | -0.014 | 0.000 | -0.006 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 31 | -0.320 | -6.734 | -0.512 | -0.010 | 0.000 | -0.004 |  |  |  |  |  |  |  |
| 32 | -0.175 | -1.608 | -0.444 | -0.006 | 0.000 | -0.002 | 1 | -0.018 | -10.082 | -0.747 | -0.006 | 0.000 | 0.001 |
| 33 | -0.354 | -31.902 | -1.804 | -0.019 | 0.000 | -0.004 | 2 | -0.026 | -14.328 | -1.130 | -0.006 | 0.000 | 0.001 |
| 34 | -1.147 | -27.751 | -2.143 | -0.014 | 0.002 | -0.014 | 3 | -0.002 | -0.631 | -0.159 | -0.003 | 0.000 | 0.001 |
| 35 | -2.266 | -41.251 | -2.878 | -0.018 | 0.001 | -0.029 | 4 | -0.142 | -0.661 | -0.168 | -0.003 | 0.000 | -0.001 |
| 36 | -1.397 | -61.422 | -4.183 | -0.021 | 0.001 | -0.018 | 5 | -0.118 | -14.409 | -1.131 | -0.006 | 0.000 | -0.001 |
| 37 | 1.329 | -61.447 | -4.184 | -0.021 | -0.001 | 0.018 | 6 | -0.072 | -0.030 | -0.001 | 0.000 | 0.000 | 0.000 |
| 38 | 2.198 | -41.324 | -2.880 | -0.018 | -0.001 | 0.029 | 7 | -0.124 | -14.081 | -1.212 | -0.007 | 0.000 | -0.001 |
| 39 | 1.078 | -27.867 | -2.097 | -0.014 | -0.002 | 0.014 | 8 | -0.070 | -0.030 | 0.001 | 0.000 | 0.000 | 0.000 |
| 40 | -0.136 | 0.194 | -0.573 | -0.003 | -0.001 | -0.001 | 9 | -0.019 | -14.122 | -1.214 | -0.007 | 0.000 | 0.001 |
| 41 | -0.082 | -0.113 | -0.512 | -0.004 | 0.001 | 0.000 | 10 | 0.101 | -2.421 | -0.283 | -0.003 | 0.000 | 0.002 |
| 42 | -0.061 | -0.489 | -0.259 | -0.006 | 0.000 | 0.000 | 11 | 0.125 | -4.663 | -0.400 | -0.004 | 0.000 | 0.002 |
| 43 | -0.002 | -0.487 | -0.258 | -0.006 | 0.000 | 0.000 | 12 | 0.080 | -7.544 | -0.576 | -0.005 | 0.000 | 0.002 |
| 44 | 0.018 | -0.111 | -0.510 | -0.004 | -0.001 | 0.000 | 13 | 0.022 | -10.870 | -0.830 | -0.006 | 0.000 | 0.001 |
| 45 | 0.066 | 0.178 | -0.671 | -0.003 | 0.001 | 0.001 | 14 | -0.243 | -2.413 | -0.285 | -0.003 | 0.000 | -0.002 |
| 46 | 0.287 | -31.919 | -1.804 | -0.019 | 0.000 | 0.004 | 15 | -0.265 | -4.651 | -0.396 | -0.004 | 0.000 | -0.002 |
| 47 | 0.744 | -26.432 | -1.672 | -0.017 | 0.000 | 0.010 | 16 | -0.222 | -7.556 | -0.571 | -0.005 | 0.000 | -0.002 |
| 48 | -0.222 | -18.710 | -0.989 | -0.015 | 0.000 | -0.002 | 17 | -0.166 | -10.918 | -0.827 | -0.006 | 0.000 | -0.001 |
| 49 | 0.157 | -18.720 | -0.989 | -0.015 | 0.000 | 0.002 | 18 | -0.074 | -0.587 | -0.048 | -0.002 | 0.000 | 0.000 |
| 50 | 0.446 | -15.424 | -0.945 | -0.014 | 0.000 | 0.006 | 19 | -0.087 | -2.655 | -0.223 | -0.005 | 0.000 | 0.000 |
| 51 | -0.159 | -8.891 | -0.486 | -0.011 | 0.000 | -0.002 | 20 | -0.106 | -6.064 | -0.516 | -0.006 | 0.000 | 0.000 |
| 52 | 0.095 | -8.896 | -0.486 | -0.011 | 0.000 | 0.002 | 21 | -0.121 | -10.016 | -0.858 | -0.007 | 0.000 | -0.001 |
| 53 | 0.257 | -6.742 | -0.509 | -0.010 | 0.000 | 0.004 | 22 | -0.068 | -0.587 | -0.047 | -0.002 | 0.000 | 0.000 |
| 54 | -0.115 | -2.865 | -0.293 | -0.008 | 0.000 | -0.001 | 23 | -0.055 | -2.659 | -0.222 | -0.005 | 0.000 | 0.000 |
| 55 | 0.051 | -2.866 | -0.292 | -0.008 | 0.000 | 0.001 | 24 | -0.037 | -6.078 | -0.516 | -0.006 | 0.000 | 0.000 |
| 56 | 0.111 | -1.609 | -0.442 | -0.006 | 0.000 | 0.002 | 25 | -0.022 | -10.043 | -0.859 | -0.007 | 0.000 | 0.001 |
| 57 | 0.715 | -18.902 | -1.357 | -0.014 | -0.001 | 0.010 | 26 | 0.024 | -6.258 | -0.454 | -0.005 | 0.000 | 0.001 |
| 58 | 0.406 | -10.703 | -0.818 | -0.012 | -0.001 | 0.006 | 27 | 0.064 | -2.970 | -0.251 | -0.004 | 0.000 | 0.002 |
| 59 | 0.139 | -4.242 | -0.532 | -0.009 | 0.000 | 0.002 | 28 | 0.055 | -0.899 | -0.182 | -0.003 | 0.000 | 0.002 |
| 60 | 0.013 | -0.788 | -0.576 | -0.005 | 0.000 | 0.001 | 29 | -0.239 | -10.608 | -0.773 | -0.006 | 0.000 | -0.002 |
| 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.229 | -6.604 | -0.460 | -0.006 | 0.000 | -0.002 |
| 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.216 | -3.126 | -0.255 | -0.004 | 0.000 | -0.002 |
| 63 | -0.012 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 | 32 | -0.205 | -0.988 | -0.218 | -0.003 | 0.000 | -0.002 |
| 64 | -0.011 | -0.025 | 0.002 | 0.000 | 0.000 | 0.000 | 33 | -0.175 | -12.146 | -0.934 | -0.006 | 0.000 | -0.001 |
| 65 | -0.007 | -0.017 | 0.001 | 0.000 | 0.000 | 0.000 | 34 | -0.061 | -14.014 | -1.086 | -0.006 | 0.000 | 0.000 |
| 66 | -0.002 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | -0.196 | -14.559 | -1.127 | -0.006 | 0.000 | -0.002 |
| 67 | -0.050 | -0.033 | -0.002 | 0.000 | 0.000 | 0.000 | 36 | -0.143 | -15.655 | -1.254 | -0.005 | 0.000 | -0.001 |
| 68 | -0.041 | -0.025 | -0.002 | 0.000 | 0.000 | 0.000 | 37 | -0.001 | -15.666 | -1.255 | -0.005 | 0.000 | 0.001 |
| 69 | -0.025 | -0.017 | -0.001 | 0.000 | 0.000 | 0.000 | 38 | 0.052 | -14.592 | -1.128 | -0.006 | 0.000 | 0.002 |
| 70 | -0.008 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | -0.084 | -14.067 | -1.077 | -0.006 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 40 | -0.037 | -0.120 | -0.176 | -0.002 | -0.001 | 0.000 |
| Load case 60 (Linear): COMB 6 (1+5+6+8) 41 |  |  |  |  |  |  |  | -0.152 | -0.252 | -0.228 | -0.002 | 0.001 | -0.001 |
| 42 |  |  |  |  |  |  |  | -0.129 | -1.071 | -0.221 | -0.003 | 0.000 | -0.001 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 43 | -0.013 | -1.070 | -0.220 | -0.003 | 0.000 | 0.001 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 44 | 0.010 | -0.251 | -0.228 | -0.002 | -0.001 | 0.001 |
|  |  |  |  |  |  |  | 45 | -0.108 | -0.125 | -0.217 | -0.002 | 0.001 | 0.000 |
| 1 | -0.795 | -20.157 | -1.514 | -0.014 | 0.001 | -0.010 | 46 | 0.031 | -12.154 | -0.934 | -0.006 | 0.000 | 0.001 |
| 2 | -1.053 | -20.063 | -1.864 | -0.011 | 0.001 | -0.013 | 47 | 0.096 | -10.629 | -0.773 | -0.006 | 0.000 | 0.002 |
| 3 | -0.201 | 1.264 | -0.648 | -0.003 | 0.000 | -0.002 | 48 | -0.173 | -8.104 | -0.614 | -0.005 | 0.000 | -0.001 |
| 4 | 0.088 | 1.179 | -0.673 | -0.003 | 0.000 | 0.002 | 49 | 0.030 | -8.109 | -0.614 | -0.005 | 0.000 | 0.001 |
| 5 | 0.941 | -20.252 | -1.864 | -0.012 | -0.001 | 0.012 | 50 | 0.087 | -6.616 | -0.459 | -0.006 | 0.000 | 0.002 |
| 6 | -0.073 | -0.039 | -0.002 | 0.000 | 0.000 | 0.000 | 51 | -0.170 | -4.568 | -0.389 | -0.004 | 0.000 | -0.001 |
| 7 | -1.237 | -34.643 | -2.982 | -0.018 | 0.002 | -0.015 | 52 | 0.027 | -4.571 | -0.389 | -0.004 | 0.000 | 0.001 |
| 8 | -0.033 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 | 53 | 0.074 | -3.130 | -0.254 | -0.004 | 0.000 | 0.002 |
| 9 | 1.129 | -34.740 | -2.985 | -0.018 | -0.002 | 0.015 | 54 | -0.166 | -2.360 | -0.295 | -0.003 | 0.000 | -0.001 |
| 10 | -0.100 | -0.634 | -0.754 | -0.004 | 0.000 | -0.001 | 55 | 0.024 | -2.361 | -0.295 | -0.003 | 0.000 | 0.001 |
| 11 | -0.179 | -3.446 | -0.826 | -0.006 | 0.000 | -0.002 | 56 | 0.064 | -0.989 | -0.217 | -0.003 | 0.000 | 0.002 |
| 12 | -0.443 | -7.791 | -1.002 | -0.009 | 0.000 | -0.005 | 57 | -0.124 | -10.115 | -0.725 | -0.006 | 0.000 | -0.001 |
| 13 | -0.737 | -13.519 | -1.356 | -0.011 | 0.001 | -0.009 | 58 | -0.166 | -6.273 | -0.429 | -0.006 | 0.000 | -0.001 |
| 14 | -0.007 | -0.623 | -0.761 | -0.004 | 0.000 | 0.001 | 59 | -0.204 | -2.970 | -0.241 | -0.004 | 0.000 | -0.002 |
| 15 | 0.075 | -3.419 | -0.820 | -0.006 | 0.000 | 0.002 | 60 | -0.195 | -0.896 | -0.209 | -0.003 | 0.000 | -0.002 |
| 16 | 0.337 | -7.810 | -0.993 | -0.009 | 0.000 | 0.005 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 0.628 | -13.616 | -1.349 | -0.011 | -0.001 | 0.009 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis X-Axis Transl'n Rotation |  |  | Y-Axis Z-Axis Rotation Rotation Memb |  |  |  | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 63 | -0.068 | -0.029 | 0.001 | 0.000 |  | 0.000 | 0.000 | 35 |  | 23 | 0.196 | 0.040 | -0.008 | -0.001 | 0.001 | -0.019 |
| 64 | -0.057 | -0.022 | 0.001 | 0.000 |  | 0.000 | 0.000 |  |  | 59 | 0.196 | 0.037 | -0.008 | -0.001 | -0.002 | -0.005 |
| 65 | -0.035 | -0.015 | 0.000 | 0.000 |  | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 66 | -0.011 | -0.007 | 0.000 | 0.000 |  | 0.000 | 0.000 | 36 |  | 14 | 0.044 | -0.013 | -0.002 | 0.001 | 0.001 | 0.003 |
| 67 | -0.070 | -0.029 | -0.001 | 0.000 |  | 0.000 | 0.000 |  |  | 60 | 0.044 | -0.018 | -0.002 | 0.001 | -0.001 | -0.008 |
| 68 | -0.059 | -0.022 | -0.001 | 0.000 |  | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 69 | -0.036 | -0.015 | 0.000 | 0.000 |  | 0.000 | 0.000 | 37 |  | 22 | 0.196 | 0.039 | -0.062 | -0.003 | 0.012 | -0.016 |
| 70 | -0.012 | -0.007 | 0.000 | 0.000 |  | 0.000 | 0.000 |  |  | 56 | 0.196 | 0.037 | -0.062 | -0.003 | -0.011 | -0.003 |
|  |  |  |  |  |  |  |  | 38 |  | 18 | 0.202 | 0.032 | -0.065 | -0.003 | 0.012 | -0.016 |
| MEMBER FORCES AND MOMENTS (kN,kNm) |  |  |  |  |  |  |  |  |  | 28 | 0.202 | 0.030 | -0.065 | -0.003 | -0.011 | -0.005 |
|  |  |  |  |  |  |  |  |  | 39 | 63 | 0.557 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  |  |  |  |  | 64 | 0.569 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | Axial | Y-Axis | Z-Axis | X-Axis |  | Y-Axis | Z-Axis | 40 | 64 | 0.569 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Memb | Node | Force | Shear | Shear | Torsion |  | Moment | Moment |  | 65 | 0.581 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 3 | 0.024 | -0.004 | -0.003 | 0.002 |  | 0.001 | 0.000 | 41 | 65 | 0.581 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 10 | 0.023 | -0.008 | -0.003 | 0.002 |  | -0.001 | -0.004 |  | 66 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 3 | 0.012 | 0.001 | 0.006 | -0.001 |  | -0.001 | -0.001 | 42 | 66 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.012 | -0.004 | 0.006 | -0.001 |  | 0.003 | -0.002 |  | 62 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 4 | 0.027 | -0.004 | 0.004 | -0.002 |  | -0.001 | 0.000 | 43 | 67 | 0.558 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.027 | -0.008 | 0.004 | -0.002 |  | 0.001 | -0.004 |  | 68 | 0.570 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 2 | 0.016 | -0.002 | -0.004 | 0.000 |  | 0.001 | 0.000 | 44 | 68 | 0.570 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.016 | -0.006 | -0.004 | 0.000 |  | -0.002 | -0.003 |  | 69 | 0.582 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 6 | 0.215 | 0.466 | -0.003 | -0.005 |  | 0.001 | -0.693 | 45 | 69 | 0.582 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.211 | 0.420 | -0.003 | -0.005 |  | -0.001 | -0.427 |  | 70 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 8 | 0.220 | 0.465 | 0.002 | 0.005 |  | 0.000 | -0.694 | 46 | 70 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.216 | 0.419 | 0.002 | 0.005 |  | 0.001 | -0.428 |  | 61 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | 0.033 | 0.030 | -0.045 | -0.002 |  | 0.009 | -0.011 | 47 | 45 | -0.093 | 0.001 | -0.016 | 0.000 | 0.006 | 0.000 |
|  | 35 | 0.033 | 0.027 | -0.045 | -0.002 |  | -0.008 | -0.001 |  | 60 | -0.093 | -0.002 | -0.016 | 0.000 | -0.004 | 0.000 |
| 8 | 8 | 0.034 | 0.005 | 0.094 | 0.005 |  | -0.018 | -0.004 | 48 | 34 | 0.035 | -0.019 | 0.049 | 0.002 | -0.008 | -0.002 |
|  | 45 | 0.034 | 0.003 | 0.094 | 0.005 |  | 0.015 | -0.003 |  | 7 | 0.035 | -0.021 | 0.049 | 0.002 | 0.009 | -0.009 |
| 9 | 9 | 0.037 | 0.022 | -0.051 | -0.002 |  | 0.010 | -0.009 | 49 | 60 | -0.176 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 39 | 0.037 | 0.019 | -0.051 | -0.002 |  | -0.008 | -0.002 |  | 59 | -0.177 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 10 | 6 | 0.034 | 0.018 | 0.084 | 0.005 |  | -0.017 | -0.010 | 50 | 35 | -0.010 | 0.015 | 0.004 | 0.000 | -0.002 | -0.003 |
|  | 41 | 0.034 | 0.015 | 0.084 | 0.005 |  | 0.014 | -0.004 |  | 36 | -0.010 | 0.010 | 0.004 | 0.000 | 0.001 | 0.006 |
| 11 | 10 | 0.046 | 0.000 | -0.001 | 0.000 |  | 0.000 | -0.004 | 51 | 59 | -0.134 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 11 | 0.046 | -0.004 | -0.001 | 0.000 |  | 0.000 | -0.005 |  | 58 | -0.134 | -0.001 | 0.005 | 0.000 | 0.002 | 0.000 |
| 12 | 11 | 0.045 | 0.005 | 0.000 | -0.001 |  | 0.000 | -0.005 | 52 | 36 | -0.045 | 0.002 | 0.000 | 0.000 | 0.000 | 0.005 |
|  | 12 | 0.045 | 0.001 | 0.000 | -0.001 |  | 0.000 | -0.003 |  | 37 | -0.045 | -0.002 | 0.000 | 0.000 | 0.000 | 0.005 |
| 13 | 12 | 0.028 | 0.007 | 0.000 | -0.001 |  | 0.000 | -0.004 | 53 | 58 | -0.069 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |
|  | 13 | 0.028 | 0.003 | 0.000 | -0.001 |  | 0.000 | -0.001 |  | 57 | -0.069 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
| 14 | 13 | 0.011 | 0.005 | 0.001 | -0.001 |  | 0.000 | -0.001 | 54 | 37 | -0.011 | -0.010 | -0.004 | 0.000 | 0.001 | 0.006 |
|  | 2 | 0.011 | 0.001 | 0.001 | -0.001 |  | 0.001 | 0.000 |  | 38 | -0.011 | -0.015 | -0.004 | 0.000 | -0.002 | -0.003 |
| 15 | 14 | 0.053 | 0.000 | 0.001 | 0.000 |  | 0.000 | -0.004 | 55 | 57 | -0.009 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |
|  | 15 | 0.053 | -0.004 | 0.001 | 0.000 |  | 0.000 | -0.005 |  | 39 | -0.010 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
| 16 | 15 | 0.052 | 0.005 | 0.000 | 0.001 |  | 0.000 | -0.005 | 56 | 38 | 0.034 | -0.027 | 0.046 | 0.002 | -0.008 | -0.001 |
|  | 16 | 0.052 | 0.001 | 0.000 | 0.001 |  | 0.000 | -0.003 |  | 9 | 0.034 | -0.030 | 0.046 | 0.002 | 0.009 | -0.011 |
| 17 | 16 | 0.033 | 0.007 | 0.000 | 0.001 |  | 0.000 | -0.004 | 57 | 44 | -0.092 | 0.001 | 0.014 | 0.000 | -0.005 | 0.000 |
|  | 17 | 0.032 | 0.003 | 0.000 | 0.001 |  | 0.000 | -0.001 |  | 56 | -0.093 | -0.002 | 0.014 | 0.000 | 0.003 | 0.000 |
| 18 | 17 | 0.012 | 0.004 | -0.002 | 0.001 |  | 0.000 | -0.001 | 58 | 39 | 0.018 | 0.007 | 0.004 | 0.000 | -0.002 | -0.003 |
|  | 5 | 0.012 | 0.000 | -0.002 | 0.001 |  | -0.001 | 0.000 |  | 5 | 0.018 | 0.002 | 0.004 | 0.000 | 0.001 | 0.000 |
| 19 | 18 | 0.330 | 0.338 | 0.002 | -0.004 |  | -0.001 | -0.412 | 59 | 56 | -0.172 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.329 | 0.323 | 0.002 | -0.004 |  | 0.000 | -0.214 |  | 53 | -0.172 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 20 | 19 | 0.306 | 0.239 | 0.002 | -0.006 |  | -0.001 | -0.217 | 60 | 40 | 0.031 | -0.003 | -0.089 | -0.006 | 0.014 | -0.002 |
|  | 20 | 0.305 | 0.224 | 0.002 | -0.006 |  | 0.000 | -0.078 |  | 6 | 0.031 | -0.005 | -0.089 | -0.006 | -0.018 | -0.004 |
| 21 | 20 | 0.215 | 0.146 | 0.002 | -0.005 |  | 0.000 | -0.089 | 61 | 40 | 0.098 | 0.001 | 0.013 | 0.000 | -0.005 | 0.000 |
|  | 21 | 0.213 | 0.131 | 0.002 | -0.005 |  | 0.001 | -0.006 |  | 28 | 0.097 | -0.002 | 0.013 | 0.000 | 0.003 | 0.000 |
| 22 | 21 | 0.100 | 0.058 | -0.002 | -0.002 |  | 0.001 | -0.019 | 62 | 41 | -0.011 | 0.015 | -0.006 | 0.001 | 0.003 | -0.004 |
|  | 7 | 0.098 | 0.043 | -0.002 | -0.002 |  | 0.000 | 0.012 |  | 42 | -0.011 | 0.011 | -0.006 | 0.001 | -0.001 | 0.005 |
| 23 | 22 | 0.339 | 0.338 | -0.002 | 0.004 |  | 0.001 | -0.413 | 63 | 41 | 0.061 | 0.001 | -0.014 | 0.000 | 0.005 | 0.000 |
|  | 23 | 0.338 | 0.322 | -0.002 | 0.004 |  | 0.000 | -0.215 |  | 32 | 0.061 | -0.002 | -0.014 | 0.000 | -0.003 | 0.000 |
| 24 | 23 | 0.315 | 0.239 | -0.001 | 0.005 |  | 0.001 | -0.218 | 64 | 42 | -0.042 | 0.002 | 0.000 | 0.000 | 0.000 | 0.004 |
|  | 24 | 0.313 | 0.224 | -0.001 | 0.005 |  | 0.000 | -0.079 |  | 43 | -0.042 | -0.002 | 0.000 | 0.000 | 0.000 | 0.004 |
| 25 | 24 | 0.221 | 0.146 | -0.001 | 0.005 |  | 0.000 | -0.090 | 65 | 42 | 0.040 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 25 | 0.219 | 0.131 | -0.001 | 0.005 |  | -0.001 | -0.006 |  | 54 | 0.040 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 26 | 25 | 0.102 | 0.058 | 0.003 | 0.002 |  | -0.001 | -0.019 | 66 | 43 | -0.011 | -0.011 | 0.006 | -0.001 | -0.001 | 0.005 |
|  | 9 | 0.101 | 0.043 | 0.003 | 0.002 |  | 0.000 | 0.012 |  | 44 | -0.011 | -0.015 | 0.006 | -0.001 | 0.003 | -0.004 |
| 27 | 13 | 0.035 | -0.007 | -0.003 | 0.000 |  | 0.001 | 0.001 | 67 | 43 | 0.040 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 1 | 0.035 | -0.012 | -0.003 | 0.000 |  | -0.001 | -0.005 |  | 55 | 0.040 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 28 | 21 | 0.138 | 0.047 | -0.052 | -0.002 |  | 0.010 | -0.017 | 68 | 44 | 0.036 | -0.015 | -0.085 | -0.005 | 0.014 | -0.004 |
|  | 29 | 0.138 | 0.045 | -0.052 | -0.002 |  | -0.009 | 0.000 |  | 8 | 0.036 | -0.018 | -0.085 | -0.005 | -0.017 | -0.010 |
| 29 | 25 | 0.134 | 0.036 | -0.058 | -0.002 |  | 0.010 | -0.014 | 69 | 44 | 0.062 | 0.001 | 0.014 | 0.000 | -0.005 | 0.000 |
|  | 57 | 0.134 | 0.034 | -0.058 | -0.002 |  | -0.010 | -0.002 |  | 56 | 0.062 | -0.002 | 0.014 | 0.000 | 0.003 | 0.000 |
| 30 | 16 | 0.049 | -0.010 | 0.003 | 0.000 |  | -0.001 | 0.002 | 70 | 45 | 0.015 | 0.004 | -0.007 | 0.001 | 0.003 | -0.002 |
|  | 58 | 0.049 | -0.015 | 0.003 | 0.000 |  | 0.001 | -0.007 |  | 4 | 0.015 | -0.001 | -0.007 | 0.001 | -0.001 | -0.001 |
| 31 | 24 | 0.162 | 0.047 | 0.041 | 0.002 |  | -0.008 | -0.018 | 71 | 45 | 0.060 | 0.001 | -0.015 | 0.000 | 0.005 | 0.000 |
|  | 50 | 0.162 | 0.044 | 0.041 | 0.002 |  | 0.007 | -0.001 |  | 60 | 0.059 | -0.002 | -0.015 | 0.000 | -0.003 | 0.000 |
| 32 | 20 | 0.165 | 0.038 | 0.042 | 0.003 |  | -0.007 | -0.017 | 72 | 1 | 0.135 | -0.033 | 0.055 | 0.003 | -0.010 | -0.002 |
|  | 26 | 0.165 | 0.036 | 0.042 | 0.003 |  | 0.007 | -0.004 |  | 21 | 0.135 | -0.036 | 0.055 | 0.003 | 0.010 | -0.014 |
| 33 | 11 | 0.060 | -0.015 | -0.002 | 0.000 |  | 0.000 | 0.003 | 73 | 1 | 0.008 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 |
|  | 27 | 0.060 | -0.019 | -0.002 | 0.000 |  | -0.001 | -0.009 |  | 34 | 0.007 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |
| 34 | 19 | 0.200 | 0.045 | -0.008 | -0.001 |  | 0.001 | -0.017 | 74 | 26 | 0.051 | 0.015 | -0.003 | 0.000 | 0.001 | -0.007 |
|  | 31 | 0.200 | 0.043 | -0.008 | -0.001 |  | -0.002 | -0.001 |  | 12 | 0.051 | 0.011 | -0.003 | 0.000 | -0.001 | 0.002 |

-------------------------

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 75 | 26 | 0.057 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 | 115 | 58 | 0.162 | -0.036 | -0.044 | -0.002 | 0.008 | -0.004 |
|  | 1 | 0.057 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |  | 24 | 0.162 | -0.039 | -0.044 | -0.002 | -0.008 | -0.017 |
| 76 | 27 | 0.200 | -0.038 | 0.007 | 0.001 | -0.002 | -0.005 | 116 | 59 | 0.064 | 0.002 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.200 | -0.040 | 0.007 | 0.001 | 0.001 | -0.019 |  | 58 | 0.063 | -0.001 | 0.004 | 0.000 | 0.002 | 0.000 |
| 77 | 27 | 0.125 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 | 117 | 59 | 0.058 | 0.019 | 0.002 | 0.000 | -0.001 | -0.009 |
|  | 26 | 0.125 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |  | 15 | 0.058 | 0.014 | 0.002 | 0.000 | 0.000 | 0.003 |
| 78 | 28 | 0.047 | 0.018 | 0.001 | 0.000 | -0.001 | -0.008 | 118 | 60 | 0.113 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 10 | 0.047 | 0.013 | 0.001 | 0.000 | 0.000 | 0.003 |  | 59 | 0.112 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 79 | 28 | 0.172 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 | 119 | 60 | 0.199 | -0.029 | 0.068 | 0.003 | -0.011 | -0.005 |
|  | 27 | 0.172 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 22 | 0.199 | -0.032 | 0.068 | 0.003 | 0.013 | -0.016 |
| 80 | 29 | -0.014 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 | 120 | 6 | 0.506 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.015 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 |  | 67 | 0.558 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 81 | 29 | -0.036 | 0.023 | 0.003 | 0.000 | -0.001 | -0.006 | 121 | 8 | 0.506 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.036 | 0.018 | 0.003 | 0.000 | 0.001 | 0.009 |  | 63 | 0.557 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 82 | 30 | 0.016 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 | 122 | 53 | -0.128 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 29 | 0.016 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |  | 50 | -0.128 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
| 83 | 30 | 0.164 | -0.044 | -0.041 | -0.002 | 0.007 | -0.001 | 123 | 50 | -0.063 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 |
|  | 20 | 0.164 | -0.047 | -0.041 | -0.002 | -0.008 | -0.018 |  | 47 | -0.064 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
| 84 | 31 | 0.067 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 | 124 | 47 | -0.009 | 0.002 | -0.010 | 0.000 | 0.003 | 0.000 |
|  | 30 | 0.067 | -0.001 | 0.005 | 0.000 | 0.002 | 0.000 |  | 38 | -0.010 | -0.001 | -0.010 | 0.000 | -0.003 | 0.000 |
| 85 | 31 | -0.012 | 0.025 | 0.002 | 0.000 | -0.001 | -0.007 | 125 | 43 | -0.049 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
|  | 51 | -0.012 | 0.020 | 0.002 | 0.000 | 0.001 | 0.009 |  | 55 | -0.049 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 86 | 32 | 0.118 | 0.002 | -0.001 | 0.000 | 0.001 | 0.000 | 126 | 55 | -0.099 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.117 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |  | 52 | -0.099 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 87 | 32 | 0.198 | -0.037 | 0.061 | 0.003 | -0.010 | -0.003 | 127 | 52 | -0.088 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.198 | -0.039 | 0.061 | 0.003 | 0.012 | -0.016 |  | 49 | -0.088 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | -0.124 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 | 128 | 49 | -0.050 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.124 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |  | 46 | -0.050 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 89 | 33 | -0.018 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 129 | 46 | -0.011 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.019 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |  | 37 | -0.012 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 90 | 46 | -0.036 | -0.018 | -0.003 | 0.000 | 0.001 | 0.009 | 130 | 42 | -0.049 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 47 | -0.036 | -0.023 | -0.003 | 0.000 | -0.001 | -0.005 |  | 54 | -0.049 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 91 | 46 | -0.018 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 131 | 54 | -0.099 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.019 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |  | 51 | -0.099 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 92 | 47 | 0.137 | -0.045 | 0.052 | 0.002 | -0.009 | 0.000 | 132 | 51 | -0.088 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.137 | -0.047 | 0.052 | 0.002 | 0.010 | -0.017 |  | 48 | -0.088 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | -0.014 | 0.002 | -0.010 | 0.000 | 0.003 | 0.000 | 133 | 48 | -0.050 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.014 | -0.001 | -0.010 | 0.000 | -0.003 | 0.000 |  | 33 | -0.050 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 94 | 48 | -0.026 | -0.019 | 0.003 | 0.000 | -0.001 | 0.009 | 134 | 33 | -0.011 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | -0.026 | -0.024 | 0.003 | 0.000 | 0.001 | -0.006 |  | 36 | -0.012 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 95 | 48 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 135 | 41 | -0.092 | 0.001 | -0.014 | 0.000 | 0.005 | 0.000 |
|  | 33 | 0.028 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | -0.093 | -0.002 | -0.014 | 0.000 | -0.003 | 0.000 |
| 96 | 49 | -0.119 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 | 136 | 32 | -0.173 | 0.002 | -0.001 | 0.000 | 0.001 | 0.000 |
|  | 48 | -0.119 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |  | 31 | -0.173 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 97 | 49 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 137 | 31 | -0.129 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 46 | 0.028 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | -0.129 | -0.001 | 0.005 | 0.000 | 0.002 | 0.000 |
| 98 | 50 | -0.026 | 0.024 | -0.003 | 0.000 | 0.001 | -0.006 | 138 | 30 | -0.064 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |
|  | 49 | -0.026 | 0.019 | -0.003 | 0.000 | -0.001 | 0.009 |  | 29 | -0.065 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
| 99 | 50 | 0.018 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 | 139 | 29 | -0.009 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |
|  | 47 | 0.017 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |  | 35 | -0.010 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
| 100 | 51 | -0.108 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 | 140 | 40 | -0.117 | 0.001 | 0.015 | 0.000 | -0.005 | 0.000 |
|  | 52 | -0.108 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |  | 28 | -0.117 | -0.002 | 0.015 | 0.000 | 0.004 | 0.000 |
| 101 | 51 | 0.081 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 141 | 28 | -0.210 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 48 | 0.080 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | -0.210 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 102 | 52 | -0.012 | -0.020 | -0.002 | 0.000 | 0.001 | 0.009 | 142 | 27 | -0.168 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 53 | -0.012 | -0.025 | -0.002 | 0.000 | -0.001 | -0.007 |  | 26 | -0.168 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
| 103 | 52 | 0.081 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 143 | 26 | -0.091 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 |
|  | 49 | 0.080 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | -0.091 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
| 104 | 53 | 0.197 | -0.043 | 0.008 | 0.001 | -0.002 | -0.001 | 144 | 1 | -0.020 | 0.002 | -0.010 | 0.000 | 0.003 | 0.000 |
|  | 23 | 0.197 | -0.045 | 0.008 | 0.001 | 0.001 | -0.017 |  | 34 | -0.020 | -0.001 | -0.010 | 0.000 | -0.003 | 0.000 |
| 105 | 53 | 0.069 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 | Load case 2 (Linear): WIND COLS MAJOR (S) |  |  |  |  |  |  |  |
|  | 50 | 0.069 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | -0.017 | -0.020 | -0.001 | 0.001 | 0.000 | 0.009 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | -0.017 | -0.025 | -0.001 | 0.001 | -0.001 | -0.007 | 1 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 107 | 54 | 0.099 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.099 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 108 | 55 | -0.107 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.107 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 | 3 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 109 | 55 | 0.099 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.099 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 110 | 56 | -0.017 | 0.025 | 0.001 | -0.001 | -0.001 | -0.007 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.017 | 0.020 | 0.001 | -0.001 | 0.000 | 0.009 | 5 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 111 | 56 | 0.119 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.119 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 6 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 112 | 57 | -0.011 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.011 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 | 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 113 | 57 | 0.034 | 0.012 | 0.003 | 0.000 | -0.001 | -0.005 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.034 | 0.007 | 0.003 | 0.000 | 0.001 | 0.001 | 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 114 | 58 | 0.015 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.015 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 | 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 50 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 63 | 0.000 | 0.000 | -0.001 | 0.000 | 0.003 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 | 80 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 64 | 0.000 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 81 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 65 | 0.000 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 | 82 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 66 | 0.000 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | -0.006 | 0.000 | -0.004 | 0.000 | 83 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 67 | 0.000 | 0.000 | -0.001 | 0.000 | 0.003 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 | 84 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 68 | 0.000 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 85 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 69 | 0.000 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 | 86 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 70 | 0.000 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | -0.006 | 0.000 | -0.004 | 0.000 | 87 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 90 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 130 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 91 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 131 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 92 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 132 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 133 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 94 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 134 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 95 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 135 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 96 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 136 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 97 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 137 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 98 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 138 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 99 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 139 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 100 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 140 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 101 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 141 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 102 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 142 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 103 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 143 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 104 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 144 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 105 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 3 (Linear): WIND COLS MAJOR (U) |  |  |  |  |  |  |  |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 107 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 108 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 109 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 110 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 111 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 112 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 113 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 114 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 115 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 116 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 117 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 118 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 119 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 120 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.003 | 0.000 |  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.000 | 0.000 | -0.001 | 0.000 | 0.003 | 0.000 | 15 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 121 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.003 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | -0.001 | 0.000 | 0.003 | 0.000 | 16 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 123 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 124 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 125 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 127 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 129 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 65 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 63 | 0.000 | 0.000 | -0.002 | 0.000 | 0.005 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | 0.000 | -0.005 | 0.000 | 0.003 | 0.000 | 80 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 64 | 0.000 | 0.000 | -0.005 | 0.000 | 0.003 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 81 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 65 | 0.000 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | 0.000 | -0.009 | 0.000 | -0.003 | 0.000 | 82 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 66 | 0.000 | 0.000 | -0.009 | 0.000 | -0.003 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | -0.012 | 0.000 | -0.008 | 0.000 | 83 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 67 | 0.000 | 0.000 | -0.002 | 0.000 | 0.005 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | 0.000 | -0.005 | 0.000 | 0.003 | 0.000 | 84 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 68 | 0.000 | 0.000 | -0.005 | 0.000 | 0.003 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 85 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 69 | 0.000 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | -0.009 | 0.000 | -0.003 | 0.000 | 86 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 70 | 0.000 | 0.000 | -0.009 | 0.000 | -0.003 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | -0.012 | 0.000 | -0.008 | 0.000 | 87 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 90 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 91 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 92 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 94 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 95 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 100 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 102 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 103 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 104 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 4 (Linear): WIND PL (S)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 105 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 | 3 | 0.009 | -0.003 | -0.002 | 0.001 | 0.001 | 0.000 |
| 106 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.009 | -0.003 | -0.002 | 0.001 | 0.000 | -0.001 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 2 | 3 | 0.005 | -0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
| 107 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.005 | -0.001 | 0.003 | 0.000 | 0.001 | -0.001 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 3 | 4 | 0.011 | -0.003 | 0.002 | -0.001 | -0.001 | 0.000 |
| 108 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.011 | -0.003 | 0.002 | -0.001 | 0.000 | -0.002 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 4 | 2 | 0.007 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 109 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.007 | -0.002 | -0.002 | 0.000 | -0.001 | -0.001 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 5 | 6 | 0.099 | 0.207 | 0.001 | -0.006 | -0.001 | -0.326 |
| 110 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.099 | 0.207 | 0.001 | -0.006 | -0.001 | -0.202 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 6 | 8 | 0.101 | 0.207 | -0.001 | 0.006 | 0.001 | -0.326 |
| 111 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.101 | 0.207 | -0.001 | 0.006 | 0.000 | -0.202 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 7 | 7 | 0.016 | 0.015 | -0.021 | -0.001 | 0.004 | -0.005 |
| 112 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.016 | 0.015 | -0.021 | -0.001 | -0.004 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 8 | 8 | 0.019 | 0.003 | 0.043 | 0.003 | -0.009 | -0.002 |
| 113 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.019 | 0.003 | 0.043 | 0.003 | 0.007 | -0.001 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 9 | 9 | 0.019 | 0.011 | -0.023 | -0.001 | 0.004 | -0.005 |
| 114 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.019 | 0.011 | -0.023 | -0.001 | -0.004 | -0.001 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 10 | 6 | 0.017 | 0.009 | 0.039 | 0.002 | -0.008 | -0.005 |
| 115 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.017 | 0.009 | 0.039 | 0.002 | 0.006 | -0.002 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 11 | 10 | 0.019 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 116 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.019 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 12 | 11 | 0.018 | 0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
| 117 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.018 | 0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 13 | 12 | 0.010 | 0.002 | 0.000 | -0.001 | 0.000 | -0.001 |
| 118 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.010 | 0.002 | 0.000 | -0.001 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 14 | 13 | 0.003 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 119 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 2 | 0.003 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 15 | 14 | 0.022 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
| 120 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 | 0.000 |  | 15 | 0.022 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
|  | 67 | 0.000 | 0.000 | -0.002 | 0.000 | 0.005 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 16 | 15 | 0.021 | 0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
| 121 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 | 0.000 |  | 16 | 0.021 | 0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 63 | 0.000 | 0.000 | -0.002 | 0.000 | 0.005 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 17 | 16 | 0.012 | 0.002 | 0.000 | 0.001 | 0.000 | -0.001 |
| 122 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.012 | 0.002 | 0.000 | 0.001 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 18 | 17 | 0.004 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 123 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.004 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 19 | 18 | 0.153 | 0.160 | 0.002 | -0.004 | -0.001 | -0.195 |
| 124 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.153 | 0.160 | 0.002 | -0.004 | 0.000 | -0.099 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 20 | 19 | 0.141 | 0.111 | 0.001 | -0.004 | 0.000 | -0.101 |
| 125 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.141 | 0.111 | 0.001 | -0.004 | 0.000 | -0.034 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 21 | 20 | 0.098 | 0.065 | 0.001 | -0.003 | 0.000 | -0.039 |
| 126 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.098 | 0.065 | 0.001 | -0.003 | 0.001 | -0.001 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 22 | 21 | 0.045 | 0.021 | -0.001 | -0.001 | 0.001 | -0.007 |
| 127 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 7 | 0.045 | 0.021 | -0.001 | -0.001 | 0.000 | 0.006 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 23 | 22 | 0.157 | 0.160 | -0.002 | 0.004 | 0.001 | -0.195 |
| 128 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 23 | 0.157 | 0.160 | -0.002 | 0.004 | 0.000 | -0.099 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 24 | 23 | 0.145 | 0.111 | -0.001 | 0.004 | 0.000 | -0.101 |
| 129 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | 0.145 | 0.111 | -0.001 | 0.004 | 0.000 | -0.034 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 25 | 24 | 0.101 | 0.065 | -0.001 | 0.003 | 0.000 | -0.040 |
| 130 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.101 | 0.065 | -0.001 | 0.003 | -0.001 | -0.001 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 26 | 25 | 0.046 | 0.021 | 0.002 | 0.001 | -0.001 | -0.007 |
| 131 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 9 | 0.046 | 0.021 | 0.002 | 0.001 | 0.000 | 0.006 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 27 | 13 | 0.016 | -0.005 | -0.001 | 0.000 | 0.000 | 0.001 |
| 132 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.016 | -0.005 | -0.001 | 0.000 | -0.001 | -0.003 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 28 | 21 | 0.077 | 0.028 | -0.024 | -0.001 | 0.004 | -0.010 |
| 133 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.077 | 0.028 | -0.024 | -0.001 | -0.004 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 29 | 25 | 0.074 | 0.021 | -0.027 | -0.001 | 0.005 | -0.008 |
| 134 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.074 | 0.021 | -0.027 | -0.001 | -0.005 | -0.001 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 30 | 16 | 0.023 | -0.007 | 0.002 | 0.000 | 0.000 | 0.001 |
| 135 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.023 | -0.007 | 0.002 | 0.000 | 0.001 | -0.004 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 31 | 24 | 0.091 | 0.028 | 0.019 | 0.001 | -0.004 | -0.010 |
| 136 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.091 | 0.028 | 0.019 | 0.001 | 0.004 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 32 | 20 | 0.092 | 0.022 | 0.019 | 0.001 | -0.003 | -0.010 |
| 137 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.092 | 0.022 | 0.019 | 0.001 | 0.003 | -0.002 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 33 | 11 | 0.028 | -0.009 | -0.001 | 0.000 | 0.000 | 0.002 |
| 138 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.028 | -0.009 | -0.001 | 0.000 | 0.000 | -0.004 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 34 | 19 | 0.110 | 0.027 | -0.005 | -0.001 | 0.001 | -0.011 |
| 139 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.110 | 0.027 | -0.005 | -0.001 | -0.001 | -0.001 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 35 | 23 | 0.107 | 0.023 | -0.004 | -0.001 | 0.000 | -0.010 |
| 140 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.107 | 0.023 | -0.004 | -0.001 | -0.001 | -0.002 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 36 | 14 | 0.020 | -0.008 | -0.001 | 0.000 | 0.000 | 0.002 |
| 141 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.020 | -0.008 | -0.001 | 0.000 | 0.000 | -0.004 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 37 | 22 | 0.106 | 0.024 | -0.028 | -0.001 | 0.006 | -0.010 |
| 142 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.106 | 0.024 | -0.028 | -0.001 | -0.005 | -0.001 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 38 | 18 | 0.108 | 0.019 | -0.030 | -0.002 | 0.006 | -0.009 |
| 143 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.108 | 0.019 | -0.030 | -0.002 | -0.005 | -0.002 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 39 | 63 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 144 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 40 | 64 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 65 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 65 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 29 | -0.025 | 0.012 | 0.002 | 0.000 | -0.001 | -0.003 |
|  | 66 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | -0.025 | 0.012 | 0.002 | 0.000 | 0.001 | 0.006 |
| 42 | 66 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 82 | 30 | 0.005 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 62 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.005 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 43 | 67 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 83 | 30 | 0.092 | -0.028 | -0.019 | -0.001 | 0.003 | 0.000 |
|  | 68 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.092 | -0.028 | -0.019 | -0.001 | -0.004 | -0.010 |
| 44 | 68 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 84 | 31 | 0.031 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 69 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.031 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 45 | 69 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 31 | -0.011 | 0.013 | 0.001 | 0.000 | 0.000 | -0.004 |
|  | 70 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.011 | 0.013 | 0.001 | 0.000 | 0.000 | 0.006 |
| 46 | 70 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 86 | 32 | 0.054 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.054 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 45 | -0.038 | 0.000 | -0.007 | 0.000 | 0.003 | 0.000 | 87 | 32 | 0.106 | -0.024 | 0.028 | 0.001 | -0.005 | -0.001 |
|  | 60 | -0.038 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 |  | 18 | 0.106 | -0.024 | 0.028 | 0.001 | 0.006 | -0.010 |
| 48 | 34 | 0.018 | -0.010 | 0.023 | 0.001 | -0.004 | -0.001 | 88 | 33 | -0.078 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
|  | 7 | 0.018 | -0.010 | 0.023 | 0.001 | 0.004 | -0.005 |  | 46 | -0.078 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
| 49 | 60 | -0.078 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 89 | 33 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.078 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 36 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 35 | -0.007 | 0.006 | 0.002 | 0.000 | -0.001 | -0.001 | 90 | 46 | -0.025 | -0.012 | -0.002 | 0.000 | 0.001 | 0.006 |
|  | 36 | -0.007 | 0.006 | 0.002 | 0.000 | 0.000 | 0.003 |  | 47 | -0.025 | -0.012 | -0.002 | 0.000 | -0.001 | -0.003 |
| 51 | 59 | -0.058 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 | 91 | 46 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.058 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |  | 37 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 36 | -0.024 | 0.000 | 0.000 | 0.000 | 0.000 | 0.003 | 92 | 47 | 0.077 | -0.028 | 0.024 | 0.001 | -0.004 | 0.000 |
|  | 37 | -0.024 | 0.000 | 0.000 | 0.000 | 0.000 | 0.003 |  | 25 | 0.077 | -0.028 | 0.024 | 0.001 | 0.004 | -0.010 |
| 53 | 58 | -0.027 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 | 93 | 47 | -0.012 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 57 | -0.027 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |  | 38 | -0.012 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |
| 54 | 37 | -0.007 | -0.006 | -0.002 | 0.000 | 0.001 | 0.003 | 94 | 48 | -0.019 | -0.013 | 0.002 | 0.000 | -0.001 | 0.006 |
|  | 38 | -0.007 | -0.006 | -0.002 | 0.000 | -0.001 | -0.001 |  | 30 | -0.019 | -0.013 | 0.002 | 0.000 | 0.001 | -0.003 |
| 55 | 57 | 0.000 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 | 95 | 48 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 |  | 33 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 38 | 0.017 | -0.015 | 0.021 | 0.001 | -0.004 | 0.000 | 96 | 49 | -0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
|  | 9 | 0.017 | -0.015 | 0.021 | 0.001 | 0.004 | -0.005 |  | 48 | -0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
| 57 | 44 | -0.037 | 0.000 | 0.007 | 0.000 | -0.002 | 0.000 | 97 | 49 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.037 | 0.000 | 0.007 | 0.000 | 0.002 | 0.000 |  | 46 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 39 | 0.008 | 0.002 | 0.002 | 0.000 | -0.001 | -0.001 | 98 | 50 | -0.019 | 0.013 | -0.002 | 0.000 | 0.001 | -0.003 |
|  | 5 | 0.008 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 49 | -0.019 | 0.013 | -0.002 | 0.000 | -0.001 | 0.006 |
| 59 | 56 | -0.076 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 50 | 0.006 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 53 | -0.076 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.006 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 60 | 40 | 0.017 | -0.003 | -0.041 | -0.003 | 0.006 | -0.001 | 100 | 51 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 |
|  | 6 | 0.017 | -0.003 | -0.041 | -0.003 | -0.008 | -0.002 |  | 52 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
| 61 | 40 | 0.042 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 | 101 | 51 | 0.029 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.042 | 0.000 | 0.006 | 0.000 | 0.001 | 0.000 |  | 48 | 0.029 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 41 | -0.007 | 0.007 | -0.003 | 0.001 | 0.001 | -0.002 | 102 | 52 | -0.011 | -0.013 | -0.001 | 0.000 | 0.000 | 0.006 |
|  | 42 | -0.007 | 0.007 | -0.003 | 0.001 | 0.000 | 0.003 |  | 53 | -0.011 | -0.013 | -0.001 | 0.000 | 0.000 | -0.004 |
| 63 | 41 | 0.023 | 0.000 | -0.006 | 0.000 | 0.002 | 0.000 | 103 | 52 | 0.029 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.023 | 0.000 | -0.006 | 0.000 | -0.001 | 0.000 |  | 49 | 0.029 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 42 | -0.023 | 0.000 | 0.000 | 0.000 | 0.000 | 0.002 | 104 | 53 | 0.108 | -0.027 | 0.004 | 0.001 | -0.001 | -0.001 |
|  | 43 | -0.023 | 0.000 | 0.000 | 0.000 | 0.000 | 0.002 |  | 23 | 0.108 | -0.027 | 0.004 | 0.001 | 0.001 | -0.011 |
| 65 | 42 | 0.007 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 105 | 53 | 0.031 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 54 | 0.007 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 50 | 0.031 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 66 | 43 | -0.007 | -0.007 | 0.003 | -0.001 | 0.000 | 0.003 | 106 | 54 | -0.013 | -0.013 | 0.000 | 0.000 | 0.000 | 0.006 |
|  | 44 | -0.007 | -0.007 | 0.003 | -0.001 | 0.001 | -0.002 |  | 32 | -0.013 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |
| 67 | 43 | 0.007 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 107 | 54 | 0.036 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.007 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 51 | 0.036 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 44 | 0.017 | -0.009 | -0.039 | -0.002 | 0.006 | -0.002 | 108 | 55 | -0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 |
|  | 8 | 0.017 | -0.009 | -0.039 | -0.002 | -0.008 | -0.005 |  | 54 | -0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 |
| 69 | 44 | 0.023 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 | 109 | 55 | 0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.023 | 0.000 | 0.006 | 0.000 | 0.001 | 0.000 |  | 52 | 0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | 45 | 0.006 | 0.001 | -0.003 | 0.001 | 0.002 | -0.001 | 110 | 56 | -0.013 | 0.013 | 0.000 | 0.000 | 0.000 | -0.004 |
|  | 4 | 0.006 | 0.001 | -0.003 | 0.001 | -0.001 | 0.000 |  | 55 | -0.013 | 0.013 | 0.000 | 0.000 | 0.000 | 0.006 |
| 71 | 45 | 0.024 | 0.000 | -0.007 | 0.000 | 0.002 | 0.000 | 111 | 56 | 0.054 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.024 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 |  | 53 | 0.054 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 1 | 0.075 | -0.020 | 0.025 | 0.001 | -0.004 | -0.001 | 112 | 57 | -0.009 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 21 | 0.075 | -0.020 | 0.025 | 0.001 | 0.004 | -0.008 |  | 39 | -0.009 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 |
| 73 | 1 | -0.001 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 | 113 | 57 | 0.016 | 0.005 | 0.002 | 0.000 | -0.001 | -0.003 |
|  | 34 | -0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |  | 17 | 0.016 | 0.005 | 0.002 | 0.000 | 0.000 | 0.001 |
| 74 | 26 | 0.024 | 0.007 | -0.001 | 0.000 | 0.001 | -0.004 | 114 | 58 | 0.007 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 12 | 0.024 | 0.007 | -0.001 | 0.000 | 0.000 | 0.002 |  | 57 | 0.007 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 75 | 26 | 0.025 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 115 | 58 | 0.091 | -0.022 | -0.020 | -0.001 | 0.004 | -0.002 |
|  | 1 | 0.025 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |  | 24 | 0.091 | -0.022 | -0.020 | -0.001 | -0.004 | -0.009 |
| 76 | 27 | 0.109 | -0.023 | 0.003 | 0.001 | -0.001 | -0.002 | 116 | 59 | 0.031 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.109 | -0.023 | 0.003 | 0.001 | 0.000 | -0.010 |  | 58 | 0.031 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
| 77 | 27 | 0.057 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 117 | 59 | 0.027 | 0.009 | 0.001 | 0.000 | 0.000 | -0.004 |
|  | 26 | 0.057 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |  | 15 | 0.027 | 0.009 | 0.001 | 0.000 | 0.000 | 0.002 |
| 78 | 28 | 0.021 | 0.008 | 0.001 | 0.000 | 0.000 | -0.004 | 118 | 60 | 0.053 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 10 | 0.021 | 0.008 | 0.001 | 0.000 | 0.000 | 0.002 |  | 59 | 0.053 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 79 | 28 | 0.079 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 119 | 60 | 0.106 | -0.018 | 0.032 | 0.001 | -0.005 | -0.002 |
|  | 27 | 0.079 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 22 | 0.106 | -0.018 | 0.032 | 0.001 | 0.006 | -0.009 |
| 80 | 29 | -0.012 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 | 120 | 6 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.012 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |  | 67 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 8 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 63 | 0.227 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 15 | 0.036 | 0.002 | 0.000 | 0.001 | 0.000 | -0.004 |
| 122 | 53 | -0.056 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |  | 16 | 0.036 | 0.002 | 0.000 | 0.001 | 0.000 | -0.002 |
|  | 50 | -0.056 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 | 17 | 16 | 0.021 | 0.004 | 0.000 | 0.001 | 0.000 | -0.002 |
| 123 | 50 | -0.025 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |  | 17 | 0.021 | 0.004 | 0.000 | 0.001 | 0.000 | 0.000 |
|  | 47 | -0.025 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 | 18 | 17 | 0.007 | 0.002 | -0.001 | 0.001 | 0.000 | 0.000 |
| 124 | 47 | 0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 |  | 5 | 0.007 | 0.002 | -0.001 | 0.001 | 0.000 | 0.001 |
|  | 38 | 0.001 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 | 19 | 18 | 0.256 | 0.266 | 0.003 | -0.007 | -0.002 | -0.324 |
| 125 | 43 | -0.017 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 19 | 0.256 | 0.266 | 0.003 | -0.007 | 0.000 | -0.165 |
|  | 55 | -0.017 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 20 | 19 | 0.235 | 0.185 | 0.002 | -0.007 | 0.000 | -0.168 |
| 126 | 55 | -0.045 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.235 | 0.185 | 0.002 | -0.007 | 0.001 | -0.057 |
|  | 52 | -0.045 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 20 | 0.164 | 0.108 | 0.002 | -0.005 | 0.000 | -0.066 |
| 127 | 52 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.164 | 0.108 | 0.002 | -0.005 | 0.001 | -0.001 |
|  | 49 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 21 | 0.076 | 0.035 | -0.002 | -0.002 | 0.001 | -0.011 |
| 128 | 49 | -0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 7 | 0.076 | 0.035 | -0.002 | -0.002 | 0.000 | 0.010 |
|  | 46 | -0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 22 | 0.262 | 0.266 | -0.003 | 0.007 | 0.002 | -0.325 |
| 129 | 46 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 23 | 0.262 | 0.266 | -0.003 | 0.007 | 0.000 | -0.165 |
|  | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 23 | 0.242 | 0.185 | -0.001 | 0.006 | 0.000 | -0.168 |
| 130 | 42 | -0.017 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 24 | 0.242 | 0.185 | -0.001 | 0.006 | 0.000 | -0.057 |
|  | 54 | -0.017 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 25 | 24 | 0.168 | 0.108 | -0.002 | 0.005 | 0.000 | -0.066 |
| 131 | 54 | -0.045 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.168 | 0.108 | -0.002 | 0.005 | -0.001 | -0.001 |
|  | 51 | -0.045 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 25 | 0.077 | 0.035 | 0.003 | 0.002 | -0.001 | -0.011 |
| 132 | 51 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 9 | 0.077 | 0.035 | 0.003 | 0.002 | 0.000 | 0.010 |
|  | 48 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 13 | 0.027 | -0.008 | -0.002 | 0.000 | 0.001 | 0.002 |
| 133 | 48 | -0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.027 | -0.008 | -0.002 | 0.000 | -0.001 | -0.004 |
|  | 33 | -0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 21 | 0.129 | 0.046 | -0.040 | -0.002 | 0.007 | -0.017 |
| 134 | 33 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.129 | 0.046 | -0.040 | -0.002 | -0.007 | 0.000 |
|  | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 25 | 0.124 | 0.034 | -0.045 | -0.002 | 0.008 | -0.013 |
| 135 | 41 | -0.037 | 0.000 | -0.007 | 0.000 | 0.002 | 0.000 |  | 57 | 0.124 | 0.034 | -0.045 | -0.002 | -0.008 | -0.001 |
|  | 32 | -0.037 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 | 30 | 16 | 0.038 | -0.012 | 0.003 | 0.000 | -0.001 | 0.002 |
| 136 | 32 | -0.076 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.038 | -0.012 | 0.003 | 0.000 | 0.001 | -0.006 |
|  | 31 | -0.076 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 24 | 0.151 | 0.046 | 0.032 | 0.002 | -0.006 | -0.017 |
| 137 | 31 | -0.056 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |  | 50 | 0.151 | 0.046 | 0.032 | 0.002 | 0.006 | 0.000 |
|  | 30 | -0.056 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 | 32 | 20 | 0.153 | 0.037 | 0.032 | 0.002 | -0.006 | -0.016 |
| 138 | 30 | -0.025 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |  | 26 | 0.153 | 0.037 | 0.032 | 0.002 | 0.006 | -0.003 |
|  | 29 | -0.025 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 | 33 | 11 | 0.046 | -0.015 | -0.002 | 0.000 | 0.000 | 0.004 |
| 139 | 29 | 0.001 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 |  | 27 | 0.046 | -0.015 | -0.002 | 0.000 | -0.001 | -0.007 |
|  | 35 | 0.001 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 | 34 | 19 | 0.183 | 0.045 | -0.008 | -0.001 | 0.001 | -0.018 |
| 140 | 40 | -0.049 | 0.000 | 0.007 | 0.000 | -0.003 | 0.000 |  | 31 | 0.183 | 0.045 | -0.008 | -0.001 | -0.002 | -0.001 |
|  | 28 | -0.049 | 0.000 | 0.007 | 0.000 | 0.002 | 0.000 | 35 | 23 | 0.178 | 0.038 | -0.006 | -0.001 | 0.001 | -0.017 |
| 141 | 28 | -0.093 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 59 | 0.178 | 0.038 | -0.006 | -0.001 | -0.001 | -0.004 |
|  | 27 | -0.093 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 36 | 14 | 0.033 | -0.013 | -0.001 | 0.000 | 0.000 | 0.003 |
| 142 | 27 | -0.072 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |  | 60 | 0.033 | -0.013 | -0.001 | 0.000 | -0.001 | -0.006 |
|  | 26 | -0.072 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 | 37 | 22 | 0.176 | 0.040 | -0.047 | -0.002 | 0.009 | -0.017 |
| 143 | 26 | -0.036 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |  | 56 | 0.176 | 0.040 | -0.047 | -0.002 | -0.008 | -0.002 |
|  | 1 | -0.036 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 | 38 | 18 | 0.179 | 0.031 | -0.051 | -0.003 | 0.010 | -0.014 |
| 144 | 1 | -0.004 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 |  | 28 | 0.179 | 0.031 | -0.051 | -0.003 | -0.008 | -0.003 |
|  | 34 | -0.004 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 | 39 | 63 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 64 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 40 | 64 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  | 65 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment | 41 | 65 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 3 | 0.015 | -0.004 | -0.003 | 0.001 | 0.001 | 0.000 |  | 66 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 10 | 0.015 | -0.004 | -0.003 | 0.001 | -0.001 | -0.002 | 42 | 66 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 3 | 0.008 | -0.001 | 0.005 | -0.001 | -0.001 | -0.001 |  | 62 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.008 | -0.001 | 0.005 | -0.001 | 0.002 | -0.002 | 43 | 67 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 4 | 0.018 | -0.004 | 0.003 | -0.001 | -0.001 | 0.000 |  | 68 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.018 | -0.004 | 0.003 | -0.001 | 0.001 | -0.003 | 44 | 68 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 2 | 0.011 | -0.004 | -0.003 | 0.000 | 0.001 | 0.000 |  | 69 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.011 | -0.004 | -0.003 | 0.000 | -0.001 | -0.002 | 45 | 69 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 6 | 0.164 | 0.346 | 0.001 | -0.009 | -0.002 | -0.544 |  | 70 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.164 | 0.346 | 0.001 | -0.009 | -0.001 | -0.336 | 46 | 70 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 8 | 0.168 | 0.345 | -0.002 | 0.009 | 0.002 | -0.544 |  | 61 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.168 | 0.345 | -0.002 | 0.009 | 0.001 | -0.337 | 47 | 45 | -0.064 | 0.000 | -0.012 | 0.000 | 0.004 | 0.000 |
| 7 | 7 | 0.027 | 0.024 | -0.035 | -0.002 | 0.007 | -0.009 |  | 60 | -0.064 | 0.000 | -0.012 | 0.000 | -0.003 | 0.000 |
|  | 35 | 0.027 | 0.024 | -0.035 | -0.002 | -0.006 | 0.000 | 48 | 34 | 0.030 | -0.017 | 0.038 | 0.002 | -0.006 | -0.001 |
| 8 | 8 | 0.031 | 0.005 | 0.072 | 0.004 | -0.014 | -0.004 |  | 7 | 0.030 | -0.017 | 0.038 | 0.002 | 0.007 | -0.008 |
|  | 45 | 0.031 | 0.005 | 0.072 | 0.004 | 0.011 | -0.002 | 49 | 60 | -0.130 | 0.000 | -0.001 | 0.000 | 0.001 | 0.000 |
| 9 | 9 | 0.031 | 0.018 | -0.039 | -0.002 | 0.007 | -0.008 |  | 59 | -0.130 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.031 | 0.018 | -0.039 | -0.002 | -0.006 | -0.001 | 50 | 35 | -0.012 | 0.010 | 0.003 | -0.001 | -0.001 | -0.002 |
| 10 | 6 | 0.028 | 0.015 | 0.065 | 0.004 | -0.013 | -0.008 |  | 36 | -0.012 | 0.010 | 0.003 | -0.001 | 0.001 | 0.006 |
|  | 41 | 0.028 | 0.015 | 0.065 | 0.004 | 0.011 | -0.003 | 51 | 59 | -0.096 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 |
| 11 | 10 | 0.031 | -0.002 | -0.001 | 0.000 | 0.000 | -0.002 |  | 58 | -0.096 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 11 | 0.031 | -0.002 | -0.001 | 0.000 | 0.000 | -0.004 | 52 | 36 | -0.040 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
| 12 | 11 | 0.031 | 0.002 | 0.000 | -0.001 | 0.000 | -0.004 |  | 37 | -0.040 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |
|  | 12 | 0.031 | 0.002 | 0.000 | -0.001 | 0.000 | -0.002 | 53 | 58 | -0.045 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 |
| 13 | 12 | 0.017 | 0.004 | 0.000 | -0.001 | 0.000 | -0.002 |  | 57 | -0.045 | 0.000 | 0.006 | 0.000 | 0.002 | 0.000 |
|  | 13 | 0.017 | 0.004 | 0.000 | -0.001 | 0.000 | 0.000 | 54 | 37 | -0.012 | -0.010 | -0.003 | 0.001 | 0.001 | 0.006 |
| 14 | 13 | 0.006 | 0.002 | 0.001 | -0.001 | 0.000 | 0.000 |  | 38 | -0.012 | -0.010 | -0.003 | 0.001 | -0.001 | -0.002 |
|  | 2 | 0.006 | 0.002 | 0.001 | -0.001 | 0.000 | 0.001 | 55 | 57 | 0.001 | 0.000 | 0.008 | 0.000 | -0.002 | 0.000 |
| 15 | 14 | 0.037 | -0.002 | 0.001 | 0.000 | 0.000 | -0.003 |  | 39 | 0.001 | 0.000 | 0.008 | 0.000 | 0.003 | 0.000 |
|  | 15 | 0.037 | -0.002 | 0.001 | 0.000 | 0.000 | -0.004 |  |  |  |  |  |  |  |  |

Load case 5 (Linear): WIND PL (U)

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 56 | 38 | 0.028 | -0.024 | 0.035 | 0.002 | -0.006 | 0.000 | 96 | 49 | -0.124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |
|  | 9 | 0.028 | -0.024 | 0.035 | 0.002 | 0.007 | -0.009 |  | 48 | -0.124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |
| 57 | 44 | -0.062 | 0.000 | 0.011 | 0.000 | -0.004 | 0.000 | 97 | 49 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.062 | 0.000 | 0.011 | 0.000 | 0.003 | 0.000 |  | 46 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 39 | 0.013 | 0.004 | 0.003 | 0.000 | -0.002 | -0.002 | 98 | 50 | -0.032 | 0.021 | -0.003 | 0.000 | 0.001 | -0.005 |
|  | 5 | 0.013 | 0.004 | 0.003 | 0.000 | 0.001 | 0.000 |  | 49 | -0.032 | 0.021 | -0.003 | 0.000 | -0.001 | 0.010 |
| 59 | 56 | -0.127 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 | 99 | 50 | 0.010 | 0.000 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 53 | -0.127 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 47 | 0.010 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 60 | 40 | 0.029 | -0.005 | -0.069 | -0.005 | 0.011 | -0.002 | 100 | 51 | -0.113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.007 |
|  | 6 | 0.029 | -0.005 | -0.069 | -0.005 | -0.014 | -0.003 |  | 52 | -0.113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |
| 61 | 40 | 0.069 | 0.000 | 0.010 | 0.000 | -0.004 | 0.000 | 101 | 51 | 0.048 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.069 | 0.000 | 0.010 | 0.000 | 0.002 | 0.000 |  | 48 | 0.048 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 41 | -0.011 | 0.011 | -0.004 | 0.001 | 0.002 | -0.003 | 102 | 52 | -0.018 | -0.022 | -0.002 | 0.000 | 0.001 | 0.010 |
|  | 42 | -0.011 | 0.011 | -0.004 | 0.001 | -0.001 | 0.005 |  | 53 | -0.018 | -0.022 | -0.002 | 0.000 | -0.001 | -0.006 |
| 63 | 41 | 0.039 | 0.000 | -0.010 | 0.000 | 0.004 | 0.000 | 103 | 52 | 0.048 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.039 | 0.000 | -0.010 | 0.000 | -0.002 | 0.000 |  | 49 | 0.048 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 42 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 | 104 | 53 | 0.180 | -0.045 | 0.007 | 0.001 | -0.002 | -0.001 |
|  | 43 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 |  | 23 | 0.180 | -0.045 | 0.007 | 0.001 | 0.001 | -0.018 |
| 65 | 42 | 0.011 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 | 105 | 53 | 0.052 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 54 | 0.011 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  | 50 | 0.052 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |
| 66 | 43 | -0.011 | -0.011 | 0.004 | -0.001 | -0.001 | 0.005 | 106 | 54 | -0.021 | -0.022 | 0.000 | 0.000 | 0.000 | 0.009 |
|  | 44 | -0.011 | -0.011 | 0.004 | -0.001 | 0.002 | -0.003 |  | 32 | -0.021 | -0.022 | 0.000 | 0.000 | 0.000 | -0.006 |
| 67 | 43 | 0.011 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 | 107 | 54 | 0.061 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.011 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 51 | 0.061 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 68 | 44 | 0.029 | -0.015 | -0.065 | -0.004 | 0.011 | -0.003 | 108 | 55 | -0.111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.007 |
|  | 8 | 0.029 | -0.015 | -0.065 | -0.004 | -0.013 | -0.008 |  | 54 | -0.111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.007 |
| 69 | 44 | 0.039 | 0.000 | 0.010 | 0.000 | -0.004 | 0.000 | 109 | 55 | 0.061 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.039 | 0.000 | 0.010 | 0.000 | 0.002 | 0.000 |  | 52 | 0.061 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 70 | 45 | 0.010 | 0.002 | -0.005 | 0.001 | 0.003 | -0.002 | 110 | 56 | -0.021 | 0.022 | 0.000 | 0.000 | 0.000 | -0.006 |
|  | 4 | 0.010 | 0.002 | -0.005 | 0.001 | -0.001 | -0.001 |  | 55 | -0.021 | 0.022 | 0.000 | 0.000 | 0.000 | 0.009 |
| 71 | 45 | 0.041 | 0.000 | -0.011 | 0.000 | 0.004 | 0.000 | 111 | 56 | 0.090 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.041 | 0.000 | -0.011 | 0.000 | -0.003 | 0.000 |  | 53 | 0.090 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 72 | 1 | 0.124 | -0.034 | 0.042 | 0.002 | -0.007 | -0.001 | 112 | 57 | -0.014 | 0.000 | 0.008 | 0.000 | -0.002 | 0.000 |
|  | 21 | 0.124 | -0.034 | 0.042 | 0.002 | 0.007 | -0.013 |  | 39 | -0.014 | 0.000 | 0.008 | 0.000 | 0.003 | 0.000 |
| 73 | 1 | -0.001 | 0.000 | -0.007 | 0.000 | 0.002 | 0.000 | 113 | 57 | 0.026 | 0.008 | 0.003 | 0.000 | -0.001 | -0.004 |
|  | 34 | -0.001 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 |  | 17 | 0.026 | 0.008 | 0.003 | 0.000 | 0.001 | 0.002 |
| 74 | 26 | 0.039 | 0.012 | -0.002 | 0.000 | 0.001 | -0.006 | 114 | 58 | 0.012 | 0.000 | 0.005 | 0.000 | -0.002 | 0.000 |
|  | 12 | 0.039 | 0.012 | -0.002 | 0.000 | -0.001 | 0.003 |  | 57 | 0.012 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 |
| 75 | 26 | 0.041 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 115 | 58 | 0.151 | -0.037 | -0.034 | -0.002 | 0.006 | -0.003 |
|  | 1 | 0.041 | 0.000 | -0.005 | 0.000 | -0.001 | 0.000 |  | 24 | 0.151 | -0.037 | -0.034 | -0.002 | -0.006 | -0.016 |
| 76 | 27 | 0.181 | -0.038 | 0.005 | 0.001 | -0.001 | -0.004 | 116 | 59 | 0.051 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.181 | -0.038 | 0.005 | 0.001 | 0.001 | -0.017 |  | 58 | 0.051 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |
| 77 | 27 | 0.096 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 117 | 59 | 0.045 | 0.015 | 0.002 | 0.000 | -0.001 | -0.007 |
|  | 26 | 0.096 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |  | 15 | 0.045 | 0.015 | 0.002 | 0.000 | 0.000 | 0.003 |
| 78 | 28 | 0.035 | 0.013 | 0.001 | 0.000 | 0.000 | -0.006 | 118 | 60 | 0.089 | 0.000 | -0.001 | 0.000 | 0.001 | 0.000 |
|  | 10 | 0.035 | 0.013 | 0.001 | 0.000 | 0.000 | 0.003 |  | 59 | 0.089 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 79 | 28 | 0.132 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 | 119 | 60 | 0.177 | -0.031 | 0.053 | 0.002 | -0.009 | -0.003 |
|  | 27 | 0.132 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 22 | 0.177 | -0.031 | 0.053 | 0.002 | 0.010 | -0.014 |
| 80 | 29 | -0.020 | 0.000 | 0.007 | 0.000 | -0.002 | 0.000 | 120 | 6 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.020 | 0.000 | 0.007 | 0.000 | 0.002 | 0.000 |  | 67 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 81 | 29 | -0.041 | 0.021 | 0.003 | 0.000 | -0.001 | -0.005 | 121 | 8 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.041 | 0.021 | 0.003 | 0.000 | 0.001 | 0.010 |  | 63 | 0.379 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 82 | 30 | 0.009 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 | 122 | 53 | -0.093 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 29 | 0.009 | 0.000 | 0.006 | 0.000 | 0.002 | 0.000 |  | 50 | -0.093 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |
| 83 | 30 | 0.153 | -0.046 | -0.032 | -0.002 | 0.006 | 0.000 | 123 | 50 | -0.041 | 0.000 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 20 | 0.153 | -0.046 | -0.032 | -0.002 | -0.006 | -0.017 |  | 47 | -0.041 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 84 | 31 | 0.051 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 | 124 | 47 | 0.002 | 0.000 | -0.008 | 0.000 | 0.002 | 0.000 |
|  | 30 | 0.051 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |  | 38 | 0.002 | 0.000 | -0.008 | 0.000 | -0.003 | 0.000 |
| 85 | 31 | -0.018 | 0.022 | 0.002 | 0.000 | -0.001 | -0.006 | 125 | 43 | -0.028 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.018 | 0.022 | 0.002 | 0.000 | 0.001 | 0.010 |  | 55 | -0.028 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 86 | 32 | 0.090 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 126 | 55 | -0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.090 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 52 | -0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 87 | 32 | 0.177 | -0.040 | 0.047 | 0.002 | -0.008 | -0.002 | 127 | 52 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.177 | -0.040 | 0.047 | 0.002 | 0.009 | -0.017 |  | 49 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | -0.129 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 | 128 | 49 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.129 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |  | 46 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 89 | 33 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 129 | 46 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 90 | 46 | -0.041 | -0.021 | -0.003 | 0.000 | 0.001 | 0.010 | 130 | 42 | -0.028 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.041 | -0.021 | -0.003 | 0.000 | -0.001 | -0.005 |  | 54 | -0.028 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 91 | 46 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 131 | 54 | -0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 92 | 47 | 0.128 | -0.046 | 0.040 | 0.002 | -0.007 | 0.000 | 132 | 51 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.128 | -0.046 | 0.040 | 0.002 | 0.007 | -0.017 |  | 48 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | -0.020 | 0.000 | -0.007 | 0.000 | 0.002 | 0.000 | 133 | 48 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.020 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 |  | 33 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 94 | 48 | -0.032 | -0.022 | 0.003 | 0.000 | -0.001 | 0.010 | 134 | 33 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | -0.032 | -0.022 | 0.003 | 0.000 | 0.001 | -0.005 |  | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 95 | 48 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 135 | 41 | -0.062 | 0.000 | -0.011 | 0.000 | 0.004 | 0.000 |
|  | 33 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | -0.062 | 0.000 | -0.011 | 0.000 | -0.003 | 0.000 |

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

136	32	-0.127	0.000	-0.001	0.000	0.001	0.000

31	-0.127	0.000	-0.001	0.000	0.000	0.000

137	31	-0.093	0.000	0.004	0.000	-0.001	0.000

30	-0.093	0.000	0.004	0.000	0.001	0.000

138	30	-0.042	0.000	0.006	0.000	-0.002	0.000

29	-0.042	0.000	0.006	0.000	0.002	0.000

139	29	0.001	0.000	0.008	0.000	-0.002	0.000

35	0.001	0.000	0.008	0.000	0.003	0.000

140	40	-0.082	0.000	0.012	0.000	-0.004	0.000

28	-0.082	0.000	0.012	0.000	0.003	0.000

141	28	-0.154	0.000	0.001	0.000	-0.001	0.000

27	-0.154	0.000	0.001	0.000	0.000	0.000

142	27	-0.121	0.000	-0.004	0.000	0.001	0.000

26	-0.121	0.000	-0.004	0.000	-0.001	0.000

143	26	-0.061	0.000	-0.006	0.000	0.002	0.000

1	-0.061	0.000	-0.006	0.000	-0.002	0.000

144	1	-0.007	0.000	-0.008	0.000	0.002	0.000

34	-0.007	0.000	-0.008	0.000	-0.003	0.000

Load case 6 (Linear): IMPOSED P/ LOAD

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

1	3	0.017	-0.021	-0.004	0.000	0.002	0.003

10	0.017	-0.021	-0.004	0.000	-0.001	-0.010

2	3	-0.066	0.020	0.016	0.003	-0.002	-0.002

40	-0.066	0.020	0.016	0.003	0.009	0.013

3	4	0.028	-0.021	0.006	0.000	-0.002	0.002

14	0.028	-0.021	0.006	0.000	0.001	-0.010

4	2	0.096	0.001	-0.018	0.008	0.004	-0.007

34	0.096	0.001	-0.018	0.008	-0.009	-0.006

5	6	0.577	0.526	0.023	-0.179	-0.041	-1.433

18	0.577	0.526	0.023	-0.179	-0.027	-1.117

6	8	0.594	0.525	-0.027	0.179	0.042	-1.433

22	0.594	0.525	-0.027	0.179	0.026	-1.119

7	7	0.402	0.475	-0.204	0.003	0.041	-0.243

35	0.402	0.475	-0.204	0.003	-0.034	-0.068

8	8	-0.182	-0.049	0.304	0.007	-0.059	0.024

45	-0.182	-0.049	0.304	0.007	0.048	0.007

9	9	0.292	0.014	-0.145	-0.013	0.025	-0.005

39	0.292	0.014	-0.145	-0.013	-0.026	0.000

10	6	-0.214	-0.026	0.240	0.012	-0.048	0.007

41	-0.214	-0.026	0.240	0.012	0.040	-0.003

11	10	0.077	-0.024	0.002	-0.004	-0.001	-0.003

11	0.077	-0.024	0.002	-0.004	0.001	-0.018

12	11	0.115	-0.013	0.004	-0.008	-0.001	-0.010

12	0.115	-0.013	0.004	-0.008	0.001	-0.017

13	12	0.137	-0.007	0.003	-0.009	-0.001	-0.009

13	0.137	-0.007	0.003	-0.009	0.001	-0.013

14	13	0.098	-0.001	0.013	-0.009	-0.003	-0.005

2	0.098	-0.001	0.013	-0.009	0.004	-0.006

15	14	0.102	-0.023	-0.002	0.004	0.001	-0.004

15	0.102	-0.023	-0.002	0.004	0.000	-0.018

16	15	0.141	-0.013	-0.005	0.008	0.001	-0.010

16	0.141	-0.013	-0.005	0.008	-0.002	-0.018

17	16	0.156	-0.008	-0.004	0.009	0.001	-0.009

17	0.156	-0.008	-0.004	0.009	-0.001	-0.013

18	17	0.106	-0.001	-0.014	0.009	0.004	-0.005

5	0.106	-0.001	-0.014	0.009	-0.005	-0.006

19	18	1.013	0.522	0.101	-0.166	-0.046	-1.069

19	1.013	0.522	0.101	-0.166	0.014	-0.756

20	19	1.035	0.506	0.040	-0.188	-0.012	-0.761

20	1.035	0.506	0.040	-0.188	0.011	-0.458

21	20	0.781	0.496	0.023	-0.217	-0.015	-0.492

21	0.781	0.496	0.023	-0.217	-0.001	-0.194

22	21	0.379	0.455	0.119	-0.227	-0.034	-0.237

7	0.379	0.455	0.119	-0.227	0.037	0.036

23	22	1.043	0.521	-0.102	0.166	0.047	-1.072

23	1.043	0.521	-0.102	0.166	-0.015	-0.759

24	23	1.067	0.505	-0.039	0.188	0.012	-0.764

24	1.067	0.505	-0.039	0.188	-0.011	-0.461

25	24	0.806	0.497	-0.021	0.216	0.014	-0.494

25	0.806	0.497	-0.021	0.216	0.002	-0.195

26	25	0.391	0.456	-0.114	0.227	0.033	-0.238

9	0.391	0.456	-0.114	0.227	-0.036	0.036

27	13	0.025	-0.005	-0.014	0.008	0.005	0.000

1	0.025	-0.005	-0.014	0.008	-0.006	-0.004

28	21	0.050	0.058	-0.260	0.001	0.055	0.009

29	0.050	0.058	-0.260	0.001	-0.040	0.030

29	25	0.139	0.019	-0.150	-0.013	0.024	-0.006

57	0.139	0.019	-0.150	-0.013	-0.029	0.001

30	16	0.069	-0.005	0.010	-0.008	-0.004	0.002

58	0.069	-0.005	0.010	-0.008	0.004	-0.001

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

31	24	0.003	0.019	0.182	0.002	-0.039	0.018

50	0.003	0.019	0.182	0.002	0.028	0.025

32	20	-0.003	0.013	0.070	0.013	-0.010	-0.007

26	-0.003	0.013	0.070	0.013	0.015	-0.002

33	11	0.047	-0.010	-0.006	0.007	0.002	0.006

27	0.047	-0.010	-0.006	0.007	-0.002	-0.002

34	19	0.115	0.008	-0.047	0.001	0.012	0.010

31	0.115	0.008	-0.047	0.001	-0.005	0.013

35	23	0.041	0.005	0.071	-0.007	-0.016	-0.004

59	0.041	0.005	0.071	-0.007	0.009	-0.003

36	14	-0.030	0.002	-0.005	-0.004	0.000	0.003

60	-0.030	0.002	-0.005	-0.004	-0.003	0.005

37	22	0.011	-0.009	-0.174	-0.010	0.032	0.003

56	0.011	-0.009	-0.174	-0.010	-0.032	0.000

38	18	0.095	-0.024	-0.262	-0.006	0.049	0.012

28	0.095	-0.024	-0.262	-0.006	-0.043	0.004

39	63	0.500	0.003	0.001	0.000	0.000	-0.002

64	0.500	0.003	0.001	0.000	0.000	-0.001

40	64	0.500	0.003	0.001	0.000	0.000	-0.001

65	0.500	0.003	0.001	0.000	0.000	0.000

41	65	0.500	0.003	0.001	0.000	0.000	0.000

66	0.500	0.003	0.001	0.000	0.000	0.001

42	66	0.500	0.003	0.001	0.000	0.000	0.001

62	0.500	0.003	0.001	0.000	0.001	0.003

43	67	0.500	-0.003	-0.001	0.000	0.000	0.002

68	0.500	-0.003	-0.001	0.000	0.000	0.001

44	68	0.500	-0.003	-0.001	0.000	0.000	0.001

69	0.500	-0.003	-0.001	0.000	0.000	0.000

45	69	0.500	-0.003	-0.001	0.000	0.000	0.000

70	0.500	-0.003	-0.001	0.000	0.000	-0.001

46	70	0.500	-0.003	-0.001	0.000	0.000	-0.001

61	0.500	-0.003	-0.001	0.000	-0.001	-0.003

47	45	-0.364	-0.001	-0.055	0.000	0.019	0.000

60	-0.364	-0.001	-0.055	0.000	-0.014	0.000

48	34	0.283	-0.012	0.134	0.014	-0.024	0.000

7	0.283	-0.012	0.134	0.014	0.023	-0.004

49	60	-0.668	0.000	-0.017	0.000	0.006	0.000

59	-0.668	0.000	-0.017	0.000	-0.004	0.000

50	35	-0.827	0.461	0.047	0.008	-0.017	-0.103

36	-0.827	0.461	0.047	0.008	0.017	0.229

51	59	-0.662	0.000	0.004	0.000	0.000	0.000

58	-0.662	0.000	0.004	0.000	0.002	0.000

52	36	-1.935	0.000	0.000	0.000	0.007	0.201

37	-1.935	0.000	0.000	0.000	0.007	0.201

53	58	-0.542	0.000	0.020	0.000	-0.006	0.000

57	-0.542	0.000	0.020	0.000	0.007	0.000

54	37	-0.829	-0.461	-0.047	-0.008	0.017	0.229

38	-0.829	-0.461	-0.047	-0.008	-0.017	-0.103

55	57	-0.140	0.000	0.031	0.000	-0.008	0.000

39	-0.140	0.000	0.031	0.000	0.011	0.000

56	38	0.406	-0.475	0.205	-0.003	-0.034	-0.068

9	0.406	-0.475	0.205	-0.003	0.041	-0.243

57	44	-0.361	-0.001	0.042	0.000	-0.015	0.000

56	-0.361	-0.001	0.042	0.000	0.010	0.000

58	39	0.105	0.000	0.019	-0.008	-0.009	-0.007

5	0.105	0.000	0.019	-0.008	0.005	-0.007

59	56	-0.685	0.000	0.008	0.000	-0.004	0.000

53	-0.685	0.000	0.008	0.000	0.001	0.000

60	40	-0.194	0.049	-0.289	-0.010	0.046	0.008

6	-0.194	0.049	-0.289	-0.010	-0.056	0.025

61	40	0.235	-0.001	0.054	0.000	-0.019	0.000

28	0.235	-0.001	0.054	0.000	0.014	0.000

62	41	-0.188	-0.001	-0.023	0.003	0.011	0.000

42	-0.188	-0.001	-0.023	0.003	-0.006	0.000

63	41	0.161	-0.001	-0.040	0.000	0.014	0.000

32	0.161	-0.001	-0.040	0.000	-0.010	0.000

64	42	-0.235	0.000	0.000	0.000	-0.001	-0.002

43	-0.235	0.000	0.000	0.000	-0.001	-0.002

65	42	0.312	-0.001	0.007	0.000	-0.003	0.000

54	0.312	-0.001	0.007	0.000	0.002	0.000

66	43	-0.188	0.000	0.023	-0.003	-0.006	0.000

44	-0.188	0.000	0.023	-0.003	0.011	0.000

67	43	0.312	-0.001	-0.007	0.000	0.003	0.000

55	0.312	-0.001	-0.007	0.000	-0.002	0.000

68	44	-0.206	0.026	-0.242	-0.012	0.040	-0.003

8	-0.206	0.026	-0.242	-0.012	-0.049	0.007

69	44	0.163	-0.001	0.040	0.000	-0.014	0.000

56	0.163	-0.001	0.040	0.000	0.010	0.000

70	45	-0.056	-0.019	-0.018	-0.002	0.010	0.013

4	-0.056	-0.019	-0.018	-0.002	-0.003	-0.001

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 71 | 45 | 0.100 | -0.001 | -0.056 | 0.000 | 0.019 | 0.000 | 111 | 56 | 0.308 | 0.000 | 0.004 | 0.000 | -0.003 | 0.000 |
|  | 60 | 0.100 | -0.001 | -0.056 | 0.000 | -0.014 | 0.000 |  | 53 | 0.308 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
| 72 | 1 | 0.145 | -0.018 | 0.137 | 0.014 | -0.027 | 0.001 | 112 | 57 | 0.025 | 0.000 | 0.023 | 0.000 | -0.005 | 0.000 |
|  | 21 | 0.145 | -0.018 | 0.137 | 0.014 | 0.022 | -0.006 |  | 39 | 0.025 | 0.000 | 0.023 | 0.000 | 0.008 | 0.000 |
| 73 | 1 | 0.110 | 0.000 | -0.018 | 0.000 | 0.004 | 0.000 | 113 | 57 | 0.020 | 0.005 | 0.015 | -0.009 | -0.006 | -0.004 |
|  | 34 | 0.110 | 0.000 | -0.018 | 0.000 | -0.007 | 0.000 |  | 17 | 0.020 | 0.005 | 0.015 | -0.009 | 0.005 | 0.000 |
| 74 | 26 | 0.078 | 0.005 | -0.010 | 0.008 | 0.004 | -0.001 | 114 | 58 | 0.012 | 0.000 | 0.012 | 0.000 | -0.003 | 0.000 |
|  | 12 | 0.078 | 0.005 | -0.010 | 0.008 | -0.003 | 0.003 |  | 57 | 0.012 | 0.000 | 0.012 | 0.000 | 0.004 | 0.000 |
| 75 | 26 | 0.217 | 0.000 | -0.008 | 0.000 | 0.002 | 0.000 | 115 | 58 | -0.015 | -0.013 | -0.077 | -0.012 | 0.016 | -0.002 |
|  | 1 | 0.217 | 0.000 | -0.008 | 0.000 | -0.003 | 0.000 |  | 24 | -0.015 | -0.013 | -0.077 | -0.012 | -0.011 | -0.007 |
| 76 | 27 | 0.054 | -0.006 | -0.071 | 0.007 | 0.009 | -0.003 | 116 | 59 | 0.108 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 |
|  | 19 | 0.054 | -0.006 | -0.071 | 0.007 | -0.016 | -0.005 |  | 58 | 0.108 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
| 77 | 27 | 0.360 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 | 117 | 59 | 0.037 | 0.010 | 0.005 | -0.007 | -0.001 | -0.002 |
|  | 26 | 0.360 | 0.000 | 0.006 | 0.000 | 0.001 | 0.000 |  | 15 | 0.037 | 0.010 | 0.005 | -0.007 | 0.002 | 0.005 |
| 78 | 28 | -0.022 | -0.002 | 0.003 | 0.005 | -0.002 | 0.005 | 118 | 60 | 0.212 | 0.000 | -0.021 | 0.000 | 0.007 | 0.000 |
|  | 10 | -0.022 | -0.002 | 0.003 | 0.005 | 0.000 | 0.004 |  | 59 | 0.212 | 0.000 | -0.021 | 0.000 | -0.005 | 0.000 |
| 79 | 28 | 0.434 | -0.001 | 0.022 | 0.000 | -0.008 | 0.000 | 119 | 60 | 0.085 | 0.026 | 0.273 | 0.004 | -0.045 | 0.004 |
|  | 27 | 0.434 | -0.001 | 0.022 | 0.000 | 0.006 | 0.000 |  | 22 | 0.085 | 0.026 | 0.273 | 0.004 | 0.052 | 0.013 |
| 80 | 29 | 0.048 | 0.004 | 0.060 | -0.001 | -0.015 | -0.001 | 120 | 6 | 0.500 | -0.003 | -0.001 | 0.000 | 0.001 | 0.004 |
|  | 35 | 0.048 | 0.004 | 0.060 | -0.001 | 0.021 | 0.001 |  | 67 | 0.500 | -0.003 | -0.001 | 0.000 | 0.000 | 0.002 |
| 81 | 29 | -0.194 | 0.029 | 0.007 | 0.005 | -0.002 | 0.022 | 121 | 8 | 0.500 | 0.003 | 0.001 | 0.000 | -0.001 | -0.004 |
|  | 33 | -0.194 | 0.029 | 0.007 | 0.005 | 0.003 | 0.043 |  | 63 | 0.500 | 0.003 | 0.001 | 0.000 | 0.000 | -0.002 |
| 82 | 30 | 0.115 | 0.001 | 0.036 | 0.000 | -0.010 | 0.000 | 122 | 53 | -0.695 | 0.001 | -0.015 | 0.000 | 0.003 | 0.000 |
|  | 29 | 0.115 | 0.001 | 0.036 | 0.000 | 0.012 | 0.000 |  | 50 | -0.695 | 0.001 | -0.015 | 0.000 | -0.005 | 0.000 |
| 83 | 30 | 0.013 | -0.019 | -0.182 | -0.002 | 0.028 | 0.025 | 123 | 50 | -0.633 | 0.001 | -0.028 | 0.000 | 0.007 | 0.000 |
|  | 20 | 0.013 | -0.019 | -0.182 | -0.002 | -0.039 | 0.018 |  | 47 | -0.633 | 0.001 | -0.028 | 0.000 | -0.009 | 0.000 |
| 84 | 31 | 0.211 | 0.001 | 0.020 | 0.000 | -0.005 | 0.000 | 124 | 47 | -0.300 | 0.004 | -0.020 | 0.001 | 0.003 | -0.001 |
|  | 30 | 0.211 | 0.001 | 0.020 | 0.000 | 0.007 | 0.000 |  | 38 | -0.300 | 0.004 | -0.020 | 0.001 | -0.009 | 0.001 |
| 85 | 31 | -0.038 | 0.003 | -0.005 | 0.002 | 0.002 | 0.009 | 125 | 43 | -0.172 | -0.001 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 51 | -0.038 | 0.003 | -0.005 | 0.002 | -0.002 | 0.011 |  | 55 | -0.172 | -0.001 | -0.006 | 0.000 | -0.001 | 0.000 |
| 86 | 32 | 0.304 | 0.000 | -0.004 | 0.000 | 0.003 | 0.000 | 126 | 55 | -0.313 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.304 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |  | 52 | -0.313 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 87 | 32 | 0.017 | 0.009 | 0.173 | 0.010 | -0.032 | 0.000 | 127 | 52 | -0.331 | 0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 18 | 0.017 | 0.009 | 0.173 | 0.010 | 0.032 | 0.003 |  | 49 | -0.331 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | -0.362 | 0.000 | 0.000 | 0.000 | 0.001 | 0.039 | 128 | 49 | -0.346 | 0.002 | -0.003 | 0.000 | 0.000 | -0.001 |
|  | 46 | -0.362 | 0.000 | 0.000 | 0.000 | 0.001 | 0.040 |  | 46 | -0.346 | 0.002 | -0.003 | 0.000 | -0.002 | 0.001 |
| 89 | 33 | 0.240 | 0.016 | 0.010 | -0.001 | -0.002 | -0.005 | 129 | 46 | -0.482 | 0.016 | 0.019 | 0.001 | -0.007 | -0.005 |
|  | 36 | 0.240 | 0.016 | 0.010 | -0.001 | 0.004 | 0.005 |  | 37 | -0.482 | 0.016 | 0.019 | 0.001 | 0.005 | 0.005 |
| 90 | 46 | -0.194 | -0.029 | -0.007 | -0.005 | 0.003 | 0.043 | 130 | 42 | -0.172 | -0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 47 | -0.194 | -0.029 | -0.007 | -0.005 | -0.002 | 0.022 |  | 54 | -0.172 | -0.001 | 0.006 | 0.000 | 0.001 | 0.000 |
| 91 | 46 | 0.240 | 0.016 | -0.010 | 0.001 | 0.002 | -0.005 | 131 | 54 | -0.313 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.240 | 0.016 | -0.010 | 0.001 | -0.004 | 0.005 |  | 51 | -0.313 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 92 | 47 | 0.046 | -0.057 | 0.260 | -0.001 | -0.040 | 0.030 | 132 | 51 | -0.331 | 0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 25 | 0.046 | -0.057 | 0.260 | -0.001 | 0.055 | 0.009 |  | 48 | -0.331 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | 0.050 | 0.004 | -0.060 | 0.001 | 0.015 | -0.001 | 133 | 48 | -0.346 | 0.002 | 0.003 | 0.000 | 0.000 | -0.001 |
|  | 38 | 0.050 | 0.004 | -0.060 | 0.001 | -0.021 | 0.001 |  | 33 | -0.346 | 0.002 | 0.003 | 0.000 | 0.002 | 0.001 |
| 94 | 48 | -0.158 | -0.002 | -0.002 | 0.003 | 0.001 | 0.020 | 134 | 33 | -0.482 | 0.016 | -0.019 | -0.001 | 0.007 | -0.005 |
|  | 30 | -0.158 | -0.002 | -0.002 | 0.003 | -0.001 | 0.019 |  | 36 | -0.482 | 0.016 | -0.019 | -0.001 | -0.005 | 0.005 |
| 95 | 48 | 0.686 | 0.002 | 0.007 | 0.000 | -0.001 | -0.001 | 135 | 41 | -0.361 | -0.001 | -0.042 | 0.000 | 0.015 | 0.000 |
|  | 33 | 0.686 | 0.002 | 0.007 | 0.000 | 0.003 | 0.001 |  | 32 | -0.361 | -0.001 | -0.042 | 0.000 | -0.010 | 0.000 |
| 96 | 49 | -0.187 | 0.000 | 0.000 | 0.000 | -0.001 | 0.020 | 136 | 32 | -0.689 | 0.000 | -0.008 | 0.000 | 0.004 | 0.000 |
|  | 48 | -0.187 | 0.000 | 0.000 | 0.000 | -0.001 | 0.020 |  | 31 | -0.689 | 0.000 | -0.008 | 0.000 | -0.001 | 0.000 |
| 97 | 49 | 0.686 | 0.002 | -0.007 | 0.000 | 0.001 | -0.001 | 137 | 31 | -0.700 | 0.001 | 0.015 | 0.000 | -0.004 | 0.000 |
|  | 46 | 0.686 | 0.002 | -0.007 | 0.000 | -0.003 | 0.001 |  | 30 | -0.700 | 0.001 | 0.015 | 0.000 | 0.005 | 0.000 |
| 98 | 50 | -0.159 | 0.002 | 0.002 | -0.003 | -0.001 | 0.019 | 138 | 30 | -0.637 | 0.001 | 0.028 | 0.000 | -0.007 | 0.000 |
|  | 49 | -0.159 | 0.002 | 0.002 | -0.003 | 0.001 | 0.020 |  | 29 | -0.637 | 0.001 | 0.028 | 0.000 | 0.009 | 0.000 |
| 99 | 50 | 0.120 | 0.001 | -0.036 | 0.000 | 0.010 | 0.000 | 139 | 29 | -0.301 | 0.004 | 0.019 | -0.001 | -0.003 | -0.001 |
|  | 47 | 0.120 | 0.001 | -0.036 | 0.000 | -0.012 | 0.000 |  | 35 | -0.301 | 0.004 | 0.019 | -0.001 | 0.009 | 0.001 |
| 100 | 51 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.010 | 140 | 40 | -0.449 | -0.001 | 0.053 | 0.000 | -0.018 | 0.000 |
|  | 52 | -0.068 | 0.000 | 0.000 | 0.000 | 0.000 | 0.011 |  | 28 | -0.449 | -0.001 | 0.053 | 0.000 | 0.013 | 0.000 |
| 101 | 51 | 0.655 | 0.001 | 0.002 | 0.000 | -0.001 | -0.001 | 141 | 28 | -0.793 | -0.001 | 0.016 | 0.000 | -0.006 | 0.000 |
|  | 48 | 0.655 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 27 | -0.793 | -0.001 | 0.016 | 0.000 | 0.004 | 0.000 |
| 102 | 52 | -0.040 | -0.003 | 0.005 | -0.002 | -0.002 | 0.011 | 142 | 27 | -0.803 | 0.000 | -0.006 | 0.000 | 0.001 | 0.000 |
|  | 53 | -0.040 | -0.003 | 0.005 | -0.002 | 0.002 | 0.010 |  | 26 | -0.803 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 103 | 52 | 0.656 | 0.001 | -0.002 | 0.000 | 0.001 | -0.001 | 143 | 26 | -0.658 | 0.000 | -0.022 | 0.000 | 0.006 | 0.000 |
|  | 49 | 0.656 | 0.001 | -0.002 | 0.000 | 0.000 | 0.000 |  | 1 | -0.658 | 0.000 | -0.022 | 0.000 | -0.007 | 0.000 |
| 104 | 53 | 0.105 | -0.008 | 0.046 | -0.001 | -0.005 | 0.013 | 144 | 1 | -0.188 | 0.000 | -0.031 | 0.000 | 0.008 | 0.000 |
|  | 23 | 0.105 | -0.008 | 0.046 | -0.001 | 0.012 | 0.010 |  | 34 | -0.188 | 0.000 | -0.031 | 0.000 | -0.011 | 0.000 |
| 105 | 53 | 0.217 | 0.001 | -0.020 | 0.000 | 0.005 | 0.000 | Load case 7 (Linear): WIND COLS MINOR (S) |  |  |  |  |  |  |  |
|  | 50 | 0.217 | 0.001 | -0.020 | 0.000 | -0.007 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | -0.048 | -0.005 | -0.013 | 0.003 | 0.004 | 0.004 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | -0.048 | -0.005 | -0.013 | 0.003 | -0.006 | 0.001 | 1 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 107 | 54 | 0.572 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.572 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 | 2 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 108 | 55 | -0.052 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.052 | 0.000 | 0.000 | 0.000 | 0.000 | 0.004 | 3 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 109 | 55 | 0.572 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.572 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 | 4 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 110 | 56 | -0.049 | 0.005 | 0.013 | -0.003 | -0.006 | 0.001 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.049 | 0.005 | 0.013 | -0.003 | 0.004 | 0.004 | 5 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 46 | 70 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | -0.003 |
| 6 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 | -0.008 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 63 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.004 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.003 | 80 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 64 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.003 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 65 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | -0.003 | 82 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 66 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | -0.003 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 | -0.008 | 83 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 67 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.004 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.003 | 84 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 68 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.003 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 69 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | -0.003 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 86 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 126 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 87 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 127 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 128 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 89 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 129 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 90 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 130 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 91 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 131 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 92 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 132 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 133 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 94 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 134 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 95 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 135 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 96 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 136 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 97 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 137 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 98 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 138 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 99 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 139 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 100 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 140 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 101 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 141 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 102 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 142 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 103 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 143 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 104 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 144 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 105 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 8 (Linear): WIND COLS MINOR (U) |  |  |  |  |  |  |  |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 107 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 108 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 109 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 110 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 111 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 112 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 113 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 114 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 115 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 116 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 117 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 118 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 119 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 120 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.004 | 15 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 121 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.005 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.004 | 16 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 123 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 124 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 125 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 61 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 63 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.007 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.005 | 80 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 64 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.005 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 | 0.001 | 81 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 65 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 | 0.001 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | -0.015 | 0.000 | 0.000 | 0.000 | -0.005 | 82 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 66 | 0.000 | -0.015 | 0.000 | 0.000 | 0.000 | -0.005 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | -0.018 | 0.000 | 0.000 | 0.000 | -0.013 | 83 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 67 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.007 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.005 | 84 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 68 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 0.005 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 | 0.001 | 85 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 69 | 0.000 | -0.011 | 0.000 | 0.000 | 0.000 | 0.001 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | -0.015 | 0.000 | 0.000 | 0.000 | -0.005 | 86 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 70 | 0.000 | -0.015 | 0.000 | 0.000 | 0.000 | -0.005 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | -0.018 | 0.000 | 0.000 | 0.000 | -0.013 | 87 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 90 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 91 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 92 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 94 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 95 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 100 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 101 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 141 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 102 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 142 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 103 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 143 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 104 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 144 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 105 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 10 (Linear): COMB 1 (1) |  |  |  |  |  |  |  |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 3 | 0.024 | -0.004 | -0.003 | 0.002 | 0.001 | 0.000 |
| 107 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.023 | -0.008 | -0.003 | 0.002 | -0.001 | -0.004 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 3 | 0.012 | 0.001 | 0.006 | -0.001 | -0.001 | -0.001 |
| 108 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.012 | -0.004 | 0.006 | -0.001 | 0.003 | -0.002 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 4 | 0.027 | -0.004 | 0.004 | -0.002 | -0.001 | 0.000 |
| 109 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.027 | -0.008 | 0.004 | -0.002 | 0.001 | -0.004 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 2 | 0.016 | -0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
| 110 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.016 | -0.006 | -0.004 | 0.000 | -0.002 | -0.003 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 6 | 0.215 | 0.466 | -0.003 | -0.005 | 0.001 | -0.693 |
| 111 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.211 | 0.420 | -0.003 | -0.005 | -0.001 | -0.427 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 8 | 0.220 | 0.465 | 0.002 | 0.005 | 0.000 | -0.694 |
| 112 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.216 | 0.419 | 0.002 | 0.005 | 0.001 | -0.428 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 7 | 0.033 | 0.030 | -0.045 | -0.002 | 0.009 | -0.011 |
| 113 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.033 | 0.027 | -0.045 | -0.002 | -0.008 | -0.001 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 8 | 0.034 | 0.005 | 0.094 | 0.005 | -0.018 | -0.004 |
| 114 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.034 | 0.003 | 0.094 | 0.005 | 0.015 | -0.003 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 9 | 0.037 | 0.022 | -0.051 | -0.002 | 0.010 | -0.009 |
| 115 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.037 | 0.019 | -0.051 | -0.002 | -0.008 | -0.002 |
|  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 6 | 0.034 | 0.018 | 0.084 | 0.005 | -0.017 | -0.010 |
| 116 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.034 | 0.015 | 0.084 | 0.005 | 0.014 | -0.004 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 10 | 0.046 | 0.000 | -0.001 | 0.000 | 0.000 | -0.004 |
| 117 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.046 | -0.004 | -0.001 | 0.000 | 0.000 | -0.005 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 11 | 0.045 | 0.005 | 0.000 | -0.001 | 0.000 | -0.005 |
| 118 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.045 | 0.001 | 0.000 | -0.001 | 0.000 | -0.003 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 12 | 0.028 | 0.007 | 0.000 | -0.001 | 0.000 | -0.004 |
| 119 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.028 | 0.003 | 0.000 | -0.001 | 0.000 | -0.001 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 13 | 0.011 | 0.005 | 0.001 | -0.001 | 0.000 | -0.001 |
| 120 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |  | 2 | 0.011 | 0.001 | 0.001 | -0.001 | 0.001 | 0.000 |
|  | 67 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.007 | 15 | 14 | 0.053 | 0.000 | 0.001 | 0.000 | 0.000 | -0.004 |
| 121 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |  | 15 | 0.053 | -0.004 | 0.001 | 0.000 | 0.000 | -0.005 |
|  | 63 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 0.007 | 16 | 15 | 0.052 | 0.005 | 0.000 | 0.001 | 0.000 | -0.005 |
| 122 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.052 | 0.001 | 0.000 | 0.001 | 0.000 | -0.003 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 16 | 0.033 | 0.007 | 0.000 | 0.001 | 0.000 | -0.004 |
| 123 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.032 | 0.003 | 0.000 | 0.001 | 0.000 | -0.001 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 17 | 0.012 | 0.004 | -0.002 | 0.001 | 0.000 | -0.001 |
| 124 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.012 | 0.000 | -0.002 | 0.001 | -0.001 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 18 | 0.330 | 0.338 | 0.002 | -0.004 | -0.001 | -0.412 |
| 125 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.329 | 0.323 | 0.002 | -0.004 | 0.000 | -0.214 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 19 | 0.306 | 0.239 | 0.002 | -0.006 | -0.001 | -0.217 |
| 126 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.305 | 0.224 | 0.002 | -0.006 | 0.000 | -0.078 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 20 | 0.215 | 0.146 | 0.002 | -0.005 | 0.000 | -0.089 |
| 127 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.213 | 0.131 | 0.002 | -0.005 | 0.001 | -0.006 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 21 | 0.100 | 0.058 | -0.002 | -0.002 | 0.001 | -0.019 |
| 128 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 7 | 0.098 | 0.043 | -0.002 | -0.002 | 0.000 | 0.012 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 22 | 0.339 | 0.338 | -0.002 | 0.004 | 0.001 | -0.413 |
| 129 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 23 | 0.338 | 0.322 | -0.002 | 0.004 | 0.000 | -0.215 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 23 | 0.315 | 0.239 | -0.001 | 0.005 | 0.001 | -0.218 |
| 130 | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | 0.313 | 0.224 | -0.001 | 0.005 | 0.000 | -0.079 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 24 | 0.221 | 0.146 | -0.001 | 0.005 | 0.000 | -0.090 |
| 131 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.219 | 0.131 | -0.001 | 0.005 | -0.001 | -0.006 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 25 | 0.102 | 0.058 | 0.003 | 0.002 | -0.001 | -0.019 |
| 132 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 9 | 0.101 | 0.043 | 0.003 | 0.002 | 0.000 | 0.012 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 13 | 0.035 | -0.007 | -0.003 | 0.000 | 0.001 | 0.001 |
| 133 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.035 | -0.012 | -0.003 | 0.000 | -0.001 | -0.005 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 21 | 0.138 | 0.047 | -0.052 | -0.002 | 0.010 | -0.017 |
| 134 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.138 | 0.045 | -0.052 | -0.002 | -0.009 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 25 | 0.134 | 0.036 | -0.058 | -0.002 | 0.010 | -0.014 |
| 135 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.134 | 0.034 | -0.058 | -0.002 | -0.010 | -0.002 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 16 | 0.049 | -0.010 | 0.003 | 0.000 | -0.001 | 0.002 |
| 136 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.049 | -0.015 | 0.003 | 0.000 | 0.001 | -0.007 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 24 | 0.162 | 0.047 | 0.041 | 0.002 | -0.008 | -0.018 |
| 137 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.162 | 0.044 | 0.041 | 0.002 | 0.007 | -0.001 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 20 | 0.165 | 0.038 | 0.042 | 0.003 | -0.007 | -0.017 |
| 138 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.165 | 0.036 | 0.042 | 0.003 | 0.007 | -0.004 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 11 | 0.060 | -0.015 | -0.002 | 0.000 | 0.000 | 0.003 |
| 139 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.060 | -0.019 | -0.002 | 0.000 | -0.001 | -0.009 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 19 | 0.200 | 0.045 | -0.008 | -0.001 | 0.001 | -0.017 |
| 140 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.200 | 0.043 | -0.008 | -0.001 | -0.002 | -0.001 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 23 | 0.196 | 0.040 | -0.008 | -0.001 | 0.001 | -0.019 |
|  |  |  |  |  |  |  |  |  | 59 | 0.196 | 0.037 | -0.008 | -0.001 | -0.002 | -0.005 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 76 | 27 | 0.200 | -0.038 | 0.007 | 0.001 | -0.002 | -0.005 |
| 36 | 14 | 0.044 | -0.013 | -0.002 | 0.001 | 0.001 | 0.003 |  | 19 | 0.200 | -0.040 | 0.007 | 0.001 | 0.001 | -0.019 |
|  | 60 | 0.044 | -0.018 | -0.002 | 0.001 | -0.001 | -0.008 | 77 | 27 | 0.125 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
| 37 | 22 | 0.196 | 0.039 | -0.062 | -0.003 | 0.012 | -0.016 |  | 26 | 0.125 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 56 | 0.196 | 0.037 | -0.062 | -0.003 | -0.011 | -0.003 | 78 | 28 | 0.047 | 0.018 | 0.001 | 0.000 | -0.001 | -0.008 |
| 38 | 18 | 0.202 | 0.032 | -0.065 | -0.003 | 0.012 | -0.016 |  | 10 | 0.047 | 0.013 | 0.001 | 0.000 | 0.000 | 0.003 |
|  | 28 | 0.202 | 0.030 | -0.065 | -0.003 | -0.011 | -0.005 | 79 | 28 | 0.172 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
| 39 | 63 | 0.557 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.172 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.569 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | 29 | -0.014 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |
| 40 | 64 | 0.569 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.015 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 65 | 0.581 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 29 | -0.036 | 0.023 | 0.003 | 0.000 | -0.001 | -0.006 |
| 41 | 65 | 0.581 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | -0.036 | 0.018 | 0.003 | 0.000 | 0.001 | 0.009 |
|  | 66 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 82 | 30 | 0.016 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |
| 42 | 66 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.016 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 62 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 83 | 30 | 0.164 | -0.044 | -0.041 | -0.002 | 0.007 | -0.001 |
| 43 | 67 | 0.558 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.164 | -0.047 | -0.041 | -0.002 | -0.008 | -0.018 |
|  | 68 | 0.570 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 84 | 31 | 0.067 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
| 44 | 68 | 0.570 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.067 | -0.001 | 0.005 | 0.000 | 0.002 | 0.000 |
|  | 69 | 0.582 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 31 | -0.012 | 0.025 | 0.002 | 0.000 | -0.001 | -0.007 |
| 45 | 69 | 0.582 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.012 | 0.020 | 0.002 | 0.000 | 0.001 | 0.009 |
|  | 70 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 86 | 32 | 0.118 | 0.002 | -0.001 | 0.000 | 0.001 | 0.000 |
| 46 | 70 | 0.594 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.117 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 87 | 32 | 0.198 | -0.037 | 0.061 | 0.003 | -0.010 | -0.003 |
| 47 | 45 | -0.093 | 0.001 | -0.016 | 0.000 | 0.006 | 0.000 |  | 18 | 0.198 | -0.039 | 0.061 | 0.003 | 0.012 | -0.016 |
|  | 60 | -0.093 | -0.002 | -0.016 | 0.000 | -0.004 | 0.000 | 88 | 33 | -0.124 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
| 48 | 34 | 0.035 | -0.019 | 0.049 | 0.002 | -0.008 | -0.002 |  | 46 | -0.124 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
|  | 7 | 0.035 | -0.021 | 0.049 | 0.002 | 0.009 | -0.009 | 89 | 33 | -0.018 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 49 | 60 | -0.176 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |  | 36 | -0.019 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.177 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 | 90 | 46 | -0.036 | -0.018 | -0.003 | 0.000 | 0.001 | 0.009 |
| 50 | 35 | -0.010 | 0.015 | 0.004 | 0.000 | -0.002 | -0.003 |  | 47 | -0.036 | -0.023 | -0.003 | 0.000 | -0.001 | -0.005 |
|  | 36 | -0.010 | 0.010 | 0.004 | 0.000 | 0.001 | 0.006 | 91 | 46 | -0.018 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 51 | 59 | -0.134 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |  | 37 | -0.019 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.134 | -0.001 | 0.005 | 0.000 | 0.002 | 0.000 | 92 | 47 | 0.137 | -0.045 | 0.052 | 0.002 | -0.009 | 0.000 |
| 52 | 36 | -0.045 | 0.002 | 0.000 | 0.000 | 0.000 | 0.005 |  | 25 | 0.137 | -0.047 | 0.052 | 0.002 | 0.010 | -0.017 |
|  | 37 | -0.045 | -0.002 | 0.000 | 0.000 | 0.000 | 0.005 | 93 | 47 | -0.014 | 0.002 | -0.010 | 0.000 | 0.003 | 0.000 |
| 53 | 58 | -0.069 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |  | 38 | -0.014 | -0.001 | -0.010 | 0.000 | -0.003 | 0.000 |
|  | 57 | -0.069 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 | 94 | 48 | -0.026 | -0.019 | 0.003 | 0.000 | -0.001 | 0.009 |
| 54 | 37 | -0.011 | -0.010 | -0.004 | 0.000 | 0.001 | 0.006 |  | 30 | -0.026 | -0.024 | 0.003 | 0.000 | 0.001 | -0.006 |
|  | 38 | -0.011 | -0.015 | -0.004 | 0.000 | -0.002 | -0.003 | 95 | 48 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 57 | -0.009 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |  | 33 | 0.028 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.010 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 | 96 | 49 | -0.119 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
| 56 | 38 | 0.034 | -0.027 | 0.046 | 0.002 | -0.008 | -0.001 |  | 48 | -0.119 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
|  | 9 | 0.034 | -0.030 | 0.046 | 0.002 | 0.009 | -0.011 | 97 | 49 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 44 | -0.092 | 0.001 | 0.014 | 0.000 | -0.005 | 0.000 |  | 46 | 0.028 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.093 | -0.002 | 0.014 | 0.000 | 0.003 | 0.000 | 98 | 50 | -0.026 | 0.024 | -0.003 | 0.000 | 0.001 | -0.006 |
| 58 | 39 | 0.018 | 0.007 | 0.004 | 0.000 | -0.002 | -0.003 |  | 49 | -0.026 | 0.019 | -0.003 | 0.000 | -0.001 | 0.009 |
|  | 5 | 0.018 | 0.002 | 0.004 | 0.000 | 0.001 | 0.000 | 99 | 50 | 0.018 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 |
| 59 | 56 | -0.172 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |  | 47 | 0.017 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
|  | 53 | -0.172 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 100 | 51 | -0.108 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
| 60 | 40 | 0.031 | -0.003 | -0.089 | -0.006 | 0.014 | -0.002 |  | 52 | -0.108 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
|  | 6 | 0.031 | -0.005 | -0.089 | -0.006 | -0.018 | -0.004 | 101 | 51 | 0.081 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 40 | 0.098 | 0.001 | 0.013 | 0.000 | -0.005 | 0.000 |  | 48 | 0.080 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.097 | -0.002 | 0.013 | 0.000 | 0.003 | 0.000 | 102 | 52 | -0.012 | -0.020 | -0.002 | 0.000 | 0.001 | 0.009 |
| 62 | 41 | -0.011 | 0.015 | -0.006 | 0.001 | 0.003 | -0.004 |  | 53 | -0.012 | -0.025 | -0.002 | 0.000 | -0.001 | -0.007 |
|  | 42 | -0.011 | 0.011 | -0.006 | 0.001 | -0.001 | 0.005 | 103 | 52 | 0.081 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 41 | 0.061 | 0.001 | -0.014 | 0.000 | 0.005 | 0.000 |  | 49 | 0.080 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.061 | -0.002 | -0.014 | 0.000 | -0.003 | 0.000 | 104 | 53 | 0.197 | -0.043 | 0.008 | 0.001 | -0.002 | -0.001 |
| 64 | 42 | -0.042 | 0.002 | 0.000 | 0.000 | 0.000 | 0.004 |  | 23 | 0.197 | -0.045 | 0.008 | 0.001 | 0.001 | -0.017 |
|  | 43 | -0.042 | -0.002 | 0.000 | 0.000 | 0.000 | 0.004 | 105 | 53 | 0.069 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 |
| 65 | 42 | 0.040 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |  | 50 | 0.069 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
|  | 54 | 0.040 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 | 106 | 54 | -0.017 | -0.020 | -0.001 | 0.001 | 0.000 | 0.009 |
| 66 | 43 | -0.011 | -0.011 | 0.006 | -0.001 | -0.001 | 0.005 |  | 32 | -0.017 | -0.025 | -0.001 | 0.001 | -0.001 | -0.007 |
|  | 44 | -0.011 | -0.015 | 0.006 | -0.001 | 0.003 | -0.004 | 107 | 54 | 0.099 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 43 | 0.040 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |  | 51 | 0.099 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.040 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 | 108 | 55 | -0.107 | 0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
| 68 | 44 | 0.036 | -0.015 | -0.085 | -0.005 | 0.014 | -0.004 |  | 54 | -0.107 | -0.002 | 0.000 | 0.000 | 0.000 | 0.007 |
|  | 8 | 0.036 | -0.018 | -0.085 | -0.005 | -0.017 | -0.010 | 109 | 55 | 0.099 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 44 | 0.062 | 0.001 | 0.014 | 0.000 | -0.005 | 0.000 |  | 52 | 0.099 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.062 | -0.002 | 0.014 | 0.000 | 0.003 | 0.000 | 110 | 56 | -0.017 | 0.025 | 0.001 | -0.001 | -0.001 | -0.007 |
| 70 | 45 | 0.015 | 0.004 | -0.007 | 0.001 | 0.003 | -0.002 |  | 55 | -0.017 | 0.020 | 0.001 | -0.001 | 0.000 | 0.009 |
|  | 4 | 0.015 | -0.001 | -0.007 | 0.001 | -0.001 | -0.001 | 111 | 56 | 0.119 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
| 71 | 45 | 0.060 | 0.001 | -0.015 | 0.000 | 0.005 | 0.000 |  | 53 | 0.119 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.059 | -0.002 | -0.015 | 0.000 | -0.003 | 0.000 | 112 | 57 | -0.011 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |
| 72 | 1 | 0.135 | -0.033 | 0.055 | 0.003 | -0.010 | -0.002 |  | 39 | -0.011 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 21 | 0.135 | -0.036 | 0.055 | 0.003 | 0.010 | -0.014 | 113 | 57 | 0.034 | 0.012 | 0.003 | 0.000 | -0.001 | -0.005 |
| 73 | 1 | 0.008 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 |  | 17 | 0.034 | 0.007 | 0.003 | 0.000 | 0.001 | 0.001 |
|  | 34 | 0.007 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 | 114 | 58 | 0.015 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |
| 74 | 26 | 0.051 | 0.015 | -0.003 | 0.000 | 0.001 | -0.007 |  | 57 | 0.015 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 12 | 0.051 | 0.011 | -0.003 | 0.000 | -0.001 | 0.002 | 115 | 58 | 0.162 | -0.036 | -0.044 | -0.002 | 0.008 | -0.004 |
| 75 | 26 | 0.057 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |  | 24 | 0.162 | -0.039 | -0.044 | -0.002 | -0.008 | -0.017 |
|  | 1 | 0.057 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |  |  |  |  |  |  |  |  |

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

116	59	0.064	0.002	0.004	0.000	-0.001	0.000

58	0.063	-0.001	0.004	0.000	0.002	0.000

117	59	0.058	0.019	0.002	0.000	-0.001	-0.009

15	0.058	0.014	0.002	0.000	0.000	0.003

118	60	0.113	0.002	-0.002	0.000	0.001	0.000

59	0.112	-0.002	-0.002	0.000	0.000	0.000

119	60	0.199	-0.029	0.068	0.003	-0.011	-0.005

22	0.199	-0.032	0.068	0.003	0.013	-0.016

120	6	0.506	0.000	0.000	0.000	0.000	0.000

67	0.558	0.000	0.000	0.000	0.000	0.000

121	8	0.506	0.000	0.000	0.000	0.000	0.000

63	0.557	0.000	0.000	0.000	0.000	0.000

122	53	-0.128	0.002	-0.005	0.000	0.001	0.000

50	-0.128	-0.001	-0.005	0.000	-0.002	0.000

123	50	-0.063	0.002	-0.007	0.000	0.002	0.000

47	-0.064	-0.001	-0.007	0.000	-0.002	0.000

124	47	-0.009	0.002	-0.010	0.000	0.003	0.000

38	-0.010	-0.001	-0.010	0.000	-0.003	0.000

125	43	-0.049	0.001	-0.001	0.000	0.001	0.000

55	-0.049	-0.002	-0.001	0.000	0.000	0.000

126	55	-0.099	0.002	0.000	0.000	0.000	0.000

52	-0.099	-0.002	0.000	0.000	0.000	0.000

127	52	-0.088	0.002	0.000	0.000	0.000	0.000

49	-0.088	-0.001	0.000	0.000	0.000	0.000

128	49	-0.050	0.002	0.000	0.000	0.000	0.000

46	-0.050	-0.001	0.000	0.000	0.000	0.000

129	46	-0.011	0.002	0.000	0.000	0.000	0.000

37	-0.012	-0.001	0.000	0.000	0.000	0.000

130	42	-0.049	0.001	0.001	0.000	-0.001	0.000

54	-0.049	-0.002	0.001	0.000	0.000	0.000

131	54	-0.099	0.002	0.000	0.000	0.000	0.000

51	-0.099	-0.002	0.000	0.000	0.000	0.000

132	51	-0.088	0.002	0.000	0.000	0.000	0.000

48	-0.088	-0.001	0.000	0.000	0.000	0.000

133	48	-0.050	0.002	0.000	0.000	0.000	0.000

33	-0.050	-0.001	0.000	0.000	0.000	0.000

134	33	-0.011	0.002	0.000	0.000	0.000	0.000

36	-0.012	-0.001	0.000	0.000	0.000	0.000

135	41	-0.092	0.001	-0.014	0.000	0.005	0.000

32	-0.093	-0.002	-0.014	0.000	-0.003	0.000

136	32	-0.173	0.002	-0.001	0.000	0.001	0.000

31	-0.173	-0.002	-0.001	0.000	0.000	0.000

137	31	-0.129	0.002	0.005	0.000	-0.001	0.000

30	-0.129	-0.001	0.005	0.000	0.002	0.000

138	30	-0.064	0.002	0.007	0.000	-0.002	0.000

29	-0.065	-0.001	0.007	0.000	0.002	0.000

139	29	-0.009	0.002	0.010	0.000	-0.003	0.000

35	-0.010	-0.001	0.010	0.000	0.003	0.000

140	40	-0.117	0.001	0.015	0.000	-0.005	0.000

28	-0.117	-0.002	0.015	0.000	0.004	0.000

141	28	-0.210	0.002	0.002	0.000	-0.001	0.000

27	-0.210	-0.002	0.002	0.000	0.000	0.000

142	27	-0.168	0.002	-0.005	0.000	0.001	0.000

26	-0.168	-0.001	-0.005	0.000	-0.002	0.000

143	26	-0.091	0.002	-0.007	0.000	0.002	0.000

1	-0.091	-0.001	-0.007	0.000	-0.002	0.000

144	1	-0.020	0.002	-0.010	0.000	0.003	0.000

34	-0.020	-0.001	-0.010	0.000	-0.003	0.000

Load case 20 (Linear): COMB 2 (1+2+4+6)

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

1	3	0.042	-0.026	-0.008	0.002	0.003	0.003

10	0.042	-0.029	-0.008	0.002	-0.002	-0.014

2	3	-0.054	0.020	0.023	0.002	-0.004	-0.003

40	-0.054	0.017	0.023	0.002	0.013	0.010

3	4	0.056	-0.026	0.010	-0.002	-0.004	0.002

14	0.056	-0.029	0.010	-0.002	0.002	-0.014

4	2	0.113	-0.002	-0.022	0.008	0.005	-0.007

34	0.113	-0.006	-0.022	0.008	-0.011	-0.010

5	6	0.812	1.031	0.021	-0.187	-0.041	-2.198

18	0.809	0.997	0.021	-0.187	-0.028	-1.589

6	8	0.835	1.029	-0.027	0.187	0.043	-2.198

22	0.832	0.994	-0.027	0.187	0.026	-1.591

7	7	0.439	0.508	-0.254	0.001	0.051	-0.256

35	0.439	0.506	-0.254	0.001	-0.043	-0.069

8	8	-0.142	-0.043	0.407	0.013	-0.080	0.020

45	-0.142	-0.045	0.407	0.013	0.064	0.004

9	9	0.334	0.038	-0.201	-0.015	0.036	-0.016

39	0.334	0.036	-0.201	-0.015	-0.035	-0.003

10	6	-0.176	-0.006	0.333	0.017	-0.067	-0.004

41	-0.176	-0.007	0.333	0.017	0.055	-0.007

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

11	10	0.125	-0.025	0.001	-0.003	0.000	-0.007

11	0.125	-0.028	0.001	-0.003	0.000	-0.023

12	11	0.162	-0.008	0.004	-0.009	-0.001	-0.015

12	0.162	-0.011	0.004	-0.009	0.002	-0.021

13	12	0.165	0.000	0.004	-0.011	-0.001	-0.013

13	0.165	-0.003	0.004	-0.011	0.001	-0.014

14	13	0.109	0.003	0.015	-0.010	-0.004	-0.006

2	0.109	0.000	0.015	-0.010	0.005	-0.005

15	14	0.158	-0.024	-0.001	0.003	0.000	-0.008

15	0.158	-0.027	-0.001	0.003	0.000	-0.024

16	15	0.196	-0.008	-0.005	0.009	0.001	-0.016

16	0.195	-0.011	-0.005	0.009	-0.002	-0.021

17	16	0.190	-0.001	-0.004	0.011	0.001	-0.013

17	0.190	-0.004	-0.004	0.011	-0.001	-0.014

18	17	0.118	0.003	-0.016	0.010	0.004	-0.006

5	0.118	0.000	-0.016	0.010	-0.005	-0.006

19	18	1.375	0.895	0.104	-0.172	-0.048	-1.524

19	1.374	0.884	0.104	-0.172	0.014	-0.991

20	19	1.371	0.768	0.042	-0.196	-0.013	-1.000

20	1.370	0.757	0.042	-0.196	0.012	-0.542

21	20	1.016	0.654	0.026	-0.223	-0.015	-0.588

21	1.015	0.643	0.026	-0.223	0.000	-0.199

22	21	0.488	0.514	0.117	-0.230	-0.033	-0.256

7	0.487	0.503	0.117	-0.230	0.037	0.049

23	22	1.416	0.894	-0.105	0.172	0.049	-1.527

23	1.415	0.882	-0.105	0.172	-0.015	-0.995

24	23	1.411	0.768	-0.040	0.195	0.013	-1.003

24	1.410	0.757	-0.040	0.195	-0.011	-0.546

25	24	1.047	0.655	-0.022	0.222	0.014	-0.591

25	1.046	0.644	-0.022	0.222	0.001	-0.201

26	25	0.502	0.515	-0.111	0.229	0.031	-0.257

9	0.501	0.504	-0.111	0.229	-0.035	0.049

27	13	0.064	-0.014	-0.017	0.008	0.005	0.002

1	0.064	-0.018	-0.017	0.008	-0.007	-0.010

28	21	0.212	0.113	-0.317	-0.002	0.066	-0.012

29	0.212	0.112	-0.317	-0.002	-0.050	0.029

29	25	0.295	0.062	-0.213	-0.015	0.035	-0.023

57	0.295	0.060	-0.213	-0.015	-0.040	-0.001

30	16	0.123	-0.018	0.014	-0.009	-0.004	0.005

58	0.123	-0.021	0.014	-0.009	0.006	-0.009

31	24	0.193	0.075	0.227	0.004	-0.048	-0.003

50	0.193	0.073	0.227	0.004	0.036	0.024

32	20	0.189	0.058	0.116	0.016	-0.018	-0.027

26	0.189	0.056	0.116	0.016	0.023	-0.007

33	11	0.113	-0.028	-0.008	0.007	0.003	0.010

27	0.113	-0.031	-0.008	0.007	-0.002	-0.012

34	19	0.347	0.062	-0.057	-0.001	0.014	-0.011

31	0.347	0.060	-0.057	-0.001	-0.007	0.012

35	23	0.269	0.052	0.063	-0.009	-0.015	-0.026

59	0.269	0.050	0.063	-0.009	0.007	-0.008

36	14	0.018	-0.014	-0.007	-0.003	0.001	0.007

60	0.018	-0.017	-0.007	-0.003	-0.004	-0.004

37	22	0.237	0.038	-0.242	-0.013	0.045	-0.017

56	0.237	0.036	-0.242	-0.013	-0.043	-0.003

38	18	0.327	0.014	-0.333	-0.010	0.063	-0.006

28	0.327	0.012	-0.333	-0.010	-0.055	-0.002

39	63	1.088	0.003	0.000	0.000	0.001	-0.002

64	1.097	0.003	-0.001	0.000	0.001	-0.001

40	64	1.097	0.003	-0.001	0.000	0.001	-0.001

65	1.106	0.003	-0.002	0.000	0.000	0.000

41	65	1.106	0.003	-0.002	0.000	0.000	0.000

66	1.115	0.003	-0.003	0.000	-0.001	0.001

42	66	1.115	0.003	-0.003	0.000	-0.001	0.001

62	1.124	0.003	-0.004	0.000	-0.003	0.003

43	67	1.089	-0.003	-0.002	0.000	0.003	0.002

68	1.098	-0.003	-0.003	0.000	0.002	0.001

44	68	1.098	-0.003	-0.003	0.000	0.002	0.001

69	1.107	-0.003	-0.004	0.000	0.000	0.000

45	69	1.107	-0.003	-0.004	0.000	0.000	0.000

70	1.116	-0.003	-0.005	0.000	-0.002	-0.001

46	70	1.116	-0.003	-0.005	0.000	-0.002	-0.001

61	1.125	-0.003	-0.005	0.000	-0.004	-0.003

47	45	-0.462	0.000	-0.072	0.000	0.025	0.000

60	-0.462	-0.002	-0.072	0.000	-0.018	-0.001

48	34	0.322	-0.034	0.188	0.017	-0.033	-0.002

7	0.322	-0.035	0.188	0.017	0.034	-0.015

49	60	-0.858	0.001	-0.019	0.000	0.007	0.000

59	-0.859	-0.002	-0.019	0.000	-0.004	0.000

50	35	-0.841	0.477	0.052	0.007	-0.019	-0.106

36	-0.841	0.474	0.052	0.007	0.019	0.237

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 51 | 59 | -0.806 | 0.002 | 0.010 | 0.000 | -0.002 | 0.000 | 91 | 46 | 0.211 | 0.018 | -0.010 | 0.001 | 0.002 | -0.005 |
|  | 58 | -0.806 | -0.001 | 0.010 | 0.000 | 0.004 | 0.000 |  | 37 | 0.211 | 0.015 | -0.010 | 0.001 | -0.004 | 0.005 |
| 52 | 36 | -1.987 | 0.002 | 0.000 | 0.000 | 0.007 | 0.207 | 92 | 47 | 0.206 | -0.112 | 0.317 | 0.002 | -0.051 | 0.029 |
|  | 37 | -1.987 | -0.002 | 0.000 | 0.000 | 0.007 | 0.207 |  | 25 | 0.206 | -0.113 | 0.317 | 0.002 | 0.066 | -0.012 |
| 53 | 58 | -0.614 | 0.002 | 0.029 | 0.000 | -0.008 | 0.000 | 93 | 47 | 0.030 | 0.005 | -0.071 | 0.001 | 0.018 | -0.001 |
|  | 57 | -0.614 | -0.001 | 0.029 | 0.000 | 0.009 | 0.000 |  | 38 | 0.030 | 0.003 | -0.071 | 0.001 | -0.024 | 0.001 |
| 54 | 37 | -0.843 | -0.473 | -0.052 | -0.007 | 0.019 | 0.237 | 94 | 48 | -0.191 | -0.026 | 0.002 | 0.003 | 0.000 | 0.032 |
|  | 38 | -0.843 | -0.477 | -0.052 | -0.007 | -0.019 | -0.106 |  | 30 | -0.191 | -0.030 | 0.002 | 0.003 | 0.001 | 0.012 |
| 55 | 57 | -0.147 | 0.002 | 0.042 | 0.000 | -0.011 | 0.000 | 95 | 48 | 0.709 | 0.004 | 0.007 | 0.000 | -0.001 | -0.001 |
|  | 39 | -0.147 | -0.001 | 0.042 | 0.000 | 0.014 | 0.000 |  | 33 | 0.708 | 0.002 | 0.007 | 0.000 | 0.003 | 0.001 |
| 56 | 38 | 0.444 | -0.506 | 0.255 | -0.001 | -0.043 | -0.069 | 96 | 49 | -0.332 | 0.002 | 0.000 | 0.000 | -0.001 | 0.029 |
|  | 9 | 0.444 | -0.508 | 0.255 | -0.001 | 0.051 | -0.255 |  | 48 | -0.332 | -0.002 | 0.000 | 0.000 | -0.001 | 0.028 |
| 57 | 44 | -0.458 | 0.000 | 0.058 | 0.000 | -0.020 | 0.000 | 97 | 49 | 0.709 | 0.004 | -0.007 | 0.000 | 0.001 | -0.001 |
|  | 56 | -0.458 | -0.003 | 0.058 | 0.000 | 0.014 | -0.001 |  | 46 | 0.709 | 0.002 | -0.007 | 0.000 | -0.003 | 0.001 |
| 58 | 39 | 0.125 | 0.006 | 0.024 | -0.009 | -0.011 | -0.010 | 98 | 50 | -0.193 | 0.030 | -0.002 | -0.002 | 0.001 | 0.012 |
|  | 5 | 0.125 | 0.003 | 0.024 | -0.009 | 0.006 | -0.007 |  | 49 | -0.193 | 0.026 | -0.002 | -0.002 | 0.000 | 0.032 |
| 59 | 56 | -0.871 | 0.001 | 0.009 | 0.000 | -0.005 | 0.000 | 99 | 50 | 0.137 | 0.003 | -0.044 | 0.000 | 0.012 | -0.001 |
|  | 53 | -0.872 | -0.001 | 0.009 | 0.000 | 0.001 | 0.000 |  | 47 | 0.137 | 0.001 | -0.044 | 0.000 | -0.014 | 0.000 |
| 60 | 40 | -0.157 | 0.044 | -0.387 | -0.017 | 0.061 | 0.005 | 100 | 51 | -0.199 | 0.002 | 0.000 | 0.000 | 0.001 | 0.019 |
|  | 6 | -0.157 | 0.043 | -0.387 | -0.017 | -0.076 | 0.021 |  | 52 | -0.199 | -0.002 | 0.000 | 0.000 | 0.001 | 0.019 |
| 61 | 40 | 0.339 | 0.000 | 0.068 | 0.000 | -0.024 | 0.000 | 101 | 51 | 0.737 | 0.003 | 0.002 | 0.000 | -0.001 | -0.001 |
|  | 28 | 0.339 | -0.003 | 0.068 | 0.000 | 0.017 | -0.001 |  | 48 | 0.737 | 0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
| 62 | 41 | -0.201 | 0.016 | -0.029 | 0.005 | 0.014 | -0.004 | 102 | 52 | -0.057 | -0.027 | 0.003 | -0.002 | -0.001 | 0.023 |
|  | 42 | -0.201 | 0.012 | -0.029 | 0.005 | -0.007 | 0.006 |  | 53 | -0.057 | -0.031 | 0.003 | -0.002 | 0.001 | 0.002 |
| 63 | 41 | 0.225 | 0.000 | -0.055 | 0.000 | 0.019 | 0.000 | 103 | 52 | 0.738 | 0.003 | -0.002 | 0.000 | 0.001 | -0.001 |
|  | 32 | 0.224 | -0.003 | -0.055 | 0.000 | -0.013 | -0.001 |  | 49 | 0.737 | 0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 64 | 42 | -0.283 | 0.002 | 0.000 | 0.000 | -0.001 | 0.003 | 104 | 53 | 0.334 | -0.060 | 0.056 | 0.001 | -0.007 | 0.012 |
|  | 43 | -0.283 | -0.002 | 0.000 | 0.000 | -0.001 | 0.003 |  | 23 | 0.334 | -0.062 | 0.056 | 0.001 | 0.014 | -0.011 |
| 65 | 42 | 0.347 | 0.000 | 0.009 | 0.000 | -0.003 | 0.000 | 105 | 53 | 0.292 | 0.003 | -0.025 | 0.000 | 0.006 | -0.001 |
|  | 54 | 0.347 | -0.003 | 0.009 | 0.000 | 0.002 | -0.001 |  | 50 | 0.292 | 0.000 | -0.025 | 0.000 | -0.009 | 0.000 |
| 66 | 43 | -0.201 | -0.012 | 0.029 | -0.005 | -0.007 | 0.006 | 106 | 54 | -0.070 | -0.029 | -0.014 | 0.004 | 0.004 | 0.015 |
|  | 44 | -0.201 | -0.016 | 0.029 | -0.005 | 0.014 | -0.004 |  | 32 | -0.070 | -0.033 | -0.014 | 0.004 | -0.006 | -0.007 |
| 67 | 43 | 0.348 | 0.000 | -0.009 | 0.000 | 0.003 | 0.000 | 107 | 54 | 0.674 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 55 | 0.348 | -0.003 | -0.009 | 0.000 | -0.002 | -0.001 |  | 51 | 0.674 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
| 68 | 44 | -0.166 | 0.007 | -0.335 | -0.018 | 0.055 | -0.006 | 108 | 55 | -0.182 | 0.002 | 0.000 | 0.000 | 0.000 | 0.012 |
|  | 8 | -0.166 | 0.006 | -0.335 | -0.018 | -0.068 | -0.004 |  | 54 | -0.182 | -0.002 | 0.000 | 0.000 | 0.000 | 0.012 |
| 69 | 44 | 0.227 | 0.000 | 0.055 | 0.000 | -0.020 | 0.000 | 109 | 55 | 0.674 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 56 | 0.227 | -0.003 | 0.055 | 0.000 | 0.013 | -0.001 |  | 52 | 0.674 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
| 70 | 45 | -0.040 | -0.015 | -0.025 | -0.001 | 0.014 | 0.010 | 110 | 56 | -0.071 | 0.033 | 0.014 | -0.004 | -0.006 | -0.007 |
|  | 4 | -0.040 | -0.019 | -0.025 | -0.001 | -0.004 | -0.002 |  | 55 | -0.071 | 0.029 | 0.014 | -0.004 | 0.004 | 0.015 |
| 71 | 45 | 0.163 | 0.000 | -0.072 | 0.000 | 0.025 | 0.000 | 111 | 56 | 0.438 | 0.001 | 0.005 | 0.000 | -0.003 | 0.000 |
|  | 60 | 0.162 | -0.002 | -0.072 | 0.000 | -0.018 | -0.001 |  | 53 | 0.438 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 |
| 72 | 1 | 0.302 | -0.059 | 0.198 | 0.017 | -0.037 | -0.001 | 112 | 57 | 0.010 | 0.002 | 0.034 | 0.000 | -0.008 | 0.000 |
|  | 21 | 0.302 | -0.060 | 0.198 | 0.017 | 0.033 | -0.023 |  | 39 | 0.010 | -0.001 | 0.034 | 0.000 | 0.012 | 0.000 |
| 73 | 1 | 0.115 | 0.002 | -0.028 | 0.000 | 0.007 | 0.000 | 113 | 57 | 0.057 | 0.017 | 0.018 | -0.009 | -0.008 | -0.010 |
|  | 34 | 0.115 | 0.000 | -0.028 | 0.000 | -0.010 | 0.000 |  | 17 | 0.057 | 0.014 | 0.018 | -0.009 | 0.006 | 0.001 |
| 74 | 26 | 0.134 | 0.022 | -0.013 | 0.008 | 0.006 | -0.009 | 114 | 58 | 0.029 | 0.002 | 0.020 | 0.000 | -0.006 | 0.000 |
|  | 12 | 0.134 | 0.018 | -0.013 | 0.008 | -0.004 | 0.005 |  | 57 | 0.029 | -0.001 | 0.020 | 0.000 | 0.006 | 0.000 |
| 75 | 26 | 0.279 | 0.002 | -0.015 | 0.000 | 0.004 | 0.000 | 115 | 58 | 0.175 | -0.056 | -0.126 | -0.014 | 0.025 | -0.006 |
|  | 1 | 0.279 | 0.000 | -0.015 | 0.000 | -0.005 | 0.000 |  | 24 | 0.175 | -0.058 | -0.126 | -0.014 | -0.020 | -0.026 |
| 76 | 27 | 0.286 | -0.051 | -0.063 | 0.009 | 0.007 | -0.009 | 116 | 59 | 0.179 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.286 | -0.053 | -0.063 | 0.009 | -0.015 | -0.027 |  | 58 | 0.179 | -0.001 | 0.002 | 0.000 | 0.002 | 0.000 |
| 77 | 27 | 0.497 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 | 117 | 59 | 0.101 | 0.031 | 0.007 | -0.007 | -0.002 | -0.012 |
|  | 26 | 0.497 | -0.001 | 0.001 | 0.000 | -0.001 | 0.000 |  | 15 | 0.101 | 0.027 | 0.007 | -0.007 | 0.003 | 0.009 |
| 78 | 28 | 0.028 | 0.017 | 0.005 | 0.005 | -0.003 | -0.004 | 118 | 60 | 0.337 | 0.001 | -0.023 | 0.000 | 0.008 | 0.000 |
|  | 10 | 0.028 | 0.014 | 0.005 | 0.005 | 0.000 | 0.008 |  | 59 | 0.336 | -0.002 | -0.023 | 0.000 | -0.005 | 0.000 |
| 79 | 28 | 0.623 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 | 119 | 60 | 0.315 | -0.010 | 0.349 | 0.007 | -0.057 | -0.002 |
|  | 27 | 0.622 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |  | 22 | 0.315 | -0.012 | 0.349 | 0.007 | 0.066 | -0.005 |
| 80 | 29 | 0.028 | 0.005 | 0.071 | -0.001 | -0.018 | -0.001 | 120 | 6 | 1.050 | -0.003 | -0.001 | 0.000 | 0.003 | 0.004 |
|  | 35 | 0.028 | 0.003 | 0.071 | -0.001 | 0.024 | 0.001 |  | 67 | 1.089 | -0.003 | -0.002 | 0.000 | 0.003 | 0.002 |
| 81 | 29 | -0.239 | 0.055 | 0.010 | 0.005 | -0.004 | 0.016 | 121 | 8 | 1.049 | 0.003 | 0.001 | 0.000 | 0.001 | -0.004 |
|  | 33 | -0.239 | 0.052 | 0.010 | 0.005 | 0.004 | 0.054 |  | 63 | 1.088 | 0.003 | 0.000 | 0.000 | 0.001 | -0.002 |
| 82 | 30 | 0.131 | 0.003 | 0.044 | 0.000 | -0.012 | -0.001 | 122 | 53 | -0.833 | 0.003 | -0.020 | 0.000 | 0.005 | -0.001 |
|  | 29 | 0.131 | 0.001 | 0.044 | 0.000 | 0.014 | 0.000 |  | 50 | -0.833 | 0.000 | -0.020 | 0.000 | -0.007 | 0.000 |
| 83 | 30 | 0.205 | -0.073 | -0.227 | -0.004 | 0.036 | 0.024 | 123 | 50 | -0.699 | 0.003 | -0.036 | 0.000 | 0.010 | -0.001 |
|  | 20 | 0.205 | -0.075 | -0.227 | -0.004 | -0.048 | -0.003 |  | 47 | -0.699 | 0.001 | -0.036 | 0.000 | -0.012 | 0.000 |
| 84 | 31 | 0.284 | 0.003 | 0.026 | 0.000 | -0.007 | -0.001 | 124 | 47 | -0.307 | 0.005 | -0.031 | 0.001 | 0.006 | -0.001 |
|  | 30 | 0.284 | 0.000 | 0.026 | 0.000 | 0.009 | 0.000 |  | 38 | -0.307 | 0.003 | -0.031 | 0.001 | -0.012 | 0.001 |
| 85 | 31 | -0.055 | 0.031 | -0.003 | 0.002 | 0.001 | 0.002 | 125 | 43 | -0.222 | 0.000 | -0.008 | 0.000 | 0.003 | 0.000 |
|  | 51 | -0.055 | 0.028 | -0.003 | 0.002 | -0.001 | 0.023 |  | 55 | -0.222 | -0.003 | -0.008 | 0.000 | -0.002 | -0.001 |
| 86 | 32 | 0.432 | 0.001 | -0.005 | 0.000 | 0.003 | 0.000 | 126 | 55 | -0.421 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 31 | 0.432 | -0.001 | -0.005 | 0.000 | 0.000 | 0.000 |  | 52 | -0.421 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 87 | 32 | 0.245 | -0.036 | 0.240 | 0.013 | -0.043 | -0.003 | 127 | 52 | -0.428 | 0.003 | -0.001 | 0.000 | 0.000 | -0.001 |
|  | 18 | 0.245 | -0.038 | 0.240 | 0.013 | 0.045 | -0.017 |  | 49 | -0.428 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | -0.513 | 0.002 | 0.000 | 0.000 | 0.001 | 0.048 | 128 | 49 | -0.400 | 0.004 | -0.003 | 0.000 | 0.000 | -0.001 |
|  | 46 | -0.513 | -0.002 | 0.000 | 0.000 | 0.001 | 0.048 |  | 46 | -0.400 | 0.002 | -0.003 | 0.000 | -0.002 | 0.001 |
| 89 | 33 | 0.211 | 0.018 | 0.010 | -0.001 | -0.002 | -0.005 | 129 | 46 | -0.491 | 0.018 | 0.019 | 0.001 | -0.007 | -0.005 |
|  | 36 | 0.211 | 0.015 | 0.010 | -0.001 | 0.004 | 0.005 |  | 37 | -0.491 | 0.015 | 0.019 | 0.001 | 0.005 | 0.005 |
| 90 | 46 | -0.240 | -0.052 | -0.010 | -0.005 | 0.004 | 0.054 | 130 | 42 | -0.222 | 0.000 | 0.008 | 0.000 | -0.003 | 0.000 |
|  | 47 | -0.240 | -0.055 | -0.010 | -0.005 | -0.004 | 0.016 |  | 54 | -0.222 | -0.003 | 0.008 | 0.000 | 0.002 | -0.001 |

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

131	54	-0.421	0.002	0.002	0.000	-0.001	0.000

51	-0.421	-0.001	0.002	0.000	0.001	0.000

132	51	-0.428	0.003	0.001	0.000	0.000	-0.001

48	-0.428	0.001	0.001	0.000	0.000	0.000

133	48	-0.399	0.004	0.003	0.000	0.000	-0.001

33	-0.400	0.002	0.003	0.000	0.002	0.001

134	33	-0.491	0.018	-0.019	-0.001	0.007	-0.005

36	-0.491	0.015	-0.019	-0.001	-0.005	0.005

135	41	-0.458	0.000	-0.058	0.000	0.020	0.000

32	-0.459	-0.002	-0.058	0.000	-0.014	-0.001

136	32	-0.876	0.001	-0.009	0.000	0.005	0.000

31	-0.876	-0.001	-0.009	0.000	-0.001	0.000

137	31	-0.839	0.003	0.020	0.000	-0.005	-0.001

30	-0.839	0.000	0.020	0.000	0.007	0.000

138	30	-0.704	0.003	0.036	0.000	-0.010	-0.001

29	-0.704	0.001	0.036	0.000	0.012	0.000

139	29	-0.308	0.005	0.031	-0.001	-0.006	-0.001

35	-0.308	0.003	0.031	-0.001	0.012	0.001

140	40	-0.574	0.000	0.070	0.000	-0.024	0.000

28	-0.574	-0.003	0.070	0.000	0.018	-0.001

141	28	-1.020	0.001	0.018	0.000	-0.007	0.000

27	-1.020	-0.002	0.018	0.000	0.004	0.000

142	27	-0.983	0.002	-0.011	0.000	0.002	0.000

26	-0.983	-0.001	-0.011	0.000	-0.004	0.000

143	26	-0.753	0.002	-0.030	0.000	0.009	0.000

1	-0.754	0.000	-0.030	0.000	-0.009	0.000

144	1	-0.206	0.002	-0.043	0.000	0.011	0.000

34	-0.206	0.000	-0.043	0.000	-0.014	0.000

Load case 30 (Linear): COMB 3 (1+3+5+6)

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

1	3	0.046	-0.028	-0.009	0.003	0.003	0.003

10	0.046	-0.031	-0.009	0.003	-0.002	-0.014

2	3	-0.051	0.020	0.024	0.002	-0.004	-0.003

40	-0.051	0.016	0.024	0.002	0.014	0.010

3	4	0.061	-0.027	0.011	-0.002	-0.004	0.002

14	0.061	-0.030	0.011	-0.002	0.002	-0.015

4	2	0.116	-0.003	-0.023	0.008	0.005	-0.007

34	0.116	-0.007	-0.023	0.008	-0.011	-0.011

5	6	0.861	1.135	0.022	-0.190	-0.042	-2.361

18	0.858	1.101	0.022	-0.190	-0.029	-1.690

6	8	0.885	1.133	-0.028	0.190	0.043	-2.361

22	0.882	1.098	-0.028	0.190	0.027	-1.692

7	7	0.447	0.515	-0.264	0.000	0.053	-0.258

35	0.447	0.513	-0.264	0.000	-0.044	-0.069

8	8	-0.133	-0.041	0.428	0.014	-0.084	0.019

45	-0.133	-0.043	0.428	0.014	0.068	0.004

9	9	0.343	0.043	-0.212	-0.016	0.038	-0.018

39	0.343	0.041	-0.212	-0.016	-0.037	-0.003

10	6	-0.168	-0.001	0.352	0.019	-0.071	-0.007

41	-0.168	-0.003	0.352	0.019	0.058	-0.007

11	10	0.134	-0.026	0.001	-0.003	0.000	-0.008

11	0.134	-0.029	0.001	-0.003	0.000	-0.024

12	11	0.171	-0.007	0.004	-0.009	-0.001	-0.016

12	0.171	-0.010	0.004	-0.009	0.002	-0.022

13	12	0.171	0.001	0.004	-0.011	-0.001	-0.013

13	0.170	-0.002	0.004	-0.011	0.001	-0.014

14	13	0.111	0.004	0.015	-0.010	-0.004	-0.007

2	0.111	0.001	0.015	-0.010	0.005	-0.005

15	14	0.169	-0.025	-0.001	0.003	0.000	-0.009

15	0.169	-0.028	-0.001	0.003	0.000	-0.025

16	15	0.206	-0.008	-0.005	0.009	0.001	-0.017

16	0.206	-0.011	-0.005	0.009	-0.002	-0.022

17	16	0.196	0.000	-0.004	0.011	0.001	-0.013

17	0.196	-0.003	-0.004	0.011	-0.001	-0.014

18	17	0.120	0.003	-0.016	0.010	0.004	-0.006

5	0.120	0.000	-0.016	0.010	-0.006	-0.006

19	18	1.452	0.975	0.105	-0.174	-0.049	-1.622

19	1.451	0.964	0.105	-0.174	0.014	-1.040

20	19	1.441	0.824	0.042	-0.198	-0.013	-1.050

20	1.440	0.812	0.042	-0.198	0.012	-0.559

21	20	1.066	0.687	0.027	-0.225	-0.016	-0.608

21	1.065	0.675	0.027	-0.225	0.001	-0.199

22	21	0.511	0.525	0.116	-0.230	-0.032	-0.259

7	0.510	0.513	0.116	-0.230	0.037	0.052

23	22	1.494	0.973	-0.106	0.174	0.049	-1.625

23	1.493	0.962	-0.106	0.174	-0.015	-1.044

24	23	1.484	0.824	-0.040	0.197	0.013	-1.054

24	1.483	0.812	-0.040	0.197	-0.011	-0.563

25	24	1.097	0.688	-0.023	0.224	0.014	-0.610

25	1.096	0.676	-0.023	0.224	0.001	-0.201

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

26	25	0.525	0.526	-0.110	0.230	0.031	-0.261

9	0.524	0.515	-0.110	0.230	-0.035	0.052

27	13	0.072	-0.017	-0.018	0.008	0.006	0.002

1	0.072	-0.020	-0.018	0.008	-0.008	-0.011

28	21	0.250	0.127	-0.329	-0.002	0.068	-0.017

29	0.250	0.125	-0.329	-0.002	-0.053	0.029

29	25	0.332	0.072	-0.227	-0.015	0.038	-0.027

57	0.332	0.070	-0.227	-0.015	-0.043	-0.002

30	16	0.134	-0.021	0.015	-0.009	-0.005	0.006

58	0.134	-0.025	0.015	-0.009	0.006	-0.011

31	24	0.238	0.089	0.237	0.004	-0.049	-0.008

50	0.238	0.087	0.237	0.004	0.038	0.024

32	20	0.235	0.069	0.125	0.017	-0.020	-0.031

26	0.235	0.067	0.125	0.017	0.025	-0.007

33	11	0.127	-0.032	-0.008	0.007	0.003	0.011

27	0.127	-0.036	-0.008	0.007	-0.003	-0.014

34	19	0.402	0.076	-0.059	-0.001	0.014	-0.016

31	0.402	0.074	-0.059	-0.001	-0.007	0.012

35	23	0.322	0.063	0.061	-0.009	-0.015	-0.032

59	0.322	0.061	0.061	-0.009	0.006	-0.010

36	14	0.028	-0.018	-0.007	-0.003	0.001	0.008

60	0.028	-0.021	-0.007	-0.003	-0.004	-0.006

37	22	0.290	0.050	-0.256	-0.013	0.048	-0.022

56	0.290	0.048	-0.256	-0.013	-0.046	-0.004

38	18	0.381	0.023	-0.349	-0.010	0.066	-0.010

28	0.381	0.021	-0.349	-0.010	-0.057	-0.003

39	63	1.202	0.003	-0.001	0.000	0.003	-0.003

64	1.211	0.003	-0.003	0.000	0.002	-0.001

40	64	1.211	0.003	-0.003	0.000	0.002	-0.001

65	1.220	0.003	-0.004	0.000	0.000	0.000

41	65	1.220	0.003	-0.004	0.000	0.000	0.000

66	1.229	0.003	-0.006	0.000	-0.002	0.002

42	66	1.229	0.003	-0.006	0.000	-0.002	0.002

62	1.238	0.003	-0.008	0.000	-0.005	0.003

43	67	1.203	-0.003	-0.002	0.000	0.004	0.003

68	1.212	-0.003	-0.004	0.000	0.003	0.001

44	68	1.212	-0.003	-0.004	0.000	0.003	0.001

69	1.221	-0.003	-0.006	0.000	0.000	0.000

45	69	1.221	-0.003	-0.006	0.000	0.000	0.000

70	1.230	-0.003	-0.008	0.000	-0.003	-0.002

46	70	1.230	-0.003	-0.008	0.000	-0.003	-0.002

61	1.239	-0.003	-0.009	0.000	-0.007	-0.003

47	45	-0.481	0.000	-0.076	0.000	0.026	0.000

60	-0.481	-0.002	-0.076	0.000	-0.019	-0.001

48	34	0.331	-0.039	0.199	0.018	-0.035	-0.003

7	0.331	-0.041	0.199	0.018	0.036	-0.017

49	60	-0.898	0.001	-0.020	0.000	0.008	0.000

59	-0.898	-0.002	-0.020	0.000	-0.004	0.000

50	35	-0.844	0.480	0.052	0.007	-0.019	-0.107

36	-0.844	0.477	0.052	0.007	0.019	0.238

51	59	-0.835	0.002	0.011	0.000	-0.002	0.000

58	-0.835	-0.001	0.011	0.000	0.004	0.000

52	36	-1.999	0.002	0.000	0.000	0.007	0.209

37	-1.999	-0.002	0.000	0.000	0.007	0.209

53	58	-0.627	0.002	0.030	0.000	-0.009	0.000

57	-0.628	-0.001	0.030	0.000	0.009	0.000

54	37	-0.846	-0.477	-0.053	-0.007	0.019	0.238

38	-0.846	-0.480	-0.053	-0.007	-0.019	-0.107

55	57	-0.147	0.002	0.045	0.000	-0.012	0.000

39	-0.147	-0.001	0.045	0.000	0.015	0.000

56	38	0.453	-0.513	0.265	0.000	-0.045	-0.069

9	0.453	-0.515	0.265	0.000	0.053	-0.258

57	44	-0.477	0.000	0.061	0.000	-0.022	0.000

56	-0.477	-0.003	0.061	0.000	0.015	-0.001

58	39	0.128	0.007	0.024	-0.009	-0.012	-0.011

5	0.128	0.004	0.024	-0.009	0.006	-0.007

59	56	-0.909	0.001	0.010	0.000	-0.005	0.000

53	-0.910	-0.001	0.010	0.000	0.001	0.000

60	40	-0.149	0.043	-0.407	-0.018	0.064	0.005

6	-0.149	0.041	-0.407	-0.018	-0.080	0.020

61	40	0.360	0.000	0.071	0.000	-0.025	0.000

28	0.359	-0.003	0.071	0.000	0.018	-0.001

62	41	-0.204	0.019	-0.030	0.005	0.015	-0.005

42	-0.204	0.016	-0.030	0.005	-0.007	0.007

63	41	0.236	0.000	-0.058	0.000	0.021	0.000

32	0.236	-0.003	-0.058	0.000	-0.014	-0.001

64	42	-0.295	0.002	0.000	0.000	-0.001	0.005

43	-0.295	-0.002	0.000	0.000	-0.001	0.005

65	42	0.351	0.000	0.010	0.000	-0.004	0.000

54	0.351	-0.003	0.010	0.000	0.002	-0.001

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 66 | 43 | -0.204 | -0.016 | 0.030 | -0.005 | -0.007 | 0.007 | 106 | 54 | -0.077 | -0.036 | -0.014 | 0.004 | 0.004 | 0.018 |
|  | 44 | -0.204 | -0.019 | 0.030 | -0.005 | 0.015 | -0.005 |  | 32 | -0.077 | -0.040 | -0.014 | 0.004 | -0.006 | -0.009 |
| 67 | 43 | 0.351 | 0.000 | -0.010 | 0.000 | 0.004 | 0.000 | 107 | 54 | 0.692 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 55 | 0.351 | -0.003 | -0.010 | 0.000 | -0.002 | -0.001 |  | 51 | 0.692 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
| 68 | 44 | -0.158 | 0.003 | -0.354 | -0.019 | 0.059 | -0.007 | 108 | 55 | -0.216 | 0.002 | 0.000 | 0.000 | 0.000 | 0.014 |
|  | 8 | -0.158 | 0.001 | -0.354 | -0.019 | -0.072 | -0.007 |  | 54 | -0.216 | -0.002 | 0.000 | 0.000 | 0.000 | 0.014 |
| 69 | 44 | 0.238 | 0.000 | 0.058 | 0.000 | -0.021 | 0.000 | 109 | 55 | 0.693 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 56 | 0.238 | -0.003 | 0.058 | 0.000 | 0.014 | -0.001 |  | 52 | 0.692 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
| 70 | 45 | -0.037 | -0.015 | -0.027 | 0.000 | 0.015 | 0.010 | 110 | 56 | -0.077 | 0.039 | 0.014 | -0.004 | -0.006 | -0.009 |
|  | 4 | -0.037 | -0.019 | -0.027 | 0.000 | -0.005 | -0.003 |  | 55 | -0.077 | 0.036 | 0.014 | -0.004 | 0.004 | 0.018 |
| 71 | 45 | 0.175 | 0.000 | -0.075 | 0.000 | 0.026 | 0.000 | 111 | 56 | 0.465 | 0.001 | 0.005 | 0.000 | -0.004 | 0.000 |
|  | 60 | 0.175 | -0.002 | -0.075 | 0.000 | -0.019 | -0.001 |  | 53 | 0.465 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 |
| 72 | 1 | 0.340 | -0.069 | 0.210 | 0.018 | -0.040 | -0.002 | 112 | 57 | 0.006 | 0.002 | 0.036 | 0.000 | -0.009 | 0.000 |
|  | 21 | 0.340 | -0.071 | 0.210 | 0.018 | 0.035 | -0.027 |  | 39 | 0.006 | -0.001 | 0.036 | 0.000 | 0.013 | 0.000 |
| 73 | 1 | 0.115 | 0.002 | -0.030 | 0.000 | 0.007 | 0.000 | 113 | 57 | 0.065 | 0.020 | 0.019 | -0.009 | -0.008 | -0.011 |
|  | 34 | 0.114 | 0.000 | -0.030 | 0.000 | -0.011 | 0.000 |  | 17 | 0.065 | 0.016 | 0.019 | -0.009 | 0.006 | 0.002 |
| 74 | 26 | 0.146 | 0.026 | -0.014 | 0.008 | 0.006 | -0.011 | 114 | 58 | 0.033 | 0.002 | 0.021 | 0.000 | -0.006 | 0.000 |
|  | 12 | 0.146 | 0.022 | -0.014 | 0.008 | -0.004 | 0.006 |  | 57 | 0.032 | -0.001 | 0.021 | 0.000 | 0.007 | 0.000 |
| 75 | 26 | 0.291 | 0.002 | -0.016 | 0.000 | 0.005 | 0.000 | 115 | 58 | 0.220 | -0.067 | -0.136 | -0.015 | 0.027 | -0.007 |
|  | 1 | 0.291 | 0.000 | -0.016 | 0.000 | -0.005 | 0.000 |  | 24 | 0.220 | -0.069 | -0.136 | -0.015 | -0.021 | -0.031 |
| 76 | 27 | 0.340 | -0.063 | -0.061 | 0.009 | 0.007 | -0.010 | 116 | 59 | 0.194 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.340 | -0.064 | -0.061 | 0.009 | -0.015 | -0.032 |  | 58 | 0.194 | -0.001 | 0.004 | 0.000 | 0.002 | 0.000 |
| 77 | 27 | 0.526 | 0.002 | 0.000 | 0.000 | -0.001 | 0.000 | 117 | 59 | 0.115 | 0.035 | 0.008 | -0.007 | -0.002 | -0.014 |
|  | 26 | 0.526 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 |  | 15 | 0.115 | 0.032 | 0.008 | -0.007 | 0.003 | 0.010 |
| 78 | 28 | 0.039 | 0.021 | 0.005 | 0.004 | -0.003 | -0.005 | 118 | 60 | 0.363 | 0.001 | -0.023 | 0.000 | 0.009 | 0.000 |
|  | 10 | 0.039 | 0.018 | 0.005 | 0.004 | 0.000 | 0.009 |  | 59 | 0.363 | -0.002 | -0.023 | 0.000 | -0.005 | 0.000 |
| 79 | 28 | 0.662 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 | 119 | 60 | 0.368 | -0.019 | 0.365 | 0.008 | -0.060 | -0.003 |
|  | 27 | 0.662 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |  | 22 | 0.368 | -0.021 | 0.365 | 0.008 | 0.069 | -0.010 |
| 80 | 29 | 0.022 | 0.006 | 0.073 | -0.001 | -0.019 | -0.001 | 120 | 6 | 1.164 | -0.003 | -0.001 | 0.000 | 0.005 | 0.004 |
|  | 35 | 0.022 | 0.003 | 0.073 | -0.001 | 0.025 | 0.001 |  | 67 | 1.203 | -0.003 | -0.002 | 0.000 | 0.004 | 0.003 |
| 81 | 29 | -0.251 | 0.062 | 0.011 | 0.004 | -0.004 | 0.014 | 121 | 8 | 1.163 | 0.003 | 0.001 | 0.000 | 0.003 | -0.004 |
|  | 33 | -0.251 | 0.058 | 0.011 | 0.004 | 0.004 | 0.057 |  | 63 | 1.202 | 0.003 | -0.001 | 0.000 | 0.003 | -0.003 |
| 82 | 30 | 0.134 | 0.003 | 0.046 | 0.000 | -0.013 | -0.001 | 122 | 53 | -0.860 | 0.003 | -0.022 | 0.000 | 0.005 | -0.001 |
|  | 29 | 0.134 | 0.001 | 0.046 | 0.000 | 0.015 | 0.000 |  | 50 | -0.861 | 0.000 | -0.022 | 0.000 | -0.008 | 0.000 |
| 83 | 30 | 0.251 | -0.087 | -0.237 | -0.004 | 0.038 | 0.024 | 123 | 50 | -0.711 | 0.003 | -0.038 | 0.000 | 0.010 | -0.001 |
|  | 20 | 0.251 | -0.089 | -0.237 | -0.004 | -0.049 | -0.008 |  | 47 | -0.711 | 0.001 | -0.038 | 0.000 | -0.012 | 0.000 |
| 84 | 31 | 0.300 | 0.003 | 0.027 | 0.000 | -0.007 | -0.001 | 124 | 47 | -0.306 | 0.006 | -0.033 | 0.001 | 0.007 | -0.001 |
|  | 30 | 0.299 | 0.000 | 0.027 | 0.000 | 0.009 | 0.000 |  | 38 | -0.306 | 0.003 | -0.033 | 0.001 | -0.013 | 0.001 |
| 85 | 31 | -0.060 | 0.038 | -0.002 | 0.002 | 0.001 | 0.000 | 125 | 43 | -0.230 | 0.000 | -0.008 | 0.000 | 0.003 | 0.000 |
|  | 51 | -0.060 | 0.034 | -0.002 | 0.002 | -0.001 | 0.026 |  | 55 | -0.230 | -0.003 | -0.008 | 0.000 | -0.002 | -0.001 |
| 86 | 32 | 0.459 | 0.001 | -0.005 | 0.000 | 0.003 | 0.000 | 126 | 55 | -0.443 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 31 | 0.459 | -0.001 | -0.005 | 0.000 | 0.000 | 0.000 |  | 52 | -0.443 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 87 | 32 | 0.298 | -0.048 | 0.254 | 0.013 | -0.046 | -0.004 | 127 | 52 | -0.448 | 0.003 | -0.001 | 0.000 | 0.000 | -0.001 |
|  | 18 | 0.298 | -0.050 | 0.254 | 0.013 | 0.048 | -0.022 |  | 49 | -0.448 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | -0.552 | 0.002 | 0.000 | 0.000 | 0.001 | 0.051 | 128 | 49 | -0.411 | 0.004 | -0.003 | 0.000 | 0.000 | -0.001 |
|  | 46 | -0.552 | -0.002 | 0.000 | 0.000 | 0.001 | 0.051 |  | 46 | -0.411 | 0.002 | -0.003 | 0.000 | -0.002 | 0.001 |
| 89 | 33 | 0.201 | 0.018 | 0.009 | -0.001 | -0.002 | -0.005 | 129 | 46 | -0.491 | 0.018 | 0.019 | 0.001 | -0.007 | -0.005 |
|  | 36 | 0.200 | 0.015 | 0.009 | -0.001 | 0.004 | 0.005 |  | 37 | -0.492 | 0.015 | 0.019 | 0.001 | 0.005 | 0.005 |
| 90 | 46 | -0.252 | -0.058 | -0.011 | -0.004 | 0.004 | 0.057 | 130 | 42 | -0.230 | 0.000 | 0.008 | 0.000 | -0.003 | 0.000 |
|  | 47 | -0.252 | -0.061 | -0.011 | -0.004 | -0.004 | 0.014 |  | 54 | -0.230 | -0.003 | 0.008 | 0.000 | 0.002 | -0.001 |
| 91 | 46 | 0.201 | 0.018 | -0.009 | 0.001 | 0.002 | -0.005 | 131 | 54 | -0.443 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 37 | 0.201 | 0.015 | -0.009 | 0.001 | -0.004 | 0.005 |  | 51 | -0.443 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
| 92 | 47 | 0.245 | -0.125 | 0.329 | 0.002 | -0.053 | 0.029 | 132 | 51 | -0.448 | 0.003 | 0.001 | 0.000 | 0.000 | -0.001 |
|  | 25 | 0.245 | -0.127 | 0.329 | 0.002 | 0.068 | -0.017 |  | 48 | -0.448 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | 0.024 | 0.006 | -0.073 | 0.001 | 0.019 | -0.001 | 133 | 48 | -0.410 | 0.004 | 0.003 | 0.000 | 0.000 | -0.001 |
|  | 38 | 0.024 | 0.003 | -0.073 | 0.001 | -0.025 | 0.001 |  | 33 | -0.411 | 0.002 | 0.003 | 0.000 | 0.002 | 0.001 |
| 94 | 48 | -0.201 | -0.033 | 0.002 | 0.002 | -0.001 | 0.035 | 134 | 33 | -0.491 | 0.018 | -0.019 | -0.001 | 0.007 | -0.005 |
|  | 30 | -0.201 | -0.036 | 0.002 | 0.002 | 0.001 | 0.010 |  | 36 | -0.491 | 0.015 | -0.019 | -0.001 | -0.005 | 0.005 |
| 95 | 48 | 0.710 | 0.004 | 0.007 | 0.000 | -0.001 | -0.001 | 135 | 41 | -0.477 | 0.000 | -0.061 | 0.000 | 0.022 | 0.000 |
|  | 33 | 0.709 | 0.002 | 0.007 | 0.000 | 0.003 | 0.001 |  | 32 | -0.477 | -0.003 | -0.061 | 0.000 | -0.015 | -0.001 |
| 96 | 49 | -0.369 | 0.002 | 0.000 | 0.000 | -0.001 | 0.031 | 136 | 32 | -0.914 | 0.001 | -0.009 | 0.000 | 0.005 | 0.000 |
|  | 48 | -0.369 | -0.002 | 0.000 | 0.000 | -0.001 | 0.031 |  | 31 | -0.914 | -0.001 | -0.009 | 0.000 | -0.001 | 0.000 |
| 97 | 49 | 0.710 | 0.004 | -0.007 | 0.000 | 0.001 | -0.001 | 137 | 31 | -0.867 | 0.003 | 0.022 | 0.000 | -0.005 | -0.001 |
|  | 46 | 0.710 | 0.002 | -0.007 | 0.000 | -0.003 | 0.001 |  | 30 | -0.867 | 0.000 | 0.022 | 0.000 | 0.008 | 0.000 |
| 98 | 50 | -0.203 | 0.036 | -0.003 | -0.002 | 0.001 | 0.010 | 138 | 30 | -0.717 | 0.003 | 0.038 | 0.000 | -0.010 | -0.001 |
|  | 49 | -0.203 | 0.033 | -0.003 | -0.002 | -0.001 | 0.035 |  | 29 | -0.717 | 0.001 | 0.038 | 0.000 | 0.012 | 0.000 |
| 99 | 50 | 0.140 | 0.003 | -0.046 | 0.000 | 0.013 | -0.001 | 139 | 29 | -0.307 | 0.006 | 0.033 | -0.001 | -0.007 | -0.001 |
|  | 47 | 0.140 | 0.001 | -0.046 | 0.000 | -0.015 | 0.000 |  | 35 | -0.308 | 0.003 | 0.033 | -0.001 | 0.013 | 0.001 |
| 100 | 51 | -0.233 | 0.002 | 0.000 | 0.000 | 0.001 | 0.021 | 140 | 40 | -0.599 | 0.000 | 0.073 | 0.000 | -0.026 | 0.000 |
|  | 52 | -0.233 | -0.002 | 0.000 | 0.000 | 0.001 | 0.021 |  | 28 | -0.599 | -0.003 | 0.073 | 0.000 | 0.018 | -0.001 |
| 101 | 51 | 0.751 | 0.003 | 0.002 | 0.000 | -0.001 | -0.001 | 141 | 28 | -1.066 | 0.001 | 0.018 | 0.000 | -0.007 | 0.000 |
|  | 48 | 0.751 | 0.001 | 0.002 | 0.000 | 0.001 | 0.000 |  | 27 | -1.066 | -0.002 | 0.018 | 0.000 | 0.004 | 0.000 |
| 102 | 52 | -0.062 | -0.034 | 0.002 | -0.002 | -0.001 | 0.026 | 142 | 27 | -1.019 | 0.002 | -0.012 | 0.000 | 0.003 | 0.000 |
|  | 53 | -0.062 | -0.038 | 0.002 | -0.002 | 0.001 | 0.000 |  | 26 | -1.020 | -0.001 | -0.012 | 0.000 | -0.005 | 0.000 |
| 103 | 52 | 0.752 | 0.003 | -0.002 | 0.000 | 0.001 | -0.001 | 143 | 26 | -0.772 | 0.002 | -0.031 | 0.000 | 0.009 | 0.000 |
|  | 49 | 0.752 | 0.001 | -0.002 | 0.000 | -0.001 | 0.000 |  | 1 | -0.772 | 0.000 | -0.031 | 0.000 | -0.010 | 0.000 |
| 104 | 53 | 0.388 | -0.074 | 0.058 | 0.001 | -0.007 | 0.012 | 144 | 1 | -0.208 | 0.002 | -0.045 | 0.000 | 0.012 | 0.000 |
|  | 23 | 0.388 | -0.076 | 0.058 | 0.001 | 0.014 | -0.016 |  | 34 | -0.208 | 0.000 | -0.045 | 0.000 | -0.015 | 0.000 |
| 105 | 53 | 0.308 | 0.003 | -0.027 | 0.000 | 0.007 | -0.001 |  |  |  |  |  |  |  |  |
|  | 50 | 0.307 | 0.000 | -0.027 | 0.000 | -0.009 | 0.000 |  |  |  |  |  |  |  |  |

| Load case 40 (Linear): COMB 4 (1+6) |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  |  |  |  |  |  |  |  |
| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment | 41 | 65 | 1.081 | 0.003 | 0.001 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 66 | 1.093 | 0.003 | 0.001 | 0.000 | 0.000 | 0.001 |
| 1 | 3 | 0.041 | -0.026 | -0.008 | 0.002 | 0.003 | 0.003 |  |  |  |  |  |  |  |  |
|  | 10 | 0.041 | -0.030 | -0.008 | 0.002 | -0.002 | -0.014 | 42 | 66 | 1.093 | 0.003 | 0.001 | 0.000 | 0.000 | 0.001 |
|  |  |  |  |  |  |  |  |  | 62 | 1.105 | 0.003 | 0.001 | 0.000 | 0.001 | 0.003 |
| 2 | 3 | -0.054 | 0.021 | 0.022 | 0.002 | -0.004 | -0.003 |  |  |  |  |  |  |  |  |
|  | 40 | -0.054 | 0.016 | 0.022 | 0.002 | 0.013 | 0.011 | 43 | 67 | 1.058 | -0.003 | -0.001 | 0.000 | 0.001 | 0.002 |
|  |  |  |  |  |  |  |  |  | 68 | 1.070 | -0.003 | -0.001 | 0.000 | 0.000 | 0.001 |
| 3 | 4 | 0.055 | -0.025 | 0.010 | -0.002 | -0.004 | 0.002 |  |  |  |  |  |  |  |  |
|  | 14 | 0.054 | -0.029 | 0.010 | -0.002 | 0.002 | -0.014 | 44 | 68 | 1.070 | -0.003 | -0.001 | 0.000 | 0.000 | 0.001 |
|  |  |  |  |  |  |  |  |  | 69 | 1.082 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 |
| 4 | 2 | 0.112 | -0.001 | -0.022 | 0.008 | 0.005 | -0.007 |  |  |  |  |  |  |  |  |
|  | 34 | 0.112 | -0.006 | -0.022 | 0.008 | -0.011 | -0.010 | 45 | 69 | 1.082 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 70 | 1.094 | -0.003 | -0.001 | 0.000 | 0.000 | -0.001 |
| 5 | 6 | 0.791 | 0.992 | 0.020 | -0.184 | -0.040 | -2.127 |  |  |  |  |  |  |  |  |
|  | 18 | 0.787 | 0.946 | 0.020 | -0.184 | -0.028 | -1.545 | 46 | 70 | 1.094 | -0.003 | -0.001 | 0.000 | 0.000 | -0.001 |
|  |  |  |  |  |  |  |  |  | 61 | 1.106 | -0.003 | -0.001 | 0.000 | -0.001 | -0.003 |
| 6 | 8 | 0.814 | 0.990 | -0.026 | 0.184 | 0.042 | -2.127 |  |  |  |  |  |  |  |  |
|  | 22 | 0.810 | 0.944 | -0.026 | 0.184 | 0.026 | -1.547 | 47 | 45 | -0.456 | 0.000 | -0.071 | 0.000 | 0.025 | 0.000 |
|  |  |  |  |  |  |  |  |  | 60 | -0.457 | -0.003 | -0.071 | 0.000 | -0.018 | -0.001 |
| 7 | 7 | 0.435 | 0.505 | -0.249 | 0.001 | 0.050 | -0.254 |  |  |  |  |  |  |  |  |
|  | 35 | 0.435 | 0.502 | -0.249 | 0.001 | -0.042 | -0.069 | 48 | 34 | 0.318 | -0.031 | 0.183 | 0.017 | -0.032 | -0.002 |
|  |  |  |  |  |  |  |  |  | 7 | 0.318 | -0.033 | 0.183 | 0.017 | 0.033 | -0.013 |
| 8 | 8 | -0.147 | -0.044 | 0.398 | 0.012 | -0.078 | 0.020 |  |  |  |  |  |  |  |  |
|  | 45 | -0.147 | -0.046 | 0.398 | 0.012 | 0.063 | 0.004 | 49 | 60 | -0.844 | 0.001 | -0.019 | 0.000 | 0.007 | 0.000 |
|  |  |  |  |  |  |  |  |  | 59 | -0.844 | -0.002 | -0.019 | 0.000 | -0.004 | 0.000 |
| 9 | 9 | 0.329 | 0.035 | -0.196 | -0.015 | 0.035 | -0.014 |  |  |  |  |  |  |  |  |
|  | 39 | 0.329 | 0.033 | -0.196 | -0.015 | -0.034 | -0.002 | 50 | 35 | -0.838 | 0.476 | 0.051 | 0.008 | -0.019 | -0.106 |
|  |  |  |  |  |  |  |  |  | 36 | -0.838 | 0.471 | 0.051 | 0.008 | 0.018 | 0.236 |
| 10 | 6 | -0.180 | -0.008 | 0.325 | 0.017 | -0.066 | -0.003 |  |  |  |  |  |  |  |  |
|  | 41 | -0.180 | -0.010 | 0.325 | 0.017 | 0.054 | -0.006 | 51 | 59 | -0.796 | 0.002 | 0.009 | 0.000 | -0.002 | 0.000 |
|  |  |  |  |  |  |  |  |  | 58 | -0.796 | -0.001 | 0.009 | 0.000 | 0.004 | 0.000 |
| 11 | 10 | 0.123 | -0.024 | 0.001 | -0.003 | -0.001 | -0.007 |  |  |  |  |  |  |  |  |
|  | 11 | 0.122 | -0.028 | 0.001 | -0.003 | 0.000 | -0.023 | 52 | 36 | -1.980 | 0.002 | 0.000 | 0.000 | 0.007 | 0.206 |
|  |  |  |  |  |  |  |  |  | 37 | -1.980 | -0.002 | 0.000 | 0.000 | 0.007 | 0.207 |
| 12 | 11 | 0.159 | -0.008 | 0.004 | -0.009 | -0.001 | -0.015 |  |  |  |  |  |  |  |  |
|  | 12 | 0.159 | -0.012 | 0.004 | -0.009 | 0.002 | -0.021 | 53 | 58 | -0.611 | 0.002 | 0.028 | 0.000 | -0.008 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | -0.611 | -0.001 | 0.028 | 0.000 | 0.009 | 0.000 |
| 13 | 12 | 0.165 | 0.000 | 0.004 | -0.010 | -0.001 | -0.012 |  |  |  |  |  |  |  |  |
|  | 13 | 0.164 | -0.004 | 0.004 | -0.010 | 0.001 | -0.014 | 54 | 37 | -0.840 | -0.471 | -0.051 | -0.007 | 0.018 | 0.236 |
|  |  |  |  |  |  |  |  |  | 38 | -0.840 | -0.476 | -0.051 | -0.007 | -0.019 | -0.106 |
| 14 | 13 | 0.109 | 0.004 | 0.015 | -0.010 | -0.004 | -0.006 |  |  |  |  |  |  |  |  |
|  | 2 | 0.109 | 0.000 | 0.015 | -0.010 | 0.005 | -0.005 | 55 | 57 | -0.150 | 0.002 | 0.041 | 0.000 | -0.011 | 0.000 |
|  |  |  |  |  |  |  |  |  | 39 | -0.150 | -0.001 | 0.041 | 0.000 | 0.014 | 0.000 |
| 15 | 14 | 0.155 | -0.023 | -0.001 | 0.003 | 0.000 | -0.008 |  |  |  |  |  |  |  |  |
|  | 15 | 0.155 | -0.027 | -0.001 | 0.003 | 0.000 | -0.024 | 56 | 38 | 0.440 | -0.502 | 0.250 | -0.001 | -0.042 | -0.069 |
|  |  |  |  |  |  |  |  |  | 9 | 0.440 | -0.504 | 0.250 | -0.001 | 0.050 | -0.254 |
| 16 | 15 | 0.193 | -0.008 | -0.005 | 0.009 | 0.001 | -0.015 |  |  |  |  |  |  |  |  |
|  | 16 | 0.192 | -0.012 | -0.005 | 0.009 | -0.002 | -0.021 | 57 | 44 | -0.453 | 0.000 | 0.056 | 0.000 | -0.020 | 0.000 |
|  |  |  |  |  |  |  |  |  | 56 | -0.453 | -0.003 | 0.056 | 0.000 | 0.014 | -0.001 |
| 17 | 16 | 0.189 | -0.001 | -0.004 | 0.010 | 0.001 | -0.012 |  |  |  |  |  |  |  |  |
|  | 17 | 0.188 | -0.005 | -0.004 | 0.010 | -0.001 | -0.014 | 58 | 39 | 0.123 | 0.006 | 0.023 | -0.009 | -0.011 | -0.010 |
|  |  |  |  |  |  |  |  |  | 5 | 0.123 | 0.002 | 0.023 | -0.009 | 0.005 | -0.007 |
| 18 | 17 | 0.119 | 0.003 | -0.015 | 0.009 | 0.004 | -0.006 |  |  |  |  |  |  |  |  |
|  | 5 | 0.118 | -0.001 | -0.015 | 0.009 | -0.005 | -0.006 | 59 | 56 | -0.857 | 0.002 | 0.009 | 0.000 | -0.005 | 0.000 |
|  |  |  |  |  |  |  |  |  | 53 | -0.857 | -0.001 | 0.009 | 0.000 | 0.001 | 0.000 |
| 19 | 18 | 1.343 | 0.860 | 0.103 | -0.170 | -0.048 | -1.481 |  |  |  |  |  |  |  |  |
|  | 19 | 1.342 | 0.845 | 0.103 | -0.170 | 0.014 | -0.970 | 60 | 40 | -0.163 | 0.046 | -0.378 | -0.016 | 0.060 | 0.005 |
|  |  |  |  |  |  |  |  |  | 6 | -0.163 | 0.044 | -0.378 | -0.016 | -0.074 | 0.021 |
| 20 | 19 | 1.341 | 0.745 | 0.042 | -0.194 | -0.013 | -0.979 |  |  |  |  |  |  |  |  |
|  | 20 | 1.340 | 0.730 | 0.042 | -0.194 | 0.012 | -0.536 | 61 | 40 | 0.332 | 0.000 | 0.067 | 0.000 | -0.023 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.332 | -0.003 | 0.067 | 0.000 | 0.017 | -0.001 |
| 21 | 20 | 0.996 | 0.642 | 0.026 | -0.222 | -0.015 | -0.581 |  |  |  |  |  |  |  |  |
|  | 21 | 0.995 | 0.627 | 0.026 | -0.222 | 0.000 | -0.200 | 62 | 41 | -0.198 | 0.015 | -0.029 | 0.005 | 0.014 | -0.004 |
|  |  |  |  |  |  |  |  |  | 42 | -0.198 | 0.010 | -0.029 | 0.005 | -0.007 | 0.005 |
| 22 | 21 | 0.479 | 0.513 | 0.117 | -0.230 | -0.033 | -0.256 |  |  |  |  |  |  |  |  |
|  | 7 | 0.478 | 0.498 | 0.117 | -0.230 | 0.037 | 0.048 | 63 | 41 | 0.223 | 0.000 | -0.053 | 0.000 | 0.019 | 0.000 |
|  |  |  |  |  |  |  |  |  | 32 | 0.222 | -0.003 | -0.053 | 0.000 | -0.013 | -0.001 |
| 23 | 22 | 1.382 | 0.858 | -0.104 | 0.170 | 0.048 | -1.484 |  |  |  |  |  |  |  |  |
|  | 23 | 1.381 | 0.843 | -0.104 | 0.170 | -0.014 | -0.974 | 64 | 42 | -0.277 | 0.002 | 0.000 | 0.000 | -0.001 | 0.003 |
|  |  |  |  |  |  |  |  |  | 43 | -0.277 | -0.002 | 0.000 | 0.000 | -0.001 | 0.003 |
| 24 | 23 | 1.381 | 0.745 | -0.040 | 0.193 | 0.013 | -0.982 |  |  |  |  |  |  |  |  |
|  | 24 | 1.380 | 0.729 | -0.040 | 0.193 | -0.011 | -0.540 | 65 | 42 | 0.352 | 0.000 | 0.009 | 0.000 | -0.003 | 0.000 |
|  |  |  |  |  |  |  |  |  | 54 | 0.352 | -0.003 | 0.009 | 0.000 | 0.002 | -0.001 |
| 25 | 24 | 1.026 | 0.643 | -0.022 | 0.221 | 0.014 | -0.583 |  |  |  |  |  |  |  |  |
|  | 25 | 1.025 | 0.628 | -0.022 | 0.221 | 0.001 | -0.202 | 66 | 43 | -0.198 | -0.010 | 0.029 | -0.005 | -0.007 | 0.005 |
|  |  |  |  |  |  |  |  |  | 44 | -0.198 | -0.015 | 0.029 | -0.005 | 0.014 | -0.004 |
| 26 | 25 | 0.493 | 0.514 | -0.111 | 0.229 | 0.032 | -0.257 |  |  |  |  |  |  |  |  |
|  | 9 | 0.492 | 0.499 | -0.111 | 0.229 | -0.035 | 0.047 | 67 | 43 | 0.353 | 0.000 | -0.009 | 0.000 | 0.003 | 0.000 |
|  |  |  |  |  |  |  |  |  | 55 | 0.352 | -0.003 | -0.009 | 0.000 | -0.002 | -0.001 |
| 27 | 13 | 0.060 | -0.012 | -0.017 | 0.008 | 0.005 | 0.001 |  |  |  |  |  |  |  |  |
|  | 1 | 0.060 | -0.017 | -0.017 | 0.008 | -0.007 | -0.009 | 68 | 44 | -0.170 | 0.010 | -0.326 | -0.017 | 0.054 | -0.006 |
|  |  |  |  |  |  |  |  |  | 8 | -0.170 | 0.008 | -0.326 | -0.017 | -0.066 | -0.003 |
| 28 | 21 | 0.188 | 0.105 | -0.312 | -0.001 | 0.065 | -0.009 |  |  |  |  |  |  |  |  |
|  | 29 | 0.188 | 0.102 | -0.312 | -0.001 | -0.049 | 0.029 | 69 | 44 | 0.225 | 0.000 | 0.054 | 0.000 | -0.019 | 0.000 |
|  |  |  |  |  |  |  |  |  | 56 | 0.224 | -0.003 | 0.054 | 0.000 | 0.013 | -0.001 |
| 29 | 25 | 0.272 | 0.055 | -0.208 | -0.015 | 0.034 | -0.020 |  |  |  |  |  |  |  |  |
|  | 57 | 0.272 | 0.053 | -0.208 | -0.015 | -0.039 | -0.001 | 70 | 45 | -0.041 | -0.015 | -0.025 | -0.001 | 0.014 | 0.010 |
|  |  |  |  |  |  |  |  |  | 4 | -0.041 | -0.020 | -0.025 | -0.001 | -0.004 | -0.002 |
| 30 | 16 | 0.118 | -0.015 | 0.014 | -0.009 | -0.004 | 0.005 |  |  |  |  |  |  |  |  |
|  | 58 | 0.118 | -0.020 | 0.014 | -0.009 | 0.006 | -0.008 | 71 | 45 | 0.159 | 0.000 | -0.070 | 0.000 | 0.024 | 0.000 |
|  |  |  |  |  |  |  |  |  | 60 | 0.159 | -0.003 | -0.070 | 0.000 | -0.018 | -0.001 |
| 31 | 24 | 0.165 | 0.066 | 0.223 | 0.004 | -0.047 | 0.001 |  |  |  |  |  |  |  |  |
|  | 50 | 0.165 | 0.063 | 0.223 | 0.004 | 0.035 | 0.024 | 72 | 1 | 0.280 | -0.052 | 0.192 | 0.017 | -0.036 | -0.001 |
|  |  |  |  |  |  |  |  |  | 21 | 0.280 | -0.054 | 0.192 | 0.017 | 0.032 | -0.020 |
| 32 | 20 | 0.161 | 0.051 | 0.112 | 0.016 | -0.017 | -0.024 |  |  |  |  |  |  |  |  |
|  | 26 | 0.161 | 0.049 | 0.112 | 0.016 | 0.022 | -0.006 | 73 | 1 | 0.117 | 0.002 | -0.027 | 0.000 | 0.006 | 0.000 |
|  |  |  |  |  |  |  |  |  | 34 | 0.117 | -0.001 | -0.027 | 0.000 | -0.010 | 0.000 |
| 33 | 11 | 0.107 | -0.025 | -0.007 | 0.007 | 0.003 | 0.009 |  |  |  |  |  |  |  |  |
|  | 27 | 0.107 | -0.030 | -0.007 | 0.007 | -0.002 | -0.011 | 74 | 26 | 0.129 | 0.020 | -0.013 | 0.008 | 0.005 | -0.008 |
|  |  |  |  |  |  |  |  |  | 12 | 0.129 | 0.016 | -0.013 | 0.008 | -0.004 | 0.005 |
| 34 | 19 | 0.315 | 0.053 | -0.055 | 0.000 | 0.014 | -0.007 |  |  |  |  |  |  |  |  |
|  | 31 | 0.315 | 0.051 | -0.055 | 0.000 | -0.006 | 0.012 | 75 | 26 | 0.275 | 0.002 | -0.014 | 0.000 | 0.004 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.274 | -0.001 | -0.014 | 0.000 | -0.005 | 0.000 |
| 35 | 23 | 0.237 | 0.045 | 0.063 | -0.008 | -0.015 | -0.023 |  |  |  |  |  |  |  |  |
|  | 59 | 0.237 | 0.042 | 0.063 | -0.008 | 0.007 | -0.008 | 76 | 27 | 0.254 | -0.044 | -0.064 | 0.009 | 0.007 | -0.008 |
|  |  |  |  |  |  |  |  |  | 19 | 0.254 | -0.046 | -0.064 | 0.009 | -0.015 | -0.024 |
| 36 | 14 | 0.014 | -0.011 | -0.007 | -0.004 | 0.001 | 0.007 |  |  |  |  |  |  |  |  |
|  | 60 | 0.014 | -0.016 | -0.007 | -0.004 | -0.004 | -0.003 | 77 | 27 | 0.486 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.485 | -0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
| 37 | 22 | 0.206 | 0.030 | -0.236 | -0.012 | 0.044 | -0.013 |  |  |  |  |  |  |  |  |
|  | 56 | 0.206 | 0.027 | -0.236 | -0.012 | -0.042 | -0.003 | 78 | 28 | 0.024 | 0.016 | 0.005 | 0.005 | -0.003 | -0.003 |
|  |  |  |  |  |  |  |  |  | 10 | 0.024 | 0.011 | 0.005 | 0.005 | 0.000 | 0.007 |
| 38 | 18 | 0.297 | 0.008 | -0.327 | -0.009 | 0.062 | -0.004 |  |  |  |  |  |  |  |  |
|  | 28 | 0.297 | 0.005 | -0.327 | -0.009 | -0.054 | -0.001 | 79 | 28 | 0.606 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.606 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |
| 39 | 63 | 1.057 | 0.003 | 0.001 | 0.000 | -0.001 | -0.002 |  |  |  |  |  |  |  |  |
|  | 64 | 1.069 | 0.003 | 0.001 | 0.000 | 0.000 | -0.001 | 80 | 29 | 0.034 | 0.006 | 0.070 | -0.001 | -0.018 | -0.001 |
|  |  |  |  |  |  |  |  |  | 35 | 0.033 | 0.003 | 0.070 | -0.001 | 0.024 | 0.001 |
| 40 | 64 | 1.069 | 0.003 | 0.001 | 0.000 | 0.000 | -0.001 |  |  |  |  |  |  |  |  |
|  | 65 | 1.081 | 0.003 | 0.001 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 81 | 29 | -0.229 | 0.052 | 0.010 | 0.005 | -0.004 | 0.016 | 121 | 8 | 1.005 | 0.003 | 0.001 | 0.000 | -0.001 | -0.004 |
|  | 33 | -0.229 | 0.047 | 0.010 | 0.005 | 0.004 | 0.052 |  | 63 | 1.057 | 0.003 | 0.001 | 0.000 | -0.001 | -0.002 |
| 82 | 30 | 0.131 | 0.003 | 0.044 | 0.000 | -0.012 | -0.001 | 122 | 53 | -0.823 | 0.003 | -0.020 | 0.000 | 0.005 | -0.001 |
|  | 29 | 0.131 | 0.000 | 0.044 | 0.000 | 0.014 | 0.000 |  | 50 | -0.823 | 0.000 | -0.020 | 0.000 | -0.007 | 0.000 |
| 83 | 30 | 0.178 | -0.063 | -0.223 | -0.004 | 0.035 | 0.024 | 123 | 50 | -0.696 | 0.003 | -0.035 | 0.000 | 0.010 | -0.001 |
|  | 20 | 0.178 | -0.066 | -0.223 | -0.004 | -0.047 | 0.001 |  | 47 | -0.696 | 0.000 | -0.035 | 0.000 | -0.012 | 0.000 |
| 84 | 31 | 0.278 | 0.003 | 0.025 | 0.000 | -0.006 | -0.001 | 124 | 47 | -0.310 | 0.006 | -0.030 | 0.001 | 0.006 | -0.001 |
|  | 30 | 0.278 | 0.000 | 0.025 | 0.000 | 0.009 | 0.000 |  | 38 | -0.310 | 0.003 | -0.030 | 0.001 | -0.012 | 0.001 |
| 85 | 31 | -0.050 | 0.027 | -0.003 | 0.002 | 0.001 | 0.003 | 125 | 43 | -0.221 | 0.000 | -0.007 | 0.000 | 0.003 | 0.000 |
|  | 51 | -0.050 | 0.023 | -0.003 | 0.002 | -0.001 | 0.021 |  | 55 | -0.222 | -0.003 | -0.007 | 0.000 | -0.002 | -0.001 |
| 86 | 32 | 0.421 | 0.002 | -0.005 | 0.000 | 0.003 | 0.000 | 126 | 55 | -0.412 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 31 | 0.421 | -0.001 | -0.005 | 0.000 | 0.000 | 0.000 |  | 52 | -0.412 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 87 | 32 | 0.215 | -0.028 | 0.234 | 0.012 | -0.042 | -0.003 | 127 | 52 | -0.419 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 18 | 0.215 | -0.030 | 0.234 | 0.012 | 0.044 | -0.013 |  | 49 | -0.419 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 88 | 33 | -0.486 | 0.002 | 0.000 | 0.000 | 0.001 | 0.047 | 128 | 49 | -0.396 | 0.004 | -0.003 | 0.000 | 0.000 | -0.001 |
|  | 46 | -0.486 | -0.002 | 0.000 | 0.000 | 0.001 | 0.047 |  | 46 | -0.396 | 0.001 | -0.003 | 0.000 | -0.002 | 0.001 |
| 89 | 33 | 0.222 | 0.018 | 0.010 | -0.001 | -0.002 | -0.005 | 129 | 46 | -0.493 | 0.018 | 0.019 | 0.001 | -0.007 | -0.005 |
|  | 36 | 0.222 | 0.015 | 0.010 | -0.001 | 0.004 | 0.005 |  | 37 | -0.494 | 0.015 | 0.019 | 0.001 | 0.005 | 0.005 |
| 90 | 46 | -0.230 | -0.047 | -0.010 | -0.005 | 0.004 | 0.052 | 130 | 42 | -0.221 | 0.000 | 0.007 | 0.000 | -0.003 | 0.000 |
|  | 47 | -0.230 | -0.052 | -0.010 | -0.005 | -0.004 | 0.017 |  | 54 | -0.221 | -0.003 | 0.007 | 0.000 | 0.002 | -0.001 |
| 91 | 46 | 0.222 | 0.018 | -0.010 | 0.001 | 0.002 | -0.005 | 131 | 54 | -0.412 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 37 | 0.222 | 0.015 | -0.010 | 0.001 | -0.004 | 0.005 |  | 51 | -0.412 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
| 92 | 47 | 0.183 | -0.102 | 0.312 | 0.001 | -0.050 | 0.029 | 132 | 51 | -0.419 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 25 | 0.183 | -0.104 | 0.312 | 0.001 | 0.065 | -0.009 |  | 48 | -0.419 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 93 | 47 | 0.036 | 0.006 | -0.070 | 0.001 | 0.018 | -0.001 | 133 | 48 | -0.395 | 0.004 | 0.003 | 0.000 | 0.000 | -0.001 |
|  | 38 | 0.036 | 0.003 | -0.070 | 0.001 | -0.024 | 0.001 |  | 33 | -0.396 | 0.001 | 0.003 | 0.000 | 0.002 | 0.001 |
| 94 | 48 | -0.184 | -0.021 | 0.001 | 0.003 | 0.000 | 0.030 | 134 | 33 | -0.493 | 0.018 | -0.019 | -0.001 | 0.007 | -0.005 |
|  | 30 | -0.184 | -0.026 | 0.001 | 0.003 | 0.001 | 0.013 |  | 36 | -0.493 | 0.015 | -0.019 | -0.001 | -0.005 | 0.005 |
| 95 | 48 | 0.714 | 0.004 | 0.007 | 0.000 | -0.001 | -0.001 | 135 | 41 | -0.454 | 0.000 | -0.056 | 0.000 | 0.020 | 0.000 |
|  | 33 | 0.713 | 0.001 | 0.007 | 0.000 | 0.003 | 0.001 |  | 32 | -0.454 | -0.003 | -0.056 | 0.000 | -0.014 | -0.001 |
| 96 | 49 | -0.306 | 0.002 | 0.000 | 0.000 | -0.001 | 0.027 | 136 | 32 | -0.862 | 0.002 | -0.009 | 0.000 | 0.005 | 0.000 |
|  | 48 | -0.306 | -0.003 | 0.000 | 0.000 | -0.001 | 0.027 |  | 31 | -0.862 | -0.001 | -0.009 | 0.000 | -0.001 | 0.000 |
| 97 | 49 | 0.714 | 0.004 | -0.007 | 0.000 | 0.001 | -0.001 | 137 | 31 | -0.829 | 0.003 | 0.020 | 0.000 | -0.005 | -0.001 |
|  | 46 | 0.714 | 0.001 | -0.007 | 0.000 | -0.003 | 0.001 |  | 30 | -0.829 | 0.000 | 0.020 | 0.000 | 0.007 | 0.000 |
| 98 | 50 | -0.185 | 0.026 | -0.001 | -0.003 | 0.001 | 0.013 | 138 | 30 | -0.701 | 0.003 | 0.035 | 0.000 | -0.010 | -0.001 |
|  | 49 | -0.185 | 0.021 | -0.001 | -0.003 | 0.000 | 0.030 |  | 29 | -0.701 | 0.000 | 0.035 | 0.000 | 0.012 | 0.000 |
| 99 | 50 | 0.137 | 0.003 | -0.044 | 0.000 | 0.012 | -0.001 | 139 | 29 | -0.311 | 0.006 | 0.030 | -0.001 | -0.006 | -0.001 |
|  | 47 | 0.137 | 0.000 | -0.044 | 0.000 | -0.014 | 0.000 |  | 35 | -0.311 | 0.003 | 0.030 | -0.001 | 0.012 | 0.001 |
| 100 | 51 | -0.175 | 0.003 | 0.000 | 0.000 | 0.001 | 0.017 | 140 | 40 | -0.566 | 0.000 | 0.068 | 0.000 | -0.024 | 0.000 |
|  | 52 | -0.175 | -0.002 | 0.000 | 0.000 | 0.001 | 0.017 |  | 28 | -0.567 | -0.003 | 0.068 | 0.000 | 0.017 | -0.001 |
| 101 | 51 | 0.736 | 0.003 | 0.002 | 0.000 | -0.001 | -0.001 | 141 | 28 | -1.003 | 0.001 | 0.018 | 0.000 | -0.007 | 0.000 |
|  | 48 | 0.736 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |  | 27 | -1.003 | -0.002 | 0.018 | 0.000 | 0.004 | 0.000 |
| 102 | 52 | -0.051 | -0.022 | 0.003 | -0.002 | -0.001 | 0.021 | 142 | 27 | -0.971 | 0.002 | -0.011 | 0.000 | 0.002 | 0.000 |
|  | 53 | -0.051 | -0.027 | 0.003 | -0.002 | 0.001 | 0.003 |  | 26 | -0.971 | -0.001 | -0.011 | 0.000 | -0.004 | 0.000 |
| 103 | 52 | 0.736 | 0.003 | -0.002 | 0.000 | 0.001 | -0.001 | 143 | 26 | -0.749 | 0.002 | -0.029 | 0.000 | 0.008 | 0.000 |
|  | 49 | 0.736 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |  | 1 | -0.749 | -0.001 | -0.029 | 0.000 | -0.009 | 0.000 |
| 104 | 53 | 0.302 | -0.051 | 0.054 | 0.000 | -0.006 | 0.012 | 144 | 1 | -0.208 | 0.002 | -0.042 | 0.000 | 0.011 | 0.000 |
|  | 23 | 0.302 | -0.053 | 0.054 | 0.000 | 0.014 | -0.007 |  | 34 | -0.208 | -0.001 | -0.042 | 0.000 | -0.014 | 0.000 |
| 105 | 53 | 0.286 | 0.003 | -0.025 | 0.000 | 0.006 | -0.001 | Load case 50 (Linear): COMB 5 (1+4+6+7) |  |  |  |  |  |  |  |
|  | 50 | 0.285 | 0.000 | -0.025 | 0.000 | -0.009 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | -0.065 | -0.024 | -0.014 | 0.004 | 0.004 | 0.013 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | -0.065 | -0.029 | -0.014 | 0.004 | -0.006 | -0.006 | 1 | 3 | 0.042 | -0.026 | -0.008 | 0.002 | 0.003 | 0.003 |
| 107 | 54 | 0.671 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |  | 10 | 0.042 | -0.029 | -0.008 | 0.002 | -0.002 | -0.014 |
|  | 51 | 0.671 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 | 2 | 3 | -0.054 | 0.020 | 0.023 | 0.002 | -0.004 | -0.003 |
| 108 | 55 | -0.159 | 0.002 | 0.000 | 0.000 | 0.000 | 0.011 |  | 40 | -0.054 | 0.017 | 0.023 | 0.002 | 0.013 | 0.010 |
|  | 54 | -0.159 | -0.002 | 0.000 | 0.000 | 0.000 | 0.011 | 3 | 4 | 0.056 | -0.026 | 0.010 | -0.002 | -0.004 | 0.002 |
| 109 | 55 | 0.672 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |  | 14 | 0.056 | -0.029 | 0.010 | -0.002 | 0.002 | -0.014 |
|  | 52 | 0.671 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 | 4 | 2 | 0.113 | -0.002 | -0.022 | 0.008 | 0.005 | -0.007 |
| 110 | 56 | -0.066 | 0.029 | 0.014 | -0.004 | -0.006 | -0.006 |  | 34 | 0.113 | -0.006 | -0.022 | 0.008 | -0.011 | -0.010 |
|  | 55 | -0.066 | 0.024 | 0.014 | -0.004 | 0.004 | 0.014 | 5 | 6 | 0.812 | 1.031 | 0.021 | -0.187 | -0.041 | -2.198 |
| 111 | 56 | 0.427 | 0.002 | 0.005 | 0.000 | -0.003 | 0.000 |  | 18 | 0.809 | 0.997 | 0.021 | -0.187 | -0.028 | -1.589 |
|  | 53 | 0.427 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | 6 | 8 | 0.835 | 1.029 | -0.027 | 0.187 | 0.043 | -2.198 |
| 112 | 57 | 0.014 | 0.002 | 0.033 | 0.000 | -0.008 | 0.000 |  | 22 | 0.832 | 0.994 | -0.027 | 0.187 | 0.026 | -1.591 |
|  | 39 | 0.014 | -0.001 | 0.033 | 0.000 | 0.011 | 0.000 | 7 | 7 | 0.439 | 0.508 | -0.254 | 0.001 | 0.051 | -0.256 |
| 113 | 57 | 0.053 | 0.017 | 0.018 | -0.009 | -0.007 | -0.009 |  | 35 | 0.439 | 0.506 | -0.254 | 0.001 | -0.043 | -0.069 |
|  | 17 | 0.053 | 0.012 | 0.018 | -0.009 | 0.006 | 0.001 | 8 | 8 | -0.142 | -0.043 | 0.407 | 0.013 | -0.080 | 0.020 |
| 114 | 58 | 0.028 | 0.002 | 0.019 | 0.000 | -0.005 | 0.000 |  | 45 | -0.142 | -0.045 | 0.407 | 0.013 | 0.064 | 0.004 |
|  | 57 | 0.027 | -0.001 | 0.019 | 0.000 | 0.006 | 0.000 | 9 | 9 | 0.334 | 0.038 | -0.201 | -0.015 | 0.036 | -0.016 |
| 115 | 58 | 0.147 | -0.049 | -0.122 | -0.014 | 0.024 | -0.006 |  | 39 | 0.334 | 0.036 | -0.201 | -0.015 | -0.035 | -0.003 |
|  | 24 | 0.147 | -0.051 | -0.122 | -0.014 | -0.019 | -0.024 | 10 | 6 | -0.176 | -0.006 | 0.333 | 0.017 | -0.067 | -0.004 |
| 116 | 59 | 0.172 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | -0.176 | -0.007 | 0.333 | 0.017 | 0.055 | -0.007 |
|  | 58 | 0.172 | -0.001 | 0.002 | 0.000 | 0.002 | 0.000 | 11 | 10 | 0.125 | -0.025 | 0.001 | -0.003 | 0.000 | -0.007 |
| 117 | 59 | 0.096 | 0.029 | 0.007 | -0.007 | -0.002 | -0.011 |  | 11 | 0.125 | -0.028 | 0.001 | -0.003 | 0.000 | -0.023 |
|  | 15 | 0.096 | 0.024 | 0.007 | -0.007 | 0.003 | 0.009 | 12 | 11 | 0.162 | -0.008 | 0.004 | -0.009 | -0.001 | -0.015 |
| 118 | 60 | 0.325 | 0.001 | -0.023 | 0.000 | 0.008 | 0.000 |  | 12 | 0.162 | -0.011 | 0.004 | -0.009 | 0.002 | -0.021 |
|  | 59 | 0.324 | -0.002 | -0.023 | 0.000 | -0.005 | 0.000 | 13 | 12 | 0.165 | 0.000 | 0.004 | -0.011 | -0.001 | -0.013 |
| 119 | 60 | 0.285 | -0.003 | 0.342 | 0.007 | -0.056 | -0.001 |  | 13 | 0.165 | -0.003 | 0.004 | -0.011 | 0.001 | -0.014 |
|  | 22 | 0.285 | -0.006 | 0.342 | 0.007 | 0.065 | -0.003 | 14 | 13 | 0.109 | 0.003 | 0.015 | -0.010 | -0.004 | -0.006 |
| 120 | 6 | 1.006 | -0.003 | -0.001 | 0.000 | 0.001 | 0.004 |  | 2 | 0.109 | 0.000 | 0.015 | -0.010 | 0.005 | -0.005 |
|  | 67 | 1.058 | -0.003 | -0.001 | 0.000 | 0.001 | 0.002 | 15 | 14 | 0.158 | -0.024 | -0.001 | 0.003 | 0.000 | -0.008 |
|  |  |  |  |  |  |  |  |  | 15 | 0.158 | -0.027 | -0.001 | 0.003 | 0.000 | -0.024 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 56 | 38 | 0.444 | -0.506 | 0.255 | -0.001 | -0.043 | -0.069 |
| 16 | 15 | 0.196 | -0.008 | -0.005 | 0.009 | 0.001 | -0.016 |  | 9 | 0.444 | -0.508 | 0.255 | -0.001 | 0.051 | -0.255 |
|  | 16 | 0.195 | -0.011 | -0.005 | 0.009 | -0.002 | -0.021 | 57 | 44 | -0.458 | 0.000 | 0.058 | 0.000 | -0.020 | 0.000 |
| 17 | 16 | 0.190 | -0.001 | -0.004 | 0.011 | 0.001 | -0.013 |  | 56 | -0.458 | -0.003 | 0.058 | 0.000 | 0.014 | -0.001 |
|  | 17 | 0.190 | -0.004 | -0.004 | 0.011 | -0.001 | -0.014 | 58 | 39 | 0.125 | 0.006 | 0.024 | -0.009 | -0.011 | -0.010 |
| 18 | 17 | 0.118 | 0.003 | -0.016 | 0.010 | 0.004 | -0.006 |  | 5 | 0.125 | 0.003 | 0.024 | -0.009 | 0.006 | -0.007 |
|  | 5 | 0.118 | 0.000 | -0.016 | 0.010 | -0.005 | -0.006 | 59 | 56 | -0.871 | 0.001 | 0.009 | 0.000 | -0.005 | 0.000 |
| 19 | 18 | 1.375 | 0.895 | 0.104 | -0.172 | -0.048 | -1.524 |  | 53 | -0.872 | -0.001 | 0.009 | 0.000 | 0.001 | 0.000 |
|  | 19 | 1.374 | 0.884 | 0.104 | -0.172 | 0.014 | -0.991 | 60 | 40 | -0.157 | 0.044 | -0.387 | -0.017 | 0.061 | 0.005 |
| 20 | 19 | 1.371 | 0.768 | 0.042 | -0.196 | -0.013 | -1.000 |  | 6 | -0.157 | 0.043 | -0.387 | -0.017 | -0.076 | 0.021 |
|  | 20 | 1.370 | 0.757 | 0.042 | -0.196 | 0.012 | -0.542 | 61 | 40 | 0.339 | 0.000 | 0.068 | 0.000 | -0.024 | 0.000 |
| 21 | 20 | 1.016 | 0.654 | 0.026 | -0.223 | -0.015 | -0.588 |  | 28 | 0.339 | -0.003 | 0.068 | 0.000 | 0.017 | -0.001 |
|  | 21 | 1.015 | 0.643 | 0.026 | -0.223 | 0.000 | -0.199 | 62 | 41 | -0.201 | 0.016 | -0.029 | 0.005 | 0.014 | -0.004 |
| 22 | 21 | 0.488 | 0.514 | 0.117 | -0.230 | -0.033 | -0.256 |  | 42 | -0.201 | 0.012 | -0.029 | 0.005 | -0.007 | 0.006 |
|  | 7 | 0.487 | 0.503 | 0.117 | -0.230 | 0.037 | 0.049 | 63 | 41 | 0.225 | 0.000 | -0.055 | 0.000 | 0.019 | 0.000 |
| 23 | 22 | 1.416 | 0.894 | -0.105 | 0.172 | 0.049 | -1.527 |  | 32 | 0.224 | -0.003 | -0.055 | 0.000 | -0.013 | -0.001 |
|  | 23 | 1.415 | 0.882 | -0.105 | 0.172 | -0.015 | -0.995 | 64 | 42 | -0.283 | 0.002 | 0.000 | 0.000 | -0.001 | 0.003 |
| 24 | 23 | 1.411 | 0.768 | -0.040 | 0.195 | 0.013 | -1.003 |  | 43 | -0.283 | -0.002 | 0.000 | 0.000 | -0.001 | 0.003 |
|  | 24 | 1.410 | 0.757 | -0.040 | 0.195 | -0.011 | -0.546 | 65 | 42 | 0.347 | 0.000 | 0.009 | 0.000 | -0.003 | 0.000 |
| 25 | 24 | 1.047 | 0.655 | -0.022 | 0.222 | 0.014 | -0.591 |  | 54 | 0.347 | -0.003 | 0.009 | 0.000 | 0.002 | -0.001 |
|  | 25 | 1.046 | 0.644 | -0.022 | 0.222 | 0.001 | -0.201 | 66 | 43 | -0.201 | -0.012 | 0.029 | -0.005 | -0.007 | 0.006 |
| 26 | 25 | 0.502 | 0.515 | -0.111 | 0.229 | 0.031 | -0.257 |  | 44 | -0.201 | -0.016 | 0.029 | -0.005 | 0.014 | -0.004 |
|  | 9 | 0.501 | 0.504 | -0.111 | 0.229 | -0.035 | 0.049 | 67 | 43 | 0.348 | 0.000 | -0.009 | 0.000 | 0.003 | 0.000 |
| 27 | 13 | 0.064 | -0.014 | -0.017 | 0.008 | 0.005 | 0.002 |  | 55 | 0.348 | -0.003 | -0.009 | 0.000 | -0.002 | -0.001 |
|  | 1 | 0.064 | -0.018 | -0.017 | 0.008 | -0.007 | -0.010 | 68 | 44 | -0.166 | 0.007 | -0.335 | -0.018 | 0.055 | -0.006 |
| 28 | 21 | 0.212 | 0.113 | -0.317 | -0.002 | 0.066 | -0.012 |  | 8 | -0.166 | 0.006 | -0.335 | -0.018 | -0.068 | -0.004 |
|  | 29 | 0.212 | 0.112 | -0.317 | -0.002 | -0.050 | 0.029 | 69 | 44 | 0.227 | 0.000 | 0.055 | 0.000 | -0.020 | 0.000 |
| 29 | 25 | 0.295 | 0.062 | -0.213 | -0.015 | 0.035 | -0.023 |  | 56 | 0.227 | -0.003 | 0.055 | 0.000 | 0.013 | -0.001 |
|  | 57 | 0.295 | 0.060 | -0.213 | -0.015 | -0.040 | -0.001 | 70 | 45 | -0.040 | -0.015 | -0.025 | -0.001 | 0.014 | 0.010 |
| 30 | 16 | 0.123 | -0.018 | 0.014 | -0.009 | -0.004 | 0.005 |  | 4 | -0.040 | -0.019 | -0.025 | -0.001 | -0.004 | -0.002 |
|  | 58 | 0.123 | -0.021 | 0.014 | -0.009 | 0.006 | -0.009 | 71 | 45 | 0.163 | 0.000 | -0.072 | 0.000 | 0.025 | 0.000 |
| 31 | 24 | 0.193 | 0.075 | 0.227 | 0.004 | -0.048 | -0.003 |  | 60 | 0.162 | -0.002 | -0.072 | 0.000 | -0.018 | -0.001 |
|  | 50 | 0.193 | 0.073 | 0.227 | 0.004 | 0.036 | 0.024 | 72 | 1 | 0.302 | -0.059 | 0.198 | 0.017 | -0.037 | -0.001 |
| 32 | 20 | 0.189 | 0.058 | 0.116 | 0.016 | -0.018 | -0.027 |  | 21 | 0.302 | -0.060 | 0.198 | 0.017 | 0.033 | -0.023 |
|  | 26 | 0.189 | 0.056 | 0.116 | 0.016 | 0.023 | -0.007 | 73 | 1 | 0.115 | 0.002 | -0.028 | 0.000 | 0.007 | 0.000 |
| 33 | 11 | 0.113 | -0.028 | -0.008 | 0.007 | 0.003 | 0.010 |  | 34 | 0.115 | 0.000 | -0.028 | 0.000 | -0.010 | 0.000 |
|  | 27 | 0.113 | -0.031 | -0.008 | 0.007 | -0.002 | -0.012 | 74 | 26 | 0.134 | 0.022 | -0.013 | 0.008 | 0.006 | -0.009 |
| 34 | 19 | 0.347 | 0.062 | -0.057 | -0.001 | 0.014 | -0.011 |  | 12 | 0.134 | 0.018 | -0.013 | 0.008 | -0.004 | 0.005 |
|  | 31 | 0.347 | 0.060 | -0.057 | -0.001 | -0.007 | 0.012 | 75 | 26 | 0.279 | 0.002 | -0.015 | 0.000 | 0.004 | 0.000 |
| 35 | 23 | 0.269 | 0.052 | 0.063 | -0.009 | -0.015 | -0.026 |  | 1 | 0.279 | 0.000 | -0.015 | 0.000 | -0.005 | 0.000 |
|  | 59 | 0.269 | 0.050 | 0.063 | -0.009 | 0.007 | -0.008 | 76 | 27 | 0.286 | -0.051 | -0.063 | 0.009 | 0.007 | -0.009 |
| 36 | 14 | 0.018 | -0.014 | -0.007 | -0.003 | 0.001 | 0.007 |  | 19 | 0.286 | -0.053 | -0.063 | 0.009 | -0.015 | -0.027 |
|  | 60 | 0.018 | -0.017 | -0.007 | -0.003 | -0.004 | -0.004 | 77 | 27 | 0.497 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
| 37 | 22 | 0.237 | 0.038 | -0.242 | -0.013 | 0.045 | -0.017 |  | 26 | 0.497 | -0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 56 | 0.237 | 0.036 | -0.242 | -0.013 | -0.043 | -0.003 | 78 | 28 | 0.028 | 0.017 | 0.005 | 0.005 | -0.003 | -0.004 |
| 38 | 18 | 0.327 | 0.014 | -0.333 | -0.010 | 0.063 | -0.006 |  | 10 | 0.028 | 0.014 | 0.005 | 0.005 | 0.000 | 0.008 |
|  | 28 | 0.327 | 0.012 | -0.333 | -0.010 | -0.055 | -0.002 | 79 | 28 | 0.623 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 |
| 39 | 63 | 1.088 | 0.001 | 0.001 | 0.000 | -0.001 | 0.001 |  | 27 | 0.622 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |
|  | 64 | 1.097 | 0.000 | 0.001 | 0.000 | 0.000 | 0.001 | 80 | 29 | 0.028 | 0.005 | 0.071 | -0.001 | -0.018 | -0.001 |
| 40 | 64 | 1.097 | 0.000 | 0.001 | 0.000 | 0.000 | 0.001 |  | 35 | 0.028 | 0.003 | 0.071 | -0.001 | 0.024 | 0.001 |
|  | 65 | 1.106 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 81 | 29 | -0.239 | 0.055 | 0.010 | 0.005 | -0.004 | 0.016 |
| 41 | 65 | 1.106 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |  | 33 | -0.239 | 0.052 | 0.010 | 0.005 | 0.004 | 0.054 |
|  | 66 | 1.115 | -0.004 | 0.001 | 0.000 | 0.000 | -0.001 | 82 | 30 | 0.131 | 0.003 | 0.044 | 0.000 | -0.012 | -0.001 |
| 42 | 66 | 1.115 | -0.004 | 0.001 | 0.000 | 0.000 | -0.001 |  | 29 | 0.131 | 0.001 | 0.044 | 0.000 | 0.014 | 0.000 |
|  | 62 | 1.124 | -0.005 | 0.001 | 0.000 | 0.001 | -0.003 | 83 | 30 | 0.205 | -0.073 | -0.227 | -0.004 | 0.036 | 0.024 |
| 43 | 67 | 1.089 | -0.005 | -0.001 | 0.000 | 0.001 | 0.006 |  | 20 | 0.205 | -0.075 | -0.227 | -0.004 | -0.048 | -0.003 |
|  | 68 | 1.098 | -0.006 | -0.001 | 0.000 | 0.000 | 0.003 | 84 | 31 | 0.284 | 0.003 | 0.026 | 0.000 | -0.007 | -0.001 |
| 44 | 68 | 1.098 | -0.006 | -0.001 | 0.000 | 0.000 | 0.003 |  | 30 | 0.284 | 0.000 | 0.026 | 0.000 | 0.009 | 0.000 |
|  | 69 | 1.107 | -0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 85 | 31 | -0.055 | 0.031 | -0.003 | 0.002 | 0.001 | 0.002 |
| 45 | 69 | 1.107 | -0.008 | -0.001 | 0.000 | 0.000 | 0.000 |  | 51 | -0.055 | 0.028 | -0.003 | 0.002 | -0.001 | 0.023 |
|  | 70 | 1.116 | -0.010 | -0.001 | 0.000 | 0.000 | -0.004 | 86 | 32 | 0.432 | 0.001 | -0.005 | 0.000 | 0.003 | 0.000 |
| 46 | 70 | 1.116 | -0.010 | -0.001 | 0.000 | 0.000 | -0.004 |  | 31 | 0.432 | -0.001 | -0.005 | 0.000 | 0.000 | 0.000 |
|  | 61 | 1.125 | -0.011 | -0.001 | 0.000 | -0.001 | -0.009 | 87 | 32 | 0.245 | -0.036 | 0.240 | 0.013 | -0.043 | -0.003 |
| 47 | 45 | -0.462 | 0.000 | -0.072 | 0.000 | 0.025 | 0.000 |  | 18 | 0.245 | -0.038 | 0.240 | 0.013 | 0.045 | -0.017 |
|  | 60 | -0.462 | -0.002 | -0.072 | 0.000 | -0.018 | -0.001 | 88 | 33 | -0.513 | 0.002 | 0.000 | 0.000 | 0.001 | 0.048 |
| 48 | 34 | 0.322 | -0.034 | 0.188 | 0.017 | -0.033 | -0.002 |  | 46 | -0.513 | -0.002 | 0.000 | 0.000 | 0.001 | 0.048 |
|  | 7 | 0.322 | -0.035 | 0.188 | 0.017 | 0.034 | -0.015 | 89 | 33 | 0.211 | 0.018 | 0.010 | -0.001 | -0.002 | -0.005 |
| 49 | 60 | -0.858 | 0.001 | -0.019 | 0.000 | 0.007 | 0.000 |  | 36 | 0.211 | 0.015 | 0.010 | -0.001 | 0.004 | 0.005 |
|  | 59 | -0.859 | -0.002 | -0.019 | 0.000 | -0.004 | 0.000 | 90 | 46 | -0.240 | -0.052 | -0.010 | -0.005 | 0.004 | 0.054 |
| 50 | 35 | -0.841 | 0.477 | 0.052 | 0.007 | -0.019 | -0.106 |  | 47 | -0.240 | -0.055 | -0.010 | -0.005 | -0.004 | 0.016 |
|  | 36 | -0.841 | 0.474 | 0.052 | 0.007 | 0.019 | 0.237 | 91 | 46 | 0.211 | 0.018 | -0.010 | 0.001 | 0.002 | -0.005 |
| 51 | 59 | -0.806 | 0.002 | 0.010 | 0.000 | -0.002 | 0.000 |  | 37 | 0.211 | 0.015 | -0.010 | 0.001 | -0.004 | 0.005 |
|  | 58 | -0.806 | -0.001 | 0.010 | 0.000 | 0.004 | 0.000 | 92 | 47 | 0.206 | -0.112 | 0.317 | 0.002 | -0.051 | 0.029 |
| 52 | 36 | -1.987 | 0.002 | 0.000 | 0.000 | 0.007 | 0.207 |  | 25 | 0.206 | -0.113 | 0.317 | 0.002 | 0.066 | -0.012 |
|  | 37 | -1.987 | -0.002 | 0.000 | 0.000 | 0.007 | 0.207 | 93 | 47 | 0.030 | 0.005 | -0.071 | 0.001 | 0.018 | -0.001 |
| 53 | 58 | -0.614 | 0.002 | 0.029 | 0.000 | -0.008 | 0.000 |  | 38 | 0.030 | 0.003 | -0.071 | 0.001 | -0.024 | 0.001 |
|  | 57 | -0.614 | -0.001 | 0.029 | 0.000 | 0.009 | 0.000 | 94 | 48 | -0.191 | -0.026 | 0.002 | 0.003 | 0.000 | 0.032 |
| 54 | 37 | -0.843 | -0.473 | -0.052 | -0.007 | 0.019 | 0.237 |  | 30 | -0.191 | -0.030 | 0.002 | 0.003 | 0.001 | 0.012 |
|  | 38 | -0.843 | -0.477 | -0.052 | -0.007 | -0.019 | -0.106 | 95 | 48 | 0.709 | 0.004 | 0.007 | 0.000 | -0.001 | -0.001 |
| 55 | 57 | -0.147 | 0.002 | 0.042 | 0.000 | -0.011 | 0.000 |  | 33 | 0.708 | 0.002 | 0.007 | 0.000 | 0.003 | 0.001 |
|  | 39 | -0.147 | -0.001 | 0.042 | 0.000 | 0.014 | 0.000 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 96 | 49 | -0.332 | 0.002 | 0.000 | 0.000 | -0.001 | 0.029 | 136 | 32 | -0.876 | 0.001 | -0.009 | 0.000 | 0.005 | 0.000 |
|  | 48 | -0.332 | -0.002 | 0.000 | 0.000 | -0.001 | 0.028 |  | 31 | -0.876 | -0.001 | -0.009 | 0.000 | -0.001 | 0.000 |
| 97 | 49 | 0.709 | 0.004 | -0.007 | 0.000 | 0.001 | -0.001 | 137 | 31 | -0.839 | 0.003 | 0.020 | 0.000 | -0.005 | -0.001 |
|  | 46 | 0.709 | 0.002 | -0.007 | 0.000 | -0.003 | 0.001 |  | 30 | -0.839 | 0.000 | 0.020 | 0.000 | 0.007 | 0.000 |
| 98 | 50 | -0.193 | 0.030 | -0.002 | -0.002 | 0.001 | 0.012 | 138 | 30 | -0.704 | 0.003 | 0.036 | 0.000 | -0.010 | -0.001 |
|  | 49 | -0.193 | 0.026 | -0.002 | -0.002 | 0.000 | 0.032 |  | 29 | -0.704 | 0.001 | 0.036 | 0.000 | 0.012 | 0.000 |
| 99 | 50 | 0.137 | 0.003 | -0.044 | 0.000 | 0.012 | -0.001 | 139 | 29 | -0.308 | 0.005 | 0.031 | -0.001 | -0.006 | -0.001 |
|  | 47 | 0.137 | 0.001 | -0.044 | 0.000 | -0.014 | 0.000 |  | 35 | -0.308 | 0.003 | 0.031 | -0.001 | 0.012 | 0.001 |
| 100 | 51 | -0.199 | 0.002 | 0.000 | 0.000 | 0.001 | 0.019 | 140 | 40 | -0.574 | 0.000 | 0.070 | 0.000 | -0.024 | 0.000 |
|  | 52 | -0.199 | -0.002 | 0.000 | 0.000 | 0.001 | 0.019 |  | 28 | -0.574 | -0.003 | 0.070 | 0.000 | 0.018 | -0.001 |
| 101 | 51 | 0.737 | 0.003 | 0.002 | 0.000 | -0.001 | -0.001 | 141 | 28 | -1.020 | 0.001 | 0.018 | 0.000 | -0.007 | 0.000 |
|  | 48 | 0.737 | 0.001 | 0.002 | 0.000 | 0.001 | 0.000 |  | 27 | -1.020 | -0.002 | 0.018 | 0.000 | 0.004 | 0.000 |
| 102 | 52 | -0.057 | -0.027 | 0.003 | -0.002 | -0.001 | 0.023 | 142 | 27 | -0.983 | 0.002 | -0.011 | 0.000 | 0.002 | 0.000 |
|  | 53 | -0.057 | -0.031 | 0.003 | -0.002 | 0.001 | 0.002 |  | 26 | -0.983 | -0.001 | -0.011 | 0.000 | -0.004 | 0.000 |
| 103 | 52 | 0.738 | 0.003 | -0.002 | 0.000 | 0.001 | -0.001 | 143 | 26 | -0.753 | 0.002 | -0.030 | 0.000 | 0.009 | 0.000 |
|  | 49 | 0.737 | 0.001 | -0.002 | 0.000 | -0.001 | 0.000 |  | 1 | -0.754 | 0.000 | -0.030 | 0.000 | -0.009 | 0.000 |
| 104 | 53 | 0.334 | -0.060 | 0.056 | 0.001 | -0.007 | 0.012 | 144 | 1 | -0.206 | 0.002 | -0.043 | 0.000 | 0.011 | 0.000 |
|  | 23 | 0.334 | -0.062 | 0.056 | 0.001 | 0.014 | -0.011 |  | 34 | -0.206 | 0.000 | -0.043 | 0.000 | -0.014 | 0.000 |
| 105 | 53 | 0.292 | 0.003 | -0.025 | 0.000 | 0.006 | -0.001 | Load case 60 (Linear): COMB 6 (1+5+6+8) |  |  |  |  |  |  |  |
|  | 50 | 0.292 | 0.000 | -0.025 | 0.000 | -0.009 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 106 | 54 | -0.070 | -0.029 | -0.014 | 0.004 | 0.004 | 0.015 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 32 | -0.070 | -0.033 | -0.014 | 0.004 | -0.006 | -0.007 | 1 | 3 | 0.046 | -0.028 | -0.009 | 0.003 | 0.003 | 0.003 |
| 107 | 54 | 0.674 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |  | 10 | 0.046 | -0.031 | -0.009 | 0.003 | -0.002 | -0.014 |
|  | 51 | 0.674 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 | 2 | 3 | -0.051 | 0.020 | 0.024 | 0.002 | -0.004 | -0.003 |
| 108 | 55 | -0.182 | 0.002 | 0.000 | 0.000 | 0.000 | 0.012 |  | 40 | -0.051 | 0.016 | 0.024 | 0.002 | 0.014 | 0.010 |
|  | 54 | -0.182 | -0.002 | 0.000 | 0.000 | 0.000 | 0.012 | 3 | 4 | 0.061 | -0.027 | 0.011 | -0.002 | -0.004 | 0.002 |
| 109 | 55 | 0.674 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |  | 14 | 0.061 | -0.030 | 0.011 | -0.002 | 0.002 | -0.015 |
|  | 52 | 0.674 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 | 4 | 2 | 0.116 | -0.003 | -0.023 | 0.008 | 0.005 | -0.007 |
| 110 | 56 | -0.071 | 0.033 | 0.014 | -0.004 | -0.006 | -0.007 |  | 34 | 0.116 | -0.007 | -0.023 | 0.008 | -0.011 | -0.011 |
|  | 55 | -0.071 | 0.029 | 0.014 | -0.004 | 0.004 | 0.015 | 5 | 6 | 0.861 | 1.135 | 0.022 | -0.190 | -0.042 | -2.361 |
| 111 | 56 | 0.438 | 0.001 | 0.005 | 0.000 | -0.003 | 0.000 |  | 18 | 0.858 | 1.101 | 0.022 | -0.190 | -0.029 | -1.690 |
|  | 53 | 0.438 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | 6 | 8 | 0.885 | 1.133 | -0.028 | 0.190 | 0.043 | -2.361 |
| 112 | 57 | 0.010 | 0.002 | 0.034 | 0.000 | -0.008 | 0.000 |  | 22 | 0.882 | 1.098 | -0.028 | 0.190 | 0.027 | -1.692 |
|  | 39 | 0.010 | -0.001 | 0.034 | 0.000 | 0.012 | 0.000 | 7 | 7 | 0.447 | 0.515 | -0.264 | 0.000 | 0.053 | -0.258 |
| 113 | 57 | 0.057 | 0.017 | 0.018 | -0.009 | -0.008 | -0.010 |  | 35 | 0.447 | 0.513 | -0.264 | 0.000 | -0.044 | -0.069 |
|  | 17 | 0.057 | 0.014 | 0.018 | -0.009 | 0.006 | 0.001 | 8 | 8 | -0.133 | -0.041 | 0.428 | 0.014 | -0.084 | 0.019 |
| 114 | 58 | 0.029 | 0.002 | 0.020 | 0.000 | -0.006 | 0.000 |  | 45 | -0.133 | -0.043 | 0.428 | 0.014 | 0.068 | 0.004 |
|  | 57 | 0.029 | -0.001 | 0.020 | 0.000 | 0.006 | 0.000 | 9 | 9 | 0.343 | 0.043 | -0.212 | -0.016 | 0.038 | -0.018 |
| 115 | 58 | 0.175 | -0.056 | -0.126 | -0.014 | 0.025 | -0.006 |  | 39 | 0.343 | 0.041 | -0.212 | -0.016 | -0.037 | -0.003 |
|  | 24 | 0.175 | -0.058 | -0.126 | -0.014 | -0.020 | -0.026 | 10 | 6 | -0.168 | -0.001 | 0.352 | 0.019 | -0.071 | -0.007 |
| 116 | 59 | 0.179 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | -0.168 | -0.003 | 0.352 | 0.019 | 0.058 | -0.007 |
|  | 58 | 0.179 | -0.001 | 0.002 | 0.000 | 0.002 | 0.000 | 11 | 10 | 0.134 | -0.026 | 0.001 | -0.003 | 0.000 | -0.008 |
| 117 | 59 | 0.101 | 0.031 | 0.007 | -0.007 | -0.002 | -0.012 |  | 11 | 0.134 | -0.029 | 0.001 | -0.003 | 0.000 | -0.024 |
|  | 15 | 0.101 | 0.027 | 0.007 | -0.007 | 0.003 | 0.009 | 12 | 11 | 0.171 | -0.007 | 0.004 | -0.009 | -0.001 | -0.016 |
| 118 | 60 | 0.337 | 0.001 | -0.023 | 0.000 | 0.008 | 0.000 |  | 12 | 0.171 | -0.010 | 0.004 | -0.009 | 0.002 | -0.022 |
|  | 59 | 0.336 | -0.002 | -0.023 | 0.000 | -0.005 | 0.000 | 13 | 12 | 0.171 | 0.001 | 0.004 | -0.011 | -0.001 | -0.013 |
| 119 | 60 | 0.315 | -0.010 | 0.349 | 0.007 | -0.057 | -0.002 |  | 13 | 0.170 | -0.002 | 0.004 | -0.011 | 0.001 | -0.014 |
|  | 22 | 0.315 | -0.012 | 0.349 | 0.007 | 0.066 | -0.005 | 14 | 13 | 0.111 | 0.004 | 0.015 | -0.010 | -0.004 | -0.007 |
| 120 | 6 | 1.050 | -0.003 | -0.001 | 0.000 | 0.001 | 0.008 |  | 2 | 0.111 | 0.001 | 0.015 | -0.010 | 0.005 | -0.005 |
|  | 67 | 1.089 | -0.005 | -0.001 | 0.000 | 0.001 | 0.006 | 15 | 14 | 0.169 | -0.025 | -0.001 | 0.003 | 0.000 | -0.009 |
| 121 | 8 | 1.049 | 0.003 | 0.001 | 0.000 | -0.001 | 0.000 |  | 15 | 0.169 | -0.028 | -0.001 | 0.003 | 0.000 | -0.025 |
|  | 63 | 1.088 | 0.001 | 0.001 | 0.000 | -0.001 | 0.001 | 16 | 15 | 0.206 | -0.008 | -0.005 | 0.009 | 0.001 | -0.017 |
| 122 | 53 | -0.833 | 0.003 | -0.020 | 0.000 | 0.005 | -0.001 |  | 16 | 0.206 | -0.011 | -0.005 | 0.009 | -0.002 | -0.022 |
|  | 50 | -0.833 | 0.000 | -0.020 | 0.000 | -0.007 | 0.000 | 17 | 16 | 0.196 | 0.000 | -0.004 | 0.011 | 0.001 | -0.013 |
| 123 | 50 | -0.699 | 0.003 | -0.036 | 0.000 | 0.010 | -0.001 |  | 17 | 0.196 | -0.003 | -0.004 | 0.011 | -0.001 | -0.014 |
|  | 47 | -0.699 | 0.001 | -0.036 | 0.000 | -0.012 | 0.000 | 18 | 17 | 0.120 | 0.003 | -0.016 | 0.010 | 0.004 | -0.006 |
| 124 | 47 | -0.307 | 0.005 | -0.031 | 0.001 | 0.006 | -0.001 |  | 5 | 0.120 | 0.000 | -0.016 | 0.010 | -0.006 | -0.006 |
|  | 38 | -0.307 | 0.003 | -0.031 | 0.001 | -0.012 | 0.001 | 19 | 18 | 1.452 | 0.975 | 0.105 | -0.174 | -0.049 | -1.622 |
| 125 | 43 | -0.222 | 0.000 | -0.008 | 0.000 | 0.003 | 0.000 |  | 19 | 1.451 | 0.964 | 0.105 | -0.174 | 0.014 | -1.040 |
|  | 55 | -0.222 | -0.003 | -0.008 | 0.000 | -0.002 | -0.001 | 20 | 19 | 1.441 | 0.824 | 0.042 | -0.198 | -0.013 | -1.050 |
| 126 | 55 | -0.421 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |  | 20 | 1.440 | 0.812 | 0.042 | -0.198 | 0.012 | -0.559 |
|  | 52 | -0.421 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 | 21 | 20 | 1.066 | 0.687 | 0.027 | -0.225 | -0.016 | -0.608 |
| 127 | 52 | -0.428 | 0.003 | -0.001 | 0.000 | 0.000 | -0.001 |  | 21 | 1.065 | 0.675 | 0.027 | -0.225 | 0.001 | -0.199 |
|  | 49 | -0.428 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 22 | 21 | 0.511 | 0.525 | 0.116 | -0.230 | -0.032 | -0.259 |
| 128 | 49 | -0.400 | 0.004 | -0.003 | 0.000 | 0.000 | -0.001 |  | 7 | 0.510 | 0.513 | 0.116 | -0.230 | 0.037 | 0.052 |
|  | 46 | -0.400 | 0.002 | -0.003 | 0.000 | -0.002 | 0.001 | 23 | 22 | 1.494 | 0.973 | -0.106 | 0.174 | 0.049 | -1.625 |
| 129 | 46 | -0.491 | 0.018 | 0.019 | 0.001 | -0.007 | -0.005 |  | 23 | 1.493 | 0.962 | -0.106 | 0.174 | -0.015 | -1.044 |
|  | 37 | -0.491 | 0.015 | 0.019 | 0.001 | 0.005 | 0.005 | 24 | 23 | 1.484 | 0.824 | -0.040 | 0.197 | 0.013 | -1.054 |
| 130 | 42 | -0.222 | 0.000 | 0.008 | 0.000 | -0.003 | 0.000 |  | 24 | 1.483 | 0.812 | -0.040 | 0.197 | -0.011 | -0.563 |
|  | 54 | -0.222 | -0.003 | 0.008 | 0.000 | 0.002 | -0.001 | 25 | 24 | 1.097 | 0.688 | -0.023 | 0.224 | 0.014 | -0.610 |
| 131 | 54 | -0.421 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |  | 25 | 1.096 | 0.676 | -0.023 | 0.224 | 0.001 | -0.201 |
|  | 51 | -0.421 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 | 26 | 25 | 0.525 | 0.526 | -0.110 | 0.230 | 0.031 | -0.261 |
| 132 | 51 | -0.428 | 0.003 | 0.001 | 0.000 | 0.000 | -0.001 |  | 9 | 0.524 | 0.515 | -0.110 | 0.230 | -0.035 | 0.052 |
|  | 48 | -0.428 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 27 | 13 | 0.072 | -0.017 | -0.018 | 0.008 | 0.006 | 0.002 |
| 133 | 48 | -0.399 | 0.004 | 0.003 | 0.000 | 0.000 | -0.001 |  | 1 | 0.072 | -0.020 | -0.018 | 0.008 | -0.008 | -0.011 |
|  | 33 | -0.400 | 0.002 | 0.003 | 0.000 | 0.002 | 0.001 | 28 | 21 | 0.250 | 0.127 | -0.329 | -0.002 | 0.068 | -0.017 |
| 134 | 33 | -0.491 | 0.018 | -0.019 | -0.001 | 0.007 | -0.005 |  | 29 | 0.250 | 0.125 | -0.329 | -0.002 | -0.053 | 0.029 |
|  | 36 | -0.491 | 0.015 | -0.019 | -0.001 | -0.005 | 0.005 | 29 | 25 | 0.332 | 0.072 | -0.227 | -0.015 | 0.038 | -0.027 |
| 135 | 41 | -0.458 | 0.000 | -0.058 | 0.000 | 0.020 | 0.000 |  | 57 | 0.332 | 0.070 | -0.227 | -0.015 | -0.043 | -0.002 |
|  | 32 | -0.459 | -0.002 | -0.058 | 0.000 | -0.014 | -0.001 | 30 | 16 | 0.134 | -0.021 | 0.015 | -0.009 | -0.005 | 0.006 |
|  |  |  |  |  |  |  |  |  | 58 | 0.134 | -0.025 | 0.015 | -0.009 | 0.006 | -0.011 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 71 | 45 | 0.175 | 0.000 | -0.075 | 0.000 | 0.026 | 0.000 |
| 31 | 24 | 0.238 | 0.089 | 0.237 | 0.004 | -0.049 | -0.008 |  | 60 | 0.175 | -0.002 | -0.075 | 0.000 | -0.019 | -0.001 |
|  | 50 | 0.238 | 0.087 | 0.237 | 0.004 | 0.038 | 0.024 | 72 | 1 | 0.340 | -0.069 | 0.210 | 0.018 | -0.040 | -0.002 |
| 32 | 20 | 0.235 | 0.069 | 0.125 | 0.017 | -0.020 | -0.031 |  | 21 | 0.340 | -0.071 | 0.210 | 0.018 | 0.035 | -0.027 |
|  | 26 | 0.235 | 0.067 | 0.125 | 0.017 | 0.025 | -0.007 | 73 | 1 | 0.115 | 0.002 | -0.030 | 0.000 | 0.007 | 0.000 |
| 33 | 11 | 0.127 | -0.032 | -0.008 | 0.007 | 0.003 | 0.011 |  | 34 | 0.114 | 0.000 | -0.030 | 0.000 | -0.011 | 0.000 |
|  | 27 | 0.127 | -0.036 | -0.008 | 0.007 | -0.003 | -0.014 | 74 | 26 | 0.146 | 0.026 | -0.014 | 0.008 | 0.006 | -0.011 |
| 34 | 19 | 0.402 | 0.076 | -0.059 | -0.001 | 0.014 | -0.016 |  | 12 | 0.146 | 0.022 | -0.014 | 0.008 | -0.004 | 0.006 |
|  | 31 | 0.402 | 0.074 | -0.059 | -0.001 | -0.007 | 0.012 | 75 | 26 | 0.291 | 0.002 | -0.016 | 0.000 | 0.005 | 0.000 |
| 35 | 23 | 0.322 | 0.063 | 0.061 | -0.009 | -0.015 | -0.032 |  | 1 | 0.291 | 0.000 | -0.016 | 0.000 | -0.005 | 0.000 |
|  | 59 | 0.322 | 0.061 | 0.061 | -0.009 | 0.006 | -0.010 | 76 | 27 | 0.340 | -0.063 | -0.061 | 0.009 | 0.007 | -0.010 |
| 36 | 14 | 0.028 | -0.018 | -0.007 | -0.003 | 0.001 | 0.008 |  | 19 | 0.340 | -0.064 | -0.061 | 0.009 | -0.015 | -0.032 |
|  | 60 | 0.028 | -0.021 | -0.007 | -0.003 | -0.004 | -0.006 | 77 | 27 | 0.526 | 0.002 | 0.000 | 0.000 | -0.001 | 0.000 |
| 37 | 22 | 0.290 | 0.050 | -0.256 | -0.013 | 0.048 | -0.022 |  | 26 | 0.526 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
|  | 56 | 0.290 | 0.048 | -0.256 | -0.013 | -0.046 | -0.004 | 78 | 28 | 0.039 | 0.021 | 0.005 | 0.004 | -0.003 | -0.005 |
| 38 | 18 | 0.381 | 0.023 | -0.349 | -0.010 | 0.066 | -0.010 |  | 10 | 0.039 | 0.018 | 0.005 | 0.004 | 0.000 | 0.009 |
|  | 28 | 0.381 | 0.021 | -0.349 | -0.010 | -0.057 | -0.003 | 79 | 28 | 0.662 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 |
| 39 | 63 | 1.202 | 0.000 | 0.001 | 0.000 | -0.001 | 0.003 |  | 27 | 0.662 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |
|  | 64 | 1.211 | -0.003 | 0.001 | 0.000 | 0.000 | 0.003 | 80 | 29 | 0.022 | 0.006 | 0.073 | -0.001 | -0.019 | -0.001 |
| 40 | 64 | 1.211 | -0.003 | 0.001 | 0.000 | 0.000 | 0.003 |  | 35 | 0.022 | 0.003 | 0.073 | -0.001 | 0.025 | 0.001 |
|  | 65 | 1.220 | -0.005 | 0.001 | 0.000 | 0.000 | 0.001 | 81 | 29 | -0.251 | 0.062 | 0.011 | 0.004 | -0.004 | 0.014 |
| 41 | 65 | 1.220 | -0.005 | 0.001 | 0.000 | 0.000 | 0.001 |  | 33 | -0.251 | 0.058 | 0.011 | 0.004 | 0.004 | 0.057 |
|  | 66 | 1.229 | -0.008 | 0.001 | 0.000 | 0.000 | -0.002 | 82 | 30 | 0.134 | 0.003 | 0.046 | 0.000 | -0.013 | -0.001 |
| 42 | 66 | 1.229 | -0.008 | 0.001 | 0.000 | 0.000 | -0.002 |  | 29 | 0.134 | 0.001 | 0.046 | 0.000 | 0.015 | 0.000 |
|  | 62 | 1.238 | -0.011 | 0.001 | 0.000 | 0.001 | -0.007 | 83 | 30 | 0.251 | -0.087 | -0.237 | -0.004 | 0.038 | 0.024 |
| 43 | 67 | 1.203 | -0.006 | -0.001 | 0.000 | 0.001 | 0.008 |  | 20 | 0.251 | -0.089 | -0.237 | -0.004 | -0.049 | -0.008 |
|  | 68 | 1.212 | -0.008 | -0.001 | 0.000 | 0.000 | 0.005 | 84 | 31 | 0.300 | 0.003 | 0.027 | 0.000 | -0.007 | -0.001 |
| 44 | 68 | 1.212 | -0.008 | -0.001 | 0.000 | 0.000 | 0.005 |  | 30 | 0.299 | 0.000 | 0.027 | 0.000 | 0.009 | 0.000 |
|  | 69 | 1.221 | -0.011 | -0.001 | 0.000 | 0.000 | 0.000 | 85 | 31 | -0.060 | 0.038 | -0.002 | 0.002 | 0.001 | 0.000 |
| 45 | 69 | 1.221 | -0.011 | -0.001 | 0.000 | 0.000 | 0.000 |  | 51 | -0.060 | 0.034 | -0.002 | 0.002 | -0.001 | 0.026 |
|  | 70 | 1.230 | -0.014 | -0.001 | 0.000 | 0.000 | -0.005 | 86 | 32 | 0.459 | 0.001 | -0.005 | 0.000 | 0.003 | 0.000 |
| 46 | 70 | 1.230 | -0.014 | -0.001 | 0.000 | 0.000 | -0.005 |  | 31 | 0.459 | -0.001 | -0.005 | 0.000 | 0.000 | 0.000 |
|  | 61 | 1.239 | -0.017 | -0.001 | 0.000 | -0.001 | -0.012 | 87 | 32 | 0.298 | -0.048 | 0.254 | 0.013 | -0.046 | -0.004 |
| 47 | 45 | -0.481 | 0.000 | -0.076 | 0.000 | 0.026 | 0.000 |  | 18 | 0.298 | -0.050 | 0.254 | 0.013 | 0.048 | -0.022 |
|  | 60 | -0.481 | -0.002 | -0.076 | 0.000 | -0.019 | -0.001 | 88 | 33 | -0.552 | 0.002 | 0.000 | 0.000 | 0.001 | 0.051 |
| 48 | 34 | 0.331 | -0.039 | 0.199 | 0.018 | -0.035 | -0.003 |  | 46 | -0.552 | -0.002 | 0.000 | 0.000 | 0.001 | 0.051 |
|  | 7 | 0.331 | -0.041 | 0.199 | 0.018 | 0.036 | -0.017 | 89 | 33 | 0.201 | 0.018 | 0.009 | -0.001 | -0.002 | -0.005 |
| 49 | 60 | -0.898 | 0.001 | -0.020 | 0.000 | 0.008 | 0.000 |  | 36 | 0.200 | 0.015 | 0.009 | -0.001 | 0.004 | 0.005 |
|  | 59 | -0.898 | -0.002 | -0.020 | 0.000 | -0.004 | 0.000 | 90 | 46 | -0.252 | -0.058 | -0.011 | -0.004 | 0.004 | 0.057 |
| 50 | 35 | -0.844 | 0.480 | 0.052 | 0.007 | -0.019 | -0.107 |  | 47 | -0.252 | -0.061 | -0.011 | -0.004 | -0.004 | 0.014 |
|  | 36 | -0.844 | 0.477 | 0.052 | 0.007 | 0.019 | 0.238 | 91 | 46 | 0.201 | 0.018 | -0.009 | 0.001 | 0.002 | -0.005 |
| 51 | 59 | -0.835 | 0.002 | 0.011 | 0.000 | -0.002 | 0.000 |  | 37 | 0.201 | 0.015 | -0.009 | 0.001 | -0.004 | 0.005 |
|  | 58 | -0.835 | -0.001 | 0.011 | 0.000 | 0.004 | 0.000 | 92 | 47 | 0.245 | -0.125 | 0.329 | 0.002 | -0.053 | 0.029 |
| 52 | 36 | -1.999 | 0.002 | 0.000 | 0.000 | 0.007 | 0.209 |  | 25 | 0.245 | -0.127 | 0.329 | 0.002 | 0.068 | -0.017 |
|  | 37 | -1.999 | -0.002 | 0.000 | 0.000 | 0.007 | 0.209 | 93 | 47 | 0.024 | 0.006 | -0.073 | 0.001 | 0.019 | -0.001 |
| 53 | 58 | -0.627 | 0.002 | 0.030 | 0.000 | -0.009 | 0.000 |  | 38 | 0.024 | 0.003 | -0.073 | 0.001 | -0.025 | 0.001 |
|  | 57 | -0.628 | -0.001 | 0.030 | 0.000 | 0.009 | 0.000 | 94 | 48 | -0.201 | -0.033 | 0.002 | 0.002 | -0.001 | 0.035 |
| 54 | 37 | -0.846 | -0.477 | -0.053 | -0.007 | 0.019 | 0.238 |  | 30 | -0.201 | -0.036 | 0.002 | 0.002 | 0.001 | 0.010 |
|  | 38 | -0.846 | -0.480 | -0.053 | -0.007 | -0.019 | -0.107 | 95 | 48 | 0.710 | 0.004 | 0.007 | 0.000 | -0.001 | -0.001 |
| 55 | 57 | -0.147 | 0.002 | 0.045 | 0.000 | -0.012 | 0.000 |  | 33 | 0.709 | 0.002 | 0.007 | 0.000 | 0.003 | 0.001 |
|  | 39 | -0.147 | -0.001 | 0.045 | 0.000 | 0.015 | 0.000 | 96 | 49 | -0.369 | 0.002 | 0.000 | 0.000 | -0.001 | 0.031 |
| 56 | 38 | 0.453 | -0.513 | 0.265 | 0.000 | -0.045 | -0.069 |  | 48 | -0.369 | -0.002 | 0.000 | 0.000 | -0.001 | 0.031 |
|  | 9 | 0.453 | -0.515 | 0.265 | 0.000 | 0.053 | -0.258 | 97 | 49 | 0.710 | 0.004 | -0.007 | 0.000 | 0.001 | -0.001 |
| 57 | 44 | -0.477 | 0.000 | 0.061 | 0.000 | -0.022 | 0.000 |  | 46 | 0.710 | 0.002 | -0.007 | 0.000 | -0.003 | 0.001 |
|  | 56 | -0.477 | -0.003 | 0.061 | 0.000 | 0.015 | -0.001 | 98 | 50 | -0.203 | 0.036 | -0.003 | -0.002 | 0.001 | 0.010 |
| 58 | 39 | 0.128 | 0.007 | 0.024 | -0.009 | -0.012 | -0.011 |  | 49 | -0.203 | 0.033 | -0.003 | -0.002 | -0.001 | 0.035 |
|  | 5 | 0.128 | 0.004 | 0.024 | -0.009 | 0.006 | -0.007 | 99 | 50 | 0.140 | 0.003 | -0.046 | 0.000 | 0.013 | -0.001 |
| 59 | 56 | -0.909 | 0.001 | 0.010 | 0.000 | -0.005 | 0.000 |  | 47 | 0.140 | 0.001 | -0.046 | 0.000 | -0.015 | 0.000 |
|  | 53 | -0.910 | -0.001 | 0.010 | 0.000 | 0.001 | 0.000 | 100 | 51 | -0.233 | 0.002 | 0.000 | 0.000 | 0.001 | 0.021 |
| 60 | 40 | -0.149 | 0.043 | -0.407 | -0.018 | 0.064 | 0.005 |  | 52 | -0.233 | -0.002 | 0.000 | 0.000 | 0.001 | 0.021 |
|  | 6 | -0.149 | 0.041 | -0.407 | -0.018 | -0.080 | 0.020 | 101 | 51 | 0.751 | 0.003 | 0.002 | 0.000 | -0.001 | -0.001 |
| 61 | 40 | 0.360 | 0.000 | 0.071 | 0.000 | -0.025 | 0.000 |  | 48 | 0.751 | 0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 28 | 0.359 | -0.003 | 0.071 | 0.000 | 0.018 | -0.001 | 102 | 52 | -0.062 | -0.034 | 0.002 | -0.002 | -0.001 | 0.026 |
| 62 | 41 | -0.204 | 0.019 | -0.030 | 0.005 | 0.015 | -0.005 |  | 53 | -0.062 | -0.038 | 0.002 | -0.002 | 0.001 | 0.000 |
|  | 42 | -0.204 | 0.016 | -0.030 | 0.005 | -0.007 | 0.007 | 103 | 52 | 0.752 | 0.003 | -0.002 | 0.000 | 0.001 | -0.001 |
| 63 | 41 | 0.236 | 0.000 | -0.058 | 0.000 | 0.021 | 0.000 |  | 49 | 0.752 | 0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 32 | 0.236 | -0.003 | -0.058 | 0.000 | -0.014 | -0.001 | 104 | 53 | 0.388 | -0.074 | 0.058 | 0.001 | -0.007 | 0.012 |
| 64 | 42 | -0.295 | 0.002 | 0.000 | 0.000 | -0.001 | 0.005 |  | 23 | 0.388 | -0.076 | 0.058 | 0.001 | 0.014 | -0.016 |
|  | 43 | -0.295 | -0.002 | 0.000 | 0.000 | -0.001 | 0.005 | 105 | 53 | 0.308 | 0.003 | -0.027 | 0.000 | 0.007 | -0.001 |
| 65 | 42 | 0.351 | 0.000 | 0.010 | 0.000 | -0.004 | 0.000 |  | 50 | 0.307 | 0.000 | -0.027 | 0.000 | -0.009 | 0.000 |
|  | 54 | 0.351 | -0.003 | 0.010 | 0.000 | 0.002 | -0.001 | 106 | 54 | -0.077 | -0.036 | -0.014 | 0.004 | 0.004 | 0.018 |
| 66 | 43 | -0.204 | -0.016 | 0.030 | -0.005 | -0.007 | 0.007 |  | 32 | -0.077 | -0.040 | -0.014 | 0.004 | -0.006 | -0.009 |
|  | 44 | -0.204 | -0.019 | 0.030 | -0.005 | 0.015 | -0.005 | 107 | 54 | 0.692 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
| 67 | 43 | 0.351 | 0.000 | -0.010 | 0.000 | 0.004 | 0.000 |  | 51 | 0.692 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 55 | 0.351 | -0.003 | -0.010 | 0.000 | -0.002 | -0.001 | 108 | 55 | -0.216 | 0.002 | 0.000 | 0.000 | 0.000 | 0.014 |
| 68 | 44 | -0.158 | 0.003 | -0.354 | -0.019 | 0.059 | -0.007 |  | 54 | -0.216 | -0.002 | 0.000 | 0.000 | 0.000 | 0.014 |
|  | 8 | -0.158 | 0.001 | -0.354 | -0.019 | -0.072 | -0.007 | 109 | 55 | 0.693 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
| 69 | 44 | 0.238 | 0.000 | 0.058 | 0.000 | -0.021 | 0.000 |  | 52 | 0.692 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 56 | 0.238 | -0.003 | 0.058 | 0.000 | 0.014 | -0.001 | 110 | 56 | -0.077 | 0.039 | 0.014 | -0.004 | -0.006 | -0.009 |
| 70 | 45 | -0.037 | -0.015 | -0.027 | 0.000 | 0.015 | 0.010 |  | 55 | -0.077 | 0.036 | 0.014 | -0.004 | 0.004 | 0.018 |
|  | 4 | -0.037 | -0.019 | -0.027 | 0.000 | -0.005 | -0.003 |  |  |  |  |  |  |  |  |

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

111	56	0.465	0.001	0.005	0.000	-0.004	0.000

53	0.465	-0.001	0.005	0.000	0.000	0.000

112	57	0.006	0.002	0.036	0.000	-0.009	0.000

39	0.006	-0.001	0.036	0.000	0.013	0.000

113	57	0.065	0.020	0.019	-0.009	-0.008	-0.011

17	0.065	0.016	0.019	-0.009	0.006	0.002

114	58	0.033	0.002	0.021	0.000	-0.006	0.000

57	0.032	-0.001	0.021	0.000	0.007	0.000

115	58	0.220	-0.067	-0.136	-0.015	0.027	-0.007

24	0.220	-0.069	-0.136	-0.015	-0.021	-0.031

116	59	0.194	0.002	0.004	0.000	0.000	0.000

58	0.194	-0.001	0.004	0.000	0.002	0.000

117	59	0.115	0.035	0.008	-0.007	-0.002	-0.014

15	0.115	0.032	0.008	-0.007	0.003	0.010

118	60	0.363	0.001	-0.023	0.000	0.009	0.000

59	0.363	-0.002	-0.023	0.000	-0.005	0.000

119	60	0.368	-0.019	0.365	0.008	-0.060	-0.003

22	0.368	-0.021	0.365	0.008	0.069	-0.010

120	6	1.164	-0.003	-0.001	0.000	0.001	0.010

67	1.203	-0.006	-0.001	0.000	0.001	0.008

121	8	1.163	0.003	0.001	0.000	-0.001	0.002

63	1.202	0.000	0.001	0.000	-0.001	0.003

122	53	-0.860	0.003	-0.022	0.000	0.005	-0.001

50	-0.861	0.000	-0.022	0.000	-0.008	0.000

123	50	-0.711	0.003	-0.038	0.000	0.010	-0.001

47	-0.711	0.001	-0.038	0.000	-0.012	0.000

124	47	-0.306	0.006	-0.033	0.001	0.007	-0.001

38	-0.306	0.003	-0.033	0.001	-0.013	0.001

125	43	-0.230	0.000	-0.008	0.000	0.003	0.000

55	-0.230	-0.003	-0.008	0.000	-0.002	-0.001

126	55	-0.443	0.002	-0.002	0.000	0.001	0.000

52	-0.443	-0.001	-0.002	0.000	-0.001	0.000

127	52	-0.448	0.003	-0.001	0.000	0.000	-0.001

49	-0.448	0.001	-0.001	0.000	0.000	0.000

128	49	-0.411	0.004	-0.003	0.000	0.000	-0.001

46	-0.411	0.002	-0.003	0.000	-0.002	0.001

129	46	-0.491	0.018	0.019	0.001	-0.007	-0.005

37	-0.492	0.015	0.019	0.001	0.005	0.005

130	42	-0.230	0.000	0.008	0.000	-0.003	0.000

54	-0.230	-0.003	0.008	0.000	0.002	-0.001

131	54	-0.443	0.002	0.002	0.000	-0.001	0.000

51	-0.443	-0.001	0.002	0.000	0.001	0.000

132	51	-0.448	0.003	0.001	0.000	0.000	-0.001

48	-0.448	0.001	0.001	0.000	0.000	0.000

133	48	-0.410	0.004	0.003	0.000	0.000	-0.001

33	-0.411	0.002	0.003	0.000	0.002	0.001

134	33	-0.491	0.018	-0.019	-0.001	0.007	-0.005

36	-0.491	0.015	-0.019	-0.001	-0.005	0.005

135	41	-0.477	0.000	-0.061	0.000	0.022	0.000

32	-0.477	-0.003	-0.061	0.000	-0.015	-0.001

136	32	-0.914	0.001	-0.009	0.000	0.005	0.000

31	-0.914	-0.001	-0.009	0.000	-0.001	0.000

137	31	-0.867	0.003	0.022	0.000	-0.005	-0.001

30	-0.867	0.000	0.022	0.000	0.008	0.000

138	30	-0.717	0.003	0.038	0.000	-0.010	-0.001

29	-0.717	0.001	0.038	0.000	0.012	0.000

139	29	-0.307	0.006	0.033	-0.001	-0.007	-0.001

35	-0.308	0.003	0.033	-0.001	0.013	0.001

140	40	-0.599	0.000	0.073	0.000	-0.026	0.000

28	-0.599	-0.003	0.073	0.000	0.018	-0.001

141	28	-1.066	0.001	0.018	0.000	-0.007	0.000

27	-1.066	-0.002	0.018	0.000	0.004	0.000

142	27	-1.019	0.002	-0.012	0.000	0.003	0.000

26	-1.020	-0.001	-0.012	0.000	-0.005	0.000

143	26	-0.772	0.002	-0.031	0.000	0.009	0.000

1	-0.772	0.000	-0.031	0.000	-0.010	0.000

144	1	-0.208	0.002	-0.045	0.000	0.012	0.000

34	-0.208	0.000	-0.045	0.000	-0.015	0.000

Load case 70 (Linear): COMB 7 (1+5+8)

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

1	3	0.039	-0.009	-0.006	0.003	0.002	0.000

10	0.038	-0.013	-0.006	0.003	-0.001	-0.006

2	3	0.020	0.000	0.011	-0.001	-0.002	-0.002

40	0.020	-0.005	0.011	-0.001	0.006	-0.004

3	4	0.045	-0.008	0.007	-0.003	-0.002	0.000

14	0.044	-0.012	0.007	-0.003	0.002	-0.007

4	2	0.027	-0.005	-0.006	0.000	0.001	0.000

34	0.027	-0.010	-0.006	0.000	-0.003	-0.006

5	6	0.379	0.812	-0.002	-0.014	-0.001	-1.237

18	0.375	0.766	-0.002	-0.014	-0.002	-0.764

Axial	Y-Axis	Z-Axis		X-Axis	Y-Axis	Z-Axis Memb Node	Force		Shear		Shear	Torsion	Moment	Moment

6	8	0.388	0.811	-0.001	0.014	0.002	-1.237

22	0.384	0.765	-0.001	0.014	0.001	-0.765

7	7	0.061	0.054	-0.080	-0.004	0.016	-0.021

35	0.061	0.051	-0.080	-0.004	-0.014	-0.001

8	8	0.065	0.010	0.166	0.009	-0.033	-0.008

45	0.065	0.008	0.166	0.009	0.026	-0.004

9	9	0.068	0.039	-0.090	-0.004	0.017	-0.017

39	0.068	0.037	-0.090	-0.004	-0.015	-0.004

10	6	0.062	0.033	0.149	0.009	-0.031	-0.018

41	0.062	0.030	0.149	0.009	0.024	-0.006

11	10	0.077	-0.002	-0.001	0.001	0.000	-0.006

11	0.077	-0.006	-0.001	0.001	0.000	-0.009

12	11	0.075	0.008	0.000	-0.001	0.000	-0.009

12	0.075	0.004	0.000	-0.001	0.000	-0.005

13	12	0.045	0.011	0.000	-0.002	0.000	-0.006

13	0.045	0.007	0.000	-0.002	0.000	-0.001

14	13	0.017	0.006	0.003	-0.002	-0.001	-0.002

2	0.016	0.002	0.003	-0.002	0.001	0.001

15	14	0.090	-0.002	0.001	-0.001	0.000	-0.007

15	0.090	-0.006	0.001	-0.001	0.000	-0.009

16	15	0.088	0.008	0.000	0.001	0.000	-0.009

16	0.087	0.004	0.000	0.001	0.000	-0.006

17	16	0.053	0.010	-0.001	0.002	0.000	-0.006

17	0.053	0.006	-0.001	0.002	0.000	-0.001

18	17	0.019	0.006	-0.003	0.002	0.001	-0.002

5	0.019	0.002	-0.003	0.002	-0.001	0.001

19	18	0.586	0.604	0.005	-0.011	-0.003	-0.736

19	0.584	0.589	0.005	-0.011	0.000	-0.378

20	19	0.542	0.424	0.003	-0.012	-0.001	-0.385

20	0.540	0.409	0.003	-0.012	0.001	-0.135

21	20	0.379	0.254	0.004	-0.010	0.000	-0.155

21	0.378	0.239	0.004	-0.010	0.002	-0.007

22	21	0.175	0.093	-0.004	-0.004	0.002	-0.030

7	0.174	0.078	-0.004	-0.004	0.000	0.021

23	22	0.602	0.604	-0.006	0.010	0.003	-0.738

23	0.600	0.588	-0.006	0.010	0.000	-0.380

24	23	0.556	0.424	-0.002	0.012	0.001	-0.387

24	0.555	0.409	-0.002	0.012	-0.001	-0.137

25	24	0.389	0.254	-0.003	0.010	0.000	-0.156

25	0.388	0.239	-0.003	0.010	-0.002	-0.008

26	25	0.179	0.093	0.006	0.004	-0.002	-0.030

9	0.178	0.078	0.006	0.004	0.001	0.021

27	13	0.062	-0.015	-0.005	0.000	0.001	0.003

1	0.062	-0.020	-0.005	0.000	-0.002	-0.010

28	21	0.267	0.093	-0.092	-0.004	0.017	-0.034

29	0.267	0.091	-0.092	-0.004	-0.017	-0.001

29	25	0.257	0.070	-0.103	-0.004	0.018	-0.028

57	0.257	0.068	-0.103	-0.004	-0.018	-0.003

30	16	0.087	-0.022	0.006	-0.001	-0.001	0.005

58	0.087	-0.027	0.006	-0.001	0.003	-0.013

31	24	0.313	0.093	0.074	0.004	-0.014	-0.035

50	0.313	0.091	0.074	0.004	0.013	-0.001

32	20	0.318	0.075	0.074	0.005	-0.013	-0.033

26	0.318	0.073	0.074	0.005	0.013	-0.007

33	11	0.107	-0.030	-0.003	0.000	0.001	0.007

27	0.107	-0.035	-0.003	0.000	-0.001	-0.016

34	19	0.383	0.090	-0.016	-0.002	0.003	-0.035

31	0.383	0.088	-0.016	-0.002	-0.003	-0.002

35	23	0.374	0.077	-0.014	-0.002	0.001	-0.036

59	0.374	0.075	-0.014	-0.002	-0.003	-0.009

36	14	0.078	-0.026	-0.003	0.001	0.001	0.007

60	0.078	-0.031	-0.003	0.001	-0.001	-0.014

37	22	0.372	0.079	-0.109	-0.005	0.021	-0.033

56	0.372	0.077	-0.109	-0.005	-0.019	-0.005

38	18	0.382	0.063	-0.116	-0.006	0.022	-0.030

28	0.382	0.061	-0.116	-0.006	-0.019	-0.008

39	63	0.936	-0.003	0.000	0.000	0.000	0.007

64	0.948	-0.007	0.000	0.000	0.000	0.005

40	64	0.948	-0.007	0.000	0.000	0.000	0.005

65	0.960	-0.011	0.000	0.000	0.000	0.001

41	65	0.960	-0.011	0.000	0.000	0.000	0.001

66	0.972	-0.015	0.000	0.000	0.000	-0.005

42	66	0.972	-0.015	0.000	0.000	0.000	-0.005

62	0.984	-0.018	0.000	0.000	0.000	-0.013

43	67	0.936	-0.004	0.000	0.000	0.000	0.008

68	0.948	-0.008	0.000	0.000	0.000	0.005

44	68	0.948	-0.008	0.000	0.000	0.000	0.005

69	0.960	-0.011	0.000	0.000	0.000	0.001

45	69	0.960	-0.011	0.000	0.000	0.000	0.001

70	0.972	-0.015	0.000	0.000	0.000	-0.005

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 46 | 70 | 0.972 | -0.015 | 0.000 | 0.000 | 0.000 | -0.005 | 86 | 32 | 0.207 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 61 | 0.985 | -0.019 | 0.000 | 0.000 | 0.000 | -0.013 |  | 31 | 0.207 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 47 | 45 | -0.157 | 0.001 | -0.028 | 0.000 | 0.010 | 0.000 | 87 | 32 | 0.375 | -0.077 | 0.108 | 0.005 | -0.018 | -0.005 |
|  | 60 | -0.157 | -0.002 | -0.028 | 0.000 | -0.007 | 0.000 |  | 18 | 0.375 | -0.079 | 0.108 | 0.005 | 0.021 | -0.033 |
| 48 | 34 | 0.064 | -0.036 | 0.086 | 0.005 | -0.014 | -0.003 | 88 | 33 | -0.254 | 0.002 | 0.000 | 0.000 | 0.001 | 0.015 |
|  | 7 | 0.064 | -0.039 | 0.086 | 0.005 | 0.016 | -0.017 |  | 46 | -0.254 | -0.002 | 0.000 | 0.000 | 0.001 | 0.015 |
| 49 | 60 | -0.307 | 0.002 | -0.003 | 0.000 | 0.002 | 0.000 | 89 | 33 | -0.053 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.307 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |  | 36 | -0.053 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 50 | 35 | -0.022 | 0.025 | 0.007 | -0.001 | -0.003 | -0.005 | 90 | 46 | -0.077 | -0.039 | -0.006 | 0.001 | 0.002 | 0.019 |
|  | 36 | -0.022 | 0.021 | 0.007 | -0.001 | 0.002 | 0.012 |  | 47 | -0.077 | -0.044 | -0.006 | 0.001 | -0.002 | -0.010 |
| 51 | 59 | -0.230 | 0.002 | 0.009 | 0.000 | -0.002 | 0.000 | 91 | 46 | -0.053 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.231 | -0.001 | 0.009 | 0.000 | 0.003 | 0.000 |  | 37 | -0.053 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 52 | 36 | -0.085 | 0.002 | 0.000 | 0.000 | 0.001 | 0.011 | 92 | 47 | 0.266 | -0.091 | 0.092 | 0.004 | -0.017 | 0.000 |
|  | 37 | -0.085 | -0.002 | 0.000 | 0.000 | 0.001 | 0.011 |  | 25 | 0.266 | -0.093 | 0.092 | 0.004 | 0.017 | -0.034 |
| 53 | 58 | -0.115 | 0.002 | 0.013 | 0.000 | -0.004 | 0.000 | 93 | 47 | -0.034 | 0.002 | -0.017 | 0.000 | 0.005 | 0.000 |
|  | 57 | -0.115 | -0.001 | 0.013 | 0.000 | 0.004 | 0.000 |  | 38 | -0.034 | -0.001 | -0.017 | 0.000 | -0.006 | 0.000 |
| 54 | 37 | -0.023 | -0.021 | -0.007 | 0.001 | 0.002 | 0.012 | 94 | 48 | -0.057 | -0.040 | 0.006 | -0.001 | -0.002 | 0.019 |
|  | 38 | -0.023 | -0.025 | -0.007 | 0.001 | -0.003 | -0.004 |  | 30 | -0.057 | -0.045 | 0.006 | -0.001 | 0.002 | -0.012 |
| 55 | 57 | -0.009 | 0.002 | 0.019 | 0.000 | -0.005 | 0.000 | 95 | 48 | 0.032 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.009 | -0.001 | 0.019 | 0.000 | 0.006 | 0.000 |  | 33 | 0.032 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 38 | 0.063 | -0.051 | 0.081 | 0.004 | -0.014 | -0.001 | 96 | 49 | -0.243 | 0.002 | 0.000 | 0.000 | -0.001 | 0.015 |
|  | 9 | 0.063 | -0.054 | 0.081 | 0.004 | 0.016 | -0.020 |  | 48 | -0.243 | -0.002 | 0.000 | 0.000 | -0.001 | 0.015 |
| 57 | 44 | -0.155 | 0.001 | 0.026 | 0.000 | -0.009 | 0.000 | 97 | 49 | 0.032 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.155 | -0.002 | 0.026 | 0.000 | 0.006 | 0.000 |  | 46 | 0.032 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 39 | 0.031 | 0.010 | 0.007 | 0.000 | -0.004 | -0.006 | 98 | 50 | -0.058 | 0.045 | -0.006 | 0.001 | 0.002 | -0.011 |
|  | 5 | 0.031 | 0.005 | 0.007 | 0.000 | 0.001 | 0.000 |  | 49 | -0.058 | 0.040 | -0.006 | 0.001 | -0.002 | 0.019 |
| 59 | 56 | -0.299 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 | 99 | 50 | 0.027 | 0.002 | -0.013 | 0.000 | 0.004 | 0.000 |
|  | 53 | -0.299 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 47 | 0.027 | -0.001 | -0.013 | 0.000 | -0.004 | 0.000 |
| 60 | 40 | 0.060 | -0.008 | -0.158 | -0.011 | 0.025 | -0.004 | 100 | 51 | -0.221 | 0.002 | 0.000 | 0.000 | 0.001 | 0.014 |
|  | 6 | 0.060 | -0.010 | -0.158 | -0.011 | -0.031 | -0.007 |  | 52 | -0.221 | -0.002 | 0.000 | 0.000 | 0.001 | 0.014 |
| 61 | 40 | 0.167 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 | 101 | 51 | 0.128 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.167 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |  | 48 | 0.128 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 41 | -0.022 | 0.026 | -0.010 | 0.002 | 0.005 | -0.007 | 102 | 52 | -0.030 | -0.042 | -0.004 | 0.000 | 0.001 | 0.019 |
|  | 42 | -0.022 | 0.021 | -0.010 | 0.002 | -0.002 | 0.010 |  | 53 | -0.030 | -0.047 | -0.004 | 0.000 | -0.001 | -0.013 |
| 63 | 41 | 0.100 | 0.001 | -0.024 | 0.000 | 0.009 | 0.000 | 103 | 52 | 0.128 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.100 | -0.002 | -0.024 | 0.000 | -0.006 | 0.000 |  | 49 | 0.128 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 42 | -0.079 | 0.002 | 0.000 | 0.000 | 0.000 | 0.009 | 104 | 53 | 0.377 | -0.088 | 0.016 | 0.002 | -0.003 | -0.002 |
|  | 43 | -0.079 | -0.002 | 0.000 | 0.000 | 0.000 | 0.009 |  | 23 | 0.377 | -0.090 | 0.016 | 0.002 | 0.003 | -0.035 |
| 65 | 42 | 0.052 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 | 105 | 53 | 0.121 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 |
|  | 54 | 0.051 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |  | 50 | 0.121 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |
| 66 | 43 | -0.022 | -0.021 | 0.010 | -0.002 | -0.002 | 0.010 | 106 | 54 | -0.038 | -0.042 | -0.001 | 0.001 | 0.000 | 0.019 |
|  | 44 | -0.022 | -0.026 | 0.010 | -0.002 | 0.005 | -0.007 |  | 32 | -0.038 | -0.047 | -0.001 | 0.001 | -0.001 | -0.013 |
| 67 | 43 | 0.052 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 | 107 | 54 | 0.160 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.052 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |  | 51 | 0.160 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 68 | 44 | 0.065 | -0.030 | -0.150 | -0.009 | 0.024 | -0.006 | 108 | 55 | -0.218 | 0.002 | 0.000 | 0.000 | -0.001 | 0.014 |
|  | 8 | 0.065 | -0.033 | -0.150 | -0.009 | -0.031 | -0.018 |  | 54 | -0.218 | -0.002 | 0.000 | 0.000 | -0.001 | 0.014 |
| 69 | 44 | 0.101 | 0.001 | 0.024 | 0.000 | -0.009 | 0.000 | 109 | 55 | 0.160 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.101 | -0.002 | 0.024 | 0.000 | 0.006 | 0.000 |  | 52 | 0.160 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 70 | 45 | 0.025 | 0.006 | -0.012 | 0.002 | 0.006 | -0.004 | 110 | 56 | -0.038 | 0.047 | 0.001 | -0.001 | -0.001 | -0.013 |
|  | 4 | 0.025 | 0.001 | -0.012 | 0.002 | -0.002 | -0.002 |  | 55 | -0.038 | 0.042 | 0.001 | -0.001 | 0.000 | 0.019 |
| 71 | 45 | 0.100 | 0.001 | -0.026 | 0.000 | 0.009 | 0.000 | 111 | 56 | 0.209 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 60 | 0.100 | -0.002 | -0.026 | 0.000 | -0.006 | 0.000 |  | 53 | 0.209 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 72 | 1 | 0.259 | -0.067 | 0.097 | 0.005 | -0.017 | -0.003 | 112 | 57 | -0.025 | 0.002 | 0.017 | 0.000 | -0.005 | 0.000 |
|  | 21 | 0.259 | -0.070 | 0.097 | 0.005 | 0.017 | -0.028 |  | 39 | -0.026 | -0.001 | 0.017 | 0.000 | 0.006 | 0.000 |
| 73 | 1 | 0.007 | 0.002 | -0.016 | 0.000 | 0.004 | 0.000 | 113 | 57 | 0.060 | 0.020 | 0.006 | 0.000 | -0.003 | -0.010 |
|  | 34 | 0.006 | -0.001 | -0.016 | 0.000 | -0.005 | 0.000 |  | 17 | 0.060 | 0.015 | 0.006 | 0.000 | 0.001 | 0.003 |
| 74 | 26 | 0.091 | 0.027 | -0.005 | 0.000 | 0.002 | -0.013 | 114 | 58 | 0.027 | 0.002 | 0.012 | 0.000 | -0.004 | 0.000 |
|  | 12 | 0.091 | 0.023 | -0.005 | 0.000 | -0.001 | 0.005 |  | 57 | 0.027 | -0.001 | 0.012 | 0.000 | 0.004 | 0.000 |
| 75 | 26 | 0.099 | 0.002 | -0.011 | 0.000 | 0.003 | 0.000 | 115 | 58 | 0.313 | -0.073 | -0.078 | -0.004 | 0.014 | -0.007 |
|  | 1 | 0.098 | -0.001 | -0.011 | 0.000 | -0.003 | 0.000 |  | 24 | 0.313 | -0.075 | -0.078 | -0.004 | -0.014 | -0.033 |
| 76 | 27 | 0.381 | -0.075 | 0.013 | 0.003 | -0.003 | -0.009 | 116 | 59 | 0.115 | 0.002 | 0.008 | 0.000 | -0.002 | 0.000 |
|  | 19 | 0.381 | -0.078 | 0.013 | 0.003 | 0.001 | -0.036 |  | 58 | 0.114 | -0.001 | 0.008 | 0.000 | 0.003 | 0.000 |
| 77 | 27 | 0.221 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 | 117 | 59 | 0.103 | 0.034 | 0.003 | 0.000 | -0.001 | -0.016 |
|  | 26 | 0.221 | -0.001 | -0.007 | 0.000 | -0.003 | 0.000 |  | 15 | 0.103 | 0.029 | 0.003 | 0.000 | 0.001 | 0.007 |
| 78 | 28 | 0.082 | 0.031 | 0.002 | -0.001 | -0.001 | -0.014 | 118 | 60 | 0.201 | 0.002 | -0.003 | 0.000 | 0.002 | 0.000 |
|  | 10 | 0.082 | 0.026 | 0.002 | -0.001 | 0.001 | 0.007 |  | 59 | 0.201 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
| 79 | 28 | 0.304 | 0.001 | 0.003 | 0.000 | -0.002 | 0.000 | 119 | 60 | 0.376 | -0.060 | 0.122 | 0.005 | -0.020 | -0.008 |
|  | 27 | 0.303 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 22 | 0.376 | -0.062 | 0.122 | 0.005 | 0.023 | -0.030 |
| 80 | 29 | -0.035 | 0.002 | 0.017 | 0.000 | -0.005 | 0.000 | 120 | 6 | 0.885 | 0.000 | 0.000 | 0.000 | 0.000 | 0.009 |
|  | 35 | -0.035 | -0.001 | 0.017 | 0.000 | 0.006 | 0.000 |  | 67 | 0.936 | -0.004 | 0.000 | 0.000 | 0.000 | 0.008 |
| 81 | 29 | -0.077 | 0.044 | 0.006 | -0.001 | -0.002 | -0.010 | 121 | 8 | 0.884 | 0.000 | 0.000 | 0.000 | 0.000 | 0.008 |
|  | 33 | -0.077 | 0.039 | 0.006 | -0.001 | 0.002 | 0.019 |  | 63 | 0.936 | -0.003 | 0.000 | 0.000 | 0.000 | 0.007 |
| 82 | 30 | 0.026 | 0.002 | 0.013 | 0.000 | -0.004 | 0.000 | 122 | 53 | -0.220 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 |
|  | 29 | 0.025 | -0.001 | 0.013 | 0.000 | 0.004 | 0.000 |  | 50 | -0.220 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |
| 83 | 30 | 0.317 | -0.091 | -0.073 | -0.004 | 0.013 | -0.001 | 123 | 50 | -0.104 | 0.002 | -0.013 | 0.000 | 0.004 | 0.000 |
|  | 20 | 0.317 | -0.093 | -0.073 | -0.004 | -0.014 | -0.035 |  | 47 | -0.105 | -0.001 | -0.013 | 0.000 | -0.004 | 0.000 |
| 84 | 31 | 0.119 | 0.002 | 0.009 | 0.000 | -0.002 | 0.000 | 124 | 47 | -0.008 | 0.002 | -0.018 | 0.000 | 0.005 | 0.000 |
|  | 30 | 0.118 | -0.001 | 0.009 | 0.000 | 0.003 | 0.000 |  | 38 | -0.008 | -0.001 | -0.018 | 0.000 | -0.006 | 0.000 |
| 85 | 31 | -0.029 | 0.047 | 0.004 | 0.000 | -0.001 | -0.013 | 125 | 43 | -0.077 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 51 | -0.029 | 0.042 | 0.004 | 0.000 | 0.001 | 0.019 |  | 55 | -0.078 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 12 | 57 | -0.022 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 |
| 126 | 55 | -0.174 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |  | 17 | 0.020 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.174 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |  | 16 | 0.023 | 0.025 | -0.003 | 0.000 | 0.000 | 0.000 |
| 127 | 52 | -0.156 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | -0.021 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.156 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 58 | -0.032 | -0.040 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.026 | -0.042 | -0.003 | 0.000 | 0.000 | 0.000 |
| 128 | 49 | -0.086 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.032 | 0.046 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.086 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | -0.026 | 0.035 | -0.003 | 0.000 | 0.000 | 0.000 |
| 129 | 46 | -0.013 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 59 | -0.030 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.013 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.027 | -0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 14 | 0.028 | 0.049 | -0.003 | 0.000 | 0.000 | 0.000 |
| 130 | 42 | -0.077 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |  | 60 | -0.026 | 0.041 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.078 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 | 15 | 60 | -0.014 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
| 131 | 54 | -0.173 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |  | 14 | 0.019 | -0.025 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.174 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |  | 4 | 0.011 | 0.020 | -0.003 | 0.000 | 0.000 | 0.000 |
| 132 | 51 | -0.156 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | -0.016 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.156 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 47 | -0.075 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.071 | -0.041 | -0.003 | 0.000 | 0.000 | 0.000 |
| 133 | 48 | -0.086 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.078 | 0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.086 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.074 | 0.041 | -0.003 | 0.000 | 0.000 | 0.000 |
| 134 | 33 | -0.013 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 50 | -0.086 | -0.059 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.013 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.084 | -0.057 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 59 | 0.089 | 0.058 | -0.003 | 0.000 | 0.000 | 0.000 |
| 135 | 41 | -0.154 | 0.001 | -0.025 | 0.000 | 0.009 | 0.000 |  | 53 | -0.086 | 0.056 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | -0.155 | -0.002 | -0.025 | 0.000 | -0.006 | 0.000 | 18 | 53 | -0.090 | -0.065 | -0.003 | 0.000 | 0.000 | 0.000 |
| 136 | 32 | -0.300 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |  | 59 | 0.092 | -0.067 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | -0.300 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |  | 60 | 0.089 | 0.065 | -0.003 | 0.000 | 0.000 | 0.000 |
| 137 | 31 | -0.222 | 0.002 | 0.009 | 0.000 | -0.002 | 0.000 |  | 56 | -0.091 | 0.066 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | -0.222 | -0.001 | 0.009 | 0.000 | 0.003 | 0.000 | 19 | 56 | -0.074 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 60 | 0.079 | -0.048 | -0.003 | 0.000 | 0.000 | 0.000 |
| 138 | 30 | -0.106 | 0.002 | 0.013 | 0.000 | -0.004 | 0.000 |  | 45 | 0.066 | 0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | -0.106 | -0.001 | 0.013 | 0.000 | 0.004 | 0.000 |  | 44 | -0.071 | 0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
| 139 | 29 | -0.008 | 0.002 | 0.018 | 0.000 | -0.005 | 0.000 | 20 | 46 | 0.017 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.008 | -0.001 | 0.018 | 0.000 | 0.006 | 0.000 |  | 47 | -0.011 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 50 | -0.016 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
| 140 | 40 | -0.199 | 0.001 | 0.027 | 0.000 | -0.010 | 0.000 |  | 49 | 0.010 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | -0.199 | -0.002 | 0.027 | 0.000 | 0.007 | 0.000 | 21 | 49 | 0.012 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
| 141 | 28 | -0.364 | 0.001 | 0.003 | 0.000 | -0.002 | 0.000 |  | 50 | -0.007 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | -0.364 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.011 | 0.011 | -0.003 | 0.000 | 0.000 | 0.000 |
| 142 | 27 | -0.289 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 |  | 52 | 0.007 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | -0.289 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 | 22 | 52 | 0.007 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 53 | -0.008 | -0.018 | -0.003 | 0.000 | 0.000 | 0.000 |
| 143 | 26 | -0.152 | 0.002 | -0.013 | 0.000 | 0.004 | 0.000 |  | 56 | -0.006 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | -0.152 | -0.001 | -0.013 | 0.000 | -0.004 | 0.000 |  | 55 | 0.008 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
| 144 | 1 | -0.027 | 0.002 | -0.018 | 0.000 | 0.005 | 0.000 | 23 | 55 | 0.004 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 34 | -0.027 | -0.001 | -0.018 | 0.000 | -0.006 | 0.000 |  | 56 | -0.016 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 44 | -0.004 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 43 | 0.017 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
| PLATE NODAL FORCES AND MOMENTS (kN,kNm) ------------------------------ |  |  |  |  | 24 |  |  |  | 33 | 0.059 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.058 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
| Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  |  |  |  | 49 | -0.058 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | 0.058 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | 25 | 48 | 0.056 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
| 1 | 2 | -0.015 | -0.007 | -0.003 | 0.000 | 0.000 | 0.000 |  | 49 | -0.056 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.018 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 |  | 52 | -0.056 | -0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.014 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  | 51 | 0.056 | -0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.017 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 | 26 | 51 | 0.054 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
| 2 | 13 | -0.019 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 52 | -0.054 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.024 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 55 | -0.054 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.020 | 0.022 | -0.003 | 0.000 | 0.000 | 0.000 |  | 54 | 0.054 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 12 | -0.025 | 0.028 | -0.003 | 0.000 | 0.000 | 0.000 | 27 | 54 | 0.050 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
| 3 | 12 | -0.026 | -0.043 | -0.003 | 0.000 | 0.000 | 0.000 |  | 55 | -0.050 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.032 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |  | 43 | -0.044 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.026 | 0.038 | -0.003 | 0.000 | 0.000 | 0.000 |  | 42 | 0.045 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 11 | -0.032 | 0.048 | -0.003 | 0.000 | 0.000 | 0.000 | 28 | 29 | 0.010 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
| 4 | 11 | -0.029 | -0.048 | -0.003 | 0.000 | 0.000 | 0.000 |  | 33 | -0.016 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.029 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 |  | 48 | -0.010 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.027 | 0.045 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | 0.016 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 10 | -0.027 | 0.048 | -0.003 | 0.000 | 0.000 | 0.000 | 29 | 30 | 0.007 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
| 5 | 10 | -0.022 | -0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 48 | -0.011 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.011 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |  | 51 | -0.007 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.020 | 0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.011 | 0.011 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 3 | -0.009 | 0.018 | -0.003 | 0.000 | 0.000 | 0.000 | 30 | 31 | 0.008 | -0.018 | -0.003 | 0.000 | 0.000 | 0.000 |
| 6 | 34 | -0.056 | -0.030 | -0.003 | 0.000 | 0.000 | 0.000 |  | 51 | -0.006 | -0.016 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.053 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 54 | -0.008 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.062 | 0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 32 | 0.006 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | -0.059 | 0.027 | -0.003 | 0.000 | 0.000 | 0.000 | 31 | 32 | 0.016 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
| 7 | 35 | 0.010 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 |  | 54 | -0.004 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.022 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 42 | -0.017 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.010 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.004 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.022 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 | 32 | 1 | -0.072 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 |
| 8 | 36 | 0.055 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |  | 29 | 0.074 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.055 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | 0.076 | 0.043 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.058 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 26 | -0.077 | 0.046 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.058 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 | 33 | 26 | -0.085 | -0.060 | -0.003 | 0.000 | 0.000 | 0.000 |
| 9 | 37 | 0.022 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | 0.087 | -0.060 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.010 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.087 | 0.058 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.022 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 |  | 27 | -0.090 | 0.062 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.010 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 | 34 | 27 | -0.092 | -0.069 | -0.003 | 0.000 | 0.000 | 0.000 |
| 10 | 38 | -0.055 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.093 | -0.068 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.054 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 32 | 0.090 | 0.067 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.061 | 0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 28 | -0.091 | 0.069 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.060 | 0.026 | -0.003 | 0.000 | 0.000 | 0.000 | 35 | 28 | -0.077 | -0.049 | -0.003 | 0.000 | 0.000 | 0.000 |
| 11 | 39 | -0.015 | -0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  | 32 | 0.076 | -0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.017 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.069 | 0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.015 | 0.007 | -0.003 | 0.000 | 0.000 | 0.000 |  | 40 | -0.068 | 0.048 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.016 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

Load case 2 (Linear): WIND COLS MAJOR (S)	Plate Node	Fx	Fy	Fz	Mx	My	Mz

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | 25 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load c | ase 3 (L | inear): WIND COLS MAJOR (U) |  |  |  |  |  |
| 12 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

Plate Node	Fx	Fy	Fz	Mx	My	Mz	Load case 4 (Linear): WIND PL (S)

| 13 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 2 | -0.006 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.009 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.006 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
| 14 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | -0.009 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 13 | -0.008 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.011 | -0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.009 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
| 15 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | -0.012 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 12 | -0.012 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.015 | -0.020 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.012 | 0.016 | -0.003 | 0.000 | 0.000 | 0.000 |
| 16 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | -0.015 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | -0.013 | -0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.013 | -0.020 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.012 | 0.020 | -0.003 | 0.000 | 0.000 | 0.000 |
| 17 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | -0.012 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 10 | -0.010 | -0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.004 | -0.007 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.010 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
| 18 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | -0.003 | 0.006 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 34 | -0.029 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.027 | -0.013 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.034 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
| 19 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | -0.032 | 0.013 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 35 | 0.006 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | -0.015 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.007 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
| 20 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.015 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 36 | 0.032 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | -0.032 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.035 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
| 21 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.035 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 37 | 0.015 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | -0.006 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | -0.016 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
| 22 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.007 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 38 | -0.027 | -0.013 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.028 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.032 | 0.013 | -0.003 | 0.000 | 0.000 | 0.000 |
| 23 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.033 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 39 | -0.008 | -0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.007 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.008 | 0.003 | -0.003 | 0.000 | 0.000 | 0.000 |
| 24 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | -0.006 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 57 | -0.010 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.009 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.011 | 0.011 | -0.003 | 0.000 | 0.000 | 0.000 |
| 25 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | -0.009 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 58 | -0.015 | -0.018 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.012 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 15 | 0.015 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
| 26 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | -0.012 | 0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 59 | -0.013 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.013 | -0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 14 | 0.012 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
| 27 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | -0.011 | 0.018 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 60 | -0.005 | -0.008 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.009 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 4 | 0.004 | 0.007 | -0.003 | 0.000 | 0.000 | 0.000 |
| 28 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | -0.008 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 47 | -0.042 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.040 | -0.022 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 58 | 0.043 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |
| 29 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.042 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 50 | -0.048 | -0.030 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.047 | -0.029 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 59 | 0.049 | 0.030 | -0.003 | 0.000 | 0.000 | 0.000 |
| 30 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.048 | 0.029 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 53 | -0.050 | -0.034 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.050 | -0.034 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 60 | 0.049 | 0.033 | -0.003 | 0.000 | 0.000 | 0.000 |
| 31 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | -0.049 | 0.033 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 56 | -0.041 | -0.022 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.041 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 45 | 0.035 | 0.022 | -0.003 | 0.000 | 0.000 | 0.000 |
| 32 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | -0.035 | 0.022 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 46 | 0.012 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.009 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 50 | -0.011 | -0.003 | -0.003 | 0.000 | 0.000 | 0.000 |
| 33 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.008 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 49 | 0.009 | -0.003 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.007 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 53 | -0.009 | 0.003 | -0.003 | 0.000 | 0.000 | 0.000 |
| 34 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.007 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 52 | 0.006 | -0.006 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.007 | -0.007 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 56 | -0.005 | 0.007 | -0.003 | 0.000 | 0.000 | 0.000 |
| 35 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.006 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 55 | 0.002 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | -0.011 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 44 | -0.001 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 43 | 0.010 | -0.003 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 24 | 33 | 0.037 | 0.013 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.037 | 0.013 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 49 | -0.037 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | 0.037 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25 | 48 | 0.036 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 | 13 | 58 | -0.025 | -0.030 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 49 | -0.036 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 16 | 0.020 | -0.032 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 52 | -0.035 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.024 | 0.034 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 51 | 0.035 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 59 | -0.020 | 0.026 | -0.005 | 0.001 | 0.001 | 0.000 |
| 26 | 51 | 0.034 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 | 14 | 59 | -0.022 | -0.032 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 52 | -0.034 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.021 | -0.035 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 55 | -0.034 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |  | 14 | 0.021 | 0.035 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 54 | 0.034 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |  | 60 | -0.019 | 0.030 | -0.005 | 0.001 | 0.001 | 0.000 |
| 27 | 54 | 0.030 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 | 15 | 60 | -0.009 | -0.013 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 55 | -0.030 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 |  | 14 | 0.015 | -0.019 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 43 | -0.025 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 4 | 0.007 | 0.012 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 42 | 0.025 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 45 | -0.013 | 0.017 | -0.005 | 0.001 | 0.001 | 0.000 |
| 28 | 29 | 0.008 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 | 16 | 47 | -0.070 | -0.039 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 33 | -0.012 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |  | 57 | 0.067 | -0.037 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 48 | -0.008 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |  | 58 | 0.072 | 0.038 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 30 | 0.011 | -0.003 | -0.003 | 0.000 | 0.000 | 0.000 |  | 50 | -0.070 | 0.035 | -0.005 | 0.001 | 0.001 | 0.000 |
| 29 | 30 | 0.007 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 | 17 | 50 | -0.080 | -0.051 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 48 | -0.009 | -0.003 | -0.003 | 0.000 | 0.000 | 0.000 |  | 58 | 0.078 | -0.049 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 51 | -0.006 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |  | 59 | 0.082 | 0.050 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 31 | 0.009 | 0.003 | -0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.080 | 0.048 | -0.005 | 0.001 | 0.001 | 0.000 |
| 30 | 31 | 0.007 | -0.007 | -0.003 | 0.000 | 0.000 | 0.000 | 18 | 53 | -0.083 | -0.056 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 51 | -0.006 | -0.006 | -0.003 | 0.000 | 0.000 | 0.000 |  | 59 | 0.084 | -0.056 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 54 | -0.006 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 |  | 60 | 0.082 | 0.055 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 32 | 0.005 | 0.007 | -0.003 | 0.000 | 0.000 | 0.000 |  | 56 | -0.082 | 0.055 | -0.005 | 0.001 | 0.001 | 0.000 |
| 31 | 32 | 0.011 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 | 19 | 56 | -0.068 | -0.037 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 54 | -0.002 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |  | 60 | 0.068 | -0.038 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 42 | -0.010 | -0.003 | -0.003 | 0.000 | 0.000 | 0.000 |  | 45 | 0.058 | 0.037 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 41 | 0.001 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 |  | 44 | -0.059 | 0.037 | -0.005 | 0.001 | 0.001 | 0.000 |
| 32 | 1 | -0.041 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 | 20 | 46 | 0.020 | 0.004 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 29 | 0.041 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 |  | 47 | -0.014 | -0.001 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 30 | 0.043 | 0.022 | -0.003 | 0.000 | 0.000 | 0.000 |  | 50 | -0.019 | -0.004 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 26 | -0.043 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |  | 49 | 0.014 | 0.000 | -0.005 | 0.001 | 0.001 | 0.000 |
| 33 | 26 | -0.047 | -0.031 | -0.003 | 0.000 | 0.000 | 0.000 | 21 | 49 | 0.015 | -0.004 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 30 | 0.048 | -0.031 | -0.003 | 0.000 | 0.000 | 0.000 |  | 50 | -0.011 | -0.009 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 31 | 0.048 | 0.029 | -0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.015 | 0.005 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 27 | -0.050 | 0.031 | -0.003 | 0.000 | 0.000 | 0.000 |  | 52 | 0.011 | 0.006 | -0.005 | 0.001 | 0.001 | 0.000 |
| 34 | 27 | -0.050 | -0.035 | -0.003 | 0.000 | 0.000 | 0.000 | 22 | 52 | 0.010 | -0.010 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 31 | 0.051 | -0.035 | -0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.011 | -0.012 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 32 | 0.049 | 0.033 | -0.003 | 0.000 | 0.000 | 0.000 |  | 56 | -0.009 | 0.012 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 28 | -0.050 | 0.035 | -0.003 | 0.000 | 0.000 | 0.000 |  | 55 | 0.010 | 0.008 | -0.005 | 0.001 | 0.001 | 0.000 |
| 35 | 28 | -0.040 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 | 23 | 55 | 0.003 | -0.008 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 32 | 0.042 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 56 | -0.018 | 0.003 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 41 | 0.035 | 0.022 | -0.003 | 0.000 | 0.000 | 0.000 |  | 44 | -0.002 | 0.009 | -0.005 | 0.001 | -0.001 | 0.000 |
|  | 40 | -0.036 | 0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 43 | 0.017 | -0.006 | -0.005 | 0.001 | 0.001 | 0.000 |
| Load case 5 (Linear): WIND PL (U) |  |  |  | 24 |  |  |  |  | 33 | 0.062 | 0.022 | -0.005 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.061 | 0.022 | -0.005 | -0.001 | -0.001 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 49 | -0.061 | -0.023 | -0.005 | 0.001 | -0.001 | 0.000 |
| 1 | 2 | -0.010 | -0.003 | -0.005 | -0.001 | 0.001 | 0.000 |  | 48 | 0.061 | -0.023 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 34 | 0.015 | -0.008 | -0.005 | -0.001 | -0.001 | 0.000 | 25 | 48 | 0.059 | 0.016 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 1 | 0.009 | 0.003 | -0.005 | 0.001 | -0.001 | 0.000 |  | 49 | -0.059 | 0.016 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 13 | -0.014 | 0.007 | -0.005 | 0.001 | 0.001 | 0.000 |  | 52 | -0.059 | -0.017 | -0.005 | 0.001 | -0.001 | 0.000 |
| 2 | 13 | -0.013 | -0.017 | -0.005 | -0.001 | 0.001 | 0.000 |  | 51 | 0.059 | -0.017 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 1 | 0.019 | -0.020 | -0.005 | -0.001 | -0.001 | 0.000 | 26 | 51 | 0.057 | 0.014 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 26 | 0.015 | 0.014 | -0.005 | 0.001 | -0.001 | 0.000 |  | 52 | -0.057 | 0.014 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 12 | -0.020 | 0.020 | -0.005 | 0.001 | 0.001 | 0.000 |  | 55 | -0.056 | -0.015 | -0.005 | 0.001 | -0.001 | 0.000 |
| 3 | 12 | -0.020 | -0.032 | -0.005 | -0.001 | 0.001 | 0.000 |  | 54 | 0.056 | -0.015 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 26 | 0.025 | -0.033 | -0.005 | -0.001 | -0.001 | 0.000 | 27 | 54 | 0.049 | 0.016 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 27 | 0.020 | 0.027 | -0.005 | 0.001 | -0.001 | 0.000 |  | 55 | -0.049 | 0.016 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 11 | -0.025 | 0.035 | -0.005 | 0.001 | 0.001 | 0.000 |  | 43 | -0.041 | -0.017 | -0.005 | 0.001 | -0.001 | 0.000 |
| 4 | 11 | -0.022 | -0.036 | -0.005 | -0.001 | 0.001 | 0.000 |  | 42 | 0.041 | -0.017 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 27 | 0.021 | -0.033 | -0.005 | -0.001 | -0.001 | 0.000 | 28 | 29 | 0.014 | -0.001 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 28 | 0.020 | 0.033 | -0.005 | 0.001 | -0.001 | 0.000 |  | 33 | -0.019 | 0.004 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 10 | -0.020 | 0.034 | -0.005 | 0.001 | 0.001 | 0.000 |  | 48 | -0.014 | 0.000 | -0.005 | 0.001 | -0.001 | 0.000 |
| 5 | 10 | -0.017 | -0.021 | -0.005 | -0.001 | 0.001 | 0.000 |  | 30 | 0.019 | -0.004 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 28 | 0.006 | -0.012 | -0.005 | -0.001 | -0.001 | 0.000 | 29 | 30 | 0.011 | -0.009 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 40 | 0.016 | 0.020 | -0.005 | 0.001 | -0.001 | 0.000 |  | 48 | -0.015 | -0.004 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 3 | -0.005 | 0.010 | -0.005 | 0.001 | 0.001 | 0.000 |  | 51 | -0.011 | 0.006 | -0.005 | 0.001 | -0.001 | 0.000 |
| 6 | 34 | -0.049 | -0.025 | -0.005 | -0.001 | 0.001 | 0.000 |  | 31 | 0.014 | 0.005 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 35 | 0.045 | -0.021 | -0.005 | -0.001 | -0.001 | 0.000 | 30 | 31 | 0.011 | -0.012 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 29 | 0.057 | 0.024 | -0.005 | 0.001 | -0.001 | 0.000 |  | 51 | -0.010 | -0.010 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 1 | -0.053 | 0.021 | -0.005 | 0.001 | 0.001 | 0.000 |  | 54 | -0.010 | 0.008 | -0.005 | 0.001 | -0.001 | 0.000 |
| 7 | 35 | 0.010 | 0.002 | -0.005 | -0.001 | 0.001 | 0.000 |  | 32 | 0.009 | 0.012 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 36 | -0.025 | 0.014 | -0.005 | -0.001 | -0.001 | 0.000 | 31 | 32 | 0.018 | 0.003 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 33 | -0.011 | -0.002 | -0.005 | 0.001 | -0.001 | 0.000 |  | 54 | -0.003 | -0.008 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 29 | 0.026 | -0.015 | -0.005 | 0.001 | 0.001 | 0.000 |  | 42 | -0.017 | -0.006 | -0.005 | 0.001 | -0.001 | 0.000 |
| 8 | 36 | 0.053 | 0.024 | -0.005 | -0.001 | 0.001 | 0.000 |  | 41 | 0.002 | 0.009 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 37 | -0.053 | 0.024 | -0.005 | -0.001 | -0.001 | 0.000 | 32 | 1 | -0.068 | -0.039 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 46 | -0.058 | -0.025 | -0.005 | 0.001 | -0.001 | 0.000 |  | 29 | 0.069 | -0.039 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 33 | 0.058 | -0.025 | -0.005 | 0.001 | 0.001 | 0.000 |  | 30 | 0.071 | 0.037 | -0.005 | 0.001 | -0.001 | 0.000 |
| 9 | 37 | 0.025 | 0.014 | -0.005 | -0.001 | 0.001 | 0.000 |  | 26 | -0.072 | 0.039 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 38 | -0.010 | 0.002 | -0.005 | -0.001 | -0.001 | 0.000 | 33 | 26 | -0.078 | -0.052 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 47 | -0.026 | -0.015 | -0.005 | 0.001 | -0.001 | 0.000 |  | 30 | 0.081 | -0.052 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 46 | 0.011 | -0.002 | -0.005 | 0.001 | 0.001 | 0.000 |  | 31 | 0.081 | 0.049 | -0.005 | 0.001 | -0.001 | 0.000 |
| 10 | 38 | -0.046 | -0.022 | -0.005 | -0.001 | 0.001 | 0.000 |  | 27 | -0.083 | 0.052 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 39 | 0.047 | -0.024 | -0.005 | -0.001 | -0.001 | 0.000 | 34 | 27 | -0.083 | -0.058 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 57 | 0.054 | 0.021 | -0.005 | 0.001 | -0.001 | 0.000 |  | 31 | 0.085 | -0.058 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 47 | -0.056 | 0.023 | -0.005 | 0.001 | 0.001 | 0.000 |  | 32 | 0.082 | 0.056 | -0.005 | 0.001 | -0.001 | 0.000 |
| 11 | 39 | -0.013 | -0.006 | -0.005 | -0.001 | 0.001 | 0.000 |  | 28 | -0.084 | 0.058 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 5 | 0.011 | -0.004 | -0.005 | -0.001 | -0.001 | 0.000 | 35 | 28 | -0.067 | -0.039 | -0.005 | -0.001 | 0.001 | 0.000 |
|  | 17 | 0.013 | 0.005 | -0.005 | 0.001 | -0.001 | 0.000 |  | 32 | 0.069 | -0.039 | -0.005 | -0.001 | -0.001 | 0.000 |
|  | 57 | -0.011 | 0.004 | -0.005 | 0.001 | 0.001 | 0.000 |  | 41 | 0.058 | 0.037 | -0.005 | 0.001 | -0.001 | 0.000 |
| 12 | 57 | -0.017 | -0.017 | -0.005 | -0.001 | 0.001 | 0.000 |  | 40 | -0.060 | 0.040 | -0.005 | 0.001 | 0.001 | 0.000 |
|  | 17 | 0.014 | -0.017 | -0.005 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.018 | 0.018 | -0.005 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | -0.016 | 0.014 | -0.005 | 0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |

Load case 6 (Linear): IMPOSED P/ LOAD	Plate Node	Fx	Fy	Fz	Mx	My	Mz

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | 25 | 48 | 0.130 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 49 | -0.130 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 2 | -0.083 | -0.080 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | -0.104 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.050 | -0.045 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.104 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.067 | 0.072 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 13 | -0.034 | 0.052 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 51 | 0.057 | -0.026 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 52 | -0.057 | -0.026 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 13 | -0.001 | -0.077 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | -0.036 | 0.026 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.085 | -0.146 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.036 | 0.026 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | -0.011 | 0.076 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 12 | -0.073 | 0.147 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 54 | -0.005 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 55 | 0.005 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 12 | -0.004 | -0.115 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.032 | 0.034 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.045 | -0.145 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | -0.032 | 0.034 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.111 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 11 | -0.041 | 0.150 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 29 | 0.167 | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.283 | 0.075 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 11 | -0.008 | -0.107 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.126 | 0.021 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.002 | -0.108 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.242 | -0.060 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.001 | 0.112 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 10 | 0.005 | 0.102 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 30 | 0.042 | -0.101 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | -0.195 | 0.045 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 10 | 0.011 | -0.046 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.018 | 0.082 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | -0.063 | -0.015 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.170 | -0.025 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.019 | 0.058 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 3 | 0.070 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 31 | -0.018 | -0.122 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 51 | -0.112 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 34 | -0.286 | -0.030 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.041 | 0.101 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.635 | -0.326 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.088 | 0.014 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.007 | 0.036 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 1 | -0.356 | 0.320 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 32 | -0.056 | -0.094 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 54 | -0.060 | 0.013 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 35 | 0.674 | 0.328 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.066 | 0.083 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.173 | -0.099 | 0.001 | 0.000 | 0.000 | 0.000 |  | 41 | 0.049 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.597 | -0.318 | -0.001 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 29 | 0.096 | 0.088 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 1 | 0.103 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | -0.041 | -0.087 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 36 | 1.272 | 0.390 | 0.001 | 0.000 | 0.000 | 0.000 |  | 30 | -0.099 | 0.035 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -1.271 | 0.390 | 0.001 | 0.000 | 0.000 | 0.000 |  | 26 | 0.036 | 0.088 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.797 | -0.390 | -0.001 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 33 | 0.796 | -0.390 | -0.001 | 0.000 | 0.000 | 0.000 | 33 | 26 | 0.040 | -0.097 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 30 | -0.045 | -0.088 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 37 | 0.174 | -0.098 | 0.001 | 0.000 | 0.000 | 0.000 |  | 31 | -0.025 | 0.092 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.673 | 0.328 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.030 | 0.093 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.097 | 0.088 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 46 | 0.597 | -0.318 | -0.001 | 0.000 | 0.000 | 0.000 | 34 | 27 | -0.002 | -0.115 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 31 | -0.021 | -0.091 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 38 | -0.641 | -0.330 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.005 | 0.110 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.278 | -0.019 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.018 | 0.096 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.362 | 0.321 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 47 | 0.001 | 0.027 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 28 | -0.004 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 32 | -0.041 | -0.029 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 39 | -0.037 | -0.031 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.006 | 0.067 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.092 | -0.087 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.039 | 0.034 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.023 | 0.042 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 57 | -0.077 | 0.076 | 0.000 | 0.000 | 0.000 | 0.000 | Load c | ase 7 (Linear): WIND COLS MINOR (S) |  |  |  |  |  |  |
| 12 | 57 | -0.077 | -0.128 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 17 | 0.007 | -0.077 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.065 | 0.136 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.005 | 0.070 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 58 | -0.042 | -0.131 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.003 | -0.110 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.039 | 0.143 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.001 | 0.098 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 59 | -0.007 | -0.102 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.002 | -0.100 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.001 | 0.104 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.005 | 0.097 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 60 | 0.052 | -0.017 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.024 | -0.035 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | -0.061 | 0.011 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.033 | 0.041 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 47 | 0.039 | -0.084 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.110 | -0.020 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | -0.034 | 0.079 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.106 | 0.025 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 50 | 0.048 | -0.079 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.043 | -0.082 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | -0.033 | 0.077 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.028 | 0.084 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 53 | 0.029 | -0.080 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.004 | -0.106 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | -0.026 | 0.079 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.007 | 0.107 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 56 | 0.051 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.012 | -0.070 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | -0.048 | 0.018 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | -0.015 | 0.070 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 46 | 0.284 | 0.076 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.167 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | -0.243 | -0.061 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.127 | 0.021 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 49 | 0.196 | 0.046 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | -0.043 | -0.101 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | -0.171 | -0.026 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.019 | 0.081 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 52 | 0.112 | 0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.017 | -0.121 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | -0.089 | 0.014 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.041 | 0.101 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 55 | 0.060 | 0.013 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.056 | -0.094 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | -0.049 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | -0.066 | 0.083 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 33 | 0.271 | 0.056 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.270 | 0.055 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | -0.213 | -0.056 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | 0.213 | -0.055 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

Plate Node	Fx	Fy	Fz	Mx	My	Mz	Load case 8 (Linear): WIND COLS MINOR (U)

| 13 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 44 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 24 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 58 | -0.032 | -0.040 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.026 | -0.042 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.032 | 0.046 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | -0.026 | 0.035 | -0.003 | 0.000 | 0.000 | 0.000 |
| 26 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 59 | -0.030 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.027 | -0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.028 | 0.049 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | -0.026 | 0.041 | -0.003 | 0.000 | 0.000 | 0.000 |
| 27 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 60 | -0.014 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.019 | -0.025 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 4 | 0.011 | 0.020 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | -0.016 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |
| 28 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 47 | -0.075 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.071 | -0.041 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.078 | 0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.074 | 0.041 | -0.003 | 0.000 | 0.000 | 0.000 |
| 29 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 50 | -0.086 | -0.059 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.084 | -0.057 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.089 | 0.058 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.086 | 0.056 | -0.003 | 0.000 | 0.000 | 0.000 |
| 30 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 53 | -0.090 | -0.065 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.092 | -0.067 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.089 | 0.065 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | -0.091 | 0.066 | -0.003 | 0.000 | 0.000 | 0.000 |
| 31 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 56 | -0.074 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.079 | -0.048 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.066 | 0.044 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | -0.071 | 0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
| 32 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 46 | 0.017 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.011 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.016 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.010 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
| 33 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 49 | 0.012 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.007 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.011 | 0.011 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.007 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
| 34 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 52 | 0.007 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.008 | -0.018 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | -0.006 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.008 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
| 35 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 55 | 0.004 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | -0.016 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 44 | -0.004 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.017 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
| Load case 10 (Linear): COMB 1 (1) |  |  |  | 24 |  |  |  |  | 33 | 0.059 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.058 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 49 | -0.058 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
| 1 | 2 | -0.015 | -0.007 | -0.003 | 0.000 | 0.000 | 0.000 |  | 48 | 0.058 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.018 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 | 25 | 48 | 0.056 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.014 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  | 49 | -0.056 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.017 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 52 | -0.056 | -0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
| 2 | 13 | -0.019 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 51 | 0.056 | -0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | 0.024 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 | 26 | 51 | 0.054 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.020 | 0.022 | -0.003 | 0.000 | 0.000 | 0.000 |  | 52 | -0.054 | 0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 12 | -0.025 | 0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 55 | -0.054 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
| 3 | 12 | -0.026 | -0.043 | -0.003 | 0.000 | 0.000 | 0.000 |  | 54 | 0.054 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 26 | 0.032 | -0.044 | -0.003 | 0.000 | 0.000 | 0.000 | 27 | 54 | 0.050 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.026 | 0.038 | -0.003 | 0.000 | 0.000 | 0.000 |  | 55 | -0.050 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 11 | -0.032 | 0.048 | -0.003 | 0.000 | 0.000 | 0.000 |  | 43 | -0.044 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
| 4 | 11 | -0.029 | -0.048 | -0.003 | 0.000 | 0.000 | 0.000 |  | 42 | 0.045 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 27 | 0.029 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 | 28 | 29 | 0.010 | -0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.027 | 0.045 | -0.003 | 0.000 | 0.000 | 0.000 |  | 33 | -0.016 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 10 | -0.027 | 0.048 | -0.003 | 0.000 | 0.000 | 0.000 |  | 48 | -0.010 | 0.004 | -0.003 | 0.000 | 0.000 | 0.000 |
| 5 | 10 | -0.022 | -0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | 0.016 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | 0.011 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 | 29 | 30 | 0.007 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.020 | 0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 48 | -0.011 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 3 | -0.009 | 0.018 | -0.003 | 0.000 | 0.000 | 0.000 |  | 51 | -0.007 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
| 6 | 34 | -0.056 | -0.030 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.011 | 0.011 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.053 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 | 30 | 31 | 0.008 | -0.018 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.062 | 0.028 | -0.003 | 0.000 | 0.000 | 0.000 |  | 51 | -0.006 | -0.016 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 1 | -0.059 | 0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 54 | -0.008 | 0.014 | -0.003 | 0.000 | 0.000 | 0.000 |
| 7 | 35 | 0.010 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 |  | 32 | 0.006 | 0.019 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.022 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 | 31 | 32 | 0.016 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.010 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |  | 54 | -0.004 | -0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.022 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 |  | 42 | -0.017 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |
| 8 | 36 | 0.055 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.004 | 0.012 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.055 | 0.023 | -0.003 | 0.000 | 0.000 | 0.000 | 32 | 1 | -0.072 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.058 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 29 | 0.074 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.058 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | 0.076 | 0.043 | -0.003 | 0.000 | 0.000 | 0.000 |
| 9 | 37 | 0.022 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 26 | -0.077 | 0.046 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.010 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 | 33 | 26 | -0.085 | -0.060 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.022 | -0.011 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | 0.087 | -0.060 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.010 | -0.001 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.087 | 0.058 | -0.003 | 0.000 | 0.000 | 0.000 |
| 10 | 38 | -0.055 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 27 | -0.090 | 0.062 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.054 | -0.027 | -0.003 | 0.000 | 0.000 | 0.000 | 34 | 27 | -0.092 | -0.069 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.061 | 0.027 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.093 | -0.068 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.060 | 0.026 | -0.003 | 0.000 | 0.000 | 0.000 |  | 32 | 0.090 | 0.067 | -0.003 | 0.000 | 0.000 | 0.000 |
| 11 | 39 | -0.015 | -0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  | 28 | -0.091 | 0.069 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.017 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 | 35 | 28 | -0.077 | -0.049 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.015 | 0.007 | -0.003 | 0.000 | 0.000 | 0.000 |  | 32 | 0.076 | -0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.016 | 0.008 | -0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.069 | 0.047 | -0.003 | 0.000 | 0.000 | 0.000 |
| 12 | 57 | -0.022 | -0.023 | -0.003 | 0.000 | 0.000 | 0.000 |  | 40 | -0.068 | 0.048 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.020 | -0.024 | -0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.023 | 0.025 | -0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | -0.021 | 0.021 | -0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

Load case 20 (Linear): COMB 2 (1+2+4+6)	Plate Node	Fx	Fy	Fz	Mx	My	Mz

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | 25 | 48 | 0.199 | 0.018 | -0.004 | 0.000 | 0.001 | 0.000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 49 | -0.199 | 0.018 | -0.004 | 0.000 | -0.001 | 0.000 |
| 1 | 2 | -0.098 | -0.087 | -0.004 | 0.000 | 0.001 | 0.000 |  | 52 | -0.172 | -0.019 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 34 | 0.070 | -0.057 | -0.004 | 0.000 | -0.001 | 0.000 |  | 51 | 0.172 | -0.019 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 1 | 0.081 | 0.080 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 13 | -0.053 | 0.063 | -0.004 | 0.000 | 0.001 | 0.000 | 26 | 51 | 0.124 | -0.013 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 52 | -0.124 | -0.013 | -0.004 | 0.000 | -0.001 | 0.000 |
| 2 | 13 | -0.021 | -0.103 | -0.004 | 0.000 | 0.001 | 0.000 |  | 55 | -0.101 | 0.012 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 1 | 0.112 | -0.175 | -0.004 | 0.000 | -0.001 | 0.000 |  | 54 | 0.102 | 0.012 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 26 | 0.011 | 0.099 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 12 | -0.101 | 0.177 | -0.004 | 0.000 | 0.001 | 0.000 | 27 | 54 | 0.055 | -0.017 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 55 | -0.055 | -0.017 | -0.004 | 0.000 | -0.001 | 0.000 |
| 3 | 12 | -0.032 | -0.162 | -0.004 | 0.000 | 0.001 | 0.000 |  | 43 | -0.020 | 0.016 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 26 | 0.081 | -0.193 | -0.004 | 0.000 | -0.001 | 0.000 |  | 42 | 0.020 | 0.016 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 27 | 0.028 | 0.151 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 11 | -0.077 | 0.202 | -0.004 | 0.000 | 0.001 | 0.000 | 28 | 29 | 0.181 | -0.041 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.304 | 0.077 | -0.004 | 0.000 | -0.001 | 0.000 |
| 4 | 11 | -0.039 | -0.159 | -0.004 | 0.000 | 0.001 | 0.000 |  | 48 | -0.140 | 0.024 | -0.005 | 0.000 | -0.001 | 0.000 |
|  | 27 | 0.033 | -0.156 | -0.004 | 0.000 | -0.001 | 0.000 |  | 30 | 0.263 | -0.062 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 28 | 0.030 | 0.160 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 10 | -0.024 | 0.154 | -0.004 | 0.000 | 0.001 | 0.000 | 29 | 30 | 0.053 | -0.116 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | -0.210 | 0.036 | -0.004 | 0.000 | -0.001 | 0.000 |
| 5 | 10 | -0.013 | -0.076 | -0.004 | 0.000 | 0.001 | 0.000 |  | 51 | -0.028 | 0.093 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 28 | -0.052 | -0.034 | -0.004 | 0.000 | -0.001 | 0.000 |  | 31 | 0.185 | -0.015 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 40 | 0.004 | 0.088 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 3 | 0.062 | 0.021 | -0.004 | 0.000 | 0.001 | 0.000 | 30 | 31 | -0.007 | -0.141 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 51 | -0.121 | -0.010 | -0.004 | 0.000 | -0.001 | 0.000 |
| 6 | 34 | -0.350 | -0.063 | -0.004 | 0.000 | 0.001 | 0.000 |  | 54 | 0.031 | 0.115 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 35 | 0.695 | -0.356 | -0.004 | 0.000 | -0.001 | 0.000 |  | 32 | 0.096 | 0.034 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 29 | 0.079 | 0.068 | -0.005 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 1 | -0.424 | 0.349 | -0.004 | 0.000 | 0.001 | 0.000 | 31 | 32 | -0.035 | -0.094 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 54 | -0.064 | 0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
| 7 | 35 | 0.686 | 0.329 | -0.004 | 0.000 | 0.001 | 0.000 |  | 42 | 0.046 | 0.080 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 36 | -0.200 | -0.085 | -0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.053 | 0.011 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 33 | -0.610 | -0.320 | -0.005 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 29 | 0.124 | 0.074 | -0.005 | 0.001 | 0.001 | 0.000 | 32 | 1 | 0.018 | -0.087 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.045 | -0.138 | -0.004 | 0.000 | -0.001 | 0.000 |
| 8 | 36 | 1.337 | 0.419 | -0.003 | 0.000 | 0.000 | 0.000 |  | 30 | -0.010 | 0.084 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 37 | -1.336 | 0.418 | -0.003 | 0.000 | 0.000 | 0.000 |  | 26 | -0.054 | 0.139 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 46 | -0.866 | -0.420 | -0.005 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 33 | 0.865 | -0.419 | -0.005 | 0.001 | 0.001 | 0.000 | 33 | 26 | -0.059 | -0.166 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 30 | 0.057 | -0.156 | -0.004 | 0.000 | -0.001 | 0.000 |
| 9 | 37 | 0.201 | -0.084 | -0.003 | 0.000 | 0.000 | 0.000 |  | 31 | 0.077 | 0.157 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 38 | -0.685 | 0.329 | -0.004 | 0.000 | -0.001 | 0.000 |  | 27 | -0.075 | 0.163 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 47 | -0.126 | 0.073 | -0.005 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 46 | 0.610 | -0.319 | -0.005 | 0.001 | 0.001 | 0.000 | 34 | 27 | -0.108 | -0.193 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 31 | 0.087 | -0.168 | -0.004 | 0.000 | -0.001 | 0.000 |
| 10 | 38 | -0.703 | -0.360 | -0.004 | 0.000 | 0.001 | 0.000 |  | 32 | 0.109 | 0.185 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 39 | 0.340 | -0.049 | -0.004 | 0.000 | -0.001 | 0.000 |  | 28 | -0.088 | 0.175 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 57 | 0.432 | 0.351 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 47 | -0.069 | 0.057 | -0.005 | 0.000 | 0.001 | 0.000 | 35 | 28 | -0.092 | -0.125 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 32 | 0.047 | -0.082 | -0.004 | 0.000 | -0.001 | 0.000 |
| 11 | 39 | -0.055 | -0.040 | -0.004 | 0.000 | 0.001 | 0.000 |  | 41 | 0.083 | 0.118 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 5 | 0.109 | -0.095 | -0.004 | 0.000 | -0.001 | 0.000 |  | 40 | -0.038 | 0.087 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 17 | 0.039 | 0.049 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 57 | -0.094 | 0.084 | -0.004 | 0.000 | 0.001 | 0.000 | Load c | ase 30 | (Linear): COMB 3 (1+3+ |  | 5+6) |  |  |  |
| 12 | 57 | -0.101 | -0.153 | -0.004 | 0.000 | 0.001 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 17 | 0.028 | -0.103 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.091 | 0.163 | -0.004 | 0.000 | -0.001 | 0.000 | 1 | 2 | -0.101 | -0.088 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 58 | -0.018 | 0.092 | -0.004 | 0.000 | 0.001 | 0.000 |  | 34 | 0.074 | -0.059 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.084 | 0.081 | -0.006 | 0.001 | -0.001 | 0.000 |
| 13 | 58 | -0.077 | -0.174 | -0.004 | 0.000 | 0.001 | 0.000 |  | 13 | -0.058 | 0.065 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 16 | 0.032 | -0.156 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.073 | 0.193 | -0.004 | 0.000 | -0.001 | 0.000 | 2 | 13 | -0.025 | -0.108 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 59 | -0.028 | 0.136 | -0.004 | 0.000 | 0.001 | 0.000 |  | 1 | 0.117 | -0.181 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.015 | 0.103 | -0.006 | 0.001 | -0.001 | 0.000 |
| 14 | 59 | -0.040 | -0.149 | -0.004 | 0.000 | 0.001 | 0.000 |  | 12 | -0.107 | 0.183 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 15 | 0.032 | -0.151 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.031 | 0.157 | -0.004 | 0.000 | -0.001 | 0.000 | 3 | 12 | -0.038 | -0.171 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 60 | -0.023 | 0.141 | -0.004 | 0.000 | 0.001 | 0.000 |  | 26 | 0.088 | -0.203 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.034 | 0.160 | -0.006 | 0.001 | -0.001 | 0.000 |
| 15 | 60 | 0.038 | -0.037 | -0.004 | 0.000 | 0.001 | 0.000 |  | 11 | -0.085 | 0.212 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 14 | -0.003 | -0.062 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | -0.050 | 0.032 | -0.004 | 0.000 | -0.001 | 0.000 | 4 | 11 | -0.046 | -0.170 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 45 | 0.014 | 0.066 | -0.004 | 0.000 | 0.001 | 0.000 |  | 27 | 0.040 | -0.166 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.036 | 0.170 | -0.006 | 0.001 | -0.001 | 0.000 |
| 16 | 47 | -0.048 | -0.135 | -0.004 | 0.000 | 0.001 | 0.000 |  | 10 | -0.030 | 0.164 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 57 | -0.027 | -0.067 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | 0.056 | 0.129 | -0.004 | 0.000 | -0.001 | 0.000 | 5 | 10 | -0.019 | -0.082 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 50 | 0.019 | 0.072 | -0.004 | 0.000 | 0.001 | 0.000 |  | 28 | -0.050 | -0.038 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.009 | 0.094 | -0.006 | 0.001 | -0.001 | 0.000 |
| 17 | 50 | -0.052 | -0.146 | -0.004 | 0.000 | 0.001 | 0.000 |  | 3 | 0.060 | 0.024 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 58 | 0.055 | -0.147 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | 0.070 | 0.144 | -0.004 | 0.000 | -0.001 | 0.000 | 6 | 34 | -0.365 | -0.071 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 53 | -0.073 | 0.148 | -0.004 | 0.000 | 0.001 | 0.000 |  | 35 | 0.708 | -0.362 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.096 | 0.075 | -0.006 | 0.001 | -0.001 | 0.000 |
| 18 | 53 | -0.077 | -0.154 | -0.004 | 0.000 | 0.001 | 0.000 |  | 1 | -0.440 | 0.356 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 59 | 0.111 | -0.181 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | 0.078 | 0.152 | -0.004 | 0.000 | -0.001 | 0.000 | 7 | 35 | 0.689 | 0.330 | -0.006 | 0.000 | 0.001 | 0.000 |
|  | 56 | -0.112 | 0.181 | -0.004 | 0.000 | 0.001 | 0.000 |  | 36 | -0.208 | -0.081 | -0.005 | 0.000 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.613 | -0.320 | -0.007 | 0.001 | -0.001 | 0.000 |
| 19 | 56 | -0.035 | -0.068 | -0.004 | 0.000 | 0.001 | 0.000 |  | 29 | 0.132 | 0.069 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 60 | 0.101 | -0.123 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | 0.028 | 0.067 | -0.004 | 0.000 | -0.001 | 0.000 | 8 | 36 | 1.353 | 0.426 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 44 | -0.094 | 0.122 | -0.004 | 0.000 | 0.001 | 0.000 |  | 37 | -1.352 | 0.425 | -0.005 | 0.000 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.884 | -0.427 | -0.007 | 0.001 | -0.001 | 0.000 |
| 20 | 46 | 0.305 | 0.078 | -0.004 | 0.000 | 0.001 | 0.000 |  | 33 | 0.883 | -0.426 | -0.007 | 0.001 | 0.001 | 0.000 |
|  | 47 | -0.182 | -0.040 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | -0.264 | -0.063 | -0.004 | 0.000 | -0.001 | 0.000 | 9 | 37 | 0.209 | -0.080 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 49 | 0.141 | 0.024 | -0.005 | 0.000 | 0.001 | 0.000 |  | 38 | -0.688 | 0.330 | -0.006 | 0.000 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | -0.133 | 0.068 | -0.006 | 0.001 | -0.001 | 0.000 |
| 21 | 49 | 0.211 | 0.037 | -0.004 | 0.000 | 0.001 | 0.000 |  | 46 | 0.613 | -0.320 | -0.007 | 0.001 | 0.001 | 0.000 |
|  | 50 | -0.054 | -0.115 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | -0.186 | -0.016 | -0.004 | 0.000 | -0.001 | 0.000 | 10 | 38 | -0.717 | -0.367 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 52 | 0.029 | 0.093 | -0.004 | 0.000 | 0.001 | 0.000 |  | 39 | 0.354 | -0.056 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.449 | 0.357 | -0.006 | 0.001 | -0.001 | 0.000 |
| 22 | 52 | 0.122 | -0.009 | -0.004 | 0.000 | 0.001 | 0.000 |  | 47 | -0.086 | 0.064 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 53 | 0.006 | -0.140 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | -0.097 | 0.033 | -0.004 | 0.000 | -0.001 | 0.000 | 11 | 39 | -0.059 | -0.042 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 55 | -0.030 | 0.114 | -0.004 | 0.000 | 0.001 | 0.000 |  | 5 | 0.112 | -0.096 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.043 | 0.050 | -0.006 | 0.001 | -0.001 | 0.000 |
| 23 | 55 | 0.064 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |  | 57 | -0.097 | 0.085 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 56 | 0.035 | -0.094 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | -0.053 | 0.011 | -0.004 | 0.000 | -0.001 | 0.000 | 12 | 57 | -0.106 | -0.158 | -0.006 | -0.001 | 0.001 | 0.000 |
|  | 43 | -0.046 | 0.080 | -0.004 | 0.000 | 0.001 | 0.000 |  | 17 | 0.033 | -0.108 | -0.006 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.096 | 0.168 | -0.006 | 0.001 | -0.001 | 0.000 |
| 24 | 33 | 0.342 | 0.079 | -0.004 | 0.000 | 0.001 | 0.000 |  | 58 | -0.023 | 0.096 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 46 | -0.342 | 0.079 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | -0.285 | -0.080 | -0.005 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | 0.284 | -0.080 | -0.005 | 0.000 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |

Plate Node	Fx	Fy	Fz	Mx	My	Mz	Load case 40 (Linear): COMB 4 (1+6)

| 13 | 58 | -0.085 | -0.183 | -0.006 | -0.001 | 0.001 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 16 | 0.038 | -0.165 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.081 | 0.203 | -0.006 | 0.001 | -0.001 | 0.000 | 1 | 2 | -0.097 | -0.087 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.034 | 0.143 | -0.006 | 0.001 | 0.001 | 0.000 |  | 34 | 0.067 | -0.056 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.081 | 0.080 | -0.003 | 0.000 | 0.000 | 0.000 |
| 14 | 59 | -0.047 | -0.159 | -0.006 | -0.001 | 0.001 | 0.000 |  | 13 | -0.051 | 0.062 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.038 | -0.161 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.037 | 0.168 | -0.006 | 0.001 | -0.001 | 0.000 | 2 | 13 | -0.020 | -0.101 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 60 | -0.028 | 0.150 | -0.006 | 0.001 | 0.001 | 0.000 |  | 1 | 0.109 | -0.173 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.009 | 0.098 | -0.003 | 0.000 | 0.000 | 0.000 |
| 15 | 60 | 0.036 | -0.041 | -0.006 | -0.001 | 0.001 | 0.000 |  | 12 | -0.099 | 0.175 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.002 | -0.068 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | -0.048 | 0.036 | -0.006 | 0.001 | -0.001 | 0.000 | 3 | 12 | -0.029 | -0.158 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.010 | 0.071 | -0.006 | 0.001 | 0.001 | 0.000 |  | 26 | 0.078 | -0.189 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.026 | 0.149 | -0.003 | 0.000 | 0.000 | 0.000 |
| 16 | 47 | -0.069 | -0.147 | -0.006 | -0.001 | 0.001 | 0.000 |  | 11 | -0.074 | 0.198 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.007 | -0.078 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | 0.078 | 0.141 | -0.006 | 0.001 | -0.001 | 0.000 | 4 | 11 | -0.036 | -0.155 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 50 | -0.002 | 0.082 | -0.006 | 0.001 | 0.001 | 0.000 |  | 27 | 0.031 | -0.153 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.028 | 0.157 | -0.003 | 0.000 | 0.000 | 0.000 |
| 17 | 50 | -0.076 | -0.161 | -0.006 | -0.001 | 0.001 | 0.000 |  | 10 | -0.022 | 0.150 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.078 | -0.161 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | 0.095 | 0.159 | -0.006 | 0.001 | -0.001 | 0.000 | 5 | 10 | -0.011 | -0.074 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.097 | 0.162 | -0.006 | 0.001 | 0.001 | 0.000 |  | 28 | -0.052 | -0.034 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.002 | 0.086 | -0.002 | 0.000 | 0.000 | 0.000 |
| 18 | 53 | -0.102 | -0.171 | -0.006 | -0.001 | 0.001 | 0.000 |  | 3 | 0.062 | 0.020 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.136 | -0.198 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | 0.103 | 0.169 | -0.006 | 0.001 | -0.001 | 0.000 | 6 | 34 | -0.342 | -0.059 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.137 | 0.198 | -0.006 | 0.001 | 0.001 | 0.000 |  | 35 | 0.688 | -0.353 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.069 | 0.065 | -0.003 | 0.000 | 0.000 | 0.000 |
| 19 | 56 | -0.055 | -0.079 | -0.006 | -0.001 | 0.001 | 0.000 |  | 1 | -0.415 | 0.347 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.122 | -0.135 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | 0.045 | 0.078 | -0.006 | 0.001 | -0.001 | 0.000 | 7 | 35 | 0.684 | 0.329 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 44 | -0.112 | 0.134 | -0.006 | 0.001 | 0.001 | 0.000 |  | 36 | -0.194 | -0.088 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.608 | -0.319 | -0.003 | 0.001 | 0.000 | 0.000 |
| 20 | 46 | 0.311 | 0.079 | -0.006 | -0.001 | 0.001 | 0.000 |  | 29 | 0.118 | 0.078 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.186 | -0.041 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | -0.270 | -0.064 | -0.006 | 0.001 | -0.001 | 0.000 | 8 | 36 | 1.327 | 0.414 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.145 | 0.024 | -0.006 | 0.001 | 0.001 | 0.000 |  | 37 | -1.326 | 0.413 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.855 | -0.414 | -0.004 | 0.001 | 0.000 | 0.000 |
| 21 | 49 | 0.216 | 0.036 | -0.006 | -0.001 | 0.001 | 0.000 |  | 33 | 0.854 | -0.414 | -0.004 | 0.001 | 0.000 | 0.000 |
|  | 50 | -0.057 | -0.118 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | -0.191 | -0.015 | -0.006 | 0.001 | -0.001 | 0.000 | 9 | 37 | 0.195 | -0.088 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.032 | 0.095 | -0.006 | 0.001 | 0.001 | 0.000 |  | 38 | -0.683 | 0.329 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | -0.120 | 0.077 | -0.003 | 0.000 | 0.000 | 0.000 |
| 22 | 52 | 0.125 | -0.012 | -0.006 | -0.001 | 0.001 | 0.000 |  | 46 | 0.608 | -0.319 | -0.003 | 0.001 | 0.000 | 0.000 |
|  | 53 | 0.003 | -0.143 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | -0.100 | 0.037 | -0.006 | 0.001 | -0.001 | 0.000 | 10 | 38 | -0.696 | -0.357 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.027 | 0.117 | -0.006 | 0.001 | 0.001 | 0.000 |  | 39 | 0.332 | -0.045 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.423 | 0.348 | -0.003 | 0.000 | 0.000 | 0.000 |
| 23 | 55 | 0.065 | -0.001 | -0.006 | -0.001 | 0.001 | 0.000 |  | 47 | -0.059 | 0.054 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.030 | -0.093 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | -0.054 | 0.013 | -0.006 | 0.001 | -0.001 | 0.000 | 11 | 39 | -0.053 | -0.039 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 43 | -0.041 | 0.078 | -0.006 | 0.001 | 0.001 | 0.000 |  | 5 | 0.108 | -0.095 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.038 | 0.049 | -0.003 | 0.000 | 0.000 | 0.000 |
| 24 | 33 | 0.361 | 0.086 | -0.006 | -0.001 | 0.001 | 0.000 |  | 57 | -0.093 | 0.085 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.360 | 0.086 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | -0.303 | -0.087 | -0.006 | 0.001 | -0.001 | 0.000 | 12 | 57 | -0.099 | -0.151 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.303 | -0.087 | -0.006 | 0.001 | 0.001 | 0.000 |  | 17 | 0.027 | -0.102 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.088 | 0.161 | -0.003 | 0.000 | 0.000 | 0.000 |
| 25 | 48 | 0.217 | 0.023 | -0.006 | -0.001 | 0.001 | 0.000 |  | 58 | -0.016 | 0.091 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.217 | 0.023 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 52 | -0.190 | -0.024 | -0.006 | 0.001 | -0.001 | 0.000 | 13 | 58 | -0.074 | -0.171 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.190 | -0.024 | -0.006 | 0.001 | 0.001 | 0.000 |  | 16 | 0.029 | -0.152 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 15 | 0.070 | 0.189 | -0.003 | 0.000 | 0.000 | 0.000 |
| 26 | 51 | 0.141 | -0.009 | -0.006 | -0.001 | 0.001 | 0.000 |  | 59 | -0.025 | 0.133 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.141 | -0.009 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 55 | -0.118 | 0.008 | -0.006 | 0.001 | -0.001 | 0.000 | 14 | 59 | -0.038 | -0.145 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.118 | 0.008 | -0.006 | 0.001 | 0.001 | 0.000 |  | 15 | 0.029 | -0.147 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 14 | 0.029 | 0.153 | -0.003 | 0.000 | 0.000 | 0.000 |
| 27 | 54 | 0.070 | -0.012 | -0.006 | -0.001 | 0.001 | 0.000 |  | 60 | -0.020 | 0.138 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.070 | -0.012 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 43 | -0.032 | 0.011 | -0.006 | 0.001 | -0.001 | 0.000 | 15 | 60 | 0.038 | -0.036 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.033 | 0.011 | -0.006 | 0.001 | 0.001 | 0.000 |  | 14 | -0.005 | -0.060 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 4 | -0.050 | 0.032 | -0.003 | 0.000 | 0.000 | 0.000 |
| 28 | 29 | 0.185 | -0.042 | -0.006 | -0.001 | 0.001 | 0.000 |  | 45 | 0.016 | 0.064 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.309 | 0.078 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | -0.144 | 0.024 | -0.006 | 0.001 | -0.001 | 0.000 | 16 | 47 | -0.035 | -0.129 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.268 | -0.063 | -0.006 | 0.001 | 0.001 | 0.000 |  | 57 | -0.040 | -0.061 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 58 | 0.043 | 0.123 | -0.003 | 0.000 | 0.000 | 0.000 |
| 29 | 30 | 0.056 | -0.119 | -0.006 | -0.001 | 0.001 | 0.000 |  | 50 | 0.032 | 0.066 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.214 | 0.035 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 51 | -0.031 | 0.095 | -0.006 | 0.001 | -0.001 | 0.000 | 17 | 50 | -0.038 | -0.138 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.190 | -0.014 | -0.006 | 0.001 | 0.001 | 0.000 |  | 58 | 0.041 | -0.139 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 59 | 0.056 | 0.136 | -0.003 | 0.000 | 0.000 | 0.000 |
| 30 | 31 | -0.003 | -0.144 | -0.006 | -0.001 | 0.001 | 0.000 |  | 53 | -0.059 | 0.140 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.124 | -0.013 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 54 | 0.028 | 0.117 | -0.006 | 0.001 | -0.001 | 0.000 | 18 | 53 | -0.062 | -0.145 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.099 | 0.037 | -0.006 | 0.001 | 0.001 | 0.000 |  | 59 | 0.096 | -0.173 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 60 | 0.063 | 0.144 | -0.003 | 0.000 | 0.000 | 0.000 |
| 31 | 32 | -0.030 | -0.093 | -0.006 | -0.001 | 0.001 | 0.000 |  | 56 | -0.098 | 0.173 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.065 | -0.001 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 42 | 0.041 | 0.078 | -0.006 | 0.001 | -0.001 | 0.000 | 19 | 56 | -0.023 | -0.062 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.054 | 0.013 | -0.006 | 0.001 | 0.001 | 0.000 |  | 60 | 0.090 | -0.118 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 45 | 0.018 | 0.062 | -0.003 | 0.000 | 0.000 | 0.000 |
| 32 | 1 | -0.002 | -0.099 | -0.006 | -0.001 | 0.001 | 0.000 |  | 44 | -0.085 | 0.118 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.066 | -0.150 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 30 | 0.011 | 0.095 | -0.006 | 0.001 | -0.001 | 0.000 | 20 | 46 | 0.300 | 0.076 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 26 | -0.075 | 0.151 | -0.006 | 0.001 | 0.001 | 0.000 |  | 47 | -0.178 | -0.041 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 50 | -0.259 | -0.061 | -0.003 | 0.000 | 0.000 | 0.000 |
| 33 | 26 | -0.082 | -0.181 | -0.006 | -0.001 | 0.001 | 0.000 |  | 49 | 0.137 | 0.025 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.081 | -0.172 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 31 | 0.101 | 0.172 | -0.006 | 0.001 | -0.001 | 0.000 | 21 | 49 | 0.207 | 0.037 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 27 | -0.100 | 0.179 | -0.006 | 0.001 | 0.001 | 0.000 |  | 50 | -0.051 | -0.115 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 53 | -0.183 | -0.016 | -0.003 | 0.000 | 0.000 | 0.000 |
| 34 | 27 | -0.133 | -0.210 | -0.006 | -0.001 | 0.001 | 0.000 |  | 52 | 0.026 | 0.093 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.112 | -0.185 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 32 | 0.134 | 0.202 | -0.006 | 0.001 | -0.001 | 0.000 | 22 | 52 | 0.119 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 28 | -0.113 | 0.192 | -0.006 | 0.001 | 0.001 | 0.000 |  | 53 | 0.009 | -0.139 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 56 | -0.095 | 0.033 | -0.003 | 0.000 | 0.000 | 0.000 |
| 35 | 28 | -0.112 | -0.137 | -0.006 | -0.001 | 0.001 | 0.000 |  | 55 | -0.033 | 0.114 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.068 | -0.094 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 41 | 0.100 | 0.129 | -0.006 | 0.001 | -0.001 | 0.000 | 23 | 55 | 0.063 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.056 | 0.099 | -0.006 | 0.001 | 0.001 | 0.000 |  | 56 | 0.039 | -0.095 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 44 | -0.053 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 43 | -0.050 | 0.082 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 24 | 33 | 0.329 | 0.074 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.329 | 0.074 | -0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 49 | -0.272 | -0.075 | -0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | 0.271 | -0.074 | -0.003 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25 | 48 | 0.186 | 0.014 | -0.002 | 0.000 | 0.000 | 0.000 | 13 | 58 | -0.077 | -0.174 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 49 | -0.186 | 0.014 | -0.002 | 0.000 | 0.000 | 0.000 |  | 16 | 0.032 | -0.156 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 52 | -0.160 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.073 | 0.193 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 51 | 0.160 | -0.014 | -0.003 | 0.000 | 0.000 | 0.000 |  | 59 | -0.028 | 0.136 | -0.004 | 0.000 | 0.001 | 0.000 |
| 26 | 51 | 0.111 | -0.017 | -0.003 | 0.000 | 0.000 | 0.000 | 14 | 59 | -0.040 | -0.149 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 52 | -0.112 | -0.017 | -0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.032 | -0.151 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 55 | -0.090 | 0.016 | -0.003 | 0.000 | 0.000 | 0.000 |  | 14 | 0.031 | 0.157 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 54 | 0.090 | 0.016 | -0.003 | 0.000 | 0.000 | 0.000 |  | 60 | -0.023 | 0.141 | -0.004 | 0.000 | 0.001 | 0.000 |
| 27 | 54 | 0.045 | -0.020 | -0.003 | 0.000 | 0.000 | 0.000 | 15 | 60 | 0.038 | -0.037 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 55 | -0.046 | -0.020 | -0.003 | 0.000 | 0.000 | 0.000 |  | 14 | -0.003 | -0.062 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 43 | -0.013 | 0.020 | -0.002 | 0.000 | 0.000 | 0.000 |  | 4 | -0.050 | 0.032 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.013 | 0.020 | -0.002 | 0.000 | 0.000 | 0.000 |  | 45 | 0.014 | 0.066 | -0.004 | 0.000 | 0.001 | 0.000 |
| 28 | 29 | 0.177 | -0.042 | -0.002 | 0.000 | 0.000 | 0.000 | 16 | 47 | -0.048 | -0.135 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 33 | -0.299 | 0.075 | -0.002 | 0.000 | 0.000 | 0.000 |  | 57 | -0.027 | -0.067 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 48 | -0.136 | 0.026 | -0.003 | 0.000 | 0.000 | 0.000 |  | 58 | 0.056 | 0.129 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 30 | 0.258 | -0.060 | -0.003 | 0.000 | 0.000 | 0.000 |  | 50 | 0.019 | 0.072 | -0.004 | 0.000 | 0.001 | 0.000 |
| 29 | 30 | 0.050 | -0.116 | -0.003 | 0.000 | 0.000 | 0.000 | 17 | 50 | -0.052 | -0.146 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 48 | -0.206 | 0.036 | -0.002 | 0.000 | 0.000 | 0.000 |  | 58 | 0.055 | -0.147 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 51 | -0.025 | 0.094 | -0.003 | 0.000 | 0.000 | 0.000 |  | 59 | 0.070 | 0.144 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 31 | 0.182 | -0.015 | -0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.073 | 0.148 | -0.004 | 0.000 | 0.001 | 0.000 |
| 30 | 31 | -0.010 | -0.140 | -0.003 | 0.000 | 0.000 | 0.000 | 18 | 53 | -0.077 | -0.154 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 51 | -0.118 | -0.009 | -0.003 | 0.000 | 0.000 | 0.000 |  | 59 | 0.111 | -0.181 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 54 | 0.034 | 0.115 | -0.003 | 0.000 | 0.000 | 0.000 |  | 60 | 0.078 | 0.152 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 32 | 0.094 | 0.033 | -0.003 | 0.000 | 0.000 | 0.000 |  | 56 | -0.112 | 0.181 | -0.004 | 0.000 | 0.001 | 0.000 |
| 31 | 32 | -0.039 | -0.096 | -0.003 | 0.000 | 0.000 | 0.000 | 19 | 56 | -0.035 | -0.068 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 54 | -0.063 | 0.003 | -0.003 | 0.000 | 0.000 | 0.000 |  | 60 | 0.101 | -0.123 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.049 | 0.082 | -0.002 | 0.000 | 0.000 | 0.000 |  | 45 | 0.028 | 0.067 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 41 | 0.053 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |  | 44 | -0.094 | 0.122 | -0.004 | 0.000 | 0.001 | 0.000 |
| 32 | 1 | 0.031 | -0.081 | -0.003 | 0.000 | 0.000 | 0.000 | 20 | 46 | 0.305 | 0.078 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 29 | 0.033 | -0.131 | -0.002 | 0.000 | 0.000 | 0.000 |  | 47 | -0.182 | -0.040 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 30 | -0.023 | 0.078 | -0.003 | 0.000 | 0.000 | 0.000 |  | 50 | -0.264 | -0.063 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 26 | -0.041 | 0.133 | -0.003 | 0.000 | 0.000 | 0.000 |  | 49 | 0.141 | 0.024 | -0.005 | 0.000 | 0.001 | 0.000 |
| 33 | 26 | -0.045 | -0.157 | -0.003 | 0.000 | 0.000 | 0.000 | 21 | 49 | 0.211 | 0.037 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 30 | 0.042 | -0.148 | -0.002 | 0.000 | 0.000 | 0.000 |  | 50 | -0.054 | -0.115 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 31 | 0.062 | 0.150 | -0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.186 | -0.016 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 27 | -0.060 | 0.155 | -0.003 | 0.000 | 0.000 | 0.000 |  | 52 | 0.029 | 0.093 | -0.004 | 0.000 | 0.001 | 0.000 |
| 34 | 27 | -0.093 | -0.184 | -0.003 | 0.000 | 0.000 | 0.000 | 22 | 52 | 0.122 | -0.009 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 31 | 0.072 | -0.159 | -0.003 | 0.000 | 0.000 | 0.000 |  | 53 | 0.006 | -0.140 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 32 | 0.095 | 0.176 | -0.003 | 0.000 | 0.000 | 0.000 |  | 56 | -0.097 | 0.033 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 28 | -0.073 | 0.166 | -0.003 | 0.000 | 0.000 | 0.000 |  | 55 | -0.030 | 0.114 | -0.004 | 0.000 | 0.001 | 0.000 |
| 35 | 28 | -0.081 | -0.120 | -0.003 | 0.000 | 0.000 | 0.000 | 23 | 55 | 0.064 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 32 | 0.035 | -0.076 | -0.003 | 0.000 | 0.000 | 0.000 |  | 56 | 0.035 | -0.094 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 41 | 0.074 | 0.114 | -0.003 | 0.000 | 0.000 | 0.000 |  | 44 | -0.053 | 0.011 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 40 | -0.029 | 0.081 | -0.002 | 0.000 | 0.000 | 0.000 |  | 43 | -0.046 | 0.080 | -0.004 | 0.000 | 0.001 | 0.000 |
| Load case 50 (Linear): COMB 5 (1+4+6+7) |  |  |  |  | 24 |  |  |  | 33 | 0.342 | 0.079 | -0.004 | 0.000 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.342 | 0.079 | -0.004 | 0.000 | -0.001 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 49 | -0.285 | -0.080 | -0.005 | 0.000 | -0.001 | 0.000 |
| 1 | 2 | -0.098 | -0.087 | -0.004 | 0.000 | 0.001 | 0.000 |  | 48 | 0.284 | -0.080 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 34 | 0.070 | -0.057 | -0.004 | 0.000 | -0.001 | 0.000 | 25 | 48 | 0.199 | 0.018 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 1 | 0.081 | 0.080 | -0.004 | 0.000 | -0.001 | 0.000 |  | 49 | -0.199 | 0.018 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 13 | -0.053 | 0.063 | -0.004 | 0.000 | 0.001 | 0.000 |  | 52 | -0.172 | -0.019 | -0.004 | 0.000 | -0.001 | 0.000 |
| 2 | 13 | -0.021 | -0.103 | -0.004 | 0.000 | 0.001 | 0.000 |  | 51 | 0.172 | -0.019 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 1 | 0.112 | -0.175 | -0.004 | 0.000 | -0.001 | 0.000 | 26 | 51 | 0.124 | -0.013 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 26 | 0.011 | 0.099 | -0.004 | 0.000 | -0.001 | 0.000 |  | 52 | -0.124 | -0.013 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 12 | -0.101 | 0.177 | -0.004 | 0.000 | 0.001 | 0.000 |  | 55 | -0.101 | 0.012 | -0.004 | 0.000 | -0.001 | 0.000 |
| 3 | 12 | -0.032 | -0.162 | -0.004 | 0.000 | 0.001 | 0.000 |  | 54 | 0.102 | 0.012 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 26 | 0.081 | -0.193 | -0.004 | 0.000 | -0.001 | 0.000 | 27 | 54 | 0.055 | -0.017 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 27 | 0.028 | 0.151 | -0.004 | 0.000 | -0.001 | 0.000 |  | 55 | -0.055 | -0.017 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 11 | -0.077 | 0.202 | -0.004 | 0.000 | 0.001 | 0.000 |  | 43 | -0.020 | 0.016 | -0.004 | 0.000 | -0.001 | 0.000 |
| 4 | 11 | -0.039 | -0.159 | -0.004 | 0.000 | 0.001 | 0.000 |  | 42 | 0.020 | 0.016 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 27 | 0.033 | -0.156 | -0.004 | 0.000 | -0.001 | 0.000 | 28 | 29 | 0.181 | -0.041 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 28 | 0.030 | 0.160 | -0.004 | 0.000 | -0.001 | 0.000 |  | 33 | -0.304 | 0.077 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 10 | -0.024 | 0.154 | -0.004 | 0.000 | 0.001 | 0.000 |  | 48 | -0.140 | 0.024 | -0.005 | 0.000 | -0.001 | 0.000 |
| 5 | 10 | -0.013 | -0.076 | -0.004 | 0.000 | 0.001 | 0.000 |  | 30 | 0.263 | -0.062 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 28 | -0.052 | -0.034 | -0.004 | 0.000 | -0.001 | 0.000 | 29 | 30 | 0.053 | -0.116 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 40 | 0.004 | 0.088 | -0.004 | 0.000 | -0.001 | 0.000 |  | 48 | -0.210 | 0.036 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 3 | 0.062 | 0.021 | -0.004 | 0.000 | 0.001 | 0.000 |  | 51 | -0.028 | 0.093 | -0.004 | 0.000 | -0.001 | 0.000 |
| 6 | 34 | -0.350 | -0.063 | -0.004 | 0.000 | 0.001 | 0.000 |  | 31 | 0.185 | -0.015 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.695 | -0.356 | -0.004 | 0.000 | -0.001 | 0.000 | 30 | 31 | -0.007 | -0.141 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 29 | 0.079 | 0.068 | -0.005 | 0.000 | -0.001 | 0.000 |  | 51 | -0.121 | -0.010 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 1 | -0.424 | 0.349 | -0.004 | 0.000 | 0.001 | 0.000 |  | 54 | 0.031 | 0.115 | -0.004 | 0.000 | -0.001 | 0.000 |
| 7 | 35 | 0.686 | 0.329 | -0.004 | 0.000 | 0.001 | 0.000 |  | 32 | 0.096 | 0.034 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 36 | -0.200 | -0.085 | -0.003 | 0.000 | 0.000 | 0.000 | 31 | 32 | -0.035 | -0.094 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 33 | -0.610 | -0.320 | -0.005 | 0.001 | -0.001 | 0.000 |  | 54 | -0.064 | 0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 29 | 0.124 | 0.074 | -0.005 | 0.001 | 0.001 | 0.000 |  | 42 | 0.046 | 0.080 | -0.004 | 0.000 | -0.001 | 0.000 |
| 8 | 36 | 1.337 | 0.419 | -0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.053 | 0.011 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 37 | -1.336 | 0.418 | -0.003 | 0.000 | 0.000 | 0.000 | 32 | 1 | 0.018 | -0.087 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 46 | -0.866 | -0.420 | -0.005 | 0.001 | -0.001 | 0.000 |  | 29 | 0.045 | -0.138 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 33 | 0.865 | -0.419 | -0.005 | 0.001 | 0.001 | 0.000 |  | 30 | -0.010 | 0.084 | -0.004 | 0.000 | -0.001 | 0.000 |
| 9 | 37 | 0.201 | -0.084 | -0.003 | 0.000 | 0.000 | 0.000 |  | 26 | -0.054 | 0.139 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 38 | -0.685 | 0.329 | -0.004 | 0.000 | -0.001 | 0.000 | 33 | 26 | -0.059 | -0.166 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 47 | -0.126 | 0.073 | -0.005 | 0.001 | -0.001 | 0.000 |  | 30 | 0.057 | -0.156 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 46 | 0.610 | -0.319 | -0.005 | 0.001 | 0.001 | 0.000 |  | 31 | 0.077 | 0.157 | -0.004 | 0.000 | -0.001 | 0.000 |
| 10 | 38 | -0.703 | -0.360 | -0.004 | 0.000 | 0.001 | 0.000 |  | 27 | -0.075 | 0.163 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 39 | 0.340 | -0.049 | -0.004 | 0.000 | -0.001 | 0.000 | 34 | 27 | -0.108 | -0.193 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 57 | 0.432 | 0.351 | -0.004 | 0.000 | -0.001 | 0.000 |  | 31 | 0.087 | -0.168 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 47 | -0.069 | 0.057 | -0.005 | 0.000 | 0.001 | 0.000 |  | 32 | 0.109 | 0.185 | -0.004 | 0.000 | -0.001 | 0.000 |
| 11 | 39 | -0.055 | -0.040 | -0.004 | 0.000 | 0.001 | 0.000 |  | 28 | -0.088 | 0.175 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 5 | 0.109 | -0.095 | -0.004 | 0.000 | -0.001 | 0.000 | 35 | 28 | -0.092 | -0.125 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 17 | 0.039 | 0.049 | -0.004 | 0.000 | -0.001 | 0.000 |  | 32 | 0.047 | -0.082 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 57 | -0.094 | 0.084 | -0.004 | 0.000 | 0.001 | 0.000 |  | 41 | 0.083 | 0.118 | -0.004 | 0.000 | -0.001 | 0.000 |
| 12 | 57 | -0.101 | -0.153 | -0.004 | 0.000 | 0.001 | 0.000 |  | 40 | -0.038 | 0.087 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 17 | 0.028 | -0.103 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.091 | 0.163 | -0.004 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | -0.018 | 0.092 | -0.004 | 0.000 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |

Load case 60 (Linear): COMB 6 (1+5+6+8)	Plate Node	Fx	Fy	Fz	Mx	My	Mz

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | 25 | 48 | 0.217 | 0.023 | -0.006 | -0.001 | 0.001 | 0.000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 49 | -0.217 | 0.023 | -0.006 | -0.001 | -0.001 | 0.000 |
| 1 | 2 | -0.101 | -0.088 | -0.006 | -0.001 | 0.001 | 0.000 |  | 52 | -0.190 | -0.024 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 34 | 0.074 | -0.059 | -0.006 | -0.001 | -0.001 | 0.000 |  | 51 | 0.190 | -0.024 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 1 | 0.084 | 0.081 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 13 | -0.058 | 0.065 | -0.006 | 0.001 | 0.001 | 0.000 | 26 | 51 | 0.141 | -0.009 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 52 | -0.141 | -0.009 | -0.006 | -0.001 | -0.001 | 0.000 |
| 2 | 13 | -0.025 | -0.108 | -0.006 | -0.001 | 0.001 | 0.000 |  | 55 | -0.118 | 0.008 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 1 | 0.117 | -0.181 | -0.006 | -0.001 | -0.001 | 0.000 |  | 54 | 0.118 | 0.008 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 26 | 0.015 | 0.103 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 12 | -0.107 | 0.183 | -0.006 | 0.001 | 0.001 | 0.000 | 27 | 54 | 0.070 | -0.012 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 55 | -0.070 | -0.012 | -0.006 | -0.001 | -0.001 | 0.000 |
| 3 | 12 | -0.038 | -0.171 | -0.006 | -0.001 | 0.001 | 0.000 |  | 43 | -0.032 | 0.011 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 26 | 0.088 | -0.203 | -0.006 | -0.001 | -0.001 | 0.000 |  | 42 | 0.033 | 0.011 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 27 | 0.034 | 0.160 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 11 | -0.085 | 0.212 | -0.006 | 0.001 | 0.001 | 0.000 | 28 | 29 | 0.185 | -0.042 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.309 | 0.078 | -0.006 | -0.001 | -0.001 | 0.000 |
| 4 | 11 | -0.046 | -0.170 | -0.006 | -0.001 | 0.001 | 0.000 |  | 48 | -0.144 | 0.024 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 27 | 0.040 | -0.166 | -0.006 | -0.001 | -0.001 | 0.000 |  | 30 | 0.268 | -0.063 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 28 | 0.036 | 0.170 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 10 | -0.030 | 0.164 | -0.006 | 0.001 | 0.001 | 0.000 | 29 | 30 | 0.056 | -0.119 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 48 | -0.214 | 0.035 | -0.006 | -0.001 | -0.001 | 0.000 |
| 5 | 10 | -0.019 | -0.082 | -0.006 | -0.001 | 0.001 | 0.000 |  | 51 | -0.031 | 0.095 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 28 | -0.050 | -0.038 | -0.006 | -0.001 | -0.001 | 0.000 |  | 31 | 0.190 | -0.014 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 40 | 0.009 | 0.094 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 3 | 0.060 | 0.024 | -0.006 | 0.001 | 0.001 | 0.000 | 30 | 31 | -0.003 | -0.144 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 51 | -0.124 | -0.013 | -0.006 | -0.001 | -0.001 | 0.000 |
| 6 | 34 | -0.365 | -0.071 | -0.006 | -0.001 | 0.001 | 0.000 |  | 54 | 0.028 | 0.117 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 35 | 0.708 | -0.362 | -0.006 | -0.001 | -0.001 | 0.000 |  | 32 | 0.099 | 0.037 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 29 | 0.096 | 0.075 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 1 | -0.440 | 0.356 | -0.006 | 0.001 | 0.001 | 0.000 | 31 | 32 | -0.030 | -0.093 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 54 | -0.065 | -0.001 | -0.006 | -0.001 | -0.001 | 0.000 |
| 7 | 35 | 0.689 | 0.330 | -0.006 | 0.000 | 0.001 | 0.000 |  | 42 | 0.041 | 0.078 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 36 | -0.208 | -0.081 | -0.005 | 0.000 | -0.001 | 0.000 |  | 41 | 0.054 | 0.013 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 33 | -0.613 | -0.320 | -0.007 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 29 | 0.132 | 0.069 | -0.006 | 0.001 | 0.001 | 0.000 | 32 | 1 | -0.002 | -0.099 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.066 | -0.150 | -0.006 | -0.001 | -0.001 | 0.000 |
| 8 | 36 | 1.353 | 0.426 | -0.005 | 0.000 | 0.001 | 0.000 |  | 30 | 0.011 | 0.095 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 37 | -1.352 | 0.425 | -0.005 | 0.000 | -0.001 | 0.000 |  | 26 | -0.075 | 0.151 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 46 | -0.884 | -0.427 | -0.007 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 33 | 0.883 | -0.426 | -0.007 | 0.001 | 0.001 | 0.000 | 33 | 26 | -0.082 | -0.181 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 30 | 0.081 | -0.172 | -0.006 | -0.001 | -0.001 | 0.000 |
| 9 | 37 | 0.209 | -0.080 | -0.005 | 0.000 | 0.001 | 0.000 |  | 31 | 0.101 | 0.172 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 38 | -0.688 | 0.330 | -0.006 | 0.000 | -0.001 | 0.000 |  | 27 | -0.100 | 0.179 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 47 | -0.133 | 0.068 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 46 | 0.613 | -0.320 | -0.007 | 0.001 | 0.001 | 0.000 | 34 | 27 | -0.133 | -0.210 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 31 | 0.112 | -0.185 | -0.006 | -0.001 | -0.001 | 0.000 |
| 10 | 38 | -0.717 | -0.367 | -0.006 | -0.001 | 0.001 | 0.000 |  | 32 | 0.134 | 0.202 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 39 | 0.354 | -0.056 | -0.006 | -0.001 | -0.001 | 0.000 |  | 28 | -0.113 | 0.192 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 57 | 0.449 | 0.357 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 47 | -0.086 | 0.064 | -0.006 | 0.001 | 0.001 | 0.000 | 35 | 28 | -0.112 | -0.137 | -0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 32 | 0.068 | -0.094 | -0.006 | -0.001 | -0.001 | 0.000 |
| 11 | 39 | -0.059 | -0.042 | -0.006 | -0.001 | 0.001 | 0.000 |  | 41 | 0.100 | 0.129 | -0.006 | 0.001 | -0.001 | 0.000 |
|  | 5 | 0.112 | -0.096 | -0.006 | -0.001 | -0.001 | 0.000 |  | 40 | -0.056 | 0.099 | -0.006 | 0.001 | 0.001 | 0.000 |
|  | 17 | 0.043 | 0.050 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 57 | -0.097 | 0.085 | -0.006 | 0.001 | 0.001 | 0.000 | Load c | ase 70 | (Linear): COMB 7 (1+5+ |  | 8) |  |  |  |
| 12 | 57 | -0.106 | -0.158 | -0.006 | -0.001 | 0.001 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 17 | 0.033 | -0.108 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 16 | 0.096 | 0.168 | -0.006 | 0.001 | -0.001 | 0.000 | 1 | 2 | -0.025 | -0.011 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 58 | -0.023 | 0.096 | -0.006 | 0.001 | 0.001 | 0.000 |  | 34 | 0.033 | -0.019 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 1 | 0.023 | 0.011 | -0.008 | 0.001 | -0.001 | 0.000 |
| 13 | 58 | -0.085 | -0.183 | -0.006 | -0.001 | 0.001 | 0.000 |  | 13 | -0.032 | 0.016 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 16 | 0.038 | -0.165 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 15 | 0.081 | 0.203 | -0.006 | 0.001 | -0.001 | 0.000 | 2 | 13 | -0.032 | -0.041 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 59 | -0.034 | 0.143 | -0.006 | 0.001 | 0.001 | 0.000 |  | 1 | 0.043 | -0.047 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 26 | 0.034 | 0.036 | -0.008 | 0.001 | -0.001 | 0.000 |
| 14 | 59 | -0.047 | -0.159 | -0.006 | -0.001 | 0.001 | 0.000 |  | 12 | -0.045 | 0.048 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 15 | 0.038 | -0.161 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 14 | 0.037 | 0.168 | -0.006 | 0.001 | -0.001 | 0.000 | 3 | 12 | -0.046 | -0.075 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 60 | -0.028 | 0.150 | -0.006 | 0.001 | 0.001 | 0.000 |  | 26 | 0.058 | -0.077 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 27 | 0.046 | 0.065 | -0.008 | 0.001 | -0.001 | 0.000 |
| 15 | 60 | 0.036 | -0.041 | -0.006 | -0.001 | 0.001 | 0.000 |  | 11 | -0.058 | 0.084 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 14 | 0.002 | -0.068 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | -0.048 | 0.036 | -0.006 | 0.001 | -0.001 | 0.000 | 4 | 11 | -0.050 | -0.084 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 45 | 0.010 | 0.071 | -0.006 | 0.001 | 0.001 | 0.000 |  | 27 | 0.050 | -0.078 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 28 | 0.047 | 0.077 | -0.008 | 0.001 | -0.001 | 0.000 |
| 16 | 47 | -0.069 | -0.147 | -0.006 | -0.001 | 0.001 | 0.000 |  | 10 | -0.046 | 0.082 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 57 | -0.007 | -0.078 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 58 | 0.078 | 0.141 | -0.006 | 0.001 | -0.001 | 0.000 | 5 | 10 | -0.040 | -0.048 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 50 | -0.002 | 0.082 | -0.006 | 0.001 | 0.001 | 0.000 |  | 28 | 0.017 | -0.031 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 40 | 0.037 | 0.048 | -0.008 | 0.001 | -0.001 | 0.000 |
| 17 | 50 | -0.076 | -0.161 | -0.006 | -0.001 | 0.001 | 0.000 |  | 3 | -0.014 | 0.028 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 58 | 0.078 | -0.161 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 59 | 0.095 | 0.159 | -0.006 | 0.001 | -0.001 | 0.000 | 6 | 34 | -0.105 | -0.055 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 53 | -0.097 | 0.162 | -0.006 | 0.001 | 0.001 | 0.000 |  | 35 | 0.098 | -0.048 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 29 | 0.119 | 0.052 | -0.008 | 0.001 | -0.001 | 0.000 |
| 18 | 53 | -0.102 | -0.171 | -0.006 | -0.001 | 0.001 | 0.000 |  | 1 | -0.112 | 0.048 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 59 | 0.136 | -0.198 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | 0.103 | 0.169 | -0.006 | 0.001 | -0.001 | 0.000 | 7 | 35 | 0.020 | 0.002 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 56 | -0.137 | 0.198 | -0.006 | 0.001 | 0.001 | 0.000 |  | 36 | -0.046 | 0.024 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 33 | -0.021 | -0.003 | -0.008 | 0.001 | -0.001 | 0.000 |
| 19 | 56 | -0.055 | -0.079 | -0.006 | -0.001 | 0.001 | 0.000 |  | 29 | 0.048 | -0.025 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 60 | 0.122 | -0.135 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 45 | 0.045 | 0.078 | -0.006 | 0.001 | -0.001 | 0.000 | 8 | 36 | 0.108 | 0.048 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 44 | -0.112 | 0.134 | -0.006 | 0.001 | 0.001 | 0.000 |  | 37 | -0.108 | 0.047 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 46 | -0.116 | -0.049 | -0.008 | 0.001 | -0.001 | 0.000 |
| 20 | 46 | 0.311 | 0.079 | -0.006 | -0.001 | 0.001 | 0.000 |  | 33 | 0.116 | -0.049 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 47 | -0.186 | -0.041 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 50 | -0.270 | -0.064 | -0.006 | 0.001 | -0.001 | 0.000 | 9 | 37 | 0.047 | 0.024 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 49 | 0.145 | 0.024 | -0.006 | 0.001 | 0.001 | 0.000 |  | 38 | -0.020 | 0.002 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 47 | -0.048 | -0.026 | -0.008 | 0.001 | -0.001 | 0.000 |
| 21 | 49 | 0.216 | 0.036 | -0.006 | -0.001 | 0.001 | 0.000 |  | 46 | 0.021 | -0.003 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 50 | -0.057 | -0.118 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | -0.191 | -0.015 | -0.006 | 0.001 | -0.001 | 0.000 | 10 | 38 | -0.101 | -0.050 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 52 | 0.032 | 0.095 | -0.006 | 0.001 | 0.001 | 0.000 |  | 39 | 0.102 | -0.050 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 57 | 0.115 | 0.048 | -0.008 | 0.001 | -0.001 | 0.000 |
| 22 | 52 | 0.125 | -0.012 | -0.006 | -0.001 | 0.001 | 0.000 |  | 47 | -0.116 | 0.049 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 53 | 0.003 | -0.143 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 56 | -0.100 | 0.037 | -0.006 | 0.001 | -0.001 | 0.000 | 11 | 39 | -0.028 | -0.014 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 55 | -0.027 | 0.117 | -0.006 | 0.001 | 0.001 | 0.000 |  | 5 | 0.028 | -0.013 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 17 | 0.027 | 0.012 | -0.008 | 0.001 | -0.001 | 0.000 |
| 23 | 55 | 0.065 | -0.001 | -0.006 | -0.001 | 0.001 | 0.000 |  | 57 | -0.027 | 0.012 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 56 | 0.030 | -0.093 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 44 | -0.054 | 0.013 | -0.006 | 0.001 | -0.001 | 0.000 | 12 | 57 | -0.039 | -0.040 | -0.008 | -0.001 | 0.001 | 0.000 |
|  | 43 | -0.041 | 0.078 | -0.006 | 0.001 | 0.001 | 0.000 |  | 17 | 0.035 | -0.041 | -0.008 | -0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 16 | 0.042 | 0.043 | -0.008 | 0.001 | -0.001 | 0.000 |
| 24 | 33 | 0.361 | 0.086 | -0.006 | -0.001 | 0.001 | 0.000 |  | 58 | -0.037 | 0.035 | -0.008 | 0.001 | 0.001 | 0.000 |
|  | 46 | -0.360 | 0.086 | -0.006 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | -0.303 | -0.087 | -0.006 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 48 | 0.303 | -0.087 | -0.006 | 0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |

| Plate Node 13 58 |  | Fx -0.056 | Fy -0.070 | Fz -0.008 | Mx -0.001 | My 0.001 | Mz 0.000 | PLATE ELEMENT FORCES AND MOMENTS (kN/m,kNm/m) -------------------------------- |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 16 | 0.046 | -0.074 | -0.008 | -0.001 | -0.001 | 0.000 | Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  |
|  | 15 | 0.056 | 0.081 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
| 14 | 59 59 | -0.046 -0.053 | 0.061 -0.076 | -0.008 -0.008 | 0.001 -0.001 | 0.001 0.001 | 0.000 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 15 | 0.048 | -0.082 | -0.008 | -0.001 | -0.001 | 0.000 | 1 | -0.053 | -0.025 | -0.005 |  |  |
|  | 14 | 0.049 | 0.084 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | -0.045 | 0.071 | -0.008 | 0.001 | 0.001 | 0.000 | 2 | -0.073 | -0.070 | -0.008 |  |  |
| 15 | 60 | -0.022 | -0.032 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.034 | -0.044 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 4 | 0.018 | 0.033 | -0.008 | 0.001 | -0.001 | 0.000 | 3 | -0.097 | -0.120 | -0.009 |  |  |
|  | 45 | -0.030 | 0.040 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 47 | -0.144 | -0.083 | -0.008 | -0.001 | 0.001 | 0.000 | 4 | -0.093 | -0.129 | 0.000 |  |  |
|  | 57 | 0.138 | -0.078 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.150 | 0.082 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 50 | -0.144 | 0.076 | -0.008 | 0.001 | 0.001 | 0.000 | 5 | -0.052 | -0.064 | 0.016 |  |  |
| 17 | 50 | -0.166 | -0.109 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.161 | -0.105 | -0.008 | -0.001 | -0.001 | 0.000 | 6 | -0.193 | -0.077 | 0.004 |  |  |
|  | 59 | 0.171 | 0.108 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.166 | 0.103 | -0.008 | 0.001 | 0.001 | 0.000 | 7 | 0.053 | 0.016 | 0.016 |  |  |
| 18 | 53 | -0.174 | -0.121 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.175 | -0.123 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 60 | 0.171 | 0.120 | -0.008 | 0.001 | -0.001 | 0.000 | 8 | 0.189 | 0.065 | 0.000 |  |  |
|  | 56 | -0.173 | 0.121 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 56 | -0.142 | -0.081 | -0.008 | -0.001 | 0.001 | 0.000 | 9 | 0.053 | 0.016 | -0.016 |  |  |
|  | 60 | 0.147 | -0.086 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.124 | 0.080 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 44 | -0.130 | 0.085 | -0.008 | 0.001 | 0.001 | 0.000 | 10 | -0.192 | -0.075 | 0.001 |  |  |
| 20 | 46 | 0.036 | 0.004 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.025 | -0.006 | -0.008 | -0.001 | -0.001 | 0.000 | 11 | -0.053 | -0.022 | -0.002 |  |  |
|  | 50 | -0.035 | -0.004 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.024 | 0.004 | -0.008 | 0.001 | 0.001 | 0.000 | 12 | -0.073 | -0.065 | 0.003 |  |  |
| 21 | 49 | 0.027 | -0.013 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | -0.019 | -0.023 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 53 | -0.026 | 0.015 | -0.008 | 0.001 | -0.001 | 0.000 | 13 | -0.096 | -0.114 | 0.008 |  |  |
|  | 52 | 0.018 | 0.018 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 52 | 0.016 | -0.025 | -0.008 | -0.001 | 0.001 | 0.000 | 14 | -0.093 | -0.126 | 0.004 |  |  |
|  | 53 | -0.019 | -0.030 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.015 | 0.031 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 55 | 0.018 | 0.022 | -0.008 | 0.001 | 0.001 | 0.000 | 15 | -0.051 | -0.061 | -0.007 |  |  |
| 23 | 55 | 0.007 | -0.018 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.035 | 0.001 | -0.008 | -0.001 | -0.001 | 0.000 | 16 | -0.247 | -0.118 | 0.005 |  |  |
|  | 44 | -0.006 | 0.021 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.034 | -0.007 | -0.008 | 0.001 | 0.001 | 0.000 | 17 | -0.288 | -0.159 | 0.004 |  |  |
| 24 | 33 | 0.120 | 0.040 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.120 | 0.040 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 49 | -0.120 | -0.042 | -0.008 | 0.001 | -0.001 | 0.000 | 18 | -0.302 | -0.182 | -0.002 |  |  |
|  | 48 | 0.120 | -0.042 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 48 | 0.115 | 0.028 | -0.008 | -0.001 | 0.001 | 0.000 | 19 | -0.241 | -0.127 | -0.006 |  |  |
|  | 49 | -0.115 | 0.028 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.115 | -0.029 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 51 | 0.115 | -0.029 | -0.008 | 0.001 | 0.001 | 0.000 | 20 | 0.044 | -0.006 | -0.008 |  |  |
| 26 | 51 | 0.111 | 0.023 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.111 | 0.023 | -0.008 | -0.001 | -0.001 | 0.000 | 21 | 0.031 | -0.032 | -0.006 |  |  |
|  | 55 | -0.110 | -0.024 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.110 | -0.024 | -0.008 | 0.001 | 0.001 | 0.000 | 22 | 0.024 | -0.046 | 0.002 |  |  |
| 27 | 54 | 0.099 | 0.029 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.099 | 0.029 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 43 | -0.086 | -0.031 | -0.008 | 0.001 | -0.001 | 0.000 | 23 | 0.034 | -0.016 | 0.018 |  |  |
|  | 42 | 0.086 | -0.031 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 29 | 0.025 | -0.007 | -0.008 | -0.001 | 0.001 | 0.000 | 24 | 0.195 | 0.052 | 0.000 |  |  |
|  | 33 | -0.036 | 0.004 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.023 | 0.004 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 30 | 0.035 | -0.004 | -0.008 | 0.001 | 0.001 | 0.000 | 25 | 0.186 | 0.033 | 0.000 |  |  |
| 29 | 30 | 0.019 | -0.023 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.026 | -0.013 | -0.008 | -0.001 | -0.001 | 0.000 | 26 | 0.180 | 0.026 | 0.000 |  |  |
|  | 51 | -0.018 | 0.018 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 31 | 0.026 | 0.016 | -0.008 | 0.001 | 0.001 | 0.000 | 27 | 0.158 | 0.038 | 0.000 |  |  |
| 30 | 31 | 0.019 | -0.030 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.016 | -0.025 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 54 | -0.018 | 0.022 | -0.008 | 0.001 | -0.001 | 0.000 | 28 | 0.044 | -0.007 | 0.008 |  |  |
|  | 32 | 0.015 | 0.031 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 32 | 0.035 | 0.001 | -0.008 | -0.001 | 0.001 | 0.000 | 29 | 0.031 | -0.032 | 0.006 |  |  |
|  | 54 | -0.007 | -0.018 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.034 | -0.007 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 41 | 0.006 | 0.021 | -0.008 | 0.001 | 0.001 | 0.000 | 30 | 0.023 | -0.046 | -0.002 |  |  |
| 32 | 1 | -0.140 | -0.084 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 29 | 0.143 | -0.083 | -0.008 | -0.001 | -0.001 | 0.000 | 31 | 0.034 | -0.016 | -0.018 |  |  |
|  | 30 | 0.146 | 0.080 | -0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 26 | -0.149 | 0.085 | -0.008 | 0.001 | 0.001 | 0.000 | 32 | -0.249 | -0.123 | -0.002 |  |  |
| 33 | 26 | -0.163 | -0.112 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 30 | 0.168 | -0.112 | -0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 31 | 0.168 | 0.107 | -0.008 | 0.001 | -0.001 | 0.000 | 33 | -0.291 | -0.167 | -0.004 |  |  |
|  | 27 | -0.173 | 0.115 | -0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 27 | -0.175 | -0.127 | -0.008 | -0.001 | 0.001 | 0.000 | 34 | -0.305 | -0.189 | -0.001 |  |  |
|  | 31 | 0.177 | -0.126 | -0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.172 | 0.122 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
|  | 28 | -0.175 | 0.128 | -0.008 | 0.001 | 0.001 | 0.000 | 35 | -0.242 | -0.131 | 0.001 |  |  |
| 35 | 28 | -0.144 | -0.087 | -0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 32 | 0.146 | -0.086 | -0.008 | -0.001 | -0.001 | 0.000 | Load case 2 (Linear): WIND COLS MAJOR (S) |  |  |  |  |  |
|  | 41 | 0.126 | 0.084 | -0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |
| 40 |  | -0.128 | 0.087 | -0.008 | 0.001 | 0.001 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  |  |  |  |  |  |  |  | 1 | 0.000 | 0.000 | 0.000 |  |  |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 2 | 0.000 | 0.000 | 0.000 |  |  |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.000 | 0.000 | 0.000 |  |  |
| 4 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.000 | 0.000 | 0.000 |  |  |
| 5 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.000 | 0.000 | 0.000 |  |  |
| 6 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 0.000 | 0.000 | 0.000 |  |  |
| 7 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 0.000 | 0.000 | 0.000 |  |  |
| 8 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.000 | 0.000 | 0.000 |  |  |
| 9 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 0.000 | 0.000 | 0.000 |  |  |
| 10 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 0.000 | 0.000 | 0.000 |  |  |
| 11 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 0.000 | 0.000 | 0.000 |  |  |
| 12 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 0.000 | 0.000 | 0.000 |  |  |
| 13 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 0.000 | 0.000 | 0.000 |  |  |
| 14 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 0.000 | 0.000 | 0.000 |  |  |
| 15 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 0.000 | 0.000 | 0.000 |  |  |
| 16 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 0.000 | 0.000 | 0.000 |  |  |
| 17 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 0.000 | 0.000 | 0.000 |  |  |
| 18 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.000 | 0.000 | 0.000 |  |  |
| 19 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.000 | 0.000 | 0.000 |  |  |
| 20 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 0.000 | 0.000 | 0.000 |  |  |
| 21 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 0.000 | 0.000 | 0.000 |  |  |
| 22 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.000 | 0.000 | 0.000 |  |  |
| 23 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 0.000 | 0.000 | 0.000 |  |  |
| 24 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 0.000 | 0.000 | 0.000 |  |  |
| 25 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 0.000 | 0.000 | 0.000 |  |  |
| 26 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 0.000 | 0.000 | 0.000 |  |  |
| 27 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 0.000 | 0.000 | 0.000 |  |  |
| 28 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 0.000 | 0.000 | 0.000 |  |  |
| 29 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 0.000 | 0.000 | 0.000 |  |  |
| 30 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 0.000 | 0.000 | 0.000 |  |  |
| 31 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 0.000 | 0.000 | 0.000 |  |  |
| 32 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 4 (Linear): WIND PL |  |  | (S) |  |  |
| 33 | 0.000 | 0.000 | 0.000 |  |  |  | Fx | Fy | Fxy |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Mx | My | Mxy | Vxz | Vyz |
| 34 | 0.000 | 0.000 | 0.000 |  |  | 1 | -0.024 | -0.009 | -0.004 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 0.000 | 0.000 | 0.000 |  |  | 2 | -0.033 | -0.029 | -0.004 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load cas | e 3 (Linear): WIND COLS MAJOR (U) Fx Fy Fxy |  |  |  |  | 3 | -0.045 0.000 | -0.053 0.000 | -0.004 0.000 | 0.000 | 0.000 |
| Plate | Mx | My | Mxy | Vxz | Vyz | 4 | -0.041 | -0.057 | 0.000 |  |  |
| 1 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.022 | -0.026 | 0.009 |  |  |
| 2 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.102 | -0.038 | 0.003 |  |  |
| 3 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.036 | 0.013 | 0.012 |  |  |
| 4 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.111 | 0.041 | 0.000 |  |  |
| 5 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.036 | 0.014 | -0.012 |  |  |
| 6 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -0.101 | -0.037 | -0.001 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | -0.024 | -0.008 | 0.001 |  |  | 15 | -0.036 | -0.042 | -0.009 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | -0.033 | -0.027 | 0.002 |  |  | 16 | -0.232 | -0.103 | 0.004 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | -0.045 | -0.051 | 0.004 |  |  | 17 | -0.266 | -0.136 | 0.003 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | -0.042 | -0.055 | 0.001 |  |  | 18 | -0.276 | -0.154 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | -0.022 | -0.025 | -0.005 |  |  | 19 | -0.211 | -0.104 | -0.001 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | -0.139 | -0.062 | 0.002 |  |  | 20 | 0.055 | 0.005 | -0.007 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | -0.160 | -0.082 | 0.002 |  |  | 21 | 0.043 | -0.016 | -0.005 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.166 | -0.092 | 0.000 |  |  | 22 | 0.034 | -0.028 | 0.002 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | -0.127 | -0.062 | -0.001 |  |  | 23 | 0.034 | -0.005 | 0.020 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 0.033 | 0.003 | -0.004 |  |  | 24 | 0.205 | 0.061 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 0.026 | -0.010 | -0.003 |  |  | 25 | 0.197 | 0.046 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.020 | -0.017 | 0.001 |  |  | 26 | 0.188 | 0.040 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 0.021 | -0.003 | 0.012 |  |  | 27 | 0.151 | 0.044 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 0.123 | 0.037 | 0.000 |  |  | 28 | 0.055 | 0.005 | 0.007 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 0.118 | 0.027 | 0.000 |  |  | 29 | 0.043 | -0.017 | 0.005 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 0.113 | 0.024 | 0.000 |  |  | 30 | 0.033 | -0.029 | -0.002 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 0.090 | 0.027 | 0.000 |  |  | 31 | 0.034 | -0.005 | -0.020 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 0.033 | 0.003 | 0.004 |  |  | 32 | -0.233 | -0.107 | -0.002 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 0.026 | -0.010 | 0.003 |  |  | 33 | -0.268 | -0.142 | -0.003 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 0.020 | -0.017 | -0.001 |  |  | 34 | -0.278 | -0.159 | -0.002 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 0.021 | -0.003 | -0.012 |  |  | 35 | -0.211 | -0.107 | -0.003 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | -0.140 0.000 | -0.064 0.000 | -0.001 0.000 | 0.000 | 0.000 | Load case 6 (Linear): IMPOSED Fx Fy |  |  | P/ LOAD Fxy |  |  |
| 33 | -0.161 | -0.085 | -0.002 |  |  | Plate | Mx | My | Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.194 | -0.173 | 0.046 |  |  |
| 34 | -0.167 | -0.096 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.124 | -0.309 | -0.116 |  |  |
| 35 | -0.127 | -0.064 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.075 | -0.361 | -0.058 |  |  |
| Load case 5 (Linear): WIND PL |  |  | (U) |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | Fx | Fy | Fxy |  |  | 4 | -0.005 | -0.297 | 0.008 |  |  |
| Plate | Mx | My | Mxy | Vxz | Vyz |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | -0.041 | -0.015 | -0.007 |  |  | 5 | 0.136 | -0.084 | 0.072 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | -0.055 | -0.049 | -0.007 |  |  | 6 | -1.070 | -0.493 | -0.484 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | -0.075 | -0.088 | -0.007 |  |  | 7 | 1.284 | 0.318 | -0.694 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
| 4 | -0.069 | -0.094 | 0.001 |  |  | 8 | 3.446 | 1.081 | -0.001 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | -0.003 | 0.000 |
| 5 | -0.037 | -0.044 | 0.015 |  |  | 9 | 1.285 | 0.319 | 0.693 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
| 6 | -0.169 | -0.064 | 0.006 |  |  | 10 | -1.067 | -0.483 | 0.504 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 0.060 | 0.022 | 0.020 |  |  | 11 | -0.190 | -0.164 | -0.075 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.185 | 0.068 | 0.000 |  |  | 12 | -0.120 | -0.285 | 0.097 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 0.060 | 0.023 | -0.021 |  |  | 13 | -0.070 | -0.334 | 0.054 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | -0.169 | -0.062 | -0.002 |  |  | 14 | -0.004 | -0.279 | 0.008 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | -0.040 | -0.013 | 0.002 |  |  | 15 | 0.142 | -0.072 | -0.040 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | -0.055 | -0.045 | 0.004 |  |  | 16 | 0.241 | -0.144 | 0.099 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | -0.074 | -0.084 | 0.006 |  |  | 17 | 0.127 | -0.224 | -0.008 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | -0.069 | -0.092 | 0.002 |  |  | 18 | 0.036 | -0.258 | -0.046 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19 | 0.060 | -0.123 | -0.086 |  |  | 23 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 0.685 | 0.055 | -0.161 |  |  | 24 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 0.357 | -0.076 | -0.211 |  |  | 25 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.120 | -0.158 | -0.179 |  |  | 26 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | -0.011 | -0.112 | -0.160 |  |  | 27 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 0.806 | 0.154 | 0.000 |  |  | 28 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 0.390 | 0.006 | 0.000 |  |  | 29 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 0.155 | -0.072 | 0.000 |  |  | 30 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | -0.061 | -0.094 | 0.000 |  |  | 31 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 0.682 | 0.053 | 0.161 |  |  | 32 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 0.355 | -0.078 | 0.211 |  |  | 33 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 0.117 | -0.160 | 0.179 |  |  | 34 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | -0.011 | -0.112 | 0.160 |  |  | 35 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 0.233 0.000 | -0.171 0.000 | -0.086 0.000 | 0.000 | 0.000 | Load cas | e 8 (Linear): WIND COLS MINOR (U) Fx Fy Fxy |  |  |  |  |
| 33 | 0.116 | -0.256 | 0.007 |  |  | Plate | Mx | My | Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 0.000 | 0.000 | 0.000 |  |  |
| 34 | 0.027 | -0.285 | 0.031 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 0.000 | 0.000 | 0.000 |  |  |
| 35 | 0.060 | -0.139 | 0.063 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 0.000 | 0.000 | 0.000 |  |  |
| Load case 7 (Linear): WIND COLS MINOR (S) |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | Fx | Fy | Fxy |  |  | 4 | 0.000 | 0.000 | 0.000 |  |  |
| Plate | Mx | My | Mxy | Vxz | Vyz |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 0.000 | 0.000 | 0.000 |  |  | 5 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 0.000 | 0.000 | 0.000 |  |  | 6 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 0.000 | 0.000 | 0.000 |  |  | 7 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 0.000 | 0.000 | 0.000 |  |  | 8 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 0.000 | 0.000 | 0.000 |  |  | 9 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 0.000 | 0.000 | 0.000 |  |  | 10 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 0.000 | 0.000 | 0.000 |  |  | 11 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.000 | 0.000 | 0.000 |  |  | 12 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 0.000 | 0.000 | 0.000 |  |  | 13 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 0.000 | 0.000 | 0.000 |  |  | 14 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 0.000 | 0.000 | 0.000 |  |  | 15 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | 0.000 | 0.000 | 0.000 |  |  | 16 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 0.000 | 0.000 | 0.000 |  |  | 17 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 0.000 | 0.000 | 0.000 |  |  | 18 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 0.000 | 0.000 | 0.000 |  |  | 19 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 0.000 | 0.000 | 0.000 |  |  | 20 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 0.000 | 0.000 | 0.000 |  |  | 21 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 0.000 | 0.000 | 0.000 |  |  | 22 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 0.000 | 0.000 | 0.000 |  |  | 23 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 0.000 | 0.000 | 0.000 |  |  | 24 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 0.000 | 0.000 | 0.000 |  |  | 25 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.000 | 0.000 | 0.000 |  |  | 26 | 0.000 | 0.000 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 27 | 0.000 | 0.000 | 0.000 |  |  | 31 | 0.034 | -0.016 | -0.018 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 0.000 | 0.000 | 0.000 |  |  | 32 | -0.249 | -0.123 | -0.002 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 0.000 | 0.000 | 0.000 |  |  | 33 | -0.291 | -0.167 | -0.004 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 0.000 | 0.000 | 0.000 |  |  | 34 | -0.305 | -0.189 | -0.001 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 0.000 | 0.000 | 0.000 |  |  | 35 | -0.242 | -0.131 | 0.001 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 0.000 0.000 | 0.000 0.000 | 0.000 0.000 | 0.000 | 0.000 | Load case 20 (Linear): COMB 2 Fx Fy |  |  | (1+2+4+6) Fxy |  |  |
| 33 | 0.000 | 0.000 | 0.000 |  |  | Plate | Mx | My | Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.252 | -0.198 | 0.039 |  |  |
| 34 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.204 | -0.384 | -0.125 |  |  |
| 35 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.182 | -0.490 | -0.068 |  |  |
| Load case 10 (Linear): COMB 1 |  |  | (1) |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | Fx | Fy | Fxy |  |  | 4 | -0.105 | -0.436 | 0.008 |  |  |
| Plate | Mx | My | Mxy | Vxz | Vyz |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | -0.053 | -0.025 | -0.005 |  |  | 5 | 0.080 | -0.152 | 0.091 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | -0.073 | -0.070 | -0.008 |  |  | 6 | -1.291 | -0.580 | -0.478 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | -0.097 | -0.120 | -0.009 |  |  | 7 | 1.350 | 0.340 | -0.673 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
| 4 | -0.093 | -0.129 | 0.000 |  |  | 8 | 3.670 | 1.161 | -0.001 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | -0.003 | 0.000 |
| 5 | -0.052 | -0.064 | 0.016 |  |  | 9 | 1.352 | 0.341 | 0.671 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
| 6 | -0.193 | -0.077 | 0.004 |  |  | 10 | -1.287 | -0.567 | 0.503 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 0.053 | 0.016 | 0.016 |  |  | 11 | -0.248 | -0.186 | -0.075 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.189 | 0.065 | 0.000 |  |  | 12 | -0.199 | -0.354 | 0.101 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 0.053 | 0.016 | -0.016 |  |  | 13 | -0.175 | -0.457 | 0.063 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | -0.192 | -0.075 | 0.001 |  |  | 14 | -0.105 | -0.414 | 0.012 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | -0.053 | -0.022 | -0.002 |  |  | 15 | 0.088 | -0.137 | -0.049 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | -0.073 | -0.065 | 0.003 |  |  | 16 | -0.049 | -0.279 | 0.104 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | -0.096 | -0.114 | 0.008 |  |  | 17 | -0.209 | -0.405 | -0.004 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | -0.093 | -0.126 | 0.004 |  |  | 18 | -0.315 | -0.464 | -0.047 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | -0.051 | -0.061 | -0.007 |  |  | 19 | -0.215 | -0.264 | -0.092 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | -0.247 | -0.118 | 0.005 |  |  | 20 | 0.743 | 0.053 | -0.171 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | -0.288 | -0.159 | 0.004 |  |  | 21 | 0.400 | -0.107 | -0.218 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.302 | -0.182 | -0.002 |  |  | 22 | 0.152 | -0.206 | -0.177 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | -0.241 | -0.127 | -0.006 |  |  | 23 | 0.030 | -0.127 | -0.137 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 0.044 | -0.006 | -0.008 |  |  | 24 | 1.044 | 0.221 | -0.001 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 0.031 | -0.032 | -0.006 |  |  | 25 | 0.618 | 0.052 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.024 | -0.046 | 0.002 |  |  | 26 | 0.375 | -0.035 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 0.034 | -0.016 | 0.018 |  |  | 27 | 0.125 | -0.045 | 0.000 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 0.195 | 0.052 | 0.000 |  |  | 28 | 0.739 | 0.050 | 0.170 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 0.186 | 0.033 | 0.000 |  |  | 29 | 0.397 | -0.110 | 0.218 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 0.180 | 0.026 | 0.000 |  |  | 30 | 0.150 | -0.207 | 0.177 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 0.158 | 0.038 | 0.000 |  |  | 31 | 0.030 | -0.127 | 0.138 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 0.044 | -0.007 | 0.008 |  |  | 32 | -0.059 | -0.311 | -0.088 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 0.031 | -0.032 | 0.006 |  |  | 33 | -0.223 | -0.445 | 0.003 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 0.023 | -0.046 | -0.002 |  |  | 34 | -0.327 | -0.499 | 0.029 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Load case 40 (Linear): COMB 4 Fx Fy Plate Mx My |  |  | (1+6) Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | -0.217 | -0.286 | 0.062 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.247 | -0.198 | 0.041 |  |  |
| Load case 30 (Linear): COMB 3 |  |  | (1+3+5+6) |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  | 2 | -0.198 | -0.379 | -0.124 |  |  |
| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | 3 | 0.000 -0.172 | 0.000 -0.480 | 0.000 -0.067 | 0.000 | 0.000 |
| 1 | -0.264 | -0.203 | 0.037 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.098 | -0.426 | 0.008 |  |  |
| 2 | -0.221 | -0.399 | -0.128 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 0.084 | -0.148 | 0.088 |  |  |
| 3 | -0.204 | -0.517 | -0.070 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -1.263 | -0.570 | -0.480 |  |  |
| 4 | -0.126 | -0.465 | 0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 1.337 | 0.334 | -0.678 |  |  |
| 5 | 0.069 | -0.165 | 0.096 |  |  |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 3.635 | 1.147 | -0.001 |  |  |
| 6 | -1.341 | -0.599 | -0.476 |  |  |  | 0.000 | 0.000 | 0.000 | -0.003 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 1.338 | 0.334 | 0.676 |  |  |
| 7 | 1.368 | 0.347 | -0.667 |  |  |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 | 10 | -1.259 | -0.557 | 0.505 |  |  |
| 8 | 3.726 | 1.182 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.003 | 0.000 | 11 | -0.243 | -0.186 | -0.077 |  |  |
| 9 | 1.370 | 0.347 | 0.665 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 | 12 | -0.192 | -0.350 | 0.100 |  |  |
| 10 | -1.338 | -0.585 | 0.503 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | -0.166 | -0.447 | 0.062 |  |  |
| 11 | -0.260 | -0.189 | -0.074 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | -0.097 | -0.404 | 0.012 |  |  |
| 12 | -0.215 | -0.368 | 0.102 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 0.091 | -0.134 | -0.047 |  |  |
| 13 | -0.198 | -0.482 | 0.065 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | -0.006 | -0.262 | 0.104 |  |  |
| 14 | -0.125 | -0.442 | 0.013 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | -0.161 | -0.383 | -0.004 |  |  |
| 15 | 0.077 | -0.150 | -0.052 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | -0.266 | -0.440 | -0.048 |  |  |
| 16 | -0.118 | -0.310 | 0.105 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | -0.181 | -0.249 | -0.093 |  |  |
| 17 | -0.289 | -0.446 | -0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 0.729 | 0.049 | -0.169 |  |  |
| 18 | -0.397 | -0.510 | -0.047 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 0.389 | -0.108 | -0.217 |  |  |
| 19 | -0.279 | -0.295 | -0.092 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.143 | -0.204 | -0.177 |  |  |
| 20 | 0.759 | 0.054 | -0.173 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.023 | -0.128 | -0.142 |  |  |
| 21 | 0.413 | -0.112 | -0.219 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 1.000 | 0.206 | -0.001 |  |  |
| 22 | 0.163 | -0.214 | -0.176 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 0.576 | 0.040 | 0.000 |  |  |
| 23 | 0.040 | -0.128 | -0.131 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.335 | -0.046 | 0.000 |  |  |
| 24 | 1.105 | 0.239 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 0.097 | -0.055 | 0.000 |  |  |
| 25 | 0.678 | 0.065 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 0.726 | 0.047 | 0.169 |  |  |
| 26 | 0.432 | -0.023 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 0.385 | -0.110 | 0.217 |  |  |
| 27 | 0.171 | -0.032 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 0.140 | -0.206 | 0.177 |  |  |
| 28 | 0.756 | 0.052 | 0.172 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 0.023 | -0.128 | 0.142 |  |  |
| 29 | 0.410 | -0.115 | 0.219 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | -0.016 | -0.294 | -0.088 |  |  |
| 30 | 0.160 | -0.216 | 0.176 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | -0.174 | -0.423 | 0.004 |  |  |
| 31 | 0.040 | -0.128 | 0.131 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | -0.278 | -0.475 | 0.030 |  |  |
| 32 | -0.129 | -0.343 | -0.089 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | -0.182 | -0.271 | 0.063 |  |  |
| 33 | -0.303 | -0.488 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 50 (Linear): COMB 5 |  |  | (1+4+6+7) |  |  |
| 34 | -0.410 | -0.547 | 0.029 |  |  |  |  |  |  |  |  |
| 35 | 0.000 -0.280 | 0.000 -0.318 | 0.000 0.061 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.252 | -0.198 | 0.039 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  | 2 | -0.204 | -0.384 | -0.125 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  | 3 | -0.182 | -0.490 | -0.068 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | -0.105 | -0.436 | 0.008 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 3.726 | 1.182 | -0.001 |  |  |
| 5 | 0.080 | -0.152 | 0.091 |  |  |  | 0.000 | 0.000 | 0.000 | -0.003 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 1.370 | 0.347 | 0.665 |  |  |
| 6 | -1.291 | -0.580 | -0.478 |  |  |  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -1.338 | -0.585 | 0.503 |  |  |
| 7 | 1.350 | 0.340 | -0.673 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 | 11 | -0.260 | -0.189 | -0.074 |  |  |
| 8 | 3.670 | 1.161 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.003 | 0.000 | 12 | -0.215 | -0.368 | 0.102 |  |  |
| 9 | 1.352 | 0.341 | 0.671 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 | 13 | -0.198 | -0.482 | 0.065 |  |  |
| 10 | -1.287 | -0.567 | 0.503 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | -0.125 | -0.442 | 0.013 |  |  |
| 11 | -0.248 | -0.186 | -0.075 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 0.077 | -0.150 | -0.052 |  |  |
| 12 | -0.199 | -0.354 | 0.101 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | -0.118 | -0.310 | 0.105 |  |  |
| 13 | -0.175 | -0.457 | 0.063 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | -0.289 | -0.446 | -0.003 |  |  |
| 14 | -0.105 | -0.414 | 0.012 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | -0.397 | -0.510 | -0.047 |  |  |
| 15 | 0.088 | -0.137 | -0.049 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | -0.279 | -0.295 | -0.092 |  |  |
| 16 | -0.049 | -0.279 | 0.104 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 0.759 | 0.054 | -0.173 |  |  |
| 17 | -0.209 | -0.405 | -0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 0.413 | -0.112 | -0.219 |  |  |
| 18 | -0.315 | -0.464 | -0.047 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.163 | -0.214 | -0.176 |  |  |
| 19 | -0.215 | -0.264 | -0.092 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.040 | -0.128 | -0.131 |  |  |
| 20 | 0.743 | 0.053 | -0.171 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 1.105 | 0.239 | -0.001 |  |  |
| 21 | 0.400 | -0.107 | -0.218 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 0.678 | 0.065 | 0.000 |  |  |
| 22 | 0.152 | -0.206 | -0.177 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.432 | -0.023 | 0.000 |  |  |
| 23 | 0.030 | -0.127 | -0.137 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 0.171 | -0.032 | 0.000 |  |  |
| 24 | 1.044 | 0.221 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 0.756 | 0.052 | 0.172 |  |  |
| 25 | 0.618 | 0.052 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 0.410 | -0.115 | 0.219 |  |  |
| 26 | 0.375 | -0.035 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 0.160 | -0.216 | 0.176 |  |  |
| 27 | 0.125 | -0.045 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 0.040 | -0.128 | 0.131 |  |  |
| 28 | 0.739 | 0.050 | 0.170 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | -0.129 | -0.343 | -0.089 |  |  |
| 29 | 0.397 | -0.110 | 0.218 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | -0.303 | -0.488 | 0.002 |  |  |
| 30 | 0.150 | -0.207 | 0.177 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | -0.410 | -0.547 | 0.029 |  |  |
| 31 | 0.030 | -0.127 | 0.138 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | -0.280 | -0.318 | 0.061 |  |  |
| 32 | -0.059 | -0.311 | -0.088 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 70 (Linear): COMB 7 |  |  | (1+5+8) |  |  |
| 33 | -0.223 | -0.445 | 0.003 |  |  |  | Fx | Fy | Fxy |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Mx | My | Mxy | Vxz | Vyz |
| 34 | -0.327 | -0.499 | 0.029 |  |  | 1 | -0.094 | -0.040 | -0.012 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | -0.217 | -0.286 | 0.062 |  |  | 2 | -0.129 | -0.119 | -0.015 |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 60 (Linear): COMB 6 Fx Fy |  |  | (1+5+6+8) Fxy |  |  | 3 | -0.172 0.000 | -0.208 0.000 | -0.017 0.000 | 0.000 | 0.000 |
| Plate | Mx | My | Mxy | Vxz | Vyz | 4 | -0.161 | -0.223 | 0.001 |  |  |
| 1 | -0.264 | -0.203 | 0.037 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.089 | -0.108 | 0.032 |  |  |
| 2 | -0.221 | -0.399 | -0.128 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.362 | -0.141 | 0.010 |  |  |
| 3 | -0.204 | -0.517 | -0.070 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.113 | 0.038 | 0.037 |  |  |
| 4 | -0.126 | -0.465 | 0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.373 | 0.134 | 0.000 |  |  |
| 5 | 0.069 | -0.165 | 0.096 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.113 | 0.038 | -0.037 |  |  |
| 6 | -1.341 | -0.599 | -0.476 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -0.361 | -0.137 | -0.001 |  |  |
| 7 | 1.368 | 0.347 | -0.667 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | -0.002 | 0.000 | 11 | -0.092 | -0.035 | 0.001 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Node | X-Axis Force | Y-Axis Force | Z-Axis Force | X-Axis Moment | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Load | 0.000 | 0.000 | -0.023 | 0.000 | 0.000 | 0.000 |
| 12 | -0.127 | -0.110 | 0.006 |  |  | Reac | 0.000 | 0.000 | 0.023 | 0.026 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Equil | -8.083E-17 | 2.324E-16 | 0.000E+00 |  |  |  |
| 13 | -0.170 | -0.198 | 0.014 |  |  | Resid | 2.006E-17 | 2.114E-16 | 1.499E-15 | 1.641E-16 | 1.703E-18 | 3.953E-18 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | ZCntr | 2.526 | -2.301 | 0.000 |  |  |  |
| 14 | -0.162 | -0.218 | 0.006 |  |  | Load case 4 (Linear): WIND PL (S) |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | X-Axis Y-Axis Z-Axis |  |  |  | X-Axis | Y-Axis | Z-Axis |
| 15 | -0.087 | -0.103 | -0.016 |  |  | Node Force Force Force |  |  |  | Moment | Moment | Moment |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 0.000 0.000 0.000 |  |  |  | 0.338 | -0.001 | 0.008 |
| 16 | -0.479 | -0.221 | 0.009 |  |  | 8 0.000 0.000 0.000 |  |  |  | 0.337 | 0.001 | -0.008 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 0.000 0.227 0.000 |  |  |  | 0.000 | 0.000 | 0.000 |
| 17 | -0.554 | -0.295 | 0.007 |  |  | 62 0.000 0.227 0.000 |  |  |  | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load 0.000 -0.455 0.000 |  |  |  | 0.004 | 0.000 | 0.000 |
| 18 | -0.578 | -0.336 | -0.002 |  |  | Reac 0.000 0.455 0.000 |  |  |  | 0.675 | 0.000 | 0.000 |
| 19 | 0.000 -0.452 | 0.000 -0.230 | 0.000 -0.008 | 0.000 | 0.000 | Equil 5.961E-16 0.000E+00 1.559E-14 Resid 1.778E-15 8.271E-15 1.931E-14 YCntr 2.525 -2.301 0.000 |  |  |  | 1.833E-15 | 5.047E-17 | 4.285E-16 |
| 20 | 0.000 0.100 | 0.000 -0.001 | 0.000 -0.016 | 0.000 | 0.000 | Load case 5 (Linear): WIND PL (U) |  |  |  |  |  |  |
| 21 | 0.000 0.075 | 0.000 -0.048 | 0.000 -0.011 | 0.000 | 0.000 | X-Axis Y-Axis Z-Axis Node Force Force Force |  |  |  | X-Axis Moment | Y-Axis Moment | Z-Axis Moment |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 0.000 0.000 0.000 |  |  |  | 0.563 | -0.002 | 0.014 |
|  |  |  |  |  |  | 8 0.000 0.000 0.000 |  |  |  | 0.562 | 0.002 | -0.014 |
| 22 | 0.057 | -0.074 | 0.004 |  |  | 61 0.000 0.379 0.000 |  |  |  | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 0.000 0.379 0.000 |  |  |  | 0.000 | 0.000 | 0.000 |
| 23 | 0.068 | -0.022 | 0.038 |  |  | Load 0.000 -0.758 0.000 |  |  |  | 0.007 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Reac 0.000 0.758 0.000 |  |  |  | 1.126 | 0.000 | 0.000 |
| 24 | 0.400 | 0.113 | 0.000 |  |  | Equil 1.106E-15 0.000E+00 2.614E-14 |  |  |  |  |  |  |
| 25 | 0.000 0.383 | 0.000 0.079 | 0.000 0.000 | 0.000 | 0.000 | Resid 3.485E-15 1.188E-14 2.909E-14 YCntr 2.525 -2.301 0.000 |  |  |  | 3.283E-15 | 2.090E-16 | 5.031E-16 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 6 (Linear): IMPOSED P/ LOAD |  |  |  |  |  |  |
| 26 | 0.369 | 0.066 | 0.000 |  |  |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Node | Force | Force | Force | Moment | Moment | Moment |
| 27 | 0.309 | 0.083 | 0.000 |  |  | 6 | 0.000 | 0.000 | 0.000 | 1.496 | -0.049 | 0.191 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.000 | 0.000 | 0.000 | 1.493 | 0.047 | -0.191 |
|  |  |  |  |  |  | 61 | 0.003 | 0.500 | 0.001 | 0.001 | 0.000 | -0.003 |
| 28 | 0.099 | -0.002 | 0.015 |  |  | 62 | -0.003 | 0.500 | -0.001 | -0.001 | 0.000 | 0.003 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load | 0.000 | -1.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 0.073 | -0.049 | 0.011 |  |  | Reac | 0.000 | 1.000 | 0.000 | 2.989 | -0.002 | 0.001 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Equil | 7.210E-14 | 0.000E+00 | 1.943E-13 |  |  |  |
| 30 | 0.056 | -0.075 | -0.004 |  |  | Resid | 4.441E-14 | 5.063E-14 | 1.334E-13 | 8.302E-15 | 5.135E-16 | 2.488E-15 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | YCntr | 2.525 | -2.301 | 0.000 |  |  |  |
| 31 | 0.068 0.000 | -0.022 0.000 | -0.038 0.000 | 0.000 | 0.000 | Load case 7 (Linear): WIND C X-Axis Y-Axis |  |  | OLS MINOR ( Z-Axis | S) X-Axis | Y-Axis | Z-Axis |
| 32 | -0.482 | -0.230 | -0.004 |  |  | Node | Force | Force | Force | Moment | Moment | Moment |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | -0.005 |
| 33 | -0.559 | -0.309 | -0.007 |  |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | -0.005 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.011 | 0.000 | 0.000 | 0.000 | 0.000 | -0.008 |
| 34 | -0.583 | -0.349 | -0.003 |  |  | 62 | 0.011 | 0.000 | 0.000 | 0.000 | 0.000 | -0.008 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load | -0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | -0.453 | -0.238 | -0.002 |  |  | Reac | 0.022 | 0.000 | 0.000 | 0.000 | 0.000 | -0.025 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Equil | 0.000E+00 1.191E-17 -1.824E-16 |  |  |  |  |  |

NODE REACTIONS (kN,kNm)

--------------

Load case 1 (Linear): SELF WEIGHT

Resid 1.857E-15 9.488E-18 5.585E-17 6.703E-18 3.397E-17 1.180E-16 XCntr	2.526	-2.301	0.000

Load case 8 (Linear): WIND COLS MINOR (U)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis

|  |  |  |  |  |  |  | Node | Force | Force | Force | Moment | Moment | Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  |  |  |  |  |  |  |
| Node | Force | Force | Force | Moment | Moment | Moment | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | -0.008 |
|  |  |  |  |  |  |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | -0.008 |
| 6 | 0.000 | 0.000 | 0.000 | 0.717 | 0.001 | 0.010 | 61 | 0.018 | 0.000 | 0.000 | 0.000 | 0.000 | -0.013 |
| 8 | 0.000 | 0.000 | 0.000 | 0.717 | -0.001 | -0.010 | 62 | 0.018 | 0.000 | 0.000 | 0.000 | 0.000 | -0.013 |
| 61 | 0.000 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 62 | 0.000 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 | Load | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | Reac | 0.037 | 0.000 | 0.000 | 0.000 | 0.000 | -0.042 |
| Load | 0.000 | -1.211 | 0.000 | 0.003 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| Reac | 0.000 | 1.211 | 0.000 | 1.434 | 0.000 | 0.000 | Equil | 0.000E+00 5.086E-18 -2.946E-16 |  |  |  |  |  |

Equil -4.353E-16  0.000E+00 3.666E-14

Resid 3.678E-15 7.327E-15 3.679E-14 4.499E-15 1.527E-16 6.072E-16 YCntr	2.525	-2.301	0.000

Resid 3.556E-15 1.608E-17 1.091E-16 8.475E-18 4.014E-17 2.094E-16 XCntr	2.526	-2.301	0.000

Load case 10 (Linear): COMB 1 (1)

| Load case 2 (Linear): WIND COLS MAJOR (S) X-Axis Y-Axis |  |  |  |  |  |  |  |  |  | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | Node | Force | Force | Force | Moment | Moment | Moment |
| Node | Force | Force | Force | Moment | Moment | Moment | 6 | 0.000 | 0.000 | 0.000 | 0.717 | 0.001 | 0.010 |
|  |  |  |  |  |  |  | 8 | 0.000 | 0.000 | 0.000 | 0.717 | -0.001 | -0.010 |
| 6 | 0.000 | 0.000 | 0.000 | 0.003 | 0.000 | 0.000 | 61 | 0.000 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.000 | 0.000 | 0.000 | 0.003 | 0.000 | 0.000 | 62 | 0.000 | 0.606 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 0.000 | 0.000 | 0.006 | 0.004 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 62 | 0.000 | 0.000 | 0.006 | 0.004 | 0.000 | 0.000 | Load | 0.000 | -1.211 | 0.000 | 0.003 | 0.000 | 0.000 |
| Load | 0.000 | 0.000 | -0.013 | 0.000 | 0.000 | 0.000 | Reac | 0.000 | 1.211 | 0.000 | 1.434 | 0.000 | 0.000 |
| Reac | 0.000 | 0.000 | 0.013 | 0.015 | 0.000 | 0.000 Equil -5.151E-16 0.000E+00 3.564E-14 |  |  |  |  |  |  |  |

Equil -4.384E-17  8.716E-17 0.000E+00

Resid 1.086E-17 5.717E-17 6.824E-16 9.410E-17 1.006E-18 2.088E-18 ZCntr	2.526	-2.301	0.000

Load case 3 (Linear): WIND COLS MAJOR (U)

Resid 2.956E-15 8.382E-15 4.232E-14 4.610E-15 2.888E-16 6.453E-16 YCntr	2.525	-2.301	0.000

Load case 20 (Linear): COMB 2 (1+2+4+6)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis

|  |  |  |  |  |  |  | Node | Force | Force | Force | Moment | Moment | Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  |  |  |  |  |  |  |
| Node | Force | Force | Force | Moment | Moment | Moment | 6 | 0.000 | 0.000 | 0.000 | 2.289 | -0.049 | 0.205 |
|  |  |  |  |  |  |  | 8 | 0.000 | 0.000 | 0.000 | 2.286 | 0.047 | -0.204 |
| 6 | 0.000 | 0.000 | 0.000 | 0.005 | 0.000 | 0.000 | 61 | 0.003 | 1.125 | 0.005 | 0.004 | 0.000 | -0.003 |
| 8 | 0.000 | 0.000 | 0.000 | 0.005 | 0.000 | 0.000 | 62 | -0.003 | 1.124 | 0.004 | 0.003 | 0.000 | 0.003 |
| 61 | 0.000 | 0.000 | 0.012 | 0.008 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 62 | 0.000 | 0.000 | 0.012 | 0.008 | 0.000 | 0.000 |  |  |  |  |  |  |  |

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

Load	0.000	-2.249	-0.010	0.005	0.000	0.000

Reac	0.000	2.249	0.010	4.582	-0.002	0.001

Equil  7.276E-14  0.000E+00 0.000E+00

Resid 5.804E-14 8.904E-14 1.926E-13 1.532E-14 1.055E-15 3.053E-15 YCntr	2.525	-2.301	0.000

Load case 30 (Linear): COMB 3 (1+3+5+6)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

6	0.000	0.000	0.000	2.460	-0.050	0.209

8	0.000	0.000	0.000	2.456	0.048	-0.209

61	0.003	1.239	0.009	0.007	0.000	-0.003

62	-0.003	1.238	0.008	0.005	0.000	0.003

Load	0.000	-2.477	-0.017	0.007	0.000	0.000

Reac	0.000	2.477	0.017	4.928	-0.002	0.001

Equil  7.266E-14  0.000E+00 0.000E+00

Resid 4.285E-14 5.451E-14 2.373E-13 1.472E-14 4.302E-16 3.469E-15 YCntr	2.525	-2.301	0.000

ZCntr	2.399	-2.301	0.000

Load case 40 (Linear): COMB 4 (1+6)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

6	0.000	0.000	0.000	2.213	-0.048	0.202

8	0.000	0.000	0.000	2.210	0.046	-0.201

61	0.003	1.106	0.001	0.001	0.000	-0.003

62	-0.003	1.105	-0.001	-0.001	0.000	0.003

Load	0.000	-2.211	0.000	0.003	0.000	0.000

Reac	0.000	2.211	0.000	4.423	-0.002	0.001

Equil  7.184E-14  0.000E+00 2.335E-13

Resid 3.542E-14 1.190E-13 1.906E-13 2.087E-14 7.355E-16 8.257E-15 YCntr	2.525	-2.301	0.000

Load case 50 (Linear): COMB 5 (1+4+6+7)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

6	0.000	0.000	0.000	2.287	-0.049	0.201

8	0.000	0.000	0.000	2.284	0.047	-0.208

61	0.011	1.125	0.001	0.001	0.000	-0.009

62	0.005	1.124	-0.001	-0.001	0.000	-0.003

Load	-0.017	-2.249	0.000	0.005	0.000	0.000

Reac	0.017	2.249	0.000	4.571	-0.002	-0.018

Equil  0.000E+00  0.000E+00 2.342E-13

Resid 5.740E-14 4.585E-14 2.401E-13 1.415E-14 1.520E-15 4.552E-15 XCntr	2.020	-2.301	0.000

YCntr	2.525	-2.301	0.000

Load case 60 (Linear): COMB 6 (1+5+6+8)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

6	0.000	0.000	0.000	2.456	-0.050	0.203

8	0.000	0.000	0.000	2.452	0.048	-0.215

61	0.017	1.239	0.001	0.001	0.000	-0.012

62	0.011	1.238	-0.001	-0.001	0.000	-0.007

Load	-0.028	-2.477	0.000	0.007	0.000	0.000

Reac	0.028	2.477	0.000	4.908	-0.002	-0.031

Equil  0.000E+00  0.000E+00 2.433E-13

Resid 4.496E-14 7.250E-14 1.990E-13 2.109E-14 7.355E-16 5.052E-15 XCntr	2.219	-2.301	0.000

YCntr	2.525	-2.301	0.000

Load case 70 (Linear): COMB 7 (1+5+8)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

6	0.000	0.000	0.000	1.280	-0.002	0.016

8	0.000	0.000	0.000	1.279	0.001	-0.032

61	0.019	0.985	0.000	0.000	0.000	-0.013

62	0.018	0.984	0.000	0.000	0.000	-0.013

Load	-0.037	-1.969	0.000	0.010	0.000	0.000

Reac	0.037	1.969	0.000	2.560	-0.001	-0.042

Equil  0.000E+00  0.000E+00 6.206E-14

Resid 6.654E-15 2.726E-14 7.085E-14 8.027E-15 3.348E-16 1.454E-15 XCntr	2.510	-2.301	0.000

YCntr	2.525	-2.301	0.000

| ANALYSIS STATUS REPORT ---------------------- | Node | X Coord | Y Coord | Z Coord |
| --- | --- | --- | --- | --- |
| Job name ...... JAPANESE CARPORT 2 - 9-03-2017 | 66 | 2.864 | 0.301 | -5.940 |
| Location ...... C:\Users\Priyan\Desktop\WB CIVIL STRUCTURAL ENGINEERS\1 COV... | 67 | 3.501 | 0.368 | 0.000 |
|  | 68 | 3.508 | 0.369 | -0.594 |
| Length units ......................... m | 69 | 3.514 | 0.369 | -1.188 |
| Section property units ............... mm | 70 | 3.520 | 0.370 | -1.782 |
| Material strength units .............. MPa | 71 | 3.527 | 0.371 | -2.376 |
| Mass density units ................... T/m^3 | 72 | 3.533 | 0.371 | -2.970 |
| Temperature units .................... Celsius | 73 | 3.539 | 0.372 | -3.564 |
| Force units .......................... kN | 74 | 3.545 | 0.373 | -4.158 |
| Moment units ......................... kNm | 75 | 3.552 | 0.373 | -4.752 |
| Mass units ........................... T | 76 | 3.558 | 0.374 | -5.346 |
| Acceleration units ................... g's | 77 | 3.564 | 0.375 | -5.940 |
| Translation units .................... mm | 78 | 4.202 | 0.442 | 0.000 |
| Stress units ......................... MPa | 79 | 4.208 | 0.442 | -0.594 |
|  | 80 | 4.214 | 0.443 | -1.188 |
| Nodes ................................ 142 ( 32765) | 81 | 4.221 | 0.444 | -1.782 |
| Members .............................. 238 ( 32765) | 82 | 4.227 | 0.444 | -2.376 |
| Plates ............................... 80 ( 32765) | 83 | 4.233 | 0.445 | -2.970 |
| Restrained nodes ..................... 4 ( 32765) | 84 | 4.239 | 0.446 | -3.564 |
| Nodes with spring restraints ......... 0 ( 32765) | 85 | 4.246 | 0.446 | -4.158 |
| Section properties ................... 4 ( 32765) | 86 | 4.252 | 0.447 | -4.752 |
| Material properties .................. 3 ( 999) | 87 | 4.258 | 0.448 | -5.346 |
| Constrained nodes .................... 0 ( 32765) | 88 | 4.202 | -0.621 | 0.000 |
| Member offsets ....................... 200 ( 32765) | 89 | 4.377 | 0.460 | 0.000 |
|  | 90 | 4.383 | 0.461 | -0.594 |
| Node loads ........................... 2 ( 250000) | 91 | 4.390 | 0.461 | -1.188 |
| Prescribed node displacements ........ 0 ( 250000) | 92 | 4.396 | 0.462 | -1.782 |
| Member concentrated loads ............ 0 ( 250000) | 93 | 4.402 | 0.463 | -2.376 |
| Member distributed forces ............ 80 ( 250000) | 94 | 4.408 | 0.463 | -2.970 |
| Member distributed torsions .......... 0 ( 250000) | 95 | 4.415 | 0.464 | -3.564 |
| Thermal loads ........................ 0 ( 250000) | 96 | 4.421 | 0.465 | -4.158 |
| Member prestress loads ............... 0 ( 250000) | 97 | 4.427 | 0.465 | -4.752 |
| Plate pressure loads ................. 160 ( 250000) | 98 | 4.434 | 0.466 | -5.346 |
| Self weight load cases ............... 1 ( 10000) | 99 | 4.440 | 0.467 | -5.940 |
| Combination load cases ............... 7 ( 10000) | 100 | 4.454 | 0.468 | -5.346 |
| Load cases with titles ............... 15 ( 10000) | 101 | 4.902 | 0.515 | 0.000 |
| Lumped masses ........................ 0 ( 250000) | 102 | 4.908 | 0.516 | -0.594 |
| Spectral load cases .................. 0 ( 10000) | 103 | 4.914 | 0.517 | -1.188 |
|  | 104 | 4.921 | 0.517 | -1.782 |
| Static analysis ...................... Y | 105 | 4.927 | 0.518 | -2.376 |
| Dynamic analysis ..................... N | 106 | 4.933 | 0.519 | -2.970 |
| Response analysis .................... N | 107 | 4.940 | 0.519 | -3.564 |
| Buckling analysis .................... N | 108 | 4.946 | 0.520 | -4.158 |
| Ill-conditioned ...................... N | 109 | 4.952 | 0.521 | -4.752 |
| Non-linear convergence ............... Y | 110 | 4.959 | 0.521 | -5.346 |
| Frontwidth 78 | 111 | 4.965 | 0.522 | -5.940 |
| Total degrees of freedom 828 | 112 | 5.602 | 0.589 | 0.000 |
| Static load cases .................... 8 ( 10000) | 113 | 5.608 | 0.589 | -0.594 |
| Mass load cases ...................... 1 ( 10000) | 114 | 5.615 | 0.590 | -1.188 |
|  | 115 | 5.621 | 0.591 | -1.782 |
|  | 116 | 5.627 | 0.591 | -2.376 |
| NODE COORDINATES (m) | 117 | 5.634 | 0.592 | -2.970 |
| ---------------- | 118 | 5.640 | 0.593 | -3.564 |
|  | 119 | 5.646 | 0.593 | -4.158 |
| X Y Z | 120 | 5.653 | 0.594 | -4.752 |
| Node Coord Coord Coord | 121 | 5.659 | 0.595 | -5.346 |
|  | 122 | 5.665 | 0.595 | -5.940 |
| 1 0.000 0.000 0.000 | 123 | 1.401 | -2.053 | 0.000 |
| 2 0.006 0.001 -0.594 | 124 | 4.202 | -2.214 | 0.000 |
| 3 0.013 0.001 -1.188 | 125 | 4.263 | 0.448 | -5.940 |
| 4 0.019 0.002 -1.782 | 126 | 4.263 | -1.808 | -5.940 |
| 5 0.025 0.003 -2.376 | 127 | 1.459 | 0.154 | -5.940 |
| 6 0.032 0.003 -2.970 | 128 | 1.459 | -2.046 | -5.940 |
| 7 0.038 0.004 -3.564 | 129 | 4.202 | -1.152 | 0.000 |
| 8 0.044 0.005 -4.158 | 130 | 4.202 | -1.683 | 0.000 |
| 9 0.050 0.005 -4.752 | 131 | 1.401 | -0.293 | 0.000 |
| 10 0.057 0.006 -5.346 | 132 | 1.401 | -0.733 | 0.000 |
| 11 0.063 0.007 -5.940 | 133 | 1.401 | -1.173 | 0.000 |
| 12 0.700 0.074 0.000 | 134 | 1.401 | -1.613 | 0.000 |
| 13 0.707 0.074 -0.594 | 135 | 4.263 | -0.003 | -5.940 |
| 14 0.713 0.075 -1.188 | 136 | 4.263 | -0.454 | -5.940 |
| 15 0.719 0.076 -1.782 | 137 | 4.263 | -0.905 | -5.940 |
| 16 0.726 0.076 -2.376 | 138 | 4.263 | -1.357 | -5.940 |
| 17 0.732 0.077 -2.970 | 139 | 1.459 | -0.286 | -5.940 |
| 18 0.738 0.078 -3.564 | 140 | 1.459 | -0.726 | -5.940 |
| 19 0.744 0.078 -4.158 | 141 | 1.459 | -1.166 | -5.940 |
| 20 0.751 0.079 -4.752 | 142 | 1.459 | -1.606 | -5.940 |
| 21 0.757 0.080 -5.346 |  |  |  |  |
| 22 0.763 0.080 -5.940 |  |  |  |  |

| 23 | 1.225 | 0.129 | 0.000 | MEMBER DATA (deg,kNm/rad,m) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24 | 1.232 | 0.129 | -0.594 | ----------- (F=Fixed, R=Released) (*=Cable length) |  |  |  |  |  |  |  |
| 25 | 1.238 | 0.130 | -1.188 |  |  |  |  |  |  |  |  |
| 26 | 1.244 | 0.131 | -1.782 | Dir Dir Dir Memb Node A Node B |  |  |  |  |  |  |  |
| 27 | 1.250 | 0.131 | -2.376 | Memb Angle Node Axis Type Node A Node B Sect Mat Fixity Fixity |  |  |  |  |  |  | Length |
| 28 | 1.257 | 0.132 | -2.970 |  |  |  |  |  |  |  |  |
| 29 | 1.263 | 0.133 | -3.564 | 1 | 0.00 | Norm | 11 | 10 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 30 | 1.269 | 0.133 | -4.158 | 2 | 0.00 | Norm | 1 | 12 | 2 | 1 FFFFFF FFFFFF | 0.704 |
| 31 | 1.276 | 0.134 | -4.752 | 3 | 0.00 | Norm | 122 | 121 | 2 | 1 FFFFFF FFFFFF | 0.594 |
| 32 | 1.282 | 0.135 | -5.346 | 4 | 0.00 | Norm | 11 | 22 | 2 | 1 FFFFFF FFFFFF | 0.704 |
| 33 | 1.288 | 0.135 | -5.940 | 5 | 0.00 | Norm | 33 | 32 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 34 | 1.401 | 0.147 | 0.000 | 6 | 0.00 | Norm | 99 | 98 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 35 | 1.407 | 0.148 | -0.594 | 7 | 0.00 | Norm | 32 | 31 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 36 | 1.413 | 0.149 | -1.188 | 8 | 0.00 | Norm | 31 | 30 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 37 | 1.419 | 0.149 | -1.782 | 9 | 0.00 | Norm | 30 | 29 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 38 | 1.426 | 0.150 | -2.376 | 10 | 0.00 | Norm | 29 | 28 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 39 | 1.432 | 0.151 | -2.970 | 11 | 0.00 | Norm | 28 | 27 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 40 | 1.438 | 0.151 | -3.564 | 12 | 0.00 | Norm | 27 | 26 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 41 | 1.445 | 0.152 | -4.158 | 13 | 0.00 | Norm | 26 | 25 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 42 | 1.451 | 0.153 | -4.752 | 14 | 0.00 | Norm | 25 | 24 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 43 | 1.457 | 0.153 | -5.346 | 15 | 0.00 | Norm | 24 | 23 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 44 | 4.202 | -0.090 | 0.000 | 16 | 0.00 | Norm | 98 | 97 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 45 | 2.101 | 0.221 | 0.000 | 17 | 0.00 | Norm | 97 | 96 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 46 | 2.107 | 0.221 | -0.594 | 18 | 0.00 | Norm | 96 | 95 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 47 | 2.113 | 0.222 | -1.188 | 19 | 0.00 | Norm | 95 | 94 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 48 | 2.120 | 0.223 | -1.782 | 20 | 0.00 | Norm | 94 | 93 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 49 | 2.126 | 0.223 | -2.376 | 21 | 0.00 | Norm | 93 | 92 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 50 | 2.132 | 0.224 | -2.970 | 22 | 0.00 | Norm | 92 | 91 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 51 | 2.139 | 0.225 | -3.564 | 23 | 0.00 | Norm | 91 | 90 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 52 | 2.145 | 0.225 | -4.158 | 24 | 0.00 | Norm | 90 | 89 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 53 | 2.151 | 0.226 | -4.752 | 25 | 0.00 | Norm | 10 | 9 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 54 | 2.158 | 0.227 | -5.346 | 26 | 0.00 | Norm | 9 | 8 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 55 | 2.164 | 0.227 | -5.940 | 27 | 0.00 | Norm | 8 | 7 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 56 | 2.801 | 0.294 | 0.000 | 28 | 0.00 | Norm | 7 | 6 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 57 | 2.807 | 0.295 | -0.594 | 29 | 0.00 | Norm | 6 | 5 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 58 | 2.814 | 0.296 | -1.188 | 30 | 0.00 | Norm | 5 | 4 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 59 | 2.820 | 0.296 | -1.782 | 31 | 0.00 | Norm | 4 | 3 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 60 | 2.826 | 0.297 | -2.376 | 32 | 0.00 | Norm | 3 | 2 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 61 | 2.833 | 0.298 | -2.970 | 33 | 0.00 | Norm | 2 | 1 | 3 | 1 FFFFFF FFFFFF | 0.594 |
| 62 | 2.839 | 0.298 | -3.564 | 34 | 0.00 | Norm | 121 | 120 | 2 | 1 FFFFFF FFFFFF | 0.594 |
| 63 | 2.845 | 0.299 | -4.158 | 35 | 0.00 | Norm | 120 | 119 | 2 | 1 FFFFFF FFFFFF | 0.594 |
| 64 | 2.852 | 0.300 | -4.752 |  |  |  |  |  |  |  |  |
| 65 | 2.858 | 0.300 | -5.346 |  |  |  |  |  |  |  |  |

Dir   Dir Dir Memb	Node A Node B

Memb  Angle  Node Axis Type Node A Node B  Sect Mat Fixity Fixity	Length

Dir   Dir Dir Memb	Node A Node B

Memb  Angle  Node Axis Type Node A Node B  Sect Mat Fixity Fixity	Length

| 36 | 0.00 | Norm | 119 | 118 | 2 | 1 FFFFFF FFFFFF | 0.594 | 157 | 0.00 | Norm | 63 | 64 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 37 | 0.00 | Norm | 118 | 117 | 2 | 1 FFFFFF FFFFFF | 0.594 | 158 | 0.00 | Norm | 63 | 74 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 38 | 0.00 | Norm | 117 | 116 | 2 | 1 FFFFFF FFFFFF | 0.594 | 159 | 0.00 | Norm | 64 | 65 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 39 | 0.00 | Norm | 116 | 115 | 2 | 1 FFFFFF FFFFFF | 0.594 | 160 | 0.00 | Norm | 64 | 75 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 40 | 0.00 | Norm | 115 | 114 | 2 | 1 FFFFFF FFFFFF | 0.594 | 161 | 0.00 | Norm | 65 | 66 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 41 | 0.00 | Norm | 114 | 113 | 2 | 1 FFFFFF FFFFFF | 0.594 | 162 | 0.00 | Norm | 65 | 76 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 42 | 0.00 | Norm | 113 | 112 | 2 | 1 FFFFFF FFFFFF | 0.594 | 163 | 0.00 | Norm | 68 | 69 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 43 | 0.00 | Norm | 2 | 13 | 2 | 1 FFFFFF FFFFFF | 0.704 | 164 | 0.00 | Norm | 68 | 79 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 44 | 0.00 | Norm | 24 | 35 | 2 | 1 FFFFFF FFFFFF | 0.176 | 165 | 0.00 | Norm | 69 | 70 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 45 | 0.00 | Norm | 90 | 102 | 2 | 1 FFFFFF FFFFFF | 0.528 | 166 | 0.00 | Norm | 69 | 80 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 46 | 0.00 | Norm | 3 | 14 | 2 | 1 FFFFFF FFFFFF | 0.704 | 167 | 0.00 | Norm | 70 | 71 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 47 | 0.00 | Norm | 25 | 36 | 2 | 1 FFFFFF FFFFFF | 0.176 | 168 | 0.00 | Norm | 70 | 81 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 48 | 0.00 | Norm | 91 | 103 | 2 | 1 FFFFFF FFFFFF | 0.528 | 169 | 0.00 | Norm | 71 | 72 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 49 | 0.00 | Norm | 4 | 15 | 2 | 1 FFFFFF FFFFFF | 0.704 | 170 | 0.00 | Norm | 71 | 82 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 50 | 0.00 | Norm | 26 | 37 | 2 | 1 FFFFFF FFFFFF | 0.176 | 171 | 0.00 | Norm | 72 | 73 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 51 | 0.00 | Norm | 92 | 104 | 2 | 1 FFFFFF FFFFFF | 0.528 | 172 | 0.00 | Norm | 72 | 83 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 52 | 0.00 | Norm | 5 | 16 | 2 | 1 FFFFFF FFFFFF | 0.704 | 173 | 0.00 | Norm | 73 | 74 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 53 | 0.00 | Norm | 27 | 38 | 2 | 1 FFFFFF FFFFFF | 0.176 | 174 | 0.00 | Norm | 73 | 84 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 54 | 0.00 | Norm | 93 | 105 | 2 | 1 FFFFFF FFFFFF | 0.528 | 175 | 0.00 | Norm | 74 | 75 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 55 | 0.00 | Norm | 6 | 17 | 2 | 1 FFFFFF FFFFFF | 0.704 | 176 | 0.00 | Norm | 74 | 85 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 56 | 0.00 | Norm | 28 | 39 | 2 | 1 FFFFFF FFFFFF | 0.176 | 177 | 0.00 | Norm | 75 | 76 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 57 | 0.00 | Norm | 94 | 106 | 2 | 1 FFFFFF FFFFFF | 0.528 | 178 | 0.00 | Norm | 75 | 86 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 58 | 0.00 | Norm | 7 | 18 | 2 | 1 FFFFFF FFFFFF | 0.704 | 179 | 0.00 | Norm | 76 | 77 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 59 | 0.00 | Norm | 29 | 40 | 2 | 1 FFFFFF FFFFFF | 0.176 | 180 | 0.00 | Norm | 76 | 87 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 60 | 0.00 | Norm | 95 | 107 | 2 | 1 FFFFFF FFFFFF | 0.528 | 181 | 0.00 | Norm | 79 | 80 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 61 | 0.00 | Norm | 8 | 19 | 2 | 1 FFFFFF FFFFFF | 0.704 | 182 | 0.00 | Norm | 79 | 90 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 62 | 0.00 | Norm | 30 | 41 | 2 | 1 FFFFFF FFFFFF | 0.176 | 183 | 0.00 | Norm | 80 | 81 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 63 | 0.00 | Norm | 96 | 108 | 2 | 1 FFFFFF FFFFFF | 0.528 | 184 | 0.00 | Norm | 80 | 91 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 64 | 0.00 | Norm | 9 | 20 | 2 | 1 FFFFFF FFFFFF | 0.704 | 185 | 0.00 | Norm | 81 | 82 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 65 | 0.00 | Norm | 31 | 42 | 2 | 1 FFFFFF FFFFFF | 0.176 | 186 | 0.00 | Norm | 81 | 92 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 66 | 0.00 | Norm | 97 | 109 | 2 | 1 FFFFFF FFFFFF | 0.528 | 187 | 0.00 | Norm | 82 | 83 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 67 | 0.00 | Norm | 10 | 21 | 2 | 1 FFFFFF FFFFFF | 0.704 | 188 | 0.00 | Norm | 82 | 93 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 68 | 0.00 | Norm | 32 | 43 | 2 | 1 FFFFFF FFFFFF | 0.176 | 189 | 0.00 | Norm | 83 | 84 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 69 | 0.00 | Norm | 100 | 110 | 2 | 1 FFFFFF FFFFFF | 0.508 | 190 | 0.00 | Norm | 83 | 94 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 70 | 0.00 | Norm | 12 | 34 | 2 | 1 FFFFFF FFFFFF | 0.704 | 191 | 0.00 | Norm | 84 | 85 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 71 | 0.00 | Norm | 34 | 45 | 2 | 1 FFFFFF FFFFFF | 0.704 | 192 | 0.00 | Norm | 84 | 95 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 72 | 0.00 | Norm | 45 | 56 | 2 | 1 FFFFFF FFFFFF | 0.704 | 193 | 0.00 | Norm | 85 | 86 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 73 | 0.00 | Norm | 56 | 67 | 2 | 1 FFFFFF FFFFFF | 0.704 | 194 | 0.00 | Norm | 85 | 96 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 74 | 0.00 | Norm | 67 | 78 | 2 | 1 FFFFFF FFFFFF | 0.704 | 195 | 0.00 | Norm | 86 | 87 | 1 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 75 | 0.00 | Norm | 78 | 101 | 2 | 1 FFFFFF FFFFFF | 0.704 | 196 | 0.00 | Norm | 86 | 97 | 2 | 1 FFFFFF FFFFFF |  |  | 0.176 |
| 76 | 0.00 | Norm | 101 | 112 | 2 | 1 FFFFFF FFFFFF | 0.704 | 197 | 0.00 | Norm | 87 | 125 | 1 | 3 FFFFFF FFFFFF |  |  | 0.594 |
| 77 | 0.00 | Norm | 22 | 33 | 2 | 1 FFFFFF FFFFFF | 0.546 | 198 | 0.00 | Norm | 87 | 100 | 2 | 1 FFFFFF FFFFFF |  |  | 0.196 |
| 78 | 0.00 | Norm | 127 | 55 | 2 | 1 FFFFFF FFFFFF | 0.709 | 199 | 0.00 | Norm | 102 | 103 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 79 | 0.00 | Norm | 55 | 66 | 2 | 1 FFFFFF FFFFFF | 0.704 | 200 | 0.00 | Norm | 102 | 113 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 80 | 0.00 | Norm | 66 | 77 | 2 | 1 FFFFFF FFFFFF | 0.704 | 201 | 0.00 | Norm | 103 | 104 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 81 | 0.00 | Norm | 77 | 125 | 2 | 1 FFFFFF FFFFFF | 0.702 | 202 | 0.00 | Norm | 103 | 114 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 82 | 0.00 | Norm | 125 | 99 | 2 | 1 FFFFFF FFFFFF | 0.207 | 203 | 0.00 | Norm | 104 | 105 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 83 | 0.00 | Norm | 111 | 122 | 2 | 1 FFFFFF FFFFFF | 0.704 | 204 | 0.00 | Norm | 104 | 115 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 84 | 0.00 | Norm | 12 | 13 | 3 | 1 FFFFFF FFFFFF | 0.594 | 205 | 0.00 | Norm | 105 | 106 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 85 | 0.00 | Norm | 34 | 35 | 1 | 3 FFFFFF FFFFFF | 0.594 | 206 | 0.00 | Norm | 105 | 116 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 86 | 0.00 | Norm | 45 | 46 | 3 | 1 FFFFFF FFFFFF | 0.594 | 207 | 0.00 | Norm | 106 | 107 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 87 | 0.00 | Norm | 56 | 57 | 3 | 1 FFFFFF FFFFFF | 0.594 | 208 | 0.00 | Norm | 106 | 117 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 88 | 0.00 | Norm | 67 | 68 | 3 | 1 FFFFFF FFFFFF | 0.594 | 209 | 0.00 | Norm | 107 | 108 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 89 | 0.00 | Norm | 78 | 79 | 1 | 3 FFFFFF FFFFFF | 0.594 | 210 | 0.00 | Norm | 107 | 118 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 90 | 0.00 | Norm | 101 | 102 | 3 | 1 FFFFFF FFFFFF | 0.594 | 211 | 0.00 | Norm | 108 | 109 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 91 | 0.00 | Norm | 13 | 14 | 3 | 1 FFFFFF FFFFFF | 0.594 | 212 | 0.00 | Norm | 108 | 119 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 92 | 0.00 | Norm | 13 | 24 | 2 | 1 FFFFFF FFFFFF | 0.528 | 213 | 0.00 | Norm | 109 | 110 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 93 | 0.00 | Norm | 14 | 15 | 3 | 1 FFFFFF FFFFFF | 0.594 | 214 | 0.00 | Norm | 109 | 120 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 94 | 0.00 | Norm | 14 | 25 | 2 | 1 FFFFFF FFFFFF | 0.528 | 215 | 0.00 | Norm | 110 | 111 | 3 | 1 FFFFFF FFFFFF |  |  | 0.594 |
| 95 | 0.00 | Norm | 15 | 16 | 3 | 1 FFFFFF FFFFFF | 0.594 | 216 | 0.00 | Norm | 110 | 121 | 2 | 1 FFFFFF FFFFFF |  |  | 0.704 |
| 96 | 0.00 | Norm | 15 | 26 | 2 | 1 FFFFFF FFFFFF | 0.528 | 217 | 0.00 | Norm | 34 | 131 | 4 | 3 FFFFFF FFFFFF |  |  | 0.440 |
| 97 | 0.00 | Norm | 16 | 17 | 3 | 1 FFFFFF FFFFFF | 0.594 | 218 | 0.00 | Norm | 78 | 44 | 4 | 3 FFFFFF FFFFFF |  |  | 0.531 |
| 98 | 0.00 | Norm | 16 | 27 | 2 | 1 FFFFFF FFFFFF | 0.528 | 219 | 0.00 | Norm | 125 | 135 | 4 | 3 FFFFFF FFFFFF |  |  | 0.451 |
| 99 | 0.00 | Norm | 17 | 18 | 3 | 1 FFFFFF FFFFFF | 0.594 | 220 | 0.00 | Norm | 127 | 139 | 4 | 3 FFFFFF FFFFFF |  |  | 0.440 |
| 100 | 0.00 | Norm | 17 | 28 | 2 | 1 FFFFFF FFFFFF | 0.528 | 221 | 0.00 | Norm | 99 | 111 | 2 | 1 FFFFFF FFFFFF |  |  | 0.499 |
| 101 | 0.00 | Norm | 18 | 19 | 3 | 1 FFFFFF FFFFFF | 0.594 | 222 | 0.00 | Norm | 33 | 127 | 2 | 1 FFFFFF FFFFFF |  |  | 0.154 |
| 102 | 0.00 | Norm | 18 | 29 | 2 | 1 FFFFFF FFFFFF | 0.528 | 223 | 0.00 | Norm | 44 | 88 | 4 | 1 FFFFFF FFFFFF |  |  | 0.531 |
| 103 | 0.00 | Norm | 19 | 20 | 3 | 1 FFFFFF FFFFFF | 0.594 | 224 | 0.00 | Norm | 88 | 129 | 4 | 1 FFFFFF FFFFFF |  |  | 0.531 |
| 104 | 0.00 | Norm | 19 | 30 | 2 | 1 FFFFFF FFFFFF | 0.528 | 225 | 0.00 | Norm | 129 | 130 | 4 | 1 FFFFFF FFFFFF |  |  | 0.531 |
| 105 | 0.00 | Norm | 20 | 21 | 3 | 1 FFFFFF FFFFFF | 0.594 | 226 | 0.00 | Norm | 130 | 124 | 4 | 1 FFFFFF FFFFFF |  |  | 0.531 |
| 106 | 0.00 | Norm | 20 | 31 | 2 | 1 FFFFFF FFFFFF | 0.528 | 227 | 0.00 | Norm | 131 | 132 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 107 | 0.00 | Norm | 21 | 22 | 3 | 1 FFFFFF FFFFFF | 0.594 | 228 | 0.00 | Norm | 132 | 133 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 108 | 0.00 | Norm | 21 | 32 | 2 | 1 FFFFFF FFFFFF | 0.528 | 229 | 0.00 | Norm | 133 | 134 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 109 | 0.00 | Norm | 35 | 36 | 1 | 1 FFFFFF FFFFFF | 0.594 | 230 | 0.00 | Norm | 134 | 123 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 110 | 0.00 | Norm | 35 | 46 | 2 | 1 FFFFFF FFFFFF | 0.704 | 231 | 0.00 | Norm | 135 | 136 | 4 | 1 FFFFFF FFFFFF |  |  | 0.451 |
| 111 | 0.00 | Norm | 36 | 37 | 1 | 1 FFFFFF FFFFFF | 0.594 | 232 | 0.00 | Norm | 136 | 137 | 4 | 1 FFFFFF FFFFFF |  |  | 0.451 |
| 112 | 0.00 | Norm | 36 | 47 | 2 | 1 FFFFFF FFFFFF | 0.704 | 233 | 0.00 | Norm | 137 | 138 | 4 | 1 FFFFFF FFFFFF |  |  | 0.451 |
| 113 | 0.00 | Norm | 37 | 38 | 1 | 1 FFFFFF FFFFFF | 0.594 | 234 | 0.00 | Norm | 138 | 126 | 4 | 1 FFFFFF FFFFFF |  |  | 0.451 |
| 114 | 0.00 | Norm | 37 | 48 | 2 | 1 FFFFFF FFFFFF | 0.704 | 235 | 0.00 | Norm | 139 | 140 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 115 | 0.00 | Norm | 38 | 39 | 1 | 1 FFFFFF FFFFFF | 0.594 | 236 | 0.00 | Norm | 140 | 141 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 116 | 0.00 | Norm | 38 | 49 | 2 | 1 FFFFFF FFFFFF | 0.704 | 237 | 0.00 | Norm | 141 | 142 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 117 | 0.00 | Norm | 39 | 40 | 1 | 1 FFFFFF FFFFFF | 0.594 | 238 | 0.00 | Norm | 142 | 128 | 4 | 1 FFFFFF FFFFFF |  |  | 0.440 |
| 118 | 0.00 | Norm | 39 | 50 | 2 | 1 FFFFFF FFFFFF | 0.704 |  |  |  |  |  |  |  |  |  |  |
| 119 | 0.00 | Norm | 40 | 41 | 1 | 1 FFFFFF FFFFFF | 0.594 |  |  |  |  |  |  |  |  |  |  |
| 120 | 0.00 | Norm | 40 | 51 | 2 | 1 FFFFFF FFFFFF | 0.704 | PLATE DATA (deg,mm,m) |  |  |  |  |  |  |  |  |  |
| 121 | 0.00 | Norm | 41 | 42 | 1 | 1 FFFFFF FFFFFF | 0.594 | ---------- |  |  |  |  |  |  |  |  |  |
| 122 | 0.00 | Norm | 41 | 52 | 2 | 1 FFFFFF FFFFFF | 0.704 |  |  |  |  |  |  |  |  |  |  |
| 123 | 0.00 | Norm | 42 | 43 | 1 | 1 FFFFFF FFFFFF | 0.594 | Dir Dir Dir |  |  |  |  |  |  |  |  |  |
| 124 | 0.00 | Norm | 42 | 53 | 2 | 1 FFFFFF FFFFFF | 0.704 | Plate Angle Node Axis Type Node A Node B Node C Node D |  |  |  |  |  |  | Thick Mat |  | Offset |
| 125 | 0.00 | Norm | 43 | 127 | 1 | 3 FFFFFF FFFFFF | 0.594 |  |  |  |  |  |  |  |  |  |  |
| 126 | 0.00 | Norm | 43 | 54 | 2 | 1 FFFFFF FFFFFF | 0.704 | 1 | 0.00 | Mind | 1 | 12 | 13 | 2 | 2.00 | 2 | 0.106 |
| 127 | 0.00 | Norm | 46 | 47 | 3 | 1 FFFFFF FFFFFF | 0.594 | 2 | 0.00 | Mind | 2 | 13 | 14 | 3 | 2.00 | 2 | 0.106 |
| 128 | 0.00 | Norm | 46 | 57 | 2 | 1 FFFFFF FFFFFF | 0.704 | 3 | 0.00 | Mind | 3 | 14 | 15 | 4 | 2.00 | 2 | 0.106 |
| 129 | 0.00 | Norm | 47 | 48 | 3 | 1 FFFFFF FFFFFF | 0.594 | 4 | 0.00 | Mind | 4 | 15 | 16 | 5 | 2.00 | 2 | 0.106 |
| 130 | 0.00 | Norm | 47 | 58 | 2 | 1 FFFFFF FFFFFF | 0.704 | 5 | 0.00 | Mind | 5 | 16 | 17 | 6 | 2.00 | 2 | 0.106 |
| 131 | 0.00 | Norm | 48 | 49 | 3 | 1 FFFFFF FFFFFF | 0.594 | 6 | 0.00 | Mind | 6 | 17 | 18 | 7 | 2.00 | 2 | 0.106 |
| 132 | 0.00 | Norm | 48 | 59 | 2 | 1 FFFFFF FFFFFF | 0.704 | 7 | 0.00 | Mind | 7 | 18 | 19 | 8 | 2.00 | 2 | 0.106 |
| 133 | 0.00 | Norm | 49 | 50 | 3 | 1 FFFFFF FFFFFF | 0.594 | 8 | 0.00 | Mind | 8 | 19 | 20 | 9 | 2.00 | 2 | 0.106 |
| 134 | 0.00 | Norm | 49 | 60 | 2 | 1 FFFFFF FFFFFF | 0.704 | 9 | 0.00 | Mind | 9 | 20 | 21 | 10 | 2.00 | 2 | 0.106 |
| 135 | 0.00 | Norm | 50 | 51 | 3 | 1 FFFFFF FFFFFF | 0.594 | 10 | 0.00 | Mind | 10 | 21 | 22 | 11 | 2.00 | 2 | 0.106 |
| 136 | 0.00 | Norm | 50 | 61 | 2 | 1 FFFFFF FFFFFF | 0.704 | 11 | 0.00 | Mind | 12 | 34 | 35 | 13 | 2.00 | 2 | 0.106 |
| 137 | 0.00 | Norm | 51 | 52 | 3 | 1 FFFFFF FFFFFF | 0.594 | 12 | 0.00 | Mind | 34 | 45 | 46 | 35 | 2.00 | 2 | 0.106 |
| 138 | 0.00 | Norm | 51 | 62 | 2 | 1 FFFFFF FFFFFF | 0.704 | 13 | 0.00 | Mind | 45 | 56 | 57 | 46 | 2.00 | 2 | 0.106 |
| 139 | 0.00 | Norm | 52 | 53 | 3 | 1 FFFFFF FFFFFF | 0.594 | 14 | 0.00 | Mind | 56 | 67 | 68 | 57 | 2.00 | 2 | 0.106 |
| 140 | 0.00 | Norm | 52 | 63 | 2 | 1 FFFFFF FFFFFF | 0.704 | 15 | 0.00 | Mind | 67 | 78 | 79 | 68 | 2.00 | 2 | 0.106 |
| 141 | 0.00 | Norm | 53 | 54 | 3 | 1 FFFFFF FFFFFF | 0.594 | 16 | 0.00 | Mind | 78 | 101 | 102 | 79 | 2.00 | 2 | 0.106 |
| 142 | 0.00 | Norm | 53 | 64 | 2 | 1 FFFFFF FFFFFF | 0.704 | 17 | 0.00 | Mind | 101 | 112 | 113 | 102 | 2.00 | 2 | 0.106 |
| 143 | 0.00 | Norm | 54 | 55 | 3 | 1 FFFFFF FFFFFF | 0.594 | 18 | 0.00 | Mind | 102 | 113 | 114 | 103 | 2.00 | 2 | 0.106 |
| 144 | 0.00 | Norm | 54 | 65 | 2 | 1 FFFFFF FFFFFF | 0.704 | 19 | 0.00 | Mind | 103 | 114 | 115 | 104 | 2.00 | 2 | 0.106 |
| 145 | 0.00 | Norm | 57 | 58 | 3 | 1 FFFFFF FFFFFF | 0.594 | 20 | 0.00 | Mind | 104 | 115 | 116 | 105 | 2.00 | 2 | 0.106 |
| 146 | 0.00 | Norm | 57 | 68 | 2 | 1 FFFFFF FFFFFF | 0.704 | 21 | 0.00 | Mind | 105 | 116 | 117 | 106 | 2.00 | 2 | 0.106 |
| 147 | 0.00 | Norm | 58 | 59 | 3 | 1 FFFFFF FFFFFF | 0.594 | 22 | 0.00 | Mind | 106 | 117 | 118 | 107 | 2.00 | 2 | 0.106 |
| 148 | 0.00 | Norm | 58 | 69 | 2 | 1 FFFFFF FFFFFF | 0.704 | 23 | 0.00 | Mind | 107 | 118 | 119 | 108 | 2.00 | 2 | 0.106 |
| 149 | 0.00 | Norm | 59 | 60 | 3 | 1 FFFFFF FFFFFF | 0.594 | 24 | 0.00 | Mind | 108 | 119 | 120 | 109 | 2.00 | 2 | 0.106 |
| 150 | 0.00 | Norm | 59 | 70 | 2 | 1 FFFFFF FFFFFF | 0.704 | 25 | 0.00 | Mind | 109 | 120 | 121 | 110 | 2.00 | 2 | 0.106 |
| 151 | 0.00 | Norm | 60 | 61 | 3 | 1 FFFFFF FFFFFF | 0.594 | 26 | 0.00 | Mind | 110 | 121 | 122 | 111 | 2.00 | 2 | 0.106 |
| 152 | 0.00 | Norm | 60 | 71 | 2 | 1 FFFFFF FFFFFF | 0.704 | 27 | 0.00 | Mind | 79 | 102 | 103 | 80 | 2.00 | 2 | 0.106 |
| 153 | 0.00 | Norm | 61 | 62 | 3 | 1 FFFFFF FFFFFF | 0.594 | 28 | 0.00 | Mind | 80 | 103 | 104 | 81 | 2.00 | 2 | 0.106 |
| 154 | 0.00 | Norm | 61 | 72 | 2 | 1 FFFFFF FFFFFF | 0.704 | 29 | 0.00 | Mind | 81 | 104 | 105 | 82 | 2.00 | 2 | 0.106 |
| 155 | 0.00 | Norm | 62 | 63 | 3 | 1 FFFFFF FFFFFF | 0.594 | 30 | 0.00 | Mind | 82 | 105 | 106 | 83 | 2.00 | 2 | 0.106 |
| 156 | 0.00 | Norm | 62 | 73 | 2 | 1 FFFFFF FFFFFF | 0.704 | 31 | 0.00 | Mind | 83 | 106 | 107 | 84 | 2.00 | 2 | 0.106 |

| Plate | Dir Angle N | Dir Dir ode Axis Type Node A Node B Node C Node |  |  |  |  |  |  |  | D Thick Mat |  |  | Offset | Memb Axes |  | Dxa | Dya | Dza | Dxb | Dyb | Dzb |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 14 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 32 | 0.00 | Mind |  |  |  | 84 | 107 | 108 85 2.00 |  |  |  | 2 | 0.106 | 15 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 33 | 0.00 | Mind |  |  |  | 85 | 108 | 109 86 2.00 |  |  |  | 2 | 0.106 | 16 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 34 | 0.00 | Mind |  |  |  | 86 | 109 | 110 87 2.00 |  |  |  | 2 | 0.106 | 17 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 35 | 0.00 | Mind |  |  |  | 87 | 110 | 111 125 2.00 |  |  |  | 2 | 0.106 | 18 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 36 | 0.00 | Mind |  |  |  | 68 | 79 | 80 69 2.00 |  |  |  | 2 | 0.106 | 19 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 37 | 0.00 | Mind |  |  |  | 69 | 80 | 81 70 2.00 |  |  |  | 2 | 0.106 | 20 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 38 | 0.00 | Mind |  |  |  | 70 | 81 | 82 71 2.00 |  |  |  | 2 | 0.106 | 21 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 39 | 0.00 | Mind |  |  |  | 71 | 82 | 83 72 2.00 |  |  |  | 2 | 0.106 | 22 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 40 | 0.00 | Mind |  |  |  | 72 | 83 | 84 73 2.00 |  |  |  | 2 | 0.106 | 23 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 41 | 0.00 | Mind |  |  |  | 73 | 84 | 85 74 2.00 |  |  |  | 2 | 0.106 | 24 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 42 | 0.00 | Mind |  |  |  | 74 | 85 | 86 75 2.00 |  |  |  | 2 | 0.106 | 25 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 43 | 0.00 | Mind |  |  |  | 75 | 86 | 87 76 2.00 |  |  |  | 2 | 0.106 | 26 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 44 | 0.00 | Mind |  |  |  | 76 | 87 | 125 77 2.00 |  |  |  | 2 | 0.106 | 27 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 45 | 0.00 | Mind |  |  |  | 57 | 68 | 69 58 2.00 |  |  |  | 2 | 0.106 | 28 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 46 | 0.00 | Mind |  |  |  | 58 | 69 | 70 59 2.00 |  |  |  | 2 | 0.106 | 29 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 47 | 0.00 | Mind |  |  |  | 59 | 70 | 71 60 2.00 |  |  |  | 2 | 0.106 | 30 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 48 | 0.00 | Mind |  |  |  | 60 | 71 | 72 61 2.00 |  |  |  | 2 | 0.106 | 31 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 49 | 0.00 | Mind |  |  |  | 61 | 72 | 73 62 2.00 |  |  |  | 2 | 0.106 | 32 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 50 | 0.00 | Mind |  |  |  | 62 | 73 | 74 63 2.00 |  |  |  | 2 | 0.106 | 33 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 51 | 0.00 | Mind |  |  |  | 63 | 74 | 75 64 2.00 |  |  |  | 2 | 0.106 | 34 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 52 | 0.00 | Mind |  |  |  | 64 | 75 | 76 65 2.00 |  |  |  | 2 | 0.106 | 35 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 53 | 0.00 | Mind |  |  |  | 65 | 76 | 77 66 2.00 |  |  |  | 2 | 0.106 | 36 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 54 | 0.00 | Mind |  |  |  | 46 | 57 | 58 47 2.00 |  |  |  | 2 | 0.106 | 37 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 55 | 0.00 | Mind |  |  |  | 47 | 58 | 59 48 2.00 |  |  |  | 2 | 0.106 | 38 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 56 | 0.00 | Mind |  |  |  | 48 | 59 | 60 49 2.00 |  |  |  | 2 | 0.106 | 39 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 57 | 0.00 | Mind |  |  |  | 49 | 60 | 61 50 2.00 |  |  |  | 2 | 0.106 | 40 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 58 | 0.00 | Mind |  |  |  | 50 | 61 | 62 51 2.00 |  |  |  | 2 | 0.106 | 41 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 59 | 0.00 | Mind |  |  |  | 51 | 62 | 63 52 2.00 |  |  |  | 2 | 0.106 | 42 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 60 | 0.00 | Mind |  |  |  | 52 | 63 | 64 53 2.00 |  |  |  | 2 | 0.106 | 43 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 61 | 0.00 | Mind |  |  |  | 53 | 64 | 65 54 2.00 |  |  |  | 2 | 0.106 | 44 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 62 | 0.00 | Mind |  |  |  | 54 | 65 | 66 55 2.00 |  |  |  | 2 | 0.106 | 45 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 63 | 0.00 | Mind |  |  |  | 35 | 46 | 47 36 2.00 |  |  |  | 2 | 0.106 | 46 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 64 | 0.00 | Mind |  |  |  | 36 | 47 | 48 37 2.00 |  |  |  | 2 | 0.106 | 47 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 65 | 0.00 | Mind |  |  |  | 37 | 48 | 49 38 2.00 |  |  |  | 2 | 0.106 | 48 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 66 | 0.00 | Mind |  |  |  | 38 | 49 | 50 39 2.00 |  |  |  | 2 | 0.106 | 49 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 67 | 0.00 | Mind |  |  |  | 39 | 50 | 51 40 2.00 |  |  |  | 2 | 0.106 | 50 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 68 | 0.00 | Mind |  |  |  | 40 | 51 | 52 41 2.00 |  |  |  | 2 | 0.106 | 51 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 69 | 0.00 | Mind |  |  |  | 41 | 52 | 53 42 2.00 |  |  |  | 2 | 0.106 | 52 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 70 | 0.00 | Mind |  |  |  | 42 | 53 | 54 43 2.00 |  |  |  | 2 | 0.106 | 53 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 71 | 0.00 | Mind |  |  |  | 43 | 54 | 55 127 2.00 |  |  |  | 2 | 0.106 | 54 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 72 | 0.00 | Mind |  |  |  | 13 | 35 | 36 14 2.00 |  |  |  | 2 | 0.106 | 55 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 73 | 0.00 | Mind |  |  |  | 14 | 36 | 37 15 2.00 |  |  |  | 2 | 0.106 | 56 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 74 | 0.00 | Mind |  |  |  | 15 | 37 | 38 16 2.00 |  |  |  | 2 | 0.106 | 57 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 75 | 0.00 | Mind |  |  |  | 16 | 38 | 39 17 2.00 |  |  |  | 2 | 0.106 | 58 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 76 | 0.00 | Mind |  |  |  | 17 | 39 | 40 18 2.00 |  |  |  | 2 | 0.106 | 59 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 77 | 0.00 | Mind |  |  |  | 18 | 40 | 41 19 2.00 |  |  |  | 2 | 0.106 | 60 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 78 | 0.00 | Mind |  |  |  | 19 | 41 | 42 20 2.00 |  |  |  | 2 | 0.106 | 61 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 79 | 0.00 | Mind |  |  |  | 20 | 42 | 43 21 2.00 |  |  |  | 2 | 0.106 | 62 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 80 | 0.00 | Mind |  |  |  | 21 | 43 | 127 22 2.00 |  |  |  | 2 | 0.106 | 63 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 64 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 65 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| NODE RESTRAINTS (kN/m,kNm/rad) 66 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| --------------- (F=Fixed, R=Released, S=Spring, *=General) 67 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 68 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| Rest X Axial Y Axial Z Axial X Rotation Y Rotation Z Rotation 69 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| Node Code S |  | tiffness Stiffness Stiffness |  |  |  |  |  | Stiffness |  | Stiffness Stiffness |  |  |  | 70 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 71 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 123 FFFFFF |  |  |  |  |  |  |  |  |  |  |  |  |  | 72 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 124 FFFFFF |  |  |  |  |  |  |  |  |  |  |  |  |  | 73 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 126 FFFFFF |  |  |  |  |  |  |  |  |  |  |  |  |  | 74 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 128 FFFFFF |  |  |  |  |  |  |  |  |  |  |  |  |  | 75 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 76 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 77 | G | 0.000 | 0.083 | 0.000 | 0.018 | 0.084 | 0.000 |
| SECTION PROPERTIES (mm,mm^2,mm^4,deg) |  |  |  |  |  |  | 78 |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| ------------------ |  |  |  |  |  |  | 79 |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  | 80 |  |  |  |  |  |  |  | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| Sect | Name |  |  | Mark |  |  | Shape |  |  |  | Source |  |  | 81 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 82 | G | 0.000 | 0.083 | 0.000 | 0.028 | 0.085 | 0.000 |
| 1 | Section 1 |  |  | S1 |  |  | Rect tube |  |  |  | User |  |  | 83 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 2 | SECTION 2 |  |  | S2 |  |  | Rect tube |  |  |  | User |  |  | 84 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 3 | SECTION 3 |  |  | S3 |  |  | Solid rect |  |  |  | User |  |  | 86 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 4 | SECTION 4 |  |  | S4 |  |  | Rect tube |  |  |  | User |  |  | 87 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 88 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  | Area of | Torsion |  |  | Y-Axis |  | Z-Axis Y-Axis |  |  |  | Z-Axis |  | Princ | 90 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| Sect Section Constant Mom of In Mom of In |  |  |  |  |  |  |  |  | Shr Area |  | Shr Area |  | Angle | 91 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 92 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 1 5.7804E+02 8.6449E+05 3.7898E+05 1.0309E+06 |  |  |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 93 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 2 3.7534E+02 1.2750E+05 6.0434E+04 1.2256E+05 |  |  |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 94 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 3 2.0000E+02 1.0129E+03 4.1667E+04 2.6667E+02 |  |  |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 95 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 4 9.9990E+02 2.4178E+06 2.5304E+06 1.1319E+06 |  |  |  |  |  |  |  |  | Infinite |  | Infinite |  | 0.00 | 96 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 97 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| Sect Shape Trans Mir Rotate D Bt/Bb Btw/Bbw |  |  |  |  |  |  |  |  |  |  | Tt/Tb |  | Tw/Rr | 98 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 99 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 1 | Rect tube | No |  | No | 0.00 115.00 |  |  | 60.00 |  | 0.00 | 0.00 |  | 1.70 | 100 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  | 0.00 |  | 0.00 | 0.00 |  | 1.00 | 101 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 2 | Rect tube | No |  | No | 0.00 50.00 |  |  | 32.00 |  | 0.00 | 0.00 |  | 2.50 | 102 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  | 0.00 |  | 0.00 | 0.00 |  | 1.00 | 103 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 3 | Solid rec | t No |  | No | 0.00 4.00 |  |  | 50.00 |  | 0.00 | 0.00 |  | 0.00 | 104 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  | 0.00 |  | 0.00 | 0.00 |  | 0.00 | 105 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 4 | Rect tube | No |  | No | 0.00 80.00 |  |  | 135.00 |  | 0.00 | 0.00 |  | 2.40 | 106 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  | 0.00 |  | 0.00 | 0.00 |  | 1.00 | 107 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 108 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 110 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| MATERIAL PROPERTIES (MPa,T/m^3,strain/degC) |  |  |  |  |  |  |  |  |  |  |  |  |  | 112 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| ------------------- |  |  |  |  |  |  |  |  |  |  |  |  |  | 114 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| Young's Poisson's Mass |  |  |  |  |  |  |  |  |  | Coeff of |  | Concrete |  | 116 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| Matl Material Name Modulus Ratio Density |  |  |  |  |  |  |  |  |  | Expansion |  | Strength |  | 118 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 120 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 1 ALUMINIUM |  |  | 6.2000E+04 |  |  | 0.36 2.7070E+00 |  |  |  | 2.340E-05 |  |  |  | 122 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 2 POLYCARBONATE |  |  | 2.4000E+03 |  |  | 0.37 1.2200E+00 |  |  |  | 6.700E-05 |  |  |  | 124 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 3 STEEL |  |  | 2.0000E+05 |  |  | 0.25 7.8500E+00 |  |  |  | 1.170E-05 |  |  |  | 125 | G | 0.000 | 0.000 | 0.000 | 0.005 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 126 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 127 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| MEMBER OFFSETS (m) |  |  |  |  |  |  |  |  |  |  |  |  |  | 128 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| -------------- |  |  |  |  |  |  |  |  |  |  |  |  |  | 129 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 130 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| Memb Axes Dxa |  |  | Dya |  |  | Dza Dxb |  |  |  | Dyb |  | Dzb |  | 131 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 132 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 1 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 133 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 2 | G | 0.000 | 0.083 |  | 0.000 |  |  | 0.000 |  | 0.083 |  | 0.000 |  | 134 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 3 | G | 0.000 | 0.083 |  | 0.000 |  |  | 0.000 |  | 0.083 |  | 0.000 |  | 135 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 4 | G | 0.000 | 0.083 |  | 0.000 |  |  | 0.000 |  | 0.083 |  | 0.000 |  | 136 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 5 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 137 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 6 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 138 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 7 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 139 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 8 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 140 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 9 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 141 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 10 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 142 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 11 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 143 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
| 12 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 144 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |
| 13 | G | 0.000 | 0.109 |  | 0.000 |  |  | 0.000 |  | 0.109 |  | 0.000 |  | 145 | G | 0.000 | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 146 | G | 0.000 | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |

| Memb | Axes | Dxa |  | Dya | Dza | Dxb | Dyb | Dzb | Load Case | Memb | Sub Load | Axes Sys | Start Position | Finish Position | X Start/ Finish | Y Start/ Finish | Z Start/ Finish |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 147 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 148 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 149 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 233 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |
| 150 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |
| 151 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 152 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 234 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |
| 153 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |
| 154 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 155 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 235 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |
| 156 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |
| 157 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 158 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 236 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |
| 159 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |
| 160 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 161 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 237 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |
| 162 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |
| 163 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 164 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 238 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |
| 165 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |
| 166 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 167 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 | 5 | 217 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 168 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 169 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 170 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 218 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 171 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 172 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 173 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 219 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 174 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 175 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 176 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 220 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 177 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 178 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 179 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 223 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 180 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 182 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 184 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 224 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 186 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 188 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 190 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 225 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 192 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 194 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 196 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 226 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 197 | G | 0.000 |  | 0.000 | 0.000 | 0.002 | 0.000 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 198 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 199 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 227 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 200 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 201 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 202 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 228 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 203 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 204 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 205 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 229 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 206 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 207 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 208 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 230 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 209 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 210 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 211 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  | 231 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 212 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 213 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  |  |  |  |
| 214 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  | 232 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 215 | G | 0.000 |  | 0.109 | 0.000 | 0.000 | 0.109 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 216 | G | 0.000 |  | 0.083 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  |  |  |  |
| 221 | G | 0.028 |  | 0.085 | 0.000 | 0.000 | 0.083 | 0.000 |  | 233 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 222 | G | 0.018 |  | 0.084 | 0.000 | 0.000 | 0.083 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 234 | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| NODE LOADS (kN,kNm) ---------- |  |  |  |  |  |  |  |  | 235 |  | 1 | GI | 0.000% | 100.000% | 0.008 0.008 | 0.000 0.000 | 0.000 0.000 |
| Load X-Axis |  |  |  | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| Case Node Force |  |  |  | Force | Force | Moment | Moment | Moment | 236 |  | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| 6 116 0.000 |  |  |  | -0.500 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| 118 0.000 |  |  |  | -0.500 | 0.000 | 0.000 | 0.000 | 0.000 | 237 |  | 1 | GI | 0.000% | 100.000% | 0.008 | 0.000 | 0.000 |
| MEMBER DISTRIBUTED FORCES |  |  |  | (m,kN/m) |  |  |  |  |  |  |  |  |  |  | 0.008 | 0.000 | 0.000 |
| ------------------------- 238 1 GI 0.000% 100.000% 0.008 0.000 0.000 0.008 0.000 0.000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Load |  | Sub | Axes | Start | Finish | X Start/ | Y Start/ | Z Start/ |  |  |  |  |  |  |  |  |  |
| Case | Memb | Load | Sys | Position | Position | Finish | Finish | Finish | 7 | 217 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
| 4 | 217 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 218 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 218 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 219 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 219 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 220 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 220 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 223 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 223 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 224 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 224 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 225 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 225 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 226 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 226 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 227 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 227 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 228 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 228 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 229 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 229 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 230 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 230 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 231 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 231 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  | 232 | 1 | GI | 0.000% | 100.000% | 0.000 | 0.000 | -0.003 |
|  | 232 | 1 | GI | 0.000% | 100.000% | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 0.005 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |

| Load Case | Memb | Sub Load | Axes Sys |  | Start Position |  | Finish Position |  | X Start/ Finish | Y Start/ Finish | Z Start/ Finish | Load Case | Axes Plate System | X Pressure | Y Pressure | Z Pressure |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 233 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.003 |  | 37 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 38 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 39 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 234 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.003 |  | 40 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 41 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 42 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 235 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.003 |  | 43 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 44 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 45 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 236 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.003 |  | 46 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 47 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 48 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 237 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.003 |  | 49 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 50 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 51 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 238 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.003 |  | 52 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.003 |  | 53 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 54 G-Incl | 0.000 | -0.030 | 0.000 |
| 8 | 217 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 55 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 56 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 57 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 218 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 58 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 59 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 60 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 219 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 61 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 62 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 63 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 220 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 64 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 65 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 66 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 223 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 67 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 68 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 69 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 224 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 70 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 71 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 72 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 225 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 73 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 74 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 75 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 226 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 76 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 77 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 78 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 227 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 79 G-Incl | 0.000 | -0.030 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 80 G-Incl | 0.000 | -0.030 | 0.000 |
|  | 228 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 | 3 | 1 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 2 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 3 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 229 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 4 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 5 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 6 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 230 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 7 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 8 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 9 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 231 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 10 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 11 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 12 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 232 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 13 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 14 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 15 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 233 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 16 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 17 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 18 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 234 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 19 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 20 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 21 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 235 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 22 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 23 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 24 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 236 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 25 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 26 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 27 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 237 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 28 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 29 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 30 G-Incl | 0.000 | -0.050 | 0.000 |
|  | 238 | 1 | GI |  | 0.000% |  | 100.000% |  | 0.000 | 0.000 | -0.005 |  | 31 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | -0.005 |  | 32 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 33 G-Incl | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 34 G-Incl | 0.000 | -0.050 | 0.000 |
| PLATE PRESSURE LOADS |  |  |  | (kPa) |  |  |  |  |  | 35 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| -------------------- |  |  |  |  |  |  |  |  |  | 36 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 37 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| Load Axes |  |  |  | X |  | Y |  | Z |  | 38 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| Case Plate System |  |  |  | Pressure |  | Pressure |  | Pressure |  | 39 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
|  |  |  |  |  |  |  |  |  |  | 40 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 2 1 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 41 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 2 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 42 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 3 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 43 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 4 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 44 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 5 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 45 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 6 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 46 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 7 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 47 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 8 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 48 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 9 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 49 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 10 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 50 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 11 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 51 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 12 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 52 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 13 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 53 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 14 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 54 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 15 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 55 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 16 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 56 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 17 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 57 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 18 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 58 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 19 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 59 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 20 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 60 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 21 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 61 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 22 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 62 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 23 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 63 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 24 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 64 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 25 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 65 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 26 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 66 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 27 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 67 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 28 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 68 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 29 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 69 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 30 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 70 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 31 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 71 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 32 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 72 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 33 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 73 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 34 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 74 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 35 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 75 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |
| 36 G-Incl |  |  |  | 0.000 |  | -0.030 |  | 0.000 |  | 76 G-Incl |  |  |  | 0.000 | -0.050 | 0.000 |

| Load Axes X Y Case Plate System Pressure Pressure |  |  |  | Z Pressure |  | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 77 G-Incl 0.000 -0.050 |  |  |  | 0.000 |  | 30 | 0.596 | -3.043 | -0.003 | 0.001 | 0.000 | 0.002 |
| 78 G-Incl 0.000 -0.050 |  |  |  | 0.000 |  | 31 | 0.500 | -1.952 | -0.019 | 0.002 | 0.000 | 0.001 |
| 79 G-Incl 0.000 -0.050 |  |  |  | 0.000 |  | 32 | 0.387 | -0.822 | 0.003 | 0.001 | 0.000 | 0.001 |
| 80 G-Incl 0.000 -0.050 |  |  |  | 0.000 |  | 33 | 0.300 | -0.053 | 0.038 | 0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 34 | -0.067 | -0.017 | 0.134 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 35 | 0.058 | -0.677 | 0.137 | -0.001 | 0.000 | 0.000 |
| SELF WEIGHT (g's) |  |  |  |  |  | 36 | 0.228 | -1.711 | 0.141 | -0.002 | 0.000 | 0.001 |
| ----------- |  |  |  |  |  | 37 | 0.384 | -2.765 | 0.132 | -0.002 | 0.000 | 0.001 |
|  |  |  |  |  |  | 38 | 0.501 | -3.513 | 0.112 | -0.001 | 0.000 | 0.001 |
| Load X-Axis Y-Axis Z-Axis |  |  |  |  |  | 39 | 0.565 | -3.787 | 0.086 | 0.000 | 0.000 | 0.001 |
| Case Accel'n Accel'n Accel'n |  |  |  |  |  | 40 | 0.571 | -3.537 | 0.061 | 0.001 | 0.000 | 0.001 |
|  |  |  |  |  |  | 41 | 0.524 | -2.811 | 0.040 | 0.001 | 0.000 | 0.001 |
| 1 0.000 -1.000 0.000 |  |  |  |  |  | 42 | 0.436 | -1.766 | 0.030 | 0.002 | 0.000 | 0.001 |
|  |  |  |  |  |  | 43 | 0.331 | -0.718 | 0.033 | 0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 44 | -0.203 | -0.020 | 0.642 | 0.000 | 0.000 | 0.000 |
| COMBINATION LOAD CASES |  |  |  |  |  | 45 | -0.093 | -0.097 | 0.187 | -0.001 | 0.000 | 0.000 |
| ---------------------- |  |  |  |  |  | 46 | 0.004 | -0.715 | 0.228 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 47 | 0.133 | -1.568 | 0.271 | -0.002 | 0.000 | 0.000 |
| Load case 10: COMB 1 (1) |  |  |  |  |  | 48 | 0.265 | -2.537 | 0.251 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 49 | 0.370 | -3.245 | 0.197 | -0.001 | 0.000 | 0.000 |
| 1.000 * Load case 1: SELF WEIGHT |  |  |  |  |  | 50 | 0.431 | -3.510 | 0.130 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  | 51 | 0.441 | -3.276 | 0.062 | 0.001 | 0.000 | 0.000 |
| Load case 20: COMB 2 (1+2+4) |  |  |  |  |  | 52 | 0.407 | -2.597 | 0.007 | 0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 53 | 0.345 | -1.648 | -0.016 | 0.002 | 0.000 | 0.000 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  |  |  | 54 | 0.290 | -0.795 | 0.021 | 0.001 | 0.000 | 0.000 |
| 0.750 * Load case 2: WIND PL (S) |  |  |  |  |  | 55 | 0.261 | -0.147 | 0.055 | 0.001 | 0.000 | 0.000 |
| 0.750 * Load case 4: WIND COLS MINOR (S) |  |  |  |  |  | 56 | -0.064 | -0.188 | 0.258 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 57 | 0.034 | -0.827 | 0.289 | -0.001 | 0.000 | 0.000 |
| Load case 30: COMB 3 (1+3+5+6) |  |  |  |  |  | 58 | 0.147 | -1.646 | 0.332 | -0.002 | 0.000 | 0.000 |
|  |  |  |  |  |  | 59 | 0.276 | -2.617 | 0.310 | -0.001 | 0.000 | 0.000 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  |  |  | 60 | 0.381 | -3.332 | 0.249 | -0.001 | 0.000 | 0.000 |
| 0.750 * Load case 3: WIND PL (U) |  |  |  |  |  | 61 | 0.441 | -3.601 | 0.172 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 5: WIND COLS MINOR (U) |  |  |  |  |  | 62 | 0.453 | -3.370 | 0.094 | 0.001 | 0.000 | 0.000 |
| 1.000 * Load case 6: POINT LOAD |  |  |  |  |  | 63 | 0.420 | -2.687 | 0.031 | 0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 64 | 0.363 | -1.734 | 0.006 | 0.002 | 0.000 | 0.000 |
| Load case 40: COMB 4 (1+6) |  |  |  |  |  | 65 | 0.322 | -0.896 | 0.042 | 0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 66 | 0.292 | -0.204 | 0.069 | 0.001 | 0.000 | 0.000 |
| 1.000 * Load case 1: SELF WEIGHT |  |  |  |  |  | 67 | -0.058 | -0.085 | 0.275 | -0.001 | 0.000 | 0.000 |
| 1.000 * Load case 6: POINT LOAD |  |  |  |  |  | 68 | 0.039 | -0.728 | 0.320 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 69 | 0.147 | -1.603 | 0.366 | -0.002 | 0.000 | 0.000 |
| Load case 50: COMB 5 (1+2+7+6) |  |  |  |  |  | 70 | 0.277 | -2.603 | 0.344 | -0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 71 | 0.383 | -3.335 | 0.286 | -0.001 | 0.000 | 0.000 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  |  |  | 72 | 0.444 | -3.612 | 0.213 | 0.000 | 0.000 | 0.000 |
| 0.750 * Load case 2: WIND PL (S) |  |  |  |  |  | 73 | 0.455 | -3.377 | 0.140 | 0.001 | 0.000 | 0.000 |
| 1.000 * Load case 6: POINT LOAD |  |  |  |  |  | 74 | 0.422 | -2.677 | 0.082 | 0.001 | 0.000 | 0.000 |
| 0.750 * Load case 7: WIND COLS MAJOR (S) |  |  |  |  |  | 75 | 0.362 | -1.688 | 0.057 | 0.002 | 0.000 | 0.000 |
|  |  |  |  |  |  | 76 | 0.323 | -0.775 | 0.095 | 0.001 | 0.000 | 0.000 |
| Load case 60: COMB 6 (1+3+6+8) |  |  |  |  |  | 77 | 0.291 | -0.060 | 0.138 | 0.001 | 0.000 | 0.000 |
|  |  |  |  |  |  | 78 | -0.103 | -0.021 | 0.304 | -0.001 | 0.000 | 0.000 |
| 0.750 * Load case 1: SELF WEIGHT |  |  |  |  |  | 79 | -0.024 | -0.742 | 0.307 | -0.001 | 0.000 | -0.001 |
| 0.750 * Load case 3: WIND PL (U) |  |  |  |  |  | 80 | 0.082 | -1.828 | 0.309 | -0.002 | 0.000 | -0.001 |
| 1.000 * Load case 6: POINT LOAD |  |  |  |  |  | 81 | 0.212 | -2.916 | 0.299 | -0.002 | 0.000 | -0.001 |
| 0.750 * Load case 8: WIND COLS MAJOR (U) |  |  |  |  |  | 82 | 0.319 | -3.685 | 0.278 | -0.001 | 0.000 | -0.001 |
|  |  |  |  |  |  | 83 | 0.381 | -3.972 | 0.252 | 0.000 | 0.000 | -0.001 |
| Load case 70: COMB 7 (1+3+8) |  |  |  |  |  | 84 | 0.392 | -3.727 | 0.226 | 0.001 | 0.000 | -0.001 |
|  |  |  |  |  |  | 85 | 0.357 | -2.992 | 0.205 | 0.002 | 0.000 | -0.001 |
| 1.000 * Load case 1: SELF WEIGHT |  |  |  |  |  | 86 | 0.295 | -1.917 | 0.195 | 0.002 | 0.000 | -0.001 |
| 1.000 * Load case 3: WIND PL (U) |  |  |  |  |  | 87 | 0.254 | -0.803 | 0.199 | 0.002 | 0.000 | -0.001 |
| 1.000 * Load case 8: WIND COLS MAJOR (U) |  |  |  |  |  | 88 | -0.213 | -0.015 | 0.683 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  | 89 | -0.258 | -5.080 | -0.909 | 0.010 | 0.000 | -0.001 |
|  |  |  |  |  |  | 90 | -0.067 | -0.902 | 0.326 | -0.001 | 0.000 | -0.001 |
| LOAD CASE TITLES |  |  |  |  |  | 91 | 0.055 | -2.058 | 0.342 | -0.001 | -0.001 | -0.002 |
| ---------------- |  |  |  |  |  | 92 | 0.193 | -3.176 | 0.328 | -0.001 | 0.000 | -0.002 |
|  |  |  |  |  |  | 93 | 0.303 | -3.956 | 0.299 | -0.001 | 0.000 | -0.002 |
| Load |  |  |  |  |  | 94 | 0.366 | -4.247 | 0.262 | 0.000 | 0.000 | -0.002 |
| Case Title |  |  |  |  |  | 95 | 0.376 | -3.999 | 0.224 | 0.001 | 0.000 | -0.002 |
|  |  |  |  |  |  | 96 | 0.337 | -3.253 | 0.194 | 0.001 | 0.000 | -0.002 |
| 1 SELF WEIGHT |  |  |  |  |  | 97 | 0.269 | -2.153 | 0.176 | 0.001 | 0.000 | -0.002 |
| 2 WIND PL (S) |  |  |  |  |  | 98 | 0.168 | -2.782 | 0.118 | 0.002 | 0.000 | -0.001 |
| 3 WIND PL (U) |  |  |  |  |  | 99 | 0.192 | -0.133 | 0.195 | 0.001 | 0.000 | -0.001 |
| 4 WIND COLS MINOR (S) |  |  |  |  |  | 100 | 0.209 | -1.002 | 0.201 | 0.002 | 0.000 | -0.001 |
| 5 WIND COLS MINOR (U) |  |  |  |  |  | 101 | -0.152 | -0.866 | 0.411 | -0.002 | 0.000 | -0.002 |
| 6 POINT LOAD |  |  |  |  |  | 102 | -0.059 | -1.914 | 0.437 | -0.002 | 0.000 | -0.002 |
| 7 WIND COLS MAJOR (S) |  |  |  |  |  | 103 | 0.094 | -3.199 | 0.451 | -0.002 | 0.000 | -0.003 |
| 8 WIND COLS MAJOR (U) |  |  |  |  |  | 104 | 0.245 | -4.367 | 0.420 | -0.001 | 0.000 | -0.003 |
| 10 COMB 1 (1) |  |  |  |  |  | 105 | 0.360 | -5.170 | 0.364 | -0.001 | 0.000 | -0.003 |
| 20 COMB 2 (1+2+4) |  |  |  |  |  | 106 | 0.424 | -5.469 | 0.296 | 0.000 | 0.000 | -0.003 |
| 30 COMB 3 (1+3+5+6) |  |  |  |  |  | 107 | 0.433 | -5.218 | 0.227 | 0.001 | 0.000 | -0.003 |
| 40 COMB 4 (1+6) |  |  |  |  |  | 108 | 0.390 | -4.456 | 0.171 | 0.001 | 0.000 | -0.003 |
| 50 COMB 5 (1+2+7+6) |  |  |  |  |  | 109 | 0.308 | -3.314 | 0.136 | 0.002 | 0.000 | -0.003 |
| 60 COMB 6 (1+3+6+8) |  |  |  |  |  | 110 | 0.225 | -2.025 | 0.138 | 0.002 | 0.000 | -0.002 |
| 70 COMB 7 (1+3+8) |  |  |  |  |  | 111 | 0.195 | -0.939 | 0.166 | 0.002 | 0.000 | -0.002 |
|  |  |  |  |  |  | 112 | -0.034 | -2.408 | 0.525 | -0.002 | 0.000 | -0.002 |
|  |  |  |  |  |  | 113 | 0.105 | -3.778 | 0.529 | -0.002 | 0.000 | -0.003 |
| NODE DISPLACEMENTS (mm,rad) |  |  |  |  |  | 114 | 0.272 | -5.137 | 0.518 | -0.002 | 0.000 | -0.003 |
| ------------------ |  |  |  |  |  | 115 | 0.430 | -6.320 | 0.479 | -0.002 | 0.000 | -0.003 |
|  |  |  |  |  |  | 116 | 0.548 | -7.134 | 0.415 | -0.001 | 0.000 | -0.003 |
| Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  | 117 | 0.614 | -7.442 | 0.337 | 0.000 | 0.000 | -0.003 |
|  |  |  |  |  |  | 118 | 0.622 | -7.192 | 0.259 | 0.001 | 0.000 | -0.003 |
| X-Axis Y-Axis Z-Axis |  |  |  | X-Axis Y-Axis | Z-Axis | 119 | 0.577 | -6.430 | 0.194 | 0.002 | 0.000 | -0.003 |
| Node Transl'n Transl'n Transl'n |  |  |  | Rotation Rotation | Rotation | 120 | 0.491 | -5.282 | 0.152 | 0.002 | 0.000 | -0.003 |
|  |  |  |  |  |  | 121 | 0.394 | -3.934 | 0.137 | 0.002 | 0.000 | -0.003 |
| 1 0.181 -1.459 0.126 |  |  |  | -0.001 0.000 | 0.001 | 122 | 0.322 | -2.551 | 0.140 | 0.002 | 0.000 | -0.002 |
| 2 0.426 -2.892 0.167 |  |  |  | -0.002 0.000 | 0.002 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 0.664 -4.552 0.195 |  |  |  | -0.002 0.000 | 0.002 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 0.874 -6.045 0.158 |  |  |  | -0.001 0.000 | 0.003 | 125 | 0.236 | -0.018 | 0.202 | 0.001 | 0.000 | 0.000 |
| 5 1.020 -7.026 0.089 |  |  |  | -0.001 0.000 | 0.003 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 1.093 -7.367 0.006 |  |  |  | 0.000 0.000 | 0.003 | 127 | 0.267 | -0.016 | 0.037 | 0.001 | 0.000 | 0.000 |
| 7 1.088 -7.031 -0.077 |  |  |  | 0.001 0.000 | 0.003 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 1.008 -6.044 -0.147 |  |  |  | 0.001 0.000 | 0.003 | 129 | -0.138 | -0.010 | 0.446 | 0.001 | 0.000 | 0.000 |
| 9 0.862 -4.521 -0.186 |  |  |  | 0.002 0.000 | 0.002 | 130 | -0.045 | -0.005 | 0.147 | 0.000 | 0.000 | 0.000 |
| 10 0.685 -2.792 -0.168 |  |  |  | 0.002 0.000 | 0.002 | 131 | 0.004 | -0.015 | 0.385 | 0.000 | 0.000 | 0.000 |
| 11 0.490 -1.219 -0.139 |  |  |  | 0.001 0.000 | 0.001 | 132 | 0.037 | -0.012 | 0.433 | 0.000 | 0.000 | 0.000 |
| 12 0.074 -0.568 0.120 |  |  |  | -0.001 0.000 | 0.001 | 133 | 0.032 | -0.008 | 0.288 | 0.000 | 0.000 | 0.000 |
| 13 0.262 -1.550 0.170 |  |  |  | -0.001 0.000 | 0.002 | 134 | 0.012 | -0.004 | 0.096 | 0.000 | 0.000 | 0.000 |
| 14 0.468 -2.889 0.202 |  |  |  | -0.002 0.000 | 0.002 | 135 | 0.095 | -0.016 | -0.156 | 0.001 | 0.000 | 0.000 |
| 15 0.654 -4.144 0.173 |  |  |  | -0.001 0.000 | 0.003 | 136 | 0.010 | -0.012 | -0.299 | 0.000 | 0.000 | 0.000 |
| 16 0.786 -4.994 0.116 |  |  |  | -0.001 0.000 | 0.003 | 137 | -0.015 | -0.008 | -0.226 | 0.000 | 0.000 | 0.000 |
| 17 0.855 -5.298 0.047 |  |  |  | 0.000 0.000 | 0.003 | 138 | -0.009 | -0.004 | -0.080 | 0.000 | 0.000 | 0.000 |
| 18 0.855 -5.010 -0.022 |  |  |  | 0.001 0.000 | 0.003 | 139 | 0.260 | -0.015 | -0.255 | 0.001 | 0.000 | 0.000 |
| 19 0.790 -4.168 -0.080 |  |  |  | 0.001 0.000 | 0.002 | 140 | 0.208 | -0.012 | -0.347 | 0.000 | 0.000 | 0.000 |
| 20 0.671 -2.903 -0.110 |  |  |  | 0.002 0.000 | 0.002 | 141 | 0.120 | -0.008 | -0.245 | 0.000 | 0.000 | 0.000 |
| 21 0.528 -1.517 -0.086 |  |  |  | 0.002 0.000 | 0.002 | 142 | 0.037 | -0.004 | -0.084 | 0.000 | 0.000 | 0.000 |
| 22 0.394 -0.448 -0.048 |  |  |  | 0.001 0.000 | 0.001 |  |  |  |  |  |  |  |
| 23 | 0.071 | -5.018 | -1.097 | 0.010 0.000 | 0.001 | Load case 2 (Linear): WIND PL |  |  | (S) |  |  |  |
| 24 | 0.116 | -0.800 | 0.137 | -0.001 0.000 | 0.001 |  |  |  |  |  |  |  |
| 25 | 0.294 | -1.907 | 0.168 | -0.002 0.000 | 0.001 | X-Axis Y-Axis |  |  | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 0.457 | -3.003 | 0.154 | -0.001 0.000 | 0.002 | Node Transl'n Transl'n |  |  | Transl'n | Rotation | Rotation | Rotation |
| 27 | 0.577 | -3.771 | 0.120 | -0.001 0.000 | 0.002 |  |  |  |  |  |  |  |
| 28 | 0.642 | -4.052 | 0.076 | 0.000 0.000 | 0.002 | 1 0.034 -0.673 |  |  | 0.084 | -0.001 | 0.000 | 0.001 |
| 29 | 0.647 | -3.794 | 0.033 | 0.001 0.000 | 0.002 | 2 0.184 -1.554 |  |  | 0.097 | -0.001 | 0.000 | 0.001 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | 0.310 | -2.439 | 0.108 | -0.001 | 0.000 | 0.001 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 0.419 | -3.229 | 0.088 | -0.001 | 0.000 | 0.001 | 125 | 0.080 | -0.008 | 0.105 | 0.000 | 0.000 | 0.000 |
| 5 | 0.496 | -3.755 | 0.051 | 0.000 | 0.000 | 0.002 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 0.534 | -3.939 | 0.005 | 0.000 | 0.000 | 0.002 | 127 | 0.093 | -0.008 | 0.019 | 0.000 | 0.000 | 0.000 |
| 7 | 0.530 | -3.759 | -0.041 | 0.000 | 0.000 | 0.002 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.487 | -3.232 | -0.079 | 0.001 | 0.000 | 0.001 | 129 | -0.066 | -0.004 | 0.233 | 0.000 | 0.000 | 0.000 |
| 9 | 0.411 | -2.427 | -0.100 | 0.001 | 0.000 | 0.001 | 130 | -0.021 | -0.002 | 0.077 | 0.000 | 0.000 | 0.000 |
| 10 | 0.318 | -1.510 | -0.091 | 0.001 | 0.000 | 0.001 | 131 | -0.034 | -0.007 | 0.212 | 0.000 | 0.000 | 0.000 |
| 11 | 0.192 | -0.555 | -0.087 | 0.001 | 0.000 | 0.001 | 132 | -0.007 | -0.005 | 0.238 | 0.000 | 0.000 | 0.000 |
| 12 | -0.014 | -0.269 | 0.076 | -0.001 | 0.000 | 0.001 | 133 | 0.002 | -0.004 | 0.159 | 0.000 | 0.000 | 0.000 |
| 13 | 0.099 | -0.840 | 0.097 | -0.001 | 0.000 | 0.001 | 134 | 0.002 | -0.002 | 0.053 | 0.000 | 0.000 | 0.000 |
| 14 | 0.208 | -1.561 | 0.111 | -0.001 | 0.000 | 0.001 | 135 | 0.030 | -0.007 | -0.082 | 0.000 | 0.000 | 0.000 |
| 15 | 0.305 | -2.238 | 0.095 | -0.001 | 0.000 | 0.001 | 136 | 0.001 | -0.005 | -0.156 | 0.000 | 0.000 | 0.000 |
| 16 | 0.375 | -2.701 | 0.064 | 0.000 | 0.000 | 0.001 | 137 | -0.007 | -0.004 | -0.118 | 0.000 | 0.000 | 0.000 |
| 17 | 0.411 | -2.867 | 0.026 | 0.000 | 0.000 | 0.001 | 138 | -0.004 | -0.002 | -0.042 | 0.000 | 0.000 | 0.000 |
| 18 | 0.410 | -2.710 | -0.012 | 0.000 | 0.000 | 0.001 | 139 | 0.097 | -0.007 | -0.142 | 0.000 | 0.000 | 0.000 |
| 19 | 0.375 | -2.252 | -0.043 | 0.001 | 0.000 | 0.001 | 140 | 0.081 | -0.005 | -0.193 | 0.000 | 0.000 | 0.000 |
| 20 | 0.311 | -1.571 | -0.060 | 0.001 | 0.000 | 0.001 | 141 | 0.048 | -0.004 | -0.136 | 0.000 | 0.000 | 0.000 |
| 21 | 0.235 | -0.828 | -0.047 | 0.001 | 0.000 | 0.001 | 142 | 0.015 | -0.002 | -0.046 | 0.000 | 0.000 | 0.000 |
| 22 | 0.150 | -0.209 | -0.035 | 0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 23 | -0.011 | 0.010 | 0.078 | -0.001 | 0.000 | 0.001 | Load case 3 (Linear): WIND PL (U) |  |  |  |  |  |  |
| 24 | 0.019 | -0.437 | 0.077 | -0.001 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 25 | 0.113 | -1.044 | 0.092 | -0.001 | 0.000 | 0.001 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 0.199 | -1.648 | 0.084 | -0.001 | 0.000 | 0.001 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 27 | 0.263 | -2.072 | 0.065 | 0.000 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 28 | 0.297 | -2.227 | 0.041 | 0.000 | 0.000 | 0.001 | 1 | 0.057 | -1.122 | 0.140 | -0.001 | 0.000 | 0.001 |
| 29 | 0.299 | -2.085 | 0.017 | 0.000 | 0.000 | 0.001 | 2 | 0.307 | -2.590 | 0.161 | -0.001 | 0.000 | 0.002 |
| 30 | 0.270 | -1.670 | -0.003 | 0.001 | 0.000 | 0.001 | 3 | 0.517 | -4.065 | 0.180 | -0.002 | 0.000 | 0.002 |
| 31 | 0.219 | -1.069 | -0.012 | 0.001 | 0.000 | 0.001 | 4 | 0.698 | -5.382 | 0.147 | -0.001 | 0.000 | 0.002 |
| 32 | 0.158 | -0.450 | 0.000 | 0.001 | 0.000 | 0.000 | 5 | 0.826 | -6.258 | 0.085 | -0.001 | 0.000 | 0.003 |
| 33 | 0.107 | -0.027 | 0.018 | 0.001 | 0.000 | 0.000 | 6 | 0.889 | -6.565 | 0.009 | 0.000 | 0.000 | 0.003 |
| 34 | -0.078 | -0.008 | 0.072 | 0.000 | 0.000 | 0.000 | 7 | 0.884 | -6.265 | -0.068 | 0.001 | 0.000 | 0.003 |
| 35 | -0.012 | -0.373 | 0.074 | -0.001 | 0.000 | 0.000 | 8 | 0.812 | -5.387 | -0.131 | 0.001 | 0.000 | 0.002 |
| 36 | 0.077 | -0.947 | 0.077 | -0.001 | 0.000 | 0.000 | 9 | 0.686 | -4.045 | -0.166 | 0.002 | 0.000 | 0.002 |
| 37 | 0.160 | -1.533 | 0.071 | -0.001 | 0.000 | 0.000 | 10 | 0.530 | -2.516 | -0.152 | 0.002 | 0.000 | 0.002 |
| 38 | 0.223 | -1.947 | 0.060 | 0.000 | 0.000 | 0.001 | 11 | 0.320 | -0.924 | -0.144 | 0.001 | 0.000 | 0.001 |
| 39 | 0.256 | -2.100 | 0.046 | 0.000 | 0.000 | 0.001 | 12 | -0.024 | -0.448 | 0.127 | -0.001 | 0.000 | 0.001 |
| 40 | 0.258 | -1.961 | 0.032 | 0.000 | 0.000 | 0.001 | 13 | 0.165 | -1.401 | 0.161 | -0.001 | 0.000 | 0.002 |
| 41 | 0.232 | -1.557 | 0.021 | 0.001 | 0.000 | 0.000 | 14 | 0.346 | -2.601 | 0.185 | -0.002 | 0.000 | 0.002 |
| 42 | 0.183 | -0.977 | 0.015 | 0.001 | 0.000 | 0.000 | 15 | 0.508 | -3.730 | 0.159 | -0.001 | 0.000 | 0.002 |
| 43 | 0.128 | -0.396 | 0.017 | 0.001 | 0.000 | 0.000 | 16 | 0.625 | -4.501 | 0.107 | -0.001 | 0.000 | 0.002 |
| 44 | -0.118 | -0.009 | 0.335 | 0.000 | 0.000 | 0.000 | 17 | 0.684 | -4.778 | 0.043 | 0.000 | 0.000 | 0.002 |
| 45 | -0.093 | -0.040 | 0.111 | -0.001 | 0.000 | 0.000 | 18 | 0.683 | -4.516 | -0.020 | 0.001 | 0.000 | 0.002 |
| 46 | -0.041 | -0.436 | 0.124 | -0.001 | 0.000 | 0.000 | 19 | 0.624 | -3.754 | -0.072 | 0.001 | 0.000 | 0.002 |
| 47 | 0.030 | -0.934 | 0.147 | -0.001 | 0.000 | 0.000 | 20 | 0.519 | -2.618 | -0.099 | 0.002 | 0.000 | 0.002 |
| 48 | 0.103 | -1.484 | 0.135 | -0.001 | 0.000 | 0.000 | 21 | 0.392 | -1.380 | -0.079 | 0.001 | 0.000 | 0.001 |
| 49 | 0.160 | -1.882 | 0.106 | 0.000 | 0.000 | 0.000 | 22 | 0.250 | -0.348 | -0.059 | 0.001 | 0.000 | 0.001 |
| 50 | 0.192 | -2.030 | 0.068 | 0.000 | 0.000 | 0.000 | 23 | -0.019 | 0.016 | 0.129 | -0.001 | 0.000 | 0.001 |
| 51 | 0.196 | -1.898 | 0.031 | 0.000 | 0.000 | 0.000 | 24 | 0.032 | -0.728 | 0.129 | -0.001 | 0.000 | 0.001 |
| 52 | 0.175 | -1.515 | 0.001 | 0.001 | 0.000 | 0.000 | 25 | 0.189 | -1.740 | 0.153 | -0.001 | 0.000 | 0.001 |
| 53 | 0.138 | -0.976 | -0.012 | 0.001 | 0.000 | 0.000 | 26 | 0.332 | -2.746 | 0.140 | -0.001 | 0.000 | 0.001 |
| 54 | 0.104 | -0.477 | 0.007 | 0.001 | 0.000 | 0.000 | 27 | 0.439 | -3.453 | 0.108 | -0.001 | 0.000 | 0.001 |
| 55 | 0.088 | -0.065 | 0.017 | 0.001 | 0.000 | 0.000 | 28 | 0.496 | -3.712 | 0.068 | 0.000 | 0.000 | 0.001 |
| 56 | -0.080 | -0.091 | 0.152 | -0.001 | 0.000 | 0.000 | 29 | 0.498 | -3.474 | 0.028 | 0.001 | 0.000 | 0.001 |
| 57 | -0.017 | -0.531 | 0.156 | -0.001 | 0.000 | 0.000 | 30 | 0.450 | -2.783 | -0.005 | 0.001 | 0.000 | 0.001 |
| 58 | 0.049 | -1.014 | 0.179 | -0.001 | 0.000 | 0.000 | 31 | 0.364 | -1.782 | -0.019 | 0.001 | 0.000 | 0.001 |
| 59 | 0.121 | -1.563 | 0.166 | -0.001 | 0.000 | 0.000 | 32 | 0.264 | -0.750 | 0.000 | 0.001 | 0.000 | 0.001 |
| 60 | 0.179 | -1.962 | 0.133 | 0.000 | 0.000 | 0.000 | 33 | 0.179 | -0.044 | 0.030 | 0.001 | 0.000 | 0.000 |
| 61 | 0.211 | -2.111 | 0.090 | 0.000 | 0.000 | 0.000 | 34 | -0.130 | -0.013 | 0.121 | -0.001 | 0.000 | 0.000 |
| 62 | 0.216 | -1.982 | 0.047 | 0.000 | 0.000 | 0.000 | 35 | -0.020 | -0.622 | 0.124 | -0.001 | 0.000 | 0.000 |
| 63 | 0.195 | -1.600 | 0.013 | 0.001 | 0.000 | 0.000 | 36 | 0.129 | -1.579 | 0.128 | -0.002 | 0.000 | 0.001 |
| 64 | 0.159 | -1.060 | -0.002 | 0.001 | 0.000 | 0.000 | 37 | 0.267 | -2.554 | 0.119 | -0.001 | 0.000 | 0.001 |
| 65 | 0.130 | -0.566 | 0.017 | 0.001 | 0.000 | 0.000 | 38 | 0.371 | -3.246 | 0.100 | -0.001 | 0.000 | 0.001 |
| 66 | 0.102 | -0.098 | 0.019 | 0.001 | 0.000 | 0.000 | 39 | 0.427 | -3.500 | 0.077 | 0.000 | 0.000 | 0.001 |
| 67 | -0.075 | -0.051 | 0.156 | -0.001 | 0.000 | 0.000 | 40 | 0.431 | -3.268 | 0.053 | 0.001 | 0.000 | 0.001 |
| 68 | -0.009 | -0.452 | 0.170 | -0.001 | 0.000 | 0.000 | 41 | 0.386 | -2.595 | 0.034 | 0.001 | 0.000 | 0.001 |
| 69 | 0.055 | -0.949 | 0.194 | -0.001 | 0.000 | 0.000 | 42 | 0.306 | -1.628 | 0.025 | 0.002 | 0.000 | 0.001 |
| 70 | 0.128 | -1.500 | 0.182 | -0.001 | 0.000 | 0.000 | 43 | 0.213 | -0.659 | 0.028 | 0.001 | 0.000 | 0.000 |
| 71 | 0.186 | -1.899 | 0.150 | 0.000 | 0.000 | 0.000 | 44 | -0.197 | -0.014 | 0.558 | 0.000 | 0.000 | 0.000 |
| 72 | 0.219 | -2.049 | 0.111 | 0.000 | 0.000 | 0.000 | 45 | -0.154 | -0.067 | 0.185 | -0.001 | 0.000 | 0.000 |
| 73 | 0.223 | -1.920 | 0.072 | 0.000 | 0.000 | 0.000 | 46 | -0.069 | -0.727 | 0.206 | -0.001 | 0.000 | 0.000 |
| 74 | 0.202 | -1.539 | 0.040 | 0.001 | 0.000 | 0.000 | 47 | 0.049 | -1.556 | 0.245 | -0.002 | 0.000 | 0.000 |
| 75 | 0.165 | -0.994 | 0.026 | 0.001 | 0.000 | 0.000 | 48 | 0.171 | -2.473 | 0.226 | -0.001 | 0.000 | 0.000 |
| 76 | 0.136 | -0.477 | 0.046 | 0.001 | 0.000 | 0.000 | 49 | 0.267 | -3.136 | 0.176 | -0.001 | 0.000 | 0.000 |
| 77 | 0.103 | -0.039 | 0.059 | 0.001 | 0.000 | 0.000 | 50 | 0.320 | -3.383 | 0.114 | 0.000 | 0.000 | 0.000 |
| 78 | -0.093 | -0.009 | 0.158 | 0.000 | 0.000 | 0.000 | 51 | 0.327 | -3.164 | 0.051 | 0.001 | 0.000 | 0.000 |
| 79 | -0.048 | -0.385 | 0.160 | -0.001 | 0.000 | 0.000 | 52 | 0.291 | -2.526 | 0.001 | 0.001 | 0.000 | 0.000 |
| 80 | 0.013 | -0.955 | 0.161 | -0.001 | 0.000 | 0.000 | 53 | 0.230 | -1.626 | -0.021 | 0.001 | 0.000 | 0.000 |
| 81 | 0.085 | -1.527 | 0.156 | -0.001 | 0.000 | 0.000 | 54 | 0.174 | -0.795 | 0.012 | 0.001 | 0.000 | 0.000 |
| 82 | 0.143 | -1.932 | 0.145 | 0.000 | 0.000 | 0.000 | 55 | 0.146 | -0.108 | 0.028 | 0.001 | 0.000 | 0.000 |
| 83 | 0.176 | -2.083 | 0.131 | 0.000 | 0.000 | 0.000 | 56 | -0.133 | -0.151 | 0.254 | -0.001 | 0.000 | 0.000 |
| 84 | 0.180 | -1.954 | 0.117 | 0.000 | 0.000 | 0.000 | 57 | -0.028 | -0.885 | 0.261 | -0.001 | 0.000 | 0.000 |
| 85 | 0.159 | -1.567 | 0.106 | 0.001 | 0.000 | 0.000 | 58 | 0.082 | -1.690 | 0.298 | -0.002 | 0.000 | 0.000 |
| 86 | 0.122 | -1.002 | 0.101 | 0.001 | 0.000 | 0.000 | 59 | 0.202 | -2.605 | 0.277 | -0.001 | 0.000 | 0.000 |
| 87 | 0.094 | -0.418 | 0.103 | 0.001 | 0.000 | 0.000 | 60 | 0.298 | -3.270 | 0.221 | -0.001 | 0.000 | 0.000 |
| 88 | -0.108 | -0.006 | 0.356 | 0.000 | 0.000 | 0.000 | 61 | 0.352 | -3.519 | 0.150 | 0.000 | 0.000 | 0.000 |
| 89 | -0.176 | -0.008 | 0.171 | -0.001 | 0.000 | -0.001 | 62 | 0.360 | -3.303 | 0.079 | 0.001 | 0.000 | 0.000 |
| 90 | -0.070 | -0.447 | 0.172 | -0.001 | 0.000 | -0.001 | 63 | 0.325 | -2.667 | 0.021 | 0.001 | 0.000 | 0.000 |
| 91 | -0.002 | -1.043 | 0.178 | -0.001 | 0.000 | -0.001 | 64 | 0.265 | -1.767 | -0.003 | 0.002 | 0.000 | 0.000 |
| 92 | 0.072 | -1.624 | 0.171 | -0.001 | 0.000 | -0.001 | 65 | 0.217 | -0.944 | 0.028 | 0.001 | 0.000 | 0.000 |
| 93 | 0.131 | -2.031 | 0.155 | 0.000 | 0.000 | -0.001 | 66 | 0.170 | -0.164 | 0.031 | 0.001 | 0.000 | 0.000 |
| 94 | 0.164 | -2.183 | 0.136 | 0.000 | 0.000 | -0.001 | 67 | -0.124 | -0.085 | 0.260 | -0.001 | 0.000 | 0.000 |
| 95 | 0.168 | -2.053 | 0.116 | 0.000 | 0.000 | -0.001 | 68 | -0.015 | -0.754 | 0.284 | -0.001 | 0.000 | 0.000 |
| 96 | 0.146 | -1.665 | 0.100 | 0.001 | 0.000 | -0.001 | 69 | 0.091 | -1.582 | 0.323 | -0.002 | 0.000 | 0.000 |
| 97 | 0.107 | -1.092 | 0.090 | 0.001 | 0.000 | -0.001 | 70 | 0.213 | -2.499 | 0.303 | -0.001 | 0.000 | 0.000 |
| 98 | 0.051 | -0.555 | 0.063 | 0.001 | 0.000 | -0.001 | 71 | 0.310 | -3.165 | 0.251 | -0.001 | 0.000 | 0.000 |
| 99 | 0.061 | -0.052 | 0.102 | 0.001 | 0.000 | 0.000 | 72 | 0.364 | -3.415 | 0.185 | 0.000 | 0.000 | 0.000 |
| 100 | 0.071 | -0.498 | 0.103 | 0.001 | 0.000 | -0.001 | 73 | 0.372 | -3.201 | 0.120 | 0.001 | 0.000 | 0.000 |
| 101 | -0.116 | -0.341 | 0.216 | -0.001 | 0.000 | -0.001 | 74 | 0.336 | -2.564 | 0.067 | 0.001 | 0.000 | 0.000 |
| 102 | -0.067 | -0.879 | 0.227 | -0.001 | 0.000 | -0.001 | 75 | 0.274 | -1.656 | 0.044 | 0.002 | 0.000 | 0.000 |
| 103 | 0.011 | -1.526 | 0.232 | -0.001 | 0.000 | -0.001 | 76 | 0.227 | -0.794 | 0.076 | 0.001 | 0.000 | 0.000 |
| 104 | 0.090 | -2.118 | 0.217 | -0.001 | 0.000 | -0.001 | 77 | 0.172 | -0.065 | 0.098 | 0.001 | 0.000 | 0.000 |
| 105 | 0.150 | -2.528 | 0.188 | 0.000 | 0.000 | -0.001 | 78 | -0.155 | -0.015 | 0.264 | -0.001 | 0.000 | 0.000 |
| 106 | 0.183 | -2.681 | 0.154 | 0.000 | 0.000 | -0.001 | 79 | -0.080 | -0.642 | 0.266 | -0.001 | 0.000 | 0.000 |
| 107 | 0.187 | -2.552 | 0.119 | 0.000 | 0.000 | -0.001 | 80 | 0.022 | -1.591 | 0.269 | -0.002 | 0.000 | -0.001 |
| 108 | 0.164 | -2.165 | 0.090 | 0.001 | 0.000 | -0.001 | 81 | 0.142 | -2.545 | 0.260 | -0.001 | 0.000 | -0.001 |
| 109 | 0.120 | -1.585 | 0.072 | 0.001 | 0.000 | -0.001 | 82 | 0.238 | -3.220 | 0.241 | -0.001 | 0.000 | -0.001 |
| 110 | 0.078 | -0.938 | 0.073 | 0.001 | 0.000 | -0.001 | 83 | 0.293 | -3.472 | 0.218 | 0.000 | 0.000 | -0.001 |
| 111 | 0.061 | -0.379 | 0.084 | 0.001 | 0.000 | -0.001 | 84 | 0.301 | -3.256 | 0.195 | 0.001 | 0.000 | -0.001 |
| 112 | -0.069 | -0.962 | 0.271 | -0.001 | 0.000 | -0.001 | 85 | 0.266 | -2.612 | 0.177 | 0.001 | 0.000 | -0.001 |
| 113 | 0.003 | -1.658 | 0.271 | -0.001 | 0.000 | -0.001 | 86 | 0.204 | -1.670 | 0.168 | 0.002 | 0.000 | -0.001 |
| 114 | 0.088 | -2.340 | 0.265 | -0.001 | 0.000 | -0.001 | 87 | 0.157 | -0.696 | 0.172 | 0.001 | 0.000 | 0.000 |
| 115 | 0.168 | -2.929 | 0.245 | -0.001 | 0.000 | -0.001 | 88 | -0.180 | -0.011 | 0.593 | 0.000 | 0.000 | 0.000 |
| 116 | 0.229 | -3.334 | 0.213 | 0.000 | 0.000 | -0.001 | 89 | -0.293 | -0.013 | 0.285 | -0.001 | 0.000 | -0.001 |
| 117 | 0.262 | -3.488 | 0.175 | 0.000 | 0.000 | -0.001 | 90 | -0.116 | -0.745 | 0.286 | -0.001 | 0.000 | -0.001 |
| 118 | 0.266 | -3.365 | 0.136 | 0.000 | 0.000 | -0.001 | 91 | -0.004 | -1.739 | 0.297 | -0.001 | 0.000 | -0.001 |
| 119 | 0.243 | -2.987 | 0.103 | 0.001 | 0.000 | -0.001 | 92 | 0.121 | -2.707 | 0.285 | -0.001 | 0.000 | -0.001 |
| 120 | 0.199 | -2.416 | 0.082 | 0.001 | 0.000 | -0.001 | 93 | 0.218 | -3.386 | 0.259 | -0.001 | 0.000 | -0.001 |
| 121 | 0.151 | -1.740 | 0.074 | 0.001 | 0.000 | -0.001 | 94 | 0.273 | -3.639 | 0.227 | 0.000 | 0.000 | -0.001 |
| 122 | 0.112 | -1.038 | 0.074 | 0.001 | 0.000 | -0.001 | 95 | 0.280 | -3.422 | 0.194 | 0.001 | 0.000 | -0.001 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 0.243 | -2.775 | 0.167 | 0.001 | 0.000 | -0.001 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 97 | 0.178 | -1.821 | 0.149 | 0.001 | 0.000 | -0.001 | 70 | 0.150 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 98 | 0.085 | -0.925 | 0.106 | 0.002 | 0.000 | -0.001 | 71 | 0.148 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 99 | 0.101 | -0.086 | 0.169 | 0.001 | 0.000 | -0.001 | 72 | 0.146 | -0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
| 100 | 0.119 | -0.830 | 0.172 | 0.001 | 0.000 | -0.001 | 73 | 0.143 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
| 101 | -0.194 | -0.568 | 0.361 | -0.001 | 0.000 | -0.001 | 74 | 0.141 | 0.002 | -0.003 | 0.000 | 0.000 | 0.000 |
| 102 | -0.112 | -1.464 | 0.378 | -0.002 | 0.000 | -0.002 | 75 | 0.138 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 |
| 103 | 0.018 | -2.543 | 0.387 | -0.002 | 0.000 | -0.002 | 76 | 0.136 | 0.010 | -0.003 | 0.000 | 0.000 | 0.000 |
| 104 | 0.150 | -3.531 | 0.361 | -0.001 | 0.000 | -0.002 | 77 | 0.133 | 0.014 | -0.002 | 0.000 | 0.000 | 0.000 |
| 105 | 0.250 | -4.213 | 0.314 | -0.001 | 0.000 | -0.002 | 78 | 0.153 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 |
| 106 | 0.305 | -4.468 | 0.256 | 0.000 | 0.000 | -0.002 | 79 | 0.152 | -0.003 | -0.005 | 0.000 | 0.000 | 0.000 |
| 107 | 0.311 | -4.254 | 0.198 | 0.001 | 0.000 | -0.002 | 80 | 0.151 | -0.005 | -0.005 | 0.000 | 0.000 | 0.000 |
| 108 | 0.273 | -3.608 | 0.150 | 0.001 | 0.000 | -0.002 | 81 | 0.150 | -0.007 | -0.005 | 0.000 | 0.000 | 0.000 |
| 109 | 0.200 | -2.642 | 0.120 | 0.002 | 0.000 | -0.002 | 82 | 0.148 | -0.007 | -0.005 | 0.000 | 0.000 | 0.000 |
| 110 | 0.129 | -1.564 | 0.121 | 0.002 | 0.000 | -0.002 | 83 | 0.146 | -0.007 | -0.005 | 0.000 | 0.000 | 0.000 |
| 111 | 0.102 | -0.631 | 0.140 | 0.001 | 0.000 | -0.001 | 84 | 0.143 | -0.006 | -0.005 | 0.000 | 0.000 | 0.000 |
| 112 | -0.115 | -1.603 | 0.451 | -0.002 | 0.000 | -0.002 | 85 | 0.140 | -0.004 | -0.005 | 0.000 | 0.000 | 0.000 |
| 113 | 0.006 | -2.764 | 0.452 | -0.002 | 0.000 | -0.002 | 86 | 0.137 | -0.002 | -0.005 | 0.000 | 0.000 | 0.000 |
| 114 | 0.147 | -3.900 | 0.442 | -0.002 | 0.000 | -0.002 | 87 | 0.133 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 |
| 115 | 0.280 | -4.882 | 0.409 | -0.001 | 0.000 | -0.002 | 88 | 0.092 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 116 | 0.382 | -5.557 | 0.356 | -0.001 | 0.000 | -0.002 | 89 | 0.155 | -0.008 | -0.006 | 0.000 | 0.000 | 0.000 |
| 117 | 0.437 | -5.813 | 0.291 | 0.000 | 0.000 | -0.002 | 90 | 0.153 | -0.009 | -0.006 | 0.000 | 0.000 | 0.000 |
| 118 | 0.444 | -5.608 | 0.227 | 0.001 | 0.000 | -0.002 | 91 | 0.152 | -0.009 | -0.006 | 0.000 | 0.000 | 0.000 |
| 119 | 0.405 | -4.978 | 0.172 | 0.001 | 0.000 | -0.002 | 92 | 0.150 | -0.009 | -0.006 | 0.000 | 0.000 | 0.000 |
| 120 | 0.332 | -4.026 | 0.137 | 0.002 | 0.000 | -0.002 | 93 | 0.148 | -0.009 | -0.006 | 0.000 | 0.000 | 0.000 |
| 121 | 0.252 | -2.899 | 0.123 | 0.002 | 0.000 | -0.002 | 94 | 0.146 | -0.009 | -0.006 | 0.000 | 0.000 | 0.000 |
| 122 | 0.187 | -1.730 | 0.123 | 0.002 | 0.000 | -0.002 | 95 | 0.143 | -0.008 | -0.006 | 0.000 | 0.000 | 0.000 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 0.140 | -0.007 | -0.006 | 0.000 | 0.000 | 0.000 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 0.137 | -0.007 | -0.006 | 0.000 | 0.000 | 0.000 |
| 125 | 0.133 | -0.013 | 0.174 | 0.001 | 0.000 | 0.000 | 98 | 0.134 | -0.008 | -0.006 | 0.000 | 0.000 | 0.000 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 0.130 | -0.010 | -0.006 | 0.000 | 0.000 | 0.000 |
| 127 | 0.154 | -0.013 | 0.032 | 0.001 | 0.000 | 0.000 | 100 | 0.134 | -0.009 | -0.006 | 0.000 | 0.000 | 0.000 |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 0.157 | -0.029 | -0.008 | 0.000 | 0.000 | 0.000 |
| 129 | -0.111 | -0.007 | 0.388 | 0.000 | 0.000 | 0.000 | 102 | 0.155 | -0.025 | -0.008 | 0.000 | 0.000 | 0.000 |
| 130 | -0.035 | -0.004 | 0.128 | 0.000 | 0.000 | 0.000 | 103 | 0.153 | -0.021 | -0.008 | 0.000 | 0.000 | 0.000 |
| 131 | -0.057 | -0.012 | 0.353 | 0.000 | 0.000 | 0.000 | 104 | 0.151 | -0.018 | -0.008 | 0.000 | 0.000 | 0.000 |
| 132 | -0.012 | -0.009 | 0.397 | 0.000 | 0.000 | 0.000 | 105 | 0.148 | -0.017 | -0.008 | 0.000 | 0.000 | 0.000 |
| 133 | 0.004 | -0.006 | 0.265 | 0.000 | 0.000 | 0.000 | 106 | 0.146 | -0.016 | -0.008 | 0.000 | 0.000 | 0.000 |
| 134 | 0.003 | -0.003 | 0.088 | 0.000 | 0.000 | 0.000 | 107 | 0.144 | -0.016 | -0.008 | 0.000 | 0.000 | 0.000 |
| 135 | 0.050 | -0.012 | -0.137 | 0.001 | 0.000 | 0.000 | 108 | 0.141 | -0.018 | -0.007 | 0.000 | 0.000 | 0.000 |
| 136 | 0.001 | -0.009 | -0.260 | 0.000 | 0.000 | 0.000 | 109 | 0.138 | -0.021 | -0.007 | 0.000 | 0.000 | 0.000 |
| 137 | -0.012 | -0.006 | -0.197 | 0.000 | 0.000 | 0.000 | 110 | 0.136 | -0.028 | -0.007 | 0.000 | 0.000 | 0.000 |
| 138 | -0.006 | -0.003 | -0.070 | 0.000 | 0.000 | 0.000 | 111 | 0.134 | -0.035 | -0.007 | 0.000 | 0.000 | 0.000 |
| 139 | 0.162 | -0.012 | -0.237 | 0.000 | 0.000 | 0.000 | 112 | 0.160 | -0.052 | -0.011 | 0.000 | 0.000 | 0.000 |
| 140 | 0.135 | -0.009 | -0.321 | 0.000 | 0.000 | 0.000 | 113 | 0.157 | -0.045 | -0.012 | 0.000 | 0.000 | 0.000 |
| 141 | 0.080 | -0.006 | -0.226 | 0.000 | 0.000 | 0.000 | 114 | 0.154 | -0.038 | -0.011 | 0.000 | 0.000 | 0.000 |
| 142 | 0.025 | -0.003 | -0.077 | 0.000 | 0.000 | 0.000 | 115 | 0.152 | -0.032 | -0.011 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 116 | 0.150 | -0.028 | -0.011 | 0.000 | 0.000 | 0.000 |
| Load case 4 (Linear): WIND COLS MINOR (S) 117 |  |  |  |  |  |  |  | 0.147 | -0.027 | -0.010 | 0.000 | 0.000 | 0.000 |
| 118 |  |  |  |  |  |  |  | 0.145 | -0.029 | -0.010 | 0.000 | 0.000 | 0.000 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | 0.143 | -0.035 | -0.010 | 0.000 | 0.000 | 0.000 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | 0.141 | -0.043 | -0.009 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 121 | 0.139 | -0.053 | -0.009 | 0.000 | 0.000 | 0.000 |
| 1 | 0.141 | 0.099 | 0.011 | 0.000 | 0.000 | 0.000 | 122 | 0.137 | -0.063 | -0.009 | 0.000 | 0.000 | 0.000 |
| 2 | 0.141 | 0.081 | 0.012 | 0.000 | 0.000 | 0.000 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 0.144 | 0.054 | 0.012 | 0.000 | 0.000 | 0.000 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 0.145 | 0.036 | 0.011 | 0.000 | 0.000 | 0.000 | 125 | 0.129 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 |
| 5 | 0.144 | 0.026 | 0.011 | 0.000 | 0.000 | 0.000 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 0.142 | 0.022 | 0.011 | 0.000 | 0.000 | 0.000 | 127 | 0.129 | 0.000 | 0.005 | 0.000 | 0.000 | 0.000 |
| 7 | 0.140 | 0.022 | 0.011 | 0.000 | 0.000 | 0.000 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 0.137 | 0.026 | 0.011 | 0.000 | 0.000 | 0.000 | 129 | 0.052 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 9 | 0.132 | 0.040 | 0.010 | 0.000 | 0.000 | 0.000 | 130 | 0.016 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 0.126 | 0.063 | 0.010 | 0.000 | 0.000 | 0.000 | 131 | 0.117 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |
| 11 | 0.121 | 0.080 | 0.010 | 0.000 | 0.000 | 0.000 | 132 | 0.080 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 12 | 0.146 | 0.050 | 0.008 | 0.000 | 0.000 | 0.000 | 133 | 0.043 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 13 | 0.145 | 0.042 | 0.009 | 0.000 | 0.000 | 0.000 | 134 | 0.013 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 0.146 | 0.029 | 0.009 | 0.000 | 0.000 | 0.000 | 135 | 0.102 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 |
| 15 | 0.146 | 0.021 | 0.009 | 0.000 | 0.000 | 0.000 | 136 | 0.072 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |
| 16 | 0.145 | 0.016 | 0.008 | 0.000 | 0.000 | 0.000 | 137 | 0.039 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 17 | 0.143 | 0.014 | 0.008 | 0.000 | 0.000 | 0.000 | 138 | 0.012 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 18 | 0.141 | 0.013 | 0.008 | 0.000 | 0.000 | 0.000 | 139 | 0.101 | 0.000 | 0.005 | 0.000 | 0.000 | 0.000 |
| 19 | 0.138 | 0.015 | 0.008 | 0.000 | 0.000 | 0.000 | 140 | 0.070 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
| 20 | 0.134 | 0.020 | 0.008 | 0.000 | 0.000 | 0.000 | 141 | 0.038 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 21 | 0.129 | 0.032 | 0.008 | 0.000 | 0.000 | 0.000 | 142 | 0.011 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 22 | 0.125 | 0.041 | 0.008 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 23 | 0.151 | 0.011 | 0.006 | 0.000 | 0.000 | 0.000 Load case 5 (Linear): WIND COLS MINOR (U) |  |  |  |  |  |  |  |
| 24 | 0.148 | 0.013 | 0.006 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 25 | 0.148 | 0.011 | 0.006 | 0.000 | 0.000 | 0.000 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 0.148 | 0.010 | 0.006 | 0.000 | 0.000 | 0.000 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 27 | 0.146 | 0.009 | 0.006 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 28 | 0.144 | 0.008 | 0.006 | 0.000 | 0.000 | 0.000 | 1 | 0.234 | 0.165 | 0.019 | 0.000 | 0.000 | 0.000 |
| 29 | 0.142 | 0.007 | 0.006 | 0.000 | 0.000 | 0.000 | 2 | 0.236 | 0.135 | 0.020 | 0.000 | 0.000 | 0.000 |
| 30 | 0.139 | 0.007 | 0.006 | 0.000 | 0.000 | 0.000 | 3 | 0.240 | 0.090 | 0.020 | 0.000 | 0.000 | 0.000 |
| 31 | 0.136 | 0.007 | 0.006 | 0.000 | 0.000 | 0.000 | 4 | 0.241 | 0.060 | 0.019 | 0.000 | 0.000 | 0.000 |
| 32 | 0.131 | 0.009 | 0.006 | 0.000 | 0.000 | 0.000 | 5 | 0.240 | 0.044 | 0.019 | 0.000 | 0.000 | 0.000 |
| 33 | 0.128 | 0.010 | 0.006 | 0.000 | 0.000 | 0.000 | 6 | 0.237 | 0.037 | 0.018 | 0.000 | 0.000 | 0.000 |
| 34 | 0.151 | 0.000 | 0.005 | 0.000 | 0.000 | 0.000 | 7 | 0.234 | 0.036 | 0.018 | 0.000 | 0.000 | 0.000 |
| 35 | 0.149 | 0.003 | 0.005 | 0.000 | 0.000 | 0.000 | 8 | 0.228 | 0.044 | 0.018 | 0.000 | 0.000 | 0.000 |
| 36 | 0.149 | 0.005 | 0.005 | 0.000 | 0.000 | 0.000 | 9 | 0.220 | 0.066 | 0.017 | 0.000 | 0.000 | 0.000 |
| 37 | 0.148 | 0.006 | 0.005 | 0.000 | 0.000 | 0.000 | 10 | 0.210 | 0.105 | 0.017 | 0.000 | 0.000 | 0.000 |
| 38 | 0.146 | 0.007 | 0.005 | 0.000 | 0.000 | 0.000 | 11 | 0.201 | 0.134 | 0.017 | 0.000 | 0.000 | 0.000 |
| 39 | 0.144 | 0.007 | 0.005 | 0.000 | 0.000 | 0.000 | 12 | 0.243 | 0.084 | 0.014 | 0.000 | 0.000 | 0.000 |
| 40 | 0.142 | 0.006 | 0.005 | 0.000 | 0.000 | 0.000 | 13 | 0.242 | 0.070 | 0.014 | 0.000 | 0.000 | 0.000 |
| 41 | 0.139 | 0.004 | 0.005 | 0.000 | 0.000 | 0.000 | 14 | 0.244 | 0.048 | 0.014 | 0.000 | 0.000 | 0.000 |
| 42 | 0.136 | 0.002 | 0.005 | 0.000 | 0.000 | 0.000 | 15 | 0.244 | 0.035 | 0.014 | 0.000 | 0.000 | 0.000 |
| 43 | 0.132 | 0.000 | 0.005 | 0.000 | 0.000 | 0.000 | 16 | 0.242 | 0.027 | 0.014 | 0.000 | 0.000 | 0.000 |
| 44 | 0.126 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 17 | 0.239 | 0.023 | 0.014 | 0.000 | 0.000 | 0.000 |
| 45 | 0.159 | -0.023 | 0.003 | 0.000 | 0.000 | 0.000 | 18 | 0.235 | 0.022 | 0.014 | 0.000 | 0.000 | 0.000 |
| 46 | 0.156 | -0.016 | 0.003 | 0.000 | 0.000 | 0.000 | 19 | 0.230 | 0.025 | 0.013 | 0.000 | 0.000 | 0.000 |
| 47 | 0.153 | -0.007 | 0.003 | 0.000 | 0.000 | 0.000 | 20 | 0.224 | 0.034 | 0.013 | 0.000 | 0.000 | 0.000 |
| 48 | 0.150 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 | 21 | 0.215 | 0.054 | 0.013 | 0.000 | 0.000 | 0.000 |
| 49 | 0.147 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 22 | 0.208 | 0.068 | 0.013 | 0.000 | 0.000 | 0.000 |
| 50 | 0.145 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 | 23 | 0.251 | 0.019 | 0.010 | 0.000 | 0.000 | 0.000 |
| 51 | 0.143 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 24 | 0.247 | 0.021 | 0.010 | 0.000 | 0.000 | 0.000 |
| 52 | 0.141 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 25 | 0.247 | 0.018 | 0.010 | 0.000 | 0.000 | 0.000 |
| 53 | 0.139 | -0.005 | 0.003 | 0.000 | 0.000 | 0.000 | 26 | 0.246 | 0.016 | 0.010 | 0.000 | 0.000 | 0.000 |
| 54 | 0.138 | -0.012 | 0.003 | 0.000 | 0.000 | 0.000 | 27 | 0.243 | 0.015 | 0.010 | 0.000 | 0.000 | 0.000 |
| 55 | 0.136 | -0.016 | 0.003 | 0.000 | 0.000 | 0.000 | 28 | 0.240 | 0.014 | 0.010 | 0.000 | 0.000 | 0.000 |
| 56 | 0.160 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 0.236 | 0.012 | 0.010 | 0.000 | 0.000 | 0.000 |
| 57 | 0.157 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 0.232 | 0.011 | 0.010 | 0.000 | 0.000 | 0.000 |
| 58 | 0.154 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 0.226 | 0.011 | 0.010 | 0.000 | 0.000 | 0.000 |
| 59 | 0.151 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 0.219 | 0.014 | 0.010 | 0.000 | 0.000 | 0.000 |
| 60 | 0.148 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 0.213 | 0.017 | 0.010 | 0.000 | 0.000 | 0.000 |
| 61 | 0.146 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 0.251 | 0.000 | 0.009 | 0.000 | 0.000 | 0.000 |
| 62 | 0.143 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 0.249 | 0.004 | 0.009 | 0.000 | 0.000 | 0.000 |
| 63 | 0.141 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 36 | 0.249 | 0.008 | 0.009 | 0.000 | 0.000 | 0.000 |
| 64 | 0.139 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 37 | 0.247 | 0.011 | 0.009 | 0.000 | 0.000 | 0.000 |
| 65 | 0.138 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 38 | 0.244 | 0.011 | 0.009 | 0.000 | 0.000 | 0.000 |
| 66 | 0.136 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | 0.240 | 0.011 | 0.009 | 0.000 | 0.000 | 0.000 |
| 67 | 0.157 | 0.009 | -0.002 | 0.000 | 0.000 | 0.000 | 40 | 0.237 | 0.009 | 0.009 | 0.000 | 0.000 | 0.000 |
| 68 | 0.155 | 0.004 | -0.002 | 0.000 | 0.000 | 0.000 | 41 | 0.232 | 0.007 | 0.009 | 0.000 | 0.000 | 0.000 |
| 69 | 0.153 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 42 | 0.227 | 0.004 | 0.009 | 0.000 | 0.000 | 0.000 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 43 | 0.220 | 0.001 | 0.009 | 0.000 | 0.000 | 0.000 | 16 | 2.058 | 0.412 | 0.069 | 0.000 | 0.000 | 0.002 |
| 44 | 0.210 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 17 | 2.111 | 0.454 | 0.089 | 0.000 | 0.000 | 0.002 |
| 45 | 0.265 | -0.038 | 0.005 | 0.000 | 0.000 | 0.000 | 18 | 2.188 | 0.401 | 0.107 | 0.000 | 0.000 | 0.002 |
| 46 | 0.260 | -0.027 | 0.004 | 0.000 | 0.000 | 0.000 | 19 | 2.276 | 0.304 | 0.116 | 0.000 | 0.000 | 0.001 |
| 47 | 0.255 | -0.012 | 0.004 | 0.000 | 0.000 | 0.000 | 20 | 2.336 | 0.311 | 0.112 | 0.000 | 0.000 | 0.001 |
| 48 | 0.250 | -0.003 | 0.005 | 0.000 | 0.000 | 0.000 | 21 | 2.348 | 0.571 | 0.094 | 0.000 | 0.000 | 0.000 |
| 49 | 0.246 | 0.002 | 0.005 | 0.000 | 0.000 | 0.000 | 22 | 2.396 | 0.701 | 0.087 | 0.000 | 0.000 | -0.001 |
| 50 | 0.242 | 0.003 | 0.005 | 0.000 | 0.000 | 0.000 | 23 | 1.813 | 0.034 | 0.114 | 0.001 | 0.000 | 0.000 |
| 51 | 0.238 | 0.002 | 0.005 | 0.000 | 0.000 | 0.000 | 24 | 1.852 | 0.372 | 0.115 | 0.001 | 0.000 | 0.000 |
| 52 | 0.235 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | 25 | 1.921 | 0.669 | 0.106 | 0.001 | 0.000 | 0.001 |
| 53 | 0.232 | -0.008 | 0.005 | 0.000 | 0.000 | 0.000 | 26 | 1.953 | 1.022 | 0.115 | 0.000 | 0.000 | 0.001 |
| 54 | 0.230 | -0.020 | 0.005 | 0.000 | 0.000 | 0.000 | 27 | 1.979 | 1.283 | 0.130 | 0.000 | 0.000 | 0.002 |
| 55 | 0.227 | -0.027 | 0.004 | 0.000 | 0.000 | 0.000 | 28 | 2.029 | 1.367 | 0.148 | 0.000 | 0.000 | 0.002 |
| 56 | 0.267 | -0.016 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 2.110 | 1.251 | 0.166 | 0.000 | 0.000 | 0.002 |
| 57 | 0.262 | -0.013 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 2.214 | 0.968 | 0.179 | -0.001 | 0.000 | 0.001 |
| 58 | 0.256 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 2.307 | 0.616 | 0.186 | -0.001 | 0.000 | 0.001 |
| 59 | 0.251 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 2.358 | 0.360 | 0.172 | 0.000 | 0.000 | 0.000 |
| 60 | 0.247 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 2.430 | 0.200 | 0.158 | 0.000 | 0.000 | -0.001 |
| 61 | 0.243 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 1.813 | 0.006 | 0.136 | 0.000 | 0.000 | -0.001 |
| 62 | 0.239 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 1.851 | 0.331 | 0.135 | 0.001 | 0.000 | 0.000 |
| 63 | 0.235 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 36 | 1.908 | 0.807 | 0.136 | 0.001 | 0.000 | 0.001 |
| 64 | 0.232 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 37 | 1.930 | 1.275 | 0.142 | 0.001 | 0.000 | 0.001 |
| 65 | 0.230 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 38 | 1.951 | 1.594 | 0.153 | 0.000 | 0.000 | 0.002 |
| 66 | 0.227 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | 1.999 | 1.694 | 0.167 | 0.000 | 0.000 | 0.002 |
| 67 | 0.262 | 0.014 | -0.004 | 0.000 | 0.000 | 0.000 | 40 | 2.083 | 1.555 | 0.180 | 0.000 | 0.000 | 0.002 |
| 68 | 0.258 | 0.007 | -0.004 | 0.000 | 0.000 | 0.000 | 41 | 2.193 | 1.204 | 0.190 | -0.001 | 0.000 | 0.001 |
| 69 | 0.254 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 42 | 2.298 | 0.723 | 0.194 | -0.001 | 0.000 | 0.001 |
| 70 | 0.250 | -0.003 | -0.004 | 0.000 | 0.000 | 0.000 | 43 | 2.362 | 0.267 | 0.192 | -0.001 | 0.000 | -0.001 |
| 71 | 0.247 | -0.004 | -0.004 | 0.000 | 0.000 | 0.000 | 44 | 0.640 | -0.024 | 1.207 | -0.001 | 0.000 | -0.002 |
| 72 | 0.243 | -0.003 | -0.004 | 0.000 | 0.000 | 0.000 | 45 | 1.939 | 0.026 | 0.233 | 0.000 | 0.000 | 0.001 |
| 73 | 0.239 | -0.001 | -0.004 | 0.000 | 0.000 | 0.000 | 46 | 1.910 | 0.583 | 0.220 | 0.000 | 0.000 | 0.001 |
| 74 | 0.234 | 0.003 | -0.005 | 0.000 | 0.000 | 0.000 | 47 | 1.855 | 1.622 | 0.224 | 0.000 | 0.000 | 0.001 |
| 75 | 0.230 | 0.008 | -0.005 | 0.000 | 0.000 | 0.000 | 48 | 1.797 | 2.417 | 0.236 | 0.000 | 0.000 | 0.001 |
| 76 | 0.226 | 0.017 | -0.005 | 0.000 | 0.000 | 0.000 | 49 | 1.773 | 2.896 | 0.243 | 0.000 | 0.000 | 0.001 |
| 77 | 0.222 | 0.024 | -0.004 | 0.000 | 0.000 | 0.000 | 50 | 1.809 | 3.034 | 0.246 | 0.000 | 0.000 | 0.001 |
| 78 | 0.255 | 0.000 | -0.008 | 0.000 | 0.000 | 0.000 | 51 | 1.910 | 2.834 | 0.250 | 0.000 | 0.000 | 0.001 |
| 79 | 0.253 | -0.005 | -0.008 | 0.000 | 0.000 | 0.000 | 52 | 2.069 | 2.299 | 0.255 | 0.000 | 0.000 | 0.001 |
| 80 | 0.252 | -0.009 | -0.008 | 0.000 | 0.000 | 0.000 | 53 | 2.263 | 1.463 | 0.265 | 0.000 | 0.000 | 0.001 |
| 81 | 0.250 | -0.011 | -0.008 | 0.000 | 0.000 | 0.000 | 54 | 2.455 | 0.415 | 0.260 | 0.000 | 0.000 | 0.001 |
| 82 | 0.246 | -0.012 | -0.008 | 0.000 | 0.000 | 0.000 | 55 | 2.617 | -0.076 | 0.242 | 0.000 | 0.000 | 0.001 |
| 83 | 0.243 | -0.012 | -0.009 | 0.000 | 0.000 | 0.000 | 56 | 1.901 | 0.584 | 0.312 | 0.000 | 0.000 | 0.001 |
| 84 | 0.238 | -0.010 | -0.009 | 0.000 | 0.000 | 0.000 | 57 | 1.830 | 0.999 | 0.330 | 0.000 | 0.000 | 0.000 |
| 85 | 0.233 | -0.007 | -0.009 | 0.000 | 0.000 | 0.000 | 58 | 1.685 | 2.045 | 0.361 | -0.001 | 0.000 | 0.000 |
| 86 | 0.228 | -0.003 | -0.009 | 0.000 | 0.000 | 0.000 | 59 | 1.563 | 2.684 | 0.372 | -0.001 | 0.000 | -0.001 |
| 87 | 0.221 | -0.001 | -0.009 | 0.000 | 0.000 | 0.000 | 60 | 1.503 | 3.025 | 0.354 | 0.000 | 0.000 | -0.002 |
| 88 | 0.154 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 61 | 1.528 | 3.104 | 0.323 | 0.000 | 0.000 | -0.002 |
| 89 | 0.258 | -0.013 | -0.009 | 0.000 | 0.000 | 0.000 | 62 | 1.642 | 2.952 | 0.293 | 0.000 | 0.000 | -0.002 |
| 90 | 0.255 | -0.015 | -0.009 | 0.000 | 0.000 | 0.000 | 63 | 1.840 | 2.549 | 0.275 | 0.001 | 0.000 | -0.001 |
| 91 | 0.253 | -0.015 | -0.009 | 0.000 | 0.000 | 0.000 | 64 | 2.099 | 1.878 | 0.283 | 0.001 | 0.000 | 0.000 |
| 92 | 0.250 | -0.016 | -0.010 | 0.000 | 0.000 | 0.000 | 65 | 2.382 | 0.862 | 0.304 | 0.001 | 0.000 | 0.000 |
| 93 | 0.247 | -0.016 | -0.010 | 0.000 | 0.000 | 0.000 | 66 | 2.581 | 0.560 | 0.320 | 0.001 | 0.000 | 0.001 |
| 94 | 0.243 | -0.015 | -0.010 | 0.000 | 0.000 | 0.000 | 67 | 1.798 | 0.815 | 0.387 | -0.001 | 0.000 | 0.000 |
| 95 | 0.238 | -0.014 | -0.010 | 0.000 | 0.000 | 0.000 | 68 | 1.718 | 0.589 | 0.463 | -0.001 | 0.000 | -0.002 |
| 96 | 0.234 | -0.012 | -0.010 | 0.000 | 0.000 | 0.000 | 69 | 1.530 | 0.756 | 0.531 | -0.002 | 0.000 | -0.004 |
| 97 | 0.228 | -0.011 | -0.010 | 0.000 | 0.000 | 0.000 | 70 | 1.393 | 0.485 | 0.529 | -0.002 | 0.000 | -0.006 |
| 98 | 0.223 | -0.013 | -0.009 | 0.000 | 0.000 | 0.000 | 71 | 1.323 | 0.191 | 0.474 | -0.001 | 0.000 | -0.007 |
| 99 | 0.217 | -0.016 | -0.010 | 0.000 | 0.000 | 0.000 | 72 | 1.347 | 0.042 | 0.397 | 0.000 | 0.000 | -0.008 |
| 100 | 0.223 | -0.014 | -0.010 | 0.000 | 0.000 | 0.000 | 73 | 1.463 | 0.113 | 0.321 | 0.001 | 0.000 | -0.007 |
| 101 | 0.261 | -0.048 | -0.014 | 0.000 | 0.000 | 0.000 | 74 | 1.671 | 0.345 | 0.269 | 0.002 | 0.000 | -0.006 |
| 102 | 0.258 | -0.042 | -0.014 | 0.000 | 0.000 | 0.000 | 75 | 1.942 | 0.600 | 0.266 | 0.002 | 0.000 | -0.004 |
| 103 | 0.254 | -0.035 | -0.014 | 0.000 | 0.000 | 0.000 | 76 | 2.260 | 0.508 | 0.326 | 0.002 | 0.000 | -0.002 |
| 104 | 0.251 | -0.031 | -0.014 | 0.000 | 0.000 | 0.000 | 77 | 2.461 | 0.876 | 0.402 | 0.001 | 0.000 | 0.000 |
| 105 | 0.247 | -0.028 | -0.013 | 0.000 | 0.000 | 0.000 | 78 | 1.725 | -0.026 | 0.564 | -0.002 | 0.000 | -0.002 |
| 106 | 0.244 | -0.027 | -0.013 | 0.000 | 0.000 | 0.000 | 79 | 1.699 | -1.409 | 0.568 | -0.003 | 0.000 | -0.004 |
| 107 | 0.239 | -0.027 | -0.013 | 0.000 | 0.000 | 0.000 | 80 | 1.536 | -3.575 | 0.575 | -0.004 | 0.000 | -0.009 |
| 108 | 0.235 | -0.030 | -0.012 | 0.000 | 0.000 | 0.000 | 81 | 1.448 | -5.861 | 0.557 | -0.003 | 0.000 | -0.013 |
| 109 | 0.231 | -0.036 | -0.012 | 0.000 | 0.000 | 0.000 | 82 | 1.412 | -7.543 | 0.517 | -0.002 | 0.000 | -0.016 |
| 110 | 0.227 | -0.047 | -0.012 | 0.000 | 0.000 | 0.000 | 83 | 1.449 | -8.181 | 0.465 | 0.000 | 0.000 | -0.016 |
| 111 | 0.223 | -0.058 | -0.012 | 0.000 | 0.000 | 0.000 | 84 | 1.552 | -7.627 | 0.416 | 0.002 | 0.000 | -0.016 |
| 112 | 0.266 | -0.087 | -0.019 | 0.000 | 0.000 | 0.000 | 85 | 1.726 | -6.013 | 0.382 | 0.003 | 0.000 | -0.013 |
| 113 | 0.262 | -0.076 | -0.019 | 0.000 | 0.000 | 0.000 | 86 | 1.941 | -3.752 | 0.372 | 0.004 | 0.000 | -0.009 |
| 114 | 0.257 | -0.064 | -0.019 | 0.000 | 0.000 | 0.000 | 87 | 2.226 | -1.530 | 0.390 | 0.003 | 0.000 | -0.004 |
| 115 | 0.253 | -0.054 | -0.019 | 0.000 | 0.000 | 0.000 | 88 | -0.001 | -0.018 | 1.287 | 0.000 | 0.000 | -0.001 |
| 116 | 0.249 | -0.047 | -0.018 | 0.000 | 0.000 | 0.000 | 89 | 1.138 | -0.038 | 0.678 | -0.004 | -0.001 | -0.006 |
| 117 | 0.245 | -0.046 | -0.017 | 0.000 | 0.000 | 0.000 | 90 | 1.629 | -2.341 | 0.680 | -0.004 | -0.001 | -0.006 |
| 118 | 0.241 | -0.049 | -0.017 | 0.000 | 0.000 | 0.000 | 91 | 1.542 | -5.346 | 0.722 | -0.004 | -0.001 | -0.011 |
| 119 | 0.238 | -0.058 | -0.016 | 0.000 | 0.000 | 0.000 | 92 | 1.476 | -8.371 | 0.715 | -0.004 | -0.001 | -0.016 |
| 120 | 0.234 | -0.071 | -0.015 | 0.000 | 0.000 | 0.000 | 93 | 1.426 | -10.596 | 0.615 | -0.002 | -0.001 | -0.019 |
| 121 | 0.231 | -0.088 | -0.015 | 0.000 | 0.000 | 0.000 | 94 | 1.467 | -11.413 | 0.482 | 0.000 | 0.000 | -0.020 |
| 122 | 0.229 | -0.106 | -0.015 | 0.000 | 0.000 | 0.000 | 95 | 1.565 | -10.682 | 0.351 | 0.002 | 0.001 | -0.019 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 1.752 | -8.530 | 0.255 | 0.004 | 0.001 | -0.016 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 1.950 | -5.538 | 0.244 | 0.004 | 0.001 | -0.011 |
| 125 | 0.215 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 | 98 | 1.991 | -2.946 | 0.197 | 0.005 | 0.000 | -0.007 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 2.353 | -0.539 | 0.318 | 0.003 | 0.000 | -0.003 |
| 127 | 0.215 | 0.000 | 0.009 | 0.000 | 0.000 | 0.000 | 100 | 2.156 | -2.629 | 0.320 | 0.005 | 0.001 | -0.007 |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 1.767 | -2.638 | 1.120 | -0.007 | -0.001 | -0.005 |
| 129 | 0.087 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 102 | 1.747 | -6.853 | 1.271 | -0.008 | -0.001 | -0.010 |
| 130 | 0.027 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 103 | 1.910 | -12.490 | 1.420 | -0.009 | -0.001 | -0.016 |
| 131 | 0.195 | 0.000 | 0.006 | 0.000 | 0.000 | 0.000 | 104 | 2.028 | -18.272 | 1.404 | -0.009 | -0.001 | -0.021 |
| 132 | 0.134 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | 105 | 2.093 | -22.767 | 1.035 | -0.005 | -0.001 | -0.026 |
| 133 | 0.071 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 106 | 2.177 | -24.270 | 0.542 | 0.000 | 0.000 | -0.028 |
| 134 | 0.021 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 107 | 2.233 | -22.871 | 0.050 | 0.005 | 0.001 | -0.026 |
| 135 | 0.171 | 0.000 | -0.008 | 0.000 | 0.000 | 0.000 | 108 | 2.307 | -18.466 | -0.310 | 0.009 | 0.001 | -0.021 |
| 136 | 0.119 | 0.000 | -0.006 | 0.000 | 0.000 | 0.000 | 109 | 2.322 | -12.735 | -0.324 | 0.010 | 0.001 | -0.016 |
| 137 | 0.065 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 | 110 | 2.292 | -7.096 | -0.184 | 0.009 | 0.001 | -0.011 |
| 138 | 0.020 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 111 | 2.432 | -2.804 | -0.022 | 0.007 | 0.001 | -0.005 |
| 139 | 0.168 | 0.000 | 0.008 | 0.000 | 0.000 | 0.000 | 112 | 2.032 | -7.096 | 1.778 | -0.013 | -0.001 | -0.008 |
| 140 | 0.117 | 0.000 | 0.006 | 0.000 | 0.000 | 0.000 | 113 | 2.440 | -15.209 | 1.911 | -0.014 | -0.001 | -0.013 |
| 141 | 0.063 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | 114 | 2.972 | -24.579 | 2.069 | -0.016 | -0.002 | -0.018 |
| 142 | 0.019 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 115 | 3.513 | -34.610 | 2.014 | -0.016 | -0.002 | -0.024 |
|  |  |  |  |  |  |  | 116 | 3.947 | -42.761 | 1.418 | -0.009 | -0.001 | -0.029 |
| Load case 6 (Linear): POINT LOAD 117 |  |  |  |  |  |  |  | 4.132 | -45.371 | 0.615 | 0.000 | 0.000 | -0.031 |
| 118 |  |  |  |  |  |  |  | 4.092 | -42.873 | -0.185 | 0.009 | 0.001 | -0.029 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | 3.802 | -34.825 | -0.773 | 0.016 | 0.001 | -0.024 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | 3.395 | -24.870 | -0.821 | 0.017 | 0.001 | -0.018 |
|  |  |  |  |  |  |  | 121 | 2.998 | -15.526 | -0.661 | 0.015 | 0.001 | -0.013 |
| 1 | 1.762 | 0.763 | 0.016 | 0.000 | 0.000 | 0.000 | 122 | 2.714 | -7.391 | -0.522 | 0.013 | 0.001 | -0.008 |
| 2 | 1.857 | 0.456 | 0.018 | 0.000 | 0.000 | 0.000 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 2.008 | -0.223 | 0.009 | 0.000 | 0.000 | 0.001 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 2.108 | -0.574 | 0.001 | 0.000 | 0.000 | 0.001 | 125 | 2.369 | -0.022 | 0.399 | 0.002 | 0.000 | -0.003 |
| 5 | 2.165 | -0.659 | 0.002 | 0.000 | 0.000 | 0.001 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 2.223 | -0.667 | 0.010 | 0.000 | 0.000 | 0.002 | 127 | 2.445 | 0.007 | 0.190 | 0.000 | 0.000 | -0.001 |
| 7 | 2.292 | -0.645 | 0.017 | 0.000 | 0.000 | 0.001 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 2.359 | -0.522 | 0.014 | 0.000 | 0.000 | 0.001 | 129 | -0.161 | -0.012 | 0.842 | 0.001 | 0.000 | 0.000 |
| 9 | 2.374 | -0.074 | -0.001 | 0.000 | 0.000 | 0.001 | 130 | -0.080 | -0.006 | 0.278 | 0.001 | 0.000 | 0.000 |
| 10 | 2.330 | 0.776 | -0.018 | 0.000 | 0.000 | 0.000 | 131 | 1.427 | 0.006 | -0.015 | 0.000 | 0.000 | -0.001 |
| 11 | 2.346 | 1.249 | -0.013 | 0.000 | 0.000 | -0.001 | 132 | 0.973 | 0.004 | -0.084 | 0.000 | 0.000 | -0.001 |
| 12 | 1.788 | 0.454 | 0.074 | 0.000 | 0.000 | 0.000 | 133 | 0.508 | 0.003 | -0.071 | 0.000 | 0.000 | -0.001 |
| 13 | 1.856 | 0.436 | 0.066 | 0.000 | 0.000 | 0.000 | 134 | 0.146 | 0.001 | -0.026 | 0.000 | 0.000 | -0.001 |
| 14 | 1.958 | 0.275 | 0.056 | 0.000 | 0.000 | 0.001 | 135 | 1.304 | -0.021 | -0.293 | 0.001 | 0.000 | -0.002 |
| 15 | 2.019 | 0.310 | 0.057 | 0.000 | 0.000 | 0.001 | 136 | 0.547 | -0.016 | -0.570 | 0.000 | 0.000 | -0.001 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 137 | 0.160 | -0.010 | -0.433 | -0.001 | 0.000 | -0.001 | 110 | -0.005 | 0.007 | -0.033 | 0.000 | 0.000 | 0.000 |
| 138 | 0.019 | -0.005 | -0.153 | -0.001 | 0.000 | 0.000 | 111 | -0.005 | 0.003 | -0.032 | 0.000 | 0.000 | 0.000 |
| 139 | 1.894 | 0.006 | 0.270 | 0.000 | 0.000 | -0.001 | 112 | 0.004 | -0.003 | -0.034 | 0.000 | 0.000 | 0.000 |
| 140 | 1.272 | 0.005 | 0.258 | 0.000 | 0.000 | -0.001 | 113 | 0.004 | -0.003 | -0.034 | 0.000 | 0.000 | 0.000 |
| 141 | 0.658 | 0.003 | 0.161 | 0.000 | 0.000 | -0.001 | 114 | 0.003 | -0.003 | -0.034 | 0.000 | 0.000 | 0.000 |
| 142 | 0.187 | 0.002 | 0.052 | 0.000 | 0.000 | -0.001 | 115 | 0.002 | -0.001 | -0.035 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 116 | 0.001 | 0.002 | -0.035 | 0.000 | 0.000 | 0.000 |
| Load case 7 (Linear): WIND COLS MAJOR (S) 117 |  |  |  |  |  |  |  | -0.001 | 0.005 | -0.035 | 0.000 | 0.000 | 0.000 |
| 118 |  |  |  |  |  |  |  | -0.002 | 0.008 | -0.035 | 0.000 | 0.000 | 0.000 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | -0.003 | 0.010 | -0.034 | 0.000 | 0.000 | 0.000 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | -0.004 | 0.010 | -0.034 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 121 | -0.005 | 0.008 | -0.034 | 0.000 | 0.000 | 0.000 |
| 1 | 0.004 | 0.003 | -0.024 | 0.000 | 0.000 | 0.000 | 122 | -0.005 | 0.006 | -0.034 | 0.000 | 0.000 | 0.000 |
| 2 | 0.004 | -0.004 | -0.025 | 0.000 | 0.000 | 0.000 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 0.003 | -0.007 | -0.025 | 0.000 | 0.000 | 0.000 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 0.002 | -0.007 | -0.026 | 0.000 | 0.000 | 0.000 | 125 | -0.005 | 0.000 | -0.032 | 0.000 | 0.000 | 0.000 |
| 5 | 0.001 | -0.004 | -0.026 | 0.000 | 0.000 | 0.000 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 0.000 | -0.001 | -0.026 | 0.000 | 0.000 | 0.000 | 127 | -0.005 | 0.000 | -0.027 | 0.000 | 0.000 | 0.000 |
| 7 | -0.001 | 0.002 | -0.026 | 0.000 | 0.000 | 0.000 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | -0.002 | 0.005 | -0.026 | 0.000 | 0.000 | 0.000 | 129 | 0.001 | 0.000 | -0.012 | 0.000 | 0.000 | 0.000 |
| 9 | -0.003 | 0.005 | -0.025 | 0.000 | 0.000 | 0.000 | 130 | 0.000 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |
| 10 | -0.004 | 0.002 | -0.025 | 0.000 | 0.000 | 0.000 | 131 | 0.003 | 0.000 | -0.022 | 0.000 | 0.000 | 0.000 |
| 11 | -0.004 | -0.004 | -0.024 | 0.000 | 0.000 | 0.000 | 132 | 0.002 | 0.000 | -0.016 | 0.000 | 0.000 | 0.000 |
| 12 | 0.004 | 0.002 | -0.025 | 0.000 | 0.000 | 0.000 | 133 | 0.001 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 |
| 13 | 0.004 | -0.004 | -0.026 | 0.000 | 0.000 | 0.000 | 134 | 0.000 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
| 14 | 0.003 | -0.007 | -0.026 | 0.000 | 0.000 | 0.000 | 135 | -0.003 | 0.000 | -0.026 | 0.000 | 0.000 | 0.000 |
| 15 | 0.002 | -0.006 | -0.027 | 0.000 | 0.000 | 0.000 | 136 | -0.002 | 0.000 | -0.018 | 0.000 | 0.000 | 0.000 |
| 16 | 0.001 | -0.004 | -0.027 | 0.000 | 0.000 | 0.000 | 137 | -0.001 | 0.000 | -0.010 | 0.000 | 0.000 | 0.000 |
| 17 | 0.000 | 0.000 | -0.027 | 0.000 | 0.000 | 0.000 | 138 | 0.000 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
| 18 | -0.001 | 0.003 | -0.027 | 0.000 | 0.000 | 0.000 | 139 | -0.003 | 0.000 | -0.022 | 0.000 | 0.000 | 0.000 |
| 19 | -0.003 | 0.005 | -0.027 | 0.000 | 0.000 | 0.000 | 140 | -0.002 | 0.000 | -0.016 | 0.000 | 0.000 | 0.000 |
| 20 | -0.003 | 0.006 | -0.026 | 0.000 | 0.000 | 0.000 | 141 | -0.001 | 0.000 | -0.009 | 0.000 | 0.000 | 0.000 |
| 21 | -0.004 | 0.003 | -0.026 | 0.000 | 0.000 | 0.000 | 142 | 0.000 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
| 22 | -0.004 | -0.002 | -0.026 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 23 | 0.006 | -0.002 | -0.027 | 0.000 | 0.000 | 0.000 Load case 8 (Linear): WIND COLS MAJOR (U) |  |  |  |  |  |  |  |
| 24 | 0.004 | -0.005 | -0.027 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 25 | 0.003 | -0.007 | -0.027 | 0.000 | 0.000 | 0.000 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 0.002 | -0.006 | -0.027 | 0.000 | 0.000 | 0.000 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 27 | 0.001 | -0.003 | -0.028 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 28 | 0.000 | 0.000 | -0.028 | 0.000 | 0.000 | 0.000 | 1 | 0.007 | 0.006 | -0.044 | 0.000 | 0.000 | 0.000 |
| 29 | -0.001 | 0.003 | -0.028 | 0.000 | 0.000 | 0.000 | 2 | 0.007 | -0.007 | -0.045 | 0.000 | 0.000 | 0.000 |
| 30 | -0.003 | 0.006 | -0.027 | 0.000 | 0.000 | 0.000 | 3 | 0.006 | -0.013 | -0.046 | 0.000 | 0.000 | 0.000 |
| 31 | -0.003 | 0.007 | -0.027 | 0.000 | 0.000 | 0.000 | 4 | 0.004 | -0.012 | -0.046 | 0.000 | 0.000 | 0.000 |
| 32 | -0.004 | 0.005 | -0.027 | 0.000 | 0.000 | 0.000 | 5 | 0.002 | -0.008 | -0.047 | 0.000 | 0.000 | 0.000 |
| 33 | -0.005 | 0.000 | -0.027 | 0.000 | 0.000 | 0.000 | 6 | 0.000 | -0.002 | -0.047 | 0.000 | 0.000 | 0.000 |
| 34 | 0.004 | 0.000 | -0.027 | 0.000 | 0.000 | 0.000 | 7 | -0.002 | 0.004 | -0.047 | 0.000 | 0.000 | 0.000 |
| 35 | 0.004 | -0.005 | -0.027 | 0.000 | 0.000 | 0.000 | 8 | -0.004 | 0.008 | -0.046 | 0.000 | 0.000 | 0.000 |
| 36 | 0.003 | -0.007 | -0.028 | 0.000 | 0.000 | 0.000 | 9 | -0.006 | 0.009 | -0.046 | 0.000 | 0.000 | 0.000 |
| 37 | 0.002 | -0.006 | -0.028 | 0.000 | 0.000 | 0.000 | 10 | -0.007 | 0.004 | -0.045 | 0.000 | 0.000 | 0.000 |
| 38 | 0.001 | -0.003 | -0.028 | 0.000 | 0.000 | 0.000 | 11 | -0.008 | -0.007 | -0.044 | 0.000 | 0.000 | 0.000 |
| 39 | 0.000 | 0.000 | -0.028 | 0.000 | 0.000 | 0.000 | 12 | 0.007 | 0.003 | -0.046 | 0.000 | 0.000 | 0.000 |
| 40 | -0.001 | 0.004 | -0.028 | 0.000 | 0.000 | 0.000 | 13 | 0.007 | -0.008 | -0.047 | 0.000 | 0.000 | 0.000 |
| 41 | -0.003 | 0.006 | -0.028 | 0.000 | 0.000 | 0.000 | 14 | 0.006 | -0.012 | -0.048 | 0.000 | 0.000 | 0.000 |
| 42 | -0.004 | 0.007 | -0.028 | 0.000 | 0.000 | 0.000 | 15 | 0.004 | -0.011 | -0.048 | 0.000 | 0.000 | 0.000 |
| 43 | -0.004 | 0.005 | -0.027 | 0.000 | 0.000 | 0.000 | 16 | 0.002 | -0.006 | -0.049 | 0.000 | 0.000 | 0.000 |
| 44 | 0.003 | 0.000 | -0.027 | 0.000 | 0.000 | 0.000 | 17 | 0.000 | -0.001 | -0.049 | 0.000 | 0.000 | 0.000 |
| 45 | 0.004 | 0.000 | -0.028 | 0.000 | 0.000 | 0.000 | 18 | -0.002 | 0.005 | -0.049 | 0.000 | 0.000 | 0.000 |
| 46 | 0.004 | -0.006 | -0.028 | 0.000 | 0.000 | 0.000 | 19 | -0.005 | 0.009 | -0.048 | 0.000 | 0.000 | 0.000 |
| 47 | 0.003 | -0.007 | -0.029 | 0.000 | 0.000 | 0.000 | 20 | -0.006 | 0.011 | -0.048 | 0.000 | 0.000 | 0.000 |
| 48 | 0.002 | -0.005 | -0.029 | 0.000 | 0.000 | 0.000 | 21 | -0.007 | 0.006 | -0.047 | 0.000 | 0.000 | 0.000 |
| 49 | 0.001 | -0.002 | -0.029 | 0.000 | 0.000 | 0.000 | 22 | -0.008 | -0.004 | -0.046 | 0.000 | 0.000 | 0.000 |
| 50 | 0.000 | 0.001 | -0.029 | 0.000 | 0.000 | 0.000 | 23 | 0.010 | -0.004 | -0.049 | 0.000 | 0.000 | 0.000 |
| 51 | -0.002 | 0.005 | -0.029 | 0.000 | 0.000 | 0.000 | 24 | 0.007 | -0.009 | -0.049 | 0.000 | 0.000 | 0.000 |
| 52 | -0.003 | 0.007 | -0.029 | 0.000 | 0.000 | 0.000 | 25 | 0.006 | -0.012 | -0.049 | 0.000 | 0.000 | 0.000 |
| 53 | -0.004 | 0.008 | -0.029 | 0.000 | 0.000 | 0.000 | 26 | 0.004 | -0.010 | -0.050 | 0.000 | 0.000 | 0.000 |
| 54 | -0.004 | 0.006 | -0.028 | 0.000 | 0.000 | 0.000 | 27 | 0.002 | -0.006 | -0.050 | 0.000 | 0.000 | 0.000 |
| 55 | -0.005 | 0.001 | -0.028 | 0.000 | 0.000 | 0.000 | 28 | 0.000 | 0.000 | -0.050 | 0.000 | 0.000 | 0.000 |
| 56 | 0.004 | 0.000 | -0.029 | 0.000 | 0.000 | 0.000 | 29 | -0.003 | 0.006 | -0.050 | 0.000 | 0.000 | 0.000 |
| 57 | 0.004 | -0.005 | -0.029 | 0.000 | 0.000 | 0.000 | 30 | -0.005 | 0.011 | -0.050 | 0.000 | 0.000 | 0.000 |
| 58 | 0.003 | -0.006 | -0.030 | 0.000 | 0.000 | 0.000 | 31 | -0.006 | 0.012 | -0.049 | 0.000 | 0.000 | 0.000 |
| 59 | 0.002 | -0.004 | -0.030 | 0.000 | 0.000 | 0.000 | 32 | -0.008 | 0.008 | -0.049 | 0.000 | 0.000 | 0.000 |
| 60 | 0.001 | -0.001 | -0.030 | 0.000 | 0.000 | 0.000 | 33 | -0.008 | -0.001 | -0.049 | 0.000 | 0.000 | 0.000 |
| 61 | 0.000 | 0.002 | -0.030 | 0.000 | 0.000 | 0.000 | 34 | 0.007 | 0.000 | -0.050 | 0.000 | 0.000 | 0.000 |
| 62 | -0.002 | 0.005 | -0.030 | 0.000 | 0.000 | 0.000 | 35 | 0.007 | -0.009 | -0.050 | 0.000 | 0.000 | 0.000 |
| 63 | -0.003 | 0.008 | -0.030 | 0.000 | 0.000 | 0.000 | 36 | 0.006 | -0.012 | -0.050 | 0.000 | 0.000 | 0.000 |
| 64 | -0.004 | 0.009 | -0.030 | 0.000 | 0.000 | 0.000 | 37 | 0.004 | -0.010 | -0.050 | 0.000 | 0.000 | 0.000 |
| 65 | -0.005 | 0.006 | -0.029 | 0.000 | 0.000 | 0.000 | 38 | 0.002 | -0.005 | -0.050 | 0.000 | 0.000 | 0.000 |
| 66 | -0.005 | 0.000 | -0.029 | 0.000 | 0.000 | 0.000 | 39 | 0.000 | 0.001 | -0.050 | 0.000 | 0.000 | 0.000 |
| 67 | 0.004 | 0.000 | -0.030 | 0.000 | 0.000 | 0.000 | 40 | -0.003 | 0.007 | -0.050 | 0.000 | 0.000 | 0.000 |
| 68 | 0.004 | -0.004 | -0.030 | 0.000 | 0.000 | 0.000 | 41 | -0.005 | 0.011 | -0.050 | 0.000 | 0.000 | 0.000 |
| 69 | 0.003 | -0.005 | -0.031 | 0.000 | 0.000 | 0.000 | 42 | -0.006 | 0.013 | -0.050 | 0.000 | 0.000 | 0.000 |
| 70 | 0.002 | -0.003 | -0.031 | 0.000 | 0.000 | 0.000 | 43 | -0.008 | 0.009 | -0.050 | 0.000 | 0.000 | 0.000 |
| 71 | 0.001 | 0.000 | -0.031 | 0.000 | 0.000 | 0.000 | 44 | 0.006 | 0.000 | -0.050 | 0.000 | 0.000 | 0.000 |
| 72 | 0.000 | 0.003 | -0.031 | 0.000 | 0.000 | 0.000 | 45 | 0.008 | -0.001 | -0.050 | 0.000 | 0.000 | 0.000 |
| 73 | -0.002 | 0.006 | -0.031 | 0.000 | 0.000 | 0.000 | 46 | 0.007 | -0.010 | -0.051 | 0.000 | 0.000 | 0.000 |
| 74 | -0.003 | 0.008 | -0.031 | 0.000 | 0.000 | 0.000 | 47 | 0.006 | -0.012 | -0.052 | 0.000 | 0.000 | 0.000 |
| 75 | -0.004 | 0.009 | -0.031 | 0.000 | 0.000 | 0.000 | 48 | 0.004 | -0.009 | -0.053 | 0.000 | 0.000 | 0.000 |
| 76 | -0.005 | 0.006 | -0.030 | 0.000 | 0.000 | 0.000 | 49 | 0.002 | -0.004 | -0.053 | 0.000 | 0.000 | 0.000 |
| 77 | -0.005 | -0.001 | -0.030 | 0.000 | 0.000 | 0.000 | 50 | -0.001 | 0.002 | -0.053 | 0.000 | 0.000 | 0.000 |
| 78 | 0.004 | 0.000 | -0.032 | 0.000 | 0.000 | 0.000 | 51 | -0.003 | 0.008 | -0.053 | 0.000 | 0.000 | 0.000 |
| 79 | 0.004 | -0.003 | -0.032 | 0.000 | 0.000 | 0.000 | 52 | -0.005 | 0.013 | -0.052 | 0.000 | 0.000 | 0.000 |
| 80 | 0.003 | -0.004 | -0.032 | 0.000 | 0.000 | 0.000 | 53 | -0.007 | 0.015 | -0.052 | 0.000 | 0.000 | 0.000 |
| 81 | 0.002 | -0.002 | -0.032 | 0.000 | 0.000 | 0.000 | 54 | -0.008 | 0.011 | -0.051 | 0.000 | 0.000 | 0.000 |
| 82 | 0.001 | 0.001 | -0.032 | 0.000 | 0.000 | 0.000 | 55 | -0.009 | 0.001 | -0.050 | 0.000 | 0.000 | 0.000 |
| 83 | -0.001 | 0.004 | -0.032 | 0.000 | 0.000 | 0.000 | 56 | 0.008 | 0.000 | -0.052 | 0.000 | 0.000 | 0.000 |
| 84 | -0.002 | 0.007 | -0.032 | 0.000 | 0.000 | 0.000 | 57 | 0.007 | -0.009 | -0.053 | 0.000 | 0.000 | 0.000 |
| 85 | -0.003 | 0.009 | -0.032 | 0.000 | 0.000 | 0.000 | 58 | 0.006 | -0.011 | -0.054 | 0.000 | 0.000 | 0.000 |
| 86 | -0.004 | 0.009 | -0.032 | 0.000 | 0.000 | 0.000 | 59 | 0.004 | -0.008 | -0.055 | 0.000 | 0.000 | 0.000 |
| 87 | -0.004 | 0.006 | -0.032 | 0.000 | 0.000 | 0.000 | 60 | 0.002 | -0.003 | -0.055 | 0.000 | 0.000 | 0.000 |
| 88 | 0.002 | 0.000 | -0.021 | 0.000 | 0.000 | 0.000 | 61 | -0.001 | 0.004 | -0.055 | 0.000 | 0.000 | 0.000 |
| 89 | 0.003 | -0.003 | -0.032 | 0.000 | 0.000 | 0.000 | 62 | -0.003 | 0.010 | -0.055 | 0.000 | 0.000 | 0.000 |
| 90 | 0.004 | -0.003 | -0.032 | 0.000 | 0.000 | 0.000 | 63 | -0.005 | 0.015 | -0.055 | 0.000 | 0.000 | 0.000 |
| 91 | 0.003 | -0.004 | -0.032 | 0.000 | 0.000 | 0.000 | 64 | -0.007 | 0.016 | -0.054 | 0.000 | 0.000 | 0.000 |
| 92 | 0.002 | -0.002 | -0.032 | 0.000 | 0.000 | 0.000 | 65 | -0.008 | 0.012 | -0.053 | 0.000 | 0.000 | 0.000 |
| 93 | 0.001 | 0.001 | -0.033 | 0.000 | 0.000 | 0.000 | 66 | -0.009 | -0.001 | -0.052 | 0.000 | 0.000 | 0.000 |
| 94 | -0.001 | 0.004 | -0.033 | 0.000 | 0.000 | 0.000 | 67 | 0.008 | 0.001 | -0.054 | 0.000 | 0.000 | 0.000 |
| 95 | -0.002 | 0.007 | -0.032 | 0.000 | 0.000 | 0.000 | 68 | 0.007 | -0.007 | -0.055 | 0.000 | 0.000 | 0.000 |
| 96 | -0.003 | 0.009 | -0.032 | 0.000 | 0.000 | 0.000 | 69 | 0.006 | -0.009 | -0.056 | 0.000 | 0.000 | 0.000 |
| 97 | -0.004 | 0.009 | -0.032 | 0.000 | 0.000 | 0.000 | 70 | 0.004 | -0.006 | -0.057 | 0.000 | 0.000 | 0.000 |
| 98 | -0.005 | 0.006 | -0.032 | 0.000 | 0.000 | 0.000 | 71 | 0.001 | -0.001 | -0.057 | 0.000 | 0.000 | 0.000 |
| 99 | -0.005 | 0.001 | -0.032 | 0.000 | 0.000 | 0.000 | 72 | -0.001 | 0.005 | -0.057 | 0.000 | 0.000 | 0.000 |
| 100 | -0.004 | 0.007 | -0.032 | 0.000 | 0.000 | 0.000 | 73 | -0.003 | 0.011 | -0.057 | 0.000 | 0.000 | 0.000 |
| 101 | 0.004 | -0.001 | -0.033 | 0.000 | 0.000 | 0.000 | 74 | -0.005 | 0.015 | -0.057 | 0.000 | 0.000 | 0.000 |
| 102 | 0.004 | -0.004 | -0.033 | 0.000 | 0.000 | 0.000 | 75 | -0.007 | 0.016 | -0.056 | 0.000 | 0.000 | 0.000 |
| 103 | 0.003 | -0.003 | -0.033 | 0.000 | 0.000 | 0.000 | 76 | -0.008 | 0.011 | -0.055 | 0.000 | 0.000 | 0.000 |
| 104 | 0.002 | -0.001 | -0.033 | 0.000 | 0.000 | 0.000 | 77 | -0.009 | -0.002 | -0.054 | 0.000 | 0.000 | 0.000 |
| 105 | 0.001 | 0.001 | -0.034 | 0.000 | 0.000 | 0.000 | 78 | 0.008 | 0.000 | -0.058 | 0.000 | 0.000 | 0.000 |
| 106 | -0.001 | 0.005 | -0.034 | 0.000 | 0.000 | 0.000 | 79 | 0.007 | -0.006 | -0.058 | 0.000 | 0.000 | 0.000 |
| 107 | -0.002 | 0.007 | -0.033 | 0.000 | 0.000 | 0.000 | 80 | 0.005 | -0.007 | -0.058 | 0.000 | 0.000 | 0.000 |
| 108 | -0.003 | 0.009 | -0.033 | 0.000 | 0.000 | 0.000 | 81 | 0.003 | -0.004 | -0.058 | 0.000 | 0.000 | 0.000 |
| 109 | -0.004 | 0.010 | -0.033 | 0.000 | 0.000 | 0.000 | 82 | 0.001 | 0.001 | -0.058 | 0.000 | 0.000 | 0.000 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 83 | -0.001 | 0.007 | -0.058 | 0.000 | 0.000 | 0.000 | 56 | -0.064 | -0.188 | 0.258 | -0.001 | 0.000 | 0.000 |
| 84 | -0.003 | 0.012 | -0.058 | 0.000 | 0.000 | 0.000 | 57 | 0.034 | -0.827 | 0.289 | -0.001 | 0.000 | 0.000 |
| 85 | -0.005 | 0.016 | -0.058 | 0.000 | 0.000 | 0.000 | 58 | 0.147 | -1.646 | 0.332 | -0.002 | 0.000 | 0.000 |
| 86 | -0.007 | 0.016 | -0.058 | 0.000 | 0.000 | 0.000 | 59 | 0.276 | -2.617 | 0.310 | -0.001 | 0.000 | 0.000 |
| 87 | -0.008 | 0.011 | -0.058 | 0.000 | 0.000 | 0.000 | 60 | 0.381 | -3.332 | 0.249 | -0.001 | 0.000 | 0.000 |
| 88 | 0.004 | 0.000 | -0.038 | 0.000 | 0.000 | 0.000 | 61 | 0.441 | -3.601 | 0.172 | 0.000 | 0.000 | 0.000 |
| 89 | 0.006 | -0.005 | -0.058 | 0.000 | 0.000 | 0.000 | 62 | 0.453 | -3.370 | 0.094 | 0.001 | 0.000 | 0.000 |
| 90 | 0.007 | -0.006 | -0.058 | 0.000 | 0.000 | 0.000 | 63 | 0.420 | -2.687 | 0.031 | 0.001 | 0.000 | 0.000 |
| 91 | 0.005 | -0.007 | -0.059 | 0.000 | 0.000 | 0.000 | 64 | 0.363 | -1.734 | 0.006 | 0.002 | 0.000 | 0.000 |
| 92 | 0.003 | -0.004 | -0.059 | 0.000 | 0.000 | 0.000 | 65 | 0.322 | -0.896 | 0.042 | 0.001 | 0.000 | 0.000 |
| 93 | 0.001 | 0.001 | -0.059 | 0.000 | 0.000 | 0.000 | 66 | 0.292 | -0.204 | 0.069 | 0.001 | 0.000 | 0.000 |
| 94 | -0.001 | 0.007 | -0.059 | 0.000 | 0.000 | 0.000 | 67 | -0.058 | -0.085 | 0.275 | -0.001 | 0.000 | 0.000 |
| 95 | -0.003 | 0.013 | -0.059 | 0.000 | 0.000 | 0.000 | 68 | 0.039 | -0.728 | 0.320 | -0.001 | 0.000 | 0.000 |
| 96 | -0.005 | 0.016 | -0.059 | 0.000 | 0.000 | 0.000 | 69 | 0.147 | -1.603 | 0.366 | -0.002 | 0.000 | 0.000 |
| 97 | -0.007 | 0.017 | -0.058 | 0.000 | 0.000 | 0.000 | 70 | 0.277 | -2.603 | 0.344 | -0.001 | 0.000 | 0.000 |
| 98 | -0.009 | 0.010 | -0.057 | 0.000 | 0.000 | 0.000 | 71 | 0.383 | -3.335 | 0.286 | -0.001 | 0.000 | 0.000 |
| 99 | -0.008 | 0.001 | -0.058 | 0.000 | 0.000 | 0.000 | 72 | 0.444 | -3.612 | 0.213 | 0.000 | 0.000 | 0.000 |
| 100 | -0.008 | 0.012 | -0.058 | 0.000 | 0.000 | 0.000 | 73 | 0.455 | -3.377 | 0.140 | 0.001 | 0.000 | 0.000 |
| 101 | 0.008 | -0.003 | -0.059 | 0.000 | 0.000 | 0.000 | 74 | 0.422 | -2.677 | 0.082 | 0.001 | 0.000 | 0.000 |
| 102 | 0.007 | -0.006 | -0.060 | 0.000 | 0.000 | 0.000 | 75 | 0.362 | -1.688 | 0.057 | 0.002 | 0.000 | 0.000 |
| 103 | 0.005 | -0.006 | -0.060 | 0.000 | 0.000 | 0.000 | 76 | 0.323 | -0.775 | 0.095 | 0.001 | 0.000 | 0.000 |
| 104 | 0.003 | -0.003 | -0.061 | 0.000 | 0.000 | 0.000 | 77 | 0.291 | -0.060 | 0.138 | 0.001 | 0.000 | 0.000 |
| 105 | 0.001 | 0.003 | -0.061 | 0.000 | 0.000 | 0.000 | 78 | -0.103 | -0.021 | 0.304 | -0.001 | 0.000 | 0.000 |
| 106 | -0.001 | 0.008 | -0.061 | 0.000 | 0.000 | 0.000 | 79 | -0.024 | -0.742 | 0.307 | -0.001 | 0.000 | -0.001 |
| 107 | -0.003 | 0.013 | -0.061 | 0.000 | 0.000 | 0.000 | 80 | 0.082 | -1.828 | 0.309 | -0.002 | 0.000 | -0.001 |
| 108 | -0.005 | 0.017 | -0.060 | 0.000 | 0.000 | 0.000 | 81 | 0.212 | -2.916 | 0.299 | -0.002 | 0.000 | -0.001 |
| 109 | -0.007 | 0.017 | -0.060 | 0.000 | 0.000 | 0.000 | 82 | 0.319 | -3.685 | 0.278 | -0.001 | 0.000 | -0.001 |
| 110 | -0.008 | 0.013 | -0.059 | 0.000 | 0.000 | 0.000 | 83 | 0.381 | -3.972 | 0.252 | 0.000 | 0.000 | -0.001 |
| 111 | -0.009 | 0.005 | -0.059 | 0.000 | 0.000 | 0.000 | 84 | 0.392 | -3.727 | 0.226 | 0.001 | 0.000 | -0.001 |
| 112 | 0.008 | -0.006 | -0.062 | 0.000 | 0.000 | 0.000 | 85 | 0.357 | -2.992 | 0.205 | 0.002 | 0.000 | -0.001 |
| 113 | 0.007 | -0.006 | -0.062 | 0.000 | 0.000 | 0.000 | 86 | 0.295 | -1.917 | 0.195 | 0.002 | 0.000 | -0.001 |
| 114 | 0.005 | -0.005 | -0.062 | 0.000 | 0.000 | 0.000 | 87 | 0.254 | -0.803 | 0.199 | 0.002 | 0.000 | -0.001 |
| 115 | 0.003 | -0.001 | -0.063 | 0.000 | 0.000 | 0.000 | 88 | -0.213 | -0.015 | 0.683 | 0.000 | 0.000 | 0.000 |
| 116 | 0.001 | 0.004 | -0.063 | 0.000 | 0.000 | 0.000 | 89 | -0.258 | -5.080 | -0.909 | 0.010 | 0.000 | -0.001 |
| 117 | -0.001 | 0.009 | -0.063 | 0.000 | 0.000 | 0.000 | 90 | -0.067 | -0.902 | 0.326 | -0.001 | 0.000 | -0.001 |
| 118 | -0.004 | 0.014 | -0.063 | 0.000 | 0.000 | 0.000 | 91 | 0.055 | -2.058 | 0.342 | -0.001 | -0.001 | -0.002 |
| 119 | -0.006 | 0.017 | -0.062 | 0.000 | 0.000 | 0.000 | 92 | 0.193 | -3.176 | 0.328 | -0.001 | 0.000 | -0.002 |
| 120 | -0.007 | 0.018 | -0.062 | 0.000 | 0.000 | 0.000 | 93 | 0.303 | -3.956 | 0.299 | -0.001 | 0.000 | -0.002 |
| 121 | -0.009 | 0.015 | -0.062 | 0.000 | 0.000 | 0.000 | 94 | 0.366 | -4.247 | 0.262 | 0.000 | 0.000 | -0.002 |
| 122 | -0.009 | 0.010 | -0.061 | 0.000 | 0.000 | 0.000 | 95 | 0.376 | -3.999 | 0.224 | 0.001 | 0.000 | -0.002 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 0.337 | -3.253 | 0.194 | 0.001 | 0.000 | -0.002 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 0.269 | -2.153 | 0.176 | 0.001 | 0.000 | -0.002 |
| 125 | -0.008 | 0.000 | -0.058 | 0.000 | 0.000 | 0.000 | 98 | 0.168 | -2.782 | 0.118 | 0.002 | 0.000 | -0.001 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 0.192 | -0.133 | 0.195 | 0.001 | 0.000 | -0.001 |
| 127 | -0.008 | 0.000 | -0.050 | 0.000 | 0.000 | 0.000 | 100 | 0.209 | -1.002 | 0.201 | 0.002 | 0.000 | -0.001 |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | -0.152 | -0.866 | 0.411 | -0.002 | 0.000 | -0.002 |
| 129 | 0.002 | 0.000 | -0.022 | 0.000 | 0.000 | 0.000 | 102 | -0.059 | -1.914 | 0.437 | -0.002 | 0.000 | -0.002 |
| 130 | 0.001 | 0.000 | -0.007 | 0.000 | 0.000 | 0.000 | 103 | 0.094 | -3.199 | 0.451 | -0.002 | 0.000 | -0.003 |
| 131 | 0.006 | 0.000 | -0.040 | 0.000 | 0.000 | 0.000 | 104 | 0.245 | -4.367 | 0.420 | -0.001 | 0.000 | -0.003 |
| 132 | 0.004 | 0.000 | -0.029 | 0.000 | 0.000 | 0.000 | 105 | 0.360 | -5.170 | 0.364 | -0.001 | 0.000 | -0.003 |
| 133 | 0.002 | 0.000 | -0.016 | 0.000 | 0.000 | 0.000 | 106 | 0.424 | -5.469 | 0.296 | 0.000 | 0.000 | -0.003 |
| 134 | 0.001 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 107 | 0.433 | -5.218 | 0.227 | 0.001 | 0.000 | -0.003 |
| 135 | -0.006 | 0.000 | -0.047 | 0.000 | 0.000 | 0.000 | 108 | 0.390 | -4.456 | 0.171 | 0.001 | 0.000 | -0.003 |
| 136 | -0.004 | 0.000 | -0.033 | 0.000 | 0.000 | 0.000 | 109 | 0.308 | -3.314 | 0.136 | 0.002 | 0.000 | -0.003 |
| 137 | -0.002 | 0.000 | -0.018 | 0.000 | 0.000 | 0.000 | 110 | 0.225 | -2.025 | 0.138 | 0.002 | 0.000 | -0.002 |
| 138 | -0.001 | 0.000 | -0.006 | 0.000 | 0.000 | 0.000 | 111 | 0.195 | -0.939 | 0.166 | 0.002 | 0.000 | -0.002 |
| 139 | -0.006 | 0.000 | -0.040 | 0.000 | 0.000 | 0.000 | 112 | -0.034 | -2.408 | 0.525 | -0.002 | 0.000 | -0.002 |
| 140 | -0.004 | 0.000 | -0.029 | 0.000 | 0.000 | 0.000 | 113 | 0.105 | -3.778 | 0.529 | -0.002 | 0.000 | -0.003 |
| 141 | -0.002 | 0.000 | -0.016 | 0.000 | 0.000 | 0.000 | 114 | 0.272 | -5.137 | 0.518 | -0.002 | 0.000 | -0.003 |
| 142 | -0.001 | 0.000 | -0.005 | 0.000 | 0.000 | 0.000 | 115 | 0.430 | -6.320 | 0.479 | -0.002 | 0.000 | -0.003 |
|  |  |  |  |  |  |  | 116 | 0.548 | -7.134 | 0.415 | -0.001 | 0.000 | -0.003 |
| Load case 10 (Linear): COMB 1 (1) 117 |  |  |  |  |  |  |  | 0.614 | -7.442 | 0.337 | 0.000 | 0.000 | -0.003 |
| 118 |  |  |  |  |  |  |  | 0.622 | -7.192 | 0.259 | 0.001 | 0.000 | -0.003 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | 0.577 | -6.430 | 0.194 | 0.002 | 0.000 | -0.003 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | 0.491 | -5.282 | 0.152 | 0.002 | 0.000 | -0.003 |
|  |  |  |  |  |  |  | 121 | 0.394 | -3.934 | 0.137 | 0.002 | 0.000 | -0.003 |
| 1 | 0.181 | -1.459 | 0.126 | -0.001 | 0.000 | 0.001 | 122 | 0.322 | -2.551 | 0.140 | 0.002 | 0.000 | -0.002 |
| 2 | 0.426 | -2.892 | 0.167 | -0.002 | 0.000 | 0.002 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 0.664 | -4.552 | 0.195 | -0.002 | 0.000 | 0.002 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 0.874 | -6.045 | 0.158 | -0.001 | 0.000 | 0.003 | 125 | 0.236 | -0.018 | 0.202 | 0.001 | 0.000 | 0.000 |
| 5 | 1.020 | -7.026 | 0.089 | -0.001 | 0.000 | 0.003 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 1.093 | -7.367 | 0.006 | 0.000 | 0.000 | 0.003 | 127 | 0.267 | -0.016 | 0.037 | 0.001 | 0.000 | 0.000 |
| 7 | 1.088 | -7.031 | -0.077 | 0.001 | 0.000 | 0.003 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 1.008 | -6.044 | -0.147 | 0.001 | 0.000 | 0.003 | 129 | -0.138 | -0.010 | 0.446 | 0.001 | 0.000 | 0.000 |
| 9 | 0.862 | -4.521 | -0.186 | 0.002 | 0.000 | 0.002 | 130 | -0.045 | -0.005 | 0.147 | 0.000 | 0.000 | 0.000 |
| 10 | 0.685 | -2.792 | -0.168 | 0.002 | 0.000 | 0.002 | 131 | 0.004 | -0.015 | 0.385 | 0.000 | 0.000 | 0.000 |
| 11 | 0.490 | -1.219 | -0.139 | 0.001 | 0.000 | 0.001 | 132 | 0.037 | -0.012 | 0.433 | 0.000 | 0.000 | 0.000 |
| 12 | 0.074 | -0.568 | 0.120 | -0.001 | 0.000 | 0.001 | 133 | 0.032 | -0.008 | 0.288 | 0.000 | 0.000 | 0.000 |
| 13 | 0.262 | -1.550 | 0.170 | -0.001 | 0.000 | 0.002 | 134 | 0.012 | -0.004 | 0.096 | 0.000 | 0.000 | 0.000 |
| 14 | 0.468 | -2.889 | 0.202 | -0.002 | 0.000 | 0.002 | 135 | 0.095 | -0.016 | -0.156 | 0.001 | 0.000 | 0.000 |
| 15 | 0.654 | -4.144 | 0.173 | -0.001 | 0.000 | 0.003 | 136 | 0.010 | -0.012 | -0.299 | 0.000 | 0.000 | 0.000 |
| 16 | 0.786 | -4.994 | 0.116 | -0.001 | 0.000 | 0.003 | 137 | -0.015 | -0.008 | -0.226 | 0.000 | 0.000 | 0.000 |
| 17 | 0.855 | -5.298 | 0.047 | 0.000 | 0.000 | 0.003 | 138 | -0.009 | -0.004 | -0.080 | 0.000 | 0.000 | 0.000 |
| 18 | 0.855 | -5.010 | -0.022 | 0.001 | 0.000 | 0.003 | 139 | 0.260 | -0.015 | -0.255 | 0.001 | 0.000 | 0.000 |
| 19 | 0.790 | -4.168 | -0.080 | 0.001 | 0.000 | 0.002 | 140 | 0.208 | -0.012 | -0.347 | 0.000 | 0.000 | 0.000 |
| 20 | 0.671 | -2.903 | -0.110 | 0.002 | 0.000 | 0.002 | 141 | 0.120 | -0.008 | -0.245 | 0.000 | 0.000 | 0.000 |
| 21 | 0.528 | -1.517 | -0.086 | 0.002 | 0.000 | 0.002 | 142 | 0.037 | -0.004 | -0.084 | 0.000 | 0.000 | 0.000 |
| 22 | 0.394 | -0.448 | -0.048 | 0.001 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 23 | 0.071 | -5.018 | -1.097 | 0.010 | 0.000 | 0.001 Load case 20 (Linear): COMB 2 (1+2+4) |  |  |  |  |  |  |  |
| 24 | 0.116 | -0.800 | 0.137 | -0.001 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 25 | 0.294 | -1.907 | 0.168 | -0.002 | 0.000 | 0.001 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 0.457 | -3.003 | 0.154 | -0.001 | 0.000 | 0.002 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 27 | 0.577 | -3.771 | 0.120 | -0.001 | 0.000 | 0.002 |  |  |  |  |  |  |  |
| 28 | 0.642 | -4.052 | 0.076 | 0.000 | 0.000 | 0.002 | 1 | 0.267 | -1.525 | 0.166 | -0.001 | 0.000 | 0.001 |
| 29 | 0.647 | -3.794 | 0.033 | 0.001 | 0.000 | 0.002 | 2 | 0.564 | -3.273 | 0.206 | -0.002 | 0.000 | 0.002 |
| 30 | 0.596 | -3.043 | -0.003 | 0.001 | 0.000 | 0.002 | 3 | 0.839 | -5.203 | 0.236 | -0.002 | 0.000 | 0.003 |
| 31 | 0.500 | -1.952 | -0.019 | 0.002 | 0.000 | 0.001 | 4 | 1.078 | -6.929 | 0.193 | -0.002 | 0.000 | 0.003 |
| 32 | 0.387 | -0.822 | 0.003 | 0.001 | 0.000 | 0.001 | 5 | 1.245 | -8.066 | 0.113 | -0.001 | 0.000 | 0.003 |
| 33 | 0.300 | -0.053 | 0.038 | 0.001 | 0.000 | 0.000 | 6 | 1.327 | -8.463 | 0.017 | 0.000 | 0.000 | 0.003 |
| 34 | -0.067 | -0.017 | 0.134 | -0.001 | 0.000 | 0.000 | 7 | 1.319 | -8.076 | -0.080 | 0.001 | 0.000 | 0.003 |
| 35 | 0.058 | -0.677 | 0.137 | -0.001 | 0.000 | 0.000 | 8 | 1.224 | -6.938 | -0.162 | 0.002 | 0.000 | 0.003 |
| 36 | 0.228 | -1.711 | 0.141 | -0.002 | 0.000 | 0.001 | 9 | 1.054 | -5.181 | -0.207 | 0.002 | 0.000 | 0.003 |
| 37 | 0.384 | -2.765 | 0.132 | -0.002 | 0.000 | 0.001 | 10 | 0.846 | -3.179 | -0.187 | 0.002 | 0.000 | 0.002 |
| 38 | 0.501 | -3.513 | 0.112 | -0.001 | 0.000 | 0.001 | 11 | 0.602 | -1.270 | -0.161 | 0.002 | 0.000 | 0.001 |
| 39 | 0.565 | -3.787 | 0.086 | 0.000 | 0.000 | 0.001 | 12 | 0.154 | -0.590 | 0.154 | -0.001 | 0.000 | 0.001 |
| 40 | 0.571 | -3.537 | 0.061 | 0.001 | 0.000 | 0.001 | 13 | 0.380 | -1.761 | 0.206 | -0.002 | 0.000 | 0.002 |
| 41 | 0.524 | -2.811 | 0.040 | 0.001 | 0.000 | 0.001 | 14 | 0.617 | -3.316 | 0.242 | -0.002 | 0.000 | 0.002 |
| 42 | 0.436 | -1.766 | 0.030 | 0.002 | 0.000 | 0.001 | 15 | 0.828 | -4.771 | 0.208 | -0.002 | 0.000 | 0.003 |
| 43 | 0.331 | -0.718 | 0.033 | 0.001 | 0.000 | 0.000 | 16 | 0.979 | -5.759 | 0.142 | -0.001 | 0.000 | 0.003 |
| 44 | -0.203 | -0.020 | 0.642 | 0.000 | 0.000 | 0.000 | 17 | 1.056 | -6.113 | 0.061 | 0.000 | 0.000 | 0.003 |
| 45 | -0.093 | -0.097 | 0.187 | -0.001 | 0.000 | 0.000 | 18 | 1.054 | -5.780 | -0.020 | 0.001 | 0.000 | 0.003 |
| 46 | 0.004 | -0.715 | 0.228 | -0.001 | 0.000 | 0.000 | 19 | 0.977 | -4.804 | -0.086 | 0.002 | 0.000 | 0.003 |
| 47 | 0.133 | -1.568 | 0.271 | -0.002 | 0.000 | 0.000 | 20 | 0.837 | -3.340 | -0.121 | 0.002 | 0.000 | 0.002 |
| 48 | 0.265 | -2.537 | 0.251 | -0.001 | 0.000 | 0.000 | 21 | 0.670 | -1.735 | -0.094 | 0.002 | 0.000 | 0.002 |
| 49 | 0.370 | -3.245 | 0.197 | -0.001 | 0.000 | 0.000 | 22 | 0.501 | -0.462 | -0.057 | 0.001 | 0.000 | 0.001 |
| 50 | 0.431 | -3.510 | 0.130 | 0.000 | 0.000 | 0.000 | 23 | 0.158 | -3.747 | -0.760 | 0.007 | 0.000 | 0.001 |
| 51 | 0.441 | -3.276 | 0.062 | 0.001 | 0.000 | 0.000 | 24 | 0.213 | -0.918 | 0.165 | -0.002 | 0.000 | 0.001 |
| 52 | 0.407 | -2.597 | 0.007 | 0.001 | 0.000 | 0.000 | 25 | 0.417 | -2.205 | 0.200 | -0.002 | 0.000 | 0.002 |
| 53 | 0.345 | -1.648 | -0.016 | 0.002 | 0.000 | 0.000 | 26 | 0.603 | -3.481 | 0.183 | -0.002 | 0.000 | 0.002 |
| 54 | 0.290 | -0.795 | 0.021 | 0.001 | 0.000 | 0.000 | 27 | 0.740 | -4.375 | 0.143 | -0.001 | 0.000 | 0.002 |
| 55 | 0.261 | -0.147 | 0.055 | 0.001 | 0.000 | 0.000 | 28 | 0.813 | -4.703 | 0.093 | 0.000 | 0.000 | 0.002 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 29 | 0.816 | -4.403 | 0.042 | 0.001 | 0.000 | 0.002 | 2 | 2.583 | -3.554 | 0.279 | -0.002 | 0.000 | 0.003 |
| 30 | 0.754 | -3.530 | 0.001 | 0.001 | 0.000 | 0.002 | 3 | 3.074 | -6.618 | 0.305 | -0.002 | 0.000 | 0.004 |
| 31 | 0.641 | -2.261 | -0.018 | 0.002 | 0.000 | 0.001 | 4 | 3.467 | -9.100 | 0.244 | -0.002 | 0.000 | 0.005 |
| 32 | 0.507 | -0.948 | 0.007 | 0.002 | 0.000 | 0.001 | 5 | 3.730 | -10.589 | 0.147 | -0.001 | 0.000 | 0.006 |
| 33 | 0.401 | -0.052 | 0.047 | 0.001 | 0.000 | 0.000 | 6 | 3.888 | -11.089 | 0.035 | 0.000 | 0.000 | 0.006 |
| 34 | 0.004 | -0.018 | 0.158 | -0.001 | 0.000 | 0.000 | 7 | 3.947 | -10.590 | -0.078 | 0.001 | 0.000 | 0.006 |
| 35 | 0.147 | -0.786 | 0.162 | -0.002 | 0.000 | 0.000 | 8 | 3.895 | -9.062 | -0.181 | 0.002 | 0.000 | 0.005 |
| 36 | 0.341 | -1.990 | 0.167 | -0.002 | 0.000 | 0.001 | 9 | 3.700 | -6.450 | -0.252 | 0.002 | 0.000 | 0.004 |
| 37 | 0.519 | -3.219 | 0.156 | -0.002 | 0.000 | 0.001 | 10 | 3.398 | -3.126 | -0.246 | 0.002 | 0.000 | 0.002 |
| 38 | 0.652 | -4.090 | 0.133 | -0.001 | 0.000 | 0.001 | 11 | 3.104 | -0.258 | -0.213 | 0.002 | 0.000 | 0.001 |
| 39 | 0.724 | -4.410 | 0.104 | 0.000 | 0.000 | 0.001 | 12 | 2.008 | -0.245 | 0.270 | -0.001 | 0.000 | 0.001 |
| 40 | 0.729 | -4.119 | 0.074 | 0.001 | 0.000 | 0.001 | 13 | 2.359 | -1.725 | 0.325 | -0.002 | 0.000 | 0.002 |
| 41 | 0.671 | -3.273 | 0.050 | 0.002 | 0.000 | 0.001 | 14 | 2.752 | -3.807 | 0.358 | -0.002 | 0.000 | 0.004 |
| 42 | 0.567 | -2.056 | 0.038 | 0.002 | 0.000 | 0.001 | 15 | 3.073 | -5.570 | 0.317 | -0.002 | 0.000 | 0.005 |
| 43 | 0.444 | -0.835 | 0.042 | 0.002 | 0.000 | 0.000 | 16 | 3.298 | -6.689 | 0.247 | -0.001 | 0.000 | 0.005 |
| 44 | -0.146 | -0.021 | 0.730 | -0.001 | 0.000 | 0.000 | 17 | 3.445 | -7.085 | 0.167 | 0.000 | 0.000 | 0.006 |
| 45 | -0.020 | -0.120 | 0.226 | -0.001 | 0.000 | 0.000 | 18 | 3.518 | -6.727 | 0.085 | 0.001 | 0.000 | 0.005 |
| 46 | 0.089 | -0.875 | 0.266 | -0.002 | 0.000 | 0.000 | 19 | 3.509 | -5.618 | 0.012 | 0.002 | 0.000 | 0.005 |
| 47 | 0.236 | -1.881 | 0.315 | -0.002 | 0.000 | 0.000 | 20 | 3.396 | -3.805 | -0.035 | 0.002 | 0.000 | 0.004 |
| 48 | 0.388 | -3.016 | 0.292 | -0.002 | 0.000 | 0.000 | 21 | 3.200 | -1.562 | -0.020 | 0.002 | 0.000 | 0.002 |
| 49 | 0.508 | -3.844 | 0.229 | -0.001 | 0.000 | 0.000 | 22 | 3.035 | 0.156 | 0.016 | 0.002 | 0.000 | 0.000 |
| 50 | 0.576 | -4.153 | 0.151 | 0.000 | 0.000 | 0.000 | 23 | 2.041 | -3.702 | -0.604 | 0.007 | 0.000 | 0.001 |
| 51 | 0.585 | -3.880 | 0.072 | 0.001 | 0.000 | 0.000 | 24 | 2.149 | -0.758 | 0.322 | -0.001 | 0.000 | 0.001 |
| 52 | 0.542 | -3.085 | 0.008 | 0.002 | 0.000 | 0.000 | 25 | 2.469 | -2.053 | 0.355 | -0.002 | 0.000 | 0.003 |
| 53 | 0.467 | -1.972 | -0.019 | 0.002 | 0.000 | 0.000 | 26 | 2.730 | -3.278 | 0.344 | -0.001 | 0.000 | 0.004 |
| 54 | 0.399 | -0.963 | 0.023 | 0.002 | 0.000 | 0.000 | 27 | 2.923 | -4.124 | 0.309 | -0.001 | 0.000 | 0.004 |
| 55 | 0.364 | -0.171 | 0.056 | 0.001 | 0.000 | 0.000 | 28 | 3.062 | -4.445 | 0.264 | 0.000 | 0.000 | 0.004 |
| 56 | 0.012 | -0.216 | 0.308 | -0.001 | 0.000 | 0.000 | 29 | 3.147 | -4.191 | 0.219 | 0.001 | 0.000 | 0.004 |
| 57 | 0.130 | -1.024 | 0.334 | -0.002 | 0.000 | 0.000 | 30 | 3.173 | -3.393 | 0.182 | 0.001 | 0.000 | 0.004 |
| 58 | 0.262 | -1.998 | 0.384 | -0.002 | 0.000 | 0.000 | 31 | 3.126 | -2.176 | 0.165 | 0.002 | 0.000 | 0.002 |
| 59 | 0.411 | -3.136 | 0.358 | -0.002 | 0.000 | 0.000 | 32 | 3.010 | -0.809 | 0.182 | 0.001 | 0.000 | 0.001 |
| 60 | 0.531 | -3.971 | 0.287 | -0.001 | 0.000 | 0.000 | 33 | 2.949 | 0.139 | 0.216 | 0.001 | 0.000 | -0.001 |
| 61 | 0.599 | -4.284 | 0.196 | 0.000 | 0.000 | 0.000 | 34 | 1.853 | -0.016 | 0.333 | -0.001 | 0.000 | -0.001 |
| 62 | 0.609 | -4.013 | 0.106 | 0.001 | 0.000 | 0.000 | 35 | 2.067 | -0.640 | 0.338 | -0.001 | 0.000 | 0.000 |
| 63 | 0.567 | -3.215 | 0.033 | 0.002 | 0.000 | 0.000 | 36 | 2.362 | -1.655 | 0.344 | -0.002 | 0.000 | 0.002 |
| 64 | 0.496 | -2.095 | 0.003 | 0.002 | 0.000 | 0.000 | 37 | 2.604 | -2.707 | 0.337 | -0.002 | 0.000 | 0.003 |
| 65 | 0.442 | -1.098 | 0.044 | 0.002 | 0.000 | 0.000 | 38 | 2.787 | -3.466 | 0.319 | -0.001 | 0.000 | 0.003 |
| 66 | 0.397 | -0.228 | 0.066 | 0.001 | 0.000 | 0.000 | 39 | 2.923 | -3.763 | 0.296 | 0.000 | 0.000 | 0.003 |
| 67 | 0.019 | -0.095 | 0.321 | -0.001 | 0.000 | 0.000 | 40 | 3.012 | -3.542 | 0.272 | 0.001 | 0.000 | 0.003 |
| 68 | 0.139 | -0.882 | 0.366 | -0.002 | 0.000 | 0.000 | 41 | 3.050 | -2.845 | 0.253 | 0.001 | 0.000 | 0.003 |
| 69 | 0.266 | -1.914 | 0.418 | -0.002 | 0.000 | 0.000 | 42 | 3.024 | -1.820 | 0.242 | 0.002 | 0.000 | 0.002 |
| 70 | 0.416 | -3.078 | 0.392 | -0.002 | 0.000 | 0.000 | 43 | 2.936 | -0.765 | 0.244 | 0.001 | 0.000 | 0.000 |
| 71 | 0.537 | -3.927 | 0.325 | -0.001 | 0.000 | 0.000 | 44 | 0.498 | -0.050 | 2.103 | -0.002 | 0.000 | -0.002 |
| 72 | 0.606 | -4.247 | 0.241 | 0.000 | 0.000 | 0.000 | 45 | 1.953 | -0.125 | 0.516 | -0.001 | 0.000 | 0.000 |
| 73 | 0.616 | -3.973 | 0.157 | 0.001 | 0.000 | 0.000 | 46 | 2.057 | -0.519 | 0.549 | -0.002 | 0.000 | 0.000 |
| 74 | 0.573 | -3.161 | 0.089 | 0.002 | 0.000 | 0.000 | 47 | 2.182 | -0.730 | 0.614 | -0.002 | 0.000 | 0.001 |
| 75 | 0.499 | -2.007 | 0.060 | 0.002 | 0.000 | 0.000 | 48 | 2.311 | -1.342 | 0.597 | -0.002 | 0.000 | 0.001 |
| 76 | 0.446 | -0.931 | 0.103 | 0.002 | 0.000 | 0.000 | 49 | 2.435 | -1.889 | 0.526 | -0.001 | 0.000 | 0.001 |
| 77 | 0.395 | -0.064 | 0.146 | 0.001 | 0.000 | 0.000 | 50 | 2.554 | -2.132 | 0.433 | 0.000 | 0.000 | 0.001 |
| 78 | -0.033 | -0.023 | 0.343 | -0.001 | 0.000 | 0.000 | 51 | 2.665 | -1.995 | 0.338 | 0.001 | 0.000 | 0.001 |
| 79 | 0.060 | -0.847 | 0.346 | -0.002 | 0.000 | -0.001 | 52 | 2.770 | -1.544 | 0.265 | 0.002 | 0.000 | 0.001 |
| 80 | 0.185 | -2.091 | 0.349 | -0.002 | 0.000 | -0.001 | 53 | 2.868 | -0.999 | 0.241 | 0.002 | 0.000 | 0.001 |
| 81 | 0.335 | -3.338 | 0.337 | -0.002 | 0.000 | -0.001 | 54 | 2.975 | -0.792 | 0.289 | 0.002 | 0.000 | 0.000 |
| 82 | 0.457 | -4.218 | 0.313 | -0.001 | 0.000 | -0.001 | 55 | 3.092 | -0.287 | 0.307 | 0.002 | 0.000 | 0.000 |
| 83 | 0.527 | -4.547 | 0.283 | 0.000 | 0.000 | -0.001 | 56 | 1.953 | 0.318 | 0.696 | -0.002 | 0.000 | 0.001 |
| 84 | 0.537 | -4.265 | 0.253 | 0.001 | 0.000 | -0.001 | 57 | 2.031 | -0.294 | 0.742 | -0.002 | 0.000 | 0.000 |
| 85 | 0.492 | -3.422 | 0.230 | 0.002 | 0.000 | -0.001 | 58 | 2.048 | -0.462 | 0.834 | -0.003 | 0.000 | 0.000 |
| 86 | 0.415 | -2.191 | 0.218 | 0.002 | 0.000 | -0.001 | 59 | 2.111 | -1.235 | 0.812 | -0.003 | 0.000 | -0.001 |
| 87 | 0.361 | -0.916 | 0.222 | 0.002 | 0.000 | -0.001 | 60 | 2.197 | -1.928 | 0.707 | -0.002 | 0.000 | -0.002 |
| 88 | -0.171 | -0.016 | 0.778 | 0.000 | 0.000 | 0.000 | 61 | 2.305 | -2.236 | 0.565 | 0.000 | 0.000 | -0.002 |
| 89 | -0.210 | -3.822 | -0.558 | 0.007 | 0.000 | -0.001 | 62 | 2.430 | -2.051 | 0.422 | 0.002 | 0.000 | -0.002 |
| 90 | 0.012 | -1.018 | 0.369 | -0.002 | 0.000 | -0.001 | 63 | 2.576 | -1.466 | 0.314 | 0.003 | 0.000 | -0.001 |
| 91 | 0.154 | -2.333 | 0.386 | -0.002 | -0.001 | -0.002 | 64 | 2.744 | -0.747 | 0.286 | 0.003 | 0.000 | 0.000 |
| 92 | 0.312 | -3.607 | 0.370 | -0.001 | 0.000 | -0.002 | 65 | 2.958 | -0.519 | 0.357 | 0.003 | 0.000 | 0.000 |
| 93 | 0.436 | -4.498 | 0.336 | -0.001 | 0.000 | -0.002 | 66 | 3.098 | 0.283 | 0.394 | 0.002 | 0.000 | 0.001 |
| 94 | 0.506 | -4.830 | 0.294 | 0.000 | 0.000 | -0.002 | 67 | 1.858 | 0.698 | 0.786 | -0.002 | 0.000 | 0.000 |
| 95 | 0.515 | -4.545 | 0.251 | 0.001 | 0.000 | -0.002 | 68 | 1.930 | -0.518 | 0.913 | -0.003 | 0.000 | -0.001 |
| 96 | 0.468 | -3.694 | 0.216 | 0.001 | 0.000 | -0.002 | 69 | 1.900 | -1.633 | 1.045 | -0.004 | 0.000 | -0.004 |
| 97 | 0.385 | -2.439 | 0.195 | 0.002 | 0.001 | -0.002 | 70 | 1.948 | -3.345 | 1.011 | -0.004 | 0.000 | -0.006 |
| 98 | 0.264 | -2.508 | 0.132 | 0.002 | 0.000 | -0.001 | 71 | 2.028 | -4.687 | 0.874 | -0.002 | 0.000 | -0.007 |
| 99 | 0.287 | -0.146 | 0.218 | 0.001 | 0.000 | -0.001 | 72 | 2.135 | -5.231 | 0.693 | 0.000 | 0.000 | -0.007 |
| 100 | 0.310 | -1.132 | 0.224 | 0.002 | 0.000 | -0.002 | 73 | 2.262 | -4.820 | 0.513 | 0.002 | 0.000 | -0.007 |
| 101 | -0.084 | -0.926 | 0.465 | -0.002 | 0.000 | -0.002 | 74 | 2.415 | -3.584 | 0.377 | 0.004 | 0.000 | -0.006 |
| 102 | 0.021 | -2.114 | 0.492 | -0.002 | 0.000 | -0.003 | 75 | 2.592 | -1.901 | 0.338 | 0.005 | 0.000 | -0.004 |
| 103 | 0.193 | -3.559 | 0.507 | -0.002 | 0.000 | -0.003 | 76 | 2.842 | -0.657 | 0.451 | 0.004 | 0.000 | -0.001 |
| 104 | 0.364 | -4.878 | 0.472 | -0.002 | 0.000 | -0.003 | 77 | 2.974 | 0.800 | 0.576 | 0.003 | 0.000 | 0.000 |
| 105 | 0.494 | -5.786 | 0.409 | -0.001 | 0.000 | -0.003 | 78 | 1.723 | -0.054 | 0.984 | -0.003 | 0.000 | -0.003 |
| 106 | 0.565 | -6.125 | 0.331 | 0.000 | 0.000 | -0.003 | 79 | 1.811 | -2.450 | 0.992 | -0.005 | 0.000 | -0.005 |
| 107 | 0.572 | -5.840 | 0.254 | 0.001 | 0.000 | -0.003 | 80 | 1.803 | -6.146 | 1.003 | -0.006 | 0.000 | -0.010 |
| 108 | 0.521 | -4.979 | 0.190 | 0.002 | 0.000 | -0.003 | 81 | 1.901 | -9.966 | 0.969 | -0.005 | 0.000 | -0.014 |
| 109 | 0.425 | -3.690 | 0.151 | 0.002 | 0.000 | -0.003 | 82 | 2.015 | -12.731 | 0.900 | -0.003 | 0.000 | -0.017 |
| 110 | 0.329 | -2.243 | 0.153 | 0.002 | 0.000 | -0.003 | 83 | 2.136 | -13.773 | 0.812 | 0.000 | 0.000 | -0.018 |
| 111 | 0.293 | -1.015 | 0.183 | 0.002 | 0.000 | -0.002 | 84 | 2.250 | -12.872 | 0.726 | 0.003 | 0.000 | -0.017 |
| 112 | 0.043 | -2.566 | 0.588 | -0.003 | 0.000 | -0.003 | 85 | 2.368 | -10.220 | 0.662 | 0.006 | 0.000 | -0.014 |
| 113 | 0.199 | -4.111 | 0.592 | -0.003 | 0.000 | -0.003 | 86 | 2.486 | -6.445 | 0.638 | 0.007 | 0.000 | -0.010 |
| 114 | 0.386 | -5.636 | 0.579 | -0.002 | 0.000 | -0.003 | 87 | 2.700 | -2.655 | 0.661 | 0.005 | 0.000 | -0.005 |
| 115 | 0.563 | -6.961 | 0.535 | -0.002 | 0.000 | -0.003 | 88 | -0.180 | -0.038 | 2.242 | 0.001 | 0.000 | -0.001 |
| 116 | 0.695 | -7.873 | 0.463 | -0.001 | 0.000 | -0.003 | 89 | 0.918 | -3.867 | 0.203 | 0.003 | -0.001 | -0.008 |
| 117 | 0.768 | -8.217 | 0.376 | 0.000 | 0.000 | -0.003 | 90 | 1.682 | -3.587 | 1.132 | -0.006 | -0.001 | -0.008 |
| 118 | 0.775 | -7.940 | 0.289 | 0.001 | 0.000 | -0.003 | 91 | 1.771 | -8.205 | 1.195 | -0.006 | -0.002 | -0.013 |
| 119 | 0.722 | -7.088 | 0.216 | 0.002 | 0.000 | -0.003 | 92 | 1.898 | -12.795 | 1.168 | -0.005 | -0.002 | -0.018 |
| 120 | 0.623 | -5.806 | 0.168 | 0.002 | 0.000 | -0.003 | 93 | 2.002 | -16.114 | 1.026 | -0.003 | -0.001 | -0.021 |
| 121 | 0.513 | -4.295 | 0.151 | 0.003 | 0.000 | -0.003 | 94 | 2.128 | -17.339 | 0.841 | 0.000 | 0.000 | -0.023 |
| 122 | 0.429 | -2.739 | 0.154 | 0.003 | 0.000 | -0.003 | 95 | 2.236 | -16.258 | 0.657 | 0.003 | 0.001 | -0.021 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 2.363 | -13.060 | 0.519 | 0.005 | 0.002 | -0.018 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 2.456 | -8.526 | 0.481 | 0.006 | 0.002 | -0.013 |
| 125 | 0.334 | -0.019 | 0.226 | 0.001 | 0.000 | 0.000 | 98 | 2.348 | -5.736 | 0.358 | 0.007 | 0.000 | -0.009 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 2.736 | -0.715 | 0.585 | 0.005 | 0.000 | -0.005 |
| 127 | 0.366 | -0.018 | 0.046 | 0.001 | 0.000 | 0.000 | 100 | 2.569 | -4.014 | 0.592 | 0.007 | 0.001 | -0.009 |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 1.703 | -3.750 | 1.689 | -0.009 | -0.001 | -0.007 |
| 129 | -0.114 | -0.011 | 0.509 | 0.001 | 0.000 | 0.000 | 102 | 1.812 | -9.419 | 1.872 | -0.011 | -0.002 | -0.014 |
| 130 | -0.038 | -0.005 | 0.168 | 0.001 | 0.000 | 0.000 | 103 | 2.185 | -16.823 | 2.039 | -0.012 | -0.002 | -0.019 |
| 131 | 0.065 | -0.017 | 0.450 | -0.001 | 0.000 | 0.000 | 104 | 2.512 | -24.218 | 1.980 | -0.011 | -0.002 | -0.025 |
| 132 | 0.083 | -0.013 | 0.505 | 0.000 | 0.000 | 0.000 | 105 | 2.736 | -29.825 | 1.534 | -0.006 | -0.001 | -0.030 |
| 133 | 0.058 | -0.009 | 0.336 | 0.001 | 0.000 | 0.000 | 106 | 2.906 | -31.743 | 0.946 | 0.000 | 0.000 | -0.031 |
| 134 | 0.020 | -0.004 | 0.112 | 0.000 | 0.000 | 0.000 | 107 | 2.971 | -29.995 | 0.360 | 0.006 | 0.001 | -0.030 |
| 135 | 0.171 | -0.018 | -0.182 | 0.001 | 0.000 | 0.000 | 108 | 2.980 | -24.536 | -0.079 | 0.011 | 0.001 | -0.025 |
| 136 | 0.061 | -0.013 | -0.344 | 0.000 | 0.000 | 0.000 | 109 | 2.877 | -17.228 | -0.142 | 0.012 | 0.001 | -0.019 |
| 137 | 0.013 | -0.009 | -0.260 | 0.000 | 0.000 | 0.000 | 110 | 2.727 | -9.823 | 0.002 | 0.011 | 0.001 | -0.014 |
| 138 | 0.000 | -0.005 | -0.092 | 0.000 | 0.000 | 0.000 | 111 | 2.822 | -4.025 | 0.199 | 0.010 | 0.001 | -0.008 |
| 139 | 0.344 | -0.017 | -0.295 | 0.001 | 0.000 | 0.000 | 112 | 2.120 | -10.169 | 2.496 | -0.016 | -0.002 | -0.011 |
| 140 | 0.269 | -0.013 | -0.402 | 0.000 | 0.000 | 0.000 | 113 | 2.720 | -20.172 | 2.633 | -0.017 | -0.002 | -0.016 |
| 141 | 0.154 | -0.008 | -0.284 | 0.000 | 0.000 | 0.000 | 114 | 3.478 | -31.405 | 2.774 | -0.019 | -0.002 | -0.022 |
| 142 | 0.047 | -0.004 | -0.097 | 0.000 | 0.000 | 0.000 | 115 | 4.236 | -43.052 | 2.666 | -0.018 | -0.002 | -0.028 |
|  |  |  |  |  |  |  | 116 | 4.831 | -52.315 | 1.982 | -0.010 | -0.001 | -0.033 |
| Load case 30 (Linear): COMB 3 (1+3+5+6) 117 |  |  |  |  |  |  |  | 5.104 | -55.346 | 1.074 | 0.000 | 0.000 | -0.034 |
| 118 |  |  |  |  |  |  |  | 5.073 | -52.510 | 0.167 | 0.011 | 0.001 | -0.033 |
| X-Axis |  | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | 4.716 | -43.424 | -0.510 | 0.018 | 0.001 | -0.028 |
| Node Transl'n |  | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | 4.188 | -31.905 | -0.616 | 0.020 | 0.002 | -0.022 |
|  |  |  |  |  |  |  | 121 | 3.657 | -20.717 | -0.477 | 0.018 | 0.001 | -0.016 |
| 1 2.116 |  | -1.049 | 0.229 | -0.002 | 0.000 | 0.001 | 122 | 3.268 | -10.681 | -0.336 | 0.016 | 0.001 | -0.011 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 2.089 | -11.783 | 0.449 | 0.005 | 0.001 | -0.017 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 2.218 | -7.691 | 0.420 | 0.006 | 0.002 | -0.013 |
| 125 | 2.808 | -0.046 | 0.675 | 0.003 | 0.000 | -0.003 | 98 | 2.159 | -5.728 | 0.315 | 0.006 | 0.000 | -0.009 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 2.545 | -0.671 | 0.514 | 0.005 | 0.000 | -0.004 |
| 127 | 2.922 | -0.015 | 0.248 | 0.001 | 0.000 | -0.001 | 100 | 2.365 | -3.631 | 0.521 | 0.006 | 0.001 | -0.008 |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 1.614 | -3.504 | 1.532 | -0.009 | -0.001 | -0.007 |
| 129 | -0.282 | -0.025 | 1.467 | 0.002 | 0.000 | 0.000 | 102 | 1.689 | -8.768 | 1.708 | -0.010 | -0.001 | -0.013 |
| 130 | -0.120 | -0.013 | 0.484 | 0.002 | 0.000 | 0.000 | 103 | 2.005 | -15.689 | 1.871 | -0.011 | -0.002 | -0.018 |
| 131 | 1.534 | -0.015 | 0.542 | 0.000 | 0.000 | -0.001 | 104 | 2.273 | -22.639 | 1.824 | -0.010 | -0.001 | -0.024 |
| 132 | 1.093 | -0.011 | 0.540 | 0.000 | 0.000 | -0.001 | 105 | 2.453 | -27.937 | 1.400 | -0.006 | -0.001 | -0.029 |
| 133 | 0.589 | -0.008 | 0.345 | 0.001 | 0.000 | -0.001 | 106 | 2.601 | -29.739 | 0.838 | 0.000 | 0.000 | -0.030 |
| 134 | 0.173 | -0.004 | 0.112 | 0.000 | 0.000 | -0.001 | 107 | 2.665 | -28.088 | 0.278 | 0.006 | 0.001 | -0.029 |
| 135 | 1.541 | -0.042 | -0.519 | 0.002 | 0.000 | -0.003 | 108 | 2.696 | -22.922 | -0.140 | 0.010 | 0.001 | -0.024 |
| 136 | 0.645 | -0.032 | -0.994 | 0.000 | 0.000 | -0.001 | 109 | 2.631 | -16.049 | -0.188 | 0.011 | 0.001 | -0.018 |
| 137 | 0.189 | -0.021 | -0.753 | -0.001 | 0.000 | -0.001 | 110 | 2.516 | -9.121 | -0.046 | 0.010 | 0.001 | -0.013 |
| 138 | 0.023 | -0.011 | -0.266 | -0.001 | 0.000 | 0.000 | 111 | 2.627 | -3.743 | 0.144 | 0.009 | 0.001 | -0.007 |
| 139 | 2.337 | -0.014 | -0.093 | 0.001 | 0.000 | -0.001 | 112 | 1.998 | -9.503 | 2.303 | -0.015 | -0.002 | -0.010 |
| 140 | 1.617 | -0.010 | -0.239 | 0.000 | 0.000 | -0.002 | 113 | 2.545 | -18.987 | 2.440 | -0.017 | -0.002 | -0.015 |
| 141 | 0.854 | -0.007 | -0.189 | 0.000 | 0.000 | -0.002 | 114 | 3.244 | -29.716 | 2.587 | -0.018 | -0.002 | -0.021 |
| 142 | 0.248 | -0.004 | -0.068 | 0.000 | 0.000 | -0.001 | 115 | 3.943 | -40.930 | 2.493 | -0.018 | -0.002 | -0.027 |
|  |  |  |  |  |  |  | 116 | 4.495 | -49.895 | 1.833 | -0.010 | -0.001 | -0.032 |
| Load case 40 (Linear): COMB 4 (1+6) 117 |  |  |  |  |  |  |  | 4.746 | -52.812 | 0.952 | 0.000 | 0.000 | -0.034 |
| 118 |  |  |  |  |  |  |  | 4.714 | -50.065 | 0.075 | 0.010 | 0.001 | -0.032 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | 4.378 | -41.255 | -0.579 | 0.018 | 0.001 | -0.027 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | 3.886 | -30.152 | -0.669 | 0.019 | 0.002 | -0.021 |
|  |  |  |  |  |  |  | 121 | 3.393 | -19.459 | -0.523 | 0.017 | 0.001 | -0.016 |
| 1 | 1.943 | -0.696 | 0.142 | -0.001 | 0.000 | 0.001 | 122 | 3.036 | -9.942 | -0.382 | 0.015 | 0.001 | -0.010 |
| 2 | 2.282 | -2.436 | 0.185 | -0.001 | 0.000 | 0.002 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 2.672 | -4.775 | 0.204 | -0.002 | 0.000 | 0.003 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 2.981 | -6.619 | 0.159 | -0.001 | 0.000 | 0.004 | 125 | 2.606 | -0.040 | 0.601 | 0.003 | 0.000 | -0.003 |
| 5 | 3.185 | -7.685 | 0.091 | -0.001 | 0.000 | 0.004 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 3.316 | -8.034 | 0.016 | 0.000 | 0.000 | 0.005 | 127 | 2.712 | -0.009 | 0.227 | 0.001 | 0.000 | -0.001 |
| 7 | 3.381 | -7.676 | -0.061 | 0.001 | 0.000 | 0.004 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 3.366 | -6.566 | -0.133 | 0.001 | 0.000 | 0.004 | 129 | -0.299 | -0.022 | 1.289 | 0.002 | 0.000 | 0.000 |
| 9 | 3.236 | -4.596 | -0.187 | 0.002 | 0.000 | 0.003 | 130 | -0.126 | -0.011 | 0.425 | 0.001 | 0.000 | 0.000 |
| 10 | 3.015 | -2.016 | -0.186 | 0.002 | 0.000 | 0.002 | 131 | 1.431 | -0.010 | 0.370 | 0.000 | 0.000 | -0.001 |
| 11 | 2.835 | 0.031 | -0.152 | 0.001 | 0.000 | 0.000 | 132 | 1.011 | -0.007 | 0.348 | 0.000 | 0.000 | -0.001 |
| 12 | 1.862 | -0.114 | 0.195 | -0.001 | 0.000 | 0.001 | 133 | 0.540 | -0.005 | 0.217 | 0.000 | 0.000 | -0.001 |
| 13 | 2.119 | -1.114 | 0.235 | -0.001 | 0.000 | 0.002 | 134 | 0.158 | -0.003 | 0.070 | 0.000 | 0.000 | -0.001 |
| 14 | 2.427 | -2.614 | 0.258 | -0.001 | 0.000 | 0.003 | 135 | 1.399 | -0.037 | -0.450 | 0.002 | 0.000 | -0.002 |
| 15 | 2.673 | -3.834 | 0.230 | -0.001 | 0.000 | 0.004 | 136 | 0.557 | -0.028 | -0.868 | 0.000 | 0.000 | -0.001 |
| 16 | 2.844 | -4.582 | 0.186 | -0.001 | 0.000 | 0.004 | 137 | 0.145 | -0.019 | -0.659 | -0.001 | 0.000 | -0.001 |
| 17 | 2.966 | -4.844 | 0.136 | 0.000 | 0.000 | 0.004 | 138 | 0.011 | -0.009 | -0.233 | -0.001 | 0.000 | 0.000 |
| 18 | 3.043 | -4.609 | 0.084 | 0.000 | 0.000 | 0.004 | 139 | 2.154 | -0.009 | 0.015 | 0.000 | 0.000 | -0.001 |
| 19 | 3.066 | -3.863 | 0.037 | 0.001 | 0.000 | 0.004 | 140 | 1.481 | -0.007 | -0.090 | 0.000 | 0.000 | -0.002 |
| 20 | 3.007 | -2.593 | 0.002 | 0.001 | 0.000 | 0.003 | 141 | 0.777 | -0.005 | -0.083 | 0.000 | 0.000 | -0.001 |
| 21 | 2.877 | -0.947 | 0.008 | 0.001 | 0.000 | 0.001 | 142 | 0.224 | -0.002 | -0.032 | 0.000 | 0.000 | -0.001 |
| 22 | 2.791 | 0.254 | 0.038 | 0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 23 | 1.884 | -4.983 | -0.983 | 0.010 | 0.000 | 0.001 Load case 50 (Linear): COMB 5 (1+2+7+6) |  |  |  |  |  |  |  |
| 24 | 1.968 | -0.428 | 0.252 | -0.001 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 25 | 2.215 | -1.238 | 0.275 | -0.001 | 0.000 | 0.002 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 2.410 | -1.981 | 0.270 | -0.001 | 0.000 | 0.003 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 27 | 2.556 | -2.489 | 0.250 | 0.000 | 0.000 | 0.004 |  |  |  |  |  |  |  |
| 28 | 2.671 | -2.685 | 0.224 | 0.000 | 0.000 | 0.004 | 1 | 1.927 | -0.834 | 0.155 | -0.001 | 0.000 | 0.001 |
| 29 | 2.758 | -2.543 | 0.199 | 0.000 | 0.000 | 0.003 | 2 | 2.317 | -2.881 | 0.197 | -0.002 | 0.000 | 0.002 |
| 30 | 2.810 | -2.075 | 0.177 | 0.001 | 0.000 | 0.003 | 3 | 2.741 | -5.471 | 0.217 | -0.002 | 0.000 | 0.003 |
| 31 | 2.808 | -1.336 | 0.167 | 0.001 | 0.000 | 0.002 | 4 | 3.079 | -7.535 | 0.166 | -0.001 | 0.000 | 0.004 |
| 32 | 2.745 | -0.462 | 0.175 | 0.001 | 0.000 | 0.000 | 5 | 3.303 | -8.747 | 0.088 | -0.001 | 0.000 | 0.005 |
| 33 | 2.730 | 0.146 | 0.196 | 0.001 | 0.000 | -0.001 | 6 | 3.443 | -9.147 | -0.001 | 0.000 | 0.000 | 0.005 |
| 34 | 1.746 | -0.010 | 0.269 | 0.000 | 0.000 | -0.001 | 7 | 3.505 | -8.736 | -0.091 | 0.001 | 0.000 | 0.005 |
| 35 | 1.909 | -0.346 | 0.272 | -0.001 | 0.000 | 0.000 | 8 | 3.478 | -7.475 | -0.174 | 0.001 | 0.000 | 0.004 |
| 36 | 2.137 | -0.905 | 0.277 | -0.001 | 0.000 | 0.002 | 9 | 3.327 | -5.282 | -0.234 | 0.002 | 0.000 | 0.003 |
| 37 | 2.315 | -1.491 | 0.274 | -0.001 | 0.000 | 0.003 | 10 | 3.079 | -2.449 | -0.231 | 0.002 | 0.000 | 0.002 |
| 38 | 2.452 | -1.918 | 0.265 | -0.001 | 0.000 | 0.003 | 11 | 2.854 | -0.083 | -0.201 | 0.002 | 0.000 | 0.000 |
| 39 | 2.564 | -2.093 | 0.253 | 0.000 | 0.000 | 0.003 | 12 | 1.836 | -0.172 | 0.203 | -0.001 | 0.000 | 0.001 |
| 40 | 2.654 | -1.982 | 0.240 | 0.000 | 0.000 | 0.003 | 13 | 2.130 | -1.360 | 0.246 | -0.001 | 0.000 | 0.002 |
| 41 | 2.717 | -1.606 | 0.230 | 0.001 | 0.000 | 0.002 | 14 | 2.468 | -3.068 | 0.271 | -0.002 | 0.000 | 0.003 |
| 42 | 2.733 | -1.043 | 0.224 | 0.001 | 0.000 | 0.001 | 15 | 2.739 | -4.481 | 0.238 | -0.001 | 0.000 | 0.004 |
| 43 | 2.693 | -0.451 | 0.225 | 0.001 | 0.000 | 0.000 | 16 | 2.930 | -5.362 | 0.185 | -0.001 | 0.000 | 0.005 |
| 44 | 0.437 | -0.044 | 1.849 | -0.001 | 0.000 | -0.002 | 17 | 3.060 | -5.670 | 0.123 | 0.000 | 0.000 | 0.005 |
| 45 | 1.846 | -0.071 | 0.421 | -0.001 | 0.000 | 0.000 | 18 | 3.136 | -5.386 | 0.061 | 0.001 | 0.000 | 0.005 |
| 46 | 1.914 | -0.132 | 0.448 | -0.001 | 0.000 | 0.000 | 19 | 3.148 | -4.507 | 0.004 | 0.001 | 0.000 | 0.004 |
| 47 | 1.987 | 0.054 | 0.495 | -0.001 | 0.000 | 0.001 | 20 | 3.070 | -3.041 | -0.035 | 0.002 | 0.000 | 0.003 |
| 48 | 2.062 | -0.120 | 0.487 | -0.001 | 0.000 | 0.001 | 21 | 2.918 | -1.186 | -0.025 | 0.002 | 0.000 | 0.002 |
| 49 | 2.144 | -0.349 | 0.440 | -0.001 | 0.000 | 0.001 | 22 | 2.801 | 0.208 | 0.005 | 0.001 | 0.000 | 0.000 |
| 50 | 2.240 | -0.475 | 0.376 | 0.000 | 0.000 | 0.001 | 23 | 1.862 | -3.723 | -0.671 | 0.007 | 0.000 | 0.001 |
| 51 | 2.351 | -0.443 | 0.312 | 0.001 | 0.000 | 0.001 | 24 | 1.956 | -0.559 | 0.255 | -0.001 | 0.000 | 0.001 |
| 52 | 2.477 | -0.298 | 0.263 | 0.001 | 0.000 | 0.001 | 25 | 2.229 | -1.549 | 0.281 | -0.001 | 0.000 | 0.002 |
| 53 | 2.608 | -0.185 | 0.249 | 0.002 | 0.000 | 0.001 | 26 | 2.447 | -2.471 | 0.274 | -0.001 | 0.000 | 0.003 |
| 54 | 2.745 | -0.380 | 0.281 | 0.001 | 0.000 | 0.000 | 27 | 2.610 | -3.102 | 0.248 | -0.001 | 0.000 | 0.004 |
| 55 | 2.878 | -0.223 | 0.297 | 0.001 | 0.000 | 0.000 | 28 | 2.733 | -3.342 | 0.215 | 0.000 | 0.000 | 0.004 |
| 56 | 1.837 | 0.396 | 0.570 | -0.001 | 0.000 | 0.001 | 29 | 2.819 | -3.155 | 0.182 | 0.000 | 0.000 | 0.004 |
| 57 | 1.864 | 0.172 | 0.619 | -0.002 | 0.000 | 0.000 | 30 | 2.862 | -2.562 | 0.155 | 0.001 | 0.000 | 0.003 |
| 58 | 1.832 | 0.400 | 0.693 | -0.002 | 0.000 | 0.000 | 31 | 2.844 | -1.645 | 0.143 | 0.001 | 0.000 | 0.002 |
| 59 | 1.840 | 0.068 | 0.682 | -0.002 | 0.000 | -0.001 | 32 | 2.763 | -0.591 | 0.154 | 0.001 | 0.000 | 0.000 |
| 60 | 1.884 | -0.307 | 0.603 | -0.001 | 0.000 | -0.002 | 33 | 2.732 | 0.139 | 0.180 | 0.001 | 0.000 | -0.001 |
| 61 | 1.969 | -0.497 | 0.495 | 0.000 | 0.000 | -0.002 | 34 | 1.707 | -0.012 | 0.269 | 0.000 | 0.000 | -0.001 |
| 62 | 2.094 | -0.417 | 0.387 | 0.001 | 0.000 | -0.002 | 35 | 1.889 | -0.460 | 0.273 | -0.001 | 0.000 | 0.000 |
| 63 | 2.261 | -0.138 | 0.306 | 0.002 | 0.000 | -0.001 | 36 | 2.140 | -1.193 | 0.279 | -0.001 | 0.000 | 0.002 |
| 64 | 2.462 | 0.144 | 0.289 | 0.002 | 0.000 | 0.000 | 37 | 2.340 | -1.953 | 0.274 | -0.001 | 0.000 | 0.003 |
| 65 | 2.704 | -0.034 | 0.347 | 0.002 | 0.000 | 0.000 | 38 | 2.494 | -2.503 | 0.262 | -0.001 | 0.000 | 0.003 |
| 66 | 2.873 | 0.356 | 0.388 | 0.002 | 0.000 | 0.001 | 39 | 2.614 | -2.721 | 0.245 | 0.000 | 0.000 | 0.003 |
| 67 | 1.740 | 0.731 | 0.662 | -0.002 | 0.000 | 0.000 | 40 | 2.704 | -2.566 | 0.228 | 0.001 | 0.000 | 0.003 |
| 68 | 1.757 | -0.140 | 0.783 | -0.003 | 0.000 | -0.001 | 41 | 2.758 | -2.067 | 0.215 | 0.001 | 0.000 | 0.003 |
| 69 | 1.677 | -0.847 | 0.897 | -0.004 | 0.000 | -0.004 | 42 | 2.759 | -1.329 | 0.207 | 0.001 | 0.000 | 0.001 |
| 70 | 1.670 | -2.118 | 0.872 | -0.003 | 0.000 | -0.006 | 43 | 2.703 | -0.564 | 0.209 | 0.001 | 0.000 | 0.000 |
| 71 | 1.706 | -3.144 | 0.760 | -0.002 | 0.000 | -0.007 | 44 | 0.401 | -0.046 | 1.919 | -0.001 | 0.000 | -0.002 |
| 72 | 1.791 | -3.570 | 0.611 | 0.000 | 0.000 | -0.008 | 45 | 1.803 | -0.077 | 0.436 | -0.001 | 0.000 | 0.000 |
| 73 | 1.918 | -3.263 | 0.461 | 0.002 | 0.000 | -0.007 | 46 | 1.885 | -0.285 | 0.463 | -0.001 | 0.000 | 0.000 |
| 74 | 2.093 | -2.333 | 0.351 | 0.003 | 0.000 | -0.006 | 47 | 1.979 | -0.259 | 0.516 | -0.002 | 0.000 | 0.001 |
| 75 | 2.304 | -1.088 | 0.323 | 0.004 | 0.000 | -0.004 | 48 | 2.074 | -0.602 | 0.504 | -0.002 | 0.000 | 0.001 |
| 76 | 2.583 | -0.268 | 0.421 | 0.003 | 0.000 | -0.001 | 49 | 2.172 | -0.951 | 0.448 | -0.001 | 0.000 | 0.001 |
| 77 | 2.752 | 0.816 | 0.540 | 0.002 | 0.000 | 0.000 | 50 | 2.276 | -1.119 | 0.373 | 0.000 | 0.000 | 0.001 |
| 78 | 1.622 | -0.047 | 0.868 | -0.002 | 0.000 | -0.003 | 51 | 2.387 | -1.044 | 0.298 | 0.001 | 0.000 | 0.001 |
| 79 | 1.675 | -2.150 | 0.875 | -0.004 | 0.000 | -0.005 | 52 | 2.504 | -0.780 | 0.239 | 0.002 | 0.000 | 0.001 |
| 80 | 1.618 | -5.402 | 0.885 | -0.006 | 0.000 | -0.010 | 53 | 2.622 | -0.498 | 0.222 | 0.002 | 0.000 | 0.001 |
| 81 | 1.660 | -8.777 | 0.855 | -0.005 | 0.000 | -0.014 | 54 | 2.747 | -0.534 | 0.260 | 0.001 | 0.000 | 0.000 |
| 82 | 1.731 | -11.228 | 0.795 | -0.003 | 0.000 | -0.017 | 55 | 2.874 | -0.234 | 0.275 | 0.001 | 0.000 | 0.000 |
| 83 | 1.830 | -12.154 | 0.717 | 0.000 | 0.000 | -0.018 | 56 | 1.796 | 0.375 | 0.598 | -0.002 | 0.000 | 0.001 |
| 84 | 1.944 | -11.354 | 0.642 | 0.003 | 0.000 | -0.017 | 57 | 1.846 | -0.023 | 0.642 | -0.002 | 0.000 | 0.000 |
| 85 | 2.083 | -9.004 | 0.587 | 0.005 | 0.000 | -0.014 | 58 | 1.834 | 0.046 | 0.722 | -0.003 | 0.000 | 0.000 |
| 86 | 2.236 | -5.669 | 0.567 | 0.006 | 0.000 | -0.010 | 59 | 1.863 | -0.454 | 0.706 | -0.002 | 0.000 | -0.001 |
| 87 | 2.480 | -2.333 | 0.589 | 0.005 | 0.000 | -0.005 | 60 | 1.923 | -0.947 | 0.618 | -0.001 | 0.000 | -0.002 |
| 88 | -0.213 | -0.033 | 1.970 | 0.001 | 0.000 | -0.001 | 61 | 2.017 | -1.179 | 0.497 | 0.000 | 0.000 | -0.002 |
| 89 | 0.880 | -5.117 | -0.232 | 0.006 | -0.001 | -0.007 | 62 | 2.142 | -1.057 | 0.376 | 0.001 | 0.000 | -0.002 |
| 90 | 1.561 | -3.243 | 1.006 | -0.005 | -0.001 | -0.008 | 63 | 2.300 | -0.660 | 0.285 | 0.002 | 0.000 | -0.001 |
| 91 | 1.598 | -7.404 | 1.064 | -0.006 | -0.002 | -0.013 | 64 | 2.487 | -0.211 | 0.264 | 0.003 | 0.000 | 0.000 |
| 92 | 1.669 | -11.547 | 1.044 | -0.005 | -0.002 | -0.017 | 65 | 2.717 | -0.230 | 0.327 | 0.002 | 0.000 | 0.000 |
| 93 | 1.729 | -14.552 | 0.914 | -0.003 | -0.001 | -0.021 | 66 | 2.873 | 0.333 | 0.364 | 0.002 | 0.000 | 0.001 |
| 94 | 1.833 | -15.660 | 0.744 | 0.000 | 0.000 | -0.022 | 67 | 1.702 | 0.714 | 0.688 | -0.002 | 0.000 | 0.000 |
| 95 | 1.941 | -14.681 | 0.575 | 0.003 | 0.001 | -0.021 | 68 | 1.744 | -0.300 | 0.808 | -0.003 | 0.000 | -0.001 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 69 | 1.684 | -1.162 | 0.928 | -0.004 | 0.000 | -0.004 | 42 | 2.849 | -1.814 | 0.198 | 0.002 | 0.000 | 0.002 |
| 70 | 1.698 | -2.595 | 0.899 | -0.003 | 0.000 | -0.006 | 43 | 2.765 | -0.759 | 0.201 | 0.001 | 0.000 | 0.000 |
| 71 | 1.751 | -3.735 | 0.778 | -0.002 | 0.000 | -0.007 | 44 | 0.344 | -0.050 | 2.069 | -0.002 | 0.000 | -0.002 |
| 72 | 1.844 | -4.202 | 0.617 | 0.000 | 0.000 | -0.007 | 45 | 1.760 | -0.098 | 0.475 | -0.001 | 0.000 | 0.000 |
| 73 | 1.970 | -3.855 | 0.457 | 0.002 | 0.000 | -0.007 | 46 | 1.867 | -0.506 | 0.507 | -0.002 | 0.000 | 0.000 |
| 74 | 2.136 | -2.811 | 0.337 | 0.004 | 0.000 | -0.006 | 47 | 1.996 | -0.730 | 0.572 | -0.002 | 0.000 | 0.001 |
| 75 | 2.334 | -1.404 | 0.305 | 0.004 | 0.000 | -0.004 | 48 | 2.127 | -1.347 | 0.554 | -0.002 | 0.000 | 0.001 |
| 76 | 2.601 | -0.427 | 0.409 | 0.003 | 0.000 | -0.001 | 49 | 2.252 | -1.893 | 0.483 | -0.001 | 0.000 | 0.001 |
| 77 | 2.753 | 0.801 | 0.527 | 0.002 | 0.000 | 0.000 | 50 | 2.372 | -2.133 | 0.389 | 0.000 | 0.000 | 0.001 |
| 78 | 1.581 | -0.049 | 0.887 | -0.003 | 0.000 | -0.003 | 51 | 2.484 | -1.990 | 0.295 | 0.001 | 0.000 | 0.001 |
| 79 | 1.648 | -2.256 | 0.894 | -0.005 | 0.000 | -0.005 | 52 | 2.590 | -1.534 | 0.222 | 0.002 | 0.000 | 0.001 |
| 80 | 1.609 | -5.665 | 0.904 | -0.006 | 0.000 | -0.010 | 53 | 2.689 | -0.981 | 0.199 | 0.002 | 0.000 | 0.001 |
| 81 | 1.673 | -9.196 | 0.873 | -0.005 | 0.000 | -0.014 | 54 | 2.797 | -0.769 | 0.247 | 0.002 | 0.000 | 0.000 |
| 82 | 1.759 | -11.755 | 0.810 | -0.003 | 0.000 | -0.017 | 55 | 2.915 | -0.267 | 0.267 | 0.002 | 0.000 | 0.000 |
| 83 | 1.866 | -12.720 | 0.729 | 0.000 | 0.000 | -0.018 | 56 | 1.759 | 0.330 | 0.657 | -0.002 | 0.000 | 0.001 |
| 84 | 1.979 | -11.882 | 0.650 | 0.003 | 0.000 | -0.017 | 57 | 1.840 | -0.291 | 0.702 | -0.002 | 0.000 | 0.000 |
| 85 | 2.111 | -9.425 | 0.592 | 0.005 | 0.000 | -0.014 | 58 | 1.861 | -0.465 | 0.793 | -0.003 | 0.000 | 0.000 |
| 86 | 2.251 | -5.935 | 0.570 | 0.006 | 0.000 | -0.010 | 59 | 1.925 | -1.238 | 0.771 | -0.003 | 0.000 | -0.001 |
| 87 | 2.483 | -2.441 | 0.593 | 0.005 | 0.000 | -0.005 | 60 | 2.013 | -1.928 | 0.665 | -0.002 | 0.000 | -0.002 |
| 88 | -0.240 | -0.034 | 2.050 | 0.001 | 0.000 | -0.001 | 61 | 2.123 | -2.233 | 0.523 | 0.000 | 0.000 | -0.002 |
| 89 | 0.815 | -3.855 | 0.100 | 0.003 | -0.001 | -0.008 | 62 | 2.249 | -2.045 | 0.381 | 0.002 | 0.000 | -0.002 |
| 90 | 1.529 | -3.355 | 1.029 | -0.005 | -0.001 | -0.008 | 63 | 2.395 | -1.455 | 0.273 | 0.003 | 0.000 | -0.001 |
| 91 | 1.584 | -7.675 | 1.088 | -0.006 | -0.002 | -0.013 | 64 | 2.564 | -0.735 | 0.245 | 0.003 | 0.000 | 0.000 |
| 92 | 1.676 | -11.973 | 1.065 | -0.005 | -0.002 | -0.017 | 65 | 2.779 | -0.509 | 0.318 | 0.003 | 0.000 | 0.000 |
| 93 | 1.752 | -15.086 | 0.931 | -0.003 | -0.001 | -0.021 | 66 | 2.921 | 0.284 | 0.355 | 0.002 | 0.000 | 0.001 |
| 94 | 1.864 | -16.233 | 0.756 | 0.000 | 0.000 | -0.022 | 67 | 1.667 | 0.688 | 0.748 | -0.002 | 0.000 | 0.000 |
| 95 | 1.972 | -15.216 | 0.582 | 0.003 | 0.001 | -0.021 | 68 | 1.742 | -0.528 | 0.874 | -0.003 | 0.000 | -0.001 |
| 96 | 2.112 | -12.212 | 0.452 | 0.005 | 0.001 | -0.018 | 69 | 1.713 | -1.640 | 1.006 | -0.004 | 0.000 | -0.004 |
| 97 | 2.229 | -7.965 | 0.419 | 0.006 | 0.002 | -0.013 | 70 | 1.763 | -3.347 | 0.971 | -0.004 | 0.000 | -0.006 |
| 98 | 2.152 | -5.444 | 0.309 | 0.007 | 0.000 | -0.009 | 71 | 1.844 | -4.684 | 0.834 | -0.002 | 0.000 | -0.007 |
| 99 | 2.539 | -0.676 | 0.517 | 0.005 | 0.000 | -0.004 | 72 | 1.953 | -5.224 | 0.654 | 0.000 | 0.000 | -0.007 |
| 100 | 2.363 | -3.749 | 0.524 | 0.006 | 0.001 | -0.008 | 73 | 2.081 | -4.811 | 0.474 | 0.002 | 0.000 | -0.007 |
| 101 | 1.568 | -3.544 | 1.567 | -0.009 | -0.001 | -0.007 | 74 | 2.235 | -3.575 | 0.338 | 0.004 | 0.000 | -0.006 |
| 102 | 1.656 | -8.951 | 1.744 | -0.010 | -0.002 | -0.013 | 75 | 2.414 | -1.896 | 0.300 | 0.005 | 0.000 | -0.004 |
| 103 | 1.991 | -16.036 | 1.908 | -0.011 | -0.002 | -0.018 | 76 | 2.667 | -0.662 | 0.413 | 0.004 | 0.000 | -0.001 |
| 104 | 2.281 | -23.137 | 1.857 | -0.010 | -0.001 | -0.024 | 77 | 2.802 | 0.782 | 0.539 | 0.003 | 0.000 | 0.000 |
| 105 | 2.476 | -28.539 | 1.425 | -0.006 | -0.001 | -0.029 | 78 | 1.537 | -0.054 | 0.947 | -0.003 | 0.000 | -0.003 |
| 106 | 2.632 | -30.379 | 0.854 | 0.000 | 0.000 | -0.031 | 79 | 1.626 | -2.451 | 0.955 | -0.005 | 0.000 | -0.005 |
| 107 | 2.696 | -28.693 | 0.285 | 0.006 | 0.001 | -0.029 | 80 | 1.618 | -6.144 | 0.965 | -0.006 | 0.000 | -0.010 |
| 108 | 2.719 | -23.424 | -0.140 | 0.011 | 0.001 | -0.024 | 81 | 1.717 | -9.961 | 0.932 | -0.005 | 0.000 | -0.014 |
| 109 | 2.641 | -16.402 | -0.193 | 0.012 | 0.001 | -0.018 | 82 | 1.831 | -12.721 | 0.862 | -0.003 | 0.000 | -0.017 |
| 110 | 2.515 | -9.313 | -0.050 | 0.011 | 0.001 | -0.013 | 83 | 1.954 | -13.759 | 0.775 | 0.000 | 0.000 | -0.018 |
| 111 | 2.620 | -3.790 | 0.141 | 0.009 | 0.001 | -0.007 | 84 | 2.069 | -12.855 | 0.689 | 0.003 | 0.000 | -0.017 |
| 112 | 1.958 | -9.625 | 2.349 | -0.015 | -0.002 | -0.010 | 85 | 2.189 | -10.203 | 0.625 | 0.006 | 0.000 | -0.014 |
| 113 | 2.524 | -19.289 | 2.486 | -0.017 | -0.002 | -0.016 | 86 | 2.310 | -6.430 | 0.601 | 0.007 | 0.000 | -0.010 |
| 114 | 3.244 | -30.189 | 2.630 | -0.019 | -0.002 | -0.021 | 87 | 2.528 | -2.646 | 0.625 | 0.005 | 0.000 | -0.005 |
| 115 | 3.963 | -41.548 | 2.531 | -0.018 | -0.002 | -0.027 | 88 | -0.292 | -0.038 | 2.215 | 0.001 | 0.000 | -0.001 |
| 116 | 4.530 | -50.611 | 1.863 | -0.010 | -0.001 | -0.032 | 89 | 0.729 | -3.861 | 0.166 | 0.003 | -0.001 | -0.008 |
| 117 | 4.789 | -53.564 | 0.973 | 0.000 | 0.000 | -0.034 | 90 | 1.496 | -3.581 | 1.096 | -0.006 | -0.001 | -0.008 |
| 118 | 4.757 | -50.785 | 0.086 | 0.010 | 0.001 | -0.032 | 91 | 1.585 | -8.199 | 1.158 | -0.006 | -0.002 | -0.013 |
| 119 | 4.414 | -41.880 | -0.576 | 0.018 | 0.001 | -0.027 | 92 | 1.713 | -12.787 | 1.131 | -0.005 | -0.002 | -0.018 |
| 120 | 3.910 | -30.636 | -0.671 | 0.019 | 0.002 | -0.021 | 93 | 1.818 | -16.101 | 0.989 | -0.003 | -0.001 | -0.021 |
| 121 | 3.404 | -19.774 | -0.528 | 0.017 | 0.001 | -0.016 | 94 | 1.945 | -17.322 | 0.804 | 0.000 | 0.000 | -0.023 |
| 122 | 3.036 | -10.079 | -0.387 | 0.016 | 0.001 | -0.010 | 95 | 2.054 | -16.239 | 0.620 | 0.003 | 0.001 | -0.021 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 2.183 | -13.039 | 0.482 | 0.005 | 0.002 | -0.018 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 2.280 | -8.505 | 0.444 | 0.006 | 0.002 | -0.013 |
| 125 | 2.603 | -0.042 | 0.605 | 0.003 | 0.000 | -0.003 | 98 | 2.174 | -5.718 | 0.322 | 0.007 | 0.000 | -0.009 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 2.567 | -0.702 | 0.549 | 0.005 | 0.000 | -0.005 |
| 127 | 2.711 | -0.011 | 0.211 | 0.001 | 0.000 | -0.001 | 100 | 2.395 | -3.994 | 0.556 | 0.007 | 0.001 | -0.008 |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 1.513 | -3.715 | 1.655 | -0.009 | -0.001 | -0.007 |
| 129 | -0.313 | -0.023 | 1.342 | 0.002 | 0.000 | 0.000 | 102 | 1.624 | -9.392 | 1.837 | -0.011 | -0.002 | -0.013 |
| 130 | -0.130 | -0.012 | 0.443 | 0.001 | 0.000 | 0.000 | 103 | 1.999 | -16.801 | 2.004 | -0.012 | -0.002 | -0.019 |
| 131 | 1.407 | -0.011 | 0.416 | 0.000 | 0.000 | -0.001 | 104 | 2.327 | -24.197 | 1.945 | -0.011 | -0.002 | -0.025 |
| 132 | 0.998 | -0.009 | 0.407 | 0.000 | 0.000 | -0.001 | 105 | 2.551 | -29.802 | 1.499 | -0.006 | -0.001 | -0.030 |
| 133 | 0.535 | -0.006 | 0.258 | 0.000 | 0.000 | -0.001 | 106 | 2.723 | -31.717 | 0.910 | 0.000 | 0.000 | -0.031 |
| 134 | 0.157 | -0.003 | 0.084 | 0.000 | 0.000 | -0.001 | 107 | 2.788 | -29.964 | 0.324 | 0.006 | 0.001 | -0.030 |
| 135 | 1.395 | -0.039 | -0.492 | 0.002 | 0.000 | -0.002 | 108 | 2.799 | -24.501 | -0.115 | 0.011 | 0.001 | -0.025 |
| 136 | 0.553 | -0.029 | -0.925 | 0.000 | 0.000 | -0.001 | 109 | 2.698 | -17.189 | -0.178 | 0.012 | 0.001 | -0.019 |
| 137 | 0.143 | -0.019 | -0.699 | -0.001 | 0.000 | -0.001 | 110 | 2.551 | -9.778 | -0.034 | 0.011 | 0.001 | -0.014 |
| 138 | 0.010 | -0.010 | -0.247 | -0.001 | 0.000 | 0.000 | 111 | 2.648 | -3.978 | 0.164 | 0.010 | 0.001 | -0.008 |
| 139 | 2.159 | -0.010 | -0.045 | 0.000 | 0.000 | -0.001 | 112 | 1.926 | -10.108 | 2.464 | -0.016 | -0.002 | -0.011 |
| 140 | 1.488 | -0.008 | -0.159 | 0.000 | 0.000 | -0.002 | 113 | 2.528 | -20.120 | 2.601 | -0.017 | -0.002 | -0.016 |
| 141 | 0.782 | -0.005 | -0.131 | 0.000 | 0.000 | -0.002 | 114 | 3.289 | -31.360 | 2.742 | -0.019 | -0.002 | -0.022 |
| 142 | 0.226 | -0.003 | -0.048 | 0.000 | 0.000 | -0.001 | 115 | 4.048 | -43.013 | 2.633 | -0.018 | -0.002 | -0.028 |
|  |  |  |  |  |  |  | 116 | 4.645 | -52.276 | 1.949 | -0.010 | -0.001 | -0.033 |
| Load case 60 (Linear): COMB 6 (1+3+6+8) 117 |  |  |  |  |  |  |  | 4.919 | -55.304 | 1.040 | 0.000 | 0.000 | -0.034 |
| 118 |  |  |  |  |  |  |  | 4.889 | -52.462 | 0.133 | 0.011 | 0.001 | -0.033 |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 119 | 4.534 | -43.368 | -0.545 | 0.018 | 0.001 | -0.028 |
| Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation | 120 | 4.007 | -31.838 | -0.651 | 0.020 | 0.002 | -0.022 |
|  |  |  |  |  |  |  | 121 | 3.477 | -20.639 | -0.512 | 0.018 | 0.001 | -0.016 |
| 1 | 1.946 | -1.168 | 0.182 | -0.002 | 0.000 | 0.001 | 122 | 3.090 | -10.594 | -0.370 | 0.016 | 0.001 | -0.011 |
| 2 | 2.412 | -3.660 | 0.230 | -0.002 | 0.000 | 0.003 | 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 2.898 | -6.695 | 0.256 | -0.002 | 0.000 | 0.004 | 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 3.289 | -9.154 | 0.195 | -0.002 | 0.000 | 0.005 | 125 | 2.640 | -0.045 | 0.638 | 0.003 | 0.000 | -0.003 |
| 5 | 3.552 | -10.627 | 0.097 | -0.001 | 0.000 | 0.006 | 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 3.710 | -11.118 | -0.014 | 0.000 | 0.000 | 0.006 | 127 | 2.755 | -0.015 | 0.204 | 0.001 | 0.000 | -0.001 |
| 7 | 3.770 | -10.614 | -0.127 | 0.001 | 0.000 | 0.006 | 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 3.720 | -9.089 | -0.229 | 0.002 | 0.000 | 0.005 | 129 | -0.346 | -0.025 | 1.451 | 0.002 | 0.000 | 0.000 |
| 9 | 3.530 | -6.492 | -0.299 | 0.002 | 0.000 | 0.004 | 130 | -0.140 | -0.013 | 0.479 | 0.002 | 0.000 | 0.000 |
| 10 | 3.235 | -3.202 | -0.292 | 0.002 | 0.000 | 0.002 | 131 | 1.392 | -0.015 | 0.508 | 0.000 | 0.000 | -0.001 |
| 11 | 2.947 | -0.363 | -0.259 | 0.002 | 0.000 | 0.001 | 132 | 0.995 | -0.011 | 0.516 | 0.000 | 0.000 | -0.001 |
| 12 | 1.831 | -0.306 | 0.225 | -0.001 | 0.000 | 0.001 | 133 | 0.537 | -0.008 | 0.332 | 0.001 | 0.000 | -0.001 |
| 13 | 2.182 | -1.783 | 0.278 | -0.002 | 0.000 | 0.002 | 134 | 0.158 | -0.004 | 0.108 | 0.000 | 0.000 | -0.001 |
| 14 | 2.574 | -3.852 | 0.311 | -0.002 | 0.000 | 0.004 | 135 | 1.408 | -0.042 | -0.548 | 0.002 | 0.000 | -0.003 |
| 15 | 2.893 | -5.604 | 0.270 | -0.002 | 0.000 | 0.005 | 136 | 0.552 | -0.032 | -1.014 | 0.000 | 0.000 | -0.001 |
| 16 | 3.118 | -6.714 | 0.200 | -0.001 | 0.000 | 0.005 | 137 | 0.139 | -0.021 | -0.764 | -0.001 | 0.000 | -0.001 |
| 17 | 3.265 | -7.103 | 0.120 | 0.000 | 0.000 | 0.006 | 138 | 0.008 | -0.011 | -0.270 | -0.001 | 0.000 | 0.000 |
| 18 | 3.340 | -6.740 | 0.038 | 0.001 | 0.000 | 0.005 | 139 | 2.206 | -0.014 | -0.130 | 0.001 | 0.000 | -0.001 |
| 19 | 3.333 | -5.630 | -0.034 | 0.002 | 0.000 | 0.005 | 140 | 1.527 | -0.011 | -0.265 | 0.000 | 0.000 | -0.002 |
| 20 | 3.224 | -3.822 | -0.081 | 0.002 | 0.000 | 0.004 | 141 | 0.806 | -0.007 | -0.204 | 0.000 | 0.000 | -0.002 |
| 21 | 3.034 | -1.598 | -0.065 | 0.002 | 0.000 | 0.002 | 142 | 0.233 | -0.004 | -0.073 | 0.000 | 0.000 | -0.001 |
| 22 | 2.873 | 0.102 | -0.028 | 0.002 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| 23 | 1.860 | -3.720 | -0.648 | 0.007 | 0.000 | 0.001 Load case 70 (Linear): COMB 7 (1+3+8) |  |  |  |  |  |  |  |
| 24 | 1.968 | -0.780 | 0.278 | -0.001 | 0.000 | 0.001 |  |  |  |  |  |  |  |
| 25 | 2.287 | -2.075 | 0.311 | -0.002 | 0.000 | 0.003 |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 26 | 2.548 | -3.298 | 0.299 | -0.001 | 0.000 | 0.004 | Node | Transl'n | Transl'n | Transl'n | Rotation | Rotation | Rotation |
| 27 | 2.742 | -4.140 | 0.264 | -0.001 | 0.000 | 0.004 |  |  |  |  |  |  |  |
| 28 | 2.882 | -4.455 | 0.219 | 0.000 | 0.000 | 0.004 | 1 | 0.245 | -2.575 | 0.222 | -0.003 | 0.000 | 0.002 |
| 29 | 2.968 | -4.195 | 0.174 | 0.001 | 0.000 | 0.004 | 2 | 0.740 | -5.489 | 0.283 | -0.003 | -0.001 | 0.004 |
| 30 | 2.996 | -3.394 | 0.137 | 0.001 | 0.000 | 0.004 | 3 | 1.187 | -8.630 | 0.329 | -0.003 | -0.001 | 0.005 |
| 31 | 2.951 | -2.175 | 0.120 | 0.002 | 0.000 | 0.002 | 4 | 1.576 | -11.439 | 0.259 | -0.003 | 0.000 | 0.005 |
| 32 | 2.840 | -0.813 | 0.138 | 0.001 | 0.000 | 0.001 | 5 | 1.849 | -13.291 | 0.127 | -0.002 | 0.000 | 0.006 |
| 33 | 2.783 | 0.126 | 0.173 | 0.001 | 0.000 | -0.001 | 6 | 1.982 | -13.934 | -0.032 | 0.000 | 0.000 | 0.006 |
| 34 | 1.671 | -0.016 | 0.289 | -0.001 | 0.000 | -0.001 | 7 | 1.970 | -13.292 | -0.192 | 0.001 | 0.000 | 0.005 |
| 35 | 1.885 | -0.650 | 0.294 | -0.001 | 0.000 | 0.000 | 8 | 1.816 | -11.423 | -0.325 | 0.003 | 0.000 | 0.005 |
| 36 | 2.180 | -1.670 | 0.300 | -0.002 | 0.000 | 0.002 | 9 | 1.541 | -8.557 | -0.398 | 0.003 | 0.000 | 0.004 |
| 37 | 2.422 | -2.723 | 0.293 | -0.002 | 0.000 | 0.003 | 10 | 1.207 | -5.305 | -0.365 | 0.003 | 0.000 | 0.004 |
| 38 | 2.606 | -3.478 | 0.275 | -0.001 | 0.000 | 0.003 | 11 | 0.802 | -2.150 | -0.328 | 0.003 | 0.000 | 0.002 |
| 39 | 2.742 | -3.770 | 0.251 | 0.000 | 0.000 | 0.003 | 12 | 0.057 | -1.013 | 0.201 | -0.002 | 0.000 | 0.002 |
| 40 | 2.832 | -3.544 | 0.227 | 0.001 | 0.000 | 0.003 | 13 | 0.434 | -2.958 | 0.284 | -0.003 | 0.000 | 0.003 |
| 41 | 2.872 | -2.842 | 0.208 | 0.001 | 0.000 | 0.003 | 14 | 0.820 | -5.503 | 0.340 | -0.003 | 0.000 | 0.004 |

| Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation | Y-Axis Rotation | Z-Axis Rotation | Node | X-Axis Transl'n | Y-Axis Transl'n | Z-Axis Transl'n | X-Axis Rotation |  | Y-Axis Rotation | Z-Axis Rotation |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15 | 1.165 | -7.884 | 0.284 | -0.003 | 0.000 | 0.005 | 136 | 0.007 | -0.022 | -0.592 | 0.000 |  | 0.000 | 0.000 |  |
| 16 | 1.413 | -9.501 | 0.175 | -0.001 | 0.000 | 0.005 | 137 | -0.029 | -0.014 | -0.442 | -0.001 |  | 0.000 | 0.000 |  |
| 17 | 1.539 | -10.077 | 0.042 | 0.000 | 0.000 | 0.005 | 138 | -0.015 | -0.007 | -0.155 | -0.001 |  | 0.000 | 0.000 |  |
| 18 | 1.536 | -9.521 | -0.091 | 0.001 | 0.000 | 0.005 | 139 | 0.416 | -0.027 | -0.533 | 0.001 |  | 0.000 | 0.000 |  |
| 19 | 1.410 | -7.912 | -0.201 | 0.003 | 0.000 | 0.005 | 140 | 0.339 | -0.020 | -0.697 | 0.000 |  | 0.000 | 0.000 |  |
| 20 | 1.183 | -5.511 | -0.257 | 0.003 | 0.000 | 0.004 | 141 | 0.197 | -0.014 | -0.487 | -0.001 |  | 0.000 | 0.000 |  |
| 21 | 0.914 | -2.891 | -0.211 | 0.003 | 0.000 | 0.003 | 142 | 0.061 | -0.007 | -0.166 | -0.001 |  | 0.000 | 0.000 |  |
| 22 | 0.636 | -0.799 | -0.153 | 0.002 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |  |
| 23 | 0.063 | -5.005 | -1.016 | 0.009 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |  |
| 24 | 0.155 | -1.536 | 0.217 | -0.003 | 0.000 | 0.002 | MEMBER FORCES AND MOMENTS (kN,kNm) |  |  |  |  |  |  |  |  |
| 25 | 0.489 | -3.659 | 0.272 | -0.003 | 0.000 | 0.003 | ------------------------- |  |  |  |  |  |  |  |  |
| 26 | 0.793 | -5.759 | 0.245 | -0.002 | 0.000 | 0.003 |  |  |  |  |  |  |  |  |  |
| 27 | 1.018 | -7.230 | 0.178 | -0.001 | 0.000 | 0.003 | Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  |  |  |  |
| 28 | 1.138 | -7.763 | 0.095 | 0.000 | 0.000 | 0.003 |  |  |  |  |  |  |  |  |  |
| 29 | 1.143 | -7.262 | 0.011 | 0.001 | 0.000 | 0.003 |  |  | Axial | Y-Axis | Z-Axis | X-Axis |  | Y-Axis | Z-Axis |
| 30 | 1.042 | -5.816 | -0.057 | 0.002 | 0.000 | 0.003 | Memb | Node | Force | Shear | Shear | Torsion |  | Moment | Moment |
| 31 | 0.858 | -3.722 | -0.087 | 0.003 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |  |
| 32 | 0.643 | -1.564 | -0.046 | 0.003 | 0.000 | 0.002 | 1 | 11 | 0.011 | 0.002 | 0.004 | 0.000 |  | -0.001 | 0.000 |
| 33 | 0.470 | -0.099 | 0.020 | 0.002 | 0.000 | 0.001 |  | 10 | 0.011 | -0.001 | 0.004 | 0.000 |  | 0.001 | 0.000 |
| 34 | -0.189 | -0.030 | 0.205 | -0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 35 | 0.045 | -1.308 | 0.211 | -0.003 | 0.000 | 0.001 | 2 | 1 | 0.023 | -0.005 | 0.005 | -0.001 |  | -0.002 | 0.001 |
| 36 | 0.363 | -3.302 | 0.219 | -0.004 | 0.000 | 0.001 |  | 12 | 0.022 | -0.012 | 0.005 | -0.001 |  | 0.002 | -0.005 |
| 37 | 0.655 | -5.330 | 0.201 | -0.003 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |  |
| 38 | 0.874 | -6.764 | 0.162 | -0.002 | 0.000 | 0.002 | 3 | 122 | 0.003 | 0.009 | 0.000 | 0.002 |  | 0.000 -0.002 |  |
| 39 | 0.992 | -7.286 | 0.113 | 0.000 | 0.000 | 0.002 |  | 121 | 0.003 | 0.003 | 0.000 | 0.002 |  | 0.000 | 0.001 |
| 40 | 0.999 | -6.799 | 0.064 | 0.002 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |  |
| 41 | 0.905 | -5.395 | 0.025 | 0.003 | 0.000 | 0.002 | 4 | 11 | 0.023 | -0.005 | -0.003 | 0.001 |  | 0.002 | 0.001 |
| 42 | 0.735 | -3.382 | 0.006 | 0.003 | 0.000 | 0.001 |  | 22 | 0.023 | -0.012 | -0.003 | 0.001 |  | 0.000 | -0.005 |
| 43 | 0.537 | -1.369 | 0.012 | 0.003 | 0.000 | 0.001 |  |  |  |  |  |  |  |  |  |
| 44 | -0.394 | -0.034 | 1.150 | -0.001 | 0.000 | 0.000 | 5 | 33 | -0.091 | 0.002 | 0.000 | 0.000 |  | 0.001 | 0.000 |
| 45 | -0.239 | -0.164 | 0.322 | -0.002 | 0.000 | 0.000 |  | 32 | -0.091 | -0.002 | 0.000 | 0.000 |  | 0.001 | 0.000 |
| 46 | -0.057 | -1.452 | 0.383 | -0.002 | 0.000 | -0.001 |  |  |  |  |  |  |  |  |  |
| 47 | 0.188 | -3.136 | 0.463 | -0.003 | -0.001 | 0.000 | 6 | 99 | -0.021 | 0.003 | -0.003 | 0.000 |  | 0.001 | -0.001 |
| 48 | 0.440 | -5.019 | 0.424 | -0.003 | -0.001 | 0.000 |  | 98 | -0.021 | 0.000 | -0.003 | 0.000 |  | -0.001 | 0.000 |
| 49 | 0.639 | -6.385 | 0.321 | -0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 50 | 0.750 | -6.890 | 0.191 | 0.000 | 0.000 | 0.000 | 7 | 32 | 0.031 | 0.002 | 0.020 | 0.000 |  | -0.005 | 0.000 |
| 51 | 0.765 | -6.432 | 0.060 | 0.001 | 0.000 | 0.000 |  | 31 | 0.031 | -0.001 | 0.020 | 0.000 |  | 0.006 | 0.000 |
| 52 | 0.694 | -5.110 | -0.045 | 0.003 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 53 | 0.569 | -3.259 | -0.088 | 0.003 | 0.000 | 0.000 | 8 | 31 | 0.313 | 0.002 | 0.025 | 0.000 |  | -0.007 | 0.000 |
| 54 | 0.455 | -1.578 | -0.018 | 0.003 | 0.000 | -0.001 |  | 30 | 0.313 | -0.001 | 0.025 | 0.000 |  | 0.007 | 0.000 |
| 55 | 0.398 | -0.254 | 0.033 | 0.002 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 56 | -0.189 | -0.338 | 0.459 | -0.002 | 0.000 | 0.000 | 9 | 30 | 0.560 | 0.002 | 0.018 | 0.000 |  | -0.005 | 0.000 |
| 57 | 0.013 | -1.721 | 0.496 | -0.003 | 0.000 | 0.000 |  | 29 | 0.560 | -0.001 | 0.018 | 0.000 |  | 0.005 | 0.000 |
| 58 | 0.235 | -3.347 | 0.576 | -0.003 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 59 | 0.483 | -5.230 | 0.533 | -0.003 | 0.000 | 0.000 | 10 | 29 | 0.695 | 0.002 | 0.006 | 0.000 |  | -0.002 | 0.000 |
| 60 | 0.681 | -6.604 | 0.415 | -0.002 | 0.000 | 0.000 |  | 28 | 0.695 | -0.002 | 0.006 | 0.000 |  | 0.002 | 0.000 |
| 61 | 0.793 | -7.116 | 0.267 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 62 | 0.809 | -6.662 | 0.117 | 0.001 | 0.000 | 0.000 | 11 | 28 | 0.696 | 0.002 | -0.006 | 0.000 |  | 0.002 | 0.000 |
| 63 | 0.740 | -5.340 | -0.002 | 0.003 | 0.000 | 0.000 |  | 27 | 0.696 | -0.002 | -0.006 | 0.000 |  | -0.002 | 0.000 |
| 64 | 0.621 | -3.484 | -0.050 | 0.003 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 65 | 0.530 | -1.828 | 0.017 | 0.003 | 0.000 | 0.000 | 12 | 27 | 0.565 | 0.001 | -0.017 | 0.000 |  | 0.005 | 0.000 |
| 66 | 0.452 | -0.368 | 0.048 | 0.002 | 0.000 | 0.000 |  | 26 | 0.565 | -0.002 | -0.017 | 0.000 |  | -0.005 | 0.000 |
| 67 | -0.174 | -0.169 | 0.480 | -0.002 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 68 | 0.031 | -1.489 | 0.549 | -0.003 | 0.000 | 0.000 | 13 | 26 | 0.328 | 0.001 | -0.024 | 0.000 |  | 0.007 | 0.000 |
| 69 | 0.244 | -3.194 | 0.633 | -0.003 | 0.000 | 0.000 |  | 25 | 0.328 | -0.002 | -0.024 | 0.000 |  | -0.007 | 0.000 |
| 70 | 0.494 | -5.108 | 0.590 | -0.003 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 71 | 0.694 | -6.501 | 0.480 | -0.002 | 0.000 | 0.000 | 14 | 25 | 0.069 | 0.001 | -0.018 | 0.000 |  | 0.006 | 0.000 |
| 72 | 0.808 | -7.022 | 0.342 | 0.000 | 0.000 | 0.000 |  | 24 | 0.069 | -0.002 | -0.018 | 0.000 |  | -0.005 | 0.000 |
| 73 | 0.824 | -6.566 | 0.203 | 0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 74 | 0.753 | -5.227 | 0.092 | 0.003 | 0.000 | 0.000 | 15 | 24 | 0.000 | 0.003 | 0.000 | 0.000 |  | 0.000 -0.001 |  |
| 75 | 0.630 | -3.328 | 0.045 | 0.003 | 0.000 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 |
| 76 | 0.542 | -1.559 | 0.116 | 0.003 | 0.000 | 0.001 |  |  |  |  |  |  |  |  |  |
| 77 | 0.454 | -0.126 | 0.182 | 0.002 | 0.000 | 0.000 | 16 | 98 | -0.021 | 0.000 | -0.003 | 0.000 |  | -0.001 | 0.000 |
| 78 | -0.251 | -0.036 | 0.510 | -0.002 | 0.000 | 0.000 |  | 97 | -0.021 | -0.003 | -0.003 | 0.000 |  | -0.003 | -0.001 |
| 79 | -0.097 | -1.390 | 0.515 | -0.003 | 0.000 | -0.001 |  |  |  |  |  |  |  |  |  |
| 80 | 0.110 | -3.426 | 0.520 | -0.004 | 0.000 | -0.002 | 17 | 97 | 0.277 | 0.002 | -0.023 | 0.000 |  | 0.007 | 0.000 |
| 81 | 0.358 | -5.466 | 0.500 | -0.003 | 0.000 | -0.002 |  | 96 | 0.277 | -0.001 | -0.023 | 0.000 |  | -0.006 | 0.000 |
| 82 | 0.559 | -6.904 | 0.461 | -0.002 | 0.000 | -0.002 |  |  |  |  |  |  |  |  |  |
| 83 | 0.673 | -7.438 | 0.412 | 0.000 | 0.000 | -0.002 | 18 | 96 | 0.534 | 0.002 | -0.015 | 0.000 |  | 0.005 | 0.000 |
| 84 | 0.689 | -6.971 | 0.363 | 0.002 | 0.000 | -0.002 |  | 95 | 0.534 | -0.001 | -0.015 | 0.000 |  | -0.004 | 0.000 |
| 85 | 0.617 | -5.588 | 0.324 | 0.003 | 0.000 | -0.002 |  |  |  |  |  |  |  |  |  |
| 86 | 0.492 | -3.570 | 0.305 | 0.004 | 0.000 | -0.002 | 19 | 95 | 0.675 | 0.002 | -0.005 | 0.000 |  | 0.003 | 0.000 |
| 87 | 0.403 | -1.488 | 0.313 | 0.003 | 0.000 | -0.001 |  | 94 | 0.675 | -0.001 | -0.005 | 0.000 |  | -0.001 | 0.000 |
| 88 | -0.388 | -0.026 | 1.238 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 89 | -0.545 | -5.098 | -0.682 | 0.009 | -0.001 | -0.002 | 20 | 94 | 0.683 | 0.002 | 0.005 | 0.000 |  | -0.001 | 0.000 |
| 90 | -0.177 | -1.653 | 0.554 | -0.003 | -0.001 | -0.002 |  | 93 | 0.683 | -0.002 | 0.005 | 0.000 |  | 0.002 | 0.000 |
| 91 | 0.057 | -3.804 | 0.581 | -0.003 | -0.001 | -0.003 |  |  |  |  |  |  |  |  |  |
| 92 | 0.317 | -5.887 | 0.554 | -0.002 | -0.001 | -0.003 | 21 | 93 | 0.563 | 0.001 | 0.014 | 0.000 |  | -0.003 | 0.000 |
| 93 | 0.523 | -7.341 | 0.499 | -0.001 | 0.000 | -0.003 |  | 92 | 0.563 | -0.002 | 0.014 | 0.000 |  | 0.005 | 0.000 |
| 94 | 0.638 | -7.879 | 0.429 | 0.000 | 0.000 | -0.003 |  |  |  |  |  |  |  |  |  |
| 95 | 0.653 | -7.408 | 0.359 | 0.001 | 0.000 | -0.003 | 22 | 92 | 0.342 | 0.001 | 0.019 | 0.000 |  | -0.005 | 0.000 |
| 96 | 0.576 | -6.012 | 0.303 | 0.002 | 0.001 | -0.003 |  | 91 | 0.342 | -0.002 | 0.019 | 0.000 |  | 0.006 | 0.000 |
| 97 | 0.440 | -3.957 | 0.267 | 0.003 | 0.001 | -0.003 |  |  |  |  |  |  |  |  |  |
| 98 | 0.244 | -3.696 | 0.166 | 0.004 | 0.000 | -0.002 | 23 | 91 | 0.090 | 0.001 | 0.014 | 0.000 |  | -0.005 | 0.000 |
| 99 | 0.285 | -0.218 | 0.307 | 0.002 | 0.000 | -0.002 |  | 90 | 0.090 | -0.002 | 0.014 | 0.000 |  | 0.003 | 0.000 |
| 100 | 0.320 | -1.821 | 0.315 | 0.003 | 0.000 | -0.002 |  |  |  |  |  |  |  |  |  |
| 101 | -0.338 | -1.436 | 0.713 | -0.003 | 0.000 | -0.003 | 24 | 90 | 0.000 | 0.003 | 0.000 | 0.000 |  | 0.000 -0.001 |  |
| 102 | -0.164 | -3.385 | 0.755 | -0.003 | -0.001 | -0.004 |  | 89 | 0.000 | 0.000 | 0.000 | 0.000 |  | 0.000 | 0.000 |
| 103 | 0.118 | -5.748 | 0.778 | -0.003 | 0.000 | -0.004 |  |  |  |  |  |  |  |  |  |
| 104 | 0.398 | -7.900 | 0.721 | -0.003 | 0.000 | -0.004 | 25 | 10 | 0.024 | 0.002 | 0.004 | 0.000 |  | -0.001 | 0.000 |
| 105 | 0.611 | -9.380 | 0.618 | -0.001 | 0.000 | -0.004 |  | 9 | 0.024 | -0.001 | 0.004 | 0.000 |  | 0.001 | 0.000 |
| 106 | 0.728 | -9.929 | 0.491 | 0.000 | 0.000 | -0.004 |  |  |  |  |  |  |  |  |  |
| 107 | 0.741 | -9.458 | 0.364 | 0.001 | 0.000 | -0.004 | 26 | 9 | 0.031 | 0.002 | 0.003 | 0.000 |  | -0.001 | 0.000 |
| 108 | 0.657 | -8.047 | 0.260 | 0.003 | 0.000 | -0.004 |  | 8 | 0.031 | -0.001 | 0.003 | 0.000 |  | 0.001 | 0.000 |
| 109 | 0.502 | -5.938 | 0.196 | 0.003 | 0.000 | -0.004 |  |  |  |  |  |  |  |  |  |
| 110 | 0.346 | -3.575 | 0.200 | 0.003 | 0.000 | -0.004 | 27 | 8 | 0.035 | 0.002 | 0.002 | 0.000 |  | 0.000 | 0.000 |
| 111 | 0.288 | -1.566 | 0.248 | 0.003 | 0.000 | -0.003 |  | 7 | 0.035 | -0.001 | 0.002 | 0.000 |  | 0.001 | 0.000 |
| 112 | -0.141 | -4.016 | 0.914 | -0.004 | -0.001 | -0.004 |  |  |  |  |  |  |  |  |  |
| 113 | 0.118 | -6.548 | 0.919 | -0.004 | -0.001 | -0.005 | 28 | 7 | 0.038 | 0.002 | 0.001 | 0.000 |  | 0.000 | 0.000 |
| 114 | 0.424 | -9.041 | 0.897 | -0.004 | -0.001 | -0.005 |  | 6 | 0.038 | -0.001 | 0.001 | 0.000 |  | 0.001 | 0.000 |
| 115 | 0.714 | -11.204 | 0.825 | -0.003 | 0.000 | -0.005 |  |  |  |  |  |  |  |  |  |
| 116 | 0.931 | -12.687 | 0.708 | -0.002 | 0.000 | -0.005 | 29 | 6 | 0.038 | 0.001 | -0.001 | 0.000 |  | 0.001 | 0.000 |
| 117 | 1.050 | -13.245 | 0.566 | 0.000 | 0.000 | -0.005 |  | 5 | 0.038 | -0.002 | -0.001 | 0.000 |  | 0.000 | 0.000 |
| 118 | 1.063 | -12.786 | 0.423 | 0.002 | 0.000 | -0.005 |  |  |  |  |  |  |  |  |  |
| 119 | 0.977 | -11.390 | 0.304 | 0.003 | 0.000 | -0.005 | 30 | 5 | 0.036 | 0.001 | -0.002 | 0.000 |  | 0.001 | 0.000 |
| 120 | 0.816 | -9.291 | 0.226 | 0.004 | 0.000 | -0.005 |  | 4 | 0.036 | -0.002 | -0.002 | 0.000 |  | 0.000 | 0.000 |
| 121 | 0.638 | -6.818 | 0.198 | 0.004 | 0.000 | -0.005 |  |  |  |  |  |  |  |  |  |
| 122 | 0.500 | -4.271 | 0.202 | 0.004 | 0.000 | -0.004 | 31 | 4 | 0.034 | 0.001 | -0.003 | 0.000 |  | 0.001 | 0.000 |
| 123 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | 0.034 | -0.002 | -0.003 | 0.000 |  | -0.001 | 0.000 |
| 124 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 125 | 0.361 | -0.031 | 0.319 | 0.002 | 0.000 | -0.001 | 32 | 3 | 0.027 | 0.001 | -0.004 | 0.000 |  | 0.001 | 0.000 |
| 126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 2 | 0.027 | -0.002 | -0.004 | 0.000 |  | -0.001 | 0.000 |
| 127 | 0.412 | -0.029 | 0.019 | 0.002 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 128 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 2 | 0.012 | 0.001 | -0.004 | 0.000 |  | 0.001 | 0.000 |
| 129 | -0.247 | -0.017 | 0.812 | 0.001 | 0.000 | 0.000 |  | 1 | 0.012 | -0.002 | -0.004 | 0.000 |  | -0.002 | 0.000 |
| 130 | -0.080 | -0.009 | 0.268 | 0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 131 | -0.047 | -0.028 | 0.697 | -0.001 | 0.000 | 0.000 | 34 | 121 | -0.020 | 0.014 | 0.001 | 0.000 |  | 0.000 | -0.001 |
| 132 | 0.029 | -0.021 | 0.801 | 0.000 | 0.000 | 0.000 |  | 120 | -0.020 | 0.008 | 0.001 | 0.000 |  | 0.000 | 0.005 |
| 133 | 0.038 | -0.014 | 0.537 | 0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |  |
| 134 | 0.016 | -0.007 | 0.179 | 0.001 | 0.000 | 0.000 | 35 | 120 | -0.052 | 0.014 | 0.001 | 0.000 |  | 0.000 | 0.003 |
| 135 | 0.139 | -0.029 | -0.340 | 0.001 | 0.000 | 0.000 |  | 119 | -0.052 | 0.008 | 0.001 | 0.000 |  | 0.001 | 0.009 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 76 | 101 | 0.023 | 0.018 | -0.001 | 0.003 | 0.000 | -0.011 |
| 36 | 119 | -0.084 | 0.010 | 0.001 | 0.000 | 0.000 | 0.007 |  | 112 | 0.022 | 0.011 | -0.001 | 0.003 | 0.000 | -0.001 |
|  | 118 | -0.084 | 0.004 | 0.001 | 0.000 | 0.001 | 0.012 | 77 | 22 | 0.134 | -0.019 | -0.014 | 0.001 | 0.002 | -0.003 |
| 37 | 118 | -0.101 | 0.005 | 0.000 | 0.000 | 0.000 | 0.011 |  | 33 | 0.133 | -0.025 | -0.014 | 0.001 | -0.005 | -0.015 |
|  | 117 | -0.101 | -0.001 | 0.000 | 0.000 | 0.001 | 0.012 | 78 | 127 | 0.046 | 0.021 | -0.004 | -0.001 | 0.002 | -0.009 |
| 38 | 117 | -0.101 | 0.000 | 0.000 | 0.000 | 0.001 | 0.012 |  | 55 | 0.045 | 0.014 | -0.004 | -0.001 | -0.001 | 0.004 |
|  | 116 | -0.101 | -0.006 | 0.000 | 0.000 | 0.000 | 0.011 | 79 | 55 | -0.063 | 0.008 | 0.003 | 0.000 | -0.001 | 0.001 |
| 39 | 116 | -0.083 | -0.005 | -0.001 | 0.000 | 0.001 | 0.012 |  | 66 | -0.063 | 0.001 | 0.003 | 0.000 | 0.001 | 0.004 |
|  | 115 | -0.083 | -0.010 | -0.001 | 0.000 | 0.000 | 0.007 | 80 | 66 | -0.059 | -0.005 | -0.003 | 0.000 | 0.001 | 0.004 |
| 40 | 115 | -0.051 | -0.008 | -0.002 | 0.000 | 0.001 | 0.009 |  | 77 | -0.060 | -0.012 | -0.003 | 0.000 | -0.001 | -0.002 |
|  | 114 | -0.051 | -0.014 | -0.002 | 0.000 | 0.000 | 0.002 | 81 | 77 | 0.061 | -0.019 | -0.001 | 0.001 | 0.000 | 0.001 |
| 41 | 114 | -0.016 | -0.008 | -0.002 | 0.000 | 0.001 | 0.005 |  | 125 | 0.060 | -0.026 | -0.001 | 0.001 | 0.000 | -0.015 |
|  | 113 | -0.016 | -0.014 | -0.002 | 0.000 | 0.000 | -0.002 | 82 | 125 | 0.149 | 0.034 | -0.016 | -0.004 | 0.002 | -0.028 |
| 42 | 113 | 0.005 | -0.002 | 0.001 | -0.002 | 0.000 | 0.001 |  | 99 | 0.149 | 0.032 | -0.016 | -0.004 | -0.001 | -0.021 |
|  | 112 | 0.005 | -0.008 | 0.001 | -0.002 | 0.000 | -0.002 | 83 | 111 | 0.022 | 0.018 | 0.000 | -0.003 | 0.001 | -0.011 |
| 43 | 2 | 0.008 | -0.008 | 0.005 | 0.000 | -0.002 | 0.001 |  | 122 | 0.021 | 0.011 | 0.000 | -0.003 | 0.000 | -0.001 |
|  | 13 | 0.007 | -0.015 | 0.005 | 0.000 | 0.001 | -0.007 | 84 | 12 | 0.079 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
| 44 | 24 | 0.201 | -0.040 | 0.074 | 0.001 | -0.004 | -0.019 |  | 13 | 0.079 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 35 | 0.201 | -0.042 | 0.074 | 0.001 | 0.009 | -0.026 | 85 | 34 | 0.551 | 0.435 | -0.001 | 0.028 | 0.005 | -0.356 |
| 45 | 90 | 0.257 | 0.042 | 0.000 | 0.002 | -0.001 | -0.027 |  | 35 | 0.551 | 0.409 | -0.001 | 0.028 | 0.004 | -0.105 |
|  | 102 | 0.256 | 0.037 | 0.000 | 0.002 | -0.001 | -0.006 | 86 | 45 | 0.062 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
| 46 | 3 | 0.016 | -0.008 | 0.005 | 0.000 | -0.002 | 0.001 |  | 46 | 0.062 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 14 | 0.015 | -0.015 | 0.005 | 0.000 | 0.002 | -0.007 | 87 | 56 | 0.012 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | 0.148 | -0.037 | 0.253 | 0.005 | -0.017 | -0.020 |  | 57 | 0.012 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.147 | -0.038 | 0.253 | 0.005 | 0.027 | -0.027 | 88 | 67 | 0.063 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.176 | 0.036 | 0.010 | 0.002 | -0.005 | -0.023 |  | 68 | 0.063 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.176 | 0.031 | 0.010 | 0.002 | 0.001 | -0.005 | 89 | 78 | 0.522 | 0.446 | 0.013 | -0.034 | -0.001 | -0.357 |
| 49 | 4 | 0.017 | -0.008 | 0.004 | 0.000 | -0.001 | 0.001 |  | 79 | 0.522 | 0.419 | 0.013 | -0.034 | 0.007 | -0.100 |
|  | 15 | 0.016 | -0.015 | 0.004 | 0.000 | 0.001 | -0.007 | 90 | 101 | 0.114 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
| 50 | 26 | 0.077 | -0.035 | 0.231 | 0.004 | -0.016 | -0.021 |  | 102 | 0.114 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 37 | 0.077 | -0.037 | 0.231 | 0.004 | 0.025 | -0.028 | 91 | 13 | 0.106 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 |
| 51 | 92 | 0.094 | 0.033 | 0.009 | 0.001 | -0.004 | -0.021 |  | 14 | 0.106 | -0.001 | -0.005 | 0.000 | -0.001 | 0.000 |
|  | 104 | 0.093 | 0.027 | 0.009 | 0.001 | 0.001 | -0.005 | 92 | 13 | 0.186 | -0.028 | 0.005 | -0.001 | -0.002 | -0.003 |
| 52 | 5 | 0.014 | -0.008 | 0.002 | 0.000 | -0.001 | 0.001 |  | 24 | 0.185 | -0.034 | 0.005 | -0.001 | 0.001 | -0.019 |
|  | 16 | 0.013 | -0.015 | 0.002 | 0.000 | 0.001 | -0.007 | 93 | 14 | 0.140 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.043 | -0.035 | 0.129 | 0.002 | -0.009 | -0.022 |  | 15 | 0.140 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 38 | 0.043 | -0.036 | 0.129 | 0.002 | 0.014 | -0.029 | 94 | 14 | 0.145 | -0.028 | -0.006 | -0.001 | 0.000 | -0.004 |
| 54 | 93 | 0.052 | 0.031 | 0.005 | 0.001 | -0.002 | -0.020 |  | 25 | 0.144 | -0.033 | -0.006 | -0.001 | -0.003 | -0.020 |
|  | 105 | 0.052 | 0.026 | 0.005 | 0.001 | 0.000 | -0.005 | 95 | 15 | 0.204 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.013 | -0.008 | 0.000 | 0.000 | 0.000 | 0.001 |  | 16 | 0.204 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
|  | 17 | 0.012 | -0.015 | 0.000 | 0.000 | 0.000 | -0.007 | 96 | 15 | 0.087 | -0.028 | -0.005 | -0.001 | 0.000 | -0.005 |
| 56 | 28 | 0.034 | -0.035 | -0.001 | 0.000 | 0.000 | -0.023 |  | 26 | 0.087 | -0.033 | -0.005 | -0.001 | -0.003 | -0.021 |
|  | 39 | 0.034 | -0.036 | -0.001 | 0.000 | 0.000 | -0.029 | 97 | 16 | 0.247 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.039 | 0.031 | -0.001 | 0.000 | 0.000 | -0.020 |  | 17 | 0.247 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |
|  | 106 | 0.038 | 0.026 | -0.001 | 0.000 | 0.000 | -0.005 | 98 | 16 | 0.056 | -0.028 | -0.003 | 0.000 | 0.000 | -0.006 |
| 58 | 7 | 0.014 | -0.008 | -0.002 | 0.000 | 0.001 | 0.001 |  | 27 | 0.056 | -0.033 | -0.003 | 0.000 | -0.002 | -0.022 |
|  | 18 | 0.013 | -0.015 | -0.002 | 0.000 | -0.001 | -0.007 | 99 | 17 | 0.250 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.047 | -0.035 | -0.132 | -0.003 | 0.009 | -0.022 |  | 18 | 0.250 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.047 | -0.036 | -0.132 | -0.003 | -0.014 | -0.028 | 100 | 17 | 0.047 | -0.028 | 0.000 | 0.000 | 0.000 | -0.006 |
| 60 | 95 | 0.048 | 0.031 | -0.008 | -0.001 | 0.003 | -0.020 |  | 28 | 0.047 | -0.033 | 0.000 | 0.000 | 0.000 | -0.022 |
|  | 107 | 0.047 | 0.026 | -0.008 | -0.001 | -0.001 | -0.005 | 101 | 18 | 0.214 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
| 61 | 8 | 0.017 | -0.008 | -0.004 | 0.000 | 0.001 | 0.001 |  | 19 | 0.214 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.016 | -0.015 | -0.004 | 0.000 | -0.001 | -0.007 | 102 | 18 | 0.058 | -0.028 | 0.004 | 0.000 | 0.000 | -0.006 |
| 62 | 30 | 0.085 | -0.035 | -0.240 | -0.005 | 0.017 | -0.021 |  | 29 | 0.058 | -0.033 | 0.004 | 0.000 | 0.002 | -0.022 |
|  | 41 | 0.085 | -0.037 | -0.240 | -0.005 | -0.025 | -0.028 | 103 | 19 | 0.155 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
| 63 | 96 | 0.086 | 0.033 | -0.014 | -0.001 | 0.005 | -0.021 |  | 20 | 0.155 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.085 | 0.027 | -0.014 | -0.001 | -0.002 | -0.005 | 104 | 19 | 0.090 | -0.028 | 0.007 | 0.001 | 0.000 | -0.005 |
| 64 | 9 | 0.017 | -0.008 | -0.005 | 0.000 | 0.002 | 0.001 |  | 30 | 0.090 | -0.033 | 0.007 | 0.001 | 0.003 | -0.021 |
|  | 20 | 0.016 | -0.015 | -0.005 | 0.000 | -0.002 | -0.007 | 105 | 20 | 0.121 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
| 65 | 31 | 0.157 | -0.037 | -0.275 | -0.005 | 0.019 | -0.020 |  | 21 | 0.121 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 42 | 0.157 | -0.038 | -0.275 | -0.005 | -0.030 | -0.026 | 106 | 20 | 0.150 | -0.028 | 0.008 | 0.001 | 0.000 | -0.004 |
| 66 | 97 | 0.150 | 0.036 | -0.019 | -0.002 | 0.008 | -0.023 |  | 31 | 0.149 | -0.033 | 0.008 | 0.001 | 0.004 | -0.020 |
|  | 109 | 0.150 | 0.031 | -0.019 | -0.002 | -0.002 | -0.005 | 107 | 21 | 0.096 | 0.001 | 0.005 | 0.000 | -0.001 | 0.000 |
| 67 | 10 | 0.008 | -0.008 | -0.006 | 0.000 | 0.002 | 0.001 |  | 22 | 0.096 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
|  | 21 | 0.007 | -0.015 | -0.006 | 0.000 | -0.002 | -0.007 | 108 | 21 | 0.176 | -0.028 | -0.001 | 0.001 | 0.001 | -0.003 |
| 68 | 32 | 0.196 | -0.039 | -0.123 | -0.002 | 0.007 | -0.019 |  | 32 | 0.176 | -0.033 | -0.001 | 0.001 | 0.001 | -0.020 |
|  | 43 | 0.196 | -0.041 | -0.123 | -0.002 | -0.014 | -0.026 | 109 | 35 | 0.211 | 0.318 | -0.051 | 0.014 | 0.015 | -0.140 |
| 69 | 100 | 0.244 | 0.042 | 0.010 | -0.001 | -0.002 | -0.026 |  | 36 | 0.211 | 0.309 | -0.051 | 0.014 | -0.016 | 0.046 |
|  | 110 | 0.244 | 0.037 | 0.010 | -0.001 | 0.003 | -0.006 | 110 | 35 | 0.181 | 0.033 | -0.005 | 0.000 | 0.002 | -0.018 |
| 70 | 12 | 0.129 | -0.019 | 0.002 | -0.001 | -0.001 | -0.003 |  | 46 | 0.180 | 0.026 | -0.005 | 0.000 | -0.002 | 0.003 |
|  | 34 | 0.128 | -0.026 | 0.002 | -0.001 | 0.001 | -0.019 | 111 | 36 | -0.592 | 0.226 | -0.051 | 0.007 | 0.014 | -0.036 |
| 71 | 34 | 0.072 | 0.023 | 0.004 | 0.001 | -0.002 | -0.012 |  | 37 | -0.592 | 0.217 | -0.051 | 0.007 | -0.017 | 0.096 |
|  | 45 | 0.071 | 0.016 | 0.004 | 0.001 | 0.001 | 0.002 | 112 | 36 | 0.125 | 0.033 | -0.012 | -0.001 | 0.005 | -0.021 |
| 72 | 45 | -0.042 | 0.010 | -0.003 | 0.000 | 0.001 | 0.000 |  | 47 | 0.124 | 0.026 | -0.012 | -0.001 | -0.004 | 0.000 |
|  | 56 | -0.043 | 0.003 | -0.003 | 0.000 | -0.001 | 0.004 | 113 | 37 | -1.222 | 0.138 | -0.035 | 0.003 | 0.008 | 0.032 |
| 73 | 56 | -0.049 | -0.003 | 0.003 | 0.000 | -0.001 | 0.004 |  | 38 | -1.222 | 0.129 | -0.035 | 0.003 | -0.013 | 0.111 |
|  | 67 | -0.050 | -0.010 | 0.003 | 0.000 | 0.001 | -0.001 | 114 | 37 | 0.052 | 0.034 | -0.011 | -0.001 | 0.004 | -0.023 |
| 74 | 67 | 0.055 | -0.017 | -0.001 | -0.001 | 0.000 | 0.002 |  | 48 | 0.051 | 0.027 | -0.011 | -0.001 | -0.003 | -0.002 |
|  | 78 | 0.054 | -0.024 | -0.001 | -0.001 | 0.000 | -0.012 | 115 | 38 | -1.562 | 0.050 | -0.012 | 0.001 | 0.001 | 0.076 |
| 75 | 78 | 0.138 | 0.031 | 0.001 | 0.003 | 0.000 | -0.028 |  | 39 | -1.562 | 0.041 | -0.012 | 0.001 | -0.006 | 0.104 |
|  | 101 | 0.137 | 0.024 | 0.001 | 0.003 | 0.001 | -0.008 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 116 | 38 | 0.010 | 0.034 | -0.006 | 0.000 | 0.002 | -0.025 | 156 | 62 | -0.023 | -0.006 | 0.000 | 0.000 | 0.000 | 0.003 |
|  | 49 | 0.009 | 0.027 | -0.006 | 0.000 | -0.002 | -0.003 |  | 73 | -0.023 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |
| 117 | 39 | -1.570 | -0.037 | 0.013 | -0.002 | -0.006 | 0.103 | 157 | 63 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | -1.570 | -0.046 | 0.013 | -0.002 | 0.001 | 0.078 |  | 64 | 0.105 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 118 | 39 | -0.005 | 0.034 | 0.000 | 0.000 | 0.000 | -0.025 | 158 | 63 | -0.011 | -0.007 | 0.000 | 0.000 | 0.000 | 0.003 |
|  | 50 | -0.006 | 0.027 | 0.000 | 0.000 | 0.000 | -0.003 |  | 74 | -0.011 | -0.014 | 0.000 | 0.000 | 0.000 | -0.004 |
| 119 | 40 | -1.243 | -0.124 | 0.036 | -0.004 | -0.013 | 0.111 | 159 | 64 | 0.058 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 41 | -1.243 | -0.133 | 0.036 | -0.004 | 0.009 | 0.034 |  | 65 | 0.058 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
| 120 | 40 | 0.004 | 0.034 | 0.005 | 0.000 | -0.002 | -0.025 | 160 | 64 | 0.007 | -0.008 | 0.001 | 0.000 | 0.000 | 0.004 |
|  | 51 | 0.003 | 0.027 | 0.005 | 0.000 | 0.002 | -0.003 |  | 75 | 0.006 | -0.015 | 0.001 | 0.000 | 0.001 | -0.004 |
| 121 | 41 | -0.622 | -0.212 | 0.053 | -0.008 | -0.017 | 0.097 | 161 | 65 | 0.012 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.622 | -0.222 | 0.053 | -0.008 | 0.014 | -0.032 |  | 66 | 0.012 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.039 | 0.033 | 0.010 | 0.001 | -0.004 | -0.023 | 162 | 65 | -0.018 | -0.008 | 0.000 | 0.000 | 0.000 | 0.005 |
|  | 52 | 0.039 | 0.026 | 0.010 | 0.001 | 0.003 | -0.002 |  | 76 | -0.019 | -0.015 | 0.000 | 0.000 | 0.000 | -0.003 |
| 123 | 42 | 0.185 | -0.303 | 0.058 | -0.015 | -0.017 | 0.050 | 163 | 68 | 0.098 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 43 | 0.185 | -0.312 | 0.058 | -0.015 | 0.017 | -0.133 |  | 69 | 0.098 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |
| 124 | 42 | 0.107 | 0.033 | 0.012 | 0.001 | -0.005 | -0.021 | 164 | 68 | 0.158 | -0.027 | 0.004 | 0.000 | -0.001 | 0.003 |
|  | 53 | 0.106 | 0.026 | 0.012 | 0.001 | 0.004 | 0.000 |  | 79 | 0.157 | -0.034 | 0.004 | 0.000 | 0.001 | -0.019 |
| 125 | 43 | 0.581 | -0.402 | -0.015 | -0.034 | 0.002 | -0.093 | 165 | 69 | 0.169 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 127 | 0.581 | -0.429 | -0.015 | -0.034 | -0.007 | -0.340 |  | 70 | 0.169 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 |
| 126 | 43 | 0.171 | 0.032 | 0.006 | 0.000 | -0.002 | -0.016 | 166 | 69 | 0.120 | -0.027 | 0.011 | 0.001 | -0.004 | -0.001 |
|  | 54 | 0.170 | 0.025 | 0.006 | 0.000 | 0.002 | 0.004 |  | 80 | 0.120 | -0.034 | 0.011 | 0.001 | 0.004 | -0.022 |
| 127 | 46 | 0.099 | 0.002 | 0.006 | 0.000 | -0.001 | 0.000 | 167 | 70 | 0.257 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 47 | 0.099 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |  | 71 | 0.257 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |
| 128 | 46 | -0.020 | 0.013 | -0.001 | 0.000 | 0.000 | -0.002 | 168 | 70 | 0.048 | -0.027 | 0.011 | 0.000 | -0.003 | -0.002 |
|  | 57 | -0.020 | 0.007 | -0.001 | 0.000 | -0.001 | 0.005 |  | 81 | 0.047 | -0.034 | 0.011 | 0.000 | 0.004 | -0.024 |
| 129 | 47 | 0.165 | 0.002 | 0.006 | 0.000 | -0.002 | 0.000 | 169 | 71 | 0.312 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.165 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |  | 72 | 0.312 | -0.002 | -0.001 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | -0.003 | 0.013 | 0.001 | 0.000 | -0.001 | -0.003 | 170 | 71 | 0.008 | -0.026 | 0.006 | 0.000 | -0.002 | -0.003 |
|  | 58 | -0.004 | 0.006 | 0.001 | 0.000 | 0.000 | 0.004 |  | 82 | 0.007 | -0.033 | 0.006 | 0.000 | 0.002 | -0.024 |
| 131 | 48 | 0.248 | 0.002 | 0.004 | 0.000 | -0.002 | 0.000 | 171 | 72 | 0.317 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.248 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |  | 73 | 0.317 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.010 | 0.013 | 0.001 | 0.000 | -0.001 | -0.004 | 172 | 72 | -0.003 | -0.026 | 0.000 | 0.000 | 0.000 | -0.003 |
|  | 59 | -0.011 | 0.006 | 0.001 | 0.000 | 0.000 | 0.003 |  | 83 | -0.004 | -0.033 | 0.000 | 0.000 | 0.000 | -0.024 |
| 133 | 49 | 0.299 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.271 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 50 | 0.299 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 74 | 0.271 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 134 | 49 | -0.023 | 0.014 | 0.001 | 0.000 | 0.000 | -0.004 | 174 | 73 | 0.009 | -0.026 | -0.006 | 0.000 | 0.002 | -0.003 |
|  | 60 | -0.023 | 0.007 | 0.001 | 0.000 | 0.000 | 0.003 |  | 84 | 0.008 | -0.033 | -0.006 | 0.000 | -0.002 | -0.024 |
| 135 | 50 | 0.299 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.188 | 0.002 | 0.005 | 0.000 | -0.002 | 0.000 |
|  | 51 | 0.299 | -0.002 | -0.001 | 0.000 | -0.001 | 0.000 |  | 75 | 0.188 | -0.002 | 0.005 | 0.000 | 0.001 | 0.000 |
| 136 | 50 | -0.027 | 0.014 | 0.000 | 0.000 | 0.000 | -0.004 | 176 | 74 | 0.048 | -0.027 | -0.011 | 0.000 | 0.003 | -0.002 |
|  | 61 | -0.028 | 0.007 | 0.000 | 0.000 | 0.000 | 0.003 |  | 85 | 0.047 | -0.034 | -0.011 | 0.000 | -0.004 | -0.024 |
| 137 | 51 | 0.249 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 | 177 | 75 | 0.112 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 52 | 0.249 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 |  | 76 | 0.112 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 138 | 51 | -0.024 | 0.014 | -0.001 | 0.000 | 0.000 | -0.004 | 178 | 75 | 0.132 | -0.028 | -0.012 | -0.001 | 0.004 | -0.001 |
|  | 62 | -0.025 | 0.007 | -0.001 | 0.000 | 0.000 | 0.003 |  | 86 | 0.131 | -0.035 | -0.012 | -0.001 | -0.005 | -0.023 |
| 139 | 52 | 0.165 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 | 179 | 76 | 0.074 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.165 | -0.002 | -0.005 | 0.000 | -0.002 | 0.000 |  | 77 | 0.074 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | -0.013 | 0.013 | -0.001 | 0.000 | 0.001 | -0.003 | 180 | 76 | 0.166 | -0.028 | -0.004 | 0.000 | 0.002 | 0.002 |
|  | 63 | -0.014 | 0.006 | -0.001 | 0.000 | 0.000 | 0.003 |  | 87 | 0.165 | -0.035 | -0.004 | 0.000 | -0.001 | -0.020 |
| 141 | 53 | 0.096 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 | 181 | 79 | 0.155 | 0.328 | 0.018 | -0.015 | -0.001 | -0.140 |
|  | 54 | 0.096 | -0.002 | -0.006 | 0.000 | -0.001 | 0.000 |  | 80 | 0.155 | 0.319 | 0.018 | -0.015 | 0.010 | 0.052 |
| 142 | 53 | -0.002 | 0.013 | -0.001 | 0.000 | 0.001 | -0.003 | 182 | 79 | 0.272 | 0.048 | -0.090 | -0.001 | 0.012 | -0.035 |
|  | 64 | -0.003 | 0.006 | -0.001 | 0.000 | 0.000 | 0.004 |  | 90 | 0.272 | 0.046 | -0.090 | -0.001 | -0.004 | -0.026 |
| 143 | 54 | 0.057 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 | 183 | 80 | -0.646 | 0.234 | 0.022 | -0.006 | -0.007 | -0.035 |
|  | 55 | 0.057 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |  | 81 | -0.646 | 0.225 | 0.022 | -0.006 | 0.006 | 0.101 |
| 144 | 54 | -0.016 | 0.012 | 0.001 | 0.000 | 0.000 | -0.001 | 184 | 80 | 0.185 | 0.041 | -0.241 | -0.006 | 0.028 | -0.029 |
|  | 65 | -0.016 | 0.005 | 0.001 | 0.000 | 0.001 | 0.005 |  | 91 | 0.185 | 0.039 | -0.241 | -0.006 | -0.015 | -0.022 |
| 145 | 57 | 0.058 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 | 185 | 81 | -1.265 | 0.142 | 0.017 | -0.003 | -0.008 | 0.032 |
|  | 58 | 0.058 | -0.002 | 0.002 | 0.000 | 0.001 | 0.000 |  | 82 | -1.265 | 0.133 | 0.017 | -0.003 | 0.002 | 0.114 |
| 146 | 57 | -0.028 | -0.006 | 0.000 | 0.000 | 0.000 | 0.005 | 186 | 81 | 0.092 | 0.038 | -0.212 | -0.006 | 0.024 | -0.027 |
|  | 68 | -0.029 | -0.013 | 0.000 | 0.000 | 0.000 | -0.002 |  | 92 | 0.091 | 0.036 | -0.212 | -0.006 | -0.014 | -0.021 |
| 147 | 58 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -1.596 | 0.051 | 0.005 | -0.001 | -0.006 | 0.077 |
|  | 59 | 0.105 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -1.596 | 0.042 | 0.005 | -0.001 | -0.002 | 0.105 |
| 148 | 58 | -0.002 | -0.007 | -0.001 | 0.000 | 0.000 | 0.004 | 188 | 82 | 0.045 | 0.037 | -0.115 | -0.003 | 0.013 | -0.026 |
|  | 69 | -0.003 | -0.014 | -0.001 | 0.000 | -0.001 | -0.004 |  | 93 | 0.045 | 0.035 | -0.115 | -0.003 | -0.007 | -0.020 |
| 149 | 59 | 0.134 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -1.600 | -0.039 | -0.008 | 0.000 | -0.002 | 0.105 |
|  | 60 | 0.134 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -1.600 | -0.048 | -0.008 | 0.000 | -0.007 | 0.079 |
| 150 | 59 | -0.009 | -0.007 | 0.000 | 0.000 | 0.000 | 0.003 | 190 | 83 | 0.029 | 0.037 | 0.007 | 0.000 | -0.001 | -0.026 |
|  | 70 | -0.010 | -0.014 | 0.000 | 0.000 | 0.000 | -0.004 |  | 94 | 0.029 | 0.035 | 0.007 | 0.000 | 0.001 | -0.020 |
| 151 | 60 | 0.150 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -1.274 | -0.130 | -0.021 | 0.002 | 0.003 | 0.115 |
|  | 61 | 0.150 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -1.274 | -0.139 | -0.021 | 0.002 | -0.010 | 0.035 |
| 152 | 60 | -0.022 | -0.006 | 0.000 | 0.000 | 0.000 | 0.003 | 192 | 84 | 0.037 | 0.037 | 0.132 | 0.004 | -0.014 | -0.027 |
|  | 71 | -0.022 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |  | 95 | 0.037 | 0.035 | 0.132 | 0.004 | 0.009 | -0.020 |
| 153 | 61 | 0.151 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | -0.646 | -0.222 | -0.030 | 0.005 | 0.008 | 0.105 |
|  | 62 | 0.151 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | -0.646 | -0.232 | -0.030 | 0.005 | -0.010 | -0.030 |
| 154 | 61 | -0.026 | -0.006 | 0.000 | 0.000 | 0.000 | 0.003 | 194 | 85 | 0.075 | 0.038 | 0.243 | 0.006 | -0.027 | -0.028 |
|  | 72 | -0.027 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |  | 96 | 0.075 | 0.036 | 0.243 | 0.006 | 0.016 | -0.021 |
| 155 | 62 | 0.135 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.180 | -0.317 | -0.019 | 0.014 | 0.011 | 0.062 |
|  | 63 | 0.135 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.180 | -0.326 | -0.019 | 0.014 | 0.000 | -0.129 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 196 | 86 | 0.168 | 0.041 | 0.280 | 0.007 | -0.032 | -0.029 | 236 | 140 | 0.524 | 0.034 | -0.250 | -0.004 | 0.157 | -0.013 |
|  | 97 | 0.167 | 0.039 | 0.280 | 0.007 | 0.017 | -0.022 |  | 141 | 0.536 | 0.034 | -0.250 | -0.004 | 0.047 | 0.002 |
| 197 | 87 | 0.524 | -0.413 | -0.001 | 0.031 | -0.001 | -0.093 | 237 | 141 | 0.536 | 0.034 | -0.250 | -0.004 | 0.047 | 0.002 |
|  | 125 | 0.524 | -0.439 | -0.001 | 0.031 | -0.001 | -0.346 |  | 142 | 0.548 | 0.034 | -0.250 | -0.004 | -0.063 | 0.017 |
| 198 | 87 | 0.244 | 0.044 | 0.010 | -0.001 | -0.004 | -0.034 | 238 | 142 | 0.548 | 0.034 | -0.250 | -0.004 | -0.063 | 0.017 |
|  | 100 | 0.244 | 0.042 | 0.010 | -0.001 | -0.002 | -0.026 |  | 128 | 0.559 | 0.034 | -0.250 | -0.004 | -0.172 | 0.032 |
| 199 | 102 | 0.155 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | Load case 2 (Linear): WIND PL (S) |  |  |  |  |  |  |  |
|  | 103 | 0.155 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 200 | 102 | 0.027 | 0.023 | 0.000 | 0.002 | 0.000 | -0.012 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 113 | 0.027 | 0.016 | 0.000 | 0.002 | 0.000 | 0.003 | 1 | 11 | 0.005 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
| 201 | 103 | 0.206 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |  | 10 | 0.005 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 104 | 0.206 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 | 2 | 1 | 0.011 | -0.004 | 0.003 | 0.000 | -0.001 | 0.001 |
| 202 | 103 | 0.017 | 0.018 | 0.001 | 0.001 | 0.000 | -0.009 |  | 12 | 0.011 | -0.004 | 0.003 | 0.000 | 0.001 | -0.002 |
|  | 114 | 0.016 | 0.011 | 0.001 | 0.001 | 0.000 | 0.001 | 3 | 122 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 | -0.001 |
| 203 | 104 | 0.284 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 | 0.001 |
|  | 105 | 0.284 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | 0.011 | -0.004 | -0.002 | 0.000 | 0.001 | 0.001 |
| 204 | 104 | 0.008 | 0.014 | 0.001 | 0.001 | -0.001 | -0.007 |  | 22 | 0.011 | -0.004 | -0.002 | 0.000 | 0.000 | -0.002 |
|  | 115 | 0.007 | 0.007 | 0.001 | 0.001 | 0.000 | 0.001 | 5 | 33 | -0.050 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 |
| 205 | 105 | 0.335 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | -0.050 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 |
|  | 106 | 0.335 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 99 | -0.014 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 206 | 105 | -0.001 | 0.013 | 0.001 | 0.001 | 0.000 | -0.006 |  | 98 | -0.014 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.001 | 0.006 | 0.001 | 0.001 | 0.000 | 0.001 | 7 | 32 | 0.017 | 0.000 | 0.011 | 0.000 | -0.003 | 0.000 |
| 207 | 106 | 0.338 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |  | 31 | 0.017 | 0.000 | 0.011 | 0.000 | 0.004 | 0.000 |
|  | 107 | 0.338 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 8 | 31 | 0.173 | 0.000 | 0.014 | 0.000 | -0.004 | 0.000 |
| 208 | 106 | -0.004 | 0.013 | 0.000 | 0.000 | 0.000 | -0.006 |  | 30 | 0.173 | 0.000 | 0.014 | 0.000 | 0.004 | 0.000 |
|  | 117 | -0.004 | 0.006 | 0.000 | 0.000 | 0.000 | 0.001 | 9 | 30 | 0.309 | 0.000 | 0.010 | 0.000 | -0.003 | 0.000 |
| 209 | 107 | 0.293 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |  | 29 | 0.309 | 0.000 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 108 | 0.293 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 10 | 29 | 0.385 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
| 210 | 107 | -0.001 | 0.013 | 0.000 | -0.001 | 0.000 | -0.006 |  | 28 | 0.385 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 118 | -0.001 | 0.006 | 0.000 | -0.001 | 0.000 | 0.001 | 11 | 28 | 0.385 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
| 211 | 108 | 0.220 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |  | 27 | 0.385 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 109 | 0.220 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 | 12 | 27 | 0.312 | 0.000 | -0.010 | 0.000 | 0.003 | 0.000 |
| 212 | 108 | 0.008 | 0.014 | -0.001 | -0.001 | 0.000 | -0.007 |  | 26 | 0.312 | 0.000 | -0.010 | 0.000 | -0.003 | 0.000 |
|  | 119 | 0.007 | 0.008 | -0.001 | -0.001 | 0.000 | 0.001 | 13 | 26 | 0.182 | 0.000 | -0.013 | 0.000 | 0.004 | 0.000 |
| 213 | 109 | 0.168 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.182 | 0.000 | -0.013 | 0.000 | -0.004 | 0.000 |
|  | 110 | 0.168 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 25 | 0.039 | 0.000 | -0.010 | 0.000 | 0.003 | 0.000 |
| 214 | 109 | 0.014 | 0.018 | 0.000 | -0.001 | 0.000 | -0.009 |  | 24 | 0.039 | 0.000 | -0.010 | 0.000 | -0.003 | 0.000 |
|  | 120 | 0.013 | 0.011 | 0.000 | -0.001 | 0.000 | 0.001 | 15 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 215 | 110 | 0.120 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.120 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 | 16 | 98 | -0.014 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 216 | 110 | 0.027 | 0.023 | -0.002 | -0.002 | 0.001 | -0.011 |  | 97 | -0.014 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 121 | 0.027 | 0.016 | -0.002 | -0.002 | 0.000 | 0.003 | 17 | 97 | 0.142 | 0.000 | -0.012 | 0.000 | 0.004 | 0.000 |
| 217 | 34 | 0.488 | 0.019 | 0.265 | 0.006 | -0.389 | -0.031 |  | 96 | 0.142 | 0.000 | -0.012 | 0.000 | -0.003 | 0.000 |
|  | 131 | 0.522 | 0.019 | 0.265 | 0.006 | -0.272 | -0.022 | 18 | 96 | 0.277 | 0.000 | -0.008 | 0.000 | 0.003 | 0.000 |
| 218 | 78 | 0.507 | -0.031 | 0.224 | 0.003 | -0.392 | 0.053 |  | 95 | 0.277 | 0.000 | -0.008 | 0.000 | -0.002 | 0.000 |
|  | 44 | 0.548 | -0.031 | 0.224 | 0.003 | -0.273 | 0.037 | 19 | 95 | 0.351 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
| 219 | 125 | 0.507 | -0.022 | -0.240 | -0.001 | 0.382 | 0.041 |  | 94 | 0.351 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 |
|  | 135 | 0.542 | -0.022 | -0.240 | -0.001 | 0.273 | 0.031 | 20 | 94 | 0.355 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |
| 220 | 127 | 0.479 | 0.034 | -0.250 | -0.004 | 0.377 | -0.043 |  | 93 | 0.355 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 139 | 0.512 | 0.034 | -0.250 | -0.004 | 0.267 | -0.028 | 21 | 93 | 0.293 | 0.000 | 0.007 | 0.000 | -0.002 | 0.000 |
| 221 | 99 | 0.145 | 0.029 | 0.005 | -0.003 | -0.002 | -0.021 |  | 92 | 0.293 | 0.000 | 0.007 | 0.000 | 0.003 | 0.000 |
|  | 111 | 0.145 | 0.024 | 0.005 | -0.003 | 0.001 | -0.008 | 22 | 92 | 0.177 | 0.000 | 0.010 | 0.000 | -0.003 | 0.000 |
| 222 | 33 | 0.132 | -0.027 | 0.077 | 0.004 | -0.005 | -0.015 |  | 91 | 0.177 | 0.000 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 127 | 0.132 | -0.028 | 0.077 | 0.004 | 0.007 | -0.019 | 23 | 91 | 0.046 | 0.000 | 0.007 | 0.000 | -0.003 | 0.000 |
| 223 | 44 | 0.548 | -0.031 | 0.224 | 0.003 | -0.273 | 0.037 |  | 90 | 0.046 | 0.000 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 88 | 0.562 | -0.031 | 0.224 | 0.003 | -0.154 | 0.021 | 24 | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 224 | 88 | 0.562 | -0.031 | 0.224 | 0.003 | -0.154 | 0.021 |  | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 129 | 0.577 | -0.031 | 0.224 | 0.003 | -0.035 | 0.005 | 25 | 10 | 0.012 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
| 225 | 129 | 0.577 | -0.031 | 0.224 | 0.003 | -0.035 | 0.005 |  | 9 | 0.012 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 130 | 0.591 | -0.031 | 0.224 | 0.003 | 0.084 | -0.012 | 26 | 9 | 0.017 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 226 | 130 | 0.591 | -0.031 | 0.224 | 0.003 | 0.084 | -0.012 |  | 8 | 0.017 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 124 | 0.605 | -0.031 | 0.224 | 0.003 | 0.204 | -0.028 | 27 | 8 | 0.020 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | 0.522 | 0.019 | 0.265 | 0.006 | -0.272 | -0.022 |  | 7 | 0.020 | 0.000 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 132 | 0.534 | 0.019 | 0.265 | 0.006 | -0.156 | -0.014 | 28 | 7 | 0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.534 | 0.019 | 0.265 | 0.006 | -0.156 | -0.014 |  | 6 | 0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 133 | 0.545 | 0.019 | 0.265 | 0.006 | -0.039 | -0.005 | 29 | 6 | 0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.545 | 0.019 | 0.265 | 0.006 | -0.039 | -0.005 |  | 5 | 0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 134 | 0.557 | 0.019 | 0.265 | 0.006 | 0.078 | 0.003 | 30 | 5 | 0.021 | 0.000 | -0.001 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | 0.557 | 0.019 | 0.265 | 0.006 | 0.078 | 0.003 |  | 4 | 0.021 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.569 | 0.019 | 0.265 | 0.006 | 0.195 | 0.011 | 31 | 4 | 0.018 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 0.542 | -0.022 | -0.240 | -0.001 | 0.273 | 0.031 |  | 3 | 0.018 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.554 | -0.022 | -0.240 | -0.001 | 0.165 | 0.021 | 32 | 3 | 0.013 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
| 232 | 136 | 0.554 | -0.022 | -0.240 | -0.001 | 0.165 | 0.021 |  | 2 | 0.013 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 137 | 0.566 | -0.022 | -0.240 | -0.001 | 0.057 | 0.011 | 33 | 2 | 0.006 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
| 233 | 137 | 0.566 | -0.022 | -0.240 | -0.001 | 0.057 | 0.011 |  | 1 | 0.006 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 138 | 0.578 | -0.022 | -0.240 | -0.001 | -0.051 | 0.001 | 34 | 121 | -0.012 | 0.005 | 0.001 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.578 | -0.022 | -0.240 | -0.001 | -0.051 | 0.001 |  | 120 | -0.012 | 0.005 | 0.001 | 0.000 | 0.000 | 0.003 |
|  | 126 | 0.590 | -0.022 | -0.240 | -0.001 | -0.159 | -0.009 | 35 | 120 | -0.026 | 0.005 | 0.001 | 0.000 | 0.000 | 0.002 |
| 235 | 139 | 0.512 | 0.034 | -0.250 | -0.004 | 0.267 | -0.028 |  | 119 | -0.026 | 0.005 | 0.001 | 0.000 | 0.000 | 0.005 |
|  | 140 | 0.524 | 0.034 | -0.250 | -0.004 | 0.157 | -0.013 | 36 | 119 | -0.041 | 0.003 | 0.001 | 0.000 | 0.000 | 0.004 |
|  |  |  |  |  |  |  |  |  | 118 | -0.041 | 0.003 | 0.001 | 0.000 | 0.000 | 0.006 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 77 | 22 | 0.068 | -0.010 | -0.008 | 0.001 | 0.001 | -0.001 |
| 37 | 118 | -0.049 | 0.001 | 0.000 | 0.000 | 0.000 | 0.005 |  | 33 | 0.068 | -0.010 | -0.008 | 0.001 | -0.003 | -0.007 |
|  | 117 | -0.049 | 0.001 | 0.000 | 0.000 | 0.000 | 0.006 | 78 | 127 | 0.029 | 0.009 | -0.002 | -0.001 | 0.001 | -0.004 |
| 38 | 117 | -0.049 | -0.001 | 0.000 | 0.000 | 0.000 | 0.006 |  | 55 | 0.029 | 0.009 | -0.002 | -0.001 | -0.001 | 0.002 |
|  | 116 | -0.049 | -0.001 | 0.000 | 0.000 | 0.000 | 0.005 | 79 | 55 | -0.029 | 0.003 | 0.001 | 0.000 | 0.000 | 0.000 |
| 39 | 116 | -0.041 | -0.004 | -0.001 | 0.000 | 0.000 | 0.006 |  | 66 | -0.029 | 0.003 | 0.001 | 0.000 | 0.000 | 0.002 |
|  | 115 | -0.041 | -0.004 | -0.001 | 0.000 | 0.000 | 0.004 | 80 | 66 | -0.029 | -0.004 | -0.001 | 0.000 | 0.001 | 0.002 |
| 40 | 115 | -0.026 | -0.005 | -0.001 | 0.000 | 0.000 | 0.005 |  | 77 | -0.029 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 114 | -0.026 | -0.005 | -0.001 | 0.000 | 0.000 | 0.001 | 81 | 77 | 0.032 | -0.010 | -0.001 | 0.001 | 0.000 | 0.001 |
| 41 | 114 | -0.010 | -0.005 | -0.001 | 0.000 | 0.000 | 0.002 |  | 125 | 0.032 | -0.010 | -0.001 | 0.001 | 0.000 | -0.006 |
|  | 113 | -0.010 | -0.005 | -0.001 | 0.000 | 0.000 | -0.001 | 82 | 125 | 0.069 | 0.012 | -0.011 | -0.002 | 0.001 | -0.012 |
| 42 | 113 | 0.001 | -0.003 | 0.000 | -0.001 | 0.000 | 0.001 |  | 99 | 0.069 | 0.012 | -0.011 | -0.002 | -0.001 | -0.009 |
|  | 112 | 0.001 | -0.003 | 0.000 | -0.001 | 0.000 | -0.001 | 83 | 111 | 0.008 | 0.006 | 0.000 | -0.001 | 0.000 | -0.004 |
| 43 | 2 | 0.003 | -0.006 | 0.003 | 0.000 | -0.001 | 0.001 |  | 122 | 0.008 | 0.006 | 0.000 | -0.001 | 0.000 | 0.000 |
|  | 13 | 0.003 | -0.006 | 0.003 | 0.000 | 0.001 | -0.004 | 84 | 12 | 0.044 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
| 44 | 24 | 0.114 | -0.020 | 0.042 | 0.000 | -0.002 | -0.011 |  | 13 | 0.044 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 35 | 0.114 | -0.020 | 0.042 | 0.000 | 0.005 | -0.014 | 85 | 34 | 0.305 | 0.229 | 0.000 | 0.012 | 0.002 | -0.195 |
| 45 | 90 | 0.124 | 0.021 | 0.000 | 0.001 | 0.000 | -0.013 |  | 35 | 0.305 | 0.229 | 0.000 | 0.012 | 0.002 | -0.059 |
|  | 102 | 0.124 | 0.021 | 0.000 | 0.001 | 0.000 | -0.001 | 86 | 45 | 0.035 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 46 | 3 | 0.007 | -0.006 | 0.003 | 0.000 | -0.001 | 0.001 |  | 46 | 0.035 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.007 | -0.006 | 0.003 | 0.000 | 0.001 | -0.003 | 87 | 56 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | 0.084 | -0.019 | 0.139 | 0.003 | -0.010 | -0.011 |  | 57 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.084 | -0.019 | 0.139 | 0.003 | 0.015 | -0.015 | 88 | 67 | 0.033 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.085 | 0.019 | 0.005 | 0.001 | -0.002 | -0.011 |  | 68 | 0.033 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.085 | 0.019 | 0.005 | 0.001 | 0.000 | -0.001 | 89 | 78 | 0.270 | 0.222 | 0.006 | -0.013 | 0.000 | -0.185 |
| 49 | 4 | 0.007 | -0.006 | 0.002 | 0.000 | -0.001 | 0.001 |  | 79 | 0.270 | 0.222 | 0.006 | -0.013 | 0.004 | -0.054 |
|  | 15 | 0.007 | -0.006 | 0.002 | 0.000 | 0.001 | -0.003 | 90 | 101 | 0.056 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 50 | 26 | 0.044 | -0.018 | 0.128 | 0.002 | -0.009 | -0.012 |  | 102 | 0.056 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.044 | -0.018 | 0.128 | 0.002 | 0.014 | -0.016 | 91 | 13 | 0.060 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
| 51 | 92 | 0.043 | 0.017 | 0.005 | 0.001 | -0.002 | -0.010 |  | 14 | 0.060 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 104 | 0.043 | 0.017 | 0.005 | 0.001 | 0.000 | -0.001 | 92 | 13 | 0.104 | -0.019 | 0.002 | 0.000 | -0.001 | -0.001 |
| 52 | 5 | 0.006 | -0.006 | 0.001 | 0.000 | 0.000 | 0.001 |  | 24 | 0.104 | -0.019 | 0.002 | 0.000 | 0.000 | -0.011 |
|  | 16 | 0.006 | -0.006 | 0.001 | 0.000 | 0.000 | -0.003 | 93 | 14 | 0.079 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.024 | -0.018 | 0.071 | 0.001 | -0.005 | -0.013 |  | 15 | 0.079 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.024 | -0.018 | 0.071 | 0.001 | 0.008 | -0.016 | 94 | 14 | 0.082 | -0.019 | -0.003 | 0.000 | 0.000 | -0.002 |
| 54 | 93 | 0.021 | 0.016 | 0.002 | 0.000 | -0.001 | -0.010 |  | 25 | 0.082 | -0.019 | -0.003 | 0.000 | -0.002 | -0.012 |
|  | 105 | 0.021 | 0.016 | 0.002 | 0.000 | 0.000 | -0.001 | 95 | 15 | 0.114 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.005 | -0.006 | 0.000 | 0.000 | 0.000 | 0.001 |  | 16 | 0.114 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.005 | -0.006 | 0.000 | 0.000 | 0.000 | -0.003 | 96 | 15 | 0.049 | -0.018 | -0.003 | 0.000 | 0.000 | -0.003 |
| 56 | 28 | 0.020 | -0.018 | -0.001 | 0.000 | 0.000 | -0.013 |  | 26 | 0.049 | -0.018 | -0.003 | 0.000 | -0.002 | -0.012 |
|  | 39 | 0.020 | -0.018 | -0.001 | 0.000 | 0.000 | -0.016 | 97 | 16 | 0.138 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.014 | 0.016 | -0.001 | 0.000 | 0.000 | -0.010 |  | 17 | 0.138 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.014 | 0.016 | -0.001 | 0.000 | 0.000 | -0.001 | 98 | 16 | 0.031 | -0.018 | -0.002 | 0.000 | 0.000 | -0.003 |
| 58 | 7 | 0.006 | -0.006 | -0.001 | 0.000 | 0.000 | 0.001 |  | 27 | 0.031 | -0.018 | -0.002 | 0.000 | -0.001 | -0.013 |
|  | 18 | 0.006 | -0.006 | -0.001 | 0.000 | 0.000 | -0.003 | 99 | 17 | 0.140 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.027 | -0.018 | -0.073 | -0.001 | 0.005 | -0.013 |  | 18 | 0.140 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.027 | -0.018 | -0.073 | -0.001 | -0.008 | -0.016 | 100 | 17 | 0.026 | -0.018 | 0.000 | 0.000 | 0.000 | -0.003 |
| 60 | 95 | 0.018 | 0.016 | -0.004 | 0.000 | 0.002 | -0.010 |  | 28 | 0.026 | -0.018 | 0.000 | 0.000 | 0.000 | -0.013 |
|  | 107 | 0.018 | 0.016 | -0.004 | 0.000 | -0.001 | -0.001 | 101 | 18 | 0.120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 8 | 0.007 | -0.006 | -0.002 | 0.000 | 0.001 | 0.001 |  | 19 | 0.120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.007 | -0.006 | -0.002 | 0.000 | -0.001 | -0.003 | 102 | 18 | 0.033 | -0.018 | 0.002 | 0.000 | 0.000 | -0.003 |
| 62 | 30 | 0.048 | -0.018 | -0.133 | -0.003 | 0.009 | -0.012 |  | 29 | 0.033 | -0.018 | 0.002 | 0.000 | 0.001 | -0.013 |
|  | 41 | 0.048 | -0.018 | -0.133 | -0.003 | -0.014 | -0.015 | 103 | 19 | 0.087 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 63 | 96 | 0.039 | 0.017 | -0.007 | -0.001 | 0.003 | -0.010 |  | 20 | 0.087 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.039 | 0.017 | -0.007 | -0.001 | -0.001 | -0.001 | 104 | 19 | 0.051 | -0.018 | 0.004 | 0.000 | 0.000 | -0.002 |
| 64 | 9 | 0.008 | -0.006 | -0.003 | 0.000 | 0.001 | 0.001 |  | 30 | 0.051 | -0.018 | 0.004 | 0.000 | 0.002 | -0.012 |
|  | 20 | 0.008 | -0.006 | -0.003 | 0.000 | -0.001 | -0.003 | 105 | 20 | 0.068 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 65 | 31 | 0.089 | -0.019 | -0.151 | -0.003 | 0.010 | -0.011 |  | 21 | 0.068 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 42 | 0.089 | -0.019 | -0.151 | -0.003 | -0.016 | -0.015 | 106 | 20 | 0.084 | -0.019 | 0.004 | 0.001 | 0.000 | -0.002 |
| 66 | 97 | 0.071 | 0.019 | -0.010 | -0.001 | 0.004 | -0.011 |  | 31 | 0.084 | -0.019 | 0.004 | 0.001 | 0.002 | -0.011 |
|  | 109 | 0.071 | 0.019 | -0.010 | -0.001 | -0.001 | -0.001 | 107 | 21 | 0.053 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
| 67 | 10 | 0.003 | -0.006 | -0.003 | 0.000 | 0.001 | 0.001 |  | 22 | 0.053 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 21 | 0.003 | -0.006 | -0.003 | 0.000 | -0.001 | -0.004 | 108 | 21 | 0.099 | -0.018 | 0.000 | 0.001 | 0.001 | -0.001 |
| 68 | 32 | 0.111 | -0.020 | -0.067 | -0.001 | 0.004 | -0.011 |  | 32 | 0.099 | -0.018 | 0.000 | 0.001 | 0.000 | -0.011 |
|  | 43 | 0.111 | -0.020 | -0.067 | -0.001 | -0.008 | -0.014 | 109 | 35 | 0.119 | 0.175 | -0.027 | 0.006 | 0.008 | -0.078 |
| 69 | 100 | 0.117 | 0.021 | 0.005 | -0.001 | -0.001 | -0.012 |  | 36 | 0.119 | 0.175 | -0.027 | 0.006 | -0.008 | 0.026 |
|  | 110 | 0.117 | 0.021 | 0.005 | -0.001 | 0.001 | -0.001 | 110 | 35 | 0.107 | 0.019 | -0.003 | 0.000 | 0.001 | -0.011 |
| 70 | 12 | 0.065 | -0.010 | 0.001 | -0.001 | 0.000 | -0.001 |  | 46 | 0.107 | 0.019 | -0.003 | 0.000 | -0.001 | 0.002 |
|  | 34 | 0.065 | -0.010 | 0.001 | -0.001 | 0.001 | -0.008 | 111 | 36 | -0.327 | 0.123 | -0.028 | 0.003 | 0.008 | -0.020 |
| 71 | 34 | 0.043 | 0.010 | 0.002 | 0.001 | -0.001 | -0.006 |  | 37 | -0.327 | 0.123 | -0.028 | 0.003 | -0.009 | 0.054 |
|  | 45 | 0.043 | 0.010 | 0.002 | 0.001 | 0.001 | 0.001 | 112 | 36 | 0.072 | 0.019 | -0.007 | 0.000 | 0.003 | -0.013 |
| 72 | 45 | -0.018 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 |  | 47 | 0.072 | 0.019 | -0.007 | 0.000 | -0.002 | 0.001 |
|  | 56 | -0.018 | 0.004 | -0.001 | 0.000 | -0.001 | 0.002 | 113 | 37 | -0.677 | 0.074 | -0.020 | 0.001 | 0.005 | 0.018 |
| 73 | 56 | -0.023 | -0.003 | 0.002 | 0.000 | -0.001 | 0.002 |  | 38 | -0.677 | 0.074 | -0.020 | 0.001 | -0.007 | 0.062 |
|  | 67 | -0.023 | -0.003 | 0.002 | 0.000 | 0.001 | 0.000 | 114 | 37 | 0.028 | 0.019 | -0.006 | 0.000 | 0.002 | -0.014 |
| 74 | 67 | 0.029 | -0.009 | 0.000 | -0.001 | 0.000 | 0.001 |  | 48 | 0.028 | 0.019 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 78 | 0.029 | -0.009 | 0.000 | -0.001 | 0.000 | -0.005 | 115 | 38 | -0.866 | 0.025 | -0.007 | 0.000 | 0.001 | 0.043 |
| 75 | 78 | 0.063 | 0.012 | 0.000 | 0.002 | 0.000 | -0.012 |  | 39 | -0.866 | 0.025 | -0.007 | 0.000 | -0.003 | 0.058 |
|  | 101 | 0.063 | 0.012 | 0.000 | 0.002 | 0.000 | -0.003 | 116 | 38 | 0.003 | 0.020 | -0.003 | 0.000 | 0.001 | -0.014 |
| 76 | 101 | 0.008 | 0.006 | 0.000 | 0.001 | 0.000 | -0.004 |  | 49 | 0.003 | 0.020 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 112 | 0.008 | 0.006 | 0.000 | 0.001 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 117 | 39 | -0.870 | -0.023 | 0.007 | -0.001 | -0.004 | 0.057 | 157 | 63 | 0.051 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.870 | -0.023 | 0.007 | -0.001 | 0.001 | 0.044 |  | 64 | 0.051 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 118 | 39 | -0.006 | 0.020 | 0.000 | 0.000 | 0.000 | -0.014 | 158 | 63 | -0.020 | -0.006 | 0.000 | 0.000 | 0.000 | 0.004 |
|  | 50 | -0.006 | 0.020 | 0.000 | 0.000 | 0.000 | -0.001 |  | 74 | -0.020 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 |
| 119 | 40 | -0.688 | -0.072 | 0.020 | -0.002 | -0.007 | 0.062 | 159 | 64 | 0.026 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 41 | -0.688 | -0.072 | 0.020 | -0.002 | 0.005 | 0.019 |  | 65 | 0.026 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 120 | 40 | 0.000 | 0.020 | 0.003 | 0.000 | -0.001 | -0.014 | 160 | 64 | -0.008 | -0.006 | 0.000 | 0.000 | 0.000 | 0.004 |
|  | 51 | 0.000 | 0.020 | 0.003 | 0.000 | 0.001 | 0.000 |  | 75 | -0.008 | -0.006 | 0.000 | 0.000 | 0.000 | -0.001 |
| 121 | 41 | -0.342 | -0.121 | 0.029 | -0.004 | -0.009 | 0.054 | 161 | 65 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.342 | -0.121 | 0.029 | -0.004 | 0.008 | -0.018 |  | 66 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.021 | 0.019 | 0.006 | 0.000 | -0.002 | -0.014 | 162 | 65 | -0.017 | -0.006 | -0.001 | 0.000 | 0.000 | 0.004 |
|  | 52 | 0.021 | 0.019 | 0.006 | 0.000 | 0.002 | 0.000 |  | 76 | -0.017 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 |
| 123 | 42 | 0.107 | -0.171 | 0.030 | -0.007 | -0.009 | 0.028 | 163 | 68 | 0.049 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 43 | 0.107 | -0.171 | 0.030 | -0.007 | 0.009 | -0.074 |  | 69 | 0.049 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
| 124 | 42 | 0.063 | 0.019 | 0.007 | 0.000 | -0.003 | -0.012 | 164 | 68 | 0.081 | -0.018 | 0.002 | 0.000 | -0.001 | 0.003 |
|  | 53 | 0.063 | 0.019 | 0.007 | 0.000 | 0.002 | 0.001 |  | 79 | 0.081 | -0.018 | 0.002 | 0.000 | 0.001 | -0.010 |
| 125 | 43 | 0.323 | -0.227 | -0.009 | -0.015 | 0.001 | -0.052 | 165 | 69 | 0.086 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 127 | 0.323 | -0.227 | -0.009 | -0.015 | -0.004 | -0.187 |  | 70 | 0.086 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 126 | 43 | 0.102 | 0.019 | 0.003 | 0.000 | -0.001 | -0.010 | 166 | 69 | 0.059 | -0.018 | 0.006 | 0.000 | -0.002 | 0.001 |
|  | 54 | 0.102 | 0.019 | 0.003 | 0.000 | 0.001 | 0.003 |  | 80 | 0.059 | -0.018 | 0.006 | 0.000 | 0.002 | -0.012 |
| 127 | 46 | 0.053 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 | 167 | 70 | 0.132 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.053 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |  | 71 | 0.132 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
| 128 | 46 | -0.014 | 0.007 | 0.000 | 0.000 | 0.000 | -0.001 | 168 | 70 | 0.018 | -0.018 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 57 | -0.014 | 0.007 | 0.000 | 0.000 | 0.000 | 0.004 |  | 81 | 0.018 | -0.018 | 0.006 | 0.000 | 0.002 | -0.012 |
| 129 | 47 | 0.089 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 | 169 | 71 | 0.161 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.089 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |  | 72 | 0.161 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 130 | 47 | -0.009 | 0.007 | 0.001 | 0.000 | 0.000 | -0.001 | 170 | 71 | -0.005 | -0.018 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 58 | -0.009 | 0.007 | 0.001 | 0.000 | 0.000 | 0.004 |  | 82 | -0.005 | -0.018 | 0.003 | 0.000 | 0.001 | -0.012 |
| 131 | 48 | 0.134 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 | 171 | 72 | 0.163 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.134 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  | 73 | 0.163 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.017 | 0.007 | 0.001 | 0.000 | 0.000 | -0.001 | 172 | 72 | -0.011 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.017 | 0.007 | 0.001 | 0.000 | 0.000 | 0.004 |  | 83 | -0.011 | -0.018 | 0.000 | 0.000 | 0.000 | -0.012 |
| 133 | 49 | 0.162 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.139 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 50 | 0.162 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 74 | 0.139 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 134 | 49 | -0.025 | 0.007 | 0.000 | 0.000 | 0.000 | -0.001 | 174 | 73 | -0.004 | -0.018 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 60 | -0.025 | 0.007 | 0.000 | 0.000 | 0.000 | 0.004 |  | 84 | -0.004 | -0.018 | -0.003 | 0.000 | -0.001 | -0.012 |
| 135 | 50 | 0.162 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.096 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 51 | 0.162 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 75 | 0.096 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 136 | 50 | -0.028 | 0.007 | 0.000 | 0.000 | 0.000 | -0.001 | 176 | 74 | 0.017 | -0.018 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 61 | -0.028 | 0.007 | 0.000 | 0.000 | 0.000 | 0.004 |  | 85 | 0.017 | -0.018 | -0.006 | 0.000 | -0.002 | -0.012 |
| 137 | 51 | 0.134 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 177 | 75 | 0.057 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 52 | 0.134 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |  | 76 | 0.057 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
| 138 | 51 | -0.026 | 0.007 | 0.000 | 0.000 | 0.000 | -0.001 | 178 | 75 | 0.065 | -0.019 | -0.007 | 0.000 | 0.002 | 0.001 |
|  | 62 | -0.026 | 0.007 | 0.000 | 0.000 | 0.000 | 0.004 |  | 86 | 0.065 | -0.019 | -0.007 | 0.000 | -0.003 | -0.012 |
| 139 | 52 | 0.089 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 179 | 76 | 0.038 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.089 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |  | 77 | 0.038 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | -0.019 | 0.007 | -0.001 | 0.000 | 0.000 | -0.001 | 180 | 76 | 0.085 | -0.019 | -0.003 | 0.000 | 0.001 | 0.002 |
|  | 63 | -0.019 | 0.007 | -0.001 | 0.000 | 0.000 | 0.004 |  | 87 | 0.085 | -0.019 | -0.003 | 0.000 | -0.001 | -0.011 |
| 141 | 53 | 0.052 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 181 | 79 | 0.081 | 0.170 | 0.008 | -0.006 | 0.000 | -0.074 |
|  | 54 | 0.052 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |  | 80 | 0.081 | 0.170 | 0.008 | -0.006 | 0.004 | 0.027 |
| 142 | 53 | -0.009 | 0.007 | -0.001 | 0.000 | 0.000 | -0.001 | 182 | 79 | 0.132 | 0.021 | -0.046 | 0.000 | 0.006 | -0.016 |
|  | 64 | -0.009 | 0.007 | -0.001 | 0.000 | 0.000 | 0.004 |  | 90 | 0.132 | 0.021 | -0.046 | 0.000 | -0.002 | -0.012 |
| 143 | 54 | 0.032 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 183 | 80 | -0.340 | 0.121 | 0.011 | -0.002 | -0.004 | -0.019 |
|  | 55 | 0.032 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 81 | -0.340 | 0.121 | 0.011 | -0.002 | 0.003 | 0.053 |
| 144 | 54 | -0.011 | 0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 184 | 80 | 0.089 | 0.019 | -0.125 | -0.003 | 0.014 | -0.014 |
|  | 65 | -0.011 | 0.006 | 0.000 | 0.000 | 0.000 | 0.004 |  | 91 | 0.089 | 0.019 | -0.125 | -0.003 | -0.008 | -0.011 |
| 145 | 57 | 0.027 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 185 | 81 | -0.666 | 0.073 | 0.009 | -0.001 | -0.004 | 0.017 |
|  | 58 | 0.027 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 82 | -0.666 | 0.073 | 0.009 | -0.001 | 0.001 | 0.060 |
| 146 | 57 | -0.022 | -0.005 | 0.000 | 0.000 | 0.000 | 0.004 | 186 | 81 | 0.041 | 0.017 | -0.111 | -0.003 | 0.012 | -0.013 |
|  | 68 | -0.022 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 92 | 0.041 | 0.017 | -0.111 | -0.003 | -0.007 | -0.010 |
| 147 | 58 | 0.051 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -0.841 | 0.025 | 0.003 | 0.000 | -0.003 | 0.041 |
|  | 59 | 0.051 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -0.841 | 0.025 | 0.003 | 0.000 | -0.001 | 0.056 |
| 148 | 58 | -0.013 | -0.006 | 0.000 | 0.000 | 0.000 | 0.004 | 188 | 82 | 0.017 | 0.017 | -0.060 | -0.002 | 0.007 | -0.013 |
|  | 69 | -0.013 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 |  | 93 | 0.017 | 0.017 | -0.060 | -0.002 | -0.004 | -0.010 |
| 149 | 59 | 0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -0.843 | -0.023 | -0.004 | 0.000 | -0.001 | 0.056 |
|  | 60 | 0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -0.843 | -0.023 | -0.004 | 0.000 | -0.004 | 0.042 |
| 150 | 59 | -0.019 | -0.006 | 0.000 | 0.000 | 0.000 | 0.004 | 190 | 83 | 0.008 | 0.017 | 0.004 | 0.000 | 0.000 | -0.013 |
|  | 70 | -0.019 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 |  | 94 | 0.008 | 0.017 | 0.004 | 0.000 | 0.000 | -0.010 |
| 151 | 60 | 0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -0.671 | -0.071 | -0.011 | 0.000 | 0.001 | 0.061 |
|  | 61 | 0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -0.671 | -0.071 | -0.011 | 0.000 | -0.005 | 0.019 |
| 152 | 60 | -0.027 | -0.005 | 0.000 | 0.000 | 0.000 | 0.004 | 192 | 84 | 0.013 | 0.017 | 0.069 | 0.002 | -0.008 | -0.013 |
|  | 71 | -0.027 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 95 | 0.013 | 0.017 | 0.069 | 0.002 | 0.005 | -0.010 |
| 153 | 61 | 0.076 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | -0.340 | -0.120 | -0.016 | 0.002 | 0.004 | 0.056 |
|  | 62 | 0.076 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | -0.340 | -0.120 | -0.016 | 0.002 | -0.005 | -0.016 |
| 154 | 61 | -0.030 | -0.005 | 0.000 | 0.000 | 0.000 | 0.004 | 194 | 85 | 0.033 | 0.017 | 0.127 | 0.004 | -0.014 | -0.014 |
|  | 72 | -0.030 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | 0.033 | 0.017 | 0.127 | 0.004 | 0.009 | -0.011 |
| 155 | 62 | 0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.095 | -0.168 | -0.008 | 0.005 | 0.005 | 0.032 |
|  | 63 | 0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.095 | -0.168 | -0.008 | 0.005 | 0.000 | -0.068 |
| 156 | 62 | -0.028 | -0.005 | 0.000 | 0.000 | 0.000 | 0.004 | 196 | 86 | 0.080 | 0.018 | 0.146 | 0.004 | -0.017 | -0.014 |
|  | 73 | -0.028 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | 0.080 | 0.018 | 0.146 | 0.004 | 0.009 | -0.011 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 197 | 87 | 0.273 | -0.220 | 0.000 | 0.011 | 0.000 | -0.049 | 237 | 141 | 0.250 | 0.014 | -0.138 | -0.002 | 0.026 | 0.000 |
|  | 125 | 0.273 | -0.220 | 0.000 | 0.011 | 0.000 | -0.180 |  | 142 | 0.250 | 0.014 | -0.138 | -0.002 | -0.035 | 0.007 |
| 198 | 87 | 0.117 | 0.021 | 0.005 | -0.001 | -0.002 | -0.016 | 238 | 142 | 0.250 | 0.014 | -0.138 | -0.002 | -0.035 | 0.007 |
|  | 100 | 0.117 | 0.021 | 0.005 | -0.001 | -0.001 | -0.012 |  | 128 | 0.250 | 0.014 | -0.138 | -0.002 | -0.096 | 0.013 |
| 199 | 102 | 0.079 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 3 (Linear): WIND PL (U) |  |  |  |  |  |  |  |
|  | 103 | 0.079 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 200 | 102 | 0.008 | 0.009 | 0.000 | 0.001 | 0.000 | -0.004 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 113 | 0.008 | 0.009 | 0.000 | 0.001 | 0.000 | 0.002 | 1 | 11 | 0.009 | 0.001 | 0.005 | 0.000 | -0.001 | 0.000 |
| 201 | 103 | 0.107 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 10 | 0.009 | 0.001 | 0.005 | 0.000 | 0.001 | 0.000 |
|  | 104 | 0.107 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 2 | 1 | 0.018 | -0.006 | 0.004 | -0.001 | -0.002 | 0.001 |
| 202 | 103 | 0.003 | 0.006 | 0.000 | 0.001 | 0.000 | -0.003 |  | 12 | 0.018 | -0.006 | 0.004 | -0.001 | 0.001 | -0.003 |
|  | 114 | 0.003 | 0.006 | 0.000 | 0.001 | 0.000 | 0.001 | 3 | 122 | -0.001 | 0.005 | 0.000 | 0.001 | 0.000 | -0.002 |
| 203 | 104 | 0.147 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | -0.001 | 0.005 | 0.000 | 0.001 | 0.000 | 0.002 |
|  | 105 | 0.147 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | 0.018 | -0.006 | -0.003 | 0.001 | 0.002 | 0.001 |
| 204 | 104 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | -0.003 |  | 22 | 0.018 | -0.006 | -0.003 | 0.001 | 0.000 | -0.004 |
|  | 115 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | 0.001 | 5 | 33 | -0.084 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 |
| 205 | 105 | 0.174 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | -0.084 | 0.000 | 0.000 | 0.000 | 0.001 | 0.000 |
|  | 106 | 0.174 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 99 | -0.023 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
| 206 | 105 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 | -0.002 |  | 98 | -0.023 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 116 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 | 0.001 | 7 | 32 | 0.028 | 0.000 | 0.018 | 0.000 | -0.005 | 0.000 |
| 207 | 106 | 0.176 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.028 | 0.000 | 0.018 | 0.000 | 0.006 | 0.000 |
|  | 107 | 0.176 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 31 | 0.288 | 0.000 | 0.023 | 0.000 | -0.007 | 0.000 |
| 208 | 106 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 | -0.002 |  | 30 | 0.288 | 0.000 | 0.023 | 0.000 | 0.007 | 0.000 |
|  | 117 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 | 0.001 | 9 | 30 | 0.515 | 0.000 | 0.016 | 0.000 | -0.005 | 0.000 |
| 209 | 107 | 0.152 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 29 | 0.515 | 0.000 | 0.016 | 0.000 | 0.005 | 0.000 |
|  | 108 | 0.152 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 10 | 29 | 0.641 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 |
| 210 | 107 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 | -0.002 |  | 28 | 0.641 | 0.000 | 0.006 | 0.000 | 0.001 | 0.000 |
|  | 118 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 | 0.001 | 11 | 28 | 0.642 | 0.000 | -0.006 | 0.000 | 0.001 | 0.000 |
| 211 | 108 | 0.114 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |  | 27 | 0.642 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 109 | 0.114 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 12 | 27 | 0.521 | 0.000 | -0.016 | 0.000 | 0.005 | 0.000 |
| 212 | 108 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | -0.003 |  | 26 | 0.521 | 0.000 | -0.016 | 0.000 | -0.005 | 0.000 |
|  | 119 | -0.001 | 0.005 | 0.000 | 0.000 | 0.000 | 0.001 | 13 | 26 | 0.303 | 0.000 | -0.022 | 0.000 | 0.007 | 0.000 |
| 213 | 109 | 0.086 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.303 | 0.000 | -0.022 | 0.000 | -0.007 | 0.000 |
|  | 110 | 0.086 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 25 | 0.065 | 0.000 | -0.016 | 0.000 | 0.005 | 0.000 |
| 214 | 109 | 0.002 | 0.006 | 0.000 | -0.001 | 0.000 | -0.003 |  | 24 | 0.065 | 0.000 | -0.016 | 0.000 | -0.004 | 0.000 |
|  | 120 | 0.002 | 0.006 | 0.000 | -0.001 | 0.000 | 0.001 | 15 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 215 | 110 | 0.060 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.060 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 | 16 | 98 | -0.023 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 216 | 110 | 0.008 | 0.008 | -0.001 | -0.001 | 0.001 | -0.004 |  | 97 | -0.023 | 0.000 | -0.003 | 0.000 | -0.002 | 0.000 |
|  | 121 | 0.008 | 0.008 | -0.001 | -0.001 | 0.000 | 0.002 | 17 | 97 | 0.237 | 0.000 | -0.020 | 0.000 | 0.007 | 0.000 |
| 217 | 34 | 0.255 | 0.007 | 0.146 | 0.003 | -0.215 | -0.012 |  | 96 | 0.237 | 0.000 | -0.020 | 0.000 | -0.006 | 0.000 |
|  | 131 | 0.255 | 0.007 | 0.146 | 0.003 | -0.150 | -0.009 | 18 | 96 | 0.462 | 0.000 | -0.013 | 0.000 | 0.005 | 0.000 |
| 218 | 78 | 0.250 | -0.013 | 0.117 | 0.002 | -0.205 | 0.021 |  | 95 | 0.462 | 0.000 | -0.013 | 0.000 | -0.003 | 0.000 |
|  | 44 | 0.250 | -0.013 | 0.117 | 0.002 | -0.142 | 0.015 | 19 | 95 | 0.585 | 0.000 | -0.005 | 0.000 | 0.002 | 0.000 |
| 219 | 125 | 0.249 | -0.008 | -0.125 | -0.001 | 0.199 | 0.015 |  | 94 | 0.585 | 0.000 | -0.005 | 0.000 | -0.001 | 0.000 |
|  | 135 | 0.249 | -0.008 | -0.125 | -0.001 | 0.143 | 0.011 | 20 | 94 | 0.592 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
| 220 | 127 | 0.250 | 0.014 | -0.138 | -0.002 | 0.209 | -0.019 |  | 93 | 0.592 | 0.000 | 0.004 | 0.000 | 0.002 | 0.000 |
|  | 139 | 0.250 | 0.014 | -0.138 | -0.002 | 0.148 | -0.013 | 21 | 93 | 0.488 | 0.000 | 0.012 | 0.000 | -0.003 | 0.000 |
| 221 | 99 | 0.067 | 0.012 | 0.003 | -0.002 | -0.001 | -0.009 |  | 92 | 0.488 | 0.000 | 0.012 | 0.000 | 0.004 | 0.000 |
|  | 111 | 0.067 | 0.012 | 0.003 | -0.002 | 0.000 | -0.003 | 22 | 92 | 0.294 | 0.000 | 0.017 | 0.000 | -0.005 | 0.000 |
| 222 | 33 | 0.067 | -0.011 | 0.043 | 0.002 | -0.003 | -0.007 |  | 91 | 0.294 | 0.000 | 0.017 | 0.000 | 0.005 | 0.000 |
|  | 127 | 0.067 | -0.011 | 0.043 | 0.002 | 0.004 | -0.008 | 23 | 91 | 0.077 | 0.000 | 0.012 | 0.000 | -0.004 | 0.000 |
| 223 | 44 | 0.250 | -0.013 | 0.117 | 0.002 | -0.142 | 0.015 |  | 90 | 0.077 | 0.000 | 0.012 | 0.000 | 0.003 | 0.000 |
|  | 88 | 0.250 | -0.013 | 0.117 | 0.002 | -0.080 | 0.008 | 24 | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 224 | 88 | 0.250 | -0.013 | 0.117 | 0.002 | -0.080 | 0.008 |  | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 129 | 0.250 | -0.013 | 0.117 | 0.002 | -0.018 | 0.001 | 25 | 10 | 0.020 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
| 225 | 129 | 0.250 | -0.013 | 0.117 | 0.002 | -0.018 | 0.001 |  | 9 | 0.020 | 0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 130 | 0.250 | -0.013 | 0.117 | 0.002 | 0.044 | -0.006 | 26 | 9 | 0.028 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
| 226 | 130 | 0.250 | -0.013 | 0.117 | 0.002 | 0.044 | -0.006 |  | 8 | 0.028 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 124 | 0.250 | -0.013 | 0.117 | 0.002 | 0.106 | -0.013 | 27 | 8 | 0.033 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | 0.255 | 0.007 | 0.146 | 0.003 | -0.150 | -0.009 |  | 7 | 0.033 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 132 | 0.255 | 0.007 | 0.146 | 0.003 | -0.086 | -0.007 | 28 | 7 | 0.037 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.255 | 0.007 | 0.146 | 0.003 | -0.086 | -0.007 |  | 6 | 0.037 | 0.000 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 133 | 0.255 | 0.007 | 0.146 | 0.003 | -0.022 | -0.004 | 29 | 6 | 0.037 | 0.000 | -0.001 | 0.000 | 0.001 | 0.000 |
| 229 | 133 | 0.255 | 0.007 | 0.146 | 0.003 | -0.022 | -0.004 |  | 5 | 0.037 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 134 | 0.255 | 0.007 | 0.146 | 0.003 | 0.043 | -0.001 | 30 | 5 | 0.035 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | 0.255 | 0.007 | 0.146 | 0.003 | 0.043 | -0.001 |  | 4 | 0.035 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.255 | 0.007 | 0.146 | 0.003 | 0.107 | 0.002 | 31 | 4 | 0.031 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 0.249 | -0.008 | -0.125 | -0.001 | 0.143 | 0.011 |  | 3 | 0.031 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 136 | 0.249 | -0.008 | -0.125 | -0.001 | 0.086 | 0.008 | 32 | 3 | 0.022 | -0.001 | -0.003 | 0.000 | 0.001 | 0.000 |
| 232 | 136 | 0.249 | -0.008 | -0.125 | -0.001 | 0.086 | 0.008 |  | 2 | 0.022 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 137 | 0.249 | -0.008 | -0.125 | -0.001 | 0.030 | 0.004 | 33 | 2 | 0.010 | -0.001 | -0.005 | 0.000 | 0.001 | 0.000 |
| 233 | 137 | 0.249 | -0.008 | -0.125 | -0.001 | 0.030 | 0.004 |  | 1 | 0.010 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
|  | 138 | 0.249 | -0.008 | -0.125 | -0.001 | -0.027 | 0.000 | 34 | 121 | -0.020 | 0.008 | 0.001 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.249 | -0.008 | -0.125 | -0.001 | -0.027 | 0.000 |  | 120 | -0.020 | 0.008 | 0.001 | 0.000 | 0.000 | 0.005 |
|  | 126 | 0.249 | -0.008 | -0.125 | -0.001 | -0.083 | -0.004 | 35 | 120 | -0.044 | 0.008 | 0.001 | 0.000 | 0.000 | 0.003 |
| 235 | 139 | 0.250 | 0.014 | -0.138 | -0.002 | 0.148 | -0.013 |  | 119 | -0.044 | 0.008 | 0.001 | 0.000 | 0.001 | 0.008 |
|  | 140 | 0.250 | 0.014 | -0.138 | -0.002 | 0.087 | -0.006 | 36 | 119 | -0.069 | 0.006 | 0.001 | 0.000 | 0.000 | 0.007 |
| 236 | 140 | 0.250 | 0.014 | -0.138 | -0.002 | 0.087 | -0.006 |  | 118 | -0.069 | 0.006 | 0.001 | 0.000 | 0.001 | 0.010 |
|  | 141 | 0.250 | 0.014 | -0.138 | -0.002 | 0.026 | 0.000 | 37 | 118 | -0.082 | 0.002 | 0.000 | 0.000 | 0.000 | 0.009 |
|  |  |  |  |  |  |  |  |  | 117 | -0.082 | 0.002 | 0.000 | 0.000 | 0.001 | 0.010 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 78 | 127 | 0.049 | 0.015 | -0.004 | -0.002 | 0.002 | -0.007 |
| 38 | 117 | -0.082 | -0.002 | 0.000 | 0.000 | 0.001 | 0.010 |  | 55 | 0.049 | 0.015 | -0.004 | -0.002 | -0.001 | 0.003 |
|  | 116 | -0.082 | -0.002 | 0.000 | 0.000 | 0.000 | 0.009 | 79 | 55 | -0.048 | 0.004 | 0.002 | -0.001 | -0.001 | 0.001 |
| 39 | 116 | -0.068 | -0.006 | -0.001 | 0.000 | 0.001 | 0.010 |  | 66 | -0.048 | 0.004 | 0.002 | -0.001 | 0.001 | 0.004 |
|  | 115 | -0.068 | -0.006 | -0.001 | 0.000 | 0.000 | 0.006 | 80 | 66 | -0.048 | -0.006 | -0.002 | 0.000 | 0.001 | 0.004 |
| 40 | 115 | -0.043 | -0.009 | -0.001 | 0.000 | 0.001 | 0.008 |  | 77 | -0.048 | -0.006 | -0.002 | 0.000 | -0.001 | -0.001 |
|  | 114 | -0.043 | -0.009 | -0.001 | 0.000 | 0.000 | 0.002 | 81 | 77 | 0.053 | -0.017 | -0.001 | 0.001 | 0.000 | 0.002 |
| 41 | 114 | -0.017 | -0.008 | -0.001 | 0.000 | 0.000 | 0.004 |  | 125 | 0.053 | -0.017 | -0.001 | 0.001 | -0.001 | -0.010 |
|  | 113 | -0.017 | -0.008 | -0.001 | 0.000 | 0.000 | -0.001 | 82 | 125 | 0.115 | 0.020 | -0.018 | -0.003 | 0.002 | -0.019 |
| 42 | 113 | 0.001 | -0.005 | 0.000 | -0.001 | 0.000 | 0.001 |  | 99 | 0.115 | 0.020 | -0.018 | -0.003 | -0.001 | -0.015 |
|  | 112 | 0.001 | -0.005 | 0.000 | -0.001 | 0.000 | -0.002 | 83 | 111 | 0.013 | 0.010 | 0.000 | -0.002 | 0.000 | -0.007 |
| 43 | 2 | 0.005 | -0.010 | 0.004 | 0.000 | -0.002 | 0.001 |  | 122 | 0.013 | 0.010 | 0.000 | -0.002 | 0.000 | 0.000 |
|  | 13 | 0.005 | -0.010 | 0.004 | 0.000 | 0.001 | -0.006 | 84 | 12 | 0.073 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
| 44 | 24 | 0.190 | -0.033 | 0.069 | 0.000 | -0.004 | -0.018 |  | 13 | 0.073 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 35 | 0.190 | -0.033 | 0.069 | 0.000 | 0.008 | -0.024 | 85 | 34 | 0.508 | 0.382 | -0.001 | 0.021 | 0.004 | -0.325 |
| 45 | 90 | 0.207 | 0.035 | 0.000 | 0.002 | -0.001 | -0.021 |  | 35 | 0.508 | 0.382 | -0.001 | 0.021 | 0.004 | -0.099 |
|  | 102 | 0.207 | 0.035 | 0.000 | 0.002 | -0.001 | -0.002 | 86 | 45 | 0.059 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 46 | 3 | 0.012 | -0.010 | 0.004 | 0.000 | -0.002 | 0.001 |  | 46 | 0.059 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 14 | 0.012 | -0.010 | 0.004 | 0.000 | 0.001 | -0.006 | 87 | 56 | 0.010 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | 0.139 | -0.031 | 0.232 | 0.004 | -0.016 | -0.019 |  | 57 | 0.010 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.139 | -0.031 | 0.232 | 0.004 | 0.025 | -0.025 | 88 | 67 | 0.055 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.141 | 0.031 | 0.009 | 0.001 | -0.004 | -0.019 |  | 68 | 0.055 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.141 | 0.031 | 0.009 | 0.001 | 0.001 | -0.002 | 89 | 78 | 0.450 | 0.369 | 0.011 | -0.021 | 0.000 | -0.309 |
| 49 | 4 | 0.012 | -0.010 | 0.003 | 0.000 | -0.001 | 0.001 |  | 79 | 0.450 | 0.369 | 0.011 | -0.021 | 0.006 | -0.090 |
|  | 15 | 0.012 | -0.010 | 0.003 | 0.000 | 0.001 | -0.006 | 90 | 101 | 0.093 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
| 50 | 26 | 0.073 | -0.030 | 0.213 | 0.004 | -0.015 | -0.021 |  | 102 | 0.093 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 37 | 0.073 | -0.030 | 0.213 | 0.004 | 0.023 | -0.026 | 91 | 13 | 0.100 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |
| 51 | 92 | 0.071 | 0.028 | 0.008 | 0.001 | -0.004 | -0.017 |  | 14 | 0.100 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 104 | 0.071 | 0.028 | 0.008 | 0.001 | 0.001 | -0.002 | 92 | 13 | 0.174 | -0.031 | 0.004 | -0.001 | -0.002 | -0.002 |
| 52 | 5 | 0.009 | -0.010 | 0.002 | 0.000 | -0.001 | 0.001 |  | 24 | 0.174 | -0.031 | 0.004 | -0.001 | 0.001 | -0.018 |
|  | 16 | 0.009 | -0.010 | 0.002 | 0.000 | 0.001 | -0.006 | 93 | 14 | 0.132 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.041 | -0.030 | 0.119 | 0.002 | -0.008 | -0.021 |  | 15 | 0.132 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 38 | 0.041 | -0.030 | 0.119 | 0.002 | 0.013 | -0.027 | 94 | 14 | 0.136 | -0.031 | -0.005 | -0.001 | 0.000 | -0.003 |
| 54 | 93 | 0.035 | 0.027 | 0.004 | 0.000 | -0.002 | -0.017 |  | 25 | 0.136 | -0.031 | -0.005 | -0.001 | -0.003 | -0.019 |
|  | 105 | 0.035 | 0.027 | 0.004 | 0.000 | 0.000 | -0.002 | 95 | 15 | 0.191 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.008 | -0.010 | 0.000 | 0.000 | 0.000 | 0.001 |  | 16 | 0.191 | 0.000 | -0.001 | 0.000 | -0.001 | 0.000 |
|  | 17 | 0.008 | -0.010 | 0.000 | 0.000 | 0.000 | -0.006 | 96 | 15 | 0.081 | -0.031 | -0.005 | -0.001 | 0.000 | -0.004 |
| 56 | 28 | 0.033 | -0.029 | -0.001 | 0.000 | 0.000 | -0.022 |  | 26 | 0.081 | -0.031 | -0.005 | -0.001 | -0.003 | -0.020 |
|  | 39 | 0.033 | -0.029 | -0.001 | 0.000 | 0.000 | -0.027 | 97 | 16 | 0.230 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.023 | 0.027 | -0.001 | 0.000 | 0.000 | -0.017 |  | 17 | 0.230 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.023 | 0.027 | -0.001 | 0.000 | 0.000 | -0.002 | 98 | 16 | 0.052 | -0.031 | -0.003 | 0.000 | 0.000 | -0.005 |
| 58 | 7 | 0.009 | -0.010 | -0.002 | 0.000 | 0.001 | 0.001 |  | 27 | 0.052 | -0.031 | -0.003 | 0.000 | -0.002 | -0.021 |
|  | 18 | 0.009 | -0.010 | -0.002 | 0.000 | -0.001 | -0.006 | 99 | 17 | 0.233 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.045 | -0.029 | -0.122 | -0.002 | 0.009 | -0.021 |  | 18 | 0.233 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.045 | -0.029 | -0.122 | -0.002 | -0.013 | -0.026 | 100 | 17 | 0.044 | -0.031 | 0.000 | 0.000 | 0.000 | -0.005 |
| 60 | 95 | 0.031 | 0.027 | -0.007 | -0.001 | 0.003 | -0.017 |  | 28 | 0.044 | -0.031 | 0.000 | 0.000 | 0.000 | -0.021 |
|  | 107 | 0.031 | 0.027 | -0.007 | -0.001 | -0.001 | -0.002 | 101 | 18 | 0.200 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 |
| 61 | 8 | 0.012 | -0.010 | -0.004 | 0.000 | 0.001 | 0.001 |  | 19 | 0.200 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.012 | -0.010 | -0.004 | 0.000 | -0.001 | -0.006 | 102 | 18 | 0.054 | -0.031 | 0.003 | 0.000 | 0.000 | -0.005 |
| 62 | 30 | 0.080 | -0.030 | -0.222 | -0.004 | 0.016 | -0.020 |  | 29 | 0.054 | -0.031 | 0.003 | 0.000 | 0.002 | -0.021 |
|  | 41 | 0.080 | -0.030 | -0.222 | -0.004 | -0.023 | -0.026 | 103 | 19 | 0.145 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
| 63 | 96 | 0.064 | 0.028 | -0.012 | -0.001 | 0.005 | -0.017 |  | 20 | 0.145 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.064 | 0.028 | -0.012 | -0.001 | -0.002 | -0.002 | 104 | 19 | 0.084 | -0.031 | 0.006 | 0.001 | 0.000 | -0.004 |
| 64 | 9 | 0.013 | -0.010 | -0.005 | 0.000 | 0.002 | 0.001 |  | 30 | 0.084 | -0.031 | 0.006 | 0.001 | 0.003 | -0.020 |
|  | 20 | 0.013 | -0.010 | -0.005 | 0.000 | -0.002 | -0.006 | 105 | 20 | 0.113 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
| 65 | 31 | 0.148 | -0.031 | -0.252 | -0.005 | 0.017 | -0.019 |  | 21 | 0.113 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 42 | 0.148 | -0.031 | -0.252 | -0.005 | -0.027 | -0.024 | 106 | 20 | 0.140 | -0.031 | 0.007 | 0.001 | 0.000 | -0.003 |
| 66 | 97 | 0.118 | 0.031 | -0.017 | -0.002 | 0.007 | -0.019 |  | 31 | 0.140 | -0.031 | 0.007 | 0.001 | 0.004 | -0.019 |
|  | 109 | 0.118 | 0.031 | -0.017 | -0.002 | -0.002 | -0.002 | 107 | 21 | 0.088 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 |
| 67 | 10 | 0.006 | -0.010 | -0.005 | 0.000 | 0.002 | 0.001 |  | 22 | 0.088 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 |
|  | 21 | 0.006 | -0.010 | -0.005 | 0.000 | -0.002 | -0.006 | 108 | 21 | 0.166 | -0.031 | 0.000 | 0.001 | 0.001 | -0.002 |
| 68 | 32 | 0.185 | -0.033 | -0.112 | -0.001 | 0.007 | -0.018 |  | 32 | 0.166 | -0.031 | 0.000 | 0.001 | 0.001 | -0.018 |
|  | 43 | 0.185 | -0.033 | -0.112 | -0.001 | -0.013 | -0.024 | 109 | 35 | 0.199 | 0.291 | -0.045 | 0.010 | 0.013 | -0.130 |
| 69 | 100 | 0.195 | 0.035 | 0.008 | -0.001 | -0.002 | -0.020 |  | 36 | 0.199 | 0.291 | -0.045 | 0.010 | -0.014 | 0.043 |
|  | 110 | 0.195 | 0.035 | 0.008 | -0.001 | 0.002 | -0.002 | 110 | 35 | 0.178 | 0.032 | -0.005 | 0.000 | 0.002 | -0.018 |
| 70 | 12 | 0.109 | -0.017 | 0.002 | -0.002 | 0.000 | -0.001 |  | 46 | 0.178 | 0.032 | -0.005 | 0.000 | -0.002 | 0.004 |
|  | 34 | 0.109 | -0.017 | 0.002 | -0.002 | 0.001 | -0.014 | 111 | 36 | -0.545 | 0.206 | -0.047 | 0.005 | 0.013 | -0.033 |
| 71 | 34 | 0.071 | 0.016 | 0.003 | 0.001 | -0.001 | -0.009 |  | 37 | -0.545 | 0.206 | -0.047 | 0.005 | -0.015 | 0.089 |
|  | 45 | 0.071 | 0.016 | 0.003 | 0.001 | 0.001 | 0.002 | 112 | 36 | 0.120 | 0.032 | -0.011 | -0.001 | 0.005 | -0.021 |
| 72 | 45 | -0.031 | 0.006 | -0.002 | 0.000 | 0.001 | -0.001 |  | 47 | 0.120 | 0.032 | -0.011 | -0.001 | -0.003 | 0.002 |
|  | 56 | -0.031 | 0.006 | -0.002 | 0.000 | -0.001 | 0.004 | 113 | 37 | -1.128 | 0.123 | -0.033 | 0.002 | 0.008 | 0.030 |
| 73 | 56 | -0.039 | -0.004 | 0.003 | 0.000 | -0.001 | 0.003 |  | 38 | -1.128 | 0.123 | -0.033 | 0.002 | -0.012 | 0.103 |
|  | 67 | -0.039 | -0.004 | 0.003 | 0.000 | 0.001 | 0.000 | 114 | 37 | 0.046 | 0.032 | -0.010 | -0.001 | 0.004 | -0.023 |
| 74 | 67 | 0.048 | -0.015 | 0.000 | -0.001 | 0.000 | 0.002 |  | 48 | 0.046 | 0.032 | -0.010 | -0.001 | -0.003 | 0.000 |
|  | 78 | 0.048 | -0.015 | 0.000 | -0.001 | 0.000 | -0.008 | 115 | 38 | -1.444 | 0.042 | -0.011 | 0.001 | 0.001 | 0.071 |
| 75 | 78 | 0.105 | 0.020 | 0.001 | 0.003 | 0.000 | -0.019 |  | 39 | -1.444 | 0.042 | -0.011 | 0.001 | -0.006 | 0.096 |
|  | 101 | 0.105 | 0.020 | 0.001 | 0.003 | 0.000 | -0.005 | 116 | 38 | 0.005 | 0.033 | -0.006 | 0.000 | 0.002 | -0.024 |
| 76 | 101 | 0.014 | 0.010 | 0.000 | 0.002 | 0.000 | -0.007 |  | 49 | 0.005 | 0.033 | -0.006 | 0.000 | -0.002 | -0.001 |
|  | 112 | 0.014 | 0.010 | 0.000 | 0.002 | 0.000 | 0.000 | 117 | 39 | -1.450 | -0.039 | 0.012 | -0.001 | -0.006 | 0.096 |
| 77 | 22 | 0.113 | -0.017 | -0.013 | 0.002 | 0.002 | -0.001 |  | 40 | -1.450 | -0.039 | 0.012 | -0.001 | 0.001 | 0.073 |
|  | 33 | 0.113 | -0.017 | -0.013 | 0.002 | -0.005 | -0.011 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 118 | 39 | -0.009 | 0.033 | 0.000 | 0.000 | 0.000 | -0.024 | 158 | 63 | -0.034 | -0.009 | 0.000 | 0.000 | 0.000 | 0.006 |
|  | 50 | -0.009 | 0.033 | 0.000 | 0.000 | 0.000 | -0.001 |  | 74 | -0.034 | -0.009 | 0.000 | 0.000 | 0.000 | -0.001 |
| 119 | 40 | -1.146 | -0.120 | 0.033 | -0.003 | -0.012 | 0.103 | 159 | 64 | 0.044 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 41 | -1.146 | -0.120 | 0.033 | -0.003 | 0.008 | 0.032 |  | 65 | 0.044 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 120 | 40 | -0.001 | 0.033 | 0.005 | 0.000 | -0.002 | -0.024 | 160 | 64 | -0.013 | -0.010 | 0.001 | 0.000 | 0.000 | 0.006 |
|  | 51 | -0.001 | 0.033 | 0.005 | 0.000 | 0.001 | -0.001 |  | 75 | -0.013 | -0.010 | 0.001 | 0.000 | 0.001 | -0.001 |
| 121 | 41 | -0.570 | -0.202 | 0.049 | -0.006 | -0.016 | 0.091 | 161 | 65 | 0.010 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.570 | -0.202 | 0.049 | -0.006 | 0.013 | -0.029 |  | 66 | 0.010 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.035 | 0.032 | 0.009 | 0.001 | -0.004 | -0.023 | 162 | 65 | -0.028 | -0.010 | -0.001 | 0.000 | 0.001 | 0.007 |
|  | 52 | 0.035 | 0.032 | 0.009 | 0.001 | 0.003 | 0.000 |  | 76 | -0.028 | -0.010 | -0.001 | 0.000 | 0.000 | 0.000 |
| 123 | 42 | 0.178 | -0.286 | 0.051 | -0.011 | -0.015 | 0.047 | 163 | 68 | 0.082 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 43 | 0.178 | -0.286 | 0.051 | -0.011 | 0.015 | -0.123 |  | 69 | 0.082 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 124 | 42 | 0.105 | 0.032 | 0.011 | 0.001 | -0.004 | -0.021 | 164 | 68 | 0.135 | -0.030 | 0.004 | 0.000 | -0.001 | 0.004 |
|  | 53 | 0.105 | 0.032 | 0.011 | 0.001 | 0.003 | 0.002 |  | 79 | 0.135 | -0.030 | 0.004 | 0.000 | 0.001 | -0.017 |
| 125 | 43 | 0.538 | -0.378 | -0.014 | -0.025 | 0.001 | -0.087 | 165 | 69 | 0.143 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 127 | 0.538 | -0.378 | -0.014 | -0.025 | -0.007 | -0.312 |  | 70 | 0.143 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |
| 126 | 43 | 0.170 | 0.031 | 0.006 | 0.000 | -0.002 | -0.017 | 166 | 69 | 0.099 | -0.031 | 0.010 | 0.000 | -0.003 | 0.002 |
|  | 54 | 0.170 | 0.031 | 0.006 | 0.000 | 0.002 | 0.005 |  | 80 | 0.099 | -0.031 | 0.010 | 0.000 | 0.004 | -0.019 |
| 127 | 46 | 0.089 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 | 167 | 70 | 0.219 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 47 | 0.089 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 |  | 71 | 0.219 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 128 | 46 | -0.023 | 0.012 | -0.001 | 0.000 | 0.000 | -0.001 | 168 | 70 | 0.029 | -0.030 | 0.010 | 0.000 | -0.003 | 0.001 |
|  | 57 | -0.023 | 0.012 | -0.001 | 0.000 | 0.000 | 0.007 |  | 81 | 0.029 | -0.030 | 0.010 | 0.000 | 0.004 | -0.020 |
| 129 | 47 | 0.148 | 0.000 | 0.005 | 0.000 | -0.002 | 0.000 | 169 | 71 | 0.268 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.148 | 0.000 | 0.005 | 0.000 | 0.001 | 0.000 |  | 72 | 0.268 | 0.000 | -0.001 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | -0.016 | 0.011 | 0.001 | 0.000 | -0.001 | -0.002 | 170 | 71 | -0.008 | -0.030 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 58 | -0.016 | 0.011 | 0.001 | 0.000 | 0.000 | 0.006 |  | 82 | -0.008 | -0.030 | 0.006 | 0.000 | 0.002 | -0.021 |
| 131 | 48 | 0.223 | 0.000 | 0.004 | 0.000 | -0.002 | 0.000 | 171 | 72 | 0.272 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.223 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |  | 73 | 0.272 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.028 | 0.011 | 0.001 | 0.000 | -0.001 | -0.002 | 172 | 72 | -0.018 | -0.030 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.028 | 0.011 | 0.001 | 0.000 | 0.000 | 0.006 |  | 83 | -0.018 | -0.030 | 0.000 | 0.000 | 0.000 | -0.021 |
| 133 | 49 | 0.269 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.232 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 50 | 0.269 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  | 74 | 0.232 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 134 | 49 | -0.041 | 0.012 | 0.001 | 0.000 | 0.000 | -0.002 | 174 | 73 | -0.007 | -0.030 | -0.005 | 0.000 | 0.002 | 0.000 |
|  | 60 | -0.041 | 0.012 | 0.001 | 0.000 | 0.000 | 0.006 |  | 84 | -0.007 | -0.030 | -0.005 | 0.000 | -0.002 | -0.021 |
| 135 | 50 | 0.270 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.159 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 51 | 0.270 | 0.000 | -0.001 | 0.000 | -0.001 | 0.000 |  | 75 | 0.159 | 0.000 | 0.005 | 0.000 | 0.001 | 0.000 |
| 136 | 50 | -0.047 | 0.012 | 0.000 | 0.000 | 0.000 | -0.002 | 176 | 74 | 0.029 | -0.030 | -0.010 | 0.000 | 0.003 | 0.001 |
|  | 61 | -0.047 | 0.012 | 0.000 | 0.000 | 0.000 | 0.006 |  | 85 | 0.029 | -0.030 | -0.010 | 0.000 | -0.004 | -0.020 |
| 137 | 51 | 0.224 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 | 177 | 75 | 0.095 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 52 | 0.224 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 |  | 76 | 0.095 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 138 | 51 | -0.043 | 0.012 | -0.001 | 0.000 | 0.000 | -0.002 | 178 | 75 | 0.109 | -0.031 | -0.011 | 0.000 | 0.003 | 0.002 |
|  | 62 | -0.043 | 0.012 | -0.001 | 0.000 | 0.000 | 0.006 |  | 86 | 0.109 | -0.031 | -0.011 | 0.000 | -0.004 | -0.020 |
| 139 | 52 | 0.148 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 179 | 76 | 0.064 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.148 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 |  | 77 | 0.064 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | -0.031 | 0.011 | -0.001 | 0.000 | 0.001 | -0.002 | 180 | 76 | 0.142 | -0.031 | -0.004 | 0.000 | 0.002 | 0.004 |
|  | 63 | -0.031 | 0.011 | -0.001 | 0.000 | 0.000 | 0.006 |  | 87 | 0.142 | -0.031 | -0.004 | 0.000 | -0.001 | -0.018 |
| 141 | 53 | 0.087 | 0.000 | -0.005 | 0.000 | 0.002 | 0.000 | 181 | 79 | 0.135 | 0.284 | 0.013 | -0.009 | 0.000 | -0.123 |
|  | 54 | 0.087 | 0.000 | -0.005 | 0.000 | -0.001 | 0.000 |  | 80 | 0.135 | 0.284 | 0.013 | -0.009 | 0.007 | 0.046 |
| 142 | 53 | -0.015 | 0.011 | -0.001 | 0.000 | 0.001 | -0.001 | 182 | 79 | 0.220 | 0.034 | -0.077 | -0.001 | 0.010 | -0.027 |
|  | 64 | -0.015 | 0.011 | -0.001 | 0.000 | 0.000 | 0.006 |  | 90 | 0.220 | 0.034 | -0.077 | -0.001 | -0.003 | -0.021 |
| 143 | 54 | 0.054 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 | 183 | 80 | -0.567 | 0.202 | 0.019 | -0.003 | -0.006 | -0.031 |
|  | 55 | 0.054 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 81 | -0.567 | 0.202 | 0.019 | -0.003 | 0.005 | 0.089 |
| 144 | 54 | -0.019 | 0.011 | 0.000 | 0.000 | 0.000 | 0.000 | 184 | 80 | 0.148 | 0.031 | -0.208 | -0.005 | 0.024 | -0.024 |
|  | 65 | -0.019 | 0.011 | 0.000 | 0.000 | 0.000 | 0.007 |  | 91 | 0.148 | 0.031 | -0.208 | -0.005 | -0.013 | -0.018 |
| 145 | 57 | 0.044 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 185 | 81 | -1.110 | 0.121 | 0.015 | -0.001 | -0.007 | 0.029 |
|  | 58 | 0.044 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 82 | -1.110 | 0.121 | 0.015 | -0.001 | 0.002 | 0.101 |
| 146 | 57 | -0.036 | -0.009 | 0.001 | 0.000 | 0.000 | 0.007 | 186 | 81 | 0.069 | 0.029 | -0.185 | -0.005 | 0.021 | -0.022 |
|  | 68 | -0.036 | -0.009 | 0.001 | 0.000 | 0.000 | 0.000 |  | 92 | 0.069 | 0.029 | -0.185 | -0.005 | -0.012 | -0.017 |
| 147 | 58 | 0.085 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -1.402 | 0.041 | 0.005 | 0.000 | -0.005 | 0.068 |
|  | 59 | 0.085 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -1.402 | 0.041 | 0.005 | 0.000 | -0.002 | 0.093 |
| 148 | 58 | -0.021 | -0.010 | -0.001 | 0.000 | 0.000 | 0.006 | 188 | 82 | 0.028 | 0.028 | -0.101 | -0.003 | 0.011 | -0.022 |
|  | 69 | -0.021 | -0.010 | -0.001 | 0.000 | -0.001 | -0.001 |  | 93 | 0.028 | 0.028 | -0.101 | -0.003 | -0.007 | -0.017 |
| 149 | 59 | 0.111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -1.405 | -0.039 | -0.007 | 0.000 | -0.002 | 0.093 |
|  | 60 | 0.111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -1.405 | -0.039 | -0.007 | 0.000 | -0.006 | 0.070 |
| 150 | 59 | -0.032 | -0.009 | 0.000 | 0.000 | 0.000 | 0.006 | 190 | 83 | 0.014 | 0.028 | 0.006 | 0.000 | -0.001 | -0.022 |
|  | 70 | -0.032 | -0.009 | 0.000 | 0.000 | 0.000 | -0.001 |  | 94 | 0.014 | 0.028 | 0.006 | 0.000 | 0.001 | -0.017 |
| 151 | 60 | 0.126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -1.118 | -0.119 | -0.018 | 0.001 | 0.002 | 0.102 |
|  | 61 | 0.126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -1.118 | -0.119 | -0.018 | 0.001 | -0.008 | 0.031 |
| 152 | 60 | -0.045 | -0.009 | 0.000 | 0.000 | 0.000 | 0.006 | 192 | 84 | 0.021 | 0.028 | 0.116 | 0.003 | -0.013 | -0.022 |
|  | 71 | -0.045 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |  | 95 | 0.021 | 0.028 | 0.116 | 0.003 | 0.008 | -0.017 |
| 153 | 61 | 0.126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | -0.566 | -0.200 | -0.026 | 0.003 | 0.006 | 0.093 |
|  | 62 | 0.126 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | -0.566 | -0.200 | -0.026 | 0.003 | -0.009 | -0.026 |
| 154 | 61 | -0.050 | -0.009 | 0.000 | 0.000 | 0.000 | 0.006 | 194 | 85 | 0.055 | 0.029 | 0.212 | 0.006 | -0.023 | -0.023 |
|  | 72 | -0.050 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | 0.055 | 0.029 | 0.212 | 0.006 | 0.014 | -0.018 |
| 155 | 62 | 0.112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.158 | -0.281 | -0.013 | 0.008 | 0.008 | 0.054 |
|  | 63 | 0.112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.158 | -0.281 | -0.013 | 0.008 | 0.001 | -0.113 |
| 156 | 62 | -0.046 | -0.009 | 0.000 | 0.000 | 0.000 | 0.006 | 196 | 86 | 0.133 | 0.030 | 0.244 | 0.006 | -0.028 | -0.024 |
|  | 73 | -0.046 | -0.009 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | 0.133 | 0.030 | 0.244 | 0.006 | 0.015 | -0.019 |
| 157 | 63 | 0.085 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.454 | -0.367 | 0.000 | 0.019 | 0.000 | -0.082 |
|  | 64 | 0.085 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.454 | -0.367 | 0.000 | 0.019 | 0.000 | -0.300 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 198 | 87 | 0.195 | 0.035 | 0.008 | -0.001 | -0.004 | -0.027 | 238 | 142 | 0.417 | 0.024 | -0.231 | -0.003 | -0.058 | 0.011 |
|  | 100 | 0.195 | 0.035 | 0.008 | -0.001 | -0.002 | -0.020 |  | 128 | 0.417 | 0.024 | -0.231 | -0.003 | -0.159 | 0.021 |
| 199 | 102 | 0.131 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 4 (Linear): WIND COLS MINOR (S) |  |  |  |  |  |  |  |
|  | 103 | 0.131 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 200 | 102 | 0.014 | 0.014 | 0.000 | 0.002 | 0.000 | -0.007 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 113 | 0.014 | 0.014 | 0.000 | 0.002 | 0.000 | 0.003 | 1 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 201 | 103 | 0.178 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.178 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 2 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 202 | 103 | 0.006 | 0.011 | 0.001 | 0.001 | 0.000 | -0.006 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.006 | 0.011 | 0.001 | 0.001 | 0.000 | 0.002 | 3 | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 203 | 104 | 0.246 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.246 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 204 | 104 | -0.001 | 0.008 | 0.001 | 0.001 | 0.000 | -0.004 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | -0.001 | 0.008 | 0.001 | 0.001 | 0.000 | 0.001 | 5 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 205 | 105 | 0.290 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.290 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 99 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 206 | 105 | -0.008 | 0.007 | 0.000 | 0.000 | 0.000 | -0.004 |  | 98 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.008 | 0.007 | 0.000 | 0.000 | 0.000 | 0.001 | 7 | 32 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 207 | 106 | 0.293 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 |  | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.293 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 8 | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 208 | 106 | -0.011 | 0.006 | 0.000 | 0.000 | 0.000 | -0.003 |  | 30 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | -0.011 | 0.006 | 0.000 | 0.000 | 0.000 | 0.001 | 9 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 209 | 107 | 0.253 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.253 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 10 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 210 | 107 | -0.008 | 0.007 | 0.000 | 0.000 | 0.000 | -0.004 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | -0.008 | 0.007 | 0.000 | 0.000 | 0.000 | 0.001 | 11 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 211 | 108 | 0.190 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.190 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 | 12 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 212 | 108 | -0.001 | 0.008 | -0.001 | -0.001 | 0.000 | -0.004 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | -0.001 | 0.008 | -0.001 | -0.001 | 0.000 | 0.001 | 13 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 213 | 109 | 0.143 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.143 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 214 | 109 | 0.003 | 0.010 | 0.000 | -0.001 | 0.000 | -0.005 |  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.003 | 0.010 | 0.000 | -0.001 | 0.000 | 0.002 | 15 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 215 | 110 | 0.099 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.099 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 16 | 98 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 216 | 110 | 0.014 | 0.014 | -0.002 | -0.001 | 0.001 | -0.007 |  | 97 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.014 | 0.014 | -0.002 | -0.001 | 0.000 | 0.003 | 17 | 97 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 217 | 34 | 0.425 | 0.011 | 0.244 | 0.005 | -0.358 | -0.021 |  | 96 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 131 | 0.425 | 0.011 | 0.244 | 0.005 | -0.251 | -0.016 | 18 | 96 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 218 | 78 | 0.416 | -0.022 | 0.195 | 0.003 | -0.341 | 0.036 |  | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | 0.416 | -0.022 | 0.195 | 0.003 | -0.237 | 0.024 | 19 | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 219 | 125 | 0.415 | -0.014 | -0.208 | -0.001 | 0.332 | 0.025 |  | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 135 | 0.415 | -0.014 | -0.208 | -0.001 | 0.238 | 0.019 | 20 | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 220 | 127 | 0.417 | 0.024 | -0.231 | -0.003 | 0.348 | -0.032 |  | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 139 | 0.417 | 0.024 | -0.231 | -0.003 | 0.246 | -0.021 | 21 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 221 | 99 | 0.112 | 0.020 | 0.004 | -0.003 | -0.002 | -0.015 |  | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.112 | 0.020 | 0.004 | -0.003 | 0.001 | -0.005 | 22 | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 222 | 33 | 0.112 | -0.018 | 0.071 | 0.004 | -0.005 | -0.011 |  | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.112 | -0.018 | 0.071 | 0.004 | 0.006 | -0.014 | 23 | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 223 | 44 | 0.416 | -0.022 | 0.195 | 0.003 | -0.237 | 0.024 |  | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 88 | 0.416 | -0.022 | 0.195 | 0.003 | -0.134 | 0.013 | 24 | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 224 | 88 | 0.416 | -0.022 | 0.195 | 0.003 | -0.134 | 0.013 |  | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 129 | 0.416 | -0.022 | 0.195 | 0.003 | -0.030 | 0.001 | 25 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 225 | 129 | 0.416 | -0.022 | 0.195 | 0.003 | -0.030 | 0.001 |  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 0.416 | -0.022 | 0.195 | 0.003 | 0.073 | -0.010 | 26 | 9 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 226 | 130 | 0.416 | -0.022 | 0.195 | 0.003 | 0.073 | -0.010 |  | 8 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 124 | 0.416 | -0.022 | 0.195 | 0.003 | 0.177 | -0.021 | 27 | 8 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | 0.425 | 0.011 | 0.244 | 0.005 | -0.251 | -0.016 |  | 7 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 132 | 0.425 | 0.011 | 0.244 | 0.005 | -0.143 | -0.011 | 28 | 7 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.425 | 0.011 | 0.244 | 0.005 | -0.143 | -0.011 |  | 6 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 133 | 0.425 | 0.011 | 0.244 | 0.005 | -0.036 | -0.006 | 29 | 6 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.425 | 0.011 | 0.244 | 0.005 | -0.036 | -0.006 |  | 5 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 134 | 0.425 | 0.011 | 0.244 | 0.005 | 0.072 | -0.001 | 30 | 5 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | 0.425 | 0.011 | 0.244 | 0.005 | 0.072 | -0.001 |  | 4 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.425 | 0.011 | 0.244 | 0.005 | 0.179 | 0.004 | 31 | 4 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 231 | 135 | 0.415 | -0.014 | -0.208 | -0.001 | 0.238 | 0.019 |  | 3 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.415 | -0.014 | -0.208 | -0.001 | 0.144 | 0.013 | 32 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 232 | 136 | 0.415 | -0.014 | -0.208 | -0.001 | 0.144 | 0.013 |  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 137 | 0.415 | -0.014 | -0.208 | -0.001 | 0.050 | 0.006 | 33 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 233 | 137 | 0.415 | -0.014 | -0.208 | -0.001 | 0.050 | 0.006 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 138 | 0.415 | -0.014 | -0.208 | -0.001 | -0.045 | 0.000 | 34 | 121 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.415 | -0.014 | -0.208 | -0.001 | -0.045 | 0.000 |  | 120 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 126 | 0.415 | -0.014 | -0.208 | -0.001 | -0.139 | -0.006 | 35 | 120 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 235 | 139 | 0.417 | 0.024 | -0.231 | -0.003 | 0.246 | -0.021 |  | 119 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 140 | 0.417 | 0.024 | -0.231 | -0.003 | 0.145 | -0.010 | 36 | 119 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 236 | 140 | 0.417 | 0.024 | -0.231 | -0.003 | 0.145 | -0.010 |  | 118 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 141 | 0.417 | 0.024 | -0.231 | -0.003 | 0.044 | 0.000 | 37 | 118 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 237 | 141 | 0.417 | 0.024 | -0.231 | -0.003 | 0.044 | 0.000 |  | 117 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 142 | 0.417 | 0.024 | -0.231 | -0.003 | -0.058 | 0.011 | 38 | 117 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 116 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 79 | 55 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 39 | 116 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | 66 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 115 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 77 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 114 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 113 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 82 | 125 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 42 | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 99 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 83 | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 84 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 34 | -0.001 | -0.001 | 0.000 | 0.002 | 0.000 | 0.000 |
| 45 | 90 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.001 | -0.001 | 0.000 | 0.002 | 0.000 | 0.000 |
|  | 102 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 86 | 45 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 87 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 67 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 78 | 0.001 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 |
| 49 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.001 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 90 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 91 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 92 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 14 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 94 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 95 | 15 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 16 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 17 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 100 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 102 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 103 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 96 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 104 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 105 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 106 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 97 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 107 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 108 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 109 | 35 | 0.001 | -0.001 | -0.001 | 0.001 | 0.000 | 0.000 |
| 69 | 100 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.001 | -0.001 | -0.001 | 0.001 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 110 | 35 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 70 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 111 | 36 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 34 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |  | 37 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 112 | 36 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 45 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |  | 47 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 113 | 37 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 56 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 114 | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 67 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 | 115 | 38 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 78 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 116 | 38 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 117 | 39 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 118 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 78 | 127 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 119 | 40 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 159 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 120 | 40 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 160 | 64 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 121 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 161 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 162 | 65 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 123 | 42 | -0.002 | 0.001 | 0.001 | -0.001 | 0.000 | 0.000 | 163 | 68 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | -0.002 | 0.001 | 0.001 | -0.001 | 0.000 | 0.000 |  | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 124 | 42 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 164 | 68 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 125 | 43 | -0.003 | 0.001 | 0.000 | -0.002 | 0.000 | 0.000 | 165 | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | -0.003 | 0.001 | 0.000 | -0.002 | 0.000 | 0.001 |  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 166 | 69 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 127 | 46 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 167 | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 168 | 70 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 129 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 169 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 130 | 47 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 170 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 131 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 171 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 172 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 133 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 173 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 134 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 174 | 73 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 135 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 176 | 74 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 137 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 177 | 75 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 138 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 178 | 75 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 139 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 179 | 76 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 180 | 76 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 141 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 181 | 79 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 142 | 53 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 182 | 79 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 143 | 54 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 183 | 80 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 144 | 54 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 184 | 80 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 145 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 185 | 81 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 146 | 57 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 186 | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 147 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 148 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 188 | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 149 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 150 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 190 | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 151 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 152 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 192 | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 153 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 154 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 194 | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 155 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.003 | -0.001 | 0.001 | -0.001 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.003 | -0.001 | 0.001 | -0.001 | 0.000 | 0.000 |
| 156 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 196 | 86 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 157 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.004 | -0.002 | 0.000 | -0.002 | 0.000 | 0.000 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.004 | -0.002 | 0.000 | -0.002 | 0.000 | -0.001 |
| 158 | 63 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 198 | 87 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 100 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 5 (Linear): WIND COLS MINOR (U)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| 199 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 200 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 2 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 201 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 3 | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 202 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 4 | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 203 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 5 | 33 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 204 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 32 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 6 | 99 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 205 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 98 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 7 | 32 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 206 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 8 | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 207 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 9 | 30 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 208 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 29 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 10 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 209 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 11 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 210 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 12 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 211 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 13 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 212 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 14 | 25 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 213 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 15 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 214 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 16 | 98 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 215 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 17 | 97 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 216 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 18 | 96 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 217 | 34 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | -0.003 |  | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 131 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 | -0.002 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 19 | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 218 | 78 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | -0.003 |  | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | -0.003 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 20 | 94 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 219 | 125 | 0.002 | 0.000 | -0.001 | 0.000 | 0.001 | -0.003 |  | 93 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 135 | 0.002 | 0.002 | -0.001 | 0.000 | 0.001 | -0.002 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 21 | 93 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 220 | 127 | -0.002 | 0.000 | 0.001 | 0.000 | -0.001 | -0.003 |  | 92 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 139 | -0.002 | 0.003 | 0.001 | 0.000 | -0.001 | -0.002 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 22 | 92 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 221 | 99 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 91 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 23 | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 222 | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 24 | 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 223 | 44 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | -0.003 |  | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 88 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 | -0.002 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 25 | 10 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 224 | 88 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 | -0.002 |  | 9 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 129 | 0.002 | 0.006 | 0.000 | 0.000 | 0.000 | 0.001 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 26 | 9 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 225 | 129 | 0.002 | 0.006 | 0.000 | 0.000 | 0.000 | 0.001 |  | 8 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 0.002 | 0.009 | 0.000 | 0.000 | 0.000 | 0.005 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 27 | 8 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 226 | 130 | 0.002 | 0.009 | 0.000 | 0.000 | 0.000 | 0.005 |  | 7 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 124 | 0.002 | 0.011 | 0.000 | 0.000 | 0.000 | 0.010 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 28 | 7 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 | -0.002 |  | 6 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 132 | -0.002 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 29 | 6 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | -0.002 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 133 | -0.002 | 0.007 | 0.000 | 0.000 | 0.000 | 0.003 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 30 | 5 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | -0.002 | 0.007 | 0.000 | 0.000 | 0.000 | 0.003 |  | 4 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 134 | -0.002 | 0.009 | 0.000 | 0.000 | 0.000 | 0.006 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 31 | 4 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | -0.002 | 0.009 | 0.000 | 0.000 | 0.000 | 0.006 |  | 3 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 123 | -0.002 | 0.012 | 0.000 | 0.000 | 0.000 | 0.011 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 32 | 3 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 231 | 135 | 0.002 | 0.002 | -0.001 | 0.000 | 0.001 | -0.002 |  | 2 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.002 | 0.004 | -0.001 | 0.000 | 0.000 | -0.001 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 33 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 232 | 136 | 0.002 | 0.004 | -0.001 | 0.000 | 0.000 | -0.001 |  | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 137 | 0.002 | 0.007 | -0.001 | 0.000 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 34 | 121 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 233 | 137 | 0.002 | 0.007 | -0.001 | 0.000 | 0.000 | 0.002 |  | 120 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 138 | 0.002 | 0.009 | -0.001 | 0.000 | -0.001 | 0.005 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 35 | 120 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.002 | 0.009 | -0.001 | 0.000 | -0.001 | 0.005 |  | 119 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 126 | 0.002 | 0.011 | -0.001 | 0.000 | -0.001 | 0.010 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 36 | 119 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 235 | 139 | -0.002 | 0.003 | 0.001 | 0.000 | -0.001 | -0.002 |  | 118 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 140 | -0.002 | 0.005 | 0.001 | 0.000 | 0.000 | -0.001 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 37 | 118 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 236 | 140 | -0.002 | 0.005 | 0.001 | 0.000 | 0.000 | -0.001 |  | 117 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 141 | -0.002 | 0.007 | 0.001 | 0.000 | 0.000 | 0.002 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 38 | 117 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 237 | 141 | -0.002 | 0.007 | 0.001 | 0.000 | 0.000 | 0.002 |  | 116 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 142 | -0.002 | 0.009 | 0.001 | 0.000 | 0.001 | 0.005 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 39 | 116 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 238 | 142 | -0.002 | 0.009 | 0.001 | 0.000 | 0.001 | 0.005 |  | 115 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 128 | -0.002 | 0.011 | 0.001 | 0.000 | 0.001 | 0.010 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 40 | 115 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 114 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 77 | 0.006 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 113 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.006 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
| 42 | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 82 | 125 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 99 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 43 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 83 | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 84 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 90 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 34 | -0.002 | -0.002 | 0.000 | 0.003 | 0.000 | 0.001 |
|  | 102 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.002 | -0.002 | 0.000 | 0.003 | 0.000 | 0.000 |
| 46 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 86 | 45 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 87 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 67 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 78 | 0.001 | 0.002 | 0.000 | 0.002 | 0.000 | -0.001 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.001 | 0.002 | 0.000 | 0.002 | 0.000 | 0.000 |
| 50 | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 90 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 91 | 13 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 92 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 14 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 94 | 14 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 95 | 15 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 96 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 16 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 99 | 17 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 100 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 18 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 102 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 96 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 103 | 19 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 104 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 105 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 97 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 106 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 107 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 32 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 108 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 100 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 109 | 35 | 0.002 | -0.001 | -0.001 | 0.001 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.002 | -0.001 | -0.001 | 0.001 | 0.000 | 0.000 |
| 70 | 12 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 110 | 35 | -0.009 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 34 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.009 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 71 | 34 | -0.009 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 111 | 36 | 0.004 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 |
|  | 45 | -0.009 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |  | 37 | 0.004 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 |
| 72 | 45 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 112 | 36 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 56 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 56 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 113 | 37 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |  | 38 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 67 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 | 114 | 37 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |  | 48 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 78 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 115 | 38 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 116 | 38 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 22 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 117 | 39 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 78 | 127 | -0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 118 | 39 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |  | 50 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 79 | 55 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 119 | 40 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 80 | 66 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 120 | 40 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |  | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.001 | 0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 161 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.001 | 0.001 | 0.000 | -0.001 | 0.000 | 0.000 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 162 | 65 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 123 | 42 | -0.004 | 0.001 | 0.001 | -0.001 | 0.000 | 0.000 | 163 | 68 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | -0.004 | 0.001 | 0.001 | -0.001 | 0.000 | 0.001 |  | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 124 | 42 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 164 | 68 | 0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.006 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 125 | 43 | -0.006 | 0.002 | 0.001 | -0.003 | 0.000 | 0.000 | 165 | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | -0.006 | 0.002 | 0.001 | -0.003 | 0.000 | 0.002 |  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | -0.009 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 166 | 69 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.009 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |  | 80 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 127 | 46 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 167 | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 168 | 70 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 129 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 169 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 130 | 47 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 170 | 71 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 131 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 171 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 172 | 72 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 133 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 173 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 134 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 174 | 73 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 135 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 176 | 74 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 137 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 177 | 75 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 138 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 178 | 75 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 139 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 179 | 76 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 180 | 76 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 63 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 141 | 53 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 181 | 79 | -0.003 | 0.001 | -0.001 | 0.001 | 0.000 | 0.000 |
|  | 54 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.003 | 0.001 | -0.001 | 0.001 | 0.000 | 0.000 |
| 142 | 53 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 182 | 79 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 90 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 143 | 54 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 183 | 80 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 144 | 54 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 | 184 | 80 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 91 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 145 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 185 | 81 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 146 | 57 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 186 | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |  | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 147 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 148 | 58 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 188 | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 149 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 150 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 190 | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 151 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 152 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 192 | 84 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 95 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 153 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 154 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 194 | 85 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 155 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.004 | -0.002 | 0.001 | -0.001 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.004 | -0.002 | 0.001 | -0.001 | 0.000 | -0.001 |
| 156 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 196 | 86 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 157 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.006 | -0.003 | 0.001 | -0.003 | 0.000 | -0.001 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.006 | -0.003 | 0.001 | -0.003 | 0.000 | -0.002 |
| 158 | 63 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 198 | 87 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 100 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 159 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 199 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 160 | 64 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 200 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 6 (Linear): POINT LOAD

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 11 | -0.025 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
| 202 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -0.025 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 1 | -0.027 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 203 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | -0.027 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 122 | 0.043 | 0.008 | -0.005 | 0.025 | 0.001 | -0.023 |
| 204 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 121 | 0.043 | 0.008 | -0.005 | 0.025 | -0.002 | -0.018 |
|  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 11 | -0.030 | -0.001 | -0.001 | 0.000 | 0.000 | -0.001 |
| 205 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | -0.030 | -0.001 | -0.001 | 0.000 | 0.000 | -0.001 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 33 | 0.062 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 206 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 0.062 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 99 | -0.036 | 0.000 | -0.008 | 0.000 | 0.002 | 0.000 |
| 207 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | -0.036 | 0.000 | -0.008 | 0.000 | -0.002 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 32 | 0.027 | 0.000 | -0.013 | 0.000 | 0.004 | 0.000 |
| 208 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 0.027 | 0.000 | -0.013 | 0.000 | -0.004 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 31 | -0.089 | 0.000 | -0.017 | 0.000 | 0.005 | 0.000 |
| 209 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.089 | 0.000 | -0.017 | 0.000 | -0.005 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 30 | -0.219 | 0.000 | -0.013 | 0.000 | 0.004 | 0.000 |
| 210 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | -0.219 | 0.000 | -0.013 | 0.000 | -0.004 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 29 | -0.299 | 0.000 | -0.005 | 0.000 | 0.002 | 0.000 |
| 211 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | -0.299 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 28 | -0.308 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 |
| 212 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | -0.308 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 27 | -0.245 | 0.000 | 0.012 | 0.000 | -0.003 | 0.000 |
| 213 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | -0.245 | 0.000 | 0.012 | 0.000 | 0.004 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 26 | -0.131 | 0.000 | 0.016 | 0.000 | -0.005 | 0.000 |
| 214 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | -0.131 | 0.000 | 0.016 | 0.000 | 0.005 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 25 | -0.028 | 0.000 | 0.013 | 0.000 | -0.004 | 0.000 |
| 215 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | -0.028 | 0.000 | 0.013 | 0.000 | 0.004 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 216 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 98 | -0.036 | 0.000 | -0.008 | 0.000 | -0.002 | 0.000 |
| 217 | 34 | -0.003 | 0.002 | 0.000 | 0.000 | 0.001 | -0.005 | 97 | -0.036 | 0.000 | -0.008 | 0.000 | -0.007 | 0.000 |
|  | 131 | -0.003 | 0.005 | 0.000 | 0.000 | 0.001 | -0.003 | 17 97 | 0.772 | 0.001 | -0.059 | 0.000 | 0.018 | 0.000 |
| 218 | 78 | 0.003 | -0.003 | 0.000 | 0.000 | -0.001 | -0.004 | 96 | 0.772 | 0.001 | -0.059 | 0.000 | -0.016 | 0.000 |
|  | 44 | 0.003 | 0.002 | 0.000 | 0.000 | -0.001 | -0.005 | 18 96 | 1.518 | 0.000 | -0.042 | 0.000 | 0.015 | 0.000 |
| 219 | 125 | 0.004 | 0.000 | -0.002 | 0.000 | 0.002 | -0.005 | 95 | 1.518 | 0.000 | -0.042 | 0.000 | -0.010 | 0.000 |
|  | 135 | 0.004 | 0.004 | -0.002 | 0.000 | 0.002 | -0.004 | 19 95 | 1.952 | 0.000 | -0.016 | 0.000 | 0.008 | 0.000 |
| 220 | 127 | -0.004 | 0.001 | 0.002 | 0.000 | -0.002 | -0.005 | 94 | 1.952 | 0.000 | -0.016 | 0.000 | -0.002 | 0.000 |
|  | 139 | -0.004 | 0.004 | 0.002 | 0.000 | -0.001 | -0.003 | 20 94 | 1.971 | 0.000 | 0.015 | 0.000 | -0.001 | 0.000 |
| 221 | 99 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 1.971 | 0.000 | 0.015 | 0.000 | 0.007 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 93 | 1.585 | 0.000 | 0.040 | 0.000 | -0.010 | 0.000 |
| 222 | 33 | -0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 92 | 1.585 | 0.000 | 0.040 | 0.000 | 0.014 | 0.000 |
|  | 127 | -0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 22 92 | 0.919 | -0.001 | 0.050 | 0.000 | -0.014 | 0.000 |
| 223 | 44 | 0.003 | 0.002 | 0.000 | 0.000 | -0.001 | -0.005 | 91 | 0.919 | -0.001 | 0.050 | 0.000 | 0.015 | 0.000 |
|  | 88 | 0.003 | 0.006 | 0.000 | 0.000 | -0.001 | -0.003 | 23 91 | 0.223 | -0.001 | 0.029 | 0.000 | -0.011 | 0.000 |
| 224 | 88 | 0.003 | 0.006 | 0.000 | 0.000 | -0.001 | -0.003 | 90 | 0.223 | -0.001 | 0.029 | 0.000 | 0.006 | 0.000 |
|  | 129 | 0.003 | 0.010 | 0.000 | 0.000 | 0.000 | 0.001 | 24 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 225 | 129 | 0.003 | 0.010 | 0.000 | 0.000 | 0.000 | 0.001 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 0.003 | 0.014 | 0.000 | 0.000 | 0.000 | 0.008 | 25 10 | -0.096 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
| 226 | 130 | 0.003 | 0.014 | 0.000 | 0.000 | 0.000 | 0.008 | 9 | -0.096 | 0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 124 | 0.003 | 0.019 | 0.000 | 0.000 | 0.000 | 0.017 | 26 9 | -0.181 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | -0.003 | 0.005 | 0.000 | 0.000 | 0.001 | -0.003 | 8 | -0.181 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 132 | -0.003 | 0.009 | 0.000 | 0.000 | 0.001 | 0.000 | 27 8 | -0.252 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | -0.003 | 0.009 | 0.000 | 0.000 | 0.001 | 0.000 | 7 | -0.252 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 133 | -0.003 | 0.012 | 0.000 | 0.000 | 0.001 | 0.004 | 28 7 | -0.293 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | -0.003 | 0.012 | 0.000 | 0.000 | 0.001 | 0.004 | 6 | -0.293 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 134 | -0.003 | 0.016 | 0.000 | 0.000 | 0.001 | 0.010 | 29 6 | -0.291 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | -0.003 | 0.016 | 0.000 | 0.000 | 0.001 | 0.010 | 5 | -0.291 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 123 | -0.003 | 0.019 | 0.000 | 0.000 | 0.000 | 0.018 | 30 5 | -0.247 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 231 | 135 | 0.004 | 0.004 | -0.002 | 0.000 | 0.002 | -0.004 | 4 | -0.247 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.004 | 0.007 | -0.002 | 0.000 | 0.001 | -0.001 | 31 4 | -0.173 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 232 | 136 | 0.004 | 0.007 | -0.002 | 0.000 | 0.001 | -0.001 | 3 | -0.173 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 137 | 0.004 | 0.011 | -0.002 | 0.000 | 0.000 | 0.003 | 32 3 | -0.090 | -0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
| 233 | 137 | 0.004 | 0.011 | -0.002 | 0.000 | 0.000 | 0.003 | 2 | -0.090 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 138 | 0.004 | 0.015 | -0.002 | 0.000 | -0.001 | 0.009 | 33 2 | -0.023 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.004 | 0.015 | -0.002 | 0.000 | -0.001 | 0.009 | 1 | -0.023 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 126 | 0.004 | 0.018 | -0.002 | 0.000 | -0.002 | 0.016 | 34 121 | -0.167 | 0.079 | 0.010 | 0.026 | -0.004 | -0.048 |
| 235 | 139 | -0.004 | 0.004 | 0.002 | 0.000 | -0.001 | -0.003 | 120 | -0.167 | 0.079 | 0.010 | 0.026 | 0.002 | -0.001 |
|  | 140 | -0.004 | 0.008 | 0.002 | 0.000 | -0.001 | -0.001 | 35 120 | -0.622 | 0.158 | 0.018 | 0.029 | -0.004 | -0.041 |
| 236 | 140 | -0.004 | 0.008 | 0.002 | 0.000 | -0.001 | -0.001 | 119 | -0.622 | 0.158 | 0.018 | 0.029 | 0.006 | 0.053 |
|  | 141 | -0.004 | 0.011 | 0.002 | 0.000 | 0.000 | 0.003 | 36 119 | -1.303 | 0.268 | 0.023 | 0.025 | -0.003 | 0.007 |
| 237 | 141 | -0.004 | 0.011 | 0.002 | 0.000 | 0.000 | 0.003 | 118 | -1.303 | 0.268 | 0.023 | 0.025 | 0.011 | 0.167 |
|  | 142 | -0.004 | 0.015 | 0.002 | 0.000 | 0.001 | 0.009 | 37 118 | -1.658 | -0.078 | 0.000 | 0.008 | 0.005 | 0.141 |
| 238 | 142 | -0.004 | 0.015 | 0.002 | 0.000 | 0.001 | 0.009 | 117 | -1.658 | -0.078 | 0.000 | 0.008 | 0.005 | 0.095 |
|  | 128 | -0.004 | 0.018 | 0.002 | 0.000 | 0.002 | 0.016 | 38 117 | -1.659 | 0.079 | 0.000 | -0.009 | 0.005 | 0.094 |
|  |  |  |  |  |  |  |  | 116 | -1.659 | 0.079 | 0.000 | -0.009 | 0.005 | 0.141 |
|  |  |  |  |  |  |  |  | 39 116 | -1.305 | -0.267 | -0.023 | -0.025 | 0.011 | 0.166 |
|  |  |  |  |  |  |  |  | 115 | -1.305 | -0.267 | -0.023 | -0.025 | -0.003 | 0.007 |
|  |  |  |  |  |  |  |  | 40 115 | -0.624 | -0.158 | -0.018 | -0.030 | 0.006 | 0.052 |
|  |  |  |  |  |  |  |  | 114 | -0.624 | -0.158 | -0.018 | -0.030 | -0.005 | -0.042 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.163 | -0.080 | -0.010 | -0.027 | 0.002 | -0.002 | 81 | 77 | -0.116 | -0.022 | 0.012 | -0.003 | -0.003 | -0.017 |
|  | 113 | -0.163 | -0.080 | -0.010 | -0.027 | -0.004 | -0.049 |  | 125 | -0.116 | -0.022 | 0.012 | -0.003 | 0.006 | -0.033 |
| 42 | 113 | 0.044 | -0.008 | 0.006 | -0.025 | -0.002 | -0.019 | 82 | 125 | 0.093 | 0.004 | -0.019 | -0.023 | -0.001 | -0.031 |
|  | 112 | 0.044 | -0.008 | 0.006 | -0.025 | 0.001 | -0.023 |  | 99 | 0.093 | 0.004 | -0.019 | -0.023 | -0.005 | -0.030 |
| 43 | 2 | -0.004 | -0.001 | 0.001 | -0.001 | 0.000 | 0.000 | 83 | 111 | 0.049 | 0.008 | 0.005 | -0.024 | 0.000 | -0.029 |
|  | 13 | -0.004 | -0.001 | 0.001 | -0.001 | 0.000 | -0.001 |  | 122 | 0.049 | 0.008 | 0.005 | -0.024 | 0.003 | -0.023 |
| 44 | 24 | -0.073 | 0.000 | -0.031 | -0.001 | 0.003 | -0.003 | 84 | 12 | -0.025 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.073 | 0.000 | -0.031 | -0.001 | -0.002 | -0.003 |  | 13 | -0.025 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 45 | 90 | 0.556 | 0.075 | -0.011 | 0.024 | 0.002 | -0.080 | 85 | 34 | -0.189 | -0.170 | 0.006 | 0.063 | 0.001 | 0.141 |
|  | 102 | 0.556 | 0.075 | -0.011 | 0.024 | -0.003 | -0.040 |  | 35 | -0.189 | -0.170 | 0.006 | 0.063 | 0.005 | 0.040 |
| 46 | 3 | 0.006 | 0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 86 | 45 | -0.026 | 0.000 | 0.005 | 0.000 | -0.002 | 0.000 |
|  | 14 | 0.006 | 0.001 | 0.000 | -0.001 | 0.000 | 0.001 |  | 46 | -0.026 | 0.000 | 0.005 | 0.000 | 0.001 | 0.000 |
| 47 | 25 | -0.006 | 0.001 | -0.104 | -0.003 | 0.009 | 0.001 | 87 | 56 | 0.055 | -0.001 | 0.005 | 0.000 | -0.002 | 0.000 |
|  | 36 | -0.006 | 0.001 | -0.104 | -0.003 | -0.009 | 0.001 |  | 57 | 0.055 | -0.001 | 0.005 | 0.000 | 0.001 | 0.000 |
| 48 | 91 | 0.635 | 0.079 | 0.014 | 0.029 | -0.008 | -0.085 | 88 | 67 | 0.159 | 0.000 | 0.010 | 0.000 | -0.003 | 0.000 |
|  | 103 | 0.635 | 0.079 | 0.014 | 0.029 | -0.001 | -0.043 |  | 68 | 0.159 | 0.000 | 0.010 | 0.000 | 0.003 | 0.000 |
| 49 | 4 | 0.021 | 0.000 | -0.002 | 0.000 | 0.001 | 0.001 | 89 | 78 | 1.150 | 0.679 | 0.028 | -0.231 | -0.021 | -0.650 |
|  | 15 | 0.021 | 0.000 | -0.002 | 0.000 | -0.001 | 0.001 |  | 79 | 1.150 | 0.679 | 0.028 | -0.231 | -0.004 | -0.247 |
| 50 | 26 | 0.059 | 0.000 | -0.114 | -0.003 | 0.009 | 0.002 | 90 | 101 | 0.311 | 0.000 | 0.016 | 0.000 | -0.004 | 0.000 |
|  | 37 | 0.059 | 0.000 | -0.114 | -0.003 | -0.011 | 0.002 |  | 102 | 0.311 | 0.000 | 0.016 | 0.000 | 0.005 | 0.000 |
| 51 | 92 | 0.800 | 0.109 | 0.012 | 0.028 | -0.007 | -0.111 | 91 | 13 | -0.066 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.800 | 0.109 | 0.012 | 0.028 | -0.001 | -0.053 |  | 14 | -0.066 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 5 | 0.034 | 0.000 | -0.002 | 0.000 | 0.001 | 0.001 | 92 | 13 | -0.060 | -0.001 | -0.003 | -0.001 | 0.001 | -0.002 |
|  | 16 | 0.034 | 0.000 | -0.002 | 0.000 | -0.001 | 0.001 |  | 24 | -0.060 | -0.001 | -0.003 | -0.001 | -0.001 | -0.002 |
| 53 | 27 | 0.106 | -0.001 | -0.064 | -0.001 | 0.005 | 0.003 | 93 | 14 | -0.108 | 0.000 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 38 | 0.106 | -0.001 | -0.064 | -0.001 | -0.006 | 0.003 |  | 15 | -0.108 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
| 54 | 93 | 1.117 | 0.150 | 0.006 | 0.016 | -0.004 | -0.142 | 94 | 14 | -0.004 | 0.001 | -0.001 | -0.001 | 0.001 | 0.000 |
|  | 105 | 1.117 | 0.150 | 0.006 | 0.016 | -0.001 | -0.063 |  | 25 | -0.004 | 0.001 | -0.001 | -0.001 | 0.001 | 0.001 |
| 55 | 6 | 0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 0.001 | 95 | 15 | -0.151 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 17 | 0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 0.001 |  | 16 | -0.151 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
| 56 | 28 | 0.116 | -0.001 | 0.008 | 0.000 | -0.001 | 0.003 | 96 | 15 | 0.054 | 0.001 | -0.001 | -0.001 | 0.001 | 0.002 |
|  | 39 | 0.116 | -0.001 | 0.008 | 0.000 | 0.001 | 0.003 |  | 26 | 0.054 | 0.001 | -0.001 | -0.001 | 0.000 | 0.002 |
| 57 | 94 | 1.149 | 0.157 | -0.003 | 0.000 | 0.001 | -0.149 | 97 | 16 | -0.178 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 106 | 1.149 | 0.157 | -0.003 | 0.000 | -0.001 | -0.066 |  | 17 | -0.178 | 0.000 | 0.001 | 0.000 | 0.001 | 0.000 |
| 58 | 7 | 0.033 | 0.000 | 0.001 | 0.000 | 0.000 | 0.001 | 98 | 16 | 0.098 | 0.000 | -0.001 | 0.000 | 0.001 | 0.003 |
|  | 18 | 0.033 | 0.000 | 0.001 | 0.000 | 0.001 | 0.001 |  | 27 | 0.098 | 0.000 | -0.001 | 0.000 | 0.000 | 0.003 |
| 59 | 29 | 0.100 | -0.001 | 0.080 | 0.002 | -0.006 | 0.003 | 99 | 17 | -0.178 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.100 | -0.001 | 0.080 | 0.002 | 0.008 | 0.003 |  | 18 | -0.178 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 1.111 | 0.150 | -0.012 | -0.017 | 0.006 | -0.142 | 100 | 17 | 0.107 | 0.000 | -0.001 | 0.000 | 0.000 | 0.003 |
|  | 107 | 1.111 | 0.150 | -0.012 | -0.017 | -0.001 | -0.063 |  | 28 | 0.107 | 0.000 | -0.001 | 0.000 | 0.000 | 0.003 |
| 61 | 8 | 0.018 | 0.000 | 0.002 | 0.001 | 0.000 | 0.000 | 101 | 18 | -0.152 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 19 | 0.018 | 0.000 | 0.002 | 0.001 | 0.001 | 0.001 |  | 19 | -0.152 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.048 | 0.000 | 0.129 | 0.003 | -0.010 | 0.002 | 102 | 18 | 0.093 | 0.000 | 0.000 | 0.000 | 0.000 | 0.002 |
|  | 41 | 0.048 | 0.000 | 0.129 | 0.003 | 0.013 | 0.002 |  | 29 | 0.093 | 0.000 | 0.000 | 0.000 | -0.001 | 0.002 |
| 63 | 96 | 0.792 | 0.110 | -0.021 | -0.029 | 0.010 | -0.111 | 103 | 19 | -0.111 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.792 | 0.110 | -0.021 | -0.029 | -0.001 | -0.053 |  | 20 | -0.111 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.004 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 104 | 19 | 0.046 | 0.001 | -0.001 | 0.001 | -0.001 | 0.001 |
|  | 20 | 0.004 | 0.001 | 0.000 | 0.001 | 0.000 | 0.001 |  | 30 | 0.046 | 0.001 | -0.001 | 0.001 | -0.001 | 0.002 |
| 65 | 31 | -0.017 | 0.002 | 0.115 | 0.003 | -0.011 | 0.001 | 105 | 20 | -0.072 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.017 | 0.002 | 0.115 | 0.003 | 0.010 | 0.001 |  | 21 | -0.072 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 66 | 97 | 0.588 | 0.080 | -0.032 | -0.029 | 0.014 | -0.086 | 106 | 20 | -0.013 | 0.001 | -0.001 | 0.001 | -0.001 | 0.000 |
|  | 109 | 0.588 | 0.080 | -0.032 | -0.029 | -0.002 | -0.044 |  | 31 | -0.013 | 0.001 | -0.001 | 0.001 | -0.001 | 0.001 |
| 67 | 10 | -0.007 | -0.001 | -0.001 | 0.001 | 0.001 | 0.000 | 107 | 21 | -0.035 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 21 | -0.007 | -0.001 | -0.001 | 0.001 | 0.000 | -0.001 |  | 22 | -0.035 | 0.000 | -0.001 | 0.000 | -0.001 | 0.000 |
| 68 | 32 | -0.084 | 0.000 | 0.037 | 0.002 | -0.004 | -0.003 | 108 | 21 | -0.072 | -0.001 | 0.002 | 0.001 | -0.001 | -0.002 |
|  | 43 | -0.084 | 0.000 | 0.037 | 0.002 | 0.002 | -0.003 |  | 32 | -0.072 | -0.001 | 0.002 | 0.001 | 0.000 | -0.003 |
| 69 | 100 | 0.531 | 0.075 | 0.037 | -0.023 | -0.010 | -0.077 | 109 | 35 | -0.022 | -0.143 | -0.005 | 0.035 | 0.002 | 0.060 |
|  | 110 | 0.531 | 0.075 | 0.037 | -0.023 | 0.009 | -0.039 |  | 36 | -0.022 | -0.143 | -0.005 | 0.035 | -0.001 | -0.025 |
| 70 | 12 | -0.115 | -0.001 | -0.001 | 0.000 | 0.000 | -0.003 | 110 | 35 | -0.220 | -0.027 | 0.000 | 0.002 | -0.001 | 0.020 |
|  | 34 | -0.115 | -0.001 | -0.001 | 0.000 | 0.000 | -0.004 |  | 46 | -0.220 | -0.027 | 0.000 | 0.002 | -0.001 | 0.001 |
| 71 | 34 | -0.369 | -0.022 | -0.003 | 0.001 | 0.001 | 0.023 | 111 | 36 | 0.332 | -0.103 | 0.031 | 0.022 | -0.011 | 0.015 |
|  | 45 | -0.369 | -0.022 | -0.003 | 0.001 | -0.001 | 0.008 |  | 37 | 0.332 | -0.103 | 0.031 | 0.022 | 0.007 | -0.047 |
| 72 | 45 | -0.322 | -0.021 | -0.004 | 0.002 | 0.001 | 0.009 | 112 | 36 | -0.082 | -0.034 | 0.002 | 0.003 | -0.002 | 0.016 |
|  | 56 | -0.322 | -0.021 | -0.004 | 0.002 | -0.001 | -0.006 |  | 47 | -0.082 | -0.034 | 0.002 | 0.003 | -0.001 | -0.008 |
| 73 | 56 | -0.256 | -0.020 | 0.004 | 0.002 | -0.001 | -0.004 | 113 | 37 | 0.621 | -0.063 | 0.022 | 0.011 | -0.006 | -0.015 |
|  | 67 | -0.256 | -0.020 | 0.004 | 0.002 | 0.002 | -0.018 |  | 38 | 0.621 | -0.063 | 0.022 | 0.011 | 0.007 | -0.052 |
| 74 | 67 | -0.132 | -0.018 | -0.015 | 0.003 | 0.003 | -0.015 | 114 | 37 | 0.104 | -0.041 | 0.000 | 0.002 | -0.001 | 0.013 |
|  | 78 | -0.132 | -0.018 | -0.015 | 0.003 | -0.007 | -0.028 |  | 48 | 0.104 | -0.041 | 0.000 | 0.002 | -0.001 | -0.016 |
| 75 | 78 | 0.068 | 0.005 | -0.006 | 0.023 | 0.005 | -0.032 | 115 | 38 | 0.768 | -0.018 | 0.007 | 0.003 | 0.000 | -0.036 |
|  | 101 | 0.068 | 0.005 | -0.006 | 0.023 | 0.000 | -0.029 |  | 39 | 0.768 | -0.018 | 0.007 | 0.003 | 0.004 | -0.047 |
| 76 | 101 | 0.051 | 0.007 | -0.006 | 0.024 | 0.001 | -0.029 | 116 | 38 | 0.215 | -0.047 | -0.001 | 0.001 | 0.000 | 0.012 |
|  | 112 | 0.051 | 0.007 | -0.006 | 0.024 | -0.004 | -0.024 |  | 49 | 0.215 | -0.047 | -0.001 | 0.001 | -0.001 | -0.021 |
| 77 | 22 | -0.118 | -0.001 | 0.008 | 0.001 | -0.001 | -0.003 | 117 | 39 | 0.746 | 0.029 | -0.010 | -0.004 | 0.004 | -0.049 |
|  | 33 | -0.118 | -0.001 | 0.008 | 0.001 | 0.003 | -0.004 |  | 40 | 0.746 | 0.029 | -0.010 | -0.004 | -0.001 | -0.032 |
| 78 | 127 | -0.411 | -0.026 | 0.003 | -0.001 | -0.001 | 0.029 | 118 | 39 | 0.244 | -0.049 | -0.001 | 0.000 | 0.000 | 0.012 |
|  | 55 | -0.411 | -0.026 | 0.003 | -0.001 | 0.001 | 0.010 |  | 50 | 0.244 | -0.049 | -0.001 | 0.000 | 0.000 | -0.023 |
| 79 | 55 | -0.352 | -0.025 | 0.003 | -0.002 | -0.001 | 0.012 | 119 | 40 | 0.555 | 0.074 | -0.024 | -0.013 | 0.008 | -0.053 |
|  | 66 | -0.352 | -0.025 | 0.003 | -0.002 | 0.001 | -0.006 |  | 41 | 0.555 | 0.074 | -0.024 | -0.013 | -0.007 | -0.010 |
| 80 | 66 | -0.269 | -0.024 | -0.003 | -0.002 | 0.000 | -0.004 | 120 | 40 | 0.211 | -0.047 | 0.000 | -0.002 | 0.000 | 0.012 |
|  | 77 | -0.269 | -0.024 | -0.003 | -0.002 | -0.002 | -0.021 |  | 51 | 0.211 | -0.047 | 0.000 | -0.002 | 0.000 | -0.021 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | 0.225 | 0.115 | -0.033 | -0.025 | 0.008 | -0.046 | 161 | 65 | 0.055 | 0.001 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 42 | 0.225 | 0.115 | -0.033 | -0.025 | -0.012 | 0.022 |  | 66 | 0.055 | 0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
| 122 | 41 | 0.096 | -0.042 | -0.001 | -0.003 | 0.001 | 0.014 | 162 | 65 | 0.030 | -0.027 | 0.006 | -0.004 | -0.002 | -0.011 |
|  | 52 | 0.096 | -0.042 | -0.001 | -0.003 | 0.001 | -0.016 |  | 76 | 0.030 | -0.027 | 0.006 | -0.004 | 0.002 | -0.030 |
| 123 | 42 | -0.161 | 0.157 | 0.005 | -0.039 | -0.001 | -0.021 | 163 | 68 | 0.254 | -0.001 | 0.012 | 0.000 | -0.003 | 0.000 |
|  | 43 | -0.161 | 0.157 | 0.005 | -0.039 | 0.002 | 0.072 |  | 69 | 0.254 | -0.001 | 0.012 | 0.000 | 0.004 | 0.000 |
| 124 | 42 | -0.094 | -0.036 | -0.003 | -0.003 | 0.002 | 0.018 | 164 | 68 | 0.360 | -0.023 | -0.015 | 0.005 | 0.003 | -0.020 |
|  | 53 | -0.094 | -0.036 | -0.003 | -0.003 | 0.000 | -0.007 |  | 79 | 0.360 | -0.023 | -0.015 | 0.005 | -0.008 | -0.037 |
| 125 | 43 | -0.321 | 0.187 | -0.001 | -0.071 | 0.005 | 0.052 | 165 | 69 | 0.438 | -0.001 | 0.007 | 0.000 | -0.002 | 0.000 |
|  | 127 | -0.321 | 0.187 | -0.001 | -0.071 | 0.004 | 0.163 |  | 70 | 0.438 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
| 126 | 43 | -0.259 | -0.030 | 0.000 | -0.002 | 0.001 | 0.024 | 166 | 69 | 0.479 | -0.036 | -0.008 | 0.007 | 0.000 | -0.044 |
|  | 54 | -0.259 | -0.030 | 0.000 | -0.002 | 0.001 | 0.002 |  | 80 | 0.479 | -0.036 | -0.008 | 0.007 | -0.005 | -0.070 |
| 127 | 46 | 0.003 | -0.001 | 0.011 | 0.000 | -0.003 | 0.000 | 167 | 70 | 0.648 | -0.001 | 0.005 | 0.000 | -0.002 | 0.000 |
|  | 47 | 0.003 | -0.001 | 0.011 | 0.000 | 0.003 | 0.000 |  | 71 | 0.648 | -0.001 | 0.005 | 0.000 | 0.001 | 0.000 |
| 128 | 46 | -0.080 | -0.026 | -0.009 | 0.003 | 0.003 | 0.004 | 168 | 70 | 0.652 | -0.043 | 0.000 | 0.006 | -0.002 | -0.062 |
|  | 57 | -0.080 | -0.026 | -0.009 | 0.003 | -0.003 | -0.014 |  | 81 | 0.652 | -0.043 | 0.000 | 0.006 | -0.002 | -0.093 |
| 129 | 47 | 0.028 | -0.001 | 0.008 | 0.000 | -0.002 | 0.000 | 169 | 71 | 0.782 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 48 | 0.028 | -0.001 | 0.008 | 0.000 | 0.003 | 0.000 |  | 72 | 0.782 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 130 | 47 | 0.102 | -0.035 | -0.012 | 0.003 | 0.004 | -0.004 | 170 | 71 | 0.823 | -0.050 | 0.001 | 0.003 | -0.001 | -0.074 |
|  | 58 | 0.102 | -0.035 | -0.012 | 0.003 | -0.004 | -0.028 |  | 82 | 0.823 | -0.050 | 0.001 | 0.003 | -0.001 | -0.109 |
| 131 | 48 | 0.030 | 0.000 | 0.006 | 0.000 | -0.002 | 0.000 | 171 | 72 | 0.792 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.030 | 0.000 | 0.006 | 0.000 | 0.002 | 0.000 |  | 73 | 0.792 | 0.000 | -0.002 | 0.000 | -0.001 | 0.000 |
| 132 | 48 | 0.309 | -0.042 | -0.009 | 0.003 | 0.003 | -0.011 | 172 | 72 | 0.852 | -0.051 | 0.001 | 0.000 | 0.000 | -0.078 |
|  | 59 | 0.309 | -0.042 | -0.009 | 0.003 | -0.003 | -0.040 |  | 83 | 0.852 | -0.051 | 0.001 | 0.000 | 0.000 | -0.114 |
| 133 | 49 | 0.028 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 173 | 73 | 0.675 | 0.001 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 50 | 0.028 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |  | 74 | 0.675 | 0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
| 134 | 49 | 0.457 | -0.048 | -0.005 | 0.002 | 0.002 | -0.015 | 174 | 73 | 0.827 | -0.050 | 0.000 | -0.004 | 0.001 | -0.074 |
|  | 60 | 0.457 | -0.048 | -0.005 | 0.002 | -0.002 | -0.049 |  | 84 | 0.827 | -0.050 | 0.000 | -0.004 | 0.001 | -0.109 |
| 135 | 50 | 0.030 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 | 175 | 74 | 0.475 | 0.001 | -0.007 | 0.000 | 0.002 | 0.000 |
|  | 51 | 0.030 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 75 | 0.475 | 0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
| 136 | 50 | 0.496 | -0.050 | 0.000 | 0.000 | 0.000 | -0.016 | 176 | 74 | 0.657 | -0.044 | 0.001 | -0.006 | 0.001 | -0.062 |
|  | 61 | 0.496 | -0.050 | 0.000 | 0.000 | 0.000 | -0.051 |  | 85 | 0.657 | -0.044 | 0.001 | -0.006 | 0.002 | -0.093 |
| 137 | 51 | 0.034 | 0.000 | -0.006 | 0.000 | 0.002 | 0.000 | 177 | 75 | 0.281 | 0.001 | -0.011 | 0.000 | 0.003 | 0.000 |
|  | 52 | 0.034 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |  | 76 | 0.281 | 0.001 | -0.011 | 0.000 | -0.003 | 0.000 |
| 138 | 51 | 0.455 | -0.048 | 0.005 | -0.002 | -0.002 | -0.015 | 178 | 75 | 0.510 | -0.038 | 0.006 | -0.007 | 0.000 | -0.045 |
|  | 62 | 0.455 | -0.048 | 0.005 | -0.002 | 0.002 | -0.049 |  | 86 | 0.510 | -0.038 | 0.006 | -0.007 | 0.004 | -0.071 |
| 139 | 52 | 0.034 | 0.001 | -0.008 | 0.000 | 0.003 | 0.000 | 179 | 76 | 0.180 | 0.000 | -0.009 | 0.000 | 0.002 | 0.000 |
|  | 53 | 0.034 | 0.001 | -0.008 | 0.000 | -0.002 | 0.000 |  | 77 | 0.180 | 0.000 | -0.009 | 0.000 | -0.003 | 0.000 |
| 140 | 52 | 0.307 | -0.043 | 0.010 | -0.003 | -0.003 | -0.010 | 180 | 76 | 0.371 | -0.026 | 0.015 | -0.006 | -0.003 | -0.022 |
|  | 63 | 0.307 | -0.043 | 0.010 | -0.003 | 0.003 | -0.040 |  | 87 | 0.371 | -0.026 | 0.015 | -0.006 | 0.008 | -0.040 |
| 141 | 53 | 0.003 | 0.001 | -0.012 | 0.000 | 0.003 | 0.000 | 181 | 79 | 0.677 | 0.596 | 0.166 | -0.156 | -0.048 | -0.284 |
|  | 54 | 0.003 | 0.001 | -0.012 | 0.000 | -0.004 | 0.000 |  | 80 | 0.677 | 0.596 | 0.166 | -0.156 | 0.050 | 0.071 |
| 142 | 53 | 0.108 | -0.037 | 0.012 | -0.004 | -0.005 | -0.002 | 182 | 79 | 0.587 | 0.073 | -0.234 | 0.018 | 0.038 | -0.092 |
|  | 64 | 0.108 | -0.037 | 0.012 | -0.004 | 0.004 | -0.028 |  | 90 | 0.587 | 0.073 | -0.234 | 0.018 | -0.004 | -0.079 |
| 143 | 54 | -0.034 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 183 | 80 | -0.912 | 0.478 | 0.126 | -0.128 | -0.033 | -0.091 |
|  | 55 | -0.034 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 |  | 81 | -0.912 | 0.478 | 0.126 | -0.128 | 0.042 | 0.193 |
| 144 | 54 | -0.093 | -0.029 | 0.009 | -0.003 | -0.003 | 0.007 | 184 | 80 | 0.663 | 0.077 | -0.682 | 0.007 | 0.089 | -0.098 |
|  | 65 | -0.093 | -0.029 | 0.009 | -0.003 | 0.003 | -0.014 |  | 91 | 0.663 | 0.077 | -0.682 | 0.007 | -0.032 | -0.084 |
| 145 | 57 | 0.130 | -0.001 | 0.016 | 0.000 | -0.005 | 0.000 | 185 | 81 | -2.282 | 0.323 | 0.114 | -0.089 | -0.033 | 0.057 |
|  | 58 | 0.130 | -0.001 | 0.016 | 0.000 | 0.005 | 0.000 |  | 82 | -2.282 | 0.323 | 0.114 | -0.089 | 0.035 | 0.249 |
| 146 | 57 | 0.024 | -0.024 | -0.005 | 0.004 | 0.002 | -0.012 | 186 | 81 | 0.797 | 0.110 | -0.654 | 0.008 | 0.082 | -0.130 |
|  | 68 | 0.024 | -0.024 | -0.005 | 0.004 | -0.002 | -0.029 |  | 92 | 0.797 | 0.110 | -0.654 | 0.008 | -0.033 | -0.111 |
| 147 | 58 | 0.218 | -0.001 | 0.013 | 0.000 | -0.004 | 0.000 | 187 | 82 | -3.064 | 0.112 | 0.032 | -0.032 | -0.009 | 0.171 |
|  | 59 | 0.218 | -0.001 | 0.013 | 0.000 | 0.004 | 0.000 |  | 83 | -3.064 | 0.112 | 0.032 | -0.032 | 0.011 | 0.238 |
| 148 | 58 | 0.262 | -0.036 | -0.009 | 0.005 | 0.003 | -0.024 | 188 | 82 | 1.097 | 0.152 | -0.380 | 0.004 | 0.047 | -0.169 |
|  | 69 | 0.262 | -0.036 | -0.009 | 0.005 | -0.003 | -0.049 |  | 93 | 1.097 | 0.152 | -0.380 | 0.004 | -0.020 | -0.142 |
| 149 | 59 | 0.281 | -0.001 | 0.009 | 0.000 | -0.003 | 0.000 | 189 | 83 | -3.070 | -0.108 | -0.039 | 0.030 | 0.012 | 0.238 |
|  | 60 | 0.281 | -0.001 | 0.009 | 0.000 | 0.003 | 0.000 |  | 84 | -3.070 | -0.108 | -0.039 | 0.030 | -0.011 | 0.174 |
| 150 | 59 | 0.516 | -0.043 | -0.007 | 0.004 | 0.003 | -0.035 | 190 | 83 | 1.118 | 0.160 | 0.016 | 0.000 | -0.002 | -0.178 |
|  | 70 | 0.516 | -0.043 | -0.007 | 0.004 | -0.003 | -0.065 |  | 94 | 1.118 | 0.160 | 0.016 | 0.000 | 0.001 | -0.149 |
| 151 | 60 | 0.315 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 | 191 | 84 | -2.292 | -0.321 | -0.124 | 0.087 | 0.037 | 0.252 |
|  | 61 | 0.315 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |  | 85 | -2.292 | -0.321 | -0.124 | 0.087 | -0.036 | 0.062 |
| 152 | 60 | 0.708 | -0.049 | -0.004 | 0.002 | 0.001 | -0.042 | 192 | 84 | 1.081 | 0.153 | 0.421 | -0.004 | -0.051 | -0.170 |
|  | 71 | 0.708 | -0.049 | -0.004 | 0.002 | -0.001 | -0.077 |  | 95 | 1.081 | 0.153 | 0.421 | -0.004 | 0.023 | -0.143 |
| 153 | 61 | 0.316 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 193 | 85 | -0.890 | -0.479 | -0.145 | 0.126 | 0.046 | 0.203 |
|  | 62 | 0.316 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |  | 86 | -0.890 | -0.479 | -0.145 | 0.126 | -0.040 | -0.081 |
| 154 | 61 | 0.753 | -0.051 | 0.000 | 0.000 | 0.000 | -0.045 | 194 | 85 | 0.768 | 0.111 | 0.726 | -0.006 | -0.089 | -0.131 |
|  | 72 | 0.753 | -0.051 | 0.000 | 0.000 | 0.000 | -0.081 |  | 96 | 0.768 | 0.111 | 0.726 | -0.006 | 0.039 | -0.112 |
| 155 | 62 | 0.281 | 0.001 | -0.010 | 0.000 | 0.003 | 0.000 | 195 | 86 | 0.769 | -0.594 | -0.164 | 0.153 | 0.053 | 0.090 |
|  | 63 | 0.281 | 0.001 | -0.010 | 0.000 | -0.003 | 0.000 |  | 87 | 0.769 | -0.594 | -0.164 | 0.153 | -0.044 | -0.263 |
| 156 | 62 | 0.708 | -0.049 | 0.004 | -0.003 | -0.002 | -0.042 | 196 | 86 | 0.630 | 0.075 | 0.776 | -0.005 | -0.100 | -0.098 |
|  | 73 | 0.708 | -0.049 | 0.004 | -0.003 | 0.002 | -0.077 |  | 97 | 0.630 | 0.075 | 0.776 | -0.005 | 0.037 | -0.085 |
| 157 | 63 | 0.217 | 0.001 | -0.013 | 0.000 | 0.004 | 0.000 | 197 | 87 | 1.165 | -0.679 | -0.002 | 0.226 | -0.022 | -0.236 |
|  | 64 | 0.217 | 0.001 | -0.013 | 0.000 | -0.004 | 0.000 |  | 125 | 1.165 | -0.679 | -0.002 | 0.226 | -0.023 | -0.639 |
| 158 | 63 | 0.517 | -0.043 | 0.008 | -0.005 | -0.003 | -0.035 | 198 | 87 | 0.531 | 0.075 | 0.037 | -0.023 | -0.018 | -0.092 |
|  | 74 | 0.517 | -0.043 | 0.008 | -0.005 | 0.003 | -0.066 |  | 100 | 0.531 | 0.075 | 0.037 | -0.023 | -0.010 | -0.077 |
| 159 | 64 | 0.129 | 0.001 | -0.017 | 0.000 | 0.005 | 0.000 | 199 | 102 | 0.523 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.129 | 0.001 | -0.017 | 0.000 | -0.005 | 0.000 |  | 103 | 0.523 | 0.000 | 0.002 | 0.000 | 0.001 | 0.000 |
| 160 | 64 | 0.285 | -0.037 | 0.009 | -0.006 | -0.003 | -0.024 | 200 | 102 | 0.164 | 0.073 | -0.004 | 0.025 | 0.000 | -0.049 |
|  | 75 | 0.285 | -0.037 | 0.009 | -0.006 | 0.003 | -0.050 |  | 113 | 0.164 | 0.073 | -0.004 | 0.025 | -0.003 | 0.002 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 7 (Linear): WIND COLS MAJOR (S)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.786 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.786 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 202 | 103 | 0.182 | 0.079 | 0.001 | 0.029 | -0.002 | -0.054 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.182 | 0.079 | 0.001 | 0.029 | -0.002 | 0.001 | 2 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 203 | 104 | 1.098 | 0.000 | -0.001 | 0.000 | -0.002 | 0.000 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 1.098 | 0.000 | -0.001 | 0.000 | -0.002 | 0.000 | 3 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 204 | 104 | 0.199 | 0.109 | 0.003 | 0.029 | -0.003 | -0.068 | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.199 | 0.109 | 0.003 | 0.029 | -0.001 | 0.009 | 4 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 205 | 105 | 1.343 | 0.000 | 0.003 | 0.000 | -0.004 | 0.000 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 1.343 | 0.000 | 0.003 | 0.000 | -0.002 | 0.000 | 5 33 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 206 | 105 | 0.249 | 0.150 | 0.003 | 0.017 | -0.002 | -0.084 | 32 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.249 | 0.150 | 0.003 | 0.017 | 0.000 | 0.022 | 6 99 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 207 | 106 | 1.355 | 0.000 | -0.001 | 0.000 | -0.002 | 0.000 | 98 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 1.355 | 0.000 | -0.001 | 0.000 | -0.003 | 0.000 | 7 32 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 208 | 106 | 0.237 | 0.156 | 0.000 | 0.000 | 0.000 | -0.088 | 31 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.237 | 0.156 | 0.000 | 0.000 | 0.000 | 0.022 | 8 31 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 209 | 107 | 1.135 | 0.000 | 0.003 | 0.000 | -0.003 | 0.000 | 30 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 1.135 | 0.000 | 0.003 | 0.000 | -0.001 | 0.000 | 9 30 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 210 | 107 | 0.258 | 0.151 | -0.002 | -0.017 | 0.002 | -0.084 | 29 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.258 | 0.151 | -0.002 | -0.017 | 0.000 | 0.022 | 10 29 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 211 | 108 | 0.836 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 | 28 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.836 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 | 11 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 212 | 108 | 0.216 | 0.110 | -0.002 | -0.029 | 0.003 | -0.067 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.216 | 0.110 | -0.002 | -0.029 | 0.001 | 0.010 | 12 27 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 213 | 109 | 0.569 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 | 26 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.569 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 13 26 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 214 | 109 | 0.187 | 0.079 | 0.001 | -0.029 | 0.001 | -0.053 | 25 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.187 | 0.079 | 0.001 | -0.029 | 0.002 | 0.002 | 14 25 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 215 | 110 | 0.335 | 0.000 | -0.021 | 0.000 | 0.007 | 0.000 | 24 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.335 | 0.000 | -0.021 | 0.000 | -0.006 | 0.000 | 15 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 216 | 110 | 0.169 | 0.072 | 0.000 | -0.025 | 0.002 | -0.048 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.169 | 0.072 | 0.000 | -0.025 | 0.003 | 0.003 | 16 98 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 217 | 34 | -0.202 | 0.094 | -0.093 | 0.002 | 0.149 | -0.086 | 97 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 131 | -0.202 | 0.094 | -0.093 | 0.002 | 0.108 | -0.045 | 17 97 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 218 | 78 | 0.711 | -0.113 | 0.424 | 0.000 | -0.743 | 0.239 | 96 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | 0.711 | -0.113 | 0.424 | 0.000 | -0.517 | 0.179 | 18 96 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 219 | 125 | 0.716 | -0.095 | -0.461 | 0.004 | 0.734 | 0.213 | 95 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 135 | 0.716 | -0.095 | -0.461 | 0.004 | 0.526 | 0.170 | 19 95 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 220 | 127 | -0.225 | 0.114 | 0.130 | 0.005 | -0.182 | -0.098 | 94 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 139 | -0.225 | 0.114 | 0.130 | 0.005 | -0.125 | -0.048 | 20 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 221 | 99 | 0.085 | 0.005 | 0.016 | -0.022 | -0.006 | -0.030 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.085 | 0.005 | 0.016 | -0.022 | 0.002 | -0.028 | 21 93 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 222 | 33 | -0.119 | 0.000 | -0.054 | -0.001 | 0.002 | -0.004 | 92 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | -0.119 | 0.000 | -0.054 | -0.001 | -0.007 | -0.004 | 22 92 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 223 | 44 | 0.711 | -0.113 | 0.424 | 0.000 | -0.517 | 0.179 | 91 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 88 | 0.711 | -0.113 | 0.424 | 0.000 | -0.292 | 0.120 | 23 91 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 224 | 88 | 0.711 | -0.113 | 0.424 | 0.000 | -0.292 | 0.120 | 90 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 129 | 0.711 | -0.113 | 0.424 | 0.000 | -0.066 | 0.060 | 24 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 225 | 129 | 0.711 | -0.113 | 0.424 | 0.000 | -0.066 | 0.060 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 0.711 | -0.113 | 0.424 | 0.000 | 0.159 | 0.000 | 25 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 226 | 130 | 0.711 | -0.113 | 0.424 | 0.000 | 0.159 | 0.000 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 124 | 0.711 | -0.113 | 0.424 | 0.000 | 0.384 | -0.060 | 26 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | -0.202 | 0.094 | -0.093 | 0.002 | 0.108 | -0.045 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 132 | -0.202 | 0.094 | -0.093 | 0.002 | 0.067 | -0.004 | 27 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | -0.202 | 0.094 | -0.093 | 0.002 | 0.067 | -0.004 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 133 | -0.202 | 0.094 | -0.093 | 0.002 | 0.026 | 0.037 | 28 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | -0.202 | 0.094 | -0.093 | 0.002 | 0.026 | 0.037 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 134 | -0.202 | 0.094 | -0.093 | 0.002 | -0.015 | 0.078 | 29 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | -0.202 | 0.094 | -0.093 | 0.002 | -0.015 | 0.078 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 123 | -0.202 | 0.094 | -0.093 | 0.002 | -0.056 | 0.120 | 30 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 231 | 135 | 0.716 | -0.095 | -0.461 | 0.004 | 0.526 | 0.170 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.716 | -0.095 | -0.461 | 0.004 | 0.318 | 0.127 | 31 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 232 | 136 | 0.716 | -0.095 | -0.461 | 0.004 | 0.318 | 0.127 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 137 | 0.716 | -0.095 | -0.461 | 0.004 | 0.110 | 0.085 | 32 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 233 | 137 | 0.716 | -0.095 | -0.461 | 0.004 | 0.110 | 0.085 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 138 | 0.716 | -0.095 | -0.461 | 0.004 | -0.098 | 0.042 | 33 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.716 | -0.095 | -0.461 | 0.004 | -0.098 | 0.042 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 126 | 0.716 | -0.095 | -0.461 | 0.004 | -0.306 | -0.001 | 34 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 235 | 139 | -0.225 | 0.114 | 0.130 | 0.005 | -0.125 | -0.048 | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 140 | -0.225 | 0.114 | 0.130 | 0.005 | -0.068 | 0.002 | 35 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 236 | 140 | -0.225 | 0.114 | 0.130 | 0.005 | -0.068 | 0.002 | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 141 | -0.225 | 0.114 | 0.130 | 0.005 | -0.011 | 0.052 | 36 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 237 | 141 | -0.225 | 0.114 | 0.130 | 0.005 | -0.011 | 0.052 | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 142 | -0.225 | 0.114 | 0.130 | 0.005 | 0.046 | 0.102 | 37 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 238 | 142 | -0.225 | 0.114 | 0.130 | 0.005 | 0.046 | 0.102 | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 128 | -0.225 | 0.114 | 0.130 | 0.005 | 0.103 | 0.153 | 38 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 39 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 40 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 77 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 82 | 125 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 99 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 43 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 83 | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 24 | -0.001 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 84 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.001 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 90 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 34 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 |
|  | 102 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 46 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 86 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 87 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 78 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 50 | 26 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 90 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 92 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 91 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 92 | 13 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 93 | 14 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 15 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 94 | 14 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 95 | 15 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 96 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 26 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 99 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 100 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 102 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 96 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 103 | 19 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 104 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 105 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 97 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 106 | 20 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 107 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 32 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 108 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |  | 32 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 100 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 109 | 35 | -0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 110 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | -0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 110 | 35 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 111 | 36 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 112 | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 113 | 37 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 114 | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 78 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 115 | 38 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 116 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 117 | 39 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 78 | 127 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 118 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 79 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 119 | 40 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 80 | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 120 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | 0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 161 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.007 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 162 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 123 | 42 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 163 | 68 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |  | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 124 | 42 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 164 | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 125 | 43 | 0.005 | -0.001 | -0.001 | 0.000 | 0.000 | -0.001 | 165 | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.005 | -0.001 | -0.001 | 0.000 | 0.000 | -0.002 |  | 70 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 166 | 69 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 127 | 46 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 167 | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 168 | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 129 | 47 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 169 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 130 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 170 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 131 | 48 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 171 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 172 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 133 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 173 | 73 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 134 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 174 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 135 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 175 | 74 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 176 | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 137 | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 177 | 75 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 138 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 178 | 75 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 139 | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 179 | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 180 | 76 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 141 | 53 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 181 | 79 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 54 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.004 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 142 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 182 | 79 | -0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 90 | -0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 143 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 183 | 80 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 144 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 184 | 80 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 91 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 145 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 185 | 81 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 146 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 186 | 81 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 92 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 147 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 148 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 188 | 82 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 93 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 149 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 150 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 190 | 83 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 94 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 151 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 152 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 192 | 84 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 95 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 153 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | 0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.007 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 154 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 194 | 85 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 155 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 156 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 196 | 86 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 157 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.005 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
| 158 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 198 | 87 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 100 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 159 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 199 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 160 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 200 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 8 (Linear): WIND COLS MAJOR (U)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 202 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 203 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 204 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 205 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 33 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 206 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 99 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 207 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 32 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 208 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 31 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 209 | 107 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 30 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 210 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 29 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 211 | 108 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 212 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 27 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 213 | 109 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 26 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 214 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 25 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 215 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 24 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 216 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 98 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 217 | 34 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 0.000 | 97 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 131 | -0.001 | 0.000 | -0.002 | 0.000 | 0.002 | 0.000 | 17 97 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 218 | 78 | -0.001 | 0.000 | 0.001 | 0.000 | 0.002 | 0.000 | 96 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 44 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 0.000 | 18 96 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 219 | 125 | 0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 0.000 | 95 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 135 | 0.001 | 0.000 | -0.002 | 0.000 | 0.002 | 0.000 | 19 95 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 220 | 127 | 0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 0.000 | 94 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 139 | 0.001 | 0.000 | -0.002 | 0.000 | 0.002 | 0.000 | 20 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 221 | 99 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 93 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 222 | 33 | 0.000 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 92 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.000 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 22 92 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 223 | 44 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 | 0.000 | 91 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 88 | -0.001 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 | 23 91 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 224 | 88 | -0.001 | 0.000 | -0.002 | 0.000 | 0.001 | 0.000 | 90 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 129 | -0.001 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 24 90 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 225 | 129 | -0.001 | 0.000 | -0.003 | 0.000 | 0.000 | 0.000 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | -0.001 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 | 25 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 226 | 130 | -0.001 | 0.000 | -0.005 | 0.000 | -0.002 | 0.000 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 124 | -0.001 | 0.000 | -0.006 | 0.000 | -0.005 | 0.000 | 26 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 227 | 131 | -0.001 | 0.000 | -0.002 | 0.000 | 0.002 | 0.000 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 132 | -0.001 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 27 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | -0.001 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 133 | -0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 28 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | -0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 134 | -0.001 | 0.000 | -0.005 | 0.000 | -0.003 | 0.000 | 29 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | -0.001 | 0.000 | -0.005 | 0.000 | -0.003 | 0.000 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 123 | -0.001 | 0.000 | -0.006 | 0.000 | -0.005 | 0.000 | 30 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 231 | 135 | 0.001 | 0.000 | -0.002 | 0.000 | 0.002 | 0.000 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.001 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 31 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 232 | 136 | 0.001 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 137 | 0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 32 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 233 | 137 | 0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 138 | 0.001 | 0.000 | -0.005 | 0.000 | -0.003 | 0.000 | 33 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 234 | 138 | 0.001 | 0.000 | -0.005 | 0.000 | -0.003 | 0.000 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 126 | 0.001 | 0.000 | -0.007 | 0.000 | -0.006 | 0.000 | 34 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 235 | 139 | 0.001 | 0.000 | -0.002 | 0.000 | 0.002 | 0.000 | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 140 | 0.001 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 35 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 236 | 140 | 0.001 | 0.000 | -0.003 | 0.000 | 0.001 | 0.000 | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 141 | 0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 36 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 237 | 141 | 0.001 | 0.000 | -0.004 | 0.000 | -0.001 | 0.000 | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 142 | 0.001 | 0.000 | -0.005 | 0.000 | -0.003 | 0.000 | 37 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 238 | 142 | 0.001 | 0.000 | -0.005 | 0.000 | -0.003 | 0.000 | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 128 | 0.001 | 0.000 | -0.006 | 0.000 | -0.005 | 0.000 | 38 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 39 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 40 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 81 | 77 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 82 | 125 | -0.001 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 99 | -0.001 | 0.000 | -0.004 | 0.000 | 0.000 | 0.000 |
| 43 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 83 | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 24 | -0.001 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | 84 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.001 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 90 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 85 | 34 | -0.006 | -0.001 | -0.001 | 0.000 | 0.000 | 0.003 |
|  | 102 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.006 | -0.001 | -0.001 | 0.000 | 0.000 | 0.002 |
| 46 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 86 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 25 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 87 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 88 | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 89 | 78 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.003 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 |
| 50 | 26 | -0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 90 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 92 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 91 | 13 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 92 | 13 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 24 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 27 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 93 | 14 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 15 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 94 | 14 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 25 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 95 | 15 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 96 | 15 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 26 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 94 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 97 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 27 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 29 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 99 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 100 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 28 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 101 | 18 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.001 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 102 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.001 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |  | 29 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 96 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 103 | 19 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 104 | 19 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 30 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 31 | 0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 105 | 20 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.001 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |  | 21 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 97 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 106 | 20 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 31 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 107 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 32 | 0.001 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 108 | 21 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.001 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  | 32 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 100 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 109 | 35 | -0.012 | -0.001 | 0.000 | 0.000 | 0.000 | 0.002 |
|  | 110 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | -0.012 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 70 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 110 | 35 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 34 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 111 | 36 | -0.010 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 45 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | -0.010 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 112 | 36 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 113 | 37 | -0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | -0.007 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 67 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 114 | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 78 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 115 | 38 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 116 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 117 | 39 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 33 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 78 | 127 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 118 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 79 | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 119 | 40 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.008 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 80 | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 120 | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | 0.012 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 161 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.012 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 162 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 123 | 42 | 0.014 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 | 163 | 68 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.014 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |  | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 124 | 42 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 164 | 68 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 125 | 43 | 0.009 | -0.001 | -0.001 | 0.000 | 0.000 | -0.002 | 165 | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.009 | -0.001 | -0.001 | 0.000 | 0.000 | -0.003 |  | 70 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 166 | 69 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 127 | 46 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 167 | 70 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 168 | 70 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 129 | 47 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 169 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 130 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 170 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 131 | 48 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 171 | 72 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 172 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 133 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 173 | 73 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 134 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 174 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 135 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 175 | 74 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 176 | 74 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 137 | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 177 | 75 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 138 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 178 | 75 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 139 | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 179 | 76 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 180 | 76 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 141 | 53 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 181 | 79 | -0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 54 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.008 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
| 142 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 182 | 79 | -0.001 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 90 | -0.001 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 |
| 143 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 183 | 80 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 144 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 184 | 80 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 91 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 145 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 185 | 81 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.001 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 146 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 186 | 81 | -0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 92 | -0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 147 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 148 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 188 | 82 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 93 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 149 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | 0.006 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.006 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 150 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 190 | 83 | 0.000 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 94 | 0.000 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 151 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | 0.010 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.010 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 152 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 192 | 84 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 95 | 0.000 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 153 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | 0.013 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.013 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
| 154 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 194 | 85 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 96 | 0.001 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 155 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.014 | -0.001 | 0.000 | 0.000 | 0.000 | -0.001 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.014 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
| 156 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 196 | 86 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 97 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 157 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.010 | -0.001 | 0.000 | 0.000 | 0.000 | -0.002 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.010 | -0.001 | 0.000 | 0.000 | 0.000 | -0.003 |
| 158 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 198 | 87 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 100 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 159 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 199 | 102 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 160 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 200 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 10 (Linear): COMB 1 (1)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 11 | 0.011 | 0.002 | 0.004 | 0.000 | -0.001 | 0.000 |
| 202 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 0.011 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 1 | 0.023 | -0.005 | 0.005 | -0.001 | -0.002 | 0.001 |
| 203 | 104 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.022 | -0.012 | 0.005 | -0.001 | 0.002 | -0.005 |
|  | 105 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 122 | 0.003 | 0.009 | 0.000 | 0.002 | 0.000 | -0.002 |
| 204 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 121 | 0.003 | 0.003 | 0.000 | 0.002 | 0.000 | 0.001 |
|  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 11 | 0.023 | -0.005 | -0.003 | 0.001 | 0.002 | 0.001 |
| 205 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.023 | -0.012 | -0.003 | 0.001 | 0.000 | -0.005 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 33 | -0.091 | 0.002 | 0.000 | 0.000 | 0.001 | 0.000 |
| 206 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | -0.091 | -0.002 | 0.000 | 0.000 | 0.001 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 99 | -0.021 | 0.003 | -0.003 | 0.000 | 0.001 | -0.001 |
| 207 | 106 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 98 | -0.021 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 107 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 32 | 0.031 | 0.002 | 0.020 | 0.000 | -0.005 | 0.000 |
| 208 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 0.031 | -0.001 | 0.020 | 0.000 | 0.006 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 31 | 0.313 | 0.002 | 0.025 | 0.000 | -0.007 | 0.000 |
| 209 | 107 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 0.313 | -0.001 | 0.025 | 0.000 | 0.007 | 0.000 |
|  | 108 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 30 | 0.560 | 0.002 | 0.018 | 0.000 | -0.005 | 0.000 |
| 210 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 0.560 | -0.001 | 0.018 | 0.000 | 0.005 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 29 | 0.695 | 0.002 | 0.006 | 0.000 | -0.002 | 0.000 |
| 211 | 108 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 0.695 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
|  | 109 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 28 | 0.696 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
| 212 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 0.696 | -0.002 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 27 | 0.565 | 0.001 | -0.017 | 0.000 | 0.005 | 0.000 |
| 213 | 109 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.565 | -0.002 | -0.017 | 0.000 | -0.005 | 0.000 |
|  | 110 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 26 | 0.328 | 0.001 | -0.024 | 0.000 | 0.007 | 0.000 |
| 214 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 0.328 | -0.002 | -0.024 | 0.000 | -0.007 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 25 | 0.069 | 0.001 | -0.018 | 0.000 | 0.006 | 0.000 |
| 215 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 24 | 0.069 | -0.002 | -0.018 | 0.000 | -0.005 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 24 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 98 | -0.021 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 217 | 34 | -0.001 | 0.000 | -0.001 | 0.000 | 0.004 | 0.000 | 97 | -0.021 | -0.003 | -0.003 | 0.000 | -0.003 | -0.001 |
|  | 131 | -0.001 | 0.000 | -0.003 | 0.000 | 0.003 | 0.000 | 17 97 | 0.277 | 0.002 | -0.023 | 0.000 | 0.007 | 0.000 |
| 218 | 78 | -0.001 | 0.000 | 0.002 | 0.000 | 0.003 | 0.000 | 96 | 0.277 | -0.001 | -0.023 | 0.000 | -0.006 | 0.000 |
|  | 44 | -0.001 | 0.000 | -0.001 | 0.000 | 0.003 | 0.000 | 18 96 | 0.534 | 0.002 | -0.015 | 0.000 | 0.005 | 0.000 |
| 219 | 125 | 0.001 | 0.000 | -0.001 | 0.000 | 0.004 | 0.000 | 95 | 0.534 | -0.001 | -0.015 | 0.000 | -0.004 | 0.000 |
|  | 135 | 0.001 | 0.000 | -0.003 | 0.000 | 0.003 | 0.000 | 19 95 | 0.675 | 0.002 | -0.005 | 0.000 | 0.003 | 0.000 |
| 220 | 127 | 0.001 | 0.000 | -0.001 | 0.000 | 0.004 | 0.000 | 94 | 0.675 | -0.001 | -0.005 | 0.000 | -0.001 | 0.000 |
|  | 139 | 0.001 | 0.000 | -0.003 | 0.000 | 0.003 | 0.000 | 20 94 | 0.683 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
| 221 | 99 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 93 | 0.683 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
|  | 111 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 93 | 0.563 | 0.001 | 0.014 | 0.000 | -0.003 | 0.000 |
| 222 | 33 | -0.001 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 | 92 | 0.563 | -0.002 | 0.014 | 0.000 | 0.005 | 0.000 |
|  | 127 | -0.001 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 | 22 92 | 0.342 | 0.001 | 0.019 | 0.000 | -0.005 | 0.000 |
| 223 | 44 | -0.001 | 0.000 | -0.001 | 0.000 | 0.003 | 0.000 | 91 | 0.342 | -0.002 | 0.019 | 0.000 | 0.006 | 0.000 |
|  | 88 | -0.001 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 | 23 91 | 0.090 | 0.001 | 0.014 | 0.000 | -0.005 | 0.000 |
| 224 | 88 | -0.001 | 0.000 | -0.003 | 0.000 | 0.002 | 0.000 | 90 | 0.090 | -0.002 | 0.014 | 0.000 | 0.003 | 0.000 |
|  | 129 | -0.001 | 0.000 | -0.006 | 0.000 | 0.000 | 0.000 | 24 90 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | -0.001 | 0.000 | -0.006 | 0.000 | 0.000 | 0.000 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | -0.001 | 0.000 | -0.009 | 0.000 | -0.004 | 0.000 | 25 10 | 0.024 | 0.002 | 0.004 | 0.000 | -0.001 | 0.000 |
| 226 | 130 | -0.001 | 0.000 | -0.009 | 0.000 | -0.004 | 0.000 | 9 | 0.024 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 124 | -0.001 | 0.000 | -0.011 | 0.000 | -0.010 | 0.000 | 26 9 | 0.031 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
| 227 | 131 | -0.001 | 0.000 | -0.003 | 0.000 | 0.003 | 0.000 | 8 | 0.031 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 132 | -0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 27 8 | 0.035 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | -0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 7 | 0.035 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 133 | -0.001 | 0.000 | -0.007 | 0.000 | -0.001 | 0.000 | 28 7 | 0.038 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | -0.001 | 0.000 | -0.007 | 0.000 | -0.001 | 0.000 | 6 | 0.038 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 134 | -0.001 | 0.000 | -0.009 | 0.000 | -0.005 | 0.000 | 29 6 | 0.038 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | -0.001 | 0.000 | -0.009 | 0.000 | -0.005 | 0.000 | 5 | 0.038 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | -0.001 | 0.000 | -0.012 | 0.000 | -0.010 | 0.000 | 30 5 | 0.036 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 0.001 | 0.000 | -0.003 | 0.000 | 0.003 | 0.000 | 4 | 0.036 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 31 4 | 0.034 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 |
| 232 | 136 | 0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 3 | 0.034 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 137 | 0.001 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 | 32 3 | 0.027 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
| 233 | 137 | 0.001 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 | 2 | 0.027 | -0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 138 | 0.001 | 0.000 | -0.010 | 0.000 | -0.005 | 0.000 | 33 2 | 0.012 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
| 234 | 138 | 0.001 | 0.000 | -0.010 | 0.000 | -0.005 | 0.000 | 1 | 0.012 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 |
|  | 126 | 0.001 | 0.000 | -0.012 | 0.000 | -0.010 | 0.000 | 34 121 | -0.020 | 0.014 | 0.001 | 0.000 | 0.000 | -0.001 |
| 235 | 139 | 0.001 | 0.000 | -0.003 | 0.000 | 0.003 | 0.000 | 120 | -0.020 | 0.008 | 0.001 | 0.000 | 0.000 | 0.005 |
|  | 140 | 0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 35 120 | -0.052 | 0.014 | 0.001 | 0.000 | 0.000 | 0.003 |
| 236 | 140 | 0.001 | 0.000 | -0.005 | 0.000 | 0.001 | 0.000 | 119 | -0.052 | 0.008 | 0.001 | 0.000 | 0.001 | 0.009 |
|  | 141 | 0.001 | 0.000 | -0.007 | 0.000 | -0.001 | 0.000 | 36 119 | -0.084 | 0.010 | 0.001 | 0.000 | 0.000 | 0.007 |
| 237 | 141 | 0.001 | 0.000 | -0.007 | 0.000 | -0.001 | 0.000 | 118 | -0.084 | 0.004 | 0.001 | 0.000 | 0.001 | 0.012 |
|  | 142 | 0.001 | 0.000 | -0.009 | 0.000 | -0.005 | 0.000 | 37 118 | -0.101 | 0.005 | 0.000 | 0.000 | 0.000 | 0.011 |
| 238 | 142 | 0.001 | 0.000 | -0.009 | 0.000 | -0.005 | 0.000 | 117 | -0.101 | -0.001 | 0.000 | 0.000 | 0.001 | 0.012 |
|  | 128 | 0.001 | 0.000 | -0.012 | 0.000 | -0.010 | 0.000 | 38 117 | -0.101 | 0.000 | 0.000 | 0.000 | 0.001 | 0.012 |
|  |  |  |  |  |  |  |  | 116 | -0.101 | -0.006 | 0.000 | 0.000 | 0.000 | 0.011 |
|  |  |  |  |  |  |  |  | 39 116 | -0.083 | -0.005 | -0.001 | 0.000 | 0.001 | 0.012 |
|  |  |  |  |  |  |  |  | 115 | -0.083 | -0.010 | -0.001 | 0.000 | 0.000 | 0.007 |
|  |  |  |  |  |  |  |  | 40 115 | -0.051 | -0.008 | -0.002 | 0.000 | 0.001 | 0.009 |
|  |  |  |  |  |  |  |  | 114 | -0.051 | -0.014 | -0.002 | 0.000 | 0.000 | 0.002 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.016 | -0.008 | -0.002 | 0.000 | 0.001 | 0.005 | 81 | 77 | 0.061 | -0.019 | -0.001 | 0.001 | 0.000 | 0.001 |
|  | 113 | -0.016 | -0.014 | -0.002 | 0.000 | 0.000 | -0.002 |  | 125 | 0.060 | -0.026 | -0.001 | 0.001 | 0.000 | -0.015 |
| 42 | 113 | 0.005 | -0.002 | 0.001 | -0.002 | 0.000 | 0.001 | 82 | 125 | 0.149 | 0.034 | -0.016 | -0.004 | 0.002 | -0.028 |
|  | 112 | 0.005 | -0.008 | 0.001 | -0.002 | 0.000 | -0.002 |  | 99 | 0.149 | 0.032 | -0.016 | -0.004 | -0.001 | -0.021 |
| 43 | 2 | 0.008 | -0.008 | 0.005 | 0.000 | -0.002 | 0.001 | 83 | 111 | 0.022 | 0.018 | 0.000 | -0.003 | 0.001 | -0.011 |
|  | 13 | 0.007 | -0.015 | 0.005 | 0.000 | 0.001 | -0.007 |  | 122 | 0.021 | 0.011 | 0.000 | -0.003 | 0.000 | -0.001 |
| 44 | 24 | 0.201 | -0.040 | 0.074 | 0.001 | -0.004 | -0.019 | 84 | 12 | 0.079 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.201 | -0.042 | 0.074 | 0.001 | 0.009 | -0.026 |  | 13 | 0.079 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 45 | 90 | 0.257 | 0.042 | 0.000 | 0.002 | -0.001 | -0.027 | 85 | 34 | 0.551 | 0.435 | -0.001 | 0.028 | 0.005 | -0.356 |
|  | 102 | 0.256 | 0.037 | 0.000 | 0.002 | -0.001 | -0.006 |  | 35 | 0.551 | 0.409 | -0.001 | 0.028 | 0.004 | -0.105 |
| 46 | 3 | 0.016 | -0.008 | 0.005 | 0.000 | -0.002 | 0.001 | 86 | 45 | 0.062 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 14 | 0.015 | -0.015 | 0.005 | 0.000 | 0.002 | -0.007 |  | 46 | 0.062 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 47 | 25 | 0.148 | -0.037 | 0.253 | 0.005 | -0.017 | -0.020 | 87 | 56 | 0.012 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.147 | -0.038 | 0.253 | 0.005 | 0.027 | -0.027 |  | 57 | 0.012 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.176 | 0.036 | 0.010 | 0.002 | -0.005 | -0.023 | 88 | 67 | 0.063 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.176 | 0.031 | 0.010 | 0.002 | 0.001 | -0.005 |  | 68 | 0.063 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 4 | 0.017 | -0.008 | 0.004 | 0.000 | -0.001 | 0.001 | 89 | 78 | 0.522 | 0.446 | 0.013 | -0.034 | -0.001 | -0.357 |
|  | 15 | 0.016 | -0.015 | 0.004 | 0.000 | 0.001 | -0.007 |  | 79 | 0.522 | 0.419 | 0.013 | -0.034 | 0.007 | -0.100 |
| 50 | 26 | 0.077 | -0.035 | 0.231 | 0.004 | -0.016 | -0.021 | 90 | 101 | 0.114 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 37 | 0.077 | -0.037 | 0.231 | 0.004 | 0.025 | -0.028 |  | 102 | 0.114 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 51 | 92 | 0.094 | 0.033 | 0.009 | 0.001 | -0.004 | -0.021 | 91 | 13 | 0.106 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 |
|  | 104 | 0.093 | 0.027 | 0.009 | 0.001 | 0.001 | -0.005 |  | 14 | 0.106 | -0.001 | -0.005 | 0.000 | -0.001 | 0.000 |
| 52 | 5 | 0.014 | -0.008 | 0.002 | 0.000 | -0.001 | 0.001 | 92 | 13 | 0.186 | -0.028 | 0.005 | -0.001 | -0.002 | -0.003 |
|  | 16 | 0.013 | -0.015 | 0.002 | 0.000 | 0.001 | -0.007 |  | 24 | 0.185 | -0.034 | 0.005 | -0.001 | 0.001 | -0.019 |
| 53 | 27 | 0.043 | -0.035 | 0.129 | 0.002 | -0.009 | -0.022 | 93 | 14 | 0.140 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.043 | -0.036 | 0.129 | 0.002 | 0.014 | -0.029 |  | 15 | 0.140 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 54 | 93 | 0.052 | 0.031 | 0.005 | 0.001 | -0.002 | -0.020 | 94 | 14 | 0.145 | -0.028 | -0.006 | -0.001 | 0.000 | -0.004 |
|  | 105 | 0.052 | 0.026 | 0.005 | 0.001 | 0.000 | -0.005 |  | 25 | 0.144 | -0.033 | -0.006 | -0.001 | -0.003 | -0.020 |
| 55 | 6 | 0.013 | -0.008 | 0.000 | 0.000 | 0.000 | 0.001 | 95 | 15 | 0.204 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.012 | -0.015 | 0.000 | 0.000 | 0.000 | -0.007 |  | 16 | 0.204 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 56 | 28 | 0.034 | -0.035 | -0.001 | 0.000 | 0.000 | -0.023 | 96 | 15 | 0.087 | -0.028 | -0.005 | -0.001 | 0.000 | -0.005 |
|  | 39 | 0.034 | -0.036 | -0.001 | 0.000 | 0.000 | -0.029 |  | 26 | 0.087 | -0.033 | -0.005 | -0.001 | -0.003 | -0.021 |
| 57 | 94 | 0.039 | 0.031 | -0.001 | 0.000 | 0.000 | -0.020 | 97 | 16 | 0.247 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.038 | 0.026 | -0.001 | 0.000 | 0.000 | -0.005 |  | 17 | 0.247 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |
| 58 | 7 | 0.014 | -0.008 | -0.002 | 0.000 | 0.001 | 0.001 | 98 | 16 | 0.056 | -0.028 | -0.003 | 0.000 | 0.000 | -0.006 |
|  | 18 | 0.013 | -0.015 | -0.002 | 0.000 | -0.001 | -0.007 |  | 27 | 0.056 | -0.033 | -0.003 | 0.000 | -0.002 | -0.022 |
| 59 | 29 | 0.047 | -0.035 | -0.132 | -0.003 | 0.009 | -0.022 | 99 | 17 | 0.250 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.047 | -0.036 | -0.132 | -0.003 | -0.014 | -0.028 |  | 18 | 0.250 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 0.048 | 0.031 | -0.008 | -0.001 | 0.003 | -0.020 | 100 | 17 | 0.047 | -0.028 | 0.000 | 0.000 | 0.000 | -0.006 |
|  | 107 | 0.047 | 0.026 | -0.008 | -0.001 | -0.001 | -0.005 |  | 28 | 0.047 | -0.033 | 0.000 | 0.000 | 0.000 | -0.022 |
| 61 | 8 | 0.017 | -0.008 | -0.004 | 0.000 | 0.001 | 0.001 | 101 | 18 | 0.214 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.016 | -0.015 | -0.004 | 0.000 | -0.001 | -0.007 |  | 19 | 0.214 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.085 | -0.035 | -0.240 | -0.005 | 0.017 | -0.021 | 102 | 18 | 0.058 | -0.028 | 0.004 | 0.000 | 0.000 | -0.006 |
|  | 41 | 0.085 | -0.037 | -0.240 | -0.005 | -0.025 | -0.028 |  | 29 | 0.058 | -0.033 | 0.004 | 0.000 | 0.002 | -0.022 |
| 63 | 96 | 0.086 | 0.033 | -0.014 | -0.001 | 0.005 | -0.021 | 103 | 19 | 0.155 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 108 | 0.085 | 0.027 | -0.014 | -0.001 | -0.002 | -0.005 |  | 20 | 0.155 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.017 | -0.008 | -0.005 | 0.000 | 0.002 | 0.001 | 104 | 19 | 0.090 | -0.028 | 0.007 | 0.001 | 0.000 | -0.005 |
|  | 20 | 0.016 | -0.015 | -0.005 | 0.000 | -0.002 | -0.007 |  | 30 | 0.090 | -0.033 | 0.007 | 0.001 | 0.003 | -0.021 |
| 65 | 31 | 0.157 | -0.037 | -0.275 | -0.005 | 0.019 | -0.020 | 105 | 20 | 0.121 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.157 | -0.038 | -0.275 | -0.005 | -0.030 | -0.026 |  | 21 | 0.121 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 66 | 97 | 0.150 | 0.036 | -0.019 | -0.002 | 0.008 | -0.023 | 106 | 20 | 0.150 | -0.028 | 0.008 | 0.001 | 0.000 | -0.004 |
|  | 109 | 0.150 | 0.031 | -0.019 | -0.002 | -0.002 | -0.005 |  | 31 | 0.149 | -0.033 | 0.008 | 0.001 | 0.004 | -0.020 |
| 67 | 10 | 0.008 | -0.008 | -0.006 | 0.000 | 0.002 | 0.001 | 107 | 21 | 0.096 | 0.001 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 21 | 0.007 | -0.015 | -0.006 | 0.000 | -0.002 | -0.007 |  | 22 | 0.096 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
| 68 | 32 | 0.196 | -0.039 | -0.123 | -0.002 | 0.007 | -0.019 | 108 | 21 | 0.176 | -0.028 | -0.001 | 0.001 | 0.001 | -0.003 |
|  | 43 | 0.196 | -0.041 | -0.123 | -0.002 | -0.014 | -0.026 |  | 32 | 0.176 | -0.033 | -0.001 | 0.001 | 0.001 | -0.020 |
| 69 | 100 | 0.244 | 0.042 | 0.010 | -0.001 | -0.002 | -0.026 | 109 | 35 | 0.211 | 0.318 | -0.051 | 0.014 | 0.015 | -0.140 |
|  | 110 | 0.244 | 0.037 | 0.010 | -0.001 | 0.003 | -0.006 |  | 36 | 0.211 | 0.309 | -0.051 | 0.014 | -0.016 | 0.046 |
| 70 | 12 | 0.129 | -0.019 | 0.002 | -0.001 | -0.001 | -0.003 | 110 | 35 | 0.181 | 0.033 | -0.005 | 0.000 | 0.002 | -0.018 |
|  | 34 | 0.128 | -0.026 | 0.002 | -0.001 | 0.001 | -0.019 |  | 46 | 0.180 | 0.026 | -0.005 | 0.000 | -0.002 | 0.003 |
| 71 | 34 | 0.072 | 0.023 | 0.004 | 0.001 | -0.002 | -0.012 | 111 | 36 | -0.592 | 0.226 | -0.051 | 0.007 | 0.014 | -0.036 |
|  | 45 | 0.071 | 0.016 | 0.004 | 0.001 | 0.001 | 0.002 |  | 37 | -0.592 | 0.217 | -0.051 | 0.007 | -0.017 | 0.096 |
| 72 | 45 | -0.042 | 0.010 | -0.003 | 0.000 | 0.001 | 0.000 | 112 | 36 | 0.125 | 0.033 | -0.012 | -0.001 | 0.005 | -0.021 |
|  | 56 | -0.043 | 0.003 | -0.003 | 0.000 | -0.001 | 0.004 |  | 47 | 0.124 | 0.026 | -0.012 | -0.001 | -0.004 | 0.000 |
| 73 | 56 | -0.049 | -0.003 | 0.003 | 0.000 | -0.001 | 0.004 | 113 | 37 | -1.222 | 0.138 | -0.035 | 0.003 | 0.008 | 0.032 |
|  | 67 | -0.050 | -0.010 | 0.003 | 0.000 | 0.001 | -0.001 |  | 38 | -1.222 | 0.129 | -0.035 | 0.003 | -0.013 | 0.111 |
| 74 | 67 | 0.055 | -0.017 | -0.001 | -0.001 | 0.000 | 0.002 | 114 | 37 | 0.052 | 0.034 | -0.011 | -0.001 | 0.004 | -0.023 |
|  | 78 | 0.054 | -0.024 | -0.001 | -0.001 | 0.000 | -0.012 |  | 48 | 0.051 | 0.027 | -0.011 | -0.001 | -0.003 | -0.002 |
| 75 | 78 | 0.138 | 0.031 | 0.001 | 0.003 | 0.000 | -0.028 | 115 | 38 | -1.562 | 0.050 | -0.012 | 0.001 | 0.001 | 0.076 |
|  | 101 | 0.137 | 0.024 | 0.001 | 0.003 | 0.001 | -0.008 |  | 39 | -1.562 | 0.041 | -0.012 | 0.001 | -0.006 | 0.104 |
| 76 | 101 | 0.023 | 0.018 | -0.001 | 0.003 | 0.000 | -0.011 | 116 | 38 | 0.010 | 0.034 | -0.006 | 0.000 | 0.002 | -0.025 |
|  | 112 | 0.022 | 0.011 | -0.001 | 0.003 | 0.000 | -0.001 |  | 49 | 0.009 | 0.027 | -0.006 | 0.000 | -0.002 | -0.003 |
| 77 | 22 | 0.134 | -0.019 | -0.014 | 0.001 | 0.002 | -0.003 | 117 | 39 | -1.570 | -0.037 | 0.013 | -0.002 | -0.006 | 0.103 |
|  | 33 | 0.133 | -0.025 | -0.014 | 0.001 | -0.005 | -0.015 |  | 40 | -1.570 | -0.046 | 0.013 | -0.002 | 0.001 | 0.078 |
| 78 | 127 | 0.046 | 0.021 | -0.004 | -0.001 | 0.002 | -0.009 | 118 | 39 | -0.005 | 0.034 | 0.000 | 0.000 | 0.000 | -0.025 |
|  | 55 | 0.045 | 0.014 | -0.004 | -0.001 | -0.001 | 0.004 |  | 50 | -0.006 | 0.027 | 0.000 | 0.000 | 0.000 | -0.003 |
| 79 | 55 | -0.063 | 0.008 | 0.003 | 0.000 | -0.001 | 0.001 | 119 | 40 | -1.243 | -0.124 | 0.036 | -0.004 | -0.013 | 0.111 |
|  | 66 | -0.063 | 0.001 | 0.003 | 0.000 | 0.001 | 0.004 |  | 41 | -1.243 | -0.133 | 0.036 | -0.004 | 0.009 | 0.034 |
| 80 | 66 | -0.059 | -0.005 | -0.003 | 0.000 | 0.001 | 0.004 | 120 | 40 | 0.004 | 0.034 | 0.005 | 0.000 | -0.002 | -0.025 |
|  | 77 | -0.060 | -0.012 | -0.003 | 0.000 | -0.001 | -0.002 |  | 51 | 0.003 | 0.027 | 0.005 | 0.000 | 0.002 | -0.003 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.622 | -0.212 | 0.053 | -0.008 | -0.017 | 0.097 | 161 | 65 | 0.012 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.622 | -0.222 | 0.053 | -0.008 | 0.014 | -0.032 |  | 66 | 0.012 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.039 | 0.033 | 0.010 | 0.001 | -0.004 | -0.023 | 162 | 65 | -0.018 | -0.008 | 0.000 | 0.000 | 0.000 | 0.005 |
|  | 52 | 0.039 | 0.026 | 0.010 | 0.001 | 0.003 | -0.002 |  | 76 | -0.019 | -0.015 | 0.000 | 0.000 | 0.000 | -0.003 |
| 123 | 42 | 0.185 | -0.303 | 0.058 | -0.015 | -0.017 | 0.050 | 163 | 68 | 0.098 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 43 | 0.185 | -0.312 | 0.058 | -0.015 | 0.017 | -0.133 |  | 69 | 0.098 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |
| 124 | 42 | 0.107 | 0.033 | 0.012 | 0.001 | -0.005 | -0.021 | 164 | 68 | 0.158 | -0.027 | 0.004 | 0.000 | -0.001 | 0.003 |
|  | 53 | 0.106 | 0.026 | 0.012 | 0.001 | 0.004 | 0.000 |  | 79 | 0.157 | -0.034 | 0.004 | 0.000 | 0.001 | -0.019 |
| 125 | 43 | 0.581 | -0.402 | -0.015 | -0.034 | 0.002 | -0.093 | 165 | 69 | 0.169 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 |
|  | 127 | 0.581 | -0.429 | -0.015 | -0.034 | -0.007 | -0.340 |  | 70 | 0.169 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 |
| 126 | 43 | 0.171 | 0.032 | 0.006 | 0.000 | -0.002 | -0.016 | 166 | 69 | 0.120 | -0.027 | 0.011 | 0.001 | -0.004 | -0.001 |
|  | 54 | 0.170 | 0.025 | 0.006 | 0.000 | 0.002 | 0.004 |  | 80 | 0.120 | -0.034 | 0.011 | 0.001 | 0.004 | -0.022 |
| 127 | 46 | 0.099 | 0.002 | 0.006 | 0.000 | -0.001 | 0.000 | 167 | 70 | 0.257 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 47 | 0.099 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |  | 71 | 0.257 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |
| 128 | 46 | -0.020 | 0.013 | -0.001 | 0.000 | 0.000 | -0.002 | 168 | 70 | 0.048 | -0.027 | 0.011 | 0.000 | -0.003 | -0.002 |
|  | 57 | -0.020 | 0.007 | -0.001 | 0.000 | -0.001 | 0.005 |  | 81 | 0.047 | -0.034 | 0.011 | 0.000 | 0.004 | -0.024 |
| 129 | 47 | 0.165 | 0.002 | 0.006 | 0.000 | -0.002 | 0.000 | 169 | 71 | 0.312 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.165 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |  | 72 | 0.312 | -0.002 | -0.001 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | -0.003 | 0.013 | 0.001 | 0.000 | -0.001 | -0.003 | 170 | 71 | 0.008 | -0.026 | 0.006 | 0.000 | -0.002 | -0.003 |
|  | 58 | -0.004 | 0.006 | 0.001 | 0.000 | 0.000 | 0.004 |  | 82 | 0.007 | -0.033 | 0.006 | 0.000 | 0.002 | -0.024 |
| 131 | 48 | 0.248 | 0.002 | 0.004 | 0.000 | -0.002 | 0.000 | 171 | 72 | 0.317 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.248 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |  | 73 | 0.317 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.010 | 0.013 | 0.001 | 0.000 | -0.001 | -0.004 | 172 | 72 | -0.003 | -0.026 | 0.000 | 0.000 | 0.000 | -0.003 |
|  | 59 | -0.011 | 0.006 | 0.001 | 0.000 | 0.000 | 0.003 |  | 83 | -0.004 | -0.033 | 0.000 | 0.000 | 0.000 | -0.024 |
| 133 | 49 | 0.299 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.271 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 50 | 0.299 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 74 | 0.271 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 134 | 49 | -0.023 | 0.014 | 0.001 | 0.000 | 0.000 | -0.004 | 174 | 73 | 0.009 | -0.026 | -0.006 | 0.000 | 0.002 | -0.003 |
|  | 60 | -0.023 | 0.007 | 0.001 | 0.000 | 0.000 | 0.003 |  | 84 | 0.008 | -0.033 | -0.006 | 0.000 | -0.002 | -0.024 |
| 135 | 50 | 0.299 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.188 | 0.002 | 0.005 | 0.000 | -0.002 | 0.000 |
|  | 51 | 0.299 | -0.002 | -0.001 | 0.000 | -0.001 | 0.000 |  | 75 | 0.188 | -0.002 | 0.005 | 0.000 | 0.001 | 0.000 |
| 136 | 50 | -0.027 | 0.014 | 0.000 | 0.000 | 0.000 | -0.004 | 176 | 74 | 0.048 | -0.027 | -0.011 | 0.000 | 0.003 | -0.002 |
|  | 61 | -0.028 | 0.007 | 0.000 | 0.000 | 0.000 | 0.003 |  | 85 | 0.047 | -0.034 | -0.011 | 0.000 | -0.004 | -0.024 |
| 137 | 51 | 0.249 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 | 177 | 75 | 0.112 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 52 | 0.249 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 |  | 76 | 0.112 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 138 | 51 | -0.024 | 0.014 | -0.001 | 0.000 | 0.000 | -0.004 | 178 | 75 | 0.132 | -0.028 | -0.012 | -0.001 | 0.004 | -0.001 |
|  | 62 | -0.025 | 0.007 | -0.001 | 0.000 | 0.000 | 0.003 |  | 86 | 0.131 | -0.035 | -0.012 | -0.001 | -0.005 | -0.023 |
| 139 | 52 | 0.165 | 0.002 | -0.005 | 0.000 | 0.001 | 0.000 | 179 | 76 | 0.074 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.165 | -0.002 | -0.005 | 0.000 | -0.002 | 0.000 |  | 77 | 0.074 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | -0.013 | 0.013 | -0.001 | 0.000 | 0.001 | -0.003 | 180 | 76 | 0.166 | -0.028 | -0.004 | 0.000 | 0.002 | 0.002 |
|  | 63 | -0.014 | 0.006 | -0.001 | 0.000 | 0.000 | 0.003 |  | 87 | 0.165 | -0.035 | -0.004 | 0.000 | -0.001 | -0.020 |
| 141 | 53 | 0.096 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 | 181 | 79 | 0.155 | 0.328 | 0.018 | -0.015 | -0.001 | -0.140 |
|  | 54 | 0.096 | -0.002 | -0.006 | 0.000 | -0.001 | 0.000 |  | 80 | 0.155 | 0.319 | 0.018 | -0.015 | 0.010 | 0.052 |
| 142 | 53 | -0.002 | 0.013 | -0.001 | 0.000 | 0.001 | -0.003 | 182 | 79 | 0.272 | 0.048 | -0.090 | -0.001 | 0.012 | -0.035 |
|  | 64 | -0.003 | 0.006 | -0.001 | 0.000 | 0.000 | 0.004 |  | 90 | 0.272 | 0.046 | -0.090 | -0.001 | -0.004 | -0.026 |
| 143 | 54 | 0.057 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 | 183 | 80 | -0.646 | 0.234 | 0.022 | -0.006 | -0.007 | -0.035 |
|  | 55 | 0.057 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |  | 81 | -0.646 | 0.225 | 0.022 | -0.006 | 0.006 | 0.101 |
| 144 | 54 | -0.016 | 0.012 | 0.001 | 0.000 | 0.000 | -0.001 | 184 | 80 | 0.185 | 0.041 | -0.241 | -0.006 | 0.028 | -0.029 |
|  | 65 | -0.016 | 0.005 | 0.001 | 0.000 | 0.001 | 0.005 |  | 91 | 0.185 | 0.039 | -0.241 | -0.006 | -0.015 | -0.022 |
| 145 | 57 | 0.058 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 | 185 | 81 | -1.265 | 0.142 | 0.017 | -0.003 | -0.008 | 0.032 |
|  | 58 | 0.058 | -0.002 | 0.002 | 0.000 | 0.001 | 0.000 |  | 82 | -1.265 | 0.133 | 0.017 | -0.003 | 0.002 | 0.114 |
| 146 | 57 | -0.028 | -0.006 | 0.000 | 0.000 | 0.000 | 0.005 | 186 | 81 | 0.092 | 0.038 | -0.212 | -0.006 | 0.024 | -0.027 |
|  | 68 | -0.029 | -0.013 | 0.000 | 0.000 | 0.000 | -0.002 |  | 92 | 0.091 | 0.036 | -0.212 | -0.006 | -0.014 | -0.021 |
| 147 | 58 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -1.596 | 0.051 | 0.005 | -0.001 | -0.006 | 0.077 |
|  | 59 | 0.105 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -1.596 | 0.042 | 0.005 | -0.001 | -0.002 | 0.105 |
| 148 | 58 | -0.002 | -0.007 | -0.001 | 0.000 | 0.000 | 0.004 | 188 | 82 | 0.045 | 0.037 | -0.115 | -0.003 | 0.013 | -0.026 |
|  | 69 | -0.003 | -0.014 | -0.001 | 0.000 | -0.001 | -0.004 |  | 93 | 0.045 | 0.035 | -0.115 | -0.003 | -0.007 | -0.020 |
| 149 | 59 | 0.134 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -1.600 | -0.039 | -0.008 | 0.000 | -0.002 | 0.105 |
|  | 60 | 0.134 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -1.600 | -0.048 | -0.008 | 0.000 | -0.007 | 0.079 |
| 150 | 59 | -0.009 | -0.007 | 0.000 | 0.000 | 0.000 | 0.003 | 190 | 83 | 0.029 | 0.037 | 0.007 | 0.000 | -0.001 | -0.026 |
|  | 70 | -0.010 | -0.014 | 0.000 | 0.000 | 0.000 | -0.004 |  | 94 | 0.029 | 0.035 | 0.007 | 0.000 | 0.001 | -0.020 |
| 151 | 60 | 0.150 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -1.274 | -0.130 | -0.021 | 0.002 | 0.003 | 0.115 |
|  | 61 | 0.150 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -1.274 | -0.139 | -0.021 | 0.002 | -0.010 | 0.035 |
| 152 | 60 | -0.022 | -0.006 | 0.000 | 0.000 | 0.000 | 0.003 | 192 | 84 | 0.037 | 0.037 | 0.132 | 0.004 | -0.014 | -0.027 |
|  | 71 | -0.022 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |  | 95 | 0.037 | 0.035 | 0.132 | 0.004 | 0.009 | -0.020 |
| 153 | 61 | 0.151 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | -0.646 | -0.222 | -0.030 | 0.005 | 0.008 | 0.105 |
|  | 62 | 0.151 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | -0.646 | -0.232 | -0.030 | 0.005 | -0.010 | -0.030 |
| 154 | 61 | -0.026 | -0.006 | 0.000 | 0.000 | 0.000 | 0.003 | 194 | 85 | 0.075 | 0.038 | 0.243 | 0.006 | -0.027 | -0.028 |
|  | 72 | -0.027 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |  | 96 | 0.075 | 0.036 | 0.243 | 0.006 | 0.016 | -0.021 |
| 155 | 62 | 0.135 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.180 | -0.317 | -0.019 | 0.014 | 0.011 | 0.062 |
|  | 63 | 0.135 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.180 | -0.326 | -0.019 | 0.014 | 0.000 | -0.129 |
| 156 | 62 | -0.023 | -0.006 | 0.000 | 0.000 | 0.000 | 0.003 | 196 | 86 | 0.168 | 0.041 | 0.280 | 0.007 | -0.032 | -0.029 |
|  | 73 | -0.023 | -0.013 | 0.000 | 0.000 | 0.000 | -0.004 |  | 97 | 0.167 | 0.039 | 0.280 | 0.007 | 0.017 | -0.022 |
| 157 | 63 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.524 | -0.413 | -0.001 | 0.031 | -0.001 | -0.093 |
|  | 64 | 0.105 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.524 | -0.439 | -0.001 | 0.031 | -0.001 | -0.346 |
| 158 | 63 | -0.011 | -0.007 | 0.000 | 0.000 | 0.000 | 0.003 | 198 | 87 | 0.244 | 0.044 | 0.010 | -0.001 | -0.004 | -0.034 |
|  | 74 | -0.011 | -0.014 | 0.000 | 0.000 | 0.000 | -0.004 |  | 100 | 0.244 | 0.042 | 0.010 | -0.001 | -0.002 | -0.026 |
| 159 | 64 | 0.058 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 | 199 | 102 | 0.155 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.058 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |  | 103 | 0.155 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 160 | 64 | 0.007 | -0.008 | 0.001 | 0.000 | 0.000 | 0.004 | 200 | 102 | 0.027 | 0.023 | 0.000 | 0.002 | 0.000 | -0.012 |
|  | 75 | 0.006 | -0.015 | 0.001 | 0.000 | 0.001 | -0.004 |  | 113 | 0.027 | 0.016 | 0.000 | 0.002 | 0.000 | 0.003 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 20 (Linear): COMB 2 (1+2+4)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.206 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.206 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 | 1 11 | 0.012 | 0.002 | 0.005 | 0.000 | -0.002 | 0.000 |
| 202 | 103 | 0.017 | 0.018 | 0.001 | 0.001 | 0.000 | -0.009 | 10 | 0.012 | 0.000 | 0.005 | 0.000 | 0.001 | 0.000 |
|  | 114 | 0.016 | 0.011 | 0.001 | 0.001 | 0.000 | 0.001 | 2 1 | 0.025 | -0.007 | 0.006 | -0.001 | -0.002 | 0.001 |
| 203 | 104 | 0.284 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.024 | -0.012 | 0.006 | -0.001 | 0.002 | -0.005 |
|  | 105 | 0.284 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 3 122 | 0.002 | 0.009 | 0.000 | 0.002 | 0.000 | -0.002 |
| 204 | 104 | 0.008 | 0.014 | 0.001 | 0.001 | -0.001 | -0.007 | 121 | 0.002 | 0.004 | 0.000 | 0.002 | 0.000 | 0.002 |
|  | 115 | 0.007 | 0.007 | 0.001 | 0.001 | 0.000 | 0.001 | 4 11 | 0.026 | -0.007 | -0.003 | 0.001 | 0.002 | 0.001 |
| 205 | 105 | 0.335 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 0.025 | -0.012 | -0.003 | 0.001 | -0.001 | -0.006 |
|  | 106 | 0.335 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 5 33 | -0.106 | 0.001 | 0.000 | 0.000 | 0.001 | 0.000 |
| 206 | 105 | -0.001 | 0.013 | 0.001 | 0.001 | 0.000 | -0.006 | 32 | -0.106 | -0.001 | 0.000 | 0.000 | 0.001 | 0.000 |
|  | 116 | -0.001 | 0.006 | 0.001 | 0.001 | 0.000 | 0.001 | 6 99 | -0.026 | 0.002 | -0.003 | 0.000 | 0.001 | -0.001 |
| 207 | 106 | 0.338 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 | 98 | -0.026 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 107 | 0.338 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 7 32 | 0.036 | 0.001 | 0.023 | 0.000 | -0.006 | 0.000 |
| 208 | 106 | -0.004 | 0.013 | 0.000 | 0.000 | 0.000 | -0.006 | 31 | 0.036 | -0.001 | 0.023 | 0.000 | 0.008 | 0.000 |
|  | 117 | -0.004 | 0.006 | 0.000 | 0.000 | 0.000 | 0.001 | 8 31 | 0.365 | 0.001 | 0.029 | 0.000 | -0.009 | 0.000 |
| 209 | 107 | 0.293 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 | 30 | 0.365 | -0.001 | 0.029 | 0.000 | 0.009 | 0.000 |
|  | 108 | 0.293 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 9 30 | 0.652 | 0.001 | 0.020 | 0.000 | -0.006 | 0.000 |
| 210 | 107 | -0.001 | 0.013 | 0.000 | -0.001 | 0.000 | -0.006 | 29 | 0.652 | -0.001 | 0.020 | 0.000 | 0.006 | 0.000 |
|  | 118 | -0.001 | 0.006 | 0.000 | -0.001 | 0.000 | 0.001 | 10 29 | 0.810 | 0.001 | 0.007 | 0.000 | -0.002 | 0.000 |
| 211 | 108 | 0.220 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 | 28 | 0.810 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 109 | 0.220 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 | 11 28 | 0.811 | 0.001 | -0.007 | 0.000 | 0.002 | 0.000 |
| 212 | 108 | 0.008 | 0.014 | -0.001 | -0.001 | 0.000 | -0.007 | 27 | 0.811 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
|  | 119 | 0.007 | 0.008 | -0.001 | -0.001 | 0.000 | 0.001 | 12 27 | 0.658 | 0.001 | -0.020 | 0.000 | 0.006 | 0.000 |
| 213 | 109 | 0.168 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 0.658 | -0.001 | -0.020 | 0.000 | -0.006 | 0.000 |
|  | 110 | 0.168 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 13 26 | 0.382 | 0.001 | -0.028 | 0.000 | 0.008 | 0.000 |
| 214 | 109 | 0.014 | 0.018 | 0.000 | -0.001 | 0.000 | -0.009 | 25 | 0.382 | -0.001 | -0.028 | 0.000 | -0.008 | 0.000 |
|  | 120 | 0.013 | 0.011 | 0.000 | -0.001 | 0.000 | 0.001 | 14 25 | 0.081 | 0.001 | -0.021 | 0.000 | 0.007 | 0.000 |
| 215 | 110 | 0.120 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 | 24 | 0.081 | -0.001 | -0.021 | 0.000 | -0.005 | 0.000 |
|  | 111 | 0.120 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 | 15 24 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.027 | 0.023 | -0.002 | -0.002 | 0.001 | -0.011 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.027 | 0.016 | -0.002 | -0.002 | 0.000 | 0.003 | 16 98 | -0.026 | 0.000 | -0.003 | 0.000 | -0.001 | 0.000 |
| 217 | 34 | 0.488 | 0.019 | 0.265 | 0.006 | -0.389 | -0.031 | 97 | -0.026 | -0.002 | -0.003 | 0.000 | -0.003 | 0.000 |
|  | 131 | 0.522 | 0.019 | 0.265 | 0.006 | -0.272 | -0.022 | 17 97 | 0.314 | 0.002 | -0.026 | 0.000 | 0.009 | 0.000 |
| 218 | 78 | 0.507 | -0.031 | 0.224 | 0.003 | -0.392 | 0.053 | 96 | 0.314 | -0.001 | -0.026 | 0.000 | -0.007 | 0.000 |
|  | 44 | 0.548 | -0.031 | 0.224 | 0.003 | -0.273 | 0.037 | 18 96 | 0.609 | 0.001 | -0.017 | 0.000 | 0.006 | 0.000 |
| 219 | 125 | 0.507 | -0.022 | -0.240 | -0.001 | 0.382 | 0.041 | 95 | 0.609 | -0.001 | -0.017 | 0.000 | -0.004 | 0.000 |
|  | 135 | 0.542 | -0.022 | -0.240 | -0.001 | 0.273 | 0.031 | 19 95 | 0.769 | 0.001 | -0.006 | 0.000 | 0.003 | 0.000 |
| 220 | 127 | 0.479 | 0.034 | -0.250 | -0.004 | 0.377 | -0.043 | 94 | 0.769 | -0.001 | -0.006 | 0.000 | -0.001 | 0.000 |
|  | 139 | 0.512 | 0.034 | -0.250 | -0.004 | 0.267 | -0.028 | 20 94 | 0.779 | 0.001 | 0.006 | 0.000 | -0.001 | 0.000 |
| 221 | 99 | 0.145 | 0.029 | 0.005 | -0.003 | -0.002 | -0.021 | 93 | 0.779 | -0.001 | 0.006 | 0.000 | 0.003 | 0.000 |
|  | 111 | 0.145 | 0.024 | 0.005 | -0.003 | 0.001 | -0.008 | 21 93 | 0.642 | 0.001 | 0.016 | 0.000 | -0.004 | 0.000 |
| 222 | 33 | 0.132 | -0.027 | 0.077 | 0.004 | -0.005 | -0.015 | 92 | 0.642 | -0.001 | 0.016 | 0.000 | 0.006 | 0.000 |
|  | 127 | 0.132 | -0.028 | 0.077 | 0.004 | 0.007 | -0.019 | 22 92 | 0.389 | 0.001 | 0.022 | 0.000 | -0.006 | 0.000 |
| 223 | 44 | 0.548 | -0.031 | 0.224 | 0.003 | -0.273 | 0.037 | 91 | 0.389 | -0.002 | 0.022 | 0.000 | 0.007 | 0.000 |
|  | 88 | 0.562 | -0.031 | 0.224 | 0.003 | -0.154 | 0.021 | 23 91 | 0.103 | 0.001 | 0.016 | 0.000 | -0.006 | 0.000 |
| 224 | 88 | 0.562 | -0.031 | 0.224 | 0.003 | -0.154 | 0.021 | 90 | 0.103 | -0.002 | 0.016 | 0.000 | 0.004 | 0.000 |
|  | 129 | 0.577 | -0.031 | 0.224 | 0.003 | -0.035 | 0.005 | 24 90 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | 0.577 | -0.031 | 0.224 | 0.003 | -0.035 | 0.005 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 0.591 | -0.031 | 0.224 | 0.003 | 0.084 | -0.012 | 25 10 | 0.027 | 0.002 | 0.004 | 0.000 | -0.001 | 0.000 |
| 226 | 130 | 0.591 | -0.031 | 0.224 | 0.003 | 0.084 | -0.012 | 9 | 0.027 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 124 | 0.605 | -0.031 | 0.224 | 0.003 | 0.204 | -0.028 | 26 9 | 0.035 | 0.002 | 0.004 | 0.000 | -0.001 | 0.000 |
| 227 | 131 | 0.522 | 0.019 | 0.265 | 0.006 | -0.272 | -0.022 | 8 | 0.035 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 132 | 0.534 | 0.019 | 0.265 | 0.006 | -0.156 | -0.014 | 27 8 | 0.040 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.534 | 0.019 | 0.265 | 0.006 | -0.156 | -0.014 | 7 | 0.040 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 133 | 0.545 | 0.019 | 0.265 | 0.006 | -0.039 | -0.005 | 28 7 | 0.044 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.545 | 0.019 | 0.265 | 0.006 | -0.039 | -0.005 | 6 | 0.044 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 134 | 0.557 | 0.019 | 0.265 | 0.006 | 0.078 | 0.003 | 29 6 | 0.045 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | 0.557 | 0.019 | 0.265 | 0.006 | 0.078 | 0.003 | 5 | 0.045 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.569 | 0.019 | 0.265 | 0.006 | 0.195 | 0.011 | 30 5 | 0.042 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 0.542 | -0.022 | -0.240 | -0.001 | 0.273 | 0.031 | 4 | 0.042 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.554 | -0.022 | -0.240 | -0.001 | 0.165 | 0.021 | 31 4 | 0.039 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
| 232 | 136 | 0.554 | -0.022 | -0.240 | -0.001 | 0.165 | 0.021 | 3 | 0.039 | -0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 137 | 0.566 | -0.022 | -0.240 | -0.001 | 0.057 | 0.011 | 32 3 | 0.030 | 0.000 | -0.004 | 0.000 | 0.001 | 0.000 |
| 233 | 137 | 0.566 | -0.022 | -0.240 | -0.001 | 0.057 | 0.011 | 2 | 0.030 | -0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 138 | 0.578 | -0.022 | -0.240 | -0.001 | -0.051 | 0.001 | 33 2 | 0.013 | 0.000 | -0.006 | 0.000 | 0.001 | 0.000 |
| 234 | 138 | 0.578 | -0.022 | -0.240 | -0.001 | -0.051 | 0.001 | 1 | 0.013 | -0.002 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 126 | 0.590 | -0.022 | -0.240 | -0.001 | -0.159 | -0.009 | 34 121 | -0.024 | 0.014 | 0.002 | 0.000 | 0.000 | -0.001 |
| 235 | 139 | 0.512 | 0.034 | -0.250 | -0.004 | 0.267 | -0.028 | 120 | -0.024 | 0.009 | 0.002 | 0.000 | 0.000 | 0.006 |
|  | 140 | 0.524 | 0.034 | -0.250 | -0.004 | 0.157 | -0.013 | 35 120 | -0.058 | 0.014 | 0.001 | 0.000 | 0.000 | 0.004 |
| 236 | 140 | 0.524 | 0.034 | -0.250 | -0.004 | 0.157 | -0.013 | 119 | -0.058 | 0.009 | 0.001 | 0.000 | 0.001 | 0.010 |
|  | 141 | 0.536 | 0.034 | -0.250 | -0.004 | 0.047 | 0.002 | 36 119 | -0.093 | 0.010 | 0.001 | 0.000 | 0.000 | 0.008 |
| 237 | 141 | 0.536 | 0.034 | -0.250 | -0.004 | 0.047 | 0.002 | 118 | -0.093 | 0.006 | 0.001 | 0.000 | 0.001 | 0.013 |
|  | 142 | 0.548 | 0.034 | -0.250 | -0.004 | -0.063 | 0.017 | 37 118 | -0.111 | 0.005 | 0.000 | 0.000 | 0.001 | 0.012 |
| 238 | 142 | 0.548 | 0.034 | -0.250 | -0.004 | -0.063 | 0.017 | 117 | -0.111 | 0.000 | 0.000 | 0.000 | 0.001 | 0.014 |
|  | 128 | 0.559 | 0.034 | -0.250 | -0.004 | -0.172 | 0.032 | 38 117 | -0.111 | -0.001 | 0.000 | 0.000 | 0.001 | 0.014 |
|  |  |  |  |  |  |  |  | 116 | -0.111 | -0.005 | 0.000 | 0.000 | 0.001 | 0.012 |
|  |  |  |  |  |  |  |  | 39 116 | -0.092 | -0.006 | -0.001 | 0.000 | 0.001 | 0.013 |
|  |  |  |  |  |  |  |  | 115 | -0.092 | -0.010 | -0.001 | 0.000 | 0.000 | 0.008 |
|  |  |  |  |  |  |  |  | 40 115 | -0.057 | -0.010 | -0.002 | 0.000 | 0.001 | 0.010 |
|  |  |  |  |  |  |  |  | 114 | -0.057 | -0.014 | -0.002 | 0.000 | 0.000 | 0.003 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.019 | -0.010 | -0.002 | -0.001 | 0.001 | 0.005 | 81 | 77 | 0.072 | -0.022 | -0.001 | 0.001 | 0.000 | 0.001 |
|  | 113 | -0.019 | -0.014 | -0.002 | -0.001 | 0.000 | -0.002 |  | 125 | 0.072 | -0.027 | -0.001 | 0.001 | 0.000 | -0.016 |
| 42 | 113 | 0.004 | -0.004 | 0.001 | -0.002 | 0.000 | 0.001 | 82 | 125 | 0.164 | 0.035 | -0.021 | -0.004 | 0.003 | -0.030 |
|  | 112 | 0.004 | -0.008 | 0.001 | -0.002 | 0.000 | -0.003 |  | 99 | 0.163 | 0.033 | -0.021 | -0.004 | -0.002 | -0.023 |
| 43 | 2 | 0.008 | -0.011 | 0.006 | -0.001 | -0.003 | 0.001 | 83 | 111 | 0.022 | 0.018 | 0.000 | -0.003 | 0.001 | -0.012 |
|  | 13 | 0.008 | -0.016 | 0.006 | -0.001 | 0.001 | -0.008 |  | 122 | 0.022 | 0.013 | 0.000 | -0.003 | 0.000 | -0.001 |
| 44 | 24 | 0.236 | -0.045 | 0.087 | 0.001 | -0.005 | -0.022 | 84 | 12 | 0.092 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.236 | -0.046 | 0.087 | 0.001 | 0.011 | -0.030 |  | 13 | 0.092 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 45 | 90 | 0.285 | 0.048 | 0.000 | 0.002 | -0.001 | -0.030 | 85 | 34 | 0.641 | 0.497 | -0.001 | 0.032 | 0.005 | -0.413 |
|  | 102 | 0.285 | 0.044 | 0.000 | 0.002 | -0.001 | -0.005 |  | 35 | 0.641 | 0.478 | -0.001 | 0.032 | 0.005 | -0.123 |
| 46 | 3 | 0.017 | -0.011 | 0.006 | 0.000 | -0.002 | 0.001 | 86 | 45 | 0.072 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 14 | 0.017 | -0.016 | 0.006 | 0.000 | 0.002 | -0.008 |  | 46 | 0.072 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
| 47 | 25 | 0.174 | -0.042 | 0.295 | 0.005 | -0.020 | -0.023 | 87 | 56 | 0.014 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.173 | -0.043 | 0.295 | 0.005 | 0.032 | -0.031 |  | 57 | 0.014 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.196 | 0.041 | 0.012 | 0.002 | -0.005 | -0.025 | 88 | 67 | 0.073 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.195 | 0.037 | 0.012 | 0.002 | 0.001 | -0.005 |  | 68 | 0.073 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 4 | 0.018 | -0.010 | 0.004 | 0.000 | -0.002 | 0.001 | 89 | 78 | 0.594 | 0.501 | 0.015 | -0.034 | -0.001 | -0.407 |
|  | 15 | 0.018 | -0.016 | 0.004 | 0.000 | 0.001 | -0.008 |  | 79 | 0.594 | 0.481 | 0.015 | -0.034 | 0.008 | -0.115 |
| 50 | 26 | 0.091 | -0.040 | 0.269 | 0.005 | -0.019 | -0.025 | 90 | 101 | 0.127 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 37 | 0.091 | -0.041 | 0.269 | 0.005 | 0.029 | -0.033 |  | 102 | 0.127 | -0.001 | 0.003 | 0.000 | 0.001 | 0.000 |
| 51 | 92 | 0.103 | 0.037 | 0.011 | 0.001 | -0.005 | -0.023 | 91 | 13 | 0.124 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 |
|  | 104 | 0.102 | 0.033 | 0.011 | 0.001 | 0.001 | -0.005 |  | 14 | 0.124 | -0.001 | -0.005 | 0.000 | -0.001 | 0.000 |
| 52 | 5 | 0.015 | -0.010 | 0.002 | 0.000 | -0.001 | 0.001 | 92 | 13 | 0.218 | -0.035 | 0.006 | -0.001 | -0.002 | -0.003 |
|  | 16 | 0.014 | -0.016 | 0.002 | 0.000 | 0.001 | -0.008 |  | 24 | 0.217 | -0.039 | 0.006 | -0.001 | 0.001 | -0.023 |
| 53 | 27 | 0.051 | -0.039 | 0.150 | 0.003 | -0.011 | -0.026 | 93 | 14 | 0.164 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 38 | 0.050 | -0.041 | 0.150 | 0.003 | 0.016 | -0.033 |  | 15 | 0.164 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 54 | 93 | 0.055 | 0.036 | 0.005 | 0.001 | -0.002 | -0.022 | 94 | 14 | 0.170 | -0.035 | -0.007 | -0.001 | -0.001 | -0.004 |
|  | 105 | 0.055 | 0.032 | 0.005 | 0.001 | 0.000 | -0.005 |  | 25 | 0.170 | -0.039 | -0.007 | -0.001 | -0.004 | -0.024 |
| 55 | 6 | 0.013 | -0.010 | 0.000 | 0.000 | 0.000 | 0.001 | 95 | 15 | 0.238 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.013 | -0.016 | 0.000 | 0.000 | 0.000 | -0.008 |  | 16 | 0.238 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 56 | 28 | 0.040 | -0.039 | -0.001 | 0.000 | 0.000 | -0.027 | 96 | 15 | 0.102 | -0.035 | -0.006 | -0.001 | 0.000 | -0.006 |
|  | 39 | 0.040 | -0.040 | -0.001 | 0.000 | 0.000 | -0.034 |  | 26 | 0.102 | -0.038 | -0.006 | -0.001 | -0.004 | -0.025 |
| 57 | 94 | 0.039 | 0.035 | -0.002 | 0.000 | 0.001 | -0.022 | 97 | 16 | 0.288 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.039 | 0.031 | -0.002 | 0.000 | 0.000 | -0.005 |  | 17 | 0.288 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 58 | 7 | 0.015 | -0.010 | -0.002 | 0.000 | 0.001 | 0.001 | 98 | 16 | 0.066 | -0.034 | -0.003 | 0.000 | 0.000 | -0.007 |
|  | 18 | 0.014 | -0.016 | -0.002 | 0.000 | -0.001 | -0.008 |  | 27 | 0.065 | -0.038 | -0.003 | 0.000 | -0.002 | -0.026 |
| 59 | 29 | 0.056 | -0.039 | -0.154 | -0.003 | 0.011 | -0.026 | 99 | 17 | 0.292 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
|  | 40 | 0.056 | -0.041 | -0.154 | -0.003 | -0.016 | -0.033 |  | 18 | 0.292 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 0.050 | 0.036 | -0.009 | -0.001 | 0.004 | -0.023 | 100 | 17 | 0.055 | -0.034 | 0.000 | 0.000 | 0.000 | -0.007 |
|  | 107 | 0.049 | 0.032 | -0.009 | -0.001 | -0.001 | -0.005 |  | 28 | 0.055 | -0.038 | 0.000 | 0.000 | 0.000 | -0.026 |
| 61 | 8 | 0.018 | -0.010 | -0.005 | 0.000 | 0.002 | 0.001 | 101 | 18 | 0.250 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.017 | -0.016 | -0.005 | 0.000 | -0.002 | -0.008 |  | 19 | 0.250 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.100 | -0.040 | -0.279 | -0.005 | 0.020 | -0.025 | 102 | 18 | 0.068 | -0.034 | 0.004 | 0.000 | 0.000 | -0.007 |
|  | 41 | 0.100 | -0.041 | -0.279 | -0.005 | -0.030 | -0.032 |  | 29 | 0.068 | -0.038 | 0.004 | 0.000 | 0.002 | -0.026 |
| 63 | 96 | 0.093 | 0.037 | -0.016 | -0.002 | 0.006 | -0.023 | 103 | 19 | 0.181 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 108 | 0.093 | 0.033 | -0.016 | -0.002 | -0.002 | -0.005 |  | 20 | 0.181 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.018 | -0.011 | -0.006 | 0.000 | 0.002 | 0.001 | 104 | 19 | 0.106 | -0.034 | 0.008 | 0.001 | 0.000 | -0.006 |
|  | 20 | 0.018 | -0.016 | -0.006 | 0.000 | -0.002 | -0.008 |  | 30 | 0.105 | -0.038 | 0.008 | 0.001 | 0.004 | -0.025 |
| 65 | 31 | 0.184 | -0.042 | -0.320 | -0.006 | 0.022 | -0.023 | 105 | 20 | 0.141 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.184 | -0.043 | -0.320 | -0.006 | -0.034 | -0.031 |  | 21 | 0.141 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |
| 66 | 97 | 0.166 | 0.041 | -0.022 | -0.002 | 0.009 | -0.026 | 106 | 20 | 0.175 | -0.035 | 0.009 | 0.001 | 0.000 | -0.004 |
|  | 109 | 0.166 | 0.037 | -0.022 | -0.002 | -0.003 | -0.005 |  | 31 | 0.175 | -0.039 | 0.009 | 0.001 | 0.005 | -0.024 |
| 67 | 10 | 0.009 | -0.011 | -0.007 | 0.001 | 0.003 | 0.001 | 107 | 21 | 0.112 | 0.001 | 0.006 | 0.000 | -0.001 | 0.000 |
|  | 21 | 0.008 | -0.016 | -0.007 | 0.001 | -0.002 | -0.008 |  | 22 | 0.112 | -0.001 | 0.006 | 0.000 | 0.002 | 0.000 |
| 68 | 32 | 0.230 | -0.044 | -0.143 | -0.002 | 0.009 | -0.022 | 108 | 21 | 0.206 | -0.035 | -0.001 | 0.001 | 0.001 | -0.003 |
|  | 43 | 0.230 | -0.045 | -0.143 | -0.002 | -0.016 | -0.030 |  | 32 | 0.206 | -0.039 | -0.001 | 0.001 | 0.001 | -0.023 |
| 69 | 100 | 0.271 | 0.047 | 0.011 | -0.001 | -0.003 | -0.028 | 109 | 35 | 0.248 | 0.369 | -0.059 | 0.015 | 0.017 | -0.163 |
|  | 110 | 0.270 | 0.043 | 0.011 | -0.001 | 0.003 | -0.005 |  | 36 | 0.248 | 0.362 | -0.059 | 0.015 | -0.018 | 0.054 |
| 70 | 12 | 0.145 | -0.022 | 0.003 | -0.002 | -0.001 | -0.003 | 110 | 35 | 0.212 | 0.039 | -0.006 | 0.000 | 0.002 | -0.021 |
|  | 34 | 0.145 | -0.028 | 0.003 | -0.002 | 0.001 | -0.020 |  | 46 | 0.211 | 0.034 | -0.006 | 0.000 | -0.002 | 0.005 |
| 71 | 34 | 0.082 | 0.024 | 0.004 | 0.001 | -0.002 | -0.012 | 111 | 36 | -0.687 | 0.262 | -0.059 | 0.008 | 0.016 | -0.042 |
|  | 45 | 0.081 | 0.019 | 0.004 | 0.001 | 0.001 | 0.003 |  | 37 | -0.688 | 0.255 | -0.059 | 0.008 | -0.019 | 0.112 |
| 72 | 45 | -0.047 | 0.010 | -0.003 | 0.000 | 0.001 | 0.000 | 112 | 36 | 0.145 | 0.039 | -0.014 | -0.001 | 0.006 | -0.025 |
|  | 56 | -0.048 | 0.004 | -0.003 | 0.000 | -0.001 | 0.005 |  | 47 | 0.145 | 0.034 | -0.014 | -0.001 | -0.004 | 0.001 |
| 73 | 56 | -0.055 | -0.005 | 0.003 | 0.000 | -0.001 | 0.005 | 113 | 37 | -1.422 | 0.159 | -0.041 | 0.004 | 0.010 | 0.037 |
|  | 67 | -0.055 | -0.010 | 0.003 | 0.000 | 0.001 | -0.001 |  | 38 | -1.422 | 0.152 | -0.041 | 0.004 | -0.015 | 0.130 |
| 74 | 67 | 0.064 | -0.020 | -0.001 | -0.001 | 0.000 | 0.002 | 114 | 37 | 0.059 | 0.040 | -0.012 | -0.001 | 0.005 | -0.027 |
|  | 78 | 0.064 | -0.025 | -0.001 | -0.001 | 0.000 | -0.014 |  | 48 | 0.058 | 0.034 | -0.012 | -0.001 | -0.004 | -0.001 |
| 75 | 78 | 0.151 | 0.032 | 0.001 | 0.004 | 0.000 | -0.029 | 115 | 38 | -1.819 | 0.057 | -0.014 | 0.001 | 0.001 | 0.089 |
|  | 101 | 0.150 | 0.027 | 0.001 | 0.004 | 0.001 | -0.008 |  | 39 | -1.819 | 0.050 | -0.014 | 0.001 | -0.007 | 0.121 |
| 76 | 101 | 0.024 | 0.018 | -0.001 | 0.003 | 0.000 | -0.012 | 116 | 38 | 0.009 | 0.040 | -0.007 | 0.000 | 0.003 | -0.029 |
|  | 112 | 0.023 | 0.012 | -0.001 | 0.003 | 0.000 | -0.001 |  | 49 | 0.009 | 0.035 | -0.007 | 0.000 | -0.002 | -0.003 |
| 77 | 22 | 0.151 | -0.022 | -0.017 | 0.002 | 0.003 | -0.003 | 117 | 39 | -1.828 | -0.045 | 0.015 | -0.002 | -0.007 | 0.120 |
|  | 33 | 0.151 | -0.027 | -0.017 | 0.002 | -0.006 | -0.016 |  | 40 | -1.828 | -0.052 | 0.015 | -0.002 | 0.001 | 0.091 |
| 78 | 127 | 0.053 | 0.022 | -0.005 | -0.001 | 0.002 | -0.009 | 118 | 39 | -0.008 | 0.040 | 0.000 | 0.000 | 0.000 | -0.029 |
|  | 55 | 0.053 | 0.017 | -0.005 | -0.001 | -0.001 | 0.004 |  | 50 | -0.009 | 0.035 | 0.000 | 0.000 | 0.000 | -0.003 |
| 79 | 55 | -0.070 | 0.008 | 0.003 | 0.000 | -0.001 | 0.001 | 119 | 40 | -1.447 | -0.147 | 0.042 | -0.005 | -0.015 | 0.130 |
|  | 66 | -0.070 | 0.002 | 0.003 | 0.000 | 0.001 | 0.005 |  | 41 | -1.447 | -0.154 | 0.042 | -0.005 | 0.010 | 0.040 |
| 80 | 66 | -0.065 | -0.007 | -0.003 | 0.000 | 0.001 | 0.005 | 120 | 40 | 0.002 | 0.040 | 0.006 | 0.000 | -0.003 | -0.029 |
|  | 77 | -0.066 | -0.012 | -0.003 | 0.000 | -0.001 | -0.002 |  | 51 | 0.001 | 0.035 | 0.006 | 0.000 | 0.002 | -0.003 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.723 | -0.250 | 0.062 | -0.009 | -0.020 | 0.113 | 161 | 65 | 0.014 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.723 | -0.256 | 0.062 | -0.009 | 0.017 | -0.037 |  | 66 | 0.014 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.044 | 0.039 | 0.012 | 0.001 | -0.005 | -0.027 | 162 | 65 | -0.025 | -0.011 | -0.001 | 0.000 | 0.001 | 0.007 |
|  | 52 | 0.044 | 0.034 | 0.012 | 0.001 | 0.003 | -0.001 |  | 76 | -0.026 | -0.016 | -0.001 | 0.000 | 0.000 | -0.002 |
| 123 | 42 | 0.217 | -0.355 | 0.066 | -0.017 | -0.020 | 0.058 | 163 | 68 | 0.111 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 43 | 0.217 | -0.362 | 0.066 | -0.017 | 0.020 | -0.155 |  | 69 | 0.111 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 124 | 42 | 0.125 | 0.039 | 0.014 | 0.001 | -0.005 | -0.024 | 164 | 68 | 0.182 | -0.034 | 0.004 | 0.000 | -0.002 | 0.004 |
|  | 53 | 0.125 | 0.034 | 0.014 | 0.001 | 0.004 | 0.001 |  | 79 | 0.181 | -0.039 | 0.004 | 0.000 | 0.001 | -0.022 |
| 125 | 43 | 0.675 | -0.471 | -0.017 | -0.038 | 0.002 | -0.109 | 165 | 69 | 0.191 | 0.001 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 127 | 0.675 | -0.490 | -0.017 | -0.038 | -0.008 | -0.394 |  | 70 | 0.191 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |
| 126 | 43 | 0.201 | 0.038 | 0.007 | 0.000 | -0.003 | -0.019 | 166 | 69 | 0.136 | -0.035 | 0.013 | 0.001 | -0.004 | 0.000 |
|  | 54 | 0.200 | 0.032 | 0.007 | 0.000 | 0.002 | 0.005 |  | 80 | 0.136 | -0.040 | 0.013 | 0.001 | 0.005 | -0.026 |
| 127 | 46 | 0.114 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 | 167 | 70 | 0.291 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 47 | 0.114 | -0.001 | 0.006 | 0.000 | 0.002 | 0.000 |  | 71 | 0.291 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 128 | 46 | -0.027 | 0.015 | -0.001 | 0.000 | 0.000 | -0.001 | 168 | 70 | 0.050 | -0.034 | 0.013 | 0.000 | -0.004 | -0.002 |
|  | 57 | -0.027 | 0.010 | -0.001 | 0.000 | -0.001 | 0.007 |  | 81 | 0.049 | -0.039 | 0.013 | 0.000 | 0.005 | -0.027 |
| 129 | 47 | 0.190 | 0.001 | 0.007 | 0.000 | -0.002 | 0.000 | 169 | 71 | 0.355 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.190 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |  | 72 | 0.355 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | -0.010 | 0.015 | 0.001 | 0.000 | -0.001 | -0.003 | 170 | 71 | 0.003 | -0.033 | 0.007 | 0.000 | -0.002 | -0.002 |
|  | 58 | -0.011 | 0.010 | 0.001 | 0.000 | 0.000 | 0.006 |  | 82 | 0.003 | -0.038 | 0.007 | 0.000 | 0.003 | -0.027 |
| 131 | 48 | 0.286 | 0.001 | 0.005 | 0.000 | -0.002 | 0.000 | 171 | 72 | 0.360 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.286 | -0.001 | 0.005 | 0.000 | 0.001 | 0.000 |  | 73 | 0.360 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.021 | 0.015 | 0.002 | 0.000 | -0.001 | -0.003 | 172 | 72 | -0.010 | -0.033 | 0.000 | 0.000 | 0.000 | -0.002 |
|  | 59 | -0.021 | 0.010 | 0.002 | 0.000 | 0.000 | 0.005 |  | 83 | -0.011 | -0.038 | 0.000 | 0.000 | 0.000 | -0.027 |
| 133 | 49 | 0.345 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.308 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 50 | 0.345 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 74 | 0.308 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
| 134 | 49 | -0.036 | 0.015 | 0.001 | 0.000 | -0.001 | -0.004 | 174 | 73 | 0.004 | -0.033 | -0.007 | 0.000 | 0.002 | -0.002 |
|  | 60 | -0.036 | 0.010 | 0.001 | 0.000 | 0.000 | 0.005 |  | 84 | 0.004 | -0.038 | -0.007 | 0.000 | -0.003 | -0.027 |
| 135 | 50 | 0.346 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.213 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 51 | 0.346 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |  | 75 | 0.213 | -0.001 | 0.006 | 0.000 | 0.002 | 0.000 |
| 136 | 50 | -0.042 | 0.016 | 0.000 | 0.000 | 0.000 | -0.004 | 176 | 74 | 0.050 | -0.034 | -0.013 | 0.000 | 0.004 | -0.002 |
|  | 61 | -0.042 | 0.010 | 0.000 | 0.000 | 0.000 | 0.005 |  | 85 | 0.049 | -0.039 | -0.013 | 0.000 | -0.005 | -0.027 |
| 137 | 51 | 0.287 | 0.001 | -0.005 | 0.000 | 0.001 | 0.000 | 177 | 75 | 0.127 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 52 | 0.287 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |  | 76 | 0.127 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
| 138 | 51 | -0.038 | 0.015 | -0.001 | 0.000 | 0.001 | -0.004 | 178 | 75 | 0.150 | -0.035 | -0.014 | -0.001 | 0.004 | 0.000 |
|  | 62 | -0.038 | 0.010 | -0.001 | 0.000 | 0.000 | 0.005 |  | 86 | 0.150 | -0.040 | -0.014 | -0.001 | -0.005 | -0.026 |
| 139 | 52 | 0.191 | 0.001 | -0.006 | 0.000 | 0.002 | 0.000 | 179 | 76 | 0.085 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.191 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |  | 77 | 0.085 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 140 | 52 | -0.024 | 0.015 | -0.002 | 0.000 | 0.001 | -0.003 | 180 | 76 | 0.192 | -0.035 | -0.005 | 0.000 | 0.002 | 0.003 |
|  | 63 | -0.025 | 0.010 | -0.002 | 0.000 | 0.000 | 0.005 |  | 87 | 0.191 | -0.041 | -0.005 | 0.000 | -0.002 | -0.024 |
| 141 | 53 | 0.110 | 0.001 | -0.007 | 0.000 | 0.002 | 0.000 | 181 | 79 | 0.176 | 0.374 | 0.019 | -0.015 | -0.001 | -0.160 |
|  | 54 | 0.110 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |  | 80 | 0.176 | 0.367 | 0.019 | -0.015 | 0.010 | 0.060 |
| 142 | 53 | -0.009 | 0.014 | -0.001 | 0.000 | 0.001 | -0.002 | 182 | 79 | 0.303 | 0.051 | -0.103 | -0.001 | 0.014 | -0.038 |
|  | 64 | -0.010 | 0.009 | -0.001 | 0.000 | 0.000 | 0.006 |  | 90 | 0.303 | 0.050 | -0.103 | -0.001 | -0.004 | -0.029 |
| 143 | 54 | 0.066 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 | 183 | 80 | -0.742 | 0.266 | 0.025 | -0.006 | -0.008 | -0.041 |
|  | 55 | 0.066 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 81 | -0.742 | 0.259 | 0.025 | -0.006 | 0.007 | 0.116 |
| 144 | 54 | -0.022 | 0.014 | 0.001 | 0.000 | 0.000 | 0.000 | 184 | 80 | 0.205 | 0.044 | -0.275 | -0.007 | 0.031 | -0.033 |
|  | 65 | -0.022 | 0.008 | 0.001 | 0.000 | 0.001 | 0.007 |  | 91 | 0.205 | 0.043 | -0.275 | -0.007 | -0.017 | -0.025 |
| 145 | 57 | 0.064 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 185 | 81 | -1.451 | 0.161 | 0.020 | -0.002 | -0.009 | 0.037 |
|  | 58 | 0.064 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |  | 82 | -1.451 | 0.154 | 0.020 | -0.002 | 0.002 | 0.131 |
| 146 | 57 | -0.037 | -0.009 | 0.001 | 0.000 | 0.000 | 0.007 | 186 | 81 | 0.100 | 0.041 | -0.242 | -0.007 | 0.027 | -0.030 |
|  | 68 | -0.038 | -0.015 | 0.001 | 0.000 | 0.000 | -0.002 |  | 92 | 0.100 | 0.040 | -0.242 | -0.007 | -0.016 | -0.023 |
| 147 | 58 | 0.117 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -1.830 | 0.057 | 0.006 | -0.001 | -0.007 | 0.089 |
|  | 59 | 0.117 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -1.830 | 0.050 | 0.006 | -0.001 | -0.003 | 0.121 |
| 148 | 58 | -0.011 | -0.010 | -0.001 | 0.000 | 0.000 | 0.006 | 188 | 82 | 0.047 | 0.040 | -0.132 | -0.004 | 0.015 | -0.030 |
|  | 69 | -0.011 | -0.015 | -0.001 | 0.000 | -0.001 | -0.003 |  | 93 | 0.046 | 0.039 | -0.132 | -0.004 | -0.009 | -0.023 |
| 149 | 59 | 0.151 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -1.834 | -0.047 | -0.009 | 0.000 | -0.002 | 0.120 |
|  | 60 | 0.151 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -1.834 | -0.054 | -0.009 | 0.000 | -0.008 | 0.091 |
| 150 | 59 | -0.021 | -0.009 | 0.000 | 0.000 | 0.000 | 0.005 | 190 | 83 | 0.028 | 0.040 | 0.008 | 0.000 | -0.001 | -0.030 |
|  | 70 | -0.022 | -0.015 | 0.000 | 0.000 | 0.000 | -0.003 |  | 94 | 0.028 | 0.039 | 0.008 | 0.000 | 0.001 | -0.023 |
| 151 | 60 | 0.169 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 191 | 84 | -1.459 | -0.151 | -0.024 | 0.002 | 0.003 | 0.132 |
|  | 61 | 0.169 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -1.459 | -0.158 | -0.024 | 0.002 | -0.011 | 0.041 |
| 152 | 60 | -0.036 | -0.009 | 0.000 | 0.000 | 0.000 | 0.005 | 192 | 84 | 0.038 | 0.040 | 0.152 | 0.004 | -0.017 | -0.030 |
|  | 71 | -0.037 | -0.014 | 0.000 | 0.000 | 0.000 | -0.003 |  | 95 | 0.037 | 0.039 | 0.152 | 0.004 | 0.010 | -0.023 |
| 153 | 61 | 0.170 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 193 | 85 | -0.739 | -0.257 | -0.034 | 0.005 | 0.009 | 0.121 |
|  | 62 | 0.170 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | -0.739 | -0.264 | -0.034 | 0.005 | -0.012 | -0.034 |
| 154 | 61 | -0.042 | -0.009 | 0.000 | 0.000 | 0.000 | 0.005 | 194 | 85 | 0.081 | 0.042 | 0.278 | 0.008 | -0.030 | -0.031 |
|  | 72 | -0.042 | -0.014 | 0.000 | 0.000 | 0.000 | -0.003 |  | 96 | 0.081 | 0.040 | 0.278 | 0.008 | 0.019 | -0.024 |
| 155 | 62 | 0.152 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 195 | 86 | 0.208 | -0.364 | -0.019 | 0.014 | 0.012 | 0.071 |
|  | 63 | 0.152 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.208 | -0.371 | -0.019 | 0.014 | 0.000 | -0.148 |
| 156 | 62 | -0.037 | -0.009 | 0.000 | 0.000 | 0.000 | 0.005 | 196 | 86 | 0.186 | 0.044 | 0.319 | 0.008 | -0.037 | -0.033 |
|  | 73 | -0.038 | -0.014 | 0.000 | 0.000 | 0.000 | -0.003 |  | 97 | 0.186 | 0.043 | 0.319 | 0.008 | 0.019 | -0.025 |
| 157 | 63 | 0.117 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.600 | -0.476 | 0.000 | 0.031 | -0.001 | -0.107 |
|  | 64 | 0.117 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.600 | -0.496 | 0.000 | 0.031 | -0.001 | -0.396 |
| 158 | 63 | -0.023 | -0.009 | 0.000 | 0.000 | 0.000 | 0.005 | 198 | 87 | 0.271 | 0.049 | 0.011 | -0.001 | -0.005 | -0.038 |
|  | 74 | -0.023 | -0.015 | 0.000 | 0.000 | 0.000 | -0.003 |  | 100 | 0.271 | 0.047 | 0.011 | -0.001 | -0.003 | -0.028 |
| 159 | 64 | 0.063 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 | 199 | 102 | 0.175 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.063 | -0.001 | -0.002 | 0.000 | 0.000 | 0.000 |  | 103 | 0.175 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 160 | 64 | 0.000 | -0.011 | 0.001 | 0.000 | 0.000 | 0.006 | 200 | 102 | 0.027 | 0.024 | 0.000 | 0.002 | -0.001 | -0.012 |
|  | 75 | -0.001 | -0.016 | 0.001 | 0.000 | 0.001 | -0.003 |  | 113 | 0.026 | 0.019 | 0.000 | 0.002 | 0.000 | 0.003 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 30 (Linear): COMB 3 (1+3+5+6)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.235 | 0.001 | -0.002 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.235 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 | 1 11 | -0.011 | 0.003 | 0.008 | 0.000 | -0.003 | -0.001 |
| 202 | 103 | 0.015 | 0.018 | 0.001 | 0.002 | 0.000 | -0.009 | 10 | -0.011 | 0.000 | 0.008 | 0.000 | 0.002 | 0.000 |
|  | 114 | 0.015 | 0.013 | 0.001 | 0.002 | 0.000 | 0.002 | 2 1 | 0.003 | -0.009 | 0.007 | -0.001 | -0.003 | 0.001 |
| 203 | 104 | 0.324 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.002 | -0.014 | 0.007 | -0.001 | 0.002 | -0.008 |
|  | 105 | 0.324 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 | 3 122 | 0.044 | 0.018 | -0.005 | 0.027 | 0.001 | -0.026 |
| 204 | 104 | 0.006 | 0.014 | 0.001 | 0.001 | -0.001 | -0.007 | 121 | 0.044 | 0.014 | -0.005 | 0.027 | -0.002 | -0.016 |
|  | 115 | 0.005 | 0.009 | 0.001 | 0.001 | 0.000 | 0.001 | 4 11 | 0.001 | -0.009 | -0.005 | 0.001 | 0.003 | 0.001 |
| 205 | 105 | 0.382 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 | 22 | 0.000 | -0.015 | -0.005 | 0.001 | -0.001 | -0.008 |
|  | 106 | 0.382 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 5 33 | -0.070 | 0.001 | -0.002 | 0.000 | 0.002 | 0.000 |
| 206 | 105 | -0.004 | 0.013 | 0.001 | 0.001 | 0.000 | -0.006 | 32 | -0.070 | -0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
|  | 116 | -0.005 | 0.007 | 0.001 | 0.001 | 0.000 | 0.001 | 6 99 | -0.069 | 0.003 | -0.012 | 0.000 | 0.003 | -0.001 |
| 207 | 106 | 0.385 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 | 98 | -0.069 | 0.000 | -0.012 | 0.000 | -0.004 | 0.000 |
|  | 107 | 0.385 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 7 32 | 0.072 | 0.002 | 0.015 | 0.000 | -0.004 | 0.000 |
| 208 | 106 | -0.008 | 0.012 | 0.000 | 0.000 | 0.000 | -0.006 | 31 | 0.072 | -0.001 | 0.015 | 0.000 | 0.005 | 0.000 |
|  | 117 | -0.008 | 0.007 | 0.000 | 0.000 | 0.000 | 0.001 | 8 31 | 0.362 | 0.002 | 0.019 | 0.000 | -0.006 | 0.000 |
| 209 | 107 | 0.334 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 | 30 | 0.362 | -0.001 | 0.019 | 0.000 | 0.005 | 0.000 |
|  | 108 | 0.334 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 9 30 | 0.587 | 0.001 | 0.012 | 0.000 | -0.004 | 0.000 |
| 210 | 107 | -0.004 | 0.013 | 0.000 | -0.001 | 0.000 | -0.006 | 29 | 0.587 | -0.001 | 0.012 | 0.000 | 0.003 | 0.000 |
|  | 118 | -0.005 | 0.008 | 0.000 | -0.001 | 0.000 | 0.001 | 10 29 | 0.703 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
| 211 | 108 | 0.250 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 | 28 | 0.703 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 109 | 0.250 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 | 11 28 | 0.696 | 0.001 | -0.005 | 0.000 | 0.001 | 0.000 |
| 212 | 108 | 0.006 | 0.014 | -0.001 | -0.001 | 0.000 | -0.007 | 27 | 0.696 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
|  | 119 | 0.005 | 0.009 | -0.001 | -0.001 | 0.000 | 0.001 | 12 27 | 0.569 | 0.001 | -0.013 | 0.000 | 0.004 | 0.000 |
| 213 | 109 | 0.190 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 | 26 | 0.569 | -0.001 | -0.013 | 0.000 | -0.004 | 0.000 |
|  | 110 | 0.190 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 13 26 | 0.341 | 0.001 | -0.019 | 0.000 | 0.006 | 0.000 |
| 214 | 109 | 0.012 | 0.018 | 0.000 | -0.002 | 0.000 | -0.009 | 25 | 0.341 | -0.002 | -0.019 | 0.000 | -0.006 | 0.000 |
|  | 120 | 0.011 | 0.013 | 0.000 | -0.002 | 0.000 | 0.002 | 14 25 | 0.072 | 0.001 | -0.012 | 0.000 | 0.004 | 0.000 |
| 215 | 110 | 0.135 | 0.001 | -0.006 | 0.000 | 0.002 | 0.000 | 24 | 0.072 | -0.002 | -0.012 | 0.000 | -0.003 | 0.000 |
|  | 111 | 0.135 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 | 15 24 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.027 | 0.023 | -0.002 | -0.002 | 0.001 | -0.012 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.026 | 0.018 | -0.002 | -0.002 | 0.000 | 0.003 | 16 98 | -0.069 | 0.000 | -0.012 | 0.000 | -0.004 | 0.000 |
| 217 | 34 | 0.556 | 0.020 | 0.309 | 0.006 | -0.453 | -0.035 | 97 | -0.069 | -0.002 | -0.012 | 0.000 | -0.011 | 0.000 |
|  | 131 | 0.581 | 0.022 | 0.309 | 0.006 | -0.317 | -0.025 | 17 97 | 1.157 | 0.002 | -0.091 | 0.000 | 0.029 | 0.000 |
| 218 | 78 | 0.569 | -0.034 | 0.256 | 0.004 | -0.448 | 0.054 | 96 | 1.157 | 0.000 | -0.091 | 0.000 | -0.025 | 0.000 |
|  | 44 | 0.600 | -0.032 | 0.256 | 0.004 | -0.312 | 0.037 | 18 96 | 2.266 | 0.002 | -0.064 | 0.000 | 0.022 | 0.000 |
| 219 | 125 | 0.569 | -0.023 | -0.275 | -0.001 | 0.437 | 0.040 | 95 | 2.266 | 0.000 | -0.064 | 0.000 | -0.016 | 0.000 |
|  | 135 | 0.595 | -0.021 | -0.275 | -0.001 | 0.313 | 0.030 | 19 95 | 2.897 | 0.001 | -0.024 | 0.000 | 0.011 | 0.000 |
| 220 | 127 | 0.545 | 0.037 | -0.290 | -0.004 | 0.439 | -0.048 | 94 | 2.897 | -0.001 | -0.024 | 0.000 | -0.003 | 0.000 |
|  | 139 | 0.570 | 0.038 | -0.290 | -0.004 | 0.311 | -0.032 | 20 94 | 2.928 | 0.001 | 0.021 | 0.000 | -0.002 | 0.000 |
| 221 | 99 | 0.159 | 0.031 | 0.006 | -0.003 | -0.002 | -0.023 | 93 | 2.928 | -0.001 | 0.021 | 0.000 | 0.010 | 0.000 |
|  | 111 | 0.159 | 0.027 | 0.006 | -0.003 | 0.001 | -0.008 | 21 93 | 2.373 | 0.000 | 0.059 | 0.000 | -0.014 | 0.000 |
| 222 | 33 | 0.149 | -0.028 | 0.089 | 0.004 | -0.006 | -0.016 | 92 | 2.373 | -0.002 | 0.059 | 0.000 | 0.021 | 0.000 |
|  | 127 | 0.149 | -0.029 | 0.089 | 0.004 | 0.008 | -0.020 | 22 92 | 1.397 | 0.000 | 0.077 | 0.000 | -0.022 | 0.000 |
| 223 | 44 | 0.600 | -0.032 | 0.256 | 0.004 | -0.312 | 0.037 | 91 | 1.397 | -0.002 | 0.077 | 0.000 | 0.024 | 0.000 |
|  | 88 | 0.611 | -0.030 | 0.256 | 0.004 | -0.176 | 0.020 | 23 91 | 0.349 | 0.000 | 0.049 | 0.000 | -0.018 | 0.000 |
| 224 | 88 | 0.611 | -0.030 | 0.256 | 0.004 | -0.176 | 0.020 | 90 | 0.349 | -0.002 | 0.049 | 0.000 | 0.011 | 0.000 |
|  | 129 | 0.621 | -0.028 | 0.256 | 0.004 | -0.040 | 0.005 | 24 90 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | 0.621 | -0.028 | 0.256 | 0.004 | -0.040 | 0.005 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 0.632 | -0.026 | 0.256 | 0.004 | 0.096 | -0.010 | 25 10 | -0.063 | 0.003 | 0.010 | 0.000 | -0.003 | -0.001 |
| 226 | 130 | 0.632 | -0.026 | 0.256 | 0.004 | 0.096 | -0.010 | 9 | -0.063 | 0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 124 | 0.642 | -0.024 | 0.256 | 0.004 | 0.232 | -0.023 | 26 9 | -0.137 | 0.002 | 0.006 | 0.000 | -0.001 | 0.000 |
| 227 | 131 | 0.581 | 0.022 | 0.309 | 0.006 | -0.317 | -0.025 | 8 | -0.137 | 0.000 | 0.006 | 0.000 | 0.002 | 0.000 |
|  | 132 | 0.590 | 0.023 | 0.309 | 0.006 | -0.181 | -0.015 | 27 8 | -0.202 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.590 | 0.023 | 0.309 | 0.006 | -0.181 | -0.015 | 7 | -0.202 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 133 | 0.599 | 0.025 | 0.309 | 0.006 | -0.045 | -0.005 | 28 7 | -0.238 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.599 | 0.025 | 0.309 | 0.006 | -0.045 | -0.005 | 6 | -0.238 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 134 | 0.608 | 0.027 | 0.309 | 0.006 | 0.091 | 0.006 | 29 6 | -0.235 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | 0.608 | 0.027 | 0.309 | 0.006 | 0.091 | 0.006 | 5 | -0.235 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.616 | 0.028 | 0.309 | 0.006 | 0.227 | 0.019 | 30 5 | -0.194 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 0.595 | -0.021 | -0.275 | -0.001 | 0.313 | 0.030 | 4 | -0.194 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 136 | 0.604 | -0.020 | -0.275 | -0.001 | 0.189 | 0.021 | 31 4 | -0.125 | 0.000 | -0.005 | 0.000 | 0.002 | 0.000 |
| 232 | 136 | 0.604 | -0.020 | -0.275 | -0.001 | 0.189 | 0.021 | 3 | -0.125 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 |
|  | 137 | 0.613 | -0.018 | -0.275 | -0.001 | 0.065 | 0.012 | 32 3 | -0.054 | -0.001 | -0.009 | 0.000 | 0.003 | 0.000 |
| 233 | 137 | 0.613 | -0.018 | -0.275 | -0.001 | 0.065 | 0.012 | 2 | -0.054 | -0.003 | -0.009 | 0.000 | -0.003 | -0.001 |
|  | 138 | 0.622 | -0.016 | -0.275 | -0.001 | -0.059 | 0.005 | 33 2 | -0.007 | 0.000 | -0.008 | 0.000 | 0.002 | 0.000 |
| 234 | 138 | 0.622 | -0.016 | -0.275 | -0.001 | -0.059 | 0.005 | 1 | -0.007 | -0.003 | -0.008 | 0.000 | -0.003 | -0.001 |
|  | 126 | 0.631 | -0.015 | -0.275 | -0.001 | -0.183 | -0.003 | 34 121 | -0.196 | 0.096 | 0.012 | 0.027 | -0.005 | -0.049 |
| 235 | 139 | 0.570 | 0.038 | -0.290 | -0.004 | 0.311 | -0.032 | 120 | -0.196 | 0.091 | 0.012 | 0.027 | 0.002 | 0.006 |
|  | 140 | 0.579 | 0.040 | -0.290 | -0.004 | 0.183 | -0.015 | 35 120 | -0.692 | 0.174 | 0.020 | 0.029 | -0.005 | -0.036 |
| 236 | 140 | 0.579 | 0.040 | -0.290 | -0.004 | 0.183 | -0.015 | 119 | -0.692 | 0.169 | 0.020 | 0.029 | 0.007 | 0.066 |
|  | 141 | 0.588 | 0.041 | -0.290 | -0.004 | 0.055 | 0.003 | 36 119 | -1.415 | 0.280 | 0.024 | 0.024 | -0.003 | 0.018 |
| 237 | 141 | 0.588 | 0.041 | -0.290 | -0.004 | 0.055 | 0.003 | 118 | -1.415 | 0.275 | 0.024 | 0.024 | 0.012 | 0.183 |
|  | 142 | 0.596 | 0.043 | -0.290 | -0.004 | -0.072 | 0.022 | 37 118 | -1.793 | -0.072 | 0.001 | 0.008 | 0.006 | 0.156 |
| 238 | 142 | 0.596 | 0.043 | -0.290 | -0.004 | -0.072 | 0.022 | 117 | -1.793 | -0.077 | 0.001 | 0.008 | 0.006 | 0.111 |
|  | 128 | 0.605 | 0.045 | -0.290 | -0.004 | -0.200 | 0.041 | 38 117 | -1.794 | 0.078 | -0.001 | -0.009 | 0.006 | 0.111 |
|  |  |  |  |  |  |  |  | 116 | -1.794 | 0.073 | -0.001 | -0.009 | 0.006 | 0.156 |
|  |  |  |  |  |  |  |  | 39 116 | -1.416 | -0.275 | -0.025 | -0.025 | 0.012 | 0.182 |
|  |  |  |  |  |  |  |  | 115 | -1.416 | -0.279 | -0.025 | -0.025 | -0.003 | 0.017 |
|  |  |  |  |  |  |  |  | 40 115 | -0.693 | -0.170 | -0.021 | -0.030 | 0.007 | 0.064 |
|  |  |  |  |  |  |  |  | 114 | -0.693 | -0.175 | -0.021 | -0.030 | -0.005 | -0.038 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.187 | -0.092 | -0.012 | -0.027 | 0.002 | 0.004 | 81 | 77 | -0.026 | -0.050 | 0.010 | -0.001 | -0.002 | -0.016 |
|  | 113 | -0.187 | -0.096 | -0.012 | -0.027 | -0.005 | -0.051 |  | 125 | -0.026 | -0.055 | 0.010 | -0.001 | 0.005 | -0.052 |
| 42 | 113 | 0.048 | -0.013 | 0.007 | -0.027 | -0.003 | -0.017 | 82 | 125 | 0.291 | 0.045 | -0.046 | -0.028 | 0.002 | -0.066 |
|  | 112 | 0.048 | -0.017 | 0.007 | -0.027 | 0.002 | -0.026 |  | 99 | 0.291 | 0.043 | -0.046 | -0.028 | -0.007 | -0.057 |
| 43 | 2 | 0.006 | -0.014 | 0.008 | -0.001 | -0.004 | 0.001 | 83 | 111 | 0.076 | 0.029 | 0.004 | -0.027 | 0.001 | -0.042 |
|  | 13 | 0.005 | -0.020 | 0.008 | -0.001 | 0.002 | -0.011 |  | 122 | 0.075 | 0.024 | 0.004 | -0.027 | 0.004 | -0.024 |
| 44 | 24 | 0.220 | -0.055 | 0.076 | 0.000 | -0.002 | -0.031 | 84 | 12 | 0.089 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.220 | -0.056 | 0.076 | 0.000 | 0.011 | -0.040 |  | 13 | 0.089 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 45 | 90 | 0.903 | 0.134 | -0.011 | 0.027 | 0.001 | -0.116 | 85 | 34 | 0.604 | 0.442 | 0.005 | 0.102 | 0.008 | -0.369 |
|  | 102 | 0.902 | 0.130 | -0.011 | 0.027 | -0.004 | -0.046 |  | 35 | 0.604 | 0.422 | 0.005 | 0.102 | 0.011 | -0.113 |
| 46 | 3 | 0.027 | -0.013 | 0.007 | -0.001 | -0.003 | 0.002 | 86 | 45 | 0.063 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 |
|  | 14 | 0.026 | -0.018 | 0.007 | -0.001 | 0.002 | -0.009 |  | 46 | 0.063 | -0.002 | 0.009 | 0.000 | 0.003 | 0.000 |
| 47 | 25 | 0.210 | -0.050 | 0.260 | 0.004 | -0.015 | -0.028 | 87 | 56 | 0.071 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 36 | 0.210 | -0.051 | 0.260 | 0.004 | 0.031 | -0.037 |  | 57 | 0.071 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 48 | 91 | 0.874 | 0.130 | 0.028 | 0.031 | -0.014 | -0.116 | 88 | 67 | 0.249 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 |
|  | 103 | 0.873 | 0.126 | 0.028 | 0.031 | 0.001 | -0.049 |  | 68 | 0.249 | -0.002 | 0.009 | 0.000 | 0.002 | 0.000 |
| 49 | 4 | 0.043 | -0.013 | 0.004 | -0.001 | -0.001 | 0.002 | 89 | 78 | 1.879 | 1.291 | 0.046 | -0.271 | -0.022 | -1.150 |
|  | 15 | 0.043 | -0.018 | 0.004 | -0.001 | 0.001 | -0.009 |  | 79 | 1.879 | 1.271 | 0.046 | -0.271 | 0.005 | -0.389 |
| 50 | 26 | 0.172 | -0.049 | 0.219 | 0.004 | -0.014 | -0.029 | 90 | 101 | 0.466 | 0.001 | 0.019 | 0.000 | -0.005 | 0.000 |
|  | 37 | 0.172 | -0.050 | 0.219 | 0.004 | 0.024 | -0.038 |  | 102 | 0.466 | -0.001 | 0.019 | 0.000 | 0.006 | 0.000 |
| 51 | 92 | 0.924 | 0.155 | 0.025 | 0.030 | -0.013 | -0.139 | 91 | 13 | 0.088 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 104 | 0.924 | 0.151 | 0.025 | 0.030 | 0.000 | -0.058 |  | 14 | 0.088 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 52 | 5 | 0.052 | -0.013 | 0.001 | 0.000 | 0.000 | 0.003 | 92 | 13 | 0.210 | -0.046 | 0.004 | -0.002 | -0.001 | -0.006 |
|  | 16 | 0.052 | -0.018 | 0.001 | 0.000 | 0.000 | -0.009 |  | 24 | 0.209 | -0.049 | 0.004 | -0.002 | 0.001 | -0.031 |
| 53 | 27 | 0.169 | -0.049 | 0.122 | 0.002 | -0.008 | -0.030 | 93 | 14 | 0.095 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.169 | -0.050 | 0.122 | 0.002 | 0.013 | -0.039 |  | 15 | 0.095 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 1.183 | 0.193 | 0.013 | 0.017 | -0.007 | -0.169 | 94 | 14 | 0.206 | -0.043 | -0.009 | -0.002 | 0.000 | -0.005 |
|  | 105 | 1.183 | 0.190 | 0.013 | 0.017 | 0.000 | -0.068 |  | 25 | 0.206 | -0.047 | -0.009 | -0.002 | -0.004 | -0.028 |
| 55 | 6 | 0.053 | -0.013 | 0.000 | 0.000 | 0.000 | 0.003 | 95 | 15 | 0.144 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.052 | -0.019 | 0.000 | 0.000 | 0.000 | -0.009 |  | 16 | 0.144 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.166 | -0.049 | 0.007 | 0.000 | -0.001 | -0.030 | 96 | 15 | 0.181 | -0.043 | -0.009 | -0.001 | 0.001 | -0.005 |
|  | 39 | 0.166 | -0.050 | 0.007 | 0.000 | 0.001 | -0.039 |  | 26 | 0.180 | -0.047 | -0.009 | -0.001 | -0.004 | -0.029 |
| 57 | 94 | 1.195 | 0.200 | -0.005 | -0.001 | 0.001 | -0.176 | 97 | 16 | 0.179 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 1.194 | 0.196 | -0.005 | -0.001 | -0.001 | -0.071 |  | 17 | 0.179 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.050 | -0.013 | -0.002 | 0.000 | 0.001 | 0.002 | 98 | 16 | 0.179 | -0.044 | -0.005 | -0.001 | 0.000 | -0.006 |
|  | 18 | 0.049 | -0.018 | -0.002 | 0.000 | -0.001 | -0.009 |  | 27 | 0.179 | -0.048 | -0.005 | -0.001 | -0.002 | -0.030 |
| 59 | 29 | 0.170 | -0.049 | -0.110 | -0.002 | 0.007 | -0.030 | 99 | 17 | 0.184 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.169 | -0.050 | -0.110 | -0.002 | -0.012 | -0.039 |  | 18 | 0.184 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 1.171 | 0.194 | -0.023 | -0.018 | 0.010 | -0.170 | 100 | 17 | 0.176 | -0.044 | 0.000 | 0.000 | 0.000 | -0.006 |
|  | 107 | 1.170 | 0.190 | -0.023 | -0.018 | -0.002 | -0.069 |  | 28 | 0.175 | -0.048 | 0.000 | 0.000 | 0.000 | -0.030 |
| 61 | 8 | 0.040 | -0.013 | -0.004 | 0.001 | 0.002 | 0.002 | 101 | 18 | 0.158 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.039 | -0.018 | -0.004 | 0.001 | -0.001 | -0.009 |  | 19 | 0.158 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.172 | -0.048 | -0.216 | -0.003 | 0.014 | -0.029 | 102 | 18 | 0.177 | -0.044 | 0.005 | 0.001 | 0.000 | -0.006 |
|  | 41 | 0.172 | -0.050 | -0.216 | -0.003 | -0.024 | -0.038 |  | 29 | 0.177 | -0.048 | 0.005 | 0.001 | 0.002 | -0.030 |
| 63 | 96 | 0.905 | 0.156 | -0.040 | -0.031 | 0.018 | -0.140 | 103 | 19 | 0.114 | 0.000 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 108 | 0.905 | 0.152 | -0.040 | -0.031 | -0.003 | -0.059 |  | 20 | 0.114 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.026 | -0.013 | -0.008 | 0.001 | 0.003 | 0.002 | 104 | 19 | 0.177 | -0.043 | 0.009 | 0.002 | -0.001 | -0.006 |
|  | 20 | 0.026 | -0.018 | -0.008 | 0.001 | -0.002 | -0.009 |  | 30 | 0.176 | -0.047 | 0.009 | 0.002 | 0.004 | -0.029 |
| 65 | 31 | 0.211 | -0.049 | -0.280 | -0.004 | 0.017 | -0.028 | 105 | 20 | 0.103 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.211 | -0.051 | -0.280 | -0.004 | -0.033 | -0.037 |  | 21 | 0.103 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
| 66 | 97 | 0.789 | 0.130 | -0.058 | -0.032 | 0.025 | -0.117 | 106 | 20 | 0.205 | -0.043 | 0.010 | 0.003 | -0.001 | -0.005 |
|  | 109 | 0.789 | 0.126 | -0.058 | -0.032 | -0.006 | -0.049 |  | 31 | 0.204 | -0.047 | 0.010 | 0.003 | 0.005 | -0.028 |
| 67 | 10 | 0.004 | -0.014 | -0.010 | 0.001 | 0.004 | 0.001 | 107 | 21 | 0.103 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 21 | 0.003 | -0.020 | -0.010 | 0.001 | -0.003 | -0.011 |  | 22 | 0.103 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 68 | 32 | 0.202 | -0.054 | -0.140 | -0.001 | 0.006 | -0.031 | 108 | 21 | 0.184 | -0.045 | 0.002 | 0.003 | 0.001 | -0.006 |
|  | 43 | 0.202 | -0.055 | -0.140 | -0.001 | -0.018 | -0.040 |  | 32 | 0.183 | -0.049 | 0.002 | 0.003 | 0.001 | -0.031 |
| 69 | 100 | 0.860 | 0.132 | 0.051 | -0.024 | -0.013 | -0.112 | 109 | 35 | 0.286 | 0.313 | -0.077 | 0.054 | 0.023 | -0.142 |
|  | 110 | 0.860 | 0.129 | 0.051 | -0.024 | 0.012 | -0.046 |  | 36 | 0.286 | 0.306 | -0.077 | 0.054 | -0.023 | 0.041 |
| 70 | 12 | 0.063 | -0.028 | 0.003 | -0.003 | 0.000 | -0.006 | 110 | 35 | 0.043 | 0.021 | -0.007 | 0.001 | 0.002 | -0.006 |
|  | 34 | 0.062 | -0.033 | 0.003 | -0.003 | 0.002 | -0.028 |  | 46 | 0.042 | 0.016 | -0.007 | 0.001 | -0.003 | 0.007 |
| 71 | 34 | -0.269 | 0.007 | 0.003 | 0.003 | -0.002 | 0.009 | 111 | 36 | -0.518 | 0.220 | -0.043 | 0.032 | 0.009 | -0.037 |
|  | 45 | -0.270 | 0.001 | 0.003 | 0.003 | 0.000 | 0.012 |  | 37 | -0.518 | 0.213 | -0.043 | 0.032 | -0.017 | 0.092 |
| 72 | 45 | -0.380 | -0.010 | -0.007 | 0.002 | 0.002 | 0.009 | 112 | 36 | 0.098 | 0.015 | -0.015 | 0.002 | 0.005 | -0.015 |
|  | 56 | -0.381 | -0.015 | -0.007 | 0.002 | -0.003 | 0.000 |  | 47 | 0.098 | 0.009 | -0.015 | 0.002 | -0.006 | -0.007 |
| 73 | 56 | -0.323 | -0.026 | 0.008 | 0.002 | -0.002 | 0.001 | 113 | 37 | -1.138 | 0.133 | -0.029 | 0.016 | 0.006 | 0.031 |
|  | 67 | -0.323 | -0.032 | 0.008 | 0.002 | 0.004 | -0.019 |  | 38 | -1.138 | 0.126 | -0.029 | 0.016 | -0.011 | 0.108 |
| 74 | 67 | -0.052 | -0.043 | -0.015 | 0.001 | 0.004 | -0.013 | 114 | 37 | 0.176 | 0.008 | -0.016 | 0.002 | 0.006 | -0.021 |
|  | 78 | -0.053 | -0.048 | -0.015 | 0.001 | -0.007 | -0.045 |  | 48 | 0.175 | 0.003 | -0.016 | 0.002 | -0.005 | -0.017 |
| 75 | 78 | 0.250 | 0.043 | -0.005 | 0.027 | 0.005 | -0.067 | 115 | 38 | -1.483 | 0.052 | -0.011 | 0.004 | 0.001 | 0.074 |
|  | 101 | 0.249 | 0.038 | -0.005 | 0.027 | 0.001 | -0.038 |  | 39 | -1.483 | 0.045 | -0.011 | 0.004 | -0.005 | 0.103 |
| 76 | 101 | 0.079 | 0.028 | -0.007 | 0.027 | 0.001 | -0.042 | 116 | 38 | 0.225 | 0.003 | -0.010 | 0.001 | 0.004 | -0.024 |
|  | 112 | 0.079 | 0.022 | -0.007 | 0.027 | -0.004 | -0.025 |  | 49 | 0.224 | -0.002 | -0.010 | 0.001 | -0.003 | -0.024 |
| 77 | 22 | 0.067 | -0.029 | -0.013 | 0.003 | 0.002 | -0.006 | 117 | 39 | -1.517 | -0.028 | 0.009 | -0.007 | -0.005 | 0.099 |
|  | 33 | 0.067 | -0.033 | -0.013 | 0.003 | -0.005 | -0.023 |  | 40 | -1.517 | -0.035 | 0.009 | -0.007 | 0.000 | 0.081 |
| 78 | 127 | -0.346 | 0.000 | -0.003 | -0.003 | 0.002 | 0.018 | 118 | 39 | 0.233 | 0.001 | -0.001 | 0.000 | 0.000 | -0.025 |
|  | 55 | -0.346 | -0.006 | -0.003 | -0.003 | 0.000 | 0.016 |  | 50 | 0.232 | -0.004 | -0.001 | 0.000 | 0.000 | -0.026 |
| 79 | 55 | -0.438 | -0.017 | 0.007 | -0.002 | -0.002 | 0.013 | 119 | 40 | -1.236 | -0.109 | 0.028 | -0.019 | -0.011 | 0.107 |
|  | 66 | -0.438 | -0.022 | 0.007 | -0.002 | 0.003 | 0.000 |  | 41 | -1.236 | -0.116 | 0.028 | -0.019 | 0.006 | 0.040 |
| 80 | 66 | -0.348 | -0.033 | -0.007 | -0.002 | 0.002 | 0.002 | 120 | 40 | 0.212 | 0.003 | 0.007 | -0.001 | -0.003 | -0.024 |
|  | 77 | -0.349 | -0.038 | -0.007 | -0.002 | -0.003 | -0.023 |  | 51 | 0.212 | -0.003 | 0.007 | -0.001 | 0.003 | -0.024 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.669 | -0.195 | 0.043 | -0.036 | -0.017 | 0.094 | 161 | 65 | 0.072 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 |
|  | 42 | -0.669 | -0.201 | 0.043 | -0.036 | 0.009 | -0.023 |  | 66 | 0.072 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
| 122 | 41 | 0.150 | 0.007 | 0.014 | -0.002 | -0.005 | -0.020 | 162 | 65 | -0.003 | -0.041 | 0.004 | -0.005 | -0.002 | -0.002 |
|  | 52 | 0.149 | 0.002 | 0.014 | -0.002 | 0.005 | -0.017 |  | 76 | -0.003 | -0.046 | 0.004 | -0.005 | 0.002 | -0.033 |
| 123 | 42 | 0.108 | -0.283 | 0.087 | -0.060 | -0.025 | 0.051 | 163 | 68 | 0.390 | 0.000 | 0.007 | 0.000 | -0.002 | 0.000 |
|  | 43 | 0.108 | -0.290 | 0.087 | -0.060 | 0.026 | -0.119 |  | 69 | 0.390 | -0.002 | 0.007 | 0.000 | 0.002 | -0.001 |
| 124 | 42 | 0.061 | 0.012 | 0.014 | -0.002 | -0.004 | -0.013 | 164 | 68 | 0.585 | -0.067 | -0.009 | 0.006 | 0.001 | -0.016 |
|  | 53 | 0.060 | 0.007 | 0.014 | -0.002 | 0.006 | -0.006 |  | 79 | 0.584 | -0.072 | -0.009 | 0.006 | -0.006 | -0.064 |
| 125 | 43 | 0.515 | -0.396 | -0.023 | -0.118 | 0.007 | -0.083 | 165 | 69 | 0.672 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.515 | -0.416 | -0.023 | -0.118 | -0.006 | -0.324 |  | 70 | 0.672 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | -0.010 | 0.016 | 0.008 | -0.002 | -0.002 | 0.000 | 166 | 69 | 0.646 | -0.080 | 0.009 | 0.008 | -0.005 | -0.043 |
|  | 54 | -0.010 | 0.011 | 0.008 | -0.002 | 0.004 | 0.009 |  | 80 | 0.645 | -0.086 | 0.009 | 0.008 | 0.001 | -0.102 |
| 127 | 46 | 0.143 | 0.000 | 0.019 | 0.000 | -0.005 | 0.000 | 167 | 70 | 1.005 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.143 | -0.002 | 0.019 | 0.000 | 0.006 | 0.000 |  | 71 | 1.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | -0.115 | -0.008 | -0.010 | 0.003 | 0.003 | 0.003 | 168 | 70 | 0.711 | -0.086 | 0.015 | 0.007 | -0.007 | -0.064 |
|  | 57 | -0.115 | -0.013 | -0.010 | 0.003 | -0.004 | -0.005 |  | 81 | 0.710 | -0.091 | 0.015 | 0.007 | 0.004 | -0.126 |
| 129 | 47 | 0.262 | 0.001 | 0.016 | 0.000 | -0.005 | 0.000 | 169 | 71 | 1.217 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.262 | -0.002 | 0.016 | 0.000 | 0.005 | 0.000 |  | 72 | 1.217 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | 0.086 | -0.017 | -0.011 | 0.004 | 0.003 | -0.007 | 170 | 71 | 0.823 | -0.092 | 0.010 | 0.004 | -0.004 | -0.076 |
|  | 58 | 0.086 | -0.022 | -0.011 | 0.004 | -0.004 | -0.021 |  | 82 | 0.823 | -0.097 | 0.010 | 0.004 | 0.003 | -0.143 |
| 131 | 48 | 0.383 | 0.001 | 0.012 | 0.000 | -0.004 | 0.000 | 171 | 72 | 1.234 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.383 | -0.002 | 0.012 | 0.000 | 0.003 | 0.000 |  | 73 | 1.234 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
| 132 | 48 | 0.280 | -0.023 | -0.007 | 0.003 | 0.002 | -0.015 | 172 | 72 | 0.837 | -0.093 | 0.001 | 0.000 | 0.000 | -0.081 |
|  | 59 | 0.280 | -0.029 | -0.007 | 0.003 | -0.003 | -0.033 |  | 83 | 0.836 | -0.098 | 0.001 | 0.000 | 0.000 | -0.148 |
| 133 | 49 | 0.454 | 0.001 | 0.005 | 0.000 | -0.002 | 0.000 | 173 | 73 | 1.053 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.454 | -0.001 | 0.005 | 0.000 | 0.001 | 0.000 |  | 74 | 1.053 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 134 | 49 | 0.409 | -0.029 | -0.004 | 0.002 | 0.001 | -0.019 | 174 | 73 | 0.830 | -0.092 | -0.008 | -0.004 | 0.003 | -0.076 |
|  | 60 | 0.408 | -0.034 | -0.004 | 0.002 | -0.002 | -0.041 |  | 84 | 0.829 | -0.097 | -0.008 | -0.004 | -0.002 | -0.143 |
| 135 | 50 | 0.456 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 | 175 | 74 | 0.736 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.456 | -0.001 | -0.004 | 0.000 | -0.002 | 0.000 |  | 75 | 0.735 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.440 | -0.031 | 0.000 | 0.000 | 0.000 | -0.021 | 176 | 74 | 0.716 | -0.086 | -0.015 | -0.007 | 0.006 | -0.064 |
|  | 61 | 0.439 | -0.036 | 0.000 | 0.000 | 0.000 | -0.044 |  | 85 | 0.715 | -0.092 | -0.015 | -0.007 | -0.004 | -0.126 |
| 137 | 51 | 0.389 | 0.002 | -0.012 | 0.000 | 0.003 | 0.000 | 177 | 75 | 0.437 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 52 | 0.389 | -0.001 | -0.012 | 0.000 | -0.004 | 0.000 |  | 76 | 0.437 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 138 | 51 | 0.404 | -0.029 | 0.004 | -0.002 | -0.001 | -0.019 | 178 | 75 | 0.694 | -0.083 | -0.012 | -0.008 | 0.006 | -0.044 |
|  | 62 | 0.404 | -0.034 | 0.004 | -0.002 | 0.002 | -0.041 |  | 86 | 0.694 | -0.088 | -0.012 | -0.008 | -0.003 | -0.104 |
| 139 | 52 | 0.269 | 0.002 | -0.016 | 0.000 | 0.005 | 0.000 | 179 | 76 | 0.285 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 |
|  | 53 | 0.269 | -0.001 | -0.016 | 0.000 | -0.005 | 0.000 |  | 77 | 0.285 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
| 140 | 52 | 0.273 | -0.024 | 0.008 | -0.004 | -0.002 | -0.014 | 180 | 76 | 0.608 | -0.071 | 0.009 | -0.006 | 0.000 | -0.018 |
|  | 63 | 0.272 | -0.030 | 0.008 | -0.004 | 0.003 | -0.033 |  | 87 | 0.608 | -0.076 | 0.009 | -0.006 | 0.006 | -0.070 |
| 141 | 53 | 0.139 | 0.002 | -0.020 | 0.000 | 0.006 | 0.000 | 181 | 79 | 0.892 | 1.056 | 0.188 | -0.174 | -0.049 | -0.481 |
|  | 54 | 0.139 | 0.000 | -0.020 | 0.000 | -0.006 | 0.000 |  | 80 | 0.892 | 1.049 | 0.188 | -0.174 | 0.063 | 0.145 |
| 142 | 53 | 0.094 | -0.019 | 0.011 | -0.004 | -0.004 | -0.005 | 182 | 79 | 0.956 | 0.134 | -0.359 | 0.016 | 0.054 | -0.138 |
|  | 64 | 0.094 | -0.024 | 0.011 | -0.004 | 0.004 | -0.020 |  | 90 | 0.956 | 0.133 | -0.359 | 0.016 | -0.009 | -0.114 |
| 143 | 54 | 0.047 | 0.002 | -0.009 | 0.000 | 0.003 | 0.000 | 183 | 80 | -1.825 | 0.805 | 0.156 | -0.135 | -0.043 | -0.141 |
|  | 55 | 0.047 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |  | 81 | -1.825 | 0.798 | 0.156 | -0.135 | 0.050 | 0.335 |
| 144 | 54 | -0.121 | -0.013 | 0.010 | -0.003 | -0.003 | 0.006 | 184 | 80 | 0.913 | 0.131 | -1.019 | -0.001 | 0.127 | -0.138 |
|  | 65 | -0.121 | -0.018 | 0.010 | -0.003 | 0.004 | -0.005 |  | 91 | 0.913 | 0.129 | -1.019 | -0.001 | -0.053 | -0.115 |
| 145 | 57 | 0.207 | 0.000 | 0.018 | 0.000 | -0.005 | 0.000 | 185 | 81 | -4.067 | 0.521 | 0.138 | -0.092 | -0.045 | 0.103 |
|  | 58 | 0.207 | -0.003 | 0.018 | 0.000 | 0.006 | -0.001 |  | 82 | -4.067 | 0.514 | 0.138 | -0.092 | 0.037 | 0.410 |
| 146 | 57 | -0.023 | -0.037 | -0.005 | 0.005 | 0.002 | -0.003 | 186 | 81 | 0.918 | 0.160 | -0.952 | 0.000 | 0.115 | -0.167 |
|  | 68 | -0.024 | -0.042 | -0.005 | 0.005 | -0.002 | -0.030 |  | 92 | 0.917 | 0.159 | -0.952 | 0.000 | -0.053 | -0.139 |
| 147 | 58 | 0.361 | 0.000 | 0.012 | 0.000 | -0.004 | 0.000 | 187 | 82 | -5.316 | 0.181 | 0.040 | -0.033 | -0.017 | 0.281 |
|  | 59 | 0.361 | -0.002 | 0.012 | 0.000 | 0.004 | 0.000 |  | 83 | -5.316 | 0.174 | 0.040 | -0.033 | 0.007 | 0.386 |
| 148 | 58 | 0.245 | -0.048 | -0.010 | 0.006 | 0.003 | -0.017 | 188 | 82 | 1.152 | 0.201 | -0.542 | 0.000 | 0.065 | -0.205 |
|  | 69 | 0.245 | -0.054 | -0.010 | 0.006 | -0.004 | -0.053 |  | 93 | 1.152 | 0.199 | -0.542 | 0.000 | -0.030 | -0.170 |
| 149 | 59 | 0.466 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 | 189 | 83 | -5.327 | -0.167 | -0.051 | 0.030 | 0.010 | 0.386 |
|  | 60 | 0.466 | -0.002 | 0.009 | 0.000 | 0.002 | 0.000 |  | 84 | -5.327 | -0.174 | -0.051 | 0.030 | -0.020 | 0.285 |
| 150 | 59 | 0.485 | -0.055 | -0.008 | 0.005 | 0.002 | -0.028 | 190 | 83 | 1.150 | 0.208 | 0.026 | 0.000 | -0.002 | -0.214 |
|  | 70 | 0.485 | -0.060 | -0.008 | 0.005 | -0.003 | -0.069 |  | 94 | 1.149 | 0.207 | 0.026 | 0.000 | 0.002 | -0.177 |
| 151 | 60 | 0.522 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 | 191 | 84 | -4.087 | -0.508 | -0.153 | 0.089 | 0.041 | 0.416 |
|  | 61 | 0.522 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 85 | -4.087 | -0.515 | -0.153 | 0.089 | -0.050 | 0.112 |
| 152 | 60 | 0.658 | -0.061 | -0.004 | 0.003 | 0.001 | -0.036 | 192 | 84 | 1.125 | 0.201 | 0.607 | 0.002 | -0.072 | -0.206 |
|  | 71 | 0.658 | -0.066 | -0.004 | 0.003 | -0.002 | -0.080 |  | 95 | 1.125 | 0.200 | 0.607 | 0.002 | 0.035 | -0.171 |
| 153 | 61 | 0.523 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 | 193 | 85 | -1.799 | -0.796 | -0.187 | 0.132 | 0.057 | 0.352 |
|  | 62 | 0.523 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 86 | -1.799 | -0.803 | -0.187 | 0.132 | -0.054 | -0.123 |
| 154 | 61 | 0.697 | -0.062 | 0.000 | 0.000 | 0.000 | -0.038 | 194 | 85 | 0.866 | 0.162 | 1.068 | 0.003 | -0.126 | -0.169 |
|  | 72 | 0.696 | -0.067 | 0.000 | 0.000 | 0.000 | -0.084 |  | 96 | 0.866 | 0.161 | 1.068 | 0.003 | 0.062 | -0.141 |
| 155 | 62 | 0.467 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 | 195 | 86 | 1.026 | -1.044 | -0.187 | 0.169 | 0.067 | 0.177 |
|  | 63 | 0.467 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |  | 87 | 1.026 | -1.050 | -0.187 | 0.169 | -0.044 | -0.445 |
| 156 | 62 | 0.657 | -0.061 | 0.004 | -0.003 | -0.001 | -0.035 | 196 | 86 | 0.855 | 0.128 | 1.168 | 0.005 | -0.145 | -0.138 |
|  | 73 | 0.656 | -0.066 | 0.004 | -0.003 | 0.002 | -0.080 |  | 97 | 0.855 | 0.127 | 1.168 | 0.005 | 0.061 | -0.115 |
| 157 | 63 | 0.360 | 0.002 | -0.012 | 0.000 | 0.004 | 0.000 | 197 | 87 | 1.903 | -1.265 | -0.002 | 0.262 | -0.022 | -0.368 |
|  | 64 | 0.360 | 0.000 | -0.012 | 0.000 | -0.004 | 0.000 |  | 125 | 1.903 | -1.285 | -0.002 | 0.262 | -0.024 | -1.125 |
| 158 | 63 | 0.484 | -0.056 | 0.008 | -0.005 | -0.002 | -0.028 | 198 | 87 | 0.861 | 0.134 | 0.051 | -0.024 | -0.023 | -0.138 |
|  | 74 | 0.484 | -0.061 | 0.008 | -0.005 | 0.003 | -0.069 |  | 100 | 0.860 | 0.132 | 0.051 | -0.024 | -0.013 | -0.112 |
| 159 | 64 | 0.205 | 0.003 | -0.019 | 0.000 | 0.006 | -0.001 | 199 | 102 | 0.737 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.205 | 0.000 | -0.019 | 0.000 | -0.005 | 0.000 |  | 103 | 0.737 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
| 160 | 64 | 0.281 | -0.051 | 0.011 | -0.006 | -0.003 | -0.016 | 200 | 102 | 0.195 | 0.101 | -0.004 | 0.028 | -0.001 | -0.064 |
|  | 75 | 0.281 | -0.056 | 0.011 | -0.006 | 0.004 | -0.054 |  | 113 | 0.194 | 0.096 | -0.004 | 0.028 | -0.004 | 0.006 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 40 (Linear): COMB 4 (1+6)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 1.074 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 1.074 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 | 1 11 | -0.014 | 0.003 | 0.006 | 0.000 | -0.002 | -0.001 |
| 202 | 103 | 0.199 | 0.100 | 0.002 | 0.031 | -0.003 | -0.065 | 10 | -0.014 | 0.000 | 0.006 | 0.000 | 0.001 | 0.000 |
|  | 114 | 0.198 | 0.095 | 0.002 | 0.031 | -0.001 | 0.004 | 2 1 | -0.005 | -0.006 | 0.005 | -0.001 | -0.002 | 0.000 |
| 203 | 104 | 1.496 | 0.002 | -0.002 | 0.000 | -0.002 | 0.000 | 12 | -0.005 | -0.013 | 0.005 | -0.001 | 0.001 | -0.006 |
|  | 105 | 1.496 | -0.001 | -0.002 | 0.000 | -0.003 | 0.000 | 3 122 | 0.045 | 0.017 | -0.005 | 0.026 | 0.001 | -0.025 |
| 204 | 104 | 0.205 | 0.126 | 0.004 | 0.030 | -0.004 | -0.076 | 121 | 0.045 | 0.011 | -0.005 | 0.026 | -0.002 | -0.017 |
|  | 115 | 0.204 | 0.120 | 0.004 | 0.030 | -0.001 | 0.010 | 4 11 | -0.007 | -0.006 | -0.004 | 0.001 | 0.002 | 0.000 |
| 205 | 105 | 1.812 | 0.001 | 0.004 | 0.000 | -0.004 | 0.000 | 22 | -0.008 | -0.013 | -0.004 | 0.001 | -0.001 | -0.007 |
|  | 106 | 1.812 | -0.001 | 0.004 | 0.000 | -0.002 | 0.000 | 5 33 | -0.030 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
| 206 | 105 | 0.243 | 0.165 | 0.003 | 0.017 | -0.003 | -0.092 | 32 | -0.030 | -0.001 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.242 | 0.160 | 0.003 | 0.017 | 0.000 | 0.023 | 6 99 | -0.056 | 0.003 | -0.011 | 0.000 | 0.003 | -0.001 |
| 207 | 106 | 1.829 | 0.001 | 0.000 | 0.000 | -0.003 | 0.000 | 98 | -0.056 | 0.000 | -0.011 | 0.000 | -0.003 | 0.000 |
|  | 107 | 1.829 | -0.001 | 0.000 | 0.000 | -0.003 | 0.000 | 7 32 | 0.058 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |
| 208 | 106 | 0.226 | 0.170 | 0.000 | 0.000 | 0.000 | -0.095 | 31 | 0.058 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 117 | 0.226 | 0.165 | 0.000 | 0.000 | 0.000 | 0.023 | 8 31 | 0.224 | 0.002 | 0.008 | 0.000 | -0.003 | 0.000 |
| 209 | 107 | 1.544 | 0.001 | 0.005 | 0.000 | -0.004 | 0.000 | 30 | 0.224 | -0.001 | 0.008 | 0.000 | 0.002 | 0.000 |
|  | 108 | 1.544 | -0.002 | 0.005 | 0.000 | -0.001 | 0.000 | 9 30 | 0.340 | 0.002 | 0.004 | 0.000 | -0.001 | 0.000 |
| 210 | 107 | 0.252 | 0.166 | -0.002 | -0.018 | 0.002 | -0.091 | 29 | 0.340 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 118 | 0.251 | 0.161 | -0.002 | -0.018 | 0.000 | 0.024 | 10 29 | 0.396 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
| 211 | 108 | 1.143 | 0.001 | 0.008 | 0.000 | -0.003 | 0.000 | 28 | 0.396 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 109 | 1.143 | -0.002 | 0.008 | 0.000 | 0.002 | 0.000 | 11 28 | 0.388 | 0.002 | -0.002 | 0.000 | 0.001 | 0.000 |
| 212 | 108 | 0.221 | 0.127 | -0.003 | -0.031 | 0.003 | -0.076 | 27 | 0.388 | -0.002 | -0.002 | 0.000 | -0.001 | 0.000 |
|  | 119 | 0.220 | 0.122 | -0.003 | -0.031 | 0.001 | 0.012 | 12 27 | 0.320 | 0.001 | -0.006 | 0.000 | 0.001 | 0.000 |
| 213 | 109 | 0.801 | 0.001 | -0.004 | 0.000 | 0.000 | 0.000 | 26 | 0.320 | -0.002 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 110 | 0.801 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 | 13 26 | 0.196 | 0.001 | -0.008 | 0.000 | 0.002 | 0.000 |
| 214 | 109 | 0.200 | 0.100 | 0.002 | -0.031 | 0.001 | -0.064 | 25 | 0.196 | -0.002 | -0.008 | 0.000 | -0.003 | 0.000 |
|  | 120 | 0.199 | 0.094 | 0.002 | -0.031 | 0.002 | 0.004 | 14 25 | 0.041 | 0.001 | -0.004 | 0.000 | 0.002 | 0.000 |
| 215 | 110 | 0.500 | 0.001 | -0.028 | 0.000 | 0.009 | 0.000 | 24 | 0.041 | -0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 111 | 0.500 | -0.001 | -0.028 | 0.000 | -0.007 | 0.000 | 15 24 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.200 | 0.100 | -0.002 | -0.028 | 0.004 | -0.062 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.199 | 0.094 | -0.002 | -0.028 | 0.003 | 0.006 | 16 98 | -0.056 | 0.000 | -0.011 | 0.000 | -0.003 | 0.000 |
| 217 | 34 | 0.481 | 0.118 | 0.289 | 0.009 | -0.411 | -0.129 | 97 | -0.056 | -0.003 | -0.011 | 0.000 | -0.010 | -0.001 |
|  | 131 | 0.506 | 0.120 | 0.289 | 0.009 | -0.284 | -0.076 | 17 97 | 1.049 | 0.003 | -0.082 | 0.000 | 0.026 | 0.000 |
| 218 | 78 | 1.406 | -0.154 | 0.739 | 0.005 | -1.293 | 0.303 | 96 | 1.049 | -0.001 | -0.082 | 0.000 | -0.023 | 0.000 |
|  | 44 | 1.437 | -0.151 | 0.739 | 0.005 | -0.901 | 0.222 | 18 96 | 2.053 | 0.002 | -0.057 | 0.000 | 0.020 | 0.000 |
| 219 | 125 | 1.410 | -0.122 | -0.799 | 0.003 | 1.271 | 0.259 | 95 | 2.053 | -0.001 | -0.057 | 0.000 | -0.014 | 0.000 |
|  | 135 | 1.436 | -0.119 | -0.799 | 0.003 | 0.911 | 0.205 | 19 95 | 2.627 | 0.002 | -0.022 | 0.000 | 0.010 | 0.000 |
| 220 | 127 | 0.444 | 0.158 | -0.229 | -0.001 | 0.360 | -0.157 | 94 | 2.627 | -0.001 | -0.022 | 0.000 | -0.003 | 0.000 |
|  | 139 | 0.469 | 0.160 | -0.229 | -0.001 | 0.259 | -0.087 | 20 94 | 2.654 | 0.001 | 0.019 | 0.000 | -0.002 | 0.000 |
| 221 | 99 | 0.278 | 0.042 | 0.023 | -0.026 | -0.009 | -0.057 | 93 | 2.654 | -0.002 | 0.019 | 0.000 | 0.010 | 0.000 |
|  | 111 | 0.277 | 0.038 | 0.023 | -0.026 | 0.003 | -0.038 | 21 93 | 2.148 | 0.001 | 0.053 | 0.000 | -0.013 | 0.000 |
| 222 | 33 | 0.064 | -0.034 | 0.056 | 0.004 | -0.006 | -0.023 | 92 | 2.148 | -0.002 | 0.053 | 0.000 | 0.019 | 0.000 |
|  | 127 | 0.064 | -0.035 | 0.056 | 0.004 | 0.003 | -0.029 | 22 92 | 1.261 | 0.001 | 0.069 | 0.000 | -0.020 | 0.000 |
| 223 | 44 | 1.437 | -0.151 | 0.739 | 0.005 | -0.901 | 0.222 | 91 | 1.261 | -0.002 | 0.069 | 0.000 | 0.021 | 0.000 |
|  | 88 | 1.447 | -0.147 | 0.739 | 0.005 | -0.508 | 0.143 | 23 91 | 0.313 | 0.001 | 0.043 | 0.000 | -0.016 | 0.000 |
| 224 | 88 | 1.447 | -0.147 | 0.739 | 0.005 | -0.508 | 0.143 | 90 | 0.313 | -0.002 | 0.043 | 0.000 | 0.010 | 0.000 |
|  | 129 | 1.458 | -0.144 | 0.739 | 0.005 | -0.116 | 0.065 | 24 90 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | 1.458 | -0.144 | 0.739 | 0.005 | -0.116 | 0.065 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 1.468 | -0.141 | 0.739 | 0.005 | 0.277 | -0.010 | 25 10 | -0.072 | 0.003 | 0.008 | 0.000 | -0.002 | -0.001 |
| 226 | 130 | 1.468 | -0.141 | 0.739 | 0.005 | 0.277 | -0.010 | 9 | -0.072 | 0.000 | 0.008 | 0.000 | 0.003 | 0.000 |
|  | 124 | 1.479 | -0.138 | 0.739 | 0.005 | 0.670 | -0.084 | 26 9 | -0.150 | 0.003 | 0.004 | 0.000 | -0.001 | 0.000 |
| 227 | 131 | 0.506 | 0.120 | 0.289 | 0.009 | -0.284 | -0.076 | 8 | -0.150 | 0.000 | 0.004 | 0.000 | 0.002 | 0.000 |
|  | 132 | 0.515 | 0.123 | 0.289 | 0.009 | -0.157 | -0.023 | 27 8 | -0.218 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.515 | 0.123 | 0.289 | 0.009 | -0.157 | -0.023 | 7 | -0.218 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 133 | 0.524 | 0.126 | 0.289 | 0.009 | -0.030 | 0.032 | 28 7 | -0.255 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.524 | 0.126 | 0.289 | 0.009 | -0.030 | 0.032 | 6 | -0.255 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 134 | 0.532 | 0.128 | 0.289 | 0.009 | 0.097 | 0.088 | 29 6 | -0.253 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | 0.532 | 0.128 | 0.289 | 0.009 | 0.097 | 0.088 | 5 | -0.253 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.541 | 0.131 | 0.289 | 0.009 | 0.224 | 0.145 | 30 5 | -0.210 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 1.436 | -0.119 | -0.799 | 0.003 | 0.911 | 0.205 | 4 | -0.210 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 136 | 1.445 | -0.116 | -0.799 | 0.003 | 0.550 | 0.152 | 31 4 | -0.139 | 0.001 | -0.004 | 0.000 | 0.002 | 0.000 |
| 232 | 136 | 1.445 | -0.116 | -0.799 | 0.003 | 0.550 | 0.152 | 3 | -0.139 | -0.003 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 137 | 1.454 | -0.114 | -0.799 | 0.003 | 0.190 | 0.100 | 32 3 | -0.064 | 0.000 | -0.007 | 0.000 | 0.002 | 0.000 |
| 233 | 137 | 1.454 | -0.114 | -0.799 | 0.003 | 0.190 | 0.100 | 2 | -0.064 | -0.003 | -0.007 | 0.000 | -0.002 | -0.001 |
|  | 138 | 1.463 | -0.111 | -0.799 | 0.003 | -0.170 | 0.049 | 33 2 | -0.011 | 0.001 | -0.005 | 0.000 | 0.001 | 0.000 |
| 234 | 138 | 1.463 | -0.111 | -0.799 | 0.003 | -0.170 | 0.049 | 1 | -0.011 | -0.003 | -0.005 | 0.000 | -0.002 | 0.000 |
|  | 126 | 1.472 | -0.108 | -0.799 | 0.003 | -0.530 | 0.000 | 34 121 | -0.187 | 0.093 | 0.011 | 0.027 | -0.005 | -0.049 |
| 235 | 139 | 0.469 | 0.160 | -0.229 | -0.001 | 0.259 | -0.087 | 120 | -0.187 | 0.087 | 0.011 | 0.027 | 0.002 | 0.004 |
|  | 140 | 0.478 | 0.163 | -0.229 | -0.001 | 0.159 | -0.016 | 35 120 | -0.674 | 0.171 | 0.019 | 0.029 | -0.005 | -0.038 |
| 236 | 140 | 0.478 | 0.163 | -0.229 | -0.001 | 0.159 | -0.016 | 119 | -0.674 | 0.165 | 0.019 | 0.029 | 0.007 | 0.062 |
|  | 141 | 0.487 | 0.166 | -0.229 | -0.001 | 0.058 | 0.057 | 36 119 | -1.387 | 0.278 | 0.024 | 0.024 | -0.003 | 0.015 |
| 237 | 141 | 0.487 | 0.166 | -0.229 | -0.001 | 0.058 | 0.057 | 118 | -1.387 | 0.272 | 0.024 | 0.024 | 0.011 | 0.178 |
|  | 142 | 0.496 | 0.168 | -0.229 | -0.001 | -0.043 | 0.130 | 37 118 | -1.759 | -0.072 | 0.000 | 0.008 | 0.006 | 0.152 |
| 238 | 142 | 0.496 | 0.168 | -0.229 | -0.001 | -0.043 | 0.130 | 117 | -1.759 | -0.078 | 0.000 | 0.008 | 0.006 | 0.107 |
|  | 128 | 0.504 | 0.171 | -0.229 | -0.001 | -0.144 | 0.205 | 38 117 | -1.760 | 0.079 | 0.000 | -0.009 | 0.006 | 0.106 |
|  |  |  |  |  |  |  |  | 116 | -1.760 | 0.073 | 0.000 | -0.009 | 0.006 | 0.152 |
|  |  |  |  |  |  |  |  | 39 116 | -1.388 | -0.272 | -0.024 | -0.025 | 0.011 | 0.178 |
|  |  |  |  |  |  |  |  | 115 | -1.388 | -0.278 | -0.024 | -0.025 | -0.003 | 0.014 |
|  |  |  |  |  |  |  |  | 40 115 | -0.675 | -0.166 | -0.020 | -0.030 | 0.007 | 0.061 |
|  |  |  |  |  |  |  |  | 114 | -0.675 | -0.172 | -0.020 | -0.030 | -0.005 | -0.039 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.179 | -0.087 | -0.011 | -0.027 | 0.002 | 0.002 | 81 | 77 | -0.055 | -0.041 | 0.011 | -0.002 | -0.002 | -0.016 |
|  | 113 | -0.179 | -0.093 | -0.011 | -0.027 | -0.005 | -0.051 |  | 125 | -0.056 | -0.048 | 0.011 | -0.002 | 0.005 | -0.047 |
| 42 | 113 | 0.049 | -0.010 | 0.007 | -0.027 | -0.003 | -0.018 | 82 | 125 | 0.242 | 0.038 | -0.035 | -0.027 | 0.001 | -0.059 |
|  | 112 | 0.049 | -0.016 | 0.007 | -0.027 | 0.002 | -0.026 |  | 99 | 0.242 | 0.036 | -0.035 | -0.027 | -0.007 | -0.051 |
| 43 | 2 | 0.004 | -0.009 | 0.006 | -0.001 | -0.003 | 0.001 | 83 | 111 | 0.071 | 0.026 | 0.004 | -0.026 | 0.001 | -0.040 |
|  | 13 | 0.003 | -0.016 | 0.006 | -0.001 | 0.001 | -0.008 |  | 122 | 0.071 | 0.019 | 0.004 | -0.026 | 0.003 | -0.024 |
| 44 | 24 | 0.129 | -0.040 | 0.043 | 0.000 | -0.001 | -0.022 | 84 | 12 | 0.055 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.128 | -0.042 | 0.043 | 0.000 | 0.007 | -0.029 |  | 13 | 0.055 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
| 45 | 90 | 0.812 | 0.118 | -0.011 | 0.026 | 0.002 | -0.106 | 85 | 34 | 0.362 | 0.266 | 0.005 | 0.091 | 0.006 | -0.215 |
|  | 102 | 0.812 | 0.113 | -0.011 | 0.026 | -0.004 | -0.046 |  | 35 | 0.362 | 0.239 | 0.005 | 0.091 | 0.010 | -0.065 |
| 46 | 3 | 0.022 | -0.007 | 0.005 | -0.001 | -0.002 | 0.001 | 86 | 45 | 0.036 | 0.001 | 0.008 | 0.000 | -0.002 | 0.000 |
|  | 14 | 0.021 | -0.014 | 0.005 | -0.001 | 0.001 | -0.007 |  | 46 | 0.036 | -0.002 | 0.008 | 0.000 | 0.002 | 0.000 |
| 47 | 25 | 0.142 | -0.035 | 0.149 | 0.002 | -0.008 | -0.019 | 87 | 56 | 0.067 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 36 | 0.142 | -0.037 | 0.149 | 0.002 | 0.019 | -0.025 |  | 57 | 0.067 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 48 | 91 | 0.812 | 0.115 | 0.024 | 0.030 | -0.012 | -0.108 | 88 | 67 | 0.222 | 0.001 | 0.010 | 0.000 | -0.003 | 0.000 |
|  | 103 | 0.811 | 0.110 | 0.024 | 0.030 | 0.000 | -0.048 |  | 68 | 0.222 | -0.002 | 0.010 | 0.000 | 0.003 | 0.000 |
| 49 | 4 | 0.038 | -0.007 | 0.002 | -0.001 | -0.001 | 0.001 | 89 | 78 | 1.672 | 1.124 | 0.041 | -0.265 | -0.022 | -1.007 |
|  | 15 | 0.038 | -0.014 | 0.002 | -0.001 | 0.001 | -0.006 |  | 79 | 1.672 | 1.098 | 0.041 | -0.265 | 0.002 | -0.347 |
| 50 | 26 | 0.136 | -0.035 | 0.117 | 0.002 | -0.007 | -0.019 | 90 | 101 | 0.425 | 0.001 | 0.018 | 0.000 | -0.005 | 0.000 |
|  | 37 | 0.136 | -0.037 | 0.117 | 0.002 | 0.013 | -0.026 |  | 102 | 0.425 | -0.002 | 0.018 | 0.000 | 0.006 | 0.000 |
| 51 | 92 | 0.894 | 0.142 | 0.021 | 0.030 | -0.011 | -0.131 | 91 | 13 | 0.040 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 104 | 0.894 | 0.136 | 0.021 | 0.030 | 0.000 | -0.058 |  | 14 | 0.040 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 52 | 5 | 0.048 | -0.008 | 0.000 | 0.000 | 0.000 | 0.002 | 92 | 13 | 0.126 | -0.029 | 0.002 | -0.002 | -0.001 | -0.005 |
|  | 16 | 0.048 | -0.015 | 0.000 | 0.000 | 0.000 | -0.006 |  | 24 | 0.125 | -0.035 | 0.002 | -0.002 | 0.000 | -0.022 |
| 53 | 27 | 0.149 | -0.035 | 0.065 | 0.001 | -0.004 | -0.020 | 93 | 14 | 0.032 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.149 | -0.037 | 0.065 | 0.001 | 0.007 | -0.026 |  | 15 | 0.032 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 1.170 | 0.181 | 0.011 | 0.017 | -0.006 | -0.162 | 94 | 14 | 0.140 | -0.027 | -0.006 | -0.002 | 0.000 | -0.004 |
|  | 105 | 1.169 | 0.176 | 0.011 | 0.017 | 0.000 | -0.068 |  | 25 | 0.140 | -0.032 | -0.006 | -0.002 | -0.003 | -0.019 |
| 55 | 6 | 0.050 | -0.008 | 0.000 | 0.000 | 0.000 | 0.002 | 95 | 15 | 0.053 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 17 | 0.049 | -0.015 | 0.000 | 0.000 | 0.000 | -0.006 |  | 16 | 0.053 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.150 | -0.036 | 0.007 | 0.000 | -0.001 | -0.020 | 96 | 15 | 0.141 | -0.027 | -0.006 | -0.001 | 0.001 | -0.004 |
|  | 39 | 0.150 | -0.037 | 0.007 | 0.000 | 0.001 | -0.026 |  | 26 | 0.141 | -0.032 | -0.006 | -0.001 | -0.003 | -0.019 |
| 57 | 94 | 1.187 | 0.188 | -0.004 | 0.000 | 0.001 | -0.168 | 97 | 16 | 0.069 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 106 | 1.187 | 0.182 | -0.004 | 0.000 | -0.001 | -0.071 |  | 17 | 0.069 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.046 | -0.008 | -0.001 | 0.000 | 0.000 | 0.002 | 98 | 16 | 0.154 | -0.028 | -0.004 | 0.000 | 0.001 | -0.004 |
|  | 18 | 0.046 | -0.015 | -0.001 | 0.000 | 0.000 | -0.006 |  | 27 | 0.153 | -0.033 | -0.004 | 0.000 | -0.002 | -0.019 |
| 59 | 29 | 0.147 | -0.035 | -0.052 | -0.001 | 0.003 | -0.020 | 99 | 17 | 0.072 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.147 | -0.037 | -0.052 | -0.001 | -0.006 | -0.026 |  | 18 | 0.072 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 1.159 | 0.181 | -0.020 | -0.018 | 0.009 | -0.162 | 100 | 17 | 0.154 | -0.028 | 0.000 | 0.000 | 0.000 | -0.004 |
|  | 107 | 1.159 | 0.176 | -0.020 | -0.018 | -0.002 | -0.068 |  | 28 | 0.154 | -0.033 | 0.000 | 0.000 | 0.000 | -0.020 |
| 61 | 8 | 0.035 | -0.007 | -0.002 | 0.001 | 0.001 | 0.001 | 101 | 18 | 0.062 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.034 | -0.014 | -0.002 | 0.001 | -0.001 | -0.006 |  | 19 | 0.062 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.133 | -0.035 | -0.110 | -0.001 | 0.007 | -0.019 | 102 | 18 | 0.151 | -0.027 | 0.003 | 0.001 | 0.000 | -0.004 |
|  | 41 | 0.133 | -0.037 | -0.110 | -0.001 | -0.013 | -0.026 |  | 29 | 0.151 | -0.033 | 0.003 | 0.001 | 0.001 | -0.019 |
| 63 | 96 | 0.878 | 0.142 | -0.035 | -0.031 | 0.016 | -0.132 | 103 | 19 | 0.044 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.877 | 0.137 | -0.035 | -0.031 | -0.003 | -0.058 |  | 20 | 0.044 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.021 | -0.007 | -0.006 | 0.001 | 0.002 | 0.001 | 104 | 19 | 0.136 | -0.027 | 0.006 | 0.001 | -0.001 | -0.004 |
|  | 20 | 0.020 | -0.014 | -0.006 | 0.001 | -0.002 | -0.007 |  | 30 | 0.135 | -0.032 | 0.006 | 0.001 | 0.002 | -0.019 |
| 65 | 31 | 0.139 | -0.035 | -0.160 | -0.002 | 0.008 | -0.019 | 105 | 20 | 0.048 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.139 | -0.037 | -0.160 | -0.002 | -0.020 | -0.025 |  | 21 | 0.048 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |
| 66 | 97 | 0.738 | 0.116 | -0.051 | -0.031 | 0.022 | -0.109 | 106 | 20 | 0.137 | -0.027 | 0.007 | 0.002 | -0.001 | -0.004 |
|  | 109 | 0.737 | 0.110 | -0.051 | -0.031 | -0.005 | -0.049 |  | 31 | 0.137 | -0.032 | 0.007 | 0.002 | 0.003 | -0.019 |
| 67 | 10 | 0.001 | -0.009 | -0.007 | 0.001 | 0.003 | 0.001 | 107 | 21 | 0.060 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 21 | 0.000 | -0.016 | -0.007 | 0.001 | -0.002 | -0.008 |  | 22 | 0.060 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |
| 68 | 32 | 0.112 | -0.039 | -0.086 | 0.000 | 0.003 | -0.022 | 108 | 21 | 0.104 | -0.029 | 0.002 | 0.002 | 0.000 | -0.006 |
|  | 43 | 0.112 | -0.040 | -0.086 | 0.000 | -0.012 | -0.029 |  | 32 | 0.103 | -0.034 | 0.002 | 0.002 | 0.001 | -0.022 |
| 69 | 100 | 0.775 | 0.117 | 0.047 | -0.024 | -0.013 | -0.103 | 109 | 35 | 0.189 | 0.175 | -0.056 | 0.049 | 0.017 | -0.080 |
|  | 110 | 0.775 | 0.112 | 0.047 | -0.024 | 0.011 | -0.045 |  | 36 | 0.189 | 0.165 | -0.056 | 0.049 | -0.016 | 0.021 |
| 70 | 12 | 0.014 | -0.020 | 0.001 | -0.002 | 0.000 | -0.006 | 110 | 35 | -0.039 | 0.006 | -0.005 | 0.002 | 0.001 | 0.002 |
|  | 34 | 0.013 | -0.027 | 0.001 | -0.002 | 0.001 | -0.022 |  | 46 | -0.040 | -0.001 | -0.005 | 0.002 | -0.003 | 0.004 |
| 71 | 34 | -0.298 | 0.001 | 0.001 | 0.002 | -0.001 | 0.012 | 111 | 36 | -0.260 | 0.123 | -0.020 | 0.030 | 0.003 | -0.021 |
|  | 45 | -0.298 | -0.006 | 0.001 | 0.002 | 0.000 | 0.010 |  | 37 | -0.260 | 0.114 | -0.020 | 0.030 | -0.009 | 0.049 |
| 72 | 45 | -0.364 | -0.011 | -0.006 | 0.002 | 0.002 | 0.008 | 112 | 36 | 0.043 | -0.001 | -0.010 | 0.002 | 0.003 | -0.005 |
|  | 56 | -0.365 | -0.018 | -0.006 | 0.002 | -0.002 | -0.002 |  | 47 | 0.042 | -0.008 | -0.010 | 0.002 | -0.004 | -0.008 |
| 73 | 56 | -0.305 | -0.023 | 0.007 | 0.002 | -0.001 | 0.000 | 113 | 37 | -0.601 | 0.075 | -0.014 | 0.015 | 0.003 | 0.017 |
|  | 67 | -0.306 | -0.030 | 0.007 | 0.002 | 0.003 | -0.019 |  | 38 | -0.601 | 0.066 | -0.014 | 0.015 | -0.006 | 0.059 |
| 74 | 67 | -0.077 | -0.035 | -0.016 | 0.002 | 0.004 | -0.013 | 114 | 37 | 0.155 | -0.008 | -0.011 | 0.002 | 0.004 | -0.010 |
|  | 78 | -0.078 | -0.042 | -0.016 | 0.002 | -0.007 | -0.040 |  | 48 | 0.155 | -0.015 | -0.011 | 0.002 | -0.004 | -0.018 |
| 75 | 78 | 0.205 | 0.036 | -0.006 | 0.026 | 0.005 | -0.060 | 115 | 38 | -0.794 | 0.033 | -0.005 | 0.004 | 0.001 | 0.040 |
|  | 101 | 0.205 | 0.029 | -0.006 | 0.026 | 0.001 | -0.037 |  | 39 | -0.794 | 0.023 | -0.005 | 0.004 | -0.003 | 0.057 |
| 76 | 101 | 0.074 | 0.025 | -0.007 | 0.027 | 0.001 | -0.040 | 116 | 38 | 0.224 | -0.013 | -0.007 | 0.001 | 0.002 | -0.012 |
|  | 112 | 0.074 | 0.018 | -0.007 | 0.027 | -0.004 | -0.025 |  | 49 | 0.224 | -0.020 | -0.007 | 0.001 | -0.002 | -0.024 |
| 77 | 22 | 0.016 | -0.020 | -0.007 | 0.002 | 0.001 | -0.006 | 117 | 39 | -0.824 | -0.008 | 0.003 | -0.006 | -0.002 | 0.054 |
|  | 33 | 0.016 | -0.026 | -0.007 | 0.002 | -0.003 | -0.019 |  | 40 | -0.824 | -0.018 | 0.003 | -0.006 | 0.000 | 0.046 |
| 78 | 127 | -0.365 | -0.005 | -0.001 | -0.002 | 0.001 | 0.020 | 118 | 39 | 0.239 | -0.015 | -0.001 | 0.000 | 0.000 | -0.013 |
|  | 55 | -0.366 | -0.012 | -0.001 | -0.002 | 0.000 | 0.014 |  | 50 | 0.238 | -0.022 | -0.001 | 0.000 | 0.000 | -0.026 |
| 79 | 55 | -0.415 | -0.017 | 0.006 | -0.002 | -0.002 | 0.012 | 119 | 40 | -0.688 | -0.051 | 0.012 | -0.017 | -0.005 | 0.058 |
|  | 66 | -0.416 | -0.024 | 0.006 | -0.002 | 0.002 | -0.002 |  | 41 | -0.688 | -0.060 | 0.012 | -0.017 | 0.002 | 0.025 |
| 80 | 66 | -0.329 | -0.029 | -0.006 | -0.002 | 0.001 | 0.000 | 120 | 40 | 0.214 | -0.013 | 0.005 | -0.001 | -0.002 | -0.012 |
|  | 77 | -0.329 | -0.036 | -0.006 | -0.002 | -0.003 | -0.023 |  | 51 | 0.214 | -0.020 | 0.005 | -0.001 | 0.002 | -0.024 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.397 | -0.097 | 0.020 | -0.033 | -0.010 | 0.051 | 161 | 65 | 0.067 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 42 | -0.397 | -0.106 | 0.020 | -0.033 | 0.002 | -0.009 |  | 66 | 0.067 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |
| 122 | 41 | 0.135 | -0.009 | 0.009 | -0.002 | -0.003 | -0.009 | 162 | 65 | 0.012 | -0.035 | 0.005 | -0.005 | -0.002 | -0.006 |
|  | 52 | 0.134 | -0.016 | 0.009 | -0.002 | 0.004 | -0.018 |  | 76 | 0.011 | -0.042 | 0.005 | -0.005 | 0.002 | -0.033 |
| 123 | 42 | 0.023 | -0.146 | 0.063 | -0.055 | -0.018 | 0.029 | 163 | 68 | 0.352 | 0.000 | 0.009 | 0.000 | -0.002 | 0.000 |
|  | 43 | 0.023 | -0.155 | 0.063 | -0.055 | 0.019 | -0.061 |  | 69 | 0.352 | -0.003 | 0.009 | 0.000 | 0.003 | -0.001 |
| 124 | 42 | 0.013 | -0.003 | 0.009 | -0.002 | -0.002 | -0.003 | 164 | 68 | 0.518 | -0.050 | -0.012 | 0.006 | 0.002 | -0.018 |
|  | 53 | 0.012 | -0.010 | 0.009 | -0.002 | 0.004 | -0.007 |  | 79 | 0.517 | -0.057 | -0.012 | 0.006 | -0.006 | -0.056 |
| 125 | 43 | 0.261 | -0.215 | -0.017 | -0.105 | 0.007 | -0.041 | 165 | 69 | 0.607 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 127 | 0.261 | -0.242 | -0.017 | -0.105 | -0.003 | -0.177 |  | 70 | 0.607 | -0.002 | 0.002 | 0.000 | 0.001 | 0.000 |
| 126 | 43 | -0.088 | 0.002 | 0.006 | -0.002 | -0.001 | 0.008 | 166 | 69 | 0.600 | -0.064 | 0.003 | 0.008 | -0.003 | -0.045 |
|  | 54 | -0.089 | -0.005 | 0.006 | -0.002 | 0.003 | 0.006 |  | 80 | 0.599 | -0.071 | 0.003 | 0.008 | -0.001 | -0.092 |
| 127 | 46 | 0.102 | 0.001 | 0.017 | 0.000 | -0.005 | 0.000 | 167 | 70 | 0.905 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 47 | 0.102 | -0.002 | 0.017 | 0.000 | 0.005 | 0.000 |  | 71 | 0.905 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | -0.099 | -0.013 | -0.010 | 0.003 | 0.003 | 0.002 | 168 | 70 | 0.700 | -0.070 | 0.011 | 0.006 | -0.005 | -0.065 |
|  | 57 | -0.100 | -0.020 | -0.010 | 0.003 | -0.004 | -0.009 |  | 81 | 0.699 | -0.077 | 0.011 | 0.006 | 0.002 | -0.116 |
| 129 | 47 | 0.193 | 0.001 | 0.014 | 0.000 | -0.004 | 0.000 | 169 | 71 | 1.094 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.193 | -0.002 | 0.014 | 0.000 | 0.004 | 0.000 |  | 72 | 1.094 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | 0.099 | -0.022 | -0.011 | 0.004 | 0.004 | -0.007 | 170 | 71 | 0.831 | -0.076 | 0.007 | 0.004 | -0.003 | -0.077 |
|  | 58 | 0.098 | -0.029 | -0.011 | 0.004 | -0.004 | -0.024 |  | 82 | 0.830 | -0.083 | 0.007 | 0.004 | 0.002 | -0.133 |
| 131 | 48 | 0.277 | 0.001 | 0.010 | 0.000 | -0.003 | 0.000 | 171 | 72 | 1.109 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.277 | -0.002 | 0.010 | 0.000 | 0.003 | 0.000 |  | 73 | 1.109 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 132 | 48 | 0.299 | -0.029 | -0.008 | 0.003 | 0.003 | -0.014 | 172 | 72 | 0.849 | -0.077 | 0.001 | 0.000 | 0.000 | -0.081 |
|  | 59 | 0.298 | -0.035 | -0.008 | 0.003 | -0.003 | -0.037 |  | 83 | 0.848 | -0.084 | 0.001 | 0.000 | 0.000 | -0.138 |
| 133 | 49 | 0.326 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.947 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.326 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |  | 74 | 0.947 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 134 | 49 | 0.435 | -0.034 | -0.004 | 0.002 | 0.001 | -0.019 | 174 | 73 | 0.836 | -0.076 | -0.005 | -0.004 | 0.003 | -0.077 |
|  | 60 | 0.434 | -0.041 | -0.004 | 0.002 | -0.002 | -0.045 |  | 84 | 0.836 | -0.083 | -0.005 | -0.004 | -0.001 | -0.133 |
| 135 | 50 | 0.329 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 | 175 | 74 | 0.663 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.329 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 75 | 0.663 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 136 | 50 | 0.468 | -0.036 | 0.000 | 0.000 | 0.000 | -0.020 | 176 | 74 | 0.705 | -0.070 | -0.010 | -0.007 | 0.005 | -0.065 |
|  | 61 | 0.467 | -0.043 | 0.000 | 0.000 | 0.000 | -0.048 |  | 85 | 0.704 | -0.077 | -0.010 | -0.007 | -0.003 | -0.117 |
| 137 | 51 | 0.283 | 0.002 | -0.010 | 0.000 | 0.003 | 0.000 | 177 | 75 | 0.393 | 0.003 | -0.008 | 0.000 | 0.002 | -0.001 |
|  | 52 | 0.283 | -0.001 | -0.010 | 0.000 | -0.003 | 0.000 |  | 76 | 0.393 | 0.000 | -0.008 | 0.000 | -0.002 | 0.000 |
| 138 | 51 | 0.431 | -0.034 | 0.005 | -0.002 | -0.002 | -0.019 | 178 | 75 | 0.642 | -0.066 | -0.006 | -0.008 | 0.004 | -0.045 |
|  | 62 | 0.430 | -0.041 | 0.005 | -0.002 | 0.002 | -0.045 |  | 86 | 0.642 | -0.073 | -0.006 | -0.008 | -0.001 | -0.094 |
| 139 | 52 | 0.199 | 0.002 | -0.014 | 0.000 | 0.004 | 0.000 | 179 | 76 | 0.254 | 0.002 | -0.008 | 0.000 | 0.002 | 0.000 |
|  | 53 | 0.199 | -0.001 | -0.014 | 0.000 | -0.004 | 0.000 |  | 77 | 0.254 | -0.001 | -0.008 | 0.000 | -0.003 | 0.000 |
| 140 | 52 | 0.293 | -0.029 | 0.008 | -0.003 | -0.003 | -0.014 | 180 | 76 | 0.537 | -0.054 | 0.011 | -0.006 | -0.001 | -0.020 |
|  | 63 | 0.293 | -0.036 | 0.008 | -0.003 | 0.003 | -0.037 |  | 87 | 0.536 | -0.061 | 0.011 | -0.006 | 0.006 | -0.060 |
| 141 | 53 | 0.099 | 0.003 | -0.017 | 0.000 | 0.005 | 0.000 | 181 | 79 | 0.832 | 0.924 | 0.184 | -0.171 | -0.049 | -0.423 |
|  | 54 | 0.099 | -0.001 | -0.017 | 0.000 | -0.005 | 0.000 |  | 80 | 0.832 | 0.915 | 0.184 | -0.171 | 0.060 | 0.123 |
| 142 | 53 | 0.106 | -0.024 | 0.012 | -0.004 | -0.004 | -0.005 | 182 | 79 | 0.859 | 0.121 | -0.324 | 0.016 | 0.050 | -0.127 |
|  | 64 | 0.105 | -0.031 | 0.012 | -0.004 | 0.004 | -0.024 |  | 90 | 0.859 | 0.119 | -0.324 | 0.016 | -0.007 | -0.105 |
| 143 | 54 | 0.023 | 0.002 | -0.008 | 0.000 | 0.002 | 0.000 | 183 | 80 | -1.558 | 0.712 | 0.148 | -0.135 | -0.040 | -0.126 |
|  | 55 | 0.023 | -0.001 | -0.008 | 0.000 | -0.003 | 0.000 |  | 81 | -1.558 | 0.703 | 0.148 | -0.135 | 0.048 | 0.294 |
| 144 | 54 | -0.108 | -0.017 | 0.010 | -0.003 | -0.003 | 0.006 | 184 | 80 | 0.848 | 0.118 | -0.923 | 0.001 | 0.116 | -0.127 |
|  | 65 | -0.109 | -0.024 | 0.010 | -0.003 | 0.004 | -0.009 |  | 91 | 0.848 | 0.116 | -0.923 | 0.001 | -0.046 | -0.107 |
| 145 | 57 | 0.188 | 0.000 | 0.018 | 0.000 | -0.005 | 0.000 | 185 | 81 | -3.546 | 0.465 | 0.132 | -0.092 | -0.041 | 0.089 |
|  | 58 | 0.188 | -0.003 | 0.018 | 0.000 | 0.006 | -0.001 |  | 82 | -3.546 | 0.456 | 0.132 | -0.092 | 0.037 | 0.363 |
| 146 | 57 | -0.004 | -0.031 | -0.005 | 0.005 | 0.002 | -0.007 | 186 | 81 | 0.889 | 0.148 | -0.866 | 0.002 | 0.105 | -0.157 |
|  | 68 | -0.005 | -0.038 | -0.005 | 0.005 | -0.002 | -0.031 |  | 92 | 0.888 | 0.146 | -0.866 | 0.002 | -0.047 | -0.131 |
| 147 | 58 | 0.323 | 0.001 | 0.013 | 0.000 | -0.004 | 0.000 | 187 | 82 | -4.660 | 0.163 | 0.038 | -0.033 | -0.014 | 0.249 |
|  | 59 | 0.323 | -0.003 | 0.013 | 0.000 | 0.004 | 0.000 |  | 83 | -4.660 | 0.154 | 0.038 | -0.033 | 0.008 | 0.343 |
| 148 | 58 | 0.260 | -0.043 | -0.010 | 0.006 | 0.003 | -0.021 | 188 | 82 | 1.142 | 0.189 | -0.496 | 0.001 | 0.060 | -0.196 |
|  | 69 | 0.259 | -0.050 | -0.010 | 0.006 | -0.004 | -0.053 |  | 93 | 1.142 | 0.187 | -0.496 | 0.001 | -0.027 | -0.162 |
| 149 | 59 | 0.416 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 | 189 | 83 | -4.670 | -0.147 | -0.047 | 0.030 | 0.011 | 0.343 |
|  | 60 | 0.416 | -0.002 | 0.009 | 0.000 | 0.002 | 0.000 |  | 84 | -4.670 | -0.156 | -0.047 | 0.030 | -0.017 | 0.253 |
| 150 | 59 | 0.507 | -0.049 | -0.008 | 0.005 | 0.003 | -0.032 | 190 | 83 | 1.146 | 0.196 | 0.023 | 0.000 | -0.002 | -0.204 |
|  | 70 | 0.506 | -0.056 | -0.008 | 0.005 | -0.003 | -0.069 |  | 94 | 1.146 | 0.195 | 0.023 | 0.000 | 0.002 | -0.169 |
| 151 | 60 | 0.466 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 | 191 | 84 | -3.565 | -0.451 | -0.145 | 0.089 | 0.040 | 0.368 |
|  | 61 | 0.466 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |  | 85 | -3.565 | -0.460 | -0.145 | 0.089 | -0.046 | 0.097 |
| 152 | 60 | 0.687 | -0.055 | -0.004 | 0.003 | 0.001 | -0.039 | 192 | 84 | 1.118 | 0.189 | 0.553 | 0.000 | -0.066 | -0.196 |
|  | 71 | 0.686 | -0.062 | -0.004 | 0.003 | -0.002 | -0.081 |  | 95 | 1.118 | 0.188 | 0.553 | 0.000 | 0.032 | -0.163 |
| 153 | 61 | 0.466 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 | 193 | 85 | -1.536 | -0.701 | -0.175 | 0.132 | 0.054 | 0.309 |
|  | 62 | 0.466 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 86 | -1.536 | -0.711 | -0.175 | 0.132 | -0.050 | -0.111 |
| 154 | 61 | 0.727 | -0.057 | 0.000 | 0.000 | 0.000 | -0.042 | 194 | 85 | 0.844 | 0.150 | 0.969 | 0.000 | -0.116 | -0.159 |
|  | 72 | 0.727 | -0.064 | 0.000 | 0.000 | 0.000 | -0.084 |  | 96 | 0.844 | 0.148 | 0.969 | 0.000 | 0.055 | -0.133 |
| 155 | 62 | 0.416 | 0.002 | -0.009 | 0.000 | 0.003 | 0.000 | 195 | 86 | 0.949 | -0.911 | -0.182 | 0.167 | 0.064 | 0.152 |
|  | 63 | 0.416 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |  | 87 | 0.949 | -0.920 | -0.182 | 0.167 | -0.045 | -0.392 |
| 156 | 62 | 0.685 | -0.055 | 0.005 | -0.003 | -0.001 | -0.039 | 196 | 86 | 0.797 | 0.116 | 1.056 | 0.002 | -0.132 | -0.127 |
|  | 73 | 0.685 | -0.062 | 0.005 | -0.003 | 0.002 | -0.081 |  | 97 | 0.797 | 0.114 | 1.056 | 0.002 | 0.054 | -0.107 |
| 157 | 63 | 0.322 | 0.003 | -0.013 | 0.000 | 0.004 | 0.000 | 197 | 87 | 1.689 | -1.092 | -0.003 | 0.258 | -0.022 | -0.329 |
|  | 64 | 0.322 | -0.001 | -0.013 | 0.000 | -0.004 | 0.000 |  | 125 | 1.689 | -1.118 | -0.003 | 0.258 | -0.024 | -0.985 |
| 158 | 63 | 0.506 | -0.050 | 0.008 | -0.005 | -0.003 | -0.032 | 198 | 87 | 0.776 | 0.119 | 0.047 | -0.024 | -0.022 | -0.126 |
|  | 74 | 0.506 | -0.057 | 0.008 | -0.005 | 0.003 | -0.069 |  | 100 | 0.775 | 0.117 | 0.047 | -0.024 | -0.013 | -0.103 |
| 159 | 64 | 0.187 | 0.003 | -0.018 | 0.000 | 0.006 | -0.001 | 199 | 102 | 0.677 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.187 | 0.000 | -0.018 | 0.000 | -0.005 | 0.000 |  | 103 | 0.677 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
| 160 | 64 | 0.292 | -0.045 | 0.010 | -0.006 | -0.003 | -0.020 | 200 | 102 | 0.192 | 0.097 | -0.004 | 0.028 | -0.001 | -0.061 |
|  | 75 | 0.291 | -0.052 | 0.010 | -0.006 | 0.004 | -0.054 |  | 113 | 0.191 | 0.090 | -0.004 | 0.028 | -0.004 | 0.005 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 50 (Linear): COMB 5 (1+2+7+6)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 0.992 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 0.992 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 | 1 11 | -0.013 | 0.002 | 0.007 | 0.000 | -0.002 | -0.001 |
| 202 | 103 | 0.199 | 0.097 | 0.002 | 0.030 | -0.003 | -0.063 | 10 | -0.013 | 0.000 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 114 | 0.198 | 0.090 | 0.002 | 0.030 | -0.001 | 0.002 | 2 1 | -0.002 | -0.007 | 0.005 | -0.001 | -0.002 | 0.000 |
| 203 | 104 | 1.382 | 0.002 | -0.002 | 0.000 | -0.002 | 0.000 | 12 | -0.003 | -0.012 | 0.005 | -0.001 | 0.002 | -0.007 |
|  | 105 | 1.382 | -0.001 | -0.002 | 0.000 | -0.003 | 0.000 | 3 122 | 0.044 | 0.017 | -0.005 | 0.026 | 0.001 | -0.025 |
| 204 | 104 | 0.207 | 0.123 | 0.004 | 0.030 | -0.004 | -0.075 | 121 | 0.044 | 0.013 | -0.005 | 0.026 | -0.002 | -0.016 |
|  | 115 | 0.207 | 0.116 | 0.004 | 0.030 | -0.001 | 0.010 | 4 11 | -0.004 | -0.007 | -0.004 | 0.001 | 0.002 | 0.000 |
| 205 | 105 | 1.678 | 0.002 | 0.003 | 0.000 | -0.004 | 0.000 | 22 | -0.005 | -0.013 | -0.004 | 0.001 | -0.001 | -0.007 |
|  | 106 | 1.678 | -0.002 | 0.003 | 0.000 | -0.002 | 0.000 | 5 33 | -0.046 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
| 206 | 105 | 0.249 | 0.163 | 0.003 | 0.017 | -0.003 | -0.090 | 32 | -0.046 | -0.001 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.248 | 0.156 | 0.003 | 0.017 | 0.000 | 0.022 | 6 99 | -0.063 | 0.002 | -0.011 | 0.000 | 0.003 | -0.001 |
| 207 | 106 | 1.694 | 0.002 | -0.001 | 0.000 | -0.003 | 0.000 | 98 | -0.063 | 0.000 | -0.011 | 0.000 | -0.003 | 0.000 |
|  | 107 | 1.693 | -0.002 | -0.001 | 0.000 | -0.003 | 0.000 | 7 32 | 0.060 | 0.002 | 0.010 | 0.000 | -0.003 | 0.000 |
| 208 | 106 | 0.233 | 0.169 | 0.000 | 0.000 | 0.000 | -0.094 | 31 | 0.060 | -0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 117 | 0.232 | 0.162 | 0.000 | 0.000 | 0.000 | 0.022 | 8 31 | 0.273 | 0.001 | 0.012 | 0.000 | -0.004 | 0.000 |
| 209 | 107 | 1.427 | 0.001 | 0.005 | 0.000 | -0.004 | 0.000 | 30 | 0.273 | -0.001 | 0.012 | 0.000 | 0.003 | 0.000 |
|  | 108 | 1.427 | -0.002 | 0.005 | 0.000 | -0.001 | 0.000 | 9 30 | 0.431 | 0.001 | 0.007 | 0.000 | -0.002 | 0.000 |
| 210 | 107 | 0.258 | 0.164 | -0.002 | -0.018 | 0.002 | -0.090 | 29 | 0.431 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 118 | 0.257 | 0.157 | -0.002 | -0.018 | 0.000 | 0.023 | 10 29 | 0.510 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
| 211 | 108 | 1.056 | 0.001 | 0.007 | 0.000 | -0.002 | 0.000 | 28 | 0.510 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 109 | 1.056 | -0.002 | 0.007 | 0.000 | 0.002 | 0.000 | 11 28 | 0.503 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 |
| 212 | 108 | 0.224 | 0.125 | -0.003 | -0.030 | 0.003 | -0.074 | 27 | 0.503 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
|  | 119 | 0.223 | 0.118 | -0.003 | -0.030 | 0.001 | 0.011 | 12 27 | 0.414 | 0.001 | -0.008 | 0.000 | 0.002 | 0.000 |
| 213 | 109 | 0.737 | 0.001 | -0.004 | 0.000 | 0.000 | 0.000 | 26 | 0.414 | -0.001 | -0.008 | 0.000 | -0.003 | 0.000 |
|  | 110 | 0.737 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 | 13 26 | 0.252 | 0.001 | -0.012 | 0.000 | 0.004 | 0.000 |
| 214 | 109 | 0.201 | 0.096 | 0.001 | -0.031 | 0.001 | -0.062 | 25 | 0.252 | -0.001 | -0.012 | 0.000 | -0.004 | 0.000 |
|  | 120 | 0.200 | 0.089 | 0.001 | -0.031 | 0.002 | 0.003 | 14 25 | 0.054 | 0.001 | -0.008 | 0.000 | 0.003 | 0.000 |
| 215 | 110 | 0.456 | 0.002 | -0.027 | 0.000 | 0.009 | 0.000 | 24 | 0.054 | -0.002 | -0.008 | 0.000 | -0.002 | 0.000 |
|  | 111 | 0.456 | -0.001 | -0.027 | 0.000 | -0.007 | 0.000 | 15 24 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.197 | 0.095 | -0.001 | -0.027 | 0.004 | -0.059 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.196 | 0.088 | -0.001 | -0.027 | 0.003 | 0.005 | 16 98 | -0.063 | 0.000 | -0.011 | 0.000 | -0.003 | 0.000 |
| 217 | 34 | 0.287 | 0.113 | 0.172 | 0.007 | -0.240 | -0.117 | 97 | -0.063 | -0.002 | -0.011 | 0.000 | -0.010 | 0.000 |
|  | 131 | 0.321 | 0.113 | 0.172 | 0.007 | -0.165 | -0.068 | 17 97 | 1.085 | 0.002 | -0.085 | 0.000 | 0.027 | 0.000 |
| 218 | 78 | 1.218 | -0.143 | 0.649 | 0.003 | -1.135 | 0.293 | 96 | 1.085 | 0.000 | -0.085 | 0.000 | -0.024 | 0.000 |
|  | 44 | 1.259 | -0.143 | 0.649 | 0.003 | -0.790 | 0.217 | 18 96 | 2.126 | 0.002 | -0.060 | 0.000 | 0.021 | 0.000 |
| 219 | 125 | 1.222 | -0.117 | -0.701 | 0.003 | 1.116 | 0.254 | 95 | 2.126 | 0.000 | -0.060 | 0.000 | -0.015 | 0.000 |
|  | 135 | 1.257 | -0.117 | -0.701 | 0.003 | 0.800 | 0.201 | 19 95 | 2.720 | 0.001 | -0.023 | 0.000 | 0.011 | 0.000 |
| 220 | 127 | 0.254 | 0.148 | -0.120 | 0.001 | 0.195 | -0.141 | 94 | 2.720 | -0.001 | -0.023 | 0.000 | -0.003 | 0.000 |
|  | 139 | 0.288 | 0.148 | -0.120 | 0.001 | 0.143 | -0.076 | 20 94 | 2.750 | 0.001 | 0.020 | 0.000 | -0.002 | 0.000 |
| 221 | 99 | 0.230 | 0.034 | 0.021 | -0.025 | -0.008 | -0.052 | 93 | 2.750 | -0.001 | 0.020 | 0.000 | 0.010 | 0.000 |
|  | 111 | 0.229 | 0.029 | 0.021 | -0.025 | 0.002 | -0.036 | 21 93 | 2.227 | 0.001 | 0.055 | 0.000 | -0.014 | 0.000 |
| 222 | 33 | 0.013 | -0.027 | 0.023 | 0.003 | -0.003 | -0.019 | 92 | 2.227 | -0.002 | 0.055 | 0.000 | 0.019 | 0.000 |
|  | 127 | 0.013 | -0.029 | 0.023 | 0.003 | 0.000 | -0.023 | 22 92 | 1.309 | 0.000 | 0.072 | 0.000 | -0.021 | 0.000 |
| 223 | 44 | 1.259 | -0.143 | 0.649 | 0.003 | -0.790 | 0.217 | 91 | 1.309 | -0.002 | 0.072 | 0.000 | 0.022 | 0.000 |
|  | 88 | 1.273 | -0.143 | 0.649 | 0.003 | -0.446 | 0.140 | 23 91 | 0.327 | 0.000 | 0.045 | 0.000 | -0.016 | 0.000 |
| 224 | 88 | 1.273 | -0.143 | 0.649 | 0.003 | -0.446 | 0.140 | 90 | 0.327 | -0.002 | 0.045 | 0.000 | 0.010 | 0.000 |
|  | 129 | 1.287 | -0.143 | 0.649 | 0.003 | -0.101 | 0.064 | 24 90 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | 1.287 | -0.143 | 0.649 | 0.003 | -0.101 | 0.064 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 1.301 | -0.143 | 0.649 | 0.003 | 0.243 | -0.012 | 25 10 | -0.069 | 0.003 | 0.009 | 0.000 | -0.002 | -0.001 |
| 226 | 130 | 1.301 | -0.143 | 0.649 | 0.003 | 0.243 | -0.012 | 9 | -0.069 | 0.000 | 0.009 | 0.000 | 0.003 | 0.000 |
|  | 124 | 1.315 | -0.143 | 0.649 | 0.003 | 0.588 | -0.088 | 26 9 | -0.145 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
| 227 | 131 | 0.321 | 0.113 | 0.172 | 0.007 | -0.165 | -0.068 | 8 | -0.145 | 0.000 | 0.005 | 0.000 | 0.002 | 0.000 |
|  | 132 | 0.332 | 0.113 | 0.172 | 0.007 | -0.089 | -0.018 | 27 8 | -0.211 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.332 | 0.113 | 0.172 | 0.007 | -0.089 | -0.018 | 7 | -0.211 | -0.001 | 0.002 | 0.000 | 0.001 | 0.000 |
|  | 133 | 0.344 | 0.113 | 0.172 | 0.007 | -0.013 | 0.032 | 28 7 | -0.248 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.344 | 0.113 | 0.172 | 0.007 | -0.013 | 0.032 | 6 | -0.248 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 134 | 0.356 | 0.113 | 0.172 | 0.007 | 0.063 | 0.081 | 29 6 | -0.245 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 230 | 134 | 0.356 | 0.113 | 0.172 | 0.007 | 0.063 | 0.081 | 5 | -0.245 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.367 | 0.113 | 0.172 | 0.007 | 0.138 | 0.131 | 30 5 | -0.204 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 1.257 | -0.117 | -0.701 | 0.003 | 0.800 | 0.201 | 4 | -0.204 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 136 | 1.269 | -0.117 | -0.701 | 0.003 | 0.484 | 0.148 | 31 4 | -0.134 | 0.000 | -0.004 | 0.000 | 0.002 | 0.000 |
| 232 | 136 | 1.269 | -0.117 | -0.701 | 0.003 | 0.484 | 0.148 | 3 | -0.134 | -0.002 | -0.004 | 0.000 | -0.001 | 0.000 |
|  | 137 | 1.281 | -0.117 | -0.701 | 0.003 | 0.167 | 0.096 | 32 3 | -0.060 | 0.000 | -0.008 | 0.000 | 0.002 | 0.000 |
| 233 | 137 | 1.281 | -0.117 | -0.701 | 0.003 | 0.167 | 0.096 | 2 | -0.060 | -0.003 | -0.008 | 0.000 | -0.002 | -0.001 |
|  | 138 | 1.293 | -0.117 | -0.701 | 0.003 | -0.149 | 0.043 | 33 2 | -0.010 | 0.000 | -0.006 | 0.000 | 0.001 | 0.000 |
| 234 | 138 | 1.293 | -0.117 | -0.701 | 0.003 | -0.149 | 0.043 | 1 | -0.010 | -0.002 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 126 | 1.305 | -0.117 | -0.701 | 0.003 | -0.465 | -0.010 | 34 121 | -0.191 | 0.093 | 0.011 | 0.027 | -0.005 | -0.049 |
| 235 | 139 | 0.288 | 0.148 | -0.120 | 0.001 | 0.143 | -0.076 | 120 | -0.191 | 0.089 | 0.011 | 0.027 | 0.002 | 0.005 |
|  | 140 | 0.299 | 0.148 | -0.120 | 0.001 | 0.090 | -0.011 | 35 120 | -0.680 | 0.171 | 0.019 | 0.029 | -0.005 | -0.037 |
| 236 | 140 | 0.299 | 0.148 | -0.120 | 0.001 | 0.090 | -0.011 | 119 | -0.680 | 0.167 | 0.019 | 0.029 | 0.007 | 0.063 |
|  | 141 | 0.311 | 0.148 | -0.120 | 0.001 | 0.037 | 0.054 | 36 119 | -1.397 | 0.278 | 0.024 | 0.024 | -0.003 | 0.016 |
| 237 | 141 | 0.311 | 0.148 | -0.120 | 0.001 | 0.037 | 0.054 | 118 | -1.397 | 0.273 | 0.024 | 0.024 | 0.011 | 0.180 |
|  | 142 | 0.323 | 0.148 | -0.120 | 0.001 | -0.016 | 0.119 | 37 118 | -1.771 | -0.073 | 0.000 | 0.008 | 0.006 | 0.153 |
| 238 | 142 | 0.323 | 0.148 | -0.120 | 0.001 | -0.016 | 0.119 | 117 | -1.771 | -0.077 | 0.000 | 0.008 | 0.006 | 0.108 |
|  | 128 | 0.334 | 0.148 | -0.120 | 0.001 | -0.069 | 0.184 | 38 117 | -1.772 | 0.078 | 0.000 | -0.009 | 0.006 | 0.108 |
|  |  |  |  |  |  |  |  | 116 | -1.772 | 0.074 | 0.000 | -0.009 | 0.006 | 0.153 |
|  |  |  |  |  |  |  |  | 39 116 | -1.398 | -0.273 | -0.024 | -0.025 | 0.012 | 0.179 |
|  |  |  |  |  |  |  |  | 115 | -1.398 | -0.278 | -0.024 | -0.025 | -0.003 | 0.015 |
|  |  |  |  |  |  |  |  | 40 115 | -0.681 | -0.168 | -0.020 | -0.030 | 0.007 | 0.062 |
|  |  |  |  |  |  |  |  | 114 | -0.681 | -0.172 | -0.020 | -0.030 | -0.005 | -0.039 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.183 | -0.089 | -0.012 | -0.027 | 0.002 | 0.003 | 81 | 77 | -0.047 | -0.044 | 0.011 | -0.002 | -0.002 | -0.015 |
|  | 113 | -0.183 | -0.094 | -0.012 | -0.027 | -0.005 | -0.051 |  | 125 | -0.048 | -0.049 | 0.011 | -0.002 | 0.005 | -0.048 |
| 42 | 113 | 0.048 | -0.012 | 0.007 | -0.027 | -0.003 | -0.018 | 82 | 125 | 0.256 | 0.039 | -0.041 | -0.027 | 0.002 | -0.061 |
|  | 112 | 0.048 | -0.016 | 0.007 | -0.027 | 0.002 | -0.026 |  | 99 | 0.256 | 0.037 | -0.041 | -0.027 | -0.007 | -0.053 |
| 43 | 2 | 0.004 | -0.011 | 0.006 | -0.001 | -0.003 | 0.001 | 83 | 111 | 0.072 | 0.026 | 0.004 | -0.027 | 0.001 | -0.040 |
|  | 13 | 0.004 | -0.017 | 0.006 | -0.001 | 0.002 | -0.009 |  | 122 | 0.071 | 0.021 | 0.004 | -0.027 | 0.003 | -0.024 |
| 44 | 24 | 0.163 | -0.045 | 0.057 | 0.000 | -0.001 | -0.025 | 84 | 12 | 0.068 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.163 | -0.046 | 0.057 | 0.000 | 0.009 | -0.033 |  | 13 | 0.068 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |
| 45 | 90 | 0.841 | 0.123 | -0.011 | 0.026 | 0.001 | -0.109 | 85 | 34 | 0.450 | 0.328 | 0.005 | 0.093 | 0.007 | -0.271 |
|  | 102 | 0.840 | 0.119 | -0.011 | 0.026 | -0.004 | -0.045 |  | 35 | 0.450 | 0.308 | 0.005 | 0.093 | 0.010 | -0.082 |
| 46 | 3 | 0.023 | -0.010 | 0.006 | -0.001 | -0.002 | 0.002 | 86 | 45 | 0.047 | 0.001 | 0.008 | 0.000 | -0.003 | 0.000 |
|  | 14 | 0.023 | -0.015 | 0.006 | -0.001 | 0.002 | -0.007 |  | 46 | 0.047 | -0.002 | 0.008 | 0.000 | 0.002 | 0.000 |
| 47 | 25 | 0.167 | -0.040 | 0.190 | 0.002 | -0.011 | -0.023 | 87 | 56 | 0.069 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 36 | 0.167 | -0.042 | 0.190 | 0.002 | 0.023 | -0.030 |  | 57 | 0.069 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 48 | 91 | 0.831 | 0.120 | 0.025 | 0.030 | -0.013 | -0.110 | 88 | 67 | 0.231 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 |
|  | 103 | 0.830 | 0.116 | 0.025 | 0.030 | 0.000 | -0.048 |  | 68 | 0.231 | -0.002 | 0.009 | 0.000 | 0.003 | 0.000 |
| 49 | 4 | 0.040 | -0.010 | 0.002 | -0.001 | -0.001 | 0.002 | 89 | 78 | 1.742 | 1.179 | 0.043 | -0.266 | -0.022 | -1.056 |
|  | 15 | 0.039 | -0.015 | 0.002 | -0.001 | 0.001 | -0.007 |  | 79 | 1.742 | 1.159 | 0.043 | -0.266 | 0.003 | -0.362 |
| 50 | 26 | 0.149 | -0.040 | 0.154 | 0.002 | -0.010 | -0.023 | 90 | 101 | 0.438 | 0.001 | 0.019 | 0.000 | -0.005 | 0.000 |
|  | 37 | 0.149 | -0.041 | 0.154 | 0.002 | 0.017 | -0.030 |  | 102 | 0.438 | -0.001 | 0.019 | 0.000 | 0.006 | 0.000 |
| 51 | 92 | 0.903 | 0.146 | 0.023 | 0.030 | -0.012 | -0.134 | 91 | 13 | 0.059 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 |
|  | 104 | 0.902 | 0.142 | 0.023 | 0.030 | 0.000 | -0.058 |  | 14 | 0.059 | 0.000 | -0.005 | 0.000 | -0.001 | 0.000 |
| 52 | 5 | 0.049 | -0.010 | 0.001 | 0.000 | 0.000 | 0.002 | 92 | 13 | 0.157 | -0.036 | 0.002 | -0.002 | -0.001 | -0.005 |
|  | 16 | 0.049 | -0.015 | 0.001 | 0.000 | 0.000 | -0.007 |  | 24 | 0.157 | -0.040 | 0.002 | -0.002 | 0.000 | -0.025 |
| 53 | 27 | 0.157 | -0.040 | 0.085 | 0.001 | -0.006 | -0.024 | 93 | 14 | 0.057 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.157 | -0.041 | 0.085 | 0.001 | 0.009 | -0.031 |  | 15 | 0.057 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 1.172 | 0.185 | 0.012 | 0.017 | -0.006 | -0.164 | 94 | 14 | 0.165 | -0.034 | -0.007 | -0.002 | 0.000 | -0.004 |
|  | 105 | 1.172 | 0.181 | 0.012 | 0.017 | 0.000 | -0.068 |  | 25 | 0.164 | -0.038 | -0.007 | -0.002 | -0.003 | -0.023 |
| 55 | 6 | 0.050 | -0.010 | 0.000 | 0.000 | 0.000 | 0.002 | 95 | 15 | 0.088 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 17 | 0.050 | -0.015 | 0.000 | 0.000 | 0.000 | -0.007 |  | 16 | 0.088 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.156 | -0.040 | 0.006 | 0.000 | -0.001 | -0.024 | 96 | 15 | 0.156 | -0.034 | -0.007 | -0.001 | 0.001 | -0.004 |
|  | 39 | 0.156 | -0.041 | 0.006 | 0.000 | 0.001 | -0.031 |  | 26 | 0.155 | -0.038 | -0.007 | -0.001 | -0.003 | -0.023 |
| 57 | 94 | 1.188 | 0.192 | -0.004 | 0.000 | 0.001 | -0.171 | 97 | 16 | 0.111 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 106 | 1.187 | 0.188 | -0.004 | 0.000 | -0.001 | -0.071 |  | 17 | 0.111 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.047 | -0.010 | -0.001 | 0.000 | 0.000 | 0.002 | 98 | 16 | 0.163 | -0.034 | -0.004 | -0.001 | 0.000 | -0.004 |
|  | 18 | 0.047 | -0.015 | -0.001 | 0.000 | 0.000 | -0.007 |  | 27 | 0.163 | -0.038 | -0.004 | -0.001 | -0.002 | -0.023 |
| 59 | 29 | 0.156 | -0.040 | -0.075 | -0.001 | 0.005 | -0.024 | 99 | 17 | 0.115 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.156 | -0.041 | -0.075 | -0.001 | -0.008 | -0.031 |  | 18 | 0.115 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 1.161 | 0.186 | -0.021 | -0.018 | 0.009 | -0.165 | 100 | 17 | 0.162 | -0.035 | 0.000 | 0.000 | 0.000 | -0.004 |
|  | 107 | 1.161 | 0.182 | -0.021 | -0.018 | -0.002 | -0.068 |  | 28 | 0.162 | -0.038 | 0.000 | 0.000 | 0.000 | -0.024 |
| 61 | 8 | 0.036 | -0.010 | -0.003 | 0.001 | 0.001 | 0.002 | 101 | 18 | 0.098 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.036 | -0.015 | -0.003 | 0.001 | -0.001 | -0.007 |  | 19 | 0.098 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.148 | -0.039 | -0.151 | -0.002 | 0.009 | -0.023 | 102 | 18 | 0.161 | -0.034 | 0.004 | 0.001 | 0.000 | -0.004 |
|  | 41 | 0.148 | -0.041 | -0.151 | -0.002 | -0.017 | -0.030 |  | 29 | 0.161 | -0.038 | 0.004 | 0.001 | 0.002 | -0.023 |
| 63 | 96 | 0.886 | 0.147 | -0.037 | -0.031 | 0.016 | -0.135 | 103 | 19 | 0.070 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.885 | 0.143 | -0.037 | -0.031 | -0.003 | -0.058 |  | 20 | 0.070 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.022 | -0.010 | -0.006 | 0.001 | 0.003 | 0.001 | 104 | 19 | 0.152 | -0.034 | 0.007 | 0.001 | -0.001 | -0.004 |
|  | 20 | 0.022 | -0.015 | -0.006 | 0.001 | -0.002 | -0.007 |  | 30 | 0.151 | -0.038 | 0.007 | 0.001 | 0.003 | -0.023 |
| 65 | 31 | 0.167 | -0.040 | -0.205 | -0.003 | 0.011 | -0.023 | 105 | 20 | 0.069 | 0.000 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.167 | -0.041 | -0.205 | -0.003 | -0.025 | -0.030 |  | 21 | 0.069 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |
| 66 | 97 | 0.754 | 0.121 | -0.053 | -0.032 | 0.023 | -0.111 | 106 | 20 | 0.163 | -0.034 | 0.008 | 0.002 | -0.001 | -0.004 |
|  | 109 | 0.753 | 0.117 | -0.053 | -0.032 | -0.005 | -0.049 |  | 31 | 0.163 | -0.037 | 0.008 | 0.002 | 0.004 | -0.023 |
| 67 | 10 | 0.002 | -0.011 | -0.008 | 0.001 | 0.003 | 0.001 | 107 | 21 | 0.076 | 0.001 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 21 | 0.001 | -0.017 | -0.008 | 0.001 | -0.002 | -0.009 |  | 22 | 0.076 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
| 68 | 32 | 0.147 | -0.044 | -0.105 | 0.000 | 0.004 | -0.025 | 108 | 21 | 0.135 | -0.036 | 0.002 | 0.002 | 0.000 | -0.006 |
|  | 43 | 0.147 | -0.045 | -0.105 | 0.000 | -0.014 | -0.033 |  | 32 | 0.134 | -0.040 | 0.002 | 0.002 | 0.001 | -0.026 |
| 69 | 100 | 0.803 | 0.122 | 0.048 | -0.024 | -0.013 | -0.106 | 109 | 35 | 0.220 | 0.225 | -0.063 | 0.050 | 0.019 | -0.103 |
|  | 110 | 0.802 | 0.118 | 0.048 | -0.024 | 0.012 | -0.045 |  | 36 | 0.220 | 0.219 | -0.063 | 0.050 | -0.019 | 0.029 |
| 70 | 12 | 0.031 | -0.023 | 0.002 | -0.002 | 0.000 | -0.006 | 110 | 35 | -0.005 | 0.012 | -0.006 | 0.001 | 0.001 | -0.002 |
|  | 34 | 0.030 | -0.028 | 0.002 | -0.002 | 0.001 | -0.024 |  | 46 | -0.005 | 0.007 | -0.006 | 0.001 | -0.003 | 0.005 |
| 71 | 34 | -0.283 | 0.003 | 0.002 | 0.003 | -0.001 | 0.010 | 111 | 36 | -0.361 | 0.158 | -0.029 | 0.030 | 0.005 | -0.027 |
|  | 45 | -0.284 | -0.002 | 0.002 | 0.003 | 0.000 | 0.010 |  | 37 | -0.361 | 0.151 | -0.029 | 0.030 | -0.012 | 0.065 |
| 72 | 45 | -0.367 | -0.011 | -0.006 | 0.002 | 0.002 | 0.008 | 112 | 36 | 0.065 | 0.005 | -0.012 | 0.002 | 0.004 | -0.009 |
|  | 56 | -0.368 | -0.016 | -0.006 | 0.002 | -0.003 | -0.001 |  | 47 | 0.065 | 0.000 | -0.012 | 0.002 | -0.005 | -0.007 |
| 73 | 56 | -0.311 | -0.024 | 0.007 | 0.002 | -0.002 | 0.000 | 113 | 37 | -0.806 | 0.096 | -0.019 | 0.015 | 0.004 | 0.023 |
|  | 67 | -0.311 | -0.029 | 0.007 | 0.002 | 0.003 | -0.019 |  | 38 | -0.806 | 0.089 | -0.019 | 0.015 | -0.008 | 0.078 |
| 74 | 67 | -0.069 | -0.037 | -0.015 | 0.002 | 0.004 | -0.013 | 114 | 37 | 0.163 | -0.002 | -0.013 | 0.002 | 0.004 | -0.014 |
|  | 78 | -0.070 | -0.043 | -0.015 | 0.002 | -0.007 | -0.041 |  | 48 | 0.162 | -0.007 | -0.013 | 0.002 | -0.004 | -0.017 |
| 75 | 78 | 0.218 | 0.037 | -0.006 | 0.026 | 0.005 | -0.061 | 115 | 38 | -1.054 | 0.038 | -0.007 | 0.004 | 0.001 | 0.053 |
|  | 101 | 0.218 | 0.032 | -0.006 | 0.026 | 0.001 | -0.037 |  | 39 | -1.054 | 0.032 | -0.007 | 0.004 | -0.004 | 0.074 |
| 76 | 101 | 0.075 | 0.025 | -0.007 | 0.027 | 0.001 | -0.040 | 116 | 38 | 0.224 | -0.007 | -0.008 | 0.001 | 0.003 | -0.017 |
|  | 112 | 0.074 | 0.019 | -0.007 | 0.027 | -0.004 | -0.025 |  | 49 | 0.223 | -0.012 | -0.008 | 0.001 | -0.003 | -0.024 |
| 77 | 22 | 0.034 | -0.023 | -0.009 | 0.002 | 0.002 | -0.006 | 117 | 39 | -1.083 | -0.017 | 0.005 | -0.006 | -0.003 | 0.071 |
|  | 33 | 0.033 | -0.027 | -0.009 | 0.002 | -0.003 | -0.020 |  | 40 | -1.083 | -0.024 | 0.005 | -0.006 | 0.000 | 0.059 |
| 78 | 127 | -0.355 | -0.004 | -0.002 | -0.003 | 0.001 | 0.019 | 118 | 39 | 0.236 | -0.008 | -0.001 | 0.000 | 0.000 | -0.018 |
|  | 55 | -0.356 | -0.009 | -0.002 | -0.003 | 0.000 | 0.014 |  | 50 | 0.236 | -0.014 | -0.001 | 0.000 | 0.000 | -0.026 |
| 79 | 55 | -0.421 | -0.017 | 0.006 | -0.002 | -0.002 | 0.012 | 119 | 40 | -0.890 | -0.074 | 0.018 | -0.018 | -0.007 | 0.076 |
|  | 66 | -0.422 | -0.022 | 0.006 | -0.002 | 0.003 | -0.001 |  | 41 | -0.890 | -0.081 | 0.018 | -0.018 | 0.003 | 0.031 |
| 80 | 66 | -0.336 | -0.030 | -0.007 | -0.002 | 0.002 | 0.001 | 120 | 40 | 0.213 | -0.007 | 0.006 | -0.001 | -0.002 | -0.017 |
|  | 77 | -0.336 | -0.036 | -0.007 | -0.002 | -0.003 | -0.023 |  | 51 | 0.213 | -0.012 | 0.006 | -0.001 | 0.002 | -0.023 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.493 | -0.135 | 0.029 | -0.034 | -0.012 | 0.067 | 161 | 65 | 0.069 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 42 | -0.493 | -0.142 | 0.029 | -0.034 | 0.005 | -0.015 |  | 66 | 0.069 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |
| 122 | 41 | 0.141 | -0.002 | 0.011 | -0.002 | -0.004 | -0.013 | 162 | 65 | 0.004 | -0.037 | 0.005 | -0.005 | -0.002 | -0.004 |
|  | 52 | 0.141 | -0.008 | 0.011 | -0.002 | 0.004 | -0.017 |  | 76 | 0.004 | -0.043 | 0.005 | -0.005 | 0.002 | -0.032 |
| 123 | 42 | 0.063 | -0.199 | 0.071 | -0.056 | -0.021 | 0.037 | 163 | 68 | 0.365 | 0.000 | 0.008 | 0.000 | -0.002 | 0.000 |
|  | 43 | 0.063 | -0.206 | 0.071 | -0.056 | 0.022 | -0.083 |  | 69 | 0.365 | -0.002 | 0.008 | 0.000 | 0.003 | 0.000 |
| 124 | 42 | 0.034 | 0.003 | 0.011 | -0.002 | -0.003 | -0.007 | 164 | 68 | 0.539 | -0.057 | -0.011 | 0.006 | 0.001 | -0.017 |
|  | 53 | 0.033 | -0.002 | 0.011 | -0.002 | 0.005 | -0.006 |  | 79 | 0.539 | -0.062 | -0.011 | 0.006 | -0.006 | -0.059 |
| 125 | 43 | 0.361 | -0.285 | -0.020 | -0.108 | 0.007 | -0.058 | 165 | 69 | 0.630 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.361 | -0.305 | -0.020 | -0.108 | -0.005 | -0.233 |  | 70 | 0.630 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | -0.053 | 0.008 | 0.007 | -0.002 | -0.001 | 0.004 | 166 | 69 | 0.613 | -0.071 | 0.005 | 0.008 | -0.004 | -0.044 |
|  | 54 | -0.054 | 0.002 | 0.007 | -0.002 | 0.003 | 0.007 |  | 80 | 0.613 | -0.076 | 0.005 | 0.008 | 0.000 | -0.095 |
| 127 | 46 | 0.117 | 0.000 | 0.018 | 0.000 | -0.005 | 0.000 | 167 | 70 | 0.939 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 47 | 0.117 | -0.002 | 0.018 | 0.000 | 0.005 | 0.000 |  | 71 | 0.939 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | -0.105 | -0.011 | -0.010 | 0.003 | 0.003 | 0.002 | 168 | 70 | 0.701 | -0.077 | 0.012 | 0.006 | -0.006 | -0.064 |
|  | 57 | -0.105 | -0.016 | -0.010 | 0.003 | -0.004 | -0.007 |  | 81 | 0.700 | -0.082 | 0.012 | 0.006 | 0.003 | -0.119 |
| 129 | 47 | 0.218 | 0.001 | 0.015 | 0.000 | -0.004 | 0.000 | 169 | 71 | 1.137 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.218 | -0.002 | 0.015 | 0.000 | 0.004 | 0.000 |  | 72 | 1.137 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | 0.092 | -0.020 | -0.011 | 0.004 | 0.004 | -0.007 | 170 | 71 | 0.825 | -0.083 | 0.008 | 0.004 | -0.003 | -0.076 |
|  | 58 | 0.092 | -0.025 | -0.011 | 0.004 | -0.004 | -0.023 |  | 82 | 0.825 | -0.088 | 0.008 | 0.004 | 0.002 | -0.136 |
| 131 | 48 | 0.316 | 0.001 | 0.011 | 0.000 | -0.003 | 0.000 | 171 | 72 | 1.152 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.316 | -0.002 | 0.011 | 0.000 | 0.003 | 0.000 |  | 73 | 1.152 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 132 | 48 | 0.289 | -0.027 | -0.008 | 0.003 | 0.002 | -0.014 | 172 | 72 | 0.842 | -0.084 | 0.001 | 0.000 | 0.000 | -0.081 |
|  | 59 | 0.288 | -0.032 | -0.008 | 0.003 | -0.003 | -0.035 |  | 83 | 0.841 | -0.089 | 0.001 | 0.000 | 0.000 | -0.142 |
| 133 | 49 | 0.373 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 | 173 | 73 | 0.983 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.373 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |  | 74 | 0.983 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 134 | 49 | 0.422 | -0.032 | -0.004 | 0.002 | 0.001 | -0.019 | 174 | 73 | 0.831 | -0.083 | -0.006 | -0.004 | 0.003 | -0.076 |
|  | 60 | 0.421 | -0.037 | -0.004 | 0.002 | -0.002 | -0.043 |  | 84 | 0.831 | -0.088 | -0.006 | -0.004 | -0.002 | -0.136 |
| 135 | 50 | 0.375 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 | 175 | 74 | 0.687 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.375 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 75 | 0.687 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.454 | -0.034 | 0.000 | 0.000 | 0.000 | -0.020 | 176 | 74 | 0.706 | -0.077 | -0.012 | -0.007 | 0.005 | -0.064 |
|  | 61 | 0.454 | -0.039 | 0.000 | 0.000 | 0.000 | -0.046 |  | 85 | 0.706 | -0.082 | -0.012 | -0.007 | -0.003 | -0.120 |
| 137 | 51 | 0.321 | 0.002 | -0.011 | 0.000 | 0.003 | 0.000 | 177 | 75 | 0.407 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 |
|  | 52 | 0.321 | -0.001 | -0.011 | 0.000 | -0.003 | 0.000 |  | 76 | 0.407 | 0.000 | -0.007 | 0.000 | -0.002 | 0.000 |
| 138 | 51 | 0.418 | -0.032 | 0.004 | -0.002 | -0.001 | -0.019 | 178 | 75 | 0.659 | -0.073 | -0.008 | -0.008 | 0.004 | -0.044 |
|  | 62 | 0.417 | -0.038 | 0.004 | -0.002 | 0.002 | -0.043 |  | 86 | 0.658 | -0.078 | -0.008 | -0.008 | -0.001 | -0.097 |
| 139 | 52 | 0.224 | 0.002 | -0.014 | 0.000 | 0.004 | 0.000 | 179 | 76 | 0.264 | 0.002 | -0.008 | 0.000 | 0.002 | 0.000 |
|  | 53 | 0.224 | -0.001 | -0.014 | 0.000 | -0.004 | 0.000 |  | 77 | 0.264 | -0.001 | -0.008 | 0.000 | -0.003 | 0.000 |
| 140 | 52 | 0.283 | -0.027 | 0.008 | -0.003 | -0.003 | -0.014 | 180 | 76 | 0.560 | -0.061 | 0.010 | -0.006 | -0.001 | -0.019 |
|  | 63 | 0.282 | -0.033 | 0.008 | -0.003 | 0.003 | -0.035 |  | 87 | 0.559 | -0.066 | 0.010 | -0.006 | 0.006 | -0.064 |
| 141 | 53 | 0.113 | 0.002 | -0.018 | 0.000 | 0.006 | 0.000 | 181 | 79 | 0.850 | 0.970 | 0.185 | -0.172 | -0.049 | -0.443 |
|  | 54 | 0.113 | 0.000 | -0.018 | 0.000 | -0.005 | 0.000 |  | 80 | 0.850 | 0.963 | 0.185 | -0.172 | 0.061 | 0.131 |
| 142 | 53 | 0.100 | -0.022 | 0.011 | -0.004 | -0.004 | -0.005 | 182 | 79 | 0.890 | 0.124 | -0.337 | 0.016 | 0.051 | -0.130 |
|  | 64 | 0.100 | -0.027 | 0.011 | -0.004 | 0.004 | -0.022 |  | 90 | 0.890 | 0.123 | -0.337 | 0.016 | -0.008 | -0.108 |
| 143 | 54 | 0.033 | 0.002 | -0.008 | 0.000 | 0.002 | 0.000 | 183 | 80 | -1.654 | 0.744 | 0.151 | -0.135 | -0.041 | -0.131 |
|  | 55 | 0.033 | -0.001 | -0.008 | 0.000 | -0.003 | 0.000 |  | 81 | -1.654 | 0.737 | 0.151 | -0.135 | 0.049 | 0.309 |
| 144 | 54 | -0.113 | -0.015 | 0.010 | -0.003 | -0.003 | 0.006 | 184 | 80 | 0.868 | 0.121 | -0.957 | 0.000 | 0.120 | -0.131 |
|  | 65 | -0.113 | -0.020 | 0.010 | -0.003 | 0.004 | -0.007 |  | 91 | 0.868 | 0.120 | -0.957 | 0.000 | -0.049 | -0.109 |
| 145 | 57 | 0.194 | 0.000 | 0.018 | 0.000 | -0.005 | 0.000 | 185 | 81 | -3.731 | 0.484 | 0.134 | -0.092 | -0.043 | 0.094 |
|  | 58 | 0.194 | -0.003 | 0.018 | 0.000 | 0.006 | -0.001 |  | 82 | -3.731 | 0.477 | 0.134 | -0.092 | 0.037 | 0.379 |
| 146 | 57 | -0.013 | -0.033 | -0.005 | 0.005 | 0.002 | -0.005 | 186 | 81 | 0.896 | 0.151 | -0.896 | 0.001 | 0.109 | -0.161 |
|  | 68 | -0.014 | -0.038 | -0.005 | 0.005 | -0.002 | -0.030 |  | 92 | 0.896 | 0.150 | -0.896 | 0.001 | -0.049 | -0.134 |
| 147 | 58 | 0.335 | 0.000 | 0.012 | 0.000 | -0.004 | 0.000 | 187 | 82 | -4.891 | 0.168 | 0.039 | -0.032 | -0.015 | 0.260 |
|  | 59 | 0.335 | -0.002 | 0.012 | 0.000 | 0.004 | 0.000 |  | 83 | -4.891 | 0.162 | 0.039 | -0.032 | 0.008 | 0.358 |
| 148 | 58 | 0.251 | -0.045 | -0.010 | 0.006 | 0.003 | -0.019 | 188 | 82 | 1.143 | 0.192 | -0.511 | 0.001 | 0.062 | -0.199 |
|  | 69 | 0.250 | -0.050 | -0.010 | 0.006 | -0.004 | -0.052 |  | 93 | 1.143 | 0.191 | -0.511 | 0.001 | -0.028 | -0.165 |
| 149 | 59 | 0.432 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 | 189 | 83 | -4.900 | -0.155 | -0.049 | 0.030 | 0.010 | 0.358 |
|  | 60 | 0.432 | -0.002 | 0.009 | 0.000 | 0.002 | 0.000 |  | 84 | -4.900 | -0.162 | -0.049 | 0.030 | -0.018 | 0.264 |
| 150 | 59 | 0.494 | -0.052 | -0.008 | 0.005 | 0.002 | -0.030 | 190 | 83 | 1.145 | 0.200 | 0.025 | 0.000 | -0.002 | -0.207 |
|  | 70 | 0.494 | -0.057 | -0.008 | 0.005 | -0.003 | -0.069 |  | 94 | 1.145 | 0.198 | 0.025 | 0.000 | 0.002 | -0.172 |
| 151 | 60 | 0.485 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 | 191 | 84 | -3.746 | -0.472 | -0.148 | 0.089 | 0.041 | 0.385 |
|  | 61 | 0.485 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 85 | -3.746 | -0.479 | -0.148 | 0.089 | -0.047 | 0.102 |
| 152 | 60 | 0.672 | -0.058 | -0.004 | 0.003 | 0.001 | -0.037 | 192 | 84 | 1.118 | 0.193 | 0.573 | 0.001 | -0.068 | -0.200 |
|  | 71 | 0.671 | -0.063 | -0.004 | 0.003 | -0.002 | -0.080 |  | 95 | 1.118 | 0.192 | 0.573 | 0.001 | 0.033 | -0.166 |
| 153 | 61 | 0.485 | 0.001 | -0.003 | 0.000 | 0.001 | 0.000 | 193 | 85 | -1.624 | -0.736 | -0.179 | 0.131 | 0.055 | 0.324 |
|  | 62 | 0.485 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 86 | -1.624 | -0.743 | -0.179 | 0.131 | -0.052 | -0.116 |
| 154 | 61 | 0.711 | -0.059 | 0.000 | 0.000 | 0.000 | -0.040 | 194 | 85 | 0.850 | 0.153 | 1.004 | 0.001 | -0.119 | -0.162 |
|  | 72 | 0.711 | -0.065 | 0.000 | 0.000 | 0.000 | -0.084 |  | 96 | 0.850 | 0.152 | 1.004 | 0.001 | 0.058 | -0.136 |
| 155 | 62 | 0.433 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 | 195 | 86 | 0.981 | -0.959 | -0.184 | 0.167 | 0.065 | 0.160 |
|  | 63 | 0.433 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |  | 87 | 0.981 | -0.965 | -0.184 | 0.167 | -0.044 | -0.411 |
| 156 | 62 | 0.670 | -0.058 | 0.004 | -0.003 | -0.001 | -0.037 | 196 | 86 | 0.816 | 0.119 | 1.095 | 0.003 | -0.136 | -0.131 |
|  | 73 | 0.670 | -0.063 | 0.004 | -0.003 | 0.002 | -0.080 |  | 97 | 0.816 | 0.118 | 1.095 | 0.003 | 0.057 | -0.110 |
| 157 | 63 | 0.334 | 0.002 | -0.013 | 0.000 | 0.004 | 0.000 | 197 | 87 | 1.766 | -1.154 | -0.002 | 0.259 | -0.022 | -0.343 |
|  | 64 | 0.334 | 0.000 | -0.013 | 0.000 | -0.004 | 0.000 |  | 125 | 1.766 | -1.174 | -0.002 | 0.259 | -0.024 | -1.035 |
| 158 | 63 | 0.494 | -0.053 | 0.008 | -0.005 | -0.003 | -0.030 | 198 | 87 | 0.803 | 0.123 | 0.048 | -0.024 | -0.022 | -0.130 |
|  | 74 | 0.493 | -0.058 | 0.008 | -0.005 | 0.003 | -0.069 |  | 100 | 0.803 | 0.122 | 0.048 | -0.024 | -0.013 | -0.106 |
| 159 | 64 | 0.192 | 0.003 | -0.018 | 0.000 | 0.006 | -0.001 | 199 | 102 | 0.698 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.192 | 0.000 | -0.018 | 0.000 | -0.005 | 0.000 |  | 103 | 0.698 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
| 160 | 64 | 0.284 | -0.048 | 0.010 | -0.006 | -0.003 | -0.018 | 200 | 102 | 0.191 | 0.097 | -0.004 | 0.028 | -0.001 | -0.061 |
|  | 75 | 0.284 | -0.053 | 0.010 | -0.006 | 0.004 | -0.053 |  | 113 | 0.190 | 0.092 | -0.004 | 0.028 | -0.004 | 0.005 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 60 (Linear): COMB 6 (1+3+6+8)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 1.021 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 1.021 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 | 1 11 | -0.010 | 0.003 | 0.008 | 0.000 | -0.003 | -0.001 |
| 202 | 103 | 0.197 | 0.097 | 0.002 | 0.030 | -0.003 | -0.064 | 10 | -0.010 | 0.000 | 0.008 | 0.000 | 0.002 | 0.000 |
|  | 114 | 0.197 | 0.092 | 0.002 | 0.030 | -0.001 | 0.003 | 2 1 | 0.003 | -0.009 | 0.007 | -0.001 | -0.003 | 0.001 |
| 203 | 104 | 1.422 | 0.002 | -0.002 | 0.000 | -0.002 | 0.000 | 12 | 0.002 | -0.014 | 0.007 | -0.001 | 0.002 | -0.008 |
|  | 105 | 1.422 | -0.001 | -0.002 | 0.000 | -0.003 | 0.000 | 3 122 | 0.044 | 0.019 | -0.005 | 0.027 | 0.001 | -0.026 |
| 204 | 104 | 0.205 | 0.123 | 0.004 | 0.030 | -0.004 | -0.075 | 121 | 0.044 | 0.014 | -0.005 | 0.027 | -0.002 | -0.016 |
|  | 115 | 0.204 | 0.118 | 0.004 | 0.030 | -0.001 | 0.010 | 4 11 | 0.001 | -0.009 | -0.005 | 0.001 | 0.003 | 0.001 |
| 205 | 105 | 1.724 | 0.001 | 0.003 | 0.000 | -0.004 | 0.000 | 22 | 0.001 | -0.015 | -0.005 | 0.001 | -0.001 | -0.008 |
|  | 106 | 1.724 | -0.001 | 0.003 | 0.000 | -0.002 | 0.000 | 5 33 | -0.073 | 0.001 | -0.002 | 0.000 | 0.002 | 0.000 |
| 206 | 105 | 0.245 | 0.163 | 0.003 | 0.017 | -0.003 | -0.091 | 32 | -0.073 | -0.001 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.244 | 0.158 | 0.003 | 0.017 | 0.000 | 0.022 | 6 99 | -0.071 | 0.003 | -0.012 | 0.000 | 0.003 | -0.001 |
| 207 | 106 | 1.740 | 0.001 | -0.001 | 0.000 | -0.003 | 0.000 | 98 | -0.071 | 0.000 | -0.012 | 0.000 | -0.004 | 0.000 |
|  | 107 | 1.740 | -0.001 | -0.001 | 0.000 | -0.003 | 0.000 | 7 32 | 0.066 | 0.002 | 0.015 | 0.000 | -0.004 | 0.000 |
| 208 | 106 | 0.229 | 0.168 | 0.000 | 0.000 | 0.000 | -0.094 | 31 | 0.066 | -0.001 | 0.015 | 0.000 | 0.005 | 0.000 |
|  | 117 | 0.229 | 0.163 | 0.000 | 0.000 | 0.000 | 0.022 | 8 31 | 0.358 | 0.002 | 0.019 | 0.000 | -0.006 | 0.000 |
| 209 | 107 | 1.468 | 0.001 | 0.005 | 0.000 | -0.004 | 0.000 | 30 | 0.358 | -0.001 | 0.019 | 0.000 | 0.006 | 0.000 |
|  | 108 | 1.468 | -0.002 | 0.005 | 0.000 | -0.001 | 0.000 | 9 30 | 0.584 | 0.001 | 0.012 | 0.000 | -0.004 | 0.000 |
| 210 | 107 | 0.254 | 0.164 | -0.002 | -0.018 | 0.002 | -0.090 | 29 | 0.584 | -0.001 | 0.012 | 0.000 | 0.003 | 0.000 |
|  | 118 | 0.253 | 0.159 | -0.002 | -0.018 | 0.000 | 0.023 | 10 29 | 0.701 | 0.001 | 0.004 | 0.000 | -0.001 | 0.000 |
| 211 | 108 | 1.086 | 0.001 | 0.008 | 0.000 | -0.002 | 0.000 | 28 | 0.701 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 109 | 1.086 | -0.002 | 0.008 | 0.000 | 0.002 | 0.000 | 11 28 | 0.696 | 0.001 | -0.005 | 0.000 | 0.001 | 0.000 |
| 212 | 108 | 0.221 | 0.124 | -0.003 | -0.031 | 0.003 | -0.074 | 27 | 0.696 | -0.001 | -0.005 | 0.000 | -0.002 | 0.000 |
|  | 119 | 0.221 | 0.119 | -0.003 | -0.031 | 0.001 | 0.011 | 12 27 | 0.571 | 0.001 | -0.013 | 0.000 | 0.004 | 0.000 |
| 213 | 109 | 0.758 | 0.001 | -0.004 | 0.000 | 0.000 | 0.000 | 26 | 0.571 | -0.001 | -0.013 | 0.000 | -0.004 | 0.000 |
|  | 110 | 0.758 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 | 13 26 | 0.344 | 0.001 | -0.019 | 0.000 | 0.006 | 0.000 |
| 214 | 109 | 0.199 | 0.097 | 0.002 | -0.031 | 0.001 | -0.062 | 25 | 0.344 | -0.002 | -0.019 | 0.000 | -0.006 | 0.000 |
|  | 120 | 0.198 | 0.091 | 0.002 | -0.031 | 0.002 | 0.004 | 14 25 | 0.075 | 0.001 | -0.012 | 0.000 | 0.004 | 0.000 |
| 215 | 110 | 0.470 | 0.001 | -0.027 | 0.000 | 0.009 | 0.000 | 24 | 0.075 | -0.002 | -0.012 | 0.000 | -0.003 | 0.000 |
|  | 111 | 0.470 | -0.001 | -0.027 | 0.000 | -0.007 | 0.000 | 15 24 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.196 | 0.096 | -0.002 | -0.027 | 0.004 | -0.060 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.195 | 0.090 | -0.002 | -0.027 | 0.003 | 0.006 | 16 98 | -0.071 | 0.000 | -0.012 | 0.000 | -0.004 | 0.000 |
| 217 | 34 | 0.355 | 0.113 | 0.215 | 0.008 | -0.303 | -0.119 | 97 | -0.071 | -0.002 | -0.012 | 0.000 | -0.011 | 0.000 |
|  | 131 | 0.381 | 0.113 | 0.215 | 0.008 | -0.208 | -0.069 | 17 97 | 1.155 | 0.002 | -0.091 | 0.000 | 0.029 | 0.000 |
| 218 | 78 | 1.278 | -0.145 | 0.681 | 0.004 | -1.189 | 0.295 | 96 | 1.155 | 0.000 | -0.091 | 0.000 | -0.025 | 0.000 |
|  | 44 | 1.309 | -0.145 | 0.680 | 0.004 | -0.828 | 0.218 | 18 96 | 2.264 | 0.002 | -0.064 | 0.000 | 0.022 | 0.000 |
| 219 | 125 | 1.283 | -0.118 | -0.735 | 0.003 | 1.171 | 0.255 | 95 | 2.264 | 0.000 | -0.064 | 0.000 | -0.016 | 0.000 |
|  | 135 | 1.309 | -0.118 | -0.736 | 0.003 | 0.840 | 0.202 | 19 95 | 2.895 | 0.001 | -0.024 | 0.000 | 0.011 | 0.000 |
| 220 | 127 | 0.322 | 0.150 | -0.162 | 0.000 | 0.259 | -0.144 | 94 | 2.895 | -0.001 | -0.024 | 0.000 | -0.003 | 0.000 |
|  | 139 | 0.348 | 0.150 | -0.163 | 0.000 | 0.188 | -0.078 | 20 94 | 2.928 | 0.001 | 0.021 | 0.000 | -0.002 | 0.000 |
| 221 | 99 | 0.244 | 0.036 | 0.022 | -0.025 | -0.009 | -0.053 | 93 | 2.928 | -0.001 | 0.021 | 0.000 | 0.010 | 0.000 |
|  | 111 | 0.243 | 0.032 | 0.022 | -0.025 | 0.002 | -0.036 | 21 93 | 2.374 | 0.000 | 0.059 | 0.000 | -0.014 | 0.000 |
| 222 | 33 | 0.030 | -0.029 | 0.037 | 0.003 | -0.004 | -0.020 | 92 | 2.374 | -0.002 | 0.059 | 0.000 | 0.021 | 0.000 |
|  | 127 | 0.030 | -0.030 | 0.037 | 0.003 | 0.002 | -0.024 | 22 92 | 1.398 | 0.000 | 0.077 | 0.000 | -0.022 | 0.000 |
| 223 | 44 | 1.309 | -0.145 | 0.680 | 0.004 | -0.828 | 0.218 | 91 | 1.398 | -0.002 | 0.077 | 0.000 | 0.024 | 0.000 |
|  | 88 | 1.319 | -0.145 | 0.679 | 0.004 | -0.467 | 0.141 | 23 91 | 0.351 | 0.000 | 0.049 | 0.000 | -0.018 | 0.000 |
| 224 | 88 | 1.319 | -0.145 | 0.679 | 0.004 | -0.467 | 0.141 | 90 | 0.351 | -0.002 | 0.049 | 0.000 | 0.011 | 0.000 |
|  | 129 | 1.330 | -0.145 | 0.678 | 0.004 | -0.106 | 0.064 | 24 90 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | 1.330 | -0.145 | 0.678 | 0.004 | -0.106 | 0.064 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 1.341 | -0.145 | 0.677 | 0.004 | 0.253 | -0.013 | 25 10 | -0.063 | 0.003 | 0.010 | 0.000 | -0.003 | -0.001 |
| 226 | 130 | 1.341 | -0.145 | 0.677 | 0.004 | 0.253 | -0.013 | 9 | -0.063 | 0.001 | 0.010 | 0.000 | 0.003 | 0.000 |
|  | 124 | 1.351 | -0.145 | 0.676 | 0.004 | 0.613 | -0.090 | 26 9 | -0.136 | 0.002 | 0.006 | 0.000 | -0.001 | 0.000 |
| 227 | 131 | 0.381 | 0.113 | 0.215 | 0.008 | -0.208 | -0.069 | 8 | -0.136 | 0.000 | 0.006 | 0.000 | 0.002 | 0.000 |
|  | 132 | 0.389 | 0.113 | 0.214 | 0.008 | -0.114 | -0.019 | 27 8 | -0.201 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.389 | 0.113 | 0.214 | 0.008 | -0.114 | -0.019 | 7 | -0.201 | 0.000 | 0.003 | 0.000 | 0.001 | 0.000 |
|  | 133 | 0.398 | 0.113 | 0.213 | 0.008 | -0.020 | 0.031 | 28 7 | -0.237 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.398 | 0.113 | 0.213 | 0.008 | -0.020 | 0.031 | 6 | -0.237 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 134 | 0.407 | 0.113 | 0.212 | 0.008 | 0.073 | 0.080 | 29 6 | -0.234 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | 0.407 | 0.113 | 0.212 | 0.008 | 0.073 | 0.080 | 5 | -0.234 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.416 | 0.113 | 0.211 | 0.008 | 0.166 | 0.130 | 30 5 | -0.193 | 0.001 | -0.002 | 0.000 | 0.001 | 0.000 |
| 231 | 135 | 1.309 | -0.118 | -0.736 | 0.003 | 0.840 | 0.202 | 4 | -0.193 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 136 | 1.318 | -0.118 | -0.737 | 0.003 | 0.507 | 0.149 | 31 4 | -0.125 | 0.000 | -0.005 | 0.000 | 0.002 | 0.000 |
| 232 | 136 | 1.318 | -0.118 | -0.737 | 0.003 | 0.507 | 0.149 | 3 | -0.125 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 |
|  | 137 | 1.327 | -0.118 | -0.738 | 0.003 | 0.175 | 0.096 | 32 3 | -0.054 | 0.000 | -0.009 | 0.000 | 0.003 | 0.000 |
| 233 | 137 | 1.327 | -0.118 | -0.738 | 0.003 | 0.175 | 0.096 | 2 | -0.054 | -0.003 | -0.009 | 0.000 | -0.002 | -0.001 |
|  | 138 | 1.336 | -0.118 | -0.739 | 0.003 | -0.158 | 0.042 | 33 2 | -0.007 | 0.000 | -0.008 | 0.000 | 0.002 | 0.000 |
| 234 | 138 | 1.336 | -0.118 | -0.739 | 0.003 | -0.158 | 0.042 | 1 | -0.007 | -0.003 | -0.008 | 0.000 | -0.003 | -0.001 |
|  | 126 | 1.345 | -0.118 | -0.740 | 0.003 | -0.492 | -0.011 | 34 121 | -0.197 | 0.096 | 0.012 | 0.027 | -0.005 | -0.049 |
| 235 | 139 | 0.348 | 0.150 | -0.163 | 0.000 | 0.188 | -0.078 | 120 | -0.197 | 0.091 | 0.012 | 0.027 | 0.002 | 0.006 |
|  | 140 | 0.356 | 0.150 | -0.164 | 0.000 | 0.116 | -0.012 | 35 120 | -0.693 | 0.174 | 0.020 | 0.029 | -0.005 | -0.036 |
| 236 | 140 | 0.356 | 0.150 | -0.164 | 0.000 | 0.116 | -0.012 | 119 | -0.693 | 0.169 | 0.020 | 0.029 | 0.007 | 0.066 |
|  | 141 | 0.365 | 0.150 | -0.164 | 0.000 | 0.044 | 0.054 | 36 119 | -1.417 | 0.280 | 0.024 | 0.024 | -0.003 | 0.018 |
| 237 | 141 | 0.365 | 0.150 | -0.164 | 0.000 | 0.044 | 0.054 | 118 | -1.417 | 0.275 | 0.024 | 0.024 | 0.012 | 0.183 |
|  | 142 | 0.374 | 0.150 | -0.165 | 0.000 | -0.029 | 0.120 | 37 118 | -1.795 | -0.072 | 0.001 | 0.008 | 0.006 | 0.156 |
| 238 | 142 | 0.374 | 0.150 | -0.165 | 0.000 | -0.029 | 0.120 | 117 | -1.795 | -0.077 | 0.001 | 0.008 | 0.006 | 0.112 |
|  | 128 | 0.383 | 0.150 | -0.166 | 0.000 | -0.102 | 0.186 | 38 117 | -1.796 | 0.078 | -0.001 | -0.009 | 0.006 | 0.111 |
|  |  |  |  |  |  |  |  | 116 | -1.796 | 0.073 | -0.001 | -0.009 | 0.006 | 0.156 |
|  |  |  |  |  |  |  |  | 39 116 | -1.418 | -0.275 | -0.025 | -0.025 | 0.012 | 0.182 |
|  |  |  |  |  |  |  |  | 115 | -1.418 | -0.279 | -0.025 | -0.025 | -0.003 | 0.017 |
|  |  |  |  |  |  |  |  | 40 115 | -0.695 | -0.170 | -0.021 | -0.030 | 0.007 | 0.064 |
|  |  |  |  |  |  |  |  | 114 | -0.695 | -0.175 | -0.021 | -0.030 | -0.005 | -0.038 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.188 | -0.092 | -0.012 | -0.027 | 0.003 | 0.004 | 81 | 77 | -0.032 | -0.049 | 0.010 | -0.001 | -0.002 | -0.015 |
|  | 113 | -0.188 | -0.096 | -0.012 | -0.027 | -0.005 | -0.051 |  | 125 | -0.032 | -0.054 | 0.010 | -0.001 | 0.005 | -0.051 |
| 42 | 113 | 0.048 | -0.013 | 0.007 | -0.027 | -0.003 | -0.017 | 82 | 125 | 0.290 | 0.045 | -0.048 | -0.028 | 0.002 | -0.067 |
|  | 112 | 0.048 | -0.017 | 0.007 | -0.027 | 0.002 | -0.026 |  | 99 | 0.290 | 0.043 | -0.048 | -0.028 | -0.007 | -0.057 |
| 43 | 2 | 0.006 | -0.014 | 0.008 | -0.001 | -0.004 | 0.001 | 83 | 111 | 0.076 | 0.029 | 0.004 | -0.027 | 0.001 | -0.042 |
|  | 13 | 0.005 | -0.020 | 0.008 | -0.001 | 0.002 | -0.010 |  | 122 | 0.075 | 0.024 | 0.004 | -0.027 | 0.004 | -0.024 |
| 44 | 24 | 0.220 | -0.055 | 0.079 | 0.000 | -0.003 | -0.031 | 84 | 12 | 0.090 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 35 | 0.220 | -0.056 | 0.079 | 0.000 | 0.011 | -0.040 |  | 13 | 0.090 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 45 | 90 | 0.903 | 0.134 | -0.011 | 0.027 | 0.001 | -0.116 | 85 | 34 | 0.601 | 0.442 | 0.005 | 0.099 | 0.008 | -0.367 |
|  | 102 | 0.902 | 0.130 | -0.011 | 0.027 | -0.004 | -0.046 |  | 35 | 0.601 | 0.422 | 0.005 | 0.099 | 0.011 | -0.111 |
| 46 | 3 | 0.027 | -0.013 | 0.007 | -0.001 | -0.003 | 0.002 | 86 | 45 | 0.065 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 |
|  | 14 | 0.026 | -0.018 | 0.007 | -0.001 | 0.002 | -0.009 |  | 46 | 0.065 | -0.002 | 0.009 | 0.000 | 0.003 | 0.000 |
| 47 | 25 | 0.208 | -0.050 | 0.260 | 0.004 | -0.015 | -0.028 | 87 | 56 | 0.072 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 36 | 0.208 | -0.051 | 0.260 | 0.004 | 0.030 | -0.037 |  | 57 | 0.072 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 48 | 91 | 0.873 | 0.130 | 0.028 | 0.031 | -0.014 | -0.116 | 88 | 67 | 0.248 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 |
|  | 103 | 0.873 | 0.126 | 0.028 | 0.031 | 0.001 | -0.049 |  | 68 | 0.248 | -0.002 | 0.009 | 0.000 | 0.002 | 0.000 |
| 49 | 4 | 0.043 | -0.013 | 0.004 | -0.001 | -0.001 | 0.002 | 89 | 78 | 1.876 | 1.289 | 0.046 | -0.272 | -0.022 | -1.148 |
|  | 15 | 0.043 | -0.018 | 0.004 | -0.001 | 0.001 | -0.009 |  | 79 | 1.876 | 1.269 | 0.046 | -0.272 | 0.005 | -0.388 |
| 50 | 26 | 0.171 | -0.049 | 0.218 | 0.004 | -0.014 | -0.029 | 90 | 101 | 0.466 | 0.001 | 0.019 | 0.000 | -0.005 | 0.000 |
|  | 37 | 0.171 | -0.050 | 0.218 | 0.004 | 0.024 | -0.038 |  | 102 | 0.466 | -0.001 | 0.019 | 0.000 | 0.006 | 0.000 |
| 51 | 92 | 0.924 | 0.155 | 0.025 | 0.030 | -0.013 | -0.139 | 91 | 13 | 0.089 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 104 | 0.923 | 0.151 | 0.025 | 0.030 | 0.000 | -0.058 |  | 14 | 0.089 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 52 | 5 | 0.052 | -0.013 | 0.001 | 0.000 | 0.000 | 0.003 | 92 | 13 | 0.209 | -0.046 | 0.004 | -0.002 | -0.001 | -0.006 |
|  | 16 | 0.051 | -0.018 | 0.001 | 0.000 | 0.000 | -0.009 |  | 24 | 0.209 | -0.049 | 0.004 | -0.002 | 0.001 | -0.031 |
| 53 | 27 | 0.169 | -0.049 | 0.120 | 0.002 | -0.008 | -0.030 | 93 | 14 | 0.097 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.169 | -0.050 | 0.120 | 0.002 | 0.013 | -0.039 |  | 15 | 0.097 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
| 54 | 93 | 1.183 | 0.193 | 0.013 | 0.017 | -0.007 | -0.169 | 94 | 14 | 0.205 | -0.043 | -0.009 | -0.002 | 0.000 | -0.005 |
|  | 105 | 1.182 | 0.189 | 0.013 | 0.017 | 0.000 | -0.068 |  | 25 | 0.205 | -0.047 | -0.009 | -0.002 | -0.004 | -0.029 |
| 55 | 6 | 0.053 | -0.013 | 0.000 | 0.000 | 0.000 | 0.003 | 95 | 15 | 0.145 | 0.002 | 0.001 | 0.000 | -0.001 | 0.000 |
|  | 17 | 0.052 | -0.019 | 0.000 | 0.000 | 0.000 | -0.009 |  | 16 | 0.145 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 |
| 56 | 28 | 0.166 | -0.049 | 0.005 | 0.000 | 0.000 | -0.030 | 96 | 15 | 0.180 | -0.043 | -0.009 | -0.001 | 0.001 | -0.005 |
|  | 39 | 0.166 | -0.050 | 0.005 | 0.000 | 0.000 | -0.039 |  | 26 | 0.180 | -0.047 | -0.009 | -0.001 | -0.004 | -0.029 |
| 57 | 94 | 1.195 | 0.200 | -0.005 | -0.001 | 0.001 | -0.176 | 97 | 16 | 0.180 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 1.194 | 0.196 | -0.005 | -0.001 | -0.001 | -0.071 |  | 17 | 0.180 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 7 | 0.050 | -0.013 | -0.002 | 0.000 | 0.001 | 0.002 | 98 | 16 | 0.179 | -0.044 | -0.005 | -0.001 | 0.000 | -0.006 |
|  | 18 | 0.049 | -0.018 | -0.002 | 0.000 | -0.001 | -0.009 |  | 27 | 0.179 | -0.048 | -0.005 | -0.001 | -0.002 | -0.030 |
| 59 | 29 | 0.170 | -0.049 | -0.112 | -0.002 | 0.007 | -0.030 | 99 | 17 | 0.184 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.170 | -0.050 | -0.112 | -0.002 | -0.012 | -0.039 |  | 18 | 0.184 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 95 | 1.171 | 0.194 | -0.023 | -0.018 | 0.010 | -0.170 | 100 | 17 | 0.176 | -0.044 | 0.000 | 0.000 | 0.000 | -0.006 |
|  | 107 | 1.170 | 0.190 | -0.023 | -0.018 | -0.002 | -0.068 |  | 28 | 0.175 | -0.048 | 0.000 | 0.000 | 0.000 | -0.030 |
| 61 | 8 | 0.040 | -0.013 | -0.004 | 0.001 | 0.002 | 0.002 | 101 | 18 | 0.158 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.039 | -0.018 | -0.004 | 0.001 | -0.001 | -0.009 |  | 19 | 0.158 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.172 | -0.048 | -0.218 | -0.003 | 0.014 | -0.029 | 102 | 18 | 0.178 | -0.044 | 0.005 | 0.001 | 0.000 | -0.006 |
|  | 41 | 0.172 | -0.050 | -0.218 | -0.003 | -0.024 | -0.038 |  | 29 | 0.177 | -0.048 | 0.005 | 0.001 | 0.002 | -0.030 |
| 63 | 96 | 0.905 | 0.156 | -0.040 | -0.031 | 0.018 | -0.140 | 103 | 19 | 0.114 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.905 | 0.152 | -0.040 | -0.031 | -0.003 | -0.059 |  | 20 | 0.114 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 64 | 9 | 0.026 | -0.013 | -0.008 | 0.001 | 0.003 | 0.002 | 104 | 19 | 0.177 | -0.043 | 0.009 | 0.001 | -0.001 | -0.006 |
|  | 20 | 0.026 | -0.018 | -0.008 | 0.001 | -0.002 | -0.009 |  | 30 | 0.177 | -0.047 | 0.009 | 0.001 | 0.004 | -0.029 |
| 65 | 31 | 0.212 | -0.049 | -0.281 | -0.004 | 0.017 | -0.028 | 105 | 20 | 0.102 | 0.000 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 42 | 0.212 | -0.051 | -0.281 | -0.004 | -0.033 | -0.037 |  | 21 | 0.102 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
| 66 | 97 | 0.790 | 0.130 | -0.058 | -0.032 | 0.025 | -0.117 | 106 | 20 | 0.205 | -0.043 | 0.010 | 0.002 | -0.001 | -0.005 |
|  | 109 | 0.789 | 0.126 | -0.058 | -0.032 | -0.006 | -0.049 |  | 31 | 0.205 | -0.047 | 0.010 | 0.002 | 0.005 | -0.029 |
| 67 | 10 | 0.003 | -0.014 | -0.009 | 0.001 | 0.004 | 0.001 | 107 | 21 | 0.103 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 21 | 0.003 | -0.020 | -0.009 | 0.001 | -0.003 | -0.011 |  | 22 | 0.103 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 68 | 32 | 0.203 | -0.054 | -0.138 | -0.001 | 0.006 | -0.031 | 108 | 21 | 0.185 | -0.045 | 0.002 | 0.003 | 0.001 | -0.006 |
|  | 43 | 0.203 | -0.055 | -0.138 | -0.001 | -0.018 | -0.040 |  | 32 | 0.184 | -0.049 | 0.002 | 0.003 | 0.001 | -0.031 |
| 69 | 100 | 0.862 | 0.132 | 0.051 | -0.024 | -0.013 | -0.112 | 109 | 35 | 0.276 | 0.312 | -0.077 | 0.053 | 0.023 | -0.141 |
|  | 110 | 0.861 | 0.129 | 0.051 | -0.024 | 0.012 | -0.046 |  | 36 | 0.275 | 0.305 | -0.077 | 0.053 | -0.023 | 0.042 |
| 70 | 12 | 0.064 | -0.028 | 0.003 | -0.003 | 0.000 | -0.006 | 110 | 35 | 0.048 | 0.022 | -0.008 | 0.001 | 0.002 | -0.007 |
|  | 34 | 0.063 | -0.033 | 0.003 | -0.003 | 0.002 | -0.028 |  | 46 | 0.047 | 0.017 | -0.008 | 0.001 | -0.003 | 0.006 |
| 71 | 34 | -0.262 | 0.008 | 0.002 | 0.003 | -0.001 | 0.007 | 111 | 36 | -0.528 | 0.219 | -0.043 | 0.032 | 0.009 | -0.036 |
|  | 45 | -0.263 | 0.002 | 0.002 | 0.003 | 0.000 | 0.011 |  | 37 | -0.528 | 0.213 | -0.043 | 0.032 | -0.017 | 0.092 |
| 72 | 45 | -0.377 | -0.009 | -0.007 | 0.002 | 0.002 | 0.008 | 112 | 36 | 0.101 | 0.015 | -0.015 | 0.002 | 0.005 | -0.015 |
|  | 56 | -0.377 | -0.014 | -0.007 | 0.002 | -0.003 | 0.000 |  | 47 | 0.100 | 0.010 | -0.015 | 0.002 | -0.006 | -0.007 |
| 73 | 56 | -0.322 | -0.025 | 0.008 | 0.002 | -0.002 | 0.001 | 113 | 37 | -1.147 | 0.132 | -0.029 | 0.016 | 0.006 | 0.032 |
|  | 67 | -0.323 | -0.031 | 0.008 | 0.002 | 0.004 | -0.019 |  | 38 | -1.147 | 0.126 | -0.029 | 0.016 | -0.011 | 0.109 |
| 74 | 67 | -0.054 | -0.042 | -0.015 | 0.001 | 0.004 | -0.012 | 114 | 37 | 0.176 | 0.008 | -0.016 | 0.002 | 0.006 | -0.021 |
|  | 78 | -0.055 | -0.047 | -0.015 | 0.001 | -0.007 | -0.043 |  | 48 | 0.176 | 0.003 | -0.016 | 0.002 | -0.005 | -0.017 |
| 75 | 78 | 0.250 | 0.043 | -0.006 | 0.027 | 0.005 | -0.067 | 115 | 38 | -1.488 | 0.051 | -0.010 | 0.004 | 0.001 | 0.075 |
|  | 101 | 0.249 | 0.038 | -0.006 | 0.027 | 0.001 | -0.039 |  | 39 | -1.488 | 0.044 | -0.010 | 0.004 | -0.005 | 0.103 |
| 76 | 101 | 0.079 | 0.028 | -0.007 | 0.027 | 0.001 | -0.043 | 116 | 38 | 0.225 | 0.003 | -0.010 | 0.001 | 0.004 | -0.024 |
|  | 112 | 0.078 | 0.022 | -0.007 | 0.027 | -0.004 | -0.025 |  | 49 | 0.225 | -0.002 | -0.010 | 0.001 | -0.003 | -0.024 |
| 77 | 22 | 0.068 | -0.029 | -0.013 | 0.003 | 0.002 | -0.006 | 117 | 39 | -1.517 | -0.029 | 0.009 | -0.007 | -0.005 | 0.100 |
|  | 33 | 0.067 | -0.033 | -0.013 | 0.003 | -0.005 | -0.023 |  | 40 | -1.517 | -0.036 | 0.009 | -0.007 | 0.000 | 0.080 |
| 78 | 127 | -0.341 | 0.001 | -0.003 | -0.003 | 0.002 | 0.017 | 118 | 39 | 0.233 | 0.001 | -0.001 | 0.000 | 0.000 | -0.025 |
|  | 55 | -0.342 | -0.005 | -0.003 | -0.003 | 0.000 | 0.015 |  | 50 | 0.233 | -0.004 | -0.001 | 0.000 | 0.000 | -0.026 |
| 79 | 55 | -0.436 | -0.016 | 0.007 | -0.002 | -0.002 | 0.013 | 119 | 40 | -1.231 | -0.110 | 0.029 | -0.019 | -0.011 | 0.107 |
|  | 66 | -0.436 | -0.021 | 0.007 | -0.002 | 0.003 | 0.000 |  | 41 | -1.231 | -0.117 | 0.029 | -0.019 | 0.006 | 0.040 |
| 80 | 66 | -0.350 | -0.032 | -0.007 | -0.002 | 0.002 | 0.002 | 120 | 40 | 0.213 | 0.003 | 0.008 | -0.001 | -0.003 | -0.024 |
|  | 77 | -0.351 | -0.037 | -0.007 | -0.002 | -0.003 | -0.023 |  | 51 | 0.213 | -0.003 | 0.008 | -0.001 | 0.003 | -0.024 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -0.660 | -0.196 | 0.044 | -0.036 | -0.017 | 0.094 | 161 | 65 | 0.072 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 42 | -0.660 | -0.203 | 0.044 | -0.036 | 0.009 | -0.024 |  | 66 | 0.072 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |
| 122 | 41 | 0.152 | 0.007 | 0.014 | -0.002 | -0.005 | -0.020 | 162 | 65 | -0.004 | -0.040 | 0.005 | -0.005 | -0.002 | -0.002 |
|  | 52 | 0.152 | 0.002 | 0.014 | -0.002 | 0.005 | -0.017 |  | 76 | -0.005 | -0.046 | 0.005 | -0.005 | 0.002 | -0.032 |
| 123 | 42 | 0.121 | -0.285 | 0.086 | -0.059 | -0.025 | 0.051 | 163 | 68 | 0.390 | 0.000 | 0.007 | 0.000 | -0.002 | 0.000 |
|  | 43 | 0.121 | -0.292 | 0.086 | -0.059 | 0.026 | -0.121 |  | 69 | 0.390 | -0.002 | 0.007 | 0.000 | 0.002 | -0.001 |
| 124 | 42 | 0.065 | 0.013 | 0.014 | -0.002 | -0.004 | -0.013 | 164 | 68 | 0.580 | -0.066 | -0.010 | 0.006 | 0.001 | -0.015 |
|  | 53 | 0.065 | 0.007 | 0.014 | -0.002 | 0.006 | -0.006 |  | 79 | 0.579 | -0.071 | -0.010 | 0.006 | -0.006 | -0.064 |
| 125 | 43 | 0.526 | -0.399 | -0.024 | -0.116 | 0.008 | -0.085 | 165 | 69 | 0.673 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.526 | -0.419 | -0.024 | -0.116 | -0.007 | -0.328 |  | 70 | 0.673 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 126 | 43 | -0.001 | 0.017 | 0.008 | -0.002 | -0.002 | -0.001 | 166 | 69 | 0.643 | -0.080 | 0.008 | 0.008 | -0.005 | -0.043 |
|  | 54 | -0.002 | 0.012 | 0.008 | -0.002 | 0.004 | 0.009 |  | 80 | 0.642 | -0.085 | 0.008 | 0.008 | 0.001 | -0.101 |
| 127 | 46 | 0.144 | 0.000 | 0.019 | 0.000 | -0.005 | 0.000 | 167 | 70 | 1.005 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.144 | -0.002 | 0.019 | 0.000 | 0.006 | 0.000 |  | 71 | 1.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 128 | 46 | -0.112 | -0.007 | -0.010 | 0.003 | 0.003 | 0.002 | 168 | 70 | 0.709 | -0.086 | 0.015 | 0.007 | -0.006 | -0.063 |
|  | 57 | -0.112 | -0.013 | -0.010 | 0.003 | -0.004 | -0.005 |  | 81 | 0.709 | -0.091 | 0.015 | 0.007 | 0.004 | -0.126 |
| 129 | 47 | 0.263 | 0.001 | 0.016 | 0.000 | -0.005 | 0.000 | 169 | 71 | 1.217 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.263 | -0.002 | 0.016 | 0.000 | 0.005 | 0.000 |  | 72 | 1.217 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | 0.087 | -0.016 | -0.011 | 0.004 | 0.003 | -0.007 | 170 | 71 | 0.823 | -0.091 | 0.009 | 0.004 | -0.004 | -0.076 |
|  | 58 | 0.087 | -0.022 | -0.011 | 0.004 | -0.004 | -0.021 |  | 82 | 0.822 | -0.097 | 0.009 | 0.004 | 0.003 | -0.142 |
| 131 | 48 | 0.384 | 0.001 | 0.012 | 0.000 | -0.004 | 0.000 | 171 | 72 | 1.234 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.384 | -0.002 | 0.012 | 0.000 | 0.003 | 0.000 |  | 73 | 1.234 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
| 132 | 48 | 0.280 | -0.023 | -0.007 | 0.003 | 0.002 | -0.015 | 172 | 72 | 0.836 | -0.093 | 0.001 | 0.000 | 0.000 | -0.081 |
|  | 59 | 0.280 | -0.028 | -0.007 | 0.003 | -0.003 | -0.033 |  | 83 | 0.836 | -0.098 | 0.001 | 0.000 | 0.000 | -0.148 |
| 133 | 49 | 0.454 | 0.001 | 0.004 | 0.000 | -0.002 | 0.000 | 173 | 73 | 1.052 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.454 | -0.001 | 0.004 | 0.000 | 0.001 | 0.000 |  | 74 | 1.052 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 134 | 49 | 0.409 | -0.029 | -0.004 | 0.002 | 0.001 | -0.019 | 174 | 73 | 0.829 | -0.092 | -0.008 | -0.004 | 0.003 | -0.076 |
|  | 60 | 0.409 | -0.034 | -0.004 | 0.002 | -0.002 | -0.041 |  | 84 | 0.829 | -0.097 | -0.008 | -0.004 | -0.002 | -0.142 |
| 135 | 50 | 0.456 | 0.001 | -0.004 | 0.000 | 0.001 | 0.000 | 175 | 74 | 0.734 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.456 | -0.001 | -0.004 | 0.000 | -0.002 | 0.000 |  | 75 | 0.734 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 |
| 136 | 50 | 0.440 | -0.030 | 0.000 | 0.000 | 0.000 | -0.021 | 176 | 74 | 0.715 | -0.086 | -0.015 | -0.007 | 0.006 | -0.063 |
|  | 61 | 0.440 | -0.036 | 0.000 | 0.000 | 0.000 | -0.044 |  | 85 | 0.714 | -0.091 | -0.015 | -0.007 | -0.004 | -0.126 |
| 137 | 51 | 0.388 | 0.002 | -0.012 | 0.000 | 0.003 | 0.000 | 177 | 75 | 0.435 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 52 | 0.388 | -0.001 | -0.012 | 0.000 | -0.004 | 0.000 |  | 76 | 0.435 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 138 | 51 | 0.405 | -0.029 | 0.004 | -0.002 | -0.001 | -0.019 | 178 | 75 | 0.692 | -0.082 | -0.012 | -0.008 | 0.006 | -0.044 |
|  | 62 | 0.404 | -0.034 | 0.004 | -0.002 | 0.002 | -0.041 |  | 86 | 0.691 | -0.088 | -0.012 | -0.008 | -0.003 | -0.103 |
| 139 | 52 | 0.267 | 0.002 | -0.016 | 0.000 | 0.005 | 0.000 | 179 | 76 | 0.282 | 0.002 | -0.008 | 0.000 | 0.002 | 0.000 |
|  | 53 | 0.267 | -0.001 | -0.016 | 0.000 | -0.005 | 0.000 |  | 77 | 0.282 | -0.001 | -0.008 | 0.000 | -0.002 | 0.000 |
| 140 | 52 | 0.274 | -0.024 | 0.008 | -0.003 | -0.002 | -0.014 | 180 | 76 | 0.603 | -0.070 | 0.009 | -0.006 | 0.000 | -0.018 |
|  | 63 | 0.273 | -0.029 | 0.008 | -0.003 | 0.003 | -0.033 |  | 87 | 0.602 | -0.076 | 0.009 | -0.006 | 0.006 | -0.069 |
| 141 | 53 | 0.139 | 0.002 | -0.020 | 0.000 | 0.006 | 0.000 | 181 | 79 | 0.888 | 1.054 | 0.189 | -0.174 | -0.049 | -0.480 |
|  | 54 | 0.139 | 0.000 | -0.020 | 0.000 | -0.006 | 0.000 |  | 80 | 0.888 | 1.047 | 0.189 | -0.174 | 0.063 | 0.145 |
| 142 | 53 | 0.096 | -0.019 | 0.011 | -0.004 | -0.004 | -0.005 | 182 | 79 | 0.955 | 0.134 | -0.361 | 0.016 | 0.055 | -0.138 |
|  | 64 | 0.095 | -0.024 | 0.011 | -0.004 | 0.004 | -0.020 |  | 90 | 0.955 | 0.133 | -0.361 | 0.016 | -0.009 | -0.114 |
| 143 | 54 | 0.049 | 0.002 | -0.009 | 0.000 | 0.003 | 0.000 | 183 | 80 | -1.826 | 0.804 | 0.156 | -0.136 | -0.043 | -0.140 |
|  | 55 | 0.049 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |  | 81 | -1.826 | 0.797 | 0.156 | -0.136 | 0.050 | 0.335 |
| 144 | 54 | -0.118 | -0.012 | 0.010 | -0.003 | -0.003 | 0.006 | 184 | 80 | 0.912 | 0.131 | -1.019 | -0.001 | 0.127 | -0.138 |
|  | 65 | -0.119 | -0.017 | 0.010 | -0.003 | 0.004 | -0.005 |  | 91 | 0.912 | 0.129 | -1.019 | -0.001 | -0.053 | -0.115 |
| 145 | 57 | 0.207 | 0.000 | 0.018 | 0.000 | -0.005 | 0.000 | 185 | 81 | -4.065 | 0.520 | 0.138 | -0.092 | -0.045 | 0.103 |
|  | 58 | 0.207 | -0.003 | 0.018 | 0.000 | 0.006 | -0.001 |  | 82 | -4.065 | 0.513 | 0.138 | -0.092 | 0.037 | 0.410 |
| 146 | 57 | -0.024 | -0.036 | -0.005 | 0.005 | 0.002 | -0.003 | 186 | 81 | 0.917 | 0.160 | -0.951 | 0.000 | 0.115 | -0.167 |
|  | 68 | -0.025 | -0.041 | -0.005 | 0.005 | -0.002 | -0.030 |  | 92 | 0.917 | 0.159 | -0.951 | 0.000 | -0.053 | -0.139 |
| 147 | 58 | 0.361 | 0.000 | 0.012 | 0.000 | -0.004 | 0.000 | 187 | 82 | -5.312 | 0.180 | 0.040 | -0.033 | -0.017 | 0.281 |
|  | 59 | 0.361 | -0.002 | 0.012 | 0.000 | 0.004 | 0.000 |  | 83 | -5.312 | 0.174 | 0.040 | -0.033 | 0.007 | 0.386 |
| 148 | 58 | 0.244 | -0.048 | -0.010 | 0.006 | 0.003 | -0.017 | 188 | 82 | 1.151 | 0.201 | -0.541 | 0.000 | 0.065 | -0.205 |
|  | 69 | 0.244 | -0.053 | -0.010 | 0.006 | -0.004 | -0.053 |  | 93 | 1.151 | 0.199 | -0.541 | 0.000 | -0.030 | -0.170 |
| 149 | 59 | 0.466 | 0.001 | 0.009 | 0.000 | -0.003 | 0.000 | 189 | 83 | -5.320 | -0.167 | -0.051 | 0.030 | 0.010 | 0.386 |
|  | 60 | 0.466 | -0.002 | 0.009 | 0.000 | 0.002 | 0.000 |  | 84 | -5.320 | -0.174 | -0.051 | 0.030 | -0.020 | 0.285 |
| 150 | 59 | 0.485 | -0.055 | -0.008 | 0.005 | 0.002 | -0.028 | 190 | 83 | 1.149 | 0.208 | 0.027 | 0.000 | -0.003 | -0.214 |
|  | 70 | 0.484 | -0.060 | -0.008 | 0.005 | -0.003 | -0.069 |  | 94 | 1.149 | 0.207 | 0.027 | 0.000 | 0.002 | -0.177 |
| 151 | 60 | 0.522 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 | 191 | 84 | -4.078 | -0.508 | -0.154 | 0.089 | 0.041 | 0.415 |
|  | 61 | 0.522 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 85 | -4.078 | -0.515 | -0.154 | 0.089 | -0.050 | 0.111 |
| 152 | 60 | 0.658 | -0.060 | -0.004 | 0.003 | 0.001 | -0.036 | 192 | 84 | 1.125 | 0.201 | 0.608 | 0.002 | -0.072 | -0.206 |
|  | 71 | 0.657 | -0.066 | -0.004 | 0.003 | -0.002 | -0.080 |  | 95 | 1.125 | 0.200 | 0.608 | 0.002 | 0.035 | -0.171 |
| 153 | 61 | 0.523 | 0.001 | -0.003 | 0.000 | 0.000 | 0.000 | 193 | 85 | -1.790 | -0.797 | -0.187 | 0.132 | 0.057 | 0.351 |
|  | 62 | 0.523 | -0.001 | -0.003 | 0.000 | -0.001 | 0.000 |  | 86 | -1.790 | -0.803 | -0.187 | 0.132 | -0.054 | -0.124 |
| 154 | 61 | 0.697 | -0.062 | 0.000 | 0.000 | 0.000 | -0.038 | 194 | 85 | 0.866 | 0.162 | 1.068 | 0.003 | -0.126 | -0.169 |
|  | 72 | 0.696 | -0.067 | 0.000 | 0.000 | 0.000 | -0.084 |  | 96 | 0.866 | 0.161 | 1.068 | 0.003 | 0.062 | -0.141 |
| 155 | 62 | 0.466 | 0.002 | -0.009 | 0.000 | 0.002 | 0.000 | 195 | 86 | 1.033 | -1.043 | -0.187 | 0.170 | 0.067 | 0.176 |
|  | 63 | 0.466 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |  | 87 | 1.033 | -1.050 | -0.187 | 0.170 | -0.044 | -0.446 |
| 156 | 62 | 0.656 | -0.061 | 0.004 | -0.003 | -0.001 | -0.035 | 196 | 86 | 0.856 | 0.128 | 1.168 | 0.005 | -0.145 | -0.138 |
|  | 73 | 0.656 | -0.066 | 0.004 | -0.003 | 0.002 | -0.080 |  | 97 | 0.856 | 0.126 | 1.168 | 0.005 | 0.061 | -0.115 |
| 157 | 63 | 0.360 | 0.002 | -0.012 | 0.000 | 0.004 | 0.000 | 197 | 87 | 1.906 | -1.264 | -0.002 | 0.264 | -0.022 | -0.369 |
|  | 64 | 0.360 | 0.000 | -0.012 | 0.000 | -0.004 | 0.000 |  | 125 | 1.906 | -1.284 | -0.002 | 0.264 | -0.024 | -1.126 |
| 158 | 63 | 0.484 | -0.055 | 0.008 | -0.005 | -0.002 | -0.028 | 198 | 87 | 0.862 | 0.134 | 0.051 | -0.024 | -0.023 | -0.138 |
|  | 74 | 0.483 | -0.061 | 0.008 | -0.005 | 0.003 | -0.069 |  | 100 | 0.862 | 0.132 | 0.051 | -0.024 | -0.013 | -0.112 |
| 159 | 64 | 0.205 | 0.003 | -0.019 | 0.000 | 0.006 | -0.001 | 199 | 102 | 0.738 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.205 | 0.000 | -0.019 | 0.000 | -0.005 | 0.000 |  | 103 | 0.738 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
| 160 | 64 | 0.280 | -0.051 | 0.011 | -0.006 | -0.003 | -0.016 | 200 | 102 | 0.195 | 0.101 | -0.004 | 0.028 | -0.001 | -0.064 |
|  | 75 | 0.280 | -0.056 | 0.011 | -0.006 | 0.004 | -0.053 |  | 113 | 0.195 | 0.096 | -0.004 | 0.028 | -0.004 | 0.006 |

Axial	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis	Load case 70 (Linear): COMB 7 (1+3+8)

| Memb | Node | Force | Shear | Shear | Torsion | Moment | Moment |  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 201 | 103 | 1.075 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | Memb Node | Force | Shear | Shear | Torsion | Moment | Moment |
|  | 104 | 1.075 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 | 1 11 | 0.020 | 0.003 | 0.009 | 0.000 | -0.003 | -0.001 |
| 202 | 103 | 0.199 | 0.100 | 0.002 | 0.031 | -0.003 | -0.065 | 10 | 0.020 | 0.000 | 0.009 | 0.000 | 0.002 | 0.000 |
|  | 114 | 0.198 | 0.095 | 0.002 | 0.031 | -0.001 | 0.004 | 2 1 | 0.041 | -0.011 | 0.009 | -0.001 | -0.003 | 0.002 |
| 203 | 104 | 1.496 | 0.002 | -0.002 | 0.000 | -0.002 | 0.000 | 12 | 0.040 | -0.018 | 0.009 | -0.001 | 0.003 | -0.009 |
|  | 105 | 1.496 | -0.001 | -0.002 | 0.000 | -0.003 | 0.000 | 3 122 | 0.002 | 0.014 | 0.000 | 0.003 | 0.000 | -0.004 |
| 204 | 104 | 0.204 | 0.125 | 0.004 | 0.030 | -0.004 | -0.076 | 121 | 0.002 | 0.008 | 0.000 | 0.003 | 0.000 | 0.003 |
|  | 115 | 0.204 | 0.120 | 0.004 | 0.030 | -0.001 | 0.010 | 4 11 | 0.042 | -0.012 | -0.006 | 0.001 | 0.003 | 0.002 |
| 205 | 105 | 1.811 | 0.001 | 0.004 | 0.000 | -0.004 | 0.000 | 22 | 0.041 | -0.019 | -0.006 | 0.001 | -0.001 | -0.009 |
|  | 106 | 1.811 | -0.001 | 0.004 | 0.000 | -0.002 | 0.000 | 5 33 | -0.179 | 0.002 | -0.001 | 0.000 | 0.002 | 0.000 |
| 206 | 105 | 0.242 | 0.165 | 0.003 | 0.017 | -0.003 | -0.092 | 32 | -0.179 | -0.001 | -0.001 | 0.000 | 0.002 | 0.000 |
|  | 116 | 0.242 | 0.160 | 0.003 | 0.017 | 0.000 | 0.023 | 6 99 | -0.047 | 0.003 | -0.006 | 0.000 | 0.002 | -0.001 |
| 207 | 106 | 1.828 | 0.001 | 0.000 | 0.000 | -0.003 | 0.000 | 98 | -0.047 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
|  | 107 | 1.828 | -0.001 | 0.000 | 0.000 | -0.003 | 0.000 | 7 32 | 0.053 | 0.002 | 0.038 | 0.000 | -0.010 | 0.000 |
| 208 | 106 | 0.226 | 0.170 | 0.000 | 0.000 | 0.000 | -0.095 | 31 | 0.053 | -0.001 | 0.038 | 0.000 | 0.012 | 0.000 |
|  | 117 | 0.225 | 0.165 | 0.000 | 0.000 | 0.000 | 0.023 | 8 31 | 0.596 | 0.002 | 0.048 | 0.000 | -0.014 | 0.000 |
| 209 | 107 | 1.543 | 0.001 | 0.005 | 0.000 | -0.004 | 0.000 | 30 | 0.596 | -0.001 | 0.048 | 0.000 | 0.014 | 0.000 |
|  | 108 | 1.543 | -0.002 | 0.005 | 0.000 | -0.001 | 0.000 | 9 30 | 1.071 | 0.002 | 0.034 | 0.000 | -0.011 | 0.000 |
| 210 | 107 | 0.252 | 0.166 | -0.002 | -0.018 | 0.002 | -0.091 | 29 | 1.071 | -0.001 | 0.034 | 0.000 | 0.010 | 0.000 |
|  | 118 | 0.251 | 0.161 | -0.002 | -0.018 | 0.000 | 0.024 | 10 29 | 1.334 | 0.002 | 0.012 | 0.000 | -0.004 | 0.000 |
| 211 | 108 | 1.142 | 0.001 | 0.008 | 0.000 | -0.003 | 0.000 | 28 | 1.334 | -0.001 | 0.012 | 0.000 | 0.003 | 0.000 |
|  | 109 | 1.142 | -0.002 | 0.008 | 0.000 | 0.002 | 0.000 | 11 28 | 1.339 | 0.001 | -0.012 | 0.000 | 0.003 | 0.000 |
| 212 | 108 | 0.221 | 0.127 | -0.003 | -0.031 | 0.003 | -0.076 | 27 | 1.339 | -0.002 | -0.012 | 0.000 | -0.004 | 0.000 |
|  | 119 | 0.220 | 0.122 | -0.003 | -0.031 | 0.001 | 0.012 | 12 27 | 1.088 | 0.001 | -0.033 | 0.000 | 0.010 | 0.000 |
| 213 | 109 | 0.801 | 0.001 | -0.004 | 0.000 | 0.000 | 0.000 | 26 | 1.088 | -0.002 | -0.033 | 0.000 | -0.010 | 0.000 |
|  | 110 | 0.801 | -0.002 | -0.004 | 0.000 | -0.002 | 0.000 | 13 26 | 0.634 | 0.001 | -0.046 | 0.000 | 0.014 | 0.000 |
| 214 | 109 | 0.200 | 0.100 | 0.002 | -0.031 | 0.001 | -0.064 | 25 | 0.634 | -0.002 | -0.046 | 0.000 | -0.014 | 0.000 |
|  | 120 | 0.199 | 0.094 | 0.002 | -0.031 | 0.002 | 0.004 | 14 25 | 0.137 | 0.001 | -0.034 | 0.000 | 0.011 | 0.000 |
| 215 | 110 | 0.500 | 0.001 | -0.028 | 0.000 | 0.009 | 0.000 | 24 | 0.137 | -0.002 | -0.034 | 0.000 | -0.009 | 0.000 |
|  | 111 | 0.500 | -0.001 | -0.028 | 0.000 | -0.007 | 0.000 | 15 24 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
| 216 | 110 | 0.200 | 0.100 | -0.002 | -0.028 | 0.004 | -0.062 | 23 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.199 | 0.095 | -0.002 | -0.028 | 0.003 | 0.006 | 16 98 | -0.047 | 0.000 | -0.006 | 0.000 | -0.002 | 0.000 |
| 217 | 34 | 0.482 | 0.117 | 0.288 | 0.009 | -0.409 | -0.125 | 97 | -0.047 | -0.003 | -0.006 | 0.000 | -0.005 | -0.001 |
|  | 131 | 0.508 | 0.117 | 0.287 | 0.009 | -0.282 | -0.074 | 17 97 | 0.511 | 0.002 | -0.043 | 0.000 | 0.014 | 0.000 |
| 218 | 78 | 1.403 | -0.152 | 0.740 | 0.005 | -1.290 | 0.306 | 96 | 0.511 | -0.001 | -0.043 | 0.000 | -0.012 | 0.000 |
|  | 44 | 1.433 | -0.152 | 0.738 | 0.005 | -0.898 | 0.225 | 18 96 | 0.993 | 0.002 | -0.028 | 0.000 | 0.010 | 0.000 |
| 219 | 125 | 1.408 | -0.122 | -0.798 | 0.003 | 1.272 | 0.263 | 95 | 0.993 | -0.001 | -0.028 | 0.000 | -0.007 | 0.000 |
|  | 135 | 1.434 | -0.122 | -0.799 | 0.003 | 0.912 | 0.208 | 19 95 | 1.258 | 0.002 | -0.010 | 0.000 | 0.005 | 0.000 |
| 220 | 127 | 0.448 | 0.157 | -0.231 | -0.001 | 0.365 | -0.153 | 94 | 1.258 | -0.001 | -0.010 | 0.000 | -0.001 | 0.000 |
|  | 139 | 0.473 | 0.157 | -0.233 | -0.001 | 0.263 | -0.084 | 20 94 | 1.275 | 0.001 | 0.009 | 0.000 | -0.001 | 0.000 |
| 221 | 99 | 0.277 | 0.042 | 0.023 | -0.026 | -0.009 | -0.058 | 93 | 1.275 | -0.002 | 0.009 | 0.000 | 0.004 | 0.000 |
|  | 111 | 0.277 | 0.038 | 0.023 | -0.026 | 0.003 | -0.038 | 21 93 | 1.052 | 0.001 | 0.026 | 0.000 | -0.006 | 0.000 |
| 222 | 33 | 0.064 | -0.034 | 0.060 | 0.005 | -0.006 | -0.023 | 92 | 1.052 | -0.002 | 0.026 | 0.000 | 0.009 | 0.000 |
|  | 127 | 0.064 | -0.035 | 0.060 | 0.005 | 0.004 | -0.029 | 22 92 | 0.639 | 0.001 | 0.036 | 0.000 | -0.010 | 0.000 |
| 223 | 44 | 1.433 | -0.152 | 0.738 | 0.005 | -0.898 | 0.225 | 91 | 0.639 | -0.002 | 0.036 | 0.000 | 0.011 | 0.000 |
|  | 88 | 1.444 | -0.152 | 0.736 | 0.005 | -0.506 | 0.145 | 23 91 | 0.170 | 0.001 | 0.026 | 0.000 | -0.009 | 0.000 |
| 224 | 88 | 1.444 | -0.152 | 0.736 | 0.005 | -0.506 | 0.145 | 90 | 0.170 | -0.002 | 0.026 | 0.000 | 0.006 | 0.000 |
|  | 129 | 1.454 | -0.152 | 0.734 | 0.005 | -0.115 | 0.064 | 24 90 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 | -0.001 |
| 225 | 129 | 1.454 | -0.152 | 0.734 | 0.005 | -0.115 | 0.064 | 89 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 130 | 1.465 | -0.152 | 0.732 | 0.005 | 0.274 | -0.016 | 25 10 | 0.045 | 0.003 | 0.007 | 0.000 | -0.002 | -0.001 |
| 226 | 130 | 1.465 | -0.152 | 0.732 | 0.005 | 0.274 | -0.016 | 9 | 0.045 | 0.000 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 124 | 1.476 | -0.152 | 0.730 | 0.005 | 0.662 | -0.097 | 26 9 | 0.059 | 0.003 | 0.007 | 0.000 | -0.002 | 0.000 |
| 227 | 131 | 0.508 | 0.117 | 0.287 | 0.009 | -0.282 | -0.074 | 8 | 0.059 | -0.001 | 0.007 | 0.000 | 0.002 | 0.000 |
|  | 132 | 0.516 | 0.117 | 0.285 | 0.009 | -0.156 | -0.023 | 27 8 | 0.068 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
| 228 | 132 | 0.516 | 0.117 | 0.285 | 0.009 | -0.156 | -0.023 | 7 | 0.068 | -0.001 | 0.004 | 0.000 | 0.002 | 0.000 |
|  | 133 | 0.525 | 0.117 | 0.284 | 0.009 | -0.031 | 0.029 | 28 7 | 0.075 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 229 | 133 | 0.525 | 0.117 | 0.284 | 0.009 | -0.031 | 0.029 | 6 | 0.075 | -0.001 | 0.001 | 0.000 | 0.001 | 0.000 |
|  | 134 | 0.534 | 0.117 | 0.282 | 0.009 | 0.093 | 0.080 | 29 6 | 0.076 | 0.001 | -0.001 | 0.000 | 0.001 | 0.000 |
| 230 | 134 | 0.534 | 0.117 | 0.282 | 0.009 | 0.093 | 0.080 | 5 | 0.076 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 123 | 0.543 | 0.117 | 0.280 | 0.009 | 0.217 | 0.132 | 30 5 | 0.071 | 0.001 | -0.004 | 0.000 | 0.002 | 0.000 |
| 231 | 135 | 1.434 | -0.122 | -0.799 | 0.003 | 0.912 | 0.208 | 4 | 0.071 | -0.002 | -0.004 | 0.000 | 0.000 | 0.000 |
|  | 136 | 1.443 | -0.122 | -0.801 | 0.003 | 0.551 | 0.153 | 31 4 | 0.065 | 0.001 | -0.006 | 0.000 | 0.002 | 0.000 |
| 232 | 136 | 1.443 | -0.122 | -0.801 | 0.003 | 0.551 | 0.153 | 3 | 0.065 | -0.003 | -0.006 | 0.000 | -0.001 | 0.000 |
|  | 137 | 1.452 | -0.122 | -0.803 | 0.003 | 0.189 | 0.097 | 32 3 | 0.049 | 0.000 | -0.007 | 0.000 | 0.002 | 0.000 |
| 233 | 137 | 1.452 | -0.122 | -0.803 | 0.003 | 0.189 | 0.097 | 2 | 0.049 | -0.003 | -0.007 | 0.000 | -0.002 | -0.001 |
|  | 138 | 1.461 | -0.122 | -0.804 | 0.003 | -0.173 | 0.042 | 33 2 | 0.021 | 0.000 | -0.009 | 0.000 | 0.002 | 0.000 |
| 234 | 138 | 1.461 | -0.122 | -0.804 | 0.003 | -0.173 | 0.042 | 1 | 0.021 | -0.003 | -0.009 | 0.000 | -0.003 | -0.001 |
|  | 126 | 1.470 | -0.122 | -0.806 | 0.003 | -0.537 | -0.013 | 34 121 | -0.040 | 0.022 | 0.003 | 0.001 | -0.001 | -0.002 |
| 235 | 139 | 0.473 | 0.157 | -0.233 | -0.001 | 0.263 | -0.084 | 120 | -0.040 | 0.016 | 0.003 | 0.001 | 0.001 | 0.010 |
|  | 140 | 0.482 | 0.157 | -0.234 | -0.001 | 0.160 | -0.015 | 35 120 | -0.096 | 0.022 | 0.002 | 0.000 | 0.000 | 0.006 |
| 236 | 140 | 0.482 | 0.157 | -0.234 | -0.001 | 0.160 | -0.015 | 119 | -0.096 | 0.016 | 0.002 | 0.000 | 0.001 | 0.017 |
|  | 141 | 0.491 | 0.157 | -0.236 | -0.001 | 0.057 | 0.054 | 36 119 | -0.152 | 0.016 | 0.002 | 0.000 | 0.000 | 0.014 |
| 237 | 141 | 0.491 | 0.157 | -0.236 | -0.001 | 0.057 | 0.054 | 118 | -0.152 | 0.010 | 0.002 | 0.000 | 0.001 | 0.022 |
|  | 142 | 0.499 | 0.157 | -0.238 | -0.001 | -0.048 | 0.123 | 37 118 | -0.183 | 0.007 | 0.001 | 0.000 | 0.001 | 0.020 |
| 238 | 142 | 0.499 | 0.157 | -0.238 | -0.001 | -0.048 | 0.123 | 117 | -0.183 | 0.001 | 0.001 | 0.000 | 0.001 | 0.023 |
|  | 128 | 0.508 | 0.157 | -0.239 | -0.001 | -0.153 | 0.192 | 38 117 | -0.183 | -0.002 | -0.001 | 0.000 | 0.001 | 0.023 |
|  |  |  |  |  |  |  |  | 116 | -0.183 | -0.008 | -0.001 | 0.000 | 0.001 | 0.020 |
|  |  |  |  |  |  |  |  | 39 116 | -0.151 | -0.010 | -0.002 | 0.000 | 0.001 | 0.021 |
|  |  |  |  |  |  |  |  | 115 | -0.151 | -0.016 | -0.002 | 0.000 | 0.000 | 0.013 |
|  |  |  |  |  |  |  |  | 40 115 | -0.094 | -0.016 | -0.003 | 0.000 | 0.001 | 0.016 |
|  |  |  |  |  |  |  |  | 114 | -0.094 | -0.022 | -0.003 | 0.000 | 0.000 | 0.005 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41 | 114 | -0.034 | -0.016 | -0.003 | -0.001 | 0.001 | 0.009 | 81 | 77 | 0.112 | -0.035 | -0.002 | 0.002 | 0.000 | 0.003 |
|  | 113 | -0.034 | -0.022 | -0.003 | -0.001 | -0.001 | -0.003 |  | 125 | 0.112 | -0.042 | -0.002 | 0.002 | -0.001 | -0.024 |
| 42 | 113 | 0.005 | -0.007 | 0.001 | -0.003 | 0.000 | 0.002 | 82 | 125 | 0.263 | 0.054 | -0.038 | -0.007 | 0.005 | -0.047 |
|  | 112 | 0.005 | -0.013 | 0.001 | -0.003 | 0.000 | -0.004 |  | 99 | 0.263 | 0.052 | -0.038 | -0.007 | -0.003 | -0.036 |
| 43 | 2 | 0.013 | -0.018 | 0.009 | -0.001 | -0.004 | 0.002 | 83 | 111 | 0.035 | 0.028 | -0.001 | -0.005 | 0.001 | -0.019 |
|  | 13 | 0.013 | -0.025 | 0.009 | -0.001 | 0.002 | -0.013 |  | 122 | 0.034 | 0.021 | -0.001 | -0.005 | 0.000 | -0.001 |
| 44 | 24 | 0.390 | -0.073 | 0.147 | 0.002 | -0.008 | -0.037 | 84 | 12 | 0.153 | 0.002 | -0.007 | 0.000 | 0.002 | 0.000 |
|  | 35 | 0.390 | -0.075 | 0.147 | 0.002 | 0.018 | -0.050 |  | 13 | 0.153 | -0.001 | -0.007 | 0.000 | -0.002 | 0.000 |
| 45 | 90 | 0.463 | 0.078 | 0.000 | 0.004 | -0.001 | -0.048 | 85 | 34 | 1.053 | 0.816 | -0.002 | 0.049 | 0.009 | -0.678 |
|  | 102 | 0.462 | 0.072 | 0.000 | 0.004 | -0.001 | -0.008 |  | 35 | 1.053 | 0.789 | -0.002 | 0.049 | 0.008 | -0.201 |
| 46 | 3 | 0.028 | -0.018 | 0.009 | -0.001 | -0.003 | 0.002 | 86 | 45 | 0.122 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 14 | 0.027 | -0.025 | 0.009 | -0.001 | 0.003 | -0.013 |  | 46 | 0.122 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
| 47 | 25 | 0.286 | -0.068 | 0.486 | 0.009 | -0.033 | -0.039 | 87 | 56 | 0.022 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.285 | -0.070 | 0.486 | 0.009 | 0.053 | -0.051 |  | 57 | 0.022 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |
| 48 | 91 | 0.317 | 0.068 | 0.019 | 0.003 | -0.009 | -0.041 | 88 | 67 | 0.118 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.316 | 0.062 | 0.019 | 0.003 | 0.001 | -0.007 |  | 68 | 0.118 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 49 | 4 | 0.029 | -0.018 | 0.007 | -0.001 | -0.003 | 0.002 | 89 | 78 | 0.969 | 0.814 | 0.024 | -0.055 | -0.002 | -0.663 |
|  | 15 | 0.028 | -0.025 | 0.007 | -0.001 | 0.002 | -0.013 |  | 79 | 0.969 | 0.787 | 0.024 | -0.055 | 0.013 | -0.188 |
| 50 | 26 | 0.150 | -0.065 | 0.443 | 0.008 | -0.031 | -0.042 | 90 | 101 | 0.207 | 0.002 | 0.005 | 0.000 | -0.001 | 0.000 |
|  | 37 | 0.149 | -0.067 | 0.443 | 0.008 | 0.047 | -0.054 |  | 102 | 0.207 | -0.002 | 0.005 | 0.000 | 0.002 | 0.000 |
| 51 | 92 | 0.165 | 0.061 | 0.018 | 0.002 | -0.008 | -0.038 | 91 | 13 | 0.207 | 0.002 | -0.008 | 0.000 | 0.003 | 0.000 |
|  | 104 | 0.164 | 0.056 | 0.018 | 0.002 | 0.002 | -0.007 |  | 14 | 0.207 | -0.001 | -0.008 | 0.000 | -0.002 | 0.000 |
| 52 | 5 | 0.023 | -0.018 | 0.004 | 0.000 | -0.001 | 0.002 | 92 | 13 | 0.359 | -0.059 | 0.009 | -0.002 | -0.003 | -0.005 |
|  | 16 | 0.023 | -0.025 | 0.004 | 0.000 | 0.001 | -0.013 |  | 24 | 0.358 | -0.065 | 0.009 | -0.002 | 0.001 | -0.038 |
| 53 | 27 | 0.083 | -0.064 | 0.246 | 0.005 | -0.017 | -0.044 | 93 | 14 | 0.273 | 0.002 | -0.004 | 0.000 | 0.001 | 0.000 |
|  | 38 | 0.083 | -0.066 | 0.246 | 0.005 | 0.026 | -0.055 |  | 15 | 0.273 | -0.001 | -0.004 | 0.000 | -0.001 | 0.000 |
| 54 | 93 | 0.087 | 0.058 | 0.008 | 0.001 | -0.004 | -0.037 | 94 | 14 | 0.280 | -0.059 | -0.011 | -0.002 | -0.001 | -0.007 |
|  | 105 | 0.087 | 0.053 | 0.008 | 0.001 | 0.001 | -0.007 |  | 25 | 0.279 | -0.064 | -0.011 | -0.002 | -0.007 | -0.039 |
| 55 | 6 | 0.021 | -0.018 | 0.000 | 0.000 | 0.000 | 0.002 | 95 | 15 | 0.396 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.020 | -0.025 | 0.000 | 0.000 | 0.000 | -0.013 |  | 16 | 0.396 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |
| 56 | 28 | 0.067 | -0.064 | -0.004 | 0.000 | 0.000 | -0.044 | 96 | 15 | 0.168 | -0.058 | -0.010 | -0.001 | -0.001 | -0.009 |
|  | 39 | 0.067 | -0.066 | -0.004 | 0.000 | 0.000 | -0.056 |  | 26 | 0.167 | -0.064 | -0.010 | -0.001 | -0.006 | -0.042 |
| 57 | 94 | 0.061 | 0.058 | -0.003 | 0.000 | 0.001 | -0.036 | 97 | 16 | 0.477 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.061 | 0.053 | -0.003 | 0.000 | -0.001 | -0.007 |  | 17 | 0.477 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 58 | 7 | 0.023 | -0.018 | -0.004 | 0.000 | 0.001 | 0.002 | 98 | 16 | 0.108 | -0.058 | -0.005 | -0.001 | 0.000 | -0.011 |
|  | 18 | 0.022 | -0.025 | -0.004 | 0.000 | -0.001 | -0.013 |  | 27 | 0.108 | -0.064 | -0.005 | -0.001 | -0.003 | -0.043 |
| 59 | 29 | 0.093 | -0.064 | -0.256 | -0.005 | 0.018 | -0.043 | 99 | 17 | 0.484 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 |
|  | 40 | 0.093 | -0.066 | -0.256 | -0.005 | -0.027 | -0.055 |  | 18 | 0.484 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |
| 60 | 95 | 0.079 | 0.059 | -0.015 | -0.001 | 0.006 | -0.037 | 100 | 17 | 0.091 | -0.058 | 0.001 | 0.000 | 0.000 | -0.011 |
|  | 107 | 0.078 | 0.053 | -0.015 | -0.001 | -0.002 | -0.007 |  | 28 | 0.091 | -0.063 | 0.001 | 0.000 | 0.000 | -0.043 |
| 61 | 8 | 0.029 | -0.018 | -0.008 | 0.001 | 0.003 | 0.002 | 101 | 18 | 0.413 | 0.001 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 19 | 0.028 | -0.025 | -0.008 | 0.001 | -0.003 | -0.013 |  | 19 | 0.413 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 62 | 30 | 0.166 | -0.065 | -0.463 | -0.009 | 0.033 | -0.042 | 102 | 18 | 0.113 | -0.058 | 0.007 | 0.001 | 0.000 | -0.011 |
|  | 41 | 0.165 | -0.067 | -0.463 | -0.009 | -0.049 | -0.053 |  | 29 | 0.112 | -0.063 | 0.007 | 0.001 | 0.004 | -0.043 |
| 63 | 96 | 0.151 | 0.061 | -0.026 | -0.003 | 0.010 | -0.038 | 103 | 19 | 0.299 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 |
|  | 108 | 0.150 | 0.056 | -0.026 | -0.003 | -0.003 | -0.007 |  | 20 | 0.299 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |
| 64 | 9 | 0.029 | -0.018 | -0.010 | 0.001 | 0.004 | 0.002 | 104 | 19 | 0.175 | -0.058 | 0.013 | 0.001 | 0.000 | -0.009 |
|  | 20 | 0.029 | -0.025 | -0.010 | 0.001 | -0.003 | -0.013 |  | 30 | 0.175 | -0.063 | 0.013 | 0.001 | 0.007 | -0.041 |
| 65 | 31 | 0.305 | -0.068 | -0.528 | -0.010 | 0.036 | -0.039 | 105 | 20 | 0.233 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 42 | 0.305 | -0.070 | -0.528 | -0.010 | -0.057 | -0.051 |  | 21 | 0.233 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |
| 66 | 97 | 0.270 | 0.068 | -0.035 | -0.004 | 0.015 | -0.042 | 106 | 20 | 0.291 | -0.059 | 0.015 | 0.002 | 0.000 | -0.007 |
|  | 109 | 0.269 | 0.062 | -0.035 | -0.004 | -0.004 | -0.008 |  | 31 | 0.290 | -0.064 | 0.015 | 0.002 | 0.008 | -0.039 |
| 67 | 10 | 0.014 | -0.018 | -0.011 | 0.001 | 0.005 | 0.002 | 107 | 21 | 0.184 | 0.001 | 0.010 | 0.000 | -0.002 | 0.000 |
|  | 21 | 0.013 | -0.025 | -0.011 | 0.001 | -0.003 | -0.013 |  | 22 | 0.184 | -0.002 | 0.010 | 0.000 | 0.004 | 0.000 |
| 68 | 32 | 0.382 | -0.072 | -0.232 | -0.003 | 0.014 | -0.037 | 108 | 21 | 0.342 | -0.059 | -0.001 | 0.002 | 0.002 | -0.005 |
|  | 43 | 0.382 | -0.073 | -0.232 | -0.003 | -0.027 | -0.050 |  | 32 | 0.342 | -0.064 | -0.001 | 0.002 | 0.001 | -0.038 |
| 69 | 100 | 0.441 | 0.077 | 0.018 | -0.002 | -0.004 | -0.046 | 109 | 35 | 0.397 | 0.607 | -0.096 | 0.024 | 0.028 | -0.268 |
|  | 110 | 0.440 | 0.072 | 0.018 | -0.002 | 0.005 | -0.008 |  | 36 | 0.397 | 0.598 | -0.096 | 0.024 | -0.029 | 0.090 |
| 70 | 12 | 0.238 | -0.037 | 0.005 | -0.003 | -0.001 | -0.004 | 110 | 35 | 0.357 | 0.065 | -0.010 | -0.001 | 0.004 | -0.036 |
|  | 34 | 0.237 | -0.044 | 0.005 | -0.003 | 0.002 | -0.032 |  | 46 | 0.357 | 0.058 | -0.010 | -0.001 | -0.003 | 0.007 |
| 71 | 34 | 0.143 | 0.039 | 0.007 | 0.002 | -0.003 | -0.021 | 111 | 36 | -1.147 | 0.430 | -0.098 | 0.013 | 0.026 | -0.068 |
|  | 45 | 0.143 | 0.033 | 0.007 | 0.002 | 0.002 | 0.004 |  | 37 | -1.147 | 0.421 | -0.098 | 0.013 | -0.032 | 0.185 |
| 72 | 45 | -0.073 | 0.016 | -0.005 | 0.001 | 0.002 | -0.001 | 112 | 36 | 0.243 | 0.066 | -0.023 | -0.001 | 0.009 | -0.042 |
|  | 56 | -0.073 | 0.009 | -0.005 | 0.001 | -0.002 | 0.008 |  | 47 | 0.242 | 0.059 | -0.023 | -0.001 | -0.007 | 0.002 |
| 73 | 56 | -0.088 | -0.008 | 0.005 | -0.001 | -0.002 | 0.007 | 113 | 37 | -2.357 | 0.260 | -0.067 | 0.006 | 0.016 | 0.063 |
|  | 67 | -0.089 | -0.015 | 0.005 | -0.001 | 0.002 | 0.000 |  | 38 | -2.357 | 0.251 | -0.067 | 0.006 | -0.024 | 0.214 |
| 74 | 67 | 0.103 | -0.032 | -0.001 | -0.002 | 0.000 | 0.004 | 114 | 37 | 0.097 | 0.066 | -0.020 | -0.001 | 0.008 | -0.046 |
|  | 78 | 0.103 | -0.039 | -0.001 | -0.002 | 0.000 | -0.021 |  | 48 | 0.096 | 0.059 | -0.020 | -0.001 | -0.006 | -0.002 |
| 75 | 78 | 0.243 | 0.051 | 0.001 | 0.006 | 0.000 | -0.047 | 115 | 38 | -3.008 | 0.091 | -0.023 | 0.001 | 0.002 | 0.148 |
|  | 101 | 0.242 | 0.044 | 0.001 | 0.006 | 0.001 | -0.013 |  | 39 | -3.008 | 0.082 | -0.023 | 0.001 | -0.012 | 0.200 |
| 76 | 101 | 0.037 | 0.028 | -0.001 | 0.005 | 0.000 | -0.018 | 116 | 38 | 0.014 | 0.067 | -0.012 | -0.001 | 0.005 | -0.048 |
|  | 112 | 0.036 | 0.021 | -0.001 | 0.005 | -0.001 | -0.001 |  | 49 | 0.014 | 0.060 | -0.012 | -0.001 | -0.003 | -0.004 |
| 77 | 22 | 0.247 | -0.037 | -0.028 | 0.003 | 0.005 | -0.004 | 117 | 39 | -3.017 | -0.077 | 0.025 | -0.003 | -0.012 | 0.199 |
|  | 33 | 0.247 | -0.042 | -0.028 | 0.003 | -0.010 | -0.026 |  | 40 | -3.017 | -0.086 | 0.025 | -0.003 | 0.002 | 0.150 |
| 78 | 127 | 0.094 | 0.036 | -0.008 | -0.002 | 0.004 | -0.016 | 118 | 39 | -0.014 | 0.067 | -0.001 | 0.000 | 0.000 | -0.049 |
|  | 55 | 0.093 | 0.029 | -0.008 | -0.002 | -0.002 | 0.007 |  | 50 | -0.015 | 0.060 | -0.001 | 0.000 | 0.000 | -0.004 |
| 79 | 55 | -0.111 | 0.013 | 0.005 | -0.001 | -0.002 | 0.001 | 119 | 40 | -2.381 | -0.245 | 0.070 | -0.008 | -0.025 | 0.214 |
|  | 66 | -0.112 | 0.006 | 0.005 | -0.001 | 0.002 | 0.008 |  | 41 | -2.381 | -0.254 | 0.070 | -0.008 | 0.017 | 0.066 |
| 80 | 66 | -0.108 | -0.011 | -0.005 | 0.001 | 0.002 | 0.008 | 120 | 40 | 0.003 | 0.066 | 0.010 | 0.001 | -0.004 | -0.048 |
|  | 77 | -0.108 | -0.018 | -0.005 | 0.001 | -0.002 | -0.002 |  | 51 | 0.003 | 0.060 | 0.010 | 0.001 | 0.003 | -0.004 |

| Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment | Memb | Node | Axial Force | Y-Axis Shear | Z-Axis Shear | X-Axis Torsion | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | 41 | -1.180 | -0.415 | 0.102 | -0.015 | -0.033 | 0.187 | 161 | 65 | 0.022 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 42 | -1.180 | -0.424 | 0.102 | -0.015 | 0.027 | -0.062 |  | 66 | 0.022 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
| 122 | 41 | 0.075 | 0.066 | 0.019 | 0.001 | -0.008 | -0.046 | 162 | 65 | -0.046 | -0.018 | -0.001 | -0.001 | 0.001 | 0.012 |
|  | 52 | 0.074 | 0.059 | 0.019 | 0.001 | 0.006 | -0.002 |  | 76 | -0.047 | -0.025 | -0.001 | -0.001 | 0.000 | -0.003 |
| 123 | 42 | 0.376 | -0.590 | 0.108 | -0.027 | -0.032 | 0.096 | 163 | 68 | 0.181 | 0.002 | -0.006 | 0.000 | 0.002 | 0.000 |
|  | 43 | 0.376 | -0.599 | 0.108 | -0.027 | 0.032 | -0.257 |  | 69 | 0.181 | -0.002 | -0.006 | 0.000 | -0.002 | 0.000 |
| 124 | 42 | 0.213 | 0.065 | 0.023 | 0.001 | -0.009 | -0.041 | 164 | 68 | 0.292 | -0.057 | 0.008 | 0.001 | -0.003 | 0.007 |
|  | 53 | 0.212 | 0.058 | 0.023 | 0.001 | 0.007 | 0.002 |  | 79 | 0.291 | -0.064 | 0.008 | 0.001 | 0.002 | -0.036 |
| 125 | 43 | 1.128 | -0.781 | -0.030 | -0.059 | 0.004 | -0.182 | 165 | 69 | 0.313 | 0.002 | -0.009 | 0.000 | 0.003 | 0.000 |
|  | 127 | 1.128 | -0.808 | -0.030 | -0.059 | -0.014 | -0.654 |  | 70 | 0.313 | -0.001 | -0.009 | 0.000 | -0.003 | 0.000 |
| 126 | 43 | 0.344 | 0.063 | 0.011 | 0.001 | -0.004 | -0.034 | 166 | 69 | 0.218 | -0.058 | 0.021 | 0.001 | -0.007 | 0.001 |
|  | 54 | 0.343 | 0.056 | 0.011 | 0.001 | 0.004 | 0.008 |  | 80 | 0.217 | -0.065 | 0.021 | 0.001 | 0.008 | -0.042 |
| 127 | 46 | 0.189 | 0.002 | 0.011 | 0.000 | -0.003 | 0.000 | 167 | 70 | 0.477 | 0.002 | -0.006 | 0.000 | 0.001 | 0.000 |
|  | 47 | 0.189 | -0.002 | 0.011 | 0.000 | 0.004 | 0.000 |  | 71 | 0.477 | -0.001 | -0.006 | 0.000 | -0.002 | 0.000 |
| 128 | 46 | -0.042 | 0.025 | -0.002 | 0.000 | 0.000 | -0.003 | 168 | 70 | 0.077 | -0.057 | 0.021 | 0.001 | -0.007 | -0.002 |
|  | 57 | -0.043 | 0.018 | -0.002 | 0.000 | -0.001 | 0.012 |  | 81 | 0.076 | -0.063 | 0.021 | 0.001 | 0.008 | -0.044 |
| 129 | 47 | 0.314 | 0.002 | 0.011 | 0.000 | -0.003 | 0.000 | 169 | 71 | 0.580 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.314 | -0.001 | 0.011 | 0.000 | 0.003 | 0.000 |  | 72 | 0.580 | -0.002 | -0.002 | 0.000 | -0.001 | 0.000 |
| 130 | 47 | -0.019 | 0.025 | 0.001 | 0.000 | -0.001 | -0.005 | 170 | 71 | 0.000 | -0.056 | 0.012 | 0.000 | -0.004 | -0.003 |
|  | 58 | -0.020 | 0.018 | 0.001 | 0.000 | 0.000 | 0.010 |  | 82 | 0.000 | -0.063 | 0.012 | 0.000 | 0.005 | -0.045 |
| 131 | 48 | 0.472 | 0.002 | 0.008 | 0.000 | -0.003 | 0.000 | 171 | 72 | 0.589 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 49 | 0.472 | -0.001 | 0.008 | 0.000 | 0.002 | 0.000 |  | 73 | 0.589 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 132 | 48 | -0.039 | 0.025 | 0.003 | 0.000 | -0.002 | -0.005 | 172 | 72 | -0.022 | -0.056 | 0.000 | 0.000 | 0.000 | -0.003 |
|  | 59 | -0.039 | 0.018 | 0.003 | 0.000 | 0.000 | 0.010 |  | 83 | -0.022 | -0.063 | 0.000 | 0.000 | 0.000 | -0.045 |
| 133 | 49 | 0.568 | 0.002 | 0.003 | 0.000 | -0.002 | 0.000 | 173 | 73 | 0.502 | 0.002 | 0.006 | 0.000 | -0.002 | 0.000 |
|  | 50 | 0.568 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 74 | 0.502 | -0.002 | 0.006 | 0.000 | 0.001 | 0.000 |
| 134 | 49 | -0.064 | 0.025 | 0.001 | 0.000 | -0.001 | -0.006 | 174 | 73 | 0.002 | -0.056 | -0.011 | 0.000 | 0.004 | -0.003 |
|  | 60 | -0.065 | 0.018 | 0.001 | 0.000 | 0.000 | 0.009 |  | 84 | 0.002 | -0.063 | -0.011 | 0.000 | -0.004 | -0.044 |
| 135 | 50 | 0.568 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | 175 | 74 | 0.346 | 0.001 | 0.010 | 0.000 | -0.003 | 0.000 |
|  | 51 | 0.568 | -0.002 | -0.002 | 0.000 | -0.002 | 0.000 |  | 75 | 0.346 | -0.002 | 0.010 | 0.000 | 0.003 | 0.000 |
| 136 | 50 | -0.074 | 0.025 | 0.000 | 0.000 | 0.000 | -0.006 | 176 | 74 | 0.077 | -0.057 | -0.021 | -0.001 | 0.007 | -0.002 |
|  | 61 | -0.075 | 0.018 | 0.000 | 0.000 | 0.000 | 0.009 |  | 85 | 0.077 | -0.064 | -0.021 | -0.001 | -0.008 | -0.044 |
| 137 | 51 | 0.471 | 0.001 | -0.008 | 0.000 | 0.001 | 0.000 | 177 | 75 | 0.206 | 0.002 | 0.007 | 0.000 | -0.002 | 0.000 |
|  | 52 | 0.471 | -0.002 | -0.008 | 0.000 | -0.003 | 0.000 |  | 76 | 0.206 | -0.002 | 0.007 | 0.000 | 0.002 | 0.000 |
| 138 | 51 | -0.067 | 0.025 | -0.002 | 0.000 | 0.001 | -0.006 | 178 | 75 | 0.242 | -0.059 | -0.023 | -0.001 | 0.007 | 0.001 |
|  | 62 | -0.068 | 0.018 | -0.002 | 0.000 | 0.000 | 0.010 |  | 86 | 0.241 | -0.066 | -0.023 | -0.001 | -0.009 | -0.043 |
| 139 | 52 | 0.312 | 0.001 | -0.010 | 0.000 | 0.003 | 0.000 | 179 | 76 | 0.137 | 0.002 | 0.002 | 0.000 | -0.001 | 0.000 |
|  | 53 | 0.312 | -0.002 | -0.010 | 0.000 | -0.003 | 0.000 |  | 77 | 0.137 | -0.002 | 0.002 | 0.000 | 0.001 | 0.000 |
| 140 | 52 | -0.044 | 0.025 | -0.003 | 0.000 | 0.002 | -0.005 | 180 | 76 | 0.309 | -0.059 | -0.008 | -0.001 | 0.003 | 0.006 |
|  | 63 | -0.045 | 0.018 | -0.003 | 0.000 | 0.000 | 0.010 |  | 87 | 0.308 | -0.066 | -0.008 | -0.001 | -0.003 | -0.038 |
| 141 | 53 | 0.181 | 0.002 | -0.011 | 0.000 | 0.004 | 0.000 | 181 | 79 | 0.281 | 0.610 | 0.031 | -0.024 | -0.002 | -0.261 |
|  | 54 | 0.181 | -0.002 | -0.011 | 0.000 | -0.003 | 0.000 |  | 80 | 0.281 | 0.601 | 0.031 | -0.024 | 0.017 | 0.099 |
| 142 | 53 | -0.017 | 0.024 | -0.002 | 0.000 | 0.001 | -0.004 | 182 | 79 | 0.492 | 0.082 | -0.170 | -0.002 | 0.023 | -0.061 |
|  | 64 | -0.018 | 0.017 | -0.002 | 0.000 | 0.000 | 0.010 |  | 90 | 0.491 | 0.080 | -0.170 | -0.002 | -0.007 | -0.047 |
| 143 | 54 | 0.110 | 0.002 | -0.005 | 0.000 | 0.002 | 0.000 | 183 | 80 | -1.219 | 0.434 | 0.041 | -0.010 | -0.013 | -0.066 |
|  | 55 | 0.110 | -0.002 | -0.005 | 0.000 | -0.001 | 0.000 |  | 81 | -1.219 | 0.425 | 0.041 | -0.010 | 0.011 | 0.189 |
| 144 | 54 | -0.034 | 0.023 | 0.001 | 0.000 | 0.000 | -0.001 | 184 | 80 | 0.332 | 0.072 | -0.449 | -0.011 | 0.051 | -0.053 |
|  | 65 | -0.035 | 0.016 | 0.001 | 0.000 | 0.001 | 0.013 |  | 91 | 0.332 | 0.070 | -0.449 | -0.011 | -0.028 | -0.041 |
| 145 | 57 | 0.103 | 0.002 | 0.003 | 0.000 | -0.001 | 0.000 | 185 | 81 | -2.378 | 0.262 | 0.032 | -0.004 | -0.015 | 0.061 |
|  | 58 | 0.103 | -0.002 | 0.003 | 0.000 | 0.001 | 0.000 |  | 82 | -2.378 | 0.253 | 0.032 | -0.004 | 0.004 | 0.215 |
| 146 | 57 | -0.064 | -0.016 | 0.001 | 0.000 | -0.001 | 0.012 | 186 | 81 | 0.160 | 0.067 | -0.396 | -0.011 | 0.044 | -0.049 |
|  | 68 | -0.065 | -0.023 | 0.001 | 0.000 | 0.000 | -0.002 |  | 92 | 0.160 | 0.065 | -0.396 | -0.011 | -0.026 | -0.038 |
| 147 | 58 | 0.190 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 187 | 82 | -2.997 | 0.092 | 0.010 | -0.001 | -0.011 | 0.146 |
|  | 59 | 0.190 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -2.997 | 0.082 | 0.010 | -0.001 | -0.005 | 0.198 |
| 148 | 58 | -0.024 | -0.017 | -0.002 | 0.000 | 0.000 | 0.010 | 188 | 82 | 0.073 | 0.065 | -0.215 | -0.006 | 0.024 | -0.048 |
|  | 69 | -0.024 | -0.024 | -0.002 | 0.000 | -0.001 | -0.004 |  | 93 | 0.073 | 0.063 | -0.215 | -0.006 | -0.014 | -0.037 |
| 149 | 59 | 0.246 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 189 | 83 | -3.000 | -0.079 | -0.015 | 0.000 | -0.003 | 0.198 |
|  | 60 | 0.246 | -0.001 | 0.000 | 0.000 | -0.001 | 0.000 |  | 84 | -3.000 | -0.088 | -0.015 | 0.000 | -0.012 | 0.148 |
| 150 | 59 | -0.042 | -0.016 | -0.001 | 0.000 | 0.000 | 0.009 | 190 | 83 | 0.042 | 0.064 | 0.014 | 0.000 | -0.001 | -0.048 |
|  | 70 | -0.042 | -0.023 | -0.001 | 0.000 | -0.001 | -0.004 |  | 94 | 0.042 | 0.063 | 0.014 | 0.000 | 0.001 | -0.037 |
| 151 | 60 | 0.276 | 0.002 | 0.000 | 0.000 | -0.001 | 0.000 | 191 | 84 | -2.382 | -0.250 | -0.040 | 0.003 | 0.006 | 0.217 |
|  | 61 | 0.276 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |  | 85 | -2.382 | -0.259 | -0.040 | 0.003 | -0.018 | 0.066 |
| 152 | 60 | -0.067 | -0.015 | 0.000 | 0.000 | 0.000 | 0.009 | 192 | 84 | 0.059 | 0.065 | 0.250 | 0.007 | -0.027 | -0.049 |
|  | 71 | -0.067 | -0.022 | 0.000 | 0.000 | 0.000 | -0.004 |  | 95 | 0.059 | 0.063 | 0.250 | 0.007 | 0.017 | -0.037 |
| 153 | 61 | 0.276 | 0.002 | 0.000 | 0.000 | -0.001 | 0.000 | 193 | 85 | -1.199 | -0.424 | -0.056 | 0.008 | 0.014 | 0.197 |
|  | 62 | 0.276 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |  | 86 | -1.199 | -0.433 | -0.056 | 0.008 | -0.019 | -0.057 |
| 154 | 61 | -0.076 | -0.015 | 0.000 | 0.000 | 0.000 | 0.009 | 194 | 85 | 0.131 | 0.067 | 0.457 | 0.012 | -0.050 | -0.050 |
|  | 72 | -0.076 | -0.022 | 0.000 | 0.000 | 0.000 | -0.004 |  | 96 | 0.131 | 0.066 | 0.457 | 0.012 | 0.031 | -0.039 |
| 155 | 62 | 0.247 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 | 195 | 86 | 0.352 | -0.598 | -0.032 | 0.022 | 0.019 | 0.115 |
|  | 63 | 0.247 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |  | 87 | 0.352 | -0.608 | -0.032 | 0.022 | 0.000 | -0.244 |
| 156 | 62 | -0.069 | -0.016 | 0.000 | 0.000 | 0.000 | 0.009 | 196 | 86 | 0.302 | 0.071 | 0.523 | 0.014 | -0.060 | -0.053 |
|  | 73 | -0.069 | -0.023 | 0.000 | 0.000 | 0.000 | -0.004 |  | 97 | 0.302 | 0.069 | 0.523 | 0.014 | 0.032 | -0.041 |
| 157 | 63 | 0.190 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 197 | 87 | 0.988 | -0.781 | 0.000 | 0.051 | -0.001 | -0.178 |
|  | 64 | 0.190 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 |  | 125 | 0.988 | -0.807 | 0.000 | 0.051 | -0.001 | -0.649 |
| 158 | 63 | -0.044 | -0.016 | 0.000 | 0.000 | 0.000 | 0.010 | 198 | 87 | 0.441 | 0.079 | 0.018 | -0.002 | -0.008 | -0.061 |
|  | 74 | -0.045 | -0.023 | 0.000 | 0.000 | 0.001 | -0.004 |  | 100 | 0.441 | 0.077 | 0.018 | -0.002 | -0.004 | -0.046 |
| 159 | 64 | 0.102 | 0.002 | -0.003 | 0.000 | 0.001 | 0.000 | 199 | 102 | 0.286 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.102 | -0.002 | -0.003 | 0.000 | -0.001 | 0.000 |  | 103 | 0.286 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |
| 160 | 64 | -0.006 | -0.018 | 0.002 | -0.001 | 0.000 | 0.010 | 200 | 102 | 0.041 | 0.038 | 0.001 | 0.004 | -0.001 | -0.019 |
|  | 75 | -0.007 | -0.025 | 0.002 | -0.001 | 0.001 | -0.005 |  | 113 | 0.041 | 0.031 | 0.001 | 0.004 | 0.000 | 0.005 |

|  | Axial | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | PLATE NODAL FORCES AND MOMENTS (kN,kNm) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Memb Node | Force | Shear | Shear | Torsion | Moment | Moment | ------------------------------ |  |  |  |  |  |  |  |
| 201 103 | 0.385 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | Load case 1 (Linear): SELF WEIGHT |  |  |  |  |  |  |  |
| 104 | 0.385 | -0.001 | -0.002 | 0.000 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
| 202 103 | 0.022 | 0.028 | 0.002 | 0.002 | -0.001 | -0.014 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| 114 | 0.022 | 0.021 | 0.002 | 0.002 | 0.000 | 0.003 | 1 | 1 | -0.019 | -0.007 | 0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 12 | -0.005 | 0.018 | 0.003 | 0.000 | 0.000 | 0.000 |
| 203 104 | 0.530 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 |  | 13 | 0.022 | 0.002 0.002 |  | 0.000 | 0.000 | 0.000 |
| 105 | 0.530 | -0.001 | -0.001 | 0.000 | -0.001 | 0.000 |  | 2 | 0.003 | -0.013 | 0.002 | 0.000 | 0.000 | 0.000 |
| 204 104 | 0.007 | 0.022 | 0.002 | 0.002 | -0.001 | -0.011 | 2 | 2 | -0.012 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
| 115 | 0.006 | 0.015 | 0.002 | 0.002 | 0.000 | 0.002 |  | 13 | 0.009 | 0.009 0.003 |  | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 14 | 0.012 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 205 105 | 0.625 | 0.002 | 0.000 | 0.000 | -0.001 | 0.000 |  | 3 | -0.008 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 106 | 0.625 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 | 3 | 3 | -0.008 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
| 206 105 | -0.009 | 0.020 | 0.001 | 0.001 | -0.001 | -0.010 |  | 14 | 0.011 | 0.008 0.003 |  | 0.000 | 0.000 | 0.000 |
| 116 | -0.010 | 0.013 | 0.001 | 0.001 | 0.000 | 0.002 |  | 15 | 0.009 | -0.009 | 0.002 | 0.000 | 0.000 | 0.000 |
| 207 106 | 0.630 | 0.001 | 0.001 | 0.000 | -0.001 | 0.000 |  | 4 | -0.010 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
| 107 | 0.630 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 4 | 4 | -0.009 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 15 | 0.008 | 0.014 0.003 |  | 0.000 | 0.000 | 0.000 |
| 208 106 | -0.015 | 0.019 | 0.000 | 0.000 | 0.000 | -0.009 |  | 16 | 0.009 | -0.012 | 0.002 | 0.000 | 0.000 | 0.000 |
| 117 | -0.015 | 0.012 | 0.000 | 0.000 | 0.000 | 0.001 |  | 5 | -0.008 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |
| 209 107 | 0.545 | 0.001 | 0.003 | 0.000 | -0.001 | 0.000 | 5 | 5 | -0.008 | 0.005 | 0.002 | 0.000 | 0.000 | 0.000 |
| 108 | 0.545 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 16 | 0.008 | 0.017 0.003 |  | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 17 | 0.009 | -0.016 | 0.002 | 0.000 | 0.000 | 0.000 |
| 210 107 | -0.009 | 0.020 | -0.001 | -0.001 | 0.000 | -0.010 |  | 6 | -0.008 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 118 | -0.010 | 0.013 | -0.001 | -0.001 | 0.000 | 0.002 | 6 | 6 | -0.007 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 211 108 | 0.408 | 0.001 | 0.006 | 0.000 | -0.002 | 0.000 |  | 17 | 0.009 | 0.016 0.002 |  | 0.000 | 0.000 | 0.000 |
| 109 | 0.408 | -0.002 | 0.006 | 0.000 | 0.002 | 0.000 |  | 18 | 0.007 | -0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
| 212 108 | 0.007 | 0.022 | -0.001 | -0.002 | 0.001 | -0.011 |  | 7 | -0.009 | -0.005 | 0.003 | 0.000 | 0.000 | 0.000 |
| 119 | 0.006 | 0.015 | -0.001 | -0.002 | 0.000 | 0.002 | 7 | 7 | -0.007 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 18 | 0.010 | 0.013 0.002 |  | 0.000 | 0.000 | 0.000 |
| 213 109 | 0.310 | 0.001 | 0.000 | 0.000 | -0.001 | 0.000 |  | 19 | 0.007 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |
| 110 | 0.310 | -0.002 | 0.000 | 0.000 | -0.001 | 0.000 |  | 8 | -0.009 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
| 214 109 | 0.017 | 0.028 | 0.000 | -0.002 | 0.000 | -0.014 | 8 | 8 | -0.009 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |
| 120 | 0.016 | 0.021 | 0.000 | -0.002 | 0.000 | 0.003 |  | 19 | 0.009 | 0.010 0.002 |  | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 20 | 0.010 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |
| 215 110 | 0.220 | 0.002 | -0.009 | 0.000 | 0.003 | 0.000 |  | 9 | -0.009 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
| 111 | 0.220 | -0.002 | -0.009 | 0.000 | -0.003 | 0.000 | 9 | 9 | -0.009 | 0.005 | 0.002 | 0.000 | 0.000 | 0.000 |
| 216 110 | 0.041 | 0.037 | -0.003 | -0.003 | 0.002 | -0.018 |  | 20 | 0.011 | 0.008 0.002 |  | 0.000 | 0.000 | 0.000 |
| 121 | 0.041 | 0.030 | -0.003 | -0.003 | 0.000 | 0.005 |  | 21 | 0.010 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |
| 217 34 | 0.912 | 0.031 | 0.509 | 0.011 | -0.743 | -0.052 |  | 10 | -0.011 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |
| 131 | 0.945 | 0.031 | 0.507 | 0.011 | -0.520 | -0.038 | 10 | 10 | 0.002 | 0.012 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 21 | 0.022 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 |
| 218 78 | 0.923 | -0.052 | 0.421 | 0.006 | -0.730 | 0.089 |  | 22 | -0.004 | -0.016 | 0.002 | 0.000 | 0.000 | 0.000 |
| 44 | 0.963 | -0.052 | 0.418 | 0.006 | -0.507 | 0.061 |  | 11 | -0.019 | 0.008 | 0.003 | 0.000 | 0.000 | 0.000 |
| 219 125 | 0.923 | -0.036 | -0.449 | -0.002 | 0.717 | 0.066 | 11 | 12 | -0.100 | -0.099 | 0.002 | 0.000 | 0.000 | 0.000 |
| 135 | 0.958 | -0.036 | -0.451 | -0.002 | 0.514 | 0.050 |  | 34 | 0.065 | -0.152 | 0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 35 | 0.105 | 0.179 0.002 |  | 0.000 | 0.000 | 0.000 |
| 220 127 | 0.897 | 0.058 | -0.481 | -0.007 | 0.729 | -0.074 |  | 13 | -0.070 | 0.072 | 0.002 | 0.000 | 0.000 | 0.000 |
| 139 | 0.931 | 0.058 | -0.483 | -0.007 | 0.517 | -0.049 | 12 | 34 | -0.027 | -0.132 | 0.002 | 0.000 | 0.000 | 0.000 |
| 221 99 | 0.256 | 0.049 | 0.009 | -0.005 | -0.004 | -0.036 |  | 45 | 0.078 | -0.098 | 0.002 | 0.000 | 0.000 | 0.000 |
| 111 | 0.256 | 0.044 | 0.009 | -0.005 | 0.001 | -0.013 |  | 46 | 0.030 | 0.054 0.002 |  | 0.000 | 0.000 | 0.000 |
| 222 33 | 0.244 | -0.045 | 0.152 | 0.007 | -0.010 | -0.026 |  | 35 | -0.080 | 0.176 | 0.003 | 0.000 | 0.000 | 0.000 |
| 127 | 0.244 | -0.046 | 0.152 | 0.007 | 0.013 | -0.033 | 13 | 45 | 0.032 | 0.029 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 56 | 0.008 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 223 44 | 0.963 | -0.052 | 0.418 | 0.006 | -0.507 | 0.061 |  | 57 | -0.031 | -0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
| 88 | 0.977 | -0.052 | 0.416 | 0.006 | -0.286 | 0.034 |  | 46 | -0.007 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |
| 224 88 | 0.977 | -0.052 | 0.416 | 0.006 | -0.286 | 0.034 | 14 | 56 | -0.003 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
| 129 | 0.992 | -0.052 | 0.413 | 0.006 | -0.065 | 0.006 |  | 67 | -0.025 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 68 | 0.003 | -0.003 | 0.002 | 0.000 | 0.000 | 0.000 |
| 225 129 | 0.992 | -0.052 | 0.413 | 0.006 | -0.065 | 0.006 |  | 57 | 0.026 | -0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
| 130 | 1.006 | -0.052 | 0.410 | 0.006 | 0.153 | -0.021 | 15 | 67 | -0.080 | -0.094 | 0.002 | 0.000 | 0.000 | 0.000 |
| 226 130 | 1.006 | -0.052 | 0.410 | 0.006 | 0.153 | -0.021 |  | 78 | 0.033 | -0.133 | 0.003 | 0.000 | 0.000 | 0.000 |
| 124 | 1.020 | -0.052 | 0.408 | 0.006 | 0.371 | -0.049 |  | 79 | 0.083 | 0.172 0.002 |  | 0.000 | 0.000 | 0.000 |
| 227 131 | 0.945 | 0.031 | 0.507 | 0.011 | -0.520 | -0.038 |  | 68 | -0.035 | 0.055 | 0.002 | 0.000 | 0.000 | 0.000 |
| 132 | 0.957 | 0.031 | 0.504 | 0.011 | -0.298 | -0.025 | 16 | 78 | -0.098 | -0.162 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 101 | 0.134 | -0.115 | 0.002 | 0.000 | 0.000 | 0.000 |
| 228 132 | 0.957 | 0.031 | 0.504 | 0.011 | -0.298 | -0.025 |  | 102 | 0.099 | 0.082 0.002 |  | 0.000 | 0.000 | 0.000 |
| 133 | 0.969 | 0.031 | 0.502 | 0.011 | -0.076 | -0.011 |  | 79 | -0.135 | 0.195 | 0.003 | 0.000 | 0.000 | 0.000 |
| 229 133 | 0.969 | 0.031 | 0.502 | 0.011 | -0.076 | -0.011 | 17 | 101 | -0.024 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |
| 134 | 0.980 | 0.031 | 0.500 | 0.011 | 0.144 | 0.002 |  | 112 | 0.021 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 113 | 0.022 | 0.007 0.002 |  | 0.000 | 0.000 | 0.000 |
| 230 134 | 0.980 | 0.031 | 0.500 | 0.011 | 0.144 | 0.002 |  | 102 | -0.018 | -0.003 | 0.002 | 0.000 | 0.000 | 0.000 |
| 123 | 0.992 | 0.031 | 0.498 | 0.011 | 0.364 | 0.016 | 18 | 102 | -0.020 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 231 135 | 0.958 | -0.036 | -0.451 | -0.002 | 0.514 | 0.050 |  | 113 | 0.006 | 0.013 0.002 |  | 0.000 | 0.000 | 0.000 |
| 136 | 0.970 | -0.036 | -0.453 | -0.002 | 0.310 | 0.033 |  | 114 | 0.020 | 0.000 0.002 |  | 0.000 | 0.000 | 0.000 |
| 232 136 | 0.970 | -0.036 | -0.453 | -0.002 | 0.310 | 0.033 |  | 103 | -0.004 | -0.019 | 0.002 | 0.000 | 0.000 | 0.000 |
| 137 | 0.982 | -0.036 | -0.456 | -0.002 | 0.105 | 0.017 | 19 | 103 | -0.014 | 0.017 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 114 | -0.004 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |
| 233 137 | 0.982 | -0.036 | -0.456 | -0.002 | 0.105 | 0.017 |  | 115 | 0.014 | -0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
| 138 | 0.994 | -0.036 | -0.458 | -0.002 | -0.101 | 0.001 |  | 104 | 0.005 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 |
| 234 138 | 0.994 | -0.036 | -0.458 | -0.002 | -0.101 | 0.001 | 20 | 104 | -0.004 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |
| 126 | 1.006 | -0.036 | -0.460 | -0.002 | -0.308 | -0.016 |  | 115 | -0.007 | 0.049 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 116 | 0.004 | -0.038 | 0.002 | 0.000 | 0.000 | 0.000 |
| 235 139 | 0.931 | 0.058 | -0.483 | -0.007 | 0.517 | -0.049 |  | 105 | 0.008 | -0.044 | 0.002 | 0.000 | 0.000 | 0.000 |
| 140 | 0.942 | 0.058 | -0.485 | -0.007 | 0.304 | -0.024 | 21 | 105 | 0.004 | 0.046 | 0.002 | 0.000 | 0.000 | 0.000 |
| 236 140 | 0.942 | 0.058 | -0.485 | -0.007 | 0.304 | -0.024 |  | 116 | -0.006 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |
| 141 | 0.954 | 0.058 | -0.488 | -0.007 | 0.090 | 0.002 |  | 117 | -0.003 | -0.052 | 0.002 | 0.000 | 0.000 | 0.000 |
| 237 141 | 0.954 | 0.058 | -0.488 | -0.007 | 0.090 | 0.002 |  | 106 | 0.007 | -0.049 | 0.002 | 0.000 | 0.000 | 0.000 |
| 142 | 0.966 | 0.058 | -0.490 | -0.007 | -0.125 | 0.027 | 22 | 106 | 0.008 | 0.050 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 117 | -0.002 | 0.052 | 0.002 | 0.000 | 0.000 | 0.000 |
| 238 142 | 0.966 | 0.058 | -0.490 | -0.007 | -0.125 | 0.027 |  | 118 | -0.008 | -0.056 | 0.002 | 0.000 | 0.000 | 0.000 |
| 128 | 0.977 | 0.058 | -0.492 | -0.007 | -0.341 | 0.053 |  | 107 | 0.002 | -0.046 | 0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 23 | 107 | 0.009 | 0.046 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 118 | 0.005 | 0.039 0.002 |  | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 119 | -0.008 | -0.050 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  | 108 | -0.005 | -0.035 | 0.003 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24 | 108 | 0.007 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 | 48 | 60 | 0.008 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.015 | 0.019 | 0.002 | 0.000 | 0.000 | 0.000 |  | 71 | -0.009 | 0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 120 | -0.005 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |  | 72 | -0.007 | -0.032 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 109 | -0.015 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 61 | 0.010 | -0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
| 25 | 109 | -0.004 | 0.021 | 0.002 | 0.000 | 0.000 | 0.000 | 49 | 61 | 0.012 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.018 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 72 | -0.005 | 0.031 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.006 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |  | 73 | -0.012 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 110 | -0.018 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 |  | 62 | 0.006 | -0.023 | 0.002 | 0.000 | 0.000 | 0.000 |
| 26 | 110 | -0.017 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 | 50 | 62 | 0.016 | 0.029 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.021 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 122 | 0.020 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |  | 74 | -0.016 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 111 | -0.023 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 63 | 0.001 | -0.017 | 0.002 | 0.000 | 0.000 | 0.000 |
| 27 | 79 | -0.032 | -0.060 | 0.002 | 0.000 | 0.000 | 0.000 | 51 | 63 | 0.018 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.170 | -0.125 | 0.003 | 0.000 | 0.000 | 0.000 |  | 74 | 0.003 | 0.014 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.029 | 0.007 | 0.002 | 0.000 | 0.000 | 0.000 |  | 75 | -0.019 | -0.032 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 80 | -0.166 | 0.179 | 0.002 | 0.000 | 0.000 | 0.000 |  | 64 | -0.001 | -0.010 | 0.002 | 0.000 | 0.000 | 0.000 |
| 28 | 80 | 0.027 | 0.096 | 0.002 | 0.000 | 0.000 | 0.000 | 52 | 64 | 0.022 | 0.026 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.148 | -0.065 | 0.003 | 0.000 | 0.000 | 0.000 |  | 75 | 0.002 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 104 | -0.026 | -0.082 | 0.002 | 0.000 | 0.000 | 0.000 |  | 76 | -0.023 | -0.030 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 81 | -0.148 | 0.051 | 0.002 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | -0.007 | 0.002 | 0.000 | 0.000 | 0.000 |
| 29 | 81 | 0.023 | 0.148 | 0.002 | 0.000 | 0.000 | 0.000 | 53 | 65 | 0.027 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.109 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  | 76 | 0.007 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 105 | -0.022 | -0.104 | 0.002 | 0.000 | 0.000 | 0.000 |  | 77 | -0.025 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 82 | -0.109 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |  | 66 | -0.008 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |
| 30 | 82 | -0.009 | 0.146 | 0.002 | 0.000 | 0.000 | 0.000 | 54 | 46 | 0.035 | 0.037 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.062 | 0.048 | 0.002 | 0.000 | 0.000 | 0.000 |  | 57 | 0.011 | -0.003 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.010 | -0.090 | 0.002 | 0.000 | 0.000 | 0.000 |  | 58 | -0.033 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 83 | -0.061 | -0.103 | 0.003 | 0.000 | 0.000 | 0.000 |  | 47 | -0.012 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
| 31 | 83 | -0.054 | 0.110 | 0.002 | 0.000 | 0.000 | 0.000 | 55 | 47 | 0.029 | 0.038 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.016 | 0.088 | 0.002 | 0.000 | 0.000 | 0.000 |  | 58 | 0.012 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.054 | -0.054 | 0.002 | 0.000 | 0.000 | 0.000 |  | 59 | -0.027 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 84 | -0.016 | -0.144 | 0.003 | 0.000 | 0.000 | 0.000 |  | 48 | -0.012 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |
| 32 | 84 | -0.101 | 0.051 | 0.002 | 0.000 | 0.000 | 0.000 | 56 | 48 | 0.023 | 0.040 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 107 | -0.019 | 0.107 | 0.002 | 0.000 | 0.000 | 0.000 |  | 59 | 0.007 | 0.010 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.101 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 60 | -0.021 | -0.034 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.019 | -0.153 | 0.003 | 0.000 | 0.000 | 0.000 |  | 49 | -0.007 | -0.017 | 0.002 | 0.000 | 0.000 | 0.000 |
| 33 | 85 | -0.141 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 | 57 | 49 | 0.014 | 0.038 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 108 | -0.027 | 0.091 | 0.002 | 0.000 | 0.000 | 0.000 |  | 60 | -0.001 | 0.020 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.142 | 0.052 | 0.002 | 0.000 | 0.000 | 0.000 |  | 61 | -0.013 | -0.030 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.027 | -0.110 | 0.003 | 0.000 | 0.000 | 0.000 |  | 50 | 0.002 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
| 34 | 86 | -0.167 | -0.155 | 0.002 | 0.000 | 0.000 | 0.000 | 58 | 50 | 0.005 | 0.031 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.016 | 0.015 | 0.002 | 0.000 | 0.000 | 0.000 |  | 61 | -0.011 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.170 | 0.112 | 0.002 | 0.000 | 0.000 | 0.000 |  | 62 | -0.005 | -0.022 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.018 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |  | 51 | 0.011 | -0.037 | 0.002 | 0.000 | 0.000 | 0.000 |
| 35 | 87 | -0.143 | -0.194 | 0.002 | 0.000 | 0.000 | 0.000 | 59 | 51 | -0.003 | 0.020 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.086 | -0.070 | 0.003 | 0.000 | 0.000 | 0.000 |  | 62 | -0.019 | 0.033 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.142 | 0.117 | 0.002 | 0.000 | 0.000 | 0.000 |  | 63 | 0.003 | -0.013 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 125 | -0.084 | 0.147 | 0.003 | 0.000 | 0.000 | 0.000 |  | 52 | 0.021 | -0.039 | 0.003 | 0.000 | 0.000 | 0.000 |
| 36 | 68 | -0.132 | -0.113 | 0.002 | 0.000 | 0.000 | 0.000 | 60 | 52 | -0.008 | 0.008 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 79 | -0.025 | -0.033 | 0.003 | 0.000 | 0.000 | 0.000 |  | 63 | -0.026 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.139 | 0.164 | 0.002 | 0.000 | 0.000 | 0.000 |  | 64 | 0.007 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.018 | -0.018 | 0.002 | 0.000 | 0.000 | 0.000 |  | 53 | 0.028 | -0.038 | 0.003 | 0.000 | 0.000 | 0.000 |
| 37 | 69 | -0.127 | -0.058 | 0.002 | 0.000 | 0.000 | 0.000 | 61 | 53 | -0.009 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 80 | -0.051 | 0.110 | 0.003 | 0.000 | 0.000 | 0.000 |  | 64 | -0.035 | 0.037 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.132 | 0.041 | 0.002 | 0.000 | 0.000 | 0.000 |  | 65 | 0.007 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.047 | -0.094 | 0.002 | 0.000 | 0.000 | 0.000 |  | 54 | 0.038 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |
| 38 | 70 | -0.096 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 62 | 54 | -0.002 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 81 | -0.032 | 0.154 | 0.003 | 0.000 | 0.000 | 0.000 |  | 65 | -0.032 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.098 | -0.045 | 0.002 | 0.000 | 0.000 | 0.000 |  | 66 | 0.003 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.031 | -0.108 | 0.002 | 0.000 | 0.000 | 0.000 |  | 55 | 0.032 | -0.029 | 0.002 | 0.000 | 0.000 | 0.000 |
| 39 | 71 | -0.052 | 0.049 | 0.002 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.036 | -0.031 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.006 | 0.148 | 0.003 | 0.000 | 0.000 | 0.000 |  | 46 | 0.138 | -0.127 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.053 | -0.106 | 0.002 | 0.000 | 0.000 | 0.000 |  | 47 | -0.028 | -0.021 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.006 | -0.090 | 0.002 | 0.000 | 0.000 | 0.000 |  | 36 | -0.145 | 0.179 | 0.002 | 0.000 | 0.000 | 0.000 |
| 40 | 72 | -0.008 | 0.086 | 0.002 | 0.000 | 0.000 | 0.000 | 64 | 36 | 0.062 | 0.110 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.051 | 0.110 | 0.003 | 0.000 | 0.000 | 0.000 |  | 47 | 0.137 | -0.071 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.009 | -0.144 | 0.002 | 0.000 | 0.000 | 0.000 |  | 48 | -0.056 | -0.096 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.050 | -0.052 | 0.002 | 0.000 | 0.000 | 0.000 |  | 37 | -0.142 | 0.057 | 0.002 | 0.000 | 0.000 | 0.000 |
| 41 | 73 | 0.028 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 | 65 | 37 | 0.038 | 0.153 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.097 | 0.049 | 0.003 | 0.000 | 0.000 | 0.000 |  | 48 | 0.106 | -0.012 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 85 | -0.029 | -0.153 | 0.002 | 0.000 | 0.000 | 0.000 |  | 49 | -0.035 | -0.109 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.095 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 38 | -0.109 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 |
| 42 | 74 | 0.047 | 0.095 | 0.002 | 0.000 | 0.000 | 0.000 | 66 | 38 | -0.004 | 0.145 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.133 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |  | 49 | 0.061 | 0.043 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 86 | -0.051 | -0.116 | 0.002 | 0.000 | 0.000 | 0.000 |  | 50 | 0.006 | -0.089 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.129 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |  | 39 | -0.061 | -0.099 | 0.003 | 0.000 | 0.000 | 0.000 |
| 43 | 75 | 0.022 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 67 | 39 | -0.054 | 0.106 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.142 | -0.152 | 0.002 | 0.000 | 0.000 | 0.000 |  | 50 | 0.012 | 0.086 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.027 | 0.014 | 0.002 | 0.000 | 0.000 | 0.000 |  | 51 | 0.053 | -0.049 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 76 | -0.136 | 0.111 | 0.002 | 0.000 | 0.000 | 0.000 |  | 40 | -0.010 | -0.143 | 0.003 | 0.000 | 0.000 | 0.000 |
| 44 | 76 | -0.031 | -0.046 | 0.002 | 0.000 | 0.000 | 0.000 | 68 | 40 | -0.100 | 0.043 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.097 | -0.179 | 0.002 | 0.000 | 0.000 | 0.000 |  | 51 | -0.031 | 0.110 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 125 | 0.029 | 0.122 | 0.003 | 0.000 | 0.000 | 0.000 |  | 52 | 0.098 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 77 | -0.095 | 0.103 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | 0.035 | -0.156 | 0.003 | 0.000 | 0.000 | 0.000 |
| 45 | 57 | 0.002 | 0.009 | 0.002 | 0.000 | 0.000 | 0.000 | 69 | 41 | -0.134 | -0.043 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 68 | -0.021 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |  | 52 | -0.056 | 0.101 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.001 | -0.011 | 0.002 | 0.000 | 0.000 | 0.000 |  | 53 | 0.129 | 0.060 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.020 | -0.026 | 0.002 | 0.000 | 0.000 | 0.000 |  | 42 | 0.063 | -0.119 | 0.003 | 0.000 | 0.000 | 0.000 |
| 46 | 58 | 0.001 | 0.012 | 0.002 | 0.000 | 0.000 | 0.000 | 70 | 42 | -0.140 | -0.162 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 69 | -0.015 | 0.028 | 0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.038 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |  | 54 | 0.132 | 0.116 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.015 | -0.025 | 0.002 | 0.000 | 0.000 | 0.000 |  | 43 | 0.047 | 0.012 | 0.003 | 0.000 | 0.000 | 0.000 |
| 47 | 59 | 0.003 | 0.018 | 0.002 | 0.000 | 0.000 | 0.000 | 71 | 43 | -0.076 | -0.164 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 70 | -0.013 | 0.033 | 0.003 | 0.000 | 0.000 | 0.000 |  | 54 | 0.015 | -0.042 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 71 | -0.002 | -0.024 | 0.002 | 0.000 | 0.000 | 0.000 |  | 55 | 0.073 | 0.092 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.013 | -0.027 | 0.002 | 0.000 | 0.000 | 0.000 |  | 127 | -0.012 | 0.114 | 0.003 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 72 | 13 | -0.140 | -0.110 | 0.002 | 0.000 | 0.000 | 0.000 | 15 | 67 | -0.038 | -0.048 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.022 | -0.064 | 0.003 | 0.000 | 0.000 | 0.000 |  | 78 | 0.015 | -0.070 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.142 | 0.162 | 0.002 | 0.000 | 0.000 | 0.000 |  | 79 | 0.041 | 0.089 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.024 | 0.012 | 0.002 | 0.000 | 0.000 | 0.000 |  | 68 | -0.017 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |
| 73 | 14 | -0.132 | -0.058 | 0.002 | 0.000 | 0.000 | 0.000 | 16 | 78 | -0.043 | -0.082 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.019 | 0.086 | 0.003 | 0.000 | 0.000 | 0.000 |  | 101 | 0.062 | -0.057 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.136 | 0.042 | 0.002 | 0.000 | 0.000 | 0.000 |  | 102 | 0.045 | 0.040 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.016 | -0.070 | 0.002 | 0.000 | 0.000 | 0.000 |  | 79 | -0.063 | 0.099 | 0.003 | 0.000 | 0.000 | 0.000 |
| 74 | 15 | -0.106 | -0.008 | 0.002 | 0.000 | 0.000 | 0.000 | 17 | 101 | -0.010 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.007 | 0.136 | 0.003 | 0.000 | 0.000 | 0.000 |  | 112 | 0.008 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.108 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |  | 113 | 0.009 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.006 | -0.089 | 0.002 | 0.000 | 0.000 | 0.000 |  | 102 | -0.006 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
| 75 | 16 | -0.068 | 0.037 | 0.002 | 0.000 | 0.000 | 0.000 | 18 | 102 | -0.007 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.027 | 0.133 | 0.003 | 0.000 | 0.000 | 0.000 |  | 113 | 0.001 | 0.008 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.069 | -0.096 | 0.002 | 0.000 | 0.000 | 0.000 |  | 114 | 0.007 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | -0.027 | -0.074 | 0.002 | 0.000 | 0.000 | 0.000 |  | 103 | 0.001 | -0.011 | 0.003 | 0.000 | 0.000 | 0.000 |
| 76 | 17 | -0.028 | 0.071 | 0.002 | 0.000 | 0.000 | 0.000 | 19 | 103 | -0.004 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.068 | 0.098 | 0.003 | 0.000 | 0.000 | 0.000 |  | 114 | -0.003 | 0.018 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.028 | -0.130 | 0.002 | 0.000 | 0.000 | 0.000 |  | 115 | 0.004 | -0.011 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 18 | -0.067 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |  | 104 | 0.004 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |
| 77 | 18 | 0.004 | 0.086 | 0.002 | 0.000 | 0.000 | 0.000 | 20 | 104 | 0.001 | 0.019 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.108 | 0.040 | 0.002 | 0.000 | 0.000 | 0.000 |  | 115 | -0.005 | 0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 41 | -0.006 | -0.133 | 0.002 | 0.000 | 0.000 | 0.000 |  | 116 | 0.000 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 19 | -0.105 | 0.007 | 0.003 | 0.000 | 0.000 | 0.000 |  | 105 | 0.006 | -0.023 | 0.003 | 0.000 | 0.000 | 0.000 |
| 78 | 19 | 0.014 | 0.068 | 0.002 | 0.000 | 0.000 | 0.000 | 21 | 105 | 0.004 | 0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.135 | -0.040 | 0.002 | 0.000 | 0.000 | 0.000 |  | 116 | -0.005 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.018 | -0.086 | 0.002 | 0.000 | 0.000 | 0.000 |  | 117 | -0.004 | -0.027 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 20 | -0.131 | 0.057 | 0.003 | 0.000 | 0.000 | 0.000 |  | 106 | 0.005 | -0.026 | 0.003 | 0.000 | 0.000 | 0.000 |
| 79 | 20 | -0.025 | -0.009 | 0.002 | 0.000 | 0.000 | 0.000 | 22 | 106 | 0.006 | 0.026 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.139 | -0.154 | 0.002 | 0.000 | 0.000 | 0.000 |  | 117 | -0.003 | 0.027 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.024 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |  | 118 | -0.005 | -0.029 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 21 | -0.137 | 0.107 | 0.003 | 0.000 | 0.000 | 0.000 |  | 107 | 0.004 | -0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
| 80 | 21 | -0.065 | -0.064 | 0.003 | 0.000 | 0.000 | 0.000 | 23 | 107 | 0.006 | 0.024 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.108 | -0.173 | 0.002 | 0.000 | 0.000 | 0.000 |  | 118 | 0.000 | 0.021 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.060 | 0.137 | 0.003 | 0.000 | 0.000 | 0.000 |  | 119 | -0.006 | -0.026 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 22 | -0.102 | 0.100 | 0.002 | 0.000 | 0.000 | 0.000 |  | 108 | 0.000 | -0.019 | 0.003 | 0.000 | 0.000 | 0.000 |
| Load case 2 (Linear): WIND PL (S) |  |  |  | 24 |  |  |  |  | 108 | 0.005 | 0.018 | 0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.005 | 0.011 | 0.003 | 0.000 | 0.000 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | -0.004 | -0.019 | 0.003 | 0.000 | 0.000 | 0.000 |
| 1 | 1 | -0.008 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 109 | -0.004 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 12 | -0.002 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 | 25 | 109 | 0.001 | 0.012 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.010 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 120 | 0.006 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 2 | 0.002 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 121 | 0.000 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |
| 2 | 2 | -0.006 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 110 | -0.005 | -0.007 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.003 | 0.006 | 0.003 | 0.000 | 0.000 | 0.000 | 26 | 110 | -0.005 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.007 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 121 | 0.008 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 3 | -0.003 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 122 | 0.008 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |
| 3 | 3 | -0.005 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 111 | -0.009 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.004 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 | 27 | 79 | -0.010 | -0.030 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.005 | -0.005 | 0.003 | 0.000 | 0.000 | 0.000 |  | 102 | 0.085 | -0.065 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 4 | -0.004 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 103 | 0.010 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
| 4 | 4 | -0.004 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | -0.083 | 0.093 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.003 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 | 28 | 80 | 0.018 | 0.052 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.005 | -0.007 | 0.003 | 0.000 | 0.000 | 0.000 |  | 103 | 0.075 | -0.034 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 5 | -0.003 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 104 | -0.018 | -0.045 | 0.003 | 0.000 | 0.000 | 0.000 |
| 5 | 5 | -0.004 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 81 | -0.075 | 0.026 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.004 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 | 29 | 81 | 0.016 | 0.080 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.004 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |  | 104 | 0.055 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 6 | -0.003 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 105 | -0.015 | -0.056 | 0.003 | 0.000 | 0.000 | 0.000 |
| 6 | 6 | -0.003 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 82 | -0.055 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.005 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 | 30 | 82 | -0.002 | 0.078 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.003 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 |  | 105 | 0.030 | 0.026 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 7 | -0.004 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 106 | 0.003 | -0.048 | 0.003 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | -0.002 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 83 | -0.030 | -0.055 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.006 | 0.007 | 0.003 | 0.000 | 0.000 | 0.000 | 31 | 83 | -0.026 | 0.059 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.003 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |  | 106 | 0.006 | 0.047 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 8 | -0.005 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 107 | 0.026 | -0.029 | 0.003 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | -0.003 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 84 | -0.005 | -0.077 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.005 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 | 32 | 84 | -0.050 | 0.027 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.004 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 107 | -0.013 | 0.058 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 9 | -0.005 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 108 | 0.051 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 |
| 9 | 9 | -0.003 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 85 | 0.014 | -0.082 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.006 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 | 33 | 85 | -0.071 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.004 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 108 | -0.018 | 0.049 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 10 | -0.006 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 109 | 0.072 | 0.027 | 0.003 | 0.000 | 0.000 | 0.000 |
| 10 | 10 | 0.001 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 |  | 86 | 0.019 | -0.060 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.010 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 34 | 86 | -0.083 | -0.081 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 22 | -0.002 | -0.008 | 0.003 | 0.000 | 0.000 | 0.000 |  | 109 | 0.003 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 11 | -0.008 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 110 | 0.085 | 0.058 | 0.003 | 0.000 | 0.000 | 0.000 |
| 11 | 12 | -0.051 | -0.054 | 0.003 | 0.000 | 0.000 | 0.000 |  | 87 | -0.003 | 0.013 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.032 | -0.083 | 0.003 | 0.000 | 0.000 | 0.000 | 35 | 87 | -0.067 | -0.098 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.056 | 0.098 | 0.003 | 0.000 | 0.000 | 0.000 |  | 110 | 0.038 | -0.034 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.036 | 0.039 | 0.003 | 0.000 | 0.000 | 0.000 |  | 111 | 0.066 | 0.058 | 0.003 | 0.000 | 0.000 | 0.000 |
| 12 | 34 | -0.017 | -0.075 | 0.003 | 0.000 | 0.000 | 0.000 |  | 125 | -0.036 | 0.074 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.042 | -0.054 | 0.003 | 0.000 | 0.000 | 0.000 | 36 | 68 | -0.067 | -0.059 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.019 | 0.032 | 0.003 | 0.000 | 0.000 | 0.000 |  | 79 | -0.014 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.044 | 0.097 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | 0.071 | 0.086 | 0.003 | 0.000 | 0.000 | 0.000 |
| 13 | 45 | 0.017 | 0.015 | 0.003 | 0.000 | 0.000 | 0.000 |  | 69 | 0.011 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.004 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 | 37 | 69 | -0.064 | -0.029 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.018 | -0.014 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | -0.029 | 0.059 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.002 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 81 | 0.066 | 0.021 | 0.003 | 0.000 | 0.000 | 0.000 |
| 14 | 56 | 0.001 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |  | 70 | 0.028 | -0.050 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 67 | -0.014 | 0.014 | 0.003 | 0.000 | 0.000 | 0.000 | 38 | 70 | -0.047 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 68 | -0.002 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 81 | -0.020 | 0.083 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.016 | -0.012 | 0.003 | 0.000 | 0.000 | 0.000 |  | 82 | 0.048 | -0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 71 | 0.020 | -0.058 | 0.003 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 39 | 71 | -0.024 | 0.027 | 0.003 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.018 | -0.019 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | 0.079 | 0.003 | 0.000 | 0.000 | 0.000 |  | 46 | 0.078 | -0.071 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.025 | -0.058 | 0.003 | 0.000 | 0.000 | 0.000 |  | 47 | -0.013 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.001 | -0.049 | 0.003 | 0.000 | 0.000 | 0.000 |  | 36 | -0.081 | 0.100 | 0.003 | 0.000 | 0.000 | 0.000 |
| 40 | 72 | -0.001 | 0.047 | 0.003 | 0.000 | 0.000 | 0.000 | 64 | 36 | 0.034 | 0.061 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.024 | 0.059 | 0.003 | 0.000 | 0.000 | 0.000 |  | 47 | 0.077 | -0.040 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.001 | -0.077 | 0.003 | 0.000 | 0.000 | 0.000 |  | 48 | -0.030 | -0.052 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.023 | -0.029 | 0.003 | 0.000 | 0.000 | 0.000 |  | 37 | -0.079 | 0.032 | 0.003 | 0.000 | 0.000 | 0.000 |
| 41 | 73 | 0.018 | 0.056 | 0.003 | 0.000 | 0.000 | 0.000 | 65 | 37 | 0.022 | 0.085 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.048 | 0.027 | 0.003 | 0.000 | 0.000 | 0.000 |  | 48 | 0.059 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 85 | -0.019 | -0.082 | 0.003 | 0.000 | 0.000 | 0.000 |  | 49 | -0.019 | -0.060 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.046 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 38 | -0.060 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 |
| 42 | 74 | 0.028 | 0.051 | 0.003 | 0.000 | 0.000 | 0.000 | 66 | 38 | -0.002 | 0.081 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.067 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 |  | 49 | 0.033 | 0.024 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 86 | -0.029 | -0.062 | 0.003 | 0.000 | 0.000 | 0.000 |  | 50 | 0.003 | -0.049 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.064 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |  | 39 | -0.033 | -0.055 | 0.003 | 0.000 | 0.000 | 0.000 |
| 43 | 75 | 0.013 | 0.014 | 0.003 | 0.000 | 0.000 | 0.000 | 67 | 39 | -0.029 | 0.059 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.072 | -0.080 | 0.003 | 0.000 | 0.000 | 0.000 |  | 50 | 0.006 | 0.048 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.015 | 0.008 | 0.003 | 0.000 | 0.000 | 0.000 |  | 51 | 0.029 | -0.027 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 76 | -0.069 | 0.058 | 0.003 | 0.000 | 0.000 | 0.000 |  | 40 | -0.005 | -0.079 | 0.003 | 0.000 | 0.000 | 0.000 |
| 44 | 76 | -0.015 | -0.024 | 0.003 | 0.000 | 0.000 | 0.000 | 68 | 40 | -0.055 | 0.024 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.048 | -0.092 | 0.003 | 0.000 | 0.000 | 0.000 |  | 51 | -0.017 | 0.061 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 125 | 0.013 | 0.064 | 0.003 | 0.000 | 0.000 | 0.000 |  | 52 | 0.054 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 77 | -0.046 | 0.053 | 0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.020 | -0.086 | 0.003 | 0.000 | 0.000 | 0.000 |
| 45 | 57 | 0.006 | 0.007 | 0.003 | 0.000 | 0.000 | 0.000 | 69 | 41 | -0.074 | -0.024 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 68 | -0.016 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 52 | -0.030 | 0.056 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 69 | -0.005 | -0.008 | 0.003 | 0.000 | 0.000 | 0.000 |  | 53 | 0.072 | 0.034 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.016 | -0.016 | 0.003 | 0.000 | 0.000 | 0.000 |  | 42 | 0.034 | -0.065 | 0.003 | 0.000 | 0.000 | 0.000 |
| 46 | 58 | 0.007 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 | 70 | 42 | -0.078 | -0.090 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 69 | -0.014 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 53 | -0.019 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 70 | -0.006 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 |  | 54 | 0.075 | 0.065 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.014 | -0.015 | 0.003 | 0.000 | 0.000 | 0.000 |  | 43 | 0.024 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 |
| 47 | 59 | 0.009 | 0.012 | 0.003 | 0.000 | 0.000 | 0.000 | 71 | 43 | -0.042 | -0.091 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 70 | -0.013 | 0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 54 | 0.012 | -0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 71 | -0.008 | -0.015 | 0.003 | 0.000 | 0.000 | 0.000 |  | 55 | 0.040 | 0.051 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.014 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 127 | -0.008 | 0.065 | 0.003 | 0.000 | 0.000 | 0.000 |
| 48 | 60 | 0.011 | 0.015 | 0.003 | 0.000 | 0.000 | 0.000 | 72 | 13 | -0.078 | -0.062 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 71 | -0.012 | 0.021 | 0.003 | 0.000 | 0.000 | 0.000 |  | 35 | 0.011 | -0.035 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.011 | -0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 36 | 0.081 | 0.091 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.012 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 14 | -0.012 | 0.006 | 0.003 | 0.000 | 0.000 | 0.000 |
| 49 | 61 | 0.014 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 | 73 | 14 | -0.074 | -0.033 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.010 | 0.019 | 0.003 | 0.000 | 0.000 | 0.000 |  | 36 | -0.011 | 0.048 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.013 | -0.022 | 0.003 | 0.000 | 0.000 | 0.000 |  | 37 | 0.077 | 0.024 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.010 | -0.015 | 0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.009 | -0.039 | 0.003 | 0.000 | 0.000 | 0.000 |
| 50 | 62 | 0.015 | 0.018 | 0.003 | 0.000 | 0.000 | 0.000 | 74 | 15 | -0.060 | -0.005 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.007 | 0.015 | 0.003 | 0.000 | 0.000 | 0.000 |  | 37 | -0.004 | 0.076 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.015 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |  | 38 | 0.062 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.008 | -0.011 | 0.003 | 0.000 | 0.000 | 0.000 |  | 16 | 0.003 | -0.050 | 0.003 | 0.000 | 0.000 | 0.000 |
| 51 | 63 | 0.016 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 | 75 | 16 | -0.038 | 0.020 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.005 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 |  | 38 | 0.016 | 0.074 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.016 | -0.019 | 0.003 | 0.000 | 0.000 | 0.000 |  | 39 | 0.039 | -0.053 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.006 | -0.008 | 0.003 | 0.000 | 0.000 | 0.000 |  | 17 | -0.015 | -0.041 | 0.003 | 0.000 | 0.000 | 0.000 |
| 52 | 64 | 0.017 | 0.016 | 0.003 | 0.000 | 0.000 | 0.000 | 76 | 17 | -0.016 | 0.039 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.005 | 0.008 | 0.003 | 0.000 | 0.000 | 0.000 |  | 39 | 0.039 | 0.054 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 76 | -0.017 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 40 | 0.016 | -0.072 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.006 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 18 | -0.038 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |
| 53 | 65 | 0.017 | 0.012 | 0.003 | 0.000 | 0.000 | 0.000 | 77 | 18 | 0.002 | 0.048 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.000 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 40 | 0.061 | 0.022 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 77 | -0.014 | -0.014 | 0.003 | 0.000 | 0.000 | 0.000 |  | 41 | -0.003 | -0.074 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 66 | -0.002 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 19 | -0.060 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 |
| 54 | 46 | 0.023 | 0.022 | 0.003 | 0.000 | 0.000 | 0.000 | 78 | 19 | 0.008 | 0.038 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.003 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 41 | 0.077 | -0.023 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.022 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |  | 42 | -0.010 | -0.048 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.003 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |  | 20 | -0.074 | 0.033 | 0.003 | 0.000 | 0.000 | 0.000 |
| 55 | 47 | 0.021 | 0.023 | 0.003 | 0.000 | 0.000 | 0.000 | 79 | 20 | -0.013 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.002 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 42 | 0.079 | -0.087 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.020 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 |  | 43 | 0.012 | 0.031 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.002 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 21 | -0.077 | 0.060 | 0.003 | 0.000 | 0.000 | 0.000 |
| 56 | 48 | 0.018 | 0.024 | 0.003 | 0.000 | 0.000 | 0.000 | 80 | 21 | -0.034 | -0.035 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.001 | 0.007 | 0.003 | 0.000 | 0.000 | 0.000 |  | 43 | 0.057 | -0.095 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 60 | -0.017 | -0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 127 | 0.030 | 0.075 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.002 | -0.011 | 0.003 | 0.000 | 0.000 | 0.000 |  | 22 | -0.052 | 0.054 | 0.003 | 0.000 | 0.000 | 0.000 |
| 57 | 49 | 0.014 | 0.023 | 0.003 | 0.000 | 0.000 | 0.000 | Load case 3 (Linear): WIND PL (U) |  |  |  |  |  |  |  |
|  | 60 | -0.006 | 0.013 | 0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | -0.013 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 50 | 0.007 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 | 1 | 1 | -0.013 | -0.005 | 0.005 | 0.001 | -0.001 | 0.000 |
| 58 | 50 | 0.008 | 0.019 | 0.003 | 0.000 | 0.000 | 0.000 |  | 12 | -0.004 | 0.015 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 61 | -0.011 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 13 | 0.017 | 0.001 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 62 | -0.008 | -0.014 | 0.003 | 0.000 | 0.000 | 0.000 |  | 2 | 0.003 | -0.010 | 0.005 | -0.001 | -0.001 | 0.000 |
|  | 51 | 0.012 | -0.022 | 0.003 | 0.000 | 0.000 | 0.000 | 2 | 2 | -0.010 | 0.002 | 0.005 | 0.001 | -0.001 | 0.000 |
| 59 | 51 | 0.004 | 0.012 | 0.003 | 0.000 | 0.000 | 0.000 |  | 13 | 0.006 | 0.010 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 62 | -0.016 | 0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 14 | 0.011 | -0.005 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 63 | -0.003 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |  | 3 | -0.004 | -0.007 | 0.005 | -0.001 | -0.001 | 0.000 |
|  | 52 | 0.017 | -0.024 | 0.003 | 0.000 | 0.000 | 0.000 | 3 | 3 | -0.008 | 0.003 | 0.005 | 0.001 | -0.001 | 0.000 |
| 60 | 52 | 0.000 | 0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 14 | 0.007 | 0.009 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 63 | -0.019 | 0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.009 | -0.008 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 64 | 0.000 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 4 | -0.006 | -0.004 | 0.005 | -0.001 | -0.001 | 0.000 |
|  | 53 | 0.020 | -0.022 | 0.003 | 0.000 | 0.000 | 0.000 | 4 | 4 | -0.007 | 0.003 | 0.005 | 0.001 | -0.001 | 0.000 |
| 61 | 53 | -0.001 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.005 | 0.014 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 64 | -0.023 | 0.021 | 0.003 | 0.000 | 0.000 | 0.000 |  | 16 | 0.009 | -0.011 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 65 | 0.001 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |  | 5 | -0.004 | -0.006 | 0.005 | -0.001 | -0.001 | 0.000 |
|  | 54 | 0.025 | -0.023 | 0.003 | 0.000 | 0.000 | 0.000 | 5 | 5 | -0.006 | 0.005 | 0.005 | 0.001 | -0.001 | 0.000 |
| 62 | 54 | 0.001 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |  | 16 | 0.006 | 0.017 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 65 | -0.018 | 0.014 | 0.003 | 0.000 | 0.000 | 0.000 |  | 17 | 0.007 | -0.015 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 66 | 0.002 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 6 | -0.005 | -0.006 | 0.005 | -0.001 | -0.001 | 0.000 |
|  | 55 | 0.017 | -0.015 | 0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6 | 6 | -0.004 | 0.007 | 0.005 | 0.001 | -0.001 | 0.000 | 30 | 82 | -0.003 | 0.130 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 17 | 0.008 | 0.015 | 0.005 | 0.001 | 0.001 | 0.000 |  | 105 | 0.050 | 0.043 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 18 | 0.005 | -0.017 | 0.005 | -0.001 | 0.001 | 0.000 |  | 106 | 0.004 | -0.081 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 7 | -0.007 | -0.005 | 0.005 | -0.001 | -0.001 | 0.000 |  | 83 | -0.049 | -0.092 | 0.005 | -0.001 | -0.001 | 0.000 |
| 7 | 7 | -0.004 | 0.007 | 0.005 | 0.001 | -0.001 | 0.000 | 31 | 83 | -0.043 | 0.098 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 18 | 0.009 | 0.012 | 0.005 | 0.001 | 0.001 | 0.000 |  | 106 | 0.010 | 0.079 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 19 | 0.005 | -0.015 | 0.005 | -0.001 | 0.001 | 0.000 |  | 107 | 0.044 | -0.049 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 8 | -0.008 | -0.003 | 0.005 | -0.001 | -0.001 | 0.000 |  | 84 | -0.009 | -0.128 | 0.005 | -0.001 | -0.001 | 0.000 |
| 8 | 8 | -0.005 | 0.004 | 0.005 | 0.001 | -0.001 | 0.000 | 32 | 84 | -0.084 | 0.046 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 19 | 0.009 | 0.009 | 0.005 | 0.001 | 0.001 | 0.000 |  | 107 | -0.021 | 0.096 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 20 | 0.006 | -0.011 | 0.005 | -0.001 | 0.001 | 0.000 |  | 108 | 0.085 | -0.005 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 9 | -0.008 | -0.003 | 0.005 | -0.001 | -0.001 | 0.000 |  | 85 | 0.023 | -0.137 | 0.005 | -0.001 | -0.001 | 0.000 |
| 9 | 9 | -0.005 | 0.006 | 0.005 | 0.001 | -0.001 | 0.000 | 33 | 85 | -0.119 | -0.028 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 20 | 0.010 | 0.007 | 0.005 | 0.001 | 0.001 | 0.000 |  | 108 | -0.030 | 0.082 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 21 | 0.006 | -0.010 | 0.005 | -0.001 | 0.001 | 0.000 |  | 109 | 0.120 | 0.045 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 10 | -0.009 | -0.003 | 0.005 | -0.001 | -0.001 | 0.000 |  | 86 | 0.031 | -0.099 | 0.005 | -0.001 | -0.001 | 0.000 |
| 10 | 10 | 0.002 | 0.009 | 0.005 | 0.001 | -0.001 | 0.000 | 34 | 86 | -0.139 | -0.135 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 21 | 0.017 | -0.002 | 0.005 | 0.001 | 0.001 | 0.000 |  | 109 | 0.005 | 0.017 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 22 | -0.003 | -0.013 | 0.005 | -0.001 | 0.001 | 0.000 |  | 110 | 0.141 | 0.096 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 11 | -0.014 | 0.006 | 0.005 | -0.001 | -0.001 | 0.000 |  | 87 | -0.005 | 0.022 | 0.005 | -0.001 | -0.001 | 0.000 |
| 11 | 12 | -0.085 | -0.090 | 0.005 | 0.001 | -0.001 | 0.000 | 35 | 87 | -0.112 | -0.164 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 34 | 0.054 | -0.138 | 0.005 | 0.001 | 0.001 | 0.000 |  | 110 | 0.063 | -0.056 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 35 | 0.093 | 0.163 | 0.005 | -0.001 | 0.001 | 0.000 |  | 111 | 0.111 | 0.097 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 13 | -0.060 | 0.065 | 0.005 | -0.001 | -0.001 | 0.000 |  | 125 | -0.060 | 0.123 | 0.005 | -0.001 | -0.001 | 0.000 |
| 12 | 34 | -0.028 | -0.125 | 0.005 | 0.001 | -0.001 | 0.000 | 36 | 68 | -0.112 | -0.098 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 45 | 0.071 | -0.090 | 0.005 | 0.001 | 0.001 | 0.000 |  | 79 | -0.023 | -0.030 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 46 | 0.032 | 0.053 | 0.005 | -0.001 | 0.001 | 0.000 |  | 80 | 0.118 | 0.143 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 35 | -0.073 | 0.162 | 0.005 | -0.001 | -0.001 | 0.000 |  | 69 | 0.019 | -0.015 | 0.005 | -0.001 | -0.001 | 0.000 |
| 13 | 45 | 0.028 | 0.026 | 0.005 | 0.001 | -0.001 | 0.000 | 37 | 69 | -0.106 | -0.049 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 56 | 0.007 | -0.006 | 0.005 | 0.001 | 0.001 | 0.000 |  | 80 | -0.049 | 0.098 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 57 | -0.030 | -0.023 | 0.005 | -0.001 | 0.001 | 0.000 |  | 81 | 0.111 | 0.034 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 46 | -0.003 | 0.003 | 0.005 | -0.001 | -0.001 | 0.000 |  | 70 | 0.047 | -0.083 | 0.005 | -0.001 | -0.001 | 0.000 |
| 14 | 56 | 0.001 | 0.001 | 0.005 | 0.001 | -0.001 | 0.000 | 38 | 70 | -0.078 | 0.001 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 67 | -0.023 | 0.023 | 0.005 | 0.001 | 0.001 | 0.000 |  | 81 | -0.033 | 0.138 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 68 | -0.003 | -0.004 | 0.005 | -0.001 | 0.001 | 0.000 |  | 82 | 0.080 | -0.042 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 57 | 0.027 | -0.020 | 0.005 | -0.001 | -0.001 | 0.000 |  | 71 | 0.033 | -0.097 | 0.005 | -0.001 | -0.001 | 0.000 |
| 15 | 67 | -0.064 | -0.080 | 0.005 | 0.001 | -0.001 | 0.000 | 39 | 71 | -0.039 | 0.045 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 78 | 0.025 | -0.117 | 0.005 | 0.001 | 0.001 | 0.000 |  | 82 | -0.001 | 0.132 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 79 | 0.069 | 0.149 | 0.005 | -0.001 | 0.001 | 0.000 |  | 83 | 0.041 | -0.096 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 68 | -0.028 | 0.049 | 0.005 | -0.001 | -0.001 | 0.000 |  | 72 | 0.001 | -0.081 | 0.005 | -0.001 | -0.001 | 0.000 |
| 16 | 78 | -0.071 | -0.137 | 0.005 | 0.001 | -0.001 | 0.000 | 40 | 72 | -0.001 | 0.078 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 101 | 0.104 | -0.095 | 0.005 | 0.001 | 0.001 | 0.000 |  | 83 | 0.039 | 0.099 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 102 | 0.075 | 0.067 | 0.005 | -0.001 | 0.001 | 0.000 |  | 84 | 0.002 | -0.129 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 79 | -0.105 | 0.165 | 0.005 | -0.001 | -0.001 | 0.000 |  | 73 | -0.038 | -0.048 | 0.005 | -0.001 | -0.001 | 0.000 |
| 17 | 101 | -0.016 | 0.002 | 0.005 | 0.001 | -0.001 | 0.000 | 41 | 73 | 0.031 | 0.094 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 112 | 0.013 | 0.000 | 0.005 | 0.001 | 0.001 | 0.000 |  | 84 | 0.079 | 0.045 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 113 | 0.015 | 0.004 | 0.005 | -0.001 | 0.001 | 0.000 |  | 85 | -0.031 | -0.136 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 102 | -0.009 | -0.005 | 0.005 | -0.001 | -0.001 | 0.000 |  | 74 | -0.077 | -0.003 | 0.005 | -0.001 | -0.001 | 0.000 |
| 18 | 102 | -0.011 | 0.008 | 0.005 | 0.001 | -0.001 | 0.000 | 42 | 74 | 0.047 | 0.085 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 113 | 0.001 | 0.013 | 0.005 | 0.001 | 0.001 | 0.000 |  | 85 | 0.112 | -0.029 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 114 | 0.011 | -0.004 | 0.005 | -0.001 | 0.001 | 0.000 |  | 86 | -0.049 | -0.103 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 103 | 0.001 | -0.018 | 0.005 | -0.001 | -0.001 | 0.000 |  | 75 | -0.107 | 0.048 | 0.005 | -0.001 | -0.001 | 0.000 |
| 19 | 103 | -0.006 | 0.017 | 0.005 | 0.001 | -0.001 | 0.000 | 43 | 75 | 0.022 | 0.024 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 114 | -0.006 | 0.029 | 0.005 | 0.001 | 0.001 | 0.000 |  | 86 | 0.120 | -0.133 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 115 | 0.007 | -0.018 | 0.005 | -0.001 | 0.001 | 0.000 |  | 87 | -0.024 | 0.013 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 104 | 0.007 | -0.029 | 0.005 | -0.001 | -0.001 | 0.000 |  | 76 | -0.115 | 0.096 | 0.005 | -0.001 | -0.001 | 0.000 |
| 20 | 104 | 0.001 | 0.031 | 0.005 | 0.001 | -0.001 | 0.000 | 44 | 76 | -0.024 | -0.040 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 115 | -0.008 | 0.042 | 0.005 | 0.001 | 0.001 | 0.000 |  | 87 | 0.081 | -0.154 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 116 | 0.000 | -0.035 | 0.005 | -0.001 | 0.001 | 0.000 |  | 125 | 0.022 | 0.106 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 105 | 0.009 | -0.038 | 0.005 | -0.001 | -0.001 | 0.000 |  | 77 | -0.076 | 0.089 | 0.005 | -0.001 | -0.001 | 0.000 |
| 21 | 105 | 0.007 | 0.041 | 0.005 | 0.001 | -0.001 | 0.000 | 45 | 57 | 0.011 | 0.011 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 116 | -0.008 | 0.048 | 0.005 | 0.001 | 0.001 | 0.000 |  | 68 | -0.027 | 0.028 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 117 | -0.006 | -0.046 | 0.005 | -0.001 | 0.001 | 0.000 |  | 69 | -0.009 | -0.013 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 106 | 0.009 | -0.043 | 0.005 | -0.001 | -0.001 | 0.000 |  | 58 | 0.027 | -0.026 | 0.005 | -0.001 | -0.001 | 0.000 |
| 22 | 106 | 0.010 | 0.044 | 0.005 | 0.001 | -0.001 | 0.000 | 46 | 58 | 0.012 | 0.015 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 117 | -0.005 | 0.046 | 0.005 | 0.001 | 0.001 | 0.000 |  | 69 | -0.023 | 0.028 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 118 | -0.009 | -0.048 | 0.005 | -0.001 | 0.001 | 0.000 |  | 70 | -0.011 | -0.017 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 107 | 0.006 | -0.041 | 0.005 | -0.001 | -0.001 | 0.000 |  | 59 | 0.024 | -0.025 | 0.005 | -0.001 | -0.001 | 0.000 |
| 23 | 107 | 0.011 | 0.039 | 0.005 | 0.001 | -0.001 | 0.000 | 47 | 59 | 0.015 | 0.020 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 118 | 0.000 | 0.035 | 0.005 | 0.001 | 0.001 | 0.000 |  | 70 | -0.022 | 0.033 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 119 | -0.009 | -0.043 | 0.005 | -0.001 | 0.001 | 0.000 |  | 71 | -0.014 | -0.026 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 108 | 0.001 | -0.032 | 0.005 | -0.001 | -0.001 | 0.000 |  | 60 | 0.023 | -0.028 | 0.005 | -0.001 | -0.001 | 0.000 |
| 24 | 108 | 0.009 | 0.030 | 0.005 | 0.001 | -0.001 | 0.000 | 48 | 60 | 0.019 | 0.025 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 119 | 0.008 | 0.019 | 0.005 | 0.001 | 0.001 | 0.000 |  | 71 | -0.020 | 0.035 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 120 | -0.007 | -0.032 | 0.005 | -0.001 | 0.001 | 0.000 |  | 72 | -0.018 | -0.033 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 109 | -0.007 | -0.017 | 0.005 | -0.001 | -0.001 | 0.000 |  | 61 | 0.021 | -0.028 | 0.005 | -0.001 | -0.001 | 0.000 |
| 25 | 109 | 0.001 | 0.020 | 0.005 | 0.001 | -0.001 | 0.000 | 49 | 61 | 0.023 | 0.029 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 120 | 0.010 | 0.007 | 0.005 | 0.001 | 0.001 | 0.000 |  | 72 | -0.016 | 0.032 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 121 | 0.001 | -0.015 | 0.005 | -0.001 | 0.001 | 0.000 |  | 73 | -0.022 | -0.036 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 110 | -0.009 | -0.012 | 0.005 | -0.001 | -0.001 | 0.000 |  | 62 | 0.017 | -0.025 | 0.005 | -0.001 | -0.001 | 0.000 |
| 26 | 110 | -0.009 | 0.006 | 0.005 | 0.001 | -0.001 | 0.000 | 50 | 62 | 0.025 | 0.029 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 121 | 0.014 | -0.002 | 0.005 | 0.001 | 0.001 | 0.000 |  | 73 | -0.012 | 0.025 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 122 | 0.013 | -0.001 | 0.005 | -0.001 | 0.001 | 0.000 |  | 74 | -0.025 | -0.035 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 111 | -0.015 | -0.003 | 0.005 | -0.001 | -0.001 | 0.000 |  | 63 | 0.013 | -0.019 | 0.005 | -0.001 | -0.001 | 0.000 |
| 27 | 79 | -0.016 | -0.050 | 0.005 | 0.001 | -0.001 | 0.000 | 51 | 63 | 0.027 | 0.028 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 102 | 0.141 | -0.108 | 0.005 | 0.001 | 0.001 | 0.000 |  | 74 | -0.008 | 0.017 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 103 | 0.016 | 0.002 | 0.005 | -0.001 | 0.001 | 0.000 |  | 75 | -0.026 | -0.031 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 80 | -0.139 | 0.155 | 0.005 | -0.001 | -0.001 | 0.000 |  | 64 | 0.010 | -0.013 | 0.005 | -0.001 | -0.001 | 0.000 |
| 28 | 80 | 0.031 | 0.087 | 0.005 | 0.001 | -0.001 | 0.000 | 52 | 64 | 0.029 | 0.026 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 103 | 0.125 | -0.056 | 0.005 | 0.001 | 0.001 | 0.000 |  | 75 | -0.008 | 0.013 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 104 | -0.029 | -0.074 | 0.005 | -0.001 | 0.001 | 0.000 |  | 76 | -0.028 | -0.029 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 81 | -0.125 | 0.044 | 0.005 | -0.001 | -0.001 | 0.000 |  | 65 | 0.009 | -0.010 | 0.005 | -0.001 | -0.001 | 0.000 |
| 29 | 81 | 0.026 | 0.133 | 0.005 | 0.001 | -0.001 | 0.000 | 53 | 65 | 0.028 | 0.020 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 104 | 0.092 | -0.004 | 0.005 | 0.001 | 0.001 | 0.000 |  | 76 | 0.001 | 0.001 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 105 | -0.025 | -0.094 | 0.005 | -0.001 | 0.001 | 0.000 |  | 77 | -0.023 | -0.024 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 82 | -0.091 | -0.035 | 0.005 | -0.001 | -0.001 | 0.000 |  | 66 | -0.003 | 0.002 | 0.005 | -0.001 | -0.001 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 54 | 46 | 0.039 | 0.036 | 0.005 | 0.001 | -0.001 | 0.000 | 78 | 19 | 0.014 | 0.064 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 57 | 0.005 | -0.001 | 0.005 | 0.001 | 0.001 | 0.000 |  | 41 | 0.128 | -0.038 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 58 | -0.036 | -0.034 | 0.005 | -0.001 | 0.001 | 0.000 |  | 42 | -0.016 | -0.080 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 47 | -0.005 | -0.001 | 0.005 | -0.001 | -0.001 | 0.000 |  | 20 | -0.123 | 0.054 | 0.005 | -0.001 | -0.001 | 0.000 |
| 55 | 47 | 0.035 | 0.038 | 0.005 | 0.001 | -0.001 | 0.000 | 79 | 20 | -0.022 | -0.007 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 58 | 0.004 | 0.003 | 0.005 | 0.001 | 0.001 | 0.000 |  | 42 | 0.132 | -0.145 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 59 | -0.033 | -0.034 | 0.005 | -0.001 | 0.001 | 0.000 |  | 43 | 0.021 | 0.051 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 48 | -0.003 | -0.007 | 0.005 | -0.001 | -0.001 | 0.000 |  | 21 | -0.128 | 0.100 | 0.005 | -0.001 | -0.001 | 0.000 |
| 56 | 48 | 0.030 | 0.040 | 0.005 | 0.001 | -0.001 | 0.000 | 80 | 21 | -0.057 | -0.058 | 0.005 | 0.001 | -0.001 | 0.000 |
|  | 59 | -0.002 | 0.012 | 0.005 | 0.001 | 0.001 | 0.000 |  | 43 | 0.096 | -0.158 | 0.005 | 0.001 | 0.001 | 0.000 |
|  | 60 | -0.029 | -0.034 | 0.005 | -0.001 | 0.001 | 0.000 |  | 127 | 0.049 | 0.125 | 0.005 | -0.001 | 0.001 | 0.000 |
|  | 49 | 0.003 | -0.018 | 0.005 | -0.001 | -0.001 | 0.000 |  | 22 | -0.086 | 0.091 | 0.005 | -0.001 | -0.001 | 0.000 |
| 57 | 49 | 0.023 | 0.038 | 0.005 | 0.001 | -0.001 | 0.000 | Load case 4 (Linear): WIND COLS MINOR (S) |  |  |  |  |  |  |  |
|  | 60 | -0.010 | 0.021 | 0.005 | 0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | -0.022 | -0.030 | 0.005 | -0.001 | 0.001 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 50 | 0.011 | -0.029 | 0.005 | -0.001 | -0.001 | 0.000 | 1 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 50 | 0.014 | 0.031 | 0.005 | 0.001 | -0.001 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | -0.019 | 0.029 | 0.005 | 0.001 | 0.001 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | -0.013 | -0.023 | 0.005 | -0.001 | 0.001 | 0.000 |  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.020 | -0.037 | 0.005 | -0.001 | -0.001 | 0.000 | 2 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 51 | 0.006 | 0.021 | 0.005 | 0.001 | -0.001 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | -0.027 | 0.033 | 0.005 | 0.001 | 0.001 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | -0.005 | -0.014 | 0.005 | -0.001 | 0.001 | 0.000 |  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.028 | -0.040 | 0.005 | -0.001 | -0.001 | 0.000 | 3 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 52 | 0.000 | 0.009 | 0.005 | 0.001 | -0.001 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | -0.032 | 0.034 | 0.005 | 0.001 | 0.001 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | -0.006 | 0.005 | -0.001 | 0.001 | 0.000 |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.034 | -0.037 | 0.005 | -0.001 | -0.001 | 0.000 | 4 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 53 | -0.002 | 0.002 | 0.005 | 0.001 | -0.001 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.038 | 0.036 | 0.005 | 0.001 | 0.001 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.001 | -0.001 | 0.005 | -0.001 | 0.001 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.041 | -0.038 | 0.005 | -0.001 | -0.001 | 0.000 | 5 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 54 | 0.001 | -0.001 | 0.005 | 0.001 | -0.001 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.031 | 0.023 | 0.005 | 0.001 | 0.001 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.003 | 0.003 | 0.005 | -0.001 | 0.001 | 0.000 |  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.029 | -0.025 | 0.005 | -0.001 | -0.001 | 0.000 | 6 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 35 | 0.029 | -0.031 | 0.005 | 0.001 | -0.001 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.130 | -0.118 | 0.005 | 0.001 | 0.001 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.022 | -0.017 | 0.005 | -0.001 | 0.001 | 0.000 |  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.135 | 0.166 | 0.005 | -0.001 | -0.001 | 0.000 | 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 36 | 0.056 | 0.101 | 0.005 | 0.001 | -0.001 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.128 | -0.066 | 0.005 | 0.001 | 0.001 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.050 | -0.087 | 0.005 | -0.001 | 0.001 | 0.000 |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.131 | 0.053 | 0.005 | -0.001 | -0.001 | 0.000 | 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 37 | 0.036 | 0.142 | 0.005 | 0.001 | -0.001 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.098 | -0.011 | 0.005 | 0.001 | 0.001 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.032 | -0.100 | 0.005 | -0.001 | 0.001 | 0.000 |  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.099 | -0.031 | 0.005 | -0.001 | -0.001 | 0.000 | 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 38 | -0.003 | 0.134 | 0.005 | 0.001 | -0.001 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.055 | 0.040 | 0.005 | 0.001 | 0.001 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.005 | -0.082 | 0.005 | -0.001 | 0.001 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.055 | -0.092 | 0.005 | -0.001 | -0.001 | 0.000 | 10 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 39 | -0.048 | 0.098 | 0.005 | 0.001 | -0.001 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.010 | 0.080 | 0.005 | 0.001 | 0.001 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.048 | -0.045 | 0.005 | -0.001 | 0.001 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.008 | -0.132 | 0.005 | -0.001 | -0.001 | 0.000 | 11 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 40 | -0.092 | 0.040 | 0.005 | 0.001 | -0.001 | 0.000 |  | 34 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.029 | 0.102 | 0.005 | 0.001 | 0.001 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.090 | 0.002 | 0.005 | -0.001 | 0.001 | 0.000 |  | 13 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.033 | -0.144 | 0.005 | -0.001 | -0.001 | 0.000 | 12 | 34 | 0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 41 | -0.124 | -0.040 | 0.005 | 0.001 | -0.001 | 0.000 |  | 45 | -0.004 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.051 | 0.093 | 0.005 | 0.001 | 0.001 | 0.000 |  | 46 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.120 | 0.056 | 0.005 | -0.001 | 0.001 | 0.000 |  | 35 | 0.003 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.057 | -0.109 | 0.005 | -0.001 | -0.001 | 0.000 | 13 | 45 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | 42 | -0.130 | -0.151 | 0.005 | 0.001 | -0.001 | 0.000 |  | 56 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.031 | 0.029 | 0.005 | 0.001 | 0.001 | 0.000 |  | 57 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.124 | 0.108 | 0.005 | -0.001 | 0.001 | 0.000 |  | 46 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.039 | 0.014 | 0.005 | -0.001 | -0.001 | 0.000 | 14 | 56 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 43 | -0.070 | -0.151 | 0.005 | 0.001 | -0.001 | 0.000 |  | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.019 | -0.042 | 0.005 | 0.001 | 0.001 | 0.000 |  | 68 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.067 | 0.085 | 0.005 | -0.001 | 0.001 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | -0.014 | 0.109 | 0.005 | -0.001 | -0.001 | 0.000 | 15 | 67 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 13 | -0.130 | -0.103 | 0.005 | 0.001 | -0.001 | 0.000 |  | 78 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.019 | -0.059 | 0.005 | 0.001 | 0.001 | 0.000 |  | 79 | 0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.134 | 0.152 | 0.005 | -0.001 | 0.001 | 0.000 |  | 68 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.021 | 0.010 | 0.005 | -0.001 | -0.001 | 0.000 | 16 | 78 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 14 | -0.124 | -0.055 | 0.005 | 0.001 | -0.001 | 0.000 |  | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.018 | 0.081 | 0.005 | 0.001 | 0.001 | 0.000 |  | 102 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.129 | 0.040 | 0.005 | -0.001 | 0.001 | 0.000 |  | 79 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.015 | -0.066 | 0.005 | -0.001 | -0.001 | 0.000 | 17 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 15 | -0.099 | -0.008 | 0.005 | 0.001 | -0.001 | 0.000 |  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.006 | 0.126 | 0.005 | 0.001 | 0.001 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.103 | -0.035 | 0.005 | -0.001 | 0.001 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.005 | -0.083 | 0.005 | -0.001 | -0.001 | 0.000 | 18 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 16 | -0.064 | 0.034 | 0.005 | 0.001 | -0.001 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.026 | 0.123 | 0.005 | 0.001 | 0.001 | 0.000 |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.066 | -0.088 | 0.005 | -0.001 | 0.001 | 0.000 |  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | -0.025 | -0.068 | 0.005 | -0.001 | -0.001 | 0.000 | 19 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 17 | -0.027 | 0.065 | 0.005 | 0.001 | -0.001 | 0.000 |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.065 | 0.090 | 0.005 | 0.001 | 0.001 | 0.000 |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.027 | -0.120 | 0.005 | -0.001 | 0.001 | 0.000 |  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | -0.063 | -0.035 | 0.005 | -0.001 | -0.001 | 0.000 | 20 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 18 | 0.003 | 0.079 | 0.005 | 0.001 | -0.001 | 0.000 |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.102 | 0.036 | 0.005 | 0.001 | 0.001 | 0.000 |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | -0.004 | -0.123 | 0.005 | -0.001 | 0.001 | 0.000 |  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | -0.099 | 0.008 | 0.005 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 21 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 45 | 57 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 79 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 80 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 65 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 46 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 85 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 86 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 87 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 125 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 68 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 52 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 69 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 53 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 70 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 54 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 36 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 37 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 74 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 75 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 39 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 76 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 40 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.003 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 125 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | -0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 69 | 41 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 34 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | 42 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 45 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | -0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 43 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 56 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 67 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.003 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 67 | -0.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 78 | 0.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.005 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 78 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 101 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 78 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 79 | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 80 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 119 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 5 (Linear): WIND COLS MINOR (U) |  |  |  |  | 24 |  |  |  | 108 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 3 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 111 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 79 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 80 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 83 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 84 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 85 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 109 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 86 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 110 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 87 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 110 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 111 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 125 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 36 | 68 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 52 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 69 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 53 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 70 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 54 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.004 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.004 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 36 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 37 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 74 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 38 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 75 | -0.003 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 39 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.003 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 76 | -0.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 40 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 125 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 57 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 41 | 0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 58 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 42 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | -0.003 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | -0.004 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.003 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 43 | 0.005 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | -0.005 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 127 | 0.005 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 13 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 14 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 65 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 46 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.002 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.002 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 47 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 20 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 127 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 6 (Linear): POINT LOAD |  |  |  |  |  |  |  |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 1 | 0.028 | 0.023 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.043 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | -0.030 | -0.023 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 2 | -0.041 | 0.037 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 2 | 0.049 | 0.031 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 51 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.060 | -0.059 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | -0.050 | -0.032 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | -0.058 | 0.061 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | 3 | 0.050 | 0.022 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 79 | -0.314 | -0.283 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.058 | -0.066 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.392 | -0.219 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | -0.050 | -0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.321 | 0.148 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 4 | -0.058 | 0.069 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | -0.399 | 0.354 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 4 | 0.036 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 80 | -0.224 | 0.034 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.045 | -0.061 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.437 | -0.143 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | -0.037 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.256 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | -0.044 | 0.066 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | -0.470 | 0.147 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 5 | 0.011 | -0.024 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 81 | -0.296 | 0.157 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.019 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.478 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | -0.011 | 0.018 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.331 | -0.082 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 6 | -0.019 | 0.049 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | -0.513 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 6 | -0.018 | -0.048 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 82 | -0.403 | 0.178 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | -0.010 | -0.018 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.481 | 0.007 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.018 | 0.041 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.412 | -0.072 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.010 | 0.024 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | -0.491 | -0.113 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | -0.043 | -0.064 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 83 | -0.476 | 0.128 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | -0.037 | 0.008 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.424 | 0.066 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.044 | 0.058 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.467 | -0.020 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 8 | 0.036 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | -0.415 | -0.174 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | -0.056 | -0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 84 | -0.499 | 0.028 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | -0.052 | 0.028 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.338 | 0.087 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.057 | 0.063 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.464 | 0.050 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.051 | -0.024 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | -0.303 | -0.165 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | 9 | -0.059 | -0.060 | 0.000 | 0.000 | 0.000 | 0.000 | 33 | 85 | -0.459 | -0.111 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | -0.054 | 0.036 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.254 | 0.054 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.061 | 0.059 | 0.000 | 0.000 | 0.000 | 0.000 |  | 109 | 0.426 | 0.118 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 10 | 0.052 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | -0.222 | -0.061 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | 10 | -0.043 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 | 34 | 86 | -0.402 | -0.311 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | -0.033 | 0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 109 | 0.296 | -0.109 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.045 | 0.038 | 0.000 | 0.000 | 0.000 | 0.000 |  | 110 | 0.394 | 0.195 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 11 | 0.031 | -0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | -0.288 | 0.225 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | 12 | 0.044 | 0.061 | 0.000 | 0.000 | 0.000 | 0.000 | 35 | 87 | -0.301 | -0.346 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.068 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 110 | 0.327 | -0.214 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.048 | -0.092 | 0.000 | 0.000 | 0.000 | 0.000 |  | 111 | 0.248 | 0.188 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.064 | 0.033 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | -0.274 | 0.372 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | 34 | 0.086 | 0.096 | 0.000 | 0.000 | 0.000 | 0.000 | 36 | 68 | -0.374 | -0.289 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 45 | -0.039 | 0.028 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.049 | -0.137 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.081 | -0.066 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | 0.422 | 0.407 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.034 | -0.058 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | -0.097 | 0.019 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 45 | -0.013 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 37 | 69 | -0.453 | -0.206 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.027 | -0.011 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | 0.086 | 0.119 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.019 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | 0.485 | 0.190 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.033 | 0.015 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | -0.118 | -0.103 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 56 | -0.099 | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 38 | 70 | -0.445 | -0.097 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.061 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | 0.177 | 0.223 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.108 | 0.029 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.466 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.070 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | -0.198 | -0.130 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | 67 | -0.197 | -0.180 | 0.000 | 0.000 | 0.000 | 0.000 | 39 | 71 | -0.392 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.176 | -0.322 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.288 | 0.222 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.197 | 0.335 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.400 | -0.132 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | -0.176 | 0.167 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | -0.296 | -0.094 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | 78 | -0.300 | -0.394 | 0.000 | 0.000 | 0.000 | 0.000 | 40 | 72 | -0.302 | 0.087 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.230 | -0.177 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.396 | 0.138 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.352 | 0.231 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.294 | -0.215 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 79 | -0.282 | 0.340 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | -0.388 | -0.010 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | 101 | -0.232 | -0.133 | 0.000 | 0.000 | 0.000 | 0.000 | 41 | 73 | -0.204 | 0.125 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.043 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.464 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.224 | 0.196 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.184 | -0.220 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 102 | -0.036 | -0.024 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | -0.444 | 0.093 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | 102 | -0.306 | -0.193 | 0.000 | 0.000 | 0.000 | 0.000 | 42 | 74 | -0.119 | 0.107 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 113 | -0.049 | 0.015 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.489 | -0.180 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.311 | 0.283 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.088 | -0.132 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.044 | -0.105 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | -0.457 | 0.205 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 103 | -0.350 | -0.176 | 0.000 | 0.000 | 0.000 | 0.000 | 43 | 75 | -0.092 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | -0.124 | 0.177 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.430 | -0.386 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.354 | 0.222 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.048 | 0.098 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.119 | -0.223 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | -0.385 | 0.288 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 104 | -0.255 | 0.010 | 0.000 | 0.000 | 0.000 | 0.000 | 44 | 76 | -0.173 | -0.152 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | -0.154 | 0.456 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.224 | -0.349 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.257 | -0.107 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.174 | 0.302 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.152 | -0.360 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | -0.225 | 0.199 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 105 | -0.103 | 0.187 | 0.000 | 0.000 | 0.000 | 0.000 | 45 | 57 | -0.134 | -0.044 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.043 | 0.459 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.103 | -0.011 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.108 | -0.329 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | 0.158 | 0.036 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.039 | -0.316 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | -0.127 | 0.019 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 106 | 0.042 | 0.312 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | 58 | -0.182 | -0.046 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.113 | 0.328 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | 0.178 | -0.032 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | -0.047 | -0.453 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | 0.200 | 0.035 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | -0.108 | -0.186 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | -0.196 | 0.044 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 107 | 0.154 | 0.351 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | 59 | -0.217 | -0.046 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.262 | 0.100 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | 0.227 | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | -0.156 | -0.447 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.229 | 0.028 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | -0.260 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | -0.239 | 0.056 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 108 | 0.121 | 0.218 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | 60 | -0.244 | -0.051 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.359 | -0.233 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.249 | -0.032 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | -0.126 | -0.172 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.249 | 0.028 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | -0.354 | 0.187 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | -0.253 | 0.055 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 109 | 0.043 | 0.105 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 61 | -0.250 | -0.051 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.308 | -0.284 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.252 | -0.030 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | -0.048 | -0.013 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.245 | 0.027 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | -0.303 | 0.193 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | -0.248 | 0.054 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 110 | -0.036 | 0.023 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 62 | -0.234 | -0.050 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.222 | -0.197 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.232 | -0.030 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 122 | 0.044 | 0.038 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.222 | 0.030 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | -0.230 | 0.136 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | -0.220 | 0.049 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 51 | 63 | -0.189 | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 16 | 0.027 | -0.019 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.204 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.023 | -0.084 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.170 | 0.024 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | -0.027 | 0.042 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.186 | 0.050 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | -0.022 | 0.062 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 64 | -0.124 | -0.016 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 17 | -0.025 | -0.062 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.161 | -0.039 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | -0.031 | -0.038 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.101 | 0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.025 | 0.084 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.138 | 0.048 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.030 | 0.016 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 65 | -0.072 | -0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 18 | -0.071 | -0.093 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.115 | -0.033 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | -0.079 | 0.016 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.064 | -0.004 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.073 | 0.109 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | -0.107 | 0.042 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.076 | -0.032 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 46 | -0.019 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 19 | -0.096 | -0.098 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.069 | -0.031 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | -0.105 | 0.069 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.034 | -0.012 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.100 | 0.100 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.084 | 0.038 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.101 | -0.071 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 47 | -0.053 | -0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 20 | -0.091 | -0.066 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.116 | -0.047 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | -0.103 | 0.126 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.066 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.098 | 0.038 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.129 | 0.057 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.096 | -0.098 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 48 | -0.087 | -0.016 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | 21 | -0.057 | -0.021 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.144 | -0.052 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | -0.044 | 0.100 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.095 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 |  | 127 | 0.060 | -0.014 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.151 | 0.065 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.041 | -0.065 | 0.000 | 0.000 | 0.000 | 0.000 |
| 57 | 49 | -0.120 | -0.036 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 7 (Linear): WIND COLS MAJOR (S) |  |  |  |  |  |  |  |
|  | 60 | 0.144 | -0.042 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | 0.123 | 0.021 | 0.000 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 50 | -0.147 | 0.056 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 58 | 50 | -0.141 | -0.050 | 0.000 | 0.000 | 0.000 | 0.000 |  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.128 | -0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.138 | 0.036 | 0.000 | 0.000 | 0.000 | 0.000 |  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.125 | 0.040 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 59 | 51 | -0.144 | -0.057 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.098 | -0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.136 | 0.045 | 0.000 | 0.000 | 0.000 | 0.000 |  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.090 | 0.019 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 60 | 52 | -0.120 | -0.048 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.067 | 0.005 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.107 | 0.039 | 0.000 | 0.000 | 0.000 | 0.000 |  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.054 | 0.004 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 61 | 53 | -0.077 | -0.032 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.031 | 0.012 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.061 | 0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.016 | -0.006 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 62 | 54 | -0.025 | -0.011 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.015 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.020 | 0.007 | 0.000 | 0.000 | 0.000 | 0.000 |  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 63 | 35 | 0.065 | 0.069 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.014 | 0.009 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.057 | -0.052 | 0.000 | 0.000 | 0.000 | 0.000 |  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.006 | -0.027 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 64 | 36 | 0.024 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.014 | -0.022 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.019 | -0.010 | 0.000 | 0.000 | 0.000 | 0.000 |  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.019 | 0.034 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 65 | 37 | 0.003 | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.032 | -0.041 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.011 | 0.000 | 0.000 | 0.000 | 0.000 |  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.034 | 0.067 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 66 | 38 | -0.015 | -0.058 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.033 | -0.043 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.016 | 0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.034 | 0.075 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 39 | -0.024 | -0.065 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.024 | -0.034 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.023 | 0.033 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.023 | 0.066 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 40 | -0.023 | -0.055 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.005 | -0.015 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.020 | 0.029 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | -0.002 | 0.040 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 34 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 41 | -0.006 | -0.019 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.019 | 0.011 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.010 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.025 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | 42 | 0.018 | 0.044 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.069 | 0.064 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.028 | -0.020 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.079 | -0.088 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 43 | 0.047 | 0.072 | 0.000 | 0.000 | 0.000 | 0.000 |  | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | -0.103 | 0.084 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | -0.055 | -0.037 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.110 | -0.120 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 13 | 0.092 | 0.087 | 0.000 | 0.000 | 0.000 | 0.000 |  | 78 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.102 | -0.055 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.099 | -0.109 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.096 | 0.077 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 78 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 14 | 0.096 | 0.062 | 0.000 | 0.000 | 0.000 | 0.000 |  | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.102 | -0.111 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.100 | -0.057 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | -0.098 | 0.105 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 15 | 0.071 | 0.026 | 0.000 | 0.000 | 0.000 | 0.000 |  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.073 | -0.115 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.074 | -0.008 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | -0.071 | 0.097 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 42 | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 85 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 43 | 75 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 86 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 44 | 76 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 87 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 125 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 45 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | 79 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | 80 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 77 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | 84 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | 85 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 86 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 87 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 125 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 66 | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 67 | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 10 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 11 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 68 | 40 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | 12 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 34 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 13 | 0.001 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 69 | 41 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 34 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | -0.002 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 70 | 42 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 45 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 71 | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 56 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 67 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 72 | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 15 | 67 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 78 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 68 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 73 | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 16 | 78 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 101 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 79 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 74 | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 17 | 101 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 112 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 75 | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 18 | 102 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 38 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 113 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 76 | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 19 | 103 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 39 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 114 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 77 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 20 | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 40 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 115 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 78 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 21 | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 116 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 79 | 20 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 22 | 106 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 117 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 80 | 21 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 23 | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 118 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Load case 8 (Linear): WIND COLS MAJOR (U) |  |  |  |  | 24 |  |  |  | 108 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 12 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 25 | 109 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 120 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 2 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 26 | 110 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 121 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 122 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 3 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 111 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 27 | 79 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 102 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | 4 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 80 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 28 | 80 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 103 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | 5 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 81 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 29 | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 104 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | 6 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 82 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 30 | 82 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 105 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 83 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 31 | 83 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 106 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 84 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 32 | 84 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 107 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 108 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 33 | 85 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | 86 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 50 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.001 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | 87 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 51 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 111 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 125 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | 68 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | 69 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 53 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | 70 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 54 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | 71 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 46 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 36 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 47 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 41 | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 37 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 84 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 48 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 42 | 74 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 38 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 49 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 43 | 75 | -0.001 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 39 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |  | 50 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 44 | 76 | -0.001 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 40 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 51 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 125 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 45 | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 41 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 52 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 46 | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 42 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 53 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
| 47 | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 43 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 54 | 0.002 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 55 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 127 | -0.002 | 0.003 | 0.000 | 0.000 | 0.000 | 0.000 |
| 48 | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 13 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 35 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 14 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 49 | 61 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 14 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 36 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 15 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 50 | 62 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 15 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 37 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 16 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 51 | 63 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 16 | 0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 38 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 17 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 52 | 64 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 17 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 39 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 18 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 53 | 65 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 18 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 40 | 0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 19 | -0.001 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 54 | 46 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 19 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 41 | 0.000 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 20 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 55 | 47 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 20 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 42 | 0.000 | -0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 21 | 0.000 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
| 56 | 48 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | 21 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 43 | -0.001 | -0.001 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 127 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  | 22 | 0.001 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Load case 10 (Linear): COMB 1 (1)	Plate Node	Fx	Fy	Fz	Mx	My	Mz

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | 25 | 109 | -0.004 | 0.021 | 0.002 | 0.000 | 0.000 | 0.000 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 120 | 0.018 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |
| 1 | 1 | -0.019 | -0.007 | 0.003 | 0.000 | 0.000 | 0.000 |  | 121 | 0.006 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 12 | -0.005 | 0.018 | 0.003 | 0.000 | 0.000 | 0.000 |  | 110 | -0.018 | -0.010 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.022 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 2 | 0.003 | -0.013 | 0.002 | 0.000 | 0.000 | 0.000 | 26 | 110 | -0.017 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 121 | 0.021 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 2 | 2 | -0.012 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 122 | 0.020 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.009 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 |  | 111 | -0.023 | -0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.012 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 3 | -0.008 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 | 27 | 79 | -0.032 | -0.060 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 102 | 0.170 | -0.125 | 0.003 | 0.000 | 0.000 | 0.000 |
| 3 | 3 | -0.008 | 0.003 | 0.003 | 0.000 | 0.000 | 0.000 |  | 103 | 0.029 | 0.007 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.011 | 0.008 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | -0.166 | 0.179 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.009 | -0.009 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 4 | -0.010 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 | 28 | 80 | 0.027 | 0.096 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 103 | 0.148 | -0.065 | 0.003 | 0.000 | 0.000 | 0.000 |
| 4 | 4 | -0.009 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 104 | -0.026 | -0.082 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.008 | 0.014 | 0.003 | 0.000 | 0.000 | 0.000 |  | 81 | -0.148 | 0.051 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.009 | -0.012 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 5 | -0.008 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 | 29 | 81 | 0.023 | 0.148 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 104 | 0.109 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 5 | 5 | -0.008 | 0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 105 | -0.022 | -0.104 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.008 | 0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  | 82 | -0.109 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.009 | -0.016 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 6 | -0.008 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 | 30 | 82 | -0.009 | 0.146 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 105 | 0.062 | 0.048 | 0.002 | 0.000 | 0.000 | 0.000 |
| 6 | 6 | -0.007 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  | 106 | 0.010 | -0.090 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 17 | 0.009 | 0.016 | 0.002 | 0.000 | 0.000 | 0.000 |  | 83 | -0.061 | -0.103 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.007 | -0.018 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 7 | -0.009 | -0.005 | 0.003 | 0.000 | 0.000 | 0.000 | 31 | 83 | -0.054 | 0.110 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 106 | 0.016 | 0.088 | 0.002 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | -0.007 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  | 107 | 0.054 | -0.054 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.010 | 0.013 | 0.002 | 0.000 | 0.000 | 0.000 |  | 84 | -0.016 | -0.144 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.007 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 8 | -0.009 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 | 32 | 84 | -0.101 | 0.051 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 107 | -0.019 | 0.107 | 0.002 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | -0.009 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |  | 108 | 0.101 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.009 | 0.010 | 0.002 | 0.000 | 0.000 | 0.000 |  | 85 | 0.019 | -0.153 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.010 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 9 | -0.009 | -0.003 | 0.003 | 0.000 | 0.000 | 0.000 | 33 | 85 | -0.141 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 108 | -0.027 | 0.091 | 0.002 | 0.000 | 0.000 | 0.000 |
| 9 | 9 | -0.009 | 0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 109 | 0.142 | 0.052 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.011 | 0.008 | 0.002 | 0.000 | 0.000 | 0.000 |  | 86 | 0.027 | -0.110 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.010 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 10 | -0.011 | -0.004 | 0.003 | 0.000 | 0.000 | 0.000 | 34 | 86 | -0.167 | -0.155 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 109 | 0.016 | 0.015 | 0.002 | 0.000 | 0.000 | 0.000 |
| 10 | 10 | 0.002 | 0.012 | 0.002 | 0.000 | 0.000 | 0.000 |  | 110 | 0.170 | 0.112 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.022 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 87 | -0.018 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 22 | -0.004 | -0.016 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 11 | -0.019 | 0.008 | 0.003 | 0.000 | 0.000 | 0.000 | 35 | 87 | -0.143 | -0.194 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 110 | 0.086 | -0.070 | 0.003 | 0.000 | 0.000 | 0.000 |
| 11 | 12 | -0.100 | -0.099 | 0.002 | 0.000 | 0.000 | 0.000 |  | 111 | 0.142 | 0.117 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.065 | -0.152 | 0.003 | 0.000 | 0.000 | 0.000 |  | 125 | -0.084 | 0.147 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.105 | 0.179 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 13 | -0.070 | 0.072 | 0.002 | 0.000 | 0.000 | 0.000 | 36 | 68 | -0.132 | -0.113 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 79 | -0.025 | -0.033 | 0.003 | 0.000 | 0.000 | 0.000 |
| 12 | 34 | -0.027 | -0.132 | 0.002 | 0.000 | 0.000 | 0.000 |  | 80 | 0.139 | 0.164 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.078 | -0.098 | 0.002 | 0.000 | 0.000 | 0.000 |  | 69 | 0.018 | -0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.030 | 0.054 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 35 | -0.080 | 0.176 | 0.003 | 0.000 | 0.000 | 0.000 | 37 | 69 | -0.127 | -0.058 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 80 | -0.051 | 0.110 | 0.003 | 0.000 | 0.000 | 0.000 |
| 13 | 45 | 0.032 | 0.029 | 0.002 | 0.000 | 0.000 | 0.000 |  | 81 | 0.132 | 0.041 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.008 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  | 70 | 0.047 | -0.094 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.031 | -0.027 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 46 | -0.007 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 | 38 | 70 | -0.096 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 81 | -0.032 | 0.154 | 0.003 | 0.000 | 0.000 | 0.000 |
| 14 | 56 | -0.003 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 82 | 0.098 | -0.045 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 67 | -0.025 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 |  | 71 | 0.031 | -0.108 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.003 | -0.003 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 57 | 0.026 | -0.024 | 0.002 | 0.000 | 0.000 | 0.000 | 39 | 71 | -0.052 | 0.049 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 82 | 0.006 | 0.148 | 0.003 | 0.000 | 0.000 | 0.000 |
| 15 | 67 | -0.080 | -0.094 | 0.002 | 0.000 | 0.000 | 0.000 |  | 83 | 0.053 | -0.106 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.033 | -0.133 | 0.003 | 0.000 | 0.000 | 0.000 |  | 72 | -0.006 | -0.090 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.083 | 0.172 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 68 | -0.035 | 0.055 | 0.002 | 0.000 | 0.000 | 0.000 | 40 | 72 | -0.008 | 0.086 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 83 | 0.051 | 0.110 | 0.003 | 0.000 | 0.000 | 0.000 |
| 16 | 78 | -0.098 | -0.162 | 0.002 | 0.000 | 0.000 | 0.000 |  | 84 | 0.009 | -0.144 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.134 | -0.115 | 0.002 | 0.000 | 0.000 | 0.000 |  | 73 | -0.050 | -0.052 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.099 | 0.082 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 79 | -0.135 | 0.195 | 0.003 | 0.000 | 0.000 | 0.000 | 41 | 73 | 0.028 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 84 | 0.097 | 0.049 | 0.003 | 0.000 | 0.000 | 0.000 |
| 17 | 101 | -0.024 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  | 85 | -0.029 | -0.153 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.021 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 74 | -0.095 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.022 | 0.007 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 102 | -0.018 | -0.003 | 0.002 | 0.000 | 0.000 | 0.000 | 42 | 74 | 0.047 | 0.095 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 85 | 0.133 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
| 18 | 102 | -0.020 | 0.006 | 0.002 | 0.000 | 0.000 | 0.000 |  | 86 | -0.051 | -0.116 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.006 | 0.013 | 0.002 | 0.000 | 0.000 | 0.000 |  | 75 | -0.129 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.020 | 0.000 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 103 | -0.004 | -0.019 | 0.002 | 0.000 | 0.000 | 0.000 | 43 | 75 | 0.022 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 86 | 0.142 | -0.152 | 0.002 | 0.000 | 0.000 | 0.000 |
| 19 | 103 | -0.014 | 0.017 | 0.002 | 0.000 | 0.000 | 0.000 |  | 87 | -0.027 | 0.014 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 114 | -0.004 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 76 | -0.136 | 0.111 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.014 | -0.018 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 104 | 0.005 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 | 44 | 76 | -0.031 | -0.046 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 87 | 0.097 | -0.179 | 0.002 | 0.000 | 0.000 | 0.000 |
| 20 | 104 | -0.004 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 125 | 0.029 | 0.122 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 115 | -0.007 | 0.049 | 0.002 | 0.000 | 0.000 | 0.000 |  | 77 | -0.095 | 0.103 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.004 | -0.038 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 105 | 0.008 | -0.044 | 0.002 | 0.000 | 0.000 | 0.000 | 45 | 57 | 0.002 | 0.009 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 68 | -0.021 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
| 21 | 105 | 0.004 | 0.046 | 0.002 | 0.000 | 0.000 | 0.000 |  | 69 | 0.001 | -0.011 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.006 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |  | 58 | 0.020 | -0.026 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 117 | -0.003 | -0.052 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 106 | 0.007 | -0.049 | 0.002 | 0.000 | 0.000 | 0.000 | 46 | 58 | 0.001 | 0.012 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 69 | -0.015 | 0.028 | 0.003 | 0.000 | 0.000 | 0.000 |
| 22 | 106 | 0.008 | 0.050 | 0.002 | 0.000 | 0.000 | 0.000 |  | 70 | 0.000 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 117 | -0.002 | 0.052 | 0.002 | 0.000 | 0.000 | 0.000 |  | 59 | 0.015 | -0.025 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 118 | -0.008 | -0.056 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 107 | 0.002 | -0.046 | 0.003 | 0.000 | 0.000 | 0.000 | 47 | 59 | 0.003 | 0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 70 | -0.013 | 0.033 | 0.003 | 0.000 | 0.000 | 0.000 |
| 23 | 107 | 0.009 | 0.046 | 0.002 | 0.000 | 0.000 | 0.000 |  | 71 | -0.002 | -0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.005 | 0.039 | 0.002 | 0.000 | 0.000 | 0.000 |  | 60 | 0.013 | -0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 119 | -0.008 | -0.050 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 108 | -0.005 | -0.035 | 0.003 | 0.000 | 0.000 | 0.000 | 48 | 60 | 0.008 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 71 | -0.009 | 0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
| 24 | 108 | 0.007 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 72 | -0.007 | -0.032 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.015 | 0.019 | 0.002 | 0.000 | 0.000 | 0.000 |  | 61 | 0.010 | -0.027 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 120 | -0.005 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 109 | -0.015 | -0.017 | 0.003 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 49 | 61 | 0.012 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 73 | 14 | -0.132 | -0.058 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.005 | 0.031 | 0.002 | 0.000 | 0.000 | 0.000 |  | 36 | -0.019 | 0.086 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 73 | -0.012 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |  | 37 | 0.136 | 0.042 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.006 | -0.023 | 0.002 | 0.000 | 0.000 | 0.000 |  | 15 | 0.016 | -0.070 | 0.002 | 0.000 | 0.000 | 0.000 |
| 50 | 62 | 0.016 | 0.029 | 0.002 | 0.000 | 0.000 | 0.000 | 74 | 15 | -0.106 | -0.008 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.000 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |  | 37 | -0.007 | 0.136 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 74 | -0.016 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |  | 38 | 0.108 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.001 | -0.017 | 0.002 | 0.000 | 0.000 | 0.000 |  | 16 | 0.006 | -0.089 | 0.002 | 0.000 | 0.000 | 0.000 |
| 51 | 63 | 0.018 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 | 75 | 16 | -0.068 | 0.037 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.003 | 0.014 | 0.002 | 0.000 | 0.000 | 0.000 |  | 38 | 0.027 | 0.133 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 75 | -0.019 | -0.032 | 0.002 | 0.000 | 0.000 | 0.000 |  | 39 | 0.069 | -0.096 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.001 | -0.010 | 0.002 | 0.000 | 0.000 | 0.000 |  | 17 | -0.027 | -0.074 | 0.002 | 0.000 | 0.000 | 0.000 |
| 52 | 64 | 0.022 | 0.026 | 0.002 | 0.000 | 0.000 | 0.000 | 76 | 17 | -0.028 | 0.071 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.002 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 |  | 39 | 0.068 | 0.098 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 76 | -0.023 | -0.030 | 0.002 | 0.000 | 0.000 | 0.000 |  | 40 | 0.028 | -0.130 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.000 | -0.007 | 0.002 | 0.000 | 0.000 | 0.000 |  | 18 | -0.067 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |
| 53 | 65 | 0.027 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 | 77 | 18 | 0.004 | 0.086 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.007 | 0.000 | 0.003 | 0.000 | 0.000 | 0.000 |  | 40 | 0.108 | 0.040 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 77 | -0.025 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | -0.006 | -0.133 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 66 | -0.008 | 0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 19 | -0.105 | 0.007 | 0.003 | 0.000 | 0.000 | 0.000 |
| 54 | 46 | 0.035 | 0.037 | 0.002 | 0.000 | 0.000 | 0.000 | 78 | 19 | 0.014 | 0.068 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.011 | -0.003 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | 0.135 | -0.040 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 58 | -0.033 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |  | 42 | -0.018 | -0.086 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.012 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 20 | -0.131 | 0.057 | 0.003 | 0.000 | 0.000 | 0.000 |
| 55 | 47 | 0.029 | 0.038 | 0.002 | 0.000 | 0.000 | 0.000 | 79 | 20 | -0.025 | -0.009 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.012 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 42 | 0.139 | -0.154 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.027 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |  | 43 | 0.024 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.012 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 21 | -0.137 | 0.107 | 0.003 | 0.000 | 0.000 | 0.000 |
| 56 | 48 | 0.023 | 0.040 | 0.002 | 0.000 | 0.000 | 0.000 | 80 | 21 | -0.065 | -0.064 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.007 | 0.010 | 0.002 | 0.000 | 0.000 | 0.000 |  | 43 | 0.108 | -0.173 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 60 | -0.021 | -0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 127 | 0.060 | 0.137 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.007 | -0.017 | 0.002 | 0.000 | 0.000 | 0.000 |  | 22 | -0.102 | 0.100 | 0.002 | 0.000 | 0.000 | 0.000 |
| 57 | 49 | 0.014 | 0.038 | 0.002 | 0.000 | 0.000 | 0.000 | Load case 20 (Linear): COMB 2 (1+2+4) |  |  |  |  |  |  |  |
|  | 60 | -0.001 | 0.020 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | -0.013 | -0.030 | 0.002 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 50 | 0.002 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 1 | 1 | -0.020 | -0.008 | 0.004 | 0.000 | 0.000 | 0.000 |
| 58 | 50 | 0.005 | 0.031 | 0.002 | 0.000 | 0.000 | 0.000 |  | 12 | -0.005 | 0.020 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 61 | -0.011 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |  | 13 | 0.023 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 62 | -0.005 | -0.022 | 0.002 | 0.000 | 0.000 | 0.000 |  | 2 | 0.003 | -0.014 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.011 | -0.037 | 0.002 | 0.000 | 0.000 | 0.000 | 2 | 2 | -0.013 | 0.003 | 0.004 | 0.000 | 0.000 | 0.000 |
| 59 | 51 | -0.003 | 0.020 | 0.002 | 0.000 | 0.000 | 0.000 |  | 13 | 0.010 | 0.011 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 62 | -0.019 | 0.033 | 0.002 | 0.000 | 0.000 | 0.000 |  | 14 | 0.014 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.003 | -0.013 | 0.002 | 0.000 | 0.000 | 0.000 |  | 3 | -0.008 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.021 | -0.039 | 0.003 | 0.000 | 0.000 | 0.000 | 3 | 3 | -0.010 | 0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
| 60 | 52 | -0.008 | 0.008 | 0.002 | 0.000 | 0.000 | 0.000 |  | 14 | 0.011 | 0.010 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 63 | -0.026 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 15 | 0.010 | -0.010 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.007 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 4 | -0.010 | -0.003 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.028 | -0.038 | 0.003 | 0.000 | 0.000 | 0.000 | 4 | 4 | -0.010 | 0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
| 61 | 53 | -0.009 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 15 | 0.008 | 0.017 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.035 | 0.037 | 0.002 | 0.000 | 0.000 | 0.000 |  | 16 | 0.011 | -0.014 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.007 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 5 | -0.008 | -0.006 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.038 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 | 5 | 5 | -0.009 | 0.006 | 0.004 | 0.000 | 0.000 | 0.000 |
| 62 | 54 | -0.002 | -0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 16 | 0.009 | 0.020 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.032 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 |  | 17 | 0.010 | -0.019 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.003 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |  | 6 | -0.008 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.032 | -0.029 | 0.002 | 0.000 | 0.000 | 0.000 | 6 | 6 | -0.007 | 0.008 | 0.004 | 0.000 | 0.000 | 0.000 |
| 63 | 35 | 0.036 | -0.031 | 0.002 | 0.000 | 0.000 | 0.000 |  | 17 | 0.011 | 0.019 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.138 | -0.127 | 0.002 | 0.000 | 0.000 | 0.000 |  | 18 | 0.008 | -0.021 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.028 | -0.021 | 0.002 | 0.000 | 0.000 | 0.000 |  | 7 | -0.010 | -0.006 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.145 | 0.179 | 0.002 | 0.000 | 0.000 | 0.000 | 7 | 7 | -0.007 | 0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
| 64 | 36 | 0.062 | 0.110 | 0.002 | 0.000 | 0.000 | 0.000 |  | 18 | 0.012 | 0.015 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.137 | -0.071 | 0.002 | 0.000 | 0.000 | 0.000 |  | 19 | 0.007 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.056 | -0.096 | 0.002 | 0.000 | 0.000 | 0.000 |  | 8 | -0.011 | -0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.142 | 0.057 | 0.002 | 0.000 | 0.000 | 0.000 | 8 | 8 | -0.009 | 0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
| 65 | 37 | 0.038 | 0.153 | 0.002 | 0.000 | 0.000 | 0.000 |  | 19 | 0.011 | 0.011 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.106 | -0.012 | 0.002 | 0.000 | 0.000 | 0.000 |  | 20 | 0.010 | -0.012 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.035 | -0.109 | 0.002 | 0.000 | 0.000 | 0.000 |  | 9 | -0.010 | -0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.109 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 | 9 | 9 | -0.009 | 0.006 | 0.004 | 0.000 | 0.000 | 0.000 |
| 66 | 38 | -0.004 | 0.145 | 0.002 | 0.000 | 0.000 | 0.000 |  | 20 | 0.012 | 0.010 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.061 | 0.043 | 0.002 | 0.000 | 0.000 | 0.000 |  | 21 | 0.011 | -0.011 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.006 | -0.089 | 0.002 | 0.000 | 0.000 | 0.000 |  | 10 | -0.012 | -0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.061 | -0.099 | 0.003 | 0.000 | 0.000 | 0.000 | 10 | 10 | 0.002 | 0.012 | 0.004 | 0.000 | 0.000 | 0.000 |
| 67 | 39 | -0.054 | 0.106 | 0.002 | 0.000 | 0.000 | 0.000 |  | 21 | 0.024 | -0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.012 | 0.086 | 0.002 | 0.000 | 0.000 | 0.000 |  | 22 | -0.004 | -0.017 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 51 | 0.053 | -0.049 | 0.002 | 0.000 | 0.000 | 0.000 |  | 11 | -0.020 | 0.009 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.010 | -0.143 | 0.003 | 0.000 | 0.000 | 0.000 | 11 | 12 | -0.113 | -0.115 | 0.004 | 0.000 | 0.000 | 0.000 |
| 68 | 40 | -0.100 | 0.043 | 0.002 | 0.000 | 0.000 | 0.000 |  | 34 | 0.073 | -0.176 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.031 | 0.110 | 0.002 | 0.000 | 0.000 | 0.000 |  | 35 | 0.121 | 0.207 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.098 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 13 | -0.080 | 0.084 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.035 | -0.156 | 0.003 | 0.000 | 0.000 | 0.000 | 12 | 34 | -0.030 | -0.154 | 0.004 | 0.000 | 0.000 | 0.000 |
| 69 | 41 | -0.134 | -0.043 | 0.002 | 0.000 | 0.000 | 0.000 |  | 45 | 0.088 | -0.113 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.056 | 0.101 | 0.002 | 0.000 | 0.000 | 0.000 |  | 46 | 0.035 | 0.063 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.129 | 0.060 | 0.002 | 0.000 | 0.000 | 0.000 |  | 35 | -0.090 | 0.204 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.063 | -0.119 | 0.003 | 0.000 | 0.000 | 0.000 | 13 | 45 | 0.037 | 0.034 | 0.004 | 0.000 | 0.000 | 0.000 |
| 70 | 42 | -0.140 | -0.162 | 0.002 | 0.000 | 0.000 | 0.000 |  | 56 | 0.008 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.038 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 57 | -0.038 | -0.031 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.132 | 0.116 | 0.002 | 0.000 | 0.000 | 0.000 |  | 46 | -0.006 | 0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.047 | 0.012 | 0.003 | 0.000 | 0.000 | 0.000 | 14 | 56 | -0.002 | -0.001 | 0.004 | 0.000 | 0.000 | 0.000 |
| 71 | 43 | -0.076 | -0.164 | 0.002 | 0.000 | 0.000 | 0.000 |  | 67 | -0.029 | 0.031 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.015 | -0.042 | 0.003 | 0.000 | 0.000 | 0.000 |  | 68 | 0.002 | -0.003 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.073 | 0.092 | 0.002 | 0.000 | 0.000 | 0.000 |  | 57 | 0.031 | -0.027 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 127 | -0.012 | 0.114 | 0.003 | 0.000 | 0.000 | 0.000 | 15 | 67 | -0.091 | -0.108 | 0.004 | 0.000 | 0.000 | 0.000 |
| 72 | 13 | -0.140 | -0.110 | 0.002 | 0.000 | 0.000 | 0.000 |  | 78 | 0.038 | -0.153 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.022 | -0.064 | 0.003 | 0.000 | 0.000 | 0.000 |  | 79 | 0.096 | 0.197 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 36 | 0.142 | 0.162 | 0.002 | 0.000 | 0.000 | 0.000 |  | 68 | -0.040 | 0.064 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.024 | 0.012 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 16 | 78 | -0.105 | -0.183 | 0.004 | 0.000 | 0.000 | 0.000 | 40 | 72 | -0.007 | 0.100 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.147 | -0.129 | 0.004 | 0.000 | 0.000 | 0.000 |  | 83 | 0.057 | 0.127 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.107 | 0.091 | 0.004 | 0.000 | 0.000 | 0.000 |  | 84 | 0.007 | -0.166 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 79 | -0.148 | 0.221 | 0.004 | 0.000 | 0.000 | 0.000 |  | 73 | -0.055 | -0.061 | 0.004 | 0.000 | 0.000 | 0.000 |
| 17 | 101 | -0.025 | 0.001 | 0.004 | 0.000 | 0.000 | 0.000 | 41 | 73 | 0.035 | 0.121 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.022 | -0.003 | 0.004 | 0.000 | 0.000 | 0.000 |  | 84 | 0.109 | 0.057 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.023 | 0.007 | 0.004 | 0.000 | 0.000 | 0.000 |  | 85 | -0.035 | -0.176 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 102 | -0.017 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 |  | 74 | -0.106 | -0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
| 18 | 102 | -0.020 | 0.008 | 0.004 | 0.000 | 0.000 | 0.000 | 42 | 74 | 0.056 | 0.109 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.005 | 0.016 | 0.004 | 0.000 | 0.000 | 0.000 |  | 85 | 0.151 | -0.040 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.020 | -0.002 | 0.004 | 0.000 | 0.000 | 0.000 |  | 86 | -0.059 | -0.133 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 103 | -0.003 | -0.022 | 0.004 | 0.000 | 0.000 | 0.000 |  | 75 | -0.146 | 0.064 | 0.004 | 0.000 | 0.000 | 0.000 |
| 19 | 103 | -0.014 | 0.020 | 0.004 | 0.000 | 0.000 | 0.000 | 43 | 75 | 0.025 | 0.031 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 114 | -0.005 | 0.038 | 0.004 | 0.000 | 0.000 | 0.000 |  | 86 | 0.162 | -0.175 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.014 | -0.021 | 0.004 | 0.000 | 0.000 | 0.000 |  | 87 | -0.030 | 0.017 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.007 | -0.037 | 0.004 | 0.000 | 0.000 | 0.000 |  | 76 | -0.155 | 0.127 | 0.004 | 0.000 | 0.000 | 0.000 |
| 20 | 104 | -0.002 | 0.039 | 0.004 | 0.000 | 0.000 | 0.000 | 44 | 76 | -0.036 | -0.054 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 115 | -0.009 | 0.055 | 0.004 | 0.000 | 0.000 | 0.000 |  | 87 | 0.111 | -0.205 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.003 | -0.044 | 0.004 | 0.000 | 0.000 | 0.000 |  | 125 | 0.034 | 0.140 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.010 | -0.050 | 0.004 | 0.000 | 0.000 | 0.000 |  | 77 | -0.108 | 0.118 | 0.004 | 0.000 | 0.000 | 0.000 |
| 21 | 105 | 0.006 | 0.053 | 0.004 | 0.000 | 0.000 | 0.000 | 45 | 57 | 0.005 | 0.011 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.008 | 0.063 | 0.004 | 0.000 | 0.000 | 0.000 |  | 68 | -0.028 | 0.034 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 117 | -0.005 | -0.059 | 0.004 | 0.000 | 0.000 | 0.000 |  | 69 | -0.003 | -0.014 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.009 | -0.056 | 0.004 | 0.000 | 0.000 | 0.000 |  | 58 | 0.027 | -0.031 | 0.004 | 0.000 | 0.000 | 0.000 |
| 22 | 106 | 0.011 | 0.057 | 0.004 | 0.000 | 0.000 | 0.000 | 46 | 58 | 0.006 | 0.015 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 117 | -0.004 | 0.060 | 0.004 | 0.000 | 0.000 | 0.000 |  | 69 | -0.022 | 0.034 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 118 | -0.010 | -0.064 | 0.004 | 0.000 | 0.000 | 0.000 |  | 70 | -0.004 | -0.019 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.005 | -0.053 | 0.004 | 0.000 | 0.000 | 0.000 |  | 59 | 0.022 | -0.030 | 0.004 | 0.000 | 0.000 | 0.000 |
| 23 | 107 | 0.011 | 0.052 | 0.004 | 0.000 | 0.000 | 0.000 | 47 | 59 | 0.009 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.004 | 0.045 | 0.004 | 0.000 | 0.000 | 0.000 |  | 70 | -0.019 | 0.040 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 119 | -0.010 | -0.057 | 0.004 | 0.000 | 0.000 | 0.000 |  | 71 | -0.008 | -0.030 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 108 | -0.003 | -0.040 | 0.004 | 0.000 | 0.000 | 0.000 |  | 60 | 0.020 | -0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
| 24 | 108 | 0.009 | 0.039 | 0.004 | 0.000 | 0.000 | 0.000 | 48 | 60 | 0.014 | 0.030 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.015 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |  | 71 | -0.016 | 0.042 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 120 | -0.007 | -0.041 | 0.004 | 0.000 | 0.000 | 0.000 |  | 72 | -0.013 | -0.039 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 109 | -0.015 | -0.021 | 0.004 | 0.000 | 0.000 | 0.000 |  | 61 | 0.017 | -0.032 | 0.004 | 0.000 | 0.000 | 0.000 |
| 25 | 109 | -0.003 | 0.024 | 0.004 | 0.000 | 0.000 | 0.000 | 49 | 61 | 0.019 | 0.034 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.017 | 0.007 | 0.004 | 0.000 | 0.000 | 0.000 |  | 72 | -0.011 | 0.038 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.005 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 |  | 73 | -0.018 | -0.044 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 110 | -0.017 | -0.013 | 0.004 | 0.000 | 0.000 | 0.000 |  | 62 | 0.012 | -0.028 | 0.004 | 0.000 | 0.000 | 0.000 |
| 26 | 110 | -0.017 | 0.006 | 0.004 | 0.000 | 0.000 | 0.000 | 50 | 62 | 0.023 | 0.035 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.022 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 |  | 73 | -0.005 | 0.029 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 122 | 0.021 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 |  | 74 | -0.023 | -0.043 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 111 | -0.024 | -0.002 | 0.004 | 0.000 | 0.000 | 0.000 |  | 63 | 0.007 | -0.021 | 0.004 | 0.000 | 0.000 | 0.000 |
| 27 | 79 | -0.031 | -0.067 | 0.004 | 0.000 | -0.001 | 0.000 | 51 | 63 | 0.026 | 0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.191 | -0.142 | 0.004 | 0.000 | 0.000 | 0.000 |  | 74 | -0.001 | 0.018 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.028 | 0.006 | 0.004 | 0.000 | 0.000 | 0.000 |  | 75 | -0.026 | -0.038 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 80 | -0.187 | 0.204 | 0.004 | 0.000 | 0.000 | 0.000 |  | 64 | 0.003 | -0.013 | 0.004 | 0.000 | 0.000 | 0.000 |
| 28 | 80 | 0.034 | 0.111 | 0.004 | 0.000 | 0.000 | 0.000 | 52 | 64 | 0.029 | 0.032 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.168 | -0.074 | 0.004 | 0.000 | 0.000 | 0.000 |  | 75 | -0.001 | 0.013 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 104 | -0.033 | -0.095 | 0.004 | 0.000 | 0.000 | 0.000 |  | 76 | -0.029 | -0.035 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 81 | -0.167 | 0.058 | 0.004 | 0.000 | 0.000 | 0.000 |  | 65 | 0.004 | -0.009 | 0.004 | 0.000 | 0.000 | 0.000 |
| 29 | 81 | 0.029 | 0.171 | 0.004 | 0.000 | 0.000 | 0.000 | 53 | 65 | 0.032 | 0.027 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.123 | -0.006 | 0.004 | 0.000 | 0.000 | 0.000 |  | 76 | 0.007 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 105 | -0.028 | -0.120 | 0.004 | 0.000 | 0.000 | 0.000 |  | 77 | -0.028 | -0.032 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 82 | -0.123 | -0.045 | 0.004 | 0.000 | 0.000 | 0.000 |  | 66 | -0.008 | 0.005 | 0.004 | 0.000 | 0.000 | 0.000 |
| 30 | 82 | -0.008 | 0.168 | 0.004 | 0.000 | 0.000 | 0.000 | 54 | 46 | 0.044 | 0.044 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.069 | 0.055 | 0.004 | 0.000 | 0.000 | 0.000 |  | 57 | 0.009 | -0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.009 | -0.104 | 0.004 | 0.000 | 0.000 | 0.000 |  | 58 | -0.041 | -0.042 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 83 | -0.068 | -0.119 | 0.004 | 0.000 | 0.000 | 0.000 |  | 47 | -0.011 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
| 31 | 83 | -0.060 | 0.127 | 0.004 | 0.000 | 0.000 | 0.000 | 55 | 47 | 0.037 | 0.045 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.016 | 0.102 | 0.004 | 0.000 | 0.000 | 0.000 |  | 58 | 0.010 | 0.003 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.061 | -0.062 | 0.004 | 0.000 | 0.000 | 0.000 |  | 59 | -0.036 | -0.041 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 84 | -0.016 | -0.166 | 0.004 | 0.000 | 0.000 | 0.000 |  | 48 | -0.010 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
| 32 | 84 | -0.114 | 0.058 | 0.004 | 0.000 | 0.000 | 0.000 | 56 | 48 | 0.031 | 0.049 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 107 | -0.024 | 0.124 | 0.004 | 0.000 | 0.000 | 0.000 |  | 59 | 0.004 | 0.013 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.114 | -0.006 | 0.004 | 0.000 | 0.000 | 0.000 |  | 60 | -0.029 | -0.041 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 85 | 0.025 | -0.177 | 0.004 | 0.000 | 0.000 | 0.000 |  | 49 | -0.004 | -0.021 | 0.004 | 0.000 | 0.000 | 0.000 |
| 33 | 85 | -0.160 | -0.037 | 0.004 | 0.000 | 0.000 | 0.000 | 57 | 49 | 0.021 | 0.046 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 108 | -0.034 | 0.105 | 0.004 | 0.000 | 0.000 | 0.000 |  | 60 | -0.006 | 0.025 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.161 | 0.060 | 0.004 | 0.000 | 0.000 | 0.000 |  | 61 | -0.020 | -0.036 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 86 | 0.034 | -0.128 | 0.004 | 0.000 | 0.000 | 0.000 |  | 50 | 0.006 | -0.034 | 0.004 | 0.000 | 0.000 | 0.000 |
| 34 | 86 | -0.188 | -0.178 | 0.004 | 0.000 | 0.000 | 0.000 | 58 | 50 | 0.010 | 0.037 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.014 | 0.019 | 0.004 | 0.000 | 0.000 | 0.000 |  | 61 | -0.017 | 0.034 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.191 | 0.127 | 0.004 | 0.000 | 0.000 | 0.000 |  | 62 | -0.010 | -0.027 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.016 | 0.032 | 0.004 | 0.000 | 0.000 | 0.000 |  | 51 | 0.018 | -0.044 | 0.004 | 0.000 | 0.000 | 0.000 |
| 35 | 87 | -0.158 | -0.219 | 0.004 | 0.000 | 0.000 | 0.000 | 59 | 51 | 0.001 | 0.024 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.093 | -0.078 | 0.004 | 0.000 | 0.000 | 0.000 |  | 62 | -0.026 | 0.040 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.156 | 0.131 | 0.004 | 0.000 | 0.000 | 0.000 |  | 63 | -0.001 | -0.017 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 125 | -0.090 | 0.166 | 0.004 | 0.000 | 0.000 | 0.000 |  | 52 | 0.028 | -0.047 | 0.004 | 0.000 | 0.000 | 0.000 |
| 36 | 68 | -0.150 | -0.129 | 0.004 | 0.000 | 0.000 | 0.000 | 60 | 52 | -0.005 | 0.010 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 79 | -0.027 | -0.039 | 0.004 | 0.000 | 0.000 | 0.000 |  | 63 | -0.034 | 0.041 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 80 | 0.158 | 0.188 | 0.004 | 0.000 | 0.000 | 0.000 |  | 64 | 0.005 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.021 | -0.020 | 0.004 | 0.000 | 0.000 | 0.000 |  | 53 | 0.037 | -0.045 | 0.004 | 0.000 | 0.000 | 0.000 |
| 37 | 69 | -0.144 | -0.065 | 0.004 | 0.000 | 0.000 | 0.000 | 61 | 53 | -0.007 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 80 | -0.060 | 0.126 | 0.004 | 0.000 | 0.000 | 0.000 |  | 64 | -0.044 | 0.044 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 81 | 0.150 | 0.047 | 0.004 | 0.000 | 0.000 | 0.000 |  | 65 | 0.005 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.056 | -0.108 | 0.004 | 0.000 | 0.000 | 0.000 |  | 54 | 0.047 | -0.046 | 0.004 | 0.000 | 0.000 | 0.000 |
| 38 | 70 | -0.107 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 | 62 | 54 | 0.000 | 0.000 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 81 | -0.039 | 0.178 | 0.004 | 0.000 | 0.000 | 0.000 |  | 65 | -0.039 | 0.030 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.110 | -0.053 | 0.004 | 0.000 | 0.000 | 0.000 |  | 66 | 0.003 | 0.003 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.037 | -0.125 | 0.004 | 0.000 | 0.000 | 0.000 |  | 55 | 0.038 | -0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
| 39 | 71 | -0.057 | 0.057 | 0.004 | 0.000 | 0.000 | 0.000 | 63 | 35 | 0.042 | -0.037 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 82 | 0.004 | 0.170 | 0.004 | 0.000 | 0.000 | 0.000 |  | 46 | 0.160 | -0.147 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 83 | 0.059 | -0.123 | 0.004 | 0.000 | 0.000 | 0.000 |  | 47 | -0.032 | -0.024 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 72 | -0.004 | -0.104 | 0.004 | 0.000 | 0.000 | 0.000 |  | 36 | -0.168 | 0.208 | 0.004 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 64 | 36 | 0.072 | 0.128 | 0.004 | 0.000 | 0.000 | 0.000 | 7 | 7 | -0.051 | -0.055 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 47 | 0.159 | -0.083 | 0.004 | 0.000 | 0.000 | 0.000 |  | 18 | -0.022 | 0.027 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 48 | -0.065 | -0.111 | 0.004 | 0.000 | 0.000 | 0.000 |  | 19 | 0.052 | 0.036 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 37 | -0.165 | 0.066 | 0.004 | 0.000 | 0.000 | 0.000 |  | 8 | 0.023 | -0.008 | 0.006 | -0.001 | -0.001 | 0.000 |
| 65 | 37 | 0.046 | 0.179 | 0.004 | 0.000 | 0.000 | 0.000 | 8 | 8 | -0.067 | -0.061 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 48 | 0.123 | -0.013 | 0.004 | 0.000 | 0.000 | 0.000 |  | 19 | -0.039 | 0.042 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 49 | -0.041 | -0.127 | 0.004 | 0.000 | 0.000 | 0.000 |  | 20 | 0.069 | 0.048 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 38 | -0.126 | -0.038 | 0.004 | 0.000 | 0.000 | 0.000 |  | 9 | 0.039 | -0.029 | 0.006 | -0.001 | -0.001 | 0.000 |
| 66 | 38 | -0.004 | 0.169 | 0.004 | 0.000 | 0.000 | 0.000 | 9 | 9 | -0.070 | -0.053 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 49 | 0.070 | 0.051 | 0.004 | 0.000 | 0.000 | 0.000 |  | 20 | -0.039 | 0.048 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 50 | 0.006 | -0.104 | 0.004 | 0.000 | 0.000 | 0.000 |  | 21 | 0.073 | 0.045 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 39 | -0.071 | -0.116 | 0.004 | 0.000 | 0.000 | 0.000 |  | 10 | 0.037 | -0.040 | 0.006 | -0.001 | -0.001 | 0.000 |
| 67 | 39 | -0.061 | 0.123 | 0.004 | 0.000 | 0.000 | 0.000 | 10 | 10 | -0.041 | -0.023 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 50 | 0.013 | 0.101 | 0.004 | 0.000 | 0.000 | 0.000 |  | 21 | -0.004 | 0.022 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 51 | 0.061 | -0.058 | 0.004 | 0.000 | 0.000 | 0.000 |  | 22 | 0.040 | 0.017 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 40 | -0.011 | -0.167 | 0.004 | 0.000 | 0.000 | 0.000 |  | 11 | 0.007 | -0.016 | 0.006 | -0.001 | -0.001 | 0.000 |
| 68 | 40 | -0.116 | 0.050 | 0.004 | 0.000 | 0.000 | 0.000 | 11 | 12 | -0.093 | -0.080 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 51 | -0.037 | 0.128 | 0.004 | 0.000 | 0.000 | 0.000 |  | 34 | 0.158 | -0.220 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 52 | 0.113 | 0.003 | 0.004 | 0.000 | 0.000 | 0.000 |  | 35 | 0.101 | 0.164 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 41 | 0.041 | -0.182 | 0.004 | 0.000 | 0.000 | 0.000 |  | 13 | -0.163 | 0.136 | 0.006 | -0.001 | -0.001 | 0.000 |
| 69 | 41 | -0.155 | -0.050 | 0.004 | 0.000 | 0.000 | 0.000 | 12 | 34 | 0.049 | -0.095 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 52 | -0.065 | 0.118 | 0.004 | 0.000 | 0.000 | 0.000 |  | 45 | 0.068 | -0.111 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 53 | 0.149 | 0.070 | 0.004 | 0.000 | 0.000 | 0.000 |  | 46 | -0.038 | 0.012 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 42 | 0.073 | -0.138 | 0.004 | 0.000 | 0.000 | 0.000 |  | 35 | -0.077 | 0.194 | 0.006 | -0.001 | -0.001 | 0.000 |
| 70 | 42 | -0.162 | -0.188 | 0.004 | 0.000 | 0.000 | 0.000 | 13 | 45 | 0.033 | 0.039 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 53 | -0.044 | 0.039 | 0.004 | 0.000 | 0.000 | 0.000 |  | 56 | 0.037 | -0.019 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 54 | 0.153 | 0.134 | 0.004 | 0.000 | 0.000 | 0.000 |  | 57 | -0.029 | -0.039 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 43 | 0.055 | 0.015 | 0.004 | 0.000 | 0.000 | 0.000 |  | 46 | -0.039 | 0.019 | 0.006 | -0.001 | -0.001 | 0.000 |
| 71 | 43 | -0.086 | -0.190 | 0.004 | 0.000 | 0.000 | 0.000 | 14 | 56 | -0.102 | -0.038 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 54 | 0.018 | -0.049 | 0.004 | 0.000 | 0.000 | 0.000 |  | 67 | 0.026 | 0.041 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 55 | 0.083 | 0.106 | 0.004 | 0.000 | 0.000 | 0.000 |  | 68 | 0.109 | 0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 127 | -0.012 | 0.133 | 0.004 | 0.000 | -0.001 | 0.000 |  | 57 | -0.031 | -0.028 | 0.006 | -0.001 | -0.001 | 0.000 |
| 72 | 13 | -0.163 | -0.129 | 0.004 | 0.000 | 0.000 | 0.000 | 15 | 67 | -0.309 | -0.313 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 35 | 0.026 | -0.075 | 0.004 | 0.000 | 0.000 | 0.000 |  | 78 | 0.222 | -0.511 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 36 | 0.167 | 0.190 | 0.004 | 0.000 | 0.000 | 0.000 |  | 79 | 0.315 | 0.577 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 14 | -0.028 | 0.014 | 0.004 | 0.000 | 0.000 | 0.000 |  | 68 | -0.226 | 0.246 | 0.006 | -0.001 | -0.001 | 0.000 |
| 73 | 14 | -0.154 | -0.068 | 0.004 | 0.000 | 0.000 | 0.000 | 16 | 78 | -0.425 | -0.618 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 36 | -0.022 | 0.101 | 0.004 | 0.000 | 0.000 | 0.000 |  | 101 | 0.408 | -0.335 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 37 | 0.160 | 0.049 | 0.004 | 0.000 | 0.000 | 0.000 |  | 102 | 0.481 | 0.342 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 15 | 0.019 | -0.082 | 0.004 | 0.000 | 0.000 | 0.000 |  | 79 | -0.462 | 0.611 | 0.006 | -0.001 | -0.001 | 0.000 |
| 74 | 15 | -0.124 | -0.010 | 0.004 | 0.000 | 0.000 | 0.000 | 17 | 101 | -0.262 | -0.132 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 37 | -0.008 | 0.159 | 0.004 | 0.000 | 0.000 | 0.000 |  | 112 | 0.069 | -0.041 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 38 | 0.127 | -0.045 | 0.004 | 0.000 | 0.000 | 0.000 |  | 113 | 0.251 | 0.204 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 16 | 0.007 | -0.104 | 0.004 | 0.000 | 0.000 | 0.000 |  | 102 | -0.056 | -0.030 | 0.006 | -0.001 | -0.001 | 0.000 |
| 75 | 16 | -0.080 | 0.043 | 0.004 | 0.000 | 0.000 | 0.000 | 18 | 102 | -0.329 | -0.182 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 38 | 0.031 | 0.155 | 0.004 | 0.000 | 0.000 | 0.000 |  | 113 | -0.044 | 0.035 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 39 | 0.081 | -0.112 | 0.004 | 0.000 | 0.000 | 0.000 |  | 114 | 0.334 | 0.279 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 17 | -0.031 | -0.086 | 0.004 | 0.000 | 0.000 | 0.000 |  | 103 | 0.042 | -0.132 | 0.006 | -0.001 | -0.001 | 0.000 |
| 76 | 17 | -0.033 | 0.082 | 0.004 | 0.000 | 0.000 | 0.000 | 19 | 103 | -0.365 | -0.151 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 39 | 0.080 | 0.114 | 0.004 | 0.000 | 0.000 | 0.000 |  | 114 | -0.131 | 0.224 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 40 | 0.033 | -0.151 | 0.004 | 0.000 | 0.000 | 0.000 |  | 115 | 0.370 | 0.196 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 18 | -0.079 | -0.045 | 0.004 | 0.000 | 0.000 | 0.000 |  | 104 | 0.128 | -0.269 | 0.006 | -0.001 | -0.001 | 0.000 |
| 77 | 18 | 0.004 | 0.100 | 0.004 | 0.000 | 0.000 | 0.000 | 20 | 104 | -0.257 | 0.059 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 40 | 0.127 | 0.047 | 0.004 | 0.000 | 0.000 | 0.000 |  | 115 | -0.165 | 0.524 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 41 | -0.006 | -0.155 | 0.004 | 0.000 | 0.000 | 0.000 |  | 116 | 0.260 | -0.161 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 19 | -0.123 | 0.009 | 0.004 | 0.000 | 0.000 | 0.000 |  | 105 | 0.165 | -0.421 | 0.006 | -0.001 | -0.001 | 0.000 |
| 78 | 19 | 0.017 | 0.079 | 0.004 | 0.000 | 0.000 | 0.000 | 21 | 105 | -0.095 | 0.252 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 41 | 0.158 | -0.047 | 0.004 | 0.000 | 0.000 | 0.000 |  | 116 | -0.053 | 0.536 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 42 | -0.020 | -0.100 | 0.004 | 0.000 | 0.000 | 0.000 |  | 117 | 0.101 | -0.402 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 20 | -0.153 | 0.067 | 0.004 | 0.000 | 0.000 | 0.000 |  | 106 | 0.050 | -0.386 | 0.006 | -0.001 | -0.001 | 0.000 |
| 79 | 20 | -0.029 | -0.010 | 0.004 | 0.000 | 0.000 | 0.000 | 22 | 106 | 0.056 | 0.382 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 42 | 0.163 | -0.180 | 0.004 | 0.000 | 0.000 | 0.000 |  | 117 | 0.108 | 0.401 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 43 | 0.027 | 0.065 | 0.004 | 0.000 | 0.001 | 0.000 |  | 118 | -0.059 | -0.531 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 21 | -0.160 | 0.125 | 0.004 | 0.000 | 0.000 | 0.000 |  | 107 | -0.102 | -0.252 | 0.006 | -0.001 | -0.001 | 0.000 |
| 80 | 21 | -0.075 | -0.074 | 0.004 | 0.000 | 0.000 | 0.000 | 23 | 107 | 0.168 | 0.415 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 43 | 0.124 | -0.200 | 0.004 | 0.000 | 0.000 | 0.000 |  | 118 | 0.267 | 0.155 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 127 | 0.068 | 0.159 | 0.004 | 0.000 | 0.000 | 0.000 |  | 119 | -0.169 | -0.516 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 22 | -0.115 | 0.116 | 0.004 | 0.000 | 0.000 | 0.000 |  | 108 | -0.263 | -0.054 | 0.006 | -0.001 | -0.001 | 0.000 |
| Load case 30 (Linear): COMB 3 (1+3+5+6) 24 |  |  |  |  |  |  |  |  | 108 | 0.132 | 0.266 | 0.006 | 0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.375 | -0.204 | 0.006 | 0.001 | 0.001 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | -0.135 | -0.222 | 0.006 | -0.001 | 0.001 | 0.000 |
| 1 | 1 | 0.005 | 0.014 | 0.006 | 0.001 | -0.001 | 0.000 |  | 109 | -0.371 | 0.161 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 12 | 0.036 | -0.014 | 0.006 | 0.001 | 0.001 | 0.000 | 25 | 109 | 0.040 | 0.135 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 13 | -0.002 | -0.020 | 0.006 | -0.001 | 0.001 | 0.000 |  | 120 | 0.328 | -0.275 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 2 | -0.037 | 0.020 | 0.006 | -0.001 | -0.001 | 0.000 |  | 121 | -0.043 | -0.036 | 0.006 | -0.001 | 0.001 | 0.000 |
| 2 | 2 | 0.032 | 0.035 | 0.006 | 0.001 | -0.001 | 0.000 |  | 110 | -0.323 | 0.176 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 13 | 0.071 | -0.045 | 0.006 | 0.001 | 0.001 | 0.000 | 26 | 110 | -0.055 | 0.030 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 14 | -0.033 | -0.041 | 0.006 | -0.001 | 0.001 | 0.000 |  | 121 | 0.247 | -0.203 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 3 | -0.068 | 0.052 | 0.006 | -0.001 | -0.001 | 0.000 |  | 122 | 0.069 | 0.040 | 0.006 | -0.001 | 0.001 | 0.000 |
| 3 | 3 | 0.038 | 0.027 | 0.006 | 0.001 | -0.001 | 0.000 |  | 111 | -0.259 | 0.133 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 14 | 0.072 | -0.054 | 0.006 | 0.001 | 0.001 | 0.000 | 27 | 79 | -0.349 | -0.365 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 15 | -0.038 | -0.038 | 0.006 | -0.001 | 0.001 | 0.000 |  | 102 | 0.626 | -0.394 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 4 | -0.070 | 0.065 | 0.006 | -0.001 | -0.001 | 0.000 |  | 103 | 0.354 | 0.154 | 0.006 | -0.001 | 0.001 | 0.000 |
| 4 | 4 | 0.024 | 0.008 | 0.006 | 0.001 | -0.001 | 0.000 |  | 80 | -0.628 | 0.604 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 15 | 0.055 | -0.040 | 0.006 | 0.001 | 0.001 | 0.000 | 28 | 80 | -0.181 | 0.172 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 16 | -0.023 | -0.025 | 0.006 | -0.001 | 0.001 | 0.000 |  | 103 | 0.643 | -0.234 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 5 | -0.053 | 0.058 | 0.006 | -0.001 | -0.001 | 0.000 |  | 104 | 0.215 | -0.155 | 0.006 | -0.001 | 0.001 | 0.000 |
| 5 | 5 | 0.000 | -0.016 | 0.006 | 0.001 | -0.001 | 0.000 |  | 81 | -0.674 | 0.218 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 16 | 0.030 | -0.018 | 0.006 | 0.001 | 0.001 | 0.000 | 29 | 81 | -0.259 | 0.367 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 17 | 0.001 | -0.006 | 0.006 | -0.001 | 0.001 | 0.000 |  | 104 | 0.629 | -0.078 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 6 | -0.028 | 0.040 | 0.006 | -0.001 | -0.001 | 0.000 |  | 105 | 0.296 | -0.231 | 0.006 | -0.001 | 0.001 | 0.000 |
| 6 | 6 | -0.026 | -0.038 | 0.006 | 0.001 | -0.001 | 0.000 |  | 82 | -0.663 | -0.059 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 17 | 0.003 | 0.005 | 0.006 | 0.001 | 0.001 | 0.000 | 30 | 82 | -0.412 | 0.385 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 18 | 0.028 | 0.015 | 0.006 | -0.001 | 0.001 | 0.000 |  | 105 | 0.566 | 0.075 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 7 | -0.002 | 0.017 | 0.006 | -0.001 | -0.001 | 0.000 |  | 106 | 0.422 | -0.199 | 0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 83 | -0.574 | -0.260 | 0.006 | -0.001 | -0.001 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 31 | 83 | -0.549 | 0.284 | 0.006 | 0.001 | -0.001 | 0.000 | 55 | 47 | -0.005 | 0.054 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 106 | 0.443 | 0.192 | 0.006 | 0.001 | 0.001 | 0.000 |  | 58 | 0.127 | -0.043 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 107 | 0.541 | -0.097 | 0.006 | -0.001 | 0.001 | 0.000 |  | 59 | 0.020 | -0.059 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 84 | -0.433 | -0.379 | 0.006 | -0.001 | -0.001 | 0.000 |  | 48 | -0.139 | 0.048 | 0.006 | -0.001 | -0.001 | 0.000 |
| 32 | 84 | -0.638 | 0.100 | 0.006 | 0.001 | -0.001 | 0.000 | 56 | 48 | -0.047 | 0.044 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 107 | 0.308 | 0.239 | 0.006 | 0.001 | 0.001 | 0.000 |  | 59 | 0.147 | -0.035 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 108 | 0.604 | 0.043 | 0.006 | -0.001 | 0.001 | 0.000 |  | 60 | 0.057 | -0.047 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 85 | -0.271 | -0.383 | 0.006 | -0.001 | -0.001 | 0.000 |  | 49 | -0.154 | 0.039 | 0.006 | -0.001 | -0.001 | 0.000 |
| 33 | 85 | -0.654 | -0.156 | 0.006 | 0.001 | -0.001 | 0.000 | 57 | 49 | -0.092 | 0.022 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 108 | 0.211 | 0.183 | 0.006 | 0.001 | 0.001 | 0.000 |  | 60 | 0.135 | -0.011 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 109 | 0.623 | 0.191 | 0.006 | -0.001 | 0.001 | 0.000 |  | 61 | 0.097 | -0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 86 | -0.178 | -0.219 | 0.006 | -0.001 | -0.001 | 0.000 |  | 50 | -0.137 | 0.013 | 0.006 | -0.001 | -0.001 | 0.000 |
| 34 | 86 | -0.632 | -0.529 | 0.006 | 0.001 | -0.001 | 0.000 | 58 | 50 | -0.126 | -0.003 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 109 | 0.311 | -0.085 | 0.006 | 0.001 | 0.001 | 0.000 |  | 61 | 0.106 | 0.017 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 110 | 0.628 | 0.351 | 0.006 | -0.001 | 0.001 | 0.000 |  | 62 | 0.124 | 0.001 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 87 | -0.305 | 0.263 | 0.006 | -0.001 | -0.001 | 0.000 |  | 51 | -0.101 | -0.015 | 0.006 | -0.001 | -0.001 | 0.000 |
| 35 | 87 | -0.492 | -0.615 | 0.006 | 0.001 | -0.001 | 0.000 | 59 | 51 | -0.141 | -0.026 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 110 | 0.438 | -0.308 | 0.006 | 0.001 | 0.001 | 0.000 |  | 62 | 0.064 | 0.043 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 111 | 0.437 | 0.348 | 0.006 | -0.001 | 0.001 | 0.000 |  | 63 | 0.134 | 0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 125 | -0.381 | 0.575 | 0.006 | -0.001 | -0.001 | 0.000 |  | 52 | -0.054 | -0.040 | 0.006 | -0.001 | -0.001 | 0.000 |
| 36 | 68 | -0.559 | -0.448 | 0.006 | 0.001 | -0.001 | 0.000 | 60 | 52 | -0.125 | -0.035 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 79 | 0.016 | -0.185 | 0.006 | 0.001 | 0.001 | 0.000 |  | 63 | 0.023 | 0.057 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 80 | 0.616 | 0.639 | 0.006 | -0.001 | 0.001 | 0.000 |  | 64 | 0.111 | 0.030 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 69 | -0.070 | -0.005 | 0.006 | -0.001 | -0.001 | 0.000 |  | 53 | -0.007 | -0.052 | 0.006 | -0.001 | -0.001 | 0.000 |
| 37 | 69 | -0.629 | -0.286 | 0.006 | 0.001 | -0.001 | 0.000 | 61 | 53 | -0.084 | -0.029 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 80 | 0.012 | 0.274 | 0.006 | 0.001 | 0.001 | 0.000 |  | 64 | -0.024 | 0.067 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 81 | 0.668 | 0.247 | 0.006 | -0.001 | 0.001 | 0.000 |  | 65 | 0.066 | 0.025 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 70 | -0.048 | -0.236 | 0.006 | -0.001 | -0.001 | 0.000 |  | 54 | 0.044 | -0.063 | 0.006 | -0.001 | -0.001 | 0.000 |
| 38 | 70 | -0.575 | -0.097 | 0.006 | 0.001 | -0.001 | 0.000 | 62 | 54 | -0.024 | -0.012 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 81 | 0.129 | 0.442 | 0.006 | 0.001 | 0.001 | 0.000 |  | 65 | -0.033 | 0.039 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 82 | 0.600 | -0.061 | 0.006 | -0.001 | 0.001 | 0.000 |  | 66 | 0.023 | 0.010 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 71 | -0.151 | -0.284 | 0.006 | -0.001 | -0.001 | 0.000 |  | 55 | 0.037 | -0.038 | 0.006 | -0.001 | -0.001 | 0.000 |
| 39 | 71 | -0.461 | 0.075 | 0.006 | 0.001 | -0.001 | 0.000 | 63 | 35 | 0.116 | 0.023 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 82 | 0.292 | 0.432 | 0.006 | 0.001 | 0.001 | 0.000 |  | 46 | 0.185 | -0.173 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 83 | 0.471 | -0.284 | 0.006 | -0.001 | 0.001 | 0.000 |  | 47 | -0.097 | -0.081 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 72 | -0.300 | -0.223 | 0.006 | -0.001 | -0.001 | 0.000 |  | 36 | -0.202 | 0.231 | 0.006 | -0.001 | -0.001 | 0.000 |
| 40 | 72 | -0.309 | 0.210 | 0.006 | 0.001 | -0.001 | 0.000 | 64 | 36 | 0.114 | 0.157 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 83 | 0.464 | 0.295 | 0.006 | 0.001 | 0.001 | 0.000 |  | 47 | 0.211 | -0.125 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 84 | 0.302 | -0.420 | 0.006 | -0.001 | 0.001 | 0.000 |  | 48 | -0.100 | -0.148 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 73 | -0.455 | -0.085 | 0.006 | -0.001 | -0.001 | 0.000 |  | 37 | -0.223 | 0.116 | 0.006 | -0.001 | -0.001 | 0.000 |
| 41 | 73 | -0.161 | 0.274 | 0.006 | 0.001 | -0.001 | 0.000 | 65 | 37 | 0.060 | 0.184 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 84 | 0.597 | 0.072 | 0.006 | 0.001 | 0.001 | 0.000 |  | 48 | 0.184 | -0.057 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 85 | 0.139 | -0.436 | 0.006 | -0.001 | 0.001 | 0.000 |  | 49 | -0.051 | -0.146 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 74 | -0.574 | 0.090 | 0.006 | -0.001 | -0.001 | 0.000 |  | 38 | -0.190 | 0.019 | 0.006 | -0.001 | -0.001 | 0.000 |
| 42 | 74 | -0.050 | 0.242 | 0.006 | 0.001 | -0.001 | 0.000 | 66 | 38 | -0.019 | 0.151 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 85 | 0.674 | -0.230 | 0.006 | 0.001 | 0.001 | 0.000 |  | 49 | 0.120 | 0.020 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 86 | 0.014 | -0.296 | 0.006 | -0.001 | 0.001 | 0.000 |  | 50 | 0.023 | -0.102 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 75 | -0.636 | 0.284 | 0.006 | -0.001 | -0.001 | 0.000 |  | 39 | -0.121 | -0.069 | 0.006 | -0.001 | -0.001 | 0.000 |
| 43 | 75 | -0.062 | 0.038 | 0.006 | 0.001 | -0.001 | 0.000 | 67 | 39 | -0.100 | 0.088 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 86 | 0.629 | -0.601 | 0.006 | 0.001 | 0.001 | 0.000 |  | 50 | 0.040 | 0.091 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 87 | 0.012 | 0.119 | 0.006 | -0.001 | 0.001 | 0.000 |  | 51 | 0.098 | -0.038 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 76 | -0.576 | 0.444 | 0.006 | -0.001 | -0.001 | 0.000 |  | 40 | -0.037 | -0.141 | 0.006 | -0.001 | -0.001 | 0.000 |
| 44 | 76 | -0.218 | -0.219 | 0.006 | 0.001 | -0.001 | 0.000 | 68 | 40 | -0.166 | 0.008 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 87 | 0.361 | -0.601 | 0.006 | 0.001 | 0.001 | 0.000 |  | 51 | -0.040 | 0.144 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 125 | 0.216 | 0.475 | 0.006 | -0.001 | 0.001 | 0.000 |  | 52 | 0.160 | 0.033 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 77 | -0.357 | 0.344 | 0.006 | -0.001 | -0.001 | 0.000 |  | 41 | 0.049 | -0.184 | 0.006 | -0.001 | -0.001 | 0.000 |
| 45 | 57 | -0.125 | -0.030 | 0.006 | 0.001 | -0.001 | 0.000 | 69 | 41 | -0.198 | -0.081 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 68 | 0.067 | 0.032 | 0.006 | 0.001 | 0.001 | 0.000 |  | 52 | -0.100 | 0.157 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 69 | 0.153 | 0.018 | 0.006 | -0.001 | 0.001 | 0.000 |  | 53 | 0.185 | 0.096 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 58 | -0.092 | -0.020 | 0.006 | -0.001 | -0.001 | 0.000 |  | 42 | 0.115 | -0.172 | 0.006 | -0.001 | -0.001 | 0.000 |
| 46 | 58 | -0.172 | -0.027 | 0.006 | 0.001 | -0.001 | 0.000 | 70 | 42 | -0.182 | -0.189 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 69 | 0.149 | 0.010 | 0.006 | 0.001 | 0.001 | 0.000 |  | 53 | -0.123 | 0.112 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 70 | 0.192 | 0.011 | 0.006 | -0.001 | 0.001 | 0.000 |  | 54 | 0.161 | 0.146 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 59 | -0.167 | 0.006 | 0.006 | -0.001 | -0.001 | 0.000 |  | 43 | 0.146 | -0.069 | 0.006 | -0.001 | -0.001 | 0.000 |
| 47 | 59 | -0.204 | -0.018 | 0.006 | 0.001 | -0.001 | 0.000 | 71 | 43 | -0.059 | -0.163 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 70 | 0.201 | 0.012 | 0.006 | 0.001 | 0.001 | 0.000 |  | 54 | -0.080 | 0.023 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 71 | 0.217 | -0.009 | 0.006 | -0.001 | 0.001 | 0.000 |  | 55 | 0.046 | 0.095 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 60 | -0.212 | 0.015 | 0.006 | -0.001 | -0.001 | 0.000 |  | 127 | 0.095 | 0.045 | 0.006 | -0.001 | -0.001 | 0.000 |
| 48 | 60 | -0.225 | -0.013 | 0.006 | 0.001 | -0.001 | 0.000 | 72 | 13 | -0.110 | -0.073 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 71 | 0.227 | 0.020 | 0.006 | 0.001 | 0.001 | 0.000 |  | 35 | 0.134 | -0.148 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 72 | 0.231 | -0.021 | 0.006 | -0.001 | 0.001 | 0.000 |  | 36 | 0.108 | 0.127 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 61 | -0.231 | 0.014 | 0.006 | -0.001 | -0.001 | 0.000 |  | 14 | -0.130 | 0.094 | 0.006 | -0.001 | -0.001 | 0.000 |
| 49 | 61 | -0.224 | -0.008 | 0.006 | 0.001 | -0.001 | 0.000 | 73 | 14 | -0.095 | -0.022 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 72 | 0.237 | 0.017 | 0.006 | 0.001 | 0.001 | 0.000 |  | 36 | 0.074 | 0.014 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 73 | 0.220 | -0.027 | 0.006 | -0.001 | 0.001 | 0.000 |  | 37 | 0.098 | 0.004 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 62 | -0.231 | 0.018 | 0.006 | -0.001 | -0.001 | 0.000 |  | 15 | -0.075 | 0.004 | 0.006 | -0.001 | -0.001 | 0.000 |
| 50 | 62 | -0.203 | -0.006 | 0.006 | 0.001 | -0.001 | 0.000 | 74 | 15 | -0.082 | 0.013 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 73 | 0.224 | 0.007 | 0.006 | 0.001 | 0.001 | 0.000 |  | 37 | 0.063 | 0.082 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 74 | 0.192 | -0.023 | 0.006 | -0.001 | 0.001 | 0.000 |  | 38 | 0.084 | -0.064 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 63 | -0.210 | 0.022 | 0.006 | -0.001 | -0.001 | 0.000 |  | 16 | -0.063 | -0.032 | 0.006 | -0.001 | -0.001 | 0.000 |
| 51 | 63 | -0.155 | 0.005 | 0.006 | 0.001 | -0.001 | 0.000 | 75 | 16 | -0.072 | 0.034 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 74 | 0.201 | -0.015 | 0.006 | 0.001 | 0.001 | 0.000 |  | 38 | 0.062 | 0.107 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 75 | 0.137 | -0.023 | 0.006 | -0.001 | 0.001 | 0.000 |  | 39 | 0.074 | -0.097 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 64 | -0.180 | 0.033 | 0.006 | -0.001 | -0.001 | 0.000 |  | 17 | -0.061 | -0.044 | 0.006 | -0.001 | -0.001 | 0.000 |
| 52 | 64 | -0.087 | 0.023 | 0.006 | 0.001 | -0.001 | 0.000 | 76 | 17 | -0.066 | 0.040 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 75 | 0.158 | -0.022 | 0.006 | 0.001 | 0.001 | 0.000 |  | 39 | 0.069 | 0.103 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 76 | 0.064 | -0.037 | 0.006 | -0.001 | 0.001 | 0.000 |  | 40 | 0.067 | -0.104 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 65 | -0.132 | 0.035 | 0.006 | -0.001 | -0.001 | 0.000 |  | 18 | -0.067 | -0.040 | 0.006 | -0.001 | -0.001 | 0.000 |
| 53 | 65 | -0.032 | 0.028 | 0.006 | 0.001 | -0.001 | 0.000 | 77 | 18 | -0.066 | 0.031 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 76 | 0.122 | -0.033 | 0.006 | 0.001 | 0.001 | 0.000 |  | 40 | 0.079 | 0.074 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 77 | 0.029 | -0.042 | 0.006 | -0.001 | 0.001 | 0.000 |  | 41 | 0.066 | -0.083 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 66 | -0.117 | 0.048 | 0.006 | -0.001 | -0.001 | 0.000 |  | 19 | -0.077 | -0.021 | 0.006 | -0.001 | -0.001 | 0.000 |
| 54 | 46 | 0.037 | 0.059 | 0.006 | 0.001 | -0.001 | 0.000 | 78 | 19 | -0.075 | 0.001 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 57 | 0.079 | -0.033 | 0.006 | 0.001 | 0.001 | 0.000 |  | 41 | 0.092 | 0.011 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 58 | -0.018 | -0.064 | 0.006 | -0.001 | 0.001 | 0.000 |  | 42 | 0.075 | -0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 47 | -0.096 | 0.038 | 0.006 | -0.001 | -0.001 | 0.000 |  | 20 | -0.089 | 0.012 | 0.006 | -0.001 | -0.001 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 79 | 20 | -0.126 | -0.079 | 0.006 | 0.001 | -0.001 | 0.000 | 22 | 106 | 0.050 | 0.361 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.099 | -0.097 | 0.006 | 0.001 | 0.001 | 0.000 |  | 117 | 0.111 | 0.380 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.132 | 0.119 | 0.006 | -0.001 | 0.001 | 0.000 |  | 118 | -0.055 | -0.509 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 21 | -0.103 | 0.057 | 0.006 | -0.001 | -0.001 | 0.000 |  | 107 | -0.106 | -0.233 | 0.003 | 0.000 | 0.000 | 0.000 |
| 80 | 21 | -0.149 | -0.112 | 0.006 | 0.001 | -0.001 | 0.000 | 23 | 107 | 0.163 | 0.397 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 43 | 0.108 | -0.147 | 0.006 | 0.001 | 0.001 | 0.000 |  | 118 | 0.268 | 0.139 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 127 | 0.143 | 0.182 | 0.006 | -0.001 | 0.001 | 0.000 |  | 119 | -0.165 | -0.497 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 22 | -0.100 | 0.078 | 0.006 | -0.001 | -0.001 | 0.000 |  | 108 | -0.265 | -0.039 | 0.003 | 0.000 | 0.000 | 0.000 |
| Load case 40 (Linear): COMB 4 (1+6) |  |  |  | 24 |  |  |  |  | 108 | 0.128 | 0.252 | 0.002 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.373 | -0.214 | 0.002 | 0.000 | 0.000 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | -0.131 | -0.208 | 0.002 | 0.000 | 0.000 | 0.000 |
| 1 | 1 | 0.010 | 0.016 | 0.003 | 0.000 | 0.000 | 0.000 |  | 109 | -0.369 | 0.170 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 12 | 0.038 | -0.020 | 0.003 | 0.000 | 0.000 | 0.000 | 25 | 109 | 0.039 | 0.126 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.008 | -0.020 | 0.002 | 0.000 | 0.000 | 0.000 |  | 120 | 0.325 | -0.280 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 2 | -0.038 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |  | 121 | -0.042 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
| 2 | 2 | 0.037 | 0.034 | 0.003 | 0.000 | 0.000 | 0.000 |  | 110 | -0.321 | 0.182 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | 0.069 | -0.050 | 0.003 | 0.000 | 0.000 | 0.000 | 26 | 110 | -0.053 | 0.027 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 14 | -0.038 | -0.039 | 0.002 | 0.000 | 0.000 | 0.000 |  | 121 | 0.243 | -0.203 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 3 | -0.066 | 0.055 | 0.002 | 0.000 | 0.000 | 0.000 |  | 122 | 0.064 | 0.041 | 0.002 | 0.000 | 0.000 | 0.000 |
| 3 | 3 | 0.041 | 0.026 | 0.003 | 0.000 | 0.000 | 0.000 |  | 111 | -0.254 | 0.135 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 14 | 0.069 | -0.058 | 0.003 | 0.000 | 0.000 | 0.000 | 27 | 79 | -0.345 | -0.343 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 15 | -0.042 | -0.035 | 0.002 | 0.000 | 0.000 | 0.000 |  | 102 | 0.563 | -0.344 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 4 | -0.067 | 0.067 | 0.002 | 0.000 | 0.000 | 0.000 |  | 103 | 0.349 | 0.155 | 0.002 | 0.000 | 0.000 | 0.000 |
| 4 | 4 | 0.027 | 0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | -0.565 | 0.532 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 15 | 0.053 | -0.048 | 0.003 | 0.000 | 0.000 | 0.000 | 28 | 80 | -0.197 | 0.130 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 16 | -0.027 | -0.020 | 0.002 | 0.000 | 0.000 | 0.000 |  | 103 | 0.585 | -0.208 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 5 | -0.052 | 0.061 | 0.002 | 0.000 | 0.000 | 0.000 |  | 104 | 0.230 | -0.120 | 0.002 | 0.000 | 0.000 | 0.000 |
| 5 | 5 | 0.003 | -0.019 | 0.002 | 0.000 | 0.000 | 0.000 |  | 81 | -0.617 | 0.198 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 16 | 0.027 | -0.027 | 0.003 | 0.000 | 0.000 | 0.000 | 29 | 81 | -0.273 | 0.305 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | -0.002 | 0.002 | 0.002 | 0.000 | 0.000 | 0.000 |  | 104 | 0.587 | -0.076 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 6 | -0.026 | 0.044 | 0.002 | 0.000 | 0.000 | 0.000 |  | 105 | 0.309 | -0.186 | 0.002 | 0.000 | 0.000 | 0.000 |
| 6 | 6 | -0.025 | -0.041 | 0.002 | 0.000 | 0.000 | 0.000 |  | 82 | -0.622 | -0.042 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 17 | -0.001 | -0.002 | 0.002 | 0.000 | 0.000 | 0.000 | 30 | 82 | -0.412 | 0.324 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 18 | 0.025 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 |  | 105 | 0.543 | 0.054 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 7 | 0.001 | 0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 106 | 0.422 | -0.161 | 0.002 | 0.000 | 0.000 | 0.000 |
| 7 | 7 | -0.049 | -0.058 | 0.002 | 0.000 | 0.000 | 0.000 |  | 83 | -0.552 | -0.217 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 18 | -0.027 | 0.021 | 0.002 | 0.000 | 0.000 | 0.000 | 31 | 83 | -0.530 | 0.238 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 19 | 0.051 | 0.043 | 0.002 | 0.000 | 0.000 | 0.000 |  | 106 | 0.440 | 0.154 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 8 | 0.027 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 107 | 0.522 | -0.074 | 0.002 | 0.000 | 0.000 | 0.000 |
| 8 | 8 | -0.065 | -0.064 | 0.002 | 0.000 | 0.000 | 0.000 |  | 84 | -0.430 | -0.318 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 19 | -0.043 | 0.038 | 0.002 | 0.000 | 0.000 | 0.000 | 32 | 84 | -0.600 | 0.079 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 20 | 0.067 | 0.054 | 0.003 | 0.000 | 0.000 | 0.000 |  | 107 | 0.319 | 0.194 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 9 | 0.042 | -0.028 | 0.003 | 0.000 | 0.000 | 0.000 |  | 108 | 0.565 | 0.046 | 0.002 | 0.000 | 0.000 | 0.000 |
| 9 | 9 | -0.068 | -0.056 | 0.002 | 0.000 | 0.000 | 0.000 |  | 85 | -0.283 | -0.318 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 20 | -0.043 | 0.044 | 0.002 | 0.000 | 0.000 | 0.000 | 33 | 85 | -0.600 | -0.143 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 21 | 0.071 | 0.050 | 0.003 | 0.000 | 0.000 | 0.000 |  | 108 | 0.227 | 0.144 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 10 | 0.041 | -0.038 | 0.003 | 0.000 | 0.000 | 0.000 |  | 109 | 0.568 | 0.171 | 0.002 | 0.000 | 0.000 | 0.000 |
| 10 | 10 | -0.041 | -0.026 | 0.002 | 0.000 | 0.000 | 0.000 |  | 86 | -0.195 | -0.171 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 21 | -0.011 | 0.022 | 0.002 | 0.000 | 0.000 | 0.000 | 34 | 86 | -0.568 | -0.466 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 22 | 0.041 | 0.022 | 0.003 | 0.000 | 0.000 | 0.000 |  | 109 | 0.312 | -0.094 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 11 | 0.012 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 |  | 110 | 0.564 | 0.306 | 0.002 | 0.000 | 0.000 | 0.000 |
| 11 | 12 | -0.055 | -0.038 | 0.002 | 0.000 | 0.000 | 0.000 |  | 87 | -0.306 | 0.254 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 34 | 0.133 | -0.154 | 0.003 | 0.000 | 0.000 | 0.000 | 35 | 87 | -0.444 | -0.539 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 35 | 0.057 | 0.087 | 0.002 | 0.000 | 0.000 | 0.000 |  | 110 | 0.413 | -0.284 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 13 | -0.134 | 0.105 | 0.002 | 0.000 | 0.000 | 0.000 |  | 111 | 0.390 | 0.304 | 0.002 | 0.000 | 0.000 | 0.000 |
| 12 | 34 | 0.059 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |  | 125 | -0.358 | 0.519 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 45 | 0.039 | -0.070 | 0.002 | 0.000 | 0.000 | 0.000 | 36 | 68 | -0.506 | -0.402 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.051 | -0.013 | 0.003 | 0.000 | 0.000 | 0.000 |  | 79 | 0.025 | -0.170 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 35 | -0.046 | 0.118 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | 0.561 | 0.572 | 0.002 | 0.000 | 0.000 | 0.000 |
| 13 | 45 | 0.019 | 0.026 | 0.002 | 0.000 | 0.000 | 0.000 |  | 69 | -0.078 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.035 | -0.017 | 0.002 | 0.000 | 0.000 | 0.000 | 37 | 69 | -0.580 | -0.263 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.013 | -0.028 | 0.003 | 0.000 | 0.000 | 0.000 |  | 80 | 0.035 | 0.228 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 46 | -0.040 | 0.019 | 0.003 | 0.000 | 0.000 | 0.000 |  | 81 | 0.617 | 0.232 | 0.002 | 0.000 | 0.000 | 0.000 |
| 14 | 56 | -0.102 | -0.038 | 0.002 | 0.000 | 0.000 | 0.000 |  | 70 | -0.071 | -0.197 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.036 | 0.030 | 0.002 | 0.000 | 0.000 | 0.000 | 38 | 70 | -0.540 | -0.098 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 68 | 0.111 | 0.026 | 0.003 | 0.000 | 0.000 | 0.000 |  | 81 | 0.145 | 0.377 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.044 | -0.018 | 0.003 | 0.000 | 0.000 | 0.000 |  | 82 | 0.564 | -0.041 | 0.002 | 0.000 | 0.000 | 0.000 |
| 15 | 67 | -0.277 | -0.274 | 0.002 | 0.000 | 0.000 | 0.000 |  | 71 | -0.168 | -0.239 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.208 | -0.455 | 0.003 | 0.000 | 0.000 | 0.000 | 39 | 71 | -0.444 | 0.053 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.280 | 0.507 | 0.002 | 0.000 | 0.000 | 0.000 |  | 82 | 0.294 | 0.369 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 68 | -0.211 | 0.222 | 0.003 | 0.000 | 0.000 | 0.000 |  | 83 | 0.453 | -0.238 | 0.002 | 0.000 | 0.000 | 0.000 |
| 16 | 78 | -0.397 | -0.556 | 0.002 | 0.000 | 0.000 | 0.000 |  | 72 | -0.302 | -0.185 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.364 | -0.292 | 0.002 | 0.000 | 0.000 | 0.000 | 40 | 72 | -0.310 | 0.173 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 102 | 0.451 | 0.313 | 0.002 | 0.000 | 0.000 | 0.000 |  | 83 | 0.447 | 0.248 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 79 | -0.417 | 0.535 | 0.003 | 0.000 | 0.000 | 0.000 |  | 84 | 0.303 | -0.359 | 0.002 | 0.000 | 0.000 | 0.000 |
| 17 | 101 | -0.256 | -0.133 | 0.002 | 0.000 | 0.000 | 0.000 |  | 73 | -0.438 | -0.062 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.064 | -0.042 | 0.002 | 0.000 | 0.000 | 0.000 | 41 | 73 | -0.176 | 0.230 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 113 | 0.246 | 0.203 | 0.002 | 0.000 | 0.000 | 0.000 |  | 84 | 0.561 | 0.051 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 102 | -0.053 | -0.028 | 0.003 | 0.000 | 0.000 | 0.000 |  | 85 | 0.155 | -0.372 | 0.002 | 0.000 | 0.000 | 0.000 |
| 18 | 102 | -0.326 | -0.187 | 0.003 | 0.000 | 0.000 | 0.000 |  | 74 | -0.538 | 0.092 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 113 | -0.043 | 0.029 | 0.002 | 0.000 | 0.000 | 0.000 | 42 | 74 | -0.072 | 0.202 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 114 | 0.331 | 0.282 | 0.002 | 0.000 | 0.000 | 0.000 |  | 85 | 0.622 | -0.216 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 103 | 0.040 | -0.124 | 0.002 | 0.000 | 0.000 | 0.000 |  | 86 | 0.037 | -0.248 | 0.002 | 0.000 | 0.000 | 0.000 |
| 19 | 103 | -0.364 | -0.160 | 0.003 | 0.000 | 0.000 | 0.000 |  | 75 | -0.586 | 0.261 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 114 | -0.128 | 0.211 | 0.003 | 0.000 | 0.000 | 0.000 | 43 | 75 | -0.071 | 0.028 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 115 | 0.368 | 0.205 | 0.002 | 0.000 | 0.000 | 0.000 |  | 86 | 0.572 | -0.538 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.124 | -0.256 | 0.002 | 0.000 | 0.000 | 0.000 |  | 87 | 0.021 | 0.111 | 0.002 | 0.000 | 0.000 | 0.000 |
| 20 | 104 | -0.259 | 0.044 | 0.003 | 0.000 | 0.000 | 0.000 |  | 76 | -0.521 | 0.399 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 115 | -0.161 | 0.505 | 0.003 | 0.000 | 0.000 | 0.000 | 44 | 76 | -0.204 | -0.198 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 116 | 0.261 | -0.145 | 0.002 | 0.000 | 0.000 | 0.000 |  | 87 | 0.322 | -0.528 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.160 | -0.404 | 0.003 | 0.000 | 0.000 | 0.000 |  | 125 | 0.203 | 0.424 | 0.003 | 0.000 | 0.000 | 0.000 |
| 21 | 105 | -0.100 | 0.233 | 0.003 | 0.000 | 0.000 | 0.000 |  | 77 | -0.320 | 0.302 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.049 | 0.514 | 0.002 | 0.000 | 0.000 | 0.000 | 45 | 57 | -0.132 | -0.036 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.104 | -0.381 | 0.002 | 0.000 | 0.000 | 0.000 |  | 68 | 0.082 | 0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.046 | -0.366 | 0.003 | 0.000 | 0.000 | 0.000 |  | 69 | 0.159 | 0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
|  |  |  |  |  |  |  |  |  | 58 | -0.107 | -0.007 | 0.003 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 46 | 58 | -0.181 | -0.034 | 0.002 | 0.000 | 0.000 | 0.000 | 70 | 42 | -0.122 | -0.117 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 69 | 0.163 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 53 | -0.107 | 0.098 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.200 | 0.020 | 0.003 | 0.000 | 0.000 | 0.000 |  | 54 | 0.104 | 0.096 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 59 | -0.181 | 0.019 | 0.003 | 0.000 | 0.000 | 0.000 |  | 43 | 0.126 | -0.076 | 0.002 | 0.000 | 0.000 | 0.000 |
| 47 | 59 | -0.214 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 71 | 43 | -0.029 | -0.092 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 70 | 0.214 | -0.004 | 0.002 | 0.000 | 0.000 | 0.000 |  | 54 | -0.087 | 0.042 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.226 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |  | 55 | 0.018 | 0.056 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 60 | -0.226 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |  | 127 | 0.099 | -0.006 | 0.002 | 0.000 | 0.000 | 0.000 |
| 48 | 60 | -0.237 | -0.026 | 0.002 | 0.000 | 0.000 | 0.000 | 72 | 13 | -0.048 | -0.023 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 71 | 0.239 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 |  | 35 | 0.124 | -0.119 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.242 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 36 | 0.043 | 0.054 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 61 | -0.244 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 |  | 14 | -0.119 | 0.089 | 0.002 | 0.000 | 0.000 | 0.000 |
| 49 | 61 | -0.238 | -0.023 | 0.002 | 0.000 | 0.000 | 0.000 | 73 | 14 | -0.035 | 0.004 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 72 | 0.247 | 0.001 | 0.003 | 0.000 | 0.000 | 0.000 |  | 36 | 0.083 | -0.024 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.234 | -0.009 | 0.002 | 0.000 | 0.000 | 0.000 |  | 37 | 0.036 | -0.015 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 62 | -0.242 | 0.030 | 0.002 | 0.000 | 0.000 | 0.000 |  | 15 | -0.082 | 0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
| 50 | 62 | -0.218 | -0.021 | 0.003 | 0.000 | 0.000 | 0.000 | 74 | 15 | -0.034 | 0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 73 | 0.232 | -0.006 | 0.003 | 0.000 | 0.000 | 0.000 |  | 37 | 0.066 | 0.022 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.207 | -0.005 | 0.002 | 0.000 | 0.000 | 0.000 |  | 38 | 0.035 | -0.047 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 63 | -0.219 | 0.032 | 0.002 | 0.000 | 0.000 | 0.000 |  | 16 | -0.065 | 0.008 | 0.002 | 0.000 | 0.000 | 0.000 |
| 51 | 63 | -0.170 | -0.009 | 0.003 | 0.000 | 0.000 | 0.000 | 75 | 16 | -0.041 | 0.018 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 74 | 0.207 | -0.023 | 0.003 | 0.000 | 0.000 | 0.000 |  | 38 | 0.049 | 0.049 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.152 | -0.008 | 0.002 | 0.000 | 0.000 | 0.000 |  | 39 | 0.042 | -0.055 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.187 | 0.040 | 0.002 | 0.000 | 0.000 | 0.000 |  | 17 | -0.049 | -0.012 | 0.002 | 0.000 | 0.000 | 0.000 |
| 52 | 64 | -0.102 | 0.010 | 0.003 | 0.000 | 0.000 | 0.000 | 76 | 17 | -0.053 | 0.009 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 75 | 0.163 | -0.029 | 0.003 | 0.000 | 0.000 | 0.000 |  | 39 | 0.037 | 0.060 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.079 | -0.022 | 0.002 | 0.000 | 0.000 | 0.000 |  | 40 | 0.053 | -0.046 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.138 | 0.040 | 0.002 | 0.000 | 0.000 | 0.000 |  | 18 | -0.037 | -0.023 | 0.002 | 0.000 | 0.000 | 0.000 |
| 53 | 65 | -0.045 | 0.019 | 0.003 | 0.000 | 0.000 | 0.000 | 77 | 18 | -0.067 | -0.007 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 76 | 0.122 | -0.033 | 0.003 | 0.000 | 0.000 | 0.000 |  | 40 | 0.029 | 0.057 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 77 | 0.039 | -0.031 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | 0.068 | -0.024 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 66 | -0.115 | 0.046 | 0.002 | 0.000 | 0.000 | 0.000 |  | 19 | -0.029 | -0.025 | 0.003 | 0.000 | 0.000 | 0.000 |
| 54 | 46 | 0.016 | 0.041 | 0.002 | 0.000 | 0.000 | 0.000 | 78 | 19 | -0.082 | -0.030 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 57 | 0.080 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 |  | 41 | 0.030 | 0.030 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.002 | -0.047 | 0.003 | 0.000 | 0.000 | 0.000 |  | 42 | 0.082 | 0.014 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.097 | 0.039 | 0.003 | 0.000 | 0.000 | 0.000 |  | 20 | -0.029 | -0.014 | 0.003 | 0.000 | 0.000 | 0.000 |
| 55 | 47 | -0.025 | 0.035 | 0.002 | 0.000 | 0.000 | 0.000 | 79 | 20 | -0.116 | -0.075 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 58 | 0.128 | -0.045 | 0.002 | 0.000 | 0.000 | 0.000 |  | 42 | 0.036 | -0.028 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.038 | -0.042 | 0.003 | 0.000 | 0.000 | 0.000 |  | 43 | 0.122 | 0.094 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.141 | 0.052 | 0.003 | 0.000 | 0.000 | 0.000 |  | 21 | -0.041 | 0.009 | 0.003 | 0.000 | 0.000 | 0.000 |
| 56 | 48 | -0.065 | 0.024 | 0.002 | 0.000 | 0.000 | 0.000 | 80 | 21 | -0.122 | -0.085 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 59 | 0.150 | -0.042 | 0.002 | 0.000 | 0.000 | 0.000 |  | 43 | 0.064 | -0.073 | 0.002 | 0.000 | 0.000 | 0.000 |
|  | 60 | 0.073 | -0.030 | 0.003 | 0.000 | 0.000 | 0.000 |  | 127 | 0.120 | 0.122 | 0.003 | 0.000 | 0.000 | 0.000 |
|  | 49 | -0.158 | 0.048 | 0.003 | 0.000 | 0.000 | 0.000 |  | 22 | -0.060 | 0.035 | 0.002 | 0.000 | 0.000 | 0.000 |
| 57 | 49 | -0.106 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 | Load case 50 (Linear): COMB 5 (1+2+7+6) |  |  |  |  |  |  |  |
|  | 60 | 0.143 | -0.022 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | 0.110 | -0.009 | 0.002 | 0.000 | 0.000 | 0.000 | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
|  | 50 | -0.145 | 0.028 | 0.002 | 0.000 | 0.000 | 0.000 | 1 | 1 | 0.009 | 0.015 | 0.004 | 0.000 | -0.001 | 0.000 |
| 58 | 50 | -0.136 | -0.019 | 0.002 | 0.000 | 0.000 | 0.000 |  | 12 | 0.037 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 61 | 0.117 | 0.002 | 0.003 | 0.000 | 0.000 | 0.000 |  | 13 | -0.006 | -0.020 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.133 | 0.013 | 0.002 | 0.000 | 0.000 | 0.000 |  | 2 | -0.038 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.114 | 0.003 | 0.002 | 0.000 | 0.000 | 0.000 | 2 | 2 | 0.035 | 0.034 | 0.004 | 0.000 | -0.001 | 0.000 |
| 59 | 51 | -0.147 | -0.037 | 0.002 | 0.000 | 0.000 | 0.000 |  | 13 | 0.069 | -0.048 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 62 | 0.079 | 0.026 | 0.003 | 0.000 | 0.000 | 0.000 |  | 14 | -0.036 | -0.039 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.139 | 0.032 | 0.002 | 0.000 | 0.000 | 0.000 |  | 3 | -0.066 | 0.053 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.070 | -0.021 | 0.002 | 0.000 | 0.000 | 0.000 | 3 | 3 | 0.040 | 0.026 | 0.004 | 0.000 | 0.000 | 0.000 |
| 60 | 52 | -0.128 | -0.040 | 0.003 | 0.000 | 0.000 | 0.000 |  | 14 | 0.070 | -0.056 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 63 | 0.041 | 0.040 | 0.003 | 0.000 | 0.000 | 0.000 |  | 15 | -0.040 | -0.036 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 64 | 0.114 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 |  | 4 | -0.068 | 0.066 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 53 | -0.026 | -0.033 | 0.002 | 0.000 | 0.000 | 0.000 | 4 | 4 | 0.026 | 0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
| 61 | 53 | -0.086 | -0.031 | 0.003 | 0.000 | 0.000 | 0.000 |  | 15 | 0.053 | -0.045 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 64 | -0.004 | 0.049 | 0.003 | 0.000 | 0.000 | 0.000 |  | 16 | -0.026 | -0.022 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 65 | 0.068 | 0.027 | 0.002 | 0.000 | 0.000 | 0.000 |  | 5 | -0.052 | 0.060 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 54 | 0.022 | -0.045 | 0.002 | 0.000 | 0.000 | 0.000 | 5 | 5 | 0.002 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 |
| 62 | 54 | -0.027 | -0.012 | 0.003 | 0.000 | 0.000 | 0.000 |  | 16 | 0.028 | -0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 65 | -0.017 | 0.029 | 0.003 | 0.000 | 0.000 | 0.000 |  | 17 | -0.001 | -0.001 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 66 | 0.023 | 0.010 | 0.002 | 0.000 | 0.000 | 0.000 |  | 6 | -0.027 | 0.042 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 55 | 0.023 | -0.026 | 0.002 | 0.000 | 0.000 | 0.000 | 6 | 6 | -0.025 | -0.040 | 0.004 | 0.000 | 0.000 | 0.000 |
| 63 | 35 | 0.101 | 0.038 | 0.002 | 0.000 | 0.000 | 0.000 |  | 17 | 0.000 | 0.001 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 46 | 0.125 | -0.118 | 0.002 | 0.000 | 0.000 | 0.000 |  | 18 | 0.026 | 0.020 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 47 | -0.085 | -0.073 | 0.003 | 0.000 | 0.000 | 0.000 |  | 7 | 0.000 | 0.019 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 36 | -0.139 | 0.152 | 0.002 | 0.000 | 0.000 | 0.000 | 7 | 7 | -0.049 | -0.056 | 0.004 | 0.000 | 0.000 | 0.000 |
| 64 | 36 | 0.086 | 0.108 | 0.002 | 0.000 | 0.000 | 0.000 |  | 18 | -0.025 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 47 | 0.151 | -0.093 | 0.002 | 0.000 | 0.000 | 0.000 |  | 19 | 0.051 | 0.040 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 48 | -0.075 | -0.106 | 0.003 | 0.000 | 0.000 | 0.000 |  | 8 | 0.025 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 37 | -0.161 | 0.091 | 0.002 | 0.000 | 0.000 | 0.000 | 8 | 8 | -0.066 | -0.063 | 0.004 | 0.000 | 0.000 | 0.000 |
| 65 | 37 | 0.041 | 0.116 | 0.002 | 0.000 | 0.000 | 0.000 |  | 19 | -0.041 | 0.039 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 48 | 0.138 | -0.052 | 0.002 | 0.000 | 0.000 | 0.000 |  | 20 | 0.067 | 0.051 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 49 | -0.035 | -0.098 | 0.003 | 0.000 | 0.000 | 0.000 |  | 9 | 0.041 | -0.028 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 38 | -0.143 | 0.034 | 0.002 | 0.000 | 0.000 | 0.000 | 9 | 9 | -0.068 | -0.054 | 0.004 | 0.000 | 0.000 | 0.000 |
| 66 | 38 | -0.019 | 0.087 | 0.002 | 0.000 | 0.000 | 0.000 |  | 20 | -0.041 | 0.045 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 49 | 0.094 | 0.001 | 0.002 | 0.000 | 0.000 | 0.000 |  | 21 | 0.071 | 0.047 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 50 | 0.022 | -0.062 | 0.002 | 0.000 | 0.000 | 0.000 |  | 10 | 0.040 | -0.039 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 39 | -0.095 | -0.025 | 0.002 | 0.000 | 0.000 | 0.000 | 10 | 10 | -0.041 | -0.025 | 0.004 | 0.000 | 0.000 | 0.000 |
| 67 | 39 | -0.078 | 0.041 | 0.002 | 0.000 | 0.000 | 0.000 |  | 21 | -0.009 | 0.022 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 50 | 0.036 | 0.053 | 0.003 | 0.000 | 0.000 | 0.000 |  | 22 | 0.041 | 0.020 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 51 | 0.076 | -0.016 | 0.002 | 0.000 | 0.000 | 0.000 |  | 11 | 0.011 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 40 | -0.033 | -0.077 | 0.002 | 0.000 | 0.000 | 0.000 | 11 | 12 | -0.069 | -0.053 | 0.004 | 0.000 | 0.000 | 0.000 |
| 68 | 40 | -0.123 | -0.012 | 0.002 | 0.000 | 0.000 | 0.000 |  | 34 | 0.140 | -0.177 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 51 | -0.026 | 0.095 | 0.003 | 0.000 | 0.000 | 0.000 |  | 35 | 0.073 | 0.115 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 52 | 0.118 | 0.032 | 0.002 | 0.000 | 0.000 | 0.000 |  | 13 | -0.143 | 0.115 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 41 | 0.033 | -0.115 | 0.002 | 0.000 | 0.000 | 0.000 | 12 | 34 | 0.054 | -0.058 | 0.004 | 0.000 | 0.000 | 0.000 |
| 69 | 41 | -0.140 | -0.062 | 0.002 | 0.000 | 0.000 | 0.000 |  | 45 | 0.051 | -0.086 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 52 | -0.075 | 0.112 | 0.003 | 0.000 | 0.000 | 0.000 |  | 46 | -0.044 | -0.003 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 53 | 0.129 | 0.070 | 0.002 | 0.000 | 0.000 | 0.000 |  | 35 | -0.059 | 0.147 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 42 | 0.087 | -0.120 | 0.002 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |  |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 | 45 | 0.024 | 0.031 | 0.004 | 0.000 | 0.000 | 0.000 | 37 | 69 | -0.596 | -0.271 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 56 | 0.037 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 |  | 80 | 0.026 | 0.245 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 57 | -0.019 | -0.032 | 0.004 | 0.000 | 0.001 | 0.000 |  | 81 | 0.634 | 0.236 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 46 | -0.040 | 0.019 | 0.004 | 0.000 | 0.000 | 0.000 |  | 70 | -0.062 | -0.211 | 0.004 | 0.000 | 0.000 | 0.000 |
| 14 | 56 | -0.101 | -0.037 | 0.004 | 0.000 | 0.000 | 0.000 | 38 | 70 | -0.551 | -0.097 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 67 | 0.032 | 0.034 | 0.004 | 0.000 | 0.000 | 0.000 |  | 81 | 0.138 | 0.400 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 68 | 0.109 | 0.025 | 0.004 | 0.000 | 0.001 | 0.000 |  | 82 | 0.575 | -0.049 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 57 | -0.039 | -0.022 | 0.004 | 0.000 | 0.000 | 0.000 |  | 71 | -0.161 | -0.255 | 0.004 | 0.000 | 0.000 | 0.000 |
| 15 | 67 | -0.286 | -0.287 | 0.004 | 0.000 | 0.000 | 0.000 | 39 | 71 | -0.449 | 0.062 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 78 | 0.211 | -0.473 | 0.004 | 0.000 | 0.000 | 0.000 |  | 82 | 0.292 | 0.392 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 79 | 0.291 | 0.531 | 0.004 | 0.000 | 0.001 | 0.000 |  | 83 | 0.458 | -0.255 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 68 | -0.214 | 0.230 | 0.004 | 0.000 | 0.000 | 0.000 |  | 72 | -0.300 | -0.198 | 0.004 | 0.000 | 0.000 | 0.000 |
| 16 | 78 | -0.405 | -0.577 | 0.004 | 0.000 | -0.001 | 0.000 | 40 | 72 | -0.308 | 0.187 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 101 | 0.377 | -0.306 | 0.004 | 0.000 | 0.000 | 0.000 |  | 83 | 0.452 | 0.265 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 102 | 0.460 | 0.322 | 0.004 | 0.000 | 0.001 | 0.000 |  | 84 | 0.301 | -0.381 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 79 | -0.430 | 0.561 | 0.004 | 0.000 | -0.001 | 0.000 |  | 73 | -0.443 | -0.071 | 0.004 | 0.000 | 0.000 | 0.000 |
| 17 | 101 | -0.258 | -0.133 | 0.004 | 0.000 | -0.001 | 0.000 | 41 | 73 | -0.169 | 0.246 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 112 | 0.065 | -0.041 | 0.004 | 0.000 | 0.000 | 0.000 |  | 84 | 0.573 | 0.058 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 113 | 0.248 | 0.203 | 0.004 | 0.000 | 0.000 | 0.000 |  | 85 | 0.148 | -0.395 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 102 | -0.053 | -0.029 | 0.004 | 0.000 | 0.000 | 0.000 |  | 74 | -0.550 | 0.091 | 0.004 | 0.000 | 0.000 | 0.000 |
| 18 | 102 | -0.326 | -0.185 | 0.004 | 0.000 | -0.001 | 0.000 | 42 | 74 | -0.063 | 0.216 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 113 | -0.045 | 0.031 | 0.004 | 0.000 | 0.000 | 0.000 |  | 85 | 0.639 | -0.221 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 114 | 0.331 | 0.281 | 0.004 | 0.000 | 0.000 | 0.000 |  | 86 | 0.028 | -0.265 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 103 | 0.042 | -0.127 | 0.004 | 0.000 | 0.000 | 0.000 |  | 75 | -0.602 | 0.269 | 0.004 | 0.000 | 0.000 | 0.000 |
| 19 | 103 | -0.363 | -0.156 | 0.004 | 0.000 | -0.001 | 0.000 | 43 | 75 | -0.067 | 0.031 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 114 | -0.129 | 0.216 | 0.004 | 0.000 | 0.000 | 0.000 |  | 86 | 0.590 | -0.561 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 115 | 0.368 | 0.201 | 0.004 | 0.000 | 0.000 | 0.000 |  | 87 | 0.017 | 0.115 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.126 | -0.260 | 0.004 | 0.000 | 0.000 | 0.000 |  | 76 | -0.539 | 0.415 | 0.004 | 0.000 | 0.000 | 0.000 |
| 20 | 104 | -0.257 | 0.050 | 0.004 | 0.000 | -0.001 | 0.000 | 44 | 76 | -0.208 | -0.205 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 115 | -0.163 | 0.512 | 0.004 | 0.000 | 0.000 | 0.000 |  | 87 | 0.333 | -0.553 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 116 | 0.260 | -0.151 | 0.004 | 0.000 | 0.000 | 0.000 |  | 125 | 0.206 | 0.442 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.162 | -0.410 | 0.004 | 0.000 | 0.000 | 0.000 |  | 77 | -0.330 | 0.316 | 0.004 | 0.000 | 0.000 | 0.000 |
| 21 | 105 | -0.097 | 0.240 | 0.004 | 0.000 | -0.001 | 0.000 | 45 | 57 | -0.128 | -0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 116 | -0.051 | 0.522 | 0.004 | 0.000 | 0.000 | 0.000 |  | 68 | 0.075 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.102 | -0.389 | 0.004 | 0.000 | 0.000 | 0.000 |  | 69 | 0.155 | 0.022 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 106 | 0.048 | -0.373 | 0.004 | 0.000 | -0.001 | 0.000 |  | 58 | -0.100 | -0.012 | 0.004 | 0.000 | 0.000 | 0.000 |
| 22 | 106 | 0.053 | 0.369 | 0.004 | 0.000 | -0.001 | 0.000 | 46 | 58 | -0.176 | -0.031 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 117 | 0.109 | 0.388 | 0.004 | 0.000 | 0.000 | 0.000 |  | 69 | 0.156 | 0.001 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 118 | -0.057 | -0.517 | 0.004 | 0.000 | 0.000 | 0.000 |  | 70 | 0.195 | 0.016 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 107 | -0.103 | -0.239 | 0.004 | 0.000 | -0.001 | 0.000 |  | 59 | -0.174 | 0.014 | 0.004 | 0.000 | 0.000 | 0.000 |
| 23 | 107 | 0.165 | 0.403 | 0.004 | 0.000 | 0.000 | 0.000 | 47 | 59 | -0.208 | -0.024 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 118 | 0.267 | 0.145 | 0.004 | 0.000 | 0.000 | 0.000 |  | 70 | 0.208 | 0.002 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 119 | -0.167 | -0.503 | 0.004 | 0.000 | 0.000 | 0.000 |  | 71 | 0.221 | -0.002 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 108 | -0.263 | -0.044 | 0.004 | 0.000 | -0.001 | 0.000 |  | 60 | -0.219 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
| 24 | 108 | 0.130 | 0.257 | 0.004 | 0.000 | 0.000 | 0.000 | 48 | 60 | -0.230 | -0.021 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 119 | 0.373 | -0.210 | 0.004 | 0.000 | 0.000 | 0.000 |  | 71 | 0.233 | 0.010 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 120 | -0.133 | -0.213 | 0.004 | 0.000 | 0.000 | 0.000 |  | 72 | 0.236 | -0.011 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 109 | -0.369 | 0.166 | 0.004 | 0.000 | -0.001 | 0.000 |  | 61 | -0.237 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |
| 25 | 109 | 0.040 | 0.129 | 0.004 | 0.000 | 0.000 | 0.000 | 49 | 61 | -0.230 | -0.017 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 120 | 0.325 | -0.278 | 0.004 | 0.000 | 0.000 | 0.000 |  | 72 | 0.241 | 0.008 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 121 | -0.043 | -0.031 | 0.004 | 0.000 | 0.000 | 0.000 |  | 73 | 0.227 | -0.016 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 110 | -0.320 | 0.180 | 0.004 | 0.000 | -0.001 | 0.000 |  | 62 | -0.236 | 0.025 | 0.004 | 0.000 | 0.000 | 0.000 |
| 26 | 110 | -0.053 | 0.028 | 0.004 | 0.000 | 0.000 | 0.000 | 50 | 62 | -0.211 | -0.015 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 121 | 0.244 | -0.202 | 0.004 | 0.000 | 0.000 | 0.000 |  | 73 | 0.227 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 122 | 0.065 | 0.040 | 0.004 | 0.000 | 0.000 | 0.000 |  | 74 | 0.199 | -0.012 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 111 | -0.255 | 0.134 | 0.004 | 0.000 | 0.000 | 0.000 |  | 63 | -0.214 | 0.028 | 0.004 | 0.000 | 0.000 | 0.000 |
| 27 | 79 | -0.345 | -0.350 | 0.004 | 0.000 | -0.001 | 0.000 | 51 | 63 | -0.163 | -0.004 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 102 | 0.583 | -0.361 | 0.004 | 0.000 | 0.000 | 0.000 |  | 74 | 0.203 | -0.019 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 103 | 0.349 | 0.154 | 0.004 | 0.000 | 0.000 | 0.000 |  | 75 | 0.145 | -0.014 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 80 | -0.586 | 0.557 | 0.004 | 0.000 | 0.000 | 0.000 |  | 64 | -0.183 | 0.037 | 0.004 | 0.000 | 0.000 | 0.000 |
| 28 | 80 | -0.190 | 0.145 | 0.004 | 0.000 | -0.001 | 0.000 | 52 | 64 | -0.095 | 0.015 | 0.004 | 0.000 | -0.001 | 0.000 |
|  | 103 | 0.604 | -0.217 | 0.004 | 0.000 | 0.000 | 0.000 |  | 75 | 0.159 | -0.025 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 104 | 0.223 | -0.133 | 0.004 | 0.000 | 0.000 | 0.000 |  | 76 | 0.072 | -0.028 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 81 | -0.636 | 0.204 | 0.004 | 0.000 | -0.001 | 0.000 |  | 65 | -0.134 | 0.038 | 0.004 | 0.000 | 0.000 | 0.000 |
| 29 | 81 | -0.267 | 0.327 | 0.004 | 0.000 | -0.001 | 0.000 | 53 | 65 | -0.039 | 0.022 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 104 | 0.601 | -0.076 | 0.004 | 0.000 | 0.000 | 0.000 |  | 76 | 0.120 | -0.032 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.303 | -0.202 | 0.004 | 0.000 | 0.000 | 0.000 |  | 77 | 0.035 | -0.035 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 82 | -0.635 | -0.049 | 0.004 | 0.000 | -0.001 | 0.000 |  | 66 | -0.115 | 0.046 | 0.004 | 0.000 | 0.000 | 0.000 |
| 30 | 82 | -0.411 | 0.346 | 0.004 | 0.000 | -0.001 | 0.000 | 54 | 46 | 0.025 | 0.049 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 105 | 0.550 | 0.062 | 0.004 | 0.000 | 0.000 | 0.000 |  | 57 | 0.079 | -0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.421 | -0.175 | 0.004 | 0.000 | 0.000 | 0.000 |  | 58 | -0.007 | -0.054 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 83 | -0.559 | -0.233 | 0.004 | 0.000 | -0.001 | 0.000 |  | 47 | -0.096 | 0.038 | 0.004 | 0.000 | 0.000 | 0.000 |
| 31 | 83 | -0.536 | 0.254 | 0.004 | 0.000 | -0.001 | 0.000 | 55 | 47 | -0.016 | 0.042 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 106 | 0.440 | 0.168 | 0.004 | 0.000 | 0.000 | 0.000 |  | 58 | 0.127 | -0.044 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.528 | -0.082 | 0.004 | 0.000 | 0.000 | 0.000 |  | 59 | 0.030 | -0.048 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 84 | -0.430 | -0.340 | 0.004 | 0.000 | -0.001 | 0.000 |  | 48 | -0.139 | 0.050 | 0.004 | 0.000 | 0.000 | 0.000 |
| 32 | 84 | -0.613 | 0.086 | 0.004 | 0.000 | -0.001 | 0.000 | 56 | 48 | -0.057 | 0.032 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 107 | 0.314 | 0.210 | 0.004 | 0.000 | 0.000 | 0.000 |  | 59 | 0.148 | -0.039 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.578 | 0.045 | 0.004 | 0.000 | 0.000 | 0.000 |  | 60 | 0.066 | -0.037 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 85 | -0.278 | -0.342 | 0.004 | 0.000 | -0.001 | 0.000 |  | 49 | -0.155 | 0.044 | 0.004 | 0.000 | 0.000 | 0.000 |
| 33 | 85 | -0.618 | -0.148 | 0.004 | 0.000 | -0.001 | 0.000 | 57 | 49 | -0.100 | 0.010 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 108 | 0.220 | 0.158 | 0.004 | 0.000 | 0.000 | 0.000 |  | 60 | 0.138 | -0.017 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.587 | 0.178 | 0.004 | 0.000 | 0.000 | 0.000 |  | 61 | 0.103 | -0.015 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 86 | -0.188 | -0.188 | 0.004 | 0.000 | -0.001 | 0.000 |  | 50 | -0.140 | 0.022 | 0.004 | 0.000 | 0.000 | 0.000 |
| 34 | 86 | -0.589 | -0.489 | 0.004 | 0.000 | -0.001 | 0.000 | 58 | 50 | -0.131 | -0.013 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 109 | 0.310 | -0.091 | 0.004 | 0.000 | 0.000 | 0.000 |  | 61 | 0.111 | 0.008 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.585 | 0.322 | 0.004 | 0.000 | 0.000 | 0.000 |  | 62 | 0.128 | 0.009 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 87 | -0.304 | 0.258 | 0.004 | 0.000 | -0.001 | 0.000 |  | 51 | -0.107 | -0.004 | 0.004 | 0.000 | 0.000 | 0.000 |
| 35 | 87 | -0.458 | -0.565 | 0.004 | 0.000 | -0.001 | 0.000 | 59 | 51 | -0.144 | -0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 110 | 0.421 | -0.292 | 0.004 | 0.000 | 0.000 | 0.000 |  | 62 | 0.072 | 0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 111 | 0.404 | 0.319 | 0.004 | 0.000 | 0.000 | 0.000 |  | 63 | 0.136 | 0.028 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 125 | -0.364 | 0.539 | 0.004 | 0.000 | -0.001 | 0.000 |  | 52 | -0.062 | -0.029 | 0.004 | 0.000 | 0.000 | 0.000 |
| 36 | 68 | -0.523 | -0.418 | 0.004 | 0.000 | 0.000 | 0.000 | 60 | 52 | -0.126 | -0.038 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 79 | 0.021 | -0.175 | 0.004 | 0.000 | 0.000 | 0.000 |  | 63 | 0.033 | 0.046 | 0.004 | 0.000 | 0.001 | 0.000 |
|  | 80 | 0.579 | 0.594 | 0.004 | 0.000 | 0.001 | 0.000 |  | 64 | 0.112 | 0.033 | 0.004 | 0.000 | 0.000 | 0.000 |
|  | 69 | -0.074 | -0.002 | 0.004 | 0.000 | 0.000 | 0.000 |  | 53 | -0.018 | -0.041 | 0.004 | 0.000 | 0.000 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 61 | 53 | -0.084 | -0.031 | 0.004 | 0.000 | -0.001 | 0.000 | 4 | 4 | 0.024 | 0.008 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 64 | -0.012 | 0.056 | 0.004 | 0.000 | 0.001 | 0.000 |  | 15 | 0.055 | -0.040 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 65 | 0.067 | 0.026 | 0.004 | 0.000 | 0.000 | 0.000 |  | 16 | -0.023 | -0.025 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 54 | 0.031 | -0.052 | 0.004 | 0.000 | 0.000 | 0.000 |  | 5 | -0.053 | 0.058 | 0.006 | -0.001 | -0.001 | 0.000 |
| 62 | 54 | -0.026 | -0.012 | 0.004 | 0.000 | 0.000 | 0.000 | 5 | 5 | 0.000 | -0.016 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 65 | -0.023 | 0.032 | 0.004 | 0.000 | 0.000 | 0.000 |  | 16 | 0.030 | -0.018 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 66 | 0.024 | 0.010 | 0.004 | 0.000 | 0.000 | 0.000 |  | 17 | 0.001 | -0.006 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 55 | 0.027 | -0.030 | 0.004 | 0.000 | 0.000 | 0.000 |  | 6 | -0.028 | 0.040 | 0.006 | -0.001 | -0.001 | 0.000 |
| 63 | 35 | 0.105 | 0.033 | 0.004 | 0.000 | 0.000 | 0.000 | 6 | 6 | -0.026 | -0.038 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 46 | 0.148 | -0.139 | 0.004 | 0.000 | 0.000 | 0.000 |  | 17 | 0.003 | 0.005 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 47 | -0.088 | -0.076 | 0.004 | 0.000 | 0.000 | 0.000 |  | 18 | 0.028 | 0.015 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 36 | -0.164 | 0.182 | 0.004 | 0.000 | 0.000 | 0.000 |  | 7 | -0.002 | 0.017 | 0.006 | -0.001 | -0.001 | 0.000 |
| 64 | 36 | 0.096 | 0.127 | 0.004 | 0.000 | 0.000 | 0.000 | 7 | 7 | -0.051 | -0.054 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 47 | 0.174 | -0.105 | 0.004 | 0.000 | 0.000 | 0.000 |  | 18 | -0.022 | 0.027 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 48 | -0.084 | -0.122 | 0.004 | 0.000 | 0.000 | 0.000 |  | 19 | 0.052 | 0.036 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 37 | -0.184 | 0.100 | 0.004 | 0.000 | 0.000 | 0.000 |  | 8 | 0.023 | -0.008 | 0.006 | -0.001 | -0.001 | 0.000 |
| 65 | 37 | 0.048 | 0.141 | 0.004 | 0.000 | 0.000 | 0.000 | 8 | 8 | -0.067 | -0.061 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 48 | 0.155 | -0.054 | 0.004 | 0.000 | 0.000 | 0.000 |  | 19 | -0.039 | 0.042 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 49 | -0.041 | -0.116 | 0.004 | 0.000 | 0.000 | 0.000 |  | 20 | 0.069 | 0.048 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 38 | -0.160 | 0.028 | 0.004 | 0.000 | 0.000 | 0.000 |  | 9 | 0.039 | -0.029 | 0.006 | -0.001 | -0.001 | 0.000 |
| 66 | 38 | -0.019 | 0.111 | 0.004 | 0.000 | 0.000 | 0.000 | 9 | 9 | -0.070 | -0.052 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 49 | 0.103 | 0.008 | 0.004 | 0.000 | 0.000 | 0.000 |  | 20 | -0.038 | 0.048 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 50 | 0.022 | -0.077 | 0.004 | 0.000 | 0.000 | 0.000 |  | 21 | 0.073 | 0.044 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 39 | -0.104 | -0.042 | 0.004 | 0.000 | 0.000 | 0.000 |  | 10 | 0.037 | -0.039 | 0.006 | -0.001 | -0.001 | 0.000 |
| 67 | 39 | -0.086 | 0.058 | 0.004 | 0.000 | 0.000 | 0.000 | 10 | 10 | -0.040 | -0.022 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 50 | 0.037 | 0.067 | 0.004 | 0.000 | 0.000 | 0.000 |  | 21 | -0.004 | 0.022 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 51 | 0.085 | -0.024 | 0.004 | 0.000 | 0.000 | 0.000 |  | 22 | 0.040 | 0.016 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 40 | -0.034 | -0.101 | 0.004 | 0.000 | 0.000 | 0.000 |  | 11 | 0.007 | -0.016 | 0.006 | -0.001 | -0.001 | 0.000 |
| 68 | 40 | -0.140 | -0.005 | 0.004 | 0.000 | 0.000 | 0.000 | 11 | 12 | -0.094 | -0.080 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 51 | -0.031 | 0.113 | 0.004 | 0.000 | 0.000 | 0.000 |  | 34 | 0.156 | -0.218 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 52 | 0.134 | 0.033 | 0.004 | 0.000 | 0.000 | 0.000 |  | 35 | 0.102 | 0.164 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 41 | 0.039 | -0.141 | 0.004 | 0.000 | 0.000 | 0.000 |  | 13 | -0.161 | 0.134 | 0.006 | -0.001 | -0.001 | 0.000 |
| 69 | 41 | -0.163 | -0.070 | 0.004 | 0.000 | 0.000 | 0.000 | 12 | 34 | 0.046 | -0.094 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 52 | -0.084 | 0.129 | 0.004 | 0.000 | 0.000 | 0.000 |  | 45 | 0.072 | -0.113 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 53 | 0.151 | 0.081 | 0.004 | 0.000 | 0.000 | 0.000 |  | 46 | -0.035 | 0.012 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 42 | 0.097 | -0.139 | 0.004 | 0.000 | 0.000 | 0.000 |  | 35 | -0.081 | 0.195 | 0.006 | -0.001 | -0.001 | 0.000 |
| 70 | 42 | -0.145 | -0.146 | 0.004 | 0.000 | 0.000 | 0.000 | 13 | 45 | 0.032 | 0.038 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 53 | -0.111 | 0.101 | 0.004 | 0.000 | 0.000 | 0.000 |  | 56 | 0.039 | -0.020 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 54 | 0.127 | 0.115 | 0.004 | 0.000 | 0.000 | 0.000 |  | 57 | -0.028 | -0.039 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 43 | 0.132 | -0.071 | 0.004 | 0.000 | 0.000 | 0.000 |  | 46 | -0.041 | 0.020 | 0.006 | -0.001 | -0.001 | 0.000 |
| 71 | 43 | -0.041 | -0.120 | 0.004 | 0.000 | 0.000 | 0.000 | 14 | 56 | -0.100 | -0.037 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 54 | -0.082 | 0.033 | 0.004 | 0.000 | 0.000 | 0.000 |  | 67 | 0.025 | 0.041 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 55 | 0.030 | 0.071 | 0.004 | 0.000 | 0.000 | 0.000 |  | 68 | 0.108 | 0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 127 | 0.095 | 0.016 | 0.004 | 0.000 | 0.000 | 0.000 |  | 57 | -0.031 | -0.028 | 0.006 | -0.001 | -0.001 | 0.000 |
| 72 | 13 | -0.071 | -0.042 | 0.004 | 0.000 | 0.000 | 0.000 | 15 | 67 | -0.305 | -0.311 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 35 | 0.127 | -0.129 | 0.004 | 0.000 | 0.000 | 0.000 |  | 78 | 0.218 | -0.508 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 36 | 0.068 | 0.081 | 0.004 | 0.000 | 0.000 | 0.000 |  | 79 | 0.312 | 0.575 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 14 | -0.122 | 0.090 | 0.004 | 0.000 | 0.000 | 0.000 |  | 68 | -0.222 | 0.244 | 0.006 | -0.001 | -0.001 | 0.000 |
| 73 | 14 | -0.058 | -0.006 | 0.004 | 0.000 | 0.000 | 0.000 | 16 | 78 | -0.426 | -0.617 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 36 | 0.079 | -0.009 | 0.004 | 0.000 | 0.000 | 0.000 |  | 101 | 0.408 | -0.335 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 37 | 0.060 | -0.008 | 0.004 | 0.000 | 0.000 | 0.000 |  | 102 | 0.482 | 0.342 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 15 | -0.080 | 0.023 | 0.004 | 0.000 | 0.000 | 0.000 |  | 79 | -0.462 | 0.610 | 0.006 | -0.001 | -0.001 | 0.000 |
| 74 | 15 | -0.052 | 0.016 | 0.004 | 0.000 | 0.000 | 0.000 | 17 | 101 | -0.262 | -0.132 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 37 | 0.065 | 0.044 | 0.004 | 0.000 | 0.000 | 0.000 |  | 112 | 0.069 | -0.041 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 38 | 0.053 | -0.054 | 0.004 | 0.000 | 0.000 | 0.000 |  | 113 | 0.252 | 0.204 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 16 | -0.064 | -0.007 | 0.004 | 0.000 | 0.000 | 0.000 |  | 102 | -0.056 | -0.031 | 0.006 | -0.001 | -0.001 | 0.000 |
| 75 | 16 | -0.053 | 0.024 | 0.004 | 0.000 | 0.000 | 0.000 | 18 | 102 | -0.330 | -0.182 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 38 | 0.055 | 0.070 | 0.004 | 0.000 | 0.000 | 0.000 |  | 113 | -0.044 | 0.036 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 39 | 0.054 | -0.071 | 0.004 | 0.000 | 0.000 | 0.000 |  | 114 | 0.334 | 0.280 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 17 | -0.054 | -0.024 | 0.004 | 0.000 | 0.000 | 0.000 |  | 103 | 0.042 | -0.133 | 0.006 | -0.001 | -0.001 | 0.000 |
| 76 | 17 | -0.057 | 0.021 | 0.004 | 0.000 | 0.000 | 0.000 | 19 | 103 | -0.365 | -0.151 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 39 | 0.050 | 0.076 | 0.004 | 0.000 | 0.000 | 0.000 |  | 114 | -0.131 | 0.225 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 40 | 0.058 | -0.068 | 0.004 | 0.000 | 0.000 | 0.000 |  | 115 | 0.370 | 0.196 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 18 | -0.049 | -0.029 | 0.004 | 0.000 | 0.000 | 0.000 |  | 104 | 0.129 | -0.269 | 0.006 | -0.001 | -0.001 | 0.000 |
| 77 | 18 | -0.066 | 0.007 | 0.004 | 0.000 | 0.000 | 0.000 | 20 | 104 | -0.257 | 0.059 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 40 | 0.049 | 0.062 | 0.004 | 0.000 | 0.000 | 0.000 |  | 115 | -0.166 | 0.524 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 41 | 0.067 | -0.046 | 0.004 | 0.000 | 0.000 | 0.000 |  | 116 | 0.260 | -0.162 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 19 | -0.048 | -0.023 | 0.004 | 0.000 | 0.000 | 0.000 |  | 105 | 0.165 | -0.422 | 0.006 | -0.001 | -0.001 | 0.000 |
| 78 | 19 | -0.079 | -0.018 | 0.004 | 0.000 | 0.000 | 0.000 | 21 | 105 | -0.095 | 0.252 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 41 | 0.054 | 0.022 | 0.004 | 0.000 | 0.000 | 0.000 |  | 116 | -0.054 | 0.536 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 42 | 0.079 | 0.000 | 0.004 | 0.000 | 0.001 | 0.000 |  | 117 | 0.101 | -0.402 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 20 | -0.052 | -0.004 | 0.004 | 0.000 | 0.000 | 0.000 |  | 106 | 0.051 | -0.386 | 0.006 | -0.001 | -0.001 | 0.000 |
| 79 | 20 | -0.119 | -0.077 | 0.004 | 0.000 | 0.000 | 0.000 | 22 | 106 | 0.056 | 0.382 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 42 | 0.061 | -0.055 | 0.004 | 0.000 | 0.000 | 0.000 |  | 117 | 0.108 | 0.401 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 43 | 0.125 | 0.104 | 0.004 | 0.000 | 0.001 | 0.000 |  | 118 | -0.059 | -0.531 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 21 | -0.065 | 0.028 | 0.004 | 0.000 | 0.000 | 0.000 |  | 107 | -0.102 | -0.252 | 0.006 | -0.001 | -0.001 | 0.000 |
| 80 | 21 | -0.132 | -0.095 | 0.004 | 0.000 | 0.000 | 0.000 | 23 | 107 | 0.168 | 0.415 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 43 | 0.079 | -0.101 | 0.004 | 0.000 | 0.000 | 0.000 |  | 118 | 0.267 | 0.155 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 127 | 0.128 | 0.145 | 0.004 | 0.000 | 0.000 | 0.000 |  | 119 | -0.170 | -0.516 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 22 | -0.074 | 0.051 | 0.004 | 0.000 | 0.000 | 0.000 |  | 108 | -0.263 | -0.054 | 0.006 | -0.001 | -0.001 | 0.000 |
| Load case 60 (Linear): COMB 6 (1+3+6+8) 24 |  |  |  |  |  |  |  |  | 108 | 0.133 | 0.266 | 0.006 | 0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.376 | -0.205 | 0.006 | 0.001 | 0.001 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | -0.135 | -0.223 | 0.006 | -0.001 | 0.001 | 0.000 |
| 1 | 1 | 0.005 | 0.014 | 0.006 | 0.001 | -0.001 | 0.000 |  | 109 | -0.371 | 0.161 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 12 | 0.036 | -0.013 | 0.006 | 0.001 | 0.001 | 0.000 | 25 | 109 | 0.041 | 0.135 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 13 | -0.002 | -0.020 | 0.006 | -0.001 | 0.001 | 0.000 |  | 120 | 0.328 | -0.276 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 2 | -0.037 | 0.020 | 0.006 | -0.001 | -0.001 | 0.000 |  | 121 | -0.043 | -0.036 | 0.006 | -0.001 | 0.001 | 0.000 |
| 2 | 2 | 0.032 | 0.034 | 0.006 | 0.001 | -0.001 | 0.000 |  | 110 | -0.323 | 0.176 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 13 | 0.071 | -0.045 | 0.006 | 0.001 | 0.001 | 0.000 | 26 | 110 | -0.055 | 0.030 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 14 | -0.033 | -0.041 | 0.006 | -0.001 | 0.001 | 0.000 |  | 121 | 0.248 | -0.203 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 3 | -0.067 | 0.051 | 0.006 | -0.001 | -0.001 | 0.000 |  | 122 | 0.069 | 0.040 | 0.006 | -0.001 | 0.001 | 0.000 |
| 3 | 3 | 0.038 | 0.027 | 0.006 | 0.001 | -0.001 | 0.000 |  | 111 | -0.259 | 0.133 | 0.006 | -0.001 | -0.001 | 0.000 |
|  | 14 | 0.072 | -0.053 | 0.006 | 0.001 | 0.001 | 0.000 | 27 | 79 | -0.349 | -0.364 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 15 | -0.037 | -0.038 | 0.006 | -0.001 | 0.001 | 0.000 |  | 102 | 0.626 | -0.393 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 4 | -0.069 | 0.065 | 0.006 | -0.001 | -0.001 | 0.000 |  | 103 | 0.354 | 0.154 | 0.006 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 80 | -0.628 | 0.603 | 0.006 | -0.001 | -0.001 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 28 | 80 | -0.181 | 0.172 | 0.006 | 0.001 | -0.001 | 0.000 | 52 | 64 | -0.087 | 0.023 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 103 | 0.642 | -0.233 | 0.006 | 0.001 | 0.001 | 0.000 |  | 75 | 0.157 | -0.022 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 104 | 0.215 | -0.155 | 0.006 | -0.001 | 0.001 | 0.000 |  | 76 | 0.063 | -0.036 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 81 | -0.673 | 0.217 | 0.006 | -0.001 | -0.001 | 0.000 |  | 65 | -0.131 | 0.035 | 0.006 | -0.001 | -0.001 | 0.000 |
| 29 | 81 | -0.259 | 0.367 | 0.006 | 0.001 | -0.001 | 0.000 | 53 | 65 | -0.031 | 0.028 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 104 | 0.628 | -0.077 | 0.006 | 0.001 | 0.001 | 0.000 |  | 76 | 0.120 | -0.032 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 105 | 0.296 | -0.230 | 0.006 | -0.001 | 0.001 | 0.000 |  | 77 | 0.029 | -0.042 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 82 | -0.662 | -0.060 | 0.006 | -0.001 | -0.001 | 0.000 |  | 66 | -0.116 | 0.047 | 0.006 | -0.001 | -0.001 | 0.000 |
| 30 | 82 | -0.412 | 0.384 | 0.006 | 0.001 | -0.001 | 0.000 | 54 | 46 | 0.036 | 0.059 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 105 | 0.565 | 0.075 | 0.006 | 0.001 | 0.001 | 0.000 |  | 57 | 0.081 | -0.033 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 106 | 0.423 | -0.199 | 0.006 | -0.001 | 0.001 | 0.000 |  | 58 | -0.018 | -0.064 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 83 | -0.573 | -0.261 | 0.006 | -0.001 | -0.001 | 0.000 |  | 47 | -0.097 | 0.038 | 0.006 | -0.001 | -0.001 | 0.000 |
| 31 | 83 | -0.549 | 0.284 | 0.006 | 0.001 | -0.001 | 0.000 | 55 | 47 | -0.006 | 0.054 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 106 | 0.443 | 0.192 | 0.006 | 0.001 | 0.001 | 0.000 |  | 58 | 0.128 | -0.043 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 107 | 0.541 | -0.097 | 0.006 | -0.001 | 0.001 | 0.000 |  | 59 | 0.020 | -0.059 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 84 | -0.432 | -0.379 | 0.006 | -0.001 | -0.001 | 0.000 |  | 48 | -0.140 | 0.048 | 0.006 | -0.001 | -0.001 | 0.000 |
| 32 | 84 | -0.638 | 0.100 | 0.006 | 0.001 | -0.001 | 0.000 | 56 | 48 | -0.048 | 0.044 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 107 | 0.308 | 0.239 | 0.006 | 0.001 | 0.001 | 0.000 |  | 59 | 0.147 | -0.035 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 108 | 0.604 | 0.044 | 0.006 | -0.001 | 0.001 | 0.000 |  | 60 | 0.057 | -0.047 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 85 | -0.271 | -0.383 | 0.006 | -0.001 | -0.001 | 0.000 |  | 49 | -0.154 | 0.039 | 0.006 | -0.001 | -0.001 | 0.000 |
| 33 | 85 | -0.654 | -0.157 | 0.006 | 0.001 | -0.001 | 0.000 | 57 | 49 | -0.093 | 0.022 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 108 | 0.211 | 0.183 | 0.006 | 0.001 | 0.001 | 0.000 |  | 60 | 0.135 | -0.011 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 109 | 0.623 | 0.192 | 0.006 | -0.001 | 0.001 | 0.000 |  | 61 | 0.097 | -0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 86 | -0.178 | -0.218 | 0.006 | -0.001 | -0.001 | 0.000 |  | 50 | -0.137 | 0.013 | 0.006 | -0.001 | -0.001 | 0.000 |
| 34 | 86 | -0.631 | -0.530 | 0.006 | 0.001 | -0.001 | 0.000 | 58 | 50 | -0.126 | -0.003 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 109 | 0.312 | -0.087 | 0.006 | 0.001 | 0.001 | 0.000 |  | 61 | 0.106 | 0.017 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 110 | 0.627 | 0.351 | 0.006 | -0.001 | 0.001 | 0.000 |  | 62 | 0.124 | 0.002 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 87 | -0.306 | 0.265 | 0.006 | -0.001 | -0.001 | 0.000 |  | 51 | -0.101 | -0.015 | 0.006 | -0.001 | -0.001 | 0.000 |
| 35 | 87 | -0.492 | -0.614 | 0.006 | 0.001 | -0.001 | 0.000 | 59 | 51 | -0.142 | -0.027 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 110 | 0.440 | -0.310 | 0.006 | 0.001 | 0.001 | 0.000 |  | 62 | 0.063 | 0.043 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 111 | 0.437 | 0.348 | 0.006 | -0.001 | 0.001 | 0.000 |  | 63 | 0.134 | 0.024 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 125 | -0.383 | 0.577 | 0.006 | -0.001 | -0.001 | 0.000 |  | 52 | -0.054 | -0.040 | 0.006 | -0.001 | -0.001 | 0.000 |
| 36 | 68 | -0.557 | -0.447 | 0.006 | 0.001 | -0.001 | 0.000 | 60 | 52 | -0.126 | -0.035 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 79 | 0.014 | -0.183 | 0.006 | 0.001 | 0.001 | 0.000 |  | 63 | 0.023 | 0.057 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 80 | 0.614 | 0.637 | 0.006 | -0.001 | 0.001 | 0.000 |  | 64 | 0.112 | 0.031 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 69 | -0.068 | -0.007 | 0.006 | -0.001 | -0.001 | 0.000 |  | 53 | -0.007 | -0.052 | 0.006 | -0.001 | -0.001 | 0.000 |
| 37 | 69 | -0.628 | -0.285 | 0.006 | 0.001 | -0.001 | 0.000 | 61 | 53 | -0.085 | -0.030 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 80 | 0.011 | 0.275 | 0.006 | 0.001 | 0.001 | 0.000 |  | 64 | -0.024 | 0.067 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 81 | 0.667 | 0.246 | 0.006 | -0.001 | 0.001 | 0.000 |  | 65 | 0.067 | 0.026 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 70 | -0.048 | -0.236 | 0.006 | -0.001 | -0.001 | 0.000 |  | 54 | 0.044 | -0.063 | 0.006 | -0.001 | -0.001 | 0.000 |
| 38 | 70 | -0.574 | -0.096 | 0.006 | 0.001 | -0.001 | 0.000 | 62 | 54 | -0.026 | -0.012 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 81 | 0.128 | 0.442 | 0.006 | 0.001 | 0.001 | 0.000 |  | 65 | -0.032 | 0.039 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 82 | 0.599 | -0.062 | 0.006 | -0.001 | 0.001 | 0.000 |  | 66 | 0.024 | 0.011 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 71 | -0.151 | -0.284 | 0.006 | -0.001 | -0.001 | 0.000 |  | 55 | 0.036 | -0.038 | 0.006 | -0.001 | -0.001 | 0.000 |
| 39 | 71 | -0.460 | 0.075 | 0.006 | 0.001 | -0.001 | 0.000 | 63 | 35 | 0.114 | 0.024 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 82 | 0.292 | 0.431 | 0.006 | 0.001 | 0.001 | 0.000 |  | 46 | 0.187 | -0.174 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 83 | 0.470 | -0.284 | 0.006 | -0.001 | 0.001 | 0.000 |  | 47 | -0.095 | -0.081 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 72 | -0.300 | -0.223 | 0.006 | -0.001 | -0.001 | 0.000 |  | 36 | -0.204 | 0.231 | 0.006 | -0.001 | -0.001 | 0.000 |
| 40 | 72 | -0.308 | 0.210 | 0.006 | 0.001 | -0.001 | 0.000 | 64 | 36 | 0.112 | 0.157 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 83 | 0.464 | 0.294 | 0.006 | 0.001 | 0.001 | 0.000 |  | 47 | 0.212 | -0.125 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 84 | 0.301 | -0.420 | 0.006 | -0.001 | 0.001 | 0.000 |  | 48 | -0.099 | -0.148 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 73 | -0.454 | -0.085 | 0.006 | -0.001 | -0.001 | 0.000 |  | 37 | -0.223 | 0.115 | 0.006 | -0.001 | -0.001 | 0.000 |
| 41 | 73 | -0.160 | 0.274 | 0.006 | 0.001 | -0.001 | 0.000 | 65 | 37 | 0.058 | 0.184 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 84 | 0.597 | 0.072 | 0.006 | 0.001 | 0.001 | 0.000 |  | 48 | 0.184 | -0.057 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 85 | 0.139 | -0.436 | 0.006 | -0.001 | 0.001 | 0.000 |  | 49 | -0.050 | -0.146 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 74 | -0.573 | 0.090 | 0.006 | -0.001 | -0.001 | 0.000 |  | 38 | -0.190 | 0.019 | 0.006 | -0.001 | -0.001 | 0.000 |
| 42 | 74 | -0.049 | 0.242 | 0.006 | 0.001 | -0.001 | 0.000 | 66 | 38 | -0.021 | 0.151 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 85 | 0.673 | -0.230 | 0.006 | 0.001 | 0.001 | 0.000 |  | 49 | 0.119 | 0.021 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 86 | 0.013 | -0.295 | 0.006 | -0.001 | 0.001 | 0.000 |  | 50 | 0.024 | -0.101 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 75 | -0.635 | 0.284 | 0.006 | -0.001 | -0.001 | 0.000 |  | 39 | -0.120 | -0.070 | 0.006 | -0.001 | -0.001 | 0.000 |
| 43 | 75 | -0.061 | 0.038 | 0.006 | 0.001 | -0.001 | 0.000 | 67 | 39 | -0.101 | 0.087 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 86 | 0.626 | -0.601 | 0.006 | 0.001 | 0.001 | 0.000 |  | 50 | 0.040 | 0.091 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 87 | 0.010 | 0.120 | 0.006 | -0.001 | 0.001 | 0.000 |  | 51 | 0.099 | -0.038 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 76 | -0.573 | 0.444 | 0.006 | -0.001 | -0.001 | 0.000 |  | 40 | -0.036 | -0.141 | 0.006 | -0.001 | -0.001 | 0.000 |
| 44 | 76 | -0.216 | -0.218 | 0.006 | 0.001 | -0.001 | 0.000 | 68 | 40 | -0.168 | 0.007 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 87 | 0.357 | -0.599 | 0.006 | 0.001 | 0.001 | 0.000 |  | 51 | -0.040 | 0.144 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 125 | 0.213 | 0.475 | 0.006 | -0.001 | 0.001 | 0.000 |  | 52 | 0.161 | 0.034 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 77 | -0.352 | 0.342 | 0.006 | -0.001 | -0.001 | 0.000 |  | 41 | 0.049 | -0.184 | 0.006 | -0.001 | -0.001 | 0.000 |
| 45 | 57 | -0.125 | -0.030 | 0.006 | 0.001 | -0.001 | 0.000 | 69 | 41 | -0.200 | -0.082 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 68 | 0.067 | 0.032 | 0.006 | 0.001 | 0.001 | 0.000 |  | 52 | -0.099 | 0.156 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 69 | 0.152 | 0.018 | 0.006 | -0.001 | 0.001 | 0.000 |  | 53 | 0.187 | 0.098 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 58 | -0.092 | -0.020 | 0.006 | -0.001 | -0.001 | 0.000 |  | 42 | 0.114 | -0.172 | 0.006 | -0.001 | -0.001 | 0.000 |
| 46 | 58 | -0.172 | -0.026 | 0.006 | 0.001 | -0.001 | 0.000 | 70 | 42 | -0.185 | -0.191 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 69 | 0.149 | 0.010 | 0.006 | 0.001 | 0.001 | 0.000 |  | 53 | -0.120 | 0.110 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 70 | 0.192 | 0.010 | 0.006 | -0.001 | 0.001 | 0.000 |  | 54 | 0.164 | 0.148 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 59 | -0.167 | 0.006 | 0.006 | -0.001 | -0.001 | 0.000 |  | 43 | 0.143 | -0.066 | 0.006 | -0.001 | -0.001 | 0.000 |
| 47 | 59 | -0.203 | -0.018 | 0.006 | 0.001 | -0.001 | 0.000 | 71 | 43 | -0.062 | -0.165 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 70 | 0.201 | 0.012 | 0.006 | 0.001 | 0.001 | 0.000 |  | 54 | -0.076 | 0.020 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 71 | 0.217 | -0.009 | 0.006 | -0.001 | 0.001 | 0.000 |  | 55 | 0.050 | 0.096 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 60 | -0.212 | 0.015 | 0.006 | -0.001 | -0.001 | 0.000 |  | 127 | 0.090 | 0.049 | 0.006 | -0.001 | -0.001 | 0.000 |
| 48 | 60 | -0.225 | -0.013 | 0.006 | 0.001 | -0.001 | 0.000 | 72 | 13 | -0.110 | -0.073 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 71 | 0.227 | 0.020 | 0.006 | 0.001 | 0.001 | 0.000 |  | 35 | 0.133 | -0.145 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 72 | 0.231 | -0.021 | 0.006 | -0.001 | 0.001 | 0.000 |  | 36 | 0.109 | 0.126 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 61 | -0.230 | 0.014 | 0.006 | -0.001 | -0.001 | 0.000 |  | 14 | -0.128 | 0.092 | 0.006 | -0.001 | -0.001 | 0.000 |
| 49 | 61 | -0.224 | -0.008 | 0.006 | 0.001 | -0.001 | 0.000 | 73 | 14 | -0.095 | -0.022 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 72 | 0.237 | 0.017 | 0.006 | 0.001 | 0.001 | 0.000 |  | 36 | 0.074 | 0.015 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 73 | 0.220 | -0.027 | 0.006 | -0.001 | 0.001 | 0.000 |  | 37 | 0.098 | 0.003 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 62 | -0.231 | 0.018 | 0.006 | -0.001 | -0.001 | 0.000 |  | 15 | -0.075 | 0.003 | 0.006 | -0.001 | -0.001 | 0.000 |
| 50 | 62 | -0.203 | -0.006 | 0.006 | 0.001 | -0.001 | 0.000 | 74 | 15 | -0.082 | 0.014 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 73 | 0.223 | 0.007 | 0.006 | 0.001 | 0.001 | 0.000 |  | 37 | 0.063 | 0.082 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 74 | 0.192 | -0.023 | 0.006 | -0.001 | 0.001 | 0.000 |  | 38 | 0.084 | -0.065 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 63 | -0.210 | 0.022 | 0.006 | -0.001 | -0.001 | 0.000 |  | 16 | -0.063 | -0.032 | 0.006 | -0.001 | -0.001 | 0.000 |
| 51 | 63 | -0.155 | 0.004 | 0.006 | 0.001 | -0.001 | 0.000 | 75 | 16 | -0.072 | 0.034 | 0.006 | 0.001 | -0.001 | 0.000 |
|  | 74 | 0.200 | -0.014 | 0.006 | 0.001 | 0.001 | 0.000 |  | 38 | 0.063 | 0.107 | 0.006 | 0.001 | 0.001 | 0.000 |
|  | 75 | 0.137 | -0.023 | 0.006 | -0.001 | 0.001 | 0.000 |  | 39 | 0.073 | -0.097 | 0.006 | -0.001 | 0.001 | 0.000 |
|  | 64 | -0.180 | 0.033 | 0.006 | -0.001 | -0.001 | 0.000 |  | 17 | -0.062 | -0.044 | 0.006 | -0.001 | -0.001 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 76 | 17 | -0.065 | 0.041 | 0.006 | 0.001 | -0.001 | 0.000 | 19 | 103 | -0.021 | 0.034 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 39 | 0.069 | 0.103 | 0.006 | 0.001 | 0.001 | 0.000 |  | 114 | -0.009 | 0.063 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 40 | 0.066 | -0.104 | 0.006 | -0.001 | 0.001 | 0.000 |  | 115 | 0.021 | -0.036 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 18 | -0.068 | -0.039 | 0.006 | -0.001 | -0.001 | 0.000 |  | 104 | 0.012 | -0.061 | 0.008 | -0.001 | -0.001 | 0.000 |
| 77 | 18 | -0.065 | 0.031 | 0.006 | 0.001 | -0.001 | 0.000 | 20 | 104 | -0.003 | 0.065 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 40 | 0.079 | 0.073 | 0.006 | 0.001 | 0.001 | 0.000 |  | 115 | -0.015 | 0.091 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 41 | 0.066 | -0.083 | 0.006 | -0.001 | 0.001 | 0.000 |  | 116 | 0.004 | -0.073 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 19 | -0.078 | -0.021 | 0.006 | -0.001 | -0.001 | 0.000 |  | 105 | 0.017 | -0.083 | 0.008 | -0.001 | -0.001 | 0.000 |
| 78 | 19 | -0.075 | 0.001 | 0.006 | 0.001 | -0.001 | 0.000 | 21 | 105 | 0.011 | 0.087 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 41 | 0.093 | 0.010 | 0.006 | 0.001 | 0.001 | 0.000 |  | 116 | -0.014 | 0.103 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 42 | 0.074 | -0.024 | 0.006 | -0.001 | 0.001 | 0.000 |  | 117 | -0.009 | -0.098 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 20 | -0.089 | 0.013 | 0.006 | -0.001 | -0.001 | 0.000 |  | 106 | 0.016 | -0.093 | 0.008 | -0.001 | -0.001 | 0.000 |
| 79 | 20 | -0.126 | -0.079 | 0.006 | 0.001 | -0.001 | 0.000 | 22 | 106 | 0.018 | 0.094 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 42 | 0.100 | -0.099 | 0.006 | 0.001 | 0.001 | 0.000 |  | 117 | -0.007 | 0.098 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 43 | 0.132 | 0.120 | 0.006 | -0.001 | 0.001 | 0.000 |  | 118 | -0.017 | -0.104 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 21 | -0.103 | 0.058 | 0.006 | -0.001 | -0.001 | 0.000 |  | 107 | 0.008 | -0.087 | 0.008 | -0.001 | -0.001 | 0.000 |
| 80 | 21 | -0.149 | -0.113 | 0.006 | 0.001 | -0.001 | 0.000 | 23 | 107 | 0.020 | 0.085 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 43 | 0.108 | -0.149 | 0.006 | 0.001 | 0.001 | 0.000 |  | 118 | 0.006 | 0.074 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 127 | 0.143 | 0.184 | 0.006 | -0.001 | 0.001 | 0.000 |  | 119 | -0.018 | -0.093 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 22 | -0.099 | 0.078 | 0.006 | -0.001 | -0.001 | 0.000 |  | 108 | -0.004 | -0.066 | 0.008 | -0.001 | -0.001 | 0.000 |
| Load case 70 (Linear): COMB 7 (1+3+8) |  |  |  | 24 |  |  |  |  | 108 | 0.015 | 0.064 | 0.008 | 0.001 | -0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 119 | 0.023 | 0.037 | 0.008 | 0.001 | 0.001 | 0.000 |
| Plate | Node | Fx | Fy | Fz | Mx | My | Mz |  | 120 | -0.012 | -0.068 | 0.008 | -0.001 | 0.001 | 0.000 |
| 1 | 1 | -0.032 | -0.012 | 0.008 | 0.001 | -0.001 | 0.000 |  | 109 | -0.023 | -0.034 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 12 | -0.008 | 0.032 | 0.008 | 0.001 | 0.001 | 0.000 | 25 | 109 | -0.003 | 0.040 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 13 | 0.038 | 0.003 | 0.008 | -0.001 | 0.001 | 0.000 |  | 120 | 0.027 | 0.011 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 2 | 0.006 | -0.023 | 0.008 | -0.001 | -0.001 | 0.000 |  | 121 | 0.006 | -0.030 | 0.008 | -0.001 | 0.001 | 0.000 |
| 2 | 2 | -0.022 | 0.005 | 0.008 | 0.001 | -0.001 | 0.000 |  | 110 | -0.027 | -0.022 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 13 | 0.015 | 0.019 | 0.008 | 0.001 | 0.001 | 0.000 | 26 | 110 | -0.026 | 0.010 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 14 | 0.023 | -0.012 | 0.008 | -0.001 | 0.001 | 0.000 |  | 121 | 0.035 | -0.008 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 3 | -0.012 | -0.013 | 0.008 | -0.001 | -0.001 | 0.000 |  | 122 | 0.033 | 0.003 | 0.008 | -0.001 | 0.001 | 0.000 |
| 3 | 3 | -0.016 | 0.006 | 0.008 | 0.001 | -0.001 | 0.000 |  | 111 | -0.039 | -0.004 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 14 | 0.018 | 0.017 | 0.008 | 0.001 | 0.001 | 0.000 | 27 | 79 | -0.047 | -0.108 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 15 | 0.017 | -0.017 | 0.008 | -0.001 | 0.001 | 0.000 |  | 102 | 0.311 | -0.232 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 4 | -0.016 | -0.006 | 0.008 | -0.001 | -0.001 | 0.000 |  | 103 | 0.044 | 0.008 | 0.008 | -0.001 | 0.001 | 0.000 |
| 4 | 4 | -0.016 | 0.007 | 0.008 | 0.001 | -0.001 | 0.000 |  | 80 | -0.305 | 0.332 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 15 | 0.013 | 0.028 | 0.008 | 0.001 | 0.001 | 0.000 | 28 | 80 | 0.057 | 0.183 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 16 | 0.018 | -0.024 | 0.008 | -0.001 | 0.001 | 0.000 |  | 103 | 0.273 | -0.121 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 5 | -0.012 | -0.011 | 0.008 | -0.001 | -0.001 | 0.000 |  | 104 | -0.056 | -0.156 | 0.008 | -0.001 | 0.001 | 0.000 |
| 5 | 5 | -0.014 | 0.010 | 0.008 | 0.001 | -0.001 | 0.000 |  | 81 | -0.272 | 0.094 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 16 | 0.014 | 0.034 | 0.008 | 0.001 | 0.001 | 0.000 | 29 | 81 | 0.049 | 0.281 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 17 | 0.016 | -0.032 | 0.008 | -0.001 | 0.001 | 0.000 |  | 104 | 0.200 | -0.009 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 6 | -0.013 | -0.012 | 0.008 | -0.001 | -0.001 | 0.000 |  | 105 | -0.047 | -0.197 | 0.008 | -0.001 | 0.001 | 0.000 |
| 6 | 6 | -0.011 | 0.013 | 0.008 | 0.001 | -0.001 | 0.000 |  | 82 | -0.199 | -0.075 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 17 | 0.017 | 0.031 | 0.008 | 0.001 | 0.001 | 0.000 | 30 | 82 | -0.013 | 0.275 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 18 | 0.013 | -0.035 | 0.008 | -0.001 | 0.001 | 0.000 |  | 105 | 0.111 | 0.091 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 7 | -0.016 | -0.010 | 0.008 | -0.001 | -0.001 | 0.000 |  | 106 | 0.015 | -0.170 | 0.008 | -0.001 | 0.001 | 0.000 |
| 7 | 7 | -0.010 | 0.012 | 0.008 | 0.001 | -0.001 | 0.000 |  | 83 | -0.110 | -0.196 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 18 | 0.019 | 0.024 | 0.008 | 0.001 | 0.001 | 0.000 | 31 | 83 | -0.097 | 0.208 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 19 | 0.012 | -0.030 | 0.008 | -0.001 | 0.001 | 0.000 |  | 106 | 0.025 | 0.167 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 8 | -0.017 | -0.006 | 0.008 | -0.001 | -0.001 | 0.000 |  | 107 | 0.099 | -0.102 | 0.008 | -0.001 | 0.001 | 0.000 |
| 8 | 8 | -0.014 | 0.007 | 0.008 | 0.001 | -0.001 | 0.000 |  | 84 | -0.024 | -0.273 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 19 | 0.018 | 0.018 | 0.008 | 0.001 | 0.001 | 0.000 | 32 | 84 | -0.186 | 0.095 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 20 | 0.016 | -0.020 | 0.008 | -0.001 | 0.001 | 0.000 |  | 107 | -0.040 | 0.203 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 9 | -0.016 | -0.006 | 0.008 | -0.001 | -0.001 | 0.000 |  | 108 | 0.187 | -0.009 | 0.008 | -0.001 | 0.001 | 0.000 |
| 9 | 9 | -0.014 | 0.011 | 0.008 | 0.001 | -0.001 | 0.000 |  | 85 | 0.042 | -0.290 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 20 | 0.020 | 0.016 | 0.008 | 0.001 | 0.001 | 0.000 | 33 | 85 | -0.260 | -0.062 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 21 | 0.016 | -0.020 | 0.008 | -0.001 | 0.001 | 0.000 |  | 108 | -0.057 | 0.172 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 10 | -0.020 | -0.007 | 0.008 | -0.001 | -0.001 | 0.000 |  | 109 | 0.263 | 0.098 | 0.008 | -0.001 | 0.001 | 0.000 |
| 10 | 10 | 0.004 | 0.021 | 0.008 | 0.001 | -0.001 | 0.000 |  | 86 | 0.058 | -0.209 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 21 | 0.039 | -0.006 | 0.008 | 0.001 | 0.001 | 0.000 | 34 | 86 | -0.306 | -0.292 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 22 | -0.007 | -0.028 | 0.008 | -0.001 | 0.001 | 0.000 |  | 109 | 0.022 | 0.030 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 11 | -0.033 | 0.014 | 0.008 | -0.001 | -0.001 | 0.000 |  | 110 | 0.311 | 0.208 | 0.008 | -0.001 | 0.001 | 0.000 |
| 11 | 12 | -0.185 | -0.189 | 0.008 | 0.001 | -0.001 | 0.000 |  | 87 | -0.024 | 0.054 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 34 | 0.118 | -0.287 | 0.008 | 0.001 | 0.001 | 0.000 | 35 | 87 | -0.255 | -0.358 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 35 | 0.199 | 0.341 | 0.008 | -0.001 | 0.001 | 0.000 |  | 110 | 0.151 | -0.128 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 13 | -0.129 | 0.135 | 0.008 | -0.001 | -0.001 | 0.000 |  | 111 | 0.252 | 0.213 | 0.008 | -0.001 | 0.001 | 0.000 |
| 12 | 34 | -0.053 | -0.254 | 0.008 | 0.001 | -0.001 | 0.000 |  | 125 | -0.145 | 0.273 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 45 | 0.149 | -0.188 | 0.008 | 0.001 | 0.001 | 0.000 | 36 | 68 | -0.243 | -0.210 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 46 | 0.061 | 0.105 | 0.008 | -0.001 | 0.001 | 0.000 |  | 79 | -0.048 | -0.062 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 35 | -0.153 | 0.337 | 0.008 | -0.001 | -0.001 | 0.000 |  | 80 | 0.257 | 0.306 | 0.008 | -0.001 | 0.001 | 0.000 |
| 13 | 45 | 0.060 | 0.055 | 0.008 | 0.001 | -0.001 | 0.000 |  | 69 | 0.038 | -0.035 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 56 | 0.015 | -0.012 | 0.008 | 0.001 | 0.001 | 0.000 | 37 | 69 | -0.233 | -0.106 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 57 | -0.062 | -0.050 | 0.008 | -0.001 | 0.001 | 0.000 |  | 80 | -0.100 | 0.208 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 46 | -0.010 | 0.007 | 0.008 | -0.001 | -0.001 | 0.000 |  | 81 | 0.242 | 0.075 | 0.008 | -0.001 | 0.001 | 0.000 |
| 14 | 56 | -0.002 | 0.000 | 0.008 | 0.001 | -0.001 | 0.000 |  | 70 | 0.094 | -0.177 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 67 | -0.048 | 0.050 | 0.008 | 0.001 | 0.001 | 0.000 | 38 | 70 | -0.173 | 0.001 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 68 | 0.000 | -0.006 | 0.008 | -0.001 | 0.001 | 0.000 |  | 81 | -0.065 | 0.292 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 57 | 0.053 | -0.044 | 0.008 | -0.001 | -0.001 | 0.000 |  | 82 | 0.178 | -0.088 | 0.008 | -0.001 | 0.001 | 0.000 |
| 15 | 67 | -0.145 | -0.174 | 0.008 | 0.001 | -0.001 | 0.000 |  | 71 | 0.063 | -0.205 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 78 | 0.057 | -0.248 | 0.008 | 0.001 | 0.001 | 0.000 | 39 | 71 | -0.091 | 0.095 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 79 | 0.153 | 0.320 | 0.008 | -0.001 | 0.001 | 0.000 |  | 82 | 0.006 | 0.279 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 68 | -0.062 | 0.102 | 0.008 | -0.001 | -0.001 | 0.000 |  | 83 | 0.094 | -0.203 | 0.008 | -0.001 | 0.001 | 0.000 |
| 16 | 78 | -0.168 | -0.296 | 0.008 | 0.001 | -0.001 | 0.000 |  | 72 | -0.005 | -0.171 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 101 | 0.238 | -0.210 | 0.008 | 0.001 | 0.001 | 0.000 | 40 | 72 | -0.009 | 0.164 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 102 | 0.172 | 0.147 | 0.008 | -0.001 | 0.001 | 0.000 |  | 83 | 0.091 | 0.209 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 79 | -0.240 | 0.359 | 0.008 | -0.001 | -0.001 | 0.000 |  | 84 | 0.010 | -0.273 | 0.008 | -0.001 | 0.001 | 0.000 |
| 17 | 101 | -0.041 | 0.002 | 0.008 | 0.001 | -0.001 | 0.000 |  | 73 | -0.089 | -0.100 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 112 | 0.034 | -0.004 | 0.008 | 0.001 | 0.001 | 0.000 | 41 | 73 | 0.059 | 0.199 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 113 | 0.037 | 0.011 | 0.008 | -0.001 | 0.001 | 0.000 |  | 84 | 0.177 | 0.093 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 102 | -0.027 | -0.008 | 0.008 | -0.001 | -0.001 | 0.000 |  | 85 | -0.060 | -0.288 | 0.008 | -0.001 | 0.001 | 0.000 |
| 18 | 102 | -0.031 | 0.014 | 0.008 | 0.001 | -0.001 | 0.000 |  | 74 | -0.172 | -0.004 | 0.008 | -0.001 | -0.001 | 0.000 |
|  | 113 | 0.006 | 0.027 | 0.008 | 0.001 | 0.001 | 0.000 | 42 | 74 | 0.094 | 0.179 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 114 | 0.031 | -0.004 | 0.008 | -0.001 | 0.001 | 0.000 |  | 85 | 0.245 | -0.066 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 103 | -0.003 | -0.037 | 0.008 | -0.001 | -0.001 | 0.000 |  | 86 | -0.099 | -0.218 | 0.008 | -0.001 | 0.001 | 0.000 |
|  |  |  |  |  |  |  |  |  | 75 | -0.237 | 0.105 | 0.008 | -0.001 | -0.001 | 0.000 |

| Plate | Node | Fx | Fy | Fz | Mx | My | Mz | Plate | Node | Fx | Fy | Fz | Mx | My | Mz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 43 | 75 | 0.043 | 0.050 | 0.008 | 0.001 | -0.001 | 0.000 | 67 | 39 | -0.102 | 0.203 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 86 | 0.262 | -0.287 | 0.008 | 0.001 | 0.001 | 0.000 |  | 50 | 0.021 | 0.167 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 87 | -0.051 | 0.029 | 0.008 | -0.001 | 0.001 | 0.000 |  | 51 | 0.102 | -0.094 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 76 | -0.251 | 0.208 | 0.008 | -0.001 | -0.001 | 0.000 |  | 40 | -0.018 | -0.276 | 0.008 | -0.001 | -0.001 | 0.000 |
| 44 | 76 | -0.057 | -0.088 | 0.008 | 0.001 | -0.001 | 0.000 | 68 | 40 | -0.193 | 0.082 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 87 | 0.177 | -0.333 | 0.008 | 0.001 | 0.001 | 0.000 |  | 51 | -0.061 | 0.212 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 125 | 0.053 | 0.230 | 0.008 | -0.001 | 0.001 | 0.000 |  | 52 | 0.189 | 0.006 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 77 | -0.170 | 0.192 | 0.008 | -0.001 | -0.001 | 0.000 |  | 41 | 0.068 | -0.300 | 0.008 | -0.001 | -0.001 | 0.000 |
| 45 | 57 | 0.012 | 0.019 | 0.008 | 0.001 | -0.001 | 0.000 | 69 | 41 | -0.258 | -0.084 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 68 | -0.048 | 0.057 | 0.008 | 0.001 | 0.001 | 0.000 |  | 52 | -0.107 | 0.194 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 69 | -0.008 | -0.024 | 0.008 | -0.001 | 0.001 | 0.000 |  | 53 | 0.249 | 0.117 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 58 | 0.047 | -0.052 | 0.008 | -0.001 | -0.001 | 0.000 |  | 42 | 0.120 | -0.227 | 0.008 | -0.001 | -0.001 | 0.000 |
| 46 | 58 | 0.013 | 0.027 | 0.008 | 0.001 | -0.001 | 0.000 | 70 | 42 | -0.270 | -0.314 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 69 | -0.038 | 0.056 | 0.008 | 0.001 | 0.001 | 0.000 |  | 53 | -0.069 | 0.061 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 70 | -0.010 | -0.033 | 0.008 | -0.001 | 0.001 | 0.000 |  | 54 | 0.256 | 0.224 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 59 | 0.039 | -0.050 | 0.008 | -0.001 | -0.001 | 0.000 |  | 43 | 0.086 | 0.029 | 0.008 | -0.001 | -0.001 | 0.000 |
| 47 | 59 | 0.018 | 0.038 | 0.008 | 0.001 | -0.001 | 0.000 | 71 | 43 | -0.146 | -0.317 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 70 | -0.035 | 0.066 | 0.008 | 0.001 | 0.001 | 0.000 |  | 54 | 0.036 | -0.086 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 71 | -0.016 | -0.050 | 0.008 | -0.001 | 0.001 | 0.000 |  | 55 | 0.140 | 0.177 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 60 | 0.036 | -0.055 | 0.008 | -0.001 | -0.001 | 0.000 |  | 127 | -0.027 | 0.225 | 0.008 | -0.001 | -0.001 | 0.000 |
| 48 | 60 | 0.027 | 0.050 | 0.008 | 0.001 | -0.001 | 0.000 | 72 | 13 | -0.270 | -0.213 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 71 | -0.029 | 0.070 | 0.008 | 0.001 | 0.001 | 0.000 |  | 35 | 0.041 | -0.120 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 72 | -0.025 | -0.065 | 0.008 | -0.001 | 0.001 | 0.000 |  | 36 | 0.276 | 0.312 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 61 | 0.031 | -0.054 | 0.008 | -0.001 | -0.001 | 0.000 |  | 14 | -0.044 | 0.021 | 0.008 | -0.001 | -0.001 | 0.000 |
| 49 | 61 | 0.035 | 0.057 | 0.008 | 0.001 | -0.001 | 0.000 | 73 | 14 | -0.255 | -0.112 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 72 | -0.021 | 0.063 | 0.008 | 0.001 | 0.001 | 0.000 |  | 36 | -0.037 | 0.168 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 73 | -0.033 | -0.072 | 0.008 | -0.001 | 0.001 | 0.000 |  | 37 | 0.264 | 0.080 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 62 | 0.023 | -0.048 | 0.008 | -0.001 | -0.001 | 0.000 |  | 15 | 0.031 | -0.136 | 0.008 | -0.001 | -0.001 | 0.000 |
| 50 | 62 | 0.041 | 0.058 | 0.008 | 0.001 | -0.001 | 0.000 | 74 | 15 | -0.205 | -0.016 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 73 | -0.012 | 0.049 | 0.008 | 0.001 | 0.001 | 0.000 |  | 37 | -0.013 | 0.263 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 74 | -0.040 | -0.071 | 0.008 | -0.001 | 0.001 | 0.000 |  | 38 | 0.210 | -0.075 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 63 | 0.014 | -0.036 | 0.008 | -0.001 | -0.001 | 0.000 |  | 16 | 0.011 | -0.172 | 0.008 | -0.001 | -0.001 | 0.000 |
| 51 | 63 | 0.045 | 0.055 | 0.008 | 0.001 | -0.001 | 0.000 | 75 | 16 | -0.131 | 0.071 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 74 | -0.006 | 0.031 | 0.008 | 0.001 | 0.001 | 0.000 |  | 38 | 0.053 | 0.255 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 75 | -0.045 | -0.062 | 0.008 | -0.001 | 0.001 | 0.000 |  | 39 | 0.134 | -0.185 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 64 | 0.008 | -0.023 | 0.008 | -0.001 | -0.001 | 0.000 |  | 17 | -0.053 | -0.142 | 0.008 | -0.001 | -0.001 | 0.000 |
| 52 | 64 | 0.050 | 0.052 | 0.008 | 0.001 | -0.001 | 0.000 | 76 | 17 | -0.054 | 0.137 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 75 | -0.006 | 0.023 | 0.008 | 0.001 | 0.001 | 0.000 |  | 39 | 0.134 | 0.187 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 76 | -0.051 | -0.058 | 0.008 | -0.001 | 0.001 | 0.000 |  | 40 | 0.054 | -0.251 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 65 | 0.010 | -0.017 | 0.008 | -0.001 | -0.001 | 0.000 |  | 18 | -0.131 | -0.073 | 0.008 | -0.001 | -0.001 | 0.000 |
| 53 | 65 | 0.054 | 0.044 | 0.008 | 0.001 | -0.001 | 0.000 | 77 | 18 | 0.008 | 0.165 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 76 | 0.008 | 0.001 | 0.008 | 0.001 | 0.001 | 0.000 |  | 40 | 0.211 | 0.076 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 77 | -0.048 | -0.052 | 0.008 | -0.001 | 0.001 | 0.000 |  | 41 | -0.010 | -0.256 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 66 | -0.011 | 0.006 | 0.008 | -0.001 | -0.001 | 0.000 |  | 19 | -0.205 | 0.016 | 0.008 | -0.001 | -0.001 | 0.000 |
| 54 | 46 | 0.074 | 0.073 | 0.008 | 0.001 | -0.001 | 0.000 | 78 | 19 | 0.028 | 0.131 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 57 | 0.015 | -0.004 | 0.008 | 0.001 | 0.001 | 0.000 |  | 41 | 0.263 | -0.079 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 58 | -0.069 | -0.070 | 0.008 | -0.001 | 0.001 | 0.000 |  | 42 | -0.034 | -0.165 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 47 | -0.017 | 0.000 | 0.008 | -0.001 | -0.001 | 0.000 |  | 20 | -0.254 | 0.112 | 0.008 | -0.001 | -0.001 | 0.000 |
| 55 | 47 | 0.063 | 0.076 | 0.008 | 0.001 | -0.001 | 0.000 | 79 | 20 | -0.047 | -0.017 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 58 | 0.015 | 0.005 | 0.008 | 0.001 | 0.001 | 0.000 |  | 42 | 0.271 | -0.300 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 59 | -0.060 | -0.069 | 0.008 | -0.001 | 0.001 | 0.000 |  | 43 | 0.045 | 0.110 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 48 | -0.015 | -0.011 | 0.008 | -0.001 | -0.001 | 0.000 |  | 21 | -0.266 | 0.208 | 0.008 | -0.001 | -0.001 | 0.000 |
| 56 | 48 | 0.053 | 0.081 | 0.008 | 0.001 | -0.001 | 0.000 | 80 | 21 | -0.123 | -0.123 | 0.008 | 0.001 | -0.001 | 0.000 |
|  | 59 | 0.004 | 0.022 | 0.008 | 0.001 | 0.001 | 0.000 |  | 43 | 0.202 | -0.332 | 0.008 | 0.001 | 0.001 | 0.000 |
|  | 60 | -0.050 | -0.068 | 0.008 | -0.001 | 0.001 | 0.000 |  | 127 | 0.111 | 0.264 | 0.008 | -0.001 | 0.001 | 0.000 |
|  | 49 | -0.004 | -0.035 | 0.008 | -0.001 | -0.001 | 0.000 |  | 22 | -0.187 | 0.191 | 0.008 | -0.001 | -0.001 | 0.000 |
| 57 | 49 | 0.037 | 0.077 | 0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 60 | -0.012 | 0.041 | 0.008 | 0.001 | 0.001 | 0.000 PLATE ELEMENT FORCES AND MOMENTS (kN/m,kNm/m) |  |  |  |  |  |  |  |  |
|  | 61 | -0.035 | -0.060 | 0.008 | -0.001 | 0.001 | 0.000 -------------------------------- |  |  |  |  |  |  |  |  |
|  | 50 | 0.013 | -0.058 | 0.008 | -0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Load c | ase 1 (Linear): SELF |  | WEIGHT |  |  |  |  |
| 58 | 50 | 0.019 | 0.062 | 0.008 | 0.001 | -0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 61 | -0.030 | 0.057 | 0.008 | 0.001 | 0.001 | 0.000 |  | Fx | Fy | Fxy |  |  |  |  |
|  | 62 | -0.018 | -0.046 | 0.008 | -0.001 | 0.001 | 0.000 | Plate | Mx | My | Mxy | Vxz | Vyz |  |  |
|  | 51 | 0.032 | -0.074 | 0.008 | -0.001 | -0.001 | 0.000 | 1 | -0.028 | 0.015 | 0.034 |  |  |  |  |
| 59 | 51 | 0.003 | 0.040 | 0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 62 | -0.046 | 0.066 | 0.008 | 0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 63 | -0.002 | -0.027 | 0.008 | -0.001 | 0.001 | 0.000 | 2 | -0.034 | 0.017 | 0.005 |  |  |  |  |
|  | 52 | 0.049 | -0.079 | 0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
| 60 | 52 | -0.008 | 0.017 | 0.008 | 0.001 | -0.001 | 0.000 | 3 | -0.032 | 0.016 | -0.002 |  |  |  |  |
|  | 63 | -0.058 | 0.068 | 0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 64 | 0.007 | -0.011 | 0.008 | -0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 53 | 0.062 | -0.075 | 0.008 | -0.001 | -0.001 | 0.000 | 4 | -0.028 | 0.024 | 0.002 |  |  |  |  |
| 61 | 53 | -0.011 | 0.003 | 0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 64 | -0.073 | 0.073 | 0.008 | 0.001 | 0.001 | 0.000 | 5 | -0.027 | 0.031 | 0.001 |  |  |  |  |
|  | 65 | 0.009 | 0.000 | 0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 54 | 0.079 | -0.076 | 0.008 | -0.001 | -0.001 | 0.000 | 6 | -0.027 | 0.031 | -0.003 |  |  |  |  |
| 62 | 54 | -0.001 | -0.001 | 0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 65 | -0.063 | 0.050 | 0.008 | 0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 66 | 0.006 | 0.006 | 0.008 | -0.001 | 0.001 | 0.000 | 7 | -0.028 | 0.026 | -0.004 |  |  |  |  |
|  | 55 | 0.061 | -0.054 | 0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
| 63 | 35 | 0.066 | -0.060 | 0.008 | 0.001 | -0.001 | 0.000 | 8 | -0.030 | 0.018 | 0.001 |  |  |  |  |
|  | 46 | 0.268 | -0.243 | 0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 47 | -0.051 | -0.039 | 0.008 | -0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 36 | -0.279 | 0.343 | 0.008 | -0.001 | -0.001 | 0.000 | 9 | -0.034 | 0.019 | -0.002 |  |  |  |  |
| 64 | 36 | 0.118 | 0.212 | 0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 47 | 0.264 | -0.137 | 0.008 | 0.001 | 0.001 | 0.000 | 10 | -0.029 | 0.011 | -0.033 |  |  |  |  |
|  | 48 | -0.106 | -0.183 | 0.008 | -0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 37 | -0.273 | 0.108 | 0.008 | -0.001 | -0.001 | 0.000 | 11 | -0.286 | -0.356 | 0.050 |  |  |  |  |
| 65 | 37 | 0.074 | 0.295 | 0.008 | 0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 48 | 0.204 | -0.022 | 0.008 | 0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 49 | -0.067 | -0.209 | 0.008 | -0.001 | 0.001 | 0.000 | 12 | -0.180 | -0.327 | -0.071 |  |  |  |  |
|  | 38 | -0.207 | -0.065 | 0.008 | -0.001 | -0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
| 66 | 38 | -0.008 | 0.279 | 0.008 | 0.001 | -0.001 | 0.000 | 13 | 0.041 | 0.033 | -0.056 |  |  |  |  |
|  | 49 | 0.115 | 0.084 | 0.008 | 0.001 | 0.001 | 0.000 |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  | 50 | 0.011 | -0.170 | 0.008 | -0.001 | 0.001 | 0.000 |  |  |  |  |  |  |  |  |
|  | 39 | -0.115 | -0.192 | 0.008 | -0.001 | -0.001 | 0.000 | 14 | 0.037 | 0.037 | 0.040 |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |
|  |  |  |  |  |  |  |  | 15 | -0.195 | -0.323 | 0.069 |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 56 | 0.026 | 0.072 | -0.041 |  |  |
| 16 | -0.391 | -0.393 | -0.051 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.026 | 0.083 | -0.018 |  |  |
| 17 | -0.072 | -0.006 | 0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.027 | 0.084 | 0.009 |  |  |
| 18 | -0.042 | 0.027 | 0.021 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.028 | 0.075 | 0.033 |  |  |
| 19 | -0.017 | 0.072 | 0.026 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.033 | 0.060 | 0.049 |  |  |
| 20 | 0.005 | 0.118 | 0.017 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.047 | 0.054 | 0.063 |  |  |
| 21 | 0.017 | 0.144 | 0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.050 | 0.037 | 0.050 |  |  |
| 22 | 0.017 | 0.145 | -0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.182 | -0.224 | -0.246 |  |  |
| 23 | 0.007 | 0.120 | -0.020 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.133 | 0.055 | -0.282 |  |  |
| 24 | -0.015 | 0.076 | -0.030 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.117 | 0.201 | -0.205 |  |  |
| 25 | -0.038 | 0.036 | -0.018 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.110 | 0.267 | -0.080 |  |  |
| 26 | -0.069 | -0.003 | -0.005 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.109 | 0.273 | 0.060 |  |  |
| 27 | -0.332 | -0.263 | -0.196 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.113 | 0.218 | 0.187 |  |  |
| 28 | -0.202 | 0.043 | -0.248 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.124 | 0.083 | 0.271 |  |  |
| 29 | -0.143 | 0.203 | -0.187 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.159 | -0.182 | 0.253 |  |  |
| 30 | -0.119 | 0.274 | -0.074 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.148 | -0.292 | 0.087 |  |  |
| 31 | -0.118 | 0.281 | 0.054 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.278 | -0.247 | 0.168 |  |  |
| 32 | -0.140 | 0.224 | 0.170 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.197 | 0.040 | 0.215 |  |  |
| 33 | -0.195 | 0.082 | 0.240 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.171 | 0.182 | 0.161 |  |  |
| 34 | -0.315 | -0.200 | 0.215 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.160 | 0.241 | 0.059 |  |  |
| 35 | -0.384 | -0.374 | 0.082 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.160 | 0.240 | -0.057 |  |  |
| 36 | -0.194 | -0.208 | 0.223 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.170 | 0.179 | -0.158 |  |  |
| 37 | -0.138 | 0.074 | 0.254 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.194 | 0.040 | -0.211 |  |  |
| 38 | -0.112 | 0.218 | 0.182 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.272 | -0.231 | -0.162 |  |  |
| 39 | -0.100 | 0.279 | 0.067 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.280 | -0.337 | -0.060 |  |  |
| 40 | -0.099 | 0.279 | -0.060 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 2 (Linear): WIND PL |  |  | (S) |  |  |
| 41 | -0.112 | 0.219 | -0.177 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.136 | 0.000 0.085 | 0.000 -0.256 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.012 | 0.008 | 0.016 |  |  |
| 43 | -0.191 | -0.177 | -0.232 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.016 | 0.010 | 0.005 |  |  |
| 44 | -0.211 | -0.320 | -0.094 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.015 | 0.010 | 0.001 |  |  |
| 45 | 0.035 | 0.053 | 0.029 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.013 | 0.015 | 0.003 |  |  |
| 46 | 0.025 | 0.057 | 0.021 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.012 | 0.019 | 0.001 |  |  |
| 47 | 0.026 | 0.073 | 0.014 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.012 | 0.019 | -0.002 |  |  |
| 48 | 0.028 | 0.084 | 0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | -0.013 | 0.016 | -0.004 |  |  |
| 49 | 0.029 | 0.084 | -0.009 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | -0.014 | 0.011 | -0.002 |  |  |
| 50 | 0.028 | 0.075 | -0.021 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | -0.015 | 0.011 | -0.003 |  |  |
| 51 | 0.028 | 0.059 | -0.030 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -0.013 | 0.005 | -0.015 |  |  |
| 52 | 0.036 | 0.052 | -0.033 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | -0.148 | -0.194 | 0.027 |  |  |
| 53 | 0.031 | 0.034 | -0.047 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | -0.102 | -0.183 | -0.036 |  |  |
| 54 | 0.039 | 0.048 | -0.064 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 0.024 | 0.017 | -0.029 |  |  |
| 55 | 0.028 | 0.056 | -0.057 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14 | 0.027 | 0.020 | 0.019 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 55 | 0.031 | 0.035 | -0.032 |  |  |
| 15 | -0.094 | -0.168 | 0.034 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.032 | 0.044 | -0.023 |  |  |
| 16 | -0.179 | -0.198 | -0.027 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.033 | 0.051 | -0.010 |  |  |
| 17 | -0.027 | 0.001 | 0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.034 | 0.051 | 0.005 |  |  |
| 18 | -0.011 | 0.018 | 0.010 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.033 | 0.046 | 0.019 |  |  |
| 19 | 0.000 | 0.040 | 0.011 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.033 | 0.037 | 0.028 |  |  |
| 20 | 0.010 | 0.062 | 0.007 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.038 | 0.033 | 0.035 |  |  |
| 21 | 0.015 | 0.076 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.029 | 0.019 | 0.026 |  |  |
| 22 | 0.015 | 0.076 | -0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.106 | -0.127 | -0.135 |  |  |
| 23 | 0.010 | 0.064 | -0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.075 | 0.030 | -0.156 |  |  |
| 24 | 0.001 | 0.042 | -0.013 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.064 | 0.112 | -0.113 |  |  |
| 25 | -0.009 | 0.023 | -0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.059 | 0.149 | -0.044 |  |  |
| 26 | -0.025 | 0.003 | -0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.058 | 0.152 | 0.033 |  |  |
| 27 | -0.157 | -0.134 | -0.105 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.062 | 0.121 | 0.104 |  |  |
| 28 | -0.095 | 0.026 | -0.132 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.070 | 0.045 | 0.150 |  |  |
| 29 | -0.066 | 0.110 | -0.099 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.094 | -0.104 | 0.139 |  |  |
| 30 | -0.054 | 0.147 | -0.039 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.086 | -0.164 | 0.045 |  |  |
| 31 | -0.053 | 0.151 | 0.029 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.155 | -0.138 | 0.096 |  |  |
| 32 | -0.064 | 0.121 | 0.091 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.112 | 0.022 | 0.122 |  |  |
| 33 | -0.091 | 0.047 | 0.128 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.097 | 0.101 | 0.091 |  |  |
| 34 | -0.147 | -0.100 | 0.115 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.092 | 0.133 | 0.033 |  |  |
| 35 | -0.175 | -0.188 | 0.043 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.092 | 0.132 | -0.032 |  |  |
| 36 | -0.096 | -0.109 | 0.115 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.097 | 0.099 | -0.089 |  |  |
| 37 | -0.062 | 0.042 | 0.133 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.111 | 0.022 | -0.119 |  |  |
| 38 | -0.047 | 0.118 | 0.096 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.152 | -0.129 | -0.093 |  |  |
| 39 | -0.040 | 0.151 | 0.035 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.145 | -0.184 | -0.033 |  |  |
| 40 | -0.040 | 0.151 | -0.032 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 3 (Linear): WIND PL |  |  | (U) |  |  |
| 41 | -0.047 | 0.119 | -0.093 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.061 | 0.000 0.047 | 0.000 -0.134 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.020 | 0.013 | 0.026 |  |  |
| 43 | -0.094 | -0.093 | -0.120 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.026 | 0.017 | 0.008 |  |  |
| 44 | -0.102 | -0.166 | -0.047 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.025 | 0.016 | 0.002 |  |  |
| 45 | 0.037 | 0.033 | 0.015 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.022 | 0.025 | 0.004 |  |  |
| 46 | 0.035 | 0.036 | 0.010 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.021 | 0.031 | 0.002 |  |  |
| 47 | 0.037 | 0.045 | 0.007 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.021 | 0.032 | -0.004 |  |  |
| 48 | 0.039 | 0.051 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | -0.021 | 0.026 | -0.006 |  |  |
| 49 | 0.039 | 0.052 | -0.005 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | -0.024 | 0.019 | -0.003 |  |  |
| 50 | 0.038 | 0.046 | -0.011 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | -0.026 | 0.019 | -0.006 |  |  |
| 51 | 0.036 | 0.038 | -0.015 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -0.021 | 0.009 | -0.025 |  |  |
| 52 | 0.037 | 0.033 | -0.017 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | -0.246 | -0.324 | 0.045 |  |  |
| 53 | 0.024 | 0.018 | -0.023 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | -0.171 | -0.305 | -0.060 |  |  |
| 54 | 0.034 | 0.030 | -0.036 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 13 | 0.041 | 0.028 | -0.049 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 54 | 0.056 | 0.050 | -0.060 |  |  |
| 14 | 0.045 | 0.034 | 0.032 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.052 | 0.058 | -0.053 |  |  |
| 15 | -0.157 | -0.280 | 0.057 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.054 | 0.074 | -0.038 |  |  |
| 16 | -0.298 | -0.330 | -0.044 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.055 | 0.085 | -0.016 |  |  |
| 17 | -0.045 | 0.001 | 0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.056 | 0.085 | 0.009 |  |  |
| 18 | -0.019 | 0.031 | 0.016 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.055 | 0.077 | 0.031 |  |  |
| 19 | -0.001 | 0.066 | 0.019 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.056 | 0.062 | 0.047 |  |  |
| 20 | 0.016 | 0.104 | 0.011 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.063 | 0.054 | 0.059 |  |  |
| 21 | 0.025 | 0.126 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.048 | 0.032 | 0.043 |  |  |
| 22 | 0.025 | 0.127 | -0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.177 | -0.212 | -0.225 |  |  |
| 23 | 0.017 | 0.106 | -0.014 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.126 | 0.049 | -0.259 |  |  |
| 24 | 0.001 | 0.070 | -0.022 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.106 | 0.186 | -0.189 |  |  |
| 25 | -0.015 | 0.038 | -0.014 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.098 | 0.248 | -0.073 |  |  |
| 26 | -0.042 | 0.005 | -0.005 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.097 | 0.253 | 0.055 |  |  |
| 27 | -0.261 | -0.223 | -0.176 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.103 | 0.201 | 0.173 |  |  |
| 28 | -0.158 | 0.044 | -0.220 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.117 | 0.075 | 0.250 |  |  |
| 29 | -0.109 | 0.183 | -0.166 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.157 | -0.173 | 0.231 |  |  |
| 30 | -0.089 | 0.246 | -0.066 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.144 | -0.274 | 0.074 |  |  |
| 31 | -0.089 | 0.252 | 0.048 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.258 | -0.230 | 0.160 |  |  |
| 32 | -0.107 | 0.202 | 0.151 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.187 | 0.036 | 0.203 |  |  |
| 33 | -0.152 | 0.078 | 0.213 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.162 | 0.168 | 0.152 |  |  |
| 34 | -0.246 | -0.167 | 0.192 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.153 | 0.222 | 0.056 |  |  |
| 35 | -0.291 | -0.313 | 0.072 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.153 | 0.221 | -0.053 |  |  |
| 36 | -0.160 | -0.182 | 0.192 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.161 | 0.164 | -0.149 |  |  |
| 37 | -0.104 | 0.070 | 0.222 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.184 | 0.036 | -0.199 |  |  |
| 38 | -0.079 | 0.197 | 0.159 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.253 | -0.216 | -0.155 |  |  |
| 39 | -0.067 | 0.252 | 0.058 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.241 | -0.307 | -0.055 |  |  |
| 40 | -0.066 | 0.251 | -0.053 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 4 (Linear): WIND COLS MINOR (S) |  |  |  |  |  |
| 41 | -0.078 | 0.198 | -0.155 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.102 | 0.000 0.079 | 0.000 -0.223 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 0.000 | 0.000 | 0.000 |  |  |
| 43 | -0.157 | -0.155 | -0.200 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 0.000 | 0.000 | -0.001 |  |  |
| 44 | -0.170 | -0.277 | -0.079 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 0.000 | 0.000 | -0.001 |  |  |
| 45 | 0.061 | 0.055 | 0.025 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 0.000 | 0.000 | 0.000 |  |  |
| 46 | 0.058 | 0.061 | 0.017 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 0.000 | 0.000 | 0.000 |  |  |
| 47 | 0.062 | 0.076 | 0.012 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 0.000 | 0.000 | 0.000 |  |  |
| 48 | 0.065 | 0.086 | 0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.000 | 0.000 | 0.000 |  |  |
| 49 | 0.065 | 0.086 | -0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.000 | 0.000 | 0.000 |  |  |
| 50 | 0.063 | 0.077 | -0.018 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.000 | 0.000 | 0.001 |  |  |
| 51 | 0.061 | 0.063 | -0.025 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 0.000 | 0.000 | 0.001 |  |  |
| 52 | 0.062 | 0.055 | -0.028 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | -0.001 | 0.000 | -0.001 |  |  |
| 53 | 0.040 | 0.030 | -0.039 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 12 | 0.011 | 0.004 | 0.000 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 53 | -0.003 | -0.001 | -0.001 |  |  |
| 13 | 0.004 | 0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.003 | 0.001 | 0.001 |  |  |
| 14 | -0.002 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.001 | 0.001 | 0.000 |  |  |
| 15 | -0.009 | -0.003 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.001 | 0.000 | 0.000 |  |  |
| 16 | 0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.000 | 0.000 | 0.000 |  |  |
| 17 | 0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.000 | 0.000 | 0.000 |  |  |
| 18 | 0.000 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.001 | 0.000 | 0.000 |  |  |
| 19 | 0.000 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.001 | 0.000 | -0.001 |  |  |
| 20 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.002 | 0.001 | -0.001 |  |  |
| 21 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.003 | 0.001 | -0.001 |  |  |
| 22 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 0.007 | 0.002 | 0.000 |  |  |
| 23 | 0.000 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 0.003 | 0.001 | 0.000 |  |  |
| 24 | 0.000 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 0.002 | 0.000 | 0.000 |  |  |
| 25 | 0.000 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 0.001 | 0.000 | 0.000 |  |  |
| 26 | 0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 0.001 | 0.000 | -0.001 |  |  |
| 27 | 0.000 | 0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 0.002 | 0.000 | -0.001 |  |  |
| 28 | -0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 0.003 | 0.001 | -0.001 |  |  |
| 29 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 0.006 | 0.003 | 0.000 |  |  |
| 30 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.010 | 0.004 | 0.000 |  |  |
| 31 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 0.000 | -0.001 | -0.002 |  |  |
| 32 | -0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 0.000 | -0.001 | -0.001 |  |  |
| 33 | -0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 0.000 | -0.001 | 0.000 |  |  |
| 34 | 0.000 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 0.000 | 0.000 | 0.000 |  |  |
| 35 | 0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 0.000 | 0.000 | 0.000 |  |  |
| 36 | -0.005 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 0.000 | 0.000 | 0.000 |  |  |
| 37 | -0.003 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 0.000 | 0.000 | 0.001 |  |  |
| 38 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 0.000 | 0.000 | 0.001 |  |  |
| 39 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | 0.000 | 0.001 | 0.001 |  |  |
| 40 | -0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 5 (Linear): WIND COLS MINOR (U) |  |  |  |  |  |
| 41 | -0.002 | 0.000 | -0.001 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.003 | 0.000 -0.001 | 0.000 -0.001 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 0.000 | 0.000 | -0.001 |  |  |
| 43 | -0.006 | -0.003 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 0.000 | 0.000 | -0.001 |  |  |
| 44 | -0.010 | -0.004 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 0.000 | 0.000 | -0.001 |  |  |
| 45 | -0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 0.000 | 0.000 | 0.000 |  |  |
| 46 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 0.000 | 0.000 | 0.000 |  |  |
| 47 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 0.000 | 0.000 | 0.000 |  |  |
| 48 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.000 | 0.000 | 0.000 |  |  |
| 49 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.000 | 0.000 | 0.001 |  |  |
| 50 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.000 | 0.000 | 0.001 |  |  |
| 51 | -0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | 0.000 | 0.000 | 0.001 |  |  |
| 52 | -0.002 | -0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 11 | -0.001 | 0.000 | -0.002 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 52 | -0.003 | -0.001 | -0.002 |  |  |
| 12 | 0.018 | 0.006 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.005 | -0.001 | -0.002 |  |  |
| 13 | 0.007 | 0.002 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.005 | 0.001 | 0.001 |  |  |
| 14 | -0.004 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.002 | 0.001 | 0.001 |  |  |
| 15 | -0.015 | -0.005 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.001 | 0.001 | 0.000 |  |  |
| 16 | 0.002 | 0.001 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.001 | 0.000 | 0.000 |  |  |
| 17 | 0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.001 | 0.000 | -0.001 |  |  |
| 18 | 0.000 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.001 | 0.000 | -0.001 |  |  |
| 19 | 0.000 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.002 | 0.001 | -0.001 |  |  |
| 20 | -0.001 | -0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.004 | 0.001 | -0.002 |  |  |
| 21 | -0.001 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.005 | 0.002 | -0.002 |  |  |
| 22 | -0.001 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 0.011 | 0.003 | 0.000 |  |  |
| 23 | -0.001 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 0.006 | 0.001 | 0.000 |  |  |
| 24 | -0.001 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 0.003 | 0.000 | 0.000 |  |  |
| 25 | 0.000 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 0.002 | 0.000 | 0.000 |  |  |
| 26 | 0.001 | 0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 0.002 | 0.000 | -0.001 |  |  |
| 27 | 0.000 | 0.001 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 0.003 | 0.001 | -0.001 |  |  |
| 28 | -0.001 | 0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 0.005 | 0.002 | -0.001 |  |  |
| 29 | -0.001 | 0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 0.011 | 0.004 | 0.000 |  |  |
| 30 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.017 | 0.007 | 0.000 |  |  |
| 31 | -0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 0.000 | -0.001 | -0.003 |  |  |
| 32 | -0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 0.000 | -0.001 | -0.001 |  |  |
| 33 | -0.002 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 0.000 | -0.001 | 0.000 |  |  |
| 34 | 0.000 | -0.001 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 0.000 | -0.001 | 0.000 |  |  |
| 35 | 0.002 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 0.000 | -0.001 | 0.000 |  |  |
| 36 | -0.009 | -0.002 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 0.000 | 0.000 | 0.001 |  |  |
| 37 | -0.004 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 0.000 | 0.000 | 0.001 |  |  |
| 38 | -0.002 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 0.000 | 0.001 | 0.002 |  |  |
| 39 | -0.002 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.001 | 0.001 | 0.001 |  |  |
| 40 | -0.002 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 6 (Linear): POINT LOAD |  |  |  |  |  |
| 41 | -0.003 | -0.001 | -0.001 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.006 | 0.000 -0.002 | 0.000 -0.002 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.020 | -0.021 | -0.101 |  |  |
| 43 | -0.011 | -0.005 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.014 | -0.040 | -0.154 |  |  |
| 44 | -0.017 | -0.007 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.012 | -0.062 | -0.153 |  |  |
| 45 | -0.002 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.013 | -0.083 | -0.115 |  |  |
| 46 | -0.001 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.014 | -0.095 | -0.042 |  |  |
| 47 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.013 | -0.093 | 0.040 |  |  |
| 48 | -0.001 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | -0.012 | -0.078 | 0.113 |  |  |
| 49 | -0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | -0.011 | -0.055 | 0.154 |  |  |
| 50 | -0.001 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | -0.014 | -0.035 | 0.160 |  |  |
| 51 | -0.002 | -0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10 | -0.021 | -0.016 | 0.108 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 51 | -0.631 | -0.105 | -0.022 |  |  |
| 11 | -0.032 | 0.084 | -0.159 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | -0.441 | -0.078 | -0.052 |  |  |
| 12 | 0.202 | 0.176 | -0.066 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.301 | -0.054 | -0.061 |  |  |
| 13 | -0.077 | -0.019 | -0.020 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | -0.174 | -0.037 | -0.071 |  |  |
| 14 | -0.285 | -0.048 | 0.054 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | -0.306 | -0.071 | -0.090 |  |  |
| 15 | -0.628 | -0.713 | 0.030 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | -0.401 | -0.097 | -0.080 |  |  |
| 16 | -0.981 | -0.812 | 0.100 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | -0.449 | -0.110 | -0.033 |  |  |
| 17 | -0.454 | -0.243 | 0.268 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | -0.447 | -0.108 | 0.018 |  |  |
| 18 | -0.446 | -0.252 | 0.505 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | -0.395 | -0.090 | 0.065 |  |  |
| 19 | -0.395 | 0.001 | 0.673 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | -0.294 | -0.061 | 0.075 |  |  |
| 20 | -0.179 | 0.662 | 0.581 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | -0.156 | -0.028 | 0.064 |  |  |
| 21 | -0.111 | 0.917 | 0.208 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | -0.059 | -0.013 | 0.015 |  |  |
| 22 | -0.109 | 0.908 | -0.220 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 0.119 | 0.111 | -0.073 |  |  |
| 23 | -0.172 | 0.640 | -0.591 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 0.009 | -0.034 | -0.054 |  |  |
| 24 | -0.385 | -0.021 | -0.681 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.053 | -0.110 | -0.049 |  |  |
| 25 | -0.432 | -0.255 | -0.498 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.082 | -0.143 | -0.026 |  |  |
| 26 | -0.445 | -0.247 | -0.264 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.079 | -0.140 | 0.000 |  |  |
| 27 | -1.199 | -0.713 | -0.111 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.043 | -0.099 | 0.025 |  |  |
| 28 | -1.164 | -0.154 | -0.303 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 0.030 | -0.012 | 0.035 |  |  |
| 29 | -1.359 | 0.122 | -0.259 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 0.162 | 0.153 | 0.072 |  |  |
| 30 | -1.503 | 0.262 | -0.112 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.265 | 0.221 | 0.078 |  |  |
| 31 | -1.501 | 0.276 | 0.075 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.003 | 0.045 | -0.276 |  |  |
| 32 | -1.352 | 0.163 | 0.229 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 0.000 | -0.069 | -0.282 |  |  |
| 33 | -1.149 | -0.081 | 0.290 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 0.004 | -0.126 | -0.205 |  |  |
| 34 | -1.163 | -0.596 | 0.151 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 0.008 | -0.147 | -0.071 |  |  |
| 35 | -0.965 | -0.794 | -0.036 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 0.009 | -0.142 | 0.079 |  |  |
| 36 | -0.798 | -0.606 | 0.461 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 0.006 | -0.109 | 0.212 |  |  |
| 37 | -0.967 | -0.124 | 0.521 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 0.006 | -0.040 | 0.285 |  |  |
| 38 | -1.086 | 0.179 | 0.380 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | 0.006 | 0.085 | 0.276 |  |  |
| 39 | -1.159 | 0.321 | 0.148 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.030 | 0.111 | 0.144 |  |  |
| 40 | -1.160 | 0.320 | -0.134 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 7 (Linear): WIND COLS MAJOR (S) |  |  |  |  |  |
| 41 | -1.087 | 0.180 | -0.369 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.965 | 0.000 -0.104 | 0.000 -0.525 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 0.000 | 0.000 | 0.000 |  |  |
| 43 | -0.799 | -0.548 | -0.479 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 0.000 | 0.000 | 0.000 |  |  |
| 44 | -0.670 | -0.712 | -0.073 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 0.000 | 0.000 | 0.000 |  |  |
| 45 | -0.440 | -0.078 | 0.043 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 0.000 | 0.000 | 0.000 |  |  |
| 46 | -0.635 | -0.112 | 0.005 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 0.000 | 0.000 | 0.000 |  |  |
| 47 | -0.768 | -0.119 | -0.014 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 0.000 | 0.000 | 0.000 |  |  |
| 48 | -0.838 | -0.117 | -0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.000 | 0.000 | 0.000 |  |  |
| 49 | -0.837 | -0.115 | -0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.000 | 0.000 | 0.000 |  |  |
| 50 | -0.765 | -0.112 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 9 | 0.000 | 0.000 | 0.000 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 50 | 0.000 | 0.000 | 0.000 |  |  |
| 10 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 0.000 | 0.000 | 0.000 |  |  |
| 11 | 0.001 | 0.002 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 0.000 | 0.000 | 0.000 |  |  |
| 12 | 0.001 | 0.002 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 0.000 | 0.000 | 0.000 |  |  |
| 13 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.000 | 0.000 | 0.000 |  |  |
| 14 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.000 | 0.000 | 0.000 |  |  |
| 15 | 0.000 | 0.002 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.000 | 0.000 | 0.000 |  |  |
| 16 | 0.001 | 0.002 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.000 | 0.000 | 0.000 |  |  |
| 17 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.000 | 0.000 | 0.000 |  |  |
| 18 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.000 | 0.000 | 0.000 |  |  |
| 19 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.000 | 0.000 | 0.000 |  |  |
| 20 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.000 | 0.000 | 0.000 |  |  |
| 21 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.000 | 0.000 | 0.000 |  |  |
| 22 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 0.001 | 0.003 | 0.000 |  |  |
| 23 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 0.000 | 0.001 | 0.001 |  |  |
| 24 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 0.000 | 0.001 | 0.001 |  |  |
| 25 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 0.000 | 0.000 | 0.001 |  |  |
| 26 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 0.000 | 0.000 | 0.001 |  |  |
| 27 | 0.001 | 0.002 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 0.000 | -0.001 | 0.001 |  |  |
| 28 | 0.000 | 0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | 0.000 | -0.001 | 0.001 |  |  |
| 29 | 0.000 | 0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.001 | -0.002 | 0.000 |  |  |
| 30 | 0.000 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.001 | -0.002 | -0.002 |  |  |
| 31 | 0.000 | 0.000 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 0.001 | 0.003 | 0.000 |  |  |
| 32 | 0.000 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 0.000 | 0.001 | 0.000 |  |  |
| 33 | 0.000 | -0.002 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 0.000 | 0.001 | -0.001 |  |  |
| 34 | -0.001 | -0.003 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 0.000 | 0.000 | -0.001 |  |  |
| 35 | -0.001 | -0.002 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 0.000 | 0.000 | -0.001 |  |  |
| 36 | 0.000 | 0.002 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 0.000 | -0.001 | -0.001 |  |  |
| 37 | 0.000 | 0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 0.000 | -0.001 | 0.000 |  |  |
| 38 | 0.000 | 0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.001 | -0.002 | 0.001 |  |  |
| 39 | 0.000 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.001 | -0.002 | 0.001 |  |  |
| 40 | 0.000 | 0.000 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 8 (Linear): WIND COLS MAJOR (U) |  |  |  |  |  |
| 41 | 0.000 | -0.001 | -0.001 |  |  |  |  |  |  |  |  |
| 42 | 0.000 0.000 | 0.000 -0.001 | 0.000 0.000 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | 0.000 | 0.000 | 0.000 |  |  |
| 43 | -0.001 | -0.003 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | 0.000 | 0.000 | 0.000 |  |  |
| 44 | 0.000 | -0.002 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | 0.000 | 0.000 | 0.000 |  |  |
| 45 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | 0.000 | 0.000 | 0.000 |  |  |
| 46 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | 0.000 | 0.000 | 0.000 |  |  |
| 47 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | 0.000 | 0.000 | 0.000 |  |  |
| 48 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | 0.000 | 0.000 | 0.000 |  |  |
| 49 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 8 | 0.000 | 0.000 | 0.000 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 49 | 0.000 | 0.000 | 0.000 |  |  |
| 9 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 0.000 | 0.000 | 0.000 |  |  |
| 10 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 0.000 | 0.000 | 0.000 |  |  |
| 11 | 0.001 | 0.004 | 0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 0.000 | 0.000 | 0.000 |  |  |
| 12 | 0.002 | 0.004 | -0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 0.000 | 0.000 | 0.000 |  |  |
| 13 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.000 | 0.000 | 0.000 |  |  |
| 14 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.000 | 0.000 | 0.000 |  |  |
| 15 | 0.000 | 0.003 | 0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.000 | 0.000 | 0.000 |  |  |
| 16 | 0.001 | 0.003 | -0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.000 | 0.000 | 0.000 |  |  |
| 17 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.000 | 0.000 | 0.000 |  |  |
| 18 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.000 | 0.000 | 0.000 |  |  |
| 19 | 0.000 | 0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.000 | 0.000 | 0.000 |  |  |
| 20 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.000 | 0.000 | 0.000 |  |  |
| 21 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.000 | 0.000 | 0.000 |  |  |
| 22 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | 0.002 | 0.005 | -0.001 |  |  |
| 23 | 0.000 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | 0.001 | 0.003 | 0.001 |  |  |
| 24 | 0.000 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | 0.000 | 0.001 | 0.002 |  |  |
| 25 | 0.000 | -0.001 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | 0.000 | 0.000 | 0.002 |  |  |
| 26 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | 0.000 | 0.000 | 0.002 |  |  |
| 27 | 0.001 | 0.004 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | 0.000 | -0.001 | 0.002 |  |  |
| 28 | 0.001 | 0.002 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.001 | -0.002 | 0.001 |  |  |
| 29 | 0.000 | 0.001 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.002 | -0.004 | -0.001 |  |  |
| 30 | 0.000 | 0.000 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.002 | -0.004 | -0.003 |  |  |
| 31 | 0.000 | -0.001 | 0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | 0.001 | 0.005 | 0.001 |  |  |
| 32 | 0.000 | -0.001 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | 0.000 | 0.002 | -0.001 |  |  |
| 33 | -0.001 | -0.003 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | 0.000 | 0.001 | -0.001 |  |  |
| 34 | -0.002 | -0.005 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | 0.000 | 0.000 | -0.002 |  |  |
| 35 | -0.001 | -0.003 | -0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | 0.000 | 0.000 | -0.002 |  |  |
| 36 | 0.001 | 0.004 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | 0.000 | -0.001 | -0.001 |  |  |
| 37 | 0.000 | 0.002 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | 0.000 | -0.002 | -0.001 |  |  |
| 38 | 0.000 | 0.001 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.001 | -0.004 | 0.001 |  |  |
| 39 | 0.000 | 0.000 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.001 | -0.003 | 0.002 |  |  |
| 40 | 0.000 | -0.001 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 10 (Linear): COMB 1 |  |  | (1) |  |  |
| 41 | 0.000 | -0.001 | -0.001 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.001 | 0.000 -0.003 | 0.000 0.000 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.028 | 0.015 | 0.034 |  |  |
| 43 | -0.001 | -0.005 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.034 | 0.017 | 0.005 |  |  |
| 44 | 0.000 | -0.003 | 0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.032 | 0.016 | -0.002 |  |  |
| 45 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.028 | 0.024 | 0.002 |  |  |
| 46 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.027 | 0.031 | 0.001 |  |  |
| 47 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.027 | 0.031 | -0.003 |  |  |
| 48 | 0.000 | 0.000 | 0.000 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 7 | -0.028 | 0.026 | -0.004 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 48 | 0.028 | 0.084 | 0.003 |  |  |
| 8 | -0.030 | 0.018 | 0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 0.029 | 0.084 | -0.009 |  |  |
| 9 | -0.034 | 0.019 | -0.002 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 0.028 | 0.075 | -0.021 |  |  |
| 10 | -0.029 | 0.011 | -0.033 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 0.028 | 0.059 | -0.030 |  |  |
| 11 | -0.286 | -0.356 | 0.050 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 0.036 | 0.052 | -0.033 |  |  |
| 12 | -0.180 | -0.327 | -0.071 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 0.031 | 0.034 | -0.047 |  |  |
| 13 | 0.041 | 0.033 | -0.056 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.039 | 0.048 | -0.064 |  |  |
| 14 | 0.037 | 0.037 | 0.040 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.028 | 0.056 | -0.057 |  |  |
| 15 | -0.195 | -0.323 | 0.069 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.026 | 0.072 | -0.041 |  |  |
| 16 | -0.391 | -0.393 | -0.051 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.026 | 0.083 | -0.018 |  |  |
| 17 | -0.072 | -0.006 | 0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.027 | 0.084 | 0.009 |  |  |
| 18 | -0.042 | 0.027 | 0.021 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.028 | 0.075 | 0.033 |  |  |
| 19 | -0.017 | 0.072 | 0.026 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.033 | 0.060 | 0.049 |  |  |
| 20 | 0.005 | 0.118 | 0.017 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.047 | 0.054 | 0.063 |  |  |
| 21 | 0.017 | 0.144 | 0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.050 | 0.037 | 0.050 |  |  |
| 22 | 0.017 | 0.145 | -0.008 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.182 | -0.224 | -0.246 |  |  |
| 23 | 0.007 | 0.120 | -0.020 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.133 | 0.055 | -0.282 |  |  |
| 24 | -0.015 | 0.076 | -0.030 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.117 | 0.201 | -0.205 |  |  |
| 25 | -0.038 | 0.036 | -0.018 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.110 | 0.267 | -0.080 |  |  |
| 26 | -0.069 | -0.003 | -0.005 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.109 | 0.273 | 0.060 |  |  |
| 27 | -0.332 | -0.263 | -0.196 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.113 | 0.218 | 0.187 |  |  |
| 28 | -0.202 | 0.043 | -0.248 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.124 | 0.083 | 0.271 |  |  |
| 29 | -0.143 | 0.203 | -0.187 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.159 | -0.182 | 0.253 |  |  |
| 30 | -0.119 | 0.274 | -0.074 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.148 | -0.292 | 0.087 |  |  |
| 31 | -0.118 | 0.281 | 0.054 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.278 | -0.247 | 0.168 |  |  |
| 32 | -0.140 | 0.224 | 0.170 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.197 | 0.040 | 0.215 |  |  |
| 33 | -0.195 | 0.082 | 0.240 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.171 | 0.182 | 0.161 |  |  |
| 34 | -0.315 | -0.200 | 0.215 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.160 | 0.241 | 0.059 |  |  |
| 35 | -0.384 | -0.374 | 0.082 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.160 | 0.240 | -0.057 |  |  |
| 36 | -0.194 | -0.208 | 0.223 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.170 | 0.179 | -0.158 |  |  |
| 37 | -0.138 | 0.074 | 0.254 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.194 | 0.040 | -0.211 |  |  |
| 38 | -0.112 | 0.218 | 0.182 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.272 | -0.231 | -0.162 |  |  |
| 39 | -0.100 | 0.279 | 0.067 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.280 | -0.337 | -0.060 |  |  |
| 40 | -0.099 | 0.279 | -0.060 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 20 (Linear): COMB 2 |  |  | (1+2+4) |  |  |
| 41 | -0.112 | 0.219 | -0.177 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.136 | 0.000 0.085 | 0.000 -0.256 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.030 | 0.017 | 0.037 |  |  |
| 43 | -0.191 | -0.177 | -0.232 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.038 | 0.020 | 0.006 |  |  |
| 44 | -0.211 | -0.320 | -0.094 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.035 | 0.019 | -0.001 |  |  |
| 45 | 0.035 | 0.053 | 0.029 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.031 | 0.029 | 0.003 |  |  |
| 46 | 0.025 | 0.057 | 0.021 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.030 | 0.037 | 0.001 |  |  |
| 47 | 0.026 | 0.073 | 0.014 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 6 | -0.030 | 0.038 | -0.004 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 47 | 0.047 | 0.088 | 0.016 |  |  |
| 7 | -0.031 | 0.031 | -0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | 0.050 | 0.101 | 0.004 |  |  |
| 8 | -0.033 | 0.022 | -0.001 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 0.051 | 0.102 | -0.011 |  |  |
| 9 | -0.037 | 0.022 | -0.003 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 0.049 | 0.091 | -0.024 |  |  |
| 10 | -0.032 | 0.012 | -0.036 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 0.047 | 0.072 | -0.034 |  |  |
| 11 | -0.326 | -0.413 | 0.057 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 0.054 | 0.064 | -0.038 |  |  |
| 12 | -0.204 | -0.379 | -0.080 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 0.039 | 0.038 | -0.054 |  |  |
| 13 | 0.052 | 0.038 | -0.063 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.056 | 0.059 | -0.075 |  |  |
| 14 | 0.046 | 0.043 | 0.046 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.045 | 0.068 | -0.066 |  |  |
| 15 | -0.224 | -0.371 | 0.077 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.044 | 0.087 | -0.048 |  |  |
| 16 | -0.426 | -0.443 | -0.059 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.045 | 0.100 | -0.021 |  |  |
| 17 | -0.073 | -0.004 | 0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.045 | 0.102 | 0.010 |  |  |
| 18 | -0.040 | 0.034 | 0.023 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.046 | 0.091 | 0.038 |  |  |
| 19 | -0.013 | 0.083 | 0.028 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.050 | 0.073 | 0.057 |  |  |
| 20 | 0.011 | 0.135 | 0.017 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.066 | 0.065 | 0.073 |  |  |
| 21 | 0.024 | 0.165 | 0.004 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.061 | 0.043 | 0.056 |  |  |
| 22 | 0.024 | 0.166 | -0.009 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.211 | -0.262 | -0.286 |  |  |
| 23 | 0.012 | 0.138 | -0.021 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.154 | 0.064 | -0.328 |  |  |
| 24 | -0.011 | 0.088 | -0.032 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.134 | 0.235 | -0.239 |  |  |
| 25 | -0.035 | 0.044 | -0.019 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.126 | 0.312 | -0.093 |  |  |
| 26 | -0.070 | 0.000 | -0.006 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.125 | 0.318 | 0.069 |  |  |
| 27 | -0.366 | -0.297 | -0.227 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.130 | 0.254 | 0.218 |  |  |
| 28 | -0.223 | 0.052 | -0.285 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.143 | 0.097 | 0.315 |  |  |
| 29 | -0.157 | 0.234 | -0.215 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.185 | -0.212 | 0.294 |  |  |
| 30 | -0.130 | 0.317 | -0.085 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.168 | -0.339 | 0.099 |  |  |
| 31 | -0.129 | 0.324 | 0.063 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.324 | -0.289 | 0.196 |  |  |
| 32 | -0.154 | 0.259 | 0.196 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.232 | 0.046 | 0.252 |  |  |
| 33 | -0.215 | 0.097 | 0.276 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.201 | 0.212 | 0.189 |  |  |
| 34 | -0.347 | -0.226 | 0.248 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.189 | 0.281 | 0.069 |  |  |
| 35 | -0.418 | -0.422 | 0.094 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.189 | 0.279 | -0.066 |  |  |
| 36 | -0.222 | -0.239 | 0.254 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.200 | 0.208 | -0.185 |  |  |
| 37 | -0.153 | 0.087 | 0.291 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.229 | 0.047 | -0.248 |  |  |
| 38 | -0.121 | 0.252 | 0.208 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.318 | -0.270 | -0.190 |  |  |
| 39 | -0.105 | 0.323 | 0.076 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.319 | -0.391 | -0.069 |  |  |
| 40 | -0.105 | 0.322 | -0.069 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 30 (Linear): COMB 3 |  |  | (1+3+5+6) |  |  |
| 41 | -0.120 | 0.253 | -0.203 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -0.150 | 0.000 0.098 | 0.000 -0.293 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.056 | 0.000 | -0.057 |  |  |
| 43 | -0.219 | -0.205 | -0.264 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.060 | -0.015 | -0.145 |  |  |
| 44 | -0.243 | -0.368 | -0.106 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.054 | -0.038 | -0.154 |  |  |
| 45 | 0.053 | 0.064 | 0.033 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.051 | -0.047 | -0.110 |  |  |
| 46 | 0.045 | 0.070 | 0.024 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 5 | -0.050 | -0.049 | -0.040 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 46 | -0.574 | -0.024 | 0.034 |  |  |
| 6 | -0.049 | -0.046 | 0.035 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | -0.702 | -0.008 | 0.005 |  |  |
| 7 | -0.049 | -0.040 | 0.105 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | -0.769 | 0.010 | -0.002 |  |  |
| 8 | -0.051 | -0.028 | 0.152 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | -0.767 | 0.013 | -0.017 |  |  |
| 9 | -0.058 | -0.007 | 0.156 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | -0.697 | 0.001 | -0.027 |  |  |
| 10 | -0.059 | -0.001 | 0.065 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | -0.566 | -0.014 | -0.064 |  |  |
| 11 | -0.432 | -0.426 | -0.089 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | -0.370 | 0.001 | -0.099 |  |  |
| 12 | -0.047 | -0.292 | -0.164 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.251 | -0.007 | -0.127 |  |  |
| 13 | -0.011 | 0.028 | -0.098 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | -0.099 | 0.038 | -0.164 |  |  |
| 14 | -0.226 | 0.005 | 0.110 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | -0.244 | 0.015 | -0.171 |  |  |
| 15 | -0.903 | -1.169 | 0.124 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | -0.340 | 0.013 | -0.139 |  |  |
| 16 | -1.496 | -1.353 | 0.026 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | -0.388 | 0.016 | -0.059 |  |  |
| 17 | -0.540 | -0.246 | 0.276 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | -0.385 | 0.020 | 0.030 |  |  |
| 18 | -0.492 | -0.209 | 0.532 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | -0.331 | 0.024 | 0.112 |  |  |
| 19 | -0.408 | 0.104 | 0.706 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | -0.226 | 0.031 | 0.146 |  |  |
| 20 | -0.164 | 0.828 | 0.601 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | -0.070 | 0.054 | 0.155 |  |  |
| 21 | -0.080 | 1.119 | 0.213 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.018 | 0.039 | 0.083 |  |  |
| 22 | -0.077 | 1.112 | -0.230 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.141 | -0.214 | -0.426 |  |  |
| 23 | -0.155 | 0.810 | -0.616 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.181 | 0.046 | -0.460 |  |  |
| 24 | -0.396 | 0.087 | -0.719 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.218 | 0.180 | -0.344 |  |  |
| 25 | -0.472 | -0.199 | -0.521 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.237 | 0.243 | -0.141 |  |  |
| 26 | -0.528 | -0.245 | -0.271 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.232 | 0.254 | 0.086 |  |  |
| 27 | -1.644 | -1.077 | -0.392 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.203 | 0.215 | 0.295 |  |  |
| 28 | -1.434 | -0.089 | -0.654 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.147 | 0.108 | 0.425 |  |  |
| 29 | -1.549 | 0.412 | -0.523 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.067 | -0.109 | 0.435 |  |  |
| 30 | -1.659 | 0.653 | -0.217 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.059 | -0.198 | 0.199 |  |  |
| 31 | -1.656 | 0.676 | 0.152 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.405 | -0.314 | -0.033 |  |  |
| 32 | -1.538 | 0.483 | 0.471 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.288 | -0.012 | 0.031 |  |  |
| 33 | -1.410 | 0.039 | 0.631 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.246 | 0.136 | 0.029 |  |  |
| 34 | -1.583 | -0.872 | 0.457 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.227 | 0.200 | 0.016 |  |  |
| 35 | -1.469 | -1.310 | 0.080 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.226 | 0.203 | -0.003 |  |  |
| 36 | -1.070 | -0.899 | 0.773 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.242 | 0.148 | -0.017 |  |  |
| 37 | -1.152 | -0.016 | 0.879 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.278 | 0.017 | -0.022 |  |  |
| 38 | -1.231 | 0.490 | 0.636 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.388 | -0.250 | 0.040 |  |  |
| 39 | -1.285 | 0.719 | 0.241 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.422 | -0.372 | 0.059 |  |  |
| 40 | -1.285 | 0.717 | -0.219 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 40 (Linear): COMB 4 |  |  | (1+6) |  |  |
| 41 | -1.232 | 0.492 | -0.619 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -1.147 | 0.000 0.017 | 0.000 -0.885 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.048 | -0.006 | -0.067 |  |  |
| 43 | -1.068 | -0.800 | -0.803 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.049 | -0.023 | -0.149 |  |  |
| 44 | -0.969 | -1.165 | -0.203 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.043 | -0.046 | -0.156 |  |  |
| 45 | -0.369 | 0.003 | 0.084 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 4 | -0.041 | -0.059 | -0.113 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 45 | -0.405 | -0.025 | 0.072 |  |  |
| 5 | -0.041 | -0.064 | -0.041 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | -0.610 | -0.055 | 0.026 |  |  |
| 6 | -0.040 | -0.062 | 0.037 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | -0.741 | -0.046 | 0.000 |  |  |
| 7 | -0.040 | -0.052 | 0.109 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | -0.810 | -0.033 | -0.003 |  |  |
| 8 | -0.041 | -0.037 | 0.154 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | -0.809 | -0.030 | -0.013 |  |  |
| 9 | -0.048 | -0.016 | 0.158 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | -0.737 | -0.038 | -0.019 |  |  |
| 10 | -0.050 | -0.005 | 0.075 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | -0.603 | -0.046 | -0.052 |  |  |
| 11 | -0.318 | -0.272 | -0.109 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | -0.405 | -0.026 | -0.085 |  |  |
| 12 | 0.022 | -0.150 | -0.138 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.270 | -0.021 | -0.108 |  |  |
| 13 | -0.036 | 0.014 | -0.076 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | -0.135 | 0.012 | -0.136 |  |  |
| 14 | -0.248 | -0.010 | 0.094 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | -0.278 | -0.015 | -0.146 |  |  |
| 15 | -0.823 | -1.036 | 0.099 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | -0.374 | -0.025 | -0.121 |  |  |
| 16 | -1.372 | -1.205 | 0.048 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | -0.423 | -0.027 | -0.051 |  |  |
| 17 | -0.525 | -0.249 | 0.273 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | -0.421 | -0.024 | 0.027 |  |  |
| 18 | -0.488 | -0.225 | 0.526 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | -0.367 | -0.015 | 0.098 |  |  |
| 19 | -0.412 | 0.073 | 0.699 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | -0.261 | -0.001 | 0.124 |  |  |
| 20 | -0.174 | 0.780 | 0.598 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | -0.109 | 0.026 | 0.128 |  |  |
| 21 | -0.094 | 1.061 | 0.212 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | -0.009 | 0.023 | 0.064 |  |  |
| 22 | -0.091 | 1.053 | -0.228 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.062 | -0.113 | -0.319 |  |  |
| 23 | -0.166 | 0.761 | -0.611 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.124 | 0.021 | -0.336 |  |  |
| 24 | -0.400 | 0.055 | -0.711 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.170 | 0.091 | -0.254 |  |  |
| 25 | -0.470 | -0.219 | -0.516 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.192 | 0.124 | -0.105 |  |  |
| 26 | -0.514 | -0.250 | -0.270 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.188 | 0.133 | 0.060 |  |  |
| 27 | -1.531 | -0.976 | -0.308 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.156 | 0.118 | 0.213 |  |  |
| 28 | -1.366 | -0.111 | -0.551 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.093 | 0.071 | 0.306 |  |  |
| 29 | -1.502 | 0.325 | -0.446 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | 0.003 | -0.028 | 0.326 |  |  |
| 30 | -1.621 | 0.537 | -0.186 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.117 | -0.070 | 0.165 |  |  |
| 31 | -1.619 | 0.557 | 0.129 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.281 | -0.202 | -0.108 |  |  |
| 32 | -1.492 | 0.387 | 0.399 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.198 | -0.028 | -0.067 |  |  |
| 33 | -1.344 | 0.001 | 0.530 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.167 | 0.056 | -0.044 |  |  |
| 34 | -1.477 | -0.796 | 0.365 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.152 | 0.094 | -0.011 |  |  |
| 35 | -1.349 | -1.168 | 0.046 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.151 | 0.098 | 0.023 |  |  |
| 36 | -0.992 | -0.813 | 0.684 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.163 | 0.070 | 0.054 |  |  |
| 37 | -1.105 | -0.050 | 0.775 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.189 | 0.000 | 0.074 |  |  |
| 38 | -1.199 | 0.397 | 0.562 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.266 | -0.146 | 0.113 |  |  |
| 39 | -1.259 | 0.601 | 0.214 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.310 | -0.226 | 0.084 |  |  |
| 40 | -1.259 | 0.599 | -0.194 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Load case 50 (Linear): COMB 5 |  |  | (1+2+7+6) |  |  |
| 41 | -1.198 | 0.398 | -0.546 |  |  |  |  |  |  |  |  |
| 42 | 0.000 -1.101 | 0.000 -0.019 | 0.000 -0.780 | 0.000 | 0.000 | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 1 | -0.050 | -0.004 | -0.064 |  |  |
| 43 | -0.990 | -0.725 | -0.711 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 2 | -0.052 | -0.020 | -0.146 |  |  |
| 44 | -0.882 | -1.032 | -0.167 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 3 | -0.047 | -0.042 | -0.154 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

| Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz | Plate | Fx Mx | Fy My | Fxy Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 44 | -0.906 | -1.078 | -0.178 |  |  |
| 4 | -0.044 | -0.054 | -0.111 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 45 | -0.386 | -0.013 | 0.076 |  |  |
| 5 | -0.043 | -0.058 | -0.041 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | -0.590 | -0.042 | 0.029 |  |  |
| 6 | -0.043 | -0.056 | 0.036 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | -0.720 | -0.030 | 0.002 |  |  |
| 7 | -0.043 | -0.047 | 0.107 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | -0.788 | -0.016 | -0.002 |  |  |
| 8 | -0.044 | -0.033 | 0.153 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | -0.786 | -0.013 | -0.014 |  |  |
| 9 | -0.051 | -0.013 | 0.156 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | -0.716 | -0.022 | -0.021 |  |  |
| 10 | -0.053 | -0.004 | 0.072 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | -0.582 | -0.033 | -0.055 |  |  |
| 11 | -0.357 | -0.327 | -0.100 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | -0.386 | -0.014 | -0.089 |  |  |
| 12 | -0.009 | -0.204 | -0.148 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.259 | -0.015 | -0.114 |  |  |
| 13 | -0.028 | 0.018 | -0.084 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | -0.119 | 0.022 | -0.146 |  |  |
| 14 | -0.237 | -0.005 | 0.099 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | -0.261 | -0.003 | -0.156 |  |  |
| 15 | -0.844 | -1.080 | 0.108 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | -0.357 | -0.010 | -0.128 |  |  |
| 16 | -1.408 | -1.254 | 0.040 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | -0.405 | -0.010 | -0.054 |  |  |
| 17 | -0.528 | -0.247 | 0.275 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | -0.402 | -0.006 | 0.028 |  |  |
| 18 | -0.486 | -0.218 | 0.528 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | -0.349 | 0.000 | 0.104 |  |  |
| 19 | -0.408 | 0.084 | 0.701 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | -0.244 | 0.011 | 0.133 |  |  |
| 20 | -0.168 | 0.797 | 0.598 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | -0.092 | 0.037 | 0.138 |  |  |
| 21 | -0.087 | 1.082 | 0.212 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.000 | 0.028 | 0.071 |  |  |
| 22 | -0.084 | 1.074 | -0.229 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.096 | -0.150 | -0.359 |  |  |
| 23 | -0.160 | 0.778 | -0.612 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.147 | 0.031 | -0.382 |  |  |
| 24 | -0.396 | 0.067 | -0.714 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.188 | 0.125 | -0.287 |  |  |
| 25 | -0.467 | -0.211 | -0.518 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.208 | 0.169 | -0.117 |  |  |
| 26 | -0.516 | -0.247 | -0.270 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.204 | 0.178 | 0.071 |  |  |
| 27 | -1.565 | -1.009 | -0.338 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.174 | 0.154 | 0.244 |  |  |
| 28 | -1.386 | -0.102 | -0.587 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.116 | 0.083 | 0.351 |  |  |
| 29 | -1.515 | 0.357 | -0.473 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.028 | -0.063 | 0.366 |  |  |
| 30 | -1.632 | 0.579 | -0.196 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.089 | -0.122 | 0.176 |  |  |
| 31 | -1.629 | 0.600 | 0.138 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.327 | -0.242 | -0.078 |  |  |
| 32 | -1.505 | 0.421 | 0.425 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.232 | -0.021 | -0.029 |  |  |
| 33 | -1.364 | 0.014 | 0.566 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.197 | 0.086 | -0.017 |  |  |
| 34 | -1.510 | -0.823 | 0.397 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.181 | 0.134 | -0.002 |  |  |
| 35 | -1.384 | -1.217 | 0.056 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.180 | 0.138 | 0.012 |  |  |
| 36 | -1.015 | -0.841 | 0.715 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.194 | 0.099 | 0.026 |  |  |
| 37 | -1.117 | -0.036 | 0.811 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.223 | 0.005 | 0.037 |  |  |
| 38 | -1.206 | 0.432 | 0.588 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.312 | -0.187 | 0.085 |  |  |
| 39 | -1.264 | 0.644 | 0.223 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.349 | -0.282 | 0.075 |  |  |
| 40 | -1.264 | 0.642 | -0.203 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |
| 41 | -1.206 | 0.432 | -0.572 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |
| 42 | -1.113 | -0.006 | -0.817 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |
| 43 | -1.013 | -0.752 | -0.742 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |

Load case 60 (Linear): COMB 6 (1+3+6+8)	Fx	Fy	Fxy

|  |  |  |  |  |  | Plate | Mx | My | Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Fx | Fy | Fxy |  |  |  |  |  |  |  |  |
| Plate | Mx | My | Mxy | Vxz | Vyz | 41 | -1.229 | 0.491 | -0.618 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | -0.056 | 0.000 | -0.056 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 42 | -1.143 | 0.017 | -0.884 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | -0.060 | -0.015 | -0.144 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 43 | -1.060 | -0.800 | -0.802 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | -0.054 | -0.038 | -0.154 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 44 | -0.957 | -1.162 | -0.200 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | -0.051 | -0.046 | -0.110 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 45 | -0.367 | 0.003 | 0.084 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | -0.049 | -0.048 | -0.040 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | -0.573 | -0.024 | 0.034 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | -0.049 | -0.046 | 0.035 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | -0.701 | -0.008 | 0.005 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | -0.049 | -0.039 | 0.105 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | -0.768 | 0.010 | -0.002 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | -0.052 | -0.028 | 0.152 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | -0.767 | 0.013 | -0.017 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | -0.058 | -0.007 | 0.155 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | -0.697 | 0.002 | -0.027 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | -0.059 | -0.001 | 0.064 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | -0.564 | -0.014 | -0.063 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | -0.431 | -0.423 | -0.086 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | -0.367 | 0.002 | -0.097 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | -0.059 | -0.294 | -0.167 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | -0.247 | -0.006 | -0.125 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | -0.016 | 0.027 | -0.099 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | -0.102 | 0.037 | -0.165 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | -0.224 | 0.005 | 0.109 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | -0.246 | 0.015 | -0.172 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | -0.891 | -1.163 | 0.126 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | -0.340 | 0.012 | -0.139 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | -1.497 | -1.351 | 0.026 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | -0.388 | 0.016 | -0.058 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | -0.541 | -0.246 | 0.277 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | -0.386 | 0.019 | 0.031 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.492 | -0.209 | 0.533 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | -0.332 | 0.023 | 0.113 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | -0.408 | 0.104 | 0.706 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | -0.228 | 0.030 | 0.147 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | -0.163 | 0.829 | 0.602 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | -0.073 | 0.053 | 0.156 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | -0.079 | 1.120 | 0.213 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.014 | 0.038 | 0.084 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | -0.077 | 1.112 | -0.231 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.148 | -0.212 | -0.427 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | -0.155 | 0.810 | -0.616 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.184 | 0.047 | -0.459 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | -0.396 | 0.087 | -0.720 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.220 | 0.181 | -0.343 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | -0.472 | -0.200 | -0.522 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.238 | 0.243 | -0.139 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | -0.529 | -0.246 | -0.272 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.234 | 0.254 | 0.088 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | -1.643 | -1.075 | -0.391 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.205 | 0.214 | 0.297 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | -1.433 | -0.088 | -0.653 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.151 | 0.105 | 0.426 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | -1.548 | 0.412 | -0.522 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.076 | -0.116 | 0.435 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | -1.658 | 0.653 | -0.215 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | 0.045 | -0.206 | 0.197 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | -1.656 | 0.675 | 0.153 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.404 | -0.309 | -0.030 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | -1.537 | 0.481 | 0.471 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.288 | -0.010 | 0.031 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | -1.410 | 0.037 | 0.630 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.246 | 0.137 | 0.028 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | -1.584 | -0.875 | 0.455 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.227 | 0.201 | 0.014 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | -1.472 | -1.312 | 0.077 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.226 | 0.204 | -0.004 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | -1.063 | -0.895 | 0.773 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.242 | 0.147 | -0.019 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | -1.149 | -0.014 | 0.878 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.279 | 0.015 | -0.023 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | -1.230 | 0.491 | 0.635 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.389 | -0.253 | 0.039 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | -1.284 | 0.719 | 0.240 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.422 | -0.375 | 0.060 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | -1.284 | 0.717 | -0.219 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |

Load case 70 (Linear): COMB 7 (1+3+8)	Fx	Fy	Fxy

|  |  |  |  |  |  | Plate | Mx | My | Mxy | Vxz | Vyz |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Fx | Fy | Fxy |  |  |  |  |  |  |  |  |
| Plate | Mx | My | Mxy | Vxz | Vyz | 41 | -0.190 | 0.415 | -0.333 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | -0.048 | 0.028 | 0.060 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 42 | -0.238 | 0.161 | -0.479 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | -0.061 | 0.034 | 0.013 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 43 | -0.349 | -0.336 | -0.430 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | -0.056 | 0.032 | 0.000 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 44 | -0.382 | -0.600 | -0.169 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | -0.050 | 0.050 | 0.007 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 45 | 0.097 | 0.108 | 0.054 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 5 | -0.048 | 0.062 | 0.003 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 46 | 0.084 | 0.118 | 0.039 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 6 | -0.048 | 0.063 | -0.007 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 47 | 0.089 | 0.148 | 0.026 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 7 | -0.049 | 0.052 | -0.011 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 48 | 0.093 | 0.169 | 0.006 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 8 | -0.054 | 0.037 | -0.003 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 49 | 0.094 | 0.170 | -0.017 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 9 | -0.059 | 0.037 | -0.007 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50 | 0.091 | 0.152 | -0.039 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 10 | -0.051 | 0.020 | -0.059 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 51 | 0.089 | 0.122 | -0.054 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 11 | -0.531 | -0.677 | 0.098 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 52 | 0.099 | 0.107 | -0.060 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 12 | -0.349 | -0.628 | -0.134 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 53 | 0.071 | 0.064 | -0.086 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 13 | 0.082 | 0.061 | -0.105 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 54 | 0.095 | 0.098 | -0.125 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 14 | 0.082 | 0.071 | 0.073 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 55 | 0.080 | 0.114 | -0.109 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 15 | -0.352 | -0.600 | 0.128 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 56 | 0.080 | 0.146 | -0.079 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 16 | -0.688 | -0.720 | -0.098 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 57 | 0.081 | 0.167 | -0.033 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 17 | -0.116 | -0.004 | 0.012 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 58 | 0.082 | 0.169 | 0.018 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 18 | -0.061 | 0.058 | 0.038 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 59 | 0.083 | 0.151 | 0.064 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 19 | -0.017 | 0.138 | 0.045 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 60 | 0.088 | 0.121 | 0.096 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 20 | 0.022 | 0.222 | 0.028 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 61 | 0.110 | 0.108 | 0.122 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 21 | 0.042 | 0.270 | 0.007 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 62 | 0.097 | 0.068 | 0.093 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 22 | 0.042 | 0.271 | -0.014 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 63 | -0.357 | -0.431 | -0.472 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 23 | 0.023 | 0.226 | -0.034 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 64 | -0.258 | 0.107 | -0.540 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 24 | -0.014 | 0.144 | -0.052 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 65 | -0.223 | 0.388 | -0.392 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 25 | -0.053 | 0.073 | -0.032 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 66 | -0.208 | 0.515 | -0.151 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 26 | -0.111 | 0.002 | -0.010 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 67 | -0.207 | 0.525 | 0.117 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 27 | -0.591 | -0.482 | -0.372 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 68 | -0.216 | 0.417 | 0.362 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 28 | -0.359 | 0.089 | -0.467 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 69 | -0.242 | 0.156 | 0.521 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 29 | -0.252 | 0.386 | -0.351 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 70 | -0.318 | -0.359 | 0.484 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 30 | -0.208 | 0.520 | -0.138 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 71 | -0.294 | -0.569 | 0.159 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 31 | -0.207 | 0.532 | 0.104 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 72 | -0.534 | -0.473 | 0.328 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 32 | -0.247 | 0.424 | 0.323 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 73 | -0.384 | 0.079 | 0.417 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 33 | -0.348 | 0.157 | 0.453 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 74 | -0.333 | 0.351 | 0.311 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 34 | -0.562 | -0.372 | 0.405 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 75 | -0.313 | 0.464 | 0.113 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 35 | -0.676 | -0.690 | 0.150 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 76 | -0.313 | 0.460 | -0.111 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 36 | -0.353 | -0.385 | 0.415 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 77 | -0.331 | 0.342 | -0.308 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 37 | -0.242 | 0.146 | 0.475 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 78 | -0.379 | 0.074 | -0.411 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 38 | -0.191 | 0.416 | 0.340 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 79 | -0.526 | -0.451 | -0.316 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 39 | -0.166 | 0.531 | 0.123 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 80 | -0.523 | -0.648 | -0.113 |  |  |
|  |  |  |  |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 40 | -0.166 | 0.530 | -0.114 |  |  |  |  |  |  |  |  |
|  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |

NODE REACTIONS (kN,kNm)

--------------

Load case 8 (Linear): WIND COLS MAJOR (U)

| Load case 1 (Linear): SELF WEIGHT Node |  |  |  |  |  |  |  | X-Axis Force | Y-Axis Force | Z-Axis Force | X-Axis Moment | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 123 | 0.000 | -0.001 | 0.012 | 0.010 | 0.000 | 0.000 |
| Node | Force | Force | Force | Moment | Moment | Moment | 124 | 0.000 | -0.001 | 0.011 | 0.010 | 0.000 | 0.000 |
|  |  |  |  |  |  |  | 126 | 0.000 | 0.001 | 0.012 | 0.010 | 0.000 | 0.000 |
| 123 | -0.019 | 0.569 | -0.265 | -0.195 | 0.006 | 0.011 | 128 | 0.000 | 0.001 | 0.012 | 0.010 | 0.000 | 0.000 |
| 124 | 0.031 | 0.605 | -0.224 | -0.204 | 0.003 | -0.028 |  |  |  |  |  |  |  |
| 126 | 0.022 | 0.590 | 0.240 | 0.159 | -0.001 | -0.009 | Load | 0.000 | 0.000 | -0.047 | 0.000 | 0.000 | 0.000 |
| 128 | -0.034 | 0.559 | 0.250 | 0.172 | -0.004 | 0.032 | Reac | 0.000 | 0.000 | 0.047 | 0.039 | 0.000 | 0.000 |
| Load | 0.000 | -2.322 | 0.000 | 0.000 | 0.000 | 0.009 | Equil | 4.888E-16 | 4.057E-16 | 0.000E+00 |  |  |  |
| Reac Equil | 0.000 7.937E-14 | 2.322 0.000E+00 | 0.000 1.180E-13 | -0.066 | 0.004 | 0.006 | Resid ZCntr | 9.570E-16 2.839 | 1.527E-16 -2.028 | 6.443E-15 -3.004 | 2.360E-16 | 3.367E-17 | 3.790E-17 |

Resid 1.222E-13 6.508E-14 2.592E-14 4.345E-15 3.710E-16 1.179E-14 YCntr	2.871	-2.031	-2.938

Load case 2 (Linear): WIND PL (S)

Load case 10 (Linear): COMB 1 (1)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 123 | -0.019 | 0.569 | -0.265 | -0.195 | 0.006 | 0.011 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Node | Force | Force | Force | Moment | Moment | Moment | 124 | 0.031 | 0.605 | -0.224 | -0.204 | 0.003 | -0.028 |
|  |  |  |  |  |  |  | 126 | 0.022 | 0.590 | 0.240 | 0.159 | -0.001 | -0.009 |
| 123 | -0.007 | 0.255 | -0.146 | -0.107 | 0.003 | 0.002 | 128 | -0.034 | 0.559 | 0.250 | 0.172 | -0.004 | 0.032 |
| 124 | 0.013 | 0.250 | -0.117 | -0.106 | 0.002 | -0.013 |  |  |  |  |  |  |  |
| 126 | 0.008 | 0.249 | 0.125 | 0.083 | -0.001 | -0.004 | Load | 0.000 | -2.322 | 0.000 | 0.000 | 0.000 | 0.009 |
| 128 | -0.014 | 0.250 | 0.138 | 0.096 | -0.002 | 0.013 | Reac | 0.000 | 2.322 | 0.000 | -0.066 | 0.004 | 0.006 |
| Load | 0.000 | -1.004 | 0.000 | 0.000 | 0.000 | 0.011 | Equil | 7.935E-14 | 0.000E+00 | 1.169E-13 |  |  |  |
| Reac Equil | 0.000 3.174E-14 | 1.004 0.000E+00 | 0.000 6.328E-14 | -0.035 | 0.002 | -0.001 | Resid YCntr | 1.177E-13 2.871 | 4.263E-14 -2.031 | 2.351E-14 -2.938 | 3.081E-15 | 6.199E-16 | 7.249E-15 |

Resid 6.978E-14 2.429E-14 1.882E-14 1.634E-15 1.660E-16 4.440E-15 YCntr	2.823	-2.030	-2.954

Load case 3 (Linear): WIND PL (U)

Load case 20 (Linear): COMB 2 (1+2+4)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | 123 | -0.028 | 0.616 | -0.309 | -0.227 | 0.006 | 0.019 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Node | Force | Force | Force | Moment | Moment | Moment | 124 | 0.024 | 0.642 | -0.256 | -0.232 | 0.004 | -0.023 |
|  |  |  |  |  |  |  | 126 | 0.015 | 0.631 | 0.275 | 0.183 | -0.001 | -0.003 |
| 123 | -0.011 | 0.425 | -0.244 | -0.179 | 0.005 | 0.004 | 128 | -0.045 | 0.605 | 0.290 | 0.200 | -0.004 | 0.041 |
| 124 | 0.022 | 0.416 | -0.195 | -0.177 | 0.003 | -0.021 |  |  |  |  |  |  |  |
| 126 | 0.014 | 0.415 | 0.208 | 0.139 | -0.001 | -0.006 | Load | 0.034 | -2.495 | 0.000 | 0.000 | 0.000 | 0.015 |
| 128 | -0.024 | 0.417 | 0.231 | 0.159 | -0.003 | 0.021 | Reac | -0.034 | 2.495 | 0.000 | -0.076 | 0.004 | 0.034 |
| Load | 0.000 | -1.673 | 0.000 | 0.000 | 0.000 | 0.019 | Equil | 0.000E+00 | 0.000E+00 | 1.349E-13 |  |  |  |
| Reac | 0.000 | 1.673 | 0.000 | -0.058 | 0.003 | -0.002 | Resid XCntr | 1.641E-13 -1.818 | 4.634E-14 -2.035 | 3.493E-14 -5.266 | 4.991E-15 | 3.053E-16 | 9.930E-15 |
| Equil Resid | 5.301E-14 8.647E-14 | 0.000E+00 6.304E-14 | 1.054E-13 3.656E-14 | 2.975E-15 | 3.144E-16 | 4.536E-15 | YCntr | 2.860 | -2.031 | -2.943 |  |  |  |

YCntr	2.823	-2.030	-2.954

Load case 4 (Linear): WIND COLS MINOR (S)

Load case 30 (Linear): COMB 3 (1+3+5+6)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis	Z-Axis

|  |  |  |  |  |  |  | Node | Force | Force | Force | Moment | Moment | Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |  |  |  |  |  |  |  |
| Node | Force | Force | Force | Moment | Moment | Moment | 123 | -0.131 | 0.541 | -0.289 | -0.224 | 0.009 | 0.145 |
|  |  |  |  |  |  |  | 124 | 0.138 | 1.479 | -0.739 | -0.670 | 0.005 | -0.084 |
| 123 | -0.012 | -0.002 | 0.000 | 0.000 | 0.000 | 0.011 | 126 | 0.108 | 1.472 | 0.799 | 0.530 | 0.003 | 0.000 |
| 124 | -0.011 | 0.002 | 0.000 | 0.000 | 0.000 | 0.010 | 128 | -0.171 | 0.504 | 0.229 | 0.144 | -0.001 | 0.205 |
| 126 | -0.011 | 0.002 | 0.001 | 0.001 | 0.000 | 0.010 |  |  |  |  |  |  |  |
| 128 | -0.011 | -0.002 | -0.001 | -0.001 | 0.000 | 0.010 | Load | 0.056 | -3.996 | 0.000 | 0.000 | 0.000 | 0.020 |
|  |  |  |  |  |  |  | Reac | -0.056 | 3.996 | 0.000 | -0.220 | 0.016 | 0.265 |
| Load | 0.045 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |  |  |  |  |  |  |  |
| Reac | -0.045 | 0.000 | 0.000 | 0.000 | 0.000 | 0.040 | Equil | 0.000E+00 | 0.000E+00 | 3.890E-13 |  |  |  |
|  |  |  |  |  |  |  | Resid | 5.459E-13 | 1.599E-13 | 8.571E-14 | 7.661E-15 | 2.165E-15 | 2.622E-14 |
| Equil | 0.000E+00 | 3.701E-15 | -1.550E-15 |  |  |  | XCntr | -10.875 | -2.109 | -6.663 |  |  |  |
| Resid | 3.470E-14 | 1.398E-15 | 7.576E-16 | 3.815E-17 | 1.129E-16 | 9.975E-16 | YCntr | 3.499 | -2.022 | -2.938 |  |  |  |
| XCntr | 2.818 | -2.031 | -2.917 |  |  |  |  |  |  |  |  |  |  |
| Load c | ase 5 (Line | ar): WIND COLS MINOR ( |  | U) |  |  | Load c | ase 40 (Lin | ear): COMB | 4 (1+6) |  |  |  |
|  |  |  |  |  |  |  |  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis |
|  | X-Axis | Y-Axis | Z-Axis | X-Axis | Y-Axis | Z-Axis | Node | Force | Force | Force | Moment | Moment | Moment |
| Node | Force | Force | Force | Moment | Moment | Moment |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 123 | -0.113 | 0.367 | -0.172 | -0.138 | 0.007 | 0.131 |
| 123 | -0.019 | -0.003 | 0.000 | 0.000 | 0.000 | 0.018 | 124 | 0.143 | 1.315 | -0.649 | -0.588 | 0.003 | -0.088 |
| 124 | -0.019 | 0.003 | 0.000 | 0.000 | 0.000 | 0.017 | 126 | 0.117 | 1.305 | 0.701 | 0.465 | 0.003 | -0.010 |
| 126 | -0.018 | 0.004 | 0.002 | 0.002 | 0.000 | 0.016 | 128 | -0.148 | 0.334 | 0.120 | 0.069 | 0.001 | 0.184 |
| 128 | -0.018 | -0.004 | -0.002 | -0.002 | 0.000 | 0.016 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Load | 0.000 | -3.322 | 0.000 | 0.000 | 0.000 | 0.009 |
| Load | 0.074 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | Reac | 0.000 | 3.322 | 0.000 | -0.193 | 0.015 | 0.217 |
| Reac | -0.074 | 0.000 | 0.000 | 0.000 | -0.001 | 0.067 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Equil | 3.857E-13 | 0.000E+00 | 3.419E-13 |  |  |  |
| Equil | 0.000E+00 | 5.943E-15 | -2.605E-15 |  |  |  | Resid | 5.186E-13 | 1.287E-13 | 9.304E-14 | 8.757E-15 | 1.661E-15 | 3.711E-14 |
| Resid | 5.277E-14 | 2.449E-15 | 1.001E-15 | 1.186E-16 | 9.386E-17 | 2.343E-15 | YCntr | 3.640 | -2.020 | -2.931 |  |  |  |

XCntr	2.818	-2.031	-2.917

Load case 6 (Linear): POINT LOAD

Load case 50 (Linear): COMB 5 (1+2+7+6)

| Node | X-Axis Force | Y-Axis Force | Z-Axis Force | X-Axis Moment | Y-Axis Moment | Z-Axis Moment | Node | X-Axis Force | Y-Axis Force | Z-Axis Force | X-Axis Moment | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 123 | -0.113 | 0.416 | -0.211 | -0.166 | 0.008 | 0.130 |
| 123 | -0.094 | -0.202 | 0.093 | 0.056 | 0.002 | 0.120 | 124 | 0.145 | 1.351 | -0.676 | -0.613 | 0.004 | -0.090 |
| 124 | 0.113 | 0.711 | -0.424 | -0.384 | 0.000 | -0.060 | 126 | 0.118 | 1.345 | 0.740 | 0.492 | 0.003 | -0.011 |
| 126 | 0.095 | 0.716 | 0.461 | 0.306 | 0.004 | -0.001 | 128 | -0.150 | 0.383 | 0.166 | 0.102 | 0.000 | 0.186 |
| 128 | -0.114 | -0.225 | -0.130 | -0.103 | 0.005 | 0.153 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Load | 0.000 | -3.495 | -0.019 | 0.000 | 0.000 | 0.015 |
| Load | 0.000 | -1.000 | 0.000 | 0.000 | 0.000 | 0.000 | Reac | 0.000 | 3.495 | 0.019 | -0.186 | 0.015 | 0.215 |
| Reac | 0.000 | 1.000 | 0.000 | -0.126 | 0.011 | 0.211 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Equil | 3.908E-13 | 0.000E+00 | 0.000E+00 |  |  |  |
| Equil | 3.051E-13 | 0.000E+00 | 2.241E-13 |  |  |  | Resid | 5.034E-13 | 1.020E-13 | 9.148E-14 | 5.482E-15 | 1.507E-15 | 2.632E-14 |
| Resid | 4.324E-13 | 8.233E-14 | 3.975E-14 | 6.703E-15 | 1.539E-15 | 1.860E-14 | YCntr | 3.592 | -2.020 | -2.937 |  |  |  |
| YCntr | 5.427 | -1.994 | -2.916 |  |  |  | ZCntr | 13.547 | 13.068 | -279.112 |  |  |  |

Load case 7 (Linear): WIND COLS MAJOR (S)	Load case 60 (Linear): COMB 6 (1+3+6+8)

| Node | X-Axis Force | Y-Axis Force | Z-Axis Force | X-Axis Moment | Y-Axis Moment | Z-Axis Moment | Node | X-Axis Force | Y-Axis Force | Z-Axis Force | X-Axis Moment | Y-Axis Moment | Z-Axis Moment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 123 | 0.000 | -0.001 | 0.006 | 0.005 | 0.000 | 0.000 | 123 | -0.117 | 0.543 | -0.280 | -0.217 | 0.009 | 0.132 |
| 124 | 0.000 | -0.001 | 0.006 | 0.005 | 0.000 | 0.000 | 124 | 0.152 | 1.476 | -0.730 | -0.662 | 0.005 | -0.097 |
| 126 | 0.000 | 0.001 | 0.007 | 0.006 | 0.000 | 0.000 | 126 | 0.122 | 1.470 | 0.806 | 0.537 | 0.003 | -0.013 |
| 128 | 0.000 | 0.001 | 0.006 | 0.005 | 0.000 | 0.000 | 128 | -0.157 | 0.508 | 0.239 | 0.153 | -0.001 | 0.192 |
| Load | 0.000 | 0.000 | -0.026 | 0.000 | 0.000 | 0.000 | Load | 0.000 | -3.996 | -0.035 | 0.000 | 0.000 | 0.020 |
| Reac | 0.000 | 0.000 | 0.026 | 0.022 | 0.000 | 0.000 | Reac | 0.000 | 3.996 | 0.035 | -0.190 | 0.016 | 0.214 |
| Equil | 2.702E-16 | 2.501E-16 | 0.000E+00 |  |  |  | Equil | 4.062E-13 | 0.000E+00 | 0.000E+00 |  |  |  |
| Resid | 7.613E-16 | 8.247E-17 | 4.052E-15 | 1.421E-16 | 1.524E-17 | 3.282E-17 | Resid | 5.608E-13 | 2.223E-13 | 9.515E-14 | 7.216E-15 | 1.937E-15 | 2.674E-14 |
| ZCntr | 2.839 | -2.028 | -3.004 |  |  |  | YCntr | 3.495 | -2.021 | -2.940 |  |  |  |
|  |  |  |  |  |  |  | ZCntr | 9.301 | 7.028 | -177.818 |  |  |  |

Load case 70 (Linear): COMB 7 (1+3+8)

X-Axis	Y-Axis	Z-Axis	X-Axis	Y-Axis		Z-Axis Node	Force		Force		Force	Moment	Moment	Moment

123	-0.031	0.992	-0.498	-0.364	0.011	0.016

124	0.052	1.020	-0.408	-0.371	0.006	-0.049

126	0.036	1.006	0.460	0.308	-0.002	-0.016

128	-0.058	0.977	0.492	0.341	-0.007	0.053

Load	0.000	-3.995	-0.047	0.000	0.000	0.027

Reac	0.000	3.995	0.047	-0.085	0.007	0.004

Equil  1.322E-13  0.000E+00 0.000E+00

Resid 2.241E-13 7.692E-14 5.318E-14 4.725E-15 6.878E-16 9.520E-15 YCntr	2.851	-2.031	-2.949

ZCntr	5.776	1.855  -121.486

| W8 CIVIL STRUCTURAL ENGINEERS PRIYAN WIJEYERATNE EC 19060 | Project JAPANESE CARPORTS - ARTPORT - WIND ANALYSIS | Job no. CP/2017/1 |
| --- | --- | --- |
|  | Client Anthony Scott - COVET INTERNATIONAL | Start page no./Revision 1 |
|  | Cales by ICales date IChecked by Checked date PW 17/04/2017 PW 11/03/2017 | Approved by Approved date PW 11/03/2017 |

WIND LOADING

Regional wind speeds (cl. 3.2)

TEDDS calculation version 1.0.05

Regional wind speeds (VR) for all directions based on peak gust wind data shall be as given in Table 3.1 AS/NZS 1170.2 for the regions shown in Figure 3.1(A) and Figure 3.1(8) where R (average recurrence interval) is the inverse of the annual probability of exceedence of the wind speed for ultimate or serviceability limit states.  Refer to AS/NZS 1170.0 for information on values of annual probability of exceedence appropriate.

Inverse of annual probability of wind speed exceedence (serviceability)

Rservice = 25

Inverse of annual probability of wind speed exceedence (ultimate)

Ru11 = 100

Wind region (Figures 3.1(A) & 3.1(8)) Regional wind speed (serviceability) Regional wind speed (ultimate)

Multipliers

Wind direction multiplier (cl. 3.3) Terrain/height multiplier (cl. 4.2) Terrain category

Height

Terrain/height multiplier (Table 4.1) Shielding multiplier (cl. 4.3)

Av. roof height of structure being shielded Number of upwind shielding buildings

Av. spacing of shielding buildings

A5

VR.service = round(67m/s - 41mis  X  Rservice--0·1 '   0) =  37  m/s VR.u11 = round(67m/s - 41m/s x  Ru1t--0·1  , 0) =  41  m/s

Md= 1.00

Terraincat = 3.00

z = 2.50 m

Mzcat = 0.83

h = 1.50 m

ns = 7

Is=   h x (10/ns +5) = 9.6 m

Av.  roof height  of shielding buildings	hs = 2.50 m Av. breadth of shielding buildings  (normal to wind)     bs =  10.0  m

Shielding parameter	s = Is/ -.J(hs x bs) = 1.9

Shielding multiplier (Table 4.3)	Ms= 0.73

Topographic  multiplier (cl. 4.4)	Mt = 1.00 Wind speed

Site wind speed (serviceability) (cl. 2.2)

' '

Site wind speed (ultimate) (cl. 2.2)

Design wind speed (serviceability) (cl. 2.3) Design wind speed (ultimate) {cl. 2.3)

Design wind pressure (cl. 2.4) External aerodynamic shape factor Internal aerodynamic shape factor Dynamic response factor

l

External design wind pressure (serviceability) External design wind pressure (ultimate) Internal design wind pressure (serviceability) Internal design wind pressure (ultimate)

:i:

Resultant design wind pressure (serviceability)

_; i   Resultant design wind pressure (ultimate)

Vsit.ps = VR.service x Md x {Mzcat x Ms x Mt) = 22.37 m/s

Vsit.Pu = VR.ult x Md x (Mzcat x Ms x Mt) = 24.79 mis Vdes.es = Vstt.ps

Vdes.eu = max(Vsitpu , 30 mis) = 30.00 mis   in this case.

Cfig,e = 0 . 90

Cfig,i = 0.80

Cdyn = 1.00

pair = 1 . 2 kg/m3

pes,e = 0 .5 x Pair x Vdes.es2 x Cfig.e x Cdyn = 0.27 kPa Peu,e = 0 .5 x Pair x Vdes eu2 x Cfig.e x Cdyn = 0.49 kPa pes.i = 0.5 x pair x Vdeses2 x Cfig,i x Cdyn = 0.24 kPa peu,i = 0.5 x pair x  Vdes.eu2 x  Cfig,i x  Cdyn = 0.43 kPa pes = pes,e - p es,i = 0.03 kPa

Peu = peu,e - p eu,i = 0.05 kPa

.

.	'·\ "'

:

| WB CIVIL STRUCTURAL ENGINEERS PRIYAN WIJEYERATNE EC 19060 | Project JAPANESE CARPORTS - ARTPORT - WIND ANALYSIS | Job no. CP/2017/1 |
| --- | --- | --- |
|  | Client Anthony Scott - COVET INTERNATIONAL | Start page no./Revision 1 |
|  | Cales by Cales date Checked by Checked date PW 11/03/2017 PW 11/03/2017 | Approved by Approved date PW 11/03/2017 |

CANTILEVER  CARPORT

Aerodynamic shape factor in accordance with AS 1170.2:2011

Input details

Tedds calculation  version 1.0.05

Type of structure Span of roof Length of roof

Average height of roof above local ground level Angle of roof to horizontal

Height to span ratio

Cantilevered roofs and canopies

d = 3.00 m I=  5.05 m h = 2.28 m a.= 5.0

h_upon_d = h / d = 0.762

Aerodynamic shape factors with wind ate= 0° (from front) (Cl. D5 & Table D10)

Internal upwards loading at front Internal upwards loading at rear End upwards loading at front End upwards loading at rear

Internal downwards loading at front Internal downwards loading at rear End downwards loading at front End downwards loading at rear

C fig,1,int min  = -1.80 C  fig,2,int min  = -1.10 C fig,1,end,min  = -1.30 C  fig,2,end,min  = -1.00 C  fig,1,int  max  = 0.25 C  fig,2,intm ax  = 0.15 C fig,1,end,max  = 0.55 C   fig,2,end,max  = 0.65

Aerodynamic shape factors with wind ate = 180° (from rear) (Cl. D5 & Table D4(A))

Upwards loading at front Upwards loading at rear Downwards loading at front Downwards loading at rear

C fig,1,min  = -0.8 C fig,w,min = -1.0 C  fig,l,max  = 0.4 C fig,w,max  = 0.4

Aerodynamic shape factors with wind ate  = 90° (from side) (Cl. D5 & Table D4(8))

Distances from windward edge

Upwards loading O m to 2.28 m Upwards  loading  2.28  m to 4.57 m

Upwards loading 4.57 m to 5.05 m Downwards loading Om to 2.28 m Downwards loading 2.28 m to 4.57 m

Downwards loading 4.57 m to 5.05 m

C fig,0_1h,min  = -1.0

C fig,1h_2h,min =  -0.80 C  fig,2h_l,min   =  -0.40 C  fig,0_1h,max  = 0.4

C  fig,1h_2h.max  = 0.40

C fig,2h_l,max  = 0.20

| -_.._ WB CIVIL STRUCTURAL ENGINEERS PRIYAN WIJEYERATNE EC 19060 | Project JAPANESE CARPORTS - ARTPORT - WIND ANALYSIS | Job no. CP/2017/1 |
| --- | --- | --- |
|  | Client Anthony Scott - COVET INTERNATIONAL | Start page no./Revision 2 |
|  | Cales by ICales date IChecked by IChecked date PW 11/03/2017 PW 11/03/2017 | Approved by IApproved date PW 11/03/2017 |

Note - the above Aerodynamic Shape Factors are applicable to the main supporting members. For the design of cladding elements and elements that offer immediate support to the cladding the local net pressure factor, K,, from Table 01  should be applied.

,1  -    -    -    -    -  3000-    -    -    -    - - :

c   fig,1 (+ve)1	-	-

1/!(	J

--------·7c

. g 2 (+ve)

Wind 0°	l

I

--===-	\I

5.0°'

co

N

N

'

Section through cantilevered roof for wind at  e = 00

Note - refer to sketch below for max and min values of C_fl  1  & Cf,i 2

9	9

I

I

T

-

0

LO LO

0	0	0

0	0	0

I

"'7"	Cl 	I

'7

-

_y_

I

Wind Q<>

;,:;

c)

L

LO	LO

0

0	0

O	CX)

'7

I

I

T

LO

LO	0

Q

0

(")

Q r     0

8     1      0

_ t_	'7	'7	I-

Aerodynamic shape factors for wind at e = 0°

Note - minimum values should be combined as one loadcase and maximum values as another loadcase

| WB CIVIL STRUCTURAL ENGINEERS PRIYAN WIJEYERATNE EC 19060 | Project JAPANESE CARPORTS - ARTPORT - WIND ANALYSIS | Job no. CP/2017/1 |
| --- | --- | --- |
|  | Client Anthony Scott - COVET INTERNATIONAL | Start page no./Revision 3 |
|  | Cales by Cales date Checked by Checked date PW 11/03/2017 PW 11/03/2017 | Approved by Approved date PW 11/03/2017 |

; 1-- -    -    -    -   3 0 0 0>-  -     -     -     - .•. .

I

co

N N

Wind 180 °

/L-

\,--'

Section through cantilevered roof for  wind at  e = 180 °

Note - refer to sketch below for  max and min values  of C  fg.i  w   & C fg,i    i

!4-	15001-     -J  .. :.-.     -   1 500-  - _.   ,

0"'

"'

,

-0.80/0.40	-1.00/0.40	/1

\-'

I

Wind 180 °

Aerodynamic shape factors for wind at e = 1800

Note - minimum values should be combined as one loadcase and maximum values as another loadcase

| WB CIVIL STRUCTURAL ENGINEERS PRIYAN WIJEYERATNE EC 19060 | Project JAPANESE CARPORTS - ARTPORT - WIND ANALYSIS | Job no. CP/2017/1 |
| --- | --- | --- |
|  | Client Anthony Scott - COVET INTERNATIONAL | Start page no./Revision 4 |
|  | Cales by Cales date Checked by Checked date PW 11/03/2017 PW 11/03/2017 | Approved by Approved date PW 11/03/2017 |

Wind 90°

l

T

-1.00 I 0.40	co

gj

::ii

I r

0

"'

- 0.80 I 0.40

-0.40 I 0.20

"co'

1

gj

Aerodynamic shape fadors for wind at  8 = 90°

Note · minimum values should be combined as one loadcase and maximum values as another loadcase